## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1702-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1702-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1702-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1702-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1702-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1702-1_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1702-1_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1702-1_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1702-1_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1702-1_0_6_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1702-1_0_6_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1702-1_0_6_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_1702-1_0_6_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1702-1_0_6_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1702-1_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1702-1_0_6_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_1702-1_0_6_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_1702-1_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1702-1_0_6_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1702-1_0_6_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_1702-1_0_6_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_1702-1_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1702-1_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1702-1_0_6_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_1702-1_0_6_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1702-1_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1702-1_0_6_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_1702-1_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1702-1_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1702-1_0_6_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_1702-1_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1702-1_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1702-1_0_6_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1702-1_0_6_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1702-1_0_6_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_1702-1_0_6_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1702-1_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1702-1_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1702-1_0_6_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_1702-1_0_6_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1702-1_0_6_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1702-1_0_6_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1702-1_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1702-1_0_6_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1702-1_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1702-1_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1702-1_0_6_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_1702-1_0_6_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_1702-1_0_6_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_1702-1_0_6_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_1702-1_0_6_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1702-1_0_6_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1702-1_0_6_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_1702-1_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_1702-1_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1702-1_0_6_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1702-1_0_6_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_1702-1_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_1702-1_0_6_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_1702-1_0_6_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_1702-1_0_6_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_1702-1_0_6_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_1702-1_0_6_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_1702-1_0_6_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_1702-1_0_6_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_1702-1_0_6_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_1702-1_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_1702-1_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_1702-1_0_6_node_63 | 0.4 | n |  | TRUE
69 | bus_MV_498_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1702-1_0_6_load_0 | 0 | 0.01704 | 0.0042706 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1702-1_0_6_load_3 | 3 | 0.019767 | 0.004954 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1702-1_0_6_load_5 | 5 | 0.019197 | 0.0048111 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1702-1_0_6_load_6 | 6 | 0.024489 | 0.0061375 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1702-1_0_6_load_7 | 7 | 0.005536 | 0.0013875 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1702-1_0_6_load_9 | 8 | 0.0029504 | 0.00073945 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1702-1_0_6_load_21 | 11 | 0.004905 | 0.0012293 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1702-1_0_6_load_16 | 13 | 0.03958 | 0.0099197 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1702-1_0_6_load_25 | 18 | 0.0025646 | 0.00064275 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1702-1_0_6_load_52 | 19 | 0.0025234 | 0.00063243 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1702-1_0_6_load_14 | 21 | 0.039708 | 0.0099517 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1702-1_0_6_load_18 | 22 | 0.019688 | 0.0049342 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1702-1_0_6_load_43 | 23 | 0.0050643 | 0.0012692 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1702-1_0_6_load_33 | 24 | 0.0062082 | 0.0015559 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1702-1_0_6_load_19 | 25 | 0.010973 | 0.0027502 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1702-1_0_6_load_70 | 26 | 0.0052718 | 0.0013212 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1702-1_0_6_load_69 | 29 | 0.0019325 | 0.00048434 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1702-1_0_6_load_23 | 30 | 0.00082073 | 0.0002057 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1702-1_0_6_load_24 | 31 | 0.00033426 | 8.3772e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1702-1_0_6_load_27 | 32 | 0.002042 | 0.00051178 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1702-1_0_6_load_28 | 33 | 0.00022063 | 5.5295e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1702-1_0_6_load_51 | 34 | 0.002529 | 0.00063382 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1702-1_0_6_load_30 | 35 | 0.00027487 | 6.889e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1702-1_0_6_load_29 | 36 | 0.00060455 | 0.00015151 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1702-1_0_6_load_31 | 37 | 0.012583 | 0.0031536 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1702-1_0_6_load_41 | 39 | 0.00018212 | 4.5645e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1702-1_0_6_load_38 | 40 | 0.0002033 | 5.0951e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1702-1_0_6_load_40 | 41 | 0.00013103 | 3.2839e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1702-1_0_6_load_36 | 42 | 0.0007713 | 0.00019331 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1702-1_0_6_load_35 | 43 | 0.00063188 | 0.00015836 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1702-1_0_6_load_37 | 44 | 0.00026076 | 6.5353e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1702-1_0_6_load_39 | 45 | 0.00063518 | 0.00015919 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1702-1_0_6_load_61 | 48 | 0.005061 | 0.0012684 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1702-1_0_6_load_60 | 49 | 0.0023438 | 0.0005874 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1702-1_0_6_load_59 | 52 | 0.0050988 | 0.0012779 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1702-1_0_6_load_58 | 53 | 0.0076155 | 0.0019086 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1702-1_0_6_load_64 | 56 | 0.041915 | 0.010505 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1702-1_0_6_load_71 | 58 | 0.021838 | 0.0054732 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1702-1_0_6_load_67 | 59 | 0.0064113 | 0.0016068 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1702-1_0_6_load_72 | 61 | 0.021866 | 0.00548 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1702-1_0_6_load_56 | 62 | 0.0034227 | 0.00085782 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1702-1_0_6_load_65 | 63 | 0.044787 | 0.011225 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1702-1_0_6_load_54 | 65 | 0.004977 | 0.0012474 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1702-1_0_6_load_55 | 66 | 0.0032927 | 0.00082524 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1702-1_0_6_load_57 | 67 | 0.0022413 | 0.00056172 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1702-1_0_6_load_63 | 68 | 0.0032193 | 0.00080684 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1702-1_0_6_line_0 |  | 0 | 1 | 0.039677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1702-1_0_6_line_1 |  | 0 | 2 | 0.019093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1702-1_0_6_line_2 |  | 1 | 3 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1702-1_0_6_line_3 |  | 1 | 4 | 0.005185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1702-1_0_6_line_4 |  | 2 | 5 | 0.019793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1702-1_0_6_line_5 |  | 2 | 6 | 0.10854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1702-1_0_6_line_6 |  | 3 | 7 | 0.032449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1702-1_0_6_line_7 |  | 4 | 8 | 0.034441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1702-1_0_6_line_8 |  | 5 | 9 | 0.021197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1702-1_0_6_line_9 |  | 7 | 10 | 0.0079859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1702-1_0_6_line_10 |  | 8 | 11 | 0.033053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1702-1_0_6_line_11 |  | 9 | 12 | 0.023843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1702-1_0_6_line_12 |  | 9 | 13 | 0.0049658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1702-1_0_6_line_13 |  | 10 | 17 | 0.038081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1702-1_0_6_line_14 |  | 11 | 20 | 0.019377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1702-1_0_6_line_15 |  | 12 | 21 | 0.027962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1702-1_0_6_line_16 |  | 13 | 22 | 0.034517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1702-1_0_6_line_17 |  | 14 | 15 | 0.018595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1702-1_0_6_line_18 |  | 14 | 16 | 0.069061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1702-1_0_6_line_19 |  | 15 | 23 | 0.016333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1702-1_0_6_line_20 |  | 16 | 24 | 0.16405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1702-1_0_6_line_21 |  | 17 | 25 | 0.034126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1702-1_0_6_line_22 |  | 18 | 19 | 0.01317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1702-1_0_6_line_23 |  | 19 | 34 | 0.005617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1702-1_0_6_line_24 |  | 20 | 30 | 0.073993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1702-1_0_6_line_25 |  | 20 | 31 | 0.027552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1702-1_0_6_line_26 |  | 22 | 27 | 0.033601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1702-1_0_6_line_27 |  | 23 | 46 | 0.009754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1702-1_0_6_line_28 |  | 24 | 28 | 0.0064719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1702-1_0_6_line_29 |  | 25 | 26 | 0.0128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1702-1_0_6_line_30 |  | 26 | 29 | 0.047289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1702-1_0_6_line_31 |  | 27 | 28 | 0.06434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1702-1_0_6_line_32 |  | 29 | 38 | 0.01218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1702-1_0_6_line_33 |  | 31 | 32 | 0.093113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1702-1_0_6_line_34 |  | 32 | 33 | 0.012612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1702-1_0_6_line_35 |  | 33 | 36 | 0.0052496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1702-1_0_6_line_36 |  | 34 | 64 | 0.01759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1702-1_0_6_line_37 |  | 35 | 36 | 0.011105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1702-1_0_6_line_38 |  | 37 | 38 | 0.13654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1702-1_0_6_line_39 |  | 38 | 39 | 0.022328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1702-1_0_6_line_40 |  | 39 | 41 | 0.019841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1702-1_0_6_line_41 |  | 40 | 41 | 0.013389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1702-1_0_6_line_42 |  | 40 | 42 | 0.11308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1702-1_0_6_line_43 |  | 42 | 43 | 0.0045665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1702-1_0_6_line_44 |  | 43 | 44 | 0.071679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1702-1_0_6_line_45 |  | 44 | 45 | 0.017656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1702-1_0_6_line_46 |  | 46 | 50 | 0.03478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1702-1_0_6_line_47 |  | 46 | 51 | 0.058706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1702-1_0_6_line_48 |  | 47 | 48 | 0.023611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1702-1_0_6_line_49 |  | 47 | 49 | 0.013429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1702-1_0_6_line_50 |  | 49 | 52 | 0.021289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1702-1_0_6_line_51 |  | 50 | 52 | 0.023393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1702-1_0_6_line_52 |  | 50 | 53 | 0.011407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1702-1_0_6_line_53 |  | 51 | 57 | 0.012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1702-1_0_6_line_54 |  | 51 | 58 | 0.014184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1702-1_0_6_line_55 |  | 51 | 54 | 0.073642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1702-1_0_6_line_56 |  | 53 | 62 | 0.0065124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1702-1_0_6_line_57 |  | 54 | 55 | 0.05293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_1702-1_0_6_line_58 |  | 54 | 56 | 0.010664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1702-1_0_6_line_59 |  | 55 | 59 | 0.022009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1702-1_0_6_line_60 |  | 55 | 60 | 0.009482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_1702-1_0_6_line_61 |  | 57 | 61 | 0.004654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1702-1_0_6_line_62 |  | 60 | 63 | 0.012255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_1702-1_0_6_line_63 |  | 62 | 65 | 0.026489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1702-1_0_6_line_64 |  | 64 | 65 | 0.013442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1702-1_0_6_line_65 |  | 64 | 66 | 0.015144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1702-1_0_6_line_66 |  | 66 | 67 | 0.025029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1702-1_0_6_line_67 |  | 67 | 68 | 0.0039862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1702-1_0_6_trafo_18 | 0.63 MVA 20/0.4 kV | 69 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2677418.5199 | 1226908.1588 | 2677430.2711 | 1226870.2617
1 | 2677435.9259 | 1226852.0254 | 2677430.2711 | 1226870.2617
2 | 2677418.5199 | 1226908.1588 | 2677413.2305 | 1226908.657 | 2677400.1825 | 1226912.4827
3 | 2677423.6394 | 1226909.0705 | 2677418.5199 | 1226908.1588
4 | 2677435.9259 | 1226852.0254 | 2677418.1158 | 1226843.3905
5 | 2677435.9259 | 1226852.0254 | 2677443.0962 | 1226829.3256 | 2677440.3918 | 1226805.9192 | 2677439.1838 | 1226789.2589 | 2677435.0138 | 1226744.9869
6 | 2677400.1825 | 1226912.4827 | 2677396.0199 | 1226913.7032 | 2677386.4206 | 1226915.7242 | 2677368.148 | 1226916.754
7 | 2677423.6394 | 1226909.0705 | 2677430.8647 | 1226914.1568 | 2677441.3406 | 1226923.3993 | 2677449.8394 | 1226931.3448
8 | 2677402.3959 | 1226830.875 | 2677407.2949 | 1226833.5961 | 2677409.556 | 1226839.2404 | 2677418.1158 | 1226843.3905
9 | 2677360.571 | 1226914.2315 | 2677368.148 | 1226916.754
10 | 2677474.3247 | 1226953.4368 | 2677470.2203 | 1226950.0375 | 2677458.8642 | 1226940.8835 | 2677451.8094 | 1226933.1865 | 2677449.8394 | 1226931.3448
11 | 2677402.3959 | 1226830.875 | 2677391.6061 | 1226852.1489
12 | 2677402.3959 | 1226830.875 | 2677404.6493 | 1226826.4499
13 | 2677360.571 | 1226914.2315 | 2677354.011 | 1226914.5131 | 2677347.547 | 1226912.6612 | 2677339.2225 | 1226909.3286 | 2677324.8264 | 1226902.5258
14 | 2677488.6902 | 1226966.4334 | 2677477.449 | 1226956.0245 | 2677474.3247 | 1226953.4368
15 | 2677391.6061 | 1226852.1489 | 2677379.7839 | 1226877.4893
16 | 2677409.7829 | 1226796.1811 | 2677414.3693 | 1226800.7883 | 2677414.4604 | 1226807.1827 | 2677404.6493 | 1226826.4499
17 | 2677472.3763 | 1226608.2139 | 2677464.9134 | 1226596.898 | 2677462.2634 | 1226592.594
18 | 2677413.9489 | 1226550.0702 | 2677433.9231 | 1226554.0771 | 2677438.4266 | 1226555.748 | 2677441.2596 | 1226559.9766 | 2677462.2634 | 1226592.594
19 | 2677472.3763 | 1226608.2139 | 2677481.0803 | 1226622.034
20 | 2677413.9489 | 1226550.0702 | 2677408.2579 | 1226580.8168 | 2677404.8813 | 1226603.7994 | 2677397.3759 | 1226669.7126 | 2677394.9713 | 1226690.8178 | 2677392.3395 | 1226712.6337
21 | 2677324.8264 | 1226902.5258 | 2677309.6868 | 1226933.1092
22 | 2677557.5265 | 1226737.8256 | 2677550.1148 | 1226726.9392
23 | 2677546.9536 | 1226722.2962 | 2677550.1148 | 1226726.9392
24 | 2677488.6902 | 1226966.4334 | 2677461.5381 | 1227035.2817
25 | 2677488.6902 | 1226966.4334 | 2677496.8623 | 1226970.9762 | 2677510.7637 | 1226975.0044 | 2677514.4913 | 1226975.0906
26 | 2677379.2759 | 1226782.0971 | 2677409.7829 | 1226796.1811
27 | 2677486.2784 | 1226630.2874 | 2677481.0803 | 1226622.034
28 | 2677391.5643 | 1226719.0591 | 2677392.3395 | 1226712.6337
29 | 2677309.6868 | 1226933.1092 | 2677304.0083 | 1226944.5802
30 | 2677283.0288 | 1226986.9605 | 2677304.0083 | 1226944.5802
31 | 2677391.5643 | 1226719.0591 | 2677389.033 | 1226740.0069 | 2677383.9177 | 1226765.5575 | 2677379.2759 | 1226782.0971
32 | 2677277.6249 | 1226997.8767 | 2677283.0288 | 1226986.9605
33 | 2677514.4913 | 1226975.0906 | 2677522.8872 | 1226975.2847 | 2677532.75 | 1226972.2334 | 2677541.1821 | 1226970.7867 | 2677552.8956 | 1226968.7936 | 2677562.8571 | 1226959.3393 | 2677569.2465 | 1226958.7666 | 2677575.4678 | 1226960.6267 | 2677577.9564 | 1226966.2407 | 2677575.3914 | 1226978.1041 | 2677578.2866 | 1226986.6602
34 | 2677585.0806 | 1226997.0765 | 2677579.5294 | 1226990.333 | 2677578.2866 | 1226986.6602
35 | 2677585.0806 | 1226997.0765 | 2677585.0806 | 1226997.0765 | 2677589.9749 | 1226998.9749
36 | 2677537.0544 | 1226707.7563 | 2677546.9536 | 1226722.2962
37 | 2677601.0244 | 1227000.0791 | 2677589.9749 | 1226998.9749 | 2677589.9749 | 1226998.9749
38 | 2677277.6249 | 1226997.8767 | 2677150.8478 | 1227048.5797
39 | 2677277.6249 | 1226997.8767 | 2677286.8964 | 1227005.3243 | 2677291.3039 | 1227014.7837
40 | 2677299.4776 | 1227032.8542 | 2677298.5247 | 1227030.281 | 2677291.3039 | 1227014.7837
41 | 2677304.1273 | 1227045.4104 | 2677299.4776 | 1227032.8542
42 | 2677352.0779 | 1227146.997 | 2677338.1344 | 1227129.3844 | 2677315.0073 | 1227074.7917 | 2677304.1273 | 1227045.4104
43 | 2677354.9124 | 1227150.5773 | 2677352.0779 | 1227146.997
44 | 2677354.9124 | 1227150.5773 | 2677363.8378 | 1227161.8514 | 2677367.8102 | 1227169.9418 | 2677369.3333 | 1227185.6945 | 2677374.6414 | 1227211.125 | 2677374.7478 | 1227217.6055
45 | 2677374.7478 | 1227217.6055 | 2677374.9035 | 1227227.0947 | 2677373.6636 | 1227235.1658
46 | 2677486.2784 | 1226630.2874 | 2677492.8156 | 1226640.5016 | 2677505.5024 | 1226659.2683
47 | 2677454.0705 | 1226656.5414 | 2677463.1192 | 1226661.329 | 2677465.9762 | 1226658.4643 | 2677476.5751 | 1226651.3086 | 2677492.8156 | 1226640.5016 | 2677486.2784 | 1226630.2874
48 | 2677551.14 | 1226623.2942 | 2677565.2017 | 1226642.2607
49 | 2677551.14 | 1226623.2942 | 2677540.5934 | 1226631.6077
50 | 2677540.5934 | 1226631.6077 | 2677523.8739 | 1226644.7869
51 | 2677505.5024 | 1226659.2683 | 2677523.8739 | 1226644.7869
52 | 2677505.5024 | 1226659.2683 | 2677511.7238 | 1226668.8292
53 | 2677454.0705 | 1226656.5414 | 2677452.207 | 1226669.259
54 | 2677452.1406 | 1226644.675 | 2677456.1811 | 1226647.5517 | 2677454.0705 | 1226656.5414
55 | 2677454.0705 | 1226656.5414 | 2677463.1192 | 1226661.329 | 2677461.9617 | 1226665.2277 | 2677462.0102 | 1226669.6535 | 2677465.5568 | 1226677.8607 | 2677476.1251 | 1226693.4199 | 2677477.9007 | 1226698.5131 | 2677478.69 | 1226703.6712 | 2677479.0658 | 1226717.2964 | 2677476.2326 | 1226716.5924
56 | 2677511.7238 | 1226668.8292 | 2677515.2757 | 1226674.2876
57 | 2677476.2326 | 1226716.5924 | 2677479.0658 | 1226717.2964 | 2677477.2841 | 1226728.9699 | 2677476.9425 | 1226734.2468 | 2677477.6967 | 1226738.0258 | 2677479.5256 | 1226741.3518 | 2677493.2796 | 1226762.5451
58 | 2677476.2326 | 1226716.5924 | 2677472.5493 | 1226726.5998
59 | 2677505.1052 | 1226749.6572 | 2677507.7492 | 1226754.417 | 2677502.5762 | 1226757.5962 | 2677493.2796 | 1226762.5451
60 | 2677493.2796 | 1226762.5451 | 2677485.314 | 1226767.7227
61 | 2677447.6332 | 1226668.3322 | 2677452.207 | 1226669.259
62 | 2677485.314 | 1226767.7227 | 2677479.6564 | 1226778.5935
63 | 2677529.723 | 1226696.4895 | 2677515.2757 | 1226674.2876
64 | 2677537.0544 | 1226707.7563 | 2677529.723 | 1226696.4895
65 | 2677537.0544 | 1226707.7563 | 2677550.9028 | 1226701.6269
66 | 2677573.423 | 1226690.8964 | 2677571.3388 | 1226692.5818 | 2677550.9028 | 1226701.6269
67 | 2677576.5225 | 1226688.39 | 2677573.423 | 1226690.8964

## bus_geodata
| x | y | coords
0 | 2677430.2711 | 1226870.2617
1 | 2677418.5199 | 1226908.1588
2 | 2677435.9259 | 1226852.0254
3 | 2677400.1825 | 1226912.4827
4 | 2677423.6394 | 1226909.0705
5 | 2677418.1158 | 1226843.3905
6 | 2677435.0138 | 1226744.9869
7 | 2677368.148 | 1226916.754
8 | 2677449.8394 | 1226931.3448
9 | 2677402.3959 | 1226830.875
10 | 2677360.571 | 1226914.2315
11 | 2677474.3247 | 1226953.4368
12 | 2677391.6061 | 1226852.1489
13 | 2677404.6493 | 1226826.4499
14 | 2677462.2634 | 1226592.594
15 | 2677472.3763 | 1226608.2139
16 | 2677413.9489 | 1226550.0702
17 | 2677324.8264 | 1226902.5258
18 | 2677557.5265 | 1226737.8256
19 | 2677550.1148 | 1226726.9392
20 | 2677488.6902 | 1226966.4334
21 | 2677379.7839 | 1226877.4893
22 | 2677409.7829 | 1226796.1811
23 | 2677481.0803 | 1226622.034
24 | 2677392.3395 | 1226712.6337
25 | 2677309.6868 | 1226933.1092
26 | 2677304.0083 | 1226944.5802
27 | 2677379.2759 | 1226782.0971
28 | 2677391.5643 | 1226719.0591
29 | 2677283.0288 | 1226986.9605
30 | 2677461.5381 | 1227035.2817
31 | 2677514.4913 | 1226975.0906
32 | 2677578.2866 | 1226986.6602
33 | 2677585.0806 | 1226997.0765
34 | 2677546.9536 | 1226722.2962
35 | 2677601.0244 | 1227000.0791
36 | 2677589.9749 | 1226998.9749
37 | 2677150.8478 | 1227048.5797
38 | 2677277.6249 | 1226997.8767
39 | 2677291.3039 | 1227014.7837
40 | 2677304.1273 | 1227045.4104
41 | 2677299.4776 | 1227032.8542
42 | 2677352.0779 | 1227146.997
43 | 2677354.9124 | 1227150.5773
44 | 2677374.7478 | 1227217.6055
45 | 2677373.6636 | 1227235.1658
46 | 2677486.2784 | 1226630.2875
47 | 2677551.14 | 1226623.2942
48 | 2677565.2017 | 1226642.2607
49 | 2677540.5934 | 1226631.6077
50 | 2677505.5024 | 1226659.2683
51 | 2677454.0705 | 1226656.5414
52 | 2677523.8739 | 1226644.7869
53 | 2677511.7238 | 1226668.8292
54 | 2677476.2326 | 1226716.5924
55 | 2677493.2796 | 1226762.5451
56 | 2677472.5493 | 1226726.5998
57 | 2677452.207 | 1226669.259
58 | 2677452.1406 | 1226644.675
59 | 2677505.1052 | 1226749.6572
60 | 2677485.314 | 1226767.7227
61 | 2677447.6333 | 1226668.3322
62 | 2677515.2757 | 1226674.2876
63 | 2677479.6564 | 1226778.5935
64 | 2677537.0544 | 1226707.7563
65 | 2677529.723 | 1226696.4895
66 | 2677550.9028 | 1226701.6269
67 | 2677573.423 | 1226690.8964
68 | 2677576.5225 | 1226688.39
69 | 2677379.2759 | 1226782.0971

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99123 | -0.16808 | 0.01704 | 0.0042706
1 | 0.98864 | -0.21823 | 0 | 0
2 | 0.99278 | -0.13829 | 0 | 0
3 | 0.98761 | -0.23811 | 0.019767 | 0.004954
4 | 0.98858 | -0.21935 | 0 | 0
5 | 0.99482 | -0.098956 | 0.019197 | 0.0048111
6 | 0.99034 | -0.18541 | 0.024489 | 0.0061375
7 | 0.98644 | -0.26083 | 0.005536 | 0.0013875
8 | 0.98819 | -0.22682 | 0.0029504 | 0.00073945
9 | 0.99739 | -0.049883 | 0 | 0
10 | 0.98619 | -0.26563 | 0 | 0
11 | 0.98791 | -0.23226 | 0.004905 | 0.0012293
12 | 0.99653 | -0.066486 | 0 | 0
13 | 0.99778 | -0.042425 | 0.03958 | 0.0099197
14 | 0.9802 | -0.37759 | 0 | 0
15 | 0.97913 | -0.39862 | 0 | 0
16 | 0.98421 | -0.2999 | 0 | 0
17 | 0.98501 | -0.28858 | 0 | 0
18 | 0.97477 | -0.48412 | 0.0025646 | 0.00064275
19 | 0.9748 | -0.4835 | 0.0025234 | 0.00063243
20 | 0.98784 | -0.23375 | 0 | 0
21 | 0.99551 | -0.085993 | 0.039708 | 0.0099517
22 | 1 | 0 | -0.41199 | -0.10526
23 | 0.97818 | -0.41713 | 0.0050643 | 0.0012692
24 | 0.99374 | -0.11784 | 0.0062082 | 0.0015559
25 | 0.98396 | -0.3092 | 0.010973 | 0.0027502
26 | 0.98369 | -0.31441 | 0.0052718 | 0.0013212
27 | 0.99798 | -0.037761 | 0 | 0
28 | 0.99412 | -0.11049 | 0 | 0
29 | 0.98293 | -0.3292 | 0.0019325 | 0.00048434
30 | 0.98778 | -0.23484 | 0.00082073 | 0.0002057
31 | 0.98775 | -0.23546 | 0.00033426 | 8.3772e-05
32 | 0.98748 | -0.24069 | 0.002042 | 0.00051178
33 | 0.98747 | -0.24094 | 0.00022063 | 5.5295e-05
34 | 0.97483 | -0.48298 | 0.002529 | 0.00063382
35 | 0.98746 | -0.24108 | 0.00027487 | 6.889e-05
36 | 0.98747 | -0.24103 | 0.00060455 | 0.00015151
37 | 0.98117 | -0.36365 | 0.012583 | 0.0031536
38 | 0.98276 | -0.33259 | 0 | 0
39 | 0.9827 | -0.33372 | 0.00018212 | 4.5645e-05
40 | 0.98262 | -0.33528 | 0.0002033 | 5.0951e-05
41 | 0.98265 | -0.33467 | 0.00013103 | 3.2839e-05
42 | 0.98238 | -0.33998 | 0.0007713 | 0.00019331
43 | 0.98237 | -0.34011 | 0.00063188 | 0.00015836
44 | 0.98232 | -0.34127 | 0.00026076 | 6.5353e-05
45 | 0.98231 | -0.34147 | 0.00063518 | 0.00015919
46 | 0.97763 | -0.4279 | 0 | 0
47 | 0.9757 | -0.4659 | 0 | 0
48 | 0.97558 | -0.46809 | 0.005061 | 0.0012684
49 | 0.97576 | -0.46465 | 0.0023438 | 0.0005874
50 | 0.97618 | -0.45641 | 0 | 0
51 | 0.97513 | -0.47685 | 0 | 0
52 | 0.9759 | -0.46177 | 0.0050988 | 0.0012779
53 | 0.97583 | -0.46317 | 0.0076155 | 0.0019086
54 | 0.973 | -0.51884 | 0 | 0
55 | 0.97216 | -0.53549 | 0 | 0
56 | 0.97258 | -0.52708 | 0.041915 | 0.010505
57 | 0.97487 | -0.48201 | 0 | 0
58 | 0.97484 | -0.48253 | 0.021838 | 0.0054732
59 | 0.97203 | -0.53809 | 0.0064113 | 0.0016068
60 | 0.97203 | -0.5381 | 0 | 0
61 | 0.97478 | -0.48387 | 0.021866 | 0.00548
62 | 0.97568 | -0.46613 | 0.0034227 | 0.00085782
63 | 0.97186 | -0.54148 | 0.044787 | 0.011225
64 | 0.97495 | -0.48052 | 0 | 0
65 | 0.97516 | -0.47649 | 0.004977 | 0.0012474
66 | 0.97483 | -0.48295 | 0.0032927 | 0.00082524
67 | 0.9747 | -0.48546 | 0.0022413 | 0.00056172
68 | 0.97469 | -0.4857 | 0.0032193 | 0.00080684
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.071428 | 0.018044 | -0.071257 | -0.017935 | 0.00017123 | 0.00010908 | 0.10728 | 0.10728 | 0.10728 | 0.99123 | -0.16808 | 0.98864 | -0.21823 | 29.4717
1 | -0.088468 | -0.022314 | 0.088594 | 0.022395 | 0.00012638 | 8.0635e-05 | 0.13286 | 0.13286 | 0.13286 | 0.99123 | -0.16808 | 0.99278 | -0.13829 | 36.499
2 | 0.059095 | 0.014887 | -0.059039 | -0.014852 | 5.6136e-05 | 3.5685e-05 | 0.088973 | 0.088973 | 0.088973 | 0.98864 | -0.21823 | 0.98761 | -0.23811 | 24.4432
3 | 0.012161 | 0.0030473 | -0.012161 | -0.0030469 | 6.5143e-07 | 3.5044e-07 | 0.018304 | 0.018304 | 0.018304 | 0.98864 | -0.21823 | 0.98858 | -0.21935 | 5.0286
4 | -0.11314 | -0.028566 | 0.11335 | 0.028703 | 0.00021363 | 0.00013646 | 0.16965 | 0.16965 | 0.16965 | 0.99278 | -0.13829 | 0.99482 | -0.098956 | 46.6074
5 | 0.024544 | 0.0061714 | -0.024489 | -0.0061375 | 5.5105e-05 | 3.3867e-05 | 0.036795 | 0.036795 | 0.036795 | 0.99278 | -0.13829 | 0.99034 | -0.18541 | 10.1086
6 | 0.039273 | 0.0098977 | -0.03923 | -0.0098708 | 4.2633e-05 | 2.6871e-05 | 0.059191 | 0.059191 | 0.059191 | 0.98761 | -0.23811 | 0.98644 | -0.26083 | 16.2614
7 | 0.012161 | 0.0030469 | -0.012156 | -0.0030446 | 4.3271e-06 | 2.328e-06 | 0.018304 | 0.018304 | 0.018304 | 0.98858 | -0.21935 | 0.98819 | -0.22682 | 5.0286
8 | -0.13255 | -0.033514 | 0.13286 | 0.033714 | 0.00031278 | 0.0001999 | 0.19836 | 0.19836 | 0.19836 | 0.99482 | -0.098956 | 0.99739 | -0.049883 | 54.4957
9 | 0.033694 | 0.0084834 | -0.033686 | -0.0084785 | 7.7406e-06 | 4.8521e-06 | 0.05084 | 0.05084 | 0.05084 | 0.98644 | -0.26083 | 0.98619 | -0.26563 | 13.9672
10 | 0.0092059 | 0.0023052 | -0.0092035 | -0.0023041 | 2.3816e-06 | 1.1009e-06 | 0.013861 | 0.013862 | 0.013862 | 0.98819 | -0.22682 | 0.98791 | -0.23226 | 3.8081
11 | 0.039776 | 0.0099948 | -0.039745 | -0.009975 | 3.1496e-05 | 1.9847e-05 | 0.059352 | 0.059352 | 0.059352 | 0.99739 | -0.049883 | 0.99653 | -0.066486 | 16.3054
12 | -0.17264 | -0.043709 | 0.1727 | 0.043748 | 6.184e-05 | 3.9448e-05 | 0.25772 | 0.25772 | 0.25772 | 0.99739 | -0.049883 | 0.99778 | -0.042425 | 35.4005
13 | 0.033686 | 0.0084785 | -0.033649 | -0.0084554 | 3.6911e-05 | 2.3138e-05 | 0.05084 | 0.050841 | 0.050841 | 0.98619 | -0.26563 | 0.98501 | -0.28858 | 13.9672
14 | 0.0042985 | 0.0010747 | -0.0042982 | -0.0010748 | 3.0452e-07 | -5.3197e-08 | 0.0064736 | 0.0064736 | 0.0064736 | 0.98791 | -0.23226 | 0.98784 | -0.23375 | 1.7785
15 | 0.039745 | 0.009975 | -0.039708 | -0.0099517 | 3.6938e-05 | 2.3276e-05 | 0.059352 | 0.059352 | 0.059352 | 0.99653 | -0.066486 | 0.99551 | -0.085993 | 16.3055
16 | -0.21228 | -0.053668 | 0.21271 | 0.053943 | 0.00043287 | 0.00027568 | 0.31674 | 0.31674 | 0.31674 | 0.99778 | -0.042425 | 1 | 0 | 29.0058
17 | 0.18791 | 0.047524 | -0.18772 | -0.047404 | 0.00018934 | 0.00012048 | 0.28541 | 0.28541 | 0.28541 | 0.9802 | -0.37759 | 0.97913 | -0.39862 | 26.1367
18 | -0.18791 | -0.047524 | 0.18861 | 0.047972 | 0.00070321 | 0.00044743 | 0.28541 | 0.28541 | 0.28541 | 0.9802 | -0.37759 | 0.98421 | -0.2999 | 26.1367
19 | 0.18772 | 0.047404 | -0.18755 | -0.047298 | 0.00016631 | 0.00010582 | 0.28541 | 0.28541 | 0.28541 | 0.97913 | -0.39862 | 0.97818 | -0.41713 | 26.1367
20 | -0.18861 | -0.047972 | 0.19028 | 0.049034 | 0.0016705 | 0.0010628 | 0.28541 | 0.28541 | 0.28541 | 0.98421 | -0.2999 | 0.99374 | -0.11784 | 26.1366
21 | 0.033649 | 0.0084554 | -0.033616 | -0.0084346 | 3.3078e-05 | 2.0736e-05 | 0.050841 | 0.050841 | 0.050841 | 0.98501 | -0.28858 | 0.98396 | -0.3092 | 13.9673
22 | -0.0025646 | -0.00064275 | 0.0025647 | 0.00064263 | 7.5694e-08 | -1.1573e-07 | 0.0039149 | 0.0039149 | 0.0039149 | 0.97477 | -0.48412 | 0.9748 | -0.4835 | 1.0755
23 | -0.0050881 | -0.0012751 | 0.0050882 | 0.0012751 | 1.2706e-07 | 1.1295e-08 | 0.0077668 | 0.0077668 | 0.0077668 | 0.9748 | -0.4835 | 0.97483 | -0.48298 | 2.1337
24 | 0.00082078 | 0.00020478 | -0.00082073 | -0.0002057 | 4.2403e-08 | -9.2008e-07 | 0.001236 | 0.0012364 | 0.0012364 | 0.98784 | -0.23375 | 0.98778 | -0.23484 | 0.33966
25 | 0.0034774 | 0.00087003 | -0.0034771 | -0.0008702 | 2.8344e-07 | -1.7129e-07 | 0.0052376 | 0.0052377 | 0.0052377 | 0.98784 | -0.23375 | 0.98775 | -0.23546 | 1.4389
26 | 0.19762 | 0.051312 | -0.19726 | -0.05108 | 0.00036478 | 0.00023214 | 0.2947 | 0.2947 | 0.2947 | 1 | 0 | 0.99798 | -0.037761 | 26.9876
27 | 0.18249 | 0.046029 | -0.18239 | -0.045969 | 9.4032e-05 | 5.9813e-05 | 0.27771 | 0.27771 | 0.27771 | 0.97818 | -0.41713 | 0.97763 | -0.4279 | 25.4313
28 | -0.19649 | -0.05059 | 0.19656 | 0.050635 | 7.0262e-05 | 4.4716e-05 | 0.29471 | 0.29471 | 0.29471 | 0.99374 | -0.11784 | 0.99412 | -0.11049 | 26.9877
29 | 0.022643 | 0.0056844 | -0.022637 | -0.005681 | 5.6292e-06 | 3.4401e-06 | 0.034246 | 0.034246 | 0.034246 | 0.98396 | -0.3092 | 0.98369 | -0.31441 | 9.4082
30 | 0.017365 | 0.0043597 | -0.017353 | -0.0043525 | 1.2239e-05 | 7.2333e-06 | 0.026271 | 0.026272 | 0.026272 | 0.98369 | -0.31441 | 0.98293 | -0.3292 | 7.2175
31 | 0.19726 | 0.05108 | -0.19656 | -0.050635 | 0.0006985 | 0.00044453 | 0.2947 | 0.29471 | 0.29471 | 0.99798 | -0.037761 | 0.99412 | -0.11049 | 26.9877
32 | 0.015421 | 0.0038682 | -0.015418 | -0.0038667 | 2.4895e-06 | 1.4389e-06 | 0.023346 | 0.023346 | 0.023346 | 0.98293 | -0.3292 | 0.98276 | -0.33259 | 6.4137
33 | 0.0031429 | 0.00078642 | -0.0031421 | -0.00078712 | 7.8265e-07 | -6.9061e-07 | 0.0047342 | 0.0047346 | 0.0047346 | 0.98775 | -0.23546 | 0.98748 | -0.24069 | 1.3007
34 | 0.0011001 | 0.00027534 | -0.0011001 | -0.00027549 | 1.2994e-08 | -1.5302e-07 | 0.0016575 | 0.0016576 | 0.0016576 | 0.98748 | -0.24069 | 0.98747 | -0.24094 | 0.45538
35 | 0.00087943 | 0.0002202 | -0.00087942 | -0.00022026 | 3.4568e-09 | -6.4943e-08 | 0.0013251 | 0.0013252 | 0.0013252 | 0.98747 | -0.24094 | 0.98747 | -0.24103 | 0.36405
36 | -0.0076172 | -0.0019089 | 0.0076181 | 0.0019092 | 8.9173e-07 | 3.5139e-07 | 0.011627 | 0.011627 | 0.011627 | 0.97483 | -0.48298 | 0.97495 | -0.48052 | 3.1943
37 | -0.00027487 | -6.889e-05 | 0.00027487 | 6.8748e-05 | 7.1437e-10 | -1.416e-07 | 0.00041421 | 0.00041416 | 0.00041421 | 0.98746 | -0.24108 | 0.98747 | -0.24103 | 0.11379
38 | -0.012583 | -0.0031536 | 0.012602 | 0.0031638 | 1.8646e-05 | 1.0206e-05 | 0.019083 | 0.019083 | 0.019083 | 0.98117 | -0.36365 | 0.98276 | -0.33259 | 5.2426
39 | 0.0028165 | 0.00070291 | -0.0028163 | -0.0007031 | 1.522e-07 | -1.8549e-07 | 0.0042635 | 0.0042636 | 0.0042636 | 0.98276 | -0.33259 | 0.9827 | -0.33372 | 1.1713
40 | 0.0026342 | 0.00065746 | -0.0026341 | -0.00065763 | 1.1832e-07 | -1.7563e-07 | 0.0039878 | 0.0039879 | 0.0039879 | 0.9827 | -0.33372 | 0.98265 | -0.33467 | 1.0956
41 | -0.002503 | -0.00062492 | 0.0025031 | 0.00062479 | 7.2103e-08 | -1.2347e-07 | 0.0037895 | 0.0037895 | 0.0037895 | 0.98262 | -0.33528 | 0.98265 | -0.33467 | 1.0411
42 | 0.0022997 | 0.00057396 | -0.0022992 | -0.00057507 | 5.1413e-07 | -1.1031e-06 | 0.0034817 | 0.0034822 | 0.0034822 | 0.98262 | -0.33528 | 0.98238 | -0.33998 | 0.95664
43 | 0.0015279 | 0.00038176 | -0.0015279 | -0.00038181 | 9.1686e-09 | -5.1948e-08 | 0.0023139 | 0.0023139 | 0.0023139 | 0.98238 | -0.33998 | 0.98237 | -0.34011 | 0.63569
44 | 0.000896 | 0.00022345 | -0.00089595 | -0.00022433 | 4.9493e-08 | -8.7578e-07 | 0.0013568 | 0.0013571 | 0.0013571 | 0.98237 | -0.34011 | 0.98232 | -0.34127 | 0.37283
45 | 0.00063519 | 0.00015897 | -0.00063518 | -0.00015919 | 6.1294e-09 | -2.1959e-07 | 0.00096211 | 0.00096219 | 0.00096219 | 0.98232 | -0.34127 | 0.98231 | -0.34147 | 0.26434
46 | 0.044986 | 0.011309 | -0.044925 | -0.01127 | 6.1169e-05 | 3.8713e-05 | 0.068484 | 0.068484 | 0.068484 | 0.97763 | -0.4279 | 0.97618 | -0.45641 | 18.8142
47 | 0.13741 | 0.03466 | -0.13709 | -0.034457 | 0.00032124 | 0.00020339 | 0.20923 | 0.20923 | 0.20923 | 0.97763 | -0.4279 | 0.97513 | -0.47685 | 19.16
48 | 0.0050615 | 0.0012684 | -0.005061 | -0.0012684 | 5.2758e-07 | 4.2803e-08 | 0.0077192 | 0.0077193 | 0.0077193 | 0.9757 | -0.4659 | 0.97558 | -0.46809 | 2.1207
49 | -0.0050615 | -0.0012684 | 0.0050618 | 0.0012685 | 3.0007e-07 | 2.4312e-08 | 0.0077192 | 0.0077191 | 0.0077192 | 0.9757 | -0.4659 | 0.97576 | -0.46465 | 2.1207
50 | -0.0074056 | -0.0018559 | 0.0074066 | 0.0018563 | 1.0182e-06 | 3.8568e-07 | 0.011293 | 0.011293 | 0.011293 | 0.97576 | -0.46465 | 0.9759 | -0.46177 | 3.1026
51 | 0.012509 | 0.0031359 | -0.012505 | -0.0031341 | 3.1894e-06 | 1.7488e-06 | 0.019067 | 0.019068 | 0.019068 | 0.97618 | -0.45641 | 0.9759 | -0.46177 | 5.2383
52 | 0.032416 | 0.0081343 | -0.032406 | -0.0081278 | 1.0446e-05 | 6.5427e-06 | 0.049416 | 0.049416 | 0.049416 | 0.97618 | -0.45641 | 0.97583 | -0.46317 | 13.5759
53 | 0.021873 | 0.0054845 | -0.021868 | -0.0054812 | 5.3707e-06 | 3.2769e-06 | 0.033378 | 0.033378 | 0.033378 | 0.97513 | -0.47685 | 0.97487 | -0.48201 | 9.1699
54 | 0.021844 | 0.0054768 | -0.021838 | -0.0054732 | 5.9102e-06 | 3.6057e-06 | 0.033334 | 0.033334 | 0.033334 | 0.97513 | -0.47685 | 0.97484 | -0.48253 | 9.1577
55 | 0.093371 | 0.023495 | -0.093184 | -0.023378 | 0.00018696 | 0.00011691 | 0.14251 | 0.14252 | 0.14252 | 0.97513 | -0.47685 | 0.973 | -0.51884 | 13.0509
56 | 0.02479 | 0.0062192 | -0.024787 | -0.006217 | 3.4901e-06 | 2.1523e-06 | 0.037804 | 0.037804 | 0.037804 | 0.97583 | -0.46317 | 0.97568 | -0.46613 | 10.3857
57 | 0.051252 | 0.012863 | -0.051212 | -0.012839 | 4.0654e-05 | 2.4048e-05 | 0.078387 | 0.078388 | 0.078388 | 0.973 | -0.51884 | 0.97216 | -0.53549 | 7.1784
58 | 0.041932 | 0.010515 | -0.041915 | -0.010505 | 1.6445e-05 | 1.0393e-05 | 0.064129 | 0.064129 | 0.064129 | 0.973 | -0.51884 | 0.97258 | -0.52708 | 17.6178
59 | 0.0064121 | 0.001607 | -0.0064113 | -0.0016068 | 7.9501e-07 | 2.3596e-07 | 0.0098145 | 0.0098146 | 0.0098146 | 0.97216 | -0.53549 | 0.97203 | -0.53809 | 2.6963
60 | 0.0448 | 0.011232 | -0.044794 | -0.011229 | 5.5734e-06 | 3.2143e-06 | 0.068573 | 0.068573 | 0.068573 | 0.97216 | -0.53549 | 0.97203 | -0.5381 | 6.2796
61 | 0.021868 | 0.0054812 | -0.021866 | -0.00548 | 1.9444e-06 | 1.1864e-06 | 0.033378 | 0.033378 | 0.033378 | 0.97487 | -0.48201 | 0.97478 | -0.48387 | 9.1699
62 | 0.044794 | 0.011229 | -0.044787 | -0.011225 | 7.2033e-06 | 4.1545e-06 | 0.068573 | 0.068573 | 0.068573 | 0.97203 | -0.5381 | 0.97186 | -0.54148 | 6.2796
63 | 0.021364 | 0.0053592 | -0.021353 | -0.0053528 | 1.0546e-05 | 6.419e-06 | 0.032584 | 0.032584 | 0.032584 | 0.97568 | -0.46613 | 0.97516 | -0.47649 | 8.9517
64 | -0.016373 | -0.0041036 | 0.016376 | 0.0041054 | 3.1478e-06 | 1.847e-06 | 0.02499 | 0.024989 | 0.02499 | 0.97495 | -0.48052 | 0.97516 | -0.47649 | 6.8653
65 | 0.0087551 | 0.0021943 | -0.0087541 | -0.0021939 | 1.014e-06 | 4.6015e-07 | 0.013362 | 0.013363 | 0.013363 | 0.97495 | -0.48052 | 0.97483 | -0.48295 | 3.671
66 | 0.0054613 | 0.0013686 | -0.0054607 | -0.0013685 | 6.5227e-07 | 1.0546e-07 | 0.0083364 | 0.0083365 | 0.0083365 | 0.97483 | -0.48295 | 0.9747 | -0.48546 | 2.2902
67 | 0.0032194 | 0.00080682 | -0.0032193 | -0.00080684 | 3.6108e-08 | -2.6574e-08 | 0.0049148 | 0.0049148 | 0.0049148 | 0.9747 | -0.48546 | 0.97469 | -0.4857 | 1.3502

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43167 | 0.11019

## res_load
| p_mw | q_mvar
0 | 0.01704 | 0.0042706
1 | 0.019767 | 0.004954
2 | 0.019197 | 0.0048111
3 | 0.024489 | 0.0061375
4 | 0.005536 | 0.0013875
5 | 0.0029504 | 0.00073945
6 | 0.004905 | 0.0012293
7 | 0.03958 | 0.0099197
8 | 0.0025646 | 0.00064275
9 | 0.0025234 | 0.00063243
10 | 0.039708 | 0.0099517
11 | 0.019688 | 0.0049342
12 | 0.0050643 | 0.0012692
13 | 0.0062082 | 0.0015559
14 | 0.010973 | 0.0027502
15 | 0.0052718 | 0.0013212
16 | 0.0019325 | 0.00048434
17 | 0.00082073 | 0.0002057
18 | 0.00033426 | 8.3772e-05
19 | 0.002042 | 0.00051178
20 | 0.00022063 | 5.5295e-05
21 | 0.002529 | 0.00063382
22 | 0.00027487 | 6.889e-05
23 | 0.00060455 | 0.00015151
24 | 0.012583 | 0.0031536
25 | 0.00018212 | 4.5645e-05
26 | 0.0002033 | 5.0951e-05
27 | 0.00013103 | 3.2839e-05
28 | 0.0007713 | 0.00019331
29 | 0.00063188 | 0.00015836
30 | 0.00026076 | 6.5353e-05
31 | 0.00063518 | 0.00015919
32 | 0.005061 | 0.0012684
33 | 0.0023438 | 0.0005874
34 | 0.0050988 | 0.0012779
35 | 0.0076155 | 0.0019086
36 | 0.041915 | 0.010505
37 | 0.021838 | 0.0054732
38 | 0.0064113 | 0.0016068
39 | 0.021866 | 0.00548
40 | 0.0034227 | 0.00085782
41 | 0.044787 | 0.011225
42 | 0.004977 | 0.0012474
43 | 0.0032927 | 0.00082524
44 | 0.0022413 | 0.00056172
45 | 0.0032193 | 0.00080684

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1