## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1702-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1702-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1702-22_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1702-22_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1702-22_0_4_node_70 | 0.4 | n |  | TRUE
5 | bus_LV_1702-22_0_4_node_73 | 0.4 | n |  | TRUE
6 | bus_LV_1702-22_0_4_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_1702-22_0_4_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_1702-22_0_4_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_1702-22_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1702-22_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1702-22_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1702-22_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1702-22_0_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1702-22_0_4_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1702-22_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1702-22_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1702-22_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1702-22_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1702-22_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1702-22_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1702-22_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1702-22_0_4_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_1702-22_0_4_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_1702-22_0_4_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_1702-22_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1702-22_0_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_1702-22_0_4_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_1702-22_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_1702-22_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1702-22_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1702-22_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1702-22_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1702-22_0_4_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_1702-22_0_4_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_1702-22_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1702-22_0_4_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_1702-22_0_4_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_1702-22_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1702-22_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_1702-22_0_4_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_1702-22_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_1702-22_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_1702-22_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_1702-22_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_1702-22_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_1702-22_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_1702-22_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_1702-22_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_1702-22_0_4_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_1702-22_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1702-22_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1702-22_0_4_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_1702-22_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_1702-22_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_1702-22_0_4_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_1702-22_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_1702-22_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_1702-22_0_4_node_29 | 0.4 | n |  | TRUE
59 | bus_LV_1702-22_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_1702-22_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_1702-22_0_4_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_1702-22_0_4_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_1702-22_0_4_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_1702-22_0_4_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_1702-22_0_4_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_1702-22_0_4_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_1702-22_0_4_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_1702-22_0_4_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_1702-22_0_4_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_1702-22_0_4_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_1702-22_0_4_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_1702-22_0_4_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_1702-22_0_4_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_1702-22_0_4_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_1702-22_0_4_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_1702-22_0_4_node_44 | 0.4 | n |  | TRUE
77 | bus_LV_1702-22_0_4_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_1702-22_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_1702-22_0_4_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_1702-22_0_4_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_1702-22_0_4_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_1702-22_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_1702-22_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_1702-22_0_4_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_1702-22_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_1702-22_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_MV_435_1_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1702-22_0_4_load_0 | 0 | 0.0030606 | 0.00076706 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1702-22_0_4_load_2 | 2 | 0.0002844 | 7.1278e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1702-22_0_4_load_3 | 3 | 0.00033748 | 8.4579e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1702-22_0_4_load_69 | 6 | 0.00013136 | 3.2922e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1702-22_0_4_load_74 | 7 | 0.0016264 | 0.00040763 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1702-22_0_4_load_71 | 8 | 0.00094216 | 0.00023613 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1702-22_0_4_load_4 | 9 | 0.001531 | 0.00038372 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1702-22_0_4_load_5 | 10 | 0.0037175 | 0.0009317 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1702-22_0_4_load_6 | 11 | 0.0015316 | 0.00038387 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1702-22_0_4_load_7 | 12 | 0.0010903 | 0.00027325 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1702-22_0_4_load_21 | 13 | 0.0010909 | 0.00027341 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1702-22_0_4_load_20 | 14 | 0.001091 | 0.00027342 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1702-22_0_4_load_8 | 15 | 0.0044684 | 0.0011199 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1702-22_0_4_load_11 | 18 | 0.004545 | 0.0011391 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1702-22_0_4_load_13 | 20 | 0.0090395 | 0.0022655 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1702-22_0_4_load_14 | 21 | 0.009723 | 0.0024368 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1702-22_0_4_load_35 | 22 | 0.0038276 | 0.00095928 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1702-22_0_4_load_55 | 23 | 0.010162 | 0.0025468 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1702-22_0_4_load_75 | 24 | 0.013079 | 0.003278 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1702-22_0_4_load_34 | 25 | 0.0032669 | 0.00081877 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1702-22_0_4_load_56 | 26 | 0.0063742 | 0.0015975 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1702-22_0_4_load_16 | 29 | 0.010536 | 0.0026405 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1702-22_0_4_load_17 | 30 | 0.0065245 | 0.0016352 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1702-22_0_4_load_31 | 32 | 0.012997 | 0.0032572 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1702-22_0_4_load_57 | 33 | 0.017961 | 0.0045015 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1702-22_0_4_load_62 | 36 | 0.0013295 | 0.00033321 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1702-22_0_4_load_61 | 37 | 0.0093979 | 0.0023553 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1702-22_0_4_load_30 | 38 | 0.025849 | 0.0064784 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1702-22_0_4_load_59 | 39 | 0.0059013 | 0.001479 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1702-22_0_4_load_65 | 40 | 0.0023918 | 0.00059944 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1702-22_0_4_load_24 | 43 | 0.001091 | 0.00027343 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1702-22_0_4_load_27 | 44 | 0.0099547 | 0.0024949 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1702-22_0_4_load_28 | 46 | 0.00069788 | 0.0001749 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1702-22_0_4_load_47 | 47 | 0.00042995 | 0.00010776 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1702-22_0_4_load_26 | 48 | 0.0008409 | 0.00021075 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1702-22_0_4_load_66 | 49 | 0.00036248 | 9.0845e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1702-22_0_4_load_46 | 51 | 0.00074907 | 0.00018773 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1702-22_0_4_load_53 | 52 | 0.00046643 | 0.0001169 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1702-22_0_4_load_54 | 53 | 0.00022512 | 5.6419e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1702-22_0_4_load_52 | 57 | 0.00067215 | 0.00016846 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1702-22_0_4_load_64 | 59 | 0.01894 | 0.0047469 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1702-22_0_4_load_63 | 60 | 0.014139 | 0.0035437 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1702-22_0_4_load_32 | 61 | 0.025214 | 0.0063193 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1702-22_0_4_load_33 | 62 | 0.019866 | 0.004979 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1702-22_0_4_load_37 | 64 | 0.01109 | 0.0027794 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1702-22_0_4_load_78 | 67 | 0.012783 | 0.0032038 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1702-22_0_4_load_77 | 70 | 0.0087303 | 0.002188 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1702-22_0_4_load_87 | 71 | 0.0022442 | 0.00056244 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1702-22_0_4_load_45 | 72 | 0.0070618 | 0.0017699 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1702-22_0_4_load_41 | 73 | 0.002355 | 0.00059023 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1702-22_0_4_load_42 | 74 | 0.0024161 | 0.00060552 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1702-22_0_4_load_43 | 75 | 0.00706 | 0.0017694 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1702-22_0_4_load_44 | 76 | 0.0020998 | 0.00052627 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1702-22_0_4_load_80 | 77 | 0.0049993 | 0.0012529 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1702-22_0_4_load_86 | 79 | 0.0008922 | 0.00022361 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1702-22_0_4_load_85 | 80 | 0.00068865 | 0.00017259 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1702-22_0_4_load_83 | 81 | 0.00053386 | 0.0001338 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1702-22_0_4_load_72 | 83 | 0.00029759 | 7.4584e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1702-22_0_4_load_88 | 84 | 0.01479 | 0.0037068 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1702-22_0_4_load_82 | 85 | 0.00144 | 0.00036089 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1702-22_0_4_load_84 | 86 | 0.0024706 | 0.00061918 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1702-22_0_4_line_0 |  | 0 | 1 | 0.027707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1702-22_0_4_line_1 |  | 1 | 2 | 0.042496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1702-22_0_4_line_2 |  | 1 | 3 | 0.02908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1702-22_0_4_line_3 |  | 2 | 4 | 0.023798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1702-22_0_4_line_4 |  | 3 | 5 | 0.011866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1702-22_0_4_line_5 |  | 4 | 6 | 0.062863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1702-22_0_4_line_6 |  | 5 | 7 | 0.12476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1702-22_0_4_line_7 |  | 5 | 8 | 0.0074849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1702-22_0_4_line_8 |  | 6 | 55 | 0.022524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1702-22_0_4_line_9 |  | 8 | 83 | 0.060126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1702-22_0_4_line_10 |  | 9 | 10 | 0.019454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1702-22_0_4_line_11 |  | 9 | 11 | 0.01695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1702-22_0_4_line_12 |  | 10 | 12 | 0.0016009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1702-22_0_4_line_13 |  | 12 | 13 | 0.021753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1702-22_0_4_line_14 |  | 13 | 14 | 0.015343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1702-22_0_4_line_15 |  | 14 | 41 | 0.0062374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1702-22_0_4_line_16 |  | 15 | 16 | 0.0095653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1702-22_0_4_line_17 |  | 15 | 17 | 0.017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1702-22_0_4_line_18 |  | 16 | 18 | 0.011383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1702-22_0_4_line_19 |  | 16 | 19 | 0.042209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1702-22_0_4_line_20 |  | 17 | 20 | 0.031884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1702-22_0_4_line_21 |  | 17 | 21 | 0.019004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1702-22_0_4_line_22 |  | 18 | 22 | 0.01765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1702-22_0_4_line_23 |  | 19 | 23 | 0.037092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1702-22_0_4_line_24 |  | 21 | 24 | 0.0022701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1702-22_0_4_line_25 |  | 22 | 25 | 0.0012404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1702-22_0_4_line_26 |  | 23 | 26 | 0.031509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1702-22_0_4_line_27 |  | 24 | 27 | 0.047382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1702-22_0_4_line_28 |  | 26 | 33 | 0.043202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1702-22_0_4_line_29 |  | 27 | 69 | 0.014385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1702-22_0_4_line_30 |  | 27 | 70 | 0.020078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1702-22_0_4_line_31 |  | 28 | 29 | 0.061003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1702-22_0_4_line_32 |  | 28 | 30 | 0.027063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1702-22_0_4_line_33 |  | 28 | 31 | 0.034505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1702-22_0_4_line_34 |  | 30 | 32 | 0.028429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1702-22_0_4_line_35 |  | 31 | 33 | 0.03221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1702-22_0_4_line_36 |  | 31 | 34 | 0.038157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1702-22_0_4_line_37 |  | 32 | 38 | 0.00011686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1702-22_0_4_line_38 |  | 34 | 37 | 0.035465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1702-22_0_4_line_39 |  | 34 | 39 | 0.065113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1702-22_0_4_line_40 |  | 35 | 36 | 0.0083266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1702-22_0_4_line_41 |  | 35 | 37 | 0.026943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1702-22_0_4_line_42 |  | 36 | 40 | 0.012469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1702-22_0_4_line_43 |  | 40 | 60 | 0.068479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1702-22_0_4_line_44 |  | 41 | 42 | 0.069255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1702-22_0_4_line_45 |  | 41 | 43 | 0.014242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1702-22_0_4_line_46 |  | 42 | 44 | 0.034009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1702-22_0_4_line_47 |  | 43 | 45 | 0.081123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1702-22_0_4_line_48 |  | 44 | 46 | 0.030399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1702-22_0_4_line_49 |  | 45 | 47 | 0.029725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1702-22_0_4_line_50 |  | 46 | 58 | 0.057087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1702-22_0_4_line_51 |  | 47 | 51 | 0.037509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1702-22_0_4_line_52 |  | 48 | 49 | 0.10612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1702-22_0_4_line_53 |  | 48 | 50 | 0.023553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1702-22_0_4_line_54 |  | 49 | 55 | 0.0094379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1702-22_0_4_line_55 |  | 50 | 57 | 0.021274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1702-22_0_4_line_56 |  | 50 | 56 | 0.012709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1702-22_0_4_line_57 |  | 51 | 56 | 0.010317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1702-22_0_4_line_58 |  | 52 | 53 | 0.031543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1702-22_0_4_line_59 |  | 52 | 54 | 0.021664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1702-22_0_4_line_60 |  | 54 | 57 | 0.024055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1702-22_0_4_line_61 |  | 55 | 78 | 0.070949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1702-22_0_4_line_62 |  | 58 | 59 | 0.03236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1702-22_0_4_line_63 |  | 59 | 60 | 0.034549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1702-22_0_4_line_64 |  | 61 | 62 | 0.015182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1702-22_0_4_line_65 |  | 62 | 63 | 0.036074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1702-22_0_4_line_66 |  | 63 | 64 | 0.02223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_1702-22_0_4_line_67 |  | 63 | 65 | 0.011282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_1702-22_0_4_line_68 |  | 64 | 66 | 0.13041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_1702-22_0_4_line_69 |  | 65 | 67 | 0.01449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_1702-22_0_4_line_70 |  | 66 | 68 | 0.048504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_1702-22_0_4_line_71 |  | 67 | 70 | 0.029589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_1702-22_0_4_line_72 |  | 68 | 71 | 0.12345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_1702-22_0_4_line_73 |  | 69 | 84 | 0.033022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1702-22_0_4_line_74 |  | 71 | 72 | 0.0090676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1702-22_0_4_line_75 |  | 72 | 75 | 0.0091113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1702-22_0_4_line_76 |  | 73 | 74 | 0.01126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1702-22_0_4_line_77 |  | 73 | 75 | 0.0018205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1702-22_0_4_line_78 |  | 74 | 76 | 0.031448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1702-22_0_4_line_79 |  | 76 | 77 | 0.017336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1702-22_0_4_line_80 |  | 78 | 79 | 0.063823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1702-22_0_4_line_81 |  | 79 | 80 | 0.039697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1702-22_0_4_line_82 |  | 80 | 86 | 0.0014194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1702-22_0_4_line_83 |  | 81 | 82 | 0.034708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1702-22_0_4_line_84 |  | 82 | 85 | 0.060008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1702-22_0_4_line_85 |  | 85 | 86 | 0.0032566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1702-22_0_4_trafo_31 | 0.63 MVA 20/0.4 kV | 87 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2675911.9508 | 1228528.8148 | 2675892.2718 | 1228548.3189
1 | 2675911.9508 | 1228528.8148 | 2675908.5077 | 1228521.9218 | 2675906.8671 | 1228515.6966 | 2675906.0982 | 1228504.1013 | 2675904.0476 | 1228496.7591 | 2675900.6734 | 1228488.2979
2 | 2675911.9508 | 1228528.8148 | 2675932.3052 | 1228508.0465
3 | 2675900.9699 | 1228464.7983 | 2675899.2674 | 1228480.0424 | 2675899.6935 | 1228485.8406 | 2675900.6734 | 1228488.2979
4 | 2675940.6109 | 1228499.572 | 2675932.3052 | 1228508.0465
5 | 2675900.9699 | 1228464.7983 | 2675872.3479 | 1228486.9037 | 2675845.6499 | 1228487.136
6 | 2675940.6109 | 1228499.572 | 2675947.2293 | 1228508.8071 | 2675960.4374 | 1228524.7753 | 2675981.4388 | 1228548.1592 | 2675992.5128 | 1228572.2057 | 2676003.2448 | 1228605.2829
7 | 2675940.6109 | 1228499.572 | 2675942.1937 | 1228492.2564
8 | 2675823.1266 | 1228487.332 | 2675845.6499 | 1228487.136
9 | 2675942.1937 | 1228492.2564 | 2675944.3796 | 1228482.1528 | 2675952.0533 | 1228456.2333 | 2675961.2828 | 1228435.4323
10 | 2675691.2731 | 1228366.1413 | 2675707.3602 | 1228355.2013
11 | 2675691.2731 | 1228366.1413 | 2675677.257 | 1228375.6729
12 | 2675707.3602 | 1228355.2013 | 2675708.684 | 1228354.3011
13 | 2675727.7648 | 1228344.0224 | 2675716.0412 | 1228349.2979 | 2675708.684 | 1228354.3011
14 | 2675741.052 | 1228336.4521 | 2675741.052 | 1228336.4521 | 2675733.6541 | 1228341.3723 | 2675727.7648 | 1228344.0224
15 | 2675744.4903 | 1228331.2479 | 2675741.052 | 1228336.4521
16 | 2675276.9519 | 1228506.8432 | 2675279.1367 | 1228516.1557
17 | 2675283.0845 | 1228532.9828 | 2675279.1367 | 1228516.1557
18 | 2675276.9519 | 1228506.8432 | 2675287.4465 | 1228502.4341
19 | 2675276.9519 | 1228506.8432 | 2675271.4451 | 1228489.9177 | 2675270.0681 | 1228486.1645 | 2675278.6379 | 1228467.6382
20 | 2675283.0845 | 1228532.9828 | 2675251.5416 | 1228538.2206
21 | 2675283.0845 | 1228532.9828 | 2675286.3101 | 1228551.7106
22 | 2675287.4465 | 1228502.4341 | 2675303.7191 | 1228495.5976
23 | 2675278.6379 | 1228467.6382 | 2675289.6344 | 1228461.5288 | 2675306.1659 | 1228461.7382 | 2675312.657 | 1228457.0972
24 | 2675286.3101 | 1228551.7106 | 2675286.6954 | 1228553.9477
25 | 2675304.8626 | 1228495.1172 | 2675303.7191 | 1228495.5976
26 | 2675312.657 | 1228457.0972 | 2675323.7994 | 1228449.1307 | 2675341.2216 | 1228445.4266 | 2675341.2216 | 1228445.4266
27 | 2675294.738 | 1228600.6423 | 2675286.6954 | 1228553.9477
28 | 2675341.2216 | 1228445.4266 | 2675362.3553 | 1228443.0371 | 2675376.7738 | 1228438.9726 | 2675383.2729 | 1228436.5013
29 | 2675294.738 | 1228600.6423 | 2675280.452 | 1228602.6517
30 | 2675294.738 | 1228600.6423 | 2675314.7225 | 1228598.7103
31 | 2675417.7335 | 1228447.6975 | 2675361.4926 | 1228471.3256
32 | 2675417.7335 | 1228447.6975 | 2675421.7284 | 1228455.3421 | 2675428.6772 | 1228461.8902 | 2675435.1776 | 1228467.9544
33 | 2675406.9899 | 1228417.1186 | 2675408.4498 | 1228417.315 | 2675412.4924 | 1228421.8026 | 2675411.4352 | 1228428.6827 | 2675417.7335 | 1228447.6975
34 | 2675420.6622 | 1228492.3982 | 2675435.1776 | 1228467.9544
35 | 2675406.9899 | 1228417.1186 | 2675405.8362 | 1228420.2505 | 2675404.8325 | 1228421.1272 | 2675402.1189 | 1228422.3826 | 2675395.0252 | 1228432.0325 | 2675383.2729 | 1228436.5013
36 | 2675384.2177 | 1228387.3545 | 2675395.4647 | 1228396.1807 | 2675406.9899 | 1228417.1186
37 | 2675420.6622 | 1228492.3982 | 2675420.6025 | 1228492.4987
38 | 2675384.2177 | 1228387.3545 | 2675417.9697 | 1228376.4664
39 | 2675384.2177 | 1228387.3545 | 2675322.2376 | 1228407.3078
40 | 2675443.6117 | 1228368.1944 | 2675451.5162 | 1228365.577
41 | 2675443.6117 | 1228368.1944 | 2675417.9697 | 1228376.4664
42 | 2675451.5162 | 1228365.577 | 2675463.353 | 1228361.6575
43 | 2675528.361 | 1228340.1315 | 2675463.353 | 1228361.6575
44 | 2675744.4903 | 1228331.2479 | 2675733.4923 | 1228317.1873 | 2675726.8062 | 1228307.8738 | 2675712.8816 | 1228287.3828 | 2675703.9759 | 1228275.0279
45 | 2675744.4903 | 1228331.2479 | 2675747.5572 | 1228331.4093 | 2675756.835 | 1228325.1869
46 | 2675703.9759 | 1228275.0279 | 2675697.3684 | 1228280.9589 | 2675674.9927 | 1228292.3982
47 | 2675822.5166 | 1228344.4172 | 2675821.9885 | 1228344.2326 | 2675796.2817 | 1228335.577 | 2675788.8393 | 1228330.9124 | 2675775.1333 | 1228312.9146 | 2675756.835 | 1228325.1869
48 | 2675646.6741 | 1228303.0877 | 2675663.9681 | 1228298.0344 | 2675674.9927 | 1228292.3982
49 | 2675822.5166 | 1228344.4172 | 2675835.5074 | 1228371.1528
50 | 2675591.8785 | 1228319.0989 | 2675646.6741 | 1228303.0877
51 | 2675816.9006 | 1228402.3881 | 2675817.8254 | 1228402.7077 | 2675822.0044 | 1228397.0682 | 2675822.8635 | 1228392.087 | 2675835.5074 | 1228371.1528
52 | 2675774.9481 | 1228399.3933 | 2675761.8338 | 1228409.8993 | 2675817.2689 | 1228479.9319
53 | 2675774.9481 | 1228399.3933 | 2675798.317 | 1228396.4549
54 | 2675823.1266 | 1228487.332 | 2675817.2689 | 1228479.9319
55 | 2675798.317 | 1228396.4549 | 2675798.362 | 1228401.2476 | 2675800.077 | 1228411.1539 | 2675802.5986 | 1228417.0665
56 | 2675798.317 | 1228396.4549 | 2675803.9637 | 1228401.0966 | 2675808.8516 | 1228403.4494
57 | 2675808.8516 | 1228403.4494 | 2675809.5142 | 1228402.0013 | 2675810.6431 | 1228400.2256 | 2675816.9006 | 1228402.3881
58 | 2675840.4473 | 1228406.5599 | 2675846.2765 | 1228401.147 | 2675854.4375 | 1228394.6133 | 2675858.9581 | 1228384.7755 | 2675860.2311 | 1228382.8518
59 | 2675823.8293 | 1228420.3405 | 2675832.0702 | 1228414.675 | 2675839.6739 | 1228407.2781 | 2675840.4473 | 1228406.5599
60 | 2675823.8293 | 1228420.3405 | 2675821.773 | 1228421.7485 | 2675813.7478 | 1228422.9804 | 2675808.095 | 1228421.7854 | 2675803.6529 | 1228419.5384 | 2675802.5986 | 1228417.0665
61 | 2675823.1266 | 1228487.332 | 2675811.9254 | 1228486.8668 | 2675777.1 | 1228476.1048 | 2675753.6774 | 1228474.3609
62 | 2675591.8785 | 1228319.0989 | 2675561.159 | 1228329.2711
63 | 2675528.361 | 1228340.1315 | 2675561.159 | 1228329.2711
64 | 2675384.5852 | 1228553.1514 | 2675392.3369 | 1228540.0976
65 | 2675366.1662 | 1228584.1689 | 2675384.5852 | 1228553.1514
66 | 2675366.1662 | 1228584.1689 | 2675385.3801 | 1228595.3483
67 | 2675358.0273 | 1228592.0044 | 2675366.1662 | 1228584.1689
68 | 2675373.1863 | 1228680.7226 | 2675377.8197 | 1228679.2359 | 2675382.9013 | 1228676.4651 | 2675388.1854 | 1228669.6719 | 2675392.631 | 1228659.0878 | 2675401.5097 | 1228645.4912 | 2675408.4053 | 1228637.7067 | 2675419.1967 | 1228629.2378 | 2675424.5877 | 1228624.7809 | 2675425.3503 | 1228622.6002 | 2675425.2452 | 1228619.5413 | 2675422.7934 | 1228616.2969 | 2675387.7915 | 1228596.7513 | 2675385.3801 | 1228595.3483
69 | 2675358.0273 | 1228592.0044 | 2675348.9368 | 1228595.4027 | 2675344.1743 | 1228595.8631
70 | 2675404.0656 | 1228716.4045 | 2675400.9607 | 1228705.5134 | 2675386.4856 | 1228693.1773 | 2675373.1863 | 1228680.7226
71 | 2675314.7225 | 1228598.7103 | 2675344.1743 | 1228595.8631
72 | 2675404.0656 | 1228716.4045 | 2675450.4066 | 1228656.7853 | 2675457.1436 | 1228647.1643 | 2675476.2913 | 1228616.4563
73 | 2675280.452 | 1228602.6517 | 2675275.5233 | 1228591.5486 | 2675266.8857 | 1228587.3142 | 2675255.5883 | 1228586.682
74 | 2675481.089 | 1228608.7619 | 2675476.2913 | 1228616.4563
75 | 2675485.9098 | 1228601.0305 | 2675481.089 | 1228608.7619
76 | 2675486.8731 | 1228599.4857 | 2675492.0585 | 1228591.1696 | 2675492.9053 | 1228589.9805
77 | 2675486.8731 | 1228599.4857 | 2675485.9098 | 1228601.0305
78 | 2675515.6714 | 1228568.6839 | 2675498.4618 | 1228582.1782 | 2675492.9053 | 1228589.9805
79 | 2675515.6714 | 1228568.6839 | 2675529.3135 | 1228557.9869
80 | 2675753.6774 | 1228474.3609 | 2675724.4847 | 1228491.9344 | 2675701.0011 | 1228510.1966
81 | 2675701.0011 | 1228510.1966 | 2675696.7723 | 1228513.4852 | 2675694.1376 | 1228522.2353 | 2675690.1446 | 1228531.7353 | 2675682.5235 | 1228538.1427 | 2675677.5838 | 1228538.0798
82 | 2675676.1645 | 1228538.0617 | 2675677.5838 | 1228538.0798
83 | 2675641.5157 | 1228496.9491 | 2675674.2292 | 1228485.3527
84 | 2675641.5157 | 1228496.9491 | 2675651.6599 | 1228504.2496 | 2675664.1553 | 1228513.1701 | 2675661.6453 | 1228521.6549 | 2675663.3149 | 1228533.9622 | 2675668.8636 | 1228537.9688 | 2675672.9082 | 1228538.0203
85 | 2675676.1645 | 1228538.0617 | 2675672.9082 | 1228538.0203

## bus_geodata
| x | y | coords
0 | 2675892.2718 | 1228548.3189
1 | 2675911.9508 | 1228528.8148
2 | 2675900.6734 | 1228488.2979
3 | 2675932.3052 | 1228508.0465
4 | 2675900.9699 | 1228464.7983
5 | 2675940.6109 | 1228499.572
6 | 2675845.6499 | 1228487.136
7 | 2676003.2448 | 1228605.2829
8 | 2675942.1937 | 1228492.2564
9 | 2675691.2731 | 1228366.1413
10 | 2675707.3602 | 1228355.2013
11 | 2675677.257 | 1228375.6729
12 | 2675708.684 | 1228354.3011
13 | 2675727.7648 | 1228344.0224
14 | 2675741.052 | 1228336.4521
15 | 2675279.1367 | 1228516.1557
16 | 2675276.9519 | 1228506.8432
17 | 2675283.0845 | 1228532.9828
18 | 2675287.4465 | 1228502.4341
19 | 2675278.6379 | 1228467.6382
20 | 2675251.5416 | 1228538.2206
21 | 2675286.3101 | 1228551.7106
22 | 2675303.7191 | 1228495.5976
23 | 2675312.657 | 1228457.0972
24 | 2675286.6954 | 1228553.9477
25 | 2675304.8626 | 1228495.1172
26 | 2675341.2216 | 1228445.4266
27 | 2675294.738 | 1228600.6423
28 | 2675417.7335 | 1228447.6975
29 | 2675361.4926 | 1228471.3256
30 | 2675435.1776 | 1228467.9544
31 | 2675406.9899 | 1228417.1186
32 | 2675420.6622 | 1228492.3982
33 | 2675383.2729 | 1228436.5013
34 | 2675384.2177 | 1228387.3545
35 | 2675443.6117 | 1228368.1944
36 | 2675451.5162 | 1228365.577
37 | 2675417.9697 | 1228376.4664
38 | 2675420.6025 | 1228492.4987
39 | 2675322.2376 | 1228407.3078
40 | 2675463.353 | 1228361.6575
41 | 2675744.4903 | 1228331.2479
42 | 2675703.9759 | 1228275.0279
43 | 2675756.835 | 1228325.1869
44 | 2675674.9927 | 1228292.3982
45 | 2675822.5166 | 1228344.4172
46 | 2675646.6741 | 1228303.0877
47 | 2675835.5074 | 1228371.1528
48 | 2675774.9481 | 1228399.3933
49 | 2675817.2689 | 1228479.9319
50 | 2675798.317 | 1228396.4549
51 | 2675816.9006 | 1228402.3881
52 | 2675840.4473 | 1228406.5599
53 | 2675860.2311 | 1228382.8518
54 | 2675823.8293 | 1228420.3405
55 | 2675823.1266 | 1228487.332
56 | 2675808.8516 | 1228403.4494
57 | 2675802.5986 | 1228417.0665
58 | 2675591.8785 | 1228319.0989
59 | 2675561.159 | 1228329.2711
60 | 2675528.361 | 1228340.1315
61 | 2675392.3369 | 1228540.0976
62 | 2675384.5852 | 1228553.1514
63 | 2675366.1662 | 1228584.1689
64 | 2675385.3801 | 1228595.3483
65 | 2675358.0273 | 1228592.0044
66 | 2675373.1863 | 1228680.7226
67 | 2675344.1743 | 1228595.8631
68 | 2675404.0656 | 1228716.4045
69 | 2675280.452 | 1228602.6517
70 | 2675314.7225 | 1228598.7103
71 | 2675476.2913 | 1228616.4563
72 | 2675481.089 | 1228608.7619
73 | 2675486.8731 | 1228599.4857
74 | 2675492.9053 | 1228589.9805
75 | 2675485.9098 | 1228601.0305
76 | 2675515.6714 | 1228568.6839
77 | 2675529.3135 | 1228557.9869
78 | 2675753.6774 | 1228474.3609
79 | 2675701.0011 | 1228510.1966
80 | 2675677.5838 | 1228538.0798
81 | 2675674.2292 | 1228485.3527
82 | 2675641.5157 | 1228496.9491
83 | 2675961.2828 | 1228435.4323
84 | 2675255.5883 | 1228586.682
85 | 2675672.9082 | 1228538.0203
86 | 2675676.1645 | 1228538.0617
87 | 2675417.7335 | 1228447.6975

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.972 | -0.54128 | 0.0030606 | 0.00076706
1 | 0.97208 | -0.53972 | 0 | 0
2 | 0.97233 | -0.5348 | 0.0002844 | 7.1278e-05
3 | 0.972 | -0.54144 | 0.00033748 | 8.4579e-05
4 | 0.97248 | -0.53193 | 0 | 0
5 | 0.97196 | -0.54207 | 0 | 0
6 | 0.97286 | -0.52433 | 0.00013136 | 3.2922e-05
7 | 0.97178 | -0.54582 | 0.0016264 | 0.00040763
8 | 0.97196 | -0.54224 | 0.00094216 | 0.00023613
9 | 0.97712 | -0.44038 | 0.001531 | 0.00038372
10 | 0.97718 | -0.43929 | 0.0037175 | 0.0009317
11 | 0.9771 | -0.44086 | 0.0015316 | 0.00038387
12 | 0.97719 | -0.4391 | 0.0010903 | 0.00027325
13 | 0.97735 | -0.43597 | 0.0010909 | 0.00027341
14 | 0.97747 | -0.43346 | 0.001091 | 0.00027342
15 | 0.98073 | -0.36885 | 0.0044684 | 0.0011199
16 | 0.9812 | -0.35978 | 0 | 0
17 | 0.97992 | -0.38479 | 0 | 0
18 | 0.98108 | -0.36218 | 0.004545 | 0.0011391
19 | 0.98341 | -0.3169 | 0 | 0
20 | 0.97965 | -0.39003 | 0.0090395 | 0.0022655
21 | 0.97907 | -0.40131 | 0.009723 | 0.0024368
22 | 0.98096 | -0.36444 | 0.0038276 | 0.00095928
23 | 0.98535 | -0.27938 | 0.010162 | 0.0025468
24 | 0.97898 | -0.40315 | 0.013079 | 0.003278
25 | 0.98096 | -0.36452 | 0.0032669 | 0.00081877
26 | 0.98709 | -0.24571 | 0.0063742 | 0.0015975
27 | 0.9772 | -0.4379 | 0 | 0
28 | 0.99473 | -0.099671 | 0 | 0
29 | 0.99414 | -0.111 | 0.010536 | 0.0026405
30 | 0.99727 | -0.051459 | 0.0065245 | 0.0016352
31 | 0.9916 | -0.15935 | 0 | 0
32 | 1 | 0 | -0.3439 | -0.087991
33 | 0.98957 | -0.19811 | 0.017961 | 0.0045015
34 | 0.99054 | -0.17976 | 0 | 0
35 | 0.98899 | -0.20953 | 0 | 0
36 | 0.9888 | -0.21324 | 0.0013295 | 0.00033321
37 | 0.98961 | -0.19752 | 0.0093979 | 0.0023553
38 | 1 | -5.2649e-05 | 0.025849 | 0.0064784
39 | 0.99018 | -0.18658 | 0.0059013 | 0.001479
40 | 0.98851 | -0.21871 | 0.0023918 | 0.00059944
41 | 0.97753 | -0.43232 | 0 | 0
42 | 0.97931 | -0.39747 | 0 | 0
43 | 0.9773 | -0.43688 | 0.001091 | 0.00027343
44 | 0.98018 | -0.38041 | 0.0099547 | 0.0024949
45 | 0.97606 | -0.46132 | 0 | 0
46 | 0.98124 | -0.3597 | 0.00069788 | 0.0001749
47 | 0.9756 | -0.47029 | 0.00042995 | 0.00010776
48 | 0.97441 | -0.4938 | 0.0008409 | 0.00021075
49 | 0.97311 | -0.51934 | 0.00036248 | 9.0845e-05
50 | 0.97471 | -0.48778 | 0 | 0
51 | 0.97504 | -0.48132 | 0.00074907 | 0.00018773
52 | 0.97466 | -0.4889 | 0.00046643 | 0.0001169
53 | 0.97465 | -0.48903 | 0.00022512 | 5.6419e-05
54 | 0.97467 | -0.48862 | 0 | 0
55 | 0.973 | -0.52155 | 0 | 0
56 | 0.97489 | -0.48421 | 0 | 0
57 | 0.97468 | -0.48831 | 0.00067215 | 0.00016846
58 | 0.98327 | -0.32021 | 0 | 0
59 | 0.98442 | -0.2979 | 0.01894 | 0.0047469
60 | 0.98625 | -0.2624 | 0.014139 | 0.0035437
61 | 0.9731 | -0.5186 | 0.025214 | 0.0063193
62 | 0.97346 | -0.51155 | 0.019866 | 0.004979
63 | 0.97497 | -0.48169 | 0 | 0
64 | 0.9747 | -0.48704 | 0.01109 | 0.0027794
65 | 0.97527 | -0.47587 | 0 | 0
66 | 0.97355 | -0.5096 | 0 | 0
67 | 0.97565 | -0.4684 | 0.012783 | 0.0032038
68 | 0.97313 | -0.518 | 0 | 0
69 | 0.977 | -0.44179 | 0 | 0
70 | 0.97654 | -0.45085 | 0.0087303 | 0.002188
71 | 0.9715 | -0.55014 | 0.0022442 | 0.00056244
72 | 0.97128 | -0.55449 | 0.0070618 | 0.0017699
73 | 0.9711 | -0.55808 | 0.002355 | 0.00059023
74 | 0.971 | -0.56006 | 0.0024161 | 0.00060552
75 | 0.97112 | -0.55768 | 0.00706 | 0.0017694
76 | 0.97079 | -0.56419 | 0.0020998 | 0.00052627
77 | 0.97071 | -0.56579 | 0.0049993 | 0.0012529
78 | 0.9726 | -0.52944 | 0 | 0
79 | 0.97224 | -0.53653 | 0.0008922 | 0.00022361
80 | 0.97205 | -0.54029 | 0.00068865 | 0.00017259
81 | 0.97199 | -0.54146 | 0.00053386 | 0.0001338
82 | 0.97201 | -0.54112 | 0 | 0
83 | 0.97194 | -0.54257 | 0.00029759 | 7.4584e-05
84 | 0.97655 | -0.45071 | 0.01479 | 0.0037068
85 | 0.97204 | -0.54053 | 0.00144 | 0.00036089
86 | 0.97205 | -0.54041 | 0.0024706 | 0.00061918
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0030606 | -0.00076706 | 0.0030608 | 0.00076686 | 2.2808e-07 | -1.9748e-07 | 0.0046854 | 0.0046853 | 0.0046854 | 0.972 | -0.54128 | 0.97208 | -0.53972 | 1.2872
1 | -0.0062651 | -0.0015673 | 0.0062666 | 0.0015677 | 1.4654e-06 | 4.1088e-07 | 0.0095893 | 0.0095891 | 0.0095893 | 0.97208 | -0.53972 | 0.97233 | -0.5348 | 2.6344
2 | 0.0032043 | 0.00080044 | -0.0032041 | -0.00080064 | 2.6227e-07 | -1.9262e-07 | 0.0049041 | 0.0049042 | 0.0049042 | 0.97208 | -0.53972 | 0.972 | -0.54144 | 1.3473
3 | -0.006551 | -0.001639 | 0.0065519 | 0.0016393 | 8.9678e-07 | 2.7872e-07 | 0.010024 | 0.010024 | 0.010024 | 0.97233 | -0.5348 | 0.97248 | -0.53193 | 2.7539
4 | 0.0028666 | 0.00071606 | -0.0028665 | -0.00071615 | 8.5662e-08 | -9.2249e-08 | 0.0043876 | 0.0043876 | 0.0043876 | 0.972 | -0.54144 | 0.97196 | -0.54207 | 1.2054
5 | -0.0065519 | -0.0016393 | 0.0065543 | 0.00164 | 2.3688e-06 | 7.3575e-07 | 0.010024 | 0.010024 | 0.010024 | 0.97248 | -0.53193 | 0.97286 | -0.52433 | 2.7539
6 | 0.0016267 | 0.00040627 | -0.0016264 | -0.00040763 | 2.9013e-07 | -1.3603e-06 | 0.0024899 | 0.0024905 | 0.0024905 | 0.97196 | -0.54207 | 0.97178 | -0.54582 | 0.6842
7 | 0.0012398 | 0.00030988 | -0.0012398 | -0.00030997 | 1.0108e-08 | -8.6297e-08 | 0.0018977 | 0.0018977 | 0.0018977 | 0.97196 | -0.54207 | 0.97196 | -0.54224 | 0.52136
8 | -0.0066856 | -0.0016729 | 0.0066865 | 0.0016732 | 8.8307e-07 | 2.8544e-07 | 0.010225 | 0.010225 | 0.010225 | 0.97286 | -0.52433 | 0.973 | -0.52155 | 2.809
9 | 0.0002976 | 7.3842e-05 | -0.00029759 | -7.4584e-05 | 4.6775e-09 | -7.4218e-07 | 0.00045534 | 0.00045561 | 0.00045561 | 0.97196 | -0.54224 | 0.97194 | -0.54257 | 0.12517
10 | -0.0030627 | -0.00076739 | 0.0030629 | 0.00076725 | 1.5869e-07 | -1.4213e-07 | 0.004664 | 0.0046639 | 0.004664 | 0.97712 | -0.44038 | 0.97718 | -0.43929 | 1.2813
11 | 0.0015317 | 0.00038368 | -0.0015316 | -0.00038387 | 3.4581e-08 | -1.9018e-07 | 0.0023325 | 0.0023325 | 0.0023325 | 0.97712 | -0.44038 | 0.9771 | -0.44086 | 0.6408
12 | -0.0067804 | -0.0016989 | 0.0067805 | 0.001699 | 6.3997e-08 | 2.0903e-08 | 0.010325 | 0.010325 | 0.010325 | 0.97718 | -0.43929 | 0.97719 | -0.4391 | 2.8365
13 | -0.0078708 | -0.0019722 | 0.0078719 | 0.0019727 | 1.1717e-06 | 4.7736e-07 | 0.011985 | 0.011985 | 0.011985 | 0.97719 | -0.4391 | 0.97735 | -0.43597 | 3.2926
14 | -0.0089628 | -0.0022461 | 0.0089639 | 0.0022466 | 1.0714e-06 | 4.9338e-07 | 0.013646 | 0.013646 | 0.013646 | 0.97735 | -0.43597 | 0.97747 | -0.43346 | 3.7489
15 | -0.010055 | -0.00252 | 0.010055 | 0.0025203 | 5.4802e-07 | 2.7254e-07 | 0.015307 | 0.015307 | 0.015307 | 0.97747 | -0.43346 | 0.97753 | -0.43232 | 4.2051
16 | -0.15786 | -0.039869 | 0.15793 | 0.039912 | 6.8651e-05 | 4.3574e-05 | 0.23962 | 0.23962 | 0.23962 | 0.98073 | -0.36885 | 0.9812 | -0.35978 | 21.943
17 | 0.15339 | 0.038749 | -0.15327 | -0.038675 | 0.00011713 | 7.4308e-05 | 0.23284 | 0.23284 | 0.23284 | 0.98073 | -0.36885 | 0.97992 | -0.38479 | 21.3222
18 | 0.011642 | 0.0029181 | -0.01164 | -0.0029174 | 1.3306e-06 | 7.0779e-07 | 0.017655 | 0.017655 | 0.017655 | 0.9812 | -0.35978 | 0.98108 | -0.36218 | 4.8503
19 | -0.16957 | -0.042831 | 0.16992 | 0.043052 | 0.00034922 | 0.0002219 | 0.25727 | 0.25727 | 0.25727 | 0.9812 | -0.35978 | 0.98341 | -0.3169 | 23.5597
20 | 0.0090418 | 0.0022666 | -0.0090395 | -0.0022655 | 2.254e-06 | 1.041e-06 | 0.01373 | 0.01373 | 0.01373 | 0.97992 | -0.38479 | 0.97965 | -0.39003 | 3.7721
21 | 0.14423 | 0.036408 | -0.14412 | -0.036336 | 0.00011404 | 7.2269e-05 | 0.21911 | 0.21911 | 0.21911 | 0.97992 | -0.38479 | 0.97907 | -0.40131 | 20.0649
22 | 0.0070953 | 0.0017783 | -0.0070945 | -0.001778 | 7.6655e-07 | 2.6774e-07 | 0.010762 | 0.010762 | 0.010762 | 0.98108 | -0.36218 | 0.98096 | -0.36444 | 2.9565
23 | -0.16992 | -0.043052 | 0.17022 | 0.043247 | 0.00030688 | 0.00019499 | 0.25727 | 0.25727 | 0.25727 | 0.98341 | -0.3169 | 0.98535 | -0.27938 | 23.5597
24 | 0.13439 | 0.033899 | -0.13438 | -0.033892 | 1.1848e-05 | 7.4968e-06 | 0.20433 | 0.20433 | 0.20433 | 0.97907 | -0.40131 | 0.97898 | -0.40315 | 18.7116
25 | 0.003267 | 0.00081877 | -0.0032669 | -0.00081877 | 1.1423e-08 | -8.3482e-09 | 0.0049556 | 0.0049556 | 0.0049556 | 0.98096 | -0.36444 | 0.98096 | -0.36452 | 1.3614
26 | -0.18038 | -0.045794 | 0.18068 | 0.04598 | 0.00029272 | 0.00018613 | 0.27262 | 0.27262 | 0.27262 | 0.98535 | -0.27938 | 0.98709 | -0.24571 | 24.9649
27 | 0.1213 | 0.030614 | -0.1211 | -0.030486 | 0.00020151 | 0.00012718 | 0.18445 | 0.18445 | 0.18445 | 0.97898 | -0.40315 | 0.9772 | -0.4379 | 16.8912
28 | -0.18705 | -0.047578 | 0.18748 | 0.047852 | 0.00043014 | 0.00027363 | 0.28223 | 0.28223 | 0.28223 | 0.98709 | -0.24571 | 0.98957 | -0.19811 | 25.8448
29 | 0.014799 | 0.003712 | -0.014796 | -0.0037104 | 2.7397e-06 | 1.5732e-06 | 0.022536 | 0.022536 | 0.022536 | 0.9772 | -0.4379 | 0.977 | -0.44179 | 6.1913
30 | 0.1063 | 0.026774 | -0.10623 | -0.026733 | 6.5796e-05 | 4.1356e-05 | 0.16192 | 0.16192 | 0.16192 | 0.9772 | -0.4379 | 0.97654 | -0.45085 | 14.8274
31 | 0.010541 | 0.0026433 | -0.010536 | -0.0026405 | 5.6887e-06 | 2.8493e-06 | 0.015769 | 0.01577 | 0.01577 | 0.99473 | -0.099671 | 0.99414 | -0.111 | 4.3323
32 | -0.30836 | -0.078912 | 0.30909 | 0.079373 | 0.00072163 | 0.00046079 | 0.46186 | 0.46186 | 0.46186 | 0.99473 | -0.099671 | 0.99727 | -0.051459 | 42.2951
33 | 0.29782 | 0.076269 | -0.29696 | -0.075721 | 0.0008583 | 0.00054797 | 0.44609 | 0.44609 | 0.44609 | 0.99473 | -0.099671 | 0.9916 | -0.15935 | 40.8511
34 | -0.31561 | -0.081008 | 0.3164 | 0.081513 | 0.00079033 | 0.0005047 | 0.4716 | 0.4716 | 0.4716 | 0.99727 | -0.051459 | 1 | 0 | 43.1865
35 | 0.20583 | 0.052598 | -0.20544 | -0.052353 | 0.00038501 | 0.00024516 | 0.30923 | 0.30923 | 0.30923 | 0.9916 | -0.15935 | 0.98957 | -0.19811 | 28.318
36 | 0.091136 | 0.023123 | -0.091047 | -0.023067 | 8.934e-05 | 5.5703e-05 | 0.13686 | 0.13686 | 0.13686 | 0.9916 | -0.15935 | 0.99054 | -0.17976 | 12.5331
37 | 0.025849 | 0.0064784 | -0.025849 | -0.0064784 | 6.4834e-08 | 3.996e-08 | 0.038464 | 0.038464 | 0.038464 | 1 | 0 | 1 | -5.2649e-05 | 10.567
38 | 0.085144 | 0.021587 | -0.085071 | -0.021542 | 7.2625e-05 | 4.5112e-05 | 0.12799 | 0.12799 | 0.12799 | 0.99054 | -0.17976 | 0.98961 | -0.19752 | 11.7211
39 | 0.0059032 | 0.0014794 | -0.0059013 | -0.001479 | 1.9203e-06 | 3.9113e-07 | 0.008868 | 0.0088683 | 0.0088683 | 0.99054 | -0.17976 | 0.99018 | -0.18658 | 2.4363
40 | 0.075629 | 0.01916 | -0.075616 | -0.019152 | 1.3494e-05 | 8.3159e-06 | 0.11386 | 0.11386 | 0.11386 | 0.98899 | -0.20953 | 0.9888 | -0.21324 | 10.4271
41 | -0.075629 | -0.01916 | 0.075673 | 0.019187 | 4.3665e-05 | 2.6907e-05 | 0.11386 | 0.11386 | 0.11386 | 0.98899 | -0.20953 | 0.98961 | -0.19752 | 10.4271
42 | 0.074286 | 0.018819 | -0.074267 | -0.018807 | 1.9503e-05 | 1.2003e-05 | 0.11186 | 0.11186 | 0.11186 | 0.9888 | -0.21324 | 0.98851 | -0.21871 | 10.2439
43 | 0.071875 | 0.018207 | -0.071725 | -0.018113 | 0.0001505 | 9.4565e-05 | 0.10826 | 0.10826 | 0.10826 | 0.98851 | -0.21871 | 0.98625 | -0.2624 | 14.8714
44 | -0.027674 | -0.0069519 | 0.02772 | 0.0069806 | 4.61e-05 | 2.8634e-05 | 0.042132 | 0.042132 | 0.042132 | 0.97753 | -0.43232 | 0.97931 | -0.39747 | 11.5747
45 | 0.017619 | 0.0044316 | -0.017615 | -0.0044294 | 3.8433e-06 | 2.2812e-06 | 0.026825 | 0.026825 | 0.026825 | 0.97753 | -0.43232 | 0.9773 | -0.43688 | 7.3696
46 | -0.02772 | -0.0069806 | 0.027743 | 0.0069946 | 2.2638e-05 | 1.406e-05 | 0.042132 | 0.042131 | 0.042132 | 0.97931 | -0.39747 | 0.98018 | -0.38041 | 11.5746
47 | 0.016524 | 0.0041559 | -0.016505 | -0.0041446 | 1.9264e-05 | 1.1314e-05 | 0.025164 | 0.025165 | 0.025165 | 0.9773 | -0.43688 | 0.97606 | -0.46132 | 6.9134
48 | -0.037698 | -0.0094895 | 0.037735 | 0.009513 | 3.7355e-05 | 2.3523e-05 | 0.057244 | 0.057243 | 0.057244 | 0.98018 | -0.38041 | 0.98124 | -0.3597 | 15.7263
49 | 0.016505 | 0.0041446 | -0.016498 | -0.0041405 | 7.0588e-06 | 4.1463e-06 | 0.025165 | 0.025165 | 0.025165 | 0.97606 | -0.46132 | 0.9756 | -0.47029 | 6.9134
50 | -0.038433 | -0.0096879 | 0.038506 | 0.0097338 | 7.2766e-05 | 4.5848e-05 | 0.058302 | 0.058302 | 0.058302 | 0.98124 | -0.3597 | 0.98327 | -0.32021 | 16.017
51 | 0.016068 | 0.0040327 | -0.016059 | -0.0040278 | 8.4492e-06 | 4.9394e-06 | 0.024509 | 0.024509 | 0.024509 | 0.9756 | -0.47029 | 0.97504 | -0.48132 | 6.7333
52 | 0.013097 | 0.0032837 | -0.013081 | -0.0032748 | 1.5919e-05 | 8.8683e-06 | 0.020001 | 0.020001 | 0.020001 | 0.97441 | -0.4938 | 0.97311 | -0.51934 | 5.4948
53 | -0.013938 | -0.0034945 | 0.013942 | 0.0034967 | 4.0014e-06 | 2.2674e-06 | 0.021285 | 0.021285 | 0.021285 | 0.97441 | -0.4938 | 0.97471 | -0.48778 | 5.8474
54 | 0.012718 | 0.003184 | -0.012717 | -0.0031833 | 1.3385e-06 | 7.3937e-07 | 0.019447 | 0.019447 | 0.019447 | 0.97311 | -0.51934 | 0.973 | -0.52155 | 5.3425
55 | 0.0013637 | 0.00034058 | -0.0013637 | -0.00034082 | 3.4567e-08 | -2.4304e-07 | 0.0020815 | 0.0020816 | 0.0020816 | 0.97471 | -0.48778 | 0.97468 | -0.48831 | 0.57187
56 | -0.015305 | -0.0038373 | 0.015308 | 0.0038388 | 2.602e-06 | 1.5069e-06 | 0.023366 | 0.023366 | 0.023366 | 0.97471 | -0.48778 | 0.97489 | -0.48421 | 6.4193
57 | 0.01531 | 0.00384 | -0.015308 | -0.0038388 | 2.1123e-06 | 1.2232e-06 | 0.023366 | 0.023366 | 0.023366 | 0.97504 | -0.48132 | 0.97489 | -0.48421 | 6.4192
58 | 0.00022512 | 5.6027e-05 | -0.00022512 | -5.6419e-05 | 1.3966e-09 | -3.9221e-07 | 0.00034355 | 0.00034369 | 0.00034369 | 0.97466 | -0.4889 | 0.97465 | -0.48903 | 0.09442
59 | -0.00069155 | -0.00017293 | 0.00069156 | 0.00017266 | 9.0525e-09 | -2.642e-07 | 0.0010557 | 0.0010556 | 0.0010557 | 0.97466 | -0.4889 | 0.97467 | -0.48862 | 0.29001
60 | -0.00069156 | -0.00017266 | 0.00069157 | 0.00017237 | 1.005e-08 | -2.9337e-07 | 0.0010556 | 0.0010554 | 0.0010556 | 0.97467 | -0.48862 | 0.97468 | -0.48831 | 0.28999
61 | 0.0060305 | 0.00151 | -0.0060282 | -0.0015095 | 2.2628e-06 | 5.6732e-07 | 0.009222 | 0.0092223 | 0.0092223 | 0.973 | -0.52155 | 0.9726 | -0.52944 | 2.5336
62 | -0.038506 | -0.0097338 | 0.038547 | 0.0097598 | 4.1247e-05 | 2.5987e-05 | 0.058302 | 0.058301 | 0.058302 | 0.98327 | -0.32021 | 0.98442 | -0.2979 | 16.0169
63 | -0.057487 | -0.014507 | 0.057585 | 0.014569 | 9.7908e-05 | 6.2221e-05 | 0.086931 | 0.086931 | 0.086931 | 0.98442 | -0.2979 | 0.98625 | -0.2624 | 23.8821
64 | -0.025214 | -0.0063193 | 0.025223 | 0.0063246 | 8.4636e-06 | 5.2281e-06 | 0.038557 | 0.038557 | 0.038557 | 0.9731 | -0.5186 | 0.97346 | -0.51155 | 10.5925
65 | -0.045089 | -0.011304 | 0.045153 | 0.011344 | 6.4264e-05 | 4.068e-05 | 0.068924 | 0.068924 | 0.068924 | 0.97346 | -0.51155 | 0.97497 | -0.48169 | 18.9352
66 | 0.039432 | 0.0099126 | -0.039422 | -0.0099069 | 1.0068e-05 | 5.612e-06 | 0.060193 | 0.060193 | 0.060193 | 0.97497 | -0.48169 | 0.9747 | -0.48704 | 5.5122
67 | -0.084586 | -0.021257 | 0.084609 | 0.021271 | 2.3511e-05 | 1.4625e-05 | 0.12912 | 0.12912 | 0.12912 | 0.97497 | -0.48169 | 0.97527 | -0.47587 | 11.8239
68 | 0.028332 | 0.0071276 | -0.028302 | -0.0071129 | 3.0512e-05 | 1.4657e-05 | 0.043263 | 0.043265 | 0.043265 | 0.9747 | -0.48704 | 0.97355 | -0.5096 | 3.962
69 | -0.084609 | -0.021271 | 0.08464 | 0.02129 | 3.0195e-05 | 1.8782e-05 | 0.12912 | 0.12912 | 0.12912 | 0.97527 | -0.47587 | 0.97565 | -0.4684 | 11.8239
70 | 0.028302 | 0.0071129 | -0.028291 | -0.0071075 | 1.1349e-05 | 5.4549e-06 | 0.043265 | 0.043266 | 0.043266 | 0.97355 | -0.5096 | 0.97313 | -0.518 | 3.962
71 | -0.097423 | -0.024494 | 0.097504 | 0.024545 | 8.1687e-05 | 5.117e-05 | 0.14861 | 0.14861 | 0.14861 | 0.97565 | -0.4684 | 0.97654 | -0.45085 | 13.6093
72 | 0.028291 | 0.0071075 | -0.028247 | -0.0070828 | 4.3328e-05 | 2.4668e-05 | 0.043266 | 0.043267 | 0.043267 | 0.97313 | -0.518 | 0.9715 | -0.55014 | 5.9432
73 | 0.014796 | 0.0037104 | -0.01479 | -0.0037068 | 6.2893e-06 | 3.6118e-06 | 0.022536 | 0.022537 | 0.022537 | 0.977 | -0.44179 | 0.97655 | -0.45071 | 6.1913
74 | 0.026003 | 0.0065203 | -0.025998 | -0.006517 | 5.3942e-06 | 3.3401e-06 | 0.039829 | 0.039829 | 0.039829 | 0.9715 | -0.55014 | 0.97128 | -0.55449 | 10.9421
75 | 0.018936 | 0.0047472 | -0.018933 | -0.0047454 | 2.8756e-06 | 1.7276e-06 | 0.029011 | 0.029011 | 0.029011 | 0.97128 | -0.55449 | 0.97112 | -0.55768 | 7.97
76 | 0.0095178 | 0.0023857 | -0.0095169 | -0.0023853 | 8.9815e-07 | 4.3552e-07 | 0.014584 | 0.014584 | 0.014584 | 0.9711 | -0.55808 | 0.971 | -0.56006 | 4.0067
77 | -0.011873 | -0.0029759 | 0.011873 | 0.002976 | 2.2595e-07 | 1.2209e-07 | 0.018193 | 0.018193 | 0.018193 | 0.9711 | -0.55808 | 0.97112 | -0.55768 | 4.998
78 | 0.0071009 | 0.0017797 | -0.0070995 | -0.0017792 | 1.3965e-06 | 5.0484e-07 | 0.010882 | 0.010882 | 0.010882 | 0.971 | -0.56006 | 0.97079 | -0.56419 | 2.9896
79 | 0.0049996 | 0.001253 | -0.0049993 | -0.0012529 | 3.8179e-07 | 3.002e-08 | 0.0076634 | 0.0076634 | 0.0076634 | 0.97079 | -0.56419 | 0.97071 | -0.56579 | 2.1053
80 | 0.0060282 | 0.0015095 | -0.0060262 | -0.001509 | 2.0356e-06 | 5.1104e-07 | 0.0092223 | 0.0092226 | 0.0092226 | 0.9726 | -0.52944 | 0.97224 | -0.53653 | 2.5337
81 | 0.005134 | 0.0012854 | -0.0051331 | -0.0012853 | 9.1902e-07 | 9.5979e-08 | 0.0078571 | 0.0078573 | 0.0078573 | 0.97224 | -0.53653 | 0.97205 | -0.54029 | 2.1586
82 | 0.0044444 | 0.0011127 | -0.0044444 | -0.0011127 | 2.4635e-08 | -1.8289e-09 | 0.0068031 | 0.0068031 | 0.0068031 | 0.97205 | -0.54029 | 0.97205 | -0.54041 | 1.869
83 | -0.00053386 | -0.0001338 | 0.00053387 | 0.00013337 | 8.692e-09 | -4.2464e-07 | 0.00081728 | 0.00081712 | 0.00081728 | 0.97199 | -0.54146 | 0.97201 | -0.54112 | 0.22453
84 | -0.00053387 | -0.00013337 | 0.00053388 | 0.00013264 | 1.502e-08 | -7.3423e-07 | 0.00081712 | 0.00081686 | 0.00081712 | 0.97201 | -0.54112 | 0.97204 | -0.54053 | 0.22448
85 | -0.0019739 | -0.00049353 | 0.0019739 | 0.0004935 | 1.1147e-08 | -3.3235e-08 | 0.0030212 | 0.0030212 | 0.0030212 | 0.97204 | -0.54053 | 0.97205 | -0.54041 | 0.82999

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3569 | 0.091249

## res_load
| p_mw | q_mvar
0 | 0.0030606 | 0.00076706
1 | 0.0002844 | 7.1278e-05
2 | 0.00033748 | 8.4579e-05
3 | 0.00013136 | 3.2922e-05
4 | 0.0016264 | 0.00040763
5 | 0.00094216 | 0.00023613
6 | 0.001531 | 0.00038372
7 | 0.0037175 | 0.0009317
8 | 0.0015316 | 0.00038387
9 | 0.0010903 | 0.00027325
10 | 0.0010909 | 0.00027341
11 | 0.001091 | 0.00027342
12 | 0.0044684 | 0.0011199
13 | 0.004545 | 0.0011391
14 | 0.0090395 | 0.0022655
15 | 0.009723 | 0.0024368
16 | 0.0038276 | 0.00095928
17 | 0.010162 | 0.0025468
18 | 0.013079 | 0.003278
19 | 0.0032669 | 0.00081877
20 | 0.0063742 | 0.0015975
21 | 0.010536 | 0.0026405
22 | 0.0065245 | 0.0016352
23 | 0.012997 | 0.0032572
24 | 0.017961 | 0.0045015
25 | 0.0013295 | 0.00033321
26 | 0.0093979 | 0.0023553
27 | 0.025849 | 0.0064784
28 | 0.0059013 | 0.001479
29 | 0.0023918 | 0.00059944
30 | 0.001091 | 0.00027343
31 | 0.0099547 | 0.0024949
32 | 0.00069788 | 0.0001749
33 | 0.00042995 | 0.00010776
34 | 0.0008409 | 0.00021075
35 | 0.00036248 | 9.0845e-05
36 | 0.00074907 | 0.00018773
37 | 0.00046643 | 0.0001169
38 | 0.00022512 | 5.6419e-05
39 | 0.00067215 | 0.00016846
40 | 0.01894 | 0.0047469
41 | 0.014139 | 0.0035437
42 | 0.025214 | 0.0063193
43 | 0.019866 | 0.004979
44 | 0.01109 | 0.0027794
45 | 0.012783 | 0.0032038
46 | 0.0087303 | 0.002188
47 | 0.0022442 | 0.00056244
48 | 0.0070618 | 0.0017699
49 | 0.002355 | 0.00059023
50 | 0.0024161 | 0.00060552
51 | 0.00706 | 0.0017694
52 | 0.0020998 | 0.00052627
53 | 0.0049993 | 0.0012529
54 | 0.0008922 | 0.00022361
55 | 0.00068865 | 0.00017259
56 | 0.00053386 | 0.0001338
57 | 0.00029759 | 7.4584e-05
58 | 0.01479 | 0.0037068
59 | 0.00144 | 0.00036089
60 | 0.0024706 | 0.00061918

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1