## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1702-32_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1702-32_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1702-32_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1702-32_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1702-32_0_4_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_1702-32_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_1702-32_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1702-32_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1702-32_0_4_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_1702-32_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1702-32_0_4_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_1702-32_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1702-32_0_4_node_86 | 0.4 | n |  | TRUE
13 | bus_LV_1702-32_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1702-32_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1702-32_0_4_node_87 | 0.4 | n |  | TRUE
16 | bus_LV_1702-32_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1702-32_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1702-32_0_4_node_88 | 0.4 | n |  | TRUE
19 | bus_LV_1702-32_0_4_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_1702-32_0_4_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_1702-32_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1702-32_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1702-32_0_4_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_1702-32_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1702-32_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_1702-32_0_4_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_1702-32_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1702-32_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1702-32_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1702-32_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1702-32_0_4_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_1702-32_0_4_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_1702-32_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1702-32_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1702-32_0_4_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_1702-32_0_4_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_1702-32_0_4_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_1702-32_0_4_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_1702-32_0_4_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_1702-32_0_4_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_1702-32_0_4_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1702-32_0_4_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_1702-32_0_4_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_1702-32_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_1702-32_0_4_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1702-32_0_4_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_1702-32_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_1702-32_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_1702-32_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1702-32_0_4_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_1702-32_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_1702-32_0_4_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_1702-32_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_1702-32_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_1702-32_0_4_node_24 | 0.4 | n |  | TRUE
56 | bus_LV_1702-32_0_4_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_1702-32_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_1702-32_0_4_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_1702-32_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_1702-32_0_4_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_1702-32_0_4_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_1702-32_0_4_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_1702-32_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_1702-32_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_1702-32_0_4_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_1702-32_0_4_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_1702-32_0_4_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_1702-32_0_4_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_1702-32_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_1702-32_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_1702-32_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_1702-32_0_4_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_1702-32_0_4_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_1702-32_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_1702-32_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_1702-32_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_1702-32_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_1702-32_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_1702-32_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_1702-32_0_4_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_1702-32_0_4_node_65 | 0.4 | n |  | TRUE
82 | bus_MV_498_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1702-32_0_4_load_0 | 0 | 0.017467 | 0.0043775 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1702-32_0_4_load_23 | 5 | 0.0082686 | 0.0020723 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1702-32_0_4_load_73 | 8 | 0.00385 | 0.00096489 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1702-32_0_4_load_84 | 10 | 0.0012457 | 0.0003122 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1702-32_0_4_load_86 | 12 | 0.012716 | 0.0031869 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1702-32_0_4_load_87 | 15 | 0.018446 | 0.0046229 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1702-32_0_4_load_88 | 18 | 0.0012838 | 0.00032176 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1702-32_0_4_load_85 | 19 | 0.011045 | 0.0027682 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1702-32_0_4_load_75 | 20 | 0.0081982 | 0.0020547 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1702-32_0_4_load_26 | 22 | 0.011274 | 0.0028257 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1702-32_0_4_load_44 | 25 | 0.0053031 | 0.0013291 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1702-32_0_4_load_52 | 26 | 0.0066493 | 0.0016665 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1702-32_0_4_load_28 | 29 | 0.010735 | 0.0026905 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1702-32_0_4_load_80 | 31 | 0.001212 | 0.00030375 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1702-32_0_4_load_79 | 32 | 0.0062198 | 0.0015588 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1702-32_0_4_load_35 | 34 | 0.0054469 | 0.0013651 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1702-32_0_4_load_45 | 35 | 0.011104 | 0.002783 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1702-32_0_4_load_74 | 37 | 0.003337 | 0.00083633 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1702-32_0_4_load_78 | 38 | 0.011586 | 0.0029038 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1702-32_0_4_load_56 | 40 | 0.0043577 | 0.0010921 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1702-32_0_4_load_83 | 42 | 0.004013 | 0.0010057 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1702-32_0_4_load_77 | 43 | 0.0071776 | 0.0017989 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1702-32_0_4_load_48 | 44 | 0.008743 | 0.0021912 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1702-32_0_4_load_51 | 47 | 0.010618 | 0.0026612 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1702-32_0_4_load_53 | 50 | 0.0048064 | 0.0012046 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1702-32_0_4_load_82 | 52 | 0.0043373 | 0.001087 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1702-32_0_4_load_34 | 53 | 0.024658 | 0.0061798 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1702-32_0_4_load_24 | 55 | 0.024309 | 0.0060924 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1702-32_0_4_load_27 | 56 | 0.011141 | 0.0027923 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1702-32_0_4_load_38 | 57 | 0.0099676 | 0.0024981 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1702-32_0_4_load_50 | 59 | 0.0086726 | 0.0021736 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1702-32_0_4_load_37 | 62 | 0.0053931 | 0.0013516 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1702-32_0_4_load_41 | 63 | 0.010894 | 0.0027302 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1702-32_0_4_load_40 | 64 | 0.01166 | 0.0029224 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1702-32_0_4_load_39 | 65 | 0.003354 | 0.0008406 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1702-32_0_4_load_81 | 66 | 0.0048464 | 0.0012146 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1702-32_0_4_load_43 | 67 | 0.0046963 | 0.001177 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1702-32_0_4_load_70 | 68 | 0.0039844 | 0.00099858 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1702-32_0_4_load_57 | 69 | 0.0036768 | 0.0009215 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1702-32_0_4_load_66 | 71 | 0.0033067 | 0.00082874 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1702-32_0_4_load_67 | 72 | 0.0035636 | 0.00089311 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1702-32_0_4_load_68 | 73 | 0.003556 | 0.00089121 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1702-32_0_4_load_71 | 74 | 0.0017881 | 0.00044815 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1702-32_0_4_load_69 | 76 | 0.011821 | 0.0029625 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1702-32_0_4_load_62 | 77 | 0.0049707 | 0.0012458 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1702-32_0_4_load_72 | 78 | 0.0022742 | 0.00056997 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1702-32_0_4_load_61 | 79 | 0.00259 | 0.00064913 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1702-32_0_4_load_63 | 80 | 0.0046945 | 0.0011765 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1702-32_0_4_load_65 | 81 | 0.0051847 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1702-32_0_4_line_0 |  | 0 | 1 | 0.012732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1702-32_0_4_line_1 |  | 0 | 2 | 0.01437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1702-32_0_4_line_2 |  | 1 | 3 | 0.00723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1702-32_0_4_line_3 |  | 2 | 4 | 0.035623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1702-32_0_4_line_4 |  | 3 | 5 | 0.01658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1702-32_0_4_line_5 |  | 4 | 20 | 0.015471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1702-32_0_4_line_6 |  | 4 | 11 | 0.015854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1702-32_0_4_line_7 |  | 5 | 9 | 0.016321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1702-32_0_4_line_8 |  | 6 | 7 | 0.04026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1702-32_0_4_line_9 |  | 6 | 8 | 0.0024243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1702-32_0_4_line_10 |  | 7 | 9 | 0.005684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1702-32_0_4_line_11 |  | 7 | 10 | 0.006211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1702-32_0_4_line_12 |  | 8 | 37 | 0.022675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1702-32_0_4_line_13 |  | 10 | 42 | 0.00057236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1702-32_0_4_line_14 |  | 11 | 12 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1702-32_0_4_line_15 |  | 12 | 13 | 0.015191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1702-32_0_4_line_16 |  | 13 | 14 | 0.045683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1702-32_0_4_line_17 |  | 14 | 15 | 0.01887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1702-32_0_4_line_18 |  | 16 | 17 | 0.037812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1702-32_0_4_line_19 |  | 16 | 18 | 0.049873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1702-32_0_4_line_20 |  | 17 | 19 | 0.0095626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1702-32_0_4_line_21 |  | 19 | 43 | 0.037773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1702-32_0_4_line_22 |  | 20 | 23 | 0.01674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1702-32_0_4_line_23 |  | 21 | 22 | 0.018621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1702-32_0_4_line_24 |  | 21 | 23 | 0.007639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1702-32_0_4_line_25 |  | 22 | 46 | 0.02628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1702-32_0_4_line_26 |  | 23 | 43 | 0.012435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1702-32_0_4_line_27 |  | 24 | 25 | 0.011991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1702-32_0_4_line_28 |  | 24 | 26 | 0.012566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1702-32_0_4_line_29 |  | 25 | 49 | 0.025664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1702-32_0_4_line_30 |  | 26 | 50 | 0.019876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1702-32_0_4_line_31 |  | 27 | 28 | 0.030505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1702-32_0_4_line_32 |  | 27 | 29 | 0.022214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1702-32_0_4_line_33 |  | 28 | 51 | 0.012595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1702-32_0_4_line_34 |  | 30 | 31 | 0.0040915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1702-32_0_4_line_35 |  | 30 | 32 | 0.0095086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1702-32_0_4_line_36 |  | 31 | 52 | 0.0067045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1702-32_0_4_line_37 |  | 33 | 34 | 0.003315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1702-32_0_4_line_38 |  | 33 | 35 | 0.02135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1702-32_0_4_line_39 |  | 34 | 53 | 0.023182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1702-32_0_4_line_40 |  | 35 | 54 | 0.01065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1702-32_0_4_line_41 |  | 36 | 37 | 0.020511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1702-32_0_4_line_42 |  | 36 | 38 | 0.0013912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1702-32_0_4_line_43 |  | 38 | 76 | 0.029747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1702-32_0_4_line_44 |  | 39 | 40 | 0.011868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1702-32_0_4_line_45 |  | 39 | 41 | 0.018595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1702-32_0_4_line_46 |  | 41 | 50 | 0.011444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1702-32_0_4_line_47 |  | 42 | 52 | 0.018006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1702-32_0_4_line_48 |  | 44 | 45 | 0.0047684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1702-32_0_4_line_49 |  | 45 | 48 | 0.00916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1702-32_0_4_line_50 |  | 46 | 56 | 0.019999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1702-32_0_4_line_51 |  | 46 | 55 | 0.021717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1702-32_0_4_line_52 |  | 47 | 48 | 0.03007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1702-32_0_4_line_53 |  | 48 | 59 | 0.011582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1702-32_0_4_line_54 |  | 49 | 64 | 0.0095637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1702-32_0_4_line_55 |  | 49 | 67 | 0.0084245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1702-32_0_4_line_56 |  | 51 | 57 | 0.0085855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1702-32_0_4_line_57 |  | 53 | 60 | 0.025984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_1702-32_0_4_line_58 |  | 54 | 58 | 0.009386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1702-32_0_4_line_59 |  | 57 | 61 | 0.022695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1702-32_0_4_line_60 |  | 58 | 59 | 0.008305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1702-32_0_4_line_61 |  | 60 | 61 | 0.030425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1702-32_0_4_line_62 |  | 60 | 62 | 0.023066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_1702-32_0_4_line_63 |  | 61 | 65 | 0.019708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1702-32_0_4_line_64 |  | 62 | 66 | 0.0041977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_1702-32_0_4_line_65 |  | 63 | 64 | 0.024109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1702-32_0_4_line_66 |  | 65 | 67 | 0.030213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1702-32_0_4_line_67 |  | 66 | 68 | 0.028695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_1702-32_0_4_line_68 |  | 68 | 75 | 0.028952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_1702-32_0_4_line_69 |  | 69 | 70 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1702-32_0_4_line_70 |  | 70 | 71 | 0.0054632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1702-32_0_4_line_71 |  | 70 | 72 | 0.018736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1702-32_0_4_line_72 |  | 71 | 73 | 0.017924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1702-32_0_4_line_73 |  | 72 | 74 | 0.0016907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1702-32_0_4_line_74 |  | 73 | 81 | 0.0084537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1702-32_0_4_line_75 |  | 74 | 78 | 0.009347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1702-32_0_4_line_76 |  | 75 | 76 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_1702-32_0_4_line_77 |  | 75 | 77 | 0.018933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1702-32_0_4_line_78 |  | 77 | 79 | 0.015582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1702-32_0_4_line_79 |  | 79 | 80 | 0.00010704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1702-32_0_4_line_80 |  | 80 | 81 | 0.0056328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1702-32_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 82 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2677669.4095 | 1226405.6349 | 2677657.4392 | 1226401.296
1 | 2677643.3254 | 1226398.7121 | 2677656.1086 | 1226400.8137 | 2677657.4392 | 1226401.296
2 | 2677669.4095 | 1226405.6349 | 2677670.0356 | 1226412.8368
3 | 2677633.9767 | 1226373.3398 | 2677626.204 | 1226382.856 | 2677643.3254 | 1226398.7121
4 | 2677670.0356 | 1226412.8368 | 2677659.0629 | 1226425.2668
5 | 2677633.9767 | 1226373.3398 | 2677621.6844 | 1226363.9463
6 | 2677633.9767 | 1226373.3398 | 2677643.5715 | 1226360.701
7 | 2677648.2616 | 1226437.5026 | 2677659.0629 | 1226425.2668
8 | 2677644.6266 | 1226441.8803 | 2677658.7987 | 1226455.4521 | 2677662.2808 | 1226460.4564 | 2677662.1798 | 1226464.7135 | 2677659.5905 | 1226468.5379 | 2677655.1109 | 1226472.004
9 | 2677655.1109 | 1226472.004 | 2677653.1799 | 1226473.4698
10 | 2677644.6266 | 1226441.8803 | 2677648.2616 | 1226437.5026
11 | 2677644.6266 | 1226441.8803 | 2677640.024 | 1226437.71
12 | 2677653.1799 | 1226473.4698 | 2677635.1198 | 1226487.1801
13 | 2677640.024 | 1226437.71 | 2677639.5998 | 1226437.3257
14 | 2677643.5715 | 1226360.701 | 2677653.4824 | 1226348.9768
15 | 2677663.2891 | 1226337.3759 | 2677653.4824 | 1226348.9768
16 | 2677663.2891 | 1226337.3759 | 2677671.1955 | 1226328.6621 | 2677678.566 | 1226319.7635 | 2677695.8842 | 1226333.9101
17 | 2677695.8842 | 1226333.9101 | 2677701.852 | 1226340.7148 | 2677706.2796 | 1226349.4791
18 | 2677647.1664 | 1226308.3016 | 2677652.5474 | 1226301.9898 | 2677630.0097 | 1226282.9275
19 | 2677630.0097 | 1226282.9275 | 2677592.2054 | 1226250.3983
20 | 2677647.1664 | 1226308.3016 | 2677640.9616 | 1226315.5778
21 | 2677616.452 | 1226344.3198 | 2677640.9616 | 1226315.5778
22 | 2677608.3832 | 1226353.7818 | 2677621.6844 | 1226363.9463
23 | 2677603.418 | 1226359.5988 | 2677589.3941 | 1226347.3491
24 | 2677603.418 | 1226359.5988 | 2677608.3832 | 1226353.7818
25 | 2677569.6011 | 1226330.0604 | 2677589.3941 | 1226347.3491
26 | 2677608.3832 | 1226353.7818 | 2677616.452 | 1226344.3198
27 | 2677438.4266 | 1226555.748 | 2677446.7224 | 1226547.0892
28 | 2677438.4266 | 1226555.748 | 2677441.2596 | 1226559.9766 | 2677445.307 | 1226566.2619
29 | 2677464.477 | 1226528.5576 | 2677446.7224 | 1226547.0892
30 | 2677445.307 | 1226566.2619 | 2677456.0678 | 1226582.9727
31 | 2677470.2908 | 1226468.0483 | 2677466.9861 | 1226458.1319 | 2677468.0655 | 1226438.1103
32 | 2677468.0655 | 1226438.1103 | 2677490.2573 | 1226439.1147
33 | 2677482.661 | 1226465.7633 | 2677475.1383 | 1226466.5882 | 2677470.2908 | 1226468.0483
34 | 2677618.2563 | 1226417.987 | 2677621.2883 | 1226420.7342
35 | 2677618.2563 | 1226417.987 | 2677611.4716 | 1226411.325
36 | 2677626.2567 | 1226425.2359 | 2677621.2883 | 1226420.7342
37 | 2677562.8544 | 1226427.1486 | 2677560.5391 | 1226429.5211
38 | 2677562.8544 | 1226427.1486 | 2677547.9373 | 1226411.8744
39 | 2677544.3481 | 1226446.1114 | 2677560.5391 | 1226429.5211
40 | 2677539.077 | 1226406.0914 | 2677546.3454 | 1226410.2444 | 2677547.9373 | 1226411.8744
41 | 2677618.7833 | 1226499.5819 | 2677635.1198 | 1226487.1801
42 | 2677618.7833 | 1226499.5819 | 2677617.6812 | 1226500.431
43 | 2677594.1166 | 1226518.5864 | 2677617.6812 | 1226500.431
44 | 2677472.3763 | 1226608.2139 | 2677482.2981 | 1226601.7013
45 | 2677472.3763 | 1226608.2139 | 2677464.9134 | 1226596.898 | 2677462.2634 | 1226592.594
46 | 2677462.2634 | 1226592.594 | 2677456.0678 | 1226582.9727
47 | 2677626.2567 | 1226425.2359 | 2677639.5998 | 1226437.3257
48 | 2677538.5105 | 1226386.1706 | 2677542.8357 | 1226384.1631
49 | 2677538.5105 | 1226386.1706 | 2677529.3238 | 1226386.1287
50 | 2677569.6011 | 1226330.0604 | 2677582.3963 | 1226314.6902
51 | 2677569.6011 | 1226330.0604 | 2677554.024 | 1226314.9281
52 | 2677529.3238 | 1226386.1287 | 2677520.2893 | 1226379.0618 | 2677520.6239 | 1226370.8385 | 2677520.7399 | 1226366.5927 | 2677520.8048 | 1226360.4707
53 | 2677529.3238 | 1226386.1287 | 2677529.5216 | 1226397.7093
54 | 2677464.477 | 1226528.5576 | 2677463.5662 | 1226523.9983 | 2677465.55 | 1226519.51 | 2677465.5543 | 1226519.5044
55 | 2677464.477 | 1226528.5576 | 2677470.2959 | 1226522.4655
56 | 2677482.661 | 1226465.7633 | 2677488.8563 | 1226470.814 | 2677489.0977 | 1226471.3548
57 | 2677526.1998 | 1226464.7074 | 2677544.3481 | 1226446.1114
58 | 2677539.077 | 1226406.0914 | 2677529.6634 | 1226406.0131
59 | 2677504.7167 | 1226486.3087 | 2677498.6534 | 1226483.3389 | 2677492.6494 | 1226479.3136 | 2677489.0977 | 1226471.3548
60 | 2677529.6634 | 1226406.0131 | 2677529.5216 | 1226397.7093
61 | 2677526.1998 | 1226464.7074 | 2677504.7167 | 1226486.3087
62 | 2677526.1998 | 1226464.7074 | 2677542.3412 | 1226481.1848
63 | 2677504.7167 | 1226486.3087 | 2677491.16 | 1226500.6133
64 | 2677542.3412 | 1226481.1848 | 2677545.2787 | 1226484.1834
65 | 2677465.5543 | 1226519.5044 | 2677472.0011 | 1226511.3218 | 2677474.5041 | 1226502.4706 | 2677472.3268 | 1226498.5397
66 | 2677491.16 | 1226500.6133 | 2677490.1445 | 1226501.6848 | 2677470.2959 | 1226522.4655
67 | 2677562.5366 | 1226506.7396 | 2677556.915 | 1226496.0619 | 2677545.2787 | 1226484.1834
68 | 2677576.9912 | 1226531.7809 | 2677571.1318 | 1226523.0653 | 2677562.5366 | 1226506.7396
69 | 2677520.5268 | 1226576.6085 | 2677511.4298 | 1226582.5797
70 | 2677520.5268 | 1226576.6085 | 2677524.8055 | 1226573.2116
71 | 2677520.5268 | 1226576.6085 | 2677530.8007 | 1226592.2765
72 | 2677524.8055 | 1226573.2116 | 2677538.8437 | 1226562.0666
73 | 2677530.8007 | 1226592.2765 | 2677531.7279 | 1226593.6904
74 | 2677538.8437 | 1226562.0666 | 2677545.4645 | 1226556.8102
75 | 2677531.7279 | 1226593.6904 | 2677536.8533 | 1226601.5068
76 | 2677576.9912 | 1226531.7809 | 2677594.1166 | 1226518.5864
77 | 2677576.9912 | 1226531.7809 | 2677562.1633 | 1226543.5528
78 | 2677549.9599 | 1226553.2413 | 2677562.1633 | 1226543.5528
79 | 2677549.8761 | 1226553.3078 | 2677549.9599 | 1226553.2413
80 | 2677545.4645 | 1226556.8102 | 2677549.8761 | 1226553.3078

## bus_geodata
| x | y | coords
0 | 2677657.4392 | 1226401.296
1 | 2677669.4095 | 1226405.6349
2 | 2677643.3254 | 1226398.7121
3 | 2677670.0356 | 1226412.8368
4 | 2677633.9767 | 1226373.3398
5 | 2677659.0629 | 1226425.2668
6 | 2677655.1109 | 1226472.004
7 | 2677644.6266 | 1226441.8803
8 | 2677653.1799 | 1226473.4698
9 | 2677648.2616 | 1226437.5026
10 | 2677640.024 | 1226437.71
11 | 2677643.5715 | 1226360.701
12 | 2677653.4824 | 1226348.9768
13 | 2677663.2891 | 1226337.3759
14 | 2677695.8842 | 1226333.9101
15 | 2677706.2796 | 1226349.4791
16 | 2677630.0097 | 1226282.9275
17 | 2677647.1664 | 1226308.3016
18 | 2677592.2054 | 1226250.3983
19 | 2677640.9616 | 1226315.5778
20 | 2677621.6844 | 1226363.9463
21 | 2677603.418 | 1226359.5988
22 | 2677589.3941 | 1226347.3491
23 | 2677608.3832 | 1226353.7818
24 | 2677438.4266 | 1226555.748
25 | 2677446.7224 | 1226547.0892
26 | 2677445.307 | 1226566.2619
27 | 2677468.0655 | 1226438.1103
28 | 2677470.2908 | 1226468.0483
29 | 2677490.2573 | 1226439.1147
30 | 2677618.2563 | 1226417.987
31 | 2677621.2883 | 1226420.7342
32 | 2677611.4716 | 1226411.325
33 | 2677562.8544 | 1226427.1486
34 | 2677560.5391 | 1226429.5211
35 | 2677547.9373 | 1226411.8744
36 | 2677618.7833 | 1226499.5819
37 | 2677635.1198 | 1226487.1801
38 | 2677617.6812 | 1226500.431
39 | 2677472.3763 | 1226608.2139
40 | 2677482.2981 | 1226601.7013
41 | 2677462.2634 | 1226592.594
42 | 2677639.5998 | 1226437.3257
43 | 2677616.452 | 1226344.3198
44 | 2677542.8357 | 1226384.1631
45 | 2677538.5105 | 1226386.1706
46 | 2677569.6011 | 1226330.0604
47 | 2677520.8048 | 1226360.4707
48 | 2677529.3238 | 1226386.1287
49 | 2677464.477 | 1226528.5576
50 | 2677456.0678 | 1226582.9727
51 | 2677482.661 | 1226465.7633
52 | 2677626.2567 | 1226425.2359
53 | 2677544.3481 | 1226446.1114
54 | 2677539.077 | 1226406.0914
55 | 2677554.024 | 1226314.9281
56 | 2677582.3963 | 1226314.6902
57 | 2677489.0977 | 1226471.3548
58 | 2677529.6634 | 1226406.0131
59 | 2677529.5216 | 1226397.7093
60 | 2677526.1998 | 1226464.7074
61 | 2677504.7167 | 1226486.3087
62 | 2677542.3412 | 1226481.1848
63 | 2677472.3268 | 1226498.5397
64 | 2677465.5543 | 1226519.5044
65 | 2677491.16 | 1226500.6133
66 | 2677545.2787 | 1226484.1834
67 | 2677470.2959 | 1226522.4655
68 | 2677562.5366 | 1226506.7396
69 | 2677511.4298 | 1226582.5797
70 | 2677520.5268 | 1226576.6085
71 | 2677524.8055 | 1226573.2116
72 | 2677530.8007 | 1226592.2765
73 | 2677538.8437 | 1226562.0666
74 | 2677531.7279 | 1226593.6904
75 | 2677576.9912 | 1226531.7809
76 | 2677594.1166 | 1226518.5864
77 | 2677562.1633 | 1226543.5528
78 | 2677536.8533 | 1226601.5068
79 | 2677549.9599 | 1226553.2413
80 | 2677549.8761 | 1226553.3078
81 | 2677545.4645 | 1226556.8102
82 | 2677562.8544 | 1226427.1486

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98011 | -0.38108 | 0.017467 | 0.0043775
1 | 0.98084 | -0.36687 | 0 | 0
2 | 0.9787 | -0.40865 | 0 | 0
3 | 0.98112 | -0.3615 | 0 | 0
4 | 0.97519 | -0.47735 | 0 | 0
5 | 0.98176 | -0.34919 | 0.0082686 | 0.0020723
6 | 0.98451 | -0.29591 | 0 | 0
7 | 0.98265 | -0.33178 | 0 | 0
8 | 0.98462 | -0.29375 | 0.00385 | 0.00096489
9 | 0.98242 | -0.33628 | 0 | 0
10 | 0.98256 | -0.33369 | 0.0012457 | 0.0003122
11 | 0.97473 | -0.48641 | 0 | 0
12 | 0.97428 | -0.49519 | 0.012716 | 0.0031869
13 | 0.97402 | -0.50034 | 0 | 0
14 | 0.97324 | -0.51583 | 0 | 0
15 | 0.97291 | -0.52224 | 0.018446 | 0.0046229
16 | 0.97236 | -0.53304 | 0 | 0
17 | 0.97241 | -0.53214 | 0 | 0
18 | 0.9723 | -0.53422 | 0.0012838 | 0.00032176
19 | 0.97242 | -0.53192 | 0.011045 | 0.0027682
20 | 0.97411 | -0.49848 | 0.0081982 | 0.0020547
21 | 0.97275 | -0.52544 | 0 | 0
22 | 0.97193 | -0.54148 | 0.011274 | 0.0028257
23 | 0.97308 | -0.51887 | 0 | 0
24 | 0.98997 | -0.19212 | 0 | 0
25 | 0.99014 | -0.18875 | 0.0053031 | 0.0013291
26 | 0.98979 | -0.19566 | 0.0066493 | 0.0016665
27 | 0.99231 | -0.14678 | 0 | 0
28 | 0.99261 | -0.14098 | 0 | 0
29 | 0.99209 | -0.151 | 0.010735 | 0.0026905
30 | 0.98228 | -0.33904 | 0 | 0
31 | 0.98231 | -0.33858 | 0.001212 | 0.00030375
32 | 0.98223 | -0.34011 | 0.0062198 | 0.0015588
33 | 0.99988 | -0.0022618 | 0 | 0
34 | 1 | 0 | -0.37172 | -0.094698
35 | 0.99912 | -0.016842 | 0.011104 | 0.002783
36 | 0.98668 | -0.25403 | 0 | 0
37 | 0.98569 | -0.27309 | 0.003337 | 0.00083633
38 | 0.98675 | -0.25274 | 0.011586 | 0.0029038
39 | 0.9895 | -0.20123 | 0 | 0
40 | 0.98945 | -0.20215 | 0.0043577 | 0.0010921
41 | 0.98957 | -0.19979 | 0 | 0
42 | 0.98255 | -0.33386 | 0.004013 | 0.0010057
43 | 0.97285 | -0.52334 | 0.0071776 | 0.0017989
44 | 0.99809 | -0.036777 | 0.008743 | 0.0021912
45 | 0.99813 | -0.036048 | 0 | 0
46 | 0.97106 | -0.55869 | 0 | 0
47 | 0.99791 | -0.040234 | 0.010618 | 0.0026612
48 | 0.9982 | -0.034647 | 0 | 0
49 | 0.99064 | -0.17912 | 0 | 0
50 | 0.98962 | -0.1989 | 0.0048064 | 0.0012046
51 | 0.99273 | -0.13859 | 0 | 0
52 | 0.98235 | -0.33768 | 0.0043373 | 0.001087
53 | 0.99768 | -0.043997 | 0.024658 | 0.0061798
54 | 0.99885 | -0.022056 | 0 | 0
55 | 0.97057 | -0.56845 | 0.024309 | 0.0060924
56 | 0.97086 | -0.56281 | 0.011141 | 0.0027923
57 | 0.99282 | -0.13696 | 0.0099676 | 0.0024981
58 | 0.99861 | -0.026654 | 0 | 0
59 | 0.9984 | -0.030725 | 0.0086726 | 0.0021736
60 | 0.99526 | -0.089799 | 0 | 0
61 | 0.99325 | -0.12866 | 0 | 0
62 | 0.99363 | -0.12081 | 0.0053931 | 0.0013516
63 | 0.9902 | -0.18762 | 0.010894 | 0.0027302
64 | 0.99044 | -0.18295 | 0.01166 | 0.0029224
65 | 0.99231 | -0.14668 | 0.003354 | 0.0008406
66 | 0.99334 | -0.12633 | 0.0048464 | 0.0012146
67 | 0.99098 | -0.17259 | 0.0046963 | 0.001177
68 | 0.9914 | -0.16333 | 0.0039844 | 0.00099858
69 | 0.98783 | -0.23228 | 0.0036768 | 0.0009215
70 | 0.98787 | -0.23157 | 0 | 0
71 | 0.98792 | -0.23046 | 0.0033067 | 0.00082874
72 | 0.98774 | -0.23412 | 0.0035636 | 0.00089311
73 | 0.98816 | -0.22579 | 0.003556 | 0.00089121
74 | 0.98773 | -0.23424 | 0.0017881 | 0.00044815
75 | 0.98948 | -0.20013 | 0 | 0
76 | 0.98829 | -0.22311 | 0.011821 | 0.0029625
77 | 0.98887 | -0.21213 | 0.0049707 | 0.0012458
78 | 0.98771 | -0.23462 | 0.0022742 | 0.00056997
79 | 0.98843 | -0.22065 | 0.00259 | 0.00064913
80 | 0.98843 | -0.2207 | 0.0046945 | 0.0011765
81 | 0.9883 | -0.22305 | 0.0051847 | 0.0012994
82 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.12384 | -0.031337 | 0.12392 | 0.03139 | 8.4488e-05 | 5.3751e-05 | 0.18812 | 0.18812 | 0.18812 | 0.98011 | -0.38108 | 0.98084 | -0.36687 | 25.841
1 | 0.10637 | 0.026959 | -0.10623 | -0.026869 | 0.00014073 | 8.9889e-05 | 0.1616 | 0.1616 | 0.1616 | 0.98011 | -0.38108 | 0.9787 | -0.40865 | 44.397
2 | -0.12392 | -0.03139 | 0.12396 | 0.03141 | 3.1984e-05 | 2.0196e-05 | 0.18812 | 0.18812 | 0.18812 | 0.98084 | -0.36687 | 0.98112 | -0.3615 | 17.2273
3 | 0.10623 | 0.026869 | -0.10588 | -0.026646 | 0.00034888 | 0.00022283 | 0.1616 | 0.16161 | 0.16161 | 0.9787 | -0.40865 | 0.97519 | -0.47735 | 44.397
4 | -0.12396 | -0.03141 | 0.12403 | 0.031457 | 7.3347e-05 | 4.6314e-05 | 0.18812 | 0.18812 | 0.18812 | 0.98112 | -0.3615 | 0.98176 | -0.34919 | 17.2273
5 | 0.074672 | 0.018806 | -0.074597 | -0.018758 | 7.536e-05 | 4.8038e-05 | 0.11397 | 0.11397 | 0.11397 | 0.97519 | -0.47735 | 0.97411 | -0.49848 | 31.3114
6 | 0.031212 | 0.0078406 | -0.031198 | -0.0078322 | 1.3489e-05 | 8.435e-06 | 0.047632 | 0.047632 | 0.047632 | 0.97519 | -0.47735 | 0.97473 | -0.48641 | 13.0857
7 | -0.1323 | -0.033529 | 0.13238 | 0.033581 | 8.2141e-05 | 5.1951e-05 | 0.20065 | 0.20065 | 0.20065 | 0.98176 | -0.34919 | 0.98242 | -0.33628 | 18.375
8 | 0.1497 | 0.038033 | -0.14944 | -0.037869 | 0.00025805 | 0.00016362 | 0.22645 | 0.22645 | 0.22645 | 0.98451 | -0.29591 | 0.98265 | -0.33178 | 20.7369
9 | -0.1497 | -0.038033 | 0.14972 | 0.038043 | 1.5539e-05 | 9.8526e-06 | 0.22645 | 0.22645 | 0.22645 | 0.98451 | -0.29591 | 0.98462 | -0.29375 | 20.7368
10 | 0.13241 | 0.033599 | -0.13238 | -0.033581 | 2.8606e-05 | 1.8092e-05 | 0.20065 | 0.20065 | 0.20065 | 0.98265 | -0.33178 | 0.98242 | -0.33628 | 18.3749
11 | 0.017032 | 0.0042699 | -0.017031 | -0.004269 | 1.5494e-06 | 9.1295e-07 | 0.025792 | 0.025792 | 0.025792 | 0.98265 | -0.33178 | 0.98256 | -0.33369 | 7.0858
12 | -0.15357 | -0.039007 | 0.15372 | 0.039104 | 0.0001529 | 9.6991e-05 | 0.23226 | 0.23226 | 0.23226 | 0.98462 | -0.29375 | 0.98569 | -0.27309 | 21.2696
13 | 0.015785 | 0.0039568 | -0.015785 | -0.0039567 | 1.2266e-07 | 7.1253e-08 | 0.023906 | 0.023906 | 0.023906 | 0.98256 | -0.33369 | 0.98255 | -0.33386 | 6.5675
14 | 0.031198 | 0.0078322 | -0.031185 | -0.007824 | 1.3061e-05 | 8.168e-06 | 0.047632 | 0.047632 | 0.047632 | 0.97473 | -0.48641 | 0.97428 | -0.49519 | 13.0857
15 | 0.018469 | 0.0046371 | -0.018465 | -0.0046344 | 4.5337e-06 | 2.7124e-06 | 0.028211 | 0.028211 | 0.028211 | 0.97428 | -0.49519 | 0.97402 | -0.50034 | 7.7503
16 | 0.018465 | 0.0046344 | -0.018451 | -0.0046263 | 1.3634e-05 | 8.1578e-06 | 0.028211 | 0.028211 | 0.028211 | 0.97402 | -0.50034 | 0.97324 | -0.51583 | 7.7504
17 | 0.018451 | 0.0046263 | -0.018446 | -0.0046229 | 5.6319e-06 | 3.37e-06 | 0.028211 | 0.028212 | 0.028212 | 0.97324 | -0.51583 | 0.97291 | -0.52224 | 7.7504
18 | -0.0012839 | -0.00032119 | 0.001284 | 0.00032075 | 5.4722e-08 | -4.3403e-07 | 0.0019646 | 0.0019644 | 0.0019646 | 0.97236 | -0.53304 | 0.97241 | -0.53214 | 0.53972
19 | 0.0012839 | 0.00032119 | -0.0012838 | -0.00032176 | 7.2191e-08 | -5.7239e-07 | 0.0019646 | 0.0019648 | 0.0019648 | 0.97236 | -0.53304 | 0.9723 | -0.53422 | 0.53978
20 | -0.001284 | -0.00032075 | 0.001284 | 0.00032064 | 1.3838e-08 | -1.0977e-07 | 0.0019644 | 0.0019644 | 0.0019644 | 0.97241 | -0.53214 | 0.97242 | -0.53192 | 0.53967
21 | -0.012329 | -0.0030889 | 0.012334 | 0.0030916 | 5.0418e-06 | 2.7579e-06 | 0.018866 | 0.018866 | 0.018866 | 0.97242 | -0.53192 | 0.97285 | -0.52334 | 5.183
22 | 0.066399 | 0.016703 | -0.066334 | -0.016662 | 6.461e-05 | 4.1142e-05 | 0.10145 | 0.10145 | 0.10145 | 0.97411 | -0.49848 | 0.97308 | -0.51887 | 27.871
23 | 0.046803 | 0.011759 | -0.046768 | -0.011737 | 3.5803e-05 | 2.2683e-05 | 0.071606 | 0.071606 | 0.071606 | 0.97275 | -0.52544 | 0.97193 | -0.54148 | 19.672
24 | -0.046803 | -0.011759 | 0.046818 | 0.011769 | 1.4688e-05 | 9.3055e-06 | 0.071606 | 0.071606 | 0.071606 | 0.97275 | -0.52544 | 0.97308 | -0.51887 | 19.672
25 | 0.035493 | 0.0089111 | -0.035464 | -0.0088928 | 2.9106e-05 | 1.8302e-05 | 0.054345 | 0.054345 | 0.054345 | 0.97193 | -0.54148 | 0.97106 | -0.55869 | 14.93
26 | 0.019516 | 0.004893 | -0.019512 | -0.0048905 | 4.1535e-06 | 2.5038e-06 | 0.029844 | 0.029844 | 0.029844 | 0.97308 | -0.51887 | 0.97285 | -0.52334 | 8.199
27 | -0.015818 | -0.0039653 | 0.015821 | 0.0039668 | 2.5421e-06 | 1.4728e-06 | 0.023777 | 0.023777 | 0.023777 | 0.98997 | -0.19212 | 0.99014 | -0.18875 | 6.532
28 | 0.015818 | 0.0039653 | -0.015816 | -0.0039638 | 2.6639e-06 | 1.5434e-06 | 0.023777 | 0.023777 | 0.023777 | 0.98997 | -0.19212 | 0.98979 | -0.19566 | 6.532
29 | -0.021124 | -0.0052959 | 0.021134 | 0.0053017 | 9.6992e-06 | 5.8773e-06 | 0.031746 | 0.031746 | 0.031746 | 0.99014 | -0.18875 | 0.99064 | -0.17912 | 8.7215
30 | 0.0091662 | 0.0022973 | -0.0091648 | -0.0022966 | 1.4154e-06 | 6.5043e-07 | 0.01378 | 0.01378 | 0.01378 | 0.98979 | -0.19566 | 0.98962 | -0.1989 | 3.7858
31 | -0.010737 | -0.0026916 | 0.01074 | 0.0026931 | 2.9657e-06 | 1.5039e-06 | 0.016101 | 0.016101 | 0.016101 | 0.99231 | -0.14678 | 0.99261 | -0.14098 | 4.4235
32 | 0.010737 | 0.0026916 | -0.010735 | -0.0026905 | 2.1597e-06 | 1.0953e-06 | 0.016101 | 0.016102 | 0.016102 | 0.99231 | -0.14678 | 0.99209 | -0.151 | 4.4235
33 | -0.01074 | -0.0026931 | 0.010742 | 0.0026937 | 1.2245e-06 | 6.2084e-07 | 0.016101 | 0.016101 | 0.016101 | 0.99261 | -0.14098 | 0.99273 | -0.13859 | 4.4234
34 | -0.0062201 | -0.0015589 | 0.0062202 | 0.0015589 | 1.3622e-07 | 3.539e-08 | 0.0094226 | 0.0094226 | 0.0094226 | 0.98228 | -0.33904 | 0.98231 | -0.33858 | 2.5886
35 | 0.0062201 | 0.0015589 | -0.0062198 | -0.0015588 | 3.1658e-07 | 8.2256e-08 | 0.0094226 | 0.0094226 | 0.0094226 | 0.98228 | -0.33904 | 0.98223 | -0.34011 | 2.5886
36 | -0.0074322 | -0.0018627 | 0.0074326 | 0.0018628 | 3.1868e-07 | 1.1908e-07 | 0.011258 | 0.011258 | 0.011258 | 0.98231 | -0.33858 | 0.98235 | -0.33768 | 3.093
37 | -0.039191 | -0.0098416 | 0.039195 | 0.0098442 | 4.2298e-06 | 2.6636e-06 | 0.058331 | 0.058331 | 0.058331 | 0.99988 | -0.0022618 | 1 | 0 | 16.025
38 | 0.039191 | 0.0098416 | -0.039164 | -0.0098244 | 2.7241e-05 | 1.7155e-05 | 0.058331 | 0.058331 | 0.058331 | 0.99988 | -0.0022618 | 0.99912 | -0.016842 | 16.025
39 | 0.33087 | 0.084853 | -0.33017 | -0.084403 | 0.00070437 | 0.00044989 | 0.49303 | 0.49303 | 0.49303 | 1 | 0 | 0.99768 | -0.043997 | 45.1493
40 | 0.02806 | 0.0070414 | -0.028053 | -0.0070371 | 6.9754e-06 | 4.3248e-06 | 0.041793 | 0.041793 | 0.041793 | 0.99912 | -0.016842 | 0.99885 | -0.022056 | 11.4816
41 | 0.1572 | 0.040032 | -0.15706 | -0.039941 | 0.00014437 | 9.1615e-05 | 0.2373 | 0.2373 | 0.2373 | 0.98668 | -0.25403 | 0.98569 | -0.27309 | 21.7309
42 | -0.1572 | -0.040032 | 0.15721 | 0.040039 | 9.7927e-06 | 6.214e-06 | 0.2373 | 0.2373 | 0.2373 | 0.98668 | -0.25403 | 0.98675 | -0.25274 | 21.7309
43 | -0.1688 | -0.042942 | 0.16904 | 0.043096 | 0.00024136 | 0.00015333 | 0.25477 | 0.25477 | 0.25477 | 0.98675 | -0.25274 | 0.98829 | -0.22311 | 23.3309
44 | 0.0043579 | 0.0010921 | -0.0043577 | -0.0010921 | 1.9114e-07 | -3.0114e-08 | 0.0065534 | 0.0065534 | 0.0065534 | 0.9895 | -0.20123 | 0.98945 | -0.20215 | 1.8004
45 | -0.0043579 | -0.0010921 | 0.0043582 | 0.0010921 | 2.9947e-07 | -4.7215e-08 | 0.0065534 | 0.0065533 | 0.0065534 | 0.9895 | -0.20123 | 0.98957 | -0.19979 | 1.8004
46 | -0.0043582 | -0.0010921 | 0.0043584 | 0.001092 | 1.8429e-07 | -2.9077e-08 | 0.0065533 | 0.0065532 | 0.0065533 | 0.98957 | -0.19979 | 0.98962 | -0.1989 | 1.8004
47 | 0.011772 | 0.002951 | -0.01177 | -0.0029498 | 2.1461e-06 | 1.1455e-06 | 0.017828 | 0.017828 | 0.017828 | 0.98255 | -0.33386 | 0.98235 | -0.33768 | 4.8979
48 | -0.008743 | -0.0021912 | 0.0087433 | 0.0021913 | 3.0381e-07 | 1.3212e-07 | 0.013035 | 0.013035 | 0.013035 | 0.99809 | -0.036777 | 0.99813 | -0.036048 | 3.5809
49 | -0.0087433 | -0.0021913 | 0.0087439 | 0.0021916 | 5.8361e-07 | 2.5378e-07 | 0.013035 | 0.013035 | 0.013035 | 0.99813 | -0.036048 | 0.9982 | -0.034647 | 3.5809
50 | 0.011144 | 0.0027934 | -0.011141 | -0.0027923 | 2.1869e-06 | 1.1522e-06 | 0.017076 | 0.017076 | 0.017076 | 0.97106 | -0.55869 | 0.97086 | -0.56281 | 4.6913
51 | 0.02432 | 0.0060994 | -0.024309 | -0.0060924 | 1.1312e-05 | 6.971e-06 | 0.037269 | 0.037269 | 0.037269 | 0.97106 | -0.55869 | 0.97057 | -0.56845 | 10.2387
52 | -0.010618 | -0.0026612 | 0.010621 | 0.0026626 | 2.8268e-06 | 1.4162e-06 | 0.015833 | 0.015833 | 0.015833 | 0.99791 | -0.040234 | 0.9982 | -0.034647 | 4.3498
53 | -0.019365 | -0.0048542 | 0.019368 | 0.0048563 | 3.6195e-06 | 2.165e-06 | 0.028868 | 0.028868 | 0.028868 | 0.9982 | -0.034647 | 0.9984 | -0.030725 | 7.9306
54 | 0.022561 | 0.0056563 | -0.022556 | -0.0056538 | 4.1187e-06 | 2.5129e-06 | 0.033888 | 0.033888 | 0.033888 | 0.99064 | -0.17912 | 0.99044 | -0.18295 | 9.31
55 | -0.043694 | -0.010958 | 0.043708 | 0.010967 | 1.3609e-05 | 8.6016e-06 | 0.065634 | 0.065634 | 0.065634 | 0.99064 | -0.17912 | 0.99098 | -0.17259 | 18.0314
56 | -0.010742 | -0.0026937 | 0.010742 | 0.0026941 | 8.3467e-07 | 4.2317e-07 | 0.016101 | 0.016101 | 0.016101 | 0.99273 | -0.13859 | 0.99282 | -0.13696 | 4.4234
57 | 0.30551 | 0.078224 | -0.30484 | -0.077792 | 0.00067613 | 0.00043171 | 0.45625 | 0.45625 | 0.45625 | 0.99768 | -0.043997 | 0.99526 | -0.089799 | 41.7815
58 | 0.028053 | 0.0070371 | -0.028047 | -0.0070333 | 6.1478e-06 | 3.8118e-06 | 0.041793 | 0.041793 | 0.041793 | 0.99885 | -0.022056 | 0.99861 | -0.026654 | 11.4816
59 | -0.02071 | -0.0051923 | 0.020718 | 0.0051972 | 8.2002e-06 | 4.9545e-06 | 0.031041 | 0.03104 | 0.031041 | 0.99282 | -0.13696 | 0.99325 | -0.12866 | 8.5276
60 | 0.028047 | 0.0070333 | -0.028041 | -0.0070299 | 5.4398e-06 | 3.3728e-06 | 0.041793 | 0.041793 | 0.041793 | 0.99861 | -0.026654 | 0.9984 | -0.030725 | 11.4816
61 | 0.072716 | 0.018334 | -0.072581 | -0.018248 | 0.00013495 | 8.5972e-05 | 0.10876 | 0.10876 | 0.10876 | 0.99526 | -0.089799 | 0.99325 | -0.12866 | 29.878
62 | 0.23212 | 0.059458 | -0.23177 | -0.059236 | 0.00034817 | 0.00022193 | 0.3475 | 0.3475 | 0.3475 | 0.99526 | -0.089799 | 0.99363 | -0.12081 | 31.8223
63 | 0.051862 | 0.01305 | -0.051818 | -0.013022 | 4.4636e-05 | 2.8312e-05 | 0.077715 | 0.077716 | 0.077716 | 0.99325 | -0.12866 | 0.99231 | -0.14668 | 21.3504
64 | 0.22638 | 0.057885 | -0.22632 | -0.057846 | 6.0451e-05 | 3.8526e-05 | 0.33942 | 0.33942 | 0.33942 | 0.99363 | -0.12081 | 0.99334 | -0.12633 | 31.0827
65 | -0.010894 | -0.0027302 | 0.010896 | 0.0027314 | 2.4228e-06 | 1.2404e-06 | 0.01637 | 0.01637 | 0.01637 | 0.9902 | -0.18762 | 0.99044 | -0.18295 | 4.4973
66 | 0.048464 | 0.012182 | -0.048404 | -0.012144 | 5.9859e-05 | 3.792e-05 | 0.072686 | 0.072686 | 0.072686 | 0.99231 | -0.14668 | 0.99098 | -0.17259 | 19.9687
67 | 0.22147 | 0.056632 | -0.22108 | -0.056379 | 0.00039576 | 0.00025217 | 0.33216 | 0.33216 | 0.33216 | 0.99334 | -0.12633 | 0.9914 | -0.16333 | 30.4179
68 | 0.21709 | 0.055381 | -0.21671 | -0.055135 | 0.00038505 | 0.00024531 | 0.32618 | 0.32618 | 0.32618 | 0.9914 | -0.16333 | 0.98948 | -0.20013 | 29.8703
69 | -0.0036768 | -0.0009215 | 0.003677 | 0.00092144 | 1.2518e-07 | -5.9198e-08 | 0.0055386 | 0.0055386 | 0.0055386 | 0.98783 | -0.23228 | 0.98787 | -0.23157 | 1.5216
70 | -0.011304 | -0.0028329 | 0.011304 | 0.0028332 | 5.9394e-07 | 3.1018e-07 | 0.017027 | 0.017027 | 0.017027 | 0.98787 | -0.23157 | 0.98792 | -0.23046 | 4.6777
71 | 0.0076269 | 0.0019115 | -0.007626 | -0.0019111 | 9.2732e-07 | 3.5364e-07 | 0.011488 | 0.011488 | 0.011488 | 0.98787 | -0.23157 | 0.98774 | -0.23412 | 3.1562
72 | -0.014611 | -0.003662 | 0.014614 | 0.0036638 | 3.2555e-06 | 1.8539e-06 | 0.022007 | 0.022007 | 0.022007 | 0.98792 | -0.23046 | 0.98816 | -0.22579 | 6.046
73 | 0.0040624 | 0.001018 | -0.0040624 | -0.001018 | 2.3747e-08 | -6.4423e-09 | 0.00612 | 0.00612 | 0.00612 | 0.98774 | -0.23412 | 0.98773 | -0.23424 | 1.6813
74 | -0.01817 | -0.004555 | 0.018173 | 0.0045565 | 2.3734e-06 | 1.4107e-06 | 0.027362 | 0.027362 | 0.027362 | 0.98816 | -0.22579 | 0.9883 | -0.22305 | 7.5171
75 | 0.0022743 | 0.00056988 | -0.0022742 | -0.00056997 | 4.1145e-08 | -9.33e-08 | 0.0034261 | 0.0034262 | 0.0034262 | 0.98773 | -0.23424 | 0.98771 | -0.23462 | 0.94126
76 | 0.18106 | 0.046186 | -0.18086 | -0.046058 | 0.00020077 | 0.00012766 | 0.27257 | 0.27257 | 0.27257 | 0.98948 | -0.20013 | 0.98829 | -0.22311 | 24.9607
77 | 0.035648 | 0.0089495 | -0.035628 | -0.0089367 | 2.0408e-05 | 1.2818e-05 | 0.053614 | 0.053614 | 0.053614 | 0.98948 | -0.20013 | 0.98887 | -0.21213 | 14.7292
78 | 0.030657 | 0.007691 | -0.030645 | -0.0076832 | 1.2437e-05 | 7.7596e-06 | 0.046135 | 0.046135 | 0.046135 | 0.98887 | -0.21213 | 0.98843 | -0.22065 | 12.6744
79 | 0.028055 | 0.0070341 | -0.028055 | -0.007034 | 7.16e-08 | 4.4452e-08 | 0.042236 | 0.042236 | 0.042236 | 0.98843 | -0.22065 | 0.98843 | -0.2207 | 11.6032
80 | 0.02336 | 0.0058575 | -0.023358 | -0.0058559 | 2.6125e-06 | 1.5998e-06 | 0.035168 | 0.035168 | 0.035168 | 0.98843 | -0.2207 | 0.9883 | -0.22305 | 9.6616

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37717 | 0.096063

## res_load
| p_mw | q_mvar
0 | 0.017467 | 0.0043775
1 | 0.0082686 | 0.0020723
2 | 0.00385 | 0.00096489
3 | 0.0012457 | 0.0003122
4 | 0.012716 | 0.0031869
5 | 0.018446 | 0.0046229
6 | 0.0012838 | 0.00032176
7 | 0.011045 | 0.0027682
8 | 0.0081982 | 0.0020547
9 | 0.011274 | 0.0028257
10 | 0.0053031 | 0.0013291
11 | 0.0066493 | 0.0016665
12 | 0.010735 | 0.0026905
13 | 0.001212 | 0.00030375
14 | 0.0062198 | 0.0015588
15 | 0.0054469 | 0.0013651
16 | 0.011104 | 0.002783
17 | 0.003337 | 0.00083633
18 | 0.011586 | 0.0029038
19 | 0.0043577 | 0.0010921
20 | 0.004013 | 0.0010057
21 | 0.0071776 | 0.0017989
22 | 0.008743 | 0.0021912
23 | 0.010618 | 0.0026612
24 | 0.0048064 | 0.0012046
25 | 0.0043373 | 0.001087
26 | 0.024658 | 0.0061798
27 | 0.024309 | 0.0060924
28 | 0.011141 | 0.0027923
29 | 0.0099676 | 0.0024981
30 | 0.0086726 | 0.0021736
31 | 0.0053931 | 0.0013516
32 | 0.010894 | 0.0027302
33 | 0.01166 | 0.0029224
34 | 0.003354 | 0.0008406
35 | 0.0048464 | 0.0012146
36 | 0.0046963 | 0.001177
37 | 0.0039844 | 0.00099858
38 | 0.0036768 | 0.0009215
39 | 0.0033067 | 0.00082874
40 | 0.0035636 | 0.00089311
41 | 0.003556 | 0.00089121
42 | 0.0017881 | 0.00044815
43 | 0.011821 | 0.0029625
44 | 0.0049707 | 0.0012458
45 | 0.0022742 | 0.00056997
46 | 0.00259 | 0.00064913
47 | 0.0046945 | 0.0011765
48 | 0.0051847 | 0.0012994

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1