## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1702-34_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1702-34_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1702-34_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1702-34_0_7_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1702-34_0_7_node_60 | 0.4 | n |  | TRUE
5 | bus_LV_1702-34_0_7_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1702-34_0_7_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1702-34_0_7_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1702-34_0_7_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1702-34_0_7_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1702-34_0_7_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1702-34_0_7_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_1702-34_0_7_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_1702-34_0_7_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_1702-34_0_7_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1702-34_0_7_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_1702-34_0_7_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_1702-34_0_7_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1702-34_0_7_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_1702-34_0_7_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1702-34_0_7_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1702-34_0_7_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_1702-34_0_7_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1702-34_0_7_node_78 | 0.4 | n |  | TRUE
24 | bus_LV_1702-34_0_7_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_1702-34_0_7_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_1702-34_0_7_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_1702-34_0_7_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_1702-34_0_7_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_1702-34_0_7_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_1702-34_0_7_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1702-34_0_7_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1702-34_0_7_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_1702-34_0_7_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_1702-34_0_7_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_1702-34_0_7_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_1702-34_0_7_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1702-34_0_7_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1702-34_0_7_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1702-34_0_7_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_1702-34_0_7_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_1702-34_0_7_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_1702-34_0_7_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_1702-34_0_7_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_1702-34_0_7_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_1702-34_0_7_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_1702-34_0_7_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_1702-34_0_7_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1702-34_0_7_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_1702-34_0_7_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_1702-34_0_7_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_1702-34_0_7_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_1702-34_0_7_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_1702-34_0_7_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_1702-34_0_7_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_1702-34_0_7_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_1702-34_0_7_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1702-34_0_7_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_1702-34_0_7_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_1702-34_0_7_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_1702-34_0_7_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_1702-34_0_7_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_1702-34_0_7_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_1702-34_0_7_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_1702-34_0_7_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_1702-34_0_7_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_1702-34_0_7_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_1702-34_0_7_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_1702-34_0_7_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_1702-34_0_7_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_1702-34_0_7_node_74 | 0.4 | n |  | TRUE
71 | bus_MV_498_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1702-34_0_7_load_0 | 0 | 0.009852 | 0.0024692 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1702-34_0_7_load_60 | 4 | 0.0045898 | 0.0011503 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1702-34_0_7_load_15 | 5 | 0.0037246 | 0.00093348 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1702-34_0_7_load_14 | 7 | 0.0087338 | 0.0021889 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1702-34_0_7_load_30 | 8 | 0.0059044 | 0.0014798 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1702-34_0_7_load_24 | 9 | 0.0052318 | 0.0013112 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1702-34_0_7_load_45 | 12 | 0.0072857 | 0.001826 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1702-34_0_7_load_41 | 13 | 0.0033566 | 0.00084125 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1702-34_0_7_load_62 | 15 | 0.023438 | 0.0058742 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1702-34_0_7_load_76 | 16 | 0.041512 | 0.010404 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1702-34_0_7_load_31 | 21 | 0.012164 | 0.0030485 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1702-34_0_7_load_78 | 23 | 0.014272 | 0.0035768 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1702-34_0_7_load_59 | 24 | 0.012922 | 0.0032385 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1702-34_0_7_load_63 | 26 | 0.0082167 | 0.0020593 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1702-34_0_7_load_56 | 27 | 0.0069588 | 0.001744 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1702-34_0_7_load_50 | 28 | 0.0035038 | 0.00087814 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1702-34_0_7_load_53 | 29 | 0.0036246 | 0.00090841 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1702-34_0_7_load_46 | 30 | 0.0079224 | 0.0019855 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1702-34_0_7_load_40 | 31 | 0.0044582 | 0.0011173 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1702-34_0_7_load_75 | 32 | 0.011298 | 0.0028315 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1702-34_0_7_load_72 | 33 | 0.011423 | 0.0028629 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1702-34_0_7_load_66 | 34 | 0.0055284 | 0.0013855 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1702-34_0_7_load_37 | 36 | 0.016392 | 0.0041083 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1702-34_0_7_load_32 | 37 | 0.018526 | 0.0046431 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1702-34_0_7_load_16 | 39 | 0.0052807 | 0.0013235 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1702-34_0_7_load_17 | 40 | 0.0032604 | 0.00081713 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1702-34_0_7_load_20 | 43 | 0.079342 | 0.019885 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1702-34_0_7_load_21 | 44 | 0.019525 | 0.0048934 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1702-34_0_7_load_22 | 45 | 0.025231 | 0.0063235 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1702-34_0_7_load_35 | 47 | 0.010463 | 0.0026223 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1702-34_0_7_load_25 | 48 | 0.024719 | 0.0061952 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1702-34_0_7_load_33 | 49 | 0.015421 | 0.0038648 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1702-34_0_7_load_38 | 50 | 0.016328 | 0.0040921 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1702-34_0_7_load_58 | 51 | 0.013113 | 0.0032864 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1702-34_0_7_load_42 | 52 | 0.0037149 | 0.00093105 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1702-34_0_7_load_43 | 53 | 0.004179 | 0.0010474 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1702-34_0_7_load_49 | 54 | 0.0050555 | 0.001267 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1702-34_0_7_load_54 | 55 | 0.0041523 | 0.0010407 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1702-34_0_7_load_47 | 56 | 0.0073677 | 0.0018465 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1702-34_0_7_load_48 | 57 | 0.0025295 | 0.00063396 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1702-34_0_7_load_64 | 58 | 0.0048681 | 0.0012201 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1702-34_0_7_load_65 | 59 | 0.006712 | 0.0016822 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1702-34_0_7_load_51 | 60 | 0.0043191 | 0.0010825 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1702-34_0_7_load_52 | 61 | 0.0033522 | 0.00084013 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1702-34_0_7_load_77 | 62 | 0.0049282 | 0.0012351 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1702-34_0_7_load_55 | 63 | 0.0031588 | 0.00079167 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1702-34_0_7_load_57 | 64 | 0.0029067 | 0.0007285 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1702-34_0_7_load_70 | 65 | 0.004052 | 0.0010155 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1702-34_0_7_load_68 | 66 | 0.0066379 | 0.0016636 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1702-34_0_7_load_67 | 67 | 0.0047391 | 0.0011877 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1702-34_0_7_load_69 | 68 | 0.019299 | 0.0048367 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1702-34_0_7_load_71 | 69 | 0.038982 | 0.0097697 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1702-34_0_7_load_74 | 70 | 0.011653 | 0.0029204 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1702-34_0_7_line_0 |  | 0 | 1 | 0.01984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1702-34_0_7_line_1 |  | 1 | 2 | 0.031735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1702-34_0_7_line_2 |  | 1 | 3 | 0.032947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1702-34_0_7_line_3 |  | 2 | 4 | 0.0075701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1702-34_0_7_line_4 |  | 3 | 5 | 0.017866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1702-34_0_7_line_5 |  | 3 | 6 | 0.02707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1702-34_0_7_line_6 |  | 3 | 7 | 0.025005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1702-34_0_7_line_7 |  | 4 | 25 | 0.016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1702-34_0_7_line_8 |  | 6 | 8 | 0.037178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1702-34_0_7_line_9 |  | 6 | 9 | 0.014082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1702-34_0_7_line_10 |  | 10 | 11 | 0.036261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1702-34_0_7_line_11 |  | 10 | 12 | 0.016539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1702-34_0_7_line_12 |  | 10 | 13 | 0.010257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1702-34_0_7_line_13 |  | 11 | 27 | 0.029988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1702-34_0_7_line_14 |  | 11 | 28 | 0.010196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1702-34_0_7_line_15 |  | 11 | 29 | 0.011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1702-34_0_7_line_16 |  | 12 | 30 | 0.00028291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1702-34_0_7_line_17 |  | 13 | 31 | 0.0031218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1702-34_0_7_line_18 |  | 14 | 15 | 0.011527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1702-34_0_7_line_19 |  | 14 | 16 | 0.021409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1702-34_0_7_line_20 |  | 15 | 25 | 0.017966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1702-34_0_7_line_21 |  | 16 | 17 | 0.0078994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1702-34_0_7_line_22 |  | 17 | 18 | 0.015111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1702-34_0_7_line_23 |  | 18 | 32 | 0.014091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1702-34_0_7_line_24 |  | 19 | 20 | 0.038387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1702-34_0_7_line_25 |  | 19 | 21 | 0.019705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1702-34_0_7_line_26 |  | 20 | 35 | 0.010879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1702-34_0_7_line_27 |  | 20 | 36 | 0.021077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1702-34_0_7_line_28 |  | 21 | 37 | 0.021338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1702-34_0_7_line_29 |  | 22 | 23 | 0.020447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1702-34_0_7_line_30 |  | 22 | 24 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1702-34_0_7_line_31 |  | 24 | 38 | 0.030228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1702-34_0_7_line_32 |  | 25 | 26 | 0.024063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1702-34_0_7_line_33 |  | 27 | 51 | 0.031654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1702-34_0_7_line_34 |  | 28 | 54 | 0.00050801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1702-34_0_7_line_35 |  | 29 | 55 | 0.00077443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1702-34_0_7_line_36 |  | 30 | 56 | 0.020229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1702-34_0_7_line_37 |  | 31 | 52 | 0.0098237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1702-34_0_7_line_38 |  | 32 | 70 | 0.0096041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1702-34_0_7_line_39 |  | 33 | 34 | 0.0098699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1702-34_0_7_line_40 |  | 34 | 59 | 0.0051802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1702-34_0_7_line_41 |  | 35 | 47 | 0.0068263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1702-34_0_7_line_42 |  | 35 | 44 | 0.022857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1702-34_0_7_line_43 |  | 36 | 50 | 0.037744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1702-34_0_7_line_44 |  | 37 | 49 | 0.014317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1702-34_0_7_line_45 |  | 38 | 51 | 0.017417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1702-34_0_7_line_46 |  | 38 | 50 | 0.014479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_1702-34_0_7_line_47 |  | 39 | 40 | 0.013625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1702-34_0_7_line_48 |  | 39 | 41 | 0.040728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1702-34_0_7_line_49 |  | 40 | 42 | 0.017285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1702-34_0_7_line_50 |  | 41 | 43 | 0.043183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1702-34_0_7_line_51 |  | 41 | 44 | 0.018435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1702-34_0_7_line_52 |  | 42 | 45 | 0.027332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1702-34_0_7_line_53 |  | 45 | 46 | 0.0057055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1702-34_0_7_line_54 |  | 46 | 48 | 0.02976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1702-34_0_7_line_55 |  | 52 | 53 | 0.0058417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1702-34_0_7_line_56 |  | 54 | 60 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1702-34_0_7_line_57 |  | 55 | 63 | 0.0095084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_1702-34_0_7_line_58 |  | 56 | 57 | 0.0001888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1702-34_0_7_line_59 |  | 57 | 58 | 0.0089883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1702-34_0_7_line_60 |  | 58 | 59 | 0.011173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1702-34_0_7_line_61 |  | 60 | 61 | 0.0038392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1702-34_0_7_line_62 |  | 61 | 62 | 0.00099295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1702-34_0_7_line_63 |  | 63 | 64 | 0.0016153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_1702-34_0_7_line_64 |  | 64 | 65 | 0.02108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_1702-34_0_7_line_65 |  | 65 | 66 | 0.00033916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_1702-34_0_7_line_66 |  | 66 | 67 | 0.018031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_1702-34_0_7_line_67 |  | 67 | 68 | 0.0066877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_1702-34_0_7_line_68 |  | 68 | 69 | 0.002791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_1702-34_0_7_line_69 |  | 69 | 70 | 0.013084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1702-34_0_7_trafo_39 | 0.63 MVA 20/0.4 kV | 71 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2677741.7998 | 1226328.5616 | 2677729.1035 | 1226343.8071
1 | 2677717.1455 | 1226308.4929 | 2677736.716 | 1226324.3035 | 2677741.7998 | 1226328.5616
2 | 2677741.7998 | 1226328.5616 | 2677747.3433 | 1226332.4478 | 2677766.546 | 1226337.5243 | 2677766.4778 | 1226341.5817 | 2677767.1471 | 1226343.7363
3 | 2677717.1455 | 1226308.4929 | 2677711.3364 | 1226303.639
4 | 2677767.1471 | 1226343.7363 | 2677769.7462 | 1226347.8619 | 2677772.7622 | 1226350.8367 | 2677780.2616 | 1226355.3525
5 | 2677767.1471 | 1226343.7363 | 2677766.4778 | 1226341.5817 | 2677766.546 | 1226337.5243 | 2677767.5325 | 1226333.9681 | 2677770.8332 | 1226326.1838 | 2677773.5175 | 1226318.0023
6 | 2677767.1471 | 1226343.7363 | 2677760.6947 | 1226347.9103 | 2677754.2528 | 1226363.9879
7 | 2677698.7068 | 1226293.0862 | 2677711.3364 | 1226303.639
8 | 2677773.5175 | 1226318.0023 | 2677801.1213 | 1226324.0782 | 2677803.5768 | 1226315.4267
9 | 2677773.5175 | 1226318.0023 | 2677777.9061 | 1226304.6212
10 | 2677614.4574 | 1226135.17 | 2677650.806 | 1226136.3449
11 | 2677614.4574 | 1226135.17 | 2677614.1806 | 1226139.536 | 2677614.0188 | 1226141.4797 | 2677613.3153 | 1226151.6693
12 | 2677614.4574 | 1226135.17 | 2677615.4284 | 1226124.9595
13 | 2677650.806 | 1226136.3449 | 2677680.7528 | 1226137.9085
14 | 2677650.806 | 1226136.3449 | 2677651.6397 | 1226126.1836
15 | 2677650.806 | 1226136.3449 | 2677650.0476 | 1226147.8743
16 | 2677613.3153 | 1226151.6693 | 2677613.2958 | 1226151.9515
17 | 2677615.724 | 1226121.8517 | 2677615.4284 | 1226124.9595
18 | 2677675.7296 | 1226274.5962 | 2677684.7102 | 1226281.823
19 | 2677675.7296 | 1226274.5962 | 2677659.6962 | 1226260.4092
20 | 2677698.7068 | 1226293.0862 | 2677684.7102 | 1226281.823
21 | 2677653.7802 | 1226255.1745 | 2677659.6962 | 1226260.4092
22 | 2677642.4573 | 1226245.1312 | 2677649.6211 | 1226251.4955 | 2677653.7802 | 1226255.1745
23 | 2677642.4573 | 1226245.1312 | 2677644.413 | 1226233.5267 | 2677644.5654 | 1226231.2088
24 | 2677802.8107 | 1226146.2477 | 2677805.0853 | 1226134.6252 | 2677815.9167 | 1226110.3839
25 | 2677815.9167 | 1226110.3839 | 2677835.3074 | 1226113.8913
26 | 2677813.485 | 1226148.4999 | 2677802.8107 | 1226146.2477
27 | 2677802.8107 | 1226146.2477 | 2677791.2246 | 1226144.7397 | 2677781.8545 | 1226144.0884
28 | 2677856.3042 | 1226117.6892 | 2677835.3074 | 1226113.8913
29 | 2677735.4617 | 1226094.8888 | 2677714.9644 | 1226094.2541
30 | 2677735.4617 | 1226094.8888 | 2677733.511 | 1226110.4729
31 | 2677729.7567 | 1226140.4671 | 2677733.511 | 1226110.4729
32 | 2677698.7068 | 1226293.0862 | 2677695.6688 | 1226297.0159 | 2677684.1932 | 1226312.279
33 | 2677680.7528 | 1226137.9085 | 2677712.3632 | 1226139.559
34 | 2677651.6812 | 1226125.6773 | 2677651.6397 | 1226126.1836
35 | 2677649.9967 | 1226148.647 | 2677650.0476 | 1226147.8743
36 | 2677613.2958 | 1226151.9515 | 2677611.9025 | 1226172.133
37 | 2677615.724 | 1226121.8517 | 2677616.654 | 1226112.0721
38 | 2677645.1959 | 1226221.6254 | 2677644.5654 | 1226231.2088
39 | 2677609.4641 | 1226207.4496 | 2677610.1439 | 1226197.6031
40 | 2677610.1439 | 1226197.6031 | 2677610.5007 | 1226192.4352
41 | 2677813.485 | 1226148.4999 | 2677820.1341 | 1226150.0448
42 | 2677813.485 | 1226148.4999 | 2677810.8845 | 1226160.6963 | 2677808.8364 | 1226170.8785
43 | 2677781.8545 | 1226144.0884 | 2677744.201 | 1226141.4711
44 | 2677856.3042 | 1226117.6892 | 2677870.3926 | 1226120.2376
45 | 2677729.7567 | 1226140.4671 | 2677712.3632 | 1226139.559
46 | 2677729.7567 | 1226140.4671 | 2677744.201 | 1226141.4711
47 | 2677792.5981 | 1226241.8237 | 2677795.7574 | 1226228.5698
48 | 2677805.2009 | 1226188.952 | 2677795.7574 | 1226228.5698
49 | 2677788.5904 | 1226258.6372 | 2677792.5981 | 1226241.8237
50 | 2677805.2009 | 1226188.952 | 2677847.6746 | 1226196.7466
51 | 2677805.2009 | 1226188.952 | 2677808.8364 | 1226170.8785
52 | 2677788.5904 | 1226258.6372 | 2677795.7366 | 1226259.9537 | 2677815.467 | 1226263.6054
53 | 2677821.0772 | 1226264.6437 | 2677815.467 | 1226263.6054
54 | 2677824.6561 | 1226237.3388 | 2677827.4051 | 1226238.709 | 2677821.0772 | 1226264.6437
55 | 2677622.4477 | 1226111.3249 | 2677616.654 | 1226112.0721
56 | 2677651.6812 | 1226125.6773 | 2677653.1906 | 1226107.2783
57 | 2677649.9967 | 1226148.647 | 2677649.3726 | 1226158.1349
58 | 2677611.9025 | 1226172.133 | 2677611.8895 | 1226172.3213
59 | 2677611.2703 | 1226181.2883 | 2677611.8895 | 1226172.3213
60 | 2677611.2703 | 1226181.2883 | 2677610.5007 | 1226192.4352
61 | 2677653.5045 | 1226103.4519 | 2677653.1906 | 1226107.2783
62 | 2677653.5857 | 1226102.4623 | 2677653.5045 | 1226103.4519
63 | 2677649.2666 | 1226159.7468 | 2677649.3726 | 1226158.1349
64 | 2677649.2666 | 1226159.7468 | 2677647.8828 | 1226180.7815
65 | 2677647.8605 | 1226181.1199 | 2677647.8828 | 1226180.7815
66 | 2677646.6769 | 1226199.1118 | 2677647.8605 | 1226181.1199
67 | 2677646.6769 | 1226199.1118 | 2677646.2379 | 1226205.7851
68 | 2677646.2379 | 1226205.7851 | 2677646.0547 | 1226208.57
69 | 2677645.1959 | 1226221.6254 | 2677646.0547 | 1226208.57

## bus_geodata
| x | y | coords
0 | 2677729.1035 | 1226343.8071
1 | 2677741.7998 | 1226328.5616
2 | 2677717.1455 | 1226308.4929
3 | 2677767.1471 | 1226343.7363
4 | 2677711.3364 | 1226303.639
5 | 2677780.2616 | 1226355.3525
6 | 2677773.5175 | 1226318.0023
7 | 2677754.2528 | 1226363.9879
8 | 2677803.5768 | 1226315.4267
9 | 2677777.9061 | 1226304.6212
10 | 2677614.4574 | 1226135.17
11 | 2677650.806 | 1226136.3449
12 | 2677613.3153 | 1226151.6693
13 | 2677615.4284 | 1226124.9595
14 | 2677675.7296 | 1226274.5962
15 | 2677684.7102 | 1226281.823
16 | 2677659.6962 | 1226260.4092
17 | 2677653.7802 | 1226255.1745
18 | 2677642.4573 | 1226245.1312
19 | 2677815.9167 | 1226110.3839
20 | 2677802.8107 | 1226146.2477
21 | 2677835.3074 | 1226113.8913
22 | 2677735.4617 | 1226094.8888
23 | 2677714.9644 | 1226094.2541
24 | 2677733.511 | 1226110.4729
25 | 2677698.7068 | 1226293.0862
26 | 2677684.1932 | 1226312.279
27 | 2677680.7528 | 1226137.9085
28 | 2677651.6397 | 1226126.1836
29 | 2677650.0476 | 1226147.8743
30 | 2677613.2958 | 1226151.9515
31 | 2677615.724 | 1226121.8517
32 | 2677644.5654 | 1226231.2088
33 | 2677609.4641 | 1226207.4496
34 | 2677610.1439 | 1226197.6031
35 | 2677813.485 | 1226148.4999
36 | 2677781.8545 | 1226144.0884
37 | 2677856.3042 | 1226117.6892
38 | 2677729.7567 | 1226140.4671
39 | 2677795.7574 | 1226228.5698
40 | 2677792.5981 | 1226241.8237
41 | 2677805.2009 | 1226188.952
42 | 2677788.5904 | 1226258.6372
43 | 2677847.6746 | 1226196.7466
44 | 2677808.8364 | 1226170.8785
45 | 2677815.467 | 1226263.6054
46 | 2677821.0772 | 1226264.6437
47 | 2677820.1341 | 1226150.0448
48 | 2677824.6561 | 1226237.3388
49 | 2677870.3926 | 1226120.2376
50 | 2677744.201 | 1226141.4711
51 | 2677712.3632 | 1226139.559
52 | 2677616.654 | 1226112.0721
53 | 2677622.4477 | 1226111.3249
54 | 2677651.6812 | 1226125.6773
55 | 2677649.9967 | 1226148.647
56 | 2677611.9025 | 1226172.133
57 | 2677611.8895 | 1226172.3213
58 | 2677611.2704 | 1226181.2883
59 | 2677610.5007 | 1226192.4352
60 | 2677653.1906 | 1226107.2783
61 | 2677653.5045 | 1226103.4519
62 | 2677653.5857 | 1226102.4623
63 | 2677649.3726 | 1226158.1349
64 | 2677649.2666 | 1226159.7468
65 | 2677647.8828 | 1226180.7815
66 | 2677647.8605 | 1226181.1199
67 | 2677646.6769 | 1226199.1118
68 | 2677646.2379 | 1226205.7851
69 | 2677646.0547 | 1226208.57
70 | 2677645.1959 | 1226221.6254
71 | 2677735.4617 | 1226094.8888

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97616 | -0.4603 | 0.009852 | 0.0024692
1 | 0.97635 | -0.45673 | 0 | 0
2 | 0.97733 | -0.43734 | 0 | 0
3 | 0.97562 | -0.47095 | 0 | 0
4 | 0.97757 | -0.43272 | 0.0045898 | 0.0011503
5 | 0.97556 | -0.47217 | 0.0037246 | 0.00093348
6 | 0.97534 | -0.47648 | 0 | 0
7 | 0.97542 | -0.47495 | 0.0087338 | 0.0021889
8 | 0.97514 | -0.4805 | 0.0059044 | 0.0014798
9 | 0.97527 | -0.47783 | 0.0052318 | 0.0013112
10 | 0.98994 | -0.19249 | 0 | 0
11 | 0.99225 | -0.14787 | 0 | 0
12 | 0.98912 | -0.20828 | 0.0072857 | 0.001826
13 | 0.98979 | -0.19536 | 0.0033566 | 0.00084125
14 | 0.97967 | -0.39157 | 0 | 0
15 | 0.97892 | -0.40617 | 0.023438 | 0.0058742
16 | 0.98105 | -0.36451 | 0.041512 | 0.010404
17 | 0.98186 | -0.34862 | 0 | 0
18 | 0.98342 | -0.31828 | 0 | 0
19 | 0.99325 | -0.12918 | 0 | 0
20 | 0.99487 | -0.097961 | 0 | 0
21 | 0.99242 | -0.14525 | 0.012164 | 0.0030485
22 | 0.99905 | -0.018252 | 0 | 0
23 | 0.99879 | -0.02335 | 0.014272 | 0.0035768
24 | 0.99925 | -0.014339 | 0.012922 | 0.0032385
25 | 0.97815 | -0.4213 | 0 | 0
26 | 0.97797 | -0.42491 | 0.0082167 | 0.0020593
27 | 0.99512 | -0.09278 | 0.0069588 | 0.001744
28 | 0.99205 | -0.15169 | 0.0035038 | 0.00087814
29 | 0.99146 | -0.163 | 0.0036246 | 0.00090841
30 | 0.98911 | -0.20852 | 0.0079224 | 0.0019855
31 | 0.98976 | -0.19605 | 0.0044582 | 0.0011173
32 | 0.98487 | -0.29008 | 0.011298 | 0.0028315
33 | 0.98773 | -0.23536 | 0.011423 | 0.0028629
34 | 0.98784 | -0.23335 | 0.0055284 | 0.0013855
35 | 0.99431 | -0.10868 | 0 | 0
36 | 0.99625 | -0.071529 | 0.016392 | 0.0041083
37 | 0.99176 | -0.15808 | 0.018526 | 0.0046431
38 | 1 | 0 | -0.61456 | -0.15623
39 | 0.98813 | -0.22793 | 0.0052807 | 0.0013235
40 | 0.98746 | -0.24088 | 0.0032604 | 0.00081713
41 | 0.99032 | -0.1855 | 0 | 0
42 | 0.98667 | -0.25633 | 0 | 0
43 | 0.98718 | -0.24658 | 0.079342 | 0.019885
44 | 0.99266 | -0.14044 | 0.019525 | 0.0048934
45 | 0.98541 | -0.2808 | 0.025231 | 0.0063235
46 | 0.98528 | -0.28333 | 0 | 0
47 | 0.99425 | -0.10994 | 0.010463 | 0.0026223
48 | 0.9846 | -0.29655 | 0.024719 | 0.0061952
49 | 0.99156 | -0.16199 | 0.015421 | 0.0038648
50 | 0.99891 | -0.020773 | 0.016328 | 0.0040921
51 | 0.99822 | -0.033687 | 0.013113 | 0.0032864
52 | 0.98968 | -0.19743 | 0.0037149 | 0.00093105
53 | 0.98966 | -0.19786 | 0.004179 | 0.0010474
54 | 0.99204 | -0.15185 | 0.0050555 | 0.001267
55 | 0.99141 | -0.164 | 0.0041523 | 0.0010407
56 | 0.9884 | -0.22238 | 0.0073677 | 0.0018465
57 | 0.98839 | -0.22248 | 0.0025295 | 0.00063396
58 | 0.98816 | -0.22706 | 0.0048681 | 0.0012201
59 | 0.98792 | -0.23178 | 0.006712 | 0.0016822
60 | 0.99183 | -0.15597 | 0.0043191 | 0.0010825
61 | 0.9918 | -0.15653 | 0.0033522 | 0.00084013
62 | 0.99179 | -0.15662 | 0.0049282 | 0.0012351
63 | 0.99078 | -0.17603 | 0.0031588 | 0.00079167
64 | 0.99067 | -0.17805 | 0.0029067 | 0.0007285
65 | 0.98933 | -0.20402 | 0.004052 | 0.0010155
66 | 0.9893 | -0.20443 | 0.0066379 | 0.0016636
67 | 0.98821 | -0.22556 | 0.0047391 | 0.0011877
68 | 0.98781 | -0.23322 | 0.019299 | 0.0048367
69 | 0.98759 | -0.23754 | 0.038982 | 0.0097697
70 | 0.98596 | -0.26896 | 0.011653 | 0.0029204
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.009852 | -0.0024692 | 0.0098537 | 0.00247 | 1.678e-06 | 8.2584e-07 | 0.015018 | 0.015018 | 0.015018 | 0.97616 | -0.4603 | 0.97635 | -0.45673 | 4.1258
1 | -0.033471 | -0.0083957 | 0.033502 | 0.0084151 | 3.0971e-05 | 1.9424e-05 | 0.051014 | 0.051014 | 0.051014 | 0.97635 | -0.45673 | 0.97733 | -0.43734 | 14.0149
2 | 0.023617 | 0.0059257 | -0.023601 | -0.0059159 | 1.6009e-05 | 9.8339e-06 | 0.035996 | 0.035996 | 0.035996 | 0.97635 | -0.45673 | 0.97562 | -0.47095 | 9.8891
3 | -0.033502 | -0.0084151 | 0.033509 | 0.0084198 | 7.3878e-06 | 4.6333e-06 | 0.051014 | 0.051014 | 0.051014 | 0.97733 | -0.43734 | 0.97757 | -0.43272 | 14.0148
4 | 0.0037249 | 0.0009334 | -0.0037246 | -0.00093348 | 2.1624e-07 | -8.4697e-08 | 0.0056811 | 0.0056812 | 0.0056812 | 0.97562 | -0.47095 | 0.97556 | -0.47217 | 1.5608
5 | 0.011141 | 0.0027928 | -0.011138 | -0.0027913 | 2.931e-06 | 1.5379e-06 | 0.016992 | 0.016992 | 0.016992 | 0.97562 | -0.47095 | 0.97534 | -0.47648 | 4.6682
6 | 0.0087355 | 0.0021897 | -0.0087338 | -0.0021889 | 1.6645e-06 | 7.5312e-07 | 0.013323 | 0.013324 | 0.013324 | 0.97562 | -0.47095 | 0.97542 | -0.47495 | 3.6603
7 | -0.038099 | -0.0095701 | 0.03812 | 0.0095832 | 2.0762e-05 | 1.3081e-05 | 0.058001 | 0.058 | 0.058001 | 0.97757 | -0.43272 | 0.97815 | -0.4213 | 15.9342
8 | 0.0059056 | 0.00148 | -0.0059044 | -0.0014798 | 1.1317e-06 | 2.6042e-07 | 0.0090097 | 0.0090099 | 0.0090099 | 0.97534 | -0.47648 | 0.97514 | -0.4805 | 2.4752
9 | 0.0052322 | 0.0013113 | -0.0052318 | -0.0013112 | 3.3649e-07 | 3.9614e-08 | 0.0079824 | 0.0079824 | 0.0079824 | 0.97534 | -0.47648 | 0.97527 | -0.47783 | 2.193
10 | -0.069429 | -0.017432 | 0.069577 | 0.017526 | 0.00014813 | 9.4336e-05 | 0.10437 | 0.10437 | 0.10437 | 0.98994 | -0.19249 | 0.99225 | -0.14787 | 28.6738
11 | 0.053717 | 0.013493 | -0.053677 | -0.013468 | 4.0447e-05 | 2.5673e-05 | 0.080755 | 0.080755 | 0.080755 | 0.98994 | -0.19249 | 0.98912 | -0.20828 | 22.1855
12 | 0.015712 | 0.0039386 | -0.01571 | -0.0039374 | 2.1454e-06 | 1.2412e-06 | 0.023618 | 0.023618 | 0.023618 | 0.98994 | -0.19249 | 0.98979 | -0.19536 | 6.4883
13 | -0.31432 | -0.07959 | 0.31516 | 0.080123 | 0.0008339 | 0.00053253 | 0.47166 | 0.47166 | 0.47166 | 0.99225 | -0.14787 | 0.99512 | -0.09278 | 43.1926
14 | 0.021165 | 0.0053067 | -0.021162 | -0.0053044 | 3.8521e-06 | 2.3337e-06 | 0.031742 | 0.031742 | 0.031742 | 0.99225 | -0.14787 | 0.99205 | -0.15169 | 8.7202
15 | 0.22358 | 0.056757 | -0.22342 | -0.056654 | 0.00016262 | 0.00010363 | 0.33555 | 0.33555 | 0.33555 | 0.99225 | -0.14787 | 0.99146 | -0.163 | 30.7279
16 | 0.046391 | 0.011642 | -0.046391 | -0.011641 | 5.1681e-07 | 3.2713e-07 | 0.069795 | 0.069795 | 0.069795 | 0.98912 | -0.20828 | 0.98911 | -0.20852 | 19.1744
17 | 0.012353 | 0.0030961 | -0.012353 | -0.0030959 | 4.0376e-07 | 2.1828e-07 | 0.018571 | 0.018571 | 0.018571 | 0.98979 | -0.19536 | 0.98976 | -0.19605 | 5.102
18 | 0.069858 | 0.01757 | -0.06981 | -0.017539 | 4.8689e-05 | 3.1016e-05 | 0.10613 | 0.10613 | 0.10613 | 0.97967 | -0.39157 | 0.97892 | -0.40617 | 29.1566
19 | -0.069858 | -0.01757 | 0.069949 | 0.017627 | 9.0428e-05 | 5.7604e-05 | 0.10613 | 0.10613 | 0.10613 | 0.97967 | -0.39157 | 0.98105 | -0.36451 | 29.1566
20 | 0.046371 | 0.011664 | -0.046338 | -0.011643 | 3.3487e-05 | 2.1206e-05 | 0.070502 | 0.070502 | 0.070502 | 0.97892 | -0.40617 | 0.97815 | -0.4213 | 19.3688
21 | -0.11146 | -0.028031 | 0.11155 | 0.028085 | 8.4699e-05 | 5.4107e-05 | 0.16909 | 0.16909 | 0.16909 | 0.98105 | -0.36451 | 0.98186 | -0.34862 | 46.4541
22 | -0.11155 | -0.028085 | 0.11171 | 0.028189 | 0.00016202 | 0.0001035 | 0.16909 | 0.16909 | 0.16909 | 0.98186 | -0.34862 | 0.98342 | -0.31828 | 46.4541
23 | -0.11171 | -0.028189 | 0.11186 | 0.028285 | 0.00015109 | 9.6516e-05 | 0.16909 | 0.16909 | 0.16909 | 0.98342 | -0.31828 | 0.98487 | -0.29008 | 46.4541
24 | -0.04617 | -0.011593 | 0.046238 | 0.011637 | 6.8884e-05 | 4.3588e-05 | 0.069176 | 0.069175 | 0.069176 | 0.99325 | -0.12918 | 0.99487 | -0.097961 | 19.0043
25 | 0.04617 | 0.011593 | -0.046134 | -0.011571 | 3.5361e-05 | 2.2376e-05 | 0.069176 | 0.069176 | 0.069176 | 0.99325 | -0.12918 | 0.99242 | -0.14525 | 19.0043
26 | 0.16895 | 0.042776 | -0.16886 | -0.042721 | 8.6937e-05 | 5.5216e-05 | 0.25284 | 0.25284 | 0.25284 | 0.99487 | -0.097961 | 0.99431 | -0.10868 | 23.1543
27 | -0.21518 | -0.054413 | 0.21546 | 0.054587 | 0.0002732 | 0.00017402 | 0.32202 | 0.32202 | 0.32202 | 0.99487 | -0.097961 | 0.99625 | -0.071529 | 29.489
28 | 0.033971 | 0.0085226 | -0.03395 | -0.0085096 | 2.0762e-05 | 1.3012e-05 | 0.050938 | 0.050938 | 0.050938 | 0.99242 | -0.14525 | 0.99176 | -0.15808 | 13.994
29 | 0.014275 | 0.0035788 | -0.014272 | -0.0035768 | 3.4664e-06 | 1.9508e-06 | 0.021262 | 0.021262 | 0.021262 | 0.99905 | -0.018252 | 0.99879 | -0.02335 | 5.8413
30 | -0.014275 | -0.0035788 | 0.014278 | 0.0035803 | 2.6626e-06 | 1.4984e-06 | 0.021262 | 0.021262 | 0.021262 | 0.99905 | -0.018252 | 0.99925 | -0.014339 | 5.8413
31 | -0.027199 | -0.0068187 | 0.027218 | 0.0068303 | 1.8597e-05 | 1.1506e-05 | 0.040504 | 0.040504 | 0.040504 | 0.99925 | -0.014339 | 1 | 0 | 11.1275
32 | 0.0082181 | 0.0020599 | -0.0082167 | -0.0020593 | 1.4104e-06 | 6.0065e-07 | 0.012502 | 0.012502 | 0.012502 | 0.97815 | -0.4213 | 0.97797 | -0.42491 | 3.4346
33 | -0.32212 | -0.081867 | 0.32304 | 0.082454 | 0.00091949 | 0.00058724 | 0.48207 | 0.48207 | 0.48207 | 0.99512 | -0.09278 | 0.99822 | -0.033687 | 44.1454
34 | 0.017658 | 0.0044263 | -0.017658 | -0.0044262 | 1.3364e-07 | 7.897e-08 | 0.026486 | 0.026486 | 0.026486 | 0.99205 | -0.15169 | 0.99204 | -0.15185 | 7.2764
35 | 0.21979 | 0.055745 | -0.21978 | -0.055739 | 1.0549e-05 | 6.7213e-06 | 0.33011 | 0.33011 | 0.33011 | 0.99146 | -0.163 | 0.99141 | -0.164 | 30.2298
36 | 0.038468 | 0.0096557 | -0.038443 | -0.0096397 | 2.5411e-05 | 1.6004e-05 | 0.057876 | 0.057877 | 0.057877 | 0.98911 | -0.20852 | 0.9884 | -0.22238 | 15.9002
37 | 0.0078945 | 0.0019786 | -0.007894 | -0.0019784 | 5.1894e-07 | 2.0588e-07 | 0.011869 | 0.011869 | 0.011869 | 0.98976 | -0.19605 | 0.98968 | -0.19743 | 3.2607
38 | -0.12316 | -0.031117 | 0.12328 | 0.031196 | 0.00012482 | 7.976e-05 | 0.18616 | 0.18616 | 0.18616 | 0.98487 | -0.29008 | 0.98596 | -0.26896 | 51.1435
39 | -0.011423 | -0.0028629 | 0.011424 | 0.0028635 | 1.0961e-06 | 5.7515e-07 | 0.017209 | 0.017209 | 0.017209 | 0.98773 | -0.23536 | 0.98784 | -0.23335 | 4.7277
40 | -0.016952 | -0.004249 | 0.016954 | 0.0042497 | 1.2668e-06 | 7.4441e-07 | 0.025536 | 0.025536 | 0.025536 | 0.98784 | -0.23335 | 0.98792 | -0.23178 | 7.0155
41 | 0.010464 | 0.0026226 | -0.010463 | -0.0026223 | 6.2769e-07 | 3.1319e-07 | 0.015659 | 0.015659 | 0.015659 | 0.99431 | -0.10868 | 0.99425 | -0.10994 | 4.3019
42 | 0.1584 | 0.040099 | -0.15815 | -0.039945 | 0.0002411 | 0.00015371 | 0.23719 | 0.23719 | 0.23719 | 0.99431 | -0.10868 | 0.99266 | -0.14044 | 32.5805
43 | -0.23185 | -0.058696 | 0.23242 | 0.059057 | 0.00056647 | 0.00036106 | 0.3465 | 0.3465 | 0.3465 | 0.99625 | -0.071529 | 0.99891 | -0.020773 | 31.7311
44 | 0.015424 | 0.0038664 | -0.015421 | -0.0038648 | 2.8752e-06 | 1.6554e-06 | 0.023141 | 0.023142 | 0.023142 | 0.99176 | -0.15808 | 0.99156 | -0.16199 | 6.3576
45 | 0.3367 | 0.08609 | -0.33615 | -0.085741 | 0.00054781 | 0.00034991 | 0.50161 | 0.50161 | 0.50161 | 1 | 0 | 0.99822 | -0.033687 | 45.9354
46 | 0.24899 | 0.063308 | -0.24874 | -0.063149 | 0.00024888 | 0.00015871 | 0.37083 | 0.37083 | 0.37083 | 1 | 0 | 0.99891 | -0.020773 | 33.9584
47 | 0.053357 | 0.013429 | -0.053324 | -0.013408 | 3.3004e-05 | 2.0948e-05 | 0.08037 | 0.08037 | 0.08037 | 0.98813 | -0.22793 | 0.98746 | -0.24088 | 22.0797
48 | -0.058638 | -0.014752 | 0.058757 | 0.014828 | 0.00011914 | 7.5727e-05 | 0.088322 | 0.088322 | 0.088322 | 0.98813 | -0.22793 | 0.99032 | -0.1855 | 24.2643
49 | 0.050064 | 0.01259 | -0.050027 | -0.012567 | 3.6905e-05 | 2.3399e-05 | 0.075457 | 0.075457 | 0.075457 | 0.98746 | -0.24088 | 0.98667 | -0.25633 | 20.73
50 | 0.079574 | 0.020033 | -0.079342 | -0.019885 | 0.00023162 | 0.00014768 | 0.1196 | 0.1196 | 0.1196 | 0.99032 | -0.1855 | 0.98718 | -0.24658 | 32.856
51 | -0.13833 | -0.03486 | 0.13863 | 0.035051 | 0.00029886 | 0.00019103 | 0.20792 | 0.20792 | 0.20792 | 0.99032 | -0.1855 | 0.99266 | -0.14044 | 57.1203
52 | 0.050027 | 0.012567 | -0.049969 | -0.01253 | 5.8358e-05 | 3.7001e-05 | 0.075457 | 0.075457 | 0.075457 | 0.98667 | -0.25633 | 0.98541 | -0.2808 | 20.73
53 | 0.024738 | 0.0062066 | -0.024735 | -0.0062048 | 2.9859e-06 | 1.8383e-06 | 0.037357 | 0.037357 | 0.037357 | 0.98541 | -0.2808 | 0.98528 | -0.28333 | 10.263
54 | 0.024735 | 0.0062048 | -0.024719 | -0.0061952 | 1.5575e-05 | 9.589e-06 | 0.037357 | 0.037358 | 0.037358 | 0.98528 | -0.28333 | 0.9846 | -0.29655 | 10.2631
55 | 0.0041791 | 0.0010473 | -0.004179 | -0.0010474 | 8.6487e-08 | -1.9713e-08 | 0.0062833 | 0.0062834 | 0.0062834 | 0.98968 | -0.19743 | 0.98966 | -0.19786 | 1.7262
56 | 0.012602 | 0.0031592 | -0.0126 | -0.0031578 | 2.4737e-06 | 1.3449e-06 | 0.018903 | 0.018903 | 0.018903 | 0.99204 | -0.15185 | 0.99183 | -0.15597 | 5.1932
57 | 0.21563 | 0.054698 | -0.21551 | -0.054619 | 0.00012467 | 7.9424e-05 | 0.32388 | 0.32388 | 0.32388 | 0.99141 | -0.164 | 0.99078 | -0.17603 | 29.6591
58 | 0.031075 | 0.0077932 | -0.031075 | -0.0077931 | 1.5497e-07 | 9.6759e-08 | 0.046785 | 0.046785 | 0.046785 | 0.9884 | -0.22238 | 0.98839 | -0.22248 | 12.8529
59 | 0.028545 | 0.0071591 | -0.028539 | -0.0071552 | 6.2255e-06 | 3.8691e-06 | 0.042977 | 0.042977 | 0.042977 | 0.98839 | -0.22248 | 0.98816 | -0.22706 | 11.8068
60 | 0.023671 | 0.0059352 | -0.023666 | -0.0059319 | 5.324e-06 | 3.2643e-06 | 0.035646 | 0.035646 | 0.035646 | 0.98816 | -0.22706 | 0.98792 | -0.23178 | 9.7928
61 | 0.0082806 | 0.0020754 | -0.0082804 | -0.0020753 | 2.222e-07 | 9.2661e-08 | 0.012423 | 0.012423 | 0.012423 | 0.99183 | -0.15597 | 0.9918 | -0.15653 | 3.413
62 | 0.0049282 | 0.0012351 | -0.0049282 | -0.0012351 | 2.0357e-08 | 2.1451e-10 | 0.007394 | 0.007394 | 0.007394 | 0.9918 | -0.15653 | 0.99179 | -0.15662 | 2.0313
63 | 0.21235 | 0.053827 | -0.21233 | -0.053814 | 2.0565e-05 | 1.3099e-05 | 0.31913 | 0.31913 | 0.31913 | 0.99078 | -0.17603 | 0.99067 | -0.17805 | 29.2246
64 | 0.20942 | 0.053085 | -0.20916 | -0.052919 | 0.00026107 | 0.00016627 | 0.31477 | 0.31477 | 0.31477 | 0.99067 | -0.17805 | 0.98933 | -0.20402 | 28.8248
65 | 0.20511 | 0.051903 | -0.2051 | -0.051901 | 4.0393e-06 | 2.5721e-06 | 0.30867 | 0.30867 | 0.30867 | 0.98933 | -0.20402 | 0.9893 | -0.20443 | 28.2667
66 | 0.19846 | 0.050237 | -0.19826 | -0.050109 | 0.00020108 | 0.000128 | 0.29869 | 0.29869 | 0.29869 | 0.9893 | -0.20443 | 0.98821 | -0.22556 | 27.3525
67 | 0.19352 | 0.048922 | -0.19345 | -0.048876 | 7.1059e-05 | 4.5221e-05 | 0.29155 | 0.29155 | 0.29155 | 0.98821 | -0.22556 | 0.98781 | -0.23322 | 26.699
68 | 0.17415 | 0.04404 | -0.17412 | -0.044017 | 3.6054e-05 | 2.3003e-05 | 0.26248 | 0.26248 | 0.26248 | 0.98781 | -0.23322 | 0.98759 | -0.23754 | 36.0553
69 | 0.13514 | 0.034247 | -0.13493 | -0.034117 | 0.00020368 | 0.00013019 | 0.20375 | 0.20375 | 0.20375 | 0.98759 | -0.23754 | 0.98596 | -0.26896 | 55.9748

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61456 | 0.15623

## res_load
| p_mw | q_mvar
0 | 0.009852 | 0.0024692
1 | 0.0045898 | 0.0011503
2 | 0.0037246 | 0.00093348
3 | 0.0087338 | 0.0021889
4 | 0.0059044 | 0.0014798
5 | 0.0052318 | 0.0013112
6 | 0.0072857 | 0.001826
7 | 0.0033566 | 0.00084125
8 | 0.023438 | 0.0058742
9 | 0.041512 | 0.010404
10 | 0.012164 | 0.0030485
11 | 0.014272 | 0.0035768
12 | 0.012922 | 0.0032385
13 | 0.0082167 | 0.0020593
14 | 0.0069588 | 0.001744
15 | 0.0035038 | 0.00087814
16 | 0.0036246 | 0.00090841
17 | 0.0079224 | 0.0019855
18 | 0.0044582 | 0.0011173
19 | 0.011298 | 0.0028315
20 | 0.011423 | 0.0028629
21 | 0.0055284 | 0.0013855
22 | 0.016392 | 0.0041083
23 | 0.018526 | 0.0046431
24 | 0.0052807 | 0.0013235
25 | 0.0032604 | 0.00081713
26 | 0.079342 | 0.019885
27 | 0.019525 | 0.0048934
28 | 0.025231 | 0.0063235
29 | 0.010463 | 0.0026223
30 | 0.024719 | 0.0061952
31 | 0.015421 | 0.0038648
32 | 0.016328 | 0.0040921
33 | 0.013113 | 0.0032864
34 | 0.0037149 | 0.00093105
35 | 0.004179 | 0.0010474
36 | 0.0050555 | 0.001267
37 | 0.0041523 | 0.0010407
38 | 0.0073677 | 0.0018465
39 | 0.0025295 | 0.00063396
40 | 0.0048681 | 0.0012201
41 | 0.006712 | 0.0016822
42 | 0.0043191 | 0.0010825
43 | 0.0033522 | 0.00084013
44 | 0.0049282 | 0.0012351
45 | 0.0031588 | 0.00079167
46 | 0.0029067 | 0.0007285
47 | 0.004052 | 0.0010155
48 | 0.0066379 | 0.0016636
49 | 0.0047391 | 0.0011877
50 | 0.019299 | 0.0048367
51 | 0.038982 | 0.0097697
52 | 0.011653 | 0.0029204

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1