## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1702-38_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1702-38_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1702-38_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1702-38_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1702-38_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1702-38_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1702-38_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1702-38_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1702-38_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1702-38_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1702-38_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1702-38_0_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_1702-38_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1702-38_0_4_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_1702-38_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1702-38_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_1702-38_0_4_node_114 | 0.4 | n |  | TRUE
17 | bus_LV_1702-38_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1702-38_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1702-38_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1702-38_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1702-38_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1702-38_0_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_1702-38_0_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_1702-38_0_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_1702-38_0_4_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_1702-38_0_4_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1702-38_0_4_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_1702-38_0_4_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_1702-38_0_4_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_1702-38_0_4_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_1702-38_0_4_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_1702-38_0_4_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_1702-38_0_4_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_1702-38_0_4_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_1702-38_0_4_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_1702-38_0_4_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_1702-38_0_4_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_1702-38_0_4_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_1702-38_0_4_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_1702-38_0_4_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_1702-38_0_4_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_1702-38_0_4_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_1702-38_0_4_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_1702-38_0_4_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_1702-38_0_4_node_81 | 0.4 | n |  | TRUE
46 | bus_MV_498_0_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1702-38_0_4_load_0 | 0 | 0.0045084 | 0.0011299 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1702-38_0_4_load_1 | 1 | 0.010967 | 0.0027486 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1702-38_0_4_load_4 | 4 | 0.031341 | 0.0078547 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1702-38_0_4_load_12 | 8 | 0.011015 | 0.0027607 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1702-38_0_4_load_33 | 11 | 0.0088315 | 0.0022134 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1702-38_0_4_load_32 | 13 | 0.035318 | 0.0088516 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1702-38_0_4_load_23 | 15 | 0.025451 | 0.0063787 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1702-38_0_4_load_114 | 16 | 0.050725 | 0.012713 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1702-38_0_4_load_17 | 17 | 0.0057224 | 0.0014342 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1702-38_0_4_load_13 | 18 | 0.011053 | 0.00277 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1702-38_0_4_load_19 | 19 | 0.035203 | 0.0088227 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1702-38_0_4_load_38 | 22 | 0.041318 | 0.010355 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1702-38_0_4_load_35 | 23 | 0.0072084 | 0.0018066 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1702-38_0_4_load_36 | 24 | 0.0073417 | 0.00184 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1702-38_0_4_load_41 | 26 | 0.02157 | 0.0054059 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1702-38_0_4_load_45 | 28 | 0.017318 | 0.0043404 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1702-38_0_4_load_52 | 30 | 0.0077348 | 0.0019385 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1702-38_0_4_load_51 | 31 | 0.0032445 | 0.00081314 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1702-38_0_4_load_69 | 32 | 0.002392 | 0.0005995 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1702-38_0_4_load_70 | 33 | 0.0008801 | 0.00022057 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1702-38_0_4_load_73 | 36 | 0.0012049 | 0.00030197 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1702-38_0_4_load_74 | 37 | 0.0015286 | 0.00038309 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1702-38_0_4_load_75 | 38 | 0.00094385 | 0.00023655 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1702-38_0_4_load_79 | 40 | 0.0012979 | 0.00032529 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1702-38_0_4_load_77 | 41 | 0.00055491 | 0.00013907 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1702-38_0_4_load_83 | 43 | 0.00081471 | 0.00020419 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1702-38_0_4_load_82 | 44 | 0.00048442 | 0.00012141 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1702-38_0_4_load_81 | 45 | 0.00065507 | 0.00016418 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1702-38_0_4_line_0 |  | 0 | 1 | 0.034687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1702-38_0_4_line_1 |  | 0 | 2 | 0.018996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1702-38_0_4_line_2 |  | 1 | 3 | 0.033008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1702-38_0_4_line_3 |  | 2 | 4 | 0.014457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1702-38_0_4_line_4 |  | 2 | 5 | 0.037123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1702-38_0_4_line_5 |  | 3 | 6 | 0.012211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1702-38_0_4_line_6 |  | 4 | 7 | 0.045208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1702-38_0_4_line_7 |  | 5 | 8 | 0.064417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1702-38_0_4_line_8 |  | 6 | 17 | 0.012458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1702-38_0_4_line_9 |  | 7 | 9 | 0.026984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1702-38_0_4_line_10 |  | 8 | 18 | 0.039529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1702-38_0_4_line_11 |  | 9 | 14 | 0.044439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1702-38_0_4_line_12 |  | 9 | 15 | 0.077646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1702-38_0_4_line_13 |  | 9 | 12 | 0.032784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1702-38_0_4_line_14 |  | 10 | 11 | 0.019931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1702-38_0_4_line_15 |  | 10 | 12 | 0.047639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1702-38_0_4_line_16 |  | 12 | 13 | 0.0041212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1702-38_0_4_line_17 |  | 14 | 16 | 0.071323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1702-38_0_4_line_18 |  | 15 | 20 | 0.019186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1702-38_0_4_line_19 |  | 19 | 20 | 0.035735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1702-38_0_4_line_20 |  | 20 | 21 | 0.054878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1702-38_0_4_line_21 |  | 21 | 22 | 0.034145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1702-38_0_4_line_22 |  | 21 | 23 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1702-38_0_4_line_23 |  | 22 | 26 | 0.037188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1702-38_0_4_line_24 |  | 23 | 24 | 0.038336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1702-38_0_4_line_25 |  | 23 | 25 | 0.062172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1702-38_0_4_line_26 |  | 25 | 31 | 0.012675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1702-38_0_4_line_27 |  | 26 | 27 | 0.028671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1702-38_0_4_line_28 |  | 27 | 28 | 0.020515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1702-38_0_4_line_29 |  | 27 | 29 | 0.24417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1702-38_0_4_line_30 |  | 28 | 30 | 0.032534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1702-38_0_4_line_31 |  | 29 | 43 | 0.085338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1702-38_0_4_line_32 |  | 32 | 33 | 0.032695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1702-38_0_4_line_33 |  | 32 | 34 | 0.0091396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1702-38_0_4_line_34 |  | 33 | 35 | 0.066774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1702-38_0_4_line_35 |  | 34 | 36 | 0.022892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1702-38_0_4_line_36 |  | 34 | 37 | 0.025713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1702-38_0_4_line_37 |  | 35 | 38 | 0.054925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1702-38_0_4_line_38 |  | 36 | 39 | 0.04527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1702-38_0_4_line_39 |  | 37 | 40 | 0.020047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1702-38_0_4_line_40 |  | 39 | 41 | 0.036309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1702-38_0_4_line_41 |  | 40 | 42 | 0.047454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1702-38_0_4_line_42 |  | 42 | 43 | 0.060629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1702-38_0_4_line_43 |  | 42 | 44 | 0.030312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1702-38_0_4_line_44 |  | 44 | 45 | 0.025124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1702-38_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 46 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2677063.1932 | 1227886.4961 | 2677064.009 | 1227892.4411 | 2677063.003 | 1227900.4779 | 2677048.0728 | 1227914.6513
1 | 2677055.7616 | 1227869.2187 | 2677062.638 | 1227882.4499 | 2677063.1932 | 1227886.4961
2 | 2677024.1335 | 1227937.3772 | 2677048.0728 | 1227914.6513
3 | 2677055.7616 | 1227869.2187 | 2677044.4366 | 1227878.2049
4 | 2677055.7616 | 1227869.2187 | 2677070.1337 | 1227857.8305 | 2677081.5352 | 1227859.3014 | 2677085.9048 | 1227856.6228 | 2677087.1933 | 1227858.3629
5 | 2677024.1335 | 1227937.3772 | 2677032.9278 | 1227945.8746
6 | 2677009.0232 | 1227906.3052 | 2677044.4366 | 1227878.2049
7 | 2677087.1933 | 1227858.3629 | 2677085.4202 | 1227863.0209 | 2677087.82 | 1227876.6611 | 2677089.8173 | 1227914.9127 | 2677090.2158 | 1227922.1818
8 | 2677032.9278 | 1227945.8746 | 2677041.7294 | 1227937.0575
9 | 2676989.45 | 1227918.4823 | 2676996.815 | 1227910.3722 | 2676999.9344 | 1227913.5147 | 2677009.0232 | 1227906.3052
10 | 2677090.2158 | 1227922.1818 | 2677092.3797 | 1227961.6513
11 | 2676973.2053 | 1227886.6285 | 2676987.9725 | 1227901.4851 | 2676996.815 | 1227910.3722 | 2676989.45 | 1227918.4823
12 | 2676989.45 | 1227918.4823 | 2676962.6243 | 1227894.3746 | 2676962.2151 | 1227901.9856 | 2676963.916 | 1227912.2589 | 2676963.5879 | 1227921.8056 | 2676960.7691 | 1227927.0504 | 2676955.44 | 1227933.0675
13 | 2676996.062 | 1227950.3782 | 2676994.829 | 1227936.1638 | 2676992.4541 | 1227926.4377 | 2676989.45 | 1227918.4823
14 | 2677036.9379 | 1227960.4029 | 2677036.2373 | 1227980.3214
15 | 2676996.062 | 1227950.3782 | 2677023.2069 | 1227945.7264 | 2677036.9379 | 1227960.4029
16 | 2676996.062 | 1227950.3782 | 2676996.2634 | 1227954.4946
17 | 2677011.7333 | 1227833.3912 | 2677010.1411 | 1227858.0205 | 2676973.2053 | 1227886.6285
18 | 2676942.7192 | 1227947.4307 | 2676955.44 | 1227933.0675
19 | 2676942.7192 | 1227947.4307 | 2676938.8395 | 1227953.2622 | 2676939.1908 | 1227965.3527 | 2676935.0747 | 1227968.9574 | 2676931.7615 | 1227973.173 | 2676930.5665 | 1227978.8502
20 | 2676942.7192 | 1227947.4307 | 2676898.8616 | 1227933.5544 | 2676889.8505 | 1227933.0154
21 | 2676889.8505 | 1227933.0154 | 2676889.7659 | 1227916.7033 | 2676890.3436 | 1227898.8799
22 | 2676889.8505 | 1227933.0154 | 2676890.2072 | 1227946.4512
23 | 2676890.3436 | 1227898.8799 | 2676891.0015 | 1227878.5825 | 2676891.8492 | 1227861.7244
24 | 2676890.2072 | 1227946.4512 | 2676892.4813 | 1227970.4301 | 2676894.2106 | 1227984.5741
25 | 2676890.2072 | 1227946.4512 | 2676833.2604 | 1227971.3991
26 | 2676833.2604 | 1227971.3991 | 2676822.2839 | 1227971.6575 | 2676820.9427 | 1227972.6953
27 | 2676893.3251 | 1227833.0931 | 2676892.5026 | 1227846.3024 | 2676891.991 | 1227858.9043 | 2676891.8492 | 1227861.7244
28 | 2676893.3251 | 1227833.0931 | 2676899.7208 | 1227813.6008
29 | 2676893.3251 | 1227833.0931 | 2676656.8056 | 1227772.4562
30 | 2676910.5176 | 1227782.9111 | 2676900.0784 | 1227812.5109 | 2676899.7208 | 1227813.6008
31 | 2676656.8056 | 1227772.4562 | 2676628.1935 | 1227852.8542
32 | 2676522.1996 | 1227876.2084 | 2676526.4376 | 1227866.9638 | 2676531.4349 | 1227857.2994 | 2676536.28 | 1227846.7101
33 | 2676518.391 | 1227884.5166 | 2676522.1996 | 1227876.2084
34 | 2676517.082 | 1227790.1252 | 2676525.5214 | 1227796.2379 | 2676534.1041 | 1227808.3008 | 2676540.6716 | 1227819.1259 | 2676542.5925 | 1227828.2678 | 2676539.178 | 1227840.3765 | 2676536.28 | 1227846.7101
35 | 2676518.391 | 1227884.5166 | 2676505.0864 | 1227902.5465 | 2676504.8652 | 1227902.9783
36 | 2676518.391 | 1227884.5166 | 2676529.0023 | 1227889.0895 | 2676542.7083 | 1227892.6391
37 | 2676517.082 | 1227790.1252 | 2676504.9266 | 1227806.0018 | 2676489.3992 | 1227830.0962 | 2676486.9389 | 1227835.8583
38 | 2676483.7183 | 1227942.999 | 2676492.268 | 1227927.5652 | 2676504.8652 | 1227902.9783
39 | 2676542.7083 | 1227892.6391 | 2676555.34 | 1227895.9106 | 2676562.1493 | 1227897.5264
40 | 2676483.7183 | 1227942.999 | 2676454.799 | 1227921.0435
41 | 2676607.8657 | 1227909.9738 | 2676594.8269 | 1227907.3598 | 2676573.3742 | 1227900.19 | 2676562.1493 | 1227897.5264
42 | 2676607.8657 | 1227909.9738 | 2676628.1935 | 1227852.8542
43 | 2676607.8657 | 1227909.9738 | 2676616.3948 | 1227921.458 | 2676619.5797 | 1227928.3592 | 2676620.1917 | 1227936.7431
44 | 2676628.0097 | 1227960.5131 | 2676627.5073 | 1227959.4711 | 2676620.3978 | 1227939.5662 | 2676620.1917 | 1227936.7431

## bus_geodata
| x | y | coords
0 | 2677063.1932 | 1227886.4961
1 | 2677048.0728 | 1227914.6513
2 | 2677055.7616 | 1227869.2187
3 | 2677024.1335 | 1227937.3772
4 | 2677044.4366 | 1227878.2049
5 | 2677087.1933 | 1227858.3629
6 | 2677032.9278 | 1227945.8746
7 | 2677009.0232 | 1227906.3052
8 | 2677090.2158 | 1227922.1818
9 | 2676989.45 | 1227918.4823
10 | 2677036.9379 | 1227960.4029
11 | 2677036.2373 | 1227980.3214
12 | 2676996.0621 | 1227950.3782
13 | 2676996.2634 | 1227954.4946
14 | 2676973.2053 | 1227886.6285
15 | 2676955.44 | 1227933.0675
16 | 2677011.7333 | 1227833.3912
17 | 2677041.7294 | 1227937.0575
18 | 2677092.3797 | 1227961.6513
19 | 2676930.5665 | 1227978.8502
20 | 2676942.7192 | 1227947.4307
21 | 2676889.8505 | 1227933.0154
22 | 2676890.3436 | 1227898.8799
23 | 2676890.2072 | 1227946.4512
24 | 2676894.2106 | 1227984.5741
25 | 2676833.2604 | 1227971.3991
26 | 2676891.8492 | 1227861.7244
27 | 2676893.3251 | 1227833.0931
28 | 2676899.7208 | 1227813.6008
29 | 2676656.8056 | 1227772.4562
30 | 2676910.5176 | 1227782.9111
31 | 2676820.9427 | 1227972.6953
32 | 2676522.1996 | 1227876.2084
33 | 2676536.28 | 1227846.7101
34 | 2676518.391 | 1227884.5166
35 | 2676517.082 | 1227790.1252
36 | 2676504.8652 | 1227902.9783
37 | 2676542.7083 | 1227892.6391
38 | 2676486.9389 | 1227835.8583
39 | 2676483.7183 | 1227942.999
40 | 2676562.1493 | 1227897.5264
41 | 2676454.799 | 1227921.0435
42 | 2676607.8657 | 1227909.9738
43 | 2676628.1935 | 1227852.8542
44 | 2676620.1917 | 1227936.7431
45 | 2676628.0097 | 1227960.5131
46 | 2676996.815 | 1227910.3722

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99009 | -0.19011 | 0.0045084 | 0.0011299
1 | 0.98956 | -0.20041 | 0.010967 | 0.0027486
2 | 0.99046 | -0.18295 | 0 | 0
3 | 0.98939 | -0.20377 | 0 | 0
4 | 0.99103 | -0.17184 | 0.031341 | 0.0078547
5 | 0.98971 | -0.19752 | 0 | 0
6 | 0.98932 | -0.20502 | 0 | 0
7 | 0.99412 | -0.11217 | 0 | 0
8 | 0.9884 | -0.22285 | 0.011015 | 0.0027607
9 | 0.99597 | -0.076723 | 0 | 0
10 | 0.99426 | -0.10961 | 0 | 0
11 | 0.9941 | -0.11271 | 0.0088315 | 0.0022134
12 | 0.99465 | -0.10219 | 0 | 0
13 | 0.99452 | -0.10476 | 0.035318 | 0.0088516
14 | 1 | 0 | -0.35208 | -0.089283
15 | 0.99174 | -0.15765 | 0.025451 | 0.0063787
16 | 0.99671 | -0.063267 | 0.050725 | 0.012713
17 | 0.98926 | -0.20629 | 0.0057224 | 0.0014342
18 | 0.988 | -0.23065 | 0.011053 | 0.00277
19 | 0.98924 | -0.20586 | 0.035203 | 0.0088227
20 | 0.99039 | -0.18348 | 0 | 0
21 | 0.98447 | -0.29779 | 0 | 0
22 | 0.98135 | -0.35861 | 0.041318 | 0.010355
23 | 0.98425 | -0.30209 | 0.0072084 | 0.0018066
24 | 0.98399 | -0.30716 | 0.0073417 | 0.00184
25 | 0.98407 | -0.30573 | 0 | 0
26 | 0.97937 | -0.39732 | 0.02157 | 0.0054059
27 | 0.97842 | -0.41601 | 0 | 0
28 | 0.97794 | -0.42537 | 0.017318 | 0.0043404
29 | 0.97598 | -0.46405 | 0 | 0
30 | 0.97771 | -0.42996 | 0.0077348 | 0.0019385
31 | 0.98403 | -0.30647 | 0.0032445 | 0.00081314
32 | 0.97385 | -0.50594 | 0.002392 | 0.0005995
33 | 0.9738 | -0.50703 | 0.0008801 | 0.00022057
34 | 0.97389 | -0.50523 | 0 | 0
35 | 0.97374 | -0.5082 | 0 | 0
36 | 0.97385 | -0.50597 | 0.0012049 | 0.00030197
37 | 0.97403 | -0.5024 | 0.0015286 | 0.00038309
38 | 0.97369 | -0.50915 | 0.00094385 | 0.00023655
39 | 0.97383 | -0.50643 | 0 | 0
40 | 0.97417 | -0.49963 | 0.0012979 | 0.00032529
41 | 0.97381 | -0.5068 | 0.00055491 | 0.00013907
42 | 0.97456 | -0.49195 | 0 | 0
43 | 0.97512 | -0.48088 | 0.00081471 | 0.00020419
44 | 0.97453 | -0.49259 | 0.00048442 | 0.00012141
45 | 0.97451 | -0.49289 | 0.00065507 | 0.00016418
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.016699 | 0.0041878 | -0.016691 | -0.004183 | 8.1938e-06 | 4.7982e-06 | 0.025098 | 0.025098 | 0.025098 | 0.99009 | -0.19011 | 0.98956 | -0.20041 | 6.8952
1 | -0.021208 | -0.0053178 | 0.021215 | 0.0053222 | 7.237e-06 | 4.3873e-06 | 0.031874 | 0.031874 | 0.031874 | 0.99009 | -0.19011 | 0.99046 | -0.18295 | 8.7566
2 | 0.005724 | 0.0014345 | -0.0057231 | -0.0014343 | 9.1705e-07 | 1.6293e-07 | 0.0086073 | 0.0086074 | 0.0086074 | 0.98956 | -0.20041 | 0.98939 | -0.20377 | 2.3647
3 | -0.043329 | -0.010881 | 0.043352 | 0.010895 | 2.2978e-05 | 1.452e-05 | 0.065103 | 0.065103 | 0.065103 | 0.99046 | -0.18295 | 0.99103 | -0.17184 | 17.8853
4 | 0.022114 | 0.0055584 | -0.022099 | -0.0055491 | 1.5371e-05 | 9.3601e-06 | 0.033229 | 0.033229 | 0.033229 | 0.99046 | -0.18295 | 0.98971 | -0.19752 | 9.1288
5 | 0.0057231 | 0.0014343 | -0.0057228 | -0.0014342 | 3.3926e-07 | 6.0318e-08 | 0.0086074 | 0.0086075 | 0.0086075 | 0.98939 | -0.20377 | 0.98932 | -0.20502 | 2.3647
6 | -0.074693 | -0.01875 | 0.074906 | 0.018886 | 0.00021326 | 0.00013591 | 0.11216 | 0.11216 | 0.11216 | 0.99103 | -0.17184 | 0.99412 | -0.11217 | 30.8132
7 | 0.022099 | 0.0055491 | -0.022072 | -0.0055328 | 2.6673e-05 | 1.6244e-05 | 0.033229 | 0.033229 | 0.033229 | 0.98971 | -0.19752 | 0.9884 | -0.22285 | 9.1289
8 | 0.0057228 | 0.0014342 | -0.0057224 | -0.0014342 | 3.4613e-07 | 6.1563e-08 | 0.0086075 | 0.0086075 | 0.0086075 | 0.98932 | -0.20502 | 0.98926 | -0.20629 | 2.3647
9 | -0.074906 | -0.018886 | 0.075033 | 0.018967 | 0.0001273 | 8.1119e-05 | 0.11216 | 0.11216 | 0.11216 | 0.99412 | -0.11217 | 0.99597 | -0.076723 | 30.8131
10 | 0.011057 | 0.0027722 | -0.011053 | -0.00277 | 4.1074e-06 | 2.1223e-06 | 0.016646 | 0.016646 | 0.016646 | 0.9884 | -0.22285 | 0.988 | -0.23065 | 4.5731
11 | -0.29845 | -0.075766 | 0.29956 | 0.076473 | 0.0011061 | 0.00070619 | 0.44624 | 0.44624 | 0.44624 | 0.99597 | -0.076723 | 1 | 0 | 40.8644
12 | 0.1792 | 0.045696 | -0.17851 | -0.045253 | 0.0006972 | 0.00044319 | 0.26802 | 0.26802 | 0.26802 | 0.99597 | -0.076723 | 0.99174 | -0.15765 | 24.5438
13 | 0.044212 | 0.011104 | -0.044159 | -0.01107 | 5.3655e-05 | 3.3913e-05 | 0.066063 | 0.066063 | 0.066063 | 0.99597 | -0.076723 | 0.99465 | -0.10219 | 18.1492
14 | 0.0088328 | 0.002214 | -0.0088315 | -0.0022134 | 1.3061e-06 | 5.7745e-07 | 0.013219 | 0.013219 | 0.013219 | 0.99426 | -0.10961 | 0.9941 | -0.11271 | 3.6317
15 | -0.0088328 | -0.002214 | 0.0088359 | 0.0022153 | 3.1217e-06 | 1.3798e-06 | 0.013219 | 0.013219 | 0.013219 | 0.99426 | -0.10961 | 0.99465 | -0.10219 | 3.6317
16 | 0.035323 | 0.0088543 | -0.035318 | -0.0088516 | 4.3157e-06 | 2.7086e-06 | 0.052844 | 0.052844 | 0.052844 | 0.99465 | -0.10219 | 0.99452 | -0.10476 | 14.5176
17 | 0.050878 | 0.01281 | -0.050725 | -0.012713 | 0.00015338 | 9.7233e-05 | 0.075728 | 0.075729 | 0.075729 | 1 | 0 | 0.99671 | -0.063267 | 20.8046
18 | 0.15306 | 0.038874 | -0.15287 | -0.038753 | 0.00019003 | 0.00012112 | 0.22983 | 0.22983 | 0.22983 | 0.99174 | -0.15765 | 0.99039 | -0.18348 | 31.5702
19 | -0.035203 | -0.0088227 | 0.035241 | 0.0088463 | 3.7575e-05 | 2.3588e-05 | 0.052953 | 0.052952 | 0.052953 | 0.98924 | -0.20586 | 0.99039 | -0.18348 | 14.5474
20 | 0.11763 | 0.029907 | -0.11698 | -0.029495 | 0.00064385 | 0.00041136 | 0.17688 | 0.17688 | 0.17688 | 0.99039 | -0.18348 | 0.98447 | -0.29779 | 48.5931
21 | 0.099181 | 0.025033 | -0.098893 | -0.024849 | 0.000288 | 0.00018388 | 0.14997 | 0.14997 | 0.14997 | 0.98447 | -0.29779 | 0.98135 | -0.35861 | 41.2015
22 | 0.017801 | 0.004462 | -0.017797 | -0.0044599 | 3.6487e-06 | 2.1643e-06 | 0.026906 | 0.026906 | 0.026906 | 0.98447 | -0.29779 | 0.98425 | -0.30209 | 7.3917
23 | 0.057575 | 0.014494 | -0.057468 | -0.014426 | 0.00010634 | 6.7587e-05 | 0.087323 | 0.087323 | 0.087323 | 0.98135 | -0.35861 | 0.97937 | -0.39732 | 23.9899
24 | 0.0073435 | 0.0018407 | -0.0073417 | -0.00184 | 1.772e-06 | 6.4696e-07 | 0.011102 | 0.011102 | 0.011102 | 0.98425 | -0.30209 | 0.98399 | -0.30716 | 3.0501
25 | 0.0032451 | 0.00081262 | -0.0032446 | -0.00081305 | 5.6114e-07 | -4.3089e-07 | 0.0049058 | 0.0049061 | 0.0049061 | 0.98425 | -0.30209 | 0.98407 | -0.30573 | 1.3478
26 | 0.0032446 | 0.00081305 | -0.0032445 | -0.00081314 | 1.1441e-07 | -8.7806e-08 | 0.0049061 | 0.0049062 | 0.0049062 | 0.98407 | -0.30573 | 0.98403 | -0.30647 | 1.3478
27 | 0.035898 | 0.0090205 | -0.035866 | -0.0090004 | 3.1995e-05 | 2.0116e-05 | 0.054551 | 0.054551 | 0.054551 | 0.97937 | -0.39732 | 0.97842 | -0.41601 | 14.9866
28 | 0.025066 | 0.0062865 | -0.025055 | -0.0062796 | 1.1181e-05 | 6.8981e-06 | 0.038123 | 0.038123 | 0.038123 | 0.97842 | -0.41601 | 0.97794 | -0.42537 | 10.4733
29 | 0.010801 | 0.002714 | -0.010776 | -0.0027012 | 2.4714e-05 | 1.2758e-05 | 0.016428 | 0.016429 | 0.016429 | 0.97842 | -0.41601 | 0.97598 | -0.46405 | 4.5136
30 | 0.0077365 | 0.0019392 | -0.0077348 | -0.0019385 | 1.6907e-06 | 6.7392e-07 | 0.011772 | 0.011772 | 0.011772 | 0.97794 | -0.42537 | 0.97771 | -0.42996 | 3.234
31 | 0.010776 | 0.0027012 | -0.010767 | -0.0026967 | 8.6383e-06 | 4.463e-06 | 0.016429 | 0.01643 | 0.01643 | 0.97598 | -0.46405 | 0.97512 | -0.48088 | 4.5137
32 | 0.0018241 | 0.00045533 | -0.0018241 | -0.00045567 | 9.5208e-08 | -3.4584e-07 | 0.0027866 | 0.0027867 | 0.0027867 | 0.97385 | -0.50594 | 0.9738 | -0.50703 | 0.76558
33 | -0.0042162 | -0.0010548 | 0.0042163 | 0.0010548 | 1.4221e-07 | -2.2706e-08 | 0.0064415 | 0.0064415 | 0.0064415 | 0.97385 | -0.50594 | 0.97389 | -0.50523 | 1.7696
34 | 0.00094395 | 0.0002351 | -0.0009439 | -0.0002359 | 5.207e-08 | -7.9735e-07 | 0.0014419 | 0.0014422 | 0.0014422 | 0.9738 | -0.50703 | 0.97374 | -0.5082 | 0.3962
35 | 0.0017599 | 0.0004398 | -0.0017598 | -0.00044005 | 6.2052e-08 | -2.4513e-07 | 0.0026885 | 0.0026886 | 0.0026886 | 0.97389 | -0.50523 | 0.97385 | -0.50597 | 0.73862
36 | -0.0059762 | -0.0014946 | 0.005977 | 0.0014948 | 8.0374e-07 | 1.944e-07 | 0.00913 | 0.0091298 | 0.00913 | 0.97389 | -0.50523 | 0.97403 | -0.5024 | 2.5082
37 | 0.0009439 | 0.0002359 | -0.00094385 | -0.00023655 | 4.2846e-08 | -6.5578e-07 | 0.0014422 | 0.0014424 | 0.0014424 | 0.97374 | -0.5082 | 0.97369 | -0.50915 | 0.39627
38 | 0.00055493 | 0.00013807 | -0.00055492 | -0.00013863 | 1.2198e-08 | -5.5544e-07 | 0.00084756 | 0.00084776 | 0.00084776 | 0.97385 | -0.50597 | 0.97383 | -0.50643 | 0.2329
39 | -0.0075056 | -0.0018779 | 0.0075066 | 0.0018783 | 9.8815e-07 | 3.8286e-07 | 0.011465 | 0.011465 | 0.011465 | 0.97403 | -0.5024 | 0.97417 | -0.49963 | 3.1497
40 | 0.00055492 | 0.00013863 | -0.00055491 | -0.00013907 | 9.7877e-09 | -4.4547e-07 | 0.00084776 | 0.00084792 | 0.00084792 | 0.97383 | -0.50643 | 0.97381 | -0.5068 | 0.23295
41 | -0.0088045 | -0.0022036 | 0.0088077 | 0.002205 | 3.2179e-06 | 1.4684e-06 | 0.013447 | 0.013447 | 0.013447 | 0.97417 | -0.49963 | 0.97456 | -0.49195 | 3.6944
42 | -0.0099472 | -0.00249 | 0.0099525 | 0.0024926 | 5.2438e-06 | 2.6001e-06 | 0.015187 | 0.015187 | 0.015187 | 0.97456 | -0.49195 | 0.97512 | -0.48088 | 4.1722
43 | 0.0011395 | 0.00028492 | -0.0011395 | -0.00028528 | 3.4404e-08 | -3.5566e-07 | 0.0017397 | 0.0017398 | 0.0017398 | 0.97456 | -0.49195 | 0.97453 | -0.49259 | 0.47797
44 | 0.00065508 | 0.00016387 | -0.00065507 | -0.00016418 | 9.4252e-09 | -3.0699e-07 | 0.0010001 | 0.0010003 | 0.0010003 | 0.97453 | -0.49259 | 0.97451 | -0.49289 | 0.27479

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35208 | 0.089283

## res_load
| p_mw | q_mvar
0 | 0.0045084 | 0.0011299
1 | 0.010967 | 0.0027486
2 | 0.031341 | 0.0078547
3 | 0.011015 | 0.0027607
4 | 0.0088315 | 0.0022134
5 | 0.035318 | 0.0088516
6 | 0.025451 | 0.0063787
7 | 0.050725 | 0.012713
8 | 0.0057224 | 0.0014342
9 | 0.011053 | 0.00277
10 | 0.035203 | 0.0088227
11 | 0.041318 | 0.010355
12 | 0.0072084 | 0.0018066
13 | 0.0073417 | 0.00184
14 | 0.02157 | 0.0054059
15 | 0.017318 | 0.0043404
16 | 0.0077348 | 0.0019385
17 | 0.0032445 | 0.00081314
18 | 0.002392 | 0.0005995
19 | 0.0008801 | 0.00022057
20 | 0.0012049 | 0.00030197
21 | 0.0015286 | 0.00038309
22 | 0.00094385 | 0.00023655
23 | 0.0012979 | 0.00032529
24 | 0.00055491 | 0.00013907
25 | 0.00081471 | 0.00020419
26 | 0.00048442 | 0.00012141
27 | 0.00065507 | 0.00016418

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1