## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1702-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1702-4_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1702-4_0_5_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_1702-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1702-4_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1702-4_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1702-4_0_5_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1702-4_0_5_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_1702-4_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1702-4_0_5_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1702-4_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1702-4_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1702-4_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1702-4_0_5_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_1702-4_0_5_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_1702-4_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1702-4_0_5_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1702-4_0_5_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1702-4_0_5_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_1702-4_0_5_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1702-4_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1702-4_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1702-4_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1702-4_0_5_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_1702-4_0_5_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1702-4_0_5_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1702-4_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1702-4_0_5_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1702-4_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1702-4_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1702-4_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1702-4_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1702-4_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1702-4_0_5_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1702-4_0_5_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1702-4_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1702-4_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_MV_232_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1702-4_0_5_load_0 | 0 | 0.029825 | 0.0074749 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1702-4_0_5_load_13 | 6 | 0.0020509 | 0.00051401 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1702-4_0_5_load_41 | 7 | 0.002201 | 0.00055162 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1702-4_0_5_load_38 | 9 | 0.018311 | 0.0045892 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1702-4_0_5_load_26 | 13 | 0.018855 | 0.0047255 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1702-4_0_5_load_40 | 14 | 0.056568 | 0.014177 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1702-4_0_5_load_20 | 16 | 0.067387 | 0.016889 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1702-4_0_5_load_30 | 17 | 0.0071555 | 0.0017933 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1702-4_0_5_load_28 | 18 | 0.010035 | 0.002515 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1702-4_0_5_load_37 | 19 | 0.0014637 | 0.00036685 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1702-4_0_5_load_14 | 21 | 0.01928 | 0.0048321 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1702-4_0_5_load_29 | 24 | 0.0080197 | 0.0020099 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1702-4_0_5_load_22 | 26 | 0.0037938 | 0.00095082 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1702-4_0_5_load_39 | 27 | 0.017996 | 0.0045102 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1702-4_0_5_load_23 | 28 | 0.0042661 | 0.0010692 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1702-4_0_5_load_16 | 29 | 0.053662 | 0.013449 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1702-4_0_5_load_19 | 31 | 0.071131 | 0.017827 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1702-4_0_5_load_24 | 32 | 0.05147 | 0.012899 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1702-4_0_5_load_31 | 34 | 0.0053322 | 0.0013364 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1702-4_0_5_load_32 | 35 | 0.004606 | 0.0011544 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1702-4_0_5_load_33 | 36 | 0.0058347 | 0.0014623 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1702-4_0_5_line_0 |  | 0 | 1 | 0.020517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1702-4_0_5_line_1 |  | 1 | 2 | 0.039738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1702-4_0_5_line_2 |  | 1 | 3 | 0.1116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1702-4_0_5_line_3 |  | 1 | 4 | 0.11279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1702-4_0_5_line_4 |  | 2 | 19 | 0.015281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1702-4_0_5_line_5 |  | 3 | 5 | 0.056731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1702-4_0_5_line_6 |  | 3 | 6 | 0.03634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1702-4_0_5_line_7 |  | 4 | 9 | 0.020507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1702-4_0_5_line_8 |  | 5 | 7 | 0.095727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1702-4_0_5_line_9 |  | 5 | 8 | 0.2141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1702-4_0_5_line_10 |  | 8 | 14 | 0.03801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1702-4_0_5_line_11 |  | 8 | 12 | 0.088262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1702-4_0_5_line_12 |  | 8 | 15 | 0.12661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1702-4_0_5_line_13 |  | 10 | 11 | 0.078128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1702-4_0_5_line_14 |  | 10 | 12 | 0.04592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1702-4_0_5_line_15 |  | 10 | 13 | 0.10785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1702-4_0_5_line_16 |  | 11 | 17 | 0.042677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1702-4_0_5_line_17 |  | 11 | 18 | 0.048791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1702-4_0_5_line_18 |  | 12 | 16 | 0.033667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1702-4_0_5_line_19 |  | 15 | 20 | 0.80236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1702-4_0_5_line_20 |  | 15 | 21 | 0.044382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1702-4_0_5_line_21 |  | 16 | 22 | 0.082201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1702-4_0_5_line_22 |  | 17 | 23 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1702-4_0_5_line_23 |  | 18 | 24 | 0.048027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1702-4_0_5_line_24 |  | 20 | 25 | 0.025305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1702-4_0_5_line_25 |  | 20 | 26 | 0.060763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1702-4_0_5_line_26 |  | 22 | 30 | 0.03419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1702-4_0_5_line_27 |  | 23 | 33 | 0.021164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1702-4_0_5_line_28 |  | 25 | 27 | 0.24602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1702-4_0_5_line_29 |  | 26 | 28 | 0.043679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1702-4_0_5_line_30 |  | 28 | 32 | 0.059294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1702-4_0_5_line_31 |  | 29 | 30 | 0.0017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1702-4_0_5_line_32 |  | 30 | 31 | 0.015935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1702-4_0_5_line_33 |  | 33 | 36 | 0.052535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1702-4_0_5_line_34 |  | 34 | 35 | 0.030788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1702-4_0_5_line_35 |  | 35 | 36 | 0.0075862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1702-4_0_5_trafo_20 | 0.63 MVA 20/0.4 kV | 37 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35
0 | 2678657.3238 | 1226665.4062 | 2678652.7929 | 1226645.3959
1 | 2678657.3238 | 1226665.4062 | 2678678.4142 | 1226660.5929 | 2678696.0249 | 1226656.3895
2 | 2678600.275 | 1226705.7352 | 2678607.9136 | 1226704.1573 | 2678609.6375 | 1226711.9408 | 2678622.6866 | 1226713.3475 | 2678665.1463 | 1226703.8021 | 2678657.3238 | 1226665.4062
3 | 2678657.3238 | 1226665.4062 | 2678665.1463 | 1226703.8021 | 2678704.2566 | 1226695.3469 | 2678721.6096 | 1226696.2881 | 2678732.0654 | 1226695.4814 | 2678735.6522 | 1226699.943
4 | 2678696.0249 | 1226656.3895 | 2678710.8449 | 1226652.6638
5 | 2678600.275 | 1226705.7352 | 2678607.9136 | 1226704.1573 | 2678609.6375 | 1226711.9408 | 2678611.4426 | 1226717.5907 | 2678615.2818 | 1226727.626 | 2678618.0684 | 1226737.0135 | 2678620.5724 | 1226747.1312 | 2678617.8492 | 1226750.1528
6 | 2678600.275 | 1226705.7352 | 2678573.3187 | 1226711.6499 | 2678571.4352 | 1226703.1132
7 | 2678735.6522 | 1226699.943 | 2678752.5603 | 1226688.3393
8 | 2678617.8492 | 1226750.1528 | 2678524.0381 | 1226770.5058
9 | 2678617.8492 | 1226750.1528 | 2678631.4941 | 1226809.1061 | 2678632.5339 | 1226813.5896 | 2678627.4648 | 1226826.0755 | 2678555.0805 | 1226846.5889 | 2678516.4019 | 1226855.1621 | 2678514.7864 | 1226834.5713
10 | 2678552.0909 | 1226826.7472 | 2678514.7864 | 1226834.5713
11 | 2678514.7864 | 1226834.5713 | 2678516.4019 | 1226855.1621 | 2678516.551 | 1226862.8136 | 2678517.7121 | 1226872.4688 | 2678521.564 | 1226895.891 | 2678512.6531 | 1226897.9859 | 2678515.5578 | 1226915.0802
12 | 2678444.5027 | 1226776.3164 | 2678445.6975 | 1226779.979 | 2678447.6565 | 1226782.0173 | 2678451.8951 | 1226782.4735 | 2678463.2643 | 1226780.2108 | 2678473.2858 | 1226778.4084 | 2678490.9526 | 1226775.0835 | 2678493.528 | 1226795.32 | 2678499.9245 | 1226822.9452 | 2678511.9237 | 1226820.0349 | 2678514.7864 | 1226834.5713
13 | 2678523.0167 | 1226960.3869 | 2678526.1186 | 1226979.185 | 2678536.9103 | 1227037.2665
14 | 2678515.5578 | 1226915.0802 | 2678518.2311 | 1226931.3264 | 2678523.0167 | 1226960.3869
15 | 2678523.0167 | 1226960.3869 | 2678416.8442 | 1226979.3093
16 | 2678536.9103 | 1227037.2665 | 2678543.5308 | 1227079.4265
17 | 2678536.9103 | 1227037.2665 | 2678488.7308 | 1227044.9681
18 | 2678515.5578 | 1226915.0802 | 2678482.6239 | 1226922.0698
19 | 2678313.9365 | 1227086.9282 | 2678299.1967 | 1227029.7735 | 2678292.6239 | 1227003.4026 | 2678286.3222 | 1226973.1216 | 2678280.7615 | 1226934.3445 | 2678277.9446 | 1226901.8856 | 2678279.1215 | 1226861.9965 | 2678280.6759 | 1226844.1049 | 2678284.244 | 1226821.2142 | 2678289.8923 | 1226798.6511 | 2678299.6566 | 1226769.1708 | 2678311.986 | 1226741.759 | 2678328.913 | 1226711.7282 | 2678350.4572 | 1226682.7923 | 2678364.0751 | 1226668.0728 | 2678380.3509 | 1226653.5552 | 2678403.2643 | 1226635.2113 | 2678430.7461 | 1226615.9049 | 2678455.1874 | 1226601.8509 | 2678461.5662 | 1226601.5459 | 2678469.133 | 1226601.9681 | 2678476.0296 | 1226604.9277 | 2678478.6416 | 1226608.6091 | 2678483.3146 | 1226619.2446 | 2678488.0135 | 1226639.3979 | 2678494.1386 | 1226654.8668 | 2678494.2296 | 1226658.8819 | 2678494.4586 | 1226686.9037 | 2678493.7429 | 1226707.8195 | 2678476.4746 | 1226711.3719 | 2678466.4799 | 1226713.4304 | 2678450.0672 | 1226717.0609 | 2678440.0283 | 1226719.597 | 2678435.2207 | 1226720.323 | 2678441.6864 | 1226756.5215 | 2678444.5027 | 1226776.3164
20 | 2678444.5027 | 1226776.3164 | 2678400.8793 | 1226784.4893
21 | 2678402.2138 | 1226939.1354 | 2678482.6239 | 1226922.0698
22 | 2678545.6426 | 1227092.8748 | 2678543.5308 | 1227079.4265
23 | 2678488.7308 | 1227044.9681 | 2678441.3058 | 1227052.549
24 | 2678319.9339 | 1227111.5126 | 2678313.9365 | 1227086.9282
25 | 2678313.9365 | 1227086.9282 | 2678334.9912 | 1227122.6628 | 2678347.1568 | 1227137.6289
26 | 2678402.2138 | 1226939.1354 | 2678396.3288 | 1226905.4575
27 | 2678545.6426 | 1227092.8748 | 2678542.8023 | 1227100.1867 | 2678540.353 | 1227104.8687 | 2678535.3507 | 1227111.1736
28 | 2678319.9339 | 1227111.5126 | 2678325.0775 | 1227132.4389 | 2678328.0214 | 1227147.1653 | 2678339.3982 | 1227193.1683 | 2678346.441 | 1227218.3558 | 2678355.5553 | 1227246.2279 | 2678376.0177 | 1227317.0673 | 2678385.2777 | 1227345.364 | 2678386.4725 | 1227348.1947
29 | 2678347.1568 | 1227137.6289 | 2678350.4674 | 1227141.7015 | 2678371.6259 | 1227158.0245 | 2678382.3018 | 1227162.8287
30 | 2678439.6055 | 1227174.3492 | 2678421.31 | 1227174.5457 | 2678398.4792 | 1227170.1086 | 2678382.3018 | 1227162.8287
31 | 2678396.3288 | 1226905.4575 | 2678396.0352 | 1226903.7771
32 | 2678396.3288 | 1226905.4575 | 2678389.6791 | 1226906.793 | 2678380.7042 | 1226908.5854
33 | 2678535.3507 | 1227111.1736 | 2678526.0087 | 1227116.0869 | 2678516.3498 | 1227117.4493 | 2678499.1578 | 1227117.0333 | 2678484.1484 | 1227116.2892
34 | 2678445.8216 | 1227114.3891 | 2678476.5716 | 1227115.9136
35 | 2678484.1484 | 1227116.2892 | 2678476.5716 | 1227115.9136

## bus_geodata
| x | y | coords
0 | 2678652.7929 | 1226645.3959
1 | 2678657.3238 | 1226665.4062
2 | 2678696.0249 | 1226656.3895
3 | 2678600.275 | 1226705.7352
4 | 2678735.6522 | 1226699.943
5 | 2678617.8492 | 1226750.1528
6 | 2678571.4352 | 1226703.1132
7 | 2678524.0381 | 1226770.5058
8 | 2678514.7864 | 1226834.5713
9 | 2678752.5602 | 1226688.3393
10 | 2678523.0167 | 1226960.3869
11 | 2678536.9103 | 1227037.2665
12 | 2678515.5578 | 1226915.0802
13 | 2678416.8442 | 1226979.3093
14 | 2678552.0909 | 1226826.7472
15 | 2678444.5027 | 1226776.3164
16 | 2678482.6239 | 1226922.0698
17 | 2678543.5308 | 1227079.4265
18 | 2678488.7308 | 1227044.9681
19 | 2678710.8449 | 1226652.6638
20 | 2678313.9365 | 1227086.9282
21 | 2678400.8793 | 1226784.4893
22 | 2678402.2138 | 1226939.1354
23 | 2678545.6426 | 1227092.8748
24 | 2678441.3058 | 1227052.549
25 | 2678319.9339 | 1227111.5126
26 | 2678347.1568 | 1227137.6289
27 | 2678386.4725 | 1227348.1947
28 | 2678382.3018 | 1227162.8287
29 | 2678396.0352 | 1226903.7771
30 | 2678396.3288 | 1226905.4575
31 | 2678380.7042 | 1226908.5854
32 | 2678439.6055 | 1227174.3492
33 | 2678535.3507 | 1227111.1736
34 | 2678445.8216 | 1227114.3891
35 | 2678476.5716 | 1227115.9136
36 | 2678484.1484 | 1227116.2892
37 | 2678482.6239 | 1226922.0698

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97449 | -0.49075 | 0.029825 | 0.0074749
1 | 0.97506 | -0.47953 | 0 | 0
2 | 0.97501 | -0.4806 | 0 | 0
3 | 0.98022 | -0.37857 | 0 | 0
4 | 0.97314 | -0.51747 | 0 | 0
5 | 0.98295 | -0.32555 | 0 | 0
6 | 0.98015 | -0.37992 | 0.0020509 | 0.00051401
7 | 0.98275 | -0.32935 | 0.002201 | 0.00055162
8 | 0.99369 | -0.11973 | 0 | 0
9 | 0.97279 | -0.52438 | 0.018311 | 0.0045892
10 | 0.99541 | -0.087517 | 0 | 0
11 | 0.99248 | -0.14402 | 0 | 0
12 | 0.99792 | -0.039292 | 0 | 0
13 | 0.99356 | -0.12336 | 0.018855 | 0.0047255
14 | 0.99172 | -0.15776 | 0.056568 | 0.014177
15 | 0.99084 | -0.17406 | 0 | 0
16 | 1 | 0 | -0.39938 | -0.10188
17 | 0.99159 | -0.16135 | 0.0071555 | 0.0017933
18 | 0.99168 | -0.15962 | 0.010035 | 0.002515
19 | 0.97499 | -0.48101 | 0.0014637 | 0.00036685
20 | 0.97635 | -0.45455 | 0 | 0
21 | 0.99006 | -0.18927 | 0.01928 | 0.0048321
22 | 0.99056 | -0.1805 | 0 | 0
23 | 0.99139 | -0.16516 | 0 | 0
24 | 0.99132 | -0.16645 | 0.0080197 | 0.0020099
25 | 0.97625 | -0.45664 | 0 | 0
26 | 0.97551 | -0.4711 | 0.0037938 | 0.00095082
27 | 0.97419 | -0.49722 | 0.017996 | 0.0045102
28 | 0.97494 | -0.48226 | 0.0042661 | 0.0010692
29 | 0.98655 | -0.25823 | 0.053662 | 0.013449
30 | 0.98663 | -0.25659 | 0 | 0
31 | 0.98559 | -0.27691 | 0.071131 | 0.017827
32 | 0.97352 | -0.51028 | 0.05147 | 0.012899
33 | 0.99108 | -0.17108 | 0 | 0
34 | 0.99011 | -0.19006 | 0.0053322 | 0.0013364
35 | 0.99026 | -0.18714 | 0.004606 | 0.0011544
36 | 0.99032 | -0.1858 | 0.0058347 | 0.0014623
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.029825 | -0.0074749 | 0.029841 | 0.0074849 | 1.5958e-05 | 9.9571e-06 | 0.045542 | 0.045542 | 0.045542 | 0.97449 | -0.49075 | 0.97506 | -0.47953 | 12.5116
1 | 0.0014639 | 0.00036623 | -0.0014638 | -0.00036668 | 7.4358e-08 | -4.4804e-07 | 0.0022337 | 0.0022339 | 0.0022339 | 0.97506 | -0.47953 | 0.97501 | -0.4806 | 0.61371
2 | -0.049656 | -0.012464 | 0.049896 | 0.012616 | 0.00024036 | 0.00015243 | 0.075785 | 0.075784 | 0.075785 | 0.97506 | -0.47953 | 0.98022 | -0.37857 | 20.82
3 | 0.01835 | 0.0046127 | -0.018317 | -0.0045928 | 3.3182e-05 | 1.9832e-05 | 0.028009 | 0.028009 | 0.028009 | 0.97506 | -0.47953 | 0.97314 | -0.51747 | 7.6949
4 | 0.0014638 | 0.00036668 | -0.0014637 | -0.00036685 | 2.8597e-08 | -1.7228e-07 | 0.0022339 | 0.002234 | 0.002234 | 0.97501 | -0.4806 | 0.97499 | -0.48101 | 0.61372
5 | -0.051947 | -0.01313 | 0.052079 | 0.013214 | 0.00013243 | 8.4036e-05 | 0.078898 | 0.078897 | 0.078898 | 0.98022 | -0.37857 | 0.98295 | -0.32555 | 21.6752
6 | 0.0020511 | 0.00051364 | -0.0020509 | -0.00051401 | 1.3211e-07 | -3.7349e-07 | 0.0031135 | 0.0031136 | 0.0031136 | 0.98022 | -0.37857 | 0.98015 | -0.37992 | 0.8554
7 | 0.018317 | 0.0045928 | -0.018311 | -0.0045892 | 6.0331e-06 | 3.6065e-06 | 0.028009 | 0.02801 | 0.02801 | 0.97314 | -0.51747 | 0.97279 | -0.52438 | 7.6949
8 | 0.0022014 | 0.00055066 | -0.002201 | -0.00055162 | 3.9863e-07 | -9.5804e-07 | 0.0033321 | 0.0033326 | 0.0033326 | 0.98295 | -0.32555 | 0.98275 | -0.32935 | 0.91554
9 | -0.054281 | -0.013765 | 0.054824 | 0.014109 | 0.00054286 | 0.00034469 | 0.08223 | 0.082229 | 0.08223 | 0.98295 | -0.32555 | 0.99369 | -0.11973 | 22.5905
10 | 0.056671 | 0.014243 | -0.056568 | -0.014177 | 0.00010269 | 6.5228e-05 | 0.084877 | 0.084877 | 0.084877 | 0.99369 | -0.11973 | 0.99172 | -0.15776 | 23.318
11 | -0.20981 | -0.053518 | 0.21063 | 0.054037 | 0.00081852 | 0.00051926 | 0.31452 | 0.31451 | 0.31452 | 0.99369 | -0.11973 | 0.99792 | -0.039292 | 21.6014
12 | 0.098315 | 0.025166 | -0.098057 | -0.025007 | 0.00025794 | 0.00015854 | 0.14741 | 0.14741 | 0.14741 | 0.99369 | -0.11973 | 0.99084 | -0.17406 | 10.1246
13 | 0.041149 | 0.010373 | -0.041038 | -0.010303 | 0.00011093 | 6.9986e-05 | 0.061534 | 0.061534 | 0.061534 | 0.99541 | -0.087517 | 0.99248 | -0.14402 | 16.905
14 | -0.060036 | -0.015118 | 0.060175 | 0.015206 | 0.00013878 | 8.8218e-05 | 0.089772 | 0.089772 | 0.089772 | 0.99541 | -0.087517 | 0.99792 | -0.039292 | 24.6626
15 | 0.018887 | 0.0047447 | -0.018855 | -0.0047255 | 3.2249e-05 | 1.924e-05 | 0.028238 | 0.028239 | 0.028239 | 0.99541 | -0.087517 | 0.99356 | -0.12336 | 7.7578
16 | 0.022967 | 0.005769 | -0.022948 | -0.0057574 | 1.8981e-05 | 1.1597e-05 | 0.034439 | 0.034439 | 0.034439 | 0.99248 | -0.14402 | 0.99159 | -0.16135 | 9.4613
17 | 0.018071 | 0.004534 | -0.018057 | -0.004526 | 1.3433e-05 | 7.9668e-06 | 0.027095 | 0.027095 | 0.027095 | 0.99248 | -0.14402 | 0.99168 | -0.15962 | 7.4438
18 | -0.2708 | -0.069243 | 0.27132 | 0.069571 | 0.00051589 | 0.00032841 | 0.40429 | 0.40429 | 0.40429 | 0.99792 | -0.039292 | 1 | 0 | 27.7669
19 | 0.078763 | 0.020167 | -0.077708 | -0.019532 | 0.0010553 | 0.00063464 | 0.11844 | 0.11845 | 0.11845 | 0.99084 | -0.17406 | 0.97635 | -0.45455 | 8.1354
20 | 0.019294 | 0.0048405 | -0.01928 | -0.0048321 | 1.3975e-05 | 8.373e-06 | 0.028977 | 0.028978 | 0.028978 | 0.99084 | -0.17406 | 0.99006 | -0.18927 | 7.9609
21 | 0.12641 | 0.032312 | -0.12532 | -0.031613 | 0.0010933 | 0.00069866 | 0.18833 | 0.18833 | 0.18833 | 1 | 0 | 0.99056 | -0.1805 | 51.739
22 | 0.015793 | 0.0039641 | -0.01579 | -0.0039624 | 2.8677e-06 | 1.6598e-06 | 0.023701 | 0.023701 | 0.023701 | 0.99159 | -0.16135 | 0.99139 | -0.16516 | 6.5114
23 | 0.0080224 | 0.002011 | -0.0080197 | -0.0020099 | 2.6098e-06 | 1.0509e-06 | 0.012038 | 0.012038 | 0.012038 | 0.99168 | -0.15962 | 0.99132 | -0.16645 | 3.3071
24 | 0.018032 | 0.0045262 | -0.018031 | -0.0045263 | 1.7922e-06 | -1.1876e-07 | 0.027485 | 0.027485 | 0.027485 | 0.97635 | -0.45455 | 0.97625 | -0.45664 | 1.8877
25 | 0.059675 | 0.015006 | -0.059628 | -0.014979 | 4.7138e-05 | 2.7132e-05 | 0.090966 | 0.090967 | 0.090967 | 0.97635 | -0.45455 | 0.97551 | -0.4711 | 6.2478
26 | 0.12532 | 0.031613 | -0.12487 | -0.031323 | 0.00045475 | 0.0002906 | 0.18833 | 0.18833 | 0.18833 | 0.99056 | -0.1805 | 0.98663 | -0.25659 | 51.7391
27 | 0.01579 | 0.0039624 | -0.015785 | -0.0039598 | 4.4584e-06 | 2.5805e-06 | 0.023701 | 0.023701 | 0.023701 | 0.99139 | -0.16516 | 0.99108 | -0.17108 | 6.5114
28 | 0.018031 | 0.0045263 | -0.017996 | -0.0045102 | 3.485e-05 | 1.6165e-05 | 0.027485 | 0.027488 | 0.027488 | 0.97625 | -0.45664 | 0.97419 | -0.49722 | 3.7758
29 | 0.055834 | 0.014028 | -0.055804 | -0.014011 | 2.9711e-05 | 1.6835e-05 | 0.08518 | 0.085181 | 0.085181 | 0.97551 | -0.4711 | 0.97494 | -0.48226 | 5.8504
30 | 0.051538 | 0.012942 | -0.05147 | -0.012899 | 6.8808e-05 | 4.256e-05 | 0.07867 | 0.078671 | 0.078671 | 0.97494 | -0.48226 | 0.97352 | -0.51028 | 10.8064
31 | -0.053662 | -0.013449 | 0.053666 | 0.013452 | 4.1906e-06 | 2.6602e-06 | 0.080938 | 0.080938 | 0.080938 | 0.98655 | -0.25823 | 0.98663 | -0.25659 | 22.2358
32 | 0.0712 | 0.017871 | -0.071131 | -0.017827 | 6.8916e-05 | 4.3903e-05 | 0.10739 | 0.10739 | 0.10739 | 0.98663 | -0.25659 | 0.98559 | -0.27691 | 29.5033
33 | 0.015785 | 0.0039598 | -0.015774 | -0.0039534 | 1.1067e-05 | 6.4064e-06 | 0.023701 | 0.023702 | 0.023702 | 0.99108 | -0.17108 | 0.99032 | -0.1858 | 6.5114
34 | -0.0053322 | -0.0013364 | 0.0053329 | 0.0013364 | 7.4142e-07 | 7.8486e-08 | 0.0080136 | 0.0080135 | 0.0080136 | 0.99011 | -0.19006 | 0.99026 | -0.18714 | 2.2016
35 | -0.0099389 | -0.0024908 | 0.0099396 | 0.0024911 | 6.3453e-07 | 3.085e-07 | 0.014935 | 0.014935 | 0.014935 | 0.99026 | -0.18714 | 0.99032 | -0.1858 | 4.103

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46677 | 0.11877

## res_load
| p_mw | q_mvar
0 | 0.029825 | 0.0074749
1 | 0.0020509 | 0.00051401
2 | 0.002201 | 0.00055162
3 | 0.018311 | 0.0045892
4 | 0.018855 | 0.0047255
5 | 0.056568 | 0.014177
6 | 0.067387 | 0.016889
7 | 0.0071555 | 0.0017933
8 | 0.010035 | 0.002515
9 | 0.0014637 | 0.00036685
10 | 0.01928 | 0.0048321
11 | 0.0080197 | 0.0020099
12 | 0.0037938 | 0.00095082
13 | 0.017996 | 0.0045102
14 | 0.0042661 | 0.0010692
15 | 0.053662 | 0.013449
16 | 0.071131 | 0.017827
17 | 0.05147 | 0.012899
18 | 0.0053322 | 0.0013364
19 | 0.004606 | 0.0011544
20 | 0.0058347 | 0.0014623

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1