## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1703-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1703-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1703-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1703-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1703-10_0_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_1703-10_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1703-10_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1703-10_0_4_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_1703-10_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1703-10_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1703-10_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_1703-10_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1703-10_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1703-10_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1703-10_0_4_node_72 | 0.4 | n |  | TRUE
15 | bus_LV_1703-10_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1703-10_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1703-10_0_4_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_1703-10_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1703-10_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_1703-10_0_4_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_1703-10_0_4_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_1703-10_0_4_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_1703-10_0_4_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_1703-10_0_4_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_1703-10_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1703-10_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1703-10_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1703-10_0_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_1703-10_0_4_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_1703-10_0_4_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_1703-10_0_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1703-10_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1703-10_0_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_1703-10_0_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1703-10_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1703-10_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1703-10_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1703-10_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1703-10_0_4_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_1703-10_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1703-10_0_4_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_1703-10_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1703-10_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_1703-10_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_1703-10_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_1703-10_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_1703-10_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_1703-10_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_1703-10_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1703-10_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1703-10_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_1703-10_0_4_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_1703-10_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_1703-10_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1703-10_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_1703-10_0_4_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_1703-10_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_1703-10_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_1703-10_0_4_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_1703-10_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_1703-10_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_1703-10_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_1703-10_0_4_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_1703-10_0_4_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_1703-10_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_1703-10_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_1703-10_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_1703-10_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_1703-10_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1703-10_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_1703-10_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_1703-10_0_4_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_1703-10_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_MV_435_1_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1703-10_0_4_load_0 | 0 | 0.002519 | 0.00063133 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1703-10_0_4_load_12 | 4 | 0.021299 | 0.005338 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1703-10_0_4_load_13 | 5 | 0.001926 | 0.0004827 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1703-10_0_4_load_23 | 7 | 0.0088259 | 0.002212 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1703-10_0_4_load_16 | 9 | 0.001534 | 0.00038445 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1703-10_0_4_load_17 | 10 | 0.0092158 | 0.0023097 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1703-10_0_4_load_14 | 12 | 0.0020169 | 0.00050549 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1703-10_0_4_load_72 | 14 | 0.024926 | 0.006247 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1703-10_0_4_load_73 | 17 | 0.021982 | 0.0055091 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1703-10_0_4_load_74 | 20 | 0.0023845 | 0.0005976 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1703-10_0_4_load_70 | 21 | 0.047777 | 0.011974 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1703-10_0_4_load_71 | 22 | 0.0049258 | 0.0012345 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1703-10_0_4_load_66 | 23 | 0.023144 | 0.0058005 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1703-10_0_4_load_75 | 24 | 0.01995 | 0.005 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1703-10_0_4_load_15 | 25 | 0.001811 | 0.00045387 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1703-10_0_4_load_18 | 26 | 0.0039438 | 0.00098842 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1703-10_0_4_load_52 | 29 | 0.0028953 | 0.00072563 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1703-10_0_4_load_50 | 31 | 0.022756 | 0.0057031 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1703-10_0_4_load_46 | 33 | 0.017637 | 0.0044204 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1703-10_0_4_load_42 | 34 | 0.0101 | 0.0025312 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1703-10_0_4_load_21 | 35 | 0.037066 | 0.0092897 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1703-10_0_4_load_47 | 37 | 0.017097 | 0.004285 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1703-10_0_4_load_24 | 38 | 0.0051688 | 0.0012954 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1703-10_0_4_load_36 | 40 | 0.0051271 | 0.001285 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1703-10_0_4_load_68 | 41 | 0.0035868 | 0.00089895 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1703-10_0_4_load_35 | 42 | 0.0085264 | 0.0021369 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1703-10_0_4_load_25 | 43 | 0.0020363 | 0.00051033 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1703-10_0_4_load_26 | 44 | 0.0019514 | 0.00048905 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1703-10_0_4_load_28 | 46 | 0.0090097 | 0.002258 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1703-10_0_4_load_29 | 47 | 0.0034803 | 0.00087226 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1703-10_0_4_load_32 | 49 | 0.0037091 | 0.0009296 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1703-10_0_4_load_44 | 50 | 0.016221 | 0.0040653 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1703-10_0_4_load_40 | 51 | 0.011474 | 0.0028757 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1703-10_0_4_load_61 | 52 | 0.0034498 | 0.00086459 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1703-10_0_4_load_48 | 54 | 0.0059028 | 0.0014794 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1703-10_0_4_load_39 | 55 | 0.002962 | 0.00074235 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1703-10_0_4_load_34 | 56 | 0.0064755 | 0.0016229 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1703-10_0_4_load_62 | 59 | 0.005614 | 0.001407 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1703-10_0_4_load_38 | 60 | 0.0093599 | 0.0023458 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1703-10_0_4_load_56 | 62 | 0.0059557 | 0.0014926 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1703-10_0_4_load_37 | 63 | 0.0070185 | 0.001759 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1703-10_0_4_load_43 | 64 | 0.030999 | 0.007769 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1703-10_0_4_load_45 | 65 | 0.016035 | 0.0040188 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1703-10_0_4_load_55 | 66 | 0.0053448 | 0.0013395 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1703-10_0_4_load_67 | 67 | 0.0031618 | 0.00079242 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1703-10_0_4_load_57 | 68 | 0.01751 | 0.0043885 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1703-10_0_4_load_59 | 69 | 0.0015155 | 0.00037981 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1703-10_0_4_load_60 | 70 | 0.0013944 | 0.00034948 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1703-10_0_4_load_63 | 71 | 0.0015543 | 0.00038955 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1703-10_0_4_load_64 | 72 | 0.0063904 | 0.0016016 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1703-10_0_4_load_65 | 73 | 0.013779 | 0.0034533 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1703-10_0_4_line_0 |  | 0 | 1 | 0.010846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1703-10_0_4_line_1 |  | 0 | 2 | 0.011649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1703-10_0_4_line_2 |  | 1 | 3 | 0.005976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1703-10_0_4_line_3 |  | 2 | 4 | 0.047608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1703-10_0_4_line_4 |  | 3 | 5 | 0.009356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1703-10_0_4_line_5 |  | 5 | 25 | 0.011409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1703-10_0_4_line_6 |  | 5 | 6 | 0.032889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1703-10_0_4_line_7 |  | 6 | 7 | 0.006923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1703-10_0_4_line_8 |  | 8 | 9 | 0.017367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1703-10_0_4_line_9 |  | 8 | 10 | 0.047556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1703-10_0_4_line_10 |  | 8 | 11 | 0.074028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1703-10_0_4_line_11 |  | 8 | 12 | 0.023216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1703-10_0_4_line_12 |  | 9 | 26 | 0.0030502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1703-10_0_4_line_13 |  | 10 | 27 | 0.0049704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1703-10_0_4_line_14 |  | 11 | 21 | 0.025673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1703-10_0_4_line_15 |  | 11 | 22 | 0.017365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1703-10_0_4_line_16 |  | 11 | 18 | 0.064001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1703-10_0_4_line_17 |  | 12 | 25 | 0.014217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1703-10_0_4_line_18 |  | 13 | 14 | 0.008066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1703-10_0_4_line_19 |  | 13 | 15 | 0.023441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1703-10_0_4_line_20 |  | 13 | 16 | 0.036543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1703-10_0_4_line_21 |  | 15 | 17 | 0.005057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1703-10_0_4_line_22 |  | 15 | 18 | 0.041887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1703-10_0_4_line_23 |  | 16 | 24 | 0.008075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1703-10_0_4_line_24 |  | 16 | 19 | 0.032418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1703-10_0_4_line_25 |  | 18 | 23 | 0.012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1703-10_0_4_line_26 |  | 19 | 20 | 0.006451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1703-10_0_4_line_27 |  | 23 | 30 | 0.019036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1703-10_0_4_line_28 |  | 26 | 32 | 0.050952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1703-10_0_4_line_29 |  | 27 | 33 | 0.016822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1703-10_0_4_line_30 |  | 27 | 34 | 0.027817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1703-10_0_4_line_31 |  | 28 | 29 | 0.051887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1703-10_0_4_line_32 |  | 28 | 30 | 0.10287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1703-10_0_4_line_33 |  | 28 | 31 | 0.016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1703-10_0_4_line_34 |  | 29 | 66 | 0.030769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1703-10_0_4_line_35 |  | 32 | 35 | 0.051432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1703-10_0_4_line_36 |  | 32 | 36 | 0.19555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1703-10_0_4_line_37 |  | 33 | 37 | 0.025478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1703-10_0_4_line_38 |  | 35 | 38 | 0.030307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1703-10_0_4_line_39 |  | 36 | 39 | 0.063435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1703-10_0_4_line_40 |  | 37 | 65 | 0.027034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1703-10_0_4_line_41 |  | 38 | 40 | 0.031821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1703-10_0_4_line_42 |  | 39 | 41 | 0.062887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1703-10_0_4_line_43 |  | 40 | 42 | 0.026918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1703-10_0_4_line_44 |  | 42 | 63 | 0.014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1703-10_0_4_line_45 |  | 43 | 44 | 0.016072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1703-10_0_4_line_46 |  | 43 | 45 | 0.0070137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1703-10_0_4_line_47 |  | 44 | 46 | 0.025327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1703-10_0_4_line_48 |  | 45 | 47 | 0.022179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1703-10_0_4_line_49 |  | 46 | 48 | 0.002375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1703-10_0_4_line_50 |  | 47 | 49 | 0.0037928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1703-10_0_4_line_51 |  | 48 | 50 | 0.023685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1703-10_0_4_line_52 |  | 48 | 51 | 0.02809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1703-10_0_4_line_53 |  | 49 | 52 | 0.01106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1703-10_0_4_line_54 |  | 51 | 58 | 0.010811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1703-10_0_4_line_55 |  | 52 | 59 | 0.014809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1703-10_0_4_line_56 |  | 53 | 54 | 0.0080846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1703-10_0_4_line_57 |  | 53 | 55 | 0.025242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1703-10_0_4_line_58 |  | 55 | 60 | 0.03629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1703-10_0_4_line_59 |  | 56 | 57 | 0.029574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1703-10_0_4_line_60 |  | 57 | 61 | 0.095471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1703-10_0_4_line_61 |  | 57 | 62 | 0.01623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1703-10_0_4_line_62 |  | 58 | 64 | 0.016236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1703-10_0_4_line_63 |  | 59 | 72 | 0.0021825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1703-10_0_4_line_64 |  | 60 | 63 | 0.013293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1703-10_0_4_line_65 |  | 61 | 67 | 0.017952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1703-10_0_4_line_66 |  | 62 | 68 | 0.0075545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1703-10_0_4_line_67 |  | 64 | 65 | 0.0098986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1703-10_0_4_line_68 |  | 66 | 67 | 0.00039089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1703-10_0_4_line_69 |  | 68 | 69 | 0.0091414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1703-10_0_4_line_70 |  | 69 | 70 | 0.009532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1703-10_0_4_line_71 |  | 70 | 71 | 0.0059184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1703-10_0_4_line_72 |  | 72 | 73 | 0.011005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1703-10_0_4_trafo_47 | 0.63 MVA 20/0.4 kV | 74 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2675194.5919 | 1225879.5818 | 2675204.4513 | 1225884.1024
1 | 2675215.04 | 1225888.9575 | 2675204.4513 | 1225884.1024
2 | 2675189.1502 | 1225877.078 | 2675194.5919 | 1225879.5818
3 | 2675215.04 | 1225888.9575 | 2675195.5749 | 1225932.4046
4 | 2675180.6257 | 1225873.1678 | 2675189.1502 | 1225877.078
5 | 2675180.6257 | 1225873.1678 | 2675170.2153 | 1225868.4988
6 | 2675180.6257 | 1225873.1678 | 2675167.9008 | 1225903.505
7 | 2675164.2072 | 1225897.6433 | 2675167.9008 | 1225903.505
8 | 2675136.0604 | 1225853.1807 | 2675143.4646 | 1225837.4706
9 | 2675136.0604 | 1225853.1807 | 2675092.9997 | 1225832.9974
10 | 2675098.6691 | 1225901.4297 | 2675112.4069 | 1225907.3181 | 2675125.8495 | 1225875.9558 | 2675136.0604 | 1225853.1807
11 | 2675136.0604 | 1225853.1807 | 2675157.2435 | 1225862.6811
12 | 2675144.765 | 1225834.7114 | 2675143.4646 | 1225837.4706
13 | 2675088.4992 | 1225830.8879 | 2675092.9997 | 1225832.9974
14 | 2675088.2524 | 1225924.9028 | 2675098.6691 | 1225901.4297
15 | 2675105.715 | 1225885.5525 | 2675098.6691 | 1225901.4297
16 | 2675093.3016 | 1225952.4959 | 2675101.7109 | 1225931.8995 | 2675112.4069 | 1225907.3181 | 2675098.6691 | 1225901.4297
17 | 2675170.2153 | 1225868.4988 | 2675157.2435 | 1225862.6811
18 | 2675137.2668 | 1225968.9283 | 2675145.0867 | 1225970.9951
19 | 2675130.8676 | 1225948.6118 | 2675136.7157 | 1225952.5438 | 2675137.2668 | 1225968.9283
20 | 2675137.2668 | 1225968.9283 | 2675133.788 | 1225970.6745 | 2675132.7729 | 1225991.0196 | 2675121.7209 | 1225996.3726
21 | 2675131.2269 | 1225943.5686 | 2675130.8676 | 1225948.6118
22 | 2675093.3016 | 1225952.4959 | 2675115.942 | 1225952.7484 | 2675122.9206 | 1225956.6057 | 2675130.8676 | 1225948.6118
23 | 2675122.0199 | 1225988.3043 | 2675121.7209 | 1225996.3726
24 | 2675121.7209 | 1225996.3726 | 2675112.6262 | 1226003.418 | 2675129.2109 | 1226016.158
25 | 2675093.3016 | 1225952.4959 | 2675087.9484 | 1225964.2832
26 | 2675129.2109 | 1226016.158 | 2675134.1232 | 1226020.3562
27 | 2675080.0772 | 1225981.6151 | 2675087.9484 | 1225964.2832
28 | 2675166.4869 | 1225788.6219 | 2675144.765 | 1225834.7114
29 | 2675088.4992 | 1225830.8879 | 2675081.1669 | 1225846.0277 | 2675081.1669 | 1225846.0277
30 | 2675088.4992 | 1225830.8879 | 2675063.2171 | 1225819.2854
31 | 2675014.25 | 1226009.0034 | 2674967.2826 | 1225986.9503
32 | 2675014.25 | 1226009.0034 | 2675023.4488 | 1226013.5334 | 2675058.5356 | 1226030.6649 | 2675077.0756 | 1225988.1928 | 2675080.0772 | 1225981.6151
33 | 2675014.25 | 1226009.0034 | 2675021.1904 | 1225993.6473
34 | 2674939.8194 | 1225973.1333 | 2674947.7971 | 1225977.8011 | 2674967.2826 | 1225986.9503
35 | 2675166.4869 | 1225788.6219 | 2675152.2214 | 1225781.8818 | 2675122.2437 | 1225767.6939 | 2675119.9827 | 1225766.6528
36 | 2675121.0388 | 1225658.3951 | 2675137.6579 | 1225664.8869 | 2675146.0856 | 1225668.6847 | 2675162.8993 | 1225675.9685 | 2675208.4595 | 1225698.9147 | 2675169.3115 | 1225784.6661 | 2675166.4869 | 1225788.6219
37 | 2675081.1669 | 1225846.0277 | 2675058.1118 | 1225835.1838
38 | 2675092.4725 | 1225753.9356 | 2675100.5971 | 1225757.7253 | 2675119.9827 | 1225766.6528
39 | 2675061.7512 | 1225635.8433 | 2675069.8801 | 1225638.6922 | 2675121.0388 | 1225658.3951
40 | 2675033.6484 | 1225823.6776 | 2675058.1118 | 1225835.1838
41 | 2675063.6346 | 1225740.4842 | 2675092.4725 | 1225753.9356
42 | 2675061.7512 | 1225635.8433 | 2675038.0228 | 1225684.4875 | 2675045.9734 | 1225688.1743
43 | 2675039.2398 | 1225729.1053 | 2675063.6346 | 1225740.4842
44 | 2675039.2398 | 1225729.1053 | 2675025.711 | 1225722.7949
45 | 2674955.9843 | 1225770.0763 | 2674970.5916 | 1225776.7803
46 | 2674949.6098 | 1225767.1507 | 2674955.9843 | 1225770.0763
47 | 2674970.5916 | 1225776.7803 | 2674993.6099 | 1225787.3444
48 | 2674949.6098 | 1225767.1507 | 2674941.2116 | 1225787.6783
49 | 2674995.7684 | 1225788.3351 | 2674993.6099 | 1225787.3444
50 | 2674941.2116 | 1225787.6783 | 2674939.7755 | 1225791.1886
51 | 2674995.7684 | 1225788.3351 | 2674985.4246 | 1225809.6522
52 | 2674995.7684 | 1225788.3351 | 2675021.2995 | 1225800.0495
53 | 2674939.7755 | 1225791.1886 | 2674935.5876 | 1225801.4252
54 | 2675031.1258 | 1225804.5581 | 2675021.2995 | 1225800.0495
55 | 2674935.5876 | 1225801.4252 | 2674929.9802 | 1225815.1311
56 | 2674960.8239 | 1225686.3828 | 2674956.2944 | 1225681.8561 | 2674955.2135 | 1225680.5688
57 | 2674960.8239 | 1225686.3828 | 2674968.2881 | 1225693.248 | 2674975.3915 | 1225698.0629 | 2674981.0033 | 1225701.3809
58 | 2674981.0033 | 1225701.3809 | 2674982.5778 | 1225702.3118 | 2674991.5269 | 1225706.8498 | 2675013.6639 | 1225717.1755
59 | 2674886.953 | 1225885.2072 | 2674889.5538 | 1225855.7482
60 | 2674886.953 | 1225885.2072 | 2674884.7339 | 1225909.7289 | 2674883.9931 | 1225922.806 | 2674893.3211 | 1225936.9661 | 2674923.9874 | 1225963.8699
61 | 2674886.953 | 1225885.2072 | 2674897.8824 | 1225885.367 | 2674902.6796 | 1225887.6185
62 | 2675031.1258 | 1225804.5581 | 2675024.6911 | 1225819.4646
63 | 2674929.1538 | 1225817.1511 | 2674929.9802 | 1225815.1311
64 | 2675013.6639 | 1225717.1755 | 2675025.711 | 1225722.7949
65 | 2674923.9874 | 1225963.8699 | 2674939.482 | 1225972.9359
66 | 2674902.6796 | 1225887.6185 | 2674909.5184 | 1225890.8282
67 | 2675033.6484 | 1225823.6776 | 2675024.6911 | 1225819.4646
68 | 2674939.8194 | 1225973.1333 | 2674939.482 | 1225972.9359
69 | 2674909.5184 | 1225890.8282 | 2674909.5184 | 1225890.8282 | 2674906.1454 | 1225899.3245
70 | 2674902.6283 | 1225908.1839 | 2674906.1454 | 1225899.3245
71 | 2674900.4445 | 1225913.6847 | 2674902.6283 | 1225908.1839
72 | 2674924.9869 | 1225827.3363 | 2674929.1538 | 1225817.1511

## bus_geodata
| x | y | coords
0 | 2675204.4513 | 1225884.1024
1 | 2675194.5919 | 1225879.5818
2 | 2675215.04 | 1225888.9575
3 | 2675189.1502 | 1225877.078
4 | 2675195.5749 | 1225932.4046
5 | 2675180.6257 | 1225873.1678
6 | 2675167.9008 | 1225903.505
7 | 2675164.2072 | 1225897.6433
8 | 2675136.0604 | 1225853.1807
9 | 2675143.4646 | 1225837.4706
10 | 2675092.9997 | 1225832.9974
11 | 2675098.6691 | 1225901.4297
12 | 2675157.2435 | 1225862.6811
13 | 2675137.2668 | 1225968.9283
14 | 2675145.0867 | 1225970.9951
15 | 2675130.8676 | 1225948.6118
16 | 2675121.7209 | 1225996.3726
17 | 2675131.2269 | 1225943.5686
18 | 2675093.3016 | 1225952.4959
19 | 2675129.2109 | 1226016.158
20 | 2675134.1232 | 1226020.3562
21 | 2675088.2524 | 1225924.9028
22 | 2675105.715 | 1225885.5525
23 | 2675087.9484 | 1225964.2832
24 | 2675122.0199 | 1225988.3043
25 | 2675170.2153 | 1225868.4988
26 | 2675144.765 | 1225834.7114
27 | 2675088.4992 | 1225830.8879
28 | 2675014.25 | 1226009.0034
29 | 2674967.2826 | 1225986.9503
30 | 2675080.0772 | 1225981.6151
31 | 2675021.1904 | 1225993.6473
32 | 2675166.4869 | 1225788.6219
33 | 2675081.1669 | 1225846.0277
34 | 2675063.2171 | 1225819.2854
35 | 2675119.9827 | 1225766.6528
36 | 2675121.0388 | 1225658.3951
37 | 2675058.1118 | 1225835.1838
38 | 2675092.4725 | 1225753.9356
39 | 2675061.7512 | 1225635.8433
40 | 2675063.6346 | 1225740.4842
41 | 2675045.9734 | 1225688.1743
42 | 2675039.2398 | 1225729.1053
43 | 2674955.9843 | 1225770.0763
44 | 2674970.5916 | 1225776.7803
45 | 2674949.6098 | 1225767.1507
46 | 2674993.6099 | 1225787.3444
47 | 2674941.2116 | 1225787.6783
48 | 2674995.7684 | 1225788.3351
49 | 2674939.7755 | 1225791.1886
50 | 2674985.4246 | 1225809.6522
51 | 2675021.2995 | 1225800.0495
52 | 2674935.5876 | 1225801.4252
53 | 2674960.8239 | 1225686.3828
54 | 2674955.2135 | 1225680.5688
55 | 2674981.0033 | 1225701.3809
56 | 2674889.5538 | 1225855.7482
57 | 2674886.953 | 1225885.2072
58 | 2675031.1258 | 1225804.5581
59 | 2674929.9802 | 1225815.1311
60 | 2675013.6639 | 1225717.1755
61 | 2674923.9874 | 1225963.8699
62 | 2674902.6796 | 1225887.6185
63 | 2675025.711 | 1225722.7949
64 | 2675024.6911 | 1225819.4646
65 | 2675033.6484 | 1225823.6776
66 | 2674939.8194 | 1225973.1333
67 | 2674939.482 | 1225972.9359
68 | 2674909.5184 | 1225890.8282
69 | 2674906.1454 | 1225899.3245
70 | 2674902.6283 | 1225908.1839
71 | 2674900.4445 | 1225913.6847
72 | 2674929.1538 | 1225817.1511
73 | 2674924.9869 | 1225827.3363
74 | 2675088.4992 | 1225830.8879

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98734 | -0.24158 | 0.002519 | 0.00063133
1 | 0.98758 | -0.23696 | 0 | 0
2 | 0.98712 | -0.24601 | 0 | 0
3 | 0.98771 | -0.23441 | 0 | 0
4 | 0.98618 | -0.26417 | 0.021299 | 0.005338
5 | 0.98792 | -0.23043 | 0.001926 | 0.0004827
6 | 0.98765 | -0.23562 | 0 | 0
7 | 0.98759 | -0.23671 | 0.0088259 | 0.002212
8 | 0.98957 | -0.19828 | 0 | 0
9 | 0.98812 | -0.22621 | 0.001534 | 0.00038445
10 | 0.9946 | -0.10219 | 0.0092158 | 0.0023097
11 | 0.98469 | -0.2926 | 0 | 0
12 | 0.98876 | -0.21417 | 0.0020169 | 0.00050549
13 | 0.97778 | -0.42734 | 0 | 0
14 | 0.97759 | -0.431 | 0.024926 | 0.006247
15 | 0.97881 | -0.40716 | 0 | 0
16 | 0.97702 | -0.44223 | 0 | 0
17 | 0.9787 | -0.40918 | 0.021982 | 0.0055091
18 | 0.9815 | -0.35454 | 0 | 0
19 | 0.97695 | -0.44364 | 0 | 0
20 | 0.97694 | -0.44392 | 0.0023845 | 0.0005976
21 | 0.98355 | -0.31468 | 0.047777 | 0.011974
22 | 0.98461 | -0.29414 | 0.0049258 | 0.0012345
23 | 0.98113 | -0.3617 | 0.023144 | 0.0058005
24 | 0.97687 | -0.44517 | 0.01995 | 0.005
25 | 0.98828 | -0.22339 | 0.001811 | 0.00045387
26 | 0.98787 | -0.23104 | 0.0039438 | 0.00098842
27 | 0.99514 | -0.091932 | 0 | 0
28 | 0.97854 | -0.4123 | 0 | 0
29 | 0.97743 | -0.43396 | 0.0028953 | 0.00072563
30 | 0.98072 | -0.36959 | 0 | 0
31 | 0.97818 | -0.41928 | 0.022756 | 0.0057031
32 | 0.98387 | -0.30847 | 0 | 0
33 | 0.99702 | -0.05631 | 0.017637 | 0.0044204
34 | 0.99489 | -0.096878 | 0.0101 | 0.0025312
35 | 0.98 | -0.3839 | 0.037066 | 0.0092897
36 | 0.98322 | -0.32113 | 0 | 0
37 | 1 | 0 | -0.51246 | -0.13089
38 | 0.97876 | -0.40817 | 0.0051688 | 0.0012954
39 | 0.98301 | -0.32524 | 0 | 0
40 | 0.97761 | -0.43072 | 0.0051271 | 0.001285
41 | 0.9828 | -0.32931 | 0.0035868 | 0.00089895
42 | 0.97677 | -0.44732 | 0.0085264 | 0.0021369
43 | 0.99075 | -0.17796 | 0.0020363 | 0.00051033
44 | 0.99131 | -0.16699 | 0.0019514 | 0.00048905
45 | 0.99051 | -0.18249 | 0 | 0
46 | 0.99225 | -0.14885 | 0.0090097 | 0.002258
47 | 0.98977 | -0.19686 | 0.0034803 | 0.00087226
48 | 0.99236 | -0.14677 | 0 | 0
49 | 0.98966 | -0.19908 | 0.0037091 | 0.0009296
50 | 0.99201 | -0.15357 | 0.016221 | 0.0040653
51 | 0.99405 | -0.11419 | 0.011474 | 0.0028757
52 | 0.98936 | -0.20483 | 0.0034498 | 0.00086459
53 | 0.97575 | -0.46725 | 0 | 0
54 | 0.97571 | -0.46812 | 0.0059028 | 0.0014794
55 | 0.97589 | -0.46452 | 0.002962 | 0.00074235
56 | 0.97237 | -0.53353 | 0.0064755 | 0.0016229
57 | 0.97254 | -0.53 | 0 | 0
58 | 0.99481 | -0.099495 | 0 | 0
59 | 0.98901 | -0.21164 | 0.005614 | 0.001407
60 | 0.97619 | -0.45864 | 0.0093599 | 0.0023458
61 | 0.97561 | -0.46965 | 0 | 0
62 | 0.97212 | -0.53836 | 0.0059557 | 0.0014926
63 | 0.97642 | -0.4542 | 0.0070185 | 0.001759
64 | 0.99596 | -0.077468 | 0.030999 | 0.007769
65 | 0.99693 | -0.058681 | 0.016035 | 0.0040188
66 | 0.9762 | -0.45808 | 0.0053448 | 0.0013395
67 | 0.97619 | -0.45835 | 0.0031618 | 0.00079242
68 | 0.97197 | -0.54142 | 0.01751 | 0.0043885
69 | 0.97193 | -0.54217 | 0.0015155 | 0.00037981
70 | 0.9719 | -0.54269 | 0.0013944 | 0.00034948
71 | 0.97189 | -0.54286 | 0.0015543 | 0.00038955
72 | 0.98897 | -0.21242 | 0.0063904 | 0.0016016
73 | 0.98883 | -0.21512 | 0.013779 | 0.0034533
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023841 | -0.0059833 | 0.023846 | 0.0059865 | 5.2518e-06 | 3.2224e-06 | 0.035933 | 0.035933 | 0.035933 | 0.98734 | -0.24158 | 0.98758 | -0.23696 | 9.8718
1 | 0.021322 | 0.0053519 | -0.021317 | -0.0053492 | 4.5114e-06 | 2.7384e-06 | 0.032137 | 0.032137 | 0.032137 | 0.98734 | -0.24158 | 0.98712 | -0.24601 | 8.8288
2 | -0.023846 | -0.0059865 | 0.023849 | 0.0059883 | 2.8936e-06 | 1.7754e-06 | 0.035933 | 0.035933 | 0.035933 | 0.98758 | -0.23696 | 0.98771 | -0.23441 | 9.8718
3 | 0.021317 | 0.0053492 | -0.021299 | -0.005338 | 1.8438e-05 | 1.1193e-05 | 0.032137 | 0.032137 | 0.032137 | 0.98712 | -0.24601 | 0.98618 | -0.26417 | 8.8289
4 | -0.023849 | -0.0059883 | 0.023854 | 0.005991 | 4.5301e-06 | 2.7795e-06 | 0.035933 | 0.035933 | 0.035933 | 0.98771 | -0.23441 | 0.98792 | -0.23043 | 9.8717
5 | -0.034608 | -0.0086869 | 0.03462 | 0.0086942 | 1.1628e-05 | 7.2957e-06 | 0.052132 | 0.052132 | 0.052132 | 0.98792 | -0.23043 | 0.98828 | -0.22339 | 14.322
6 | 0.0088285 | 0.0022132 | -0.0088263 | -0.0022122 | 2.181e-06 | 9.7481e-07 | 0.013298 | 0.013298 | 0.013298 | 0.98792 | -0.23043 | 0.98765 | -0.23562 | 3.6533
7 | 0.0088263 | 0.0022122 | -0.0088259 | -0.002212 | 4.5909e-07 | 2.0523e-07 | 0.013298 | 0.013298 | 0.013298 | 0.98765 | -0.23562 | 0.98759 | -0.23671 | 3.6533
8 | 0.09109 | 0.023169 | -0.090967 | -0.023091 | 0.0001224 | 7.8115e-05 | 0.13709 | 0.13709 | 0.13709 | 0.98957 | -0.19828 | 0.98812 | -0.22621 | 37.6628
9 | -0.34543 | -0.087782 | 0.34703 | 0.088809 | 0.0016064 | 0.0010263 | 0.51985 | 0.51985 | 0.51985 | 0.98957 | -0.19828 | 0.9946 | -0.10219 | 47.605
10 | 0.21584 | 0.054931 | -0.21487 | -0.054309 | 0.00097656 | 0.00062216 | 0.32486 | 0.32486 | 0.32486 | 0.98957 | -0.19828 | 0.98469 | -0.2926 | 29.7492
11 | 0.038493 | 0.009682 | -0.038464 | -0.0096636 | 2.918e-05 | 1.8377e-05 | 0.057894 | 0.057894 | 0.057894 | 0.98957 | -0.19828 | 0.98876 | -0.21417 | 15.9049
12 | 0.089433 | 0.022706 | -0.089413 | -0.022693 | 2.0779e-05 | 1.326e-05 | 0.13478 | 0.13478 | 0.13478 | 0.98812 | -0.22621 | 0.98787 | -0.23104 | 37.0282
13 | -0.35625 | -0.091118 | 0.35643 | 0.091231 | 0.00017692 | 0.00011304 | 0.53363 | 0.53363 | 0.53363 | 0.9946 | -0.10219 | 0.99514 | -0.091932 | 48.8675
14 | 0.047827 | 0.012006 | -0.047777 | -0.011974 | 5.03e-05 | 3.1866e-05 | 0.072282 | 0.072282 | 0.072282 | 0.98469 | -0.2926 | 0.98355 | -0.31468 | 19.8577
15 | 0.0049262 | 0.0012345 | -0.0049258 | -0.0012345 | 3.6087e-07 | 1.0079e-08 | 0.0074442 | 0.0074443 | 0.0074443 | 0.98469 | -0.2926 | 0.98461 | -0.29414 | 2.0451
16 | 0.16211 | 0.041069 | -0.16163 | -0.040763 | 0.00048074 | 0.00030524 | 0.24514 | 0.24514 | 0.24514 | 0.98469 | -0.2926 | 0.9815 | -0.35454 | 22.4484
17 | 0.036447 | 0.0091581 | -0.036431 | -0.0091481 | 1.6044e-05 | 1.0086e-05 | 0.054858 | 0.054859 | 0.054859 | 0.98876 | -0.21417 | 0.98828 | -0.22339 | 15.071
18 | 0.02493 | 0.0062497 | -0.024926 | -0.006247 | 4.354e-06 | 2.6854e-06 | 0.03794 | 0.03794 | 0.03794 | 0.97778 | -0.42734 | 0.97759 | -0.431 | 10.4231
19 | -0.047283 | -0.011858 | 0.047329 | 0.011887 | 4.5519e-05 | 2.8838e-05 | 0.07196 | 0.07196 | 0.07196 | 0.97778 | -0.42734 | 0.97881 | -0.40716 | 19.7693
20 | 0.022353 | 0.0056086 | -0.022338 | -0.0055989 | 1.586e-05 | 9.6927e-06 | 0.03402 | 0.03402 | 0.03402 | 0.97778 | -0.42734 | 0.97702 | -0.44223 | 9.3463
21 | 0.021984 | 0.0055104 | -0.021982 | -0.0055091 | 2.1182e-06 | 1.2921e-06 | 0.033421 | 0.033421 | 0.033421 | 0.97881 | -0.40716 | 0.9787 | -0.40918 | 9.1816
22 | -0.069313 | -0.017398 | 0.069487 | 0.017509 | 0.00017444 | 0.00011111 | 0.10538 | 0.10538 | 0.10538 | 0.97881 | -0.40716 | 0.9815 | -0.35454 | 28.9509
23 | 0.019953 | 0.0050016 | -0.01995 | -0.005 | 2.7964e-06 | 1.6886e-06 | 0.030389 | 0.030389 | 0.030389 | 0.97702 | -0.44223 | 0.97687 | -0.44517 | 8.3486
24 | 0.0023846 | 0.00059724 | -0.0023845 | -0.00059754 | 1.6034e-07 | -3.0333e-07 | 0.0036317 | 0.0036318 | 0.0036318 | 0.97702 | -0.44223 | 0.97695 | -0.44364 | 0.99776
25 | 0.092145 | 0.023255 | -0.092113 | -0.023235 | 3.1607e-05 | 1.9738e-05 | 0.13976 | 0.13976 | 0.13976 | 0.9815 | -0.35454 | 0.98113 | -0.3617 | 12.7982
26 | 0.0023845 | 0.00059754 | -0.0023845 | -0.0005976 | 3.1909e-08 | -6.0353e-08 | 0.0036318 | 0.0036319 | 0.0036319 | 0.97695 | -0.44364 | 0.97694 | -0.44392 | 0.99777
27 | 0.068969 | 0.017435 | -0.068943 | -0.017419 | 2.6061e-05 | 1.5958e-05 | 0.10465 | 0.10466 | 0.10466 | 0.98113 | -0.3617 | 0.98072 | -0.36959 | 9.5838
28 | 0.085469 | 0.021705 | -0.085152 | -0.021502 | 0.00031718 | 0.00020235 | 0.12884 | 0.12884 | 0.12884 | 0.98787 | -0.23104 | 0.98387 | -0.30847 | 35.3962
29 | -0.36653 | -0.093764 | 0.36716 | 0.094168 | 0.00063316 | 0.00040457 | 0.54874 | 0.54874 | 0.54874 | 0.99514 | -0.091932 | 0.99702 | -0.05631 | 50.2508
30 | 0.010102 | 0.0025323 | -0.0101 | -0.0025312 | 2.3802e-06 | 1.162e-06 | 0.015105 | 0.015106 | 0.015106 | 0.99514 | -0.091932 | 0.99489 | -0.096878 | 4.1499
31 | 0.046039 | 0.011625 | -0.045992 | -0.011595 | 4.7727e-05 | 2.9243e-05 | 0.070041 | 0.070041 | 0.070041 | 0.97854 | -0.4123 | 0.97743 | -0.43396 | 9.621
32 | -0.068802 | -0.017332 | 0.068943 | 0.017419 | 0.00014084 | 8.6254e-05 | 0.10466 | 0.10466 | 0.10466 | 0.97854 | -0.4123 | 0.98072 | -0.36959 | 9.5839
33 | 0.022763 | 0.0057077 | -0.022756 | -0.0057031 | 7.5722e-06 | 4.6346e-06 | 0.034616 | 0.034616 | 0.034616 | 0.97854 | -0.4123 | 0.97818 | -0.41928 | 9.5098
34 | 0.043096 | 0.01087 | -0.043047 | -0.010838 | 4.9705e-05 | 3.1426e-05 | 0.065633 | 0.065634 | 0.065634 | 0.97743 | -0.43396 | 0.9762 | -0.45808 | 18.0312
35 | 0.081561 | 0.020605 | -0.081267 | -0.020418 | 0.00029376 | 0.00018736 | 0.12341 | 0.12341 | 0.12341 | 0.98387 | -0.30847 | 0.98 | -0.3839 | 33.9048
36 | 0.0035904 | 0.00089714 | -0.0035882 | -0.00089824 | 2.1619e-06 | -1.0981e-06 | 0.0054292 | 0.0054301 | 0.0054301 | 0.98387 | -0.30847 | 0.98322 | -0.32113 | 1.4918
37 | -0.3848 | -0.098589 | 0.38585 | 0.099262 | 0.0010532 | 0.00067304 | 0.57506 | 0.57506 | 0.57506 | 0.99702 | -0.05631 | 1 | 0 | 52.6613
38 | 0.044201 | 0.011128 | -0.04415 | -0.011096 | 5.1221e-05 | 3.24e-05 | 0.067132 | 0.067133 | 0.067133 | 0.98 | -0.3839 | 0.97876 | -0.40817 | 18.443
39 | 0.0035882 | 0.00089824 | -0.0035875 | -0.0008986 | 7.0146e-07 | -3.5543e-07 | 0.0054301 | 0.0054304 | 0.0054304 | 0.98322 | -0.32113 | 0.98301 | -0.32524 | 1.4919
40 | 0.12496 | 0.031628 | -0.1246 | -0.031404 | 0.0003509 | 0.00022422 | 0.18605 | 0.18605 | 0.18605 | 1 | 0 | 0.99693 | -0.058681 | 51.1116
41 | 0.038981 | 0.0098004 | -0.038939 | -0.009774 | 4.1925e-05 | 2.6433e-05 | 0.059274 | 0.059274 | 0.059274 | 0.97876 | -0.40817 | 0.97761 | -0.43072 | 16.2842
42 | 0.0035875 | 0.0008986 | -0.0035868 | -0.00089895 | 6.9546e-07 | -3.5197e-07 | 0.0054304 | 0.0054307 | 0.0054307 | 0.98301 | -0.32524 | 0.9828 | -0.32931 | 1.4919
43 | 0.033812 | 0.008489 | -0.033785 | -0.0084723 | 2.6742e-05 | 1.6778e-05 | 0.051471 | 0.051471 | 0.051471 | 0.97761 | -0.43072 | 0.97677 | -0.44732 | 14.1403
44 | 0.025259 | 0.0063353 | -0.025251 | -0.0063302 | 8.2898e-06 | 5.1187e-06 | 0.038481 | 0.038482 | 0.038482 | 0.97677 | -0.44732 | 0.97642 | -0.4542 | 10.5718
45 | -0.038514 | -0.0096731 | 0.038534 | 0.0096858 | 2.0172e-05 | 1.2703e-05 | 0.057852 | 0.057852 | 0.057852 | 0.99075 | -0.17796 | 0.99131 | -0.16699 | 15.8934
46 | 0.036478 | 0.0091628 | -0.03647 | -0.0091578 | 7.8966e-06 | 4.9636e-06 | 0.054794 | 0.054794 | 0.054794 | 0.99075 | -0.17796 | 0.99051 | -0.18249 | 15.0532
47 | -0.040485 | -0.010175 | 0.040521 | 0.010197 | 3.5087e-05 | 2.2129e-05 | 0.060781 | 0.060781 | 0.060781 | 0.99131 | -0.16699 | 0.99225 | -0.14885 | 16.6981
48 | 0.03647 | 0.0091578 | -0.036445 | -0.0091421 | 2.4971e-05 | 1.5696e-05 | 0.054794 | 0.054794 | 0.054794 | 0.99051 | -0.18249 | 0.98977 | -0.19686 | 15.0532
49 | -0.04953 | -0.012455 | 0.049535 | 0.012458 | 4.9155e-06 | 3.1153e-06 | 0.074292 | 0.074292 | 0.074292 | 0.99225 | -0.14885 | 0.99236 | -0.14677 | 20.4099
50 | 0.032964 | 0.0082698 | -0.032961 | -0.0082677 | 3.4936e-06 | 2.1872e-06 | 0.049561 | 0.049561 | 0.049561 | 0.98977 | -0.19686 | 0.98966 | -0.19908 | 13.6158
51 | 0.016226 | 0.0040683 | -0.016221 | -0.0040653 | 5.2581e-06 | 3.0593e-06 | 0.024331 | 0.024331 | 0.024331 | 0.99236 | -0.14677 | 0.99201 | -0.15357 | 6.6844
52 | -0.065761 | -0.016526 | 0.065864 | 0.016592 | 0.00010246 | 6.5209e-05 | 0.098623 | 0.098623 | 0.098623 | 0.99236 | -0.14677 | 0.99405 | -0.11419 | 27.0943
53 | 0.029252 | 0.0073381 | -0.029244 | -0.0073331 | 8.024e-06 | 4.9933e-06 | 0.043985 | 0.043985 | 0.043985 | 0.98966 | -0.19908 | 0.98936 | -0.20483 | 12.0837
54 | -0.077338 | -0.019467 | 0.077392 | 0.019502 | 5.4365e-05 | 3.4653e-05 | 0.1158 | 0.1158 | 0.1158 | 0.99405 | -0.11419 | 0.99481 | -0.099495 | 31.8129
55 | 0.025794 | 0.0064685 | -0.025786 | -0.0064633 | 8.3584e-06 | 5.1592e-06 | 0.038796 | 0.038796 | 0.038796 | 0.98936 | -0.20483 | 0.98901 | -0.21164 | 10.6583
56 | 0.0059031 | 0.0014794 | -0.0059028 | -0.0014794 | 2.4569e-07 | 5.6261e-08 | 0.0090021 | 0.0090022 | 0.0090022 | 0.97575 | -0.46725 | 0.97571 | -0.46812 | 2.4731
57 | -0.0059031 | -0.0014794 | 0.0059038 | 0.0014796 | 7.6708e-07 | 1.7559e-07 | 0.0090021 | 0.009002 | 0.0090021 | 0.97575 | -0.46725 | 0.97589 | -0.46452 | 2.4731
58 | -0.0088659 | -0.002222 | 0.0088684 | 0.0022231 | 2.4869e-06 | 1.1381e-06 | 0.013518 | 0.013518 | 0.013518 | 0.97589 | -0.46452 | 0.97619 | -0.45864 | 3.7139
59 | -0.0064755 | -0.0016229 | 0.0064766 | 0.0016232 | 1.089e-06 | 3.3006e-07 | 0.0099095 | 0.0099094 | 0.0099095 | 0.97237 | -0.53353 | 0.97254 | -0.53 | 2.7224
60 | -0.034421 | -0.0086319 | 0.034521 | 0.0086943 | 9.9308e-05 | 6.2369e-05 | 0.052667 | 0.052667 | 0.052667 | 0.97254 | -0.53 | 0.97561 | -0.46965 | 14.4691
61 | 0.027945 | 0.0070087 | -0.027934 | -0.0070018 | 1.1127e-05 | 6.9201e-06 | 0.042758 | 0.042758 | 0.042758 | 0.97254 | -0.53 | 0.97212 | -0.53836 | 11.7467
62 | -0.077392 | -0.019502 | 0.077474 | 0.019554 | 8.1643e-05 | 5.2041e-05 | 0.1158 | 0.1158 | 0.1158 | 0.99481 | -0.099495 | 0.99596 | -0.077468 | 31.8129
63 | 0.020172 | 0.0050563 | -0.020171 | -0.0050559 | 7.5388e-07 | 4.5447e-07 | 0.03035 | 0.03035 | 0.03035 | 0.98901 | -0.21164 | 0.98897 | -0.21242 | 8.3378
64 | -0.018228 | -0.0045689 | 0.018232 | 0.0045712 | 3.8486e-06 | 2.2969e-06 | 0.027786 | 0.027786 | 0.027786 | 0.97619 | -0.45864 | 0.97642 | -0.4542 | 7.6334
65 | -0.034521 | -0.0086943 | 0.034539 | 0.008706 | 1.8673e-05 | 1.1727e-05 | 0.052667 | 0.052667 | 0.052667 | 0.97561 | -0.46965 | 0.97619 | -0.45835 | 14.4689
66 | 0.021978 | 0.0055091 | -0.021975 | -0.0055072 | 3.2062e-06 | 1.9583e-06 | 0.033642 | 0.033642 | 0.033642 | 0.97212 | -0.53836 | 0.97197 | -0.54142 | 9.2422
67 | -0.10847 | -0.027323 | 0.10857 | 0.027385 | 9.7552e-05 | 6.2304e-05 | 0.16211 | 0.16211 | 0.16211 | 0.99596 | -0.077468 | 0.99693 | -0.058681 | 44.5364
68 | 0.037702 | 0.0094988 | -0.037701 | -0.0094985 | 4.8442e-07 | 3.0514e-07 | 0.057486 | 0.057486 | 0.057486 | 0.9762 | -0.45808 | 0.97619 | -0.45835 | 15.793
69 | 0.0044644 | 0.0011187 | -0.0044643 | -0.0011187 | 1.6013e-07 | -1.0809e-08 | 0.0068347 | 0.0068347 | 0.0068347 | 0.97197 | -0.54142 | 0.97193 | -0.54217 | 1.8777
70 | 0.0029488 | 0.00073889 | -0.0029487 | -0.00073896 | 7.2854e-08 | -7.1501e-08 | 0.0045146 | 0.0045146 | 0.0045146 | 0.97193 | -0.54217 | 0.9719 | -0.54269 | 1.2403
71 | 0.0015543 | 0.00038948 | -0.0015543 | -0.00038955 | 1.2569e-08 | -6.5299e-08 | 0.0023797 | 0.0023797 | 0.0023797 | 0.9719 | -0.54269 | 0.97189 | -0.54286 | 0.65377
72 | 0.013781 | 0.0034543 | -0.013779 | -0.0034533 | 1.7742e-06 | 9.9428e-07 | 0.020735 | 0.020735 | 0.020735 | 0.98897 | -0.21242 | 0.98883 | -0.21512 | 5.6963

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52955 | 0.13518

## res_load
| p_mw | q_mvar
0 | 0.002519 | 0.00063133
1 | 0.021299 | 0.005338
2 | 0.001926 | 0.0004827
3 | 0.0088259 | 0.002212
4 | 0.001534 | 0.00038445
5 | 0.0092158 | 0.0023097
6 | 0.0020169 | 0.00050549
7 | 0.024926 | 0.006247
8 | 0.021982 | 0.0055091
9 | 0.0023845 | 0.0005976
10 | 0.047777 | 0.011974
11 | 0.0049258 | 0.0012345
12 | 0.023144 | 0.0058005
13 | 0.01995 | 0.005
14 | 0.001811 | 0.00045387
15 | 0.0039438 | 0.00098842
16 | 0.0028953 | 0.00072563
17 | 0.022756 | 0.0057031
18 | 0.017637 | 0.0044204
19 | 0.0101 | 0.0025312
20 | 0.037066 | 0.0092897
21 | 0.017097 | 0.004285
22 | 0.0051688 | 0.0012954
23 | 0.0051271 | 0.001285
24 | 0.0035868 | 0.00089895
25 | 0.0085264 | 0.0021369
26 | 0.0020363 | 0.00051033
27 | 0.0019514 | 0.00048905
28 | 0.0090097 | 0.002258
29 | 0.0034803 | 0.00087226
30 | 0.0037091 | 0.0009296
31 | 0.016221 | 0.0040653
32 | 0.011474 | 0.0028757
33 | 0.0034498 | 0.00086459
34 | 0.0059028 | 0.0014794
35 | 0.002962 | 0.00074235
36 | 0.0064755 | 0.0016229
37 | 0.005614 | 0.001407
38 | 0.0093599 | 0.0023458
39 | 0.0059557 | 0.0014926
40 | 0.0070185 | 0.001759
41 | 0.030999 | 0.007769
42 | 0.016035 | 0.0040188
43 | 0.0053448 | 0.0013395
44 | 0.0031618 | 0.00079242
45 | 0.01751 | 0.0043885
46 | 0.0015155 | 0.00037981
47 | 0.0013944 | 0.00034948
48 | 0.0015543 | 0.00038955
49 | 0.0063904 | 0.0016016
50 | 0.013779 | 0.0034533

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1