## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1703-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1703-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1703-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1703-14_0_4_node_45 | 0.4 | n |  | TRUE
4 | bus_LV_1703-14_0_4_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_1703-14_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1703-14_0_4_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_1703-14_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_1703-14_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1703-14_0_4_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_1703-14_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1703-14_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1703-14_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1703-14_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1703-14_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1703-14_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1703-14_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1703-14_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1703-14_0_4_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_1703-14_0_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1703-14_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1703-14_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1703-14_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1703-14_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1703-14_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1703-14_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1703-14_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1703-14_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1703-14_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1703-14_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1703-14_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1703-14_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1703-14_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1703-14_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1703-14_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1703-14_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1703-14_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1703-14_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1703-14_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1703-14_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_1703-14_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1703-14_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1703-14_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1703-14_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1703-14_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1703-14_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1703-14_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_MV_435_1_node_136 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1703-14_0_4_load_0 | 0 | 0.00078701 | 0.00019724 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1703-14_0_4_load_40 | 4 | 0.0098414 | 0.0024665 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1703-14_0_4_load_3 | 7 | 0.00038316 | 9.6028e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1703-14_0_4_load_7 | 8 | 0.00020246 | 5.0742e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1703-14_0_4_load_46 | 9 | 0.00011934 | 2.991e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1703-14_0_4_load_6 | 10 | 0.00074333 | 0.0001863 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1703-14_0_4_load_5 | 11 | 0.0011523 | 0.00028878 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1703-14_0_4_load_8 | 12 | 0.0056562 | 0.0014176 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1703-14_0_4_load_9 | 13 | 0.0031392 | 0.00078675 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1703-14_0_4_load_12 | 16 | 0.0078092 | 0.0019572 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1703-14_0_4_load_27 | 18 | 0.0044835 | 0.0011237 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1703-14_0_4_load_14 | 20 | 0.0081338 | 0.0020385 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1703-14_0_4_load_18 | 24 | 0.0079196 | 0.0019848 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1703-14_0_4_load_19 | 25 | 0.0031536 | 0.00079037 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1703-14_0_4_load_29 | 27 | 0.089345 | 0.022392 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1703-14_0_4_load_33 | 32 | 0.06738 | 0.016887 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1703-14_0_4_load_28 | 33 | 0.038368 | 0.0096159 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1703-14_0_4_load_31 | 35 | 0.010869 | 0.0027239 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1703-14_0_4_load_37 | 36 | 0.064718 | 0.01622 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1703-14_0_4_load_32 | 38 | 0.0031204 | 0.00078205 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1703-14_0_4_load_44 | 40 | 0.001972 | 0.00049423 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1703-14_0_4_load_36 | 43 | 0.026097 | 0.0065404 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1703-14_0_4_load_43 | 44 | 0.0048876 | 0.001225 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1703-14_0_4_load_41 | 45 | 0.010896 | 0.0027308 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1703-14_0_4_load_39 | 46 | 0.0033542 | 0.00084063 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1703-14_0_4_line_0 |  | 0 | 1 | 0.12213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1703-14_0_4_line_1 |  | 0 | 2 | 0.045422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1703-14_0_4_line_2 |  | 1 | 3 | 0.15919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1703-14_0_4_line_3 |  | 1 | 4 | 0.219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1703-14_0_4_line_4 |  | 2 | 5 | 0.10499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1703-14_0_4_line_5 |  | 3 | 9 | 0.037007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1703-14_0_4_line_6 |  | 4 | 6 | 0.019435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1703-14_0_4_line_7 |  | 5 | 10 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1703-14_0_4_line_8 |  | 5 | 8 | 0.023799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1703-14_0_4_line_9 |  | 6 | 46 | 0.029225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1703-14_0_4_line_10 |  | 7 | 8 | 0.0015952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1703-14_0_4_line_11 |  | 10 | 11 | 0.033093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1703-14_0_4_line_12 |  | 12 | 13 | 0.0025187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1703-14_0_4_line_13 |  | 12 | 14 | 0.0059579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1703-14_0_4_line_14 |  | 13 | 15 | 0.014019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1703-14_0_4_line_15 |  | 14 | 16 | 0.024242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1703-14_0_4_line_16 |  | 15 | 17 | 0.064211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1703-14_0_4_line_17 |  | 17 | 18 | 0.050893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1703-14_0_4_line_18 |  | 18 | 19 | 0.020477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1703-14_0_4_line_19 |  | 19 | 34 | 0.004857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1703-14_0_4_line_20 |  | 20 | 21 | 0.019171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1703-14_0_4_line_21 |  | 20 | 22 | 0.034647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1703-14_0_4_line_22 |  | 21 | 23 | 0.004675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1703-14_0_4_line_23 |  | 21 | 24 | 0.021213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1703-14_0_4_line_24 |  | 22 | 25 | 0.00076066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1703-14_0_4_line_25 |  | 22 | 26 | 0.07078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1703-14_0_4_line_26 |  | 23 | 27 | 0.046842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1703-14_0_4_line_27 |  | 25 | 28 | 0.078365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1703-14_0_4_line_28 |  | 26 | 33 | 0.0085455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1703-14_0_4_line_29 |  | 26 | 31 | 0.047682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1703-14_0_4_line_30 |  | 27 | 34 | 0.029386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1703-14_0_4_line_31 |  | 28 | 29 | 0.004371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1703-14_0_4_line_32 |  | 29 | 30 | 0.085831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1703-14_0_4_line_33 |  | 30 | 35 | 0.035063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1703-14_0_4_line_34 |  | 31 | 32 | 0.015591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1703-14_0_4_line_35 |  | 32 | 38 | 0.017851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1703-14_0_4_line_36 |  | 36 | 37 | 0.026605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1703-14_0_4_line_37 |  | 37 | 39 | 0.069212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1703-14_0_4_line_38 |  | 38 | 41 | 0.013552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1703-14_0_4_line_39 |  | 39 | 40 | 0.034544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1703-14_0_4_line_40 |  | 40 | 44 | 0.027379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1703-14_0_4_line_41 |  | 41 | 42 | 0.033485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1703-14_0_4_line_42 |  | 41 | 43 | 0.007505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1703-14_0_4_line_43 |  | 42 | 44 | 0.038089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1703-14_0_4_line_44 |  | 42 | 45 | 0.018413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1703-14_0_4_line_45 |  | 45 | 46 | 0.0232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1703-14_0_4_trafo_21 | 0.63 MVA 20/0.4 kV | 47 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2675508.2408 | 1225483.5557 | 2675518.8924 | 1225361.8899
1 | 2675522.8538 | 1225316.6414 | 2675518.8924 | 1225361.8899
2 | 2675508.2408 | 1225483.5557 | 2675654.5744 | 1225546.2331
3 | 2675352.8336 | 1225637.8532 | 2675508.2408 | 1225483.5557
4 | 2675522.8538 | 1225316.6414 | 2675582.605 | 1225326.6953 | 2675603.6149 | 1225334.3338 | 2675614.8714 | 1225341.6483 | 2675621.114 | 1225347.9762
5 | 2675654.5744 | 1225546.2331 | 2675643.3228 | 1225581.4913
6 | 2675360.2776 | 1225655.8062 | 2675352.8336 | 1225637.8532
7 | 2675621.114 | 1225347.9762 | 2675628.7903 | 1225355.905
8 | 2675621.114 | 1225347.9762 | 2675620.5706 | 1225357.32 | 2675615.036 | 1225364.4878 | 2675611.3191 | 1225368.3828
9 | 2675360.2776 | 1225655.8062 | 2675338.8601 | 1225675.6913
10 | 2675611.3191 | 1225368.3828 | 2675610.2178 | 1225369.5368
11 | 2675651.8088 | 1225379.6807 | 2675628.7903 | 1225355.905
12 | 2675209.6242 | 1225886.4743 | 2675207.3347 | 1225885.4245
13 | 2675215.04 | 1225888.9575 | 2675209.6242 | 1225886.4743
14 | 2675194.5919 | 1225879.5818 | 2675207.3347 | 1225885.4245
15 | 2675215.04 | 1225888.9575 | 2675237.1235 | 1225899.0988
16 | 2675136.0604 | 1225853.1807 | 2675180.6257 | 1225873.1678 | 2675189.1502 | 1225877.078 | 2675194.5919 | 1225879.5818
17 | 2675136.0604 | 1225853.1807 | 2675157.7573 | 1225807.1444
18 | 2675166.4869 | 1225788.6219 | 2675157.7573 | 1225807.1444
19 | 2675166.4869 | 1225788.6219 | 2675169.3115 | 1225784.6661
20 | 2675234.4994 | 1225820.0687 | 2675251.8353 | 1225828.2528
21 | 2675283.166 | 1225843.0437 | 2675251.8353 | 1225828.2528
22 | 2675234.4994 | 1225820.0687 | 2675237.9658 | 1225816.9215
23 | 2675234.4994 | 1225820.0687 | 2675215.2014 | 1225811.2598
24 | 2675283.8566 | 1225843.3625 | 2675283.166 | 1225843.0437
25 | 2675283.166 | 1225843.0437 | 2675284.6485 | 1225838.515 | 2675286.9253 | 1225824.5345 | 2675322.345 | 1225786.6686
26 | 2675237.9658 | 1225816.9215 | 2675219.3708 | 1225807.8583 | 2675211.9472 | 1225803.2058 | 2675207.7282 | 1225799.9281 | 2675196.7992 | 1225794.8464
27 | 2675355.0065 | 1225876.2081 | 2675283.8566 | 1225843.3625
28 | 2675322.345 | 1225786.6686 | 2675328.6028 | 1225780.8491
29 | 2675295.3416 | 1225754.3388 | 2675291.5965 | 1225760.9403 | 2675322.345 | 1225786.6686
30 | 2675169.3115 | 1225784.6661 | 2675185.1636 | 1225789.4361 | 2675196.7992 | 1225794.8464
31 | 2675355.0065 | 1225876.2081 | 2675358.1233 | 1225873.1344
32 | 2675358.1233 | 1225873.1344 | 2675366.0505 | 1225876.904 | 2675385.7989 | 1225884.6481 | 2675411.9715 | 1225892.7294 | 2675435.5772 | 1225899.3774 | 2675436.6409 | 1225895.5995
33 | 2675436.6409 | 1225895.5995 | 2675433.1278 | 1225889.8734 | 2675421.5911 | 1225863.982
34 | 2675295.3416 | 1225754.3388 | 2675305.6806 | 1225742.6695
35 | 2675317.5182 | 1225729.3086 | 2675305.6806 | 1225742.6695
36 | 2675208.4595 | 1225698.9147 | 2675231.8944 | 1225711.5102
37 | 2675208.4595 | 1225698.9147 | 2675221.4457 | 1225667.747 | 2675230.1135 | 1225633.3671
38 | 2675326.5051 | 1225719.1653 | 2675317.5182 | 1225729.3086
39 | 2675230.1135 | 1225633.3671 | 2675236.9154 | 1225639.8351 | 2675251.6019 | 1225660.2616
40 | 2675270.0265 | 1225679.902 | 2675262.1262 | 1225674.8993 | 2675251.6019 | 1225660.2616
41 | 2675326.5051 | 1225719.1653 | 2675324.7633 | 1225710.6376 | 2675304.0201 | 1225696.9883
42 | 2675326.5051 | 1225719.1653 | 2675332.2376 | 1225716.6695 | 2675333.159 | 1225715.8207
43 | 2675304.0201 | 1225696.9883 | 2675276.0472 | 1225683.7145 | 2675270.0265 | 1225679.902
44 | 2675304.0201 | 1225696.9883 | 2675312.6893 | 1225689.4818 | 2675319.2306 | 1225687.1474
45 | 2675338.8601 | 1225675.6913 | 2675331.073 | 1225682.9212 | 2675319.2306 | 1225687.1474

## bus_geodata
| x | y | coords
0 | 2675518.8924 | 1225361.8899
1 | 2675508.2408 | 1225483.5557
2 | 2675522.8538 | 1225316.6414
3 | 2675654.5744 | 1225546.2331
4 | 2675352.8336 | 1225637.8532
5 | 2675621.114 | 1225347.9762
6 | 2675360.2776 | 1225655.8062
7 | 2675610.2178 | 1225369.5368
8 | 2675611.3191 | 1225368.3828
9 | 2675643.3228 | 1225581.4913
10 | 2675628.7903 | 1225355.905
11 | 2675651.8088 | 1225379.6807
12 | 2675209.6242 | 1225886.4743
13 | 2675207.3347 | 1225885.4245
14 | 2675215.04 | 1225888.9575
15 | 2675194.5919 | 1225879.5818
16 | 2675237.1235 | 1225899.0988
17 | 2675136.0604 | 1225853.1807
18 | 2675157.7573 | 1225807.1444
19 | 2675166.4869 | 1225788.6219
20 | 2675251.8353 | 1225828.2528
21 | 2675234.4994 | 1225820.0687
22 | 2675283.166 | 1225843.0437
23 | 2675237.9658 | 1225816.9215
24 | 2675215.2014 | 1225811.2598
25 | 2675283.8566 | 1225843.3626
26 | 2675322.345 | 1225786.6686
27 | 2675196.7992 | 1225794.8464
28 | 2675355.0065 | 1225876.2081
29 | 2675358.1233 | 1225873.1344
30 | 2675436.6409 | 1225895.5995
31 | 2675295.3416 | 1225754.3388
32 | 2675305.6806 | 1225742.6695
33 | 2675328.6028 | 1225780.8491
34 | 2675169.3115 | 1225784.6661
35 | 2675421.5911 | 1225863.982
36 | 2675231.8944 | 1225711.5102
37 | 2675208.4595 | 1225698.9147
38 | 2675317.5182 | 1225729.3086
39 | 2675230.1135 | 1225633.3671
40 | 2675251.6019 | 1225660.2616
41 | 2675326.5051 | 1225719.1653
42 | 2675304.0201 | 1225696.9883
43 | 2675333.159 | 1225715.8207
44 | 2675270.0265 | 1225679.902
45 | 2675319.2306 | 1225687.1474
46 | 2675338.8601 | 1225675.6913
47 | 2675291.5965 | 1225760.9403

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98942 | -0.20283 | 0.00078701 | 0.00019724
1 | 0.98979 | -0.19571 | 0 | 0
2 | 0.98932 | -0.20484 | 0 | 0
3 | 0.98977 | -0.19606 | 0 | 0
4 | 0.99047 | -0.18243 | 0.0098414 | 0.0024665
5 | 0.98908 | -0.20949 | 0 | 0
6 | 0.9907 | -0.17786 | 0 | 0
7 | 0.98907 | -0.20975 | 0.00038316 | 9.6028e-05
8 | 0.98907 | -0.20974 | 0.00020246 | 5.0742e-05
9 | 0.98977 | -0.19613 | 0.00011934 | 2.991e-05
10 | 0.98906 | -0.20986 | 0.00074333 | 0.0001863
11 | 0.98903 | -0.21054 | 0.0011523 | 0.00028878
12 | 0.97695 | -0.44445 | 0.0056562 | 0.0014176
13 | 0.97698 | -0.44383 | 0.0031392 | 0.00078675
14 | 0.97691 | -0.44529 | 0 | 0
15 | 0.9772 | -0.43958 | 0 | 0
16 | 0.97673 | -0.44875 | 0.0078092 | 0.0019572
17 | 0.97819 | -0.42013 | 0 | 0
18 | 0.97897 | -0.40475 | 0.0044835 | 0.0011237
19 | 0.97937 | -0.3969 | 0 | 0
20 | 0.98741 | -0.24043 | 0.0081338 | 0.0020385
21 | 0.98531 | -0.28108 | 0 | 0
22 | 0.99147 | -0.16241 | 0 | 0
23 | 0.98483 | -0.29036 | 0 | 0
24 | 0.98515 | -0.2841 | 0.0079196 | 0.0019848
25 | 0.99146 | -0.1626 | 0.0031536 | 0.00079037
26 | 0.99607 | -0.074634 | 0 | 0
27 | 0.98004 | -0.38378 | 0.089345 | 0.022392
28 | 0.99068 | -0.17772 | 0 | 0
29 | 0.99063 | -0.17856 | 0 | 0
30 | 0.98978 | -0.19515 | 0 | 0
31 | 1 | 0 | -0.38052 | -0.096621
32 | 0.9986 | -0.026625 | 0.06738 | 0.016887
33 | 0.99577 | -0.080395 | 0.038368 | 0.0096159
34 | 0.97947 | -0.39503 | 0 | 0
35 | 0.98943 | -0.20193 | 0.010869 | 0.0027239
36 | 0.97985 | -0.38812 | 0.064718 | 0.01622
37 | 0.98144 | -0.35691 | 0 | 0
38 | 0.99649 | -0.066742 | 0.0031204 | 0.00078205
39 | 0.98559 | -0.2762 | 0 | 0
40 | 0.98766 | -0.23617 | 0.001972 | 0.00049423
41 | 0.99493 | -0.096567 | 0 | 0
42 | 0.99187 | -0.15517 | 0 | 0
43 | 0.99475 | -0.10002 | 0.026097 | 0.0065404
44 | 0.98935 | -0.2036 | 0.0048876 | 0.001225
45 | 0.99141 | -0.16415 | 0.010896 | 0.0027308
46 | 0.99106 | -0.17098 | 0.0033542 | 0.00084063
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0032691 | -0.00081682 | 0.0032702 | 0.00081596 | 1.1065e-06 | -8.6098e-07 | 0.0049156 | 0.004915 | 0.0049156 | 0.98942 | -0.20283 | 0.98979 | -0.19571 | 1.3504
1 | 0.0024821 | 0.00061958 | -0.0024818 | -0.00062001 | 2.3724e-07 | -4.3147e-07 | 0.003732 | 0.0037322 | 0.0037322 | 0.98942 | -0.20283 | 0.98932 | -0.20484 | 1.0253
2 | 0.00011935 | 2.739e-05 | -0.00011934 | -2.9435e-05 | 1.9106e-09 | -2.0448e-06 | 0.00017856 | 0.00017925 | 0.00017925 | 0.98979 | -0.19571 | 0.98977 | -0.19606 | 0.049245
3 | -0.0033895 | -0.00084335 | 0.0033917 | 0.0008419 | 2.1302e-06 | -1.4533e-06 | 0.0050935 | 0.0050925 | 0.0050935 | 0.98979 | -0.19571 | 0.99047 | -0.18243 | 1.3993
4 | 0.0024818 | 0.00062001 | -0.0024813 | -0.00062101 | 5.4846e-07 | -9.9676e-07 | 0.0037322 | 0.0037326 | 0.0037326 | 0.98932 | -0.20484 | 0.98908 | -0.20949 | 1.0254
5 | 0.00011934 | 2.9435e-05 | -0.00011934 | -2.991e-05 | 4.4632e-10 | -4.7534e-07 | 0.00017925 | 0.00017942 | 0.00017942 | 0.98977 | -0.19606 | 0.98977 | -0.19613 | 0.049291
6 | -0.013233 | -0.0033084 | 0.013236 | 0.00331 | 2.8797e-06 | 1.5928e-06 | 0.019878 | 0.019877 | 0.019878 | 0.99047 | -0.18243 | 0.9907 | -0.17786 | 5.4609
7 | 0.0018957 | 0.00047456 | -0.0018956 | -0.00047468 | 3.3656e-08 | -1.201e-07 | 0.0028517 | 0.0028518 | 0.0028518 | 0.98908 | -0.20949 | 0.98906 | -0.20986 | 0.78345
8 | 0.00058563 | 0.00014645 | -0.00058562 | -0.00014675 | 6.9267e-09 | -3.0101e-07 | 0.00088093 | 0.00088103 | 0.00088103 | 0.98908 | -0.20949 | 0.98907 | -0.20974 | 0.24204
9 | -0.013236 | -0.00331 | 0.01324 | 0.0033124 | 4.3302e-06 | 2.3949e-06 | 0.019877 | 0.019877 | 0.019877 | 0.9907 | -0.17786 | 0.99106 | -0.17098 | 5.4608
10 | -0.00038316 | -9.6028e-05 | 0.00038316 | 9.6008e-05 | 1.9871e-10 | -2.0345e-08 | 0.00057644 | 0.00057644 | 0.00057644 | 0.98907 | -0.20975 | 0.98907 | -0.20974 | 0.15836
11 | 0.0011523 | 0.00028838 | -0.0011523 | -0.00028878 | 3.7293e-08 | -4.0083e-07 | 0.0017334 | 0.0017336 | 0.0017336 | 0.98906 | -0.20986 | 0.98903 | -0.21054 | 0.47626
12 | -0.013467 | -0.0033754 | 0.013467 | 0.0033756 | 3.974e-07 | 2.2279e-07 | 0.020512 | 0.020512 | 0.020512 | 0.97695 | -0.44445 | 0.97698 | -0.44383 | 5.6352
13 | 0.0078108 | 0.0019578 | -0.0078105 | -0.0019577 | 3.1623e-07 | 1.2779e-07 | 0.011897 | 0.011897 | 0.011897 | 0.97695 | -0.44445 | 0.97691 | -0.44529 | 3.2684
14 | -0.016607 | -0.0041624 | 0.01661 | 0.0041644 | 3.3631e-06 | 1.9768e-06 | 0.025293 | 0.025293 | 0.025293 | 0.97698 | -0.44383 | 0.9772 | -0.43958 | 6.9487
15 | 0.0078105 | 0.0019577 | -0.0078092 | -0.0019572 | 1.2867e-06 | 5.2002e-07 | 0.011897 | 0.011897 | 0.011897 | 0.97691 | -0.44529 | 0.97673 | -0.44875 | 3.2684
16 | -0.01661 | -0.0041644 | 0.016625 | 0.0041734 | 1.5404e-05 | 9.0535e-06 | 0.025293 | 0.025293 | 0.025293 | 0.9772 | -0.43958 | 0.97819 | -0.42013 | 6.9487
17 | -0.016625 | -0.0041734 | 0.016638 | 0.0041806 | 1.2209e-05 | 7.1744e-06 | 0.025293 | 0.025293 | 0.025293 | 0.97819 | -0.42013 | 0.97897 | -0.40475 | 6.9486
18 | -0.021121 | -0.0053043 | 0.021129 | 0.0053091 | 7.9159e-06 | 4.8086e-06 | 0.032108 | 0.032107 | 0.032108 | 0.97897 | -0.40475 | 0.97937 | -0.3969 | 8.8208
19 | -0.021129 | -0.0053091 | 0.021131 | 0.0053102 | 1.8776e-06 | 1.1406e-06 | 0.032107 | 0.032107 | 0.032107 | 0.97937 | -0.3969 | 0.97947 | -0.39503 | 8.8207
20 | 0.11918 | 0.03019 | -0.11895 | -0.030042 | 0.00023221 | 0.00014837 | 0.17972 | 0.17972 | 0.17972 | 0.98741 | -0.24043 | 0.98531 | -0.28108 | 49.3744
21 | -0.12732 | -0.032229 | 0.1278 | 0.032535 | 0.00047886 | 0.00030602 | 0.19198 | 0.19198 | 0.19198 | 0.98741 | -0.24043 | 0.99147 | -0.16241 | 52.7418
22 | 0.11103 | 0.028056 | -0.11098 | -0.028025 | 4.9339e-05 | 3.1518e-05 | 0.16776 | 0.16776 | 0.16776 | 0.98531 | -0.28108 | 0.98483 | -0.29036 | 46.0882
23 | 0.0079207 | 0.0019853 | -0.0079196 | -0.0019848 | 1.1383e-06 | 4.5836e-07 | 0.011962 | 0.011962 | 0.011962 | 0.98531 | -0.28108 | 0.98515 | -0.2841 | 3.2863
24 | 0.014043 | 0.0035248 | -0.014043 | -0.0035247 | 1.2673e-07 | 7.1295e-08 | 0.021078 | 0.021078 | 0.021078 | 0.99147 | -0.16241 | 0.99146 | -0.1626 | 5.7906
25 | -0.14184 | -0.036059 | 0.14244 | 0.036443 | 0.00060242 | 0.00038372 | 0.21306 | 0.21306 | 0.21306 | 0.99147 | -0.16241 | 0.99607 | -0.074634 | 29.2662
26 | 0.11098 | 0.028025 | -0.11049 | -0.027709 | 0.00049437 | 0.0003158 | 0.16776 | 0.16776 | 0.16776 | 0.98483 | -0.29036 | 0.98004 | -0.38378 | 46.0882
27 | 0.010889 | 0.0027344 | -0.010881 | -0.0027304 | 7.8508e-06 | 4.0147e-06 | 0.016345 | 0.016345 | 0.016345 | 0.99146 | -0.1626 | 0.99068 | -0.17772 | 4.4904
28 | 0.038378 | 0.0096225 | -0.038368 | -0.0096159 | 1.0534e-05 | 6.6307e-06 | 0.057335 | 0.057335 | 0.057335 | 0.99607 | -0.074634 | 0.99577 | -0.080395 | 15.7513
29 | -0.18082 | -0.046066 | 0.18147 | 0.046483 | 0.00065365 | 0.00041709 | 0.27039 | 0.27039 | 0.27039 | 0.99607 | -0.074634 | 1 | 0 | 37.1416
30 | 0.021142 | 0.0053171 | -0.021131 | -0.0053102 | 1.136e-05 | 6.9004e-06 | 0.032107 | 0.032107 | 0.032107 | 0.98004 | -0.38378 | 0.97947 | -0.39503 | 8.8207
31 | 0.010881 | 0.0027304 | -0.010881 | -0.0027301 | 4.379e-07 | 2.2398e-07 | 0.016345 | 0.016345 | 0.016345 | 0.99068 | -0.17772 | 0.99063 | -0.17856 | 4.4904
32 | 0.010881 | 0.0027301 | -0.010872 | -0.0027257 | 8.5991e-06 | 4.3993e-06 | 0.016345 | 0.016345 | 0.016345 | 0.99063 | -0.17856 | 0.98978 | -0.19515 | 4.4905
33 | 0.010872 | 0.0027257 | -0.010869 | -0.0027239 | 3.513e-06 | 1.7978e-06 | 0.016345 | 0.016346 | 0.016346 | 0.98978 | -0.19515 | 0.98943 | -0.20193 | 4.4905
34 | 0.1974 | 0.050138 | -0.19715 | -0.049977 | 0.00025262 | 0.00016127 | 0.29397 | 0.29397 | 0.29397 | 1 | 0 | 0.9986 | -0.026625 | 40.3802
35 | 0.12977 | 0.033089 | -0.12952 | -0.032929 | 0.00025081 | 0.00016028 | 0.19357 | 0.19357 | 0.19357 | 0.9986 | -0.026625 | 0.99649 | -0.066742 | 53.1773
36 | -0.064718 | -0.01622 | 0.064814 | 0.016281 | 9.637e-05 | 6.1341e-05 | 0.098281 | 0.098281 | 0.098281 | 0.97985 | -0.38812 | 0.98144 | -0.35691 | 27.0003
37 | -0.064814 | -0.016281 | 0.065065 | 0.016441 | 0.0002507 | 0.00015957 | 0.098281 | 0.098281 | 0.098281 | 0.98144 | -0.35691 | 0.98559 | -0.2762 | 27.0003
38 | 0.12639 | 0.032147 | -0.12621 | -0.032031 | 0.00018135 | 0.00011589 | 0.18891 | 0.18891 | 0.18891 | 0.99649 | -0.066742 | 0.99493 | -0.096567 | 51.8972
39 | -0.065065 | -0.016441 | 0.06519 | 0.01652 | 0.00012513 | 7.9639e-05 | 0.098281 | 0.098281 | 0.098281 | 0.98559 | -0.2762 | 0.98766 | -0.23617 | 27.0002
40 | -0.067162 | -0.017015 | 0.067267 | 0.017082 | 0.00010526 | 6.7015e-05 | 0.10125 | 0.10125 | 0.10125 | 0.98766 | -0.23617 | 0.98935 | -0.2036 | 27.8164
41 | 0.10011 | 0.025488 | -0.099831 | -0.025308 | 0.00028204 | 0.00018007 | 0.14987 | 0.14987 | 0.14987 | 0.99493 | -0.096567 | 0.99187 | -0.15517 | 41.1729
42 | 0.026101 | 0.0065431 | -0.026097 | -0.0065404 | 4.2888e-06 | 2.6474e-06 | 0.039037 | 0.039037 | 0.039037 | 0.99493 | -0.096567 | 0.99475 | -0.10002 | 10.7244
43 | 0.072323 | 0.018414 | -0.072155 | -0.018307 | 0.00016846 | 0.00010733 | 0.1086 | 0.1086 | 0.1086 | 0.99187 | -0.15517 | 0.98935 | -0.2036 | 29.8359
44 | 0.027507 | 0.0068942 | -0.027496 | -0.0068869 | 1.1759e-05 | 7.288e-06 | 0.041267 | 0.041267 | 0.041267 | 0.99187 | -0.15517 | 0.99141 | -0.16415 | 11.3371
45 | 0.0166 | 0.0041562 | -0.016594 | -0.004153 | 5.3998e-06 | 3.1568e-06 | 0.024913 | 0.024913 | 0.024913 | 0.99141 | -0.16415 | 0.99106 | -0.17098 | 6.8443

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38052 | 0.096621

## res_load
| p_mw | q_mvar
0 | 0.00078701 | 0.00019724
1 | 0.0098414 | 0.0024665
2 | 0.00038316 | 9.6028e-05
3 | 0.00020246 | 5.0742e-05
4 | 0.00011934 | 2.991e-05
5 | 0.00074333 | 0.0001863
6 | 0.0011523 | 0.00028878
7 | 0.0056562 | 0.0014176
8 | 0.0031392 | 0.00078675
9 | 0.0078092 | 0.0019572
10 | 0.0044835 | 0.0011237
11 | 0.0081338 | 0.0020385
12 | 0.0079196 | 0.0019848
13 | 0.0031536 | 0.00079037
14 | 0.089345 | 0.022392
15 | 0.06738 | 0.016887
16 | 0.038368 | 0.0096159
17 | 0.010869 | 0.0027239
18 | 0.064718 | 0.01622
19 | 0.0031204 | 0.00078205
20 | 0.001972 | 0.00049423
21 | 0.026097 | 0.0065404
22 | 0.0048876 | 0.001225
23 | 0.010896 | 0.0027308
24 | 0.0033542 | 0.00084063

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1