## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1703-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1703-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1703-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1703-16_0_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1703-16_0_4_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_1703-16_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1703-16_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1703-16_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1703-16_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1703-16_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1703-16_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_1703-16_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1703-16_0_4_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_1703-16_0_4_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_1703-16_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1703-16_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1703-16_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1703-16_0_4_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_1703-16_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1703-16_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1703-16_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1703-16_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1703-16_0_4_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_1703-16_0_4_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_1703-16_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1703-16_0_4_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_1703-16_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_1703-16_0_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1703-16_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1703-16_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1703-16_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1703-16_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1703-16_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1703-16_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1703-16_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1703-16_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1703-16_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_1703-16_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1703-16_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_1703-16_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1703-16_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1703-16_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1703-16_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1703-16_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1703-16_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1703-16_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_MV_435_1_node_158 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1703-16_0_4_load_0 | 0 | 0.0020274 | 0.00050812 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1703-16_0_4_load_1 | 1 | 0.0010951 | 0.00027446 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1703-16_0_4_load_2 | 2 | 0.0049062 | 0.0012296 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1703-16_0_4_load_20 | 4 | 0.0046456 | 0.0011643 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1703-16_0_4_load_3 | 6 | 0.0028898 | 0.00072426 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1703-16_0_4_load_4 | 7 | 0.0028559 | 0.00071575 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1703-16_0_4_load_5 | 8 | 0.0034292 | 0.00085943 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1703-16_0_4_load_8 | 9 | 0.0044312 | 0.0011106 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1703-16_0_4_load_44 | 12 | 0.029015 | 0.0072717 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1703-16_0_4_load_42 | 13 | 0.023638 | 0.0059244 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1703-16_0_4_load_9 | 14 | 0.003798 | 0.00095188 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1703-16_0_4_load_45 | 17 | 0.027922 | 0.0069979 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1703-16_0_4_load_15 | 18 | 0.01238 | 0.0031028 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1703-16_0_4_load_16 | 19 | 0.0092241 | 0.0023118 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1703-16_0_4_load_19 | 21 | 0.0097752 | 0.0024499 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1703-16_0_4_load_28 | 24 | 0.0095131 | 0.0023842 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1703-16_0_4_load_48 | 25 | 0.011391 | 0.0028549 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1703-16_0_4_load_39 | 27 | 0.011425 | 0.0028633 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1703-16_0_4_load_21 | 28 | 0.014966 | 0.0037508 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1703-16_0_4_load_22 | 29 | 0.015939 | 0.0039947 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1703-16_0_4_load_30 | 31 | 0.0032524 | 0.00081512 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1703-16_0_4_load_29 | 32 | 0.0014199 | 0.00035587 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1703-16_0_4_load_24 | 34 | 0.011845 | 0.0029686 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1703-16_0_4_load_26 | 35 | 0.0032384 | 0.00081162 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1703-16_0_4_load_46 | 36 | 0.0032323 | 0.00081009 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1703-16_0_4_load_38 | 37 | 0.0029562 | 0.00074088 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1703-16_0_4_load_36 | 38 | 0.022933 | 0.0057476 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1703-16_0_4_load_35 | 39 | 0.0030805 | 0.00077204 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1703-16_0_4_load_31 | 40 | 0.0033589 | 0.00084182 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1703-16_0_4_load_32 | 41 | 0.0030933 | 0.00077525 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1703-16_0_4_load_34 | 42 | 0.0050361 | 0.0012622 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1703-16_0_4_load_33 | 43 | 0.0032134 | 0.00080534 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1703-16_0_4_load_47 | 44 | 0.0050841 | 0.0012742 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1703-16_0_4_load_41 | 45 | 0.022108 | 0.0055407 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1703-16_0_4_line_0 |  | 0 | 1 | 0.0083168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1703-16_0_4_line_1 |  | 1 | 2 | 0.033541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1703-16_0_4_line_2 |  | 2 | 3 | 0.037982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1703-16_0_4_line_3 |  | 3 | 4 | 0.031014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1703-16_0_4_line_4 |  | 3 | 5 | 0.009114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1703-16_0_4_line_5 |  | 4 | 11 | 0.033025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1703-16_0_4_line_6 |  | 5 | 9 | 0.038724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1703-16_0_4_line_7 |  | 5 | 8 | 0.010572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1703-16_0_4_line_8 |  | 6 | 7 | 0.037831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1703-16_0_4_line_9 |  | 7 | 8 | 0.036768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1703-16_0_4_line_10 |  | 9 | 10 | 0.030497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1703-16_0_4_line_11 |  | 10 | 12 | 0.047053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1703-16_0_4_line_12 |  | 10 | 13 | 0.020803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1703-16_0_4_line_13 |  | 11 | 21 | 0.026605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1703-16_0_4_line_14 |  | 12 | 17 | 0.030541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1703-16_0_4_line_15 |  | 13 | 23 | 0.030209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1703-16_0_4_line_16 |  | 14 | 15 | 0.02262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1703-16_0_4_line_17 |  | 15 | 16 | 0.004857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1703-16_0_4_line_18 |  | 16 | 17 | 0.01667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1703-16_0_4_line_19 |  | 18 | 19 | 0.031204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1703-16_0_4_line_20 |  | 19 | 20 | 0.020192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1703-16_0_4_line_21 |  | 20 | 22 | 0.009221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1703-16_0_4_line_22 |  | 20 | 23 | 0.018278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1703-16_0_4_line_23 |  | 21 | 24 | 0.027648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1703-16_0_4_line_24 |  | 22 | 25 | 0.024043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1703-16_0_4_line_25 |  | 22 | 26 | 0.017797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1703-16_0_4_line_26 |  | 23 | 27 | 0.027018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1703-16_0_4_line_27 |  | 26 | 37 | 0.028786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1703-16_0_4_line_28 |  | 26 | 35 | 0.028434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1703-16_0_4_line_29 |  | 27 | 45 | 0.032516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1703-16_0_4_line_30 |  | 28 | 29 | 0.031923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1703-16_0_4_line_31 |  | 28 | 30 | 0.053652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1703-16_0_4_line_32 |  | 30 | 31 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1703-16_0_4_line_33 |  | 30 | 32 | 0.056864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1703-16_0_4_line_34 |  | 30 | 33 | 0.008591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1703-16_0_4_line_35 |  | 31 | 36 | 0.011303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1703-16_0_4_line_36 |  | 33 | 34 | 0.021502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1703-16_0_4_line_37 |  | 34 | 35 | 0.0048864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1703-16_0_4_line_38 |  | 36 | 39 | 0.011031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1703-16_0_4_line_39 |  | 37 | 38 | 0.017458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1703-16_0_4_line_40 |  | 38 | 42 | 0.021125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1703-16_0_4_line_41 |  | 39 | 43 | 0.011067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1703-16_0_4_line_42 |  | 40 | 41 | 0.0015248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1703-16_0_4_line_43 |  | 41 | 42 | 0.01075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1703-16_0_4_line_44 |  | 42 | 44 | 0.040127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1703-16_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 46 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2675247.9297 | 1225546.224 | 2675246.231 | 1225554.3654
1 | 2675239.3801 | 1225587.1989 | 2675246.231 | 1225554.3654
2 | 2675231.6221 | 1225624.3802 | 2675239.3801 | 1225587.1989
3 | 2675231.6221 | 1225624.3802 | 2675217.576 | 1225605.6569 | 2675210.8079 | 1225602.1819
4 | 2675230.1135 | 1225633.3671 | 2675231.6221 | 1225624.3802
5 | 2675186.1695 | 1225580.8881 | 2675201.0804 | 1225597.1873 | 2675210.8079 | 1225602.1819
6 | 2675230.1135 | 1225633.3671 | 2675221.4457 | 1225667.747 | 2675220.1887 | 1225670.7638
7 | 2675230.1135 | 1225633.3671 | 2675236.6201 | 1225629.0131 | 2675237.366 | 1225626.3733
8 | 2675260.4852 | 1225555.5681 | 2675250.6597 | 1225579.3242 | 2675247.3634 | 1225590.9905
9 | 2675237.366 | 1225626.3733 | 2675247.3634 | 1225590.9905
10 | 2675208.4595 | 1225698.9147 | 2675220.1887 | 1225670.7638
11 | 2675208.4595 | 1225698.9147 | 2675188.9185 | 1225741.7182
12 | 2675208.4595 | 1225698.9147 | 2675189.8795 | 1225689.557
13 | 2675186.1695 | 1225580.8881 | 2675177.7203 | 1225574.5884 | 2675166.0832 | 1225563.512
14 | 2675188.9185 | 1225741.7182 | 2675176.2347 | 1225769.5014
15 | 2675162.8993 | 1225675.9685 | 2675189.8795 | 1225689.557
16 | 2675166.4869 | 1225788.6219 | 2675156.8436 | 1225809.0832
17 | 2675166.4869 | 1225788.6219 | 2675169.3115 | 1225784.6661
18 | 2675169.3115 | 1225784.6661 | 2675176.2347 | 1225769.5014
19 | 2675154.4719 | 1225650.3161 | 2675167.4314 | 1225621.9306
20 | 2675146.0856 | 1225668.6847 | 2675154.4719 | 1225650.3161
21 | 2675146.0856 | 1225668.6847 | 2675137.6579 | 1225664.8869
22 | 2675146.0856 | 1225668.6847 | 2675162.8993 | 1225675.9685
23 | 2675146.0567 | 1225544.4504 | 2675166.0832 | 1225563.512
24 | 2675137.6579 | 1225664.8869 | 2675143.2803 | 1225654.3064 | 2675143.9075 | 1225646.6648 | 2675142.4894 | 1225642.4997
25 | 2675121.0388 | 1225658.3951 | 2675137.6579 | 1225664.8869
26 | 2675162.8993 | 1225675.9685 | 2675150.937 | 1225700.1939
27 | 2675121.0388 | 1225658.3951 | 2675117.4827 | 1225665.6439 | 2675108.6567 | 1225681.9878 | 2675107.7332 | 1225683.9152
28 | 2675121.0388 | 1225658.3951 | 2675094.5049 | 1225648.176
29 | 2675136.5405 | 1225729.3489 | 2675150.937 | 1225700.1939
30 | 2675093.5171 | 1225562.2325 | 2675069.0062 | 1225582.684
31 | 2675061.7512 | 1225635.8433 | 2675069.0062 | 1225582.684
32 | 2675061.7512 | 1225635.8433 | 2675055.3508 | 1225648.9645
33 | 2675061.7512 | 1225635.8433 | 2675008.4884 | 1225615.9286
34 | 2675061.7512 | 1225635.8433 | 2675069.8801 | 1225638.6922
35 | 2675055.3508 | 1225648.9645 | 2675050.3954 | 1225659.1234
36 | 2675069.8801 | 1225638.6922 | 2675089.945 | 1225646.4198
37 | 2675094.5049 | 1225648.176 | 2675089.945 | 1225646.4198
38 | 2675050.3954 | 1225659.1234 | 2675045.5593 | 1225669.0375
39 | 2675107.7332 | 1225683.9152 | 2675100.1896 | 1225699.6594
40 | 2675100.1896 | 1225699.6594 | 2675094.8362 | 1225710.8326 | 2675086.9111 | 1225707.1576
41 | 2675040.7073 | 1225678.9844 | 2675045.5593 | 1225669.0375
42 | 2675075.7757 | 1225701.994 | 2675077.1589 | 1225702.6354
43 | 2675077.1589 | 1225702.6354 | 2675086.9111 | 1225707.1576
44 | 2675086.9111 | 1225707.1576 | 2675067.618 | 1225742.3423

## bus_geodata
| x | y | coords
0 | 2675247.9297 | 1225546.224
1 | 2675246.231 | 1225554.3654
2 | 2675239.3801 | 1225587.1989
3 | 2675231.6221 | 1225624.3802
4 | 2675210.8079 | 1225602.1819
5 | 2675230.1135 | 1225633.3671
6 | 2675260.4852 | 1225555.5681
7 | 2675247.3634 | 1225590.9905
8 | 2675237.366 | 1225626.3733
9 | 2675220.1887 | 1225670.7638
10 | 2675208.4595 | 1225698.9147
11 | 2675186.1695 | 1225580.8881
12 | 2675188.9185 | 1225741.7182
13 | 2675189.8795 | 1225689.557
14 | 2675156.8436 | 1225809.0832
15 | 2675166.4869 | 1225788.6219
16 | 2675169.3115 | 1225784.6661
17 | 2675176.2347 | 1225769.5014
18 | 2675167.4314 | 1225621.9306
19 | 2675154.4719 | 1225650.3161
20 | 2675146.0856 | 1225668.6847
21 | 2675166.0832 | 1225563.512
22 | 2675137.6579 | 1225664.8869
23 | 2675162.8993 | 1225675.9685
24 | 2675146.0567 | 1225544.4504
25 | 2675142.4894 | 1225642.4997
26 | 2675121.0388 | 1225658.3951
27 | 2675150.937 | 1225700.1939
28 | 2675069.0062 | 1225582.684
29 | 2675093.5171 | 1225562.2325
30 | 2675061.7512 | 1225635.8433
31 | 2675055.3508 | 1225648.9645
32 | 2675008.4884 | 1225615.9286
33 | 2675069.8801 | 1225638.6922
34 | 2675089.945 | 1225646.4198
35 | 2675094.5049 | 1225648.176
36 | 2675050.3954 | 1225659.1234
37 | 2675107.7332 | 1225683.9152
38 | 2675100.1896 | 1225699.6594
39 | 2675045.5593 | 1225669.0375
40 | 2675075.7757 | 1225701.994
41 | 2675077.1589 | 1225702.6354
42 | 2675086.9111 | 1225707.1576
43 | 2675040.7073 | 1225678.9844
44 | 2675067.618 | 1225742.3423
45 | 2675136.5405 | 1225729.3489
46 | 2675137.6579 | 1225664.8869

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98962 | -0.1996 | 0.0020274 | 0.00050812
1 | 0.98964 | -0.1993 | 0.0010951 | 0.00027446
2 | 0.98973 | -0.19744 | 0.0049062 | 0.0012296
3 | 0.99001 | -0.19201 | 0 | 0
4 | 0.98933 | -0.20523 | 0.0046456 | 0.0011643
5 | 0.99028 | -0.18683 | 0 | 0
6 | 0.9899 | -0.19426 | 0.0028898 | 0.00072426
7 | 0.99 | -0.19232 | 0.0028559 | 0.00071575
8 | 0.99019 | -0.18856 | 0.0034292 | 0.00085943
9 | 0.99174 | -0.15856 | 0.0044312 | 0.0011106
10 | 0.99301 | -0.13395 | 0 | 0
11 | 0.98875 | -0.21658 | 0 | 0
12 | 0.99039 | -0.1846 | 0.029015 | 0.0072717
13 | 0.99504 | -0.09494 | 0.023638 | 0.0059244
14 | 0.98935 | -0.20482 | 0.003798 | 0.00095188
15 | 0.98943 | -0.20329 | 0 | 0
16 | 0.98945 | -0.20296 | 0 | 0
17 | 0.98951 | -0.20183 | 0.027922 | 0.0069979
18 | 0.99925 | -0.014348 | 0.01238 | 0.0031028
19 | 0.9996 | -0.007607 | 0.0092241 | 0.0023118
20 | 1 | 0 | -0.30252 | -0.076076
21 | 0.98827 | -0.22573 | 0.0097752 | 0.0024499
22 | 0.99904 | -0.018348 | 0 | 0
23 | 0.99863 | -0.026078 | 0 | 0
24 | 0.98803 | -0.23043 | 0.0095131 | 0.0023842
25 | 0.99879 | -0.023132 | 0.011391 | 0.0028549
26 | 0.99738 | -0.050307 | 0 | 0
27 | 0.99781 | -0.041926 | 0.011425 | 0.0028633
28 | 0.99281 | -0.13841 | 0.014966 | 0.0037508
29 | 0.99234 | -0.14742 | 0.015939 | 0.0039947
30 | 0.99432 | -0.10914 | 0 | 0
31 | 0.99415 | -0.11243 | 0.0032524 | 0.00081512
32 | 0.99425 | -0.11056 | 0.0014199 | 0.00035587
33 | 0.99467 | -0.10231 | 0 | 0
34 | 0.99556 | -0.085235 | 0.011845 | 0.0029686
35 | 0.99581 | -0.080342 | 0.0032384 | 0.00081162
36 | 0.99405 | -0.11433 | 0.0032323 | 0.00081009
37 | 0.99626 | -0.071749 | 0.0029562 | 0.00074088
38 | 0.99563 | -0.083869 | 0.022933 | 0.0057476
39 | 0.99399 | -0.11555 | 0.0030805 | 0.00077204
40 | 0.99525 | -0.091338 | 0.0033589 | 0.00084182
41 | 0.99525 | -0.091247 | 0.0030933 | 0.00077525
42 | 0.99532 | -0.090027 | 0.0050361 | 0.0012622
43 | 0.99396 | -0.11618 | 0.0032134 | 0.00080534
44 | 0.99513 | -0.093618 | 0.0050841 | 0.0012742
45 | 0.99716 | -0.054518 | 0.022108 | 0.0055407
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0020274 | -0.00050812 | 0.0020274 | 0.00050803 | 2.8983e-08 | -8.831e-08 | 0.0030485 | 0.0030484 | 0.0030485 | 0.98962 | -0.1996 | 0.98964 | -0.1993 | 0.83749
1 | -0.0031226 | -0.00078249 | 0.0031228 | 0.00078224 | 2.7725e-07 | -2.5356e-07 | 0.004695 | 0.0046949 | 0.004695 | 0.98964 | -0.1993 | 0.98973 | -0.19744 | 1.2898
2 | -0.0080291 | -0.0020119 | 0.0080312 | 0.0020127 | 2.0754e-06 | 8.4001e-07 | 0.012071 | 0.012071 | 0.012071 | 0.98973 | -0.19744 | 0.99001 | -0.19201 | 3.3163
3 | 0.02397 | 0.00602 | -0.023955 | -0.0060107 | 1.51e-05 | 9.2654e-06 | 0.036032 | 0.036032 | 0.036032 | 0.99001 | -0.19201 | 0.98933 | -0.20523 | 9.8989
4 | -0.032001 | -0.0080327 | 0.032009 | 0.0080376 | 7.9083e-06 | 4.9441e-06 | 0.048103 | 0.048103 | 0.048103 | 0.99001 | -0.19201 | 0.99028 | -0.18683 | 13.2151
5 | 0.019309 | 0.0048464 | -0.019299 | -0.0048401 | 1.0448e-05 | 6.2627e-06 | 0.029045 | 0.029045 | 0.029045 | 0.98933 | -0.20523 | 0.98875 | -0.21658 | 7.9794
6 | -0.041186 | -0.010337 | 0.041242 | 0.010372 | 5.5627e-05 | 3.5102e-05 | 0.061892 | 0.061892 | 0.061892 | 0.99028 | -0.18683 | 0.99174 | -0.15856 | 17.0034
7 | 0.0091769 | 0.0022997 | -0.0091762 | -0.0022993 | 7.5385e-07 | 3.4646e-07 | 0.013789 | 0.013789 | 0.013789 | 0.99028 | -0.18683 | 0.99019 | -0.18856 | 3.7883
8 | -0.0028898 | -0.00072426 | 0.0028901 | 0.00072395 | 2.677e-07 | -3.1506e-07 | 0.004344 | 0.0043438 | 0.004344 | 0.9899 | -0.19426 | 0.99 | -0.19232 | 1.1934
9 | -0.005746 | -0.0014397 | 0.005747 | 0.0014399 | 1.0284e-06 | 1.8531e-07 | 0.0086364 | 0.0086362 | 0.0086364 | 0.99 | -0.19232 | 0.99019 | -0.18856 | 2.3726
10 | -0.045673 | -0.011483 | 0.045726 | 0.011517 | 5.3726e-05 | 3.399e-05 | 0.068541 | 0.068541 | 0.068541 | 0.99174 | -0.15856 | 0.99301 | -0.13395 | 18.8299
11 | 0.060908 | 0.015331 | -0.060761 | -0.015238 | 0.00014706 | 9.3512e-05 | 0.091293 | 0.091294 | 0.091294 | 0.99301 | -0.13395 | 0.99039 | -0.1846 | 25.0807
12 | -0.10663 | -0.026848 | 0.10683 | 0.026975 | 0.0001993 | 0.00012728 | 0.15983 | 0.15983 | 0.15983 | 0.99301 | -0.13395 | 0.99504 | -0.09494 | 43.9105
13 | 0.019299 | 0.0048401 | -0.01929 | -0.0048351 | 8.4167e-06 | 5.0456e-06 | 0.029045 | 0.029045 | 0.029045 | 0.98875 | -0.21658 | 0.98827 | -0.22573 | 7.9794
14 | 0.031746 | 0.0079658 | -0.03172 | -0.0079495 | 2.606e-05 | 1.6286e-05 | 0.047701 | 0.047701 | 0.047701 | 0.99039 | -0.1846 | 0.98951 | -0.20183 | 13.1046
15 | -0.13047 | -0.0329 | 0.1309 | 0.033175 | 0.00043157 | 0.00027581 | 0.19518 | 0.19518 | 0.19518 | 0.99504 | -0.09494 | 0.99863 | -0.026078 | 53.6219
16 | -0.003798 | -0.00095188 | 0.0037983 | 0.00095177 | 2.7679e-07 | -1.1335e-07 | 0.0057124 | 0.0057123 | 0.0057124 | 0.98935 | -0.20482 | 0.98943 | -0.20329 | 1.5693
17 | -0.0037983 | -0.00095177 | 0.0037984 | 0.00095174 | 5.9431e-08 | -2.4346e-08 | 0.0057123 | 0.0057122 | 0.0057123 | 0.98943 | -0.20329 | 0.98945 | -0.20296 | 1.5693
18 | -0.0037984 | -0.00095174 | 0.0037986 | 0.00095166 | 2.0398e-07 | -8.3579e-08 | 0.0057122 | 0.0057122 | 0.0057122 | 0.98945 | -0.20296 | 0.98951 | -0.20183 | 1.5693
19 | -0.01238 | -0.0031028 | 0.012384 | 0.0031049 | 3.9771e-06 | 2.1364e-06 | 0.018436 | 0.018436 | 0.018436 | 0.99925 | -0.014348 | 0.9996 | -0.007607 | 5.0648
20 | -0.021608 | -0.0054167 | 0.021616 | 0.0054215 | 7.835e-06 | 4.7496e-06 | 0.032167 | 0.032167 | 0.032167 | 0.9996 | -0.007607 | 1 | 0 | 8.837
21 | 0.11458 | 0.02892 | -0.11448 | -0.028855 | 0.0001006 | 6.4262e-05 | 0.17056 | 0.17056 | 0.17056 | 1 | 0 | 0.99904 | -0.018348 | 46.8584
22 | 0.16468 | 0.041735 | -0.16447 | -0.041603 | 0.00020607 | 0.0001314 | 0.24521 | 0.24521 | 0.24521 | 1 | 0 | 0.99863 | -0.026078 | 33.6828
23 | 0.0095152 | 0.0023852 | -0.0095131 | -0.0023842 | 2.1281e-06 | 1.0078e-06 | 0.014327 | 0.014327 | 0.014327 | 0.98827 | -0.22573 | 0.98803 | -0.23043 | 3.936
24 | 0.011394 | 0.0028562 | -0.011391 | -0.0028549 | 2.5966e-06 | 1.3471e-06 | 0.01697 | 0.01697 | 0.01697 | 0.99904 | -0.018348 | 0.99879 | -0.023132 | 4.6622
25 | 0.10308 | 0.025999 | -0.10293 | -0.025899 | 0.00015745 | 0.00010053 | 0.15359 | 0.15359 | 0.15359 | 0.99904 | -0.018348 | 0.99738 | -0.050307 | 42.1963
26 | 0.033571 | 0.0084279 | -0.033546 | -0.008412 | 2.5357e-05 | 1.5875e-05 | 0.050027 | 0.050028 | 0.050028 | 0.99863 | -0.026078 | 0.99781 | -0.041926 | 13.7438
27 | 0.042534 | 0.010687 | -0.042491 | -0.010659 | 4.3483e-05 | 2.7454e-05 | 0.063468 | 0.063468 | 0.063468 | 0.99738 | -0.050307 | 0.99626 | -0.071749 | 17.4362
28 | 0.060391 | 0.015212 | -0.060305 | -0.015157 | 8.6611e-05 | 5.5061e-05 | 0.090127 | 0.090127 | 0.090127 | 0.99738 | -0.050307 | 0.99581 | -0.080342 | 24.7602
29 | 0.022121 | 0.0055488 | -0.022108 | -0.0055407 | 1.3271e-05 | 8.0689e-06 | 0.03299 | 0.03299 | 0.03299 | 0.99781 | -0.041926 | 0.99716 | -0.054518 | 9.0633
30 | 0.015946 | 0.0039987 | -0.015939 | -0.0039947 | 6.8384e-06 | 3.964e-06 | 0.023901 | 0.023901 | 0.023901 | 0.99281 | -0.13841 | 0.99234 | -0.14742 | 6.5662
31 | -0.030912 | -0.0077495 | 0.030955 | 0.0077764 | 4.3188e-05 | 2.6946e-05 | 0.046331 | 0.046331 | 0.046331 | 0.99281 | -0.13841 | 0.99432 | -0.10914 | 12.7284
32 | 0.012782 | 0.0032041 | -0.01278 | -0.003203 | 2.0032e-06 | 1.0927e-06 | 0.019128 | 0.019129 | 0.019129 | 0.99432 | -0.10914 | 0.99415 | -0.11243 | 5.2551
33 | 0.00142 | 0.00035519 | -0.0014199 | -0.00035587 | 9.6288e-08 | -6.7589e-07 | 0.0021248 | 0.0021251 | 0.0021251 | 0.99432 | -0.10914 | 0.99425 | -0.11056 | 0.58382
34 | -0.045157 | -0.011336 | 0.045172 | 0.011345 | 1.4715e-05 | 9.3063e-06 | 0.067584 | 0.067584 | 0.067584 | 0.99432 | -0.10914 | 0.99467 | -0.10231 | 18.5671
35 | 0.0095274 | 0.0023879 | -0.0095266 | -0.0023875 | 8.6197e-07 | 4.0512e-07 | 0.01426 | 0.01426 | 0.01426 | 0.99415 | -0.11243 | 0.99405 | -0.11433 | 3.9177
36 | -0.045172 | -0.011345 | 0.045208 | 0.011368 | 3.6829e-05 | 2.3291e-05 | 0.067584 | 0.067584 | 0.067584 | 0.99467 | -0.10231 | 0.99556 | -0.085235 | 18.5671
37 | -0.057053 | -0.014337 | 0.057066 | 0.014345 | 1.3329e-05 | 8.4669e-06 | 0.085288 | 0.085288 | 0.085288 | 0.99556 | -0.085235 | 0.99581 | -0.080342 | 23.4308
38 | 0.0062943 | 0.0015774 | -0.0062939 | -0.0015773 | 3.6722e-07 | 9.2031e-08 | 0.009422 | 0.0094221 | 0.0094221 | 0.99405 | -0.11433 | 0.99399 | -0.11555 | 2.5885
39 | 0.039535 | 0.0099184 | -0.039512 | -0.009904 | 2.283e-05 | 1.4384e-05 | 0.059052 | 0.059052 | 0.059052 | 0.99626 | -0.071749 | 0.99563 | -0.083869 | 16.2232
40 | 0.016579 | 0.0041564 | -0.016574 | -0.0041536 | 4.8636e-06 | 2.8381e-06 | 0.024778 | 0.024778 | 0.024778 | 0.99563 | -0.083869 | 0.99532 | -0.090027 | 6.8071
41 | 0.0032135 | 0.00080526 | -0.0032134 | -0.00080534 | 9.6043e-08 | -8.1982e-08 | 0.0048106 | 0.0048106 | 0.0048106 | 0.99399 | -0.11555 | 0.99396 | -0.11618 | 1.3216
42 | -0.0033589 | -0.00084182 | 0.0033589 | 0.00084181 | 1.4421e-08 | -1.0585e-08 | 0.005022 | 0.005022 | 0.005022 | 0.99525 | -0.091338 | 0.99525 | -0.091247 | 1.3797
43 | -0.0064522 | -0.0016171 | 0.0064526 | 0.0016172 | 3.7513e-07 | 1.0038e-07 | 0.0096468 | 0.0096467 | 0.0096468 | 0.99525 | -0.091247 | 0.99532 | -0.090027 | 2.6502
44 | 0.005085 | 0.0012742 | -0.0050841 | -0.0012742 | 8.6965e-07 | 3.5156e-08 | 0.0076021 | 0.0076023 | 0.0076023 | 0.99532 | -0.090027 | 0.99513 | -0.093618 | 2.0885

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30252 | 0.076076

## res_load
| p_mw | q_mvar
0 | 0.0020274 | 0.00050812
1 | 0.0010951 | 0.00027446
2 | 0.0049062 | 0.0012296
3 | 0.0046456 | 0.0011643
4 | 0.0028898 | 0.00072426
5 | 0.0028559 | 0.00071575
6 | 0.0034292 | 0.00085943
7 | 0.0044312 | 0.0011106
8 | 0.029015 | 0.0072717
9 | 0.023638 | 0.0059244
10 | 0.003798 | 0.00095188
11 | 0.027922 | 0.0069979
12 | 0.01238 | 0.0031028
13 | 0.0092241 | 0.0023118
14 | 0.0097752 | 0.0024499
15 | 0.0095131 | 0.0023842
16 | 0.011391 | 0.0028549
17 | 0.011425 | 0.0028633
18 | 0.014966 | 0.0037508
19 | 0.015939 | 0.0039947
20 | 0.0032524 | 0.00081512
21 | 0.0014199 | 0.00035587
22 | 0.011845 | 0.0029686
23 | 0.0032384 | 0.00081162
24 | 0.0032323 | 0.00081009
25 | 0.0029562 | 0.00074088
26 | 0.022933 | 0.0057476
27 | 0.0030805 | 0.00077204
28 | 0.0033589 | 0.00084182
29 | 0.0030933 | 0.00077525
30 | 0.0050361 | 0.0012622
31 | 0.0032134 | 0.00080534
32 | 0.0050841 | 0.0012742
33 | 0.022108 | 0.0055407

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1