## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1703-19_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1703-19_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1703-19_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1703-19_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1703-19_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1703-19_0_5_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_1703-19_0_5_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1703-19_0_5_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1703-19_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1703-19_0_5_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1703-19_0_5_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1703-19_0_5_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1703-19_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1703-19_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1703-19_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1703-19_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1703-19_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1703-19_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1703-19_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1703-19_0_5_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_1703-19_0_5_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_1703-19_0_5_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_1703-19_0_5_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_1703-19_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1703-19_0_5_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_1703-19_0_5_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1703-19_0_5_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1703-19_0_5_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1703-19_0_5_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1703-19_0_5_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1703-19_0_5_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1703-19_0_5_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1703-19_0_5_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1703-19_0_5_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1703-19_0_5_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1703-19_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_1703-19_0_5_node_42 | 0.4 | n |  | TRUE
37 | bus_MV_435_1_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1703-19_0_5_load_0 | 0 | 0.0065956 | 0.001653 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1703-19_0_5_load_1 | 1 | 0.013338 | 0.0033429 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1703-19_0_5_load_4 | 4 | 0.0072454 | 0.0018159 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1703-19_0_5_load_47 | 5 | 0.0044022 | 0.0011033 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1703-19_0_5_load_20 | 6 | 0.092926 | 0.023289 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1703-19_0_5_load_22 | 7 | 0.018317 | 0.0045907 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1703-19_0_5_load_5 | 8 | 0.0072455 | 0.0018159 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1703-19_0_5_load_24 | 9 | 0.037335 | 0.009357 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1703-19_0_5_load_18 | 11 | 0.0096014 | 0.0024063 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1703-19_0_5_load_6 | 12 | 0.0072439 | 0.0018155 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1703-19_0_5_load_13 | 13 | 0.007258 | 0.001819 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1703-19_0_5_load_7 | 15 | 0.0072695 | 0.0018219 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1703-19_0_5_load_11 | 17 | 0.0062525 | 0.001567 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1703-19_0_5_load_14 | 18 | 0.016138 | 0.0040445 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1703-19_0_5_load_44 | 19 | 0.010805 | 0.0027081 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1703-19_0_5_load_39 | 21 | 0.011467 | 0.0028738 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1703-19_0_5_load_40 | 22 | 0.0079618 | 0.0019954 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1703-19_0_5_load_19 | 23 | 0.010431 | 0.0026142 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1703-19_0_5_load_38 | 24 | 0.043625 | 0.010933 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1703-19_0_5_load_27 | 25 | 0.028458 | 0.0071321 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1703-19_0_5_load_30 | 26 | 0.008929 | 0.0022378 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1703-19_0_5_load_29 | 27 | 0.038955 | 0.0097631 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1703-19_0_5_load_26 | 28 | 0.029642 | 0.0074289 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1703-19_0_5_load_31 | 29 | 0.028879 | 0.0072376 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1703-19_0_5_load_32 | 30 | 0.016991 | 0.0042585 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1703-19_0_5_load_37 | 32 | 0.0097895 | 0.0024535 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1703-19_0_5_load_34 | 33 | 0.012966 | 0.0032495 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1703-19_0_5_load_33 | 34 | 0.011169 | 0.0027992 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1703-19_0_5_load_42 | 36 | 0.0063477 | 0.0015909 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1703-19_0_5_line_0 |  | 0 | 1 | 0.032705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1703-19_0_5_line_1 |  | 0 | 2 | 0.037262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1703-19_0_5_line_2 |  | 1 | 3 | 0.024149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1703-19_0_5_line_3 |  | 2 | 4 | 0.036678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1703-19_0_5_line_4 |  | 2 | 5 | 0.059738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1703-19_0_5_line_5 |  | 3 | 6 | 0.028801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1703-19_0_5_line_6 |  | 3 | 7 | 0.014013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1703-19_0_5_line_7 |  | 4 | 8 | 0.022184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1703-19_0_5_line_8 |  | 6 | 11 | 0.032472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1703-19_0_5_line_9 |  | 8 | 12 | 0.012119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1703-19_0_5_line_10 |  | 9 | 10 | 0.011157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1703-19_0_5_line_11 |  | 10 | 24 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1703-19_0_5_line_12 |  | 10 | 25 | 0.014964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1703-19_0_5_line_13 |  | 11 | 23 | 0.010507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1703-19_0_5_line_14 |  | 12 | 13 | 0.012135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1703-19_0_5_line_15 |  | 13 | 14 | 0.012658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1703-19_0_5_line_16 |  | 14 | 18 | 0.020625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1703-19_0_5_line_17 |  | 14 | 16 | 0.010705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1703-19_0_5_line_18 |  | 15 | 16 | 0.019556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1703-19_0_5_line_19 |  | 16 | 17 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1703-19_0_5_line_20 |  | 18 | 19 | 0.0028861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1703-19_0_5_line_21 |  | 19 | 20 | 0.037389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1703-19_0_5_line_22 |  | 20 | 36 | 0.01134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1703-19_0_5_line_23 |  | 20 | 24 | 0.015005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1703-19_0_5_line_24 |  | 21 | 22 | 0.0046598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1703-19_0_5_line_25 |  | 22 | 35 | 0.0073307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1703-19_0_5_line_26 |  | 25 | 28 | 0.00064117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1703-19_0_5_line_27 |  | 26 | 27 | 0.0098406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1703-19_0_5_line_28 |  | 27 | 29 | 0.018009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1703-19_0_5_line_29 |  | 29 | 30 | 0.012104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1703-19_0_5_line_30 |  | 30 | 31 | 0.025582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1703-19_0_5_line_31 |  | 31 | 32 | 0.0094246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1703-19_0_5_line_32 |  | 31 | 33 | 0.023749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1703-19_0_5_line_33 |  | 32 | 35 | 0.011005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1703-19_0_5_line_34 |  | 33 | 34 | 0.00028835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1703-19_0_5_line_35 |  | 35 | 36 | 0.01197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1703-19_0_5_trafo_27 | 0.63 MVA 20/0.4 kV | 37 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2674899.0843 | 1225606.5068 | 2674893.644 | 1225606.0395 | 2674888.1319 | 1225604.8805 | 2674875.7512 | 1225600.1216 | 2674868.353 | 1225596.2536
1 | 2674936.2694 | 1225608.711 | 2674923.825 | 1225608.4097 | 2674899.8614 | 1225606.5736 | 2674899.0843 | 1225606.5068
2 | 2674851.1263 | 1225579.7428 | 2674857.9203 | 1225588.6786 | 2674861.9559 | 1225592.0983 | 2674867.3836 | 1225595.7467 | 2674868.353 | 1225596.2536
3 | 2674936.2694 | 1225608.711 | 2674935.9779 | 1225597.5444 | 2674934.7606 | 1225572.0657
4 | 2674936.2694 | 1225608.711 | 2674995.9541 | 1225611.2421
5 | 2674851.1263 | 1225579.7428 | 2674824.9721 | 1225567.683
6 | 2674851.1263 | 1225579.7428 | 2674845.4745 | 1225585.4644 | 2674842.2189 | 1225590.4698
7 | 2674934.7606 | 1225572.0657 | 2674933.7019 | 1225549.9074
8 | 2674824.9721 | 1225567.683 | 2674814.2153 | 1225562.7231 | 2674809.2414 | 1225562.7717 | 2674806.3227 | 1225564.5807 | 2674804.0358 | 1225571.601 | 2674799.2328 | 1225571.0459
9 | 2674933.7019 | 1225549.9074 | 2674933.1235 | 1225537.8023
10 | 2674863.6356 | 1225530.9122 | 2674860.3993 | 1225541.5896
11 | 2674863.6356 | 1225530.9122 | 2674868.0811 | 1225516.7036
12 | 2674863.6356 | 1225530.9122 | 2674849.4913 | 1225526.027
13 | 2674788.7954 | 1225569.8397 | 2674799.2328 | 1225571.0459
14 | 2674933.1235 | 1225537.8023 | 2674932.5444 | 1225525.6815
15 | 2674931.9403 | 1225513.0375 | 2674932.5444 | 1225525.6815
16 | 2674931.9403 | 1225513.0375 | 2674925.2418 | 1225513.3756 | 2674911.4455 | 1225511.5372
17 | 2674931.4305 | 1225502.3462 | 2674931.9403 | 1225513.0375
18 | 2674931.4305 | 1225502.3462 | 2674950.9824 | 1225501.9526
19 | 2674931.4305 | 1225502.3462 | 2674930.6057 | 1225488.4672
20 | 2674911.4455 | 1225511.5372 | 2674908.5847 | 1225511.156
21 | 2674872.5615 | 1225502.3833 | 2674878.7765 | 1225502.5171 | 2674882.7174 | 1225503.2227 | 2674887.0648 | 1225504.7673 | 2674898.4794 | 1225509.2028 | 2674903.5881 | 1225510.4901 | 2674908.5847 | 1225511.156
22 | 2674872.5615 | 1225502.3833 | 2674870.7982 | 1225500.3264 | 2674869.6563 | 1225497.6881 | 2674868.9424 | 1225494.7772 | 2674868.8322 | 1225492.0206
23 | 2674872.5615 | 1225502.3833 | 2674868.0811 | 1225516.7036
24 | 2674875.1368 | 1225470.2063 | 2674874.3754 | 1225470.9075 | 2674872.3832 | 1225473.9357
25 | 2674868.3543 | 1225480.06 | 2674872.3832 | 1225473.9357
26 | 2674849.4913 | 1225526.027 | 2674848.8853 | 1225525.8176
27 | 2674807.7233 | 1225511.6743 | 2674807.7233 | 1225511.6743 | 2674798.0015 | 1225510.1501
28 | 2674807.7233 | 1225511.6743 | 2674817.9441 | 1225507.3554 | 2674822.0326 | 1225501.7805
29 | 2674829.1905 | 1225492.02 | 2674822.0326 | 1225501.7805
30 | 2674848.1419 | 1225477.1039 | 2674836.06 | 1225491.3503 | 2674829.1905 | 1225492.02
31 | 2674848.1419 | 1225477.1039 | 2674853.7131 | 1225477.7855 | 2674857.4798 | 1225478.3707
32 | 2674848.1419 | 1225477.1039 | 2674844.7675 | 1225474.1484 | 2674838.4902 | 1225466.3087 | 2674836.3442 | 1225457.3416
33 | 2674868.3543 | 1225480.06 | 2674857.4798 | 1225478.3707
34 | 2674836.2771 | 1225457.0611 | 2674836.3442 | 1225457.3416
35 | 2674868.3543 | 1225480.06 | 2674868.8322 | 1225492.0206

## bus_geodata
| x | y | coords
0 | 2674899.0843 | 1225606.5068
1 | 2674868.353 | 1225596.2536
2 | 2674936.2694 | 1225608.711
3 | 2674851.1263 | 1225579.7428
4 | 2674934.7606 | 1225572.0657
5 | 2674995.9541 | 1225611.2421
6 | 2674824.9721 | 1225567.683
7 | 2674842.2189 | 1225590.4698
8 | 2674933.7019 | 1225549.9074
9 | 2674860.3993 | 1225541.5896
10 | 2674863.6356 | 1225530.9122
11 | 2674799.2328 | 1225571.0459
12 | 2674933.1235 | 1225537.8023
13 | 2674932.5444 | 1225525.6815
14 | 2674931.9403 | 1225513.0375
15 | 2674950.9824 | 1225501.9526
16 | 2674931.4305 | 1225502.3462
17 | 2674930.6057 | 1225488.4672
18 | 2674911.4455 | 1225511.5372
19 | 2674908.5847 | 1225511.156
20 | 2674872.5615 | 1225502.3833
21 | 2674875.1368 | 1225470.2063
22 | 2674872.3832 | 1225473.9357
23 | 2674788.7954 | 1225569.8397
24 | 2674868.0811 | 1225516.7036
25 | 2674849.4913 | 1225526.027
26 | 2674798.0015 | 1225510.1501
27 | 2674807.7233 | 1225511.6743
28 | 2674848.8853 | 1225525.8176
29 | 2674822.0326 | 1225501.7805
30 | 2674829.1905 | 1225492.02
31 | 2674848.1419 | 1225477.1039
32 | 2674857.4798 | 1225478.3707
33 | 2674836.3442 | 1225457.3416
34 | 2674836.2771 | 1225457.0611
35 | 2674868.3543 | 1225480.06
36 | 2674868.8322 | 1225492.0206
37 | 2674863.6356 | 1225530.9122

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98768 | -0.23589 | 0.0065956 | 0.001653
1 | 0.98549 | -0.27824 | 0.013338 | 0.0033429
2 | 0.98898 | -0.21076 | 0 | 0
3 | 0.98255 | -0.33531 | 0 | 0
4 | 0.9903 | -0.18536 | 0.0072454 | 0.0018159
5 | 0.98874 | -0.21545 | 0.0044022 | 0.0011033
6 | 0.97954 | -0.39422 | 0.092926 | 0.023289
7 | 0.98232 | -0.33994 | 0.018317 | 0.0045907
8 | 0.99113 | -0.16932 | 0.0072455 | 0.0018159
9 | 0.99804 | -0.037297 | 0.037335 | 0.009357
10 | 0.99842 | -0.030011 | 0 | 0
11 | 0.97894 | -0.40605 | 0.0096014 | 0.0024063
12 | 0.99161 | -0.16018 | 0.0072439 | 0.0018155
13 | 0.99211 | -0.15065 | 0.007258 | 0.001819
14 | 0.99265 | -0.14031 | 0 | 0
15 | 0.99239 | -0.14539 | 0.0072695 | 0.0018219
16 | 0.99252 | -0.14287 | 0 | 0
17 | 0.99244 | -0.14441 | 0.0062525 | 0.001567
18 | 0.99359 | -0.12225 | 0.016138 | 0.0040445
19 | 0.99373 | -0.11952 | 0.010805 | 0.0027081
20 | 0.99567 | -0.082459 | 0 | 0
21 | 0.99429 | -0.10907 | 0.011467 | 0.0028738
22 | 0.99434 | -0.10813 | 0.0079618 | 0.0019954
23 | 0.97884 | -0.40804 | 0.010431 | 0.0026142
24 | 0.99698 | -0.057525 | 0.043625 | 0.010933
25 | 1 | 0 | -0.49557 | -0.12564
26 | 0.98824 | -0.22611 | 0.008929 | 0.0022378
27 | 0.98832 | -0.22454 | 0.038955 | 0.0097631
28 | 0.99998 | -0.00033126 | 0.029642 | 0.0074289
29 | 0.98911 | -0.20916 | 0.028879 | 0.0072376
30 | 0.98996 | -0.19263 | 0.016991 | 0.0042585
31 | 0.99216 | -0.15006 | 0 | 0
32 | 0.99318 | -0.13041 | 0.0097895 | 0.0024535
33 | 0.99164 | -0.16022 | 0.012966 | 0.0032495
34 | 0.99164 | -0.16028 | 0.011169 | 0.0027992
35 | 0.99447 | -0.10562 | 0 | 0
36 | 0.99527 | -0.090111 | 0.0063477 | 0.0015909
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.1456 | 0.036875 | -0.14531 | -0.036687 | 0.00029546 | 0.00018826 | 0.2195 | 0.2195 | 0.2195 | 0.98768 | -0.23589 | 0.98549 | -0.27824 | 30.1513
1 | -0.1522 | -0.038528 | 0.15238 | 0.038644 | 0.00018389 | 0.00011578 | 0.22944 | 0.22944 | 0.22944 | 0.98768 | -0.23589 | 0.98898 | -0.21076 | 15.7581
2 | 0.13197 | 0.033344 | -0.13161 | -0.033114 | 0.00035992 | 0.00023004 | 0.19936 | 0.19936 | 0.19936 | 0.98549 | -0.27824 | 0.98255 | -0.33531 | 54.7697
3 | -0.15679 | -0.039747 | 0.15698 | 0.039868 | 0.00019162 | 0.00012075 | 0.23606 | 0.23606 | 0.23606 | 0.98898 | -0.21076 | 0.9903 | -0.18536 | 16.2131
4 | 0.0044032 | 0.0011032 | -0.0044022 | -0.0011033 | 9.8326e-07 | -1.3708e-07 | 0.0066249 | 0.0066252 | 0.0066252 | 0.98898 | -0.21076 | 0.98874 | -0.21545 | 1.8201
5 | 0.11329 | 0.028521 | -0.11297 | -0.028317 | 0.00031808 | 0.00020321 | 0.17161 | 0.17161 | 0.17161 | 0.98255 | -0.33531 | 0.97954 | -0.39422 | 47.1469
6 | 0.018321 | 0.0045931 | -0.018317 | -0.0045907 | 4.0458e-06 | 2.4119e-06 | 0.027747 | 0.027747 | 0.027747 | 0.98255 | -0.33531 | 0.98232 | -0.33994 | 7.6228
7 | -0.16422 | -0.041684 | 0.16435 | 0.041764 | 0.00012683 | 8.0027e-05 | 0.24695 | 0.24695 | 0.24695 | 0.9903 | -0.18536 | 0.99113 | -0.16932 | 16.9607
8 | 0.020045 | 0.0050279 | -0.020033 | -0.0050211 | 1.1291e-05 | 6.818e-06 | 0.030451 | 0.030451 | 0.030451 | 0.97954 | -0.39422 | 0.97894 | -0.40605 | 8.3658
9 | -0.1716 | -0.043579 | 0.17167 | 0.043627 | 7.5525e-05 | 4.7711e-05 | 0.25783 | 0.25783 | 0.25783 | 0.99113 | -0.16932 | 0.99161 | -0.16018 | 17.7078
10 | -0.037335 | -0.009357 | 0.037348 | 0.0093652 | 1.2964e-05 | 8.151e-06 | 0.055664 | 0.055664 | 0.055664 | 0.99804 | -0.037297 | 0.99842 | -0.030011 | 15.2923
11 | 0.42626 | 0.10841 | -0.42569 | -0.10805 | 0.00056428 | 0.00036036 | 0.63584 | 0.63584 | 0.63584 | 0.99842 | -0.030011 | 0.99698 | -0.057525 | 43.6703
12 | -0.46361 | -0.11778 | 0.46428 | 0.11821 | 0.00067083 | 0.00042855 | 0.6915 | 0.6915 | 0.6915 | 0.99842 | -0.030011 | 1 | 0 | 47.4934
13 | 0.010432 | 0.0026147 | -0.010431 | -0.0026142 | 9.9072e-07 | 5.0197e-07 | 0.015857 | 0.015857 | 0.015857 | 0.97894 | -0.40605 | 0.97884 | -0.40804 | 4.3563
14 | -0.17892 | -0.045443 | 0.179 | 0.045495 | 8.2133e-05 | 5.1938e-05 | 0.2687 | 0.2687 | 0.2687 | 0.99161 | -0.16018 | 0.99211 | -0.15065 | 18.4544
15 | -0.18626 | -0.047314 | 0.18635 | 0.047372 | 9.2761e-05 | 5.8713e-05 | 0.27958 | 0.27958 | 0.27958 | 0.99211 | -0.15065 | 0.99265 | -0.14031 | 19.202
16 | -0.19987 | -0.050763 | 0.20005 | 0.050873 | 0.00017386 | 0.0001102 | 0.29986 | 0.29986 | 0.29986 | 0.99265 | -0.14031 | 0.99359 | -0.12225 | 20.5945
17 | 0.013525 | 0.0033903 | -0.013523 | -0.0033893 | 1.6502e-06 | 9.1773e-07 | 0.020275 | 0.020275 | 0.020275 | 0.99265 | -0.14031 | 0.99252 | -0.14287 | 5.57
18 | -0.0072695 | -0.0018219 | 0.0072704 | 0.0018222 | 8.713e-07 | 3.0493e-07 | 0.0109 | 0.0109 | 0.0109 | 0.99239 | -0.14539 | 0.99252 | -0.14287 | 2.9945
19 | 0.0062529 | 0.0015671 | -0.0062525 | -0.001567 | 4.5821e-07 | 1.1359e-07 | 0.0093747 | 0.0093747 | 0.0093747 | 0.99252 | -0.14287 | 0.99244 | -0.14441 | 2.5755
20 | -0.21618 | -0.054917 | 0.21621 | 0.054935 | 2.8407e-05 | 1.8031e-05 | 0.32402 | 0.32402 | 0.32402 | 0.99359 | -0.12225 | 0.99373 | -0.11952 | 22.2543
21 | -0.22702 | -0.057643 | 0.22742 | 0.057901 | 0.00040569 | 0.0002577 | 0.3402 | 0.3402 | 0.3402 | 0.99373 | -0.11952 | 0.99567 | -0.082459 | 23.3656
22 | 0.15419 | 0.038925 | -0.15413 | -0.038889 | 5.6498e-05 | 3.5569e-05 | 0.23053 | 0.23053 | 0.23053 | 0.99567 | -0.082459 | 0.99527 | -0.090111 | 15.833
23 | -0.38161 | -0.096826 | 0.38207 | 0.097118 | 0.00045821 | 0.00029247 | 0.57073 | 0.57073 | 0.57073 | 0.99567 | -0.082459 | 0.99698 | -0.057525 | 39.1985
24 | -0.011467 | -0.0028738 | 0.011467 | 0.0028741 | 5.146e-07 | 2.6891e-07 | 0.017161 | 0.017161 | 0.017161 | 0.99429 | -0.10907 | 0.99434 | -0.10813 | 4.7145
25 | -0.019429 | -0.0048695 | 0.019431 | 0.0048709 | 2.324e-06 | 1.3922e-06 | 0.029075 | 0.029075 | 0.029075 | 0.99434 | -0.10813 | 0.99447 | -0.10562 | 7.9878
26 | 0.029642 | 0.0074292 | -0.029642 | -0.0074289 | 4.6779e-07 | 2.9097e-07 | 0.044108 | 0.044108 | 0.044108 | 1 | 0 | 0.99998 | -0.00033126 | 12.1176
27 | -0.008929 | -0.0022378 | 0.0089296 | 0.0022381 | 6.6703e-07 | 3.0081e-07 | 0.013445 | 0.013445 | 0.013445 | 0.98824 | -0.22611 | 0.98832 | -0.22454 | 3.6936
28 | -0.047885 | -0.012001 | 0.04792 | 0.012023 | 3.5103e-05 | 2.2235e-05 | 0.072095 | 0.072095 | 0.072095 | 0.98832 | -0.22454 | 0.98911 | -0.20916 | 19.8064
29 | -0.076798 | -0.019261 | 0.076859 | 0.0193 | 6.0593e-05 | 3.8624e-05 | 0.11554 | 0.11554 | 0.11554 | 0.98911 | -0.20916 | 0.98996 | -0.19263 | 31.7418
30 | -0.09385 | -0.023558 | 0.094041 | 0.02368 | 0.00019094 | 0.00012187 | 0.14108 | 0.14108 | 0.14108 | 0.98996 | -0.19263 | 0.99216 | -0.15006 | 38.7582
31 | -0.11819 | -0.029736 | 0.1183 | 0.029807 | 0.00011109 | 7.0978e-05 | 0.1773 | 0.1773 | 0.1773 | 0.99216 | -0.15006 | 0.99318 | -0.13041 | 48.7076
32 | 0.024146 | 0.0060559 | -0.024135 | -0.0060488 | 1.1681e-05 | 7.1692e-06 | 0.036216 | 0.036216 | 0.036216 | 0.99216 | -0.15006 | 0.99164 | -0.16022 | 9.9494
33 | -0.12809 | -0.03226 | 0.12824 | 0.032358 | 0.00015207 | 9.7184e-05 | 0.19196 | 0.19196 | 0.19196 | 0.99318 | -0.13041 | 0.99447 | -0.10562 | 52.7369
34 | 0.011169 | 0.0027992 | -0.011169 | -0.0027992 | 3.0373e-08 | 1.5718e-08 | 0.01676 | 0.01676 | 0.01676 | 0.99164 | -0.16022 | 0.99164 | -0.16028 | 4.6043
35 | -0.14767 | -0.037229 | 0.14778 | 0.037298 | 0.00010966 | 6.9869e-05 | 0.22104 | 0.22104 | 0.22104 | 0.99447 | -0.10562 | 0.99527 | -0.090111 | 30.3623

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52403 | 0.13277

## res_load
| p_mw | q_mvar
0 | 0.0065956 | 0.001653
1 | 0.013338 | 0.0033429
2 | 0.0072454 | 0.0018159
3 | 0.0044022 | 0.0011033
4 | 0.092926 | 0.023289
5 | 0.018317 | 0.0045907
6 | 0.0072455 | 0.0018159
7 | 0.037335 | 0.009357
8 | 0.0096014 | 0.0024063
9 | 0.0072439 | 0.0018155
10 | 0.007258 | 0.001819
11 | 0.0072695 | 0.0018219
12 | 0.0062525 | 0.001567
13 | 0.016138 | 0.0040445
14 | 0.010805 | 0.0027081
15 | 0.011467 | 0.0028738
16 | 0.0079618 | 0.0019954
17 | 0.010431 | 0.0026142
18 | 0.043625 | 0.010933
19 | 0.028458 | 0.0071321
20 | 0.008929 | 0.0022378
21 | 0.038955 | 0.0097631
22 | 0.029642 | 0.0074289
23 | 0.028879 | 0.0072376
24 | 0.016991 | 0.0042585
25 | 0.0097895 | 0.0024535
26 | 0.012966 | 0.0032495
27 | 0.011169 | 0.0027992
28 | 0.0063477 | 0.0015909

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1