## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1703-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1703-20_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1703-20_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1703-20_0_4_node_78 | 0.4 | n |  | TRUE
4 | bus_LV_1703-20_0_4_node_88 | 0.4 | n |  | TRUE
5 | bus_LV_1703-20_0_4_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_1703-20_0_4_node_77 | 0.4 | n |  | TRUE
7 | bus_LV_1703-20_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1703-20_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1703-20_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1703-20_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1703-20_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1703-20_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1703-20_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1703-20_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1703-20_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1703-20_0_4_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_1703-20_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1703-20_0_4_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_1703-20_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1703-20_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1703-20_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1703-20_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1703-20_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1703-20_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1703-20_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_1703-20_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1703-20_0_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1703-20_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1703-20_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1703-20_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1703-20_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1703-20_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1703-20_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1703-20_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1703-20_0_4_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_1703-20_0_4_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_1703-20_0_4_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_1703-20_0_4_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_1703-20_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_1703-20_0_4_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1703-20_0_4_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_1703-20_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1703-20_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1703-20_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_1703-20_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1703-20_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1703-20_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_1703-20_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1703-20_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1703-20_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_1703-20_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1703-20_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1703-20_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_1703-20_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_1703-20_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_1703-20_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_1703-20_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_1703-20_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_1703-20_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_1703-20_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_1703-20_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_1703-20_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1703-20_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_1703-20_0_4_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_1703-20_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_1703-20_0_4_node_87 | 0.4 | n |  | TRUE
67 | bus_LV_1703-20_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_1703-20_0_4_node_86 | 0.4 | n |  | TRUE
69 | bus_LV_1703-20_0_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_1703-20_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_1703-20_0_4_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_1703-20_0_4_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_1703-20_0_4_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_1703-20_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_1703-20_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_1703-20_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_1703-20_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_1703-20_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_1703-20_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_1703-20_0_4_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_1703-20_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_1703-20_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_1703-20_0_4_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_1703-20_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_1703-20_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_MV_435_1_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1703-20_0_4_load_0 | 0 | 0.016315 | 0.0040889 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1703-20_0_4_load_1 | 1 | 0.0090858 | 0.0022771 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1703-20_0_4_load_88 | 4 | 0.00073773 | 0.00018489 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1703-20_0_4_load_79 | 5 | 0.004893 | 0.0012263 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1703-20_0_4_load_77 | 6 | 0.0036354 | 0.00091112 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1703-20_0_4_load_5 | 7 | 0.00029542 | 7.4039e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1703-20_0_4_load_6 | 8 | 0.0004064 | 0.00010185 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1703-20_0_4_load_7 | 9 | 0.0013929 | 0.00034909 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1703-20_0_4_load_9 | 11 | 0.0017744 | 0.0004447 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1703-20_0_4_load_10 | 12 | 0.00043761 | 0.00010967 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1703-20_0_4_load_12 | 14 | 0.0029053 | 0.00072814 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1703-20_0_4_load_13 | 15 | 0.0038007 | 0.00095255 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1703-20_0_4_load_56 | 16 | 0.00031843 | 7.9806e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1703-20_0_4_load_14 | 17 | 0.0018622 | 0.00046671 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1703-20_0_4_load_15 | 19 | 0.0013019 | 0.00032628 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1703-20_0_4_load_16 | 20 | 0.0014883 | 0.00037301 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1703-20_0_4_load_17 | 21 | 0.0042337 | 0.0010611 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1703-20_0_4_load_19 | 23 | 0.0038951 | 0.00097619 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1703-20_0_4_load_20 | 24 | 0.0014848 | 0.00037213 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1703-20_0_4_load_38 | 25 | 0.0042244 | 0.0010587 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1703-20_0_4_load_39 | 27 | 0.010159 | 0.002546 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1703-20_0_4_load_27 | 28 | 0.002242 | 0.00056191 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1703-20_0_4_load_21 | 29 | 0.0058381 | 0.0014632 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1703-20_0_4_load_25 | 32 | 0.0074479 | 0.0018666 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1703-20_0_4_load_48 | 36 | 0.0037425 | 0.00093796 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1703-20_0_4_load_75 | 37 | 0.015677 | 0.0039291 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1703-20_0_4_load_63 | 38 | 0.0057873 | 0.0014504 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1703-20_0_4_load_59 | 39 | 0.0069518 | 0.0017423 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1703-20_0_4_load_49 | 40 | 0.0077996 | 0.0019548 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1703-20_0_4_load_70 | 41 | 0.0093225 | 0.0023364 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1703-20_0_4_load_28 | 42 | 0.0028239 | 0.00070773 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1703-20_0_4_load_30 | 43 | 0.0040953 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1703-20_0_4_load_31 | 44 | 0.0055699 | 0.0013959 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1703-20_0_4_load_32 | 45 | 0.0039273 | 0.00098428 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1703-20_0_4_load_33 | 46 | 0.0042686 | 0.0010698 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1703-20_0_4_load_34 | 47 | 0.0039039 | 0.0009784 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1703-20_0_4_load_35 | 48 | 0.0044389 | 0.0011125 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1703-20_0_4_load_36 | 49 | 0.010145 | 0.0025425 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1703-20_0_4_load_37 | 50 | 0.0062541 | 0.0015674 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1703-20_0_4_load_46 | 51 | 0.0041141 | 0.0010311 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1703-20_0_4_load_47 | 52 | 0.0087561 | 0.0021945 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1703-20_0_4_load_40 | 53 | 0.0041033 | 0.0010284 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1703-20_0_4_load_41 | 54 | 0.0037644 | 0.00094345 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1703-20_0_4_load_42 | 55 | 0.0075126 | 0.0018828 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1703-20_0_4_load_43 | 56 | 0.0073154 | 0.0018334 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1703-20_0_4_load_44 | 57 | 0.00027779 | 6.9622e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1703-20_0_4_load_45 | 58 | 0.0085414 | 0.0021407 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1703-20_0_4_load_54 | 59 | 0.0052424 | 0.0013139 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1703-20_0_4_load_53 | 63 | 0.029137 | 0.0073025 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1703-20_0_4_load_68 | 64 | 0.0082139 | 0.0020586 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1703-20_0_4_load_87 | 66 | 0.0046407 | 0.0011631 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1703-20_0_4_load_58 | 67 | 0.037102 | 0.0092986 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1703-20_0_4_load_86 | 68 | 0.0015008 | 0.00037614 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1703-20_0_4_load_62 | 70 | 0.0079689 | 0.0019972 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1703-20_0_4_load_84 | 71 | 0.0054764 | 0.0013725 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1703-20_0_4_load_64 | 72 | 0.0095721 | 0.002399 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1703-20_0_4_load_82 | 73 | 0.011319 | 0.0028367 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1703-20_0_4_load_65 | 74 | 0.010475 | 0.0026254 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1703-20_0_4_load_67 | 75 | 0.0036622 | 0.00091784 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1703-20_0_4_load_66 | 76 | 0.01607 | 0.0040275 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1703-20_0_4_load_71 | 77 | 0.0094766 | 0.0023751 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1703-20_0_4_load_72 | 78 | 0.015018 | 0.0037638 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1703-20_0_4_load_69 | 79 | 0.0059985 | 0.0015034 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1703-20_0_4_load_73 | 80 | 0.0049532 | 0.0012414 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1703-20_0_4_load_74 | 81 | 0.012613 | 0.003161 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1703-20_0_4_load_76 | 82 | 0.0060552 | 0.0015176 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1703-20_0_4_load_81 | 84 | 0.0047745 | 0.0011966 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1703-20_0_4_load_83 | 85 | 0.0039138 | 0.00098088 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1703-20_0_4_line_0 |  | 0 | 1 | 0.016894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1703-20_0_4_line_1 |  | 1 | 2 | 0.043205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1703-20_0_4_line_2 |  | 2 | 3 | 0.072925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1703-20_0_4_line_3 |  | 2 | 4 | 0.036427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1703-20_0_4_line_4 |  | 3 | 5 | 0.030082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1703-20_0_4_line_5 |  | 3 | 6 | 0.062223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1703-20_0_4_line_6 |  | 5 | 83 | 0.007638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1703-20_0_4_line_7 |  | 6 | 82 | 0.010098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1703-20_0_4_line_8 |  | 7 | 8 | 0.014979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1703-20_0_4_line_9 |  | 7 | 9 | 0.014996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1703-20_0_4_line_10 |  | 8 | 10 | 0.011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1703-20_0_4_line_11 |  | 9 | 11 | 0.02429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1703-20_0_4_line_12 |  | 10 | 12 | 0.035263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1703-20_0_4_line_13 |  | 10 | 13 | 0.012511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1703-20_0_4_line_14 |  | 11 | 14 | 0.017765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1703-20_0_4_line_15 |  | 12 | 15 | 0.02424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1703-20_0_4_line_16 |  | 13 | 16 | 0.056309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1703-20_0_4_line_17 |  | 15 | 17 | 0.01258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1703-20_0_4_line_18 |  | 16 | 18 | 0.021456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1703-20_0_4_line_19 |  | 17 | 19 | 0.01641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1703-20_0_4_line_20 |  | 18 | 60 | 0.0375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1703-20_0_4_line_21 |  | 20 | 21 | 0.028282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1703-20_0_4_line_22 |  | 20 | 22 | 0.010622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1703-20_0_4_line_23 |  | 21 | 23 | 0.014337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1703-20_0_4_line_24 |  | 22 | 24 | 0.0098804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1703-20_0_4_line_25 |  | 23 | 25 | 0.013372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1703-20_0_4_line_26 |  | 24 | 26 | 0.059401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1703-20_0_4_line_27 |  | 25 | 27 | 0.0050636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1703-20_0_4_line_28 |  | 26 | 28 | 0.021897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1703-20_0_4_line_29 |  | 27 | 53 | 0.0082675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1703-20_0_4_line_30 |  | 28 | 42 | 0.014933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1703-20_0_4_line_31 |  | 29 | 30 | 0.0034394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1703-20_0_4_line_32 |  | 29 | 31 | 0.080421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1703-20_0_4_line_33 |  | 30 | 32 | 0.041325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1703-20_0_4_line_34 |  | 31 | 33 | 0.06191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1703-20_0_4_line_35 |  | 33 | 37 | 0.07507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1703-20_0_4_line_36 |  | 34 | 35 | 0.003096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1703-20_0_4_line_37 |  | 34 | 36 | 0.019986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1703-20_0_4_line_38 |  | 35 | 38 | 0.0026388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1703-20_0_4_line_39 |  | 35 | 39 | 0.032103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1703-20_0_4_line_40 |  | 36 | 40 | 0.0052508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1703-20_0_4_line_41 |  | 37 | 41 | 0.017017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1703-20_0_4_line_42 |  | 38 | 64 | 0.01241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1703-20_0_4_line_43 |  | 39 | 65 | 0.02479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1703-20_0_4_line_44 |  | 41 | 79 | 0.0075383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1703-20_0_4_line_45 |  | 42 | 43 | 0.021555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1703-20_0_4_line_46 |  | 43 | 44 | 0.0023217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1703-20_0_4_line_47 |  | 44 | 45 | 0.010932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1703-20_0_4_line_48 |  | 45 | 46 | 0.011502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1703-20_0_4_line_49 |  | 46 | 47 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1703-20_0_4_line_50 |  | 47 | 48 | 0.00050073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1703-20_0_4_line_51 |  | 48 | 49 | 0.029545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1703-20_0_4_line_52 |  | 49 | 50 | 0.0014344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1703-20_0_4_line_53 |  | 50 | 51 | 0.031878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1703-20_0_4_line_54 |  | 51 | 52 | 0.00073179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1703-20_0_4_line_55 |  | 52 | 61 | 0.050207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1703-20_0_4_line_56 |  | 53 | 54 | 0.013179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1703-20_0_4_line_57 |  | 54 | 55 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_1703-20_0_4_line_58 |  | 55 | 56 | 0.024421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_1703-20_0_4_line_59 |  | 56 | 57 | 0.0067054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_1703-20_0_4_line_60 |  | 57 | 58 | 0.022048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_1703-20_0_4_line_61 |  | 58 | 59 | 0.00088647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_1703-20_0_4_line_62 |  | 59 | 60 | 0.048771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_1703-20_0_4_line_63 |  | 60 | 67 | 0.026177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1703-20_0_4_line_64 |  | 61 | 62 | 0.006225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_1703-20_0_4_line_65 |  | 61 | 63 | 0.035376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1703-20_0_4_line_66 |  | 62 | 66 | 0.026926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_1703-20_0_4_line_67 |  | 64 | 75 | 0.025191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1703-20_0_4_line_68 |  | 65 | 69 | 0.001652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_1703-20_0_4_line_69 |  | 65 | 70 | 0.020507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1703-20_0_4_line_70 |  | 66 | 68 | 0.02494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_1703-20_0_4_line_71 |  | 68 | 69 | 0.055841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_1703-20_0_4_line_72 |  | 69 | 71 | 0.041014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1703-20_0_4_line_73 |  | 70 | 72 | 0.024144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1703-20_0_4_line_74 |  | 71 | 73 | 0.026275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1703-20_0_4_line_75 |  | 72 | 74 | 0.0025472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1703-20_0_4_line_76 |  | 73 | 85 | 0.013932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1703-20_0_4_line_77 |  | 74 | 76 | 0.02907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1703-20_0_4_line_78 |  | 75 | 79 | 0.030853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1703-20_0_4_line_79 |  | 76 | 77 | 0.0036161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1703-20_0_4_line_80 |  | 77 | 78 | 0.0068155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1703-20_0_4_line_81 |  | 78 | 80 | 0.021795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1703-20_0_4_line_82 |  | 80 | 81 | 0.0034439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1703-20_0_4_line_83 |  | 81 | 82 | 0.013759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1703-20_0_4_line_84 |  | 83 | 84 | 0.032396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1703-20_0_4_trafo_49 | 0.63 MVA 20/0.4 kV | 86 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2674883.9051 | 1226017.1119 | 2674891.2039 | 1226015.4138 | 2674900.5687 | 1226014.5977
1 | 2674915.1749 | 1225976.2005 | 2674908.4044 | 1225986.511 | 2674907.9521 | 1226006.1739 | 2674905.7824 | 1226008.715 | 2674900.5687 | 1226014.5977
2 | 2674883.9931 | 1225922.806 | 2674893.3211 | 1225936.9661 | 2674923.9874 | 1225963.8699 | 2674920.2449 | 1225968.4925 | 2674915.1749 | 1225976.2005
3 | 2674915.1749 | 1225976.2005 | 2674922.6465 | 1225981.2534 | 2674939.5975 | 1225995.0426 | 2674942.5324 | 1225999.7605
4 | 2674883.9931 | 1225922.806 | 2674884.7339 | 1225909.7289 | 2674886.2646 | 1225892.8141
5 | 2674883.9931 | 1225922.806 | 2674871.456 | 1225922.6927 | 2674850.6142 | 1225914.4473 | 2674825.2519 | 1225904.422
6 | 2674886.953 | 1225885.2072 | 2674886.2646 | 1225892.8141
7 | 2674815.861 | 1225900.7099 | 2674825.2519 | 1225904.422
8 | 2674403.0486 | 1225856.5311 | 2674418.0252 | 1225856.8119
9 | 2674403.0486 | 1225856.5311 | 2674388.055 | 1225856.2501
10 | 2674429.0991 | 1225857.7575 | 2674424.4169 | 1225856.9317 | 2674418.0252 | 1225856.8119
11 | 2674388.055 | 1225856.2501 | 2674374.5242 | 1225855.9964 | 2674363.7733 | 1225856.3448
12 | 2674429.0991 | 1225857.7575 | 2674424.0915 | 1225892.6627
13 | 2674431.784 | 1225845.5385 | 2674429.0991 | 1225857.7575
14 | 2674346.0731 | 1225855.9453 | 2674351.4995 | 1225856.7426 | 2674363.7733 | 1225856.3448
15 | 2674420.9101 | 1225916.6923 | 2674423.1776 | 1225899.033 | 2674424.0915 | 1225892.6627
16 | 2674431.784 | 1225845.5385 | 2674438.3691 | 1225847.5666 | 2674447.6648 | 1225845.6149 | 2674471.6213 | 1225838.2653 | 2674481.4235 | 1225839.4554 | 2674486.2823 | 1225840.5792
17 | 2674420.9101 | 1225916.6923 | 2674419.5743 | 1225927.0955 | 2674419.845 | 1225929.1696
18 | 2674494.8834 | 1225828.2497 | 2674495.7623 | 1225835.5545 | 2674494.4108 | 1225840.5631 | 2674492.8073 | 1225842.0885 | 2674486.2823 | 1225840.5792
19 | 2674419.845 | 1225929.1696 | 2674421.9684 | 1225945.4413
20 | 2674494.8834 | 1225828.2497 | 2674505.2953 | 1225831.0041 | 2674515.74 | 1225830.5345 | 2674532.077 | 1225829.3049
21 | 2674504.1227 | 1226018.4359 | 2674498.0428 | 1225994.2438 | 2674497.704 | 1225990.9236
22 | 2674512.6011 | 1226024.8352 | 2674504.1227 | 1226018.4359
23 | 2674497.704 | 1225990.9236 | 2674496.5169 | 1225979.2925 | 2674496.3817 | 1225976.6509
24 | 2674512.6011 | 1226024.8352 | 2674522.4712 | 1226025.2851
25 | 2674496.3817 | 1225976.6509 | 2674495.6987 | 1225963.2969
26 | 2674577.6712 | 1226044.3186 | 2674569.1076 | 1226045.3342 | 2674522.6926 | 1226025.2952 | 2674522.4712 | 1226025.2851
27 | 2674495.6987 | 1225963.2969 | 2674495.44 | 1225958.2399
28 | 2674577.6712 | 1226044.3186 | 2674574.6397 | 1226022.6324
29 | 2674495.0177 | 1225949.9832 | 2674495.44 | 1225958.2399
30 | 2674574.6397 | 1226022.6324 | 2674572.5723 | 1226007.8436
31 | 2674663.6695 | 1225986.6028 | 2674664.9896 | 1225989.7788
32 | 2674681.7001 | 1226068.4167 | 2674665.5974 | 1225991.2412 | 2674664.9896 | 1225989.7788
33 | 2674652.5882 | 1225949.6282 | 2674654.1793 | 1225956.3415 | 2674652.0465 | 1225965.0094 | 2674652.5925 | 1225972.8437 | 2674663.6695 | 1225986.6028
34 | 2674701.6577 | 1226076.4169 | 2674702.8298 | 1226081.4794 | 2674705.7381 | 1226094.3578 | 2674697.5565 | 1226095.1445 | 2674690.9943 | 1226094.3394 | 2674685.7409 | 1226088.9143 | 2674685.2098 | 1226078.0782 | 2674681.7001 | 1226068.4167
35 | 2674701.6577 | 1226076.4169 | 2674685.4958 | 1226003.1075
36 | 2674680.6702 | 1225908.3197 | 2674677.5723 | 1225908.1141
37 | 2674677.5723 | 1225908.1141 | 2674657.6266 | 1225906.8423
38 | 2674680.6702 | 1225908.3197 | 2674680.3134 | 1225910.9343
39 | 2674680.6702 | 1225908.3197 | 2674687.9928 | 1225882.9948 | 2674690.0558 | 1225877.6371
40 | 2674652.3864 | 1225906.5082 | 2674657.6266 | 1225906.8423
41 | 2674682.0179 | 1225986.4543 | 2674682.5369 | 1225989.686 | 2674685.4958 | 1226003.1075
42 | 2674680.3134 | 1225910.9343 | 2674678.6351 | 1225923.2303
43 | 2674698.9637 | 1225854.5025 | 2674690.0558 | 1225877.6371
44 | 2674680.8226 | 1225979.0114 | 2674682.0179 | 1225986.4543
45 | 2674572.5723 | 1226007.8436 | 2674569.9423 | 1225989.0295 | 2674569.703 | 1225986.4828
46 | 2674569.4859 | 1225984.1713 | 2674569.703 | 1225986.4828
47 | 2674569.4859 | 1225984.1713 | 2674568.4633 | 1225973.2869
48 | 2674568.4633 | 1225973.2869 | 2674567.3874 | 1225961.835
49 | 2674567.3874 | 1225961.835 | 2674567.3874 | 1225961.835 | 2674567.8356 | 1225948.9466
50 | 2674567.853 | 1225948.4461 | 2674567.8356 | 1225948.9466
51 | 2674567.853 | 1225948.4461 | 2674568.2527 | 1225936.9516 | 2674571.9655 | 1225919.2946
52 | 2674571.9655 | 1225919.2946 | 2674572.2607 | 1225917.8909
53 | 2674572.2607 | 1225917.8909 | 2674575.0242 | 1225904.7484 | 2674580.6743 | 1225887.1872
54 | 2674580.8985 | 1225886.4906 | 2674580.6743 | 1225887.1872
55 | 2674596.0108 | 1225838.612 | 2674586.5252 | 1225869.0021 | 2674580.8985 | 1225886.4906
56 | 2674495.0177 | 1225949.9832 | 2674494.3444 | 1225936.8212
57 | 2674494.3444 | 1225936.8212 | 2674493.8496 | 1225927.1468 | 2674494.5845 | 1225919.3444
58 | 2674504.6799 | 1225897.6043 | 2674503.9144 | 1225898.8874 | 2674495.1436 | 1225913.4094 | 2674494.5845 | 1225919.3444
59 | 2674504.6799 | 1225897.6043 | 2674508.1153 | 1225891.8458
60 | 2674519.4111 | 1225872.9113 | 2674508.1153 | 1225891.8458
61 | 2674519.4111 | 1225872.9113 | 2674519.8653 | 1225872.15
62 | 2674532.077 | 1225829.3049 | 2674534.3959 | 1225836.0273 | 2674536.4844 | 1225843.5918 | 2674531.042 | 1225847.7709 | 2674526.1611 | 1225861.5967 | 2674519.8653 | 1225872.15
63 | 2674532.077 | 1225829.3049 | 2674540.6929 | 1225804.587
64 | 2674596.0108 | 1225838.612 | 2674601.601 | 1225841.3838
65 | 2674596.0108 | 1225838.612 | 2674606.3799 | 1225804.7894
66 | 2674601.601 | 1225841.3838 | 2674604.1992 | 1225834.901 | 2674610.06 | 1225834.2296 | 2674624.1025 | 1225834.0863
67 | 2674677.6597 | 1225948.3637 | 2674677.4865 | 1225945.1376 | 2674677.9402 | 1225928.321 | 2674678.6351 | 1225923.2303
68 | 2674698.9637 | 1225854.5025 | 2674699.3931 | 1225852.9068
69 | 2674698.9637 | 1225854.5025 | 2674718.0344 | 1225862.0408
70 | 2674649.0005 | 1225835.2389 | 2674631.0768 | 1225834.0151 | 2674624.1025 | 1225834.0863
71 | 2674699.3931 | 1225852.9068 | 2674682.7494 | 1225849.5846 | 2674675.8659 | 1225847.786 | 2674670.2646 | 1225844.6914 | 2674667.4419 | 1225840.6756 | 2674663.3965 | 1225836.2219 | 2674649.0005 | 1225835.2389
72 | 2674714.8725 | 1225814.9314 | 2674701.7933 | 1225845.8989 | 2674699.3931 | 1225852.9068
73 | 2674740.4882 | 1225870.9164 | 2674718.0344 | 1225862.0408
74 | 2674714.8725 | 1225814.9314 | 2674690.4854 | 1225805.1507
75 | 2674740.4882 | 1225870.9164 | 2674742.8571 | 1225871.8528
76 | 2674690.4854 | 1225805.1507 | 2674682.6191 | 1225801.9959 | 2674680.6182 | 1225799.5469 | 2674679.9635 | 1225797.3484
77 | 2674769.8916 | 1225882.539 | 2674742.8571 | 1225871.8528
78 | 2674677.6597 | 1225948.3637 | 2674678.5433 | 1225964.8194 | 2674680.8226 | 1225979.0114
79 | 2674769.8916 | 1225882.539 | 2674773.2545 | 1225883.8683
80 | 2674779.5928 | 1225886.3737 | 2674773.2545 | 1225883.8683
81 | 2674779.5928 | 1225886.3737 | 2674799.8622 | 1225894.3859
82 | 2674803.065 | 1225895.6519 | 2674799.8622 | 1225894.3859
83 | 2674815.861 | 1225900.7099 | 2674803.065 | 1225895.6519
84 | 2674886.953 | 1225885.2072 | 2674889.802 | 1225852.9364

## bus_geodata
| x | y | coords
0 | 2674883.9051 | 1226017.1119
1 | 2674900.5687 | 1226014.5977
2 | 2674915.1749 | 1225976.2005
3 | 2674883.9931 | 1225922.806
4 | 2674942.5324 | 1225999.7605
5 | 2674886.2646 | 1225892.8141
6 | 2674825.2519 | 1225904.422
7 | 2674403.0486 | 1225856.5311
8 | 2674418.0252 | 1225856.8119
9 | 2674388.055 | 1225856.2501
10 | 2674429.0991 | 1225857.7575
11 | 2674363.7733 | 1225856.3448
12 | 2674424.0915 | 1225892.6627
13 | 2674431.784 | 1225845.5385
14 | 2674346.0731 | 1225855.9453
15 | 2674420.9101 | 1225916.6923
16 | 2674486.2823 | 1225840.5792
17 | 2674419.845 | 1225929.1696
18 | 2674494.8834 | 1225828.2497
19 | 2674421.9684 | 1225945.4413
20 | 2674504.1227 | 1226018.4359
21 | 2674497.704 | 1225990.9236
22 | 2674512.6011 | 1226024.8352
23 | 2674496.3817 | 1225976.6509
24 | 2674522.4712 | 1226025.2851
25 | 2674495.6987 | 1225963.2969
26 | 2674577.6712 | 1226044.3186
27 | 2674495.44 | 1225958.2399
28 | 2674574.6397 | 1226022.6324
29 | 2674664.9896 | 1225989.7788
30 | 2674663.6695 | 1225986.6028
31 | 2674681.7001 | 1226068.4167
32 | 2674652.5882 | 1225949.6282
33 | 2674701.6577 | 1226076.4169
34 | 2674677.5723 | 1225908.1141
35 | 2674680.6702 | 1225908.3197
36 | 2674657.6266 | 1225906.8423
37 | 2674685.4958 | 1226003.1075
38 | 2674680.3134 | 1225910.9343
39 | 2674690.0558 | 1225877.6371
40 | 2674652.3864 | 1225906.5082
41 | 2674682.0179 | 1225986.4543
42 | 2674572.5723 | 1226007.8436
43 | 2674569.703 | 1225986.4828
44 | 2674569.4859 | 1225984.1713
45 | 2674568.4633 | 1225973.2869
46 | 2674567.3874 | 1225961.835
47 | 2674567.8356 | 1225948.9466
48 | 2674567.853 | 1225948.4461
49 | 2674571.9655 | 1225919.2946
50 | 2674572.2607 | 1225917.8909
51 | 2674580.6743 | 1225887.1872
52 | 2674580.8985 | 1225886.4906
53 | 2674495.0177 | 1225949.9832
54 | 2674494.3444 | 1225936.8212
55 | 2674494.5845 | 1225919.3444
56 | 2674504.6799 | 1225897.6043
57 | 2674508.1153 | 1225891.8458
58 | 2674519.4111 | 1225872.9113
59 | 2674519.8653 | 1225872.15
60 | 2674532.077 | 1225829.3049
61 | 2674596.0108 | 1225838.612
62 | 2674601.601 | 1225841.3838
63 | 2674606.3799 | 1225804.7894
64 | 2674678.6351 | 1225923.2303
65 | 2674698.9637 | 1225854.5025
66 | 2674624.1025 | 1225834.0863
67 | 2674540.6929 | 1225804.587
68 | 2674649.0005 | 1225835.2389
69 | 2674699.3931 | 1225852.9068
70 | 2674718.0344 | 1225862.0408
71 | 2674714.8725 | 1225814.9314
72 | 2674740.4882 | 1225870.9164
73 | 2674690.4854 | 1225805.1507
74 | 2674742.8571 | 1225871.8528
75 | 2674677.6597 | 1225948.3637
76 | 2674769.8916 | 1225882.539
77 | 2674773.2545 | 1225883.8683
78 | 2674779.5928 | 1225886.3737
79 | 2674680.8226 | 1225979.0114
80 | 2674799.8622 | 1225894.3859
81 | 2674803.065 | 1225895.6519
82 | 2674815.861 | 1225900.7099
83 | 2674886.953 | 1225885.2072
84 | 2674889.802 | 1225852.9364
85 | 2674679.9635 | 1225797.3484
86 | 2674677.5723 | 1225908.1141

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97574 | -0.46818 | 0.016315 | 0.0040889
1 | 0.97599 | -0.46313 | 0.0090858 | 0.0022771
2 | 0.97701 | -0.44307 | 0 | 0
3 | 0.97878 | -0.40833 | 0 | 0
4 | 0.97699 | -0.44357 | 0.00073773 | 0.00018489
5 | 0.97851 | -0.41362 | 0.004893 | 0.0012263
6 | 0.98085 | -0.36787 | 0.0036354 | 0.00091112
7 | 0.97143 | -0.55212 | 0.00029542 | 7.4039e-05
8 | 0.97152 | -0.55036 | 0.0004064 | 0.00010185
9 | 0.97134 | -0.5538 | 0.0013929 | 0.00034909
10 | 0.97159 | -0.54896 | 0 | 0
11 | 0.97124 | -0.5559 | 0.0017744 | 0.0004447
12 | 0.97134 | -0.55378 | 0.00043761 | 0.00010967
13 | 0.97175 | -0.54569 | 0 | 0
14 | 0.97119 | -0.55685 | 0.0029053 | 0.00072814
15 | 0.97119 | -0.5569 | 0.0038007 | 0.00095255
16 | 0.9725 | -0.53096 | 0.00031843 | 7.9806e-05
17 | 0.97115 | -0.55764 | 0.0018622 | 0.00046671
18 | 0.97279 | -0.52522 | 0 | 0
19 | 0.97113 | -0.55803 | 0.0013019 | 0.00032628
20 | 0.97761 | -0.43031 | 0.0014883 | 0.00037301
21 | 0.97688 | -0.44462 | 0.0042337 | 0.0010611
22 | 0.97789 | -0.42487 | 0 | 0
23 | 0.97653 | -0.4516 | 0.0038951 | 0.00097619
24 | 0.97815 | -0.41981 | 0.0014848 | 0.00037213
25 | 0.97621 | -0.45788 | 0.0042244 | 0.0010587
26 | 0.97973 | -0.38905 | 0 | 0
27 | 0.97609 | -0.46017 | 0.010159 | 0.002546
28 | 0.98031 | -0.37774 | 0.002242 | 0.00056191
29 | 0.99068 | -0.17883 | 0.0058381 | 0.0014632
30 | 0.99066 | -0.17929 | 0 | 0
31 | 0.99166 | -0.15987 | 0 | 0
32 | 0.99038 | -0.18475 | 0.0074479 | 0.0018666
33 | 0.99241 | -0.1453 | 0 | 0
34 | 0.99748 | -0.047605 | 0 | 0
35 | 0.99717 | -0.053451 | 0 | 0
36 | 0.99947 | -0.0099527 | 0.0037425 | 0.00093796
37 | 0.99332 | -0.12765 | 0.015677 | 0.0039291
38 | 0.99703 | -0.056317 | 0.0057873 | 0.0014504
39 | 0.99443 | -0.10551 | 0.0069518 | 0.0017423
40 | 1 | 0 | -0.44325 | -0.11333
41 | 0.99377 | -0.11895 | 0.0093225 | 0.0023364
42 | 0.98071 | -0.36988 | 0.0028239 | 0.00070773
43 | 0.98131 | -0.35827 | 0.0040953 | 0.0010264
44 | 0.98137 | -0.35698 | 0.0055699 | 0.0013959
45 | 0.9817 | -0.35062 | 0.0039273 | 0.00098428
46 | 0.98205 | -0.34372 | 0.0042686 | 0.0010698
47 | 0.98246 | -0.33576 | 0.0039039 | 0.0009784
48 | 0.98248 | -0.33544 | 0.0044389 | 0.0011125
49 | 0.98348 | -0.3161 | 0.010145 | 0.0025425
50 | 0.98353 | -0.31509 | 0.0062541 | 0.0015674
51 | 0.98472 | -0.29192 | 0.0041141 | 0.0010311
52 | 0.98475 | -0.29138 | 0.0087561 | 0.0021945
53 | 0.97592 | -0.46351 | 0.0041033 | 0.0010284
54 | 0.97566 | -0.46859 | 0.0037644 | 0.00094345
55 | 0.97534 | -0.47505 | 0.0075126 | 0.0018828
56 | 0.97492 | -0.48322 | 0.0073154 | 0.0018334
57 | 0.97482 | -0.48524 | 0.00027779 | 6.9622e-05
58 | 0.97448 | -0.49185 | 0.0085414 | 0.0021407
59 | 0.97447 | -0.49208 | 0.0052424 | 0.0013139
60 | 0.9733 | -0.51521 | 0 | 0
61 | 0.98679 | -0.2521 | 0 | 0
62 | 0.98708 | -0.24643 | 0 | 0
63 | 0.98584 | -0.27057 | 0.029137 | 0.0073025
64 | 0.99639 | -0.068547 | 0.0082139 | 0.0020586
65 | 0.99236 | -0.14515 | 0 | 0
66 | 0.98835 | -0.22195 | 0.0046407 | 0.0011631
67 | 0.97239 | -0.5331 | 0.037102 | 0.0092986
68 | 0.98955 | -0.19881 | 0.0015008 | 0.00037614
69 | 0.99227 | -0.14684 | 0 | 0
70 | 0.98986 | -0.19306 | 0.0079689 | 0.0019972
71 | 0.99149 | -0.16189 | 0.0054764 | 0.0013725
72 | 0.9871 | -0.24633 | 0.0095721 | 0.002399
73 | 0.99113 | -0.16898 | 0.011319 | 0.0028367
74 | 0.98683 | -0.25153 | 0.010475 | 0.0026254
75 | 0.99529 | -0.08978 | 0.0036622 | 0.00091784
76 | 0.98405 | -0.3056 | 0.01607 | 0.0040275
77 | 0.98375 | -0.3113 | 0.0094766 | 0.0023751
78 | 0.98326 | -0.32089 | 0.015018 | 0.0037638
79 | 0.99404 | -0.11386 | 0.0059985 | 0.0015034
80 | 0.98199 | -0.34571 | 0.0049532 | 0.0012414
81 | 0.9818 | -0.34933 | 0.012613 | 0.003161
82 | 0.98122 | -0.36065 | 0.0060552 | 0.0015176
83 | 0.97848 | -0.41428 | 0 | 0
84 | 0.97834 | -0.4171 | 0.0047745 | 0.0011966
85 | 0.99108 | -0.16995 | 0.0039138 | 0.00098088
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.016315 | -0.0040889 | 0.016319 | 0.0040912 | 3.9217e-06 | 2.2989e-06 | 0.02488 | 0.02488 | 0.02488 | 0.97574 | -0.46818 | 0.97599 | -0.46313 | 6.8353
1 | -0.025405 | -0.0063683 | 0.025429 | 0.0063833 | 2.4306e-05 | 1.5016e-05 | 0.038733 | 0.038733 | 0.038733 | 0.97599 | -0.46313 | 0.97701 | -0.44307 | 10.6409
2 | -0.026167 | -0.0065678 | 0.02621 | 0.0065947 | 4.344e-05 | 2.6887e-05 | 0.039856 | 0.039856 | 0.039856 | 0.97701 | -0.44307 | 0.97878 | -0.40833 | 10.9495
3 | 0.00073775 | 0.00018445 | -0.00073773 | -0.00018489 | 1.7244e-08 | -4.4513e-07 | 0.0011235 | 0.0011236 | 0.0011236 | 0.97701 | -0.44307 | 0.97699 | -0.44357 | 0.30869
4 | 0.0096707 | 0.0024241 | -0.0096683 | -0.0024229 | 2.4384e-06 | 1.1826e-06 | 0.014702 | 0.014702 | 0.014702 | 0.97878 | -0.40833 | 0.97851 | -0.41362 | 4.0391
5 | -0.035881 | -0.0090187 | 0.03595 | 0.0090624 | 6.9454e-05 | 4.3667e-05 | 0.054558 | 0.054558 | 0.054558 | 0.97878 | -0.40833 | 0.98085 | -0.36787 | 14.9884
6 | 0.0047753 | 0.0011966 | -0.0047751 | -0.0011966 | 1.5104e-07 | 7.2237e-10 | 0.0072617 | 0.0072617 | 0.0072617 | 0.97851 | -0.41362 | 0.97848 | -0.41428 | 1.995
7 | -0.039586 | -0.0099735 | 0.039599 | 0.0099821 | 1.3665e-05 | 8.6183e-06 | 0.060073 | 0.060073 | 0.060073 | 0.98085 | -0.36787 | 0.98122 | -0.36065 | 16.5035
8 | -0.0063691 | -0.001596 | 0.0063696 | 0.0015961 | 5.3463e-07 | 1.567e-07 | 0.0097559 | 0.0097559 | 0.0097559 | 0.97143 | -0.55212 | 0.97152 | -0.55036 | 2.6802
9 | 0.0060736 | 0.0015219 | -0.0060732 | -0.0015218 | 4.8674e-07 | 1.2587e-07 | 0.0093034 | 0.0093035 | 0.0093035 | 0.97143 | -0.55212 | 0.97134 | -0.5538 | 2.5559
10 | -0.006776 | -0.001698 | 0.0067765 | 0.0016981 | 4.5025e-07 | 1.5012e-07 | 0.010378 | 0.010378 | 0.010378 | 0.97152 | -0.55036 | 0.97159 | -0.54896 | 2.8512
11 | 0.0046803 | 0.0011727 | -0.0046798 | -0.0011727 | 4.6823e-07 | -9.6145e-10 | 0.0071697 | 0.0071698 | 0.0071698 | 0.97134 | -0.5538 | 0.97124 | -0.5559 | 1.9697
12 | 0.0074053 | 0.001856 | -0.0074036 | -0.0018553 | 1.7009e-06 | 6.52e-07 | 0.011341 | 0.011342 | 0.011342 | 0.97159 | -0.54896 | 0.97134 | -0.55378 | 3.1158
13 | -0.014182 | -0.0035541 | 0.014184 | 0.0035553 | 2.2132e-06 | 1.2615e-06 | 0.02172 | 0.02172 | 0.02172 | 0.97159 | -0.54896 | 0.97175 | -0.54569 | 5.9669
14 | 0.0029054 | 0.00072801 | -0.0029053 | -0.00072814 | 1.32e-07 | -1.3536e-07 | 0.0044513 | 0.0044514 | 0.0044514 | 0.97124 | -0.5559 | 0.97119 | -0.55685 | 1.2229
15 | 0.006966 | 0.0017456 | -0.0069649 | -0.0017453 | 1.0351e-06 | 3.6248e-07 | 0.010671 | 0.010671 | 0.010671 | 0.97134 | -0.55378 | 0.97119 | -0.5569 | 2.9317
16 | -0.014184 | -0.0035553 | 0.014194 | 0.003561 | 9.9611e-06 | 5.677e-06 | 0.02172 | 0.021719 | 0.02172 | 0.97175 | -0.54569 | 0.9725 | -0.53096 | 5.9669
17 | 0.0031642 | 0.00079272 | -0.0031641 | -0.0007928 | 1.1088e-07 | -8.4702e-08 | 0.004848 | 0.004848 | 0.004848 | 0.97119 | -0.5569 | 0.97115 | -0.55764 | 1.3319
18 | -0.014512 | -0.0036408 | 0.014516 | 0.0036431 | 3.9677e-06 | 2.273e-06 | 0.022207 | 0.022207 | 0.022207 | 0.9725 | -0.53096 | 0.97279 | -0.52522 | 6.1007
19 | 0.0013019 | 0.00032609 | -0.0013019 | -0.00032628 | 2.4486e-08 | -1.8737e-07 | 0.0019947 | 0.0019948 | 0.0019948 | 0.97115 | -0.55764 | 0.97113 | -0.55803 | 0.54802
20 | -0.014516 | -0.0036431 | 0.014523 | 0.0036471 | 6.9346e-06 | 3.9723e-06 | 0.022207 | 0.022206 | 0.022207 | 0.97279 | -0.52522 | 0.9733 | -0.51521 | 6.1007
21 | 0.11125 | 0.02802 | -0.11118 | -0.027972 | 7.6073e-05 | 4.7269e-05 | 0.16938 | 0.16939 | 0.16939 | 0.97761 | -0.43031 | 0.97688 | -0.44462 | 11.6336
22 | -0.11274 | -0.028393 | 0.11277 | 0.028411 | 2.9341e-05 | 1.8245e-05 | 0.17165 | 0.17165 | 0.17165 | 0.97761 | -0.43031 | 0.97789 | -0.42487 | 11.7891
23 | 0.10694 | 0.026911 | -0.10691 | -0.026889 | 3.5682e-05 | 2.2119e-05 | 0.16294 | 0.16294 | 0.16294 | 0.97688 | -0.44462 | 0.97653 | -0.4516 | 11.1907
24 | -0.11277 | -0.028411 | 0.1128 | 0.028428 | 2.7292e-05 | 1.6971e-05 | 0.17165 | 0.17165 | 0.17165 | 0.97789 | -0.42487 | 0.97815 | -0.41981 | 11.7891
25 | 0.10301 | 0.025913 | -0.10298 | -0.025894 | 3.09e-05 | 1.9107e-05 | 0.157 | 0.157 | 0.157 | 0.97653 | -0.4516 | 0.97621 | -0.45788 | 10.7831
26 | -0.11428 | -0.0288 | 0.11445 | 0.028905 | 0.00016842 | 0.0001048 | 0.17391 | 0.17391 | 0.17391 | 0.97815 | -0.41981 | 0.97973 | -0.38905 | 11.9442
27 | 0.098756 | 0.024835 | -0.098745 | -0.024828 | 1.0761e-05 | 6.634e-06 | 0.15056 | 0.15056 | 0.15056 | 0.97621 | -0.45788 | 0.97609 | -0.46017 | 10.3408
28 | -0.11445 | -0.028905 | 0.11451 | 0.028943 | 6.2086e-05 | 3.8631e-05 | 0.17391 | 0.17391 | 0.17391 | 0.97973 | -0.38905 | 0.98031 | -0.37774 | 11.9442
29 | 0.088587 | 0.022283 | -0.088573 | -0.022274 | 1.4142e-05 | 8.6374e-06 | 0.13508 | 0.13508 | 0.13508 | 0.97609 | -0.46017 | 0.97592 | -0.46351 | 9.2772
30 | -0.11675 | -0.029505 | 0.1168 | 0.029533 | 4.4012e-05 | 2.7414e-05 | 0.17731 | 0.17731 | 0.17731 | 0.98031 | -0.37774 | 0.98071 | -0.36988 | 12.1779
31 | 0.00745 | 0.0018674 | -0.0074498 | -0.0018673 | 1.615e-07 | 5.9077e-08 | 0.01119 | 0.01119 | 0.01119 | 0.99068 | -0.17883 | 0.99066 | -0.17929 | 3.0742
32 | -0.013288 | -0.0033306 | 0.0133 | 0.0033372 | 1.2014e-05 | 6.6522e-06 | 0.019959 | 0.019959 | 0.019959 | 0.99068 | -0.17883 | 0.99166 | -0.15987 | 5.4832
33 | 0.0074498 | 0.0018673 | -0.0074479 | -0.0018666 | 1.9405e-06 | 7.1001e-07 | 0.01119 | 0.01119 | 0.01119 | 0.99066 | -0.17929 | 0.99038 | -0.18475 | 3.0743
34 | -0.0133 | -0.0033372 | 0.013309 | 0.0033423 | 9.248e-06 | 5.1194e-06 | 0.019959 | 0.019958 | 0.019959 | 0.99166 | -0.15987 | 0.99241 | -0.1453 | 5.4831
35 | -0.013309 | -0.0033423 | 0.013321 | 0.0033485 | 1.1213e-05 | 6.2057e-06 | 0.019958 | 0.019958 | 0.019958 | 0.99241 | -0.1453 | 0.99332 | -0.12765 | 5.4831
36 | 0.43684 | 0.11175 | -0.43672 | -0.11167 | 0.00012356 | 7.892e-05 | 0.65247 | 0.65247 | 0.65247 | 0.99748 | -0.047605 | 0.99717 | -0.053451 | 44.8126
37 | -0.43684 | -0.11175 | 0.43764 | 0.11225 | 0.00079767 | 0.00050947 | 0.65247 | 0.65247 | 0.65247 | 0.99748 | -0.047605 | 0.99947 | -0.0099527 | 44.8126
38 | 0.062145 | 0.015647 | -0.062136 | -0.015642 | 8.5146e-06 | 5.4149e-06 | 0.09276 | 0.09276 | 0.09276 | 0.99717 | -0.053451 | 0.99703 | -0.056317 | 25.4835
39 | 0.37457 | 0.096019 | -0.37363 | -0.095417 | 0.00094287 | 0.00060177 | 0.55971 | 0.55971 | 0.55971 | 0.99717 | -0.053451 | 0.99443 | -0.10551 | 38.4418
40 | -0.44138 | -0.11319 | 0.4416 | 0.11333 | 0.00021316 | 0.00013615 | 0.65804 | 0.65804 | 0.65804 | 0.99947 | -0.0099527 | 1 | 0 | 45.1953
41 | -0.028998 | -0.0072776 | 0.02901 | 0.0072851 | 1.2043e-05 | 7.4873e-06 | 0.043443 | 0.043443 | 0.043443 | 0.99332 | -0.12765 | 0.99377 | -0.11895 | 11.9348
42 | 0.056349 | 0.014191 | -0.056316 | -0.01417 | 3.2933e-05 | 2.0915e-05 | 0.084122 | 0.084123 | 0.084123 | 0.99703 | -0.056317 | 0.99639 | -0.068547 | 23.1106
43 | 0.36668 | 0.093675 | -0.36598 | -0.093228 | 0.00070128 | 0.00044754 | 0.54931 | 0.54931 | 0.54931 | 0.99443 | -0.10551 | 0.99236 | -0.14515 | 37.7274
44 | -0.038332 | -0.0096215 | 0.038342 | 0.0096274 | 9.3144e-06 | 5.8635e-06 | 0.057401 | 0.057401 | 0.057401 | 0.99377 | -0.11895 | 0.99404 | -0.11386 | 15.7696
45 | -0.11962 | -0.03024 | 0.11969 | 0.030282 | 6.6638e-05 | 4.156e-05 | 0.18159 | 0.18159 | 0.18159 | 0.98071 | -0.36988 | 0.98131 | -0.35827 | 12.4721
46 | -0.12378 | -0.031308 | 0.12379 | 0.031313 | 7.6769e-06 | 4.7959e-06 | 0.1878 | 0.1878 | 0.1878 | 0.98131 | -0.35827 | 0.98137 | -0.35698 | 12.8986
47 | -0.12936 | -0.032709 | 0.1294 | 0.032734 | 3.9473e-05 | 2.471e-05 | 0.19625 | 0.19625 | 0.19625 | 0.98137 | -0.35698 | 0.9817 | -0.35062 | 13.4787
48 | -0.13333 | -0.033718 | 0.13337 | 0.033746 | 4.4088e-05 | 2.7635e-05 | 0.2022 | 0.2022 | 0.2022 | 0.9817 | -0.35062 | 0.98205 | -0.34372 | 13.8875
49 | -0.13764 | -0.034816 | 0.13769 | 0.034849 | 5.2644e-05 | 3.3039e-05 | 0.20867 | 0.20867 | 0.20867 | 0.98205 | -0.34372 | 0.98246 | -0.33576 | 14.3317
50 | -0.1416 | -0.035827 | 0.1416 | 0.035828 | 2.1615e-06 | 1.358e-06 | 0.21458 | 0.21458 | 0.21458 | 0.98246 | -0.33576 | 0.98248 | -0.33544 | 14.7378
51 | -0.14604 | -0.036941 | 0.14617 | 0.037026 | 0.00013565 | 8.532e-05 | 0.2213 | 0.2213 | 0.2213 | 0.98248 | -0.33544 | 0.98348 | -0.3161 | 15.1995
52 | -0.15632 | -0.039569 | 0.15633 | 0.039573 | 7.5313e-06 | 4.7472e-06 | 0.23665 | 0.23665 | 0.23665 | 0.98348 | -0.3161 | 0.98353 | -0.31509 | 16.2537
53 | -0.16258 | -0.041141 | 0.16276 | 0.041255 | 0.00018102 | 0.00011423 | 0.24612 | 0.24611 | 0.24612 | 0.98353 | -0.31509 | 0.98472 | -0.29192 | 16.9035
54 | -0.16688 | -0.042286 | 0.16688 | 0.042289 | 4.3682e-06 | 2.7584e-06 | 0.25233 | 0.25233 | 0.25233 | 0.98472 | -0.29192 | 0.98475 | -0.29138 | 17.3305
55 | -0.17564 | -0.044483 | 0.17597 | 0.044693 | 0.00033195 | 0.00020989 | 0.26556 | 0.26556 | 0.26556 | 0.98475 | -0.29138 | 0.98679 | -0.2521 | 18.2392
56 | 0.084469 | 0.021245 | -0.084449 | -0.021233 | 2.0503e-05 | 1.2464e-05 | 0.12882 | 0.12882 | 0.12882 | 0.97592 | -0.46351 | 0.97566 | -0.46859 | 8.8475
57 | 0.080684 | 0.02029 | -0.080659 | -0.020275 | 2.4887e-05 | 1.5052e-05 | 0.12308 | 0.12308 | 0.12308 | 0.97566 | -0.46859 | 0.97534 | -0.47505 | 8.4532
58 | 0.073147 | 0.018392 | -0.073118 | -0.018375 | 2.8523e-05 | 1.7036e-05 | 0.11162 | 0.11162 | 0.11162 | 0.97534 | -0.47505 | 0.97492 | -0.48322 | 7.6661
59 | 0.065803 | 0.016541 | -0.065797 | -0.016538 | 6.3434e-06 | 3.7253e-06 | 0.10045 | 0.10045 | 0.10045 | 0.97492 | -0.48322 | 0.97482 | -0.48524 | 6.8992
60 | 0.065519 | 0.016468 | -0.065498 | -0.016456 | 2.0682e-05 | 1.2137e-05 | 0.10003 | 0.10003 | 0.10003 | 0.97482 | -0.48524 | 0.97448 | -0.49185 | 6.8701
61 | 0.056957 | 0.014315 | -0.056956 | -0.014315 | 6.2884e-07 | 3.5828e-07 | 0.086986 | 0.086986 | 0.086986 | 0.97448 | -0.49185 | 0.97447 | -0.49208 | 5.9743
62 | 0.051714 | 0.013001 | -0.051657 | -0.012966 | 5.7044e-05 | 3.5295e-05 | 0.078981 | 0.078982 | 0.078982 | 0.97447 | -0.49208 | 0.9733 | -0.51521 | 10.8491
63 | 0.037133 | 0.0093185 | -0.037102 | -0.0092986 | 3.1642e-05 | 1.9926e-05 | 0.056775 | 0.056775 | 0.056775 | 0.9733 | -0.51521 | 0.97239 | -0.5331 | 15.5977
64 | -0.20513 | -0.052012 | 0.20519 | 0.052047 | 5.5917e-05 | 3.5469e-05 | 0.30954 | 0.30954 | 0.30954 | 0.98679 | -0.2521 | 0.98708 | -0.24643 | 21.2597
65 | 0.029163 | 0.0073185 | -0.029137 | -0.0073025 | 2.566e-05 | 1.5971e-05 | 0.04398 | 0.04398 | 0.04398 | 0.98679 | -0.2521 | 0.98584 | -0.27057 | 12.0824
66 | -0.20519 | -0.052047 | 0.20543 | 0.052201 | 0.00024187 | 0.00015342 | 0.30954 | 0.30954 | 0.30954 | 0.98708 | -0.24643 | 0.98835 | -0.22195 | 21.2597
67 | 0.048102 | 0.012112 | -0.048053 | -0.012081 | 4.8776e-05 | 3.0889e-05 | 0.071856 | 0.071856 | 0.071856 | 0.99639 | -0.068547 | 0.99529 | -0.08978 | 19.7407
68 | 0.23308 | 0.05944 | -0.23307 | -0.059428 | 1.8958e-05 | 1.2048e-05 | 0.34987 | 0.34987 | 0.34987 | 0.99236 | -0.14515 | 0.99227 | -0.14684 | 24.0295
69 | 0.13289 | 0.033787 | -0.13259 | -0.033592 | 0.00030588 | 0.0001955 | 0.19944 | 0.19944 | 0.19944 | 0.99236 | -0.14515 | 0.98986 | -0.19306 | 54.7916
70 | -0.21007 | -0.053364 | 0.2103 | 0.053512 | 0.00023426 | 0.00014864 | 0.31653 | 0.31653 | 0.31653 | 0.98835 | -0.22195 | 0.98955 | -0.19881 | 21.7395
71 | -0.2118 | -0.053889 | 0.21234 | 0.054226 | 0.000532 | 0.0003376 | 0.31878 | 0.31878 | 0.31878 | 0.98955 | -0.19881 | 0.99227 | -0.14684 | 21.8945
72 | 0.020729 | 0.005202 | -0.020714 | -0.005193 | 1.4864e-05 | 8.9839e-06 | 0.031088 | 0.031088 | 0.031088 | 0.99227 | -0.14684 | 0.99149 | -0.16189 | 8.5407
73 | 0.12462 | 0.031595 | -0.1243 | -0.031391 | 0.00031818 | 0.00020333 | 0.18746 | 0.18746 | 0.18746 | 0.98986 | -0.19306 | 0.9871 | -0.24633 | 51.5006
74 | 0.015238 | 0.0038205 | -0.015233 | -0.0038175 | 5.1533e-06 | 2.9594e-06 | 0.022869 | 0.022869 | 0.022869 | 0.99149 | -0.16189 | 0.99113 | -0.16898 | 6.2828
75 | 0.11473 | 0.028992 | -0.1147 | -0.028974 | 2.8599e-05 | 1.8271e-05 | 0.17303 | 0.17303 | 0.17303 | 0.9871 | -0.24633 | 0.98683 | -0.25153 | 47.5365
76 | 0.0039139 | 0.00098082 | -0.0039138 | -0.00098088 | 1.8039e-07 | -6.4083e-08 | 0.0058761 | 0.0058762 | 0.0058762 | 0.99113 | -0.16898 | 0.99108 | -0.16995 | 1.6143
77 | 0.10422 | 0.026349 | -0.10395 | -0.026177 | 0.00026952 | 0.00017212 | 0.15724 | 0.15724 | 0.15724 | 0.98683 | -0.25153 | 0.98405 | -0.3056 | 43.1971
78 | 0.044391 | 0.011163 | -0.04434 | -0.011131 | 5.0982e-05 | 3.2228e-05 | 0.066381 | 0.066381 | 0.066381 | 0.99529 | -0.08978 | 0.99404 | -0.11386 | 18.2365
79 | 0.087884 | 0.022149 | -0.087861 | -0.022134 | 2.3964e-05 | 1.5291e-05 | 0.13294 | 0.13294 | 0.13294 | 0.98405 | -0.3056 | 0.98375 | -0.3113 | 36.5213
80 | 0.078384 | 0.019759 | -0.078348 | -0.019736 | 3.5952e-05 | 2.2923e-05 | 0.1186 | 0.1186 | 0.1186 | 0.98375 | -0.3113 | 0.98326 | -0.32089 | 32.5833
81 | 0.06333 | 0.015972 | -0.063255 | -0.015924 | 7.5131e-05 | 4.7808e-05 | 0.095876 | 0.095876 | 0.095876 | 0.98326 | -0.32089 | 0.98199 | -0.34571 | 26.3397
82 | 0.058302 | 0.014683 | -0.058292 | -0.014676 | 1.0086e-05 | 6.4112e-06 | 0.088371 | 0.088371 | 0.088371 | 0.98199 | -0.34571 | 0.9818 | -0.34933 | 24.2777
83 | 0.045679 | 0.011515 | -0.045655 | -0.0115 | 2.4748e-05 | 1.5665e-05 | 0.069255 | 0.069255 | 0.069255 | 0.9818 | -0.34933 | 0.98122 | -0.36065 | 19.0262
84 | 0.0047751 | 0.0011966 | -0.0047745 | -0.0011966 | 6.4064e-07 | 3.1477e-09 | 0.0072617 | 0.0072619 | 0.0072619 | 0.97848 | -0.41428 | 0.97834 | -0.4171 | 1.995

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45104 | 0.11528

## res_load
| p_mw | q_mvar
0 | 0.016315 | 0.0040889
1 | 0.0090858 | 0.0022771
2 | 0.00073773 | 0.00018489
3 | 0.004893 | 0.0012263
4 | 0.0036354 | 0.00091112
5 | 0.00029542 | 7.4039e-05
6 | 0.0004064 | 0.00010185
7 | 0.0013929 | 0.00034909
8 | 0.0017744 | 0.0004447
9 | 0.00043761 | 0.00010967
10 | 0.0029053 | 0.00072814
11 | 0.0038007 | 0.00095255
12 | 0.00031843 | 7.9806e-05
13 | 0.0018622 | 0.00046671
14 | 0.0013019 | 0.00032628
15 | 0.0014883 | 0.00037301
16 | 0.0042337 | 0.0010611
17 | 0.0038951 | 0.00097619
18 | 0.0014848 | 0.00037213
19 | 0.0042244 | 0.0010587
20 | 0.010159 | 0.002546
21 | 0.002242 | 0.00056191
22 | 0.0058381 | 0.0014632
23 | 0.0074479 | 0.0018666
24 | 0.0037425 | 0.00093796
25 | 0.015677 | 0.0039291
26 | 0.0057873 | 0.0014504
27 | 0.0069518 | 0.0017423
28 | 0.0077996 | 0.0019548
29 | 0.0093225 | 0.0023364
30 | 0.0028239 | 0.00070773
31 | 0.0040953 | 0.0010264
32 | 0.0055699 | 0.0013959
33 | 0.0039273 | 0.00098428
34 | 0.0042686 | 0.0010698
35 | 0.0039039 | 0.0009784
36 | 0.0044389 | 0.0011125
37 | 0.010145 | 0.0025425
38 | 0.0062541 | 0.0015674
39 | 0.0041141 | 0.0010311
40 | 0.0087561 | 0.0021945
41 | 0.0041033 | 0.0010284
42 | 0.0037644 | 0.00094345
43 | 0.0075126 | 0.0018828
44 | 0.0073154 | 0.0018334
45 | 0.00027779 | 6.9622e-05
46 | 0.0085414 | 0.0021407
47 | 0.0052424 | 0.0013139
48 | 0.029137 | 0.0073025
49 | 0.0082139 | 0.0020586
50 | 0.0046407 | 0.0011631
51 | 0.037102 | 0.0092986
52 | 0.0015008 | 0.00037614
53 | 0.0079689 | 0.0019972
54 | 0.0054764 | 0.0013725
55 | 0.0095721 | 0.002399
56 | 0.011319 | 0.0028367
57 | 0.010475 | 0.0026254
58 | 0.0036622 | 0.00091784
59 | 0.01607 | 0.0040275
60 | 0.0094766 | 0.0023751
61 | 0.015018 | 0.0037638
62 | 0.0059985 | 0.0015034
63 | 0.0049532 | 0.0012414
64 | 0.012613 | 0.003161
65 | 0.0060552 | 0.0015176
66 | 0.0047745 | 0.0011966
67 | 0.0039138 | 0.00098088

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1