## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1703-27_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1703-27_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1703-27_0_2_node_61 | 0.4 | n |  | TRUE
3 | bus_LV_1703-27_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1703-27_0_2_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_1703-27_0_2_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_1703-27_0_2_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1703-27_0_2_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_1703-27_0_2_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1703-27_0_2_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_1703-27_0_2_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_1703-27_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1703-27_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1703-27_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1703-27_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1703-27_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1703-27_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1703-27_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1703-27_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1703-27_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1703-27_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1703-27_0_2_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_1703-27_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1703-27_0_2_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_1703-27_0_2_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1703-27_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1703-27_0_2_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1703-27_0_2_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_1703-27_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1703-27_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1703-27_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1703-27_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1703-27_0_2_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1703-27_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1703-27_0_2_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1703-27_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1703-27_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1703-27_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1703-27_0_2_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1703-27_0_2_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1703-27_0_2_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_1703-27_0_2_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_1703-27_0_2_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_1703-27_0_2_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_1703-27_0_2_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_1703-27_0_2_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_1703-27_0_2_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_1703-27_0_2_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_1703-27_0_2_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1703-27_0_2_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1703-27_0_2_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_1703-27_0_2_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_1703-27_0_2_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_1703-27_0_2_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_1703-27_0_2_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_1703-27_0_2_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_1703-27_0_2_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_1703-27_0_2_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_1703-27_0_2_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_1703-27_0_2_node_45 | 0.4 | n |  | TRUE
60 | bus_MV_435_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1703-27_0_2_load_0 | 0 | 0.0035539 | 0.0008907 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1703-27_0_2_load_1 | 1 | 0.00080361 | 0.0002014 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1703-27_0_2_load_61 | 2 | 0.0015198 | 0.00038091 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1703-27_0_2_load_3 | 3 | 0.0012132 | 0.00030405 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1703-27_0_2_load_27 | 6 | 0.0023237 | 0.00058238 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1703-27_0_2_load_57 | 7 | 0.0036033 | 0.00090307 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1703-27_0_2_load_4 | 8 | 0.0030704 | 0.00076952 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1703-27_0_2_load_59 | 9 | 0.0017485 | 0.0004382 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1703-27_0_2_load_58 | 10 | 0.0023998 | 0.00060145 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1703-27_0_2_load_5 | 11 | 0.0017917 | 0.00044905 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1703-27_0_2_load_6 | 13 | 0.00055941 | 0.0001402 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1703-27_0_2_load_8 | 14 | 0.00057504 | 0.00014412 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1703-27_0_2_load_10 | 18 | 0.001263 | 0.00031653 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1703-27_0_2_load_13 | 20 | 0.00033913 | 8.4995e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1703-27_0_2_load_43 | 21 | 0.00025575 | 6.4097e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1703-27_0_2_load_47 | 23 | 0.00036546 | 9.1593e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1703-27_0_2_load_17 | 25 | 0.0025895 | 0.00064899 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1703-27_0_2_load_62 | 27 | 0.0005751 | 0.00014413 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1703-27_0_2_load_26 | 29 | 0.0045725 | 0.001146 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1703-27_0_2_load_21 | 30 | 0.0015085 | 0.00037806 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1703-27_0_2_load_19 | 33 | 0.00046348 | 0.00011616 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1703-27_0_2_load_20 | 34 | 0.00017492 | 4.3839e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1703-27_0_2_load_28 | 35 | 0.00016905 | 4.2369e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1703-27_0_2_load_30 | 36 | 0.00060557 | 0.00015177 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1703-27_0_2_load_31 | 38 | 0.00082965 | 0.00020793 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1703-27_0_2_load_48 | 40 | 0.00012219 | 3.0624e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1703-27_0_2_load_50 | 41 | 0.01031 | 0.002584 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1703-27_0_2_load_49 | 42 | 0.011055 | 0.0027706 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1703-27_0_2_load_60 | 43 | 0.0073668 | 0.0018463 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1703-27_0_2_load_51 | 44 | 0.0071223 | 0.001785 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1703-27_0_2_load_54 | 45 | 0.0098845 | 0.0024773 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1703-27_0_2_load_55 | 46 | 0.0022216 | 0.00055679 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1703-27_0_2_load_56 | 47 | 0.0069201 | 0.0017343 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1703-27_0_2_load_36 | 48 | 0.00026228 | 6.5734e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1703-27_0_2_load_37 | 49 | 0.00049912 | 0.00012509 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1703-27_0_2_load_40 | 50 | 0.0020141 | 0.00050479 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1703-27_0_2_load_32 | 51 | 0.0015823 | 0.00039657 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1703-27_0_2_load_33 | 52 | 0.0029018 | 0.00072727 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1703-27_0_2_load_34 | 53 | 0.0041293 | 0.0010349 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1703-27_0_2_load_35 | 54 | 0.0075856 | 0.0019011 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1703-27_0_2_load_38 | 55 | 0.0002714 | 6.8019e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1703-27_0_2_load_42 | 56 | 0.00029363 | 7.3591e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1703-27_0_2_load_39 | 57 | 0.00030282 | 7.5895e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1703-27_0_2_load_44 | 58 | 0.00049147 | 0.00012317 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1703-27_0_2_load_45 | 59 | 0.00017311 | 4.3385e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1703-27_0_2_line_0 |  | 0 | 1 | 0.022879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1703-27_0_2_line_1 |  | 0 | 2 | 0.49355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1703-27_0_2_line_2 |  | 1 | 3 | 0.014953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1703-27_0_2_line_3 |  | 2 | 4 | 0.02048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1703-27_0_2_line_4 |  | 3 | 8 | 0.019162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1703-27_0_2_line_5 |  | 4 | 9 | 0.038044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1703-27_0_2_line_6 |  | 5 | 6 | 0.031485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1703-27_0_2_line_7 |  | 5 | 7 | 0.34185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1703-27_0_2_line_8 |  | 6 | 29 | 0.030194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1703-27_0_2_line_9 |  | 7 | 47 | 0.0007979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1703-27_0_2_line_10 |  | 9 | 10 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1703-27_0_2_line_11 |  | 10 | 43 | 0.012631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1703-27_0_2_line_12 |  | 11 | 12 | 0.034216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1703-27_0_2_line_13 |  | 12 | 15 | 0.062462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1703-27_0_2_line_14 |  | 13 | 14 | 0.02951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1703-27_0_2_line_15 |  | 14 | 16 | 0.033674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1703-27_0_2_line_16 |  | 15 | 17 | 0.060696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1703-27_0_2_line_17 |  | 15 | 18 | 0.030988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1703-27_0_2_line_18 |  | 16 | 19 | 0.018467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1703-27_0_2_line_19 |  | 16 | 20 | 0.011643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1703-27_0_2_line_20 |  | 17 | 21 | 0.024607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1703-27_0_2_line_21 |  | 17 | 22 | 0.050999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1703-27_0_2_line_22 |  | 17 | 23 | 0.014375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1703-27_0_2_line_23 |  | 19 | 27 | 0.031088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1703-27_0_2_line_24 |  | 20 | 24 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1703-27_0_2_line_25 |  | 21 | 26 | 0.019644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1703-27_0_2_line_26 |  | 22 | 25 | 0.03573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1703-27_0_2_line_27 |  | 22 | 24 | 0.007139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1703-27_0_2_line_28 |  | 26 | 56 | 0.011493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1703-27_0_2_line_29 |  | 26 | 49 | 0.041008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1703-27_0_2_line_30 |  | 27 | 31 | 0.028216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1703-27_0_2_line_31 |  | 28 | 29 | 0.033476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1703-27_0_2_line_32 |  | 28 | 30 | 0.0072846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1703-27_0_2_line_33 |  | 30 | 39 | 0.030791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1703-27_0_2_line_34 |  | 31 | 39 | 0.025014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1703-27_0_2_line_35 |  | 32 | 33 | 0.011453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1703-27_0_2_line_36 |  | 32 | 34 | 0.023183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1703-27_0_2_line_37 |  | 33 | 35 | 0.05414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1703-27_0_2_line_38 |  | 34 | 36 | 0.034779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1703-27_0_2_line_39 |  | 35 | 37 | 0.008822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1703-27_0_2_line_40 |  | 36 | 38 | 0.0018205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1703-27_0_2_line_41 |  | 37 | 48 | 0.013274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1703-27_0_2_line_42 |  | 37 | 49 | 0.0013207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1703-27_0_2_line_43 |  | 38 | 51 | 0.024845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1703-27_0_2_line_44 |  | 40 | 41 | 0.46504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1703-27_0_2_line_45 |  | 41 | 44 | 0.011251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1703-27_0_2_line_46 |  | 41 | 42 | 0.00059271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1703-27_0_2_line_47 |  | 42 | 43 | 0.20718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1703-27_0_2_line_48 |  | 44 | 45 | 0.0094749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1703-27_0_2_line_49 |  | 45 | 46 | 0.0011553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1703-27_0_2_line_50 |  | 46 | 47 | 0.02691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1703-27_0_2_line_51 |  | 48 | 50 | 0.033972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1703-27_0_2_line_52 |  | 50 | 55 | 0.05313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1703-27_0_2_line_53 |  | 51 | 52 | 0.070174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1703-27_0_2_line_54 |  | 52 | 53 | 0.037468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1703-27_0_2_line_55 |  | 53 | 54 | 0.039995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1703-27_0_2_line_56 |  | 55 | 57 | 0.00025708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1703-27_0_2_line_57 |  | 56 | 58 | 0.020941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1703-27_0_2_line_58 |  | 58 | 59 | 0.0055709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1703-27_0_2_trafo_56 | 0.63 MVA 20/0.4 kV | 60 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2673740.0473 | 1230133.806 | 2673729.7833 | 1230139.3177 | 2673720.2508 | 1230145.2511
1 | 2673731.1385 | 1229640.3349 | 2673740.0473 | 1230133.806
2 | 2673720.2508 | 1230145.2511 | 2673716.6829 | 1230147.4719 | 2673708.8683 | 1230152.1115 | 2673707.3345 | 1230152.7518
3 | 2673745.336 | 1229625.6994 | 2673732.5801 | 1229639.5839 | 2673731.1385 | 1229640.3349
4 | 2673689.6516 | 1230160.1331 | 2673707.3345 | 1230152.7518
5 | 2673745.336 | 1229625.6994 | 2673732.5801 | 1229639.5839 | 2673724.7414 | 1229643.6673 | 2673714.7885 | 1229640.8227
6 | 2673501.1702 | 1229126.8551 | 2673506.9038 | 1229095.8962
7 | 2673501.1702 | 1229126.8551 | 2673493.5279 | 1229468.6173
8 | 2673506.9038 | 1229095.8962 | 2673511.9437 | 1229068.6826 | 2673509.4749 | 1229068.1894
9 | 2673494.0453 | 1229469.2246 | 2673493.5279 | 1229468.6173
10 | 2673704.1897 | 1229636.2782 | 2673711.6058 | 1229639.9131 | 2673714.7885 | 1229640.8227
11 | 2673704.1897 | 1229636.2782 | 2673692.848 | 1229630.719
12 | 2673364.5744 | 1228930.7603 | 2673361.1282 | 1228952.7659 | 2673362.3739 | 1228964.643
13 | 2673427.0751 | 1228934.5005 | 2673384.3849 | 1228931.0048 | 2673364.5744 | 1228930.7603
14 | 2673426.2941 | 1229020.7802 | 2673417.5919 | 1229021.386 | 2673396.9732 | 1229018.7456
15 | 2673459.1214 | 1229016.373 | 2673450.9354 | 1229016.005 | 2673443.2309 | 1229019.6012 | 2673426.2941 | 1229020.7802
16 | 2673427.0751 | 1228934.5005 | 2673479.3474 | 1228940.0496 | 2673483.3179 | 1228940.6435 | 2673484.4126 | 1228936.6766
17 | 2673427.0751 | 1228934.5005 | 2673421.5446 | 1228964.9907
18 | 2673459.1214 | 1229016.373 | 2673455.6469 | 1229034.5089
19 | 2673459.1214 | 1229016.373 | 2673462.1973 | 1229005.1438
20 | 2673484.4126 | 1228936.6766 | 2673508.8408 | 1228939.6364
21 | 2673467.724 | 1228984.8582 | 2673483.3179 | 1228940.6435 | 2673484.4126 | 1228936.6766
22 | 2673484.4126 | 1228936.6766 | 2673484.5448 | 1228922.3019
23 | 2673455.6469 | 1229034.5089 | 2673449.8005 | 1229065.042
24 | 2673465.8658 | 1228991.751 | 2673462.1973 | 1229005.1438
25 | 2673528.3123 | 1228942.2338 | 2673512.8211 | 1228940.1187 | 2673508.8408 | 1228939.6364
26 | 2673467.724 | 1228984.8582 | 2673489.0079 | 1228989.7021 | 2673502.9068 | 1228989.4283
27 | 2673467.724 | 1228984.8582 | 2673465.8658 | 1228991.751
28 | 2673528.3123 | 1228942.2338 | 2673523.2804 | 1228931.9005
29 | 2673528.3123 | 1228942.2338 | 2673540.1458 | 1228943.5809 | 2673545.2025 | 1228943.9548 | 2673549.144 | 1228943.8368 | 2673552.6282 | 1228943.3128 | 2673563.0082 | 1228940.884 | 2673568.4596 | 1228938.6257
30 | 2673444.4942 | 1229092.7546 | 2673449.8005 | 1229065.042
31 | 2673476.6477 | 1229061.6308 | 2673509.4749 | 1229068.1894
32 | 2673476.6477 | 1229061.6308 | 2673475.1492 | 1229068.7596
33 | 2673468.8152 | 1229098.8923 | 2673475.1492 | 1229068.7596
34 | 2673444.4942 | 1229092.7546 | 2673468.8152 | 1229098.8923
35 | 2673562.5165 | 1229005.7323 | 2673559.4349 | 1228994.7021
36 | 2673562.5165 | 1229005.7323 | 2673585.6973 | 1229006.0362
37 | 2673559.4349 | 1228994.7021 | 2673552.2645 | 1228969.0366 | 2673552.6582 | 1228962.3259 | 2673564.6052 | 1228945.3366
38 | 2673585.6973 | 1229006.0362 | 2673592.7959 | 1229006.1293 | 2673615.111 | 1229022.506
39 | 2673569.6797 | 1228938.1202 | 2673564.6052 | 1228945.3366
40 | 2673616.5787 | 1229023.5832 | 2673615.111 | 1229022.506
41 | 2673569.6797 | 1228938.1202 | 2673580.9057 | 1228933.4559 | 2673581.9516 | 1228933.0628
42 | 2673569.6797 | 1228938.1202 | 2673568.4596 | 1228938.6257
43 | 2673616.5787 | 1229023.5832 | 2673636.6087 | 1229038.2829
44 | 2673528.2449 | 1229503.9307 | 2673206.8657 | 1229840.0461
45 | 2673520.0511 | 1229496.22 | 2673528.2449 | 1229503.9307 | 2673528.2449 | 1229503.9307
46 | 2673528.7559 | 1229504.231 | 2673528.2449 | 1229503.9307
47 | 2673692.848 | 1229630.719 | 2673528.7559 | 1229504.231
48 | 2673513.1511 | 1229489.7266 | 2673520.0511 | 1229496.22
49 | 2673513.1511 | 1229489.7266 | 2673512.3097 | 1229488.9349
50 | 2673494.0453 | 1229469.2246 | 2673504.8867 | 1229481.9495 | 2673512.3097 | 1229488.9349
51 | 2673613.7506 | 1228921.1085 | 2673581.9516 | 1228933.0628
52 | 2673665.7553 | 1228910.5818 | 2673618.4724 | 1228919.3334 | 2673613.7506 | 1228921.1085
53 | 2673636.6087 | 1229038.2829 | 2673652.8189 | 1229050.1793 | 2673666.2277 | 1229054.6149 | 2673681.231 | 1229053.2776 | 2673701.6955 | 1229049.1308
54 | 2673701.6955 | 1229049.1308 | 2673738.4172 | 1229041.6897
55 | 2673738.4172 | 1229041.6897 | 2673777.6155 | 1229033.7467
56 | 2673666.0081 | 1228910.535 | 2673665.7553 | 1228910.5818
57 | 2673523.2804 | 1228931.9005 | 2673514.4058 | 1228913.6762 | 2673513.9454 | 1228913.1883
58 | 2673513.9454 | 1228913.1883 | 2673510.1223 | 1228909.1363

## bus_geodata
| x | y | coords
0 | 2673740.0473 | 1230133.806
1 | 2673720.2508 | 1230145.2511
2 | 2673731.1385 | 1229640.3349
3 | 2673707.3345 | 1230152.7518
4 | 2673745.336 | 1229625.6994
5 | 2673501.1702 | 1229126.8551
6 | 2673506.9038 | 1229095.8962
7 | 2673493.5279 | 1229468.6173
8 | 2673689.6516 | 1230160.1331
9 | 2673714.7885 | 1229640.8227
10 | 2673704.1897 | 1229636.2782
11 | 2673362.3739 | 1228964.643
12 | 2673364.5744 | 1228930.7603
13 | 2673396.9732 | 1229018.7456
14 | 2673426.2941 | 1229020.7802
15 | 2673427.0751 | 1228934.5005
16 | 2673459.1214 | 1229016.373
17 | 2673484.4126 | 1228936.6766
18 | 2673421.5446 | 1228964.9907
19 | 2673455.6469 | 1229034.5089
20 | 2673462.1973 | 1229005.1438
21 | 2673508.8408 | 1228939.6364
22 | 2673467.724 | 1228984.8582
23 | 2673484.5448 | 1228922.3019
24 | 2673465.8658 | 1228991.751
25 | 2673502.9068 | 1228989.4283
26 | 2673528.3123 | 1228942.2338
27 | 2673449.8005 | 1229065.042
28 | 2673476.6477 | 1229061.6308
29 | 2673509.4749 | 1229068.1894
30 | 2673475.1492 | 1229068.7596
31 | 2673444.4942 | 1229092.7546
32 | 2673562.5165 | 1229005.7323
33 | 2673559.4349 | 1228994.7021
34 | 2673585.6973 | 1229006.0362
35 | 2673564.6052 | 1228945.3366
36 | 2673615.111 | 1229022.506
37 | 2673569.6797 | 1228938.1202
38 | 2673616.5787 | 1229023.5832
39 | 2673468.8152 | 1229098.8923
40 | 2673206.8657 | 1229840.0461
41 | 2673528.2449 | 1229503.9307
42 | 2673528.7559 | 1229504.231
43 | 2673692.848 | 1229630.719
44 | 2673520.0511 | 1229496.2199
45 | 2673513.1511 | 1229489.7266
46 | 2673512.3097 | 1229488.9349
47 | 2673494.0453 | 1229469.2247
48 | 2673581.9516 | 1228933.0628
49 | 2673568.4596 | 1228938.6257
50 | 2673613.7506 | 1228921.1085
51 | 2673636.6087 | 1229038.2829
52 | 2673701.6955 | 1229049.1308
53 | 2673738.4172 | 1229041.6897
54 | 2673777.6155 | 1229033.7467
55 | 2673665.7553 | 1228910.5818
56 | 2673523.2804 | 1228931.9005
57 | 2673666.0081 | 1228910.535
58 | 2673513.9454 | 1228913.1883
59 | 2673510.1223 | 1228909.1363
60 | 2673321.2874 | 1229284.0515

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98866 | -0.21883 | 0.0035539 | 0.0008907
1 | 0.98855 | -0.2209 | 0.00080361 | 0.0002014
2 | 0.99257 | -0.14299 | 0.0015198 | 0.00038091
3 | 0.98849 | -0.22204 | 0.0012132 | 0.00030405
4 | 0.99276 | -0.1393 | 0 | 0
5 | 0.98743 | -0.23902 | 0 | 0
6 | 0.98627 | -0.26128 | 0.0023237 | 0.00058238
7 | 0.99997 | -0.00059969 | 0.0036033 | 0.00090307
8 | 0.98844 | -0.22309 | 0.0030704 | 0.00076952
9 | 0.99311 | -0.13245 | 0.0017485 | 0.0004382
10 | 0.99324 | -0.13002 | 0.0023998 | 0.00060145
11 | 0.97769 | -0.42825 | 0.0017917 | 0.00044905
12 | 0.97774 | -0.42713 | 0 | 0
13 | 0.98011 | -0.38085 | 0.00055941 | 0.0001402
14 | 0.98013 | -0.38055 | 0.00057504 | 0.00014412
15 | 0.97785 | -0.42509 | 0 | 0
16 | 0.98016 | -0.37986 | 0 | 0
17 | 0.97802 | -0.42171 | 0 | 0
18 | 0.97781 | -0.4258 | 0.001263 | 0.00031653
19 | 0.98069 | -0.36964 | 0 | 0
20 | 0.97984 | -0.38607 | 0.00033913 | 8.4995e-05
21 | 0.97749 | -0.43203 | 0.00025575 | 6.4097e-05
22 | 0.97928 | -0.39716 | 0 | 0
23 | 0.97802 | -0.4218 | 0.00036546 | 9.1593e-05
24 | 0.97947 | -0.39339 | 0 | 0
25 | 0.97919 | -0.39884 | 0.0025895 | 0.00064899
26 | 0.97708 | -0.4402 | 0 | 0
27 | 0.98157 | -0.35246 | 0.0005751 | 0.00014413
28 | 0.98422 | -0.30104 | 0 | 0
29 | 0.98523 | -0.28142 | 0.0045725 | 0.001146
30 | 0.984 | -0.30531 | 0.0015085 | 0.00037806
31 | 0.98238 | -0.3366 | 0 | 0
32 | 0.97495 | -0.48189 | 0 | 0
33 | 0.97514 | -0.47815 | 0.00046348 | 0.00011616
34 | 0.97457 | -0.48947 | 0.00017492 | 4.3839e-05
35 | 0.97607 | -0.46003 | 0.00016905 | 4.2369e-05
36 | 0.974 | -0.50073 | 0.00060557 | 0.00015177
37 | 0.97622 | -0.45705 | 0 | 0
38 | 0.97397 | -0.5013 | 0.00082965 | 0.00020793
39 | 0.98311 | -0.32256 | 0 | 0
40 | 0.99748 | -0.048457 | 0.00012219 | 3.0624e-05
41 | 0.99753 | -0.047398 | 0.01031 | 0.002584
42 | 0.99751 | -0.047739 | 0.011055 | 0.0027706
43 | 0.99341 | -0.12682 | 0.0073668 | 0.0018463
44 | 0.99797 | -0.038887 | 0.0071223 | 0.001785
45 | 0.99841 | -0.030545 | 0.0098845 | 0.0024773
46 | 0.99847 | -0.029329 | 0.0022216 | 0.00055679
47 | 1 | 0 | -0.10822 | -0.027101
48 | 0.97618 | -0.45774 | 0.00026228 | 6.5734e-05
49 | 0.97624 | -0.45653 | 0.00049912 | 0.00012509
50 | 0.9761 | -0.45935 | 0.0020141 | 0.00050479
51 | 0.97359 | -0.5087 | 0.0015823 | 0.00039657
52 | 0.97264 | -0.52759 | 0.0029018 | 0.00072727
53 | 0.97223 | -0.53568 | 0.0041293 | 0.0010349
54 | 0.97194 | -0.54127 | 0.0075856 | 0.0019011
55 | 0.97607 | -0.45991 | 0.0002714 | 6.8019e-05
56 | 0.97707 | -0.4404 | 0.00029363 | 7.3591e-05
57 | 0.97607 | -0.45991 | 0.00030282 | 7.5895e-05
58 | 0.97705 | -0.44065 | 0.00049147 | 0.00012317
59 | 0.97705 | -0.44067 | 0.00017311 | 4.3385e-05
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0050881 | 0.0012748 | -0.0050876 | -0.0012748 | 5.0314e-07 | 2.866e-08 | 0.0076579 | 0.007658 | 0.007658 | 0.98866 | -0.21883 | 0.98855 | -0.2209 | 2.1039
1 | -0.008642 | -0.0021655 | 0.0086734 | 0.0021792 | 3.1307e-05 | 1.3682e-05 | 0.013007 | 0.013005 | 0.013007 | 0.98866 | -0.21883 | 0.99257 | -0.14299 | 3.5733
2 | 0.004284 | 0.0010734 | -0.0042838 | -0.0010734 | 2.3316e-07 | -4.2468e-08 | 0.0064484 | 0.0064485 | 0.0064485 | 0.98855 | -0.2209 | 0.98849 | -0.22204 | 1.7716
3 | -0.010193 | -0.0025601 | 0.010195 | 0.002561 | 1.7938e-06 | 8.833e-07 | 0.015283 | 0.015283 | 0.015283 | 0.99257 | -0.14299 | 0.99276 | -0.1393 | 4.1987
4 | 0.0030706 | 0.00076937 | -0.0030704 | -0.00076952 | 1.5352e-07 | -1.4737e-07 | 0.0046222 | 0.0046223 | 0.0046223 | 0.98849 | -0.22204 | 0.98844 | -0.22309 | 1.2699
5 | -0.010195 | -0.002561 | 0.010198 | 0.0025626 | 3.3322e-06 | 1.6405e-06 | 0.015283 | 0.015283 | 0.015283 | 0.99276 | -0.1393 | 0.99311 | -0.13245 | 4.1986
6 | 0.039854 | 0.010124 | -0.039812 | -0.010097 | 4.2658e-05 | 2.6899e-05 | 0.060108 | 0.060108 | 0.060108 | 0.98743 | -0.23902 | 0.98627 | -0.26128 | 16.5131
7 | -0.039854 | -0.010124 | 0.040318 | 0.010416 | 0.00046314 | 0.00029198 | 0.060108 | 0.060106 | 0.060108 | 0.98743 | -0.23902 | 0.99997 | -0.00059969 | 16.5131
8 | 0.037488 | 0.009515 | -0.037452 | -0.0094922 | 3.6276e-05 | 2.2831e-05 | 0.056602 | 0.056602 | 0.056602 | 0.98627 | -0.26128 | 0.98523 | -0.28142 | 15.55
9 | -0.043921 | -0.011319 | 0.043922 | 0.01132 | 1.2824e-06 | 8.1029e-07 | 0.065468 | 0.065468 | 0.065468 | 0.99997 | -0.00059969 | 1 | 0 | 17.9857
10 | -0.011947 | -0.0030008 | 0.011948 | 0.0030016 | 1.3905e-06 | 7.4019e-07 | 0.017903 | 0.017903 | 0.017903 | 0.99311 | -0.13245 | 0.99324 | -0.13002 | 4.9183
11 | -0.014348 | -0.003603 | 0.01435 | 0.0036043 | 2.189e-06 | 1.2375e-06 | 0.021498 | 0.021498 | 0.021498 | 0.99324 | -0.13002 | 0.99341 | -0.12682 | 5.906
12 | -0.0017917 | -0.00044905 | 0.0017918 | 0.00044868 | 9.5409e-08 | -3.6805e-07 | 0.0027269 | 0.0027268 | 0.0027269 | 0.97769 | -0.42825 | 0.97774 | -0.42713 | 0.74916
13 | -0.0017918 | -0.00044868 | 0.001792 | 0.00044801 | 1.7414e-07 | -6.7202e-07 | 0.0027268 | 0.0027265 | 0.0027268 | 0.97774 | -0.42713 | 0.97785 | -0.42509 | 0.74912
14 | -0.00055941 | -0.0001402 | 0.00055942 | 0.00013983 | 7.9811e-09 | -3.668e-07 | 0.0008493 | 0.00084917 | 0.0008493 | 0.98011 | -0.38085 | 0.98013 | -0.38055 | 0.23333
15 | -0.0011345 | -0.00028395 | 0.0011345 | 0.00028355 | 3.745e-08 | -4.0045e-07 | 0.0017222 | 0.001722 | 0.0017222 | 0.98013 | -0.38055 | 0.98016 | -0.37986 | 0.47313
16 | -0.003055 | -0.00076418 | 0.0030555 | 0.00076373 | 4.9177e-07 | -4.468e-07 | 0.0046483 | 0.0046481 | 0.0046483 | 0.97785 | -0.42509 | 0.97802 | -0.42171 | 1.277
17 | 0.001263 | 0.00031617 | -0.001263 | -0.00031653 | 4.2922e-08 | -3.6124e-07 | 0.0019218 | 0.001922 | 0.001922 | 0.97785 | -0.42509 | 0.97781 | -0.4258 | 0.52801
18 | -0.030647 | -0.007731 | 0.030662 | 0.0077404 | 1.5002e-05 | 9.3686e-06 | 0.046544 | 0.046544 | 0.046544 | 0.98016 | -0.37986 | 0.98069 | -0.36964 | 12.7869
19 | 0.029512 | 0.0074474 | -0.029504 | -0.007442 | 8.7715e-06 | 5.4671e-06 | 0.044822 | 0.044822 | 0.044822 | 0.98016 | -0.37986 | 0.97984 | -0.38607 | 12.3138
20 | 0.023107 | 0.0058242 | -0.023096 | -0.0058172 | 1.1413e-05 | 6.9957e-06 | 0.035169 | 0.035169 | 0.035169 | 0.97802 | -0.42171 | 0.97749 | -0.43203 | 9.6617
21 | -0.026528 | -0.0066794 | 0.026559 | 0.0066987 | 3.1172e-05 | 1.9309e-05 | 0.040373 | 0.040372 | 0.040373 | 0.97802 | -0.42171 | 0.97928 | -0.39716 | 11.0914
22 | 0.00036546 | 9.1414e-05 | -0.00036546 | -9.1593e-05 | 1.6665e-09 | -1.7933e-07 | 0.00055597 | 0.00055604 | 0.00055604 | 0.97802 | -0.42171 | 0.97802 | -0.4218 | 0.15276
23 | -0.030662 | -0.0077404 | 0.030687 | 0.0077561 | 2.5255e-05 | 1.5771e-05 | 0.046544 | 0.046544 | 0.046544 | 0.98069 | -0.36964 | 0.98157 | -0.35246 | 12.7868
24 | 0.029165 | 0.007357 | -0.029154 | -0.0073506 | 1.0223e-05 | 6.3677e-06 | 0.044307 | 0.044307 | 0.044307 | 0.97984 | -0.38607 | 0.97947 | -0.39339 | 12.1723
25 | 0.02284 | 0.0057531 | -0.022831 | -0.0057477 | 8.9107e-06 | 5.4567e-06 | 0.034779 | 0.034779 | 0.034779 | 0.97749 | -0.43203 | 0.97708 | -0.4402 | 9.5548
26 | 0.0025897 | 0.00064867 | -0.0025895 | -0.00064899 | 2.0747e-07 | -3.167e-07 | 0.0039349 | 0.0039351 | 0.0039351 | 0.97928 | -0.39716 | 0.97919 | -0.39884 | 1.0811
27 | -0.029149 | -0.0073473 | 0.029154 | 0.0073506 | 5.2555e-06 | 3.2737e-06 | 0.044307 | 0.044307 | 0.044307 | 0.97928 | -0.39716 | 0.97947 | -0.39339 | 12.1723
28 | 0.00095822 | 0.00023968 | -0.00095821 | -0.00023982 | 9.1767e-09 | -1.3808e-07 | 0.0014591 | 0.0014592 | 0.0014592 | 0.97708 | -0.4402 | 0.97707 | -0.4404 | 0.40088
29 | 0.021873 | 0.005508 | -0.021856 | -0.0054976 | 1.7073e-05 | 1.0414e-05 | 0.03332 | 0.03332 | 0.03332 | 0.97708 | -0.4402 | 0.97624 | -0.45653 | 9.154
30 | -0.031262 | -0.0079003 | 0.031286 | 0.0079151 | 2.3789e-05 | 1.4868e-05 | 0.047416 | 0.047416 | 0.047416 | 0.98157 | -0.35246 | 0.98238 | -0.3366 | 13.0263
31 | -0.032848 | -0.0083268 | 0.032879 | 0.0083462 | 3.1004e-05 | 1.9416e-05 | 0.049696 | 0.049696 | 0.049696 | 0.98422 | -0.30104 | 0.98523 | -0.28142 | 13.6529
32 | 0.032848 | 0.0083268 | -0.032842 | -0.0083226 | 6.7467e-06 | 4.2253e-06 | 0.049696 | 0.049696 | 0.049696 | 0.98422 | -0.30104 | 0.984 | -0.30531 | 13.6529
33 | 0.031333 | 0.0079445 | -0.031307 | -0.0079283 | 2.596e-05 | 1.6223e-05 | 0.047415 | 0.047416 | 0.047416 | 0.984 | -0.30531 | 0.98311 | -0.32256 | 13.0262
34 | -0.031286 | -0.0079151 | 0.031307 | 0.0079283 | 2.1089e-05 | 1.318e-05 | 0.047416 | 0.047416 | 0.047416 | 0.98238 | -0.3366 | 0.98311 | -0.32256 | 13.0263
35 | -0.017851 | -0.0044873 | 0.017854 | 0.0044892 | 3.1891e-06 | 1.8982e-06 | 0.02725 | 0.02725 | 0.02725 | 0.97495 | -0.48189 | 0.97514 | -0.47815 | 7.4862
36 | 0.017851 | 0.0044873 | -0.017845 | -0.0044835 | 6.4555e-06 | 3.8425e-06 | 0.02725 | 0.02725 | 0.02725 | 0.97495 | -0.48189 | 0.97457 | -0.48947 | 7.4863
37 | -0.018318 | -0.0046054 | 0.018334 | 0.0046148 | 1.5868e-05 | 9.4796e-06 | 0.027957 | 0.027957 | 0.027957 | 0.97514 | -0.47815 | 0.97607 | -0.46003 | 7.6805
38 | 0.01767 | 0.0044396 | -0.01766 | -0.004434 | 9.4957e-06 | 5.6441e-06 | 0.026983 | 0.026983 | 0.026983 | 0.97457 | -0.48947 | 0.974 | -0.50073 | 7.4129
39 | -0.018503 | -0.0046572 | 0.018505 | 0.0046588 | 2.6336e-06 | 1.5752e-06 | 0.028215 | 0.028214 | 0.028215 | 0.97607 | -0.46003 | 0.97622 | -0.45705 | 7.7512
40 | 0.017055 | 0.0042822 | -0.017054 | -0.0042819 | 4.6356e-07 | 2.7402e-07 | 0.026058 | 0.026058 | 0.026058 | 0.974 | -0.50073 | 0.97397 | -0.5013 | 7.1588
41 | 0.0028509 | 0.00071338 | -0.0028508 | -0.00071348 | 9.3983e-08 | -1.058e-07 | 0.0043452 | 0.0043452 | 0.0043452 | 0.97622 | -0.45705 | 0.97618 | -0.45774 | 1.1937
42 | -0.021356 | -0.0053722 | 0.021357 | 0.0053725 | 5.2503e-07 | 3.1951e-07 | 0.03256 | 0.03256 | 0.03256 | 0.97622 | -0.45705 | 0.97624 | -0.45653 | 8.945
43 | 0.016224 | 0.004074 | -0.016219 | -0.0040706 | 5.7259e-06 | 3.3555e-06 | 0.02479 | 0.02479 | 0.02479 | 0.97397 | -0.5013 | 0.97359 | -0.5087 | 6.8106
44 | -0.00012219 | -3.0624e-05 | 0.0001222 | 2.4557e-05 | 5.7299e-09 | -6.0669e-06 | 0.00018228 | 0.00018035 | 0.00018228 | 0.99748 | -0.048457 | 0.99753 | -0.047398 | 0.050078
45 | -0.043287 | -0.01088 | 0.043305 | 0.010891 | 1.7598e-05 | 1.1116e-05 | 0.064582 | 0.064582 | 0.064582 | 0.99753 | -0.047398 | 0.99797 | -0.038887 | 17.7424
46 | 0.032855 | 0.0082715 | -0.032854 | -0.0082711 | 5.3415e-07 | 3.3412e-07 | 0.049023 | 0.049023 | 0.049023 | 0.99753 | -0.047398 | 0.99751 | -0.047739 | 13.4677
47 | 0.021799 | 0.0055005 | -0.021717 | -0.0054506 | 8.2226e-05 | 4.9931e-05 | 0.032532 | 0.032533 | 0.032533 | 0.99751 | -0.047739 | 0.99341 | -0.12682 | 8.9375
48 | -0.050427 | -0.012676 | 0.050447 | 0.012689 | 2.0094e-05 | 1.2736e-05 | 0.075202 | 0.075202 | 0.075202 | 0.99797 | -0.038887 | 0.99841 | -0.030545 | 20.6599
49 | -0.060332 | -0.015166 | 0.060335 | 0.015168 | 3.504e-06 | 2.2275e-06 | 0.089934 | 0.089934 | 0.089934 | 0.99841 | -0.030545 | 0.99847 | -0.029329 | 24.7071
50 | -0.062557 | -0.015725 | 0.062644 | 0.015781 | 8.7738e-05 | 5.58e-05 | 0.093245 | 0.093244 | 0.093245 | 0.99847 | -0.029329 | 1 | 0 | 25.6166
51 | 0.0025886 | 0.00064775 | -0.0025884 | -0.00064804 | 1.9832e-07 | -2.9775e-07 | 0.0039454 | 0.0039456 | 0.0039456 | 0.97618 | -0.45774 | 0.9761 | -0.45935 | 1.084
52 | 0.00057424 | 0.00014326 | -0.00057422 | -0.00014391 | 1.5264e-08 | -6.5433e-07 | 0.00087516 | 0.0008754 | 0.0008754 | 0.9761 | -0.45935 | 0.97607 | -0.45991 | 0.24049
53 | 0.014636 | 0.0036741 | -0.014623 | -0.0036665 | 1.3171e-05 | 7.5578e-06 | 0.022372 | 0.022372 | 0.022372 | 0.97359 | -0.5087 | 0.97264 | -0.52759 | 6.1463
54 | 0.011721 | 0.0029393 | -0.011717 | -0.0029368 | 4.5186e-06 | 2.427e-06 | 0.017933 | 0.017933 | 0.017933 | 0.97264 | -0.52759 | 0.97223 | -0.53568 | 4.9267
55 | 0.0075876 | 0.0019019 | -0.0075856 | -0.0019011 | 2.0227e-06 | 7.9874e-07 | 0.011613 | 0.011613 | 0.011613 | 0.97223 | -0.53568 | 0.97194 | -0.54127 | 3.1905
56 | 0.00030282 | 7.5891e-05 | -0.00030282 | -7.5895e-05 | 2.0501e-11 | -3.1997e-09 | 0.00046165 | 0.00046165 | 0.00046165 | 0.97607 | -0.45991 | 0.97607 | -0.45991 | 0.12683
57 | 0.00066458 | 0.00016623 | -0.00066457 | -0.00016649 | 8.0433e-09 | -2.5712e-07 | 0.001012 | 0.0010121 | 0.0010121 | 0.97707 | -0.4404 | 0.97705 | -0.44065 | 0.27805
58 | 0.00017311 | 4.3315e-05 | -0.00017311 | -4.3385e-05 | 1.4521e-10 | -6.9678e-08 | 0.00026361 | 0.00026364 | 0.00026364 | 0.97705 | -0.44065 | 0.97705 | -0.44067 | 0.072427

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.11514 | 0.028836

## res_load
| p_mw | q_mvar
0 | 0.0035539 | 0.0008907
1 | 0.00080361 | 0.0002014
2 | 0.0015198 | 0.00038091
3 | 0.0012132 | 0.00030405
4 | 0.0023237 | 0.00058238
5 | 0.0036033 | 0.00090307
6 | 0.0030704 | 0.00076952
7 | 0.0017485 | 0.0004382
8 | 0.0023998 | 0.00060145
9 | 0.0017917 | 0.00044905
10 | 0.00055941 | 0.0001402
11 | 0.00057504 | 0.00014412
12 | 0.001263 | 0.00031653
13 | 0.00033913 | 8.4995e-05
14 | 0.00025575 | 6.4097e-05
15 | 0.00036546 | 9.1593e-05
16 | 0.0025895 | 0.00064899
17 | 0.0005751 | 0.00014413
18 | 0.0045725 | 0.001146
19 | 0.0015085 | 0.00037806
20 | 0.00046348 | 0.00011616
21 | 0.00017492 | 4.3839e-05
22 | 0.00016905 | 4.2369e-05
23 | 0.00060557 | 0.00015177
24 | 0.00082965 | 0.00020793
25 | 0.00012219 | 3.0624e-05
26 | 0.01031 | 0.002584
27 | 0.011055 | 0.0027706
28 | 0.0073668 | 0.0018463
29 | 0.0071223 | 0.001785
30 | 0.0098845 | 0.0024773
31 | 0.0022216 | 0.00055679
32 | 0.0069201 | 0.0017343
33 | 0.00026228 | 6.5734e-05
34 | 0.00049912 | 0.00012509
35 | 0.0020141 | 0.00050479
36 | 0.0015823 | 0.00039657
37 | 0.0029018 | 0.00072727
38 | 0.0041293 | 0.0010349
39 | 0.0075856 | 0.0019011
40 | 0.0002714 | 6.8019e-05
41 | 0.00029363 | 7.3591e-05
42 | 0.00030282 | 7.5895e-05
43 | 0.00049147 | 0.00012317
44 | 0.00017311 | 4.3385e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1