## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1703-28_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1703-28_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1703-28_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1703-28_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1703-28_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1703-28_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1703-28_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1703-28_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1703-28_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1703-28_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1703-28_0_3_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_1703-28_0_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_1703-28_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1703-28_0_3_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_1703-28_0_3_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_1703-28_0_3_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_1703-28_0_3_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_1703-28_0_3_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_1703-28_0_3_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_1703-28_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1703-28_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1703-28_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1703-28_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1703-28_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1703-28_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1703-28_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1703-28_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1703-28_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1703-28_0_3_node_71 | 0.4 | n |  | TRUE
29 | bus_LV_1703-28_0_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1703-28_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1703-28_0_3_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_1703-28_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1703-28_0_3_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_1703-28_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1703-28_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1703-28_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1703-28_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1703-28_0_3_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_1703-28_0_3_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_1703-28_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1703-28_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1703-28_0_3_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_1703-28_0_3_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_1703-28_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1703-28_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_1703-28_0_3_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_1703-28_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_1703-28_0_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_1703-28_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1703-28_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1703-28_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_1703-28_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_1703-28_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_1703-28_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_1703-28_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_1703-28_0_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_1703-28_0_3_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_1703-28_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_1703-28_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_1703-28_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_1703-28_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_1703-28_0_3_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_1703-28_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_1703-28_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_1703-28_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_1703-28_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_1703-28_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_1703-28_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_1703-28_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_1703-28_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_MV_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1703-28_0_3_load_0 | 0 | 0.0031265 | 0.00078357 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1703-28_0_3_load_1 | 1 | 0.0020886 | 0.00052344 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1703-28_0_3_load_3 | 3 | 0.003349 | 0.00083934 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1703-28_0_3_load_4 | 4 | 0.00089543 | 0.00022442 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1703-28_0_3_load_5 | 5 | 0.00098086 | 0.00024583 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1703-28_0_3_load_8 | 6 | 0.00062166 | 0.0001558 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1703-28_0_3_load_55 | 11 | 7.8341e-05 | 1.9634e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1703-28_0_3_load_58 | 13 | 0.00055659 | 0.0001395 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1703-28_0_3_load_56 | 14 | 7.8237e-05 | 1.9608e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1703-28_0_3_load_64 | 16 | 0.00065844 | 0.00016502 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1703-28_0_3_load_52 | 18 | 0.000394 | 9.8745e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1703-28_0_3_load_12 | 19 | 0.0012475 | 0.00031266 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1703-28_0_3_load_13 | 20 | 0.00052897 | 0.00013257 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1703-28_0_3_load_16 | 23 | 0.00022952 | 5.7523e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1703-28_0_3_load_17 | 24 | 0.00015424 | 3.8656e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1703-28_0_3_load_18 | 25 | 0.00071657 | 0.00017959 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1703-28_0_3_load_22 | 27 | 0.00011774 | 2.9507e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1703-28_0_3_load_71 | 28 | 0.00093754 | 0.00023497 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1703-28_0_3_load_31 | 29 | 0.00024192 | 6.0631e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1703-28_0_3_load_36 | 32 | 0.00038205 | 9.5751e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1703-28_0_3_load_69 | 33 | 0.00051603 | 0.00012933 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1703-28_0_3_load_25 | 36 | 0.00015732 | 3.9429e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1703-28_0_3_load_23 | 37 | 4.8949e-05 | 1.2268e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1703-28_0_3_load_70 | 38 | 0.00038031 | 9.5313e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1703-28_0_3_load_65 | 39 | 0.0006731 | 0.00016869 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1703-28_0_3_load_30 | 40 | 0.00046572 | 0.00011672 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1703-28_0_3_load_29 | 41 | 8.3085e-05 | 2.0823e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1703-28_0_3_load_72 | 42 | 0.00072351 | 0.00018133 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1703-28_0_3_load_67 | 43 | 0.00044709 | 0.00011205 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1703-28_0_3_load_34 | 44 | 0.0021523 | 0.00053942 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1703-28_0_3_load_28 | 45 | 0.00023602 | 5.9153e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1703-28_0_3_load_24 | 46 | 0.00022823 | 5.72e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1703-28_0_3_load_59 | 47 | 0.00052482 | 0.00013153 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1703-28_0_3_load_60 | 48 | 0.00065277 | 0.0001636 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1703-28_0_3_load_32 | 49 | 0.00050599 | 0.00012681 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1703-28_0_3_load_33 | 50 | 0.001534 | 0.00038445 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1703-28_0_3_load_37 | 52 | 0.00027619 | 6.922e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1703-28_0_3_load_38 | 53 | 0.00092106 | 0.00023084 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1703-28_0_3_load_39 | 54 | 0.00039557 | 9.914e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1703-28_0_3_load_40 | 55 | 0.0024958 | 0.0006255 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1703-28_0_3_load_42 | 57 | 0.00045829 | 0.00011486 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1703-28_0_3_load_43 | 59 | 0.0006282 | 0.00015744 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1703-28_0_3_load_48 | 60 | 0.00086691 | 0.00021727 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1703-28_0_3_load_46 | 61 | 0.00040753 | 0.00010214 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1703-28_0_3_load_49 | 62 | 0.00025057 | 6.28e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1703-28_0_3_load_44 | 63 | 0.00038105 | 9.5501e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1703-28_0_3_load_45 | 64 | 0.00056072 | 0.00014053 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1703-28_0_3_load_50 | 65 | 0.00020713 | 5.1912e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1703-28_0_3_load_51 | 66 | 0.00028573 | 7.161e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1703-28_0_3_load_63 | 67 | 0.00089862 | 0.00022521 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1703-28_0_3_load_61 | 68 | 0.00039751 | 9.9625e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1703-28_0_3_load_62 | 69 | 0.00053545 | 0.0001342 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1703-28_0_3_load_66 | 70 | 0.0008834 | 0.0002214 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1703-28_0_3_line_0 |  | 0 | 1 | 0.022513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1703-28_0_3_line_1 |  | 1 | 2 | 0.034157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1703-28_0_3_line_2 |  | 2 | 3 | 0.018187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1703-28_0_3_line_3 |  | 2 | 4 | 0.013094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1703-28_0_3_line_4 |  | 3 | 5 | 0.0059236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1703-28_0_3_line_5 |  | 4 | 6 | 0.032174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1703-28_0_3_line_6 |  | 6 | 7 | 0.17417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1703-28_0_3_line_7 |  | 7 | 8 | 0.3551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1703-28_0_3_line_8 |  | 8 | 13 | 0.22312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1703-28_0_3_line_9 |  | 9 | 10 | 0.000291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1703-28_0_3_line_10 |  | 9 | 11 | 0.014786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1703-28_0_3_line_11 |  | 10 | 17 | 0.43823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1703-28_0_3_line_12 |  | 10 | 18 | 0.020524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1703-28_0_3_line_13 |  | 11 | 14 | 0.0144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1703-28_0_3_line_14 |  | 12 | 13 | 0.039642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1703-28_0_3_line_15 |  | 12 | 14 | 0.026376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1703-28_0_3_line_16 |  | 15 | 16 | 0.11974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1703-28_0_3_line_17 |  | 15 | 17 | 0.28164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1703-28_0_3_line_18 |  | 16 | 67 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1703-28_0_3_line_19 |  | 17 | 42 | 0.024132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1703-28_0_3_line_20 |  | 18 | 66 | 0.0065333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1703-28_0_3_line_21 |  | 19 | 20 | 0.020167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1703-28_0_3_line_22 |  | 19 | 21 | 0.10889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1703-28_0_3_line_23 |  | 20 | 22 | 0.0079671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1703-28_0_3_line_24 |  | 21 | 23 | 0.019283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1703-28_0_3_line_25 |  | 21 | 24 | 0.041931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1703-28_0_3_line_26 |  | 22 | 25 | 0.10418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1703-28_0_3_line_27 |  | 22 | 26 | 0.096799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1703-28_0_3_line_28 |  | 24 | 27 | 0.01233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1703-28_0_3_line_29 |  | 25 | 28 | 0.022402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1703-28_0_3_line_30 |  | 26 | 29 | 0.01195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1703-28_0_3_line_31 |  | 27 | 37 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1703-28_0_3_line_32 |  | 28 | 38 | 0.014827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1703-28_0_3_line_33 |  | 29 | 39 | 0.013263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1703-28_0_3_line_34 |  | 30 | 31 | 0.005174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1703-28_0_3_line_35 |  | 30 | 32 | 0.0096041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1703-28_0_3_line_36 |  | 30 | 33 | 0.076163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1703-28_0_3_line_37 |  | 31 | 42 | 0.017505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1703-28_0_3_line_38 |  | 31 | 43 | 0.0064792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1703-28_0_3_line_39 |  | 32 | 44 | 0.020112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1703-28_0_3_line_40 |  | 33 | 38 | 0.045518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1703-28_0_3_line_41 |  | 34 | 35 | 0.005284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1703-28_0_3_line_42 |  | 34 | 36 | 0.10046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1703-28_0_3_line_43 |  | 35 | 45 | 0.10433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1703-28_0_3_line_44 |  | 36 | 46 | 0.013519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1703-28_0_3_line_45 |  | 37 | 46 | 0.070005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1703-28_0_3_line_46 |  | 40 | 41 | 0.002027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1703-28_0_3_line_47 |  | 41 | 45 | 0.014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1703-28_0_3_line_48 |  | 43 | 70 | 0.074607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1703-28_0_3_line_49 |  | 44 | 49 | 0.26445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1703-28_0_3_line_50 |  | 47 | 48 | 0.027613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1703-28_0_3_line_51 |  | 48 | 68 | 0.11206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1703-28_0_3_line_52 |  | 49 | 50 | 0.025423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1703-28_0_3_line_53 |  | 50 | 51 | 0.015223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1703-28_0_3_line_54 |  | 51 | 52 | 0.023261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1703-28_0_3_line_55 |  | 51 | 53 | 0.034695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1703-28_0_3_line_56 |  | 53 | 54 | 0.029263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1703-28_0_3_line_57 |  | 54 | 55 | 0.31447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1703-28_0_3_line_58 |  | 55 | 56 | 0.0088611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1703-28_0_3_line_59 |  | 56 | 57 | 0.05274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1703-28_0_3_line_60 |  | 57 | 58 | 0.013611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1703-28_0_3_line_61 |  | 58 | 61 | 0.03112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1703-28_0_3_line_62 |  | 59 | 60 | 0.016532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1703-28_0_3_line_63 |  | 60 | 62 | 0.018813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1703-28_0_3_line_64 |  | 61 | 64 | 0.020209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1703-28_0_3_line_65 |  | 62 | 65 | 0.0078221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1703-28_0_3_line_66 |  | 63 | 64 | 0.034697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1703-28_0_3_line_67 |  | 65 | 66 | 0.016164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1703-28_0_3_line_68 |  | 67 | 69 | 0.010822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1703-28_0_3_line_69 |  | 68 | 69 | 0.013213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1703-28_0_3_trafo_53 | 0.63 MVA 20/0.4 kV | 71 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2674721.3162 | 1228416.9186 | 2674715.5735 | 1228419.6755 | 2674701.9982 | 1228428.4115
1 | 2674673.2747 | 1228446.896 | 2674701.9982 | 1228428.4115
2 | 2674673.2747 | 1228446.896 | 2674680.1164 | 1228463.7467
3 | 2674673.2747 | 1228446.896 | 2674661.6701 | 1228450.1859 | 2674660.6849 | 1228450.4926
4 | 2674680.1164 | 1228463.7467 | 2674682.3448 | 1228469.2352
5 | 2674660.6849 | 1228450.4926 | 2674629.9649 | 1228460.054
6 | 2674460.9216 | 1228499.014 | 2674470.4395 | 1228494.1298 | 2674487.0672 | 1228489.0679 | 2674561.3473 | 1228477.7129 | 2674594.9853 | 1228470.9411 | 2674629.9649 | 1228460.054
7 | 2674148.1085 | 1228661.983 | 2674157.2683 | 1228660.852 | 2674167.7656 | 1228655.1568 | 2674197.2392 | 1228627.3724 | 2674211.6365 | 1228618.2236 | 2674266.1001 | 1228592.2858 | 2674313.6946 | 1228569.1424 | 2674369.6483 | 1228542.8795 | 2674415.6894 | 1228522.2192 | 2674460.9216 | 1228499.014
8 | 2674148.1085 | 1228661.983 | 2674133.9987 | 1228550.2436 | 2674124.071 | 1228474.3692 | 2674117.474 | 1228449.8151 | 2674113.3661 | 1228442.3237
9 | 2674064.6532 | 1228360.242 | 2674064.8628 | 1228360.4447
10 | 2674064.8628 | 1228360.4447 | 2674072.6979 | 1228372.9839
11 | 2673826.3547 | 1227992.0572 | 2673995.3731 | 1228251.6964 | 2674064.6532 | 1228360.242
12 | 2674064.6532 | 1228360.242 | 2674046.6231 | 1228370.0485
13 | 2674072.6979 | 1228372.9839 | 2674080.3287 | 1228385.1962
14 | 2674094.3057 | 1228407.565 | 2674113.3661 | 1228442.3237
15 | 2674094.3057 | 1228407.565 | 2674080.3287 | 1228385.1962
16 | 2674045.0304 | 1227846.3661 | 2674047.5512 | 1227830.1533 | 2674031.1714 | 1227764.0499 | 2674020.0121 | 1227730.6386
17 | 2673826.3547 | 1227992.0572 | 2673834.2734 | 1227985.3732 | 2673843.7448 | 1227980.5876 | 2673878.9624 | 1227973.6979 | 2673918.054 | 1227968.5133 | 2673966.5933 | 1227951.9387 | 2674003.9829 | 1227923.3846 | 2674021.3564 | 1227897.4612 | 2674034.7319 | 1227869.4645 | 2674045.0304 | 1227846.3661
18 | 2674015.0182 | 1227715.6864 | 2674020.0121 | 1227730.6386
19 | 2673826.3547 | 1227992.0572 | 2673813.4046 | 1227971.694
20 | 2674046.6231 | 1228370.0485 | 2674040.8838 | 1228373.1701
21 | 2673648.8797 | 1227731.1273 | 2673649.6026 | 1227741.3 | 2673652.4537 | 1227750.8517
22 | 2673601.2296 | 1227637.2211 | 2673628.1654 | 1227666.4627 | 2673642.5037 | 1227690.9564 | 2673647.873 | 1227716.9624 | 2673648.8797 | 1227731.1273
23 | 2673654.7325 | 1227758.486 | 2673652.4537 | 1227750.8517
24 | 2673601.2296 | 1227637.2211 | 2673597.8839 | 1227639.9593 | 2673584.4547 | 1227646.5508
25 | 2673601.2296 | 1227637.2211 | 2673589.6537 | 1227624.6474 | 2673574.7297 | 1227604.7907
26 | 2673654.7325 | 1227758.486 | 2673660.5319 | 1227777.904 | 2673674.4405 | 1227836.4374 | 2673676.8536 | 1227844.128 | 2673681.0603 | 1227857.5223 | 2673681.9706 | 1227858.8953
27 | 2673749.83 | 1227740.4185 | 2673744.4659 | 1227741.5305 | 2673654.7325 | 1227758.486
28 | 2673570.2461 | 1227593.3853 | 2673573.661 | 1227603.3688 | 2673574.7297 | 1227604.7907
29 | 2673697.8581 | 1227873.0083 | 2673697.821 | 1227872.9957 | 2673689.4368 | 1227870.1567 | 2673681.9706 | 1227858.8953
30 | 2673749.83 | 1227740.4185 | 2673752.4588 | 1227752.0762
31 | 2673570.2461 | 1227593.3853 | 2673569.6164 | 1227591.5443 | 2673570.7011 | 1227579.8277 | 2673570.8645 | 1227579.4943
32 | 2673697.8581 | 1227873.0083 | 2673711.05 | 1227877.4848 | 2673711.7899 | 1227877.9913
33 | 2673755.3763 | 1227765.0145 | 2673752.4588 | 1227752.0762
34 | 2673799.6938 | 1227959.7939 | 2673804.0111 | 1227956.9233
35 | 2673799.6938 | 1227959.7939 | 2673798.5138 | 1227969.3252
36 | 2673799.6938 | 1227959.7939 | 2673781.8307 | 1227949.5322 | 2673766.6609 | 1227937.803 | 2673755.2956 | 1227922.374 | 2673745.0794 | 1227908.5072
37 | 2673804.0111 | 1227956.9233 | 2673813.4046 | 1227971.694
38 | 2673804.0111 | 1227956.9233 | 2673801.3607 | 1227951.0109
39 | 2673796.0425 | 1227989.2849 | 2673798.5138 | 1227969.3252
40 | 2673745.0794 | 1227908.5072 | 2673741.4485 | 1227903.5788 | 2673727.3939 | 1227888.6725 | 2673711.7899 | 1227877.9913
41 | 2673670.9754 | 1227435.8947 | 2673675.8955 | 1227433.9321
42 | 2673670.9754 | 1227435.8947 | 2673667.7001 | 1227440.8908 | 2673663.568 | 1227453.8705 | 2673646.3433 | 1227511.8626 | 2673635.6724 | 1227519.8358 | 2673629.7307 | 1227523.619
43 | 2673675.8955 | 1227433.9321 | 2673685.0068 | 1227472.3371 | 2673699.605 | 1227532.1466 | 2673700.3767 | 1227535.3468
44 | 2673618.3272 | 1227530.88 | 2673629.7307 | 1227523.619
45 | 2673570.8645 | 1227579.4943 | 2673577.8927 | 1227565.1624 | 2673586.6589 | 1227552.4846 | 2673597.1092 | 1227542.7296 | 2673609.4482 | 1227536.5336 | 2673618.3272 | 1227530.88
46 | 2673703.7201 | 1227549.2111 | 2673704.1953 | 1227551.1816
47 | 2673700.3767 | 1227535.3468 | 2673703.7201 | 1227549.2111
48 | 2673781.7237 | 1227879.1404 | 2673793.6181 | 1227927.8862 | 2673798.6281 | 1227944.9152 | 2673801.3607 | 1227951.0109
49 | 2673675.6066 | 1228212.0551 | 2673686.0471 | 1228203.0142 | 2673734.114 | 1228161.3819 | 2673752.5743 | 1228142.3869 | 2673769.8523 | 1228110.591 | 2673773.145 | 1228099.8913 | 2673780.8045 | 1228074.9919 | 2673789.1934 | 1228035.2917 | 2673791.9706 | 1228022.173 | 2673796.0425 | 1227989.2849
50 | 2673993.4286 | 1227556.4798 | 2673990.3817 | 1227583.924
51 | 2673990.3817 | 1227583.924 | 2673986.6444 | 1227617.5875 | 2673997.4608 | 1227663.119 | 2674007.4041 | 1227692.8897
52 | 2673675.6066 | 1228212.0551 | 2673656.3878 | 1228228.6974 | 2673656.3878 | 1228228.6974
53 | 2673644.6137 | 1228238.347 | 2673656.3878 | 1228228.6974
54 | 2673644.6137 | 1228238.347 | 2673637.5346 | 1228234.7903 | 2673623.8339 | 1228227.8937
55 | 2673644.6137 | 1228238.347 | 2673630.0683 | 1228250.2749 | 2673618.9528 | 1228261.6218
56 | 2673618.9528 | 1228261.6218 | 2673608.2874 | 1228272.5092 | 2673601.5896 | 1228284.8278
57 | 2673601.5896 | 1228284.8278 | 2673589.2819 | 1228307.464 | 2673551.5275 | 1228376.8879 | 2673527.0598 | 1228427.119 | 2673509.9284 | 1228482.7889 | 2673470.2839 | 1228563.075 | 2673467.6226 | 1228568.4676
58 | 2673463.7011 | 1228576.4137 | 2673467.6226 | 1228568.4676
59 | 2673463.7011 | 1228576.4137 | 2673461.595 | 1228580.6683 | 2673455.0557 | 1228591.7172 | 2673438.2635 | 1228617.5605 | 2673435.9184 | 1228621.2046
60 | 2673428.5525 | 1228632.6507 | 2673435.9184 | 1228621.2046
61 | 2673428.5525 | 1228632.6507 | 2673417.9671 | 1228625.2929 | 2673403.3417 | 1228614.4124
62 | 2673984.8505 | 1228385.7218 | 2674001.3811 | 1228385.9275
63 | 2674001.3811 | 1228385.9275 | 2674017.0695 | 1228386.1227 | 2674019.8129 | 1228384.6306
64 | 2673389.4914 | 1228599.8202 | 2673389.9574 | 1228600.4641 | 2673399.6694 | 1228611.6803 | 2673403.3417 | 1228614.4124
65 | 2674026.6843 | 1228380.8932 | 2674019.8129 | 1228384.6306
66 | 2673367.3312 | 1228573.3893 | 2673375.273 | 1228580.1695 | 2673389.4914 | 1228599.8202
67 | 2674026.6843 | 1228380.8932 | 2674040.8838 | 1228373.1701
68 | 2674015.0182 | 1227715.6864 | 2674011.5899 | 1227705.422
69 | 2674011.5899 | 1227705.422 | 2674007.4041 | 1227692.8897

## bus_geodata
| x | y | coords
0 | 2674721.3162 | 1228416.9186
1 | 2674701.9982 | 1228428.4115
2 | 2674673.2747 | 1228446.896
3 | 2674680.1164 | 1228463.7467
4 | 2674660.6849 | 1228450.4926
5 | 2674682.3448 | 1228469.2352
6 | 2674629.9649 | 1228460.054
7 | 2674460.9216 | 1228499.014
8 | 2674148.1085 | 1228661.983
9 | 2674064.8628 | 1228360.4447
10 | 2674064.6532 | 1228360.242
11 | 2674072.6979 | 1228372.9839
12 | 2674094.3057 | 1228407.565
13 | 2674113.3661 | 1228442.3237
14 | 2674080.3287 | 1228385.1962
15 | 2674045.0304 | 1227846.3661
16 | 2674020.0121 | 1227730.6386
17 | 2673826.3547 | 1227992.0572
18 | 2674046.6231 | 1228370.0485
19 | 2673648.8797 | 1227731.1273
20 | 2673652.4537 | 1227750.8517
21 | 2673601.2296 | 1227637.2211
22 | 2673654.7325 | 1227758.486
23 | 2673584.4547 | 1227646.5508
24 | 2673574.7297 | 1227604.7907
25 | 2673681.9706 | 1227858.8953
26 | 2673749.83 | 1227740.4185
27 | 2673570.2461 | 1227593.3853
28 | 2673697.8581 | 1227873.0083
29 | 2673752.4588 | 1227752.0762
30 | 2673799.6938 | 1227959.7939
31 | 2673804.0111 | 1227956.9233
32 | 2673798.5138 | 1227969.3252
33 | 2673745.0794 | 1227908.5072
34 | 2673670.9754 | 1227435.8947
35 | 2673675.8955 | 1227433.9321
36 | 2673629.7307 | 1227523.619
37 | 2673570.8645 | 1227579.4943
38 | 2673711.7899 | 1227877.9913
39 | 2673755.3763 | 1227765.0145
40 | 2673704.1953 | 1227551.1816
41 | 2673703.7201 | 1227549.2111
42 | 2673813.4046 | 1227971.694
43 | 2673801.3607 | 1227951.0109
44 | 2673796.0425 | 1227989.2849
45 | 2673700.3767 | 1227535.3468
46 | 2673618.3272 | 1227530.88
47 | 2673993.4286 | 1227556.4798
48 | 2673990.3817 | 1227583.924
49 | 2673675.6066 | 1228212.0551
50 | 2673656.3878 | 1228228.6974
51 | 2673644.6137 | 1228238.347
52 | 2673623.8339 | 1228227.8937
53 | 2673618.9528 | 1228261.6218
54 | 2673601.5896 | 1228284.8278
55 | 2673467.6226 | 1228568.4676
56 | 2673463.7011 | 1228576.4137
57 | 2673435.9184 | 1228621.2046
58 | 2673428.5525 | 1228632.6507
59 | 2673984.8505 | 1228385.7218
60 | 2674001.3811 | 1228385.9275
61 | 2673403.3417 | 1228614.4124
62 | 2674019.8129 | 1228384.6306
63 | 2673367.3312 | 1228573.3893
64 | 2673389.4914 | 1228599.8202
65 | 2674026.6843 | 1228380.8932
66 | 2674040.8838 | 1228373.1701
67 | 2674015.0182 | 1227715.6864
68 | 2674007.4041 | 1227692.8897
69 | 2674011.5899 | 1227705.422
70 | 2673781.7237 | 1227879.1404
71 | 2674064.6532 | 1228360.242

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99072 | -0.17876 | 0.0031265 | 0.00078357
1 | 0.99078 | -0.17751 | 0.0020886 | 0.00052344
2 | 0.99094 | -0.17435 | 0 | 0
3 | 0.99087 | -0.17574 | 0.003349 | 0.00083934
4 | 0.99106 | -0.17213 | 0.00089543 | 0.00022442
5 | 0.99087 | -0.17585 | 0.00098086 | 0.00024583
6 | 0.99137 | -0.16617 | 0.00062166 | 0.0001558
7 | 0.99313 | -0.13204 | 0 | 0
8 | 0.99672 | -0.062773 | 0 | 0
9 | 1 | -5.9888e-05 | 0 | 0
10 | 1 | 0 | -0.039559 | -0.0095843
11 | 0.99984 | -0.0031032 | 7.8341e-05 | 1.9634e-05
12 | 0.9994 | -0.011409 | 0 | 0
13 | 0.99898 | -0.01947 | 0.00055659 | 0.0001395
14 | 0.99968 | -0.0060484 | 7.8237e-05 | 1.9608e-05
15 | 0.98975 | -0.19765 | 0 | 0
16 | 0.98934 | -0.20549 | 0.00065844 | 0.00016502
17 | 0.99069 | -0.17922 | 0 | 0
18 | 0.99995 | -0.0009427 | 0.000394 | 9.8745e-05
19 | 0.98843 | -0.22328 | 0.0012475 | 0.00031266
20 | 0.98849 | -0.2222 | 0.00052897 | 0.00013257
21 | 0.98826 | -0.22665 | 0 | 0
22 | 0.98851 | -0.2217 | 0 | 0
23 | 0.98826 | -0.22673 | 0.00022952 | 5.7523e-05
24 | 0.9882 | -0.22777 | 0.00015424 | 3.8656e-05
25 | 0.98893 | -0.21346 | 0.00071657 | 0.00017959
26 | 0.98843 | -0.22329 | 0 | 0
27 | 0.98819 | -0.22807 | 0.00011774 | 2.9507e-05
28 | 0.98904 | -0.21141 | 0.00093754 | 0.00023497
29 | 0.98842 | -0.22348 | 0.00024192 | 6.0631e-05
30 | 0.98988 | -0.19507 | 0 | 0
31 | 0.98996 | -0.19346 | 0 | 0
32 | 0.98978 | -0.19686 | 0.00038205 | 9.5751e-05
33 | 0.98939 | -0.20455 | 0.00051603 | 0.00012933
34 | 0.98801 | -0.2315 | 0 | 0
35 | 0.98801 | -0.23157 | 0 | 0
36 | 0.98809 | -0.23008 | 0.00015732 | 3.9429e-05
37 | 0.98817 | -0.22838 | 4.8949e-05 | 1.2268e-05
38 | 0.98912 | -0.2098 | 0.00038031 | 9.5313e-05
39 | 0.98841 | -0.22364 | 0.0006731 | 0.00016869
40 | 0.98793 | -0.2332 | 0.00046572 | 0.00011672
41 | 0.98793 | -0.23318 | 8.3085e-05 | 2.0823e-05
42 | 0.99026 | -0.1876 | 0.00072351 | 0.00018133
43 | 0.98995 | -0.19361 | 0.00044709 | 0.00011205
44 | 0.9896 | -0.20049 | 0.0021523 | 0.00053942
45 | 0.98793 | -0.23304 | 0.00023602 | 5.9153e-05
46 | 0.9881 | -0.22985 | 0.00022823 | 5.72e-05
47 | 0.98913 | -0.20973 | 0.00052482 | 0.00013153
48 | 0.98914 | -0.20947 | 0.00065277 | 0.0001636
49 | 0.98767 | -0.23802 | 0.00050599 | 0.00012681
50 | 0.9875 | -0.24141 | 0.001534 | 0.00038445
51 | 0.98741 | -0.24302 | 0 | 0
52 | 0.98741 | -0.24313 | 0.00027619 | 6.922e-05
53 | 0.98723 | -0.24652 | 0.00092106 | 0.00023084
54 | 0.98711 | -0.24898 | 0.00039557 | 9.914e-05
55 | 0.98586 | -0.27328 | 0.0024958 | 0.0006255
56 | 0.98585 | -0.27357 | 0 | 0
57 | 0.98576 | -0.27528 | 0.00045829 | 0.00011486
58 | 0.98575 | -0.27561 | 0 | 0
59 | 0.99986 | -0.0026586 | 0.0006282 | 0.00015744
60 | 0.99987 | -0.0024775 | 0.00086691 | 0.00021727
61 | 0.98571 | -0.27637 | 0.00040753 | 0.00010214
62 | 0.9999 | -0.0019868 | 0.00025057 | 6.28e-05
63 | 0.98568 | -0.27694 | 0.00038105 | 9.5501e-05
64 | 0.98569 | -0.27671 | 0.00056072 | 0.00014053
65 | 0.99991 | -0.0017486 | 0.00020713 | 5.1912e-05
66 | 0.99994 | -0.0011979 | 0.00028573 | 7.161e-05
67 | 0.9893 | -0.20633 | 0.00089862 | 0.00022521
68 | 0.98926 | -0.20711 | 0.00039751 | 9.9625e-05
69 | 0.98928 | -0.20674 | 0.00053545 | 0.0001342
70 | 0.98989 | -0.19479 | 0.0008834 | 0.0002214
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0031265 | -0.00078357 | 0.0031267 | 0.0007834 | 1.8616e-07 | -1.7078e-07 | 0.0046958 | 0.0046957 | 0.0046958 | 0.99072 | -0.17876 | 0.99078 | -0.17751 | 1.2901
1 | -0.0052152 | -0.0013068 | 0.005216 | 0.0013069 | 7.8578e-07 | 6.2936e-08 | 0.0078325 | 0.0078323 | 0.0078325 | 0.99078 | -0.17751 | 0.99094 | -0.17435 | 2.1518
2 | 0.0043302 | 0.001085 | -0.0043299 | -0.0010851 | 2.8834e-07 | -4.9738e-08 | 0.0065022 | 0.0065023 | 0.0065023 | 0.99094 | -0.17435 | 0.99087 | -0.17574 | 1.7863
3 | -0.0095462 | -0.002392 | 0.0095472 | 0.0023924 | 1.0089e-06 | 4.7701e-07 | 0.014335 | 0.014334 | 0.014335 | 0.99094 | -0.17435 | 0.99106 | -0.17213 | 3.9381
4 | 0.00098087 | 0.00024575 | -0.00098086 | -0.00024583 | 4.8196e-09 | -7.3216e-08 | 0.001473 | 0.001473 | 0.001473 | 0.99087 | -0.17574 | 0.99087 | -0.17585 | 0.40467
5 | -0.010443 | -0.0026168 | 0.010446 | 0.0026183 | 2.9659e-06 | 1.4835e-06 | 0.015679 | 0.015679 | 0.015679 | 0.99106 | -0.17213 | 0.99137 | -0.16617 | 4.3074
6 | -0.011067 | -0.0027741 | 0.011085 | 0.0027834 | 1.8023e-05 | 9.2848e-06 | 0.016612 | 0.016611 | 0.016612 | 0.99137 | -0.16617 | 0.99313 | -0.13204 | 4.5637
7 | -0.011085 | -0.0027834 | 0.011122 | 0.0028023 | 3.6739e-05 | 1.8902e-05 | 0.016611 | 0.016609 | 0.016611 | 0.99313 | -0.13204 | 0.99672 | -0.062773 | 4.5635
8 | -0.011122 | -0.0028023 | 0.011145 | 0.0028142 | 2.308e-05 | 1.1857e-05 | 0.016609 | 0.016608 | 0.016609 | 0.99672 | -0.062773 | 0.99898 | -0.01947 | 4.563
9 | -0.011869 | -0.0029987 | 0.011869 | 0.0029987 | 3.4072e-08 | 1.7989e-08 | 0.01767 | 0.01767 | 0.01767 | 1 | -5.9888e-05 | 1 | 0 | 4.8544
10 | 0.011869 | 0.0029987 | -0.011867 | -0.0029977 | 1.7312e-06 | 9.1403e-07 | 0.01767 | 0.01767 | 0.01767 | 1 | -5.9888e-05 | 0.99984 | -0.0031032 | 4.8544
11 | 0.023407 | 0.0059267 | -0.023208 | -0.0058046 | 0.00019963 | 0.00012206 | 0.034852 | 0.034854 | 0.034854 | 1 | 0 | 0.99069 | -0.17922 | 9.5753
12 | 0.0026328 | 0.00065881 | -0.0026327 | -0.000659 | 1.1811e-07 | -1.9366e-07 | 0.0039173 | 0.0039174 | 0.0039174 | 1 | 0 | 0.99995 | -0.0009427 | 1.0762
13 | 0.011789 | 0.0029781 | -0.011787 | -0.0029772 | 1.6639e-06 | 8.7609e-07 | 0.017554 | 0.017554 | 0.017554 | 0.99984 | -0.0031032 | 0.99968 | -0.0060484 | 4.8224
14 | 0.011706 | 0.002956 | -0.011702 | -0.0029537 | 4.5201e-06 | 2.3736e-06 | 0.017437 | 0.017437 | 0.017437 | 0.9994 | -0.011409 | 0.99898 | -0.01947 | 4.7905
15 | -0.011706 | -0.002956 | 0.011709 | 0.0029576 | 3.0075e-06 | 1.5791e-06 | 0.017437 | 0.017437 | 0.017437 | 0.9994 | -0.011409 | 0.99968 | -0.0060484 | 4.7905
16 | 0.0036693 | 0.00091643 | -0.0036679 | -0.0009171 | 1.366e-06 | -6.6392e-07 | 0.0055154 | 0.005516 | 0.005516 | 0.98975 | -0.19765 | 0.98934 | -0.20549 | 1.5154
17 | -0.0036693 | -0.00091643 | 0.0036725 | 0.00091487 | 3.2121e-06 | -1.5673e-06 | 0.0055154 | 0.0055142 | 0.0055154 | 0.98975 | -0.19765 | 0.99069 | -0.17922 | 1.5152
18 | 0.0030095 | 0.00075208 | -0.0030094 | -0.0007522 | 1.2108e-07 | -1.2493e-07 | 0.0045256 | 0.0045257 | 0.0045257 | 0.98934 | -0.20549 | 0.9893 | -0.20633 | 1.2433
19 | 0.019535 | 0.0048898 | -0.019528 | -0.0048851 | 7.7901e-06 | 4.6751e-06 | 0.02934 | 0.02934 | 0.02934 | 0.99069 | -0.17922 | 0.99026 | -0.1876 | 8.0604
20 | 0.0022387 | 0.00056026 | -0.0022387 | -0.00056032 | 2.7185e-08 | -6.8304e-08 | 0.0033311 | 0.0033311 | 0.0033311 | 0.99995 | -0.0009427 | 0.99994 | -0.0011979 | 0.91514
21 | -0.002969 | -0.00073784 | 0.0029691 | 0.00073767 | 1.5092e-07 | -1.6191e-07 | 0.0044674 | 0.0044673 | 0.0044674 | 0.98843 | -0.22328 | 0.98849 | -0.2222 | 1.2273
22 | 0.0017214 | 0.00042517 | -0.0017211 | -0.00042639 | 2.7382e-07 | -1.2203e-06 | 0.0025893 | 0.0025898 | 0.0025898 | 0.98843 | -0.22328 | 0.98826 | -0.22665 | 0.71147
23 | -0.0034981 | -0.00087025 | 0.0034982 | 0.0008702 | 8.2772e-08 | -4.9159e-08 | 0.0052635 | 0.0052635 | 0.0052635 | 0.98849 | -0.2222 | 0.98851 | -0.2217 | 1.446
24 | 0.00022952 | 5.7277e-05 | -0.00022952 | -5.7523e-05 | 8.6342e-10 | -2.4652e-07 | 0.0003455 | 0.00034559 | 0.00034559 | 0.98826 | -0.22665 | 0.98826 | -0.22673 | 0.094942
25 | 0.0014916 | 0.00036912 | -0.0014915 | -0.0003696 | 7.9204e-08 | -4.8654e-07 | 0.0022443 | 0.0022445 | 0.0022445 | 0.98826 | -0.22665 | 0.9882 | -0.22777 | 0.61661
26 | -0.0044133 | -0.001098 | 0.004415 | 0.0010978 | 1.7225e-06 | -2.3365e-07 | 0.0066405 | 0.00664 | 0.0066405 | 0.98851 | -0.2217 | 0.98893 | -0.21346 | 1.8243
27 | 0.0009151 | 0.00022781 | -0.00091503 | -0.00022901 | 6.8848e-08 | -1.1968e-06 | 0.001377 | 0.0013774 | 0.0013774 | 0.98851 | -0.2217 | 0.98843 | -0.22329 | 0.37841
28 | 0.0013373 | 0.00033095 | -0.0013373 | -0.00033109 | 1.8722e-08 | -1.4598e-07 | 0.0020122 | 0.0020123 | 0.0020123 | 0.9882 | -0.22777 | 0.98819 | -0.22807 | 0.55282
29 | -0.0051316 | -0.0012774 | 0.0051321 | 0.0012774 | 5.0044e-07 | 3.2817e-08 | 0.0077182 | 0.0077181 | 0.0077182 | 0.98893 | -0.21346 | 0.98904 | -0.21141 | 2.1204
30 | 0.00091503 | 0.00022901 | -0.00091503 | -0.00022916 | 8.5027e-09 | -1.4773e-07 | 0.0013774 | 0.0013775 | 0.0013775 | 0.98843 | -0.22329 | 0.98842 | -0.22348 | 0.37842
31 | 0.0012196 | 0.00030159 | -0.0012195 | -0.00030176 | 1.7784e-08 | -1.6905e-07 | 0.001835 | 0.001835 | 0.001835 | 0.98819 | -0.22807 | 0.98817 | -0.22838 | 0.50413
32 | -0.0060696 | -0.0015124 | 0.0060701 | 0.0015125 | 4.6335e-07 | 1.0624e-07 | 0.0091286 | 0.0091286 | 0.0091286 | 0.98904 | -0.21141 | 0.98912 | -0.2098 | 2.5079
33 | 0.0006731 | 0.00016853 | -0.0006731 | -0.00016869 | 5.1068e-09 | -1.6673e-07 | 0.0010133 | 0.0010133 | 0.0010133 | 0.98842 | -0.22348 | 0.98841 | -0.22364 | 0.27839
34 | -0.017467 | -0.0043674 | 0.017468 | 0.0043682 | 1.3373e-06 | 7.8934e-07 | 0.026253 | 0.026253 | 0.026253 | 0.98988 | -0.19507 | 0.98996 | -0.19346 | 7.2124
35 | 0.010496 | 0.0026288 | -0.010495 | -0.0026284 | 8.9647e-07 | 4.5029e-07 | 0.015777 | 0.015777 | 0.015777 | 0.98988 | -0.19507 | 0.98978 | -0.19686 | 4.3343
36 | 0.0069711 | 0.0017386 | -0.006968 | -0.0017376 | 3.1347e-06 | 1.0276e-06 | 0.010476 | 0.010477 | 0.010477 | 0.98988 | -0.19507 | 0.98939 | -0.20455 | 2.8782
37 | -0.018799 | -0.0047007 | 0.018804 | 0.0047038 | 5.2397e-06 | 3.1283e-06 | 0.028253 | 0.028253 | 0.028253 | 0.98996 | -0.19346 | 0.99026 | -0.1876 | 7.7618
38 | 0.0013306 | 0.00033245 | -0.0013305 | -0.00033253 | 9.7152e-09 | -7.7086e-08 | 0.0019996 | 0.0019996 | 0.0019996 | 0.98996 | -0.19346 | 0.98995 | -0.19361 | 0.54935
39 | 0.010113 | 0.0025326 | -0.010111 | -0.0025318 | 1.7431e-06 | 8.5716e-07 | 0.015203 | 0.015203 | 0.015203 | 0.98978 | -0.19686 | 0.9896 | -0.20049 | 4.1766
40 | 0.006452 | 0.0016082 | -0.0064504 | -0.0016078 | 1.6063e-06 | 4.436e-07 | 0.0097005 | 0.0097007 | 0.0097007 | 0.98939 | -0.20455 | 0.98912 | -0.2098 | 2.665
41 | 0.00078489 | 0.00019512 | -0.00078489 | -0.00019519 | 2.7663e-09 | -6.59e-08 | 0.0011815 | 0.0011816 | 0.0011816 | 0.98801 | -0.2315 | 0.98801 | -0.23157 | 0.3246
42 | -0.00078489 | -0.00019512 | 0.00078494 | 0.00019387 | 5.2569e-08 | -1.253e-06 | 0.0011815 | 0.0011811 | 0.0011815 | 0.98801 | -0.2315 | 0.98809 | -0.23008 | 0.3246
43 | 0.00078489 | 0.00019519 | -0.00078483 | -0.00019649 | 5.4641e-08 | -1.301e-06 | 0.0011816 | 0.001182 | 0.001182 | 0.98801 | -0.23157 | 0.98793 | -0.23304 | 0.32473
44 | -0.00094226 | -0.0002333 | 0.00094227 | 0.00023313 | 1.0193e-08 | -1.6664e-07 | 0.001418 | 0.0014179 | 0.001418 | 0.98809 | -0.23008 | 0.9881 | -0.22985 | 0.38956
45 | 0.0011706 | 0.00028949 | -0.0011705 | -0.00029033 | 8.1455e-08 | -8.4462e-07 | 0.0017613 | 0.0017616 | 0.0017616 | 0.98817 | -0.22838 | 0.9881 | -0.22985 | 0.48397
46 | -0.00046572 | -0.00011672 | 0.00046572 | 0.00011669 | 3.7402e-10 | -2.5715e-08 | 0.00070147 | 0.00070146 | 0.00070147 | 0.98793 | -0.2332 | 0.98793 | -0.23318 | 0.19271
47 | -0.00054881 | -0.00013752 | 0.00054881 | 0.00013734 | 3.6539e-09 | -1.8028e-07 | 0.0008266 | 0.00082654 | 0.0008266 | 0.98793 | -0.23318 | 0.98793 | -0.23304 | 0.22709
48 | 0.00088345 | 0.00022047 | -0.0008834 | -0.0002214 | 4.9324e-08 | -9.2759e-07 | 0.0013276 | 0.0013279 | 0.0013279 | 0.98995 | -0.19361 | 0.98989 | -0.19479 | 0.36482
49 | 0.0079587 | 0.0019923 | -0.0079445 | -0.0019866 | 1.4202e-05 | 5.6981e-06 | 0.011966 | 0.011968 | 0.011968 | 0.9896 | -0.20049 | 0.98767 | -0.23802 | 3.2878
50 | -0.00052482 | -0.00013153 | 0.00052483 | 0.00013118 | 6.4537e-09 | -3.503e-07 | 0.00078953 | 0.0007894 | 0.00078953 | 0.98913 | -0.20973 | 0.98914 | -0.20947 | 0.2169
51 | -0.0011776 | -0.00029478 | 0.0011777 | 0.00029343 | 1.3182e-07 | -1.3542e-06 | 0.0017714 | 0.0017709 | 0.0017714 | 0.98914 | -0.20947 | 0.98926 | -0.20711 | 0.48665
52 | 0.0074385 | 0.0018598 | -0.0074373 | -0.0018594 | 1.197e-06 | 4.408e-07 | 0.011205 | 0.011205 | 0.011205 | 0.98767 | -0.23802 | 0.9875 | -0.24141 | 3.0784
53 | 0.0059034 | 0.0014749 | -0.0059029 | -0.0014748 | 4.5157e-07 | 9.4267e-08 | 0.0088939 | 0.008894 | 0.008894 | 0.9875 | -0.24141 | 0.98741 | -0.24302 | 2.4434
54 | 0.00027619 | 6.8924e-05 | -0.00027619 | -6.922e-05 | 1.5108e-09 | -2.9657e-07 | 0.00041611 | 0.00041622 | 0.00041622 | 0.98741 | -0.24302 | 0.98741 | -0.24313 | 0.11435
55 | 0.0056267 | 0.0014059 | -0.0056258 | -0.0014058 | 9.3514e-07 | 1.5479e-07 | 0.0084779 | 0.008478 | 0.008478 | 0.98741 | -0.24302 | 0.98723 | -0.24652 | 2.3291
56 | 0.0047047 | 0.0011749 | -0.0047042 | -0.0011749 | 5.5159e-07 | -2.1102e-08 | 0.0070898 | 0.0070899 | 0.0070899 | 0.98723 | -0.24652 | 0.98711 | -0.24898 | 1.9478
57 | 0.0043086 | 0.0010758 | -0.0043036 | -0.0010766 | 4.9736e-06 | -8.3173e-07 | 0.0064936 | 0.006495 | 0.006495 | 0.98711 | -0.24898 | 0.98586 | -0.27328 | 1.7843
58 | 0.0018078 | 0.00045114 | -0.0018078 | -0.00045123 | 2.4729e-08 | -9.716e-08 | 0.002728 | 0.002728 | 0.002728 | 0.98586 | -0.27328 | 0.98585 | -0.27357 | 0.74946
59 | 0.0018078 | 0.00045123 | -0.0018077 | -0.00045181 | 1.472e-07 | -5.782e-07 | 0.002728 | 0.0027283 | 0.0027283 | 0.98585 | -0.27357 | 0.98576 | -0.27528 | 0.74952
60 | 0.0013494 | 0.00033695 | -0.0013494 | -0.00033711 | 2.1169e-08 | -1.5997e-07 | 0.0020365 | 0.0020365 | 0.0020365 | 0.98576 | -0.27528 | 0.98575 | -0.27561 | 0.55949
61 | 0.0013494 | 0.00033711 | -0.0013493 | -0.00033748 | 4.8404e-08 | -3.6572e-07 | 0.0020365 | 0.0020367 | 0.0020367 | 0.98575 | -0.27561 | 0.98571 | -0.27637 | 0.55953
62 | -0.0006282 | -0.00015744 | 0.0006282 | 0.00015723 | 5.4181e-09 | -2.1336e-07 | 0.0009349 | 0.00093482 | 0.0009349 | 0.99986 | -0.0026586 | 0.99987 | -0.0024775 | 0.25684
63 | -0.0014951 | -0.0003745 | 0.0014951 | 0.00037427 | 3.4922e-08 | -2.244e-07 | 0.002225 | 0.0022249 | 0.002225 | 0.99987 | -0.0024775 | 0.9999 | -0.0019868 | 0.61125
64 | 0.00094179 | 0.00023534 | -0.00094177 | -0.00023559 | 1.5313e-08 | -2.4779e-07 | 0.0014215 | 0.0014216 | 0.0014216 | 0.98571 | -0.27637 | 0.98569 | -0.27671 | 0.39054
65 | -0.0017457 | -0.00043707 | 0.0017457 | 0.00043698 | 1.9795e-08 | -8.9931e-08 | 0.0025978 | 0.0025977 | 0.0025978 | 0.9999 | -0.0019868 | 0.99991 | -0.0017486 | 0.71367
66 | -0.00038105 | -9.5501e-05 | 0.00038106 | 9.5061e-05 | 4.3045e-09 | -4.3951e-07 | 0.00057525 | 0.00057509 | 0.00057525 | 0.98568 | -0.27694 | 0.98569 | -0.27671 | 0.15804
67 | -0.0019529 | -0.00048889 | 0.0019529 | 0.00048871 | 5.1186e-08 | -1.7927e-07 | 0.002906 | 0.0029059 | 0.002906 | 0.99991 | -0.0017486 | 0.99994 | -0.0011979 | 0.79835
68 | 0.0021108 | 0.00052699 | -0.0021107 | -0.0005271 | 4.0887e-08 | -1.1278e-07 | 0.0031741 | 0.0031742 | 0.0031742 | 0.9893 | -0.20633 | 0.98928 | -0.20674 | 0.87202
69 | -0.0015752 | -0.00039305 | 0.0015753 | 0.0003929 | 2.7802e-08 | -1.5185e-07 | 0.0023688 | 0.0023688 | 0.0023688 | 0.98926 | -0.20711 | 0.98928 | -0.20674 | 0.65077

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.039559 | 0.0095843

## res_load
| p_mw | q_mvar
0 | 0.0031265 | 0.00078357
1 | 0.0020886 | 0.00052344
2 | 0.003349 | 0.00083934
3 | 0.00089543 | 0.00022442
4 | 0.00098086 | 0.00024583
5 | 0.00062166 | 0.0001558
6 | 7.8341e-05 | 1.9634e-05
7 | 0.00055659 | 0.0001395
8 | 7.8237e-05 | 1.9608e-05
9 | 0.00065844 | 0.00016502
10 | 0.000394 | 9.8745e-05
11 | 0.0012475 | 0.00031266
12 | 0.00052897 | 0.00013257
13 | 0.00022952 | 5.7523e-05
14 | 0.00015424 | 3.8656e-05
15 | 0.00071657 | 0.00017959
16 | 0.00011774 | 2.9507e-05
17 | 0.00093754 | 0.00023497
18 | 0.00024192 | 6.0631e-05
19 | 0.00038205 | 9.5751e-05
20 | 0.00051603 | 0.00012933
21 | 0.00015732 | 3.9429e-05
22 | 4.8949e-05 | 1.2268e-05
23 | 0.00038031 | 9.5313e-05
24 | 0.0006731 | 0.00016869
25 | 0.00046572 | 0.00011672
26 | 8.3085e-05 | 2.0823e-05
27 | 0.00072351 | 0.00018133
28 | 0.00044709 | 0.00011205
29 | 0.0021523 | 0.00053942
30 | 0.00023602 | 5.9153e-05
31 | 0.00022823 | 5.72e-05
32 | 0.00052482 | 0.00013153
33 | 0.00065277 | 0.0001636
34 | 0.00050599 | 0.00012681
35 | 0.001534 | 0.00038445
36 | 0.00027619 | 6.922e-05
37 | 0.00092106 | 0.00023084
38 | 0.00039557 | 9.914e-05
39 | 0.0024958 | 0.0006255
40 | 0.00045829 | 0.00011486
41 | 0.0006282 | 0.00015744
42 | 0.00086691 | 0.00021727
43 | 0.00040753 | 0.00010214
44 | 0.00025057 | 6.28e-05
45 | 0.00038105 | 9.5501e-05
46 | 0.00056072 | 0.00014053
47 | 0.00020713 | 5.1912e-05
48 | 0.00028573 | 7.161e-05
49 | 0.00089862 | 0.00022521
50 | 0.00039751 | 9.9625e-05
51 | 0.00053545 | 0.0001342
52 | 0.0008834 | 0.0002214

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1