## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1703-29_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1703-29_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1703-29_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1703-29_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1703-29_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1703-29_0_3_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_1703-29_0_3_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1703-29_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1703-29_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1703-29_0_3_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_1703-29_0_3_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_1703-29_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1703-29_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1703-29_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1703-29_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1703-29_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1703-29_0_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1703-29_0_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_1703-29_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1703-29_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1703-29_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1703-29_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1703-29_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1703-29_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1703-29_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1703-29_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1703-29_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1703-29_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1703-29_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1703-29_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_1703-29_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1703-29_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1703-29_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1703-29_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1703-29_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1703-29_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1703-29_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_1703-29_0_3_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1703-29_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_1703-29_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1703-29_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1703-29_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1703-29_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1703-29_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1703-29_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1703-29_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_1703-29_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_1703-29_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_1703-29_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_MV_435_1_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1703-29_0_3_load_0 | 0 | 0.00015408 | 3.8615e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1703-29_0_3_load_2 | 2 | 3.8078e-05 | 9.5431e-06 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1703-29_0_3_load_23 | 5 | 0.0068818 | 0.0017247 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1703-29_0_3_load_5 | 7 | 0.00010868 | 2.7238e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1703-29_0_3_load_48 | 10 | 0.00097455 | 0.00024424 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1703-29_0_3_load_10 | 14 | 0.00013184 | 3.3041e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1703-29_0_3_load_22 | 15 | 0.00013719 | 3.4384e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1703-29_0_3_load_29 | 16 | 0.01316 | 0.0032982 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1703-29_0_3_load_27 | 17 | 0.0070844 | 0.0017755 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1703-29_0_3_load_13 | 18 | 7.4509e-05 | 1.8674e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1703-29_0_3_load_9 | 19 | 0.0013599 | 0.00034082 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1703-29_0_3_load_11 | 20 | 0.00021368 | 5.3552e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1703-29_0_3_load_12 | 21 | 0.00028032 | 7.0256e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1703-29_0_3_load_14 | 22 | 0.00018359 | 4.6011e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1703-29_0_3_load_15 | 23 | 0.00029393 | 7.3666e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1703-29_0_3_load_17 | 25 | 0.0012779 | 0.00032027 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1703-29_0_3_load_18 | 26 | 0.00029965 | 7.51e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1703-29_0_3_load_19 | 27 | 0.00011008 | 2.7589e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1703-29_0_3_load_20 | 28 | 0.00030058 | 7.5333e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1703-29_0_3_load_50 | 29 | 0.00011947 | 2.9943e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1703-29_0_3_load_21 | 30 | 0.00020207 | 5.0644e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1703-29_0_3_load_24 | 31 | 0.092067 | 0.023074 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1703-29_0_3_load_25 | 32 | 0.012721 | 0.0031881 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1703-29_0_3_load_26 | 33 | 0.041346 | 0.010362 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1703-29_0_3_load_32 | 34 | 0.024326 | 0.0060966 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1703-29_0_3_load_31 | 35 | 0.016118 | 0.0040394 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1703-29_0_3_load_44 | 36 | 0.0024475 | 0.00061339 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1703-29_0_3_load_42 | 37 | 0.00080601 | 0.00020201 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1703-29_0_3_load_47 | 38 | 0.00057188 | 0.00014333 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1703-29_0_3_load_34 | 40 | 0.0095743 | 0.0023995 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1703-29_0_3_load_40 | 42 | 0.0041136 | 0.001031 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1703-29_0_3_load_37 | 43 | 0.00040784 | 0.00010221 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1703-29_0_3_load_46 | 45 | 0.0032455 | 0.00081341 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1703-29_0_3_load_45 | 46 | 0.0026794 | 0.00067151 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1703-29_0_3_load_41 | 48 | 0.00019326 | 4.8436e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1703-29_0_3_line_0 |  | 0 | 1 | 0.12346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1703-29_0_3_line_1 |  | 1 | 2 | 0.08681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1703-29_0_3_line_2 |  | 1 | 3 | 0.17809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1703-29_0_3_line_3 |  | 2 | 4 | 0.11636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1703-29_0_3_line_4 |  | 3 | 5 | 0.019808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1703-29_0_3_line_5 |  | 3 | 6 | 0.17555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1703-29_0_3_line_6 |  | 4 | 7 | 0.020058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1703-29_0_3_line_7 |  | 5 | 15 | 0.13767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1703-29_0_3_line_8 |  | 6 | 16 | 0.10466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1703-29_0_3_line_9 |  | 6 | 17 | 0.055847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1703-29_0_3_line_10 |  | 6 | 8 | 0.32452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1703-29_0_3_line_11 |  | 7 | 13 | 0.0052782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1703-29_0_3_line_12 |  | 8 | 9 | 0.10518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1703-29_0_3_line_13 |  | 8 | 10 | 0.01928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1703-29_0_3_line_14 |  | 9 | 36 | 0.021268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1703-29_0_3_line_15 |  | 9 | 37 | 0.033411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1703-29_0_3_line_16 |  | 10 | 38 | 0.020498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1703-29_0_3_line_17 |  | 11 | 12 | 0.084645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1703-29_0_3_line_18 |  | 11 | 13 | 0.006403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1703-29_0_3_line_19 |  | 11 | 14 | 0.033307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1703-29_0_3_line_20 |  | 12 | 18 | 0.020135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1703-29_0_3_line_21 |  | 14 | 19 | 0.00012246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1703-29_0_3_line_22 |  | 15 | 30 | 0.0092401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1703-29_0_3_line_23 |  | 16 | 34 | 0.025974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1703-29_0_3_line_24 |  | 17 | 32 | 0.0045608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1703-29_0_3_line_25 |  | 19 | 20 | 0.020647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1703-29_0_3_line_26 |  | 20 | 21 | 0.0096043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1703-29_0_3_line_27 |  | 22 | 23 | 0.022486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1703-29_0_3_line_28 |  | 22 | 24 | 0.21896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1703-29_0_3_line_29 |  | 23 | 25 | 0.020081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1703-29_0_3_line_30 |  | 24 | 26 | 0.074571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1703-29_0_3_line_31 |  | 24 | 27 | 0.17717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1703-29_0_3_line_32 |  | 25 | 28 | 0.0033693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1703-29_0_3_line_33 |  | 26 | 29 | 0.009729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1703-29_0_3_line_34 |  | 28 | 30 | 0.0060237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1703-29_0_3_line_35 |  | 31 | 32 | 0.030979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1703-29_0_3_line_36 |  | 31 | 33 | 0.054351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1703-29_0_3_line_37 |  | 34 | 35 | 0.039071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1703-29_0_3_line_38 |  | 35 | 39 | 0.17959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1703-29_0_3_line_39 |  | 36 | 46 | 0.039645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1703-29_0_3_line_40 |  | 39 | 40 | 0.029311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1703-29_0_3_line_41 |  | 39 | 41 | 0.1119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1703-29_0_3_line_42 |  | 40 | 42 | 0.037004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1703-29_0_3_line_43 |  | 41 | 43 | 0.041892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1703-29_0_3_line_44 |  | 43 | 44 | 0.017108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1703-29_0_3_line_45 |  | 44 | 47 | 0.21763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1703-29_0_3_line_46 |  | 45 | 46 | 0.0006965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1703-29_0_3_line_47 |  | 47 | 48 | 0.27685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1703-29_0_3_trafo_27 | 0.63 MVA 20/0.4 kV | 49 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2674011.8957 | 1226029.1022 | 2673994.8402 | 1226028.4342 | 2673965.5182 | 1226032.1166 | 2673930.4863 | 1226036.551 | 2673909.9972 | 1226049.2717 | 2673895.7298 | 1226059.2462
1 | 2674011.8957 | 1226029.1022 | 2673987.0422 | 1226107.4674 | 2673985.4986 | 1226111.7991
2 | 2674011.8957 | 1226029.1022 | 2674044.5396 | 1225918.1125 | 2674057.3848 | 1225887.9968 | 2674033.7795 | 1225881.8102 | 2674028.8834 | 1225879.8925
3 | 2673946.4423 | 1226221.405 | 2673985.4986 | 1226111.7991
4 | 2674028.8834 | 1225879.8925 | 2674010.7716 | 1225883.0471 | 2674009.3503 | 1225883.1229
5 | 2674028.8834 | 1225879.8925 | 2674025.7718 | 1225871.6483 | 2674021.5678 | 1225853.106 | 2674014.1469 | 1225730.5771 | 2674010.6032 | 1225705.8722
6 | 2673946.4423 | 1226221.405 | 2673945.6726 | 1226223.5635 | 2673943.8268 | 1226228.744 | 2673939.7083 | 1226240.2989
7 | 2673874.8215 | 1225909.051 | 2673901.0548 | 1225901.3961 | 2673943.1898 | 1225889.1001 | 2673967.5209 | 1225886.3005 | 2673988.2798 | 1225884.2461 | 2674009.3503 | 1225883.1229
8 | 2674010.6032 | 1225705.8722 | 2673996.5854 | 1225618.151 | 2673996.4639 | 1225612.0788 | 2673996.2661 | 1225602.3304
9 | 2674010.6032 | 1225705.8722 | 2673999.5492 | 1225705.9459 | 2673968.9798 | 1225710.4468 | 2673955.234 | 1225712.469
10 | 2674010.6032 | 1225705.8722 | 2674035.7718 | 1225701.6268 | 2674050.5573 | 1225697.1633 | 2674077.3122 | 1225678.1614 | 2674095.1866 | 1225662.4735 | 2674108.2484 | 1225658.2333 | 2674122.0166 | 1225656.9372 | 2674163.0101 | 1225657.9373 | 2674213.6457 | 1225652.9318 | 2674227.1103 | 1225656.5243 | 2674253.1882 | 1225671.7818 | 2674260.5253 | 1225674.3195 | 2674268.7768 | 1225675.879 | 2674277.5201 | 1225661.1116 | 2674293.1992 | 1225635.5015
11 | 2673937.9361 | 1226245.2707 | 2673939.7083 | 1226240.2989
12 | 2674336.1135 | 1225539.8183 | 2674334.8619 | 1225542.3043 | 2674295.5318 | 1225624.1564 | 2674293.1992 | 1225635.5015
13 | 2674293.1992 | 1225635.5015 | 2674312.3596 | 1225633.359
14 | 2674336.1135 | 1225539.8183 | 2674320.3893 | 1225525.4972
15 | 2674336.1135 | 1225539.8183 | 2674346.88 | 1225518.4942 | 2674351.9655 | 1225510.4428
16 | 2674332.7303 | 1225631.0811 | 2674312.3596 | 1225633.359
17 | 2673943.9262 | 1226247.58 | 2673937.4275 | 1226265.4555 | 2673931.487 | 1226281.1143 | 2673912.8615 | 1226326.3241
18 | 2673943.9262 | 1226247.58 | 2673937.9361 | 1226245.2707
19 | 2673943.9262 | 1226247.58 | 2673977.0613 | 1226250.9573
20 | 2673912.8615 | 1226326.3241 | 2673930.8354 | 1226335.3987
21 | 2673977.1831 | 1226250.9697 | 2673977.0613 | 1226250.9573
22 | 2673865.7918 | 1225910.9705 | 2673872.5845 | 1225909.7037 | 2673874.8215 | 1225909.051
23 | 2673996.2052 | 1225576.3569 | 2673996.2028 | 1225579.4318 | 2673996.1819 | 1225598.1773 | 2673996.2661 | 1225602.3304
24 | 2673950.7217 | 1225713.1328 | 2673955.234 | 1225712.469
25 | 2673977.1831 | 1226250.9697 | 2673997.7235 | 1226253.0633
26 | 2674005.8675 | 1226247.9723 | 2673997.7235 | 1226253.0633
27 | 2673836.7406 | 1225915.0397 | 2673827.7922 | 1225914.4178 | 2673814.7329 | 1225917.9026
28 | 2673610.7771 | 1225911.5282 | 2673639.5391 | 1225920.6456 | 2673668.7235 | 1225928.712 | 2673691.1083 | 1225940.4191 | 2673704.0044 | 1225945.2041 | 2673712.3956 | 1225948.3101 | 2673728.6513 | 1225949.3121 | 2673751.4803 | 1225944.7363 | 2673787.3889 | 1225935.0416 | 2673799.7361 | 1225930.2915 | 2673810.1603 | 1225925.9623 | 2673814.7329 | 1225917.9026
29 | 2673836.7406 | 1225915.0397 | 2673842.0089 | 1225915.4059 | 2673856.558 | 1225912.6926
30 | 2673610.7771 | 1225911.5282 | 2673605.3132 | 1225907.7026 | 2673594.5351 | 1225895.3167 | 2673582.3834 | 1225884.2703 | 2673572.4987 | 1225878.7 | 2673560.3733 | 1225865.5192 | 2673556.8601 | 1225860.8997
31 | 2673610.7771 | 1225911.5282 | 2673606.5553 | 1225913.3105 | 2673586.7543 | 1225915.7785 | 2673565.984 | 1225920.0023 | 2673551.1049 | 1225921.6973 | 2673529.2379 | 1225921.427 | 2673518.3496 | 1225922.2375 | 2673507.5161 | 1225926.5843 | 2673500.3074 | 1225934.5228 | 2673484.8897 | 1225979.8179 | 2673481.6174 | 1225982.0679 | 2673472.3835 | 1225980.0034
32 | 2673859.8703 | 1225912.0749 | 2673856.558 | 1225912.6926
33 | 2673556.8601 | 1225860.8997 | 2673550.9706 | 1225853.1558
34 | 2673859.8703 | 1225912.0749 | 2673865.7918 | 1225910.9705
35 | 2673920.8693 | 1225704.8817 | 2673923.0379 | 1225705.6618 | 2673950.7217 | 1225713.1328 | 2673950.7217 | 1225713.1328
36 | 2673920.8693 | 1225704.8817 | 2673899.8904 | 1225697.3355 | 2673878.7734 | 1225682.3969 | 2673873.4671 | 1225679.2107
37 | 2673996.9919 | 1225537.3059 | 2673996.2279 | 1225551.8138 | 2673996.2197 | 1225557.3507 | 2673996.2052 | 1225576.3569
38 | 2674017.3437 | 1225359.0934 | 2674007.0997 | 1225417.1044 | 2674004.0011 | 1225438.8691 | 2673998.6092 | 1225506.6469 | 2673997.8657 | 1225520.7136 | 2673996.9919 | 1225537.3059
39 | 2674320.3893 | 1225525.4972 | 2674300.8002 | 1225507.6562 | 2674294.5357 | 1225496.0949
40 | 2674017.3437 | 1225359.0934 | 2674035.8724 | 1225362.1592 | 2674046.2259 | 1225364.0785
41 | 2674004.9143 | 1225248.4436 | 2674007.9257 | 1225255.0298 | 2674008.8834 | 1225259.7115 | 2674010.2392 | 1225268.9566 | 2674017.9031 | 1225345.2023 | 2674017.6406 | 1225351.6811 | 2674017.3437 | 1225359.0934
42 | 2674070.2823 | 1225343.4638 | 2674065.1735 | 1225344.5898 | 2674059.384 | 1225352.2896 | 2674057.154 | 1225362.7243 | 2674051.4315 | 1225365.0435 | 2674046.2259 | 1225364.0785
43 | 2674004.9143 | 1225248.4436 | 2673975.8502 | 1225218.2735
44 | 2673960.7801 | 1225210.1809 | 2673965.8845 | 1225213.0685 | 2673975.8502 | 1225218.2735
45 | 2673876.893 | 1225025.5063 | 2673879.948 | 1225042.6444 | 2673885.3266 | 1225052.1619 | 2673893.2255 | 1225060.8212 | 2673927.9155 | 1225087.4028 | 2673936.5351 | 1225099.062 | 2673941.0633 | 1225109.2805 | 2673943.4211 | 1225121.4956 | 2673940.2011 | 1225154.8665 | 2673940.331 | 1225175.5262 | 2673943.8365 | 1225189.3345 | 2673948.1041 | 1225197.9376 | 2673956.2703 | 1225207.6343 | 2673960.7801 | 1225210.1809
46 | 2674294.2039 | 1225495.4825 | 2674294.5357 | 1225496.0949
47 | 2673876.893 | 1225025.5063 | 2673881.0027 | 1225005.3329 | 2673897.44 | 1224950.4118 | 2673909.6294 | 1224902.9985 | 2673952.1771 | 1224759.1775

## bus_geodata
| x | y | coords
0 | 2673895.7298 | 1226059.2462
1 | 2674011.8957 | 1226029.1022
2 | 2673985.4986 | 1226111.7991
3 | 2674028.8834 | 1225879.8925
4 | 2673946.4423 | 1226221.405
5 | 2674009.3503 | 1225883.1229
6 | 2674010.6032 | 1225705.8722
7 | 2673939.7083 | 1226240.2989
8 | 2674293.1992 | 1225635.5015
9 | 2674336.1135 | 1225539.8183
10 | 2674312.3596 | 1225633.359
11 | 2673943.9262 | 1226247.58
12 | 2673912.8615 | 1226326.3241
13 | 2673937.9361 | 1226245.2707
14 | 2673977.0613 | 1226250.9573
15 | 2673874.8215 | 1225909.051
16 | 2673996.2661 | 1225602.3304
17 | 2673955.234 | 1225712.469
18 | 2673930.8354 | 1226335.3987
19 | 2673977.1831 | 1226250.9697
20 | 2673997.7235 | 1226253.0633
21 | 2674005.8675 | 1226247.9723
22 | 2673814.7329 | 1225917.9026
23 | 2673836.7406 | 1225915.0397
24 | 2673610.7771 | 1225911.5282
25 | 2673856.558 | 1225912.6926
26 | 2673556.8601 | 1225860.8997
27 | 2673472.3835 | 1225980.0034
28 | 2673859.8703 | 1225912.0749
29 | 2673550.9706 | 1225853.1558
30 | 2673865.7918 | 1225910.9705
31 | 2673920.8693 | 1225704.8817
32 | 2673950.7217 | 1225713.1328
33 | 2673873.4671 | 1225679.2107
34 | 2673996.2052 | 1225576.3569
35 | 2673996.9919 | 1225537.3059
36 | 2674320.3893 | 1225525.4972
37 | 2674351.9655 | 1225510.4428
38 | 2674332.7303 | 1225631.0811
39 | 2674017.3437 | 1225359.0934
40 | 2674046.2259 | 1225364.0785
41 | 2674004.9143 | 1225248.4436
42 | 2674070.2823 | 1225343.4638
43 | 2673975.8502 | 1225218.2735
44 | 2673960.7801 | 1225210.1809
45 | 2674294.2039 | 1225495.4825
46 | 2674294.5357 | 1225496.0949
47 | 2673876.893 | 1225025.5063
48 | 2673952.1771 | 1224759.1775
49 | 2674010.6032 | 1225705.8722

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99299 | -0.13453 | 0.00015408 | 3.8615e-05
1 | 0.99301 | -0.13419 | 0 | 0
2 | 0.99284 | -0.13759 | 3.8078e-05 | 9.5431e-06
3 | 0.9934 | -0.12669 | 0 | 0
4 | 0.99261 | -0.14207 | 0 | 0
5 | 0.99322 | -0.13013 | 0.0068818 | 0.0017247
6 | 0.99534 | -0.088886 | 0 | 0
7 | 0.99257 | -0.14284 | 0.00010868 | 2.7238e-05
8 | 0.99216 | -0.15039 | 0 | 0
9 | 0.99128 | -0.16751 | 0 | 0
10 | 0.99213 | -0.15092 | 0.00097455 | 0.00024424
11 | 0.99255 | -0.14327 | 0 | 0
12 | 0.99254 | -0.14339 | 0 | 0
13 | 0.99256 | -0.14304 | 0 | 0
14 | 0.99248 | -0.14444 | 0.00013184 | 3.3041e-05
15 | 0.99285 | -0.1373 | 0.00013719 | 3.4384e-05
16 | 0.98881 | -0.21478 | 0.01316 | 0.0032982
17 | 1 | 0 | -0.24015 | -0.060349
18 | 0.99254 | -0.14341 | 7.4509e-05 | 1.8674e-05
19 | 0.99248 | -0.14445 | 0.0013599 | 0.00034082
20 | 0.99248 | -0.14463 | 0.00021368 | 5.3552e-05
21 | 0.99247 | -0.14467 | 0.00028032 | 7.0256e-05
22 | 0.99277 | -0.13882 | 0.00018359 | 4.6011e-05
23 | 0.99279 | -0.13853 | 0.00029393 | 7.3666e-05
24 | 0.99267 | -0.14092 | 0 | 0
25 | 0.99281 | -0.13817 | 0.0012779 | 0.00032027
26 | 0.99264 | -0.14148 | 0.00029965 | 7.51e-05
27 | 0.99265 | -0.14127 | 0.00011008 | 2.7589e-05
28 | 0.99281 | -0.13803 | 0.00030058 | 7.5333e-05
29 | 0.99264 | -0.1415 | 0.00011947 | 2.9943e-05
30 | 0.99283 | -0.13776 | 0.00020207 | 5.0644e-05
31 | 0.99593 | -0.078163 | 0.092067 | 0.023074
32 | 0.9997 | -0.0058102 | 0.012721 | 0.0031881
33 | 0.99388 | -0.11773 | 0.041346 | 0.010362
34 | 0.98751 | -0.24017 | 0.024326 | 0.0060966
35 | 0.98641 | -0.26145 | 0.016118 | 0.0040394
36 | 0.99111 | -0.17067 | 0.0024475 | 0.00061339
37 | 0.99125 | -0.16798 | 0.00080601 | 0.00020201
38 | 0.99212 | -0.15112 | 0.00057188 | 0.00014333
39 | 0.98405 | -0.30761 | 0 | 0
40 | 0.98368 | -0.31484 | 0.0095743 | 0.0023995
41 | 0.98399 | -0.30886 | 0 | 0
42 | 0.98354 | -0.31758 | 0.0041136 | 0.001031
43 | 0.98396 | -0.30933 | 0.00040784 | 0.00010221
44 | 0.98396 | -0.30939 | 0 | 0
45 | 0.9909 | -0.17487 | 0.0032455 | 0.00081341
46 | 0.9909 | -0.17483 | 0.0026794 | 0.00067151
47 | 0.98392 | -0.3102 | 0 | 0
48 | 0.98387 | -0.31119 | 0.00019326 | 4.8436e-05
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00015408 | -3.8615e-05 | 0.00015408 | 3.702e-05 | 2.462e-09 | -1.5955e-06 | 0.00023089 | 0.00023033 | 0.00023089 | 0.99299 | -0.13453 | 0.99301 | -0.13419 | 0.06343
1 | 0.0022081 | 0.00054859 | -0.0022077 | -0.00054948 | 3.5607e-07 | -8.9495e-07 | 0.0033071 | 0.0033075 | 0.0033075 | 0.99301 | -0.13419 | 0.99284 | -0.13759 | 0.90864
2 | -0.0023621 | -0.00058561 | 0.002363 | 0.00058384 | 8.3549e-07 | -1.7701e-06 | 0.0035374 | 0.0035366 | 0.0035374 | 0.99301 | -0.13419 | 0.9934 | -0.12669 | 0.97181
3 | 0.0021696 | 0.00053994 | -0.0021692 | -0.00054115 | 4.6107e-07 | -1.2093e-06 | 0.0032504 | 0.0032509 | 0.0032509 | 0.99284 | -0.13759 | 0.99261 | -0.14207 | 0.89311
4 | 0.0098091 | 0.0024504 | -0.0098075 | -0.0024497 | 1.603e-06 | 7.6951e-07 | 0.01469 | 0.01469 | 0.01469 | 0.9934 | -0.12669 | 0.99322 | -0.13013 | 4.0358
5 | -0.012172 | -0.0030343 | 0.012194 | 0.003046 | 2.187e-05 | 1.1719e-05 | 0.018227 | 0.018226 | 0.018227 | 0.9934 | -0.12669 | 0.99534 | -0.088886 | 5.0074
6 | 0.0021692 | 0.00054115 | -0.0021691 | -0.00054136 | 7.9496e-08 | -2.0838e-07 | 0.0032509 | 0.003251 | 0.003251 | 0.99261 | -0.14207 | 0.99257 | -0.14284 | 0.89313
7 | 0.0029257 | 0.00072492 | -0.0029247 | -0.00072607 | 9.9069e-07 | -1.1471e-06 | 0.0043802 | 0.0043809 | 0.0043809 | 0.99322 | -0.13013 | 0.99285 | -0.1373 | 1.2035
8 | 0.068438 | 0.017351 | -0.068027 | -0.017089 | 0.0004114 | 0.00026195 | 0.10238 | 0.10238 | 0.10238 | 0.99534 | -0.088886 | 0.98881 | -0.21478 | 28.1275
9 | -0.091398 | -0.023104 | 0.09179 | 0.023354 | 0.0003914 | 0.00024976 | 0.13671 | 0.13671 | 0.13671 | 0.99534 | -0.088886 | 1 | 0 | 37.5571
10 | 0.010766 | 0.0027072 | -0.010735 | -0.0026912 | 3.1542e-05 | 1.5982e-05 | 0.016099 | 0.0161 | 0.0161 | 0.99534 | -0.088886 | 0.99216 | -0.15039 | 4.4231
11 | 0.0020604 | 0.00051412 | -0.0020604 | -0.00051418 | 1.8875e-08 | -5.614e-08 | 0.0030881 | 0.0030881 | 0.0030881 | 0.99257 | -0.14284 | 0.99256 | -0.14304 | 0.84838
12 | 0.0091883 | 0.0023041 | -0.0091808 | -0.0023007 | 7.4906e-06 | 3.4369e-06 | 0.013781 | 0.013781 | 0.013781 | 0.99216 | -0.15039 | 0.99128 | -0.16751 | 3.7861
13 | 0.0015465 | 0.00038709 | -0.0015464 | -0.00038731 | 3.8889e-08 | -2.2409e-07 | 0.0023192 | 0.0023193 | 0.0023193 | 0.99216 | -0.15039 | 0.99213 | -0.15092 | 0.63716
14 | 0.0083748 | 0.0020991 | -0.0083735 | -0.0020985 | 1.2605e-06 | 5.3259e-07 | 0.012572 | 0.012572 | 0.012572 | 0.99128 | -0.16751 | 0.99111 | -0.17067 | 3.4537
15 | 0.00080603 | 0.00020159 | -0.00080601 | -0.00020201 | 1.834e-08 | -4.1897e-07 | 0.0012098 | 0.0012099 | 0.0012099 | 0.99128 | -0.16751 | 0.99125 | -0.16798 | 0.3324
16 | 0.00057189 | 0.00014307 | -0.00057188 | -0.00014333 | 5.6544e-09 | -2.6108e-07 | 0.00085763 | 0.00085773 | 0.00085773 | 0.99213 | -0.15092 | 0.99212 | -0.15112 | 0.23564
17 | 7.451e-05 | 1.732e-05 | -7.4509e-05 | -1.8414e-05 | 3.9409e-10 | -1.0937e-06 | 0.00011124 | 0.00011161 | 0.00011161 | 0.99255 | -0.14327 | 0.99254 | -0.14339 | 0.030663
18 | -0.0020604 | -0.00051424 | 0.0020604 | 0.00051418 | 2.2898e-08 | -6.8101e-08 | 0.0030881 | 0.0030881 | 0.0030881 | 0.99255 | -0.14327 | 0.99256 | -0.14304 | 0.84839
19 | 0.0019859 | 0.00049692 | -0.0019857 | -0.00049728 | 1.1069e-07 | -3.596e-07 | 0.0029769 | 0.0029771 | 0.0029771 | 0.99255 | -0.14327 | 0.99248 | -0.14444 | 0.81787
20 | 7.4509e-05 | 1.8414e-05 | -7.4509e-05 | -1.8674e-05 | 9.4134e-11 | -2.6017e-07 | 0.00011161 | 0.0001117 | 0.0001117 | 0.99254 | -0.14339 | 0.99254 | -0.14341 | 0.030688
21 | 0.0018539 | 0.00046424 | -0.0018539 | -0.00046424 | 3.5527e-10 | -1.3544e-09 | 0.0027794 | 0.0027794 | 0.0027794 | 0.99248 | -0.14444 | 0.99248 | -0.14445 | 0.76357
22 | 0.0027875 | 0.00069168 | -0.0027874 | -0.00069177 | 6.0405e-08 | -8.0834e-08 | 0.0041752 | 0.0041753 | 0.0041753 | 0.99285 | -0.1373 | 0.99283 | -0.13776 | 1.1471
23 | 0.054866 | 0.013791 | -0.0548 | -0.013748 | 6.6424e-05 | 4.2179e-05 | 0.08258 | 0.08258 | 0.08258 | 0.98881 | -0.21478 | 0.98751 | -0.24017 | 22.6868
24 | 0.14672 | 0.036995 | -0.14667 | -0.036969 | 4.0787e-05 | 2.5984e-05 | 0.21839 | 0.21839 | 0.21839 | 1 | 0 | 0.9997 | -0.0058102 | 29.9991
25 | 0.00049401 | 0.00012342 | -0.000494 | -0.00012368 | 4.2463e-09 | -2.641e-07 | 0.00074052 | 0.00074061 | 0.00074061 | 0.99248 | -0.14445 | 0.99248 | -0.14463 | 0.20346
26 | 0.00028032 | 7.0132e-05 | -0.00028032 | -7.0256e-05 | 6.3613e-10 | -1.237e-07 | 0.00042025 | 0.00042029 | 0.00042029 | 0.99248 | -0.14463 | 0.99247 | -0.14467 | 0.11546
27 | -0.00071286 | -0.00017247 | 0.00071287 | 0.00017219 | 9.5869e-09 | -2.8462e-07 | 0.0010663 | 0.0010662 | 0.0010663 | 0.99277 | -0.13882 | 0.99279 | -0.13853 | 0.29294
28 | 0.00052927 | 0.00012646 | -0.00052922 | -0.00012926 | 5.1459e-08 | -2.798e-06 | 0.00079116 | 0.00079213 | 0.00079213 | 0.99277 | -0.13882 | 0.99267 | -0.14092 | 0.21762
29 | -0.0010068 | -0.00024586 | 0.0010068 | 0.00024561 | 1.7095e-08 | -2.4873e-07 | 0.0015068 | 0.0015067 | 0.0015068 | 0.99279 | -0.13853 | 0.99281 | -0.13817 | 0.41394
30 | 0.00041914 | 0.00010396 | -0.00041913 | -0.00010492 | 1.1031e-08 | -9.5693e-07 | 0.00062791 | 0.00062825 | 0.00062825 | 0.99267 | -0.14092 | 0.99264 | -0.14148 | 0.17259
31 | 0.00011008 | 2.53e-05 | -0.00011008 | -2.7589e-05 | 1.8005e-09 | -2.2892e-06 | 0.00016424 | 0.00016502 | 0.00016502 | 0.99267 | -0.14092 | 0.99265 | -0.14127 | 0.045334
32 | -0.0022847 | -0.00056588 | 0.0022847 | 0.00056585 | 1.4795e-08 | -3.4101e-08 | 0.003422 | 0.003422 | 0.003422 | 0.99281 | -0.13817 | 0.99281 | -0.13803 | 0.9401
33 | 0.00011947 | 2.9817e-05 | -0.00011947 | -2.9943e-05 | 1.1699e-10 | -1.2569e-07 | 0.00017905 | 0.0001791 | 0.0001791 | 0.99264 | -0.14148 | 0.99264 | -0.1415 | 0.049202
34 | -0.0025853 | -0.00064118 | 0.0025854 | 0.00064112 | 3.3874e-08 | -5.6216e-08 | 0.0038725 | 0.0038724 | 0.0038725 | 0.99281 | -0.13803 | 0.99283 | -0.13776 | 1.0639
35 | -0.13349 | -0.033486 | 0.13395 | 0.033781 | 0.00046217 | 0.00029539 | 0.19946 | 0.19946 | 0.19946 | 0.99593 | -0.078163 | 0.9997 | -0.0058102 | 54.7966
36 | 0.041424 | 0.010412 | -0.041346 | -0.010362 | 7.8101e-05 | 4.9279e-05 | 0.061903 | 0.061903 | 0.061903 | 0.99593 | -0.078163 | 0.99388 | -0.11773 | 17.0063
37 | 0.030474 | 0.0076518 | -0.030443 | -0.0076326 | 3.0902e-05 | 1.9278e-05 | 0.045925 | 0.045925 | 0.045925 | 0.98751 | -0.24017 | 0.98641 | -0.26145 | 12.6168
38 | 0.014326 | 0.0035931 | -0.014294 | -0.0035753 | 3.1455e-05 | 1.7844e-05 | 0.021612 | 0.021612 | 0.021612 | 0.98641 | -0.26145 | 0.98405 | -0.30761 | 5.9375
39 | 0.0059261 | 0.0014852 | -0.0059249 | -0.0014849 | 1.1769e-06 | 2.424e-07 | 0.0088971 | 0.0088973 | 0.0088973 | 0.99111 | -0.17067 | 0.9909 | -0.17483 | 2.4443
40 | 0.013693 | 0.003433 | -0.013688 | -0.0034304 | 4.7127e-06 | 2.6439e-06 | 0.020706 | 0.020707 | 0.020707 | 0.98405 | -0.30761 | 0.98368 | -0.31484 | 5.6886
41 | 0.00060116 | 0.00014224 | -0.00060113 | -0.00014364 | 3.447e-08 | -1.3994e-06 | 0.00090611 | 0.0009066 | 0.0009066 | 0.98405 | -0.30761 | 0.98399 | -0.30886 | 0.24907
42 | 0.0041141 | 0.0010308 | -0.0041136 | -0.001031 | 5.3746e-07 | -1.2571e-07 | 0.0062234 | 0.0062236 | 0.0062236 | 0.98368 | -0.31484 | 0.98354 | -0.31758 | 1.7098
43 | 0.00060113 | 0.00014364 | -0.00060111 | -0.00014416 | 1.2915e-08 | -5.2386e-07 | 0.0009066 | 0.00090678 | 0.00090678 | 0.98399 | -0.30886 | 0.98396 | -0.30933 | 0.24911
44 | 0.00019328 | 4.1948e-05 | -0.00019328 | -4.2165e-05 | 5.401e-10 | -2.1695e-07 | 0.00029012 | 0.00029019 | 0.00029019 | 0.98396 | -0.30933 | 0.98396 | -0.30939 | 0.079721
45 | 0.00019328 | 4.2165e-05 | -0.00019327 | -4.4925e-05 | 6.8933e-09 | -2.7598e-06 | 0.00029019 | 0.00029108 | 0.00029108 | 0.98396 | -0.30939 | 0.98392 | -0.3102 | 0.079966
46 | -0.0032455 | -0.00081341 | 0.0032455 | 0.0008134 | 6.2042e-09 | -5.0013e-09 | 0.0048738 | 0.0048738 | 0.0048738 | 0.9909 | -0.17487 | 0.9909 | -0.17483 | 1.3389
47 | 0.00019327 | 4.4925e-05 | -0.00019326 | -4.8436e-05 | 8.8322e-09 | -3.5104e-06 | 0.00029108 | 0.00029229 | 0.00029229 | 0.98392 | -0.3102 | 0.98387 | -0.31119 | 0.080299

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24724 | 0.062125

## res_load
| p_mw | q_mvar
0 | 0.00015408 | 3.8615e-05
1 | 3.8078e-05 | 9.5431e-06
2 | 0.0068818 | 0.0017247
3 | 0.00010868 | 2.7238e-05
4 | 0.00097455 | 0.00024424
5 | 0.00013184 | 3.3041e-05
6 | 0.00013719 | 3.4384e-05
7 | 0.01316 | 0.0032982
8 | 0.0070844 | 0.0017755
9 | 7.4509e-05 | 1.8674e-05
10 | 0.0013599 | 0.00034082
11 | 0.00021368 | 5.3552e-05
12 | 0.00028032 | 7.0256e-05
13 | 0.00018359 | 4.6011e-05
14 | 0.00029393 | 7.3666e-05
15 | 0.0012779 | 0.00032027
16 | 0.00029965 | 7.51e-05
17 | 0.00011008 | 2.7589e-05
18 | 0.00030058 | 7.5333e-05
19 | 0.00011947 | 2.9943e-05
20 | 0.00020207 | 5.0644e-05
21 | 0.092067 | 0.023074
22 | 0.012721 | 0.0031881
23 | 0.041346 | 0.010362
24 | 0.024326 | 0.0060966
25 | 0.016118 | 0.0040394
26 | 0.0024475 | 0.00061339
27 | 0.00080601 | 0.00020201
28 | 0.00057188 | 0.00014333
29 | 0.0095743 | 0.0023995
30 | 0.0041136 | 0.001031
31 | 0.00040784 | 0.00010221
32 | 0.0032455 | 0.00081341
33 | 0.0026794 | 0.00067151
34 | 0.00019326 | 4.8436e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1