## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1703-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1703-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1703-4_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1703-4_0_6_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_1703-4_0_6_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_1703-4_0_6_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_1703-4_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1703-4_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1703-4_0_6_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1703-4_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1703-4_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1703-4_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1703-4_0_6_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_1703-4_0_6_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_1703-4_0_6_node_60 | 0.4 | n |  | TRUE
15 | bus_LV_1703-4_0_6_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_1703-4_0_6_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1703-4_0_6_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1703-4_0_6_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1703-4_0_6_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1703-4_0_6_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1703-4_0_6_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1703-4_0_6_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1703-4_0_6_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1703-4_0_6_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1703-4_0_6_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1703-4_0_6_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1703-4_0_6_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_1703-4_0_6_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_1703-4_0_6_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_1703-4_0_6_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_1703-4_0_6_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_1703-4_0_6_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_1703-4_0_6_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_1703-4_0_6_node_12 | 0.4 | n |  | TRUE
35 | bus_LV_1703-4_0_6_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1703-4_0_6_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1703-4_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1703-4_0_6_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_1703-4_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1703-4_0_6_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_1703-4_0_6_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_1703-4_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1703-4_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1703-4_0_6_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_1703-4_0_6_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1703-4_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1703-4_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_1703-4_0_6_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1703-4_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1703-4_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_1703-4_0_6_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1703-4_0_6_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1703-4_0_6_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_1703-4_0_6_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_1703-4_0_6_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_1703-4_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_1703-4_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_1703-4_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_1703-4_0_6_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_1703-4_0_6_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_1703-4_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_1703-4_0_6_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_1703-4_0_6_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_1703-4_0_6_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_1703-4_0_6_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_1703-4_0_6_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_1703-4_0_6_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_1703-4_0_6_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_1703-4_0_6_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_1703-4_0_6_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_1703-4_0_6_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_1703-4_0_6_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_1703-4_0_6_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_1703-4_0_6_node_76 | 0.4 | n |  | TRUE
75 | bus_MV_232_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1703-4_0_6_load_0 | 0 | 0.050299 | 0.012606 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1703-4_0_6_load_1 | 1 | 0.0052837 | 0.0013242 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1703-4_0_6_load_3 | 2 | 0.013459 | 0.0033732 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1703-4_0_6_load_9 | 3 | 0.038231 | 0.0095816 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1703-4_0_6_load_10 | 4 | 0.06444 | 0.01615 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1703-4_0_6_load_55 | 5 | 0.01775 | 0.0044486 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1703-4_0_6_load_7 | 6 | 0.034292 | 0.0085945 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1703-4_0_6_load_5 | 7 | 0.021002 | 0.0052635 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1703-4_0_6_load_8 | 10 | 0.088544 | 0.022191 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1703-4_0_6_load_60 | 14 | 0.00048532 | 0.00012163 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1703-4_0_6_load_58 | 15 | 0.0010586 | 0.0002653 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1703-4_0_6_load_14 | 16 | 0.0024955 | 0.00062544 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1703-4_0_6_load_15 | 17 | 0.00021214 | 5.3167e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1703-4_0_6_load_17 | 18 | 0.0027767 | 0.00069592 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1703-4_0_6_load_19 | 19 | 0.0017692 | 0.0004434 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1703-4_0_6_load_18 | 20 | 0.00029279 | 7.338e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1703-4_0_6_load_21 | 22 | 0.00040808 | 0.00010228 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1703-4_0_6_load_22 | 23 | 0.00065448 | 0.00016403 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1703-4_0_6_load_25 | 24 | 0.0006106 | 0.00015303 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1703-4_0_6_load_23 | 25 | 0.0032443 | 0.00081311 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1703-4_0_6_load_24 | 26 | 0.00070443 | 0.00017655 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1703-4_0_6_load_34 | 27 | 0.00044327 | 0.0001111 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1703-4_0_6_load_80 | 30 | 0.085811 | 0.021506 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1703-4_0_6_load_57 | 31 | 0.0081063 | 0.0020316 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1703-4_0_6_load_51 | 32 | 0.0058057 | 0.001455 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1703-4_0_6_load_56 | 33 | 0.012122 | 0.003038 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1703-4_0_6_load_12 | 34 | 0.063911 | 0.016018 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1703-4_0_6_load_35 | 35 | 0.0026275 | 0.00065852 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1703-4_0_6_load_27 | 36 | 0.0039869 | 0.00099922 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1703-4_0_6_load_28 | 37 | 0.00061487 | 0.0001541 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1703-4_0_6_load_37 | 39 | 0.00051299 | 0.00012857 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1703-4_0_6_load_73 | 40 | 0.00026355 | 6.6051e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1703-4_0_6_load_75 | 41 | 0.00026446 | 6.628e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1703-4_0_6_load_29 | 42 | 0.00017572 | 4.4039e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1703-4_0_6_load_30 | 43 | 0.00047154 | 0.00011818 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1703-4_0_6_load_31 | 44 | 0.00056707 | 0.00014212 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1703-4_0_6_load_32 | 45 | 0.002516 | 0.00063056 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1703-4_0_6_load_38 | 48 | 0.00025943 | 6.502e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1703-4_0_6_load_39 | 49 | 0.0011113 | 0.00027852 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1703-4_0_6_load_40 | 50 | 0.019837 | 0.0049716 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1703-4_0_6_load_47 | 52 | 0.0098762 | 0.0024752 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1703-4_0_6_load_79 | 54 | 0.00051192 | 0.0001283 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1703-4_0_6_load_54 | 58 | 0.0066345 | 0.0016628 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1703-4_0_6_load_48 | 59 | 0.0063336 | 0.0015874 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1703-4_0_6_load_49 | 60 | 0.017493 | 0.0043842 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1703-4_0_6_load_59 | 61 | 0.00076405 | 0.00019149 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1703-4_0_6_load_70 | 62 | 7.6468e-05 | 1.9165e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1703-4_0_6_load_69 | 63 | 0.00023611 | 5.9174e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1703-4_0_6_load_62 | 64 | 0.00027001 | 6.767e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1703-4_0_6_load_63 | 65 | 0.00018004 | 4.5121e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1703-4_0_6_load_65 | 67 | 0.001672 | 0.00041904 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1703-4_0_6_load_66 | 68 | 0.00024875 | 6.2343e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1703-4_0_6_load_67 | 69 | 0.00018356 | 4.6004e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1703-4_0_6_load_68 | 70 | 0.00016031 | 4.0178e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1703-4_0_6_load_71 | 71 | 0.00017343 | 4.3467e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1703-4_0_6_load_78 | 72 | 0.00011988 | 3.0044e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1703-4_0_6_load_72 | 73 | 0.00022285 | 5.5852e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1703-4_0_6_load_76 | 74 | 7.1248e-05 | 1.7857e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1703-4_0_6_line_0 |  | 0 | 1 | 0.10785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1703-4_0_6_line_1 |  | 1 | 2 | 0.0067871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_1703-4_0_6_line_2 |  | 1 | 3 | 0.11414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1703-4_0_6_line_3 |  | 2 | 8 | 0.019311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1703-4_0_6_line_4 |  | 3 | 4 | 0.058351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1703-4_0_6_line_5 |  | 3 | 5 | 0.055824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_1703-4_0_6_line_6 |  | 3 | 6 | 0.063259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1703-4_0_6_line_7 |  | 3 | 7 | 0.12461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1703-4_0_6_line_8 |  | 4 | 11 | 0.070359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1703-4_0_6_line_9 |  | 5 | 33 | 0.03934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1703-4_0_6_line_10 |  | 6 | 9 | 0.0023482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1703-4_0_6_line_11 |  | 8 | 12 | 0.011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1703-4_0_6_line_12 |  | 8 | 13 | 0.04291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1703-4_0_6_line_13 |  | 9 | 10 | 0.022802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1703-4_0_6_line_14 |  | 11 | 34 | 0.053092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1703-4_0_6_line_15 |  | 12 | 30 | 0.035041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1703-4_0_6_line_16 |  | 13 | 31 | 0.01629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1703-4_0_6_line_17 |  | 14 | 15 | 0.011598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1703-4_0_6_line_18 |  | 15 | 61 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1703-4_0_6_line_19 |  | 16 | 17 | 0.036671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1703-4_0_6_line_20 |  | 17 | 18 | 0.016883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1703-4_0_6_line_21 |  | 18 | 19 | 0.011965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1703-4_0_6_line_22 |  | 19 | 20 | 0.029238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1703-4_0_6_line_23 |  | 20 | 21 | 0.039257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1703-4_0_6_line_24 |  | 21 | 22 | 0.005577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1703-4_0_6_line_25 |  | 21 | 23 | 0.0076124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1703-4_0_6_line_26 |  | 22 | 24 | 0.0056983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1703-4_0_6_line_27 |  | 24 | 26 | 0.018708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_1703-4_0_6_line_28 |  | 25 | 26 | 0.015978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1703-4_0_6_line_29 |  | 25 | 27 | 0.34503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1703-4_0_6_line_30 |  | 27 | 35 | 0.044724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_1703-4_0_6_line_31 |  | 28 | 29 | 0.060662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_1703-4_0_6_line_32 |  | 28 | 30 | 0.037876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1703-4_0_6_line_33 |  | 29 | 32 | 0.017121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1703-4_0_6_line_34 |  | 29 | 58 | 0.050882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_1703-4_0_6_line_35 |  | 35 | 46 | 0.041602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_1703-4_0_6_line_36 |  | 36 | 37 | 0.015753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1703-4_0_6_line_37 |  | 37 | 42 | 0.0086787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1703-4_0_6_line_38 |  | 38 | 39 | 0.52602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_1703-4_0_6_line_39 |  | 38 | 40 | 0.01374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1703-4_0_6_line_40 |  | 38 | 41 | 0.038681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1703-4_0_6_line_41 |  | 39 | 47 | 0.021638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_1703-4_0_6_line_42 |  | 40 | 73 | 0.025832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_1703-4_0_6_line_43 |  | 41 | 74 | 0.026261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1703-4_0_6_line_44 |  | 42 | 43 | 0.028285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1703-4_0_6_line_45 |  | 43 | 44 | 0.11 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1703-4_0_6_line_46 |  | 44 | 45 | 0.034641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_1703-4_0_6_line_47 |  | 45 | 46 | 0.012936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_1703-4_0_6_line_48 |  | 46 | 47 | 0.12699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_1703-4_0_6_line_49 |  | 47 | 48 | 0.013233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1703-4_0_6_line_50 |  | 48 | 49 | 0.021586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1703-4_0_6_line_51 |  | 50 | 51 | 0.027784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_1703-4_0_6_line_52 |  | 51 | 52 | 0.012964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_1703-4_0_6_line_53 |  | 51 | 53 | 0.15745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_1703-4_0_6_line_54 |  | 52 | 59 | 0.0094875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_1703-4_0_6_line_55 |  | 53 | 54 | 0.053417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1703-4_0_6_line_56 |  | 53 | 55 | 0.09196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_1703-4_0_6_line_57 |  | 55 | 62 | 0.018923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_1703-4_0_6_line_58 |  | 55 | 61 | 0.036153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1703-4_0_6_line_59 |  | 56 | 57 | 0.028802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_1703-4_0_6_line_60 |  | 56 | 58 | 0.017669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_1703-4_0_6_line_61 |  | 57 | 60 | 0.026608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_1703-4_0_6_line_62 |  | 59 | 60 | 0.029753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_1703-4_0_6_line_63 |  | 62 | 63 | 0.05007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_1703-4_0_6_line_64 |  | 63 | 70 | 0.057327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_1703-4_0_6_line_65 |  | 64 | 65 | 0.031391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_1703-4_0_6_line_66 |  | 64 | 66 | 0.012818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_1703-4_0_6_line_67 |  | 65 | 67 | 0.056849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_1703-4_0_6_line_68 |  | 66 | 68 | 0.019865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_1703-4_0_6_line_69 |  | 66 | 69 | 0.027787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1703-4_0_6_line_70 |  | 67 | 70 | 0.16138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_1703-4_0_6_line_71 |  | 68 | 71 | 0.026453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_1703-4_0_6_line_72 |  | 69 | 72 | 0.037005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1703-4_0_6_line_73 |  | 71 | 73 | 0.045806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1703-4_0_6_trafo_55 | 0.63 MVA 20/0.4 kV | 75 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2675572.4362 | 1223984.2836 | 2675495.4277 | 1224001.7226 | 2675492.0133 | 1224003.0691 | 2675489.184 | 1224005.5237 | 2675488.6229 | 1224010.2975 | 2675489.3645 | 1224022.9709 | 2675490.8647 | 1224026.6457
1 | 2675493.4299 | 1224032.9295 | 2675490.8647 | 1224026.6457
2 | 2675454.2446 | 1223918.5361 | 2675490.8647 | 1224026.6457
3 | 2675505.2345 | 1224048.1999 | 2675493.5346 | 1224033.186 | 2675493.4299 | 1224032.9295
4 | 2675454.2446 | 1223918.5361 | 2675475.3757 | 1223884.7022 | 2675485.2611 | 1223869.1119
5 | 2675454.2446 | 1223918.5361 | 2675446.5229 | 1223973.8236
6 | 2675454.2446 | 1223918.5361 | 2675516.5854 | 1223929.276
7 | 2675454.2446 | 1223918.5361 | 2675337.3947 | 1223875.2616
8 | 2675511.5062 | 1223804.952 | 2675501.7486 | 1223822.1063 | 2675495.6575 | 1223852.7159 | 2675485.2611 | 1223869.1119
9 | 2675446.5229 | 1223973.8236 | 2675427.4249 | 1224008.2169
10 | 2675517.6063 | 1223931.3907 | 2675516.5854 | 1223929.276
11 | 2675505.2345 | 1224048.1999 | 2675511.9476 | 1224057.0019
12 | 2675505.2345 | 1224048.1999 | 2675464.2194 | 1224061.1885
13 | 2675517.6063 | 1223931.3907 | 2675525.601 | 1223952.7507
14 | 2675511.5062 | 1223804.952 | 2675475.3321 | 1223784.7022 | 2675463.8598 | 1223782.7584
15 | 2675511.9476 | 1224057.0019 | 2675533.3361 | 1224084.7583
16 | 2675464.2194 | 1224061.1885 | 2675452.7966 | 1224072.8031
17 | 2675220.9083 | 1224081.416 | 2675222.03 | 1224069.872
18 | 2675220.9083 | 1224081.416 | 2675218.8174 | 1224102.9331
19 | 2674781.0657 | 1223498.1617 | 2674815.0364 | 1223493.5887 | 2674817.4177 | 1223493.3412
20 | 2674781.0657 | 1223498.1617 | 2674777.3416 | 1223498.6631 | 2674764.6989 | 1223502.1885
21 | 2674753.4387 | 1223506.1801 | 2674760.1343 | 1223503.4613 | 2674764.6989 | 1223502.1885
22 | 2674753.4387 | 1223506.1801 | 2674745.8189 | 1223509.2743 | 2674727.1251 | 1223518.8723
23 | 2674695.1858 | 1223541.5824 | 2674704.8899 | 1223533.9769 | 2674722.5458 | 1223521.2234 | 2674727.1251 | 1223518.8723
24 | 2674695.1858 | 1223541.5824 | 2674696.1477 | 1223547.0758
25 | 2674695.1858 | 1223541.5824 | 2674688.0329 | 1223538.9778
26 | 2674697.1305 | 1223552.6887 | 2674696.1477 | 1223547.0758
27 | 2674702.7731 | 1223570.2967 | 2674698.9222 | 1223562.9211 | 2674697.1305 | 1223552.6887
28 | 2674708.6234 | 1223585.0402 | 2674707.0388 | 1223578.4665 | 2674702.7731 | 1223570.2967
29 | 2674408.8777 | 1223755.919 | 2674708.6234 | 1223585.0402
30 | 2674408.8777 | 1223755.919 | 2674374.8114 | 1223748.3639 | 2674365.2145 | 1223746.2369
31 | 2675553.8537 | 1224116.5952 | 2675584.6429 | 1224154.6444 | 2675591.8343 | 1224163.9752
32 | 2675553.8537 | 1224116.5952 | 2675534.5483 | 1224086.6415 | 2675533.3361 | 1224084.7583
33 | 2675591.8343 | 1224163.9752 | 2675608.0936 | 1224158.6127
34 | 2675591.8343 | 1224163.9752 | 2675556.8961 | 1224200.9655
35 | 2674328.9206 | 1223728.5779 | 2674336.2705 | 1223736.3525 | 2674346.3686 | 1223742.0601 | 2674365.2145 | 1223746.2369
36 | 2674338.3279 | 1223522.0738 | 2674338.316 | 1223522.215 | 2674336.0765 | 1223537.6651
37 | 2674336.0765 | 1223537.6651 | 2674335.3865 | 1223542.425 | 2674334.6834 | 1223546.2296
38 | 2674750.6921 | 1224168.7478 | 2674314.6171 | 1223874.5862
39 | 2674750.6921 | 1224168.7478 | 2674761.8885 | 1224176.7113
40 | 2674750.6921 | 1224168.7478 | 2674743.0055 | 1224173.977 | 2674740.454 | 1224180.9051 | 2674740.3769 | 1224187.0415 | 2674746.2224 | 1224201.7894
41 | 2674319.7313 | 1223854.1124 | 2674319.5297 | 1223864.7836 | 2674314.6171 | 1223874.5862
42 | 2674784.8591 | 1224188.2351 | 2674768.3241 | 1224181.2885 | 2674761.8885 | 1224176.7113
43 | 2674746.2224 | 1224201.7894 | 2674750.3288 | 1224212.1496 | 2674752.367 | 1224227.1287
44 | 2674329.543 | 1223574.0441 | 2674334.6834 | 1223546.2296
45 | 2674329.543 | 1223574.0441 | 2674325.3986 | 1223596.4692 | 2674315.401 | 1223634.3027 | 2674314.7195 | 1223654.2628 | 2674316.4327 | 1223664.0351 | 2674319.5798 | 1223681.9302
46 | 2674319.5798 | 1223681.9302 | 2674321.2122 | 1223691.2126 | 2674326.3069 | 1223715.9083
47 | 2674328.9206 | 1223728.5779 | 2674326.3069 | 1223715.9083
48 | 2674328.9206 | 1223728.5779 | 2674318.6155 | 1223765.5402 | 2674319.2648 | 1223784.5942 | 2674320.4038 | 1223817.8748 | 2674319.7313 | 1223854.1124
49 | 2674319.7313 | 1223854.1124 | 2674307.0275 | 1223850.4086
50 | 2674286.3042 | 1223844.3667 | 2674307.0275 | 1223850.4086
51 | 2675468.4579 | 1224196.3427 | 2675488.5041 | 1224177.1043
52 | 2675468.4579 | 1224196.3427 | 2675477.6443 | 1224205.4903
53 | 2675313.3743 | 1224169.1499 | 2675468.4579 | 1224196.3427
54 | 2675484.3672 | 1224212.1848 | 2675477.6443 | 1224205.4903
55 | 2675313.3743 | 1224169.1499 | 2675285.9578 | 1224214.9946
56 | 2675228.9696 | 1224136.6392 | 2675266.02 | 1224144.457 | 2675287.8606 | 1224150.3259 | 2675313.3743 | 1224169.1499
57 | 2675228.9696 | 1224136.6392 | 2675214.214 | 1224148.4856
58 | 2675228.9696 | 1224136.6392 | 2675221.9217 | 1224126.6991 | 2675218.8174 | 1224102.9331 | 2675218.8174 | 1224102.9331
59 | 2675524.3867 | 1224234.2213 | 2675544.7633 | 1224213.8108
60 | 2675544.7633 | 1224213.8108 | 2675556.8961 | 1224200.9655
61 | 2675524.3867 | 1224234.2213 | 2675505.5894 | 1224215.39
62 | 2675484.3672 | 1224212.1848 | 2675487.673 | 1224215.4767 | 2675496.8693 | 1224206.6541 | 2675505.5894 | 1224215.39
63 | 2675173.0001 | 1224176.7798 | 2675183.3182 | 1224170.9741 | 2675205.8188 | 1224155.2257 | 2675214.214 | 1224148.4856
64 | 2675123.0387 | 1224204.8913 | 2675173.0001 | 1224176.7798
65 | 2674881.6321 | 1224223.7053 | 2674882.3094 | 1224223.6045 | 2674895.6858 | 1224225.9965 | 2674904.5535 | 1224226.942 | 2674912.7218 | 1224226.2221
66 | 2674868.9536 | 1224225.5934 | 2674881.6321 | 1224223.7053
67 | 2674963.2737 | 1224227.6815 | 2674963.2737 | 1224227.6815 | 2674955.4566 | 1224230.6295 | 2674942.418 | 1224237.5366 | 2674930.3902 | 1224238.2413 | 2674921.1971 | 1224234.234 | 2674912.7218 | 1224226.2221 | 2674912.7218 | 1224226.2221
68 | 2674868.9536 | 1224225.5934 | 2674856.8572 | 1224218.4922 | 2674851.4751 | 1224216.2299
69 | 2674868.9536 | 1224225.5934 | 2674880.9911 | 1224239.176 | 2674889.0951 | 1224244.3935
70 | 2675123.0387 | 1224204.8913 | 2674963.2737 | 1224227.6815
71 | 2674827.0886 | 1224205.9795 | 2674851.4751 | 1224216.2299
72 | 2674889.0951 | 1224244.3935 | 2674902.1804 | 1224252.8182 | 2674920.7857 | 1224263.4773
73 | 2674827.0886 | 1224205.9795 | 2674812.2476 | 1224199.7413 | 2674784.8591 | 1224188.2351

## bus_geodata
| x | y | coords
0 | 2675572.4362 | 1223984.2836
1 | 2675490.8647 | 1224026.6457
2 | 2675493.4299 | 1224032.9295
3 | 2675454.2446 | 1223918.5361
4 | 2675485.2611 | 1223869.1119
5 | 2675446.5229 | 1223973.8236
6 | 2675516.5854 | 1223929.276
7 | 2675337.3947 | 1223875.2616
8 | 2675505.2345 | 1224048.1999
9 | 2675517.6063 | 1223931.3907
10 | 2675525.601 | 1223952.7507
11 | 2675511.5062 | 1223804.952
12 | 2675511.9476 | 1224057.0019
13 | 2675464.2194 | 1224061.1885
14 | 2675222.03 | 1224069.872
15 | 2675220.9083 | 1224081.416
16 | 2674817.4177 | 1223493.3412
17 | 2674781.0657 | 1223498.1617
18 | 2674764.6989 | 1223502.1885
19 | 2674753.4387 | 1223506.1801
20 | 2674727.1251 | 1223518.8723
21 | 2674695.1858 | 1223541.5824
22 | 2674696.1477 | 1223547.0758
23 | 2674688.0329 | 1223538.9778
24 | 2674697.1305 | 1223552.6887
25 | 2674708.6235 | 1223585.0402
26 | 2674702.7731 | 1223570.2967
27 | 2674408.8777 | 1223755.919
28 | 2675553.8537 | 1224116.5952
29 | 2675591.8343 | 1224163.9752
30 | 2675533.3361 | 1224084.7583
31 | 2675452.7966 | 1224072.8031
32 | 2675608.0936 | 1224158.6127
33 | 2675427.4249 | 1224008.2169
34 | 2675463.8598 | 1223782.7584
35 | 2674365.2145 | 1223746.2369
36 | 2674338.3279 | 1223522.0738
37 | 2674336.0765 | 1223537.6651
38 | 2674750.6921 | 1224168.7478
39 | 2674314.6171 | 1223874.5862
40 | 2674761.8885 | 1224176.7113
41 | 2674746.2224 | 1224201.7894
42 | 2674334.6834 | 1223546.2296
43 | 2674329.543 | 1223574.0441
44 | 2674319.5798 | 1223681.9302
45 | 2674326.3069 | 1223715.9083
46 | 2674328.9206 | 1223728.5779
47 | 2674319.7313 | 1223854.1124
48 | 2674307.0275 | 1223850.4086
49 | 2674286.3042 | 1223844.3667
50 | 2675488.5041 | 1224177.1043
51 | 2675468.4579 | 1224196.3427
52 | 2675477.6443 | 1224205.4903
53 | 2675313.3743 | 1224169.1499
54 | 2675285.9578 | 1224214.9946
55 | 2675228.9696 | 1224136.6392
56 | 2675544.7633 | 1224213.8108
57 | 2675524.3867 | 1224234.2213
58 | 2675556.8961 | 1224200.9655
59 | 2675484.3672 | 1224212.1848
60 | 2675505.5894 | 1224215.39
61 | 2675218.8174 | 1224102.9331
62 | 2675214.214 | 1224148.4856
63 | 2675173.0001 | 1224176.7798
64 | 2674881.6321 | 1224223.7053
65 | 2674912.7218 | 1224226.2221
66 | 2674868.9536 | 1224225.5934
67 | 2674963.2737 | 1224227.6815
68 | 2674851.4751 | 1224216.2299
69 | 2674889.0951 | 1224244.3935
70 | 2675123.0387 | 1224204.8913
71 | 2674827.0886 | 1224205.9795
72 | 2674920.7857 | 1224263.4773
73 | 2674784.8591 | 1224188.2351
74 | 2674752.367 | 1224227.1287
75 | 2675450.8667 | 1223966.0008

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98359 | -0.31584 | 0.050299 | 0.012606
1 | 0.98859 | -0.2186 | 0.0052837 | 0.0013242
2 | 0.98833 | -0.22362 | 0.013459 | 0.0033732
3 | 0.99411 | -0.11221 | 0.038231 | 0.0095816
4 | 0.9924 | -0.14529 | 0.06444 | 0.01615
5 | 1 | 0 | -0.59399 | -0.15117
6 | 0.98696 | -0.25025 | 0.034292 | 0.0085945
7 | 0.99172 | -0.15848 | 0.021002 | 0.0052635
8 | 0.98764 | -0.23698 | 0 | 0
9 | 0.98677 | -0.25397 | 0 | 0
10 | 0.98491 | -0.29018 | 0.088544 | 0.022191
11 | 0.98826 | -0.22521 | 0 | 0
12 | 0.98726 | -0.24431 | 0 | 0
13 | 0.98732 | -0.24319 | 0 | 0
14 | 0.97992 | -0.38792 | 0.00048532 | 0.00012163
15 | 0.97993 | -0.38782 | 0.0010586 | 0.0002653
16 | 0.97229 | -0.53877 | 0.0024955 | 0.00062544
17 | 0.97238 | -0.53708 | 0.00021214 | 5.3167e-05
18 | 0.97242 | -0.53624 | 0.0027767 | 0.00069592
19 | 0.97248 | -0.53503 | 0.0017692 | 0.0004434
20 | 0.97268 | -0.53112 | 0.00029279 | 7.338e-05
21 | 0.97277 | -0.5293 | 0 | 0
22 | 0.97278 | -0.52913 | 0.00040808 | 0.00010228
23 | 0.97277 | -0.52939 | 0.00065448 | 0.00016403
24 | 0.97279 | -0.52895 | 0.0006106 | 0.00015303
25 | 0.97285 | -0.52773 | 0.0032443 | 0.00081311
26 | 0.97282 | -0.52831 | 0.00070443 | 0.00017655
27 | 0.9737 | -0.51096 | 0.00044327 | 0.0001111
28 | 0.98537 | -0.28116 | 0 | 0
29 | 0.98425 | -0.30292 | 0 | 0
30 | 0.98607 | -0.2676 | 0.085811 | 0.021506
31 | 0.9872 | -0.24556 | 0.0081063 | 0.0020316
32 | 0.98416 | -0.30471 | 0.0058057 | 0.001455
33 | 0.99957 | -0.0083155 | 0.012122 | 0.003038
34 | 0.98513 | -0.28595 | 0.063911 | 0.016018
35 | 0.97381 | -0.50871 | 0.0026275 | 0.00065852
36 | 0.97348 | -0.51527 | 0.0039869 | 0.00099922
37 | 0.97354 | -0.51411 | 0.00061487 | 0.0001541
38 | 0.97721 | -0.44137 | 0 | 0
39 | 0.97462 | -0.49263 | 0.00051299 | 0.00012857
40 | 0.97728 | -0.44001 | 0.00026355 | 6.6051e-05
41 | 0.9772 | -0.44161 | 0.00026446 | 6.628e-05
42 | 0.97358 | -0.51338 | 0.00017572 | 4.4039e-05
43 | 0.9737 | -0.51089 | 0.00047154 | 0.00011818
44 | 0.97388 | -0.50735 | 0.00056707 | 0.00014212
45 | 0.97392 | -0.50661 | 0.002516 | 0.00063056
46 | 0.97394 | -0.50621 | 0 | 0
47 | 0.97452 | -0.4947 | 0 | 0
48 | 0.9745 | -0.49503 | 0.00025943 | 6.502e-05
49 | 0.97448 | -0.49547 | 0.0011113 | 0.00027852
50 | 0.98147 | -0.35736 | 0.019837 | 0.0049716
51 | 0.98157 | -0.35537 | 0 | 0
52 | 0.9817 | -0.35286 | 0.0098762 | 0.0024752
53 | 0.9806 | -0.37461 | 0 | 0
54 | 0.98057 | -0.37511 | 0.00051192 | 0.0001283
55 | 0.98003 | -0.38569 | 0 | 0
56 | 0.98309 | -0.3257 | 0 | 0
57 | 0.98262 | -0.33478 | 0 | 0
58 | 0.98337 | -0.32014 | 0.0066345 | 0.0016628
59 | 0.98181 | -0.35068 | 0.0063336 | 0.0015874
60 | 0.9822 | -0.34317 | 0.017493 | 0.0043842
61 | 0.97996 | -0.38721 | 0.00076405 | 0.00019149
62 | 0.97993 | -0.38782 | 7.6468e-05 | 1.9165e-05
63 | 0.97964 | -0.39342 | 0.00023611 | 5.9174e-05
64 | 0.97795 | -0.42684 | 0.00027001 | 6.767e-05
65 | 0.97811 | -0.42357 | 0.00018004 | 4.5121e-05
66 | 0.97788 | -0.42815 | 0 | 0
67 | 0.97841 | -0.41763 | 0.001672 | 0.00041904
68 | 0.97778 | -0.43018 | 0.00024875 | 6.2343e-05
69 | 0.97787 | -0.42831 | 0.00018356 | 4.6004e-05
70 | 0.97932 | -0.39979 | 0.00016031 | 4.0178e-05
71 | 0.97764 | -0.43285 | 0.00017343 | 4.3467e-05
72 | 0.97787 | -0.42839 | 0.00011988 | 3.0044e-05
73 | 0.97741 | -0.43744 | 0.00022285 | 5.5852e-05
74 | 0.9772 | -0.44164 | 7.1248e-05 | 1.7857e-05
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.050299 | -0.012606 | 0.050533 | 0.012755 | 0.00023418 | 0.0001485 | 0.076095 | 0.076094 | 0.076095 | 0.98359 | -0.31584 | 0.98859 | -0.2186 | 20.9052
1 | 0.20783 | 0.052339 | -0.20778 | -0.052308 | 4.9842e-05 | 3.1464e-05 | 0.31291 | 0.31291 | 0.31291 | 0.98859 | -0.2186 | 0.98833 | -0.22362 | 17.1931
2 | -0.26365 | -0.066418 | 0.265 | 0.067274 | 0.001349 | 0.00085599 | 0.39696 | 0.39696 | 0.39696 | 0.98859 | -0.2186 | 0.99411 | -0.11221 | 21.8111
3 | 0.19432 | 0.048935 | -0.1942 | -0.048856 | 0.00012404 | 7.8151e-05 | 0.29265 | 0.29265 | 0.29265 | 0.98833 | -0.22362 | 0.98764 | -0.23698 | 16.0797
4 | 0.12899 | 0.03257 | -0.12878 | -0.032442 | 0.0002041 | 0.0001276 | 0.19316 | 0.19316 | 0.19316 | 0.99411 | -0.11221 | 0.9924 | -0.14529 | 13.2663
5 | -0.57708 | -0.14613 | 0.58021 | 0.14813 | 0.0031278 | 0.0019981 | 0.86433 | 0.86432 | 0.86433 | 0.99411 | -0.11221 | 1 | 0 | 47.4904
6 | 0.12382 | 0.031415 | -0.123 | -0.030893 | 0.00081606 | 0.00052146 | 0.18547 | 0.18547 | 0.18547 | 0.99411 | -0.11221 | 0.98696 | -0.25025 | 50.9545
7 | 0.021048 | 0.0052916 | -0.021002 | -0.0052635 | 4.6399e-05 | 2.8084e-05 | 0.031511 | 0.031512 | 0.031512 | 0.99411 | -0.11221 | 0.99172 | -0.15848 | 8.6571
8 | 0.064342 | 0.016292 | -0.064096 | -0.016136 | 0.00024588 | 0.00015646 | 0.096535 | 0.096535 | 0.096535 | 0.9924 | -0.14529 | 0.98826 | -0.22521 | 26.5207
9 | 0.012126 | 0.0030405 | -0.012122 | -0.003038 | 4.8036e-06 | 2.5584e-06 | 0.018045 | 0.018045 | 0.018045 | 1 | 0 | 0.99957 | -0.0083155 | 4.9574
10 | 0.088713 | 0.022299 | -0.088697 | -0.022289 | 1.5758e-05 | 1.0055e-05 | 0.13377 | 0.13377 | 0.13377 | 0.98696 | -0.25025 | 0.98677 | -0.25397 | 36.7508
11 | 0.18609 | 0.046823 | -0.18602 | -0.046782 | 6.5228e-05 | 4.1038e-05 | 0.28043 | 0.28043 | 0.28043 | 0.98764 | -0.23698 | 0.98726 | -0.24431 | 15.4084
12 | 0.0081097 | 0.002033 | -0.0081073 | -0.002032 | 2.4023e-06 | 9.8855e-07 | 0.012218 | 0.012219 | 0.012219 | 0.98764 | -0.23698 | 0.98732 | -0.24319 | 3.3568
13 | 0.088697 | 0.022289 | -0.088544 | -0.022191 | 0.00015302 | 9.764e-05 | 0.13377 | 0.13377 | 0.13377 | 0.98677 | -0.25397 | 0.98491 | -0.29018 | 36.7508
14 | 0.064096 | 0.016136 | -0.063911 | -0.016018 | 0.00018554 | 0.00011807 | 0.096535 | 0.096535 | 0.096535 | 0.98826 | -0.22521 | 0.98513 | -0.28595 | 26.5207
15 | 0.18602 | 0.046782 | -0.18582 | -0.046652 | 0.00020668 | 0.00013004 | 0.28043 | 0.28043 | 0.28043 | 0.98726 | -0.24431 | 0.98607 | -0.2676 | 15.4084
16 | 0.0081073 | 0.002032 | -0.0081063 | -0.0020316 | 9.1205e-07 | 3.754e-07 | 0.012219 | 0.012219 | 0.012219 | 0.98732 | -0.24319 | 0.9872 | -0.24556 | 3.3568
17 | -0.00048532 | -0.00012163 | 0.00048532 | 0.00012149 | 2.362e-09 | -1.446e-07 | 0.00073697 | 0.00073691 | 0.00073697 | 0.97992 | -0.38792 | 0.97993 | -0.38782 | 0.20246
18 | -0.0015439 | -0.00038679 | 0.0015439 | 0.00038654 | 4.4553e-08 | -2.4384e-07 | 0.0023443 | 0.0023442 | 0.0023443 | 0.97993 | -0.38782 | 0.97996 | -0.38721 | 0.64404
19 | -0.0024955 | -0.00062544 | 0.0024957 | 0.00062511 | 2.0058e-07 | -3.2648e-07 | 0.0038192 | 0.003819 | 0.0038192 | 0.97229 | -0.53877 | 0.97238 | -0.53708 | 1.0492
20 | -0.0027079 | -0.00067828 | 0.002708 | 0.00067814 | 1.087e-07 | -1.3986e-07 | 0.0041437 | 0.0041436 | 0.0041437 | 0.97238 | -0.53708 | 0.97242 | -0.53624 | 1.1384
21 | -0.0054847 | -0.0013741 | 0.005485 | 0.0013741 | 3.1604e-07 | 5.3821e-08 | 0.0083926 | 0.0083926 | 0.0083926 | 0.97242 | -0.53624 | 0.97248 | -0.53503 | 2.3057
22 | -0.0072542 | -0.0018175 | 0.0072556 | 0.001818 | 1.3508e-06 | 5.0167e-07 | 0.0111 | 0.0111 | 0.0111 | 0.97248 | -0.53503 | 0.97268 | -0.53112 | 3.0494
23 | -0.0075484 | -0.0018914 | 0.007549 | 0.0018904 | 6.543e-07 | -1.0432e-06 | 0.011547 | 0.011547 | 0.011547 | 0.97268 | -0.53112 | 0.97277 | -0.5293 | 1.0575
24 | -0.0082035 | -0.0020543 | 0.0082036 | 0.002054 | 6.5857e-08 | -3.0403e-07 | 0.012548 | 0.012548 | 0.012548 | 0.97277 | -0.5293 | 0.97278 | -0.52913 | 0.68945
25 | 0.00065449 | 0.00016394 | -0.00065448 | -0.00016403 | 2.8611e-09 | -9.2674e-08 | 0.0010011 | 0.0010011 | 0.0010011 | 0.97277 | -0.5293 | 0.97277 | -0.52939 | 0.27504
26 | -0.0086117 | -0.0021563 | 0.0086117 | 0.002156 | 7.415e-08 | -3.0627e-07 | 0.013172 | 0.013172 | 0.013172 | 0.97278 | -0.52913 | 0.97279 | -0.52895 | 0.72374
27 | -0.0092223 | -0.002309 | 0.0092226 | 0.002308 | 2.7918e-07 | -9.8269e-07 | 0.014106 | 0.014106 | 0.014106 | 0.97279 | -0.52895 | 0.97282 | -0.52831 | 0.77505
28 | 0.0099273 | 0.0024837 | -0.009927 | -0.0024845 | 2.7625e-07 | -8.1516e-07 | 0.015183 | 0.015183 | 0.015183 | 0.97285 | -0.52773 | 0.97282 | -0.52831 | 0.83423
29 | -0.013172 | -0.0032968 | 0.013182 | 0.0032821 | 1.0498e-05 | -1.4721e-05 | 0.020145 | 0.020137 | 0.020145 | 0.97285 | -0.52773 | 0.9737 | -0.51096 | 1.1069
30 | -0.013625 | -0.0033932 | 0.013627 | 0.0033914 | 1.4532e-06 | -1.8517e-06 | 0.020815 | 0.020814 | 0.020815 | 0.9737 | -0.51096 | 0.97381 | -0.50871 | 1.1437
31 | 0.09994 | 0.025107 | -0.099836 | -0.025045 | 0.00010366 | 6.2482e-05 | 0.15094 | 0.15094 | 0.15094 | 0.98537 | -0.28116 | 0.98425 | -0.30292 | 8.2936
32 | -0.09994 | -0.025107 | 0.1 | 0.025146 | 6.472e-05 | 3.9007e-05 | 0.15094 | 0.15094 | 0.15094 | 0.98537 | -0.28116 | 0.98607 | -0.2676 | 8.2935
33 | 0.0058062 | 0.0014551 | -0.0058057 | -0.001455 | 4.947e-07 | 9.9033e-08 | 0.0087779 | 0.008778 | 0.008778 | 0.98425 | -0.30292 | 0.98416 | -0.30471 | 2.4115
34 | 0.09403 | 0.02359 | -0.093953 | -0.023543 | 7.7129e-05 | 4.6132e-05 | 0.14217 | 0.14217 | 0.14217 | 0.98425 | -0.30292 | 0.98337 | -0.32014 | 7.8113
35 | -0.016254 | -0.0040499 | 0.016256 | 0.0040485 | 1.9234e-06 | -1.3572e-06 | 0.024829 | 0.024828 | 0.024829 | 0.97381 | -0.50871 | 0.97394 | -0.50621 | 1.3642
36 | -0.0039869 | -0.00099922 | 0.0039871 | 0.00099916 | 2.194e-07 | -5.5452e-08 | 0.0060942 | 0.0060942 | 0.0060942 | 0.97348 | -0.51527 | 0.97354 | -0.51411 | 1.6742
37 | -0.004602 | -0.0011533 | 0.0046022 | 0.0011533 | 1.6102e-07 | -4.8631e-09 | 0.007034 | 0.0070339 | 0.007034 | 0.97354 | -0.51411 | 0.97358 | -0.51338 | 1.9324
38 | 0.026555 | 0.0066115 | -0.02649 | -0.0066031 | 6.4472e-05 | 8.3994e-06 | 0.04042 | 0.040432 | 0.040432 | 0.97721 | -0.44137 | 0.97462 | -0.49263 | 2.2215
39 | -0.026891 | -0.0066948 | 0.026892 | 0.0066951 | 1.7264e-06 | 2.4414e-07 | 0.040931 | 0.04093 | 0.040931 | 0.97721 | -0.44137 | 0.97728 | -0.44001 | 2.2489
40 | 0.00033571 | 8.3325e-05 | -0.00033571 | -8.3808e-05 | 3.7875e-09 | -4.8217e-07 | 0.0005109 | 0.00051108 | 0.00051108 | 0.97721 | -0.44137 | 0.9772 | -0.44161 | 0.14041
41 | 0.025977 | 0.0064745 | -0.025975 | -0.0064743 | 2.5511e-06 | 2.8461e-07 | 0.039648 | 0.039649 | 0.039649 | 0.97462 | -0.49263 | 0.97452 | -0.4947 | 2.1785
42 | -0.027156 | -0.0067611 | 0.027159 | 0.0067616 | 3.3097e-06 | 4.9958e-07 | 0.041332 | 0.041331 | 0.041332 | 0.97728 | -0.44001 | 0.97741 | -0.43744 | 2.271
43 | 7.1248e-05 | 1.7528e-05 | -7.1248e-05 | -1.7857e-05 | 1.1579e-10 | -3.2893e-07 | 0.00010838 | 0.00010849 | 0.00010849 | 0.9772 | -0.44161 | 0.9772 | -0.44164 | 0.029806
44 | -0.0047779 | -0.0011973 | 0.0047785 | 0.0011973 | 5.6562e-07 | 1.0221e-08 | 0.0073025 | 0.0073024 | 0.0073025 | 0.97358 | -0.51338 | 0.9737 | -0.51089 | 2.0062
45 | -0.00525 | -0.0013155 | 0.0052509 | 0.0013119 | 8.849e-07 | -3.5391e-06 | 0.008023 | 0.0080215 | 0.008023 | 0.9737 | -0.51089 | 0.97388 | -0.50735 | 0.7347
46 | -0.0058179 | -0.0014541 | 0.0058182 | 0.001452 | 2.0522e-07 | -2.0239e-06 | 0.0088879 | 0.0088872 | 0.0088879 | 0.97388 | -0.50735 | 0.97392 | -0.50661 | 0.48835
47 | -0.0083341 | -0.0020826 | 0.0083343 | 0.0020819 | 1.5725e-07 | -7.0426e-07 | 0.012731 | 0.012731 | 0.012731 | 0.97392 | -0.50661 | 0.97394 | -0.50621 | 0.69952
48 | -0.024591 | -0.0061304 | 0.024604 | 0.0061311 | 1.3435e-05 | 6.9178e-07 | 0.037559 | 0.037556 | 0.037559 | 0.97394 | -0.50621 | 0.97452 | -0.4947 | 2.0637
49 | 0.0013708 | 0.00034313 | -0.0013708 | -0.00034329 | 2.1737e-08 | -1.5095e-07 | 0.0020929 | 0.002093 | 0.002093 | 0.97452 | -0.4947 | 0.9745 | -0.49503 | 0.575
50 | 0.0011113 | 0.00027827 | -0.0011113 | -0.00027852 | 2.3309e-08 | -2.5401e-07 | 0.0016969 | 0.0016969 | 0.0016969 | 0.9745 | -0.49503 | 0.97448 | -0.49547 | 0.46619
51 | -0.019837 | -0.0049716 | 0.019839 | 0.0049711 | 1.8848e-06 | -5.4954e-07 | 0.030075 | 0.030075 | 0.030075 | 0.98147 | -0.35736 | 0.98157 | -0.35537 | 1.6525
52 | -0.053482 | -0.013356 | 0.053488 | 0.01336 | 6.3887e-06 | 3.2693e-06 | 0.081059 | 0.081059 | 0.081059 | 0.98157 | -0.35537 | 0.9817 | -0.35286 | 4.4538
53 | 0.033643 | 0.0083853 | -0.033612 | -0.0083756 | 3.0698e-05 | 9.7057e-06 | 0.050985 | 0.050988 | 0.050988 | 0.98157 | -0.35537 | 0.9806 | -0.37461 | 2.8016
54 | -0.063365 | -0.015835 | 0.063371 | 0.015839 | 6.5617e-06 | 3.5996e-06 | 0.096029 | 0.096029 | 0.096029 | 0.9817 | -0.35286 | 0.98181 | -0.35068 | 5.2763
55 | 0.00051193 | 0.00012763 | -0.00051192 | -0.0001283 | 1.2085e-08 | -6.6611e-07 | 0.00077659 | 0.00077683 | 0.00077683 | 0.9806 | -0.37461 | 0.98057 | -0.37511 | 0.21342
56 | 0.0331 | 0.008248 | -0.033083 | -0.0082427 | 1.7389e-05 | 5.3322e-06 | 0.050212 | 0.050214 | 0.050214 | 0.9806 | -0.37461 | 0.98003 | -0.38569 | 2.759
57 | 0.030775 | 0.007665 | -0.030772 | -0.0076642 | 3.0964e-06 | 7.8964e-07 | 0.046709 | 0.04671 | 0.04671 | 0.98003 | -0.38569 | 0.97993 | -0.38782 | 2.5665
58 | 0.0023081 | 0.00057768 | -0.002308 | -0.00057803 | 1.6649e-07 | -3.4896e-07 | 0.0035042 | 0.0035044 | 0.0035044 | 0.98003 | -0.38569 | 0.97996 | -0.38721 | 0.96274
59 | 0.087295 | 0.021867 | -0.087258 | -0.021845 | 3.7712e-05 | 2.231e-05 | 0.13213 | 0.13213 | 0.13213 | 0.98309 | -0.3257 | 0.98262 | -0.33478 | 7.2598
60 | -0.087295 | -0.021867 | 0.087319 | 0.021881 | 2.3135e-05 | 1.3686e-05 | 0.13213 | 0.13213 | 0.13213 | 0.98309 | -0.3257 | 0.98337 | -0.32014 | 7.2598
61 | 0.087258 | 0.021845 | -0.087223 | -0.021824 | 3.4839e-05 | 2.0612e-05 | 0.13213 | 0.13213 | 0.13213 | 0.98262 | -0.33478 | 0.9822 | -0.34317 | 7.2598
62 | -0.069705 | -0.017426 | 0.06973 | 0.01744 | 2.4896e-05 | 1.4052e-05 | 0.10563 | 0.10563 | 0.10563 | 0.98181 | -0.35068 | 0.9822 | -0.34317 | 5.8037
63 | 0.030695 | 0.007645 | -0.030687 | -0.007643 | 8.1527e-06 | 2.0648e-06 | 0.046594 | 0.046595 | 0.046595 | 0.97993 | -0.38782 | 0.97964 | -0.39342 | 2.5602
64 | 0.030451 | 0.0075838 | -0.030442 | -0.0075815 | 9.1918e-06 | 2.275e-06 | 0.046236 | 0.046238 | 0.046238 | 0.97964 | -0.39342 | 0.97932 | -0.39979 | 2.5405
65 | -0.028392 | -0.0070685 | 0.028396 | 0.0070693 | 4.3902e-06 | 8.4005e-07 | 0.043183 | 0.043182 | 0.043183 | 0.97795 | -0.42684 | 0.97811 | -0.42357 | 2.3727
66 | 0.028122 | 0.0070008 | -0.02812 | -0.0070005 | 1.7588e-06 | 3.2152e-07 | 0.042772 | 0.042772 | 0.042772 | 0.97795 | -0.42684 | 0.97788 | -0.42815 | 2.3501
67 | -0.028576 | -0.0071145 | 0.028584 | 0.007116 | 8.0514e-06 | 1.5842e-06 | 0.043456 | 0.043455 | 0.043456 | 0.97811 | -0.42357 | 0.97841 | -0.41763 | 2.3877
68 | 0.027816 | 0.0069253 | -0.027814 | -0.0069248 | 2.6672e-06 | 4.6108e-07 | 0.042311 | 0.042311 | 0.042311 | 0.97788 | -0.42815 | 0.97778 | -0.43018 | 2.3248
69 | 0.00030344 | 7.5237e-05 | -0.00030344 | -7.5585e-05 | 2.2194e-09 | -3.4718e-07 | 0.00046145 | 0.00046157 | 0.00046157 | 0.97788 | -0.42815 | 0.97787 | -0.42831 | 0.12681
70 | -0.030256 | -0.0075351 | 0.030282 | 0.0075413 | 2.5607e-05 | 6.2449e-06 | 0.045998 | 0.045994 | 0.045998 | 0.97841 | -0.41763 | 0.97932 | -0.39979 | 2.5273
71 | 0.027565 | 0.0068625 | -0.027561 | -0.0068619 | 3.4886e-06 | 5.7395e-07 | 0.041933 | 0.041933 | 0.041933 | 0.97778 | -0.43018 | 0.97764 | -0.43285 | 2.304
72 | 0.00011988 | 2.958e-05 | -0.00011988 | -3.0044e-05 | 4.6135e-10 | -4.6394e-07 | 0.00018225 | 0.00018242 | 0.00018242 | 0.97787 | -0.42831 | 0.97787 | -0.42839 | 0.050114
73 | 0.027388 | 0.0068184 | -0.027382 | -0.0068175 | 5.9652e-06 | 9.4656e-07 | 0.041669 | 0.04167 | 0.04167 | 0.97764 | -0.43285 | 0.97741 | -0.43744 | 2.2896

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61174 | 0.15562

## res_load
| p_mw | q_mvar
0 | 0.050299 | 0.012606
1 | 0.0052837 | 0.0013242
2 | 0.013459 | 0.0033732
3 | 0.038231 | 0.0095816
4 | 0.06444 | 0.01615
5 | 0.01775 | 0.0044486
6 | 0.034292 | 0.0085945
7 | 0.021002 | 0.0052635
8 | 0.088544 | 0.022191
9 | 0.00048532 | 0.00012163
10 | 0.0010586 | 0.0002653
11 | 0.0024955 | 0.00062544
12 | 0.00021214 | 5.3167e-05
13 | 0.0027767 | 0.00069592
14 | 0.0017692 | 0.0004434
15 | 0.00029279 | 7.338e-05
16 | 0.00040808 | 0.00010228
17 | 0.00065448 | 0.00016403
18 | 0.0006106 | 0.00015303
19 | 0.0032443 | 0.00081311
20 | 0.00070443 | 0.00017655
21 | 0.00044327 | 0.0001111
22 | 0.085811 | 0.021506
23 | 0.0081063 | 0.0020316
24 | 0.0058057 | 0.001455
25 | 0.012122 | 0.003038
26 | 0.063911 | 0.016018
27 | 0.0026275 | 0.00065852
28 | 0.0039869 | 0.00099922
29 | 0.00061487 | 0.0001541
30 | 0.00051299 | 0.00012857
31 | 0.00026355 | 6.6051e-05
32 | 0.00026446 | 6.628e-05
33 | 0.00017572 | 4.4039e-05
34 | 0.00047154 | 0.00011818
35 | 0.00056707 | 0.00014212
36 | 0.002516 | 0.00063056
37 | 0.00025943 | 6.502e-05
38 | 0.0011113 | 0.00027852
39 | 0.019837 | 0.0049716
40 | 0.0098762 | 0.0024752
41 | 0.00051192 | 0.0001283
42 | 0.0066345 | 0.0016628
43 | 0.0063336 | 0.0015874
44 | 0.017493 | 0.0043842
45 | 0.00076405 | 0.00019149
46 | 7.6468e-05 | 1.9165e-05
47 | 0.00023611 | 5.9174e-05
48 | 0.00027001 | 6.767e-05
49 | 0.00018004 | 4.5121e-05
50 | 0.001672 | 0.00041904
51 | 0.00024875 | 6.2343e-05
52 | 0.00018356 | 4.6004e-05
53 | 0.00016031 | 4.0178e-05
54 | 0.00017343 | 4.3467e-05
55 | 0.00011988 | 3.0044e-05
56 | 0.00022285 | 5.5852e-05
57 | 7.1248e-05 | 1.7857e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1