## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1703-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1703-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1703-8_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1703-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1703-8_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1703-8_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1703-8_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1703-8_0_2_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_1703-8_0_2_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_1703-8_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1703-8_0_2_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1703-8_0_2_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_1703-8_0_2_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_1703-8_0_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_1703-8_0_2_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_1703-8_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1703-8_0_2_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1703-8_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1703-8_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1703-8_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1703-8_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1703-8_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1703-8_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1703-8_0_2_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_1703-8_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1703-8_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1703-8_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1703-8_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1703-8_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1703-8_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1703-8_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1703-8_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1703-8_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1703-8_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1703-8_0_2_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1703-8_0_2_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1703-8_0_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1703-8_0_2_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_1703-8_0_2_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_1703-8_0_2_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_1703-8_0_2_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1703-8_0_2_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1703-8_0_2_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1703-8_0_2_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_1703-8_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1703-8_0_2_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_1703-8_0_2_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1703-8_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_1703-8_0_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1703-8_0_2_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_1703-8_0_2_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1703-8_0_2_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1703-8_0_2_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_1703-8_0_2_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1703-8_0_2_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1703-8_0_2_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1703-8_0_2_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_1703-8_0_2_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_1703-8_0_2_node_51 | 0.4 | n |  | TRUE
59 | bus_MV_435_1_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1703-8_0_2_load_0 | 0 | 0.0079184 | 0.0019845 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1703-8_0_2_load_4 | 4 | 0.0014095 | 0.00035326 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1703-8_0_2_load_5 | 5 | 0.0055373 | 0.0013878 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1703-8_0_2_load_6 | 6 | 0.004184 | 0.0010486 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1703-8_0_2_load_61 | 7 | 0.00049098 | 0.00012305 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1703-8_0_2_load_59 | 8 | 0.0010679 | 0.00026765 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1703-8_0_2_load_9 | 9 | 0.0004595 | 0.00011516 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1703-8_0_2_load_28 | 10 | 0.0033492 | 0.0008394 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1703-8_0_2_load_43 | 11 | 0.0081127 | 0.0020332 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1703-8_0_2_load_36 | 14 | 0.00066125 | 0.00016572 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1703-8_0_2_load_7 | 15 | 0.0020587 | 0.00051597 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1703-8_0_2_load_10 | 17 | 0.0040163 | 0.0010066 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1703-8_0_2_load_11 | 18 | 0.0072331 | 0.0018128 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1703-8_0_2_load_21 | 20 | 0.019922 | 0.0049929 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1703-8_0_2_load_63 | 23 | 0.0031137 | 0.00078036 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1703-8_0_2_load_23 | 24 | 0.0019096 | 0.00047859 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1703-8_0_2_load_18 | 27 | 0.007266 | 0.001821 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1703-8_0_2_load_22 | 30 | 0.00057261 | 0.00014351 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1703-8_0_2_load_29 | 31 | 0.0074384 | 0.0018642 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1703-8_0_2_load_26 | 32 | 0.0059489 | 0.0014909 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1703-8_0_2_load_25 | 34 | 0.00097632 | 0.00024469 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1703-8_0_2_load_30 | 35 | 0.011201 | 0.0028072 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1703-8_0_2_load_58 | 37 | 0.0050296 | 0.0012605 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1703-8_0_2_load_56 | 38 | 0.0012413 | 0.0003111 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1703-8_0_2_load_55 | 39 | 0.0051188 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1703-8_0_2_load_35 | 40 | 0.00014782 | 3.7046e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1703-8_0_2_load_44 | 43 | 0.00048031 | 0.00012038 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1703-8_0_2_load_42 | 44 | 0.00058323 | 0.00014617 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1703-8_0_2_load_52 | 45 | 0.00046943 | 0.00011765 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1703-8_0_2_load_40 | 46 | 0.0023386 | 0.0005861 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1703-8_0_2_load_39 | 47 | 0.00049736 | 0.00012465 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1703-8_0_2_load_41 | 48 | 0.0015898 | 0.00039843 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1703-8_0_2_load_53 | 49 | 0.0010768 | 0.00026988 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1703-8_0_2_load_54 | 50 | 0.0022702 | 0.00056897 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1703-8_0_2_load_45 | 51 | 0.00029066 | 7.2847e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1703-8_0_2_load_46 | 52 | 0.0011405 | 0.00028584 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1703-8_0_2_load_48 | 54 | 0.00065126 | 0.00016322 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1703-8_0_2_load_49 | 55 | 0.00093328 | 0.0002339 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1703-8_0_2_load_62 | 56 | 0.00014562 | 3.6495e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1703-8_0_2_load_51 | 58 | 0.00060723 | 0.00015219 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1703-8_0_2_line_0 |  | 0 | 1 | 0.025636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1703-8_0_2_line_1 |  | 0 | 2 | 0.019371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1703-8_0_2_line_2 |  | 1 | 3 | 0.018232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1703-8_0_2_line_3 |  | 1 | 4 | 0.010928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1703-8_0_2_line_4 |  | 2 | 5 | 0.0039514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1703-8_0_2_line_5 |  | 2 | 6 | 0.026479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1703-8_0_2_line_6 |  | 3 | 7 | 0.030596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1703-8_0_2_line_7 |  | 3 | 8 | 0.010602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1703-8_0_2_line_8 |  | 4 | 9 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1703-8_0_2_line_9 |  | 6 | 10 | 0.023541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1703-8_0_2_line_10 |  | 6 | 11 | 0.1002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1703-8_0_2_line_11 |  | 8 | 12 | 0.010607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1703-8_0_2_line_12 |  | 10 | 13 | 0.14857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1703-8_0_2_line_13 |  | 11 | 14 | 0.14334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1703-8_0_2_line_14 |  | 12 | 37 | 0.033313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1703-8_0_2_line_15 |  | 12 | 38 | 0.065265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1703-8_0_2_line_16 |  | 12 | 36 | 0.021186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1703-8_0_2_line_17 |  | 13 | 32 | 0.020977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1703-8_0_2_line_18 |  | 14 | 40 | 0.016268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1703-8_0_2_line_19 |  | 15 | 16 | 0.0030729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1703-8_0_2_line_20 |  | 16 | 17 | 0.026141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1703-8_0_2_line_21 |  | 16 | 18 | 0.021459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1703-8_0_2_line_22 |  | 17 | 19 | 0.019795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1703-8_0_2_line_23 |  | 18 | 20 | 0.029044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1703-8_0_2_line_24 |  | 19 | 21 | 0.049441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1703-8_0_2_line_25 |  | 21 | 27 | 0.018729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1703-8_0_2_line_26 |  | 22 | 23 | 0.034345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1703-8_0_2_line_27 |  | 22 | 24 | 0.028256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1703-8_0_2_line_28 |  | 24 | 30 | 0.014651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1703-8_0_2_line_29 |  | 24 | 25 | 0.012709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1703-8_0_2_line_30 |  | 25 | 26 | 0.018114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1703-8_0_2_line_31 |  | 26 | 31 | 0.034403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1703-8_0_2_line_32 |  | 27 | 28 | 0.0086279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1703-8_0_2_line_33 |  | 28 | 29 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1703-8_0_2_line_34 |  | 29 | 31 | 0.035605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1703-8_0_2_line_35 |  | 29 | 32 | 0.0077186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1703-8_0_2_line_36 |  | 30 | 33 | 0.084633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1703-8_0_2_line_37 |  | 33 | 34 | 0.057728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1703-8_0_2_line_38 |  | 35 | 36 | 0.013038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1703-8_0_2_line_39 |  | 37 | 39 | 0.013751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1703-8_0_2_line_40 |  | 39 | 50 | 0.0012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1703-8_0_2_line_41 |  | 40 | 41 | 0.031391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1703-8_0_2_line_42 |  | 41 | 42 | 0.005485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1703-8_0_2_line_43 |  | 42 | 43 | 0.033827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1703-8_0_2_line_44 |  | 42 | 44 | 0.020132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1703-8_0_2_line_45 |  | 43 | 45 | 0.025498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1703-8_0_2_line_46 |  | 44 | 46 | 0.0014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1703-8_0_2_line_47 |  | 45 | 54 | 0.015902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1703-8_0_2_line_48 |  | 46 | 47 | 0.006053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1703-8_0_2_line_49 |  | 47 | 48 | 0.012911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1703-8_0_2_line_50 |  | 49 | 50 | 0.10282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1703-8_0_2_line_51 |  | 51 | 52 | 0.026568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1703-8_0_2_line_52 |  | 51 | 53 | 0.031189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1703-8_0_2_line_53 |  | 52 | 54 | 0.0117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1703-8_0_2_line_54 |  | 53 | 55 | 0.020204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1703-8_0_2_line_55 |  | 53 | 56 | 0.2707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1703-8_0_2_line_56 |  | 55 | 57 | 0.028235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1703-8_0_2_line_57 |  | 57 | 58 | 0.021063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1703-8_0_2_trafo_28 | 0.63 MVA 20/0.4 kV | 59 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2675002.1236 | 1226672.4584 | 2674977.9217 | 1226680.9119
1 | 2674959.6338 | 1226687.2997 | 2674977.9217 | 1226680.9119
2 | 2675002.1236 | 1226672.4584 | 2675005.5285 | 1226690.3688
3 | 2675002.1236 | 1226672.4584 | 2674999.1502 | 1226661.943
4 | 2674959.6338 | 1226687.2997 | 2674960.5882 | 1226691.1341
5 | 2674959.6338 | 1226687.2997 | 2674947.042 | 1226664.5815 | 2674946.8599 | 1226664.1108
6 | 2675005.5285 | 1226690.3688 | 2675034.9543 | 1226681.9881
7 | 2675005.5285 | 1226690.3688 | 2675004.9478 | 1226700.9554
8 | 2674999.1502 | 1226661.943 | 2674996.3964 | 1226652.2042
9 | 2674946.8599 | 1226664.1108 | 2674938.5488 | 1226642.6266 | 2674938.2316 | 1226642.233
10 | 2674946.8599 | 1226664.1108 | 2674851.9963 | 1226696.3719
11 | 2675004.367 | 1226711.5461 | 2675004.9478 | 1226700.9554
12 | 2674845.7619 | 1226525.9592 | 2674851.258 | 1226532.5327 | 2674884.9106 | 1226576.0739 | 2674938.2316 | 1226642.233
13 | 2674851.9963 | 1226696.3719 | 2674855.7434 | 1226839.6619
14 | 2675004.367 | 1226711.5461 | 2674993.2547 | 1226719.9894 | 2674997.3735 | 1226737.7865 | 2674997.6963 | 1226738.8271
15 | 2675004.367 | 1226711.5461 | 2675010.3061 | 1226716.0239 | 2675065.8069 | 1226732.2586
16 | 2674984.1748 | 1226718.1405 | 2675004.367 | 1226711.5461
17 | 2674845.7619 | 1226525.9592 | 2674845.8929 | 1226504.9831
18 | 2674843.0927 | 1226849.8871 | 2674847.8794 | 1226846.1767 | 2674855.7434 | 1226839.6619
19 | 2674921.4091 | 1226504.9637 | 2674922.8219 | 1226507.6926
20 | 2674921.4091 | 1226504.9637 | 2674912.1284 | 1226486.5346 | 2674908.795 | 1226482.1514
21 | 2674921.4091 | 1226504.9637 | 2674942.0756 | 1226499.1864
22 | 2674896.8126 | 1226466.3951 | 2674908.795 | 1226482.1514
23 | 2674970.047 | 1226491.3671 | 2674942.0756 | 1226499.1864
24 | 2674862.0241 | 1226457.6517 | 2674870.4543 | 1226451.5425 | 2674879.7945 | 1226444.7889 | 2674896.8126 | 1226466.3951
25 | 2674862.0241 | 1226457.6517 | 2674861.3981 | 1226467.6393 | 2674863.1157 | 1226476.1902
26 | 2674862.1854 | 1226424.3649 | 2674869.1345 | 1226413.067 | 2674861.0531 | 1226405.9162 | 2674864.7069 | 1226396.2668
27 | 2674862.1854 | 1226424.3649 | 2674843.8396 | 1226402.831
28 | 2674843.8396 | 1226402.831 | 2674833.3143 | 1226392.6389
29 | 2674837.9897 | 1226414.1205 | 2674843.8396 | 1226402.831
30 | 2674837.9897 | 1226414.1205 | 2674832.1943 | 1226425.2995 | 2674830.861 | 1226430.6641
31 | 2674830.861 | 1226430.6641 | 2674829.0243 | 1226438.0792 | 2674829.3673 | 1226450.5807 | 2674833.3326 | 1226464.2752
32 | 2674864.8149 | 1226484.6492 | 2674863.1157 | 1226476.1902
33 | 2674845.9411 | 1226497.2646 | 2674856.9918 | 1226489.5096 | 2674864.8149 | 1226484.6492
34 | 2674845.9411 | 1226497.2646 | 2674840.2566 | 1226488.1871 | 2674833.3326 | 1226464.2752
35 | 2674845.9411 | 1226497.2646 | 2674845.8929 | 1226504.9831
36 | 2674783.3222 | 1226324.874 | 2674800.7545 | 1226354.5906 | 2674821.8297 | 1226381.5178 | 2674833.3143 | 1226392.6389
37 | 2674783.3222 | 1226324.874 | 2674753.4251 | 1226344.2335 | 2674737.136 | 1226355.0362 | 2674734.7304 | 1226355.9247
38 | 2674984.1748 | 1226718.1405 | 2674971.3111 | 1226720.2669
39 | 2675001.7699 | 1226751.9613 | 2674997.6963 | 1226738.8271
40 | 2675001.7699 | 1226751.9613 | 2675002.1493 | 1226753.1846
41 | 2674817.5205 | 1226868.0874 | 2674840.1869 | 1226852.1395 | 2674843.0927 | 1226849.8871
42 | 2674817.5205 | 1226868.0874 | 2674817.8534 | 1226873.5619
43 | 2674817.8534 | 1226873.5619 | 2674792.4874 | 1226886.0069 | 2674788.0582 | 1226889.3893
44 | 2674817.8534 | 1226873.5619 | 2674826.0926 | 1226881.3707 | 2674833.9447 | 1226885.2991
45 | 2674767.7936 | 1226904.8645 | 2674788.0582 | 1226889.3893
46 | 2674833.9447 | 1226885.2991 | 2674835.2237 | 1226885.939
47 | 2674767.7936 | 1226904.8645 | 2674759.3424 | 1226911.3184 | 2674754.8622 | 1226914.0897
48 | 2674840.6371 | 1226888.6473 | 2674835.2237 | 1226885.939
49 | 2674853.424 | 1226890.4315 | 2674840.6371 | 1226888.6473
50 | 2675026.3935 | 1226853.0561 | 2675007.6142 | 1226770.8042 | 2675002.1493 | 1226753.1846
51 | 2674722.5587 | 1226934.595 | 2674732.7057 | 1226927.7948 | 2674744.9121 | 1226920.2444
52 | 2674696.65 | 1226951.9583 | 2674722.5587 | 1226934.595
53 | 2674754.8622 | 1226914.0897 | 2674744.9121 | 1226920.2444
54 | 2674696.65 | 1226951.9583 | 2674690.0388 | 1226938.8332 | 2674687.2276 | 1226934.0966
55 | 2674696.65 | 1226951.9583 | 2674783.3305 | 1227208.4064
56 | 2674675.1821 | 1226908.7268 | 2674679.2021 | 1226920.574 | 2674687.2276 | 1226934.0966
57 | 2674675.1821 | 1226908.7268 | 2674674.5953 | 1226902.9489 | 2674675.1892 | 1226895.4847 | 2674676.845 | 1226887.8959

## bus_geodata
| x | y | coords
0 | 2674977.9217 | 1226680.9119
1 | 2675002.1236 | 1226672.4584
2 | 2674959.6338 | 1226687.2997
3 | 2675005.5285 | 1226690.3688
4 | 2674999.1502 | 1226661.943
5 | 2674960.5882 | 1226691.1341
6 | 2674946.8599 | 1226664.1108
7 | 2675034.9543 | 1226681.9881
8 | 2675004.9478 | 1226700.9554
9 | 2674996.3964 | 1226652.2042
10 | 2674938.2316 | 1226642.233
11 | 2674851.9963 | 1226696.3719
12 | 2675004.367 | 1226711.5461
13 | 2674845.7619 | 1226525.9592
14 | 2674855.7434 | 1226839.6619
15 | 2674922.8219 | 1226507.6926
16 | 2674921.4091 | 1226504.9637
17 | 2674908.795 | 1226482.1514
18 | 2674942.0756 | 1226499.1864
19 | 2674896.8126 | 1226466.3952
20 | 2674970.047 | 1226491.3671
21 | 2674862.0241 | 1226457.6517
22 | 2674862.1854 | 1226424.3649
23 | 2674864.7069 | 1226396.2668
24 | 2674843.8396 | 1226402.831
25 | 2674837.9897 | 1226414.1205
26 | 2674830.861 | 1226430.6641
27 | 2674863.1157 | 1226476.1902
28 | 2674864.8149 | 1226484.6492
29 | 2674845.9411 | 1226497.2646
30 | 2674833.3143 | 1226392.6389
31 | 2674833.3326 | 1226464.2752
32 | 2674845.8929 | 1226504.9831
33 | 2674783.3222 | 1226324.874
34 | 2674734.7304 | 1226355.9247
35 | 2674971.3111 | 1226720.2669
36 | 2674984.1748 | 1226718.1405
37 | 2674997.6963 | 1226738.8271
38 | 2675065.8069 | 1226732.2586
39 | 2675001.7699 | 1226751.9613
40 | 2674843.0927 | 1226849.8871
41 | 2674817.5205 | 1226868.0874
42 | 2674817.8534 | 1226873.5619
43 | 2674788.0582 | 1226889.3893
44 | 2674833.9447 | 1226885.2991
45 | 2674767.7936 | 1226904.8645
46 | 2674835.2237 | 1226885.939
47 | 2674840.6371 | 1226888.6473
48 | 2674853.424 | 1226890.4315
49 | 2675026.3935 | 1226853.0561
50 | 2675002.1493 | 1226753.1846
51 | 2674722.5587 | 1226934.595
52 | 2674744.9121 | 1226920.2444
53 | 2674696.65 | 1226951.9583
54 | 2674754.8622 | 1226914.0897
55 | 2674687.2276 | 1226934.0966
56 | 2674783.3305 | 1227208.4064
57 | 2674675.1821 | 1226908.7268
58 | 2674676.845 | 1226887.8959
59 | 2674959.6338 | 1226687.2997

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9969 | -0.059501 | 0.0079184 | 0.0019845
1 | 0.99622 | -0.072718 | 0 | 0
2 | 0.99756 | -0.046839 | 0 | 0
3 | 0.99576 | -0.08153 | 0 | 0
4 | 0.9962 | -0.073077 | 0.0014095 | 0.00035326
5 | 0.99754 | -0.047222 | 0.0055373 | 0.0013878
6 | 0.99859 | -0.026994 | 0.004184 | 0.0010486
7 | 0.99575 | -0.081794 | 0.00049098 | 0.00012305
8 | 0.9955 | -0.086566 | 0.0010679 | 0.00026765
9 | 0.99619 | -0.073159 | 0.0004595 | 0.00011516
10 | 1 | 0 | -0.12874 | -0.032205
11 | 0.99689 | -0.059755 | 0.0081127 | 0.0020332
12 | 0.99525 | -0.091407 | 0 | 0
13 | 0.99174 | -0.15791 | 0 | 0
14 | 0.99552 | -0.086334 | 0.00066125 | 0.00016572
15 | 0.98562 | -0.27649 | 0.0020587 | 0.00051597
16 | 0.98563 | -0.27637 | 0 | 0
17 | 0.98633 | -0.26268 | 0.0040163 | 0.0010066
18 | 0.98509 | -0.28683 | 0.0072331 | 0.0018128
19 | 0.98694 | -0.2509 | 0 | 0
20 | 0.98456 | -0.29723 | 0.019922 | 0.0049929
21 | 0.98845 | -0.22155 | 0 | 0
22 | 0.98926 | -0.20598 | 0 | 0
23 | 0.98916 | -0.20788 | 0.0031137 | 0.00078036
24 | 0.98934 | -0.20441 | 0.0019096 | 0.00047859
25 | 0.98942 | -0.20292 | 0 | 0
26 | 0.98953 | -0.2008 | 0 | 0
27 | 0.98902 | -0.21045 | 0.007266 | 0.001821
28 | 0.98935 | -0.20422 | 0 | 0
29 | 0.99019 | -0.18789 | 0 | 0
30 | 0.98932 | -0.20481 | 0.00057261 | 0.00014351
31 | 0.98973 | -0.19677 | 0.0074384 | 0.0018642
32 | 0.99058 | -0.18041 | 0.0059489 | 0.0014909
33 | 0.98924 | -0.20629 | 0 | 0
34 | 0.98919 | -0.2073 | 0.00097632 | 0.00024469
35 | 0.9949 | -0.098155 | 0.011201 | 0.0028072
36 | 0.99503 | -0.095584 | 0 | 0
37 | 0.99484 | -0.099324 | 0.0050296 | 0.0012605
38 | 0.99517 | -0.092834 | 0.0012413 | 0.0003111
39 | 0.99473 | -0.10138 | 0.0051188 | 0.0012829
40 | 0.99537 | -0.089165 | 0.00014782 | 3.7046e-05
41 | 0.99509 | -0.094548 | 0 | 0
42 | 0.99504 | -0.095489 | 0 | 0
43 | 0.9949 | -0.098308 | 0.00048031 | 0.00012038
44 | 0.99495 | -0.097265 | 0.00058323 | 0.00014617
45 | 0.9948 | -0.10022 | 0.00046943 | 0.00011765
46 | 0.99494 | -0.097376 | 0.0023386 | 0.0005861
47 | 0.99493 | -0.097599 | 0.00049736 | 0.00012465
48 | 0.99491 | -0.09796 | 0.0015898 | 0.00039843
49 | 0.99463 | -0.1034 | 0.0010768 | 0.00026988
50 | 0.99473 | -0.10145 | 0.0022702 | 0.00056897
51 | 0.99466 | -0.10285 | 0.00029066 | 7.2847e-05
52 | 0.99471 | -0.10192 | 0.0011405 | 0.00028584
53 | 0.99462 | -0.10379 | 0 | 0
54 | 0.99474 | -0.10128 | 0.00065126 | 0.00016322
55 | 0.99459 | -0.10434 | 0.00093328 | 0.0002339
56 | 0.99458 | -0.1045 | 0.00014562 | 3.6495e-05
57 | 0.99457 | -0.10464 | 0 | 0
58 | 0.99456 | -0.10486 | 0.00060723 | 0.00015219
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.029418 | 0.0073884 | -0.029399 | -0.0073769 | 1.854e-05 | 1.1532e-05 | 0.043916 | 0.043916 | 0.043916 | 0.9969 | -0.059501 | 0.99622 | -0.072718 | 12.0648
1 | -0.037336 | -0.0093729 | 0.037359 | 0.0093871 | 2.2566e-05 | 1.4189e-05 | 0.055735 | 0.055735 | 0.055735 | 0.9969 | -0.059501 | 0.99756 | -0.046839 | 15.3118
2 | 0.02753 | 0.0069087 | -0.027519 | -0.0069015 | 1.1563e-05 | 7.1629e-06 | 0.041124 | 0.041124 | 0.041124 | 0.99622 | -0.072718 | 0.99576 | -0.08153 | 11.2979
3 | 0.001869 | 0.00046817 | -0.001869 | -0.00046829 | 3.1937e-08 | -1.2184e-07 | 0.0027916 | 0.0027917 | 0.0027917 | 0.99622 | -0.072718 | 0.9962 | -0.073077 | 0.76695
4 | 0.0055374 | 0.0013878 | -0.0055373 | -0.0013878 | 1.011e-07 | 1.3115e-08 | 0.0082599 | 0.0082599 | 0.0082599 | 0.99756 | -0.046839 | 0.99754 | -0.047222 | 2.2692
5 | -0.042896 | -0.010775 | 0.042937 | 0.010801 | 4.0665e-05 | 2.568e-05 | 0.063995 | 0.063995 | 0.063995 | 0.99756 | -0.046839 | 0.99859 | -0.026994 | 17.581
6 | 0.00049099 | 0.00012266 | -0.00049098 | -0.00012305 | 6.1754e-09 | -3.9404e-07 | 0.00073357 | 0.00073371 | 0.00073371 | 0.99576 | -0.08153 | 0.99575 | -0.081794 | 0.20157
7 | 0.027028 | 0.0067789 | -0.027021 | -0.0067749 | 6.4863e-06 | 4.0134e-06 | 0.040391 | 0.040391 | 0.040391 | 0.99576 | -0.08153 | 0.9955 | -0.086566 | 11.0963
8 | 0.0004595 | 0.00011503 | -0.0004595 | -0.00011516 | 1.7877e-09 | -1.3062e-07 | 0.0006863 | 0.00068635 | 0.00068635 | 0.9962 | -0.073077 | 0.99619 | -0.073159 | 0.18856
9 | -0.065819 | -0.016544 | 0.065904 | 0.016598 | 8.4947e-05 | 5.4057e-05 | 0.098094 | 0.098094 | 0.098094 | 0.99859 | -0.026994 | 1 | 0 | 26.9489
10 | 0.018698 | 0.0046944 | -0.018669 | -0.0046771 | 2.9175e-05 | 1.7363e-05 | 0.027865 | 0.027865 | 0.027865 | 0.99859 | -0.026994 | 0.99689 | -0.059755 | 7.6553
11 | 0.025953 | 0.0065072 | -0.025947 | -0.0065035 | 5.9861e-06 | 3.6933e-06 | 0.038794 | 0.038794 | 0.038794 | 0.9955 | -0.086566 | 0.99525 | -0.091407 | 10.6578
12 | 0.061182 | 0.015607 | -0.060719 | -0.015313 | 0.00046275 | 0.00029423 | 0.091136 | 0.091137 | 0.091137 | 1 | 0 | 0.99174 | -0.15791 | 25.0376
13 | 0.010556 | 0.0026438 | -0.010543 | -0.0026371 | 1.3344e-05 | 6.6739e-06 | 0.015756 | 0.015756 | 0.015756 | 0.99689 | -0.059755 | 0.99552 | -0.086334 | 4.3287
14 | 0.013501 | 0.0033842 | -0.013496 | -0.0033813 | 5.0905e-06 | 2.8252e-06 | 0.020186 | 0.020187 | 0.020187 | 0.99525 | -0.091407 | 0.99484 | -0.099324 | 5.5457
15 | 0.0012414 | 0.00031031 | -0.0012413 | -0.0003111 | 8.4297e-08 | -7.9409e-07 | 0.0018557 | 0.001856 | 0.001856 | 0.99525 | -0.091407 | 0.99517 | -0.092834 | 0.5099
16 | 0.011204 | 0.0028091 | -0.011202 | -0.0028079 | 2.2296e-06 | 1.1517e-06 | 0.016752 | 0.016752 | 0.016752 | 0.99525 | -0.091407 | 0.99503 | -0.095584 | 4.6023
17 | 0.060719 | 0.015313 | -0.060654 | -0.015272 | 6.5337e-05 | 4.1545e-05 | 0.091137 | 0.091137 | 0.091137 | 0.99174 | -0.15791 | 0.99058 | -0.18041 | 25.0377
18 | 0.0098813 | 0.0024714 | -0.00988 | -0.0024708 | 1.3305e-06 | 6.4004e-07 | 0.014768 | 0.014768 | 0.014768 | 0.99552 | -0.086334 | 0.99537 | -0.089165 | 4.0572
19 | -0.0020587 | -0.00051597 | 0.0020588 | 0.00051594 | 1.1132e-08 | -3.2039e-08 | 0.0031081 | 0.0031081 | 0.0031081 | 0.98562 | -0.27649 | 0.98563 | -0.27637 | 0.85388
20 | -0.029237 | -0.007336 | 0.029256 | 0.0073479 | 1.9101e-05 | 1.1891e-05 | 0.044143 | 0.044143 | 0.044143 | 0.98563 | -0.27637 | 0.98633 | -0.26268 | 12.1271
21 | 0.027178 | 0.00682 | -0.027165 | -0.0068116 | 1.355e-05 | 8.3986e-06 | 0.041035 | 0.041035 | 0.041035 | 0.98563 | -0.27637 | 0.98509 | -0.28683 | 11.2733
22 | -0.033273 | -0.0083545 | 0.033291 | 0.0083662 | 1.8708e-05 | 1.172e-05 | 0.050202 | 0.050202 | 0.050202 | 0.98633 | -0.26268 | 0.98694 | -0.2509 | 13.7917
23 | 0.019932 | 0.0049988 | -0.019922 | -0.0049929 | 9.8736e-06 | 5.9495e-06 | 0.030109 | 0.030109 | 0.030109 | 0.98509 | -0.28683 | 0.98456 | -0.29723 | 8.2717
24 | -0.033291 | -0.0083662 | 0.033338 | 0.0083954 | 4.6725e-05 | 2.9271e-05 | 0.050202 | 0.050201 | 0.050202 | 0.98694 | -0.2509 | 0.98845 | -0.22155 | 13.7917
25 | -0.033338 | -0.0083954 | 0.033356 | 0.0084065 | 1.77e-05 | 1.1088e-05 | 0.050201 | 0.050201 | 0.050201 | 0.98845 | -0.22155 | 0.98902 | -0.21045 | 13.7916
26 | 0.003114 | 0.0007801 | -0.0031137 | -0.00078036 | 2.8256e-07 | -2.6007e-07 | 0.0046838 | 0.004684 | 0.004684 | 0.98926 | -0.20598 | 0.98916 | -0.20788 | 1.2868
27 | -0.003114 | -0.0007801 | 0.0031142 | 0.00077989 | 2.3245e-07 | -2.1404e-07 | 0.0046838 | 0.0046837 | 0.0046838 | 0.98926 | -0.20598 | 0.98934 | -0.20441 | 1.2868
28 | 0.0015491 | 0.00038627 | -0.001549 | -0.00038644 | 2.9808e-08 | -1.6906e-07 | 0.0023292 | 0.0023293 | 0.0023293 | 0.98934 | -0.20441 | 0.98932 | -0.20481 | 0.6399
29 | -0.0065729 | -0.0016448 | 0.0065733 | 0.0016449 | 4.6569e-07 | 1.3483e-07 | 0.009885 | 0.0098849 | 0.009885 | 0.98934 | -0.20441 | 0.98942 | -0.20292 | 2.7157
30 | -0.0065733 | -0.0016449 | 0.006574 | 0.0016451 | 6.6373e-07 | 1.9212e-07 | 0.0098849 | 0.0098849 | 0.0098849 | 0.98942 | -0.20292 | 0.98953 | -0.2008 | 2.7156
31 | -0.006574 | -0.0016451 | 0.0065753 | 0.0016454 | 1.2605e-06 | 3.6472e-07 | 0.0098849 | 0.0098847 | 0.0098849 | 0.98953 | -0.2008 | 0.98973 | -0.19677 | 2.7156
32 | -0.040622 | -0.010228 | 0.040634 | 0.010235 | 1.2092e-05 | 7.628e-06 | 0.061133 | 0.061133 | 0.061133 | 0.98902 | -0.21045 | 0.98935 | -0.20422 | 16.7948
33 | -0.040634 | -0.010235 | 0.040666 | 0.010255 | 3.1766e-05 | 2.0039e-05 | 0.061133 | 0.061133 | 0.061133 | 0.98935 | -0.20422 | 0.99019 | -0.18789 | 16.7948
34 | 0.01402 | 0.003513 | -0.014014 | -0.0035097 | 5.9262e-06 | 3.335e-06 | 0.021068 | 0.021068 | 0.021068 | 0.99019 | -0.18789 | 0.98973 | -0.19677 | 5.7879
35 | -0.054685 | -0.013768 | 0.054705 | 0.013781 | 1.9558e-05 | 1.2418e-05 | 0.082201 | 0.082201 | 0.082201 | 0.99019 | -0.18789 | 0.99058 | -0.18041 | 22.5826
36 | 0.00097644 | 0.00024293 | -0.00097637 | -0.00024398 | 6.8413e-08 | -1.0429e-06 | 0.001468 | 0.0014684 | 0.0014684 | 0.98932 | -0.20481 | 0.98924 | -0.20629 | 0.4034
37 | 0.00097637 | 0.00024398 | -0.00097632 | -0.00024469 | 4.6685e-08 | -7.1123e-07 | 0.0014684 | 0.0014687 | 0.0014687 | 0.98924 | -0.20629 | 0.98919 | -0.2073 | 0.40348
38 | -0.011201 | -0.0028072 | 0.011202 | 0.0028079 | 1.3722e-06 | 7.0886e-07 | 0.016753 | 0.016752 | 0.016753 | 0.9949 | -0.098155 | 0.99503 | -0.095584 | 4.6023
39 | 0.0084667 | 0.0021208 | -0.0084659 | -0.0021205 | 8.2698e-07 | 3.5074e-07 | 0.012664 | 0.012664 | 0.012664 | 0.99484 | -0.099324 | 0.99473 | -0.10138 | 3.479
40 | 0.0033472 | 0.00083757 | -0.0033471 | -0.00083758 | 1.2039e-08 | -8.9217e-09 | 0.0050065 | 0.0050065 | 0.0050065 | 0.99473 | -0.10138 | 0.99473 | -0.10145 | 1.3754
41 | 0.0097321 | 0.0024337 | -0.0097296 | -0.0024325 | 2.4911e-06 | 1.1864e-06 | 0.014547 | 0.014547 | 0.014547 | 0.99537 | -0.089165 | 0.99509 | -0.094548 | 3.9965
42 | 0.0097296 | 0.0024325 | -0.0097292 | -0.0024323 | 4.3528e-07 | 2.0733e-07 | 0.014547 | 0.014547 | 0.014547 | 0.99509 | -0.094548 | 0.99504 | -0.095489 | 3.9965
43 | 0.0047198 | 0.0011772 | -0.0047192 | -0.0011772 | 6.316e-07 | -3.5112e-08 | 0.0070561 | 0.0070563 | 0.0070563 | 0.99504 | -0.095489 | 0.9949 | -0.098308 | 1.9385
44 | 0.0050094 | 0.0012551 | -0.005009 | -0.0012551 | 4.2365e-07 | 9.6583e-09 | 0.0074911 | 0.0074912 | 0.0074912 | 0.99504 | -0.095489 | 0.99495 | -0.097265 | 2.058
45 | 0.0042389 | 0.0010569 | -0.0042385 | -0.0010569 | 3.8409e-07 | -8.5256e-08 | 0.0063379 | 0.006338 | 0.006338 | 0.9949 | -0.098308 | 0.9948 | -0.10022 | 1.7412
46 | 0.0044257 | 0.001109 | -0.0044257 | -0.001109 | 2.3496e-08 | -3.5363e-09 | 0.0066189 | 0.0066189 | 0.0066189 | 0.99495 | -0.097265 | 0.99494 | -0.097376 | 1.8184
47 | 0.0037691 | 0.00093929 | -0.0037689 | -0.00093937 | 1.8941e-07 | -8.5222e-08 | 0.0056359 | 0.0056359 | 0.0056359 | 0.9948 | -0.10022 | 0.99474 | -0.10128 | 1.5483
48 | 0.0020872 | 0.00052286 | -0.0020871 | -0.00052293 | 2.2116e-08 | -6.4455e-08 | 0.0031214 | 0.0031215 | 0.0031215 | 0.99494 | -0.097376 | 0.99493 | -0.097599 | 0.85754
49 | 0.0015898 | 0.00039828 | -0.0015898 | -0.00039843 | 2.737e-08 | -1.5015e-07 | 0.0023776 | 0.0023777 | 0.0023777 | 0.99493 | -0.097599 | 0.99491 | -0.09796 | 0.65321
50 | -0.0010768 | -0.00026988 | 0.0010769 | 0.00026861 | 1.0003e-07 | -1.2705e-06 | 0.001611 | 0.0016105 | 0.001611 | 0.99463 | -0.1034 | 0.99473 | -0.10145 | 0.44258
51 | -0.0019769 | -0.00049069 | 0.001977 | 0.0004904 | 8.7039e-08 | -2.8915e-07 | 0.0029558 | 0.0029557 | 0.0029558 | 0.99466 | -0.10285 | 0.99471 | -0.10192 | 0.81203
52 | 0.0016863 | 0.00041785 | -0.0016862 | -0.0004182 | 7.4334e-08 | -3.5723e-07 | 0.002521 | 0.0025211 | 0.0025211 | 0.99466 | -0.10285 | 0.99462 | -0.10379 | 0.69261
53 | -0.0031175 | -0.00077624 | 0.0031176 | 0.00077615 | 9.5348e-08 | -9.0856e-08 | 0.0046618 | 0.0046617 | 0.0046618 | 0.99471 | -0.10192 | 0.99474 | -0.10128 | 1.2807
54 | 0.0015406 | 0.00038522 | -0.0015405 | -0.00038546 | 4.0238e-08 | -2.3646e-07 | 0.0023045 | 0.0023046 | 0.0023046 | 0.99462 | -0.10379 | 0.99459 | -0.10434 | 0.63312
55 | 0.00014562 | 3.2985e-05 | -0.00014562 | -3.6495e-05 | 4.7913e-09 | -3.5101e-06 | 0.00021668 | 0.00021786 | 0.00021786 | 0.99462 | -0.10379 | 0.99458 | -0.1045 | 0.059851
56 | 0.00060724 | 0.00015156 | -0.00060723 | -0.00015192 | 8.7363e-09 | -3.6083e-07 | 0.00090828 | 0.00090841 | 0.00090841 | 0.99459 | -0.10434 | 0.99457 | -0.10464 | 0.24956
57 | 0.00060723 | 0.00015192 | -0.00060723 | -0.00015219 | 6.5186e-09 | -2.6916e-07 | 0.00090841 | 0.0009085 | 0.0009085 | 0.99457 | -0.10464 | 0.99456 | -0.10486 | 0.24959

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.13208 | 0.033045

## res_load
| p_mw | q_mvar
0 | 0.0079184 | 0.0019845
1 | 0.0014095 | 0.00035326
2 | 0.0055373 | 0.0013878
3 | 0.004184 | 0.0010486
4 | 0.00049098 | 0.00012305
5 | 0.0010679 | 0.00026765
6 | 0.0004595 | 0.00011516
7 | 0.0033492 | 0.0008394
8 | 0.0081127 | 0.0020332
9 | 0.00066125 | 0.00016572
10 | 0.0020587 | 0.00051597
11 | 0.0040163 | 0.0010066
12 | 0.0072331 | 0.0018128
13 | 0.019922 | 0.0049929
14 | 0.0031137 | 0.00078036
15 | 0.0019096 | 0.00047859
16 | 0.007266 | 0.001821
17 | 0.00057261 | 0.00014351
18 | 0.0074384 | 0.0018642
19 | 0.0059489 | 0.0014909
20 | 0.00097632 | 0.00024469
21 | 0.011201 | 0.0028072
22 | 0.0050296 | 0.0012605
23 | 0.0012413 | 0.0003111
24 | 0.0051188 | 0.0012829
25 | 0.00014782 | 3.7046e-05
26 | 0.00048031 | 0.00012038
27 | 0.00058323 | 0.00014617
28 | 0.00046943 | 0.00011765
29 | 0.0023386 | 0.0005861
30 | 0.00049736 | 0.00012465
31 | 0.0015898 | 0.00039843
32 | 0.0010768 | 0.00026988
33 | 0.0022702 | 0.00056897
34 | 0.00029066 | 7.2847e-05
35 | 0.0011405 | 0.00028584
36 | 0.00065126 | 0.00016322
37 | 0.00093328 | 0.0002339
38 | 0.00014562 | 3.6495e-05
39 | 0.00060723 | 0.00015219

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1