## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1707-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1707-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1707-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1707-12_0_3_node_45 | 0.4 | n |  | TRUE
4 | bus_LV_1707-12_0_3_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_1707-12_0_3_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_1707-12_0_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1707-12_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1707-12_0_3_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_1707-12_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1707-12_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1707-12_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1707-12_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1707-12_0_3_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_1707-12_0_3_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_1707-12_0_3_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_1707-12_0_3_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_1707-12_0_3_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_1707-12_0_3_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_1707-12_0_3_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_1707-12_0_3_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_1707-12_0_3_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_1707-12_0_3_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_1707-12_0_3_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_1707-12_0_3_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_1707-12_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1707-12_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1707-12_0_3_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_1707-12_0_3_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_1707-12_0_3_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_1707-12_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_1707-12_0_3_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_1707-12_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_1707-12_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1707-12_0_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_1707-12_0_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1707-12_0_3_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_1707-12_0_3_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_1707-12_0_3_node_83 | 0.4 | n |  | TRUE
39 | bus_LV_1707-12_0_3_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_1707-12_0_3_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_1707-12_0_3_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_1707-12_0_3_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_1707-12_0_3_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_1707-12_0_3_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_1707-12_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_1707-12_0_3_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_1707-12_0_3_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_1707-12_0_3_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_1707-12_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_1707-12_0_3_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_1707-12_0_3_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_1707-12_0_3_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_1707-12_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_1707-12_0_3_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_1707-12_0_3_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_1707-12_0_3_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_1707-12_0_3_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_1707-12_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_1707-12_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_1707-12_0_3_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_1707-12_0_3_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_1707-12_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_1707-12_0_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_1707-12_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_1707-12_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_1707-12_0_3_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_1707-12_0_3_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_1707-12_0_3_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_1707-12_0_3_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_1707-12_0_3_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_1707-12_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_1707-12_0_3_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_1707-12_0_3_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_1707-12_0_3_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_1707-12_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_1707-12_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_1707-12_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_1707-12_0_3_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_1707-12_0_3_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_1707-12_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_1707-12_0_3_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_1707-12_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_1707-12_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_1707-12_0_3_node_80 | 0.4 | n |  | TRUE
85 | bus_MV_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1707-12_0_3_load_0 | 0 | 0.0010398 | 0.00026059 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1707-12_0_3_load_40 | 4 | 0.00027411 | 6.8697e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1707-12_0_3_load_34 | 5 | 0.00025364 | 6.3568e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1707-12_0_3_load_19 | 6 | 0.00021211 | 5.316e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1707-12_0_3_load_18 | 7 | 0.00034076 | 8.5402e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1707-12_0_3_load_3 | 8 | 0.0015987 | 0.00040068 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1707-12_0_3_load_58 | 14 | 0.00057096 | 0.0001431 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1707-12_0_3_load_59 | 16 | 0.0027181 | 0.00068122 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1707-12_0_3_load_84 | 17 | 0.0012922 | 0.00032385 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1707-12_0_3_load_65 | 19 | 0.0017415 | 0.00043645 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1707-12_0_3_load_62 | 21 | 0.011098 | 0.0027814 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1707-12_0_3_load_8 | 22 | 0.00045796 | 0.00011478 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1707-12_0_3_load_9 | 23 | 7.2442e-05 | 1.8156e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1707-12_0_3_load_10 | 24 | 0.0001986 | 4.9775e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1707-12_0_3_load_11 | 27 | 0.0001789 | 4.4836e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1707-12_0_3_load_12 | 28 | 0.00027021 | 6.7721e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1707-12_0_3_load_81 | 29 | 0.000693 | 0.00017368 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1707-12_0_3_load_79 | 31 | 7.9376e-05 | 1.9893e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1707-12_0_3_load_38 | 33 | 0.00059312 | 0.00014865 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1707-12_0_3_load_37 | 34 | 0.0016141 | 0.00040454 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1707-12_0_3_load_16 | 36 | 0.00038598 | 9.6735e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1707-12_0_3_load_83 | 38 | 0.00011469 | 2.8743e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1707-12_0_3_load_78 | 39 | 0.00024051 | 6.0278e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1707-12_0_3_load_73 | 40 | 0.0010634 | 0.00026651 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1707-12_0_3_load_82 | 41 | 0.00072568 | 0.00018187 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1707-12_0_3_load_20 | 42 | 0.00074496 | 0.0001867 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1707-12_0_3_load_23 | 45 | 0.0002499 | 6.2631e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1707-12_0_3_load_24 | 46 | 0.00020759 | 5.2026e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1707-12_0_3_load_28 | 47 | 0.00014294 | 3.5824e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1707-12_0_3_load_25 | 48 | 0.0006535 | 0.00016378 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1707-12_0_3_load_31 | 49 | 0.00056908 | 0.00014263 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1707-12_0_3_load_32 | 50 | 9.0171e-05 | 2.2599e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1707-12_0_3_load_26 | 51 | 0.001156 | 0.00028972 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1707-12_0_3_load_29 | 52 | 0.0002839 | 7.1152e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1707-12_0_3_load_33 | 53 | 0.00021643 | 5.4243e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1707-12_0_3_load_27 | 54 | 0.00092293 | 0.00023131 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1707-12_0_3_load_35 | 55 | 0.0017484 | 0.00043819 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1707-12_0_3_load_36 | 56 | 0.0012734 | 0.00031914 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1707-12_0_3_load_30 | 57 | 0.00015773 | 3.9532e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1707-12_0_3_load_44 | 58 | 0.00063516 | 0.00015919 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1707-12_0_3_load_43 | 59 | 0.00023426 | 5.8711e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1707-12_0_3_load_41 | 60 | 0.00045593 | 0.00011427 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1707-12_0_3_load_42 | 61 | 0.00020408 | 5.1146e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1707-12_0_3_load_63 | 63 | 0.001145 | 0.00028697 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1707-12_0_3_load_60 | 64 | 0.0024167 | 0.00060569 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1707-12_0_3_load_61 | 65 | 0.0016652 | 0.00041733 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1707-12_0_3_load_47 | 66 | 0.00080771 | 0.00020243 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1707-12_0_3_load_50 | 69 | 0.0024174 | 0.00060586 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1707-12_0_3_load_51 | 70 | 0.00048409 | 0.00012132 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1707-12_0_3_load_52 | 71 | 0.00022437 | 5.6233e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1707-12_0_3_load_53 | 72 | 0.00054822 | 0.0001374 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1707-12_0_3_load_54 | 73 | 0.000855 | 0.00021428 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1707-12_0_3_load_66 | 74 | 0.0022125 | 0.00055452 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1707-12_0_3_load_68 | 76 | 0.00072301 | 0.0001812 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1707-12_0_3_load_70 | 78 | 0.0005881 | 0.00014739 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1707-12_0_3_load_71 | 79 | 0.0014366 | 0.00036004 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1707-12_0_3_load_72 | 80 | 0.0016453 | 0.00041235 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1707-12_0_3_load_74 | 81 | 0.0019701 | 0.00049376 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1707-12_0_3_load_75 | 82 | 0.0017368 | 0.00043528 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1707-12_0_3_load_76 | 83 | 0.0012826 | 0.00032144 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1707-12_0_3_load_80 | 84 | 0.00085601 | 0.00021454 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1707-12_0_3_line_0 |  | 0 | 1 | 0.13336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1707-12_0_3_line_1 |  | 1 | 2 | 0.056781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1707-12_0_3_line_2 |  | 2 | 6 | 0.039381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1707-12_0_3_line_3 |  | 3 | 4 | 0.10371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1707-12_0_3_line_4 |  | 3 | 5 | 0.07466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1707-12_0_3_line_5 |  | 4 | 33 | 0.035536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1707-12_0_3_line_6 |  | 5 | 50 | 0.01424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1707-12_0_3_line_7 |  | 6 | 7 | 0.043449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1707-12_0_3_line_8 |  | 7 | 32 | 0.030608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1707-12_0_3_line_9 |  | 8 | 9 | 0.11629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1707-12_0_3_line_10 |  | 8 | 10 | 0.097805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1707-12_0_3_line_11 |  | 9 | 11 | 0.016189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1707-12_0_3_line_12 |  | 10 | 12 | 0.11097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1707-12_0_3_line_13 |  | 11 | 16 | 0.047615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1707-12_0_3_line_14 |  | 12 | 17 | 0.029693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1707-12_0_3_line_15 |  | 13 | 14 | 0.186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1707-12_0_3_line_16 |  | 13 | 15 | 0.077733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1707-12_0_3_line_17 |  | 14 | 16 | 0.020814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1707-12_0_3_line_18 |  | 15 | 71 | 0.054094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1707-12_0_3_line_19 |  | 17 | 20 | 0.045491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1707-12_0_3_line_20 |  | 18 | 19 | 0.045412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1707-12_0_3_line_21 |  | 18 | 20 | 0.28837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1707-12_0_3_line_22 |  | 18 | 21 | 0.025745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1707-12_0_3_line_23 |  | 21 | 64 | 0.028618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1707-12_0_3_line_24 |  | 22 | 23 | 0.054048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1707-12_0_3_line_25 |  | 23 | 24 | 0.015853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1707-12_0_3_line_26 |  | 24 | 25 | 0.026804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1707-12_0_3_line_27 |  | 25 | 26 | 0.08419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1707-12_0_3_line_28 |  | 26 | 37 | 0.12871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1707-12_0_3_line_29 |  | 26 | 38 | 0.13089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1707-12_0_3_line_30 |  | 27 | 28 | 0.1854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1707-12_0_3_line_31 |  | 27 | 29 | 0.2388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1707-12_0_3_line_32 |  | 28 | 30 | 0.062745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1707-12_0_3_line_33 |  | 29 | 31 | 0.0050043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1707-12_0_3_line_34 |  | 30 | 32 | 0.051139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1707-12_0_3_line_35 |  | 30 | 33 | 0.17142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1707-12_0_3_line_36 |  | 31 | 84 | 0.04788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1707-12_0_3_line_37 |  | 32 | 36 | 0.0070417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1707-12_0_3_line_38 |  | 33 | 34 | 0.0076898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1707-12_0_3_line_39 |  | 34 | 35 | 0.020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1707-12_0_3_line_40 |  | 35 | 60 | 0.045695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1707-12_0_3_line_41 |  | 35 | 61 | 0.0077612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1707-12_0_3_line_42 |  | 37 | 39 | 0.048933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1707-12_0_3_line_43 |  | 37 | 40 | 0.04657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1707-12_0_3_line_44 |  | 38 | 41 | 0.014941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1707-12_0_3_line_45 |  | 40 | 77 | 0.07433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1707-12_0_3_line_46 |  | 41 | 84 | 0.0069938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1707-12_0_3_line_47 |  | 42 | 43 | 0.01451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1707-12_0_3_line_48 |  | 43 | 44 | 0.046757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1707-12_0_3_line_49 |  | 43 | 45 | 0.037403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1707-12_0_3_line_50 |  | 43 | 46 | 0.058859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1707-12_0_3_line_51 |  | 44 | 47 | 0.02712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1707-12_0_3_line_52 |  | 44 | 48 | 0.11887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1707-12_0_3_line_53 |  | 45 | 49 | 0.063762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1707-12_0_3_line_54 |  | 46 | 50 | 0.13844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1707-12_0_3_line_55 |  | 48 | 51 | 0.002132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1707-12_0_3_line_56 |  | 49 | 52 | 0.019448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1707-12_0_3_line_57 |  | 50 | 53 | 0.05273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1707-12_0_3_line_58 |  | 51 | 54 | 0.011252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1707-12_0_3_line_59 |  | 52 | 57 | 0.012866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1707-12_0_3_line_60 |  | 53 | 58 | 0.0034112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1707-12_0_3_line_61 |  | 54 | 55 | 0.019442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1707-12_0_3_line_62 |  | 55 | 56 | 0.16555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1707-12_0_3_line_63 |  | 58 | 59 | 0.01126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1707-12_0_3_line_64 |  | 61 | 62 | 0.038621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1707-12_0_3_line_65 |  | 62 | 63 | 0.19109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1707-12_0_3_line_66 |  | 63 | 65 | 0.0078096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1707-12_0_3_line_67 |  | 64 | 65 | 0.013804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1707-12_0_3_line_68 |  | 66 | 67 | 0.0088548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1707-12_0_3_line_69 |  | 66 | 68 | 0.01991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1707-12_0_3_line_70 |  | 67 | 69 | 0.023541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1707-12_0_3_line_71 |  | 67 | 70 | 0.040052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1707-12_0_3_line_72 |  | 68 | 71 | 0.021888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1707-12_0_3_line_73 |  | 68 | 72 | 0.02112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1707-12_0_3_line_74 |  | 69 | 73 | 0.019306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1707-12_0_3_line_75 |  | 74 | 75 | 0.032542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1707-12_0_3_line_76 |  | 74 | 76 | 0.019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1707-12_0_3_line_77 |  | 75 | 77 | 0.086702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1707-12_0_3_line_78 |  | 77 | 78 | 0.17965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1707-12_0_3_line_79 |  | 78 | 79 | 0.041165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1707-12_0_3_line_80 |  | 79 | 80 | 0.0067019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1707-12_0_3_line_81 |  | 80 | 81 | 0.025155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1707-12_0_3_line_82 |  | 81 | 82 | 0.10691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1707-12_0_3_line_83 |  | 82 | 83 | 0.037983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1707-12_0_3_trafo_11 | 0.63 MVA 20/0.4 kV | 85 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2677043.8921 | 1223136.0611 | 2677101.098 | 1223111.7076 | 2677094.5049 | 1223096.6567 | 2677111.0502 | 1223089.9331 | 2677118.3212 | 1223076.6629 | 2677137.9983 | 1223085.9539
1 | 2677043.8921 | 1223136.0611 | 2677041.4365 | 1223128.3131 | 2677033.033 | 1223114.2506 | 2677034.4813 | 1223100.8049 | 2677047.6243 | 1223087.3883
2 | 2677047.6243 | 1223087.3883 | 2677027.1029 | 1223086.0552 | 2677009.9112 | 1223093.7044
3 | 2677051.1864 | 1222913.0189 | 2676952.371 | 1222907.3597 | 2676947.6396 | 1222907.2305
4 | 2677051.1864 | 1222913.0189 | 2677056.9744 | 1222901.2304 | 2677065.9984 | 1222875.0076 | 2677072.4313 | 1222841.83
5 | 2676947.6396 | 1222907.2305 | 2676926.0691 | 1222906.6416 | 2676912.1194 | 1222906.1626
6 | 2677075.1419 | 1222827.8503 | 2677072.4313 | 1222841.83
7 | 2676970.2494 | 1223111.4455 | 2676998.3504 | 1223098.9475 | 2677006.8268 | 1223095.0768 | 2677009.9112 | 1223093.7044
8 | 2676942.2827 | 1223123.8838 | 2676970.2494 | 1223111.4455
9 | 2676399.0798 | 1223446.092 | 2676380.5369 | 1223398.834 | 2676372.0292 | 1223384.5265 | 2676352.0873 | 1223360.5661 | 2676338.7758 | 1223348.8915
10 | 2676336.3935 | 1223273.2516 | 2676330.8896 | 1223280.7638 | 2676310.3104 | 1223321.249 | 2676309.7806 | 1223327.0794 | 2676311.2943 | 1223330.868 | 2676313.8238 | 1223333.5133 | 2676332.2357 | 1223343.1556 | 2676338.7758 | 1223348.8915
11 | 2676399.0798 | 1223446.092 | 2676404.2217 | 1223461.4459
12 | 2676431.3569 | 1223231.7533 | 2676423.9869 | 1223244.6006 | 2676408.9424 | 1223260.3513 | 2676398.412 | 1223265.9421 | 2676369.813 | 1223271.7791 | 2676353.2958 | 1223273.4684 | 2676336.3935 | 1223273.2516
13 | 2676404.2217 | 1223461.4459 | 2676410.7163 | 1223475.4052 | 2676429.7212 | 1223501.4218
14 | 2676431.3569 | 1223231.7533 | 2676454.7056 | 1223243.8055 | 2676458.0641 | 1223243.1723
15 | 2676491.2217 | 1223698.8422 | 2676436.9635 | 1223520.9357
16 | 2676491.2217 | 1223698.8422 | 2676548.2052 | 1223751.8874
17 | 2676436.9635 | 1223520.9357 | 2676429.7212 | 1223501.4218 | 2676429.7212 | 1223501.4218
18 | 2676548.2052 | 1223751.8874 | 2676588.2923 | 1223786.6148 | 2676589.2165 | 1223787.1263
19 | 2676473.4648 | 1223208.1228 | 2676470.4962 | 1223240.8285 | 2676458.0641 | 1223243.1723
20 | 2676584.08 | 1222941.8127 | 2676592.1445 | 1222913.9535 | 2676583.246 | 1222909.3694 | 2676583.6319 | 1222902.959
21 | 2676584.08 | 1222941.8127 | 2676473.4648 | 1223208.1228
22 | 2676584.08 | 1222941.8127 | 2676604.699 | 1222928.5358 | 2676605.6688 | 1222927.7941
23 | 2676628.4008 | 1222910.4091 | 2676605.6688 | 1222927.7941
24 | 2677131.095 | 1223574.5977 | 2677124.2263 | 1223574.3137 | 2677106.397 | 1223571.3698 | 2677083.4335 | 1223573.6962 | 2677077.4604 | 1223574.4591
25 | 2677061.7356 | 1223576.4675 | 2677077.4604 | 1223574.4591
26 | 2677036.659 | 1223585.81 | 2677060.1962 | 1223576.6641 | 2677061.7356 | 1223576.4675
27 | 2677036.659 | 1223585.81 | 2677033.4222 | 1223595.6525 | 2677029.6729 | 1223620.4871 | 2677026.5563 | 1223669.0901
28 | 2676986.665 | 1223788.7536 | 2676990.0147 | 1223766.6489 | 2676997.7786 | 1223733.961 | 2677013.1947 | 1223707.1092 | 2677027.5869 | 1223681.4561 | 2677026.5563 | 1223669.0901
29 | 2677026.5563 | 1223669.0901 | 2676921.6871 | 1223643.4397 | 2676910.1729 | 1223634.2182 | 2676906.3706 | 1223626.9753
30 | 2676892.4724 | 1223132.9459 | 2676903.2336 | 1223318.0316
31 | 2676885.086 | 1223556.1425 | 2676903.2336 | 1223318.0316
32 | 2676921.0564 | 1223077.3454 | 2676910.4021 | 1223093.6297 | 2676901.6997 | 1223109.7168 | 2676892.4724 | 1223132.9459
33 | 2676885.086 | 1223556.1425 | 2676885.6024 | 1223561.1201
34 | 2676921.0564 | 1223077.3454 | 2676922.8184 | 1223081.8489 | 2676942.2827 | 1223123.8838
35 | 2676912.1194 | 1222906.1626 | 2676921.0564 | 1223077.3454
36 | 2676885.6024 | 1223561.1201 | 2676887.9387 | 1223583.642 | 2676896.8237 | 1223607.2633
37 | 2676942.2827 | 1223123.8838 | 2676935.8485 | 1223126.7451
38 | 2676904.4341 | 1222905.8987 | 2676912.1194 | 1222906.1626
39 | 2676883.5002 | 1222905.1798 | 2676904.4341 | 1222905.8987
40 | 2676883.5002 | 1222905.1798 | 2676890.7401 | 1222889.0071 | 2676902.4642 | 1222871.5358 | 2676906.8627 | 1222866.1735
41 | 2676883.5002 | 1222905.1798 | 2676875.7436 | 1222904.9113
42 | 2676986.665 | 1223788.7536 | 2676991.3438 | 1223790.5264 | 2677003.2897 | 1223795.0728 | 2677032.4083 | 1223806.1311
43 | 2676986.665 | 1223788.7536 | 2676984.4673 | 1223803.2904 | 2676968.9861 | 1223829.3409 | 2676968.1085 | 1223830.636
44 | 2676899.426 | 1223613.7466 | 2676906.3706 | 1223626.9753
45 | 2676933.2487 | 1223895.9344 | 2676940.1158 | 1223879.1898 | 2676950.5167 | 1223856.5981 | 2676968.1085 | 1223830.636
46 | 2676899.426 | 1223613.7466 | 2676898.8485 | 1223612.6465 | 2676896.8237 | 1223607.2633
47 | 2677068.2138 | 1222631.2973 | 2677059.5094 | 1222628.7052 | 2677054.3118 | 1222627.1394
48 | 2677103.6256 | 1222625.6408 | 2677089.3708 | 1222617.0506 | 2677075.6075 | 1222617.9508 | 2677070.375 | 1222621.3743 | 2677068.2138 | 1222631.2973
49 | 2677068.2138 | 1222631.2973 | 2677068.726 | 1222622.1979 | 2677069.0894 | 1222615.8095 | 2677069.6642 | 1222595.4368 | 2677069.3476 | 1222593.9603
50 | 2677068.2138 | 1222631.2973 | 2677073.2432 | 1222679.283 | 2677074.2063 | 1222689.8494
51 | 2677103.6256 | 1222625.6408 | 2677099.685 | 1222639.9993 | 2677096.5056 | 1222651.8104
52 | 2677103.6256 | 1222625.6408 | 2677143.9198 | 1222654.693 | 2677159.9721 | 1222666.7867 | 2677179.3739 | 1222673.2646 | 2677207.5359 | 1222678.4693
53 | 2677051.2214 | 1222532.9624 | 2677052.5954 | 1222539.3789 | 2677059.2982 | 1222561.2467 | 2677066.1091 | 1222578.8576 | 2677069.3476 | 1222593.9603
54 | 2677075.1419 | 1222827.8503 | 2677079.9557 | 1222781.1929 | 2677076.5439 | 1222715.4941 | 2677074.2063 | 1222689.8494
55 | 2677209.6323 | 1222678.8567 | 2677207.5359 | 1222678.4693
56 | 2677051.2214 | 1222532.9624 | 2677049.062 | 1222522.8778 | 2677048.7309 | 1222513.7492
57 | 2677075.1419 | 1222827.8503 | 2677022.9711 | 1222820.1903
58 | 2677220.6974 | 1222680.9016 | 2677209.6323 | 1222678.8567
59 | 2677048.2646 | 1222500.8921 | 2677048.7309 | 1222513.7492
60 | 2677019.596 | 1222819.6948 | 2677022.9711 | 1222820.1903
61 | 2677220.6974 | 1222680.9016 | 2677228.3539 | 1222682.3167 | 2677239.2382 | 1222686.4854
62 | 2677239.2382 | 1222686.4854 | 2677258.6719 | 1222693.9287 | 2677349.4093 | 1222721.4469 | 2677397.373 | 1222735.2817
63 | 2677008.4556 | 1222818.0591 | 2677019.596 | 1222819.6948
64 | 2676837.1711 | 1222902.9916 | 2676868.133 | 1222904.6478 | 2676875.7436 | 1222904.9113
65 | 2676837.1711 | 1222902.9916 | 2676646.1331 | 1222898.4158
66 | 2676639.3656 | 1222902.0234 | 2676642.9303 | 1222899.2972 | 2676646.1331 | 1222898.4158
67 | 2676628.4008 | 1222910.4091 | 2676639.3656 | 1222902.0234
68 | 2676634.4266 | 1223809.8794 | 2676626.5067 | 1223805.9191
69 | 2676608.3669 | 1223797.7249 | 2676621.8055 | 1223803.5683 | 2676626.5067 | 1223805.9191
70 | 2676634.4266 | 1223809.8794 | 2676652.8043 | 1223814.9526 | 2676655.7193 | 1223818.3485
71 | 2676634.4266 | 1223809.8794 | 2676632.7073 | 1223818.5408 | 2676629.4566 | 1223825.4035 | 2676624.639 | 1223830.8673 | 2676616.0887 | 1223834.1039 | 2676609.1233 | 1223832.2775
72 | 2676608.3669 | 1223797.7249 | 2676589.2165 | 1223787.1263
73 | 2676600.4855 | 1223816.7472 | 2676601.3755 | 1223808.8757 | 2676605.4299 | 1223801.434 | 2676608.3669 | 1223797.7249
74 | 2676655.7193 | 1223818.3485 | 2676659.4538 | 1223822.6989 | 2676659.8807 | 1223836.2647
75 | 2676848.9537 | 1223874.6428 | 2676857.5673 | 1223856.5308 | 2676868.2079 | 1223849.9972
76 | 2676885.8694 | 1223857.0632 | 2676868.2079 | 1223849.9972
77 | 2676933.2487 | 1223895.9344 | 2676848.9537 | 1223874.6428
78 | 2676933.2487 | 1223895.9344 | 2676972.8889 | 1224071.1558
79 | 2676972.8889 | 1224071.1558 | 2676987.2032 | 1224109.7517
80 | 2676987.2032 | 1224109.7517 | 2676989.5336 | 1224116.0353
81 | 2677000.1381 | 1224138.8158 | 2676991.7195 | 1224121.9291 | 2676989.5336 | 1224116.0353
82 | 2677000.1381 | 1224138.8158 | 2677000.1381 | 1224138.8158 | 2676997.5348 | 1224155.4043 | 2676959.5796 | 1224226.4942 | 2676957.8887 | 1224235.87
83 | 2676957.8887 | 1224235.87 | 2676954.5803 | 1224254.2146 | 2676956.5261 | 1224273.4586

## bus_geodata
| x | y | coords
0 | 2677137.9983 | 1223085.9539
1 | 2677043.8921 | 1223136.0611
2 | 2677047.6243 | 1223087.3883
3 | 2677051.1864 | 1222913.0189
4 | 2676947.6396 | 1222907.2305
5 | 2677072.4313 | 1222841.83
6 | 2677009.9112 | 1223093.7044
7 | 2676970.2494 | 1223111.4455
8 | 2676338.7758 | 1223348.8915
9 | 2676399.0798 | 1223446.092
10 | 2676336.3935 | 1223273.2516
11 | 2676404.2217 | 1223461.4459
12 | 2676431.3569 | 1223231.7533
13 | 2676491.2217 | 1223698.8422
14 | 2676436.9635 | 1223520.9357
15 | 2676548.2052 | 1223751.8874
16 | 2676429.7212 | 1223501.4218
17 | 2676458.0641 | 1223243.1723
18 | 2676584.08 | 1222941.8127
19 | 2676583.6319 | 1222902.959
20 | 2676473.4648 | 1223208.1228
21 | 2676605.6688 | 1222927.7941
22 | 2677131.095 | 1223574.5977
23 | 2677077.4604 | 1223574.4591
24 | 2677061.7356 | 1223576.4675
25 | 2677036.659 | 1223585.81
26 | 2677026.5563 | 1223669.0901
27 | 2676903.2336 | 1223318.0316
28 | 2676892.4724 | 1223132.9459
29 | 2676885.086 | 1223556.1425
30 | 2676921.0564 | 1223077.3454
31 | 2676885.6024 | 1223561.1201
32 | 2676942.2827 | 1223123.8838
33 | 2676912.1194 | 1222906.1626
34 | 2676904.4341 | 1222905.8987
35 | 2676883.5002 | 1222905.1798
36 | 2676935.8485 | 1223126.7451
37 | 2676986.665 | 1223788.7536
38 | 2676906.3706 | 1223626.9753
39 | 2677032.4083 | 1223806.1311
40 | 2676968.1085 | 1223830.636
41 | 2676899.426 | 1223613.7466
42 | 2677054.3118 | 1222627.1394
43 | 2677068.2138 | 1222631.2973
44 | 2677103.6256 | 1222625.6408
45 | 2677069.3476 | 1222593.9603
46 | 2677074.2063 | 1222689.8494
47 | 2677096.5056 | 1222651.8104
48 | 2677207.5359 | 1222678.4693
49 | 2677051.2214 | 1222532.9624
50 | 2677075.1419 | 1222827.8503
51 | 2677209.6323 | 1222678.8567
52 | 2677048.7309 | 1222513.7492
53 | 2677022.9711 | 1222820.1903
54 | 2677220.6974 | 1222680.9016
55 | 2677239.2382 | 1222686.4854
56 | 2677397.373 | 1222735.2817
57 | 2677048.2646 | 1222500.8921
58 | 2677019.596 | 1222819.6948
59 | 2677008.4556 | 1222818.0591
60 | 2676906.8627 | 1222866.1735
61 | 2676875.7436 | 1222904.9113
62 | 2676837.1711 | 1222902.9916
63 | 2676646.1331 | 1222898.4158
64 | 2676628.4008 | 1222910.4091
65 | 2676639.3656 | 1222902.0234
66 | 2676626.5067 | 1223805.9191
67 | 2676634.4266 | 1223809.8794
68 | 2676608.3669 | 1223797.7249
69 | 2676655.7193 | 1223818.3485
70 | 2676609.1233 | 1223832.2775
71 | 2676589.2165 | 1223787.1263
72 | 2676600.4855 | 1223816.7472
73 | 2676659.8807 | 1223836.2646
74 | 2676868.2079 | 1223849.9972
75 | 2676848.9537 | 1223874.6428
76 | 2676885.8694 | 1223857.0632
77 | 2676933.2487 | 1223895.9344
78 | 2676972.8889 | 1224071.1558
79 | 2676987.2032 | 1224109.7517
80 | 2676989.5336 | 1224116.0353
81 | 2677000.1381 | 1224138.8158
82 | 2676957.8887 | 1224235.87
83 | 2676956.5261 | 1224273.4586
84 | 2676896.8237 | 1223607.2633
85 | 2676903.2336 | 1223318.0316

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99449 | -0.10469 | 0.0010398 | 0.00026059
1 | 0.99461 | -0.10224 | 0 | 0
2 | 0.99467 | -0.1012 | 0 | 0
3 | 0.98695 | -0.24956 | 0 | 0
4 | 0.98786 | -0.23181 | 0.00027411 | 6.8697e-05
5 | 0.98629 | -0.26235 | 0.00025364 | 6.3568e-05
6 | 0.99471 | -0.10047 | 0.00021211 | 5.316e-05
7 | 0.99475 | -0.099508 | 0.00034076 | 8.5402e-05
8 | 0.97346 | -0.51278 | 0.0015987 | 0.00040068
9 | 0.97252 | -0.53129 | 0 | 0
10 | 0.97439 | -0.49437 | 0 | 0
11 | 0.97239 | -0.53387 | 0 | 0
12 | 0.97545 | -0.47351 | 0 | 0
13 | 0.97097 | -0.56211 | 0 | 0
14 | 0.97189 | -0.54373 | 0.00057096 | 0.0001431
15 | 0.97058 | -0.56979 | 0 | 0
16 | 0.97201 | -0.54146 | 0.0027181 | 0.00068122
17 | 0.97573 | -0.46793 | 0.0012922 | 0.00032385
18 | 0.97932 | -0.39759 | 0 | 0
19 | 0.97925 | -0.39903 | 0.0017415 | 0.00043645
20 | 0.97622 | -0.45832 | 0 | 0
21 | 0.97964 | -0.39137 | 0.011098 | 0.0027814
22 | 0.99372 | -0.12063 | 0.00045796 | 0.00011478
23 | 0.99374 | -0.1202 | 7.2442e-05 | 1.8156e-05
24 | 0.99375 | -0.12005 | 0.0001986 | 4.9775e-05
25 | 0.99377 | -0.1197 | 0 | 0
26 | 0.99383 | -0.11861 | 0 | 0
27 | 1 | 0 | -0.063228 | -0.015743
28 | 0.99618 | -0.072383 | 0.00027021 | 6.7721e-05
29 | 0.99648 | -0.067419 | 0.000693 | 0.00017368
30 | 0.99489 | -0.096852 | 0 | 0
31 | 0.99641 | -0.068776 | 7.9376e-05 | 1.9893e-05
32 | 0.9948 | -0.098644 | 0 | 0
33 | 0.98818 | -0.22557 | 0.00059312 | 0.00014865
34 | 0.98795 | -0.22995 | 0.0016141 | 0.00040454
35 | 0.98736 | -0.24129 | 0 | 0
36 | 0.9948 | -0.098692 | 0.00038598 | 9.6735e-05
37 | 0.99231 | -0.14801 | 0 | 0
38 | 0.99546 | -0.087103 | 0.00011469 | 2.8743e-05
39 | 0.99229 | -0.14822 | 0.00024051 | 6.0278e-05
40 | 0.99177 | -0.15847 | 0.0010634 | 0.00026651
41 | 0.99565 | -0.083482 | 0.00072568 | 0.00018187
42 | 0.9847 | -0.2935 | 0.00074496 | 0.0001867
43 | 0.98471 | -0.2933 | 0 | 0
44 | 0.98445 | -0.29827 | 0 | 0
45 | 0.98466 | -0.29415 | 0.0002499 | 6.2631e-05
46 | 0.98513 | -0.28492 | 0.00020759 | 5.2026e-05
47 | 0.98445 | -0.29834 | 0.00014294 | 3.5824e-05
48 | 0.98382 | -0.3106 | 0.0006535 | 0.00016378
49 | 0.9846 | -0.29531 | 0.00056908 | 0.00014263
50 | 0.98617 | -0.26473 | 9.0171e-05 | 2.2599e-05
51 | 0.98381 | -0.31079 | 0.001156 | 0.00028972
52 | 0.9846 | -0.29547 | 0.0002839 | 7.1152e-05
53 | 0.98612 | -0.26575 | 0.00021643 | 5.4243e-05
54 | 0.98377 | -0.31159 | 0.00092293 | 0.00023131
55 | 0.98372 | -0.31265 | 0.0017484 | 0.00043819
56 | 0.98352 | -0.31646 | 0.0012734 | 0.00031914
57 | 0.98459 | -0.2955 | 0.00015773 | 3.9532e-05
58 | 0.98611 | -0.26581 | 0.00063516 | 0.00015919
59 | 0.98611 | -0.26585 | 0.00023426 | 5.8711e-05
60 | 0.98734 | -0.24166 | 0.00045593 | 0.00011427
61 | 0.98715 | -0.24543 | 0.00020408 | 5.1146e-05
62 | 0.98609 | -0.26592 | 0 | 0
63 | 0.98084 | -0.36795 | 0.001145 | 0.00028697
64 | 0.98029 | -0.3787 | 0.0024167 | 0.00060569
65 | 0.98063 | -0.37198 | 0.0016652 | 0.00041733
66 | 0.97012 | -0.5789 | 0.00080771 | 0.00020243
67 | 0.97009 | -0.57952 | 0 | 0
68 | 0.9702 | -0.57722 | 0 | 0
69 | 0.97002 | -0.58094 | 0.0024174 | 0.00060586
70 | 0.97007 | -0.57988 | 0.00048409 | 0.00012132
71 | 0.97031 | -0.57514 | 0.00022437 | 5.6233e-05
72 | 0.97019 | -0.57743 | 0.00054822 | 0.0001374
73 | 0.97 | -0.58125 | 0.000855 | 0.00021428
74 | 0.99066 | -0.18 | 0.0022125 | 0.00055452
75 | 0.99074 | -0.1783 | 0 | 0
76 | 0.99064 | -0.18024 | 0.00072301 | 0.0001812
77 | 0.99098 | -0.17378 | 0 | 0
78 | 0.98955 | -0.20146 | 0.0005881 | 0.00014739
79 | 0.98925 | -0.20738 | 0.0014366 | 0.00036004
80 | 0.9892 | -0.20818 | 0.0016453 | 0.00041235
81 | 0.98909 | -0.21041 | 0.0019701 | 0.00049376
82 | 0.98879 | -0.21617 | 0.0017368 | 0.00043528
83 | 0.98875 | -0.21704 | 0.0012826 | 0.00032144
84 | 0.99574 | -0.081699 | 0.00085601 | 0.00021454
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0010398 | -0.00026059 | 0.0010399 | 0.00025894 | 1.2099e-07 | -1.6531e-06 | 0.0015558 | 0.0015552 | 0.0015558 | 0.99449 | -0.10469 | 0.99461 | -0.10224 | 0.42741
1 | -0.0010399 | -0.00025894 | 0.0010399 | 0.00025823 | 5.1489e-08 | -7.0401e-07 | 0.0015552 | 0.0015549 | 0.0015552 | 0.99461 | -0.10224 | 0.99467 | -0.1012 | 0.42724
2 | -0.0010399 | -0.00025823 | 0.00104 | 0.00025775 | 3.5701e-08 | -4.8833e-07 | 0.0015549 | 0.0015547 | 0.0015549 | 0.99467 | -0.1012 | 0.99471 | -0.10047 | 0.42717
3 | -0.0095633 | -0.0023945 | 0.0095714 | 0.0023984 | 8.0842e-06 | 3.8473e-06 | 0.014418 | 0.014417 | 0.014418 | 0.98695 | -0.24956 | 0.98786 | -0.23181 | 3.9609
4 | 0.0095633 | 0.0023945 | -0.0095575 | -0.0023918 | 5.8201e-06 | 2.7714e-06 | 0.014418 | 0.014418 | 0.014418 | 0.98695 | -0.24956 | 0.98629 | -0.26235 | 3.961
5 | -0.0098455 | -0.0024671 | 0.0098484 | 0.0024685 | 2.9309e-06 | 1.4206e-06 | 0.01483 | 0.01483 | 0.01483 | 0.98786 | -0.23181 | 0.98818 | -0.22557 | 4.0742
6 | 0.0093039 | 0.0023282 | -0.0093028 | -0.0023277 | 1.052e-06 | 4.9154e-07 | 0.014035 | 0.014036 | 0.014036 | 0.98629 | -0.26235 | 0.98617 | -0.26473 | 3.8559
7 | -0.0012521 | -0.00031091 | 0.0012521 | 0.00031038 | 5.7094e-08 | -5.2749e-07 | 0.001872 | 0.0018718 | 0.001872 | 0.99471 | -0.10047 | 0.99475 | -0.099508 | 0.51429
8 | -0.0015929 | -0.00039578 | 0.001593 | 0.00039542 | 6.5097e-08 | -3.5571e-07 | 0.0023816 | 0.0023814 | 0.0023816 | 0.99475 | -0.099508 | 0.9948 | -0.098644 | 0.65427
9 | 0.0086475 | 0.0021674 | -0.0086399 | -0.0021639 | 7.6201e-06 | 3.4325e-06 | 0.013219 | 0.013219 | 0.013219 | 0.97346 | -0.51278 | 0.97252 | -0.53129 | 3.6316
10 | -0.010246 | -0.002568 | 0.010255 | 0.0025726 | 8.9969e-06 | 4.5409e-06 | 0.015662 | 0.015662 | 0.015662 | 0.97346 | -0.51278 | 0.97439 | -0.49437 | 4.3028
11 | 0.0086399 | 0.0021639 | -0.0086388 | -0.0021635 | 1.0609e-06 | 4.7809e-07 | 0.013219 | 0.013219 | 0.013219 | 0.97252 | -0.53129 | 0.97239 | -0.53387 | 3.6316
12 | -0.010255 | -0.0025726 | 0.010265 | 0.0025777 | 1.0207e-05 | 5.1489e-06 | 0.015662 | 0.015661 | 0.015662 | 0.97439 | -0.49437 | 0.97545 | -0.47351 | 4.3027
13 | 0.0086388 | 0.0021635 | -0.0086357 | -0.0021621 | 3.1202e-06 | 1.4065e-06 | 0.013219 | 0.013219 | 0.013219 | 0.97239 | -0.53387 | 0.97201 | -0.54146 | 3.6317
14 | -0.010265 | -0.0025777 | 0.010268 | 0.0025791 | 2.7312e-06 | 1.3772e-06 | 0.015661 | 0.015661 | 0.015661 | 0.97545 | -0.47351 | 0.97573 | -0.46793 | 4.3026
15 | -0.0053413 | -0.0013369 | 0.005346 | 0.0013376 | 4.6723e-06 | 6.8758e-07 | 0.008185 | 0.0081842 | 0.008185 | 0.97097 | -0.56211 | 0.97189 | -0.54373 | 2.2486
16 | 0.0053413 | 0.0013369 | -0.0053394 | -0.0013366 | 1.953e-06 | 2.8884e-07 | 0.008185 | 0.0081854 | 0.0081854 | 0.97097 | -0.56211 | 0.97058 | -0.56979 | 2.2487
17 | -0.005917 | -0.0014807 | 0.0059176 | 0.0014808 | 6.4046e-07 | 1.5193e-07 | 0.0090584 | 0.0090583 | 0.0090584 | 0.97189 | -0.54373 | 0.97201 | -0.54146 | 2.4886
18 | 0.0053394 | 0.0013366 | -0.005338 | -0.0013364 | 1.3592e-06 | 2.0152e-07 | 0.0081854 | 0.0081856 | 0.0081856 | 0.97058 | -0.56979 | 0.97031 | -0.57514 | 2.2488
19 | -0.01156 | -0.002903 | 0.011566 | 0.0029058 | 5.3033e-06 | 2.8256e-06 | 0.017632 | 0.017632 | 0.017632 | 0.97573 | -0.46793 | 0.97622 | -0.45832 | 4.8439
20 | 0.0017416 | 0.00043595 | -0.0017415 | -0.00043645 | 1.1924e-07 | -4.9503e-07 | 0.002646 | 0.0026462 | 0.0026462 | 0.97932 | -0.39759 | 0.97925 | -0.39903 | 0.72698
21 | 0.011599 | 0.0029237 | -0.011566 | -0.0029058 | 3.3615e-05 | 1.7897e-05 | 0.01763 | 0.017632 | 0.017632 | 0.97932 | -0.39759 | 0.97622 | -0.45832 | 4.8438
22 | -0.013341 | -0.0033596 | 0.013345 | 0.0033619 | 3.9691e-06 | 2.2162e-06 | 0.020276 | 0.020276 | 0.020276 | 0.97932 | -0.39759 | 0.97964 | -0.39137 | 5.5704
23 | -0.024443 | -0.0061433 | 0.024458 | 0.0061524 | 1.4798e-05 | 9.11e-06 | 0.037133 | 0.037133 | 0.037133 | 0.97964 | -0.39137 | 0.98029 | -0.3787 | 10.2015
24 | -0.00045796 | -0.00011478 | 0.00045797 | 0.00011408 | 9.5278e-09 | -6.9411e-07 | 0.00068575 | 0.00068551 | 0.00068575 | 0.99372 | -0.12063 | 0.99374 | -0.1202 | 0.18839
25 | -0.00053041 | -0.00013224 | 0.00053041 | 0.00013203 | 3.7472e-09 | -2.0298e-07 | 0.00079398 | 0.00079391 | 0.00079398 | 0.99374 | -0.1202 | 0.99375 | -0.12005 | 0.21813
26 | -0.00072902 | -0.00018181 | 0.00072903 | 0.00018147 | 1.1969e-08 | -3.3961e-07 | 0.0010913 | 0.0010912 | 0.0010913 | 0.99375 | -0.12005 | 0.99377 | -0.1197 | 0.29981
27 | -0.00072903 | -0.00018147 | 0.00072907 | 0.0001804 | 3.7577e-08 | -1.0668e-06 | 0.0010912 | 0.0010908 | 0.0010912 | 0.99377 | -0.1197 | 0.99383 | -0.11861 | 0.29977
28 | 0.012948 | 0.0032535 | -0.01293 | -0.0032436 | 1.8147e-05 | 9.9489e-06 | 0.01939 | 0.01939 | 0.01939 | 0.99383 | -0.11861 | 0.99231 | -0.14801 | 5.327
29 | -0.013677 | -0.0034339 | 0.013698 | 0.0034454 | 2.0588e-05 | 1.1477e-05 | 0.02048 | 0.02048 | 0.02048 | 0.99383 | -0.11861 | 0.99546 | -0.087103 | 5.6265
30 | 0.045345 | 0.011641 | -0.045186 | -0.011544 | 0.00015873 | 9.6739e-05 | 0.067572 | 0.067574 | 0.067574 | 1 | 0 | 0.99618 | -0.072383 | 9.2821
31 | 0.016233 | 0.0041026 | -0.016181 | -0.0040722 | 5.2304e-05 | 3.0353e-05 | 0.024167 | 0.024168 | 0.024168 | 1 | 0 | 0.99648 | -0.067419 | 6.6396
32 | 0.044916 | 0.011476 | -0.044863 | -0.011444 | 5.308e-05 | 3.234e-05 | 0.06717 | 0.067171 | 0.067171 | 0.99618 | -0.072383 | 0.99489 | -0.096852 | 9.2267
33 | 0.015488 | 0.0038985 | -0.015487 | -0.0038979 | 1.0043e-06 | 5.7755e-07 | 0.023133 | 0.023133 | 0.023133 | 0.99648 | -0.067419 | 0.99641 | -0.068776 | 6.3553
34 | 0.0019791 | 0.00049151 | -0.0019789 | -0.00049207 | 1.6786e-07 | -5.5658e-07 | 0.0029585 | 0.0029587 | 0.0029587 | 0.99489 | -0.096852 | 0.9948 | -0.098644 | 0.81284
35 | 0.042884 | 0.010952 | -0.042619 | -0.010785 | 0.00026505 | 0.00016742 | 0.064212 | 0.064213 | 0.064213 | 0.99489 | -0.096852 | 0.98818 | -0.22557 | 17.6409
36 | 0.015407 | 0.0038781 | -0.015398 | -0.0038726 | 9.5104e-06 | 5.4634e-06 | 0.023015 | 0.023015 | 0.023015 | 0.99641 | -0.068776 | 0.99574 | -0.081699 | 6.3228
37 | 0.00038598 | 9.6644e-05 | -0.00038598 | -9.6735e-05 | 8.8016e-10 | -9.086e-08 | 0.00057731 | 0.00057734 | 0.00057734 | 0.9948 | -0.098644 | 0.9948 | -0.098692 | 0.15861
38 | 0.032177 | 0.0081679 | -0.03217 | -0.0081637 | 6.7803e-06 | 4.2409e-06 | 0.04849 | 0.04849 | 0.04849 | 0.98818 | -0.22557 | 0.98795 | -0.22995 | 13.3214
39 | 0.030556 | 0.0077591 | -0.03054 | -0.0077487 | 1.6663e-05 | 1.0397e-05 | 0.046059 | 0.046059 | 0.046059 | 0.98795 | -0.22995 | 0.98736 | -0.24129 | 12.6535
40 | 0.00045593 | 0.00011369 | -0.00045593 | -0.00011427 | 8.088e-09 | -5.7924e-07 | 0.00068692 | 0.00068712 | 0.00068712 | 0.98736 | -0.24129 | 0.98734 | -0.24166 | 0.18877
41 | 0.030084 | 0.0076351 | -0.030078 | -0.0076313 | 5.9915e-06 | 3.7353e-06 | 0.045372 | 0.045372 | 0.045372 | 0.98736 | -0.24129 | 0.98715 | -0.24543 | 12.4648
42 | 0.00024051 | 5.9647e-05 | -0.00024051 | -6.0278e-05 | 2.3854e-09 | -6.3059e-07 | 0.00036044 | 0.00036066 | 0.00036066 | 0.99231 | -0.14801 | 0.99229 | -0.14822 | 0.099083
43 | 0.012689 | 0.0031839 | -0.012683 | -0.0031805 | 6.3243e-06 | 3.4463e-06 | 0.01903 | 0.01903 | 0.01903 | 0.99231 | -0.14801 | 0.99177 | -0.15847 | 5.228
44 | -0.013812 | -0.0034741 | 0.013815 | 0.0034755 | 2.3895e-06 | 1.335e-06 | 0.020651 | 0.020651 | 0.020651 | 0.99546 | -0.087103 | 0.99565 | -0.083482 | 5.6734
45 | 0.01162 | 0.002914 | -0.011611 | -0.0029095 | 8.4728e-06 | 4.4642e-06 | 0.017435 | 0.017435 | 0.017435 | 0.99177 | -0.15847 | 0.99098 | -0.17378 | 4.7898
46 | -0.014541 | -0.0036573 | 0.014542 | 0.0036581 | 1.2391e-06 | 7.0204e-07 | 0.021736 | 0.021736 | 0.021736 | 0.99565 | -0.083482 | 0.99574 | -0.081699 | 5.9714
47 | -0.00074496 | -0.0001867 | 0.00074496 | 0.00018652 | 6.8954e-09 | -1.8017e-07 | 0.0011257 | 0.0011257 | 0.0011257 | 0.9847 | -0.2935 | 0.98471 | -0.2933 | 0.30927
48 | 0.0059025 | 0.0014764 | -0.0059011 | -0.0014761 | 1.3946e-06 | 2.9792e-07 | 0.0089184 | 0.0089186 | 0.0089186 | 0.98471 | -0.2933 | 0.98445 | -0.29827 | 2.4502
49 | 0.0012607 | 0.00031431 | -0.0012607 | -0.00031476 | 5.0881e-08 | -4.4323e-07 | 0.0019045 | 0.0019047 | 0.0019047 | 0.98471 | -0.2933 | 0.98466 | -0.29415 | 0.52327
50 | -0.0079082 | -0.0019773 | 0.0079113 | 0.0019785 | 3.1511e-06 | 1.2676e-06 | 0.011949 | 0.011948 | 0.011949 | 0.98471 | -0.2933 | 0.98513 | -0.28492 | 3.2826
51 | 0.00014294 | 3.5479e-05 | -0.00014294 | -3.5824e-05 | 4.7446e-10 | -3.4451e-07 | 0.00021593 | 0.00021605 | 0.00021605 | 0.98445 | -0.29827 | 0.98445 | -0.29834 | 0.059356
52 | 0.0057581 | 0.0014406 | -0.0057548 | -0.00144 | 3.3762e-06 | 6.5038e-07 | 0.0087027 | 0.0087032 | 0.0087032 | 0.98445 | -0.29827 | 0.98382 | -0.3106 | 2.391
53 | 0.0010108 | 0.00025213 | -0.0010107 | -0.0002529 | 5.5768e-08 | -7.7531e-07 | 0.0015271 | 0.0015273 | 0.0015273 | 0.98466 | -0.29415 | 0.9846 | -0.29531 | 0.4196
54 | -0.0081189 | -0.0020305 | 0.0081267 | 0.0020338 | 7.8054e-06 | 3.2309e-06 | 0.012262 | 0.012261 | 0.012262 | 0.98513 | -0.28492 | 0.98617 | -0.26473 | 3.3686
55 | 0.0051013 | 0.0012762 | -0.0051012 | -0.0012762 | 4.7584e-08 | 3.3818e-09 | 0.0077148 | 0.0077148 | 0.0077148 | 0.98382 | -0.3106 | 0.98381 | -0.31079 | 2.1194
56 | 0.00044164 | 0.00011028 | -0.00044164 | -0.00011052 | 3.2478e-09 | -2.4526e-07 | 0.0006673 | 0.00066738 | 0.00066738 | 0.9846 | -0.29531 | 0.9846 | -0.29547 | 0.18335
57 | 0.0010859 | 0.00027132 | -0.0010859 | -0.00027196 | 5.3076e-08 | -6.3877e-07 | 0.0016382 | 0.0016385 | 0.0016385 | 0.98617 | -0.26473 | 0.98612 | -0.26575 | 0.45013
58 | 0.0039452 | 0.00098649 | -0.0039451 | -0.00098654 | 1.5021e-07 | -4.6742e-08 | 0.0059664 | 0.0059664 | 0.0059664 | 0.98381 | -0.31079 | 0.98377 | -0.31159 | 1.6391
59 | 0.00015773 | 3.9368e-05 | -0.00015773 | -3.9532e-05 | 2.7409e-10 | -1.6345e-07 | 0.00023832 | 0.00023838 | 0.00023838 | 0.9846 | -0.29547 | 0.98459 | -0.2955 | 0.06549
60 | 0.00086942 | 0.00021771 | -0.00086942 | -0.00021775 | 2.2016e-09 | -4.211e-08 | 0.0013119 | 0.0013119 | 0.0013119 | 0.98612 | -0.26575 | 0.98611 | -0.26581 | 0.36041
61 | 0.0030222 | 0.00075523 | -0.003022 | -0.00075538 | 1.523e-07 | -1.4937e-07 | 0.0045704 | 0.0045705 | 0.0045705 | 0.98377 | -0.31159 | 0.98372 | -0.31265 | 1.2556
62 | 0.0012736 | 0.00031719 | -0.0012734 | -0.00031914 | 2.3033e-07 | -1.9539e-06 | 0.0019258 | 0.0019266 | 0.0019266 | 0.98372 | -0.31265 | 0.98352 | -0.31646 | 0.52927
63 | 0.00023426 | 5.8568e-05 | -0.00023426 | -5.8711e-05 | 5.2754e-10 | -1.4331e-07 | 0.00035344 | 0.00035349 | 0.00035349 | 0.98611 | -0.26581 | 0.98611 | -0.26585 | 0.097113
64 | 0.029874 | 0.0075802 | -0.029844 | -0.0075618 | 2.9412e-05 | 1.8331e-05 | 0.045064 | 0.045065 | 0.045065 | 0.98715 | -0.24543 | 0.98609 | -0.26592 | 12.3804
65 | 0.029844 | 0.0075618 | -0.029699 | -0.0074711 | 0.00014553 | 9.0715e-05 | 0.045065 | 0.045065 | 0.045065 | 0.98609 | -0.26592 | 0.98084 | -0.36795 | 12.3806
66 | 0.028554 | 0.0071842 | -0.028548 | -0.0071807 | 5.498e-06 | 3.4202e-06 | 0.043328 | 0.043328 | 0.043328 | 0.98084 | -0.36795 | 0.98063 | -0.37198 | 11.9034
67 | -0.026874 | -0.0067581 | 0.026883 | 0.0067634 | 8.6176e-06 | 5.3412e-06 | 0.040802 | 0.040802 | 0.040802 | 0.98029 | -0.3787 | 0.98063 | -0.37198 | 11.2093
68 | 0.0037568 | 0.00094056 | -0.0037567 | -0.0009406 | 1.1025e-07 | -3.8768e-08 | 0.0057621 | 0.0057621 | 0.0057621 | 0.97012 | -0.5789 | 0.97009 | -0.57952 | 1.583
69 | -0.0045646 | -0.001143 | 0.0045649 | 0.001143 | 3.6595e-07 | -1.1645e-08 | 0.007001 | 0.0070009 | 0.007001 | 0.97012 | -0.5789 | 0.9702 | -0.57722 | 1.9233
70 | 0.0032726 | 0.00081976 | -0.0032724 | -0.00081991 | 2.2244e-07 | -1.4825e-07 | 0.0050197 | 0.0050198 | 0.0050198 | 0.97009 | -0.57952 | 0.97002 | -0.58094 | 1.3791
71 | 0.0004841 | 0.00012083 | -0.00048409 | -0.00012132 | 8.2796e-09 | -4.8918e-07 | 0.00074238 | 0.00074256 | 0.00074256 | 0.97009 | -0.57952 | 0.97007 | -0.57988 | 0.204
72 | -0.0051132 | -0.0012801 | 0.0051137 | 0.0012802 | 5.047e-07 | 5.2688e-08 | 0.0078416 | 0.0078415 | 0.0078416 | 0.9702 | -0.57722 | 0.97031 | -0.57514 | 2.1543
73 | 0.00054823 | 0.00013714 | -0.00054822 | -0.0001374 | 5.5987e-09 | -2.5723e-07 | 0.00084073 | 0.00084083 | 0.00084083 | 0.9702 | -0.57722 | 0.97019 | -0.57743 | 0.231
74 | 0.00085501 | 0.00021405 | -0.000855 | -0.00021428 | 1.2454e-08 | -2.3034e-07 | 0.0013115 | 0.0013116 | 0.0013116 | 0.97002 | -0.58094 | 0.97 | -0.58125 | 0.36033
75 | -0.0029356 | -0.00073548 | 0.0029358 | 0.00073521 | 2.3725e-07 | -2.6719e-07 | 0.0044093 | 0.0044091 | 0.0044093 | 0.99066 | -0.18 | 0.99074 | -0.1783 | 1.2113
76 | 0.00072302 | 0.00018097 | -0.00072301 | -0.0001812 | 8.4128e-09 | -2.3953e-07 | 0.0010859 | 0.001086 | 0.001086 | 0.99066 | -0.18 | 0.99064 | -0.18024 | 0.29836
77 | -0.0029358 | -0.00073521 | 0.0029364 | 0.0007345 | 6.3202e-07 | -7.1228e-07 | 0.0044091 | 0.0044087 | 0.0044091 | 0.99074 | -0.1783 | 0.99098 | -0.17378 | 1.2113
78 | 0.0086749 | 0.002175 | -0.0086634 | -0.00217 | 1.1432e-05 | 5.0052e-06 | 0.013026 | 0.013027 | 0.013027 | 0.99098 | -0.17378 | 0.98955 | -0.20146 | 3.5789
79 | 0.0080753 | 0.0020226 | -0.0080731 | -0.0020217 | 2.2761e-06 | 9.2805e-07 | 0.012143 | 0.012143 | 0.012143 | 0.98955 | -0.20146 | 0.98925 | -0.20738 | 3.336
80 | 0.0066365 | 0.0016616 | -0.0066362 | -0.0016616 | 2.5041e-07 | 7.4226e-08 | 0.0099819 | 0.009982 | 0.009982 | 0.98925 | -0.20738 | 0.9892 | -0.20818 | 2.7423
81 | 0.0049909 | 0.0012492 | -0.0049904 | -0.0012492 | 5.3162e-07 | 1.7343e-08 | 0.007507 | 0.0075071 | 0.0075071 | 0.9892 | -0.20818 | 0.98909 | -0.21041 | 2.0624
82 | 0.0030203 | 0.00075543 | -0.0030194 | -0.00075627 | 8.2758e-07 | -8.4203e-07 | 0.0045432 | 0.0045437 | 0.0045437 | 0.98909 | -0.21041 | 0.98879 | -0.21617 | 1.2483
83 | 0.0012826 | 0.00032099 | -0.0012826 | -0.00032144 | 5.3063e-08 | -4.5322e-07 | 0.00193 | 0.0019302 | 0.0019302 | 0.98879 | -0.21617 | 0.98875 | -0.21704 | 0.53028

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.063407 | 0.015788

## res_load
| p_mw | q_mvar
0 | 0.0010398 | 0.00026059
1 | 0.00027411 | 6.8697e-05
2 | 0.00025364 | 6.3568e-05
3 | 0.00021211 | 5.316e-05
4 | 0.00034076 | 8.5402e-05
5 | 0.0015987 | 0.00040068
6 | 0.00057096 | 0.0001431
7 | 0.0027181 | 0.00068122
8 | 0.0012922 | 0.00032385
9 | 0.0017415 | 0.00043645
10 | 0.011098 | 0.0027814
11 | 0.00045796 | 0.00011478
12 | 7.2442e-05 | 1.8156e-05
13 | 0.0001986 | 4.9775e-05
14 | 0.0001789 | 4.4836e-05
15 | 0.00027021 | 6.7721e-05
16 | 0.000693 | 0.00017368
17 | 7.9376e-05 | 1.9893e-05
18 | 0.00059312 | 0.00014865
19 | 0.0016141 | 0.00040454
20 | 0.00038598 | 9.6735e-05
21 | 0.00011469 | 2.8743e-05
22 | 0.00024051 | 6.0278e-05
23 | 0.0010634 | 0.00026651
24 | 0.00072568 | 0.00018187
25 | 0.00074496 | 0.0001867
26 | 0.0002499 | 6.2631e-05
27 | 0.00020759 | 5.2026e-05
28 | 0.00014294 | 3.5824e-05
29 | 0.0006535 | 0.00016378
30 | 0.00056908 | 0.00014263
31 | 9.0171e-05 | 2.2599e-05
32 | 0.001156 | 0.00028972
33 | 0.0002839 | 7.1152e-05
34 | 0.00021643 | 5.4243e-05
35 | 0.00092293 | 0.00023131
36 | 0.0017484 | 0.00043819
37 | 0.0012734 | 0.00031914
38 | 0.00015773 | 3.9532e-05
39 | 0.00063516 | 0.00015919
40 | 0.00023426 | 5.8711e-05
41 | 0.00045593 | 0.00011427
42 | 0.00020408 | 5.1146e-05
43 | 0.001145 | 0.00028697
44 | 0.0024167 | 0.00060569
45 | 0.0016652 | 0.00041733
46 | 0.00080771 | 0.00020243
47 | 0.0024174 | 0.00060586
48 | 0.00048409 | 0.00012132
49 | 0.00022437 | 5.6233e-05
50 | 0.00054822 | 0.0001374
51 | 0.000855 | 0.00021428
52 | 0.0022125 | 0.00055452
53 | 0.00072301 | 0.0001812
54 | 0.0005881 | 0.00014739
55 | 0.0014366 | 0.00036004
56 | 0.0016453 | 0.00041235
57 | 0.0019701 | 0.00049376
58 | 0.0017368 | 0.00043528
59 | 0.0012826 | 0.00032144
60 | 0.00085601 | 0.00021454

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1