## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1707-13_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1707-13_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1707-13_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1707-13_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1707-13_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1707-13_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1707-13_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1707-13_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1707-13_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1707-13_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1707-13_0_5_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_1707-13_0_5_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_1707-13_0_5_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_1707-13_0_5_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_1707-13_0_5_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_1707-13_0_5_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1707-13_0_5_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_1707-13_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1707-13_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1707-13_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1707-13_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1707-13_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1707-13_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1707-13_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1707-13_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1707-13_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1707-13_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1707-13_0_5_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_1707-13_0_5_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_1707-13_0_5_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1707-13_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1707-13_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1707-13_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1707-13_0_5_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_1707-13_0_5_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_1707-13_0_5_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_1707-13_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1707-13_0_5_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_1707-13_0_5_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_1707-13_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_1707-13_0_5_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_1707-13_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1707-13_0_5_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_1707-13_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1707-13_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1707-13_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1707-13_0_5_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1707-13_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1707-13_0_5_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1707-13_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1707-13_0_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1707-13_0_5_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1707-13_0_5_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_1707-13_0_5_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_1707-13_0_5_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_1707-13_0_5_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_1707-13_0_5_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_1707-13_0_5_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_1707-13_0_5_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_1707-13_0_5_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_1707-13_0_5_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_1707-13_0_5_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_1707-13_0_5_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_1707-13_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_1707-13_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_1707-13_0_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_1707-13_0_5_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_1707-13_0_5_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_1707-13_0_5_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_1707-13_0_5_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_1707-13_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_1707-13_0_5_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_1707-13_0_5_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_1707-13_0_5_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_1707-13_0_5_node_73 | 0.4 | n |  | TRUE
75 | bus_MV_0_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1707-13_0_5_load_0 | 0 | 7.5051e-05 | 1.881e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1707-13_0_5_load_1 | 1 | 0.00015808 | 3.9619e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1707-13_0_5_load_3 | 3 | 8.4516e-05 | 2.1182e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1707-13_0_5_load_4 | 4 | 0.00059056 | 0.00014801 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1707-13_0_5_load_5 | 5 | 0.00022833 | 5.7224e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1707-13_0_5_load_7 | 7 | 0.00028769 | 7.2102e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1707-13_0_5_load_8 | 8 | 0.0031542 | 0.00079053 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1707-13_0_5_load_9 | 9 | 0.001008 | 0.00025263 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1707-13_0_5_load_75 | 10 | 0.00031076 | 7.7884e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1707-13_0_5_load_47 | 12 | 0.00043027 | 0.00010784 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1707-13_0_5_load_45 | 13 | 0.0010078 | 0.00025257 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1707-13_0_5_load_43 | 16 | 0.0022423 | 0.00056198 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1707-13_0_5_load_10 | 17 | 0.024337 | 0.0060994 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1707-13_0_5_load_13 | 20 | 0.052499 | 0.013157 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1707-13_0_5_load_16 | 21 | 0.038293 | 0.0095971 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1707-13_0_5_load_22 | 22 | 0.023153 | 0.0058028 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1707-13_0_5_load_23 | 23 | 0.00060476 | 0.00015157 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1707-13_0_5_load_21 | 24 | 0.0054271 | 0.0013602 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1707-13_0_5_load_76 | 27 | 0.0050671 | 0.0012699 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1707-13_0_5_load_77 | 28 | 0.010329 | 0.0025888 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1707-13_0_5_load_29 | 29 | 0.013804 | 0.0034596 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1707-13_0_5_load_19 | 31 | 0.031075 | 0.0077881 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1707-13_0_5_load_56 | 34 | 0.001805 | 0.00045237 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1707-13_0_5_load_65 | 37 | 0.073647 | 0.018458 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1707-13_0_5_load_55 | 38 | 0.0077298 | 0.0019373 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1707-13_0_5_load_24 | 39 | 0.00013805 | 3.4599e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1707-13_0_5_load_26 | 40 | 0.049874 | 0.0125 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1707-13_0_5_load_80 | 42 | 0.0056472 | 0.0014153 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1707-13_0_5_load_37 | 43 | 0.0017678 | 0.00044304 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1707-13_0_5_load_39 | 44 | 0.0077335 | 0.0019382 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1707-13_0_5_load_53 | 46 | 0.0065082 | 0.0016311 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1707-13_0_5_load_40 | 47 | 0.02553 | 0.0063985 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1707-13_0_5_load_50 | 49 | 0.036337 | 0.009107 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1707-13_0_5_load_51 | 50 | 0.0017672 | 0.00044291 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1707-13_0_5_load_81 | 53 | 0.025393 | 0.0063641 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1707-13_0_5_load_25 | 54 | 0.00013781 | 3.4538e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1707-13_0_5_load_59 | 55 | 0.00013802 | 3.459e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1707-13_0_5_load_62 | 56 | 0.00013804 | 3.4596e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1707-13_0_5_load_41 | 57 | 0.0032508 | 0.00081473 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1707-13_0_5_load_42 | 58 | 0.00046153 | 0.00011567 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1707-13_0_5_load_32 | 59 | 0.030407 | 0.0076208 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1707-13_0_5_load_33 | 60 | 0.030385 | 0.0076151 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1707-13_0_5_load_34 | 61 | 0.0041741 | 0.0010461 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1707-13_0_5_load_36 | 62 | 0.0045673 | 0.0011447 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1707-13_0_5_load_44 | 63 | 0.000312 | 7.8195e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1707-13_0_5_load_46 | 64 | 0.00032615 | 8.1741e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1707-13_0_5_load_66 | 65 | 0.00021823 | 5.4694e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1707-13_0_5_load_67 | 66 | 0.00079617 | 0.00019954 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1707-13_0_5_load_49 | 67 | 0.00065166 | 0.00016332 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1707-13_0_5_load_63 | 68 | 0.00013823 | 3.4644e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1707-13_0_5_load_61 | 69 | 0.00013815 | 3.4624e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1707-13_0_5_load_60 | 70 | 0.0010188 | 0.00025532 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1707-13_0_5_load_68 | 71 | 0.00050662 | 0.00012697 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1707-13_0_5_load_71 | 72 | 0.00022752 | 5.7021e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1707-13_0_5_load_72 | 73 | 0.00017203 | 4.3114e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1707-13_0_5_load_73 | 74 | 0.00052419 | 0.00013137 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1707-13_0_5_line_0 |  | 0 | 1 | 0.083164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1707-13_0_5_line_1 |  | 0 | 2 | 0.026055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1707-13_0_5_line_2 |  | 1 | 3 | 0.024599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1707-13_0_5_line_3 |  | 2 | 4 | 0.070826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1707-13_0_5_line_4 |  | 2 | 5 | 0.035245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1707-13_0_5_line_5 |  | 2 | 6 | 0.096138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1707-13_0_5_line_6 |  | 3 | 7 | 0.02808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1707-13_0_5_line_7 |  | 4 | 8 | 0.056023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1707-13_0_5_line_8 |  | 5 | 9 | 0.083726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1707-13_0_5_line_9 |  | 6 | 10 | 0.062527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1707-13_0_5_line_10 |  | 7 | 11 | 0.088564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1707-13_0_5_line_11 |  | 8 | 12 | 0.05519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1707-13_0_5_line_12 |  | 9 | 13 | 0.070087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1707-13_0_5_line_13 |  | 11 | 14 | 0.13416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1707-13_0_5_line_14 |  | 12 | 15 | 0.074976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1707-13_0_5_line_15 |  | 13 | 16 | 0.0021886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1707-13_0_5_line_16 |  | 14 | 72 | 0.19699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1707-13_0_5_line_17 |  | 15 | 67 | 0.019282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1707-13_0_5_line_18 |  | 16 | 57 | 0.0010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1707-13_0_5_line_19 |  | 17 | 18 | 0.024244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1707-13_0_5_line_20 |  | 17 | 19 | 0.032118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1707-13_0_5_line_21 |  | 18 | 20 | 0.026878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1707-13_0_5_line_22 |  | 19 | 21 | 0.038173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1707-13_0_5_line_23 |  | 20 | 25 | 0.033051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1707-13_0_5_line_24 |  | 21 | 30 | 0.03052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1707-13_0_5_line_25 |  | 22 | 23 | 0.13916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1707-13_0_5_line_26 |  | 22 | 24 | 0.013042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1707-13_0_5_line_27 |  | 23 | 39 | 0.014579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1707-13_0_5_line_28 |  | 24 | 32 | 0.041483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1707-13_0_5_line_29 |  | 25 | 33 | 0.048781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1707-13_0_5_line_30 |  | 25 | 34 | 0.016622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1707-13_0_5_line_31 |  | 26 | 27 | 0.052222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1707-13_0_5_line_32 |  | 26 | 28 | 0.068264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1707-13_0_5_line_33 |  | 26 | 29 | 0.049029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1707-13_0_5_line_34 |  | 28 | 35 | 0.032544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1707-13_0_5_line_35 |  | 29 | 36 | 0.027646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1707-13_0_5_line_36 |  | 30 | 31 | 0.13095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1707-13_0_5_line_37 |  | 31 | 32 | 0.0065344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1707-13_0_5_line_38 |  | 33 | 37 | 0.034668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1707-13_0_5_line_39 |  | 33 | 35 | 0.008515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1707-13_0_5_line_40 |  | 34 | 38 | 0.0045428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1707-13_0_5_line_41 |  | 36 | 41 | 0.027608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1707-13_0_5_line_42 |  | 36 | 40 | 0.073454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1707-13_0_5_line_43 |  | 37 | 52 | 0.039938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1707-13_0_5_line_44 |  | 39 | 54 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1707-13_0_5_line_45 |  | 41 | 42 | 0.016352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1707-13_0_5_line_46 |  | 43 | 44 | 0.0042752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1707-13_0_5_line_47 |  | 43 | 45 | 0.036259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1707-13_0_5_line_48 |  | 44 | 46 | 0.0054057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1707-13_0_5_line_49 |  | 45 | 60 | 0.018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1707-13_0_5_line_50 |  | 46 | 50 | 0.0024261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1707-13_0_5_line_51 |  | 47 | 48 | 0.020409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1707-13_0_5_line_52 |  | 48 | 52 | 0.04926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_1707-13_0_5_line_53 |  | 48 | 51 | 0.002624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1707-13_0_5_line_54 |  | 49 | 50 | 0.0060445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1707-13_0_5_line_55 |  | 49 | 51 | 0.020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1707-13_0_5_line_56 |  | 52 | 53 | 0.047621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1707-13_0_5_line_57 |  | 54 | 55 | 0.0023198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1707-13_0_5_line_58 |  | 55 | 56 | 0.0096806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1707-13_0_5_line_59 |  | 56 | 70 | 0.00091777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1707-13_0_5_line_60 |  | 57 | 58 | 0.12583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1707-13_0_5_line_61 |  | 58 | 63 | 0.019982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1707-13_0_5_line_62 |  | 59 | 60 | 0.0001975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1707-13_0_5_line_63 |  | 59 | 61 | 0.026558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1707-13_0_5_line_64 |  | 61 | 62 | 0.021417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1707-13_0_5_line_65 |  | 63 | 64 | 0.017062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1707-13_0_5_line_66 |  | 64 | 65 | 0.088382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1707-13_0_5_line_67 |  | 65 | 66 | 0.047439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1707-13_0_5_line_68 |  | 66 | 71 | 0.095405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1707-13_0_5_line_69 |  | 67 | 68 | 0.043404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1707-13_0_5_line_70 |  | 68 | 69 | 0.00053445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1707-13_0_5_line_71 |  | 69 | 70 | 0.0067949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1707-13_0_5_line_72 |  | 72 | 73 | 0.0058252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1707-13_0_5_line_73 |  | 73 | 74 | 0.032803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1707-13_0_5_trafo_56 | 0.63 MVA 20/0.4 kV | 75 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2676080.7585 | 1221533.2155 | 2676092.0434 | 1221534.5346 | 2676163.2613 | 1221543.6773
1 | 2676054.8802 | 1221530.1904 | 2676080.7585 | 1221533.2155
2 | 2676163.2613 | 1221543.6773 | 2676187.6601 | 1221546.8096
3 | 2676054.8802 | 1221530.1904 | 2676009.7514 | 1221528.8024 | 2675984.1317 | 1221530.5032
4 | 2676054.8802 | 1221530.1904 | 2676052.239 | 1221565.3365
5 | 2675995.6913 | 1221490.9648 | 2675997.6816 | 1221495.5154 | 2675998.1738 | 1221511.0319 | 2675998.5184 | 1221525.0455 | 2676029.0869 | 1221523.6235 | 2676054.9382 | 1221525.0545 | 2676054.8802 | 1221530.1904
6 | 2676187.6601 | 1221546.8096 | 2676215.5114 | 1221550.385
7 | 2675928.7609 | 1221538.3094 | 2675961.4307 | 1221532.0103 | 2675984.1317 | 1221530.5032
8 | 2676045.026 | 1221648.746 | 2676049.0487 | 1221607.7892 | 2676052.239 | 1221565.3365
9 | 2675995.6913 | 1221490.9648 | 2675986.9803 | 1221489.9197 | 2675973.1422 | 1221481.0373 | 2675937.7256 | 1221477.7169 | 2675935.9986 | 1221477.5207
10 | 2676302.5197 | 1221566.5036 | 2676268.1021 | 1221558.6799 | 2676244.8018 | 1221554.1453 | 2676215.5114 | 1221550.385
11 | 2675928.7609 | 1221538.3094 | 2675874.5691 | 1221548.7582
12 | 2676025.2951 | 1221715.4981 | 2676043.1275 | 1221668.0754 | 2676045.026 | 1221648.746
13 | 2676302.5197 | 1221566.5036 | 2676355.1736 | 1221577.9636 | 2676433.948 | 1221595.2519
14 | 2675800.9492 | 1221562.9529 | 2675874.5691 | 1221548.7582
15 | 2676024.5248 | 1221717.5466 | 2676025.2951 | 1221715.4981
16 | 2676433.948 | 1221595.2519 | 2676435.3361 | 1221601.1736 | 2676421.7065 | 1221636.3997 | 2676403.0494 | 1221659.053 | 2676396.2283 | 1221683.3704 | 2676392.3069 | 1221689.2351 | 2676377.503 | 1221711.3598 | 2676360.1824 | 1221749.3183 | 2676379.7203 | 1221759.6756 | 2676380.5931 | 1221760.212
17 | 2675800.9492 | 1221562.9529 | 2675802.0191 | 1221582.2049
18 | 2676024.1705 | 1221718.4888 | 2676024.1705 | 1221718.4888 | 2676024.5248 | 1221717.5466
19 | 2675719.3991 | 1221930.0901 | 2675696.5666 | 1221921.9371
20 | 2675666.319 | 1221911.1364 | 2675696.5666 | 1221921.9371
21 | 2675719.3991 | 1221930.0901 | 2675744.8039 | 1221938.8656
22 | 2675666.319 | 1221911.1364 | 2675630.2278 | 1221898.7038
23 | 2675776.0439 | 1221949.6566 | 2675744.8039 | 1221938.8656
24 | 2675601.3722 | 1221888.7637 | 2675630.2278 | 1221898.7038
25 | 2675787.1705 | 1221658.4792 | 2675765.784 | 1221684.741 | 2675702.8754 | 1221769.1744 | 2675702.8754 | 1221769.1744
26 | 2675689.9731 | 1221767.2674 | 2675702.8754 | 1221769.1744
27 | 2675787.1705 | 1221658.4792 | 2675796.3764 | 1221647.1747
28 | 2675648.7772 | 1221763.9614 | 2675664.2742 | 1221763.4691 | 2675689.9731 | 1221767.2674
29 | 2675760.6396 | 1221995.9467 | 2675776.0439 | 1221949.6566
30 | 2675776.0439 | 1221949.6566 | 2675782.7209 | 1221951.9209 | 2675791.7841 | 1221954.9995
31 | 2675708.6195 | 1222044.0057 | 2675688.2855 | 1222047.9276 | 2675670.916 | 1222047.1953 | 2675662.1969 | 1222050.42 | 2675658.938 | 1222053.987
32 | 2675708.6195 | 1222044.0057 | 2675739.9931 | 1222037.5225 | 2675736.7068 | 1222015.5996 | 2675724.9665 | 1222007.6563
33 | 2675708.6195 | 1222044.0057 | 2675722.1878 | 1222067.4602 | 2675727.4741 | 1222088.7462
34 | 2675752.3916 | 1221993.7403 | 2675744.6173 | 1222002.5917 | 2675737.1359 | 1222006.9105 | 2675724.9665 | 1222007.6563
35 | 2675734.1375 | 1222115.5771 | 2675727.4741 | 1222088.7462
36 | 2675642.2548 | 1221764.3565 | 2675601.3722 | 1221888.7637
37 | 2675648.7772 | 1221763.9614 | 2675642.2548 | 1221764.3565
38 | 2675760.6396 | 1221995.9467 | 2675793.397 | 1222007.2961
39 | 2675752.3916 | 1221993.7403 | 2675760.6396 | 1221995.9467
40 | 2675796.0855 | 1221956.4607 | 2675791.7841 | 1221954.9995
41 | 2675706.7924 | 1222118.4758 | 2675721.8621 | 1222118.1116 | 2675734.1375 | 1222115.5771
42 | 2675734.1375 | 1222115.5771 | 2675737.3528 | 1222115.0621 | 2675806.303 | 1222101.8859
43 | 2675831.134 | 1222020.3709 | 2675793.397 | 1222007.2961
44 | 2675796.3764 | 1221647.1747 | 2675803.312 | 1221638.6579
45 | 2675706.7924 | 1222118.4758 | 2675693.3424 | 1222119.7279 | 2675690.5761 | 1222120.3861
46 | 2675869.0506 | 1221963.7597 | 2675873.098 | 1221965.1365
47 | 2675907.4256 | 1221976.8141 | 2675873.098 | 1221965.1365
48 | 2675869.0506 | 1221963.7597 | 2675863.933 | 1221962.0187
49 | 2675907.4256 | 1221976.8141 | 2675924.9502 | 1221982.7786
50 | 2675861.6362 | 1221961.2374 | 2675863.933 | 1221962.0187
51 | 2675845.6764 | 1221973.3029 | 2675865.0376 | 1221979.7565
52 | 2675831.134 | 1222020.3709 | 2675845.6764 | 1221973.3029
53 | 2675843.1838 | 1221972.4595 | 2675845.6764 | 1221973.3029
54 | 2675855.9137 | 1221959.2907 | 2675861.6362 | 1221961.2374
55 | 2675843.1838 | 1221972.4595 | 2675846.7599 | 1221961.4978 | 2675855.9137 | 1221959.2907 | 2675855.9137 | 1221959.2907
56 | 2675831.134 | 1222020.3709 | 2675876.021 | 1222036.2752
57 | 2675803.312 | 1221638.6579 | 2675804.7769 | 1221636.8591
58 | 2675804.7769 | 1221636.8591 | 2675810.8898 | 1221629.3527
59 | 2675811.4693 | 1221628.6411 | 2675811.4693 | 1221628.6411 | 2675810.8898 | 1221629.3527
60 | 2676142.487 | 1221761.0041 | 2676119.4387 | 1221753.9621 | 2676099.6121 | 1221747.171 | 2676035.1697 | 1221723.8883 | 2676024.1705 | 1221718.4888
61 | 2676161.5968 | 1221766.8428 | 2676142.487 | 1221761.0041
62 | 2675924.9502 | 1221982.7786 | 2675925.1371 | 1221982.8422
63 | 2675950.279 | 1221991.3992 | 2675925.1371 | 1221982.8422
64 | 2675970.5535 | 1221998.2997 | 2675950.279 | 1221991.3992
65 | 2676161.5968 | 1221766.8428 | 2676168.5802 | 1221751.2749
66 | 2676168.5802 | 1221751.2749 | 2676174.6688 | 1221737.7019 | 2676191.1777 | 1221729.8746 | 2676236.6432 | 1221725.5869 | 2676246.198 | 1221726.0996
67 | 2676246.198 | 1221726.0996 | 2676275.0178 | 1221727.6462 | 2676291.9013 | 1221735.3966
68 | 2676291.9013 | 1221735.3966 | 2676292.4091 | 1221735.6297 | 2676312.906 | 1221748.712 | 2676324.1243 | 1221746.4653 | 2676332.5045 | 1221731.2739 | 2676351.9767 | 1221694.355
69 | 2675814.1023 | 1221621.801 | 2675815 | 1221619.4689 | 2675813.9628 | 1221610.9612 | 2675805.9435 | 1221601.4751 | 2675802.6157 | 1221592.9383 | 2675802.0191 | 1221582.2049
70 | 2675814.1023 | 1221621.801 | 2675813.9103 | 1221622.2998
71 | 2675811.4693 | 1221628.6411 | 2675813.9103 | 1221622.2998
72 | 2676380.5931 | 1221760.212 | 2676385.5558 | 1221763.2622
73 | 2676385.5558 | 1221763.2622 | 2676394.1866 | 1221768.5669 | 2676413.0036 | 1221781.2135

## bus_geodata
| x | y | coords
0 | 2676080.7585 | 1221533.2154
1 | 2676163.2613 | 1221543.6773
2 | 2676054.8802 | 1221530.1904
3 | 2676187.6601 | 1221546.8096
4 | 2675984.1317 | 1221530.5032
5 | 2676052.239 | 1221565.3365
6 | 2675995.6913 | 1221490.9648
7 | 2676215.5114 | 1221550.385
8 | 2675928.7608 | 1221538.3094
9 | 2676045.026 | 1221648.746
10 | 2675935.9986 | 1221477.5207
11 | 2676302.5197 | 1221566.5036
12 | 2675874.5691 | 1221548.7582
13 | 2676025.2951 | 1221715.4981
14 | 2676433.948 | 1221595.2519
15 | 2675800.9492 | 1221562.9529
16 | 2676024.5248 | 1221717.5466
17 | 2675696.5666 | 1221921.9371
18 | 2675719.3991 | 1221930.0901
19 | 2675666.319 | 1221911.1364
20 | 2675744.8039 | 1221938.8656
21 | 2675630.2278 | 1221898.7038
22 | 2675702.8754 | 1221769.1744
23 | 2675787.1705 | 1221658.4792
24 | 2675689.9731 | 1221767.2674
25 | 2675776.0439 | 1221949.6566
26 | 2675708.6195 | 1222044.0057
27 | 2675658.938 | 1222053.987
28 | 2675724.9665 | 1222007.6563
29 | 2675727.4741 | 1222088.7462
30 | 2675601.3722 | 1221888.7637
31 | 2675642.2548 | 1221764.3565
32 | 2675648.7772 | 1221763.9614
33 | 2675760.6396 | 1221995.9467
34 | 2675791.7841 | 1221954.9995
35 | 2675752.3916 | 1221993.7403
36 | 2675734.1375 | 1222115.5771
37 | 2675793.397 | 1222007.2961
38 | 2675796.0855 | 1221956.4607
39 | 2675796.3764 | 1221647.1747
40 | 2675806.303 | 1222101.8859
41 | 2675706.7924 | 1222118.4758
42 | 2675690.5761 | 1222120.3861
43 | 2675873.098 | 1221965.1365
44 | 2675869.0506 | 1221963.7597
45 | 2675907.4256 | 1221976.8141
46 | 2675863.933 | 1221962.0187
47 | 2675865.0376 | 1221979.7565
48 | 2675845.6764 | 1221973.3029
49 | 2675855.9137 | 1221959.2907
50 | 2675861.6362 | 1221961.2374
51 | 2675843.1838 | 1221972.4595
52 | 2675831.134 | 1222020.3709
53 | 2675876.021 | 1222036.2752
54 | 2675803.312 | 1221638.6579
55 | 2675804.7769 | 1221636.8591
56 | 2675810.8898 | 1221629.3527
57 | 2676024.1705 | 1221718.4888
58 | 2676142.487 | 1221761.0041
59 | 2675925.1371 | 1221982.8422
60 | 2675924.9502 | 1221982.7786
61 | 2675950.279 | 1221991.3992
62 | 2675970.5535 | 1221998.2997
63 | 2676161.5968 | 1221766.8428
64 | 2676168.5802 | 1221751.2749
65 | 2676246.198 | 1221726.0996
66 | 2676291.9013 | 1221735.3966
67 | 2675802.0191 | 1221582.2049
68 | 2675814.1023 | 1221621.801
69 | 2675813.9103 | 1221622.2998
70 | 2675811.4693 | 1221628.6411
71 | 2676351.9767 | 1221694.355
72 | 2676380.5931 | 1221760.212
73 | 2676385.5558 | 1221763.2622
74 | 2676413.0036 | 1221781.2135
75 | 2675776.0439 | 1221949.6566

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97234 | -0.53562 | 7.5051e-05 | 1.881e-05
1 | 0.97223 | -0.53787 | 0.00015808 | 3.9619e-05
2 | 0.97238 | -0.53487 | 0 | 0
3 | 0.9722 | -0.53847 | 8.4516e-05 | 2.1182e-05
4 | 0.97319 | -0.5189 | 0.00059056 | 0.00014801
5 | 0.97204 | -0.54162 | 0.00022833 | 5.7224e-05
6 | 0.97235 | -0.53543 | 0 | 0
7 | 0.97217 | -0.5391 | 0.00028769 | 7.2102e-05
8 | 0.97385 | -0.50568 | 0.0031542 | 0.00079053
9 | 0.97125 | -0.5573 | 0.001008 | 0.00025263
10 | 0.97233 | -0.53579 | 0.00031076 | 7.7884e-05
11 | 0.97209 | -0.54063 | 0 | 0
12 | 0.97468 | -0.48947 | 0.00043027 | 0.00010784
13 | 0.97065 | -0.56914 | 0.0010078 | 0.00025257
14 | 0.97198 | -0.54294 | 0 | 0
15 | 0.97582 | -0.46691 | 0 | 0
16 | 0.97063 | -0.56947 | 0.0022423 | 0.00056198
17 | 0.99484 | -0.098287 | 0.024337 | 0.0060994
18 | 0.99563 | -0.083159 | 0 | 0
19 | 0.99397 | -0.11492 | 0 | 0
20 | 0.99651 | -0.066415 | 0.052499 | 0.013157
21 | 0.99294 | -0.13472 | 0.038293 | 0.0095971
22 | 0.98012 | -0.38263 | 0.023153 | 0.0058028
23 | 0.97759 | -0.43207 | 0.00060476 | 0.00015157
24 | 0.98064 | -0.37253 | 0.0054271 | 0.0013602
25 | 0.99798 | -0.038271 | 0 | 0
26 | 0.98632 | -0.2617 | 0 | 0
27 | 0.98608 | -0.26645 | 0.0050671 | 0.0012699
28 | 0.99102 | -0.17114 | 0.010329 | 0.0025888
29 | 0.98317 | -0.3228 | 0.013804 | 0.0034596
30 | 0.99238 | -0.14541 | 0 | 0
31 | 0.98278 | -0.33074 | 0.031075 | 0.0077881
32 | 0.98249 | -0.33642 | 0 | 0
33 | 0.99424 | -0.1096 | 0 | 0
34 | 1 | 0 | -0.54331 | -0.13833
35 | 0.99357 | -0.12233 | 0 | 0
36 | 0.98175 | -0.35052 | 0 | 0
37 | 0.99226 | -0.14761 | 0.073647 | 0.018458
38 | 0.99997 | -0.00061206 | 0.0077298 | 0.0019373
39 | 0.97734 | -0.43711 | 0.00013805 | 3.4599e-05
40 | 0.97836 | -0.417 | 0.049874 | 0.0125
41 | 0.98161 | -0.35334 | 0 | 0
42 | 0.98152 | -0.35501 | 0.0056472 | 0.0014153
43 | 0.98321 | -0.32268 | 0.0017678 | 0.00044304
44 | 0.98349 | -0.31719 | 0.0077335 | 0.0019382
45 | 0.98088 | -0.36825 | 0 | 0
46 | 0.98389 | -0.30949 | 0.0065082 | 0.0016311
47 | 0.98678 | -0.25332 | 0.02553 | 0.0063985
48 | 0.98726 | -0.244 | 0 | 0
49 | 0.98457 | -0.29626 | 0.036337 | 0.009107
50 | 0.98408 | -0.30575 | 0.0017672 | 0.00044291
51 | 0.98696 | -0.2498 | 0 | 0
52 | 0.99065 | -0.17852 | 0 | 0
53 | 0.98955 | -0.20002 | 0.025393 | 0.0063641
54 | 0.97715 | -0.44087 | 0.00013781 | 3.4538e-05
55 | 0.9771 | -0.44166 | 0.00013802 | 3.459e-05
56 | 0.97694 | -0.44493 | 0.00013804 | 3.4596e-05
57 | 0.97063 | -0.56957 | 0.0032508 | 0.00081473
58 | 0.97032 | -0.5757 | 0.00046153 | 0.00011567
59 | 0.97968 | -0.39173 | 0.030407 | 0.0076208
60 | 0.97969 | -0.39159 | 0.030385 | 0.0076151
61 | 0.97946 | -0.39595 | 0.0041741 | 0.0010461
62 | 0.97937 | -0.39773 | 0.0045673 | 0.0011447
63 | 0.97028 | -0.5765 | 0.000312 | 7.8195e-05
64 | 0.97025 | -0.57709 | 0.00032615 | 8.1741e-05
65 | 0.97012 | -0.57959 | 0.00021823 | 5.4694e-05
66 | 0.97007 | -0.58074 | 0.00079617 | 0.00019954
67 | 0.97612 | -0.46111 | 0.00065166 | 0.00016332
68 | 0.9768 | -0.44756 | 0.00013823 | 3.4644e-05
69 | 0.97681 | -0.4474 | 0.00013815 | 3.4624e-05
70 | 0.97692 | -0.44524 | 0.0010188 | 0.00025532
71 | 0.97002 | -0.58163 | 0.00050662 | 0.00012697
72 | 0.97181 | -0.54632 | 0.00022752 | 5.7021e-05
73 | 0.9718 | -0.54639 | 0.00017203 | 4.3114e-05
74 | 0.97179 | -0.54671 | 0.00052419 | 0.00013137
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0014546 | 0.0003574 | -0.0014544 | -0.00035833 | 1.542e-07 | -9.3273e-07 | 0.0022234 | 0.0022238 | 0.0022238 | 0.97234 | -0.53562 | 0.97223 | -0.53787 | 0.61093
1 | -0.0015296 | -0.00037621 | 0.0015297 | 0.00037592 | 5.3418e-08 | -2.89e-07 | 0.0023383 | 0.0023382 | 0.0023383 | 0.97234 | -0.53562 | 0.97238 | -0.53487 | 0.64238
2 | 0.0012963 | 0.00031871 | -0.0012963 | -0.00031899 | 3.6234e-08 | -2.8185e-07 | 0.0019819 | 0.001982 | 0.001982 | 0.97223 | -0.53787 | 0.9722 | -0.53847 | 0.54449
3 | -0.012216 | -0.0030517 | 0.012225 | 0.0030567 | 9.2776e-06 | 5.0584e-06 | 0.01869 | 0.01869 | 0.01869 | 0.97238 | -0.53487 | 0.97319 | -0.5189 | 5.1346
4 | 0.010375 | 0.0025998 | -0.010372 | -0.0025981 | 3.3317e-06 | 1.6953e-06 | 0.015877 | 0.015877 | 0.015877 | 0.97238 | -0.53487 | 0.97204 | -0.54162 | 4.3619
5 | 0.00031077 | 7.5924e-05 | -0.00031076 | -7.7111e-05 | 8.1369e-09 | -1.1873e-06 | 0.00047487 | 0.00047529 | 0.00047529 | 0.97238 | -0.53487 | 0.97235 | -0.53543 | 0.13057
6 | 0.0012118 | 0.00029781 | -0.0012117 | -0.00029814 | 3.6143e-08 | -3.2505e-07 | 0.0018526 | 0.0018527 | 0.0018527 | 0.9722 | -0.53847 | 0.97217 | -0.5391 | 0.50899
7 | -0.012816 | -0.0032047 | 0.012824 | 0.0032092 | 8.0645e-06 | 4.4647e-06 | 0.019593 | 0.019592 | 0.019593 | 0.97319 | -0.5189 | 0.97385 | -0.50568 | 5.3826
8 | 0.010144 | 0.0025409 | -0.010136 | -0.0025371 | 7.5703e-06 | 3.808e-06 | 0.015528 | 0.015528 | 0.015528 | 0.97204 | -0.54162 | 0.97125 | -0.5573 | 4.2659
9 | 0.00031076 | 7.7111e-05 | -0.00031076 | -7.7884e-05 | 5.3e-09 | -7.7217e-07 | 0.00047529 | 0.00047557 | 0.00047557 | 0.97235 | -0.53543 | 0.97233 | -0.53579 | 0.13065
10 | 0.00092405 | 0.00022604 | -0.00092399 | -0.00022709 | 6.627e-08 | -1.0556e-06 | 0.0014124 | 0.0014128 | 0.0014128 | 0.97217 | -0.5391 | 0.97209 | -0.54063 | 0.38813
11 | -0.015978 | -0.0039997 | 0.01599 | 0.0040069 | 1.2334e-05 | 7.2063e-06 | 0.024412 | 0.024412 | 0.024412 | 0.97385 | -0.50568 | 0.97468 | -0.48947 | 6.7066
12 | 0.0091281 | 0.0022845 | -0.0091229 | -0.002282 | 5.1395e-06 | 2.4224e-06 | 0.013984 | 0.013984 | 0.013984 | 0.97125 | -0.5573 | 0.97065 | -0.56914 | 3.8417
13 | 0.00092399 | 0.00022709 | -0.00092389 | -0.00022869 | 1.0046e-07 | -1.5987e-06 | 0.0014128 | 0.0014134 | 0.0014134 | 0.97209 | -0.54063 | 0.97198 | -0.54294 | 0.38829
14 | -0.016421 | -0.0041148 | 0.016438 | 0.0041251 | 1.7669e-05 | 1.0373e-05 | 0.025069 | 0.025068 | 0.025069 | 0.97468 | -0.48947 | 0.97582 | -0.46691 | 6.887
15 | 0.0081152 | 0.0020295 | -0.008115 | -0.0020294 | 1.2699e-07 | 5.4222e-08 | 0.012439 | 0.012439 | 0.012439 | 0.97065 | -0.56914 | 0.97063 | -0.56947 | 3.4173
16 | 0.00092389 | 0.00022869 | -0.00092374 | -0.00023104 | 1.4766e-07 | -2.3467e-06 | 0.0014134 | 0.0014142 | 0.0014142 | 0.97198 | -0.54294 | 0.97181 | -0.54632 | 0.38853
17 | -0.016438 | -0.0041251 | 0.016443 | 0.0041278 | 4.5439e-06 | 2.6671e-06 | 0.025068 | 0.025068 | 0.025068 | 0.97582 | -0.46691 | 0.97612 | -0.46111 | 6.8869
18 | 0.0058727 | 0.0014674 | -0.0058727 | -0.0014674 | 3.0586e-08 | 7.1333e-09 | 0.0090015 | 0.0090015 | 0.0090015 | 0.97063 | -0.56947 | 0.97063 | -0.56957 | 2.4729
19 | -0.14298 | -0.036277 | 0.14308 | 0.036342 | 0.0001041 | 6.5366e-05 | 0.21401 | 0.21401 | 0.21401 | 0.99484 | -0.098287 | 0.99563 | -0.083159 | 14.6988
20 | 0.11864 | 0.030177 | -0.11855 | -0.030118 | 9.4988e-05 | 5.9126e-05 | 0.17761 | 0.17761 | 0.17761 | 0.99484 | -0.098287 | 0.99397 | -0.11492 | 12.1987
21 | -0.14308 | -0.036342 | 0.1432 | 0.036415 | 0.00011541 | 7.2463e-05 | 0.21401 | 0.21401 | 0.21401 | 0.99563 | -0.083159 | 0.99651 | -0.066415 | 14.6987
22 | 0.11855 | 0.030118 | -0.11843 | -0.030048 | 0.0001129 | 7.0276e-05 | 0.17761 | 0.17761 | 0.17761 | 0.99397 | -0.11492 | 0.99294 | -0.13472 | 12.1988
23 | -0.1957 | -0.049572 | 0.19596 | 0.04974 | 0.00026493 | 0.00016783 | 0.29241 | 0.2924 | 0.29241 | 0.99651 | -0.066415 | 0.99798 | -0.038271 | 20.0828
24 | 0.080141 | 0.020451 | -0.080099 | -0.020426 | 4.1359e-05 | 2.4892e-05 | 0.12023 | 0.12023 | 0.12023 | 0.99294 | -0.13472 | 0.99238 | -0.14541 | 8.2575
25 | 0.019617 | 0.0049483 | -0.019571 | -0.0049204 | 4.6326e-05 | 2.7899e-05 | 0.029794 | 0.029795 | 0.029795 | 0.98012 | -0.38263 | 0.97759 | -0.43207 | 8.1854
26 | -0.042771 | -0.010751 | 0.042791 | 0.010764 | 2.0629e-05 | 1.3038e-05 | 0.064946 | 0.064945 | 0.064946 | 0.98012 | -0.38263 | 0.98064 | -0.37253 | 17.8422
27 | 0.018966 | 0.0047688 | -0.018962 | -0.0047661 | 4.558e-06 | 2.7344e-06 | 0.028874 | 0.028875 | 0.028875 | 0.97759 | -0.43207 | 0.97734 | -0.43711 | 7.9326
28 | -0.048218 | -0.012124 | 0.048302 | 0.012177 | 8.3309e-05 | 5.2793e-05 | 0.073181 | 0.07318 | 0.073181 | 0.98064 | -0.37253 | 0.98249 | -0.33642 | 20.1046
29 | 0.33699 | 0.086018 | -0.33583 | -0.08528 | 0.0011571 | 0.00073801 | 0.50301 | 0.50301 | 0.50301 | 0.99798 | -0.038271 | 0.99424 | -0.1096 | 34.5474
30 | -0.53295 | -0.13576 | 0.53393 | 0.13639 | 0.00098593 | 0.00063013 | 0.79541 | 0.79541 | 0.79541 | 0.99798 | -0.038271 | 1 | 0 | 54.6301
31 | 0.0050682 | 0.00127 | -0.0050671 | -0.0012699 | 1.1449e-06 | 6.6421e-08 | 0.0076461 | 0.0076464 | 0.0076464 | 0.98632 | -0.2617 | 0.98608 | -0.26645 | 2.1006
32 | -0.074831 | -0.018922 | 0.075157 | 0.01913 | 0.0003266 | 0.00020815 | 0.11295 | 0.11295 | 0.11295 | 0.98632 | -0.2617 | 0.99102 | -0.17114 | 31.0312
33 | 0.069763 | 0.017652 | -0.069559 | -0.017522 | 0.00020389 | 0.00012987 | 0.10531 | 0.10531 | 0.10531 | 0.98632 | -0.2617 | 0.98317 | -0.3228 | 28.9307
34 | -0.085487 | -0.021719 | 0.085688 | 0.021847 | 0.0002014 | 0.00012847 | 0.12846 | 0.12846 | 0.12846 | 0.99102 | -0.17114 | 0.99357 | -0.12233 | 35.2919
35 | 0.055755 | 0.014063 | -0.055681 | -0.014016 | 7.3877e-05 | 4.6931e-05 | 0.084416 | 0.084416 | 0.084416 | 0.98317 | -0.3228 | 0.98175 | -0.35052 | 23.1912
36 | 0.080099 | 0.020426 | -0.079389 | -0.019973 | 0.00070986 | 0.00045263 | 0.12023 | 0.12023 | 0.12023 | 0.99238 | -0.14541 | 0.98278 | -0.33074 | 33.0303
37 | 0.048315 | 0.012185 | -0.048302 | -0.012177 | 1.3123e-05 | 8.3158e-06 | 0.07318 | 0.07318 | 0.07318 | 0.98278 | -0.33074 | 0.98249 | -0.33642 | 20.1045
38 | 0.25009 | 0.063399 | -0.24963 | -0.063109 | 0.00045595 | 0.00029001 | 0.37455 | 0.37455 | 0.37455 | 0.99424 | -0.1096 | 0.99226 | -0.14761 | 25.7245
39 | 0.085741 | 0.021881 | -0.085688 | -0.021847 | 5.2695e-05 | 3.3614e-05 | 0.12846 | 0.12846 | 0.12846 | 0.99424 | -0.1096 | 0.99357 | -0.12233 | 35.2919
40 | 0.0077301 | 0.0019374 | -0.0077298 | -0.0019373 | 2.2539e-07 | 8.4654e-08 | 0.011502 | 0.011502 | 0.011502 | 1 | 0 | 0.99997 | -0.00061206 | 3.16
41 | 0.0056484 | 0.0014155 | -0.0056476 | -0.0014154 | 7.5882e-07 | 1.3659e-07 | 0.0085611 | 0.0085612 | 0.0085612 | 0.98175 | -0.35052 | 0.98161 | -0.35334 | 2.352
42 | 0.050033 | 0.0126 | -0.049874 | -0.0125 | 0.0001585 | 0.00010051 | 0.075855 | 0.075855 | 0.075855 | 0.98175 | -0.35052 | 0.97836 | -0.417 | 20.8393
43 | 0.17599 | 0.044651 | -0.17573 | -0.044486 | 0.00026116 | 0.00016509 | 0.26411 | 0.26411 | 0.26411 | 0.99226 | -0.14761 | 0.99065 | -0.17852 | 18.1392
44 | 0.018824 | 0.0047315 | -0.01882 | -0.0047294 | 3.3842e-06 | 2.0283e-06 | 0.028664 | 0.028664 | 0.028664 | 0.97734 | -0.43711 | 0.97715 | -0.44087 | 7.8748
45 | 0.0056476 | 0.0014154 | -0.0056472 | -0.0014153 | 4.4944e-07 | 8.0953e-08 | 0.0085612 | 0.0085613 | 0.0085613 | 0.98161 | -0.35334 | 0.98152 | -0.35501 | 2.352
46 | -0.071533 | -0.018017 | 0.071551 | 0.018029 | 1.88e-05 | 1.1978e-05 | 0.10829 | 0.10829 | 0.10829 | 0.98321 | -0.32268 | 0.98349 | -0.31719 | 29.7503
47 | 0.069765 | 0.017574 | -0.069613 | -0.017477 | 0.00015167 | 9.6612e-05 | 0.10562 | 0.10562 | 0.10562 | 0.98321 | -0.32268 | 0.98088 | -0.36825 | 29.0154
48 | -0.079285 | -0.019967 | 0.079314 | 0.019985 | 2.9187e-05 | 1.8611e-05 | 0.11999 | 0.11999 | 0.11999 | 0.98349 | -0.31719 | 0.98389 | -0.30949 | 32.9648
49 | 0.069613 | 0.017477 | -0.069536 | -0.017428 | 7.7435e-05 | 4.9325e-05 | 0.10562 | 0.10562 | 0.10562 | 0.98088 | -0.36825 | 0.97969 | -0.39159 | 29.0154
50 | -0.085822 | -0.021617 | 0.085838 | 0.021626 | 1.5336e-05 | 9.7844e-06 | 0.12983 | 0.12983 | 0.12983 | 0.98389 | -0.30949 | 0.98408 | -0.30575 | 35.6689
51 | -0.02553 | -0.0063985 | 0.025542 | 0.0064055 | 1.1343e-05 | 6.9987e-06 | 0.038499 | 0.038498 | 0.038499 | 0.98678 | -0.25332 | 0.98726 | -0.244 | 10.5765
52 | -0.14983 | -0.037806 | 0.15031 | 0.038106 | 0.00047143 | 0.00030045 | 0.22592 | 0.22592 | 0.22592 | 0.98726 | -0.244 | 0.99065 | -0.17852 | 31.0334
53 | 0.12429 | 0.0314 | -0.12426 | -0.031378 | 3.4566e-05 | 2.2089e-05 | 0.18742 | 0.18742 | 0.18742 | 0.98726 | -0.244 | 0.98696 | -0.2498 | 51.4903
54 | 0.087645 | 0.022095 | -0.087605 | -0.022069 | 3.9799e-05 | 2.5394e-05 | 0.13251 | 0.13251 | 0.13251 | 0.98457 | -0.29626 | 0.98408 | -0.30575 | 36.403
55 | -0.12398 | -0.031202 | 0.12426 | 0.031378 | 0.00027593 | 0.00017633 | 0.18742 | 0.18742 | 0.18742 | 0.98457 | -0.29626 | 0.98696 | -0.2498 | 51.4904
56 | 0.025419 | 0.0063802 | -0.025393 | -0.0063641 | 2.6038e-05 | 1.6052e-05 | 0.038184 | 0.038185 | 0.038185 | 0.99065 | -0.17852 | 0.98955 | -0.20002 | 10.4903
57 | 0.018682 | 0.0046949 | -0.018682 | -0.0046945 | 7.0435e-07 | 4.2173e-07 | 0.028455 | 0.028455 | 0.028455 | 0.97715 | -0.44087 | 0.9771 | -0.44166 | 7.8172
58 | 0.018544 | 0.0046599 | -0.018541 | -0.0046581 | 2.896e-06 | 1.7322e-06 | 0.028244 | 0.028244 | 0.028244 | 0.9771 | -0.44166 | 0.97694 | -0.44493 | 7.7594
59 | 0.018403 | 0.0046235 | -0.018403 | -0.0046234 | 2.7048e-07 | 1.6162e-07 | 0.028034 | 0.028034 | 0.028034 | 0.97694 | -0.44493 | 0.97692 | -0.44524 | 7.7017
60 | 0.0026219 | 0.00065269 | -0.0026211 | -0.00065376 | 7.6184e-07 | -1.0672e-06 | 0.0040179 | 0.0040184 | 0.0040184 | 0.97063 | -0.56957 | 0.97032 | -0.5757 | 1.104
61 | 0.0021596 | 0.00053809 | -0.0021595 | -0.00053828 | 8.213e-08 | -1.9424e-07 | 0.0033106 | 0.0033107 | 0.0033107 | 0.97032 | -0.5757 | 0.97028 | -0.5765 | 0.90954
62 | -0.039151 | -0.0098123 | 0.039151 | 0.0098125 | 2.619e-07 | 1.6513e-07 | 0.059465 | 0.059465 | 0.059465 | 0.97968 | -0.39173 | 0.97969 | -0.39159 | 16.3367
63 | 0.0087435 | 0.0021916 | -0.0087418 | -0.0021908 | 1.7566e-06 | 7.8986e-07 | 0.01328 | 0.013281 | 0.013281 | 0.97968 | -0.39173 | 0.97946 | -0.39595 | 3.6485
64 | 0.0045677 | 0.0011446 | -0.0045673 | -0.0011447 | 3.8673e-07 | -2.2016e-08 | 0.0069392 | 0.0069393 | 0.0069393 | 0.97946 | -0.39595 | 0.97937 | -0.39773 | 1.9064
65 | 0.0018475 | 0.00046009 | -0.0018474 | -0.00046026 | 5.1327e-08 | -1.7788e-07 | 0.0028322 | 0.0028323 | 0.0028323 | 0.97028 | -0.5765 | 0.97025 | -0.57709 | 0.77811
66 | 0.0015213 | 0.00037852 | -0.0015211 | -0.0003795 | 1.8029e-07 | -9.7602e-07 | 0.0023321 | 0.0023325 | 0.0023325 | 0.97025 | -0.57709 | 0.97012 | -0.57959 | 0.6408
67 | 0.0013029 | 0.0003248 | -0.0013028 | -0.00032534 | 7.1008e-08 | -5.4025e-07 | 0.0019978 | 0.001998 | 0.001998 | 0.97012 | -0.57959 | 0.97007 | -0.58074 | 0.5489
68 | 0.00050664 | 0.00012581 | -0.00050662 | -0.00012697 | 2.1596e-08 | -1.164e-06 | 0.00077673 | 0.00077716 | 0.00077716 | 0.97007 | -0.58074 | 0.97002 | -0.58163 | 0.2135
69 | -0.017094 | -0.0042911 | 0.017105 | 0.0042977 | 1.1055e-05 | 6.5322e-06 | 0.026062 | 0.026061 | 0.026062 | 0.97612 | -0.46111 | 0.9768 | -0.44756 | 7.1598
70 | -0.017244 | -0.0043323 | 0.017244 | 0.0043324 | 1.3833e-07 | 8.1843e-08 | 0.026272 | 0.026272 | 0.026272 | 0.9768 | -0.44756 | 0.97681 | -0.4474 | 7.2176
71 | -0.017382 | -0.004367 | 0.017384 | 0.0043681 | 1.787e-06 | 1.0586e-06 | 0.026482 | 0.026482 | 0.026482 | 0.97681 | -0.4474 | 0.97692 | -0.44524 | 7.2754
72 | 0.00069622 | 0.00017402 | -0.00069622 | -0.00017409 | 2.4818e-09 | -7.0585e-08 | 0.0010659 | 0.0010659 | 0.0010659 | 0.97181 | -0.54632 | 0.9718 | -0.54639 | 0.29283
73 | 0.00052419 | 0.00013097 | -0.00052419 | -0.00013137 | 7.9232e-09 | -4.0134e-07 | 0.00080249 | 0.00080264 | 0.00080264 | 0.9718 | -0.54639 | 0.97179 | -0.54671 | 0.22051

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54512 | 0.13878

## res_load
| p_mw | q_mvar
0 | 7.5051e-05 | 1.881e-05
1 | 0.00015808 | 3.9619e-05
2 | 8.4516e-05 | 2.1182e-05
3 | 0.00059056 | 0.00014801
4 | 0.00022833 | 5.7224e-05
5 | 0.00028769 | 7.2102e-05
6 | 0.0031542 | 0.00079053
7 | 0.001008 | 0.00025263
8 | 0.00031076 | 7.7884e-05
9 | 0.00043027 | 0.00010784
10 | 0.0010078 | 0.00025257
11 | 0.0022423 | 0.00056198
12 | 0.024337 | 0.0060994
13 | 0.052499 | 0.013157
14 | 0.038293 | 0.0095971
15 | 0.023153 | 0.0058028
16 | 0.00060476 | 0.00015157
17 | 0.0054271 | 0.0013602
18 | 0.0050671 | 0.0012699
19 | 0.010329 | 0.0025888
20 | 0.013804 | 0.0034596
21 | 0.031075 | 0.0077881
22 | 0.001805 | 0.00045237
23 | 0.073647 | 0.018458
24 | 0.0077298 | 0.0019373
25 | 0.00013805 | 3.4599e-05
26 | 0.049874 | 0.0125
27 | 0.0056472 | 0.0014153
28 | 0.0017678 | 0.00044304
29 | 0.0077335 | 0.0019382
30 | 0.0065082 | 0.0016311
31 | 0.02553 | 0.0063985
32 | 0.036337 | 0.009107
33 | 0.0017672 | 0.00044291
34 | 0.025393 | 0.0063641
35 | 0.00013781 | 3.4538e-05
36 | 0.00013802 | 3.459e-05
37 | 0.00013804 | 3.4596e-05
38 | 0.0032508 | 0.00081473
39 | 0.00046153 | 0.00011567
40 | 0.030407 | 0.0076208
41 | 0.030385 | 0.0076151
42 | 0.0041741 | 0.0010461
43 | 0.0045673 | 0.0011447
44 | 0.000312 | 7.8195e-05
45 | 0.00032615 | 8.1741e-05
46 | 0.00021823 | 5.4694e-05
47 | 0.00079617 | 0.00019954
48 | 0.00065166 | 0.00016332
49 | 0.00013823 | 3.4644e-05
50 | 0.00013815 | 3.4624e-05
51 | 0.0010188 | 0.00025532
52 | 0.00050662 | 0.00012697
53 | 0.00022752 | 5.7021e-05
54 | 0.00017203 | 4.3114e-05
55 | 0.00052419 | 0.00013137

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1