## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1707-27_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1707-27_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1707-27_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1707-27_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1707-27_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1707-27_0_2_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_1707-27_0_2_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_1707-27_0_2_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_1707-27_0_2_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_1707-27_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1707-27_0_2_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1707-27_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1707-27_0_2_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1707-27_0_2_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_1707-27_0_2_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_1707-27_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1707-27_0_2_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_1707-27_0_2_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_1707-27_0_2_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_1707-27_0_2_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_1707-27_0_2_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_1707-27_0_2_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_1707-27_0_2_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_1707-27_0_2_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1707-27_0_2_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_1707-27_0_2_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_1707-27_0_2_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_1707-27_0_2_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_1707-27_0_2_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1707-27_0_2_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_1707-27_0_2_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_1707-27_0_2_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_1707-27_0_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_1707-27_0_2_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_1707-27_0_2_node_11 | 0.4 | n |  | TRUE
35 | bus_LV_1707-27_0_2_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_1707-27_0_2_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_1707-27_0_2_node_12 | 0.4 | n |  | TRUE
38 | bus_LV_1707-27_0_2_node_13 | 0.4 | n |  | TRUE
39 | bus_LV_1707-27_0_2_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1707-27_0_2_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_1707-27_0_2_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1707-27_0_2_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_1707-27_0_2_node_16 | 0.4 | n |  | TRUE
44 | bus_LV_1707-27_0_2_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_1707-27_0_2_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_1707-27_0_2_node_17 | 0.4 | n |  | TRUE
47 | bus_LV_1707-27_0_2_node_18 | 0.4 | n |  | TRUE
48 | bus_LV_1707-27_0_2_node_19 | 0.4 | n |  | TRUE
49 | bus_LV_1707-27_0_2_node_20 | 0.4 | n |  | TRUE
50 | bus_LV_1707-27_0_2_node_21 | 0.4 | n |  | TRUE
51 | bus_LV_1707-27_0_2_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_1707-27_0_2_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_1707-27_0_2_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_1707-27_0_2_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_1707-27_0_2_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_1707-27_0_2_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_1707-27_0_2_node_24 | 0.4 | n |  | TRUE
58 | bus_LV_1707-27_0_2_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_1707-27_0_2_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_1707-27_0_2_node_27 | 0.4 | n |  | TRUE
61 | bus_LV_1707-27_0_2_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_1707-27_0_2_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_1707-27_0_2_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_1707-27_0_2_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_1707-27_0_2_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_1707-27_0_2_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_1707-27_0_2_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_1707-27_0_2_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_1707-27_0_2_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_1707-27_0_2_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_1707-27_0_2_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_1707-27_0_2_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_1707-27_0_2_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_1707-27_0_2_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_1707-27_0_2_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_1707-27_0_2_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_1707-27_0_2_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_1707-27_0_2_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_1707-27_0_2_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_1707-27_0_2_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_1707-27_0_2_node_81 | 0.4 | n |  | TRUE
82 | bus_MV_0_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1707-27_0_2_load_0 | 0 | 0.00062261 | 0.00015604 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1707-27_0_2_load_1 | 1 | 0.0016107 | 0.00040369 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1707-27_0_2_load_2 | 2 | 0.0026902 | 0.00067424 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1707-27_0_2_load_3 | 3 | 0.0025591 | 0.00064137 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1707-27_0_2_load_4 | 4 | 0.0010196 | 0.00025554 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1707-27_0_2_load_14 | 5 | 0.0026201 | 0.00065667 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1707-27_0_2_load_47 | 6 | 0.00020456 | 5.1267e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1707-27_0_2_load_37 | 7 | 0.00037208 | 9.3251e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1707-27_0_2_load_42 | 8 | 0.00018258 | 4.576e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1707-27_0_2_load_5 | 9 | 0.0026015 | 0.00065201 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1707-27_0_2_load_15 | 10 | 0.0022318 | 0.00055935 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1707-27_0_2_load_6 | 11 | 0.002893 | 0.00072506 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1707-27_0_2_load_31 | 12 | 0.0015024 | 0.00037654 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1707-27_0_2_load_32 | 13 | 0.00040036 | 0.00010034 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1707-27_0_2_load_8 | 15 | 0.0038012 | 0.00095268 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1707-27_0_2_load_33 | 16 | 0.00033363 | 8.3616e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1707-27_0_2_load_38 | 18 | 0.0001889 | 4.7344e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1707-27_0_2_load_30 | 19 | 0.00019774 | 4.9558e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1707-27_0_2_load_58 | 20 | 0.00040905 | 0.00010252 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1707-27_0_2_load_7 | 21 | 0.0008554 | 0.00021438 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1707-27_0_2_load_29 | 22 | 0.0002564 | 6.426e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1707-27_0_2_load_28 | 23 | 0.00035312 | 8.8501e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1707-27_0_2_load_9 | 24 | 0.0012747 | 0.00031947 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1707-27_0_2_load_57 | 25 | 0.0019832 | 0.00049703 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1707-27_0_2_load_10 | 26 | 0.002876 | 0.00072079 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1707-27_0_2_load_48 | 27 | 0.00031681 | 7.9401e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1707-27_0_2_load_49 | 28 | 0.0001918 | 4.807e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1707-27_0_2_load_55 | 30 | 0.0013911 | 0.00034864 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1707-27_0_2_load_56 | 31 | 0.001915 | 0.00047995 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1707-27_0_2_load_53 | 33 | 0.00079515 | 0.00019928 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1707-27_0_2_load_11 | 34 | 0.0054057 | 0.0013548 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1707-27_0_2_load_54 | 36 | 0.00025962 | 6.5066e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1707-27_0_2_load_12 | 37 | 0.0018827 | 0.00047184 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1707-27_0_2_load_13 | 38 | 0.0023814 | 0.00059683 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1707-27_0_2_load_22 | 39 | 0.0031418 | 0.0007874 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1707-27_0_2_load_64 | 40 | 0.0019593 | 0.00049105 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1707-27_0_2_load_23 | 41 | 0.0025858 | 0.00064805 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1707-27_0_2_load_16 | 43 | 0.0014296 | 0.0003583 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1707-27_0_2_load_78 | 44 | 0.0019225 | 0.00048183 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1707-27_0_2_load_77 | 45 | 0.0018982 | 0.00047574 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1707-27_0_2_load_17 | 46 | 0.0018461 | 0.00046268 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1707-27_0_2_load_19 | 48 | 0.0011553 | 0.00028954 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1707-27_0_2_load_20 | 49 | 0.0015481 | 0.000388 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1707-27_0_2_load_25 | 51 | 0.00087056 | 0.00021818 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1707-27_0_2_load_69 | 53 | 0.0015906 | 0.00039864 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1707-27_0_2_load_26 | 54 | 0.012665 | 0.0031742 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1707-27_0_2_load_35 | 55 | 0.00047479 | 0.00011899 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1707-27_0_2_load_70 | 56 | 0.0030426 | 0.00076254 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1707-27_0_2_load_73 | 59 | 0.0026448 | 0.00066286 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1707-27_0_2_load_27 | 60 | 0.0011513 | 0.00028855 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1707-27_0_2_load_79 | 61 | 0.0050788 | 0.0012729 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1707-27_0_2_load_59 | 62 | 0.00087523 | 0.00021935 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1707-27_0_2_load_39 | 64 | 0.00026289 | 6.5885e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1707-27_0_2_load_40 | 65 | 0.00032882 | 8.2411e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1707-27_0_2_load_44 | 68 | 0.001418 | 0.0003554 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1707-27_0_2_load_45 | 69 | 0.00095184 | 0.00023855 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1707-27_0_2_load_65 | 71 | 0.00017323 | 4.3415e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1707-27_0_2_load_60 | 72 | 9.7719e-05 | 2.4491e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1707-27_0_2_load_67 | 74 | 0.00041194 | 0.00010324 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1707-27_0_2_load_68 | 75 | 0.00027079 | 6.7867e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1707-27_0_2_load_82 | 77 | 0.0087057 | 0.0021819 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1707-27_0_2_load_71 | 79 | 0.0014508 | 0.0003636 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1707-27_0_2_load_76 | 80 | 0.0037916 | 0.00095026 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1707-27_0_2_load_81 | 81 | 0.010681 | 0.0026769 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1707-27_0_2_line_0 |  | 0 | 1 | 0.01453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1707-27_0_2_line_1 |  | 0 | 2 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1707-27_0_2_line_2 |  | 1 | 3 | 0.00058857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1707-27_0_2_line_3 |  | 2 | 4 | 0.0083154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1707-27_0_2_line_4 |  | 3 | 5 | 0.011528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1707-27_0_2_line_5 |  | 4 | 9 | 0.007218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1707-27_0_2_line_6 |  | 5 | 10 | 0.010339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1707-27_0_2_line_7 |  | 6 | 7 | 0.042934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1707-27_0_2_line_8 |  | 6 | 8 | 0.050242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1707-27_0_2_line_9 |  | 7 | 14 | 0.051543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1707-27_0_2_line_10 |  | 8 | 65 | 0.011484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1707-27_0_2_line_11 |  | 9 | 11 | 0.033732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1707-27_0_2_line_12 |  | 10 | 43 | 0.00098134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1707-27_0_2_line_13 |  | 11 | 15 | 0.0020672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1707-27_0_2_line_14 |  | 12 | 13 | 0.011516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1707-27_0_2_line_15 |  | 13 | 16 | 0.0091019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1707-27_0_2_line_16 |  | 14 | 18 | 0.12201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1707-27_0_2_line_17 |  | 14 | 19 | 0.12542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1707-27_0_2_line_18 |  | 15 | 21 | 0.011054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1707-27_0_2_line_19 |  | 16 | 17 | 0.034268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1707-27_0_2_line_20 |  | 17 | 20 | 0.064865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1707-27_0_2_line_21 |  | 18 | 29 | 0.0061972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1707-27_0_2_line_22 |  | 19 | 22 | 0.0044283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1707-27_0_2_line_23 |  | 20 | 32 | 0.034773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1707-27_0_2_line_24 |  | 21 | 24 | 0.021673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1707-27_0_2_line_25 |  | 21 | 25 | 0.097518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1707-27_0_2_line_26 |  | 22 | 23 | 0.026818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1707-27_0_2_line_27 |  | 24 | 26 | 0.014438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1707-27_0_2_line_28 |  | 25 | 31 | 0.002312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1707-27_0_2_line_29 |  | 26 | 34 | 0.0029723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1707-27_0_2_line_30 |  | 27 | 28 | 0.030429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1707-27_0_2_line_31 |  | 28 | 29 | 0.029134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1707-27_0_2_line_32 |  | 29 | 33 | 0.050407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1707-27_0_2_line_33 |  | 30 | 31 | 0.11462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1707-27_0_2_line_34 |  | 30 | 32 | 0.057433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1707-27_0_2_line_35 |  | 32 | 35 | 0.071687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1707-27_0_2_line_36 |  | 33 | 36 | 0.063823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1707-27_0_2_line_37 |  | 34 | 37 | 0.011925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1707-27_0_2_line_38 |  | 35 | 42 | 0.15961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1707-27_0_2_line_39 |  | 36 | 40 | 0.14999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1707-27_0_2_line_40 |  | 37 | 38 | 0.061966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1707-27_0_2_line_41 |  | 38 | 39 | 0.0079051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1707-27_0_2_line_42 |  | 39 | 41 | 0.071887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1707-27_0_2_line_43 |  | 40 | 58 | 0.034506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1707-27_0_2_line_44 |  | 41 | 57 | 0.076265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1707-27_0_2_line_45 |  | 42 | 59 | 0.040841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1707-27_0_2_line_46 |  | 42 | 58 | 0.021508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1707-27_0_2_line_47 |  | 43 | 44 | 0.0044099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1707-27_0_2_line_48 |  | 44 | 45 | 0.020672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1707-27_0_2_line_49 |  | 45 | 80 | 0.0031539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1707-27_0_2_line_50 |  | 46 | 47 | 0.021747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1707-27_0_2_line_51 |  | 46 | 48 | 0.011312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1707-27_0_2_line_52 |  | 47 | 49 | 0.0045798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1707-27_0_2_line_53 |  | 47 | 50 | 0.043564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1707-27_0_2_line_54 |  | 49 | 51 | 0.01939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1707-27_0_2_line_55 |  | 50 | 52 | 0.044986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1707-27_0_2_line_56 |  | 50 | 53 | 0.026071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1707-27_0_2_line_57 |  | 51 | 54 | 0.018094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1707-27_0_2_line_58 |  | 52 | 55 | 0.037828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1707-27_0_2_line_59 |  | 53 | 56 | 0.0064426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1707-27_0_2_line_60 |  | 55 | 62 | 0.004619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1707-27_0_2_line_61 |  | 56 | 79 | 0.034642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1707-27_0_2_line_62 |  | 57 | 60 | 0.0095488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1707-27_0_2_line_63 |  | 60 | 61 | 0.11178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1707-27_0_2_line_64 |  | 62 | 63 | 0.070787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1707-27_0_2_line_65 |  | 63 | 76 | 0.018497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1707-27_0_2_line_66 |  | 63 | 69 | 0.051583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1707-27_0_2_line_67 |  | 64 | 65 | 0.01391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1707-27_0_2_line_68 |  | 64 | 66 | 0.020235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1707-27_0_2_line_69 |  | 66 | 67 | 0.010894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1707-27_0_2_line_70 |  | 67 | 70 | 0.091167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1707-27_0_2_line_71 |  | 67 | 71 | 0.083648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1707-27_0_2_line_72 |  | 68 | 69 | 0.012768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1707-27_0_2_line_73 |  | 70 | 72 | 0.018256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1707-27_0_2_line_74 |  | 71 | 73 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1707-27_0_2_line_75 |  | 73 | 74 | 0.032741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1707-27_0_2_line_76 |  | 73 | 75 | 0.039329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1707-27_0_2_line_77 |  | 76 | 77 | 0.012764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1707-27_0_2_line_78 |  | 76 | 78 | 0.064736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1707-27_0_2_line_79 |  | 78 | 81 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1707-27_0_2_line_80 |  | 79 | 80 | 0.0005298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1707-27_0_2_trafo_14 | 0.63 MVA 20/0.4 kV | 82 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2677606.1366 | 1220017.0859 | 2677607.6992 | 1220006.6718 | 2677608.3999 | 1220002.7343
1 | 2677606.1366 | 1220017.0859 | 2677603.5017 | 1220034.6469
2 | 2677608.503 | 1220002.1548 | 2677608.3999 | 1220002.7343
3 | 2677602.2678 | 1220042.8703 | 2677603.5017 | 1220034.6469
4 | 2677610.5226 | 1219990.8055 | 2677608.503 | 1220002.1548
5 | 2677602.2678 | 1220042.8703 | 2677601.1967 | 1220050.0085
6 | 2677610.5226 | 1219990.8055 | 2677612.334 | 1219980.6259
7 | 2677076.8254 | 1219919.2 | 2677070.786 | 1219932.7095 | 2677059.3498 | 1219958.416
8 | 2677107.2843 | 1219880.94 | 2677100.0876 | 1219885.0351 | 2677085.1964 | 1219900.4748 | 2677076.8254 | 1219919.2
9 | 2677036.8968 | 1220004.7851 | 2677046.7641 | 1219982.8984 | 2677057.8664 | 1219961.7503 | 2677059.3498 | 1219958.416
10 | 2677107.2843 | 1219880.94 | 2677117.2654 | 1219875.2604
11 | 2677598.9169 | 1220083.5977 | 2677599.3392 | 1220062.3884 | 2677601.1967 | 1220050.0085
12 | 2677612.5059 | 1219979.6598 | 2677612.334 | 1219980.6259
13 | 2677598.9169 | 1220083.5977 | 2677598.8757 | 1220085.6644
14 | 2677332.3939 | 1220004.2906 | 2677322.4255 | 1220010.057
15 | 2677314.6076 | 1220014.7127 | 2677316.246 | 1220013.6316 | 2677322.4255 | 1220010.057
16 | 2677036.8968 | 1220004.7851 | 2677056.1244 | 1220019.5435 | 2677097.8205 | 1220050.7478 | 2677116.6762 | 1220056.6957 | 2677122.832 | 1220060.6669 | 2677126.119 | 1220068.181 | 2677126.013 | 1220078.5706
17 | 2677036.8968 | 1220004.7851 | 2676923.2061 | 1220057.7391
18 | 2677598.9184 | 1220096.714 | 2677598.746 | 1220092.1781 | 2677598.8757 | 1220085.6644
19 | 2677286.0054 | 1220033.5857 | 2677314.6076 | 1220014.7127
20 | 2677286.0054 | 1220033.5857 | 2677288.2479 | 1220037.9621 | 2677297.4467 | 1220056.527 | 2677309.2188 | 1220080.2842 | 2677314.6507 | 1220091.7803
21 | 2677125.9497 | 1220084.7675 | 2677126.013 | 1220078.5706
22 | 2676923.2061 | 1220057.7391 | 2676922.0271 | 1220062.0077
23 | 2677329.5061 | 1220123.2201 | 2677314.6507 | 1220091.7803
24 | 2677598.9184 | 1220096.714 | 2677599.7413 | 1220118.3711
25 | 2677598.9184 | 1220096.714 | 2677501.4286 | 1220094.3572
26 | 2676914.7638 | 1220087.8231 | 2676918.2396 | 1220075.7208 | 2676922.0271 | 1220062.0077
27 | 2677599.7413 | 1220118.3711 | 2677600.2895 | 1220132.7983
28 | 2677501.4286 | 1220094.3572 | 2677499.1531 | 1220094.7668
29 | 2677600.4023 | 1220135.7684 | 2677600.2895 | 1220132.7983
30 | 2677180.5363 | 1220108.2041 | 2677175.9584 | 1220105.095 | 2677153.1196 | 1220095.1871
31 | 2677125.9497 | 1220084.7675 | 2677138.1539 | 1220088.6947 | 2677153.1196 | 1220095.1871
32 | 2677125.9497 | 1220084.7675 | 2677124.5325 | 1220102.205 | 2677121.3463 | 1220126.1573 | 2677122.9887 | 1220131.1707 | 2677126.056 | 1220132.8004
33 | 2677386.1698 | 1220113.9696 | 2677411.0915 | 1220110.6157 | 2677499.1531 | 1220094.7668
34 | 2677329.5061 | 1220123.2201 | 2677360.0853 | 1220117.48 | 2677386.1698 | 1220113.9696
35 | 2677354.5089 | 1220190.4221 | 2677329.5061 | 1220123.2201
36 | 2677126.056 | 1220132.8004 | 2677126.056 | 1220132.8004 | 2677146.1669 | 1220133.8058 | 2677151.2708 | 1220134.6169 | 2677155.7141 | 1220137.2206 | 2677158.8791 | 1220142.4317 | 2677156.7505 | 1220156.7913 | 2677154.1013 | 1220169.2685
37 | 2677600.4023 | 1220135.7684 | 2677600.8551 | 1220147.6844
38 | 2677354.5089 | 1220190.4221 | 2677244.8731 | 1220306.4203
39 | 2677154.1013 | 1220169.2685 | 2677189.4933 | 1220315.0276
40 | 2677600.8551 | 1220147.6844 | 2677601.266 | 1220158.4989 | 2677603.0037 | 1220199.8376 | 2677603.6557 | 1220209.5841
41 | 2677604.1834 | 1220217.4716 | 2677603.6557 | 1220209.5841
42 | 2677604.1834 | 1220217.4716 | 2677605.6964 | 1220240.088 | 2677612.8698 | 1220273.648 | 2677616.6176 | 1220288.0715
43 | 2677223.7166 | 1220310.6154 | 2677189.4933 | 1220315.0276
44 | 2677635.4762 | 1220361.9672 | 2677622.0534 | 1220308.9908 | 2677616.6176 | 1220288.0715
45 | 2677244.8731 | 1220306.4203 | 2677247.7321 | 1220343.982 | 2677244.782 | 1220342.8194
46 | 2677244.8731 | 1220306.4203 | 2677223.7166 | 1220310.6154
47 | 2677613.2785 | 1219975.318 | 2677612.5059 | 1219979.6598
48 | 2677616.9001 | 1219954.9661 | 2677613.2785 | 1219975.318
49 | 2677617.4526 | 1219951.861 | 2677616.9001 | 1219954.9661
50 | 2677669.8365 | 1219876.6628 | 2677670.0093 | 1219854.9163
51 | 2677672.4406 | 1219843.9864 | 2677670.0375 | 1219851.3599 | 2677670.0093 | 1219854.9163
52 | 2677669.8365 | 1219876.6628 | 2677674.2002 | 1219875.2729
53 | 2677669.8365 | 1219876.6628 | 2677647.474 | 1219883.5759 | 2677636.3543 | 1219884.9319 | 2677627.2786 | 1219884.9136
54 | 2677692.6755 | 1219869.3883 | 2677674.2002 | 1219875.2729
55 | 2677634.202 | 1219840.4746 | 2677630.5058 | 1219863.2192 | 2677627.7943 | 1219880.284 | 2677627.2786 | 1219884.9136
56 | 2677627.2786 | 1219884.9136 | 2677625.4171 | 1219897.8979 | 2677623.8478 | 1219910.756
57 | 2677710.2968 | 1219866.328 | 2677702.23 | 1219866.3451 | 2677692.6755 | 1219869.3883
58 | 2677634.202 | 1219840.4746 | 2677639.5328 | 1219813.4263 | 2677642.3329 | 1219803.5567
59 | 2677623.8478 | 1219910.756 | 2677623.0672 | 1219917.1511
60 | 2677642.3329 | 1219803.5567 | 2677643.5935 | 1219799.1131
61 | 2677617.5455 | 1219951.3394 | 2677621.8403 | 1219927.2039 | 2677623.0672 | 1219917.1511
62 | 2677635.4762 | 1220361.9672 | 2677640.1347 | 1220360.2602 | 2677642.327 | 1220356.2305
63 | 2677679.0578 | 1220317.4505 | 2677675.1938 | 1220301.8787 | 2677669.9055 | 1220293.6933 | 2677663.6499 | 1220289.8537 | 2677657.1329 | 1220289.7687 | 2677649.7591 | 1220293.1303 | 2677646.8367 | 1220298.4402 | 2677642.327 | 1220356.2305
64 | 2677665.1479 | 1219731.7065 | 2677662.0664 | 1219741.0503 | 2677649.6586 | 1219777.7349 | 2677643.5935 | 1219799.1131
65 | 2677670.8942 | 1219714.1254 | 2677667.4574 | 1219725.1101 | 2677665.1479 | 1219731.7065
66 | 2677665.1479 | 1219731.7065 | 2677653.3221 | 1219731.3188 | 2677613.5919 | 1219730.0266
67 | 2677129.1899 | 1219868.1491 | 2677128.1519 | 1219869.0657 | 2677117.2654 | 1219875.2604
68 | 2677141.8178 | 1219852.743 | 2677137.471 | 1219860.8365 | 2677129.1899 | 1219868.1491
69 | 2677141.8178 | 1219852.743 | 2677133.4858 | 1219845.6972
70 | 2677054.8444 | 1219799.4604 | 2677070.9511 | 1219807.9743 | 2677093.8555 | 1219819.5449 | 2677113.4533 | 1219832.1178 | 2677133.4858 | 1219845.6972
71 | 2677133.4858 | 1219845.6972 | 2677148.1425 | 1219839.594 | 2677176.5739 | 1219828.6995 | 2677208.2818 | 1219809.01
72 | 2677600.8304 | 1219729.6116 | 2677613.5919 | 1219730.0266
73 | 2677054.8444 | 1219799.4604 | 2677062.3546 | 1219785.5818 | 2677063.4489 | 1219783.3609
74 | 2677225.109 | 1219798.3863 | 2677210.0205 | 1219807.9303 | 2677208.2818 | 1219809.01
75 | 2677225.109 | 1219798.3863 | 2677240.2046 | 1219794.7351 | 2677254.5979 | 1219785.3006
76 | 2677243.7686 | 1219763.9389 | 2677231.932 | 1219781.9417 | 2677225.109 | 1219798.3863
77 | 2677670.8942 | 1219714.1254 | 2677682.9735 | 1219718.3524
78 | 2677670.8942 | 1219714.1254 | 2677676.9618 | 1219694.0247 | 2677678.9825 | 1219686.3015 | 2677680.9146 | 1219677.81 | 2677683.2352 | 1219663.9756 | 2677683.6732 | 1219658.3221 | 2677684.1938 | 1219650.9907
79 | 2677684.1938 | 1219650.9907 | 2677694.4374 | 1219651.091 | 2677697.7893 | 1219650.69
80 | 2677617.5455 | 1219951.3394 | 2677617.4526 | 1219951.861

## bus_geodata
| x | y | coords
0 | 2677606.1366 | 1220017.0859
1 | 2677608.3999 | 1220002.7343
2 | 2677603.5017 | 1220034.6469
3 | 2677608.503 | 1220002.1548
4 | 2677602.2678 | 1220042.8703
5 | 2677610.5226 | 1219990.8055
6 | 2677076.8254 | 1219919.1999
7 | 2677059.3498 | 1219958.416
8 | 2677107.2843 | 1219880.94
9 | 2677601.1967 | 1220050.0085
10 | 2677612.334 | 1219980.6259
11 | 2677598.9169 | 1220083.5977
12 | 2677332.3939 | 1220004.2906
13 | 2677322.4255 | 1220010.057
14 | 2677036.8968 | 1220004.7851
15 | 2677598.8757 | 1220085.6644
16 | 2677314.6076 | 1220014.7127
17 | 2677286.0054 | 1220033.5857
18 | 2677126.013 | 1220078.5706
19 | 2676923.2061 | 1220057.7391
20 | 2677314.6507 | 1220091.7803
21 | 2677598.9184 | 1220096.714
22 | 2676922.0271 | 1220062.0077
23 | 2676914.7638 | 1220087.8231
24 | 2677599.7413 | 1220118.3711
25 | 2677501.4286 | 1220094.3572
26 | 2677600.2895 | 1220132.7983
27 | 2677180.5363 | 1220108.2041
28 | 2677153.1196 | 1220095.1871
29 | 2677125.9497 | 1220084.7675
30 | 2677386.1698 | 1220113.9696
31 | 2677499.1531 | 1220094.7668
32 | 2677329.5061 | 1220123.2201
33 | 2677126.056 | 1220132.8004
34 | 2677600.4023 | 1220135.7684
35 | 2677354.5089 | 1220190.4221
36 | 2677154.1013 | 1220169.2685
37 | 2677600.8551 | 1220147.6844
38 | 2677603.6557 | 1220209.5841
39 | 2677604.1834 | 1220217.4716
40 | 2677189.4933 | 1220315.0276
41 | 2677616.6176 | 1220288.0715
42 | 2677244.8731 | 1220306.4203
43 | 2677612.5059 | 1219979.6598
44 | 2677613.2785 | 1219975.318
45 | 2677616.9001 | 1219954.9661
46 | 2677670.0093 | 1219854.9163
47 | 2677669.8365 | 1219876.6628
48 | 2677672.4406 | 1219843.9864
49 | 2677674.2002 | 1219875.2729
50 | 2677627.2786 | 1219884.9136
51 | 2677692.6755 | 1219869.3883
52 | 2677634.202 | 1219840.4746
53 | 2677623.8478 | 1219910.756
54 | 2677710.2968 | 1219866.328
55 | 2677642.3329 | 1219803.5567
56 | 2677623.0672 | 1219917.1511
57 | 2677635.4762 | 1220361.9672
58 | 2677223.7166 | 1220310.6154
59 | 2677244.782 | 1220342.8194
60 | 2677642.327 | 1220356.2305
61 | 2677679.0578 | 1220317.4505
62 | 2677643.5935 | 1219799.1131
63 | 2677665.1479 | 1219731.7065
64 | 2677129.1898 | 1219868.1491
65 | 2677117.2654 | 1219875.2604
66 | 2677141.8178 | 1219852.743
67 | 2677133.4858 | 1219845.6972
68 | 2677600.8304 | 1219729.6116
69 | 2677613.5919 | 1219730.0266
70 | 2677054.8444 | 1219799.4604
71 | 2677208.2818 | 1219809.01
72 | 2677063.4489 | 1219783.3609
73 | 2677225.109 | 1219798.3863
74 | 2677254.5979 | 1219785.3006
75 | 2677243.7686 | 1219763.9389
76 | 2677670.8942 | 1219714.1254
77 | 2677682.9735 | 1219718.3524
78 | 2677684.1938 | 1219650.9907
79 | 2677617.5455 | 1219951.3394
80 | 2677617.4526 | 1219951.861
81 | 2677697.7893 | 1219650.69
82 | 2677627.2786 | 1219884.9136

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99855 | -0.027711 | 0.00062261 | 0.00015604
1 | 0.99932 | -0.013057 | 0.0016107 | 0.00040369
2 | 0.99763 | -0.045458 | 0.0026902 | 0.00067424
3 | 0.99935 | -0.012447 | 0.0025591 | 0.00064137
4 | 0.99721 | -0.053387 | 0.0010196 | 0.00025554
5 | 1 | 0 | -0.12273 | -0.030578
6 | 0.9871 | -0.24979 | 0.00020456 | 5.1267e-05
7 | 0.98717 | -0.24829 | 0.00037208 | 9.3251e-05
8 | 0.98702 | -0.25135 | 0.00018258 | 4.576e-05
9 | 0.99686 | -0.060146 | 0.0026015 | 0.00065201
10 | 0.99945 | -0.01056 | 0.0022318 | 0.00055935
11 | 0.9953 | -0.090252 | 0.002893 | 0.00072506
12 | 0.9908 | -0.17734 | 0.0015024 | 0.00037654
13 | 0.99082 | -0.17703 | 0.00040036 | 0.00010034
14 | 0.98728 | -0.24616 | 0 | 0
15 | 0.99521 | -0.091994 | 0.0038012 | 0.00095268
16 | 0.99083 | -0.17672 | 0.00033363 | 8.3616e-05
17 | 0.9909 | -0.17536 | 0 | 0
18 | 0.98763 | -0.23932 | 0.0001889 | 4.7344e-05
19 | 0.98719 | -0.24797 | 0.00019774 | 4.9558e-05
20 | 0.99104 | -0.17278 | 0.00040905 | 0.00010252
21 | 0.99476 | -0.10058 | 0.0008554 | 0.00021438
22 | 0.98719 | -0.24802 | 0.0002564 | 6.426e-05
23 | 0.98718 | -0.24819 | 0.00035312 | 8.8501e-05
24 | 0.99425 | -0.11043 | 0.0012747 | 0.00031947
25 | 0.99321 | -0.13062 | 0.0019832 | 0.00049703
26 | 0.99393 | -0.11667 | 0.002876 | 0.00072079
27 | 0.98763 | -0.23939 | 0.00031681 | 7.9401e-05
28 | 0.98763 | -0.23922 | 0.0001918 | 4.807e-05
29 | 0.98765 | -0.23895 | 0 | 0
30 | 0.99176 | -0.15876 | 0.0013911 | 0.00034864
31 | 0.99318 | -0.13125 | 0.001915 | 0.00047995
32 | 0.99112 | -0.17115 | 0 | 0
33 | 0.98782 | -0.2355 | 0.00079515 | 0.00019928
34 | 0.99387 | -0.11781 | 0.0054057 | 0.0013548
35 | 0.9905 | -0.18326 | 0 | 0
36 | 0.98809 | -0.23021 | 0.00025962 | 6.5066e-05
37 | 0.99369 | -0.12122 | 0.0018827 | 0.00047184
38 | 0.99288 | -0.13693 | 0.0023814 | 0.00059683
39 | 0.9928 | -0.1386 | 0.0031418 | 0.0007874
40 | 0.98876 | -0.21711 | 0.0019593 | 0.00049105
41 | 0.99222 | -0.14983 | 0.0025858 | 0.00064805
42 | 0.98911 | -0.21026 | 0 | 0
43 | 0.9994 | -0.011525 | 0.0014296 | 0.0003583
44 | 0.99918 | -0.015751 | 0.0019225 | 0.00048183
45 | 0.99818 | -0.034892 | 0.0018982 | 0.00047574
46 | 0.99455 | -0.10473 | 0.0018461 | 0.00046268
47 | 0.99461 | -0.10358 | 0 | 0
48 | 0.99453 | -0.10496 | 0.0011553 | 0.00028954
49 | 0.99454 | -0.10479 | 0.0015481 | 0.000388
50 | 0.99532 | -0.089701 | 0 | 0
51 | 0.9943 | -0.10942 | 0.00087056 | 0.00021818
52 | 0.99437 | -0.10802 | 0 | 0
53 | 0.99631 | -0.070819 | 0.0015906 | 0.00039864
54 | 0.99409 | -0.11346 | 0.012665 | 0.0031742
55 | 0.99357 | -0.12344 | 0.00047479 | 0.00011899
56 | 0.99656 | -0.065979 | 0.0030426 | 0.00076254
57 | 0.99178 | -0.15825 | 0 | 0
58 | 0.98898 | -0.21289 | 0 | 0
59 | 0.98901 | -0.21218 | 0.0026448 | 0.00066286
60 | 0.99173 | -0.1593 | 0.0011513 | 0.00028855
61 | 0.99121 | -0.16937 | 0.0050788 | 0.0012729
62 | 0.99348 | -0.12529 | 0.00087523 | 0.00021935
63 | 0.99207 | -0.15253 | 0 | 0
64 | 0.98698 | -0.25198 | 0.00026289 | 6.5885e-05
65 | 0.987 | -0.25167 | 0.00032882 | 8.2411e-05
66 | 0.98697 | -0.25233 | 0 | 0
67 | 0.98696 | -0.25251 | 0 | 0
68 | 0.99194 | -0.15502 | 0.001418 | 0.0003554
69 | 0.99196 | -0.1547 | 0.00095184 | 0.00023855
70 | 0.98695 | -0.25268 | 0 | 0
71 | 0.98689 | -0.2538 | 0.00017323 | 4.3415e-05
72 | 0.98695 | -0.25271 | 9.7719e-05 | 2.4491e-05
73 | 0.98688 | -0.25405 | 0 | 0
74 | 0.98687 | -0.25429 | 0.00041194 | 0.00010324
75 | 0.98687 | -0.25424 | 0.00027079 | 6.7867e-05
76 | 0.99174 | -0.15888 | 0 | 0
77 | 0.99164 | -0.16085 | 0.0087057 | 0.0021819
78 | 0.99111 | -0.17115 | 0 | 0
79 | 0.99801 | -0.038149 | 0.0014508 | 0.0003636
80 | 0.99803 | -0.037711 | 0.0037916 | 0.00095026
81 | 0.99098 | -0.17372 | 0.010681 | 0.0026769
82 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.057969 | -0.014617 | 0.05801 | 0.014643 | 4.069e-05 | 2.5851e-05 | 0.086416 | 0.086416 | 0.086416 | 0.99855 | -0.027711 | 0.99932 | -0.013057 | 23.7406
1 | 0.057347 | 0.014461 | -0.057298 | -0.01443 | 4.8666e-05 | 3.0914e-05 | 0.085488 | 0.085488 | 0.085488 | 0.99855 | -0.027711 | 0.99763 | -0.045458 | 23.4857
2 | -0.059621 | -0.015047 | 0.059623 | 0.015048 | 1.741e-06 | 1.1065e-06 | 0.088814 | 0.088814 | 0.088814 | 0.99932 | -0.013057 | 0.99935 | -0.012447 | 24.3995
3 | 0.054608 | 0.013756 | -0.054587 | -0.013743 | 2.07e-05 | 1.3139e-05 | 0.081475 | 0.081475 | 0.081475 | 0.99763 | -0.045458 | 0.99721 | -0.053387 | 22.3834
4 | -0.062182 | -0.015689 | 0.062219 | 0.015713 | 3.7087e-05 | 2.3585e-05 | 0.092625 | 0.092625 | 0.092625 | 0.99935 | -0.012447 | 1 | 0 | 25.4463
5 | 0.053568 | 0.013487 | -0.05355 | -0.013476 | 1.7303e-05 | 1.098e-05 | 0.079954 | 0.079954 | 0.079954 | 0.99721 | -0.053387 | 0.99686 | -0.060146 | 21.9654
6 | 0.058859 | 0.014865 | -0.058829 | -0.014846 | 2.9769e-05 | 1.8917e-05 | 0.087623 | 0.087623 | 0.087623 | 1 | 0 | 0.99945 | -0.01056 | 24.0723
7 | -0.0019328 | -0.00047949 | 0.0019329 | 0.00047903 | 1.365e-07 | -4.615e-07 | 0.0029119 | 0.0029117 | 0.0029119 | 0.9871 | -0.24979 | 0.98717 | -0.24829 | 0.79997
8 | 0.0017282 | 0.00042823 | -0.0017281 | -0.00042879 | 1.2772e-07 | -5.6045e-07 | 0.0026035 | 0.0026037 | 0.0026037 | 0.9871 | -0.24979 | 0.98702 | -0.25135 | 0.71531
9 | -0.002305 | -0.00057228 | 0.0023052 | 0.00057177 | 2.3306e-07 | -5.0988e-07 | 0.0034725 | 0.0034723 | 0.0034725 | 0.98717 | -0.24829 | 0.98728 | -0.24616 | 0.95399
10 | 0.0015455 | 0.00038303 | -0.0015455 | -0.00038316 | 2.3349e-08 | -1.3183e-07 | 0.0023285 | 0.0023285 | 0.0023285 | 0.98702 | -0.25135 | 0.987 | -0.25167 | 0.63971
11 | 0.050949 | 0.012824 | -0.050876 | -0.012778 | 7.32e-05 | 4.6409e-05 | 0.076071 | 0.076071 | 0.076071 | 0.99686 | -0.060146 | 0.9953 | -0.090252 | 20.8986
12 | 0.056597 | 0.014286 | -0.056595 | -0.014285 | 2.6152e-06 | 1.6609e-06 | 0.0843 | 0.0843 | 0.0843 | 0.99945 | -0.01056 | 0.9994 | -0.011525 | 23.1594
13 | 0.047982 | 0.012053 | -0.047979 | -0.01205 | 3.9902e-06 | 2.5269e-06 | 0.071746 | 0.071746 | 0.071746 | 0.9953 | -0.090252 | 0.99521 | -0.091994 | 19.7104
14 | -0.0015024 | -0.00037654 | 0.0015024 | 0.0003764 | 2.1986e-08 | -1.3425e-07 | 0.0022564 | 0.0022563 | 0.0022564 | 0.9908 | -0.17734 | 0.99082 | -0.17703 | 0.61988
15 | -0.0019028 | -0.00047674 | 0.0019028 | 0.00047664 | 2.7871e-08 | -9.9392e-08 | 0.0028576 | 0.0028575 | 0.0028576 | 0.99082 | -0.17703 | 0.99083 | -0.17672 | 0.78505
16 | -0.0031126 | -0.00077213 | 0.0031136 | 0.00077122 | 1.0056e-06 | -9.1717e-07 | 0.0046884 | 0.0046879 | 0.0046884 | 0.98728 | -0.24616 | 0.98763 | -0.23932 | 1.288
17 | 0.00080734 | 0.00020036 | -0.00080727 | -0.00020192 | 6.9588e-08 | -1.5591e-06 | 0.0012161 | 0.0012167 | 0.0012167 | 0.98728 | -0.24616 | 0.98719 | -0.24797 | 0.33425
18 | 0.044177 | 0.011098 | -0.044159 | -0.011086 | 1.8091e-05 | 1.1435e-05 | 0.066062 | 0.066062 | 0.066062 | 0.99521 | -0.091994 | 0.99476 | -0.10058 | 18.149
19 | -0.0022365 | -0.00056026 | 0.0022366 | 0.00055991 | 1.4495e-07 | -3.4863e-07 | 0.0033586 | 0.0033584 | 0.0033586 | 0.99083 | -0.17672 | 0.9909 | -0.17536 | 0.92269
20 | -0.0022366 | -0.00055991 | 0.0022369 | 0.00055925 | 2.7433e-07 | -6.6011e-07 | 0.0033584 | 0.0033581 | 0.0033584 | 0.9909 | -0.17536 | 0.99104 | -0.17278 | 0.92264
21 | -0.0033025 | -0.00081856 | 0.0033025 | 0.00081852 | 5.746e-08 | -4.253e-08 | 0.0049725 | 0.0049724 | 0.0049725 | 0.98763 | -0.23932 | 0.98765 | -0.23895 | 1.3661
22 | 0.00060953 | 0.00015236 | -0.00060953 | -0.00015242 | 1.4014e-09 | -5.5721e-08 | 0.00091861 | 0.00091863 | 0.00091863 | 0.98719 | -0.24797 | 0.98719 | -0.24802 | 0.25237
23 | -0.0026459 | -0.00066177 | 0.0026461 | 0.00066145 | 2.0575e-07 | -3.1641e-07 | 0.0039723 | 0.0039722 | 0.0039723 | 0.99104 | -0.17278 | 0.99112 | -0.17115 | 1.0913
24 | 0.025823 | 0.0064843 | -0.025811 | -0.0064768 | 1.2129e-05 | 7.4815e-06 | 0.038632 | 0.038632 | 0.038632 | 0.99476 | -0.10058 | 0.99425 | -0.11043 | 10.6132
25 | 0.017481 | 0.0043876 | -0.017456 | -0.0043728 | 2.5009e-05 | 1.4742e-05 | 0.026151 | 0.026151 | 0.026151 | 0.99476 | -0.10058 | 0.99321 | -0.13062 | 7.1844
26 | 0.00035313 | 8.8159e-05 | -0.00035312 | -8.85e-05 | 2.8486e-09 | -3.4105e-07 | 0.00053216 | 0.00053228 | 0.00053228 | 0.98719 | -0.24802 | 0.98718 | -0.24819 | 0.14623
27 | 0.024536 | 0.0061573 | -0.024529 | -0.0061529 | 7.3018e-06 | 4.486e-06 | 0.036724 | 0.036724 | 0.036724 | 0.99425 | -0.11043 | 0.99393 | -0.11667 | 10.0891
28 | 0.015473 | 0.0038758 | -0.015472 | -0.0038755 | 4.6586e-07 | 2.6823e-07 | 0.02318 | 0.02318 | 0.02318 | 0.99321 | -0.13062 | 0.99318 | -0.13125 | 6.3682
29 | 0.021653 | 0.0054321 | -0.021652 | -0.0054314 | 1.1714e-06 | 7.1119e-07 | 0.032419 | 0.032419 | 0.032419 | 0.99393 | -0.11667 | 0.99387 | -0.11781 | 8.9062
30 | -0.00031681 | -7.94e-05 | 0.00031682 | 7.9013e-05 | 2.5992e-09 | -3.8773e-07 | 0.00047733 | 0.00047719 | 0.00047733 | 0.98763 | -0.23939 | 0.98763 | -0.23922 | 0.13113
31 | -0.00050862 | -0.00012708 | 0.00050862 | 0.00012671 | 6.4121e-09 | -3.6872e-07 | 0.00076617 | 0.00076603 | 0.00076617 | 0.98763 | -0.23922 | 0.98765 | -0.23895 | 0.21049
32 | -0.0038112 | -0.00094523 | 0.0038118 | 0.00094498 | 6.2244e-07 | -2.4682e-07 | 0.0057385 | 0.0057383 | 0.0057385 | 0.98765 | -0.23895 | 0.98782 | -0.2355 | 1.5765
33 | -0.013539 | -0.0033857 | 0.013557 | 0.0033956 | 1.7733e-05 | 9.8677e-06 | 0.020311 | 0.020311 | 0.020311 | 0.99176 | -0.15876 | 0.99318 | -0.13125 | 5.5801
34 | 0.012148 | 0.0030371 | -0.012141 | -0.0030333 | 7.1532e-06 | 3.8374e-06 | 0.018224 | 0.018225 | 0.018225 | 0.99176 | -0.15876 | 0.99112 | -0.17115 | 5.0068
35 | 0.0094949 | 0.0023718 | -0.0094895 | -0.0023692 | 5.4608e-06 | 2.5717e-06 | 0.014252 | 0.014253 | 0.014253 | 0.99112 | -0.17115 | 0.9905 | -0.18326 | 3.9156
36 | -0.0046069 | -0.0011443 | 0.0046081 | 0.0011442 | 1.1514e-06 | -8.0398e-08 | 0.006936 | 0.0069357 | 0.006936 | 0.98782 | -0.2355 | 0.98809 | -0.23021 | 1.9055
37 | 0.016246 | 0.0040766 | -0.016243 | -0.004075 | 2.646e-06 | 1.5389e-06 | 0.024325 | 0.024325 | 0.024325 | 0.99387 | -0.11781 | 0.99369 | -0.12122 | 6.6828
38 | 0.0094895 | 0.0023692 | -0.0094773 | -0.0023635 | 1.2159e-05 | 5.7305e-06 | 0.014253 | 0.014253 | 0.014253 | 0.9905 | -0.18326 | 0.98911 | -0.21026 | 3.9158
39 | -0.0048677 | -0.0012093 | 0.0048707 | 0.0012093 | 3.0191e-06 | 9.7098e-09 | 0.0073267 | 0.007326 | 0.0073267 | 0.98809 | -0.23021 | 0.98876 | -0.21711 | 2.0128
40 | 0.014361 | 0.0036032 | -0.01435 | -0.0035971 | 1.0748e-05 | 6.0764e-06 | 0.021506 | 0.021506 | 0.021506 | 0.99369 | -0.12122 | 0.99288 | -0.13693 | 5.9083
41 | 0.011969 | 0.0030003 | -0.011968 | -0.0029998 | 9.5381e-07 | 5.0821e-07 | 0.017937 | 0.017937 | 0.017937 | 0.99288 | -0.13693 | 0.9928 | -0.1386 | 4.9279
42 | 0.0088259 | 0.0022124 | -0.0088212 | -0.0022103 | 4.7176e-06 | 2.0902e-06 | 0.013229 | 0.013229 | 0.013229 | 0.9928 | -0.1386 | 0.99222 | -0.14983 | 3.6343
43 | -0.00683 | -0.0017003 | 0.0068314 | 0.0017007 | 1.366e-06 | 4.3158e-07 | 0.010275 | 0.010274 | 0.010275 | 0.98876 | -0.21711 | 0.98898 | -0.21289 | 2.8227
44 | 0.0062354 | 0.0015622 | -0.0062329 | -0.0015616 | 2.5009e-06 | 6.1596e-07 | 0.009351 | 0.0093514 | 0.0093514 | 0.99222 | -0.14983 | 0.99178 | -0.15825 | 2.5691
45 | 0.0026451 | 0.00066249 | -0.0026448 | -0.00066286 | 2.425e-07 | -3.6895e-07 | 0.0039791 | 0.0039793 | 0.0039793 | 0.98911 | -0.21026 | 0.98901 | -0.21218 | 1.0932
46 | 0.0068322 | 0.001701 | -0.0068314 | -0.0017007 | 8.5143e-07 | 2.6889e-07 | 0.010274 | 0.010274 | 0.010274 | 0.98911 | -0.21026 | 0.98898 | -0.21289 | 2.8227
47 | 0.055165 | 0.013926 | -0.055154 | -0.013919 | 1.1166e-05 | 7.0887e-06 | 0.082172 | 0.082172 | 0.082172 | 0.9994 | -0.011525 | 0.99918 | -0.015751 | 22.5747
48 | 0.053232 | 0.013438 | -0.053183 | -0.013407 | 4.8758e-05 | 3.0935e-05 | 0.079309 | 0.079309 | 0.079309 | 0.99918 | -0.015751 | 0.99818 | -0.034892 | 21.7881
49 | 0.051285 | 0.012931 | -0.051278 | -0.012926 | 6.9178e-06 | 4.3861e-06 | 0.076479 | 0.076479 | 0.076479 | 0.99818 | -0.034892 | 0.99803 | -0.037711 | 21.0107
50 | -0.0030014 | -0.00075208 | 0.0030016 | 0.00075191 | 1.6445e-07 | -1.7697e-07 | 0.0044906 | 0.0044905 | 0.0044906 | 0.99455 | -0.10473 | 0.99461 | -0.10358 | 1.2337
51 | 0.0011553 | 0.0002894 | -0.0011553 | -0.00028954 | 1.2674e-08 | -1.3868e-07 | 0.0017285 | 0.0017285 | 0.0017285 | 0.99455 | -0.10473 | 0.99453 | -0.10496 | 0.47487
52 | 0.01509 | 0.0037839 | -0.015089 | -0.0037834 | 8.7541e-07 | 5.0083e-07 | 0.022577 | 0.022577 | 0.022577 | 0.99461 | -0.10358 | 0.99454 | -0.10479 | 6.2025
53 | -0.018092 | -0.0045358 | 0.018104 | 0.0045429 | 1.1969e-05 | 7.0943e-06 | 0.027067 | 0.027067 | 0.027067 | 0.99461 | -0.10358 | 0.99532 | -0.089701 | 7.4361
54 | 0.013541 | 0.0033954 | -0.013538 | -0.0033937 | 2.9848e-06 | 1.6587e-06 | 0.020261 | 0.020261 | 0.020261 | 0.99454 | -0.10479 | 0.9943 | -0.10942 | 5.5662
55 | 0.023189 | 0.0058394 | -0.023169 | -0.005827 | 2.0286e-05 | 1.2399e-05 | 0.034677 | 0.034677 | 0.034677 | 0.99532 | -0.089701 | 0.99437 | -0.10802 | 9.5268
56 | -0.041293 | -0.010382 | 0.04133 | 0.010406 | 3.7272e-05 | 2.3515e-05 | 0.061745 | 0.061744 | 0.061745 | 0.99532 | -0.089701 | 0.99631 | -0.070819 | 16.9628
57 | 0.012668 | 0.0031755 | -0.012665 | -0.0031742 | 2.4387e-06 | 1.3261e-06 | 0.018958 | 0.018958 | 0.018958 | 0.9943 | -0.10942 | 0.99409 | -0.11346 | 5.2083
58 | 0.023169 | 0.005827 | -0.023152 | -0.0058165 | 1.7058e-05 | 1.0427e-05 | 0.034677 | 0.034678 | 0.034678 | 0.99437 | -0.10802 | 0.99357 | -0.12344 | 9.5268
59 | -0.042921 | -0.010804 | 0.04293 | 0.010811 | 9.933e-06 | 6.2732e-06 | 0.06412 | 0.06412 | 0.06412 | 0.99631 | -0.070819 | 0.99656 | -0.065979 | 17.6154
60 | 0.022677 | 0.0056975 | -0.022675 | -0.0056963 | 1.9984e-06 | 1.2192e-06 | 0.033967 | 0.033967 | 0.033967 | 0.99357 | -0.12344 | 0.99348 | -0.12529 | 9.3315
61 | -0.045973 | -0.011573 | 0.046034 | 0.011612 | 6.1246e-05 | 3.8746e-05 | 0.068663 | 0.068663 | 0.068663 | 0.99656 | -0.065979 | 0.99801 | -0.038149 | 18.8635
62 | 0.0062329 | 0.0015616 | -0.0062326 | -0.0015615 | 3.1314e-07 | 7.7191e-08 | 0.0093514 | 0.0093514 | 0.0093514 | 0.99178 | -0.15825 | 0.99173 | -0.1593 | 2.5691
63 | 0.0050813 | 0.001273 | -0.0050788 | -0.0012729 | 2.4365e-06 | 1.1785e-07 | 0.0076239 | 0.0076244 | 0.0076244 | 0.99173 | -0.1593 | 0.99121 | -0.16937 | 2.0946
64 | 0.0218 | 0.005477 | -0.021771 | -0.0054598 | 2.8308e-05 | 1.7202e-05 | 0.032656 | 0.032656 | 0.032656 | 0.99348 | -0.12529 | 0.99207 | -0.15253 | 8.9714
65 | 0.019401 | 0.0048665 | -0.019395 | -0.004863 | 5.8743e-06 | 3.5208e-06 | 0.029101 | 0.029101 | 0.029101 | 0.99207 | -0.15253 | 0.99174 | -0.15888 | 7.9949
66 | 0.0023701 | 0.00059329 | -0.0023699 | -0.0005938 | 2.4445e-07 | -5.0952e-07 | 0.0035548 | 0.003555 | 0.003555 | 0.99207 | -0.15253 | 0.99196 | -0.1547 | 0.97664
67 | -0.0012167 | -0.00030092 | 0.0012167 | 0.00030075 | 1.7523e-08 | -1.6656e-07 | 0.0018329 | 0.0018328 | 0.0018329 | 0.98698 | -0.25198 | 0.987 | -0.25167 | 0.50353
68 | 0.00095377 | 0.00023503 | -0.00095375 | -0.00023528 | 1.566e-08 | -2.4857e-07 | 0.0014365 | 0.0014366 | 0.0014366 | 0.98698 | -0.25198 | 0.98697 | -0.25233 | 0.39467
69 | 0.00095375 | 0.00023528 | -0.00095374 | -0.00023541 | 8.4317e-09 | -1.3382e-07 | 0.0014366 | 0.0014367 | 0.0014367 | 0.98697 | -0.25233 | 0.98696 | -0.25251 | 0.39469
70 | 9.772e-05 | 2.3093e-05 | -9.7719e-05 | -2.4257e-05 | 7.3921e-10 | -1.1646e-06 | 0.00014685 | 0.00014725 | 0.00014725 | 0.98696 | -0.25251 | 0.98695 | -0.25268 | 0.040453
71 | 0.00085602 | 0.00021232 | -0.00085597 | -0.00021336 | 5.22e-08 | -1.0355e-06 | 0.0012898 | 0.0012902 | 0.0012902 | 0.98696 | -0.25251 | 0.98689 | -0.2538 | 0.35445
72 | -0.001418 | -0.00035539 | 0.0014181 | 0.00035524 | 2.1666e-08 | -1.5096e-07 | 0.0021272 | 0.0021272 | 0.0021272 | 0.99194 | -0.15502 | 0.99196 | -0.1547 | 0.5844
73 | 9.7719e-05 | 2.4257e-05 | -9.7719e-05 | -2.4491e-05 | 1.4852e-10 | -2.332e-07 | 0.00014725 | 0.00014733 | 0.00014733 | 0.98695 | -0.25268 | 0.98695 | -0.25271 | 0.040475
74 | 0.00068274 | 0.00016994 | -0.00068274 | -0.00017019 | 7.9026e-09 | -2.4922e-07 | 0.001029 | 0.0010291 | 0.0010291 | 0.98689 | -0.2538 | 0.98688 | -0.25405 | 0.28272
75 | 0.00041194 | 0.00010283 | -0.00041194 | -0.00010324 | 4.7356e-09 | -4.153e-07 | 0.00062098 | 0.00062113 | 0.00062113 | 0.98688 | -0.25405 | 0.98687 | -0.25429 | 0.17064
76 | 0.00027079 | 6.7365e-05 | -0.00027079 | -6.7866e-05 | 2.4576e-09 | -5.0094e-07 | 0.00040812 | 0.0004083 | 0.0004083 | 0.98688 | -0.25405 | 0.98687 | -0.25424 | 0.11217
77 | 0.0087065 | 0.0021822 | -0.0087057 | -0.0021819 | 8.1683e-07 | 3.5809e-07 | 0.013063 | 0.013063 | 0.013063 | 0.99174 | -0.15888 | 0.99164 | -0.16085 | 3.5889
78 | 0.010689 | 0.0026808 | -0.010682 | -0.0026776 | 6.2444e-06 | 3.1616e-06 | 0.016038 | 0.016038 | 0.016038 | 0.99174 | -0.15888 | 0.99111 | -0.17115 | 4.4061
79 | 0.010682 | 0.0026776 | -0.010681 | -0.0026769 | 1.3099e-06 | 6.6338e-07 | 0.016038 | 0.016038 | 0.016038 | 0.99111 | -0.17115 | 0.99098 | -0.17372 | 4.4061
80 | -0.047485 | -0.011976 | 0.047486 | 0.011976 | 9.9661e-07 | 6.3091e-07 | 0.070826 | 0.070826 | 0.070826 | 0.99801 | -0.038149 | 0.99803 | -0.037711 | 19.4577

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.12535 | 0.031234

## res_load
| p_mw | q_mvar
0 | 0.00062261 | 0.00015604
1 | 0.0016107 | 0.00040369
2 | 0.0026902 | 0.00067424
3 | 0.0025591 | 0.00064137
4 | 0.0010196 | 0.00025554
5 | 0.0026201 | 0.00065667
6 | 0.00020456 | 5.1267e-05
7 | 0.00037208 | 9.3251e-05
8 | 0.00018258 | 4.576e-05
9 | 0.0026015 | 0.00065201
10 | 0.0022318 | 0.00055935
11 | 0.002893 | 0.00072506
12 | 0.0015024 | 0.00037654
13 | 0.00040036 | 0.00010034
14 | 0.0038012 | 0.00095268
15 | 0.00033363 | 8.3616e-05
16 | 0.0001889 | 4.7344e-05
17 | 0.00019774 | 4.9558e-05
18 | 0.00040905 | 0.00010252
19 | 0.0008554 | 0.00021438
20 | 0.0002564 | 6.426e-05
21 | 0.00035312 | 8.8501e-05
22 | 0.0012747 | 0.00031947
23 | 0.0019832 | 0.00049703
24 | 0.002876 | 0.00072079
25 | 0.00031681 | 7.9401e-05
26 | 0.0001918 | 4.807e-05
27 | 0.0013911 | 0.00034864
28 | 0.001915 | 0.00047995
29 | 0.00079515 | 0.00019928
30 | 0.0054057 | 0.0013548
31 | 0.00025962 | 6.5066e-05
32 | 0.0018827 | 0.00047184
33 | 0.0023814 | 0.00059683
34 | 0.0031418 | 0.0007874
35 | 0.0019593 | 0.00049105
36 | 0.0025858 | 0.00064805
37 | 0.0014296 | 0.0003583
38 | 0.0019225 | 0.00048183
39 | 0.0018982 | 0.00047574
40 | 0.0018461 | 0.00046268
41 | 0.0011553 | 0.00028954
42 | 0.0015481 | 0.000388
43 | 0.00087056 | 0.00021818
44 | 0.0015906 | 0.00039864
45 | 0.012665 | 0.0031742
46 | 0.00047479 | 0.00011899
47 | 0.0030426 | 0.00076254
48 | 0.0026448 | 0.00066286
49 | 0.0011513 | 0.00028855
50 | 0.0050788 | 0.0012729
51 | 0.00087523 | 0.00021935
52 | 0.00026289 | 6.5885e-05
53 | 0.00032882 | 8.2411e-05
54 | 0.001418 | 0.0003554
55 | 0.00095184 | 0.00023855
56 | 0.00017323 | 4.3415e-05
57 | 9.7719e-05 | 2.4491e-05
58 | 0.00041194 | 0.00010324
59 | 0.00027079 | 6.7867e-05
60 | 0.0087057 | 0.0021819
61 | 0.0014508 | 0.0003636
62 | 0.0037916 | 0.00095026
63 | 0.010681 | 0.0026769

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1