## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1707-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1707-5_0_3_node_59 | 0.4 | n |  | TRUE
2 | bus_LV_1707-5_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1707-5_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1707-5_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1707-5_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1707-5_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1707-5_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1707-5_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1707-5_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1707-5_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1707-5_0_3_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_1707-5_0_3_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_1707-5_0_3_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_1707-5_0_3_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_1707-5_0_3_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_1707-5_0_3_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_1707-5_0_3_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_1707-5_0_3_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_1707-5_0_3_node_93 | 0.4 | n |  | TRUE
20 | bus_LV_1707-5_0_3_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_1707-5_0_3_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_1707-5_0_3_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_1707-5_0_3_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_1707-5_0_3_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_1707-5_0_3_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_1707-5_0_3_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_1707-5_0_3_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_1707-5_0_3_node_106 | 0.4 | n |  | TRUE
29 | bus_LV_1707-5_0_3_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_1707-5_0_3_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_1707-5_0_3_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_1707-5_0_3_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_1707-5_0_3_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_1707-5_0_3_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_1707-5_0_3_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_1707-5_0_3_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_1707-5_0_3_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_1707-5_0_3_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_1707-5_0_3_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_1707-5_0_3_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_1707-5_0_3_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_1707-5_0_3_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_1707-5_0_3_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_1707-5_0_3_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_1707-5_0_3_node_105 | 0.4 | n |  | TRUE
46 | bus_LV_1707-5_0_3_node_104 | 0.4 | n |  | TRUE
47 | bus_MV_0_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1707-5_0_3_load_0 | 0 | 0.0030836 | 0.00077283 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1707-5_0_3_load_59 | 1 | 0.0019141 | 0.00047971 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1707-5_0_3_load_4 | 2 | 0.001506 | 0.00037743 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1707-5_0_3_load_5 | 3 | 0.010314 | 0.0025848 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1707-5_0_3_load_12 | 6 | 0.0073851 | 0.0018509 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1707-5_0_3_load_8 | 7 | 0.013186 | 0.0033048 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1707-5_0_3_load_13 | 8 | 0.0055299 | 0.0013859 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1707-5_0_3_load_14 | 9 | 0.012347 | 0.0030945 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1707-5_0_3_load_74 | 11 | 0.0046361 | 0.0011619 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1707-5_0_3_load_84 | 12 | 0.0026069 | 0.00065334 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1707-5_0_3_load_71 | 13 | 0.019084 | 0.0047828 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1707-5_0_3_load_57 | 14 | 0.012525 | 0.0031389 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1707-5_0_3_load_58 | 15 | 0.0019716 | 0.00049412 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1707-5_0_3_load_69 | 20 | 0.017823 | 0.0044669 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1707-5_0_3_load_63 | 22 | 0.019087 | 0.0047836 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1707-5_0_3_load_64 | 23 | 0.012889 | 0.0032304 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1707-5_0_3_load_66 | 25 | 0.012889 | 0.0032304 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1707-5_0_3_load_67 | 26 | 0.017823 | 0.004467 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1707-5_0_3_load_70 | 27 | 0.0086371 | 0.0021647 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1707-5_0_3_load_106 | 28 | 0.020581 | 0.0051581 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1707-5_0_3_load_73 | 30 | 0.0038699 | 0.00096988 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1707-5_0_3_load_75 | 31 | 0.0022346 | 0.00056005 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1707-5_0_3_load_76 | 32 | 0.0021806 | 0.00054652 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1707-5_0_3_load_77 | 33 | 0.0016974 | 0.0004254 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1707-5_0_3_load_78 | 34 | 0.0022547 | 0.00056507 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1707-5_0_3_load_79 | 35 | 0.0018278 | 0.00045809 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1707-5_0_3_load_82 | 36 | 0.0020328 | 0.00050948 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1707-5_0_3_load_81 | 37 | 0.0021838 | 0.00054732 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1707-5_0_3_load_87 | 38 | 0.001797 | 0.00045038 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1707-5_0_3_load_83 | 39 | 0.0051328 | 0.0012864 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1707-5_0_3_load_88 | 40 | 0.003205 | 0.00080325 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1707-5_0_3_load_89 | 41 | 0.0022846 | 0.00057258 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1707-5_0_3_load_90 | 42 | 0.0028158 | 0.00070571 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1707-5_0_3_load_91 | 43 | 0.0020183 | 0.00050583 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1707-5_0_3_load_92 | 44 | 0.0045849 | 0.0011491 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1707-5_0_3_load_105 | 45 | 0.017815 | 0.0044649 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1707-5_0_3_load_104 | 46 | 0.0090661 | 0.0022722 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1707-5_0_3_line_0 |  | 0 | 1 | 0.029811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1707-5_0_3_line_1 |  | 1 | 2 | 0.034998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1707-5_0_3_line_2 |  | 1 | 14 | 0.048319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1707-5_0_3_line_3 |  | 3 | 4 | 0.040823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1707-5_0_3_line_4 |  | 4 | 5 | 0.018784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1707-5_0_3_line_5 |  | 4 | 6 | 0.002966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1707-5_0_3_line_6 |  | 5 | 9 | 0.005834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1707-5_0_3_line_7 |  | 5 | 10 | 0.050581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1707-5_0_3_line_8 |  | 7 | 8 | 0.032817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1707-5_0_3_line_9 |  | 8 | 11 | 0.024308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1707-5_0_3_line_10 |  | 8 | 12 | 0.039235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1707-5_0_3_line_11 |  | 10 | 13 | 0.051939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1707-5_0_3_line_12 |  | 11 | 29 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1707-5_0_3_line_13 |  | 12 | 36 | 0.021401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1707-5_0_3_line_14 |  | 13 | 29 | 0.016797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1707-5_0_3_line_15 |  | 14 | 15 | 0.047939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1707-5_0_3_line_16 |  | 15 | 16 | 0.011388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1707-5_0_3_line_17 |  | 16 | 17 | 0.002672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1707-5_0_3_line_18 |  | 16 | 18 | 0.021367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1707-5_0_3_line_19 |  | 17 | 19 | 0.029445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1707-5_0_3_line_20 |  | 17 | 20 | 0.022949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1707-5_0_3_line_21 |  | 18 | 21 | 0.02333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1707-5_0_3_line_22 |  | 19 | 45 | 0.011801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1707-5_0_3_line_23 |  | 20 | 25 | 0.019717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1707-5_0_3_line_24 |  | 21 | 37 | 0.026778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1707-5_0_3_line_25 |  | 21 | 34 | 0.017474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1707-5_0_3_line_26 |  | 22 | 23 | 0.033481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1707-5_0_3_line_27 |  | 22 | 24 | 0.023272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1707-5_0_3_line_28 |  | 23 | 25 | 0.00034051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1707-5_0_3_line_29 |  | 24 | 26 | 0.031383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1707-5_0_3_line_30 |  | 26 | 27 | 0.0031457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1707-5_0_3_line_31 |  | 27 | 28 | 0.071872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1707-5_0_3_line_32 |  | 29 | 30 | 0.038325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1707-5_0_3_line_33 |  | 30 | 31 | 0.019208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1707-5_0_3_line_34 |  | 32 | 33 | 0.029296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1707-5_0_3_line_35 |  | 32 | 34 | 0.0021286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1707-5_0_3_line_36 |  | 33 | 35 | 0.00013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1707-5_0_3_line_37 |  | 35 | 36 | 0.043321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1707-5_0_3_line_38 |  | 36 | 39 | 0.018614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1707-5_0_3_line_39 |  | 37 | 38 | 0.005374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1707-5_0_3_line_40 |  | 38 | 40 | 0.015929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1707-5_0_3_line_41 |  | 40 | 41 | 0.020462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1707-5_0_3_line_42 |  | 41 | 42 | 0.023987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1707-5_0_3_line_43 |  | 42 | 43 | 0.0075954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1707-5_0_3_line_44 |  | 43 | 44 | 0.0055273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1707-5_0_3_line_45 |  | 45 | 46 | 0.0029177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1707-5_0_3_trafo_75 | 0.63 MVA 20/0.4 kV | 47 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2675040.2055 | 1221057.7821 | 2675010.798 | 1221052.8925
1 | 2675040.2055 | 1221057.7821 | 2675036.5631 | 1221070.9531 | 2675037.6375 | 1221092.2583
2 | 2675067.3489 | 1221020.3537 | 2675063.8491 | 1221021.3422 | 2675050.266 | 1221032.9675 | 2675045.4669 | 1221044.7259 | 2675041.0703 | 1221054.6547 | 2675040.2055 | 1221057.7821
3 | 2675264.882 | 1221091.5357 | 2675261.0841 | 1221106.2862 | 2675241.4615 | 1221120.9257 | 2675240.3546 | 1221121.0036
4 | 2675264.882 | 1221091.5357 | 2675270.2201 | 1221082.7752 | 2675277.4401 | 1221078.1968
5 | 2675264.882 | 1221091.5357 | 2675261.9767 | 1221090.8986
6 | 2675277.4401 | 1221078.1968 | 2675272.1922 | 1221075.6176
7 | 2675277.4401 | 1221078.1968 | 2675282.2355 | 1221076.9565 | 2675287.6901 | 1221076.9922 | 2675298.6817 | 1221080.1331 | 2675303.5452 | 1221066.3189 | 2675308.0312 | 1221052.9558
8 | 2675234.401 | 1221080.9793 | 2675233.2128 | 1221088.6449 | 2675228.7241 | 1221113.2991
9 | 2675238.1243 | 1221056.9585 | 2675234.401 | 1221080.9793
10 | 2675234.401 | 1221080.9793 | 2675195.7031 | 1221087.4483
11 | 2675308.0312 | 1221052.9558 | 2675286.2329 | 1221046.4315 | 2675257.6516 | 1221040.5221
12 | 2675240.9529 | 1221038.71 | 2675238.1243 | 1221056.9585
13 | 2675195.7031 | 1221087.4483 | 2675179.1832 | 1221101.0529
14 | 2675240.9529 | 1221038.71 | 2675257.6516 | 1221040.5221
15 | 2675067.3489 | 1221020.3537 | 2675113.4828 | 1221007.3236
16 | 2675124.4424 | 1221004.2281 | 2675113.4828 | 1221007.3236
17 | 2675124.4424 | 1221004.2281 | 2675122.6542 | 1221002.2376
18 | 2675140.808 | 1221018.0213 | 2675124.4424 | 1221004.2281
19 | 2675122.6542 | 1221002.2376 | 2675100.5799 | 1220982.6798
20 | 2675122.6542 | 1221002.2376 | 2675144.8205 | 1220996.2959
21 | 2675140.808 | 1221018.0213 | 2675136.5577 | 1221022.3483 | 2675120.9626 | 1221029.8677
22 | 2675100.5799 | 1220982.6798 | 2675091.748 | 1220974.8523
23 | 2675163.8652 | 1220991.1909 | 2675144.8205 | 1220996.2959
24 | 2675120.9626 | 1221029.8677 | 2675101.4269 | 1221037.6264 | 2675096.6078 | 1221040.7769
25 | 2675120.9626 | 1221029.8677 | 2675130.8101 | 1221044.3028
26 | 2675196.5333 | 1220982.4341 | 2675164.1941 | 1220991.1027
27 | 2675219.4257 | 1220980.6891 | 2675206.395 | 1220979.7906 | 2675196.5333 | 1220982.4341
28 | 2675164.1941 | 1220991.1027 | 2675163.8652 | 1220991.1909
29 | 2675219.4257 | 1220980.6891 | 2675218.3103 | 1220972.2917 | 2675214.0075 | 1220967.5676 | 2675207.8907 | 1220962.8874 | 2675208.8133 | 1220954.1155 | 2675208.8133 | 1220954.1155
30 | 2675208.8133 | 1220954.1155 | 2675211.9225 | 1220954.5934
31 | 2675211.9225 | 1220954.5934 | 2675233.7189 | 1220957.9436 | 2675253.2232 | 1220965.3059 | 2675257.7243 | 1220963.3503 | 2675261.8009 | 1220964.3692 | 2675267.7436 | 1220962.4096 | 2675273.4545 | 1220957.1784 | 2675274.7786 | 1220951.4691
32 | 2675240.9529 | 1221038.71 | 2675202.8077 | 1221034.9974
33 | 2675183.7599 | 1221032.5974 | 2675191.986 | 1221033.9442 | 2675202.8077 | 1221034.9974
34 | 2675132.0097 | 1221046.0612 | 2675148.5196 | 1221070.2623
35 | 2675132.0097 | 1221046.0612 | 2675130.8101 | 1221044.3028
36 | 2675148.5964 | 1221070.3749 | 2675148.5196 | 1221070.2623
37 | 2675148.5964 | 1221070.3749 | 2675179.1832 | 1221101.0529
38 | 2675179.1832 | 1221101.0529 | 2675164.8142 | 1221112.8862 | 2675164.8142 | 1221112.8862
39 | 2675092.1097 | 1221043.7175 | 2675096.6078 | 1221040.7769
40 | 2675092.1097 | 1221043.7175 | 2675087.5115 | 1221046.7236 | 2675079.6956 | 1221053.6385
41 | 2675079.6956 | 1221053.6385 | 2675079.532 | 1221053.7832 | 2675078.914 | 1221058.2673 | 2675080.3907 | 1221063.9007 | 2675085.8924 | 1221072.1238
42 | 2675085.8924 | 1221072.1238 | 2675099.2308 | 1221092.0601
43 | 2675103.4544 | 1221098.3729 | 2675099.2308 | 1221092.0601
44 | 2675106.528 | 1221102.9668 | 2675103.4544 | 1221098.3729
45 | 2675089.5645 | 1220972.917 | 2675091.748 | 1220974.8523

## bus_geodata
| x | y | coords
0 | 2675010.798 | 1221052.8925
1 | 2675040.2055 | 1221057.7821
2 | 2675037.6375 | 1221092.2583
3 | 2675240.3546 | 1221121.0036
4 | 2675264.882 | 1221091.5357
5 | 2675277.4401 | 1221078.1968
6 | 2675261.9767 | 1221090.8986
7 | 2675228.7241 | 1221113.2991
8 | 2675234.401 | 1221080.9793
9 | 2675272.1922 | 1221075.6176
10 | 2675308.0312 | 1221052.9558
11 | 2675238.1243 | 1221056.9585
12 | 2675195.7031 | 1221087.4483
13 | 2675257.6516 | 1221040.5221
14 | 2675067.3489 | 1221020.3537
15 | 2675113.4828 | 1221007.3236
16 | 2675124.4424 | 1221004.2281
17 | 2675122.6542 | 1221002.2376
18 | 2675140.808 | 1221018.0213
19 | 2675100.5799 | 1220982.6798
20 | 2675144.8205 | 1220996.2959
21 | 2675120.9626 | 1221029.8677
22 | 2675196.5333 | 1220982.4341
23 | 2675164.1941 | 1220991.1027
24 | 2675219.4257 | 1220980.6891
25 | 2675163.8652 | 1220991.1909
26 | 2675208.8133 | 1220954.1155
27 | 2675211.9225 | 1220954.5934
28 | 2675274.7786 | 1220951.4691
29 | 2675240.9529 | 1221038.71
30 | 2675202.8077 | 1221034.9974
31 | 2675183.7599 | 1221032.5974
32 | 2675132.0097 | 1221046.0612
33 | 2675148.5196 | 1221070.2623
34 | 2675130.8102 | 1221044.3028
35 | 2675148.5964 | 1221070.3749
36 | 2675179.1832 | 1221101.0529
37 | 2675096.6078 | 1221040.7769
38 | 2675092.1097 | 1221043.7175
39 | 2675164.8142 | 1221112.8862
40 | 2675079.6956 | 1221053.6385
41 | 2675085.8924 | 1221072.1238
42 | 2675099.2308 | 1221092.0601
43 | 2675103.4544 | 1221098.3729
44 | 2675106.528 | 1221102.9668
45 | 2675091.748 | 1220974.8523
46 | 2675089.5645 | 1220972.917
47 | 2675140.808 | 1221018.0213

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97943 | -0.39463 | 0.0030836 | 0.00077283
1 | 0.97952 | -0.39296 | 0.0019141 | 0.00047971
2 | 0.97947 | -0.39392 | 0.001506 | 0.00037743
3 | 0.99098 | -0.17237 | 0.010314 | 0.0025848
4 | 0.99137 | -0.1649 | 0 | 0
5 | 0.99167 | -0.15901 | 0 | 0
6 | 0.99135 | -0.16529 | 0.0073851 | 0.0018509
7 | 0.99201 | -0.15178 | 0.013186 | 0.0033048
8 | 0.9924 | -0.14412 | 0.0055299 | 0.0013859
9 | 0.99161 | -0.16029 | 0.012347 | 0.0030945
10 | 0.99306 | -0.13211 | 0 | 0
11 | 0.994 | -0.11363 | 0.0046361 | 0.0011619
12 | 0.99004 | -0.18919 | 0.0026069 | 0.00065334
13 | 0.99449 | -0.10456 | 0.019084 | 0.0047828
14 | 0.97981 | -0.38725 | 0.012525 | 0.0031389
15 | 0.98065 | -0.3707 | 0.0019716 | 0.00049412
16 | 0.98087 | -0.36637 | 0 | 0
17 | 0.98053 | -0.37298 | 0 | 0
18 | 0.98244 | -0.33591 | 0 | 0
19 | 0.9798 | -0.38734 | 0 | 0
20 | 0.97819 | -0.41875 | 0.017823 | 0.0044669
21 | 0.98358 | -0.3138 | 0 | 0
22 | 0.97441 | -0.49286 | 0.019087 | 0.0047836
23 | 0.97647 | -0.4523 | 0.012889 | 0.0032304
24 | 0.97339 | -0.51298 | 0 | 0
25 | 0.9765 | -0.45181 | 0.012889 | 0.0032304
26 | 0.97201 | -0.54018 | 0.017823 | 0.004467
27 | 0.97192 | -0.54188 | 0.0086371 | 0.0021647
28 | 0.97054 | -0.56921 | 0.020581 | 0.0051581
29 | 0.99525 | -0.090029 | 0 | 0
30 | 0.9984 | -0.030251 | 0.0038699 | 0.00096988
31 | 1 | 0 | -0.27682 | -0.07073
32 | 0.98465 | -0.29301 | 0.0021806 | 0.00054652
33 | 0.98629 | -0.2613 | 0.0016974 | 0.0004254
34 | 0.98453 | -0.29529 | 0.0022547 | 0.00056507
35 | 0.9863 | -0.26115 | 0.0018278 | 0.00045809
36 | 0.98877 | -0.21354 | 0.0020328 | 0.00050948
37 | 0.98311 | -0.32292 | 0.0021838 | 0.00054732
38 | 0.98303 | -0.32454 | 0.001797 | 0.00045038
39 | 0.98869 | -0.21524 | 0.0051328 | 0.0012864
40 | 0.98281 | -0.32882 | 0.003205 | 0.00080325
41 | 0.98259 | -0.33315 | 0.0022846 | 0.00057258
42 | 0.98238 | -0.33722 | 0.0028158 | 0.00070571
43 | 0.98233 | -0.33813 | 0.0020183 | 0.00050583
44 | 0.98231 | -0.33859 | 0.0045849 | 0.0011491
45 | 0.97951 | -0.3931 | 0.017815 | 0.0044649
46 | 0.97948 | -0.39359 | 0.0090661 | 0.0022722
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0030836 | -0.00077283 | 0.0030839 | 0.00077261 | 2.4535e-07 | -2.1819e-07 | 0.0046848 | 0.0046847 | 0.0046848 | 0.97943 | -0.39463 | 0.97952 | -0.39296 | 1.287
1 | 0.001506 | 0.00037703 | -0.001506 | -0.00037743 | 6.8692e-08 | -3.9654e-07 | 0.0022877 | 0.0022879 | 0.0022879 | 0.97952 | -0.39296 | 0.97947 | -0.39392 | 0.62854
2 | -0.0065039 | -0.0016293 | 0.0065057 | 0.0016299 | 1.7687e-06 | 5.2361e-07 | 0.0098801 | 0.0098799 | 0.0098801 | 0.97952 | -0.39296 | 0.97981 | -0.38725 | 2.7143
3 | -0.010314 | -0.0025848 | 0.010317 | 0.0025867 | 3.6714e-06 | 1.8235e-06 | 0.015486 | 0.015486 | 0.015486 | 0.99098 | -0.17237 | 0.99137 | -0.1649 | 4.2545
4 | -0.017703 | -0.0044376 | 0.017708 | 0.0044405 | 4.9733e-06 | 2.9406e-06 | 0.026571 | 0.026571 | 0.026571 | 0.99137 | -0.1649 | 0.99167 | -0.15901 | 7.2998
5 | 0.0073853 | 0.0018509 | -0.0073851 | -0.0018509 | 1.3667e-07 | 4.9228e-08 | 0.011085 | 0.011085 | 0.011085 | 0.99137 | -0.1649 | 0.99135 | -0.16529 | 3.0454
6 | 0.012348 | 0.0030949 | -0.012347 | -0.0030945 | 7.5105e-07 | 4.0541e-07 | 0.018528 | 0.018528 | 0.018528 | 0.99167 | -0.15901 | 0.99161 | -0.16029 | 5.0902
7 | -0.030055 | -0.0075354 | 0.030094 | 0.0075595 | 3.858e-05 | 2.4037e-05 | 0.045099 | 0.045099 | 0.045099 | 0.99167 | -0.15901 | 0.99306 | -0.13211 | 12.39
8 | -0.013186 | -0.0033048 | 0.013191 | 0.0033074 | 4.8145e-06 | 2.6574e-06 | 0.019779 | 0.019779 | 0.019779 | 0.99201 | -0.15178 | 0.9924 | -0.14412 | 5.4339
9 | -0.21566 | -0.055089 | 0.21598 | 0.055292 | 0.00031843 | 0.00020285 | 0.32373 | 0.32373 | 0.32373 | 0.9924 | -0.14412 | 0.994 | -0.11363 | 29.6456
10 | 0.19694 | 0.050395 | -0.19651 | -0.050123 | 0.00042871 | 0.00027286 | 0.29566 | 0.29566 | 0.29566 | 0.9924 | -0.14412 | 0.99004 | -0.18919 | 27.0751
11 | -0.030094 | -0.0075595 | 0.030134 | 0.0075841 | 3.9615e-05 | 2.4681e-05 | 0.045099 | 0.045099 | 0.045099 | 0.99306 | -0.13211 | 0.99449 | -0.10456 | 12.3899
12 | -0.22061 | -0.056454 | 0.22086 | 0.056614 | 0.0002524 | 0.00016081 | 0.33067 | 0.33067 | 0.33067 | 0.994 | -0.11363 | 0.99525 | -0.090029 | 30.2811
13 | 0.1939 | 0.049469 | -0.19367 | -0.049324 | 0.00022769 | 0.00014489 | 0.29174 | 0.29174 | 0.29174 | 0.99004 | -0.18919 | 0.98877 | -0.21354 | 26.7163
14 | -0.049217 | -0.012367 | 0.049251 | 0.012389 | 3.4169e-05 | 2.165e-05 | 0.073653 | 0.073653 | 0.073653 | 0.99449 | -0.10456 | 0.99525 | -0.090029 | 20.2343
15 | -0.01903 | -0.0047688 | 0.019045 | 0.0047778 | 1.5015e-05 | 9.0054e-06 | 0.028901 | 0.0289 | 0.028901 | 0.97981 | -0.38725 | 0.98065 | -0.3707 | 7.9398
16 | -0.021017 | -0.0052719 | 0.021021 | 0.0052746 | 4.3437e-06 | 2.6362e-06 | 0.031892 | 0.031892 | 0.031892 | 0.98065 | -0.3707 | 0.98087 | -0.36637 | 8.7616
17 | 0.13733 | 0.034698 | -0.13729 | -0.03467 | 4.3535e-05 | 2.7828e-05 | 0.20844 | 0.20844 | 0.20844 | 0.98087 | -0.36637 | 0.98053 | -0.37298 | 57.2641
18 | -0.15836 | -0.039972 | 0.15859 | 0.04012 | 0.0002314 | 0.00014756 | 0.24033 | 0.24033 | 0.24033 | 0.98087 | -0.36637 | 0.98244 | -0.33591 | 33.0128
19 | 0.026907 | 0.0067532 | -0.026889 | -0.0067417 | 1.8414e-05 | 1.1414e-05 | 0.040837 | 0.040837 | 0.040837 | 0.98053 | -0.37298 | 0.9798 | -0.38734 | 11.2189
20 | 0.11038 | 0.027917 | -0.11014 | -0.027762 | 0.00024175 | 0.00015443 | 0.1676 | 0.1676 | 0.1676 | 0.98053 | -0.37298 | 0.97819 | -0.41875 | 46.0452
21 | -0.15859 | -0.04012 | 0.15876 | 0.040227 | 0.00016844 | 0.00010692 | 0.24033 | 0.24033 | 0.24033 | 0.98244 | -0.33591 | 0.98358 | -0.3138 | 22.0085
22 | 0.026889 | 0.0067417 | -0.026881 | -0.0067372 | 7.3802e-06 | 4.5748e-06 | 0.040837 | 0.040837 | 0.040837 | 0.9798 | -0.38734 | 0.97951 | -0.3931 | 11.2189
23 | 0.092319 | 0.023295 | -0.092173 | -0.023202 | 0.00014594 | 9.3155e-05 | 0.14049 | 0.14049 | 0.14049 | 0.97819 | -0.41875 | 0.9765 | -0.45181 | 38.5968
24 | 0.018907 | 0.0047438 | -0.018898 | -0.0047389 | 8.2166e-06 | 4.9189e-06 | 0.028605 | 0.028605 | 0.028605 | 0.98358 | -0.3138 | 0.98311 | -0.32292 | 7.8586
25 | -0.17766 | -0.044971 | 0.17782 | 0.045071 | 0.00015798 | 0.00010044 | 0.26894 | 0.26894 | 0.26894 | 0.98358 | -0.3138 | 0.98453 | -0.29529 | 24.628
26 | -0.066264 | -0.016658 | 0.066392 | 0.01674 | 0.00012861 | 8.1892e-05 | 0.10121 | 0.10121 | 0.10121 | 0.97441 | -0.49286 | 0.97647 | -0.4523 | 27.8048
27 | 0.047177 | 0.011875 | -0.047132 | -0.011846 | 4.5319e-05 | 2.8714e-05 | 0.072063 | 0.072063 | 0.072063 | 0.97441 | -0.49286 | 0.97339 | -0.51298 | 19.7974
28 | -0.079282 | -0.019971 | 0.079284 | 0.019972 | 1.8649e-06 | 1.1893e-06 | 0.12085 | 0.12085 | 0.12085 | 0.97647 | -0.4523 | 0.9765 | -0.45181 | 33.2009
29 | 0.047132 | 0.011846 | -0.047071 | -0.011807 | 6.1115e-05 | 3.8724e-05 | 0.072063 | 0.072063 | 0.072063 | 0.97339 | -0.51298 | 0.97201 | -0.54018 | 19.7975
30 | 0.029247 | 0.0073405 | -0.029245 | -0.007339 | 2.3652e-06 | 1.4747e-06 | 0.044777 | 0.044777 | 0.044777 | 0.97201 | -0.54018 | 0.97192 | -0.54188 | 12.3015
31 | 0.020608 | 0.0051744 | -0.020581 | -0.0051581 | 2.6835e-05 | 1.6285e-05 | 0.031554 | 0.031554 | 0.031554 | 0.97192 | -0.54188 | 0.97054 | -0.56921 | 8.6688
32 | -0.27012 | -0.069003 | 0.2709 | 0.069503 | 0.00078316 | 0.00049972 | 0.40432 | 0.40432 | 0.40432 | 0.99525 | -0.090029 | 0.9984 | -0.030251 | 37.0258
33 | -0.27477 | -0.070473 | 0.27517 | 0.07073 | 0.00040379 | 0.00025767 | 0.41009 | 0.41009 | 0.41009 | 0.9984 | -0.030251 | 1 | 0 | 37.5539
34 | -0.18228 | -0.046195 | 0.18255 | 0.046372 | 0.00027823 | 0.00017695 | 0.27564 | 0.27564 | 0.27564 | 0.98465 | -0.29301 | 0.98629 | -0.2613 | 25.2418
35 | 0.18009 | 0.045649 | -0.18007 | -0.045636 | 1.9736e-05 | 1.255e-05 | 0.27235 | 0.27235 | 0.27235 | 0.98465 | -0.29301 | 0.98453 | -0.29529 | 24.94
36 | -0.18425 | -0.046798 | 0.18425 | 0.046798 | 1.3185e-06 | 8.386e-07 | 0.2782 | 0.2782 | 0.2782 | 0.98629 | -0.2613 | 0.9863 | -0.26115 | 25.4763
37 | -0.18608 | -0.047256 | 0.18651 | 0.047528 | 0.00042746 | 0.00027191 | 0.28096 | 0.28096 | 0.28096 | 0.9863 | -0.26115 | 0.98877 | -0.21354 | 25.7288
38 | 0.0051333 | 0.0012864 | -0.0051328 | -0.0012864 | 4.1657e-07 | 2.7873e-08 | 0.0077251 | 0.0077252 | 0.0077252 | 0.98877 | -0.21354 | 0.98869 | -0.21524 | 2.1223
39 | 0.016715 | 0.0041916 | -0.016713 | -0.0041908 | 1.2899e-06 | 7.5742e-07 | 0.0253 | 0.0253 | 0.0253 | 0.98311 | -0.32292 | 0.98303 | -0.32454 | 6.9505
40 | 0.014916 | 0.0037404 | -0.014913 | -0.0037387 | 3.0456e-06 | 1.7473e-06 | 0.02258 | 0.02258 | 0.02258 | 0.98303 | -0.32454 | 0.98281 | -0.32882 | 6.2032
41 | 0.011708 | 0.0029354 | -0.011706 | -0.0029342 | 2.4114e-06 | 1.2841e-06 | 0.017727 | 0.017727 | 0.017727 | 0.98281 | -0.32882 | 0.98259 | -0.33315 | 4.8702
42 | 0.0094212 | 0.0023616 | -0.0094194 | -0.0023607 | 1.8311e-06 | 8.6812e-07 | 0.014268 | 0.014268 | 0.014268 | 0.98259 | -0.33315 | 0.98238 | -0.33722 | 3.9197
43 | 0.0066036 | 0.001655 | -0.0066033 | -0.0016549 | 2.8497e-07 | 8.622e-08 | 0.010002 | 0.010003 | 0.010003 | 0.98238 | -0.33722 | 0.98233 | -0.33813 | 2.7479
44 | 0.004585 | 0.0011491 | -0.0045849 | -0.0011491 | 9.9983e-08 | -5.9838e-09 | 0.0069453 | 0.0069453 | 0.0069453 | 0.98233 | -0.33813 | 0.98231 | -0.33859 | 1.9081
45 | 0.0090663 | 0.0022723 | -0.0090661 | -0.0022722 | 2.0756e-07 | 9.6112e-08 | 0.013773 | 0.013773 | 0.013773 | 0.97951 | -0.3931 | 0.97948 | -0.39359 | 3.7838

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27906 | 0.07129

## res_load
| p_mw | q_mvar
0 | 0.0030836 | 0.00077283
1 | 0.0019141 | 0.00047971
2 | 0.001506 | 0.00037743
3 | 0.010314 | 0.0025848
4 | 0.0073851 | 0.0018509
5 | 0.013186 | 0.0033048
6 | 0.0055299 | 0.0013859
7 | 0.012347 | 0.0030945
8 | 0.0046361 | 0.0011619
9 | 0.0026069 | 0.00065334
10 | 0.019084 | 0.0047828
11 | 0.012525 | 0.0031389
12 | 0.0019716 | 0.00049412
13 | 0.017823 | 0.0044669
14 | 0.019087 | 0.0047836
15 | 0.012889 | 0.0032304
16 | 0.012889 | 0.0032304
17 | 0.017823 | 0.004467
18 | 0.0086371 | 0.0021647
19 | 0.020581 | 0.0051581
20 | 0.0038699 | 0.00096988
21 | 0.0022346 | 0.00056005
22 | 0.0021806 | 0.00054652
23 | 0.0016974 | 0.0004254
24 | 0.0022547 | 0.00056507
25 | 0.0018278 | 0.00045809
26 | 0.0020328 | 0.00050948
27 | 0.0021838 | 0.00054732
28 | 0.001797 | 0.00045038
29 | 0.0051328 | 0.0012864
30 | 0.003205 | 0.00080325
31 | 0.0022846 | 0.00057258
32 | 0.0028158 | 0.00070571
33 | 0.0020183 | 0.00050583
34 | 0.0045849 | 0.0011491
35 | 0.017815 | 0.0044649
36 | 0.0090661 | 0.0022722

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1