## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1707-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1707-6_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1707-6_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1707-6_0_4_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_1707-6_0_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_1707-6_0_4_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_1707-6_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1707-6_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1707-6_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1707-6_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1707-6_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1707-6_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1707-6_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1707-6_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1707-6_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1707-6_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_1707-6_0_4_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_1707-6_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1707-6_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1707-6_0_4_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_1707-6_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1707-6_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1707-6_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_1707-6_0_4_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_1707-6_0_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_1707-6_0_4_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_1707-6_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1707-6_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1707-6_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1707-6_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1707-6_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1707-6_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1707-6_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_1707-6_0_4_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_1707-6_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1707-6_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1707-6_0_4_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_1707-6_0_4_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_1707-6_0_4_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_1707-6_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1707-6_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1707-6_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1707-6_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1707-6_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1707-6_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1707-6_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1707-6_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1707-6_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1707-6_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1707-6_0_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_1707-6_0_4_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_1707-6_0_4_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_1707-6_0_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_1707-6_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1707-6_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1707-6_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_1707-6_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_1707-6_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_1707-6_0_4_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_1707-6_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_1707-6_0_4_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_1707-6_0_4_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_1707-6_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_1707-6_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_1707-6_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_1707-6_0_4_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_1707-6_0_4_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_1707-6_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_1707-6_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_1707-6_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_1707-6_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_1707-6_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_1707-6_0_4_node_76 | 0.4 | n |  | TRUE
73 | bus_MV_0_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1707-6_0_4_load_0 | 0 | 0.033406 | 0.0083724 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1707-6_0_4_load_9 | 3 | 0.013979 | 0.0035035 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1707-6_0_4_load_44 | 5 | 0.012167 | 0.0030493 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1707-6_0_4_load_10 | 7 | 0.011475 | 0.0028759 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1707-6_0_4_load_4 | 8 | 0.020714 | 0.0051915 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1707-6_0_4_load_7 | 10 | 0.0065881 | 0.0016511 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1707-6_0_4_load_13 | 12 | 0.016749 | 0.0041977 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1707-6_0_4_load_18 | 14 | 0.011934 | 0.0029908 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1707-6_0_4_load_19 | 15 | 0.013001 | 0.0032584 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1707-6_0_4_load_17 | 18 | 0.008737 | 0.0021897 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1707-6_0_4_load_41 | 19 | 0.011351 | 0.0028447 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1707-6_0_4_load_43 | 22 | 0.013693 | 0.0034318 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1707-6_0_4_load_57 | 23 | 0.008732 | 0.0021884 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1707-6_0_4_load_42 | 24 | 0.0046163 | 0.001157 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1707-6_0_4_load_56 | 25 | 0.0087373 | 0.0021898 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1707-6_0_4_load_20 | 27 | 0.0023325 | 0.00058459 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1707-6_0_4_load_22 | 28 | 0.00090068 | 0.00022573 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1707-6_0_4_load_23 | 29 | 0.0076085 | 0.0019069 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1707-6_0_4_load_40 | 31 | 0.0058592 | 0.0014684 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1707-6_0_4_load_39 | 32 | 0.0073423 | 0.0018402 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1707-6_0_4_load_36 | 34 | 0.0038264 | 0.00095898 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1707-6_0_4_load_29 | 35 | 0.0066485 | 0.0016663 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1707-6_0_4_load_67 | 37 | 0.0070255 | 0.0017607 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1707-6_0_4_load_55 | 38 | 0.0078833 | 0.0019758 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1707-6_0_4_load_26 | 39 | 0.0071462 | 0.001791 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1707-6_0_4_load_27 | 40 | 0.0028736 | 0.00072019 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1707-6_0_4_load_31 | 43 | 0.01075 | 0.0026941 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1707-6_0_4_load_33 | 44 | 0.0087974 | 0.0022048 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1707-6_0_4_load_34 | 45 | 0.0017671 | 0.00044289 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1707-6_0_4_load_35 | 46 | 0.0031606 | 0.00079212 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1707-6_0_4_load_65 | 49 | 0.00026101 | 6.5414e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1707-6_0_4_load_66 | 50 | 0.0020635 | 0.00051717 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1707-6_0_4_load_63 | 52 | 0.00016415 | 4.114e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1707-6_0_4_load_46 | 53 | 0.007906 | 0.0019814 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1707-6_0_4_load_48 | 55 | 0.0074956 | 0.0018786 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1707-6_0_4_load_49 | 56 | 0.011074 | 0.0027754 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1707-6_0_4_load_51 | 59 | 0.0093871 | 0.0023526 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1707-6_0_4_load_75 | 60 | 0.012593 | 0.0031561 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1707-6_0_4_load_53 | 62 | 0.0015064 | 0.00037754 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1707-6_0_4_load_52 | 63 | 0.0033483 | 0.00083915 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1707-6_0_4_load_74 | 65 | 0.0034495 | 0.00086452 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1707-6_0_4_load_71 | 66 | 0.013657 | 0.0034227 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1707-6_0_4_load_58 | 67 | 9.667e-05 | 2.4228e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1707-6_0_4_load_59 | 68 | 9.519e-05 | 2.3857e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1707-6_0_4_load_61 | 70 | 0.00034677 | 8.6909e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1707-6_0_4_load_62 | 71 | 0.00020817 | 5.2173e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1707-6_0_4_load_76 | 72 | 0.0089706 | 0.0022482 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1707-6_0_4_line_0 |  | 0 | 1 | 0.0070772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1707-6_0_4_line_1 |  | 1 | 2 | 0.055726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1707-6_0_4_line_2 |  | 2 | 3 | 0.021488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1707-6_0_4_line_3 |  | 3 | 7 | 0.061113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1707-6_0_4_line_4 |  | 4 | 5 | 0.047637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1707-6_0_4_line_5 |  | 4 | 6 | 0.00867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1707-6_0_4_line_6 |  | 5 | 16 | 0.039952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1707-6_0_4_line_7 |  | 6 | 14 | 0.005482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1707-6_0_4_line_8 |  | 6 | 7 | 0.034112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1707-6_0_4_line_9 |  | 8 | 9 | 0.02483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1707-6_0_4_line_10 |  | 9 | 10 | 0.023876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1707-6_0_4_line_11 |  | 9 | 11 | 0.00966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1707-6_0_4_line_12 |  | 11 | 12 | 0.03639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1707-6_0_4_line_13 |  | 12 | 13 | 0.02189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1707-6_0_4_line_14 |  | 13 | 17 | 0.034658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1707-6_0_4_line_15 |  | 13 | 18 | 0.036952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1707-6_0_4_line_16 |  | 14 | 15 | 0.01702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1707-6_0_4_line_17 |  | 16 | 53 | 0.030524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1707-6_0_4_line_18 |  | 17 | 19 | 0.028243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1707-6_0_4_line_19 |  | 18 | 23 | 0.020932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1707-6_0_4_line_20 |  | 19 | 24 | 0.014541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1707-6_0_4_line_21 |  | 20 | 21 | 0.007118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1707-6_0_4_line_22 |  | 20 | 22 | 0.029352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1707-6_0_4_line_23 |  | 21 | 25 | 0.03817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1707-6_0_4_line_24 |  | 21 | 26 | 0.059529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1707-6_0_4_line_25 |  | 22 | 24 | 0.0083742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1707-6_0_4_line_26 |  | 25 | 38 | 0.018956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1707-6_0_4_line_27 |  | 26 | 29 | 0.0076309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1707-6_0_4_line_28 |  | 26 | 30 | 0.062623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1707-6_0_4_line_29 |  | 26 | 27 | 0.037202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1707-6_0_4_line_30 |  | 27 | 28 | 0.025511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1707-6_0_4_line_31 |  | 29 | 31 | 0.01998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1707-6_0_4_line_32 |  | 30 | 32 | 0.036418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1707-6_0_4_line_33 |  | 30 | 33 | 0.013221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1707-6_0_4_line_34 |  | 31 | 34 | 0.02516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1707-6_0_4_line_35 |  | 32 | 35 | 0.031311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1707-6_0_4_line_36 |  | 33 | 36 | 0.040173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1707-6_0_4_line_37 |  | 33 | 37 | 0.0068821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1707-6_0_4_line_38 |  | 34 | 46 | 0.021662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1707-6_0_4_line_39 |  | 35 | 40 | 0.013077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1707-6_0_4_line_40 |  | 36 | 72 | 0.004431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1707-6_0_4_line_41 |  | 38 | 64 | 0.011211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1707-6_0_4_line_42 |  | 39 | 40 | 0.03628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1707-6_0_4_line_43 |  | 39 | 41 | 0.028269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1707-6_0_4_line_44 |  | 41 | 42 | 0.004992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1707-6_0_4_line_45 |  | 42 | 43 | 0.0093799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1707-6_0_4_line_46 |  | 44 | 45 | 0.0022653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1707-6_0_4_line_47 |  | 44 | 46 | 0.019001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1707-6_0_4_line_48 |  | 45 | 47 | 0.21828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1707-6_0_4_line_49 |  | 47 | 48 | 0.083414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1707-6_0_4_line_50 |  | 48 | 49 | 0.053916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1707-6_0_4_line_51 |  | 49 | 50 | 0.0036623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1707-6_0_4_line_52 |  | 50 | 51 | 0.14718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1707-6_0_4_line_53 |  | 51 | 52 | 0.015806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1707-6_0_4_line_54 |  | 52 | 71 | 0.053318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1707-6_0_4_line_55 |  | 53 | 54 | 0.01529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1707-6_0_4_line_56 |  | 54 | 55 | 0.0050706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1707-6_0_4_line_57 |  | 54 | 56 | 0.027765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1707-6_0_4_line_58 |  | 55 | 57 | 0.02416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_1707-6_0_4_line_59 |  | 56 | 58 | 0.011137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1707-6_0_4_line_60 |  | 57 | 59 | 0.014979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_1707-6_0_4_line_61 |  | 58 | 60 | 0.033059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1707-6_0_4_line_62 |  | 58 | 61 | 0.043749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1707-6_0_4_line_63 |  | 59 | 62 | 0.024965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_1707-6_0_4_line_64 |  | 61 | 65 | 0.048347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1707-6_0_4_line_65 |  | 61 | 66 | 0.039658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1707-6_0_4_line_66 |  | 61 | 63 | 0.012694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1707-6_0_4_line_67 |  | 62 | 64 | 0.020463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_1707-6_0_4_line_68 |  | 67 | 68 | 0.02108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1707-6_0_4_line_69 |  | 67 | 69 | 0.028999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1707-6_0_4_line_70 |  | 68 | 70 | 0.0049883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1707-6_0_4_line_71 |  | 69 | 71 | 0.0084226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1707-6_0_4_trafo_57 | 0.63 MVA 20/0.4 kV | 73 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2675334.5351 | 1221299.7524 | 2675327.9201 | 1221299.1128 | 2675327.5187 | 1221299.2708
1 | 2675334.5351 | 1221299.7524 | 2675343.4717 | 1221294.3952 | 2675349.1077 | 1221294.4666 | 2675354.6512 | 1221290.4563 | 2675354.9321 | 1221279.6528 | 2675350.2256 | 1221266.6848 | 2675351.9131 | 1221258.6342
2 | 2675351.9131 | 1221258.6342 | 2675345.8145 | 1221251.9526 | 2675346.1085 | 1221239.5149
3 | 2675403.7876 | 1221234.9417 | 2675386.8588 | 1221233.9602 | 2675379.8443 | 1221230.7137 | 2675368.6362 | 1221231.5057 | 2675364.6122 | 1221236.547 | 2675346.1085 | 1221239.5149 | 2675346.1085 | 1221239.5149
4 | 2675408.9877 | 1221271.8206 | 2675420.8977 | 1221256.339 | 2675428.9488 | 1221240.6418 | 2675429.7156 | 1221237.6051 | 2675430.8241 | 1221230.3588
5 | 2675406.2545 | 1221263.5917 | 2675408.9877 | 1221271.8206
6 | 2675453.2664 | 1221203.9591 | 2675449.6507 | 1221212.6856 | 2675447.4348 | 1221222.3083 | 2675445.9717 | 1221225.2139 | 2675444.5863 | 1221227.976 | 2675440.5156 | 1221230.1036 | 2675430.8241 | 1221230.3588
7 | 2675406.2545 | 1221263.5917 | 2675401.1979 | 1221265.7091
8 | 2675406.2545 | 1221263.5917 | 2675407.6151 | 1221260.3957 | 2675412.9346 | 1221249.5226 | 2675412.0767 | 1221241.7845 | 2675403.7876 | 1221234.9417
9 | 2675299.4319 | 1221206.7699 | 2675284.1572 | 1221202.7743 | 2675275.5063 | 1221200.1464
10 | 2675303.4013 | 1221183.2603 | 2675302.5912 | 1221191.5221 | 2675299.4319 | 1221206.7699
11 | 2675308.8888 | 1221208.8686 | 2675299.4319 | 1221206.7699
12 | 2675308.8888 | 1221208.8686 | 2675321.8441 | 1221174.8627
13 | 2675329.6373 | 1221154.4064 | 2675321.8441 | 1221174.8627
14 | 2675294.8792 | 1221154.0334 | 2675329.6373 | 1221154.4064
15 | 2675329.6373 | 1221154.4064 | 2675338.9239 | 1221156.781 | 2675366.2885 | 1221157.1322
16 | 2675385.1985 | 1221265.6265 | 2675394.4248 | 1221268.5452 | 2675401.1979 | 1221265.7091
17 | 2675453.2664 | 1221203.9591 | 2675456.9967 | 1221173.664
18 | 2675294.8792 | 1221154.0334 | 2675295.6217 | 1221147.5163 | 2675304.4784 | 1221127.7237
19 | 2675366.2885 | 1221157.1322 | 2675387.2183 | 1221157.4008
20 | 2675304.4784 | 1221127.7237 | 2675310.4175 | 1221114.4511
21 | 2675343.4601 | 1221121.4708 | 2675346.0326 | 1221114.8323
22 | 2675343.4601 | 1221121.4708 | 2675315.8443 | 1221111.5243
23 | 2675346.0326 | 1221114.8323 | 2675354.0204 | 1221116.1231 | 2675384.0985 | 1221116.1084
24 | 2675346.0326 | 1221114.8323 | 2675356.0194 | 1221091.8658 | 2675364.1103 | 1221074.8237 | 2675365.6343 | 1221071.3074 | 2675370.3234 | 1221060.4929
25 | 2675315.8443 | 1221111.5243 | 2675312.2986 | 1221110.2472 | 2675310.4175 | 1221114.4511
26 | 2675403.0548 | 1221116.0991 | 2675384.0985 | 1221116.1084
27 | 2675370.3234 | 1221060.4929 | 2675373.5081 | 1221053.5584
28 | 2675320.2261 | 1221058.1467 | 2675353.1152 | 1221069.559 | 2675364.1103 | 1221074.8237 | 2675365.6343 | 1221071.3074 | 2675370.3234 | 1221060.4929
29 | 2675370.3234 | 1221060.4929 | 2675376.4398 | 1221063.3833 | 2675406.5104 | 1221068.089
30 | 2675431.7149 | 1221072.0331 | 2675406.5104 | 1221068.089
31 | 2675373.5081 | 1221053.5584 | 2675379.8575 | 1221039.7333 | 2675381.8458 | 1221035.4007
32 | 2675320.2261 | 1221058.1467 | 2675321.9007 | 1221054.71 | 2675338.7007 | 1221026.7778
33 | 2675320.2261 | 1221058.1467 | 2675314.6796 | 1221055.775 | 2675308.0312 | 1221052.9558
34 | 2675392.9051 | 1221012.8033 | 2675383.7586 | 1221031.2327 | 2675381.8458 | 1221035.4007
35 | 2675338.7007 | 1221026.7778 | 2675344.4921 | 1221017.1489 | 2675348.968 | 1221008.789 | 2675349.7659 | 1221001.4943 | 2675349.3871 | 1220998.2631
36 | 2675287.6901 | 1221076.9922 | 2675298.6817 | 1221080.1331 | 2675303.5452 | 1221066.3189 | 2675308.0312 | 1221052.9558
37 | 2675308.0312 | 1221052.9558 | 2675301.4381 | 1221050.9824
38 | 2675402.535 | 1220993.3998 | 2675392.9051 | 1221012.8033
39 | 2675344.2011 | 1220986.5813 | 2675348.8757 | 1220993.9003 | 2675349.3871 | 1220998.2631
40 | 2675287.6901 | 1221076.9922 | 2675288.4811 | 1221072.6326
41 | 2675403.2163 | 1221127.3085 | 2675403.0548 | 1221116.0991
42 | 2675344.2011 | 1220986.5813 | 2675341.2799 | 1220982.0075 | 2675336.4201 | 1220976.3313 | 2675316.3428 | 1220964.3501
43 | 2675289.8811 | 1220958.3311 | 2675295.6735 | 1220956.8589 | 2675308.0387 | 1220959.3947 | 2675316.3428 | 1220964.3501
44 | 2675289.8811 | 1220958.3311 | 2675285.7708 | 1220961.1811
45 | 2675285.7708 | 1220961.1811 | 2675283.4027 | 1220970.2571
46 | 2675410.9821 | 1220976.3797 | 2675411.9891 | 1220974.3505
47 | 2675410.9821 | 1220976.3797 | 2675402.535 | 1220993.3998
48 | 2675411.9891 | 1220974.3505 | 2675519.7514 | 1220784.527
49 | 2675519.7514 | 1220784.527 | 2675532.7963 | 1220767.0032 | 2675547.6588 | 1220750.9478 | 2675566.9841 | 1220734.7823 | 2675578.8228 | 1220726.2269
50 | 2675578.8228 | 1220726.2269 | 2675570.2142 | 1220713.4316 | 2675556.5709 | 1220701.5619 | 2675547.1838 | 1220696.8953 | 2675537.7088 | 1220693.9312
51 | 2675537.7088 | 1220693.9312 | 2675534.2136 | 1220692.8377
52 | 2675520.9148 | 1220546.2638 | 2675534.2136 | 1220692.8377
53 | 2675520.9148 | 1220546.2638 | 2675506.4087 | 1220539.986
54 | 2675457.4762 | 1220518.8094 | 2675506.4087 | 1220539.986
55 | 2675458.8652 | 1221158.4891 | 2675456.9967 | 1221173.664
56 | 2675458.8652 | 1221158.4891 | 2675459.6828 | 1221153.4848
57 | 2675458.8652 | 1221158.4891 | 2675486.5509 | 1221156.3881
58 | 2675463.5782 | 1221129.641 | 2675459.6828 | 1221153.4848
59 | 2675497.6561 | 1221155.5453 | 2675486.5509 | 1221156.3881
60 | 2675463.5782 | 1221129.641 | 2675448.6099 | 1221129.0626
61 | 2675530.7995 | 1221154.6204 | 2675497.6561 | 1221155.5453
62 | 2675497.6561 | 1221155.5453 | 2675520.3076 | 1221118.0857
63 | 2675448.6099 | 1221129.0626 | 2675423.6639 | 1221128.0986
64 | 2675541.9439 | 1221075.7545 | 2675539.3498 | 1221088.2632 | 2675531.3068 | 1221104.4718 | 2675520.3076 | 1221118.0857
65 | 2675520.3076 | 1221118.0857 | 2675544.4074 | 1221126.7525 | 2675558.399 | 1221125.5043
66 | 2675520.3076 | 1221118.0857 | 2675509.1637 | 1221112.0071
67 | 2675403.2163 | 1221127.3085 | 2675423.6639 | 1221128.0986
68 | 2675421.16 | 1220520.2741 | 2675418.6101 | 1220520.5844 | 2675400.3743 | 1220517.4054
69 | 2675449.7463 | 1220515.4642 | 2675428.9528 | 1220519.3256 | 2675421.16 | 1220520.2741
70 | 2675400.3743 | 1220517.4054 | 2675395.4601 | 1220516.5487
71 | 2675449.7463 | 1220515.4642 | 2675457.4762 | 1220518.8094

## bus_geodata
| x | y | coords
0 | 2675327.5187 | 1221299.2708
1 | 2675334.5351 | 1221299.7524
2 | 2675351.9131 | 1221258.6342
3 | 2675346.1085 | 1221239.5149
4 | 2675408.9877 | 1221271.8206
5 | 2675430.8241 | 1221230.3588
6 | 2675406.2545 | 1221263.5917
7 | 2675403.7876 | 1221234.9417
8 | 2675275.5063 | 1221200.1464
9 | 2675299.4319 | 1221206.7699
10 | 2675303.4013 | 1221183.2603
11 | 2675308.8888 | 1221208.8686
12 | 2675321.8441 | 1221174.8627
13 | 2675329.6373 | 1221154.4064
14 | 2675401.1979 | 1221265.7091
15 | 2675385.1985 | 1221265.6265
16 | 2675453.2664 | 1221203.9591
17 | 2675294.8792 | 1221154.0334
18 | 2675366.2885 | 1221157.1322
19 | 2675304.4784 | 1221127.7237
20 | 2675343.4601 | 1221121.4708
21 | 2675346.0326 | 1221114.8323
22 | 2675315.8443 | 1221111.5243
23 | 2675387.2183 | 1221157.4008
24 | 2675310.4175 | 1221114.4511
25 | 2675384.0985 | 1221116.1084
26 | 2675370.3234 | 1221060.4929
27 | 2675406.5104 | 1221068.089
28 | 2675431.7149 | 1221072.0331
29 | 2675373.5081 | 1221053.5584
30 | 2675320.2261 | 1221058.1467
31 | 2675381.8458 | 1221035.4007
32 | 2675338.7007 | 1221026.7778
33 | 2675308.0312 | 1221052.9558
34 | 2675392.9051 | 1221012.8033
35 | 2675349.3871 | 1220998.2631
36 | 2675287.6901 | 1221076.9922
37 | 2675301.4381 | 1221050.9824
38 | 2675403.0548 | 1221116.0991
39 | 2675316.3428 | 1220964.3501
40 | 2675344.2011 | 1220986.5813
41 | 2675289.8811 | 1220958.3311
42 | 2675285.7708 | 1220961.1811
43 | 2675283.4027 | 1220970.2571
44 | 2675410.9821 | 1220976.3797
45 | 2675411.9891 | 1220974.3505
46 | 2675402.535 | 1220993.3998
47 | 2675519.7514 | 1220784.527
48 | 2675578.8228 | 1220726.2269
49 | 2675537.7088 | 1220693.9312
50 | 2675534.2136 | 1220692.8377
51 | 2675520.9148 | 1220546.2638
52 | 2675506.4087 | 1220539.986
53 | 2675456.9967 | 1221173.664
54 | 2675458.8652 | 1221158.4891
55 | 2675459.6828 | 1221153.4848
56 | 2675486.5509 | 1221156.3881
57 | 2675463.5782 | 1221129.641
58 | 2675497.6561 | 1221155.5453
59 | 2675448.6099 | 1221129.0626
60 | 2675530.7995 | 1221154.6204
61 | 2675520.3076 | 1221118.0857
62 | 2675423.6639 | 1221128.0986
63 | 2675509.1637 | 1221112.0071
64 | 2675403.2163 | 1221127.3085
65 | 2675541.9439 | 1221075.7545
66 | 2675558.399 | 1221125.5043
67 | 2675421.16 | 1220520.2741
68 | 2675400.3743 | 1220517.4054
69 | 2675449.7463 | 1220515.4642
70 | 2675395.4601 | 1220516.5487
71 | 2675457.4762 | 1220518.8094
72 | 2675288.4811 | 1221072.6326
73 | 2675403.2163 | 1221127.3085

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97021 | -0.57588 | 0.033406 | 0.0083724
1 | 0.97043 | -0.5715 | 0 | 0
2 | 0.97217 | -0.53711 | 0 | 0
3 | 0.97284 | -0.52388 | 0.013979 | 0.0035035
4 | 0.97809 | -0.42074 | 0 | 0
5 | 0.97902 | -0.40257 | 0.012167 | 0.0030493
6 | 0.97742 | -0.43399 | 0 | 0
7 | 0.97554 | -0.47069 | 0.011475 | 0.0028759
8 | 0.99284 | -0.1365 | 0.020714 | 0.0051915
9 | 0.99331 | -0.12741 | 0 | 0
10 | 0.99317 | -0.13019 | 0.0065881 | 0.0016511
11 | 0.99355 | -0.12275 | 0 | 0
12 | 0.99446 | -0.10522 | 0.016749 | 0.0041977
13 | 0.99534 | -0.088241 | 0 | 0
14 | 0.97729 | -0.43648 | 0.011934 | 0.0029908
15 | 0.97708 | -0.44052 | 0.013001 | 0.0032584
16 | 0.97992 | -0.38516 | 0 | 0
17 | 0.99292 | -0.13424 | 0 | 0
18 | 0.99829 | -0.032325 | 0.008737 | 0.0021897
19 | 0.99095 | -0.17188 | 0.011351 | 0.0028447
20 | 0.98757 | -0.23673 | 0 | 0
21 | 0.98712 | -0.24536 | 0 | 0
22 | 0.98942 | -0.20121 | 0.013693 | 0.0034318
23 | 1 | 0 | -0.3615 | -0.092539
24 | 0.98997 | -0.19059 | 0.0046163 | 0.001157
25 | 0.9855 | -0.27665 | 0.0087373 | 0.0021898
26 | 0.98226 | -0.33982 | 0 | 0
27 | 0.98215 | -0.342 | 0.0023325 | 0.00058459
28 | 0.98212 | -0.34241 | 0.00090068 | 0.00022573
29 | 0.98202 | -0.34455 | 0.0076085 | 0.0019069
30 | 0.97931 | -0.39743 | 0 | 0
31 | 0.98152 | -0.35419 | 0.0058592 | 0.0014684
32 | 0.97813 | -0.42046 | 0.0073423 | 0.0018402
33 | 0.97911 | -0.40127 | 0 | 0
34 | 0.98104 | -0.36366 | 0.0038264 | 0.00095898
35 | 0.97734 | -0.43612 | 0.0066485 | 0.0016663
36 | 0.97878 | -0.40782 | 0 | 0
37 | 0.97907 | -0.40215 | 0.0070255 | 0.0017607
38 | 0.98474 | -0.29149 | 0.0078833 | 0.0019758
39 | 0.97648 | -0.45294 | 0.0071462 | 0.001791
40 | 0.97708 | -0.44107 | 0.0028736 | 0.00072019
41 | 0.9762 | -0.45849 | 0 | 0
42 | 0.97615 | -0.45947 | 0 | 0
43 | 0.97606 | -0.46132 | 0.01075 | 0.0026941
44 | 0.98046 | -0.37509 | 0.0087974 | 0.0022048
45 | 0.98045 | -0.37529 | 0.0017671 | 0.00044289
46 | 0.9807 | -0.37033 | 0.0031606 | 0.00079212
47 | 0.97979 | -0.38818 | 0 | 0
48 | 0.97954 | -0.3931 | 0 | 0
49 | 0.97938 | -0.39627 | 0.00026101 | 6.5414e-05
50 | 0.97937 | -0.39647 | 0.0020635 | 0.00051717
51 | 0.97925 | -0.39893 | 0 | 0
52 | 0.97924 | -0.39919 | 0.00016415 | 4.114e-05
53 | 0.9806 | -0.37187 | 0.007906 | 0.0019814
54 | 0.98097 | -0.36468 | 0 | 0
55 | 0.98114 | -0.36128 | 0.0074956 | 0.0018786
56 | 0.97983 | -0.3869 | 0.011074 | 0.0027754
57 | 0.98201 | -0.34429 | 0 | 0
58 | 0.97949 | -0.39358 | 0 | 0
59 | 0.98256 | -0.33377 | 0.0093871 | 0.0023526
60 | 0.97911 | -0.40115 | 0.012593 | 0.0031561
61 | 0.97866 | -0.40985 | 0 | 0
62 | 0.98351 | -0.3152 | 0.0015064 | 0.00037754
63 | 0.97862 | -0.41063 | 0.0033483 | 0.00083915
64 | 0.9843 | -0.29988 | 0 | 0
65 | 0.97851 | -0.41289 | 0.0034495 | 0.00086452
66 | 0.97816 | -0.41972 | 0.013657 | 0.0034227
67 | 0.97918 | -0.40028 | 9.667e-05 | 2.4228e-05
68 | 0.97917 | -0.40045 | 9.519e-05 | 2.3857e-05
69 | 0.97919 | -0.4 | 0 | 0
70 | 0.97917 | -0.40049 | 0.00034677 | 8.6909e-05
71 | 0.9792 | -0.39992 | 0.00020817 | 5.2173e-05
72 | 0.97874 | -0.40855 | 0.0089706 | 0.0022482
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.033406 | -0.0083724 | 0.033413 | 0.0083768 | 6.9669e-06 | 4.3714e-06 | 0.051236 | 0.051236 | 0.051236 | 0.97021 | -0.57588 | 0.97043 | -0.5715 | 14.0758
1 | -0.033413 | -0.0083768 | 0.033468 | 0.0084112 | 5.4857e-05 | 3.4419e-05 | 0.051236 | 0.051236 | 0.051236 | 0.97043 | -0.5715 | 0.97217 | -0.53711 | 14.0758
2 | -0.033468 | -0.0084112 | 0.033489 | 0.0084245 | 2.1152e-05 | 1.3271e-05 | 0.051236 | 0.051235 | 0.051236 | 0.97217 | -0.53711 | 0.97284 | -0.52388 | 14.0757
3 | -0.047469 | -0.011928 | 0.047589 | 0.012005 | 0.00012085 | 7.6583e-05 | 0.072618 | 0.072617 | 0.072618 | 0.97284 | -0.52388 | 0.97554 | -0.47069 | 19.9499
4 | -0.084162 | -0.021233 | 0.084235 | 0.021278 | 7.3272e-05 | 4.45e-05 | 0.12809 | 0.12809 | 0.12809 | 0.97809 | -0.42074 | 0.97902 | -0.40257 | 8.7974
5 | 0.084162 | 0.021233 | -0.084108 | -0.021199 | 5.3343e-05 | 3.4031e-05 | 0.12809 | 0.12809 | 0.12809 | 0.97809 | -0.42074 | 0.97742 | -0.43399 | 35.1894
6 | -0.096402 | -0.024327 | 0.096483 | 0.024376 | 8.0475e-05 | 4.9493e-05 | 0.14658 | 0.14658 | 0.14658 | 0.97902 | -0.40257 | 0.97992 | -0.38516 | 10.0674
7 | 0.02494 | 0.0062524 | -0.024937 | -0.0062506 | 2.9637e-06 | 1.8281e-06 | 0.037969 | 0.037969 | 0.037969 | 0.97742 | -0.43399 | 0.97729 | -0.43648 | 10.4311
8 | 0.059168 | 0.014947 | -0.059065 | -0.014881 | 0.00010389 | 6.6065e-05 | 0.09012 | 0.09012 | 0.09012 | 0.97742 | -0.43399 | 0.97554 | -0.47069 | 24.7583
9 | -0.020714 | -0.0051915 | 0.020723 | 0.005197 | 8.9745e-06 | 5.4224e-06 | 0.031046 | 0.031046 | 0.031046 | 0.99284 | -0.1365 | 0.99331 | -0.12741 | 8.5291
10 | 0.006589 | 0.0016514 | -0.0065881 | -0.0016511 | 8.7233e-07 | 2.4928e-07 | 0.0098705 | 0.0098706 | 0.0098706 | 0.99331 | -0.12741 | 0.99317 | -0.13019 | 2.7117
11 | -0.027312 | -0.0068483 | 0.027318 | 0.0068521 | 6.0646e-06 | 3.7562e-06 | 0.040916 | 0.040916 | 0.040916 | 0.99331 | -0.12741 | 0.99355 | -0.12275 | 11.2407
12 | -0.027318 | -0.0068521 | 0.027341 | 0.0068662 | 2.2846e-05 | 1.415e-05 | 0.040916 | 0.040916 | 0.040916 | 0.99355 | -0.12275 | 0.99446 | -0.10522 | 11.2407
13 | -0.04409 | -0.011064 | 0.044126 | 0.011087 | 3.5734e-05 | 2.2585e-05 | 0.065978 | 0.065978 | 0.065978 | 0.99446 | -0.10522 | 0.99534 | -0.088241 | 18.1257
14 | 0.30547 | 0.078297 | -0.30479 | -0.077864 | 0.00067947 | 0.00043307 | 0.4573 | 0.4573 | 0.4573 | 0.99534 | -0.088241 | 0.99292 | -0.13424 | 31.4078
15 | -0.3496 | -0.089384 | 0.35055 | 0.089989 | 0.00094857 | 0.00060516 | 0.52327 | 0.52327 | 0.52327 | 0.99534 | -0.088241 | 0.99829 | -0.032325 | 35.9391
16 | 0.013004 | 0.0032597 | -0.013001 | -0.0032584 | 2.502e-06 | 1.3881e-06 | 0.019799 | 0.019799 | 0.019799 | 0.97729 | -0.43648 | 0.97708 | -0.44052 | 5.4394
17 | -0.096483 | -0.024376 | 0.096544 | 0.024414 | 6.1484e-05 | 3.781e-05 | 0.14658 | 0.14658 | 0.14658 | 0.97992 | -0.38516 | 0.9806 | -0.37187 | 10.0673
18 | 0.30479 | 0.077864 | -0.30424 | -0.077511 | 0.00055371 | 0.00035292 | 0.4573 | 0.4573 | 0.4573 | 0.99292 | -0.13424 | 0.99095 | -0.17188 | 31.4078
19 | -0.35928 | -0.092178 | 0.35985 | 0.092539 | 0.00056439 | 0.00036011 | 0.5363 | 0.5363 | 0.5363 | 0.99829 | -0.032325 | 1 | 0 | 36.8335
20 | 0.29289 | 0.074666 | -0.29262 | -0.074498 | 0.00026422 | 0.00016835 | 0.44025 | 0.44025 | 0.44025 | 0.99095 | -0.17188 | 0.98997 | -0.19059 | 30.2373
21 | 0.2737 | 0.069517 | -0.27359 | -0.069445 | 0.00011367 | 7.2385e-05 | 0.41272 | 0.41272 | 0.41272 | 0.98757 | -0.23673 | 0.98712 | -0.24536 | 28.3464
22 | -0.2737 | -0.069517 | 0.27417 | 0.069815 | 0.00046874 | 0.00029849 | 0.41272 | 0.41272 | 0.41272 | 0.98757 | -0.23673 | 0.98942 | -0.20121 | 28.3464
23 | 0.18467 | 0.046915 | -0.1844 | -0.04674 | 0.00027776 | 0.00017582 | 0.27861 | 0.27861 | 0.27861 | 0.98712 | -0.24536 | 0.9855 | -0.27665 | 19.1352
24 | 0.088912 | 0.022529 | -0.08851 | -0.022273 | 0.00040153 | 0.00025622 | 0.13412 | 0.13412 | 0.13412 | 0.98712 | -0.24536 | 0.98226 | -0.33982 | 36.8451
25 | -0.28786 | -0.073247 | 0.28801 | 0.073341 | 0.00014741 | 9.3912e-05 | 0.43332 | 0.43332 | 0.43332 | 0.98942 | -0.20121 | 0.98997 | -0.19059 | 29.7607
26 | 0.17566 | 0.04455 | -0.17553 | -0.044471 | 0.00012519 | 7.9158e-05 | 0.26542 | 0.26542 | 0.26542 | 0.9855 | -0.27665 | 0.98474 | -0.29149 | 18.2292
27 | 0.034296 | 0.0086022 | -0.034288 | -0.0085974 | 7.725e-06 | 4.8474e-06 | 0.051957 | 0.051957 | 0.051957 | 0.98226 | -0.33982 | 0.98202 | -0.34455 | 14.274
28 | 0.050981 | 0.012861 | -0.050841 | -0.012772 | 0.00014018 | 8.8924e-05 | 0.077261 | 0.077261 | 0.077261 | 0.98226 | -0.33982 | 0.97931 | -0.39743 | 21.2255
29 | 0.0032336 | 0.00080975 | -0.0032332 | -0.00081001 | 3.3473e-07 | -2.5661e-07 | 0.0048983 | 0.0048984 | 0.0048984 | 0.98226 | -0.33982 | 0.98215 | -0.342 | 1.3457
30 | 0.00090069 | 0.00022542 | -0.00090068 | -0.00022573 | 1.7813e-08 | -3.1144e-07 | 0.0013645 | 0.0013646 | 0.0013646 | 0.98215 | -0.342 | 0.98212 | -0.34241 | 0.37489
31 | 0.02668 | 0.0066905 | -0.026668 | -0.0066829 | 1.2246e-05 | 7.5851e-06 | 0.040428 | 0.040428 | 0.040428 | 0.98202 | -0.34455 | 0.98152 | -0.35419 | 11.1067
32 | 0.034838 | 0.0087597 | -0.0348 | -0.0087357 | 3.8283e-05 | 2.4044e-05 | 0.052945 | 0.052946 | 0.052946 | 0.97931 | -0.39743 | 0.97813 | -0.42046 | 14.5455
33 | 0.016002 | 0.0040122 | -0.015999 | -0.0040105 | 2.9313e-06 | 1.7097e-06 | 0.024315 | 0.024316 | 0.024316 | 0.97931 | -0.39743 | 0.97911 | -0.40127 | 6.6801
34 | 0.020808 | 0.0052145 | -0.020799 | -0.0052088 | 9.3893e-06 | 5.6913e-06 | 0.031546 | 0.031546 | 0.031546 | 0.98152 | -0.35419 | 0.98104 | -0.36366 | 8.6665
35 | 0.027458 | 0.0068955 | -0.027437 | -0.0068828 | 2.0492e-05 | 1.2722e-05 | 0.041776 | 0.041776 | 0.041776 | 0.97813 | -0.42046 | 0.97734 | -0.43612 | 11.4769
36 | 0.0089737 | 0.0022497 | -0.0089709 | -0.0022484 | 2.802e-06 | 1.2882e-06 | 0.013638 | 0.013638 | 0.013638 | 0.97911 | -0.40127 | 0.97878 | -0.40782 | 3.7468
37 | 0.0070258 | 0.0017608 | -0.0070255 | -0.0017607 | 2.9423e-07 | 1.0176e-07 | 0.010677 | 0.010677 | 0.010677 | 0.97911 | -0.40127 | 0.97907 | -0.40215 | 2.9334
38 | 0.016973 | 0.0042498 | -0.016967 | -0.0042466 | 5.3829e-06 | 3.1716e-06 | 0.025742 | 0.025742 | 0.025742 | 0.98104 | -0.36366 | 0.9807 | -0.37033 | 7.0721
39 | 0.020789 | 0.0052165 | -0.020784 | -0.0052135 | 4.9135e-06 | 2.9808e-06 | 0.031654 | 0.031654 | 0.031654 | 0.97734 | -0.43612 | 0.97708 | -0.44107 | 8.696
40 | 0.0089709 | 0.0022484 | -0.0089706 | -0.0022482 | 3.0906e-07 | 1.4211e-07 | 0.013638 | 0.013638 | 0.013638 | 0.97878 | -0.40782 | 0.97874 | -0.40855 | 3.7468
41 | 0.16765 | 0.042495 | -0.16758 | -0.042452 | 6.7541e-05 | 4.2656e-05 | 0.2535 | 0.2535 | 0.2535 | 0.98474 | -0.29149 | 0.9843 | -0.29988 | 17.411
42 | -0.0179 | -0.0044873 | 0.01791 | 0.0044933 | 1.0123e-05 | 6.0245e-06 | 0.027277 | 0.027277 | 0.027277 | 0.97648 | -0.45294 | 0.97708 | -0.44107 | 7.4938
43 | 0.010754 | 0.0026963 | -0.010751 | -0.0026948 | 2.847e-06 | 1.4685e-06 | 0.016388 | 0.016388 | 0.016388 | 0.97648 | -0.45294 | 0.9762 | -0.45849 | 4.5021
44 | 0.010751 | 0.0026948 | -0.01075 | -0.0026946 | 5.0275e-07 | 2.5935e-07 | 0.016388 | 0.016388 | 0.016388 | 0.9762 | -0.45849 | 0.97615 | -0.45947 | 4.5022
45 | 0.01075 | 0.0026946 | -0.01075 | -0.0026941 | 9.4465e-07 | 4.8733e-07 | 0.016388 | 0.016388 | 0.016388 | 0.97615 | -0.45947 | 0.97606 | -0.46132 | 4.5022
46 | 0.0050061 | 0.0012479 | -0.005006 | -0.0012479 | 4.9005e-08 | 2.7943e-09 | 0.0075952 | 0.0075952 | 0.0075952 | 0.98046 | -0.37509 | 0.98045 | -0.37529 | 2.0866
47 | -0.013803 | -0.0034528 | 0.013807 | 0.0034545 | 3.1264e-06 | 1.7612e-06 | 0.020947 | 0.020947 | 0.020947 | 0.98046 | -0.37509 | 0.9807 | -0.37033 | 5.7546
48 | 0.0032389 | 0.00080502 | -0.0032369 | -0.00080651 | 1.9764e-06 | -1.4861e-06 | 0.0049132 | 0.0049142 | 0.0049142 | 0.98045 | -0.37529 | 0.97979 | -0.38818 | 1.3501
49 | 0.0032369 | 0.00080651 | -0.0032362 | -0.00080707 | 7.5546e-07 | -5.6679e-07 | 0.0049142 | 0.0049146 | 0.0049146 | 0.97979 | -0.38818 | 0.97954 | -0.3931 | 1.3502
50 | 0.0032362 | 0.00080707 | -0.0032357 | -0.00080744 | 4.8837e-07 | -3.6604e-07 | 0.0049146 | 0.0049148 | 0.0049148 | 0.97954 | -0.3931 | 0.97938 | -0.39627 | 1.3502
51 | 0.0029747 | 0.00074203 | -0.0029746 | -0.00074205 | 2.8037e-08 | -2.8142e-08 | 0.0045183 | 0.0045183 | 0.0045183 | 0.97938 | -0.39627 | 0.97937 | -0.39647 | 1.2413
52 | 0.00091111 | 0.00022489 | -0.000911 | -0.00022667 | 1.0562e-07 | -1.7842e-06 | 0.0013831 | 0.0013837 | 0.0013837 | 0.97937 | -0.39647 | 0.97925 | -0.39893 | 0.38014
53 | 0.000911 | 0.00022667 | -0.00091099 | -0.00022686 | 1.135e-08 | -1.9158e-07 | 0.0013837 | 0.0013838 | 0.0013838 | 0.97925 | -0.39893 | 0.97924 | -0.39919 | 0.38016
54 | 0.00074684 | 0.00018572 | -0.00074682 | -0.00018638 | 2.5734e-08 | -6.5426e-07 | 0.0011344 | 0.0011346 | 0.0011346 | 0.97924 | -0.39919 | 0.9792 | -0.39992 | 0.3117
55 | -0.10445 | -0.026396 | 0.10449 | 0.026418 | 3.6045e-05 | 2.2297e-05 | 0.15858 | 0.15858 | 0.15858 | 0.9806 | -0.37187 | 0.98097 | -0.36468 | 10.8913
56 | -0.14869 | -0.037527 | 0.14872 | 0.037543 | 2.4203e-05 | 1.5234e-05 | 0.22564 | 0.22564 | 0.22564 | 0.98097 | -0.36468 | 0.98114 | -0.36128 | 15.4974
57 | 0.044206 | 0.011109 | -0.044159 | -0.01108 | 4.6832e-05 | 2.9622e-05 | 0.067066 | 0.067066 | 0.067066 | 0.98097 | -0.36468 | 0.97983 | -0.3869 | 18.4248
58 | -0.15621 | -0.039421 | 0.15634 | 0.039501 | 0.00012723 | 8.0208e-05 | 0.23701 | 0.23701 | 0.23701 | 0.98114 | -0.36128 | 0.98201 | -0.34429 | 16.2782
59 | 0.033085 | 0.0083044 | -0.033075 | -0.0082978 | 1.0545e-05 | 6.6088e-06 | 0.050249 | 0.050249 | 0.050249 | 0.97983 | -0.3869 | 0.97949 | -0.39358 | 13.8048
60 | -0.15634 | -0.039501 | 0.15642 | 0.039551 | 7.8886e-05 | 4.9729e-05 | 0.23701 | 0.23701 | 0.23701 | 0.98201 | -0.34429 | 0.98256 | -0.33377 | 16.2782
61 | 0.012597 | 0.0031586 | -0.012593 | -0.0031561 | 4.5407e-06 | 2.4901e-06 | 0.019138 | 0.019138 | 0.019138 | 0.97949 | -0.39358 | 0.97911 | -0.40115 | 5.2578
62 | 0.020477 | 0.0051392 | -0.020461 | -0.0051296 | 1.5879e-05 | 9.6126e-06 | 0.031111 | 0.031111 | 0.031111 | 0.97949 | -0.39358 | 0.97866 | -0.40985 | 8.5471
63 | -0.16581 | -0.041904 | 0.16595 | 0.041997 | 0.00014771 | 9.3272e-05 | 0.25123 | 0.25123 | 0.25123 | 0.98256 | -0.33377 | 0.98351 | -0.3152 | 17.2545
64 | 0.00345 | 0.00086423 | -0.0034495 | -0.00086452 | 4.9885e-07 | -2.8814e-07 | 0.0052454 | 0.0052456 | 0.0052456 | 0.97866 | -0.40985 | 0.97851 | -0.41289 | 1.4411
65 | 0.013663 | 0.0034263 | -0.013657 | -0.0034227 | 6.4187e-06 | 3.6099e-06 | 0.020775 | 0.020775 | 0.020775 | 0.97866 | -0.40985 | 0.97816 | -0.41972 | 5.7074
66 | 0.0033484 | 0.00083907 | -0.0033483 | -0.00083915 | 1.2338e-07 | -8.0534e-08 | 0.005091 | 0.0050911 | 0.0050911 | 0.97866 | -0.40985 | 0.97862 | -0.41063 | 1.3987
67 | -0.16746 | -0.042374 | 0.16758 | 0.042452 | 0.00012329 | 7.7863e-05 | 0.2535 | 0.2535 | 0.2535 | 0.98351 | -0.3152 | 0.9843 | -0.29988 | 17.411
68 | 0.00044196 | 0.00011044 | -0.00044196 | -0.0001107 | 3.5651e-09 | -2.6287e-07 | 0.00067152 | 0.00067161 | 0.00067161 | 0.97918 | -0.40028 | 0.97917 | -0.40045 | 0.18451
69 | -0.00053863 | -0.00013467 | 0.00053864 | 0.00013431 | 7.2829e-09 | -3.6012e-07 | 0.00081842 | 0.00081829 | 0.00081842 | 0.97918 | -0.40028 | 0.97919 | -0.4 | 0.22484
70 | 0.00034677 | 8.6846e-05 | -0.00034677 | -8.6909e-05 | 5.1947e-10 | -6.2413e-08 | 0.00052695 | 0.00052698 | 0.00052698 | 0.97917 | -0.40045 | 0.97917 | -0.40049 | 0.14477
71 | -0.00053864 | -0.00013431 | 0.00053864 | 0.0001342 | 2.1148e-09 | -1.046e-07 | 0.00081829 | 0.00081825 | 0.00081829 | 0.97919 | -0.4 | 0.9792 | -0.39992 | 0.22481

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37023 | 0.094727

## res_load
| p_mw | q_mvar
0 | 0.033406 | 0.0083724
1 | 0.013979 | 0.0035035
2 | 0.012167 | 0.0030493
3 | 0.011475 | 0.0028759
4 | 0.020714 | 0.0051915
5 | 0.0065881 | 0.0016511
6 | 0.016749 | 0.0041977
7 | 0.011934 | 0.0029908
8 | 0.013001 | 0.0032584
9 | 0.008737 | 0.0021897
10 | 0.011351 | 0.0028447
11 | 0.013693 | 0.0034318
12 | 0.008732 | 0.0021884
13 | 0.0046163 | 0.001157
14 | 0.0087373 | 0.0021898
15 | 0.0023325 | 0.00058459
16 | 0.00090068 | 0.00022573
17 | 0.0076085 | 0.0019069
18 | 0.0058592 | 0.0014684
19 | 0.0073423 | 0.0018402
20 | 0.0038264 | 0.00095898
21 | 0.0066485 | 0.0016663
22 | 0.0070255 | 0.0017607
23 | 0.0078833 | 0.0019758
24 | 0.0071462 | 0.001791
25 | 0.0028736 | 0.00072019
26 | 0.01075 | 0.0026941
27 | 0.0087974 | 0.0022048
28 | 0.0017671 | 0.00044289
29 | 0.0031606 | 0.00079212
30 | 0.00026101 | 6.5414e-05
31 | 0.0020635 | 0.00051717
32 | 0.00016415 | 4.114e-05
33 | 0.007906 | 0.0019814
34 | 0.0074956 | 0.0018786
35 | 0.011074 | 0.0027754
36 | 0.0093871 | 0.0023526
37 | 0.012593 | 0.0031561
38 | 0.0015064 | 0.00037754
39 | 0.0033483 | 0.00083915
40 | 0.0034495 | 0.00086452
41 | 0.013657 | 0.0034227
42 | 9.667e-05 | 2.4228e-05
43 | 9.519e-05 | 2.3857e-05
44 | 0.00034677 | 8.6909e-05
45 | 0.00020817 | 5.2173e-05
46 | 0.0089706 | 0.0022482

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1