## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1708-17_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1708-17_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1708-17_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1708-17_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1708-17_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1708-17_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1708-17_0_8_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_1708-17_0_8_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_1708-17_0_8_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_1708-17_0_8_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1708-17_0_8_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_1708-17_0_8_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1708-17_0_8_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_1708-17_0_8_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_1708-17_0_8_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_1708-17_0_8_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_1708-17_0_8_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1708-17_0_8_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1708-17_0_8_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1708-17_0_8_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1708-17_0_8_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1708-17_0_8_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1708-17_0_8_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1708-17_0_8_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_1708-17_0_8_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1708-17_0_8_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1708-17_0_8_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1708-17_0_8_node_9 | 0.4 | n |  | TRUE
28 | bus_LV_1708-17_0_8_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_1708-17_0_8_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_1708-17_0_8_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_1708-17_0_8_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_1708-17_0_8_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1708-17_0_8_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1708-17_0_8_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1708-17_0_8_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1708-17_0_8_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1708-17_0_8_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1708-17_0_8_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1708-17_0_8_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1708-17_0_8_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_1708-17_0_8_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_1708-17_0_8_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1708-17_0_8_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_1708-17_0_8_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1708-17_0_8_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_1708-17_0_8_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_1708-17_0_8_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_1708-17_0_8_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_1708-17_0_8_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_1708-17_0_8_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_1708-17_0_8_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1708-17_0_8_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_1708-17_0_8_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_1708-17_0_8_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_1708-17_0_8_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_1708-17_0_8_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1708-17_0_8_node_54 | 0.4 | n |  | TRUE
58 | bus_MV_231_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1708-17_0_8_load_0 | 0 | 0.028105 | 0.0070438 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1708-17_0_8_load_52 | 7 | 0.013542 | 0.003394 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1708-17_0_8_load_38 | 8 | 0.033852 | 0.0084842 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1708-17_0_8_load_21 | 9 | 0.022985 | 0.0057606 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1708-17_0_8_load_17 | 10 | 0.02298 | 0.0057593 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1708-17_0_8_load_49 | 12 | 0.014013 | 0.0035119 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1708-17_0_8_load_42 | 13 | 0.028584 | 0.0071638 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1708-17_0_8_load_14 | 18 | 0.023861 | 0.0059801 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1708-17_0_8_load_37 | 19 | 0.023711 | 0.0059425 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1708-17_0_8_load_26 | 21 | 0.025742 | 0.0064515 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1708-17_0_8_load_50 | 23 | 0.017372 | 0.0043538 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1708-17_0_8_load_25 | 26 | 0.032992 | 0.0082687 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1708-17_0_8_load_9 | 27 | 0.017898 | 0.0044856 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1708-17_0_8_load_13 | 31 | 0.017476 | 0.0043798 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1708-17_0_8_load_22 | 32 | 0.021328 | 0.0053452 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1708-17_0_8_load_30 | 35 | 0.027448 | 0.0068791 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1708-17_0_8_load_55 | 40 | 0.01108 | 0.0027769 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1708-17_0_8_load_61 | 41 | 0.0049127 | 0.0012312 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1708-17_0_8_load_58 | 43 | 0.0054903 | 0.001376 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1708-17_0_8_load_59 | 45 | 0.010431 | 0.0026142 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1708-17_0_8_load_60 | 46 | 0.010573 | 0.0026498 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1708-17_0_8_load_53 | 47 | 0.0085572 | 0.0021446 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1708-17_0_8_load_62 | 48 | 0.0054556 | 0.0013673 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1708-17_0_8_load_57 | 50 | 0.02196 | 0.0055037 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1708-17_0_8_load_56 | 52 | 0.0051415 | 0.0012886 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1708-17_0_8_load_41 | 54 | 0.030818 | 0.0077238 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1708-17_0_8_load_47 | 56 | 0.082925 | 0.020783 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1708-17_0_8_load_54 | 57 | 0.026454 | 0.0066299 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1708-17_0_8_line_0 |  | 0 | 1 | 0.033407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1708-17_0_8_line_1 |  | 0 | 2 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1708-17_0_8_line_2 |  | 1 | 3 | 0.028401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1708-17_0_8_line_3 |  | 1 | 4 | 0.036935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1708-17_0_8_line_4 |  | 2 | 5 | 0.026413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1708-17_0_8_line_5 |  | 3 | 6 | 0.016228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1708-17_0_8_line_6 |  | 3 | 7 | 0.024727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1708-17_0_8_line_7 |  | 4 | 8 | 0.035358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1708-17_0_8_line_8 |  | 5 | 9 | 0.026887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1708-17_0_8_line_9 |  | 5 | 10 | 0.019607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1708-17_0_8_line_10 |  | 6 | 13 | 0.030649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1708-17_0_8_line_11 |  | 7 | 11 | 0.012562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1708-17_0_8_line_12 |  | 8 | 19 | 0.031939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1708-17_0_8_line_13 |  | 9 | 20 | 0.041812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1708-17_0_8_line_14 |  | 10 | 17 | 0.034698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1708-17_0_8_line_15 |  | 11 | 12 | 0.027493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1708-17_0_8_line_16 |  | 12 | 23 | 0.018353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1708-17_0_8_line_17 |  | 13 | 14 | 0.01752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1708-17_0_8_line_18 |  | 14 | 15 | 0.035703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1708-17_0_8_line_19 |  | 15 | 51 | 0.050362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1708-17_0_8_line_20 |  | 16 | 17 | 0.036702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1708-17_0_8_line_21 |  | 16 | 18 | 0.002198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1708-17_0_8_line_22 |  | 18 | 30 | 0.030112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1708-17_0_8_line_23 |  | 19 | 53 | 0.021668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1708-17_0_8_line_24 |  | 20 | 32 | 0.022826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1708-17_0_8_line_25 |  | 21 | 22 | 0.03954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1708-17_0_8_line_26 |  | 22 | 44 | 0.007714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1708-17_0_8_line_27 |  | 22 | 42 | 0.010249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1708-17_0_8_line_28 |  | 23 | 49 | 0.032787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1708-17_0_8_line_29 |  | 24 | 25 | 0.073455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1708-17_0_8_line_30 |  | 24 | 26 | 0.0031507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1708-17_0_8_line_31 |  | 25 | 32 | 0.004101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1708-17_0_8_line_32 |  | 27 | 28 | 0.037074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1708-17_0_8_line_33 |  | 28 | 29 | 0.011014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1708-17_0_8_line_34 |  | 29 | 30 | 0.030958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1708-17_0_8_line_35 |  | 29 | 31 | 0.018975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1708-17_0_8_line_36 |  | 33 | 34 | 0.037734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1708-17_0_8_line_37 |  | 33 | 35 | 0.034809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1708-17_0_8_line_38 |  | 34 | 41 | 0.017493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1708-17_0_8_line_39 |  | 34 | 42 | 0.021863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1708-17_0_8_line_40 |  | 36 | 37 | 0.017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1708-17_0_8_line_41 |  | 36 | 38 | 0.047377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1708-17_0_8_line_42 |  | 36 | 39 | 0.036703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1708-17_0_8_line_43 |  | 36 | 40 | 0.019646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1708-17_0_8_line_44 |  | 37 | 46 | 0.006893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1708-17_0_8_line_45 |  | 38 | 43 | 0.00458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1708-17_0_8_line_46 |  | 38 | 44 | 0.054726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1708-17_0_8_line_47 |  | 39 | 45 | 0.005203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1708-17_0_8_line_48 |  | 40 | 52 | 0.0014232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1708-17_0_8_line_49 |  | 42 | 48 | 0.014431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1708-17_0_8_line_50 |  | 44 | 47 | 0.021545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1708-17_0_8_line_51 |  | 47 | 49 | 0.024527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1708-17_0_8_line_52 |  | 49 | 57 | 0.02145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1708-17_0_8_line_53 |  | 50 | 51 | 0.026679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1708-17_0_8_line_54 |  | 51 | 55 | 0.053369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1708-17_0_8_line_55 |  | 53 | 54 | 0.008386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1708-17_0_8_line_56 |  | 55 | 56 | 0.074314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1708-17_0_8_trafo_7 | 0.63 MVA 20/0.4 kV | 58 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2679223.7846 | 1227395.5354 | 2679249.1554 | 1227404.9129 | 2679254.203 | 1227403.7794 | 2679255.3006 | 1227404.2271
1 | 2679276.7718 | 1227412.9862 | 2679255.3006 | 1227404.2271
2 | 2679223.7846 | 1227395.5354 | 2679218.1605 | 1227367.6972
3 | 2679223.7846 | 1227395.5354 | 2679226.1663 | 1227413.6015 | 2679226.6155 | 1227425.9603 | 2679225.9555 | 1227432.2669
4 | 2679266.5941 | 1227437.3671 | 2679276.7718 | 1227412.9862
5 | 2679202.3591 | 1227367.6313 | 2679215.1549 | 1227369.1582 | 2679218.1605 | 1227367.6972
6 | 2679218.1605 | 1227367.6972 | 2679242.2294 | 1227362.031
7 | 2679225.9555 | 1227432.2669 | 2679219.6131 | 1227436.73 | 2679202.4101 | 1227438.3465 | 2679193.1325 | 1227433.8167
8 | 2679266.5941 | 1227437.3671 | 2679291.8165 | 1227446.6818
9 | 2679266.5941 | 1227437.3671 | 2679259.5339 | 1227455.6592
10 | 2679202.3591 | 1227367.6313 | 2679197.2049 | 1227360.8359 | 2679194.1624 | 1227352.5454 | 2679197.2071 | 1227339.6105
11 | 2679254.4567 | 1227359.1525 | 2679242.2294 | 1227362.031
12 | 2679174.1171 | 1227415.0653 | 2679174.5981 | 1227427.3245 | 2679189.7447 | 1227432.1626 | 2679193.1325 | 1227433.8167
13 | 2679330.6306 | 1227462.2151 | 2679306.1927 | 1227452.2493 | 2679301.2336 | 1227450.1595 | 2679291.8165 | 1227446.6818
14 | 2679247.0398 | 1227488.0299 | 2679259.5339 | 1227455.6592
15 | 2679254.4567 | 1227359.1525 | 2679264.8602 | 1227333.7034
16 | 2679264.8602 | 1227333.7034 | 2679271.8049 | 1227316.7152
17 | 2679208.2716 | 1227326.0263 | 2679197.2071 | 1227339.6105
18 | 2679206.2134 | 1227290.4971 | 2679205.8798 | 1227294.4954 | 2679206.054 | 1227300.7575 | 2679208.2791 | 1227316.3643 | 2679208.2716 | 1227326.0263
19 | 2679206.2134 | 1227290.4971 | 2679190.7455 | 1227287.567 | 2679192.9323 | 1227281.581 | 2679190.2531 | 1227280.1555 | 2679187.0414 | 1227277.1663 | 2679185.1019 | 1227272.5596 | 2679185.5705 | 1227267.5291 | 2679187.5256 | 1227263.5746 | 2679181.7556 | 1227260.8961
20 | 2679215.0112 | 1227470.9808 | 2679236.5327 | 1227479.7065 | 2679240.8727 | 1227484.4564 | 2679247.0398 | 1227488.0299
21 | 2679215.0112 | 1227470.9808 | 2679214.1541 | 1227473.0048
22 | 2679202.4128 | 1227500.7332 | 2679214.1541 | 1227473.0048
23 | 2679177.334 | 1227393.7493 | 2679176.8362 | 1227404.3832 | 2679174.1171 | 1227415.0653
24 | 2679330.6306 | 1227462.2151 | 2679339.501 | 1227441.1831
25 | 2679336.0716 | 1227277.0734 | 2679335.1378 | 1227282.2979 | 2679323.7624 | 1227314.5856
26 | 2679336.0716 | 1227277.0734 | 2679328.403 | 1227278.0941
27 | 2679346.2882 | 1227275.9422 | 2679336.0716 | 1227277.0734
28 | 2679283.0194 | 1227286.028 | 2679282.1049 | 1227291.5195 | 2679271.8049 | 1227316.7152
29 | 2679341.0947 | 1227437.4045 | 2679355.1552 | 1227404.9144 | 2679356.9118 | 1227400.5015 | 2679326.0112 | 1227388.0811
30 | 2679326.0112 | 1227388.0811 | 2679323.0772 | 1227386.9329
31 | 2679341.0947 | 1227437.4045 | 2679339.501 | 1227441.1831
32 | 2679163.8494 | 1227490.0795 | 2679141.8724 | 1227480.8365 | 2679146.1489 | 1227468.3142
33 | 2679174.5798 | 1227487.8986 | 2679172.2244 | 1227487.7782 | 2679163.8494 | 1227490.0795
34 | 2679202.4128 | 1227500.7332 | 2679176.7201 | 1227490.5177 | 2679174.5798 | 1227487.8986
35 | 2679174.5798 | 1227487.8986 | 2679180.4236 | 1227469.8458
36 | 2679368.1895 | 1227275.5563 | 2679375.5966 | 1227276.5224 | 2679380.9381 | 1227277.7945 | 2679394.0524 | 1227281.5942 | 2679399.6029 | 1227283.6697 | 2679404.4672 | 1227285.4914
37 | 2679404.4672 | 1227285.4914 | 2679390.8061 | 1227317.5073
38 | 2679365.6162 | 1227258.2547 | 2679368.1895 | 1227275.5563
39 | 2679368.1895 | 1227275.5563 | 2679359.7052 | 1227275.2318 | 2679346.2882 | 1227275.9422
40 | 2679334.7757 | 1227208.3208 | 2679317.909 | 1227210.8087
41 | 2679317.909 | 1227210.8087 | 2679322.9589 | 1227240.763 | 2679339.6461 | 1227237.5166
42 | 2679305.944 | 1227182.1966 | 2679312.5054 | 1227181.2278 | 2679317.909 | 1227210.8087
43 | 2679317.909 | 1227210.8087 | 2679302.7481 | 1227213.2639 | 2679302.1674 | 1227209.0154
44 | 2679333.6993 | 1227201.5129 | 2679334.7757 | 1227208.3208
45 | 2679339.0018 | 1227232.9827 | 2679339.6461 | 1227237.5166
46 | 2679339.6461 | 1227237.5166 | 2679322.9589 | 1227240.763 | 2679328.403 | 1227278.0941
47 | 2679305.1864 | 1227177.0497 | 2679305.944 | 1227182.1966
48 | 2679301.9747 | 1227207.6053 | 2679302.1674 | 1227209.0154
49 | 2679344.372 | 1227261.6403 | 2679346.2882 | 1227275.9422
50 | 2679328.403 | 1227278.0941 | 2679307.1803 | 1227281.8042
51 | 2679283.0194 | 1227286.028 | 2679307.1803 | 1227281.8042
52 | 2679283.0194 | 1227286.028 | 2679261.8335 | 1227289.3861
53 | 2679181.7556 | 1227260.8961 | 2679198.0499 | 1227239.7717
54 | 2679146.3775 | 1227257.9345 | 2679141.3993 | 1227264.1058 | 2679152.4156 | 1227266.6652 | 2679158.0274 | 1227267.5627 | 2679165.358 | 1227265.1697 | 2679171.3833 | 1227262.9038 | 2679174.926 | 1227259.8156 | 2679176.8652 | 1227257.0506 | 2679181.7556 | 1227260.8961
55 | 2679177.334 | 1227393.7493 | 2679170.2007 | 1227389.3069
56 | 2679146.3775 | 1227257.9345 | 2679155.494 | 1227263.1593 | 2679196.492 | 1227214.2668

## bus_geodata
| x | y | coords
0 | 2679255.3006 | 1227404.2271
1 | 2679223.7846 | 1227395.5354
2 | 2679276.7718 | 1227412.9862
3 | 2679218.1605 | 1227367.6972
4 | 2679225.9555 | 1227432.2669
5 | 2679266.5941 | 1227437.3671
6 | 2679202.3591 | 1227367.6313
7 | 2679242.2294 | 1227362.031
8 | 2679193.1325 | 1227433.8167
9 | 2679291.8165 | 1227446.6818
10 | 2679259.5339 | 1227455.6592
11 | 2679254.4567 | 1227359.1525
12 | 2679264.8602 | 1227333.7034
13 | 2679197.2071 | 1227339.6105
14 | 2679208.2716 | 1227326.0263
15 | 2679206.2134 | 1227290.4971
16 | 2679215.0112 | 1227470.9808
17 | 2679247.0398 | 1227488.0299
18 | 2679214.1541 | 1227473.0048
19 | 2679174.1171 | 1227415.0653
20 | 2679330.6306 | 1227462.2151
21 | 2679323.7624 | 1227314.5856
22 | 2679336.0716 | 1227277.0734
23 | 2679271.8049 | 1227316.7152
24 | 2679326.0112 | 1227388.0811
25 | 2679341.0947 | 1227437.4045
26 | 2679323.0772 | 1227386.9329
27 | 2679146.1489 | 1227468.3142
28 | 2679163.8494 | 1227490.0795
29 | 2679174.5798 | 1227487.8986
30 | 2679202.4128 | 1227500.7332
31 | 2679180.4236 | 1227469.8458
32 | 2679339.501 | 1227441.1831
33 | 2679404.4672 | 1227285.4914
34 | 2679368.1895 | 1227275.5563
35 | 2679390.8061 | 1227317.5073
36 | 2679317.909 | 1227210.8087
37 | 2679334.7757 | 1227208.3208
38 | 2679339.6461 | 1227237.5166
39 | 2679305.944 | 1227182.1966
40 | 2679302.1674 | 1227209.0154
41 | 2679365.6162 | 1227258.2547
42 | 2679346.2882 | 1227275.9422
43 | 2679339.0018 | 1227232.9827
44 | 2679328.403 | 1227278.0941
45 | 2679305.1864 | 1227177.0497
46 | 2679333.6993 | 1227201.5129
47 | 2679307.1803 | 1227281.8042
48 | 2679344.372 | 1227261.6403
49 | 2679283.0194 | 1227286.028
50 | 2679198.0499 | 1227239.7717
51 | 2679181.7556 | 1227260.8961
52 | 2679301.9747 | 1227207.6053
53 | 2679177.334 | 1227393.7493
54 | 2679170.2007 | 1227389.3069
55 | 2679146.3775 | 1227257.9345
56 | 2679196.492 | 1227214.2668
57 | 2679261.8335 | 1227289.3861
58 | 2679279.8553 | 1227352.8088

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99319 | -0.12964 | 0.028105 | 0.0070438
1 | 0.99463 | -0.10199 | 0 | 0
2 | 0.99234 | -0.14599 | 0 | 0
3 | 0.99644 | -0.06752 | 0 | 0
4 | 0.99164 | -0.15968 | 0 | 0
5 | 0.9904 | -0.18336 | 0 | 0
6 | 0.99442 | -0.10562 | 0 | 0
7 | 0.99877 | -0.023185 | 0.013542 | 0.003394
8 | 0.98877 | -0.21523 | 0.033852 | 0.0084842
9 | 0.98849 | -0.22036 | 0.022985 | 0.0057606
10 | 0.98892 | -0.21205 | 0.02298 | 0.0057593
11 | 1 | 0 | -0.60505 | -0.1542
12 | 0.99891 | -0.020711 | 0.014013 | 0.0035119
13 | 0.99062 | -0.178 | 0.028584 | 0.0071638
14 | 0.9889 | -0.2107 | 0 | 0
15 | 0.9854 | -0.27768 | 0 | 0
16 | 0.98502 | -0.28773 | 0 | 0
17 | 0.98702 | -0.24875 | 0 | 0
18 | 0.9849 | -0.29007 | 0.023861 | 0.0059801
19 | 0.98716 | -0.24633 | 0.023711 | 0.0059425
20 | 0.98639 | -0.26097 | 0 | 0
21 | 0.99006 | -0.19094 | 0.025742 | 0.0064515
22 | 0.99099 | -0.17286 | 0 | 0
23 | 0.99825 | -0.033436 | 0.017372 | 0.0043538
24 | 0.98289 | -0.32926 | 0 | 0
25 | 0.98512 | -0.28563 | 0 | 0
26 | 0.98279 | -0.33114 | 0.032992 | 0.0082687
27 | 0.98211 | -0.34451 | 0.017898 | 0.0044856
28 | 0.98272 | -0.33252 | 0 | 0
29 | 0.9829 | -0.32896 | 0 | 0
30 | 0.98391 | -0.30923 | 0 | 0
31 | 0.9826 | -0.33495 | 0.017476 | 0.0043798
32 | 0.98525 | -0.2832 | 0.021328 | 0.0053452
33 | 0.98904 | -0.21076 | 0 | 0
34 | 0.98999 | -0.19232 | 0 | 0
35 | 0.98816 | -0.22779 | 0.027448 | 0.0068791
36 | 0.98768 | -0.23717 | 0 | 0
37 | 0.98751 | -0.24038 | 0 | 0
38 | 0.9893 | -0.20571 | 0 | 0
39 | 0.98732 | -0.24401 | 0 | 0
40 | 0.98738 | -0.24287 | 0.01108 | 0.0027769
41 | 0.98991 | -0.19385 | 0.0049127 | 0.0012312
42 | 0.99064 | -0.17974 | 0 | 0
43 | 0.98927 | -0.20616 | 0.0054903 | 0.001376
44 | 0.99144 | -0.16416 | 0 | 0
45 | 0.98727 | -0.24498 | 0.010431 | 0.0026142
46 | 0.98744 | -0.24168 | 0.010573 | 0.0026498
47 | 0.99354 | -0.12364 | 0.0085572 | 0.0021446
48 | 0.99056 | -0.18114 | 0.0054556 | 0.0013673
49 | 0.99613 | -0.074037 | 0 | 0
50 | 0.97993 | -0.38361 | 0.02196 | 0.0055037
51 | 0.98047 | -0.37298 | 0 | 0
52 | 0.98738 | -0.243 | 0.0051415 | 0.0012886
53 | 0.98655 | -0.25828 | 0 | 0
54 | 0.98631 | -0.26291 | 0.030818 | 0.0077238
55 | 0.97634 | -0.45356 | 0 | 0
56 | 0.97058 | -0.56691 | 0.082925 | 0.020783
57 | 0.99561 | -0.08401 | 0.026454 | 0.0066299
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.18883 | -0.04779 | 0.18908 | 0.047949 | 0.00025097 | 0.00015889 | 0.28308 | 0.28308 | 0.28308 | 0.99319 | -0.12964 | 0.99463 | -0.10199 | 19.4422
1 | 0.16073 | 0.040747 | -0.1606 | -0.040667 | 0.00012624 | 7.9592e-05 | 0.24097 | 0.24097 | 0.24097 | 0.99319 | -0.12964 | 0.99234 | -0.14599 | 16.5503
2 | -0.27805 | -0.070473 | 0.27851 | 0.070767 | 0.00046135 | 0.00029379 | 0.41626 | 0.41626 | 0.41626 | 0.99463 | -0.10199 | 0.99644 | -0.06752 | 28.5892
3 | 0.088968 | 0.022524 | -0.088722 | -0.022367 | 0.00024567 | 0.00015675 | 0.13318 | 0.13318 | 0.13318 | 0.99463 | -0.10199 | 0.99164 | -0.15968 | 36.588
4 | 0.1606 | 0.040667 | -0.16032 | -0.040484 | 0.00028758 | 0.00018337 | 0.24097 | 0.24097 | 0.24097 | 0.99234 | -0.14599 | 0.9904 | -0.18336 | 33.1006
5 | 0.13598 | 0.035055 | -0.13573 | -0.034894 | 0.00025181 | 0.00016095 | 0.20341 | 0.20341 | 0.20341 | 0.99644 | -0.06752 | 0.99442 | -0.10562 | 55.883
6 | -0.4145 | -0.10582 | 0.41539 | 0.10639 | 0.00089015 | 0.0005684 | 0.61967 | 0.61967 | 0.61967 | 0.99644 | -0.06752 | 0.99877 | -0.023185 | 42.5598
7 | 0.088722 | 0.022367 | -0.088487 | -0.022217 | 0.00023518 | 0.00015006 | 0.13318 | 0.13318 | 0.13318 | 0.99164 | -0.15968 | 0.98877 | -0.21523 | 36.5881
8 | 0.077682 | 0.019613 | -0.077544 | -0.019526 | 0.00013747 | 8.7632e-05 | 0.11676 | 0.11676 | 0.11676 | 0.9904 | -0.18336 | 0.98849 | -0.22036 | 32.0779
9 | 0.082633 | 0.02087 | -0.08252 | -0.020798 | 0.00011344 | 7.2347e-05 | 0.12421 | 0.12421 | 0.12421 | 0.9904 | -0.18336 | 0.98892 | -0.21205 | 34.1233
10 | 0.13573 | 0.034894 | -0.13525 | -0.03459 | 0.00047556 | 0.00030396 | 0.20341 | 0.20341 | 0.20341 | 0.99442 | -0.10562 | 0.99062 | -0.178 | 55.883
11 | -0.42893 | -0.10978 | 0.42941 | 0.11009 | 0.00048213 | 0.00030791 | 0.63985 | 0.63985 | 0.63985 | 0.99877 | -0.023185 | 1 | 0 | 43.9455
12 | 0.054635 | 0.013733 | -0.054554 | -0.013682 | 8.0998e-05 | 5.1429e-05 | 0.082235 | 0.082235 | 0.082235 | 0.98877 | -0.21523 | 0.98716 | -0.24633 | 22.5922
13 | 0.054559 | 0.013765 | -0.054453 | -0.013698 | 0.00010585 | 6.7209e-05 | 0.082163 | 0.082163 | 0.082163 | 0.98849 | -0.22036 | 0.98639 | -0.26097 | 22.5723
14 | 0.05954 | 0.015039 | -0.059436 | -0.014972 | 0.00010453 | 6.6457e-05 | 0.089631 | 0.089631 | 0.089631 | 0.98892 | -0.21205 | 0.98702 | -0.24875 | 24.624
15 | 0.17399 | 0.044111 | -0.17382 | -0.044002 | 0.00017301 | 0.00010928 | 0.25908 | 0.25908 | 0.25908 | 1 | 0 | 0.99891 | -0.020711 | 17.7939
16 | 0.1598 | 0.04049 | -0.15971 | -0.040429 | 9.7629e-05 | 6.1522e-05 | 0.23821 | 0.23821 | 0.23821 | 0.99891 | -0.020711 | 0.99825 | -0.033436 | 16.3603
17 | 0.10667 | 0.027426 | -0.1065 | -0.027318 | 0.0001692 | 0.00010806 | 0.16048 | 0.16048 | 0.16048 | 0.99062 | -0.178 | 0.9889 | -0.2107 | 44.0876
18 | 0.1065 | 0.027318 | -0.10616 | -0.027098 | 0.00034481 | 0.00022022 | 0.16048 | 0.16048 | 0.16048 | 0.9889 | -0.2107 | 0.9854 | -0.27768 | 44.0876
19 | 0.10616 | 0.027098 | -0.10567 | -0.026787 | 0.00048637 | 0.00031064 | 0.16048 | 0.16048 | 0.16048 | 0.9854 | -0.27768 | 0.98047 | -0.37298 | 44.0877
20 | -0.059325 | -0.014902 | 0.059436 | 0.014972 | 0.00011057 | 7.0297e-05 | 0.089631 | 0.089631 | 0.089631 | 0.98502 | -0.28773 | 0.98702 | -0.24875 | 24.624
21 | 0.059325 | 0.014902 | -0.059318 | -0.014898 | 6.6219e-06 | 4.2101e-06 | 0.089631 | 0.089631 | 0.089631 | 0.98502 | -0.28773 | 0.9849 | -0.29007 | 24.624
22 | 0.035458 | 0.0089176 | -0.035425 | -0.0088972 | 3.2419e-05 | 2.0366e-05 | 0.053582 | 0.053582 | 0.053582 | 0.9849 | -0.29007 | 0.98391 | -0.30923 | 14.7203
23 | 0.030843 | 0.007739 | -0.030825 | -0.007728 | 1.7565e-05 | 1.0965e-05 | 0.046494 | 0.046494 | 0.046494 | 0.98716 | -0.24633 | 0.98655 | -0.25828 | 12.7732
24 | 0.054453 | 0.013698 | -0.054396 | -0.013661 | 5.7785e-05 | 3.6692e-05 | 0.082163 | 0.082163 | 0.082163 | 0.98639 | -0.26097 | 0.98525 | -0.2832 | 22.5723
25 | -0.025742 | -0.0064515 | 0.025764 | 0.0064652 | 2.2194e-05 | 1.3695e-05 | 0.038689 | 0.038689 | 0.038689 | 0.99006 | -0.19094 | 0.99099 | -0.17286 | 10.6288
26 | -0.063659 | -0.015992 | 0.063686 | 0.016009 | 2.6438e-05 | 1.6821e-05 | 0.095601 | 0.0956 | 0.095601 | 0.99099 | -0.17286 | 0.99144 | -0.16416 | 26.2639
27 | 0.037895 | 0.0095265 | -0.037883 | -0.0095187 | 1.2448e-05 | 7.835e-06 | 0.056912 | 0.056912 | 0.056912 | 0.99099 | -0.17286 | 0.99064 | -0.17974 | 15.6351
28 | 0.14233 | 0.036075 | -0.14206 | -0.035898 | 0.00027711 | 0.00017649 | 0.21231 | 0.21231 | 0.21231 | 0.99825 | -0.033436 | 0.99613 | -0.074037 | 29.1636
29 | -0.032995 | -0.0082705 | 0.033064 | 0.0083136 | 6.8734e-05 | 4.3056e-05 | 0.049953 | 0.049952 | 0.049953 | 0.98289 | -0.32926 | 0.98512 | -0.28563 | 13.7233
30 | 0.032995 | 0.0082705 | -0.032992 | -0.0082687 | 2.9482e-06 | 1.8469e-06 | 0.049953 | 0.049953 | 0.049953 | 0.98289 | -0.32926 | 0.98279 | -0.33114 | 13.7233
31 | -0.033064 | -0.0083136 | 0.033068 | 0.008316 | 3.8374e-06 | 2.4037e-06 | 0.049952 | 0.049952 | 0.049952 | 0.98512 | -0.28563 | 0.98525 | -0.2832 | 13.7232
32 | -0.017898 | -0.0044856 | 0.017908 | 0.0044917 | 1.0223e-05 | 6.0736e-06 | 0.027118 | 0.027117 | 0.027118 | 0.98211 | -0.34451 | 0.98272 | -0.33252 | 7.4499
33 | -0.017908 | -0.0044917 | 0.017911 | 0.0044935 | 3.0372e-06 | 1.8042e-06 | 0.027117 | 0.027117 | 0.027117 | 0.98272 | -0.33252 | 0.9829 | -0.32896 | 7.4498
34 | -0.035392 | -0.0088763 | 0.035425 | 0.0088972 | 3.3331e-05 | 2.0939e-05 | 0.053582 | 0.053582 | 0.053582 | 0.9829 | -0.32896 | 0.98391 | -0.30923 | 14.7204
35 | 0.017481 | 0.0043828 | -0.017476 | -0.0043798 | 4.9837e-06 | 2.9491e-06 | 0.026465 | 0.026465 | 0.026465 | 0.9829 | -0.32896 | 0.9826 | -0.33495 | 7.2706
36 | -0.02747 | -0.0068929 | 0.027494 | 0.0069079 | 2.4174e-05 | 1.4986e-05 | 0.041332 | 0.041332 | 0.041332 | 0.98904 | -0.21076 | 0.98999 | -0.19232 | 11.355
37 | 0.02747 | 0.0068929 | -0.027448 | -0.0068791 | 2.23e-05 | 1.3825e-05 | 0.041332 | 0.041332 | 0.041332 | 0.98904 | -0.21076 | 0.98816 | -0.22779 | 11.355
38 | 0.004913 | 0.0012312 | -0.0049127 | -0.0012312 | 3.5773e-07 | 4.0393e-09 | 0.0073846 | 0.0073846 | 0.0073846 | 0.98999 | -0.19232 | 0.98991 | -0.19385 | 2.0287
39 | -0.032407 | -0.0081391 | 0.032427 | 0.0081513 | 1.9458e-05 | 1.2172e-05 | 0.048717 | 0.048716 | 0.048717 | 0.98999 | -0.19232 | 0.99064 | -0.17974 | 13.3837
40 | 0.010575 | 0.0026509 | -0.010573 | -0.0026501 | 1.6182e-06 | 8.1815e-07 | 0.015932 | 0.015932 | 0.015932 | 0.98768 | -0.23717 | 0.98751 | -0.24038 | 4.377
41 | -0.037236 | -0.0093352 | 0.037292 | 0.0093703 | 5.5914e-05 | 3.5178e-05 | 0.0561 | 0.0561 | 0.0561 | 0.98768 | -0.23717 | 0.9893 | -0.20571 | 15.412
42 | 0.010435 | 0.0026162 | -0.010431 | -0.0026145 | 3.4018e-06 | 1.7076e-06 | 0.015721 | 0.015721 | 0.015721 | 0.98768 | -0.23717 | 0.98732 | -0.24401 | 4.3191
43 | 0.016226 | 0.004068 | -0.016221 | -0.0040655 | 4.4029e-06 | 2.5665e-06 | 0.024446 | 0.024446 | 0.024446 | 0.98768 | -0.23717 | 0.98738 | -0.24287 | 6.716
44 | 0.010573 | 0.0026501 | -0.010573 | -0.0026498 | 6.5615e-07 | 3.3176e-07 | 0.015932 | 0.015932 | 0.015932 | 0.98751 | -0.24038 | 0.98744 | -0.24168 | 4.3771
45 | 0.0054905 | 0.001376 | -0.0054903 | -0.001376 | 1.1713e-07 | 1.6159e-08 | 0.0082583 | 0.0082583 | 0.0082583 | 0.9893 | -0.20571 | 0.98927 | -0.20616 | 2.2688
46 | -0.042782 | -0.010746 | 0.042867 | 0.0108 | 8.5002e-05 | 5.3697e-05 | 0.064358 | 0.064358 | 0.064358 | 0.9893 | -0.20571 | 0.99144 | -0.16416 | 17.6807
47 | 0.010431 | 0.0026145 | -0.010431 | -0.0026142 | 4.8225e-07 | 2.421e-07 | 0.015721 | 0.015721 | 0.015721 | 0.98732 | -0.24401 | 0.98727 | -0.24498 | 4.3191
48 | 0.0051416 | 0.0012886 | -0.0051415 | -0.0012886 | 3.2043e-08 | 2.3044e-09 | 0.0077485 | 0.0077485 | 0.0077485 | 0.98738 | -0.24287 | 0.98738 | -0.243 | 2.1287
49 | 0.005456 | 0.0013674 | -0.0054556 | -0.0013673 | 3.6346e-07 | 4.6835e-08 | 0.0081953 | 0.0081954 | 0.0081954 | 0.99064 | -0.17974 | 0.99056 | -0.18114 | 2.2515
50 | -0.10655 | -0.026809 | 0.10676 | 0.026941 | 0.00020672 | 0.00013202 | 0.15996 | 0.15996 | 0.15996 | 0.99144 | -0.16416 | 0.99354 | -0.12364 | 43.9445
51 | -0.11532 | -0.029085 | 0.11559 | 0.029261 | 0.00027456 | 0.0001754 | 0.17277 | 0.17277 | 0.17277 | 0.99354 | -0.12364 | 0.99613 | -0.074037 | 47.4654
52 | 0.026466 | 0.0066377 | -0.026454 | -0.0066299 | 1.2574e-05 | 7.7684e-06 | 0.039537 | 0.039537 | 0.039537 | 0.99613 | -0.074037 | 0.99561 | -0.08401 | 10.8619
53 | -0.02196 | -0.0055037 | 0.021971 | 0.0055105 | 1.1124e-05 | 6.7833e-06 | 0.033346 | 0.033346 | 0.033346 | 0.97993 | -0.38361 | 0.98047 | -0.37298 | 9.161
54 | 0.083699 | 0.021277 | -0.083375 | -0.02107 | 0.00032347 | 0.00020635 | 0.12713 | 0.12713 | 0.12713 | 0.98047 | -0.37298 | 0.97634 | -0.45356 | 34.9269
55 | 0.030825 | 0.007728 | -0.030818 | -0.0077238 | 6.7981e-06 | 4.2437e-06 | 0.046494 | 0.046495 | 0.046495 | 0.98655 | -0.25828 | 0.98631 | -0.26291 | 12.7732
56 | 0.083375 | 0.02107 | -0.082925 | -0.020783 | 0.00045043 | 0.00028735 | 0.12713 | 0.12713 | 0.12713 | 0.97634 | -0.45356 | 0.97058 | -0.56691 | 34.927

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60505 | 0.1542

## res_load
| p_mw | q_mvar
0 | 0.028105 | 0.0070438
1 | 0.013542 | 0.003394
2 | 0.033852 | 0.0084842
3 | 0.022985 | 0.0057606
4 | 0.02298 | 0.0057593
5 | 0.014013 | 0.0035119
6 | 0.028584 | 0.0071638
7 | 0.023861 | 0.0059801
8 | 0.023711 | 0.0059425
9 | 0.025742 | 0.0064515
10 | 0.017372 | 0.0043538
11 | 0.032992 | 0.0082687
12 | 0.017898 | 0.0044856
13 | 0.017476 | 0.0043798
14 | 0.021328 | 0.0053452
15 | 0.027448 | 0.0068791
16 | 0.01108 | 0.0027769
17 | 0.0049127 | 0.0012312
18 | 0.0054903 | 0.001376
19 | 0.010431 | 0.0026142
20 | 0.010573 | 0.0026498
21 | 0.0085572 | 0.0021446
22 | 0.0054556 | 0.0013673
23 | 0.02196 | 0.0055037
24 | 0.0051415 | 0.0012886
25 | 0.030818 | 0.0077238
26 | 0.082925 | 0.020783
27 | 0.026454 | 0.0066299

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1