## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1708-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1708-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1708-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1708-5_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1708-5_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1708-5_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1708-5_0_6_node_59 | 0.4 | n |  | TRUE
7 | bus_LV_1708-5_0_6_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1708-5_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1708-5_0_6_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1708-5_0_6_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_1708-5_0_6_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_1708-5_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1708-5_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1708-5_0_6_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_1708-5_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1708-5_0_6_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_1708-5_0_6_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_1708-5_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1708-5_0_6_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_1708-5_0_6_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1708-5_0_6_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_1708-5_0_6_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_1708-5_0_6_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1708-5_0_6_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_1708-5_0_6_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1708-5_0_6_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1708-5_0_6_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1708-5_0_6_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_1708-5_0_6_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_1708-5_0_6_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_1708-5_0_6_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1708-5_0_6_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_1708-5_0_6_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_1708-5_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1708-5_0_6_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_1708-5_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1708-5_0_6_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_1708-5_0_6_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_1708-5_0_6_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_1708-5_0_6_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_1708-5_0_6_node_14 | 0.4 | n |  | TRUE
42 | bus_LV_1708-5_0_6_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_1708-5_0_6_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_1708-5_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1708-5_0_6_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_1708-5_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1708-5_0_6_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_1708-5_0_6_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_1708-5_0_6_node_18 | 0.4 | n |  | TRUE
50 | bus_LV_1708-5_0_6_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_1708-5_0_6_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_1708-5_0_6_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_1708-5_0_6_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_1708-5_0_6_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_1708-5_0_6_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1708-5_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_1708-5_0_6_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_1708-5_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_1708-5_0_6_node_48 | 0.4 | n |  | TRUE
60 | bus_MV_231_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1708-5_0_6_load_0 | 0 | 0.029091 | 0.0072909 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1708-5_0_6_load_59 | 6 | 0.039249 | 0.0098367 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1708-5_0_6_load_26 | 7 | 0.011724 | 0.0029384 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1708-5_0_6_load_33 | 10 | 0.0075159 | 0.0018837 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1708-5_0_6_load_62 | 11 | 0.0043943 | 0.0011013 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1708-5_0_6_load_40 | 14 | 0.040472 | 0.010143 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1708-5_0_6_load_55 | 17 | 0.013713 | 0.0034367 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1708-5_0_6_load_63 | 19 | 0.029282 | 0.0073389 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1708-5_0_6_load_53 | 21 | 0.014178 | 0.0035533 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1708-5_0_6_load_27 | 25 | 0.0080173 | 0.0020093 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1708-5_0_6_load_34 | 26 | 0.0073714 | 0.0018475 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1708-5_0_6_load_45 | 28 | 0.019213 | 0.0048151 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1708-5_0_6_load_15 | 29 | 0.012099 | 0.0030323 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1708-5_0_6_load_12 | 30 | 0.046572 | 0.011672 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1708-5_0_6_load_42 | 31 | 0.031033 | 0.0077775 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1708-5_0_6_load_64 | 33 | 0.032406 | 0.0081218 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1708-5_0_6_load_61 | 35 | 0.024008 | 0.0060169 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1708-5_0_6_load_46 | 38 | 0.012945 | 0.0032443 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1708-5_0_6_load_54 | 39 | 0.0055161 | 0.0013825 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1708-5_0_6_load_17 | 43 | 0.012181 | 0.0030529 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1708-5_0_6_load_23 | 45 | 0.034139 | 0.0085559 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1708-5_0_6_load_35 | 46 | 0.011387 | 0.002854 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1708-5_0_6_load_21 | 48 | 0.0055761 | 0.0013975 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1708-5_0_6_load_18 | 49 | 0.0088936 | 0.0022289 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1708-5_0_6_load_37 | 51 | 0.010944 | 0.0027428 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1708-5_0_6_load_60 | 53 | 0.0071453 | 0.0017908 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1708-5_0_6_load_58 | 55 | 0.020172 | 0.0050556 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1708-5_0_6_load_44 | 56 | 0.0044144 | 0.0011064 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1708-5_0_6_load_52 | 58 | 0.014009 | 0.0035111 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1708-5_0_6_line_0 |  | 0 | 1 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1708-5_0_6_line_1 |  | 0 | 2 | 0.0071762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1708-5_0_6_line_2 |  | 1 | 3 | 0.003562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1708-5_0_6_line_3 |  | 2 | 4 | 0.004996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1708-5_0_6_line_4 |  | 3 | 5 | 0.030863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1708-5_0_6_line_5 |  | 3 | 6 | 0.028725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_1708-5_0_6_line_6 |  | 4 | 11 | 0.011157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1708-5_0_6_line_7 |  | 5 | 7 | 0.0018091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_1708-5_0_6_line_8 |  | 6 | 22 | 0.027831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1708-5_0_6_line_9 |  | 7 | 25 | 0.031684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_1708-5_0_6_line_10 |  | 8 | 9 | 0.036745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1708-5_0_6_line_11 |  | 8 | 10 | 0.016807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1708-5_0_6_line_12 |  | 9 | 29 | 0.017281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_1708-5_0_6_line_13 |  | 9 | 30 | 0.0083853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1708-5_0_6_line_14 |  | 12 | 13 | 0.028994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1708-5_0_6_line_15 |  | 12 | 14 | 0.011635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1708-5_0_6_line_16 |  | 13 | 21 | 0.020558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_1708-5_0_6_line_17 |  | 15 | 16 | 0.043577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_1708-5_0_6_line_18 |  | 15 | 17 | 0.033106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_1708-5_0_6_line_19 |  | 16 | 37 | 0.016628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1708-5_0_6_line_20 |  | 16 | 38 | 0.026313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1708-5_0_6_line_21 |  | 16 | 27 | 0.057875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_1708-5_0_6_line_22 |  | 17 | 40 | 0.0028493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_1708-5_0_6_line_23 |  | 18 | 19 | 0.005483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1708-5_0_6_line_24 |  | 18 | 20 | 0.026256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1708-5_0_6_line_25 |  | 20 | 33 | 0.005408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1708-5_0_6_line_26 |  | 20 | 34 | 0.044653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1708-5_0_6_line_27 |  | 21 | 37 | 0.00228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_1708-5_0_6_line_28 |  | 22 | 40 | 0.034326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1708-5_0_6_line_29 |  | 22 | 55 | 0.015479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1708-5_0_6_line_30 |  | 23 | 24 | 0.02906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_1708-5_0_6_line_31 |  | 23 | 25 | 0.01424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_1708-5_0_6_line_32 |  | 24 | 26 | 0.014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1708-5_0_6_line_33 |  | 26 | 44 | 0.018304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_1708-5_0_6_line_34 |  | 27 | 28 | 0.020356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1708-5_0_6_line_35 |  | 28 | 56 | 0.017538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1708-5_0_6_line_36 |  | 29 | 44 | 0.034463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1708-5_0_6_line_37 |  | 30 | 41 | 0.028398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_1708-5_0_6_line_38 |  | 31 | 32 | 0.021119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1708-5_0_6_line_39 |  | 32 | 57 | 0.011643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1708-5_0_6_line_40 |  | 34 | 45 | 0.021873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1708-5_0_6_line_41 |  | 34 | 49 | 0.0091324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1708-5_0_6_line_42 |  | 35 | 36 | 0.026056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1708-5_0_6_line_43 |  | 36 | 53 | 0.012643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1708-5_0_6_line_44 |  | 37 | 39 | 0.027589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1708-5_0_6_line_45 |  | 38 | 59 | 0.004354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_1708-5_0_6_line_46 |  | 41 | 42 | 0.006764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_1708-5_0_6_line_47 |  | 41 | 43 | 0.016438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1708-5_0_6_line_48 |  | 42 | 45 | 0.02934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_1708-5_0_6_line_49 |  | 44 | 46 | 0.014017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1708-5_0_6_line_50 |  | 46 | 50 | 0.019497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1708-5_0_6_line_51 |  | 47 | 48 | 0.0038482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1708-5_0_6_line_52 |  | 47 | 49 | 0.024113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1708-5_0_6_line_53 |  | 48 | 52 | 0.033977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1708-5_0_6_line_54 |  | 50 | 51 | 0.014922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1708-5_0_6_line_55 |  | 52 | 54 | 0.003712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1708-5_0_6_line_56 |  | 53 | 54 | 0.026758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1708-5_0_6_line_57 |  | 57 | 58 | 0.013719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1708-5_0_6_line_58 |  | 57 | 59 | 0.008342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1708-5_0_6_trafo_10 | 0.63 MVA 20/0.4 kV | 60 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2679555.638 | 1227629.5769 | 2679544.4077 | 1227622.1926
1 | 2679538.4115 | 1227618.25 | 2679544.4077 | 1227622.1926
2 | 2679555.638 | 1227629.5769 | 2679555.4237 | 1227633.132
3 | 2679538.4115 | 1227618.25 | 2679536.2519 | 1227622.7575
4 | 2679555.4237 | 1227633.132 | 2679569.9104 | 1227643.0435 | 2679580.9826 | 1227650.4299
5 | 2679555.4237 | 1227633.132 | 2679544.6669 | 1227659.7669
6 | 2679537.2053 | 1227631.3761 | 2679533.4377 | 1227628.6128 | 2679536.2519 | 1227622.7575
7 | 2679580.9826 | 1227650.4299 | 2679582.6789 | 1227651.0587
8 | 2679534.2446 | 1227685.5733 | 2679544.6669 | 1227659.7669
9 | 2679582.6789 | 1227651.0587 | 2679596.4799 | 1227656.1744 | 2679600.4693 | 1227646.8882 | 2679606.8313 | 1227649.4514
10 | 2679580.0867 | 1227612.6034 | 2679587.3087 | 1227596.2222 | 2679594.9061 | 1227578.9788
11 | 2679580.0867 | 1227612.6034 | 2679583.6826 | 1227614.0414 | 2679590.1127 | 1227616.618 | 2679595.6884 | 1227618.853
12 | 2679594.9061 | 1227578.9788 | 2679610.665 | 1227586.0713
13 | 2679594.9061 | 1227578.9788 | 2679599.1529 | 1227571.7485
14 | 2679475.7634 | 1227575.8954 | 2679494.3669 | 1227591.9547 | 2679492.6452 | 1227596.0234
15 | 2679475.7634 | 1227575.8954 | 2679466.5262 | 1227568.8217
16 | 2679492.6452 | 1227596.0234 | 2679486.8927 | 1227609.6447 | 2679484.6107 | 1227614.9463
17 | 2679515.8322 | 1227639.3959 | 2679512.3049 | 1227634.5344 | 2679509.5188 | 1227633.1851 | 2679507.2297 | 1227632.076 | 2679499.8205 | 1227631.2987 | 2679487.3635 | 1227632.2552 | 2679478.1092 | 1227630.0412 | 2679477.1465 | 1227632.3187
18 | 2679515.8322 | 1227639.3959 | 2679513.5785 | 1227643.5686 | 2679506.9733 | 1227655.7886 | 2679504.4072 | 1227665.7611 | 2679503.3665 | 1227669.8052
19 | 2679477.1465 | 1227632.3187 | 2679478.1092 | 1227630.0412 | 2679483.7093 | 1227617.0405
20 | 2679477.1465 | 1227632.3187 | 2679468.2528 | 1227627.5078 | 2679452.1271 | 1227629.0713
21 | 2679456.8464 | 1227686.5288 | 2679477.1465 | 1227632.3187
22 | 2679502.6565 | 1227672.5646 | 2679503.3665 | 1227669.8052
23 | 2679541.463 | 1227577.0962 | 2679536.3752 | 1227575.0157
24 | 2679541.463 | 1227577.0962 | 2679546.262 | 1227564.5074 | 2679552.0757 | 1227553.1219
25 | 2679552.0757 | 1227553.1219 | 2679547.1884 | 1227550.7772
26 | 2679552.0757 | 1227553.1219 | 2679560.7848 | 1227536.049 | 2679565.1979 | 1227527.391 | 2679573.6596 | 1227514.084
27 | 2679483.7093 | 1227617.0405 | 2679484.6107 | 1227614.9463
28 | 2679534.2446 | 1227685.5733 | 2679525.8657 | 1227681.3807 | 2679522.2596 | 1227679.5757 | 2679510.6545 | 1227676.9077 | 2679502.6565 | 1227672.5646
29 | 2679534.2446 | 1227685.5733 | 2679528.6571 | 1227700.0088
30 | 2679630.7523 | 1227627.7581 | 2679629.1135 | 1227631.8501 | 2679620.038 | 1227654.7775
31 | 2679620.038 | 1227654.7775 | 2679616.1409 | 1227653.2021 | 2679606.8313 | 1227649.4514
32 | 2679630.7523 | 1227627.7581 | 2679636.0082 | 1227613.8597
33 | 2679642.4828 | 1227596.7386 | 2679636.0082 | 1227613.8597
34 | 2679456.8464 | 1227686.5288 | 2679449.5272 | 1227705.5234
35 | 2679443.2212 | 1227721.8886 | 2679449.5272 | 1227705.5234
36 | 2679642.4828 | 1227596.7386 | 2679624.2841 | 1227588.4005 | 2679618.2295 | 1227589.4757 | 2679610.665 | 1227586.0713
37 | 2679613.535 | 1227547.2621 | 2679599.1529 | 1227571.7485
38 | 2679441.5419 | 1227614.7202 | 2679443.602 | 1227607.4428 | 2679448.3351 | 1227599.2115 | 2679451.9269 | 1227597.3183
39 | 2679439.7739 | 1227626.2267 | 2679441.5419 | 1227614.7202
40 | 2679573.6596 | 1227514.084 | 2679592.1548 | 1227525.7621
41 | 2679573.6596 | 1227514.084 | 2679578.5678 | 1227506.3826
42 | 2679533.9356 | 1227508.0933 | 2679524.3474 | 1227523.4645 | 2679520.957 | 1227530.6438
43 | 2679533.9356 | 1227508.0933 | 2679540.6257 | 1227497.3655
44 | 2679483.7093 | 1227617.0405 | 2679495.5361 | 1227621.2791 | 2679509.6204 | 1227626.7154
45 | 2679448.0238 | 1227627.6155 | 2679452.1271 | 1227629.0713
46 | 2679616.963 | 1227541.4262 | 2679613.535 | 1227547.2621
47 | 2679613.535 | 1227547.2621 | 2679628.0611 | 1227554.956
48 | 2679616.963 | 1227541.4262 | 2679592.1548 | 1227525.7621
49 | 2679642.4828 | 1227596.7386 | 2679650.1429 | 1227584.9993
50 | 2679660.7526 | 1227568.6418 | 2679658.7086 | 1227571.8722 | 2679650.1429 | 1227584.9993
51 | 2679591.5269 | 1227486.0484 | 2679588.2889 | 1227483.969
52 | 2679591.5269 | 1227486.0484 | 2679578.5678 | 1227506.3826
53 | 2679557.0152 | 1227471.6883 | 2679577.8057 | 1227477.2367 | 2679588.2889 | 1227483.969
54 | 2679660.7526 | 1227568.6418 | 2679668.8729 | 1227556.1227
55 | 2679557.0152 | 1227471.6883 | 2679554.7852 | 1227474.6605
56 | 2679554.7852 | 1227474.6605 | 2679540.6257 | 1227497.3655
57 | 2679439.7739 | 1227626.2267 | 2679428.5681 | 1227634.1411
58 | 2679439.7739 | 1227626.2267 | 2679448.0238 | 1227627.6155

## bus_geodata
| x | y | coords
0 | 2679544.4077 | 1227622.1926
1 | 2679555.638 | 1227629.5769
2 | 2679538.4115 | 1227618.25
3 | 2679555.4237 | 1227633.132
4 | 2679536.2519 | 1227622.7575
5 | 2679580.9826 | 1227650.4299
6 | 2679544.6669 | 1227659.7669
7 | 2679582.6789 | 1227651.0587
8 | 2679580.0868 | 1227612.6034
9 | 2679594.9061 | 1227578.9788
10 | 2679595.6884 | 1227618.853
11 | 2679537.2053 | 1227631.3761
12 | 2679475.7634 | 1227575.8954
13 | 2679492.6452 | 1227596.0234
14 | 2679466.5262 | 1227568.8217
15 | 2679515.8322 | 1227639.3959
16 | 2679477.1465 | 1227632.3187
17 | 2679503.3665 | 1227669.8052
18 | 2679541.463 | 1227577.0963
19 | 2679536.3752 | 1227575.0157
20 | 2679552.0757 | 1227553.1219
21 | 2679484.6107 | 1227614.9463
22 | 2679534.2446 | 1227685.5733
23 | 2679620.038 | 1227654.7775
24 | 2679630.7523 | 1227627.7581
25 | 2679606.8313 | 1227649.4514
26 | 2679636.0082 | 1227613.8597
27 | 2679456.8464 | 1227686.5288
28 | 2679449.5272 | 1227705.5234
29 | 2679610.665 | 1227586.0713
30 | 2679599.1529 | 1227571.7485
31 | 2679451.9269 | 1227597.3183
32 | 2679441.5419 | 1227614.7202
33 | 2679547.1884 | 1227550.7772
34 | 2679573.6596 | 1227514.084
35 | 2679520.957 | 1227530.6438
36 | 2679533.9356 | 1227508.0933
37 | 2679483.7093 | 1227617.0405
38 | 2679452.1271 | 1227629.0713
39 | 2679509.6204 | 1227626.7154
40 | 2679502.6565 | 1227672.5646
41 | 2679613.535 | 1227547.2621
42 | 2679616.963 | 1227541.4262
43 | 2679628.0611 | 1227554.956
44 | 2679642.4828 | 1227596.7386
45 | 2679592.1548 | 1227525.7621
46 | 2679650.1429 | 1227584.9993
47 | 2679591.5269 | 1227486.0484
48 | 2679588.2889 | 1227483.969
49 | 2679578.5678 | 1227506.3826
50 | 2679660.7526 | 1227568.6418
51 | 2679668.8729 | 1227556.1227
52 | 2679557.0152 | 1227471.6883
53 | 2679540.6257 | 1227497.3655
54 | 2679554.7852 | 1227474.6605
55 | 2679528.6571 | 1227700.0088
56 | 2679443.2212 | 1227721.8886
57 | 2679439.7739 | 1227626.2267
58 | 2679428.5681 | 1227634.1411
59 | 2679448.0238 | 1227627.6155
60 | 2679536.3752 | 1227575.0157

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97692 | -0.4433 | 0.029091 | 0.0072909
1 | 0.97734 | -0.43509 | 0 | 0
2 | 0.97689 | -0.44388 | 0 | 0
3 | 0.97745 | -0.43291 | 0 | 0
4 | 0.97687 | -0.44428 | 0 | 0
5 | 0.97888 | -0.40497 | 0 | 0
6 | 0.9763 | -0.45547 | 0.039249 | 0.0098367
7 | 0.97896 | -0.40334 | 0.011724 | 0.0029384
8 | 0.98699 | -0.24773 | 0 | 0
9 | 0.98725 | -0.24279 | 0 | 0
10 | 0.98688 | -0.24999 | 0.0075159 | 0.0018837
11 | 0.97682 | -0.44517 | 0.0043943 | 0.0011013
12 | 0.97169 | -0.54615 | 0 | 0
13 | 0.97191 | -0.54182 | 0 | 0
14 | 0.97161 | -0.54789 | 0.040472 | 0.010143
15 | 0.97343 | -0.51184 | 0 | 0
16 | 0.97228 | -0.5346 | 0 | 0
17 | 0.97431 | -0.49458 | 0.013713 | 0.0034367
18 | 1 | 0 | -0.5279 | -0.13518
19 | 0.99985 | -0.0027988 | 0.029282 | 0.0073389
20 | 0.99763 | -0.044818 | 0 | 0
21 | 0.97207 | -0.53875 | 0.014178 | 0.0035533
22 | 0.97539 | -0.47337 | 0 | 0
23 | 0.98121 | -0.35956 | 0 | 0
24 | 0.98266 | -0.33138 | 0 | 0
25 | 0.9805 | -0.3734 | 0.0080173 | 0.0020093
26 | 0.9834 | -0.317 | 0.0073714 | 0.0018475
27 | 0.97202 | -0.53964 | 0 | 0
28 | 0.9718 | -0.54408 | 0.019213 | 0.0048151
29 | 0.98625 | -0.26197 | 0.012099 | 0.0030323
30 | 0.98774 | -0.23327 | 0.046572 | 0.011672
31 | 0.97162 | -0.5477 | 0.031033 | 0.0077775
32 | 0.97182 | -0.54367 | 0 | 0
33 | 0.99747 | -0.047888 | 0.032406 | 0.0081218
34 | 0.99385 | -0.11642 | 0 | 0
35 | 0.98984 | -0.19404 | 0.024008 | 0.0060169
36 | 0.99041 | -0.18291 | 0 | 0
37 | 0.97209 | -0.53829 | 0 | 0
38 | 0.97199 | -0.54023 | 0.012945 | 0.0032443
39 | 0.97195 | -0.5411 | 0.0055161 | 0.0013825
40 | 0.97439 | -0.49295 | 0 | 0
41 | 0.98966 | -0.19639 | 0 | 0
42 | 0.99014 | -0.18734 | 0 | 0
43 | 0.98948 | -0.19996 | 0.012181 | 0.0030529
44 | 0.98434 | -0.29883 | 0 | 0
45 | 0.99219 | -0.14816 | 0.034139 | 0.0085559
46 | 0.98405 | -0.30447 | 0.011387 | 0.002854
47 | 0.99266 | -0.13943 | 0 | 0
48 | 0.99253 | -0.14193 | 0.0055761 | 0.0013975
49 | 0.99347 | -0.12378 | 0.0088936 | 0.0022289
50 | 0.98386 | -0.30831 | 0 | 0
51 | 0.98371 | -0.31125 | 0.010944 | 0.0027428
52 | 0.99156 | -0.16068 | 0 | 0
53 | 0.99069 | -0.17752 | 0.0071453 | 0.0017908
54 | 0.99146 | -0.16273 | 0 | 0
55 | 0.9751 | -0.47909 | 0.020172 | 0.0050556
56 | 0.97173 | -0.54551 | 0.0044144 | 0.0011064
57 | 0.97189 | -0.54234 | 0 | 0
58 | 0.97171 | -0.54588 | 0.014009 | 0.0035111
59 | 0.97196 | -0.54095 | 0 | 0
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.033486 | -0.0083922 | 0.033499 | 0.0084004 | 1.3112e-05 | 8.2232e-06 | 0.051004 | 0.051004 | 0.051004 | 0.97692 | -0.4433 | 0.97734 | -0.43509 | 14.0122
1 | 0.0043947 | 0.0011013 | -0.0043945 | -0.0011013 | 1.2058e-07 | -1.2678e-08 | 0.0066938 | 0.0066938 | 0.0066938 | 0.97692 | -0.4433 | 0.97689 | -0.44388 | 1.839
2 | -0.033499 | -0.0084004 | 0.033502 | 0.0084026 | 3.4749e-06 | 2.1793e-06 | 0.051004 | 0.051004 | 0.051004 | 0.97734 | -0.43509 | 0.97745 | -0.43291 | 14.0122
3 | 0.0043945 | 0.0011013 | -0.0043945 | -0.0011013 | 8.3947e-08 | -8.8226e-09 | 0.0066938 | 0.0066938 | 0.0066938 | 0.97689 | -0.44388 | 0.97687 | -0.44428 | 1.839
4 | -0.24931 | -0.06281 | 0.24964 | 0.063021 | 0.00033362 | 0.00021158 | 0.37965 | 0.37965 | 0.37965 | 0.97745 | -0.43291 | 0.97888 | -0.40497 | 20.8597
5 | 0.2158 | 0.054407 | -0.21557 | -0.05426 | 0.00023269 | 0.00014712 | 0.32864 | 0.32864 | 0.32864 | 0.97745 | -0.43291 | 0.9763 | -0.45547 | 18.0573
6 | 0.0043945 | 0.0011013 | -0.0043943 | -0.0011013 | 1.8747e-07 | -1.9692e-08 | 0.0066938 | 0.0066939 | 0.0066939 | 0.97687 | -0.44428 | 0.97682 | -0.44517 | 1.839
7 | -0.24964 | -0.063021 | 0.24966 | 0.063034 | 1.9557e-05 | 1.2402e-05 | 0.37965 | 0.37965 | 0.37965 | 0.97888 | -0.40497 | 0.97896 | -0.40334 | 20.8597
8 | 0.17632 | 0.044423 | -0.17617 | -0.044329 | 0.00015084 | 9.4802e-05 | 0.26882 | 0.26882 | 0.26882 | 0.9763 | -0.45547 | 0.97539 | -0.47337 | 14.7705
9 | -0.26138 | -0.065972 | 0.26176 | 0.06621 | 0.00037541 | 0.00023827 | 0.39747 | 0.39747 | 0.39747 | 0.97896 | -0.40334 | 0.9805 | -0.3734 | 21.8389
10 | -0.0075167 | -0.001884 | 0.0075184 | 0.0018846 | 1.7696e-06 | 6.6279e-07 | 0.011332 | 0.011332 | 0.011332 | 0.98699 | -0.24773 | 0.98725 | -0.24279 | 3.1133
11 | 0.0075167 | 0.001884 | -0.0075159 | -0.0018837 | 8.0939e-07 | 3.0324e-07 | 0.011332 | 0.011332 | 0.011332 | 0.98699 | -0.24773 | 0.98688 | -0.24999 | 3.1133
12 | 0.31339 | 0.079845 | -0.3131 | -0.07966 | 0.00028975 | 0.00018433 | 0.47281 | 0.47281 | 0.47281 | 0.98725 | -0.24279 | 0.98625 | -0.26197 | 25.9787
13 | -0.3209 | -0.081729 | 0.32105 | 0.081823 | 0.00014741 | 9.3806e-05 | 0.48414 | 0.48414 | 0.48414 | 0.98725 | -0.24279 | 0.98774 | -0.23327 | 26.6013
14 | -0.040475 | -0.010145 | 0.040484 | 0.010148 | 8.3543e-06 | 3.5506e-06 | 0.061983 | 0.061982 | 0.061983 | 0.97169 | -0.54615 | 0.97191 | -0.54182 | 3.4057
15 | 0.040475 | 0.010145 | -0.040472 | -0.010143 | 3.3524e-06 | 1.425e-06 | 0.061983 | 0.061983 | 0.061983 | 0.97169 | -0.54615 | 0.97161 | -0.54789 | 3.4057
16 | -0.040484 | -0.010148 | 0.04049 | 0.010151 | 5.9234e-06 | 2.5169e-06 | 0.061982 | 0.061982 | 0.061982 | 0.97191 | -0.54182 | 0.97207 | -0.53875 | 3.4056
17 | 0.14201 | 0.035661 | -0.14185 | -0.035565 | 0.00015404 | 9.5882e-05 | 0.2171 | 0.2171 | 0.2171 | 0.97343 | -0.51184 | 0.97228 | -0.5346 | 11.9286
18 | -0.14201 | -0.035661 | 0.14212 | 0.035734 | 0.00011703 | 7.2838e-05 | 0.2171 | 0.2171 | 0.2171 | 0.97343 | -0.51184 | 0.97431 | -0.49458 | 11.9285
19 | 0.060196 | 0.015093 | -0.060185 | -0.015087 | 1.0585e-05 | 5.7436e-06 | 0.092129 | 0.092129 | 0.092129 | 0.97228 | -0.5346 | 0.97209 | -0.53829 | 5.062
20 | 0.058017 | 0.014548 | -0.058002 | -0.01454 | 1.556e-05 | 8.3272e-06 | 0.088795 | 0.088795 | 0.088795 | 0.97228 | -0.5346 | 0.97199 | -0.54023 | 4.8789
21 | 0.023638 | 0.0059242 | -0.023632 | -0.0059242 | 5.681e-06 | 4.7938e-08 | 0.036177 | 0.036178 | 0.036178 | 0.97228 | -0.5346 | 0.97202 | -0.53964 | 1.9878
22 | -0.15584 | -0.039171 | 0.15585 | 0.039178 | 1.2109e-05 | 7.5722e-06 | 0.23804 | 0.23804 | 0.23804 | 0.97431 | -0.49458 | 0.97439 | -0.49295 | 13.0792
23 | 0.029286 | 0.0073413 | -0.029282 | -0.0073389 | 3.9049e-06 | 2.4272e-06 | 0.043579 | 0.043579 | 0.043579 | 1 | 0 | 0.99985 | -0.0027988 | 11.9723
24 | 0.49697 | 0.12784 | -0.49588 | -0.12715 | 0.0010803 | 0.00068966 | 0.74066 | 0.74066 | 0.74066 | 1 | 0 | 0.99763 | -0.044818 | 40.6957
25 | 0.032411 | 0.0081247 | -0.032406 | -0.0081218 | 4.7396e-06 | 2.9628e-06 | 0.048343 | 0.048344 | 0.048344 | 0.99763 | -0.044818 | 0.99747 | -0.047888 | 13.2812
26 | 0.46347 | 0.11903 | -0.46187 | -0.118 | 0.0016052 | 0.0010244 | 0.69232 | 0.69232 | 0.69232 | 0.99763 | -0.044818 | 0.99385 | -0.11642 | 38.0396
27 | -0.054667 | -0.013704 | 0.054669 | 0.013705 | 1.1975e-06 | 6.2509e-07 | 0.083684 | 0.083684 | 0.083684 | 0.97207 | -0.53875 | 0.97209 | -0.53829 | 4.598
28 | 0.15599 | 0.03927 | -0.15585 | -0.039178 | 0.00014588 | 9.1222e-05 | 0.23804 | 0.23804 | 0.23804 | 0.97539 | -0.47337 | 0.97439 | -0.49295 | 13.0792
29 | 0.020177 | 0.0050589 | -0.020172 | -0.0050556 | 5.5004e-06 | 3.3271e-06 | 0.030783 | 0.030783 | 0.030783 | 0.97539 | -0.47337 | 0.9751 | -0.47909 | 8.4568
30 | -0.26995 | -0.068334 | 0.27032 | 0.068566 | 0.00036572 | 0.00023222 | 0.40963 | 0.40963 | 0.40963 | 0.98121 | -0.35956 | 0.98266 | -0.33138 | 22.5073
31 | 0.26995 | 0.068334 | -0.26978 | -0.06822 | 0.00017921 | 0.0001138 | 0.40963 | 0.40963 | 0.40963 | 0.98121 | -0.35956 | 0.9805 | -0.3734 | 22.5074
32 | -0.27032 | -0.068566 | 0.27051 | 0.068684 | 0.000187 | 0.00011874 | 0.40963 | 0.40963 | 0.40963 | 0.98266 | -0.33138 | 0.9834 | -0.317 | 22.5073
33 | -0.27788 | -0.070532 | 0.27812 | 0.070686 | 0.00024308 | 0.00015441 | 0.42079 | 0.42079 | 0.42079 | 0.9834 | -0.317 | 0.98434 | -0.29883 | 23.1201
34 | 0.023632 | 0.0059242 | -0.023627 | -0.0059215 | 4.9955e-06 | 2.6926e-06 | 0.036178 | 0.036178 | 0.036178 | 0.97202 | -0.53964 | 0.9718 | -0.54408 | 4.9695
35 | 0.0044147 | 0.0011063 | -0.0044144 | -0.0011064 | 3.0053e-07 | -2.494e-08 | 0.0067598 | 0.0067598 | 0.0067598 | 0.9718 | -0.54408 | 0.97173 | -0.54551 | 1.8571
36 | 0.301 | 0.076628 | -0.30046 | -0.076289 | 0.00053406 | 0.0003396 | 0.45456 | 0.45456 | 0.45456 | 0.98625 | -0.26197 | 0.98434 | -0.29883 | 24.9758
37 | -0.36762 | -0.093495 | 0.36828 | 0.093912 | 0.00065439 | 0.00041699 | 0.5543 | 0.5543 | 0.5543 | 0.98774 | -0.23327 | 0.98966 | -0.19639 | 30.4563
38 | -0.031033 | -0.0077775 | 0.031039 | 0.0077806 | 5.9627e-06 | 3.0313e-06 | 0.047526 | 0.047526 | 0.047526 | 0.97162 | -0.5477 | 0.97182 | -0.54367 | 4.3522
39 | -0.031039 | -0.0077806 | 0.031041 | 0.0077811 | 1.9724e-06 | 5.4096e-07 | 0.047526 | 0.047526 | 0.047526 | 0.97182 | -0.54367 | 0.97189 | -0.54234 | 2.6113
40 | 0.41613 | 0.1065 | -0.41549 | -0.10609 | 0.0006384 | 0.00040716 | 0.62382 | 0.62382 | 0.62382 | 0.99385 | -0.11642 | 0.99219 | -0.14816 | 34.2758
41 | 0.045743 | 0.011509 | -0.045727 | -0.011499 | 1.6071e-05 | 1.0167e-05 | 0.068503 | 0.068503 | 0.068503 | 0.99385 | -0.11642 | 0.99347 | -0.12378 | 18.8194
42 | -0.024008 | -0.0060169 | 0.02402 | 0.0060247 | 1.2727e-05 | 7.8101e-06 | 0.03609 | 0.03609 | 0.03609 | 0.98984 | -0.19404 | 0.99041 | -0.18291 | 9.915
43 | -0.02402 | -0.0060247 | 0.024027 | 0.0060285 | 6.1753e-06 | 3.7895e-06 | 0.03609 | 0.03609 | 0.03609 | 0.99041 | -0.18291 | 0.99069 | -0.17752 | 9.9149
44 | 0.0055169 | 0.0013826 | -0.0055161 | -0.0013825 | 7.3783e-07 | 1.3024e-07 | 0.0084449 | 0.008445 | 0.008445 | 0.97209 | -0.53829 | 0.97195 | -0.5411 | 2.3201
45 | 0.045057 | 0.011296 | -0.045055 | -0.011295 | 1.5537e-06 | 7.2456e-07 | 0.068979 | 0.068979 | 0.068979 | 0.97199 | -0.54023 | 0.97196 | -0.54095 | 3.79
46 | -0.38046 | -0.096966 | 0.38063 | 0.097072 | 0.00016634 | 0.00010602 | 0.57262 | 0.57262 | 0.57262 | 0.98966 | -0.19639 | 0.99014 | -0.18734 | 31.4627
47 | 0.012183 | 0.003054 | -0.012181 | -0.0030529 | 2.0685e-06 | 1.1127e-06 | 0.018319 | 0.018319 | 0.018319 | 0.98966 | -0.19639 | 0.98948 | -0.19996 | 5.0326
48 | -0.38063 | -0.097072 | 0.38135 | 0.097532 | 0.00072152 | 0.00045988 | 0.57262 | 0.57262 | 0.57262 | 0.99014 | -0.18734 | 0.99219 | -0.14816 | 31.4627
49 | 0.022341 | 0.0056022 | -0.022335 | -0.0055986 | 5.9958e-06 | 3.6592e-06 | 0.033773 | 0.033774 | 0.033774 | 0.98434 | -0.29883 | 0.98405 | -0.30447 | 9.2784
50 | 0.010947 | 0.0027446 | -0.010945 | -0.0027436 | 2.0037e-06 | 1.0347e-06 | 0.016554 | 0.016554 | 0.016554 | 0.98405 | -0.30447 | 0.98386 | -0.30831 | 4.5479
51 | 0.036805 | 0.0092526 | -0.036801 | -0.0092499 | 4.3942e-06 | 2.7626e-06 | 0.055182 | 0.055182 | 0.055182 | 0.99266 | -0.13943 | 0.99253 | -0.14193 | 15.1599
52 | -0.036805 | -0.0092526 | 0.036833 | 0.0092699 | 2.7534e-05 | 1.731e-05 | 0.055182 | 0.055182 | 0.055182 | 0.99266 | -0.13943 | 0.99347 | -0.12378 | 15.1599
53 | 0.031225 | 0.0078524 | -0.031197 | -0.0078349 | 2.7933e-05 | 1.7439e-05 | 0.046822 | 0.046822 | 0.046822 | 0.99253 | -0.14193 | 0.99156 | -0.16068 | 12.8633
54 | 0.010945 | 0.0027436 | -0.010944 | -0.0027428 | 1.5335e-06 | 7.9198e-07 | 0.016554 | 0.016554 | 0.016554 | 0.98386 | -0.30831 | 0.98371 | -0.31125 | 4.5479
55 | 0.031197 | 0.0078349 | -0.031194 | -0.007833 | 3.0517e-06 | 1.9052e-06 | 0.046822 | 0.046822 | 0.046822 | 0.99156 | -0.16068 | 0.99146 | -0.16273 | 12.8633
56 | -0.031172 | -0.0078193 | 0.031194 | 0.007833 | 2.1999e-05 | 1.3734e-05 | 0.046823 | 0.046822 | 0.046823 | 0.99069 | -0.17752 | 0.99146 | -0.16273 | 12.8633
57 | 0.014012 | 0.0035124 | -0.014009 | -0.0035111 | 2.3677e-06 | 1.3454e-06 | 0.021453 | 0.021453 | 0.021453 | 0.97189 | -0.54234 | 0.97171 | -0.54588 | 5.8937
58 | -0.045052 | -0.011294 | 0.045055 | 0.011295 | 2.9769e-06 | 1.3883e-06 | 0.068979 | 0.068979 | 0.068979 | 0.97189 | -0.54234 | 0.97196 | -0.54095 | 3.79

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5279 | 0.13518

## res_load
| p_mw | q_mvar
0 | 0.029091 | 0.0072909
1 | 0.039249 | 0.0098367
2 | 0.011724 | 0.0029384
3 | 0.0075159 | 0.0018837
4 | 0.0043943 | 0.0011013
5 | 0.040472 | 0.010143
6 | 0.013713 | 0.0034367
7 | 0.029282 | 0.0073389
8 | 0.014178 | 0.0035533
9 | 0.0080173 | 0.0020093
10 | 0.0073714 | 0.0018475
11 | 0.019213 | 0.0048151
12 | 0.012099 | 0.0030323
13 | 0.046572 | 0.011672
14 | 0.031033 | 0.0077775
15 | 0.032406 | 0.0081218
16 | 0.024008 | 0.0060169
17 | 0.012945 | 0.0032443
18 | 0.0055161 | 0.0013825
19 | 0.012181 | 0.0030529
20 | 0.034139 | 0.0085559
21 | 0.011387 | 0.002854
22 | 0.0055761 | 0.0013975
23 | 0.0088936 | 0.0022289
24 | 0.010944 | 0.0027428
25 | 0.0071453 | 0.0017908
26 | 0.020172 | 0.0050556
27 | 0.0044144 | 0.0011064
28 | 0.014009 | 0.0035111

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1