## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1708-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1708-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1708-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1708-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1708-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1708-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1708-6_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1708-6_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1708-6_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1708-6_0_3_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_1708-6_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_1708-6_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1708-6_0_3_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1708-6_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1708-6_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1708-6_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1708-6_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1708-6_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1708-6_0_3_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_1708-6_0_3_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_1708-6_0_3_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1708-6_0_3_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_1708-6_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1708-6_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1708-6_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1708-6_0_3_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_1708-6_0_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_1708-6_0_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_1708-6_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1708-6_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1708-6_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1708-6_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1708-6_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1708-6_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1708-6_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1708-6_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1708-6_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1708-6_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1708-6_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1708-6_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1708-6_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_MV_231_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1708-6_0_3_load_0 | 0 | 0.018204 | 0.0045624 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1708-6_0_3_load_1 | 1 | 0.013186 | 0.0033048 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1708-6_0_3_load_3 | 3 | 0.019377 | 0.0048564 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1708-6_0_3_load_4 | 4 | 0.0014633 | 0.00036673 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1708-6_0_3_load_5 | 5 | 0.023636 | 0.0059238 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1708-6_0_3_load_30 | 8 | 0.025242 | 0.0063263 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1708-6_0_3_load_35 | 9 | 0.011605 | 0.0029085 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1708-6_0_3_load_14 | 10 | 0.018398 | 0.0046111 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1708-6_0_3_load_16 | 16 | 0.012437 | 0.003117 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1708-6_0_3_load_15 | 17 | 0.017106 | 0.0042872 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1708-6_0_3_load_43 | 18 | 0.0049502 | 0.0012406 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1708-6_0_3_load_42 | 19 | 0.0030383 | 0.00076148 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1708-6_0_3_load_36 | 20 | 0.021993 | 0.0055119 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1708-6_0_3_load_33 | 21 | 0.01741 | 0.0043633 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1708-6_0_3_load_27 | 22 | 0.010146 | 0.0025428 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1708-6_0_3_load_26 | 23 | 0.0081622 | 0.0020457 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1708-6_0_3_load_38 | 27 | 0.01586 | 0.0039748 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1708-6_0_3_load_19 | 29 | 0.005355 | 0.0013421 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1708-6_0_3_load_21 | 30 | 0.012862 | 0.0032234 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1708-6_0_3_load_20 | 31 | 0.027437 | 0.0068764 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1708-6_0_3_load_22 | 32 | 0.0070185 | 0.001759 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1708-6_0_3_load_23 | 33 | 0.0083087 | 0.0020824 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1708-6_0_3_load_24 | 34 | 0.0044917 | 0.0011257 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1708-6_0_3_load_32 | 37 | 0.043224 | 0.010833 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1708-6_0_3_load_34 | 38 | 0.0098133 | 0.0024595 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1708-6_0_3_load_37 | 39 | 0.012545 | 0.0031442 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1708-6_0_3_load_41 | 40 | 0.022406 | 0.0056154 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1708-6_0_3_line_0 |  | 0 | 1 | 0.0053384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1708-6_0_3_line_1 |  | 0 | 2 | 0.026853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1708-6_0_3_line_2 |  | 1 | 3 | 0.036541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1708-6_0_3_line_3 |  | 2 | 4 | 0.024424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1708-6_0_3_line_4 |  | 2 | 5 | 0.030449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1708-6_0_3_line_5 |  | 2 | 6 | 0.10925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1708-6_0_3_line_6 |  | 3 | 7 | 0.0052368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1708-6_0_3_line_7 |  | 4 | 8 | 0.032569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1708-6_0_3_line_8 |  | 5 | 9 | 0.0248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1708-6_0_3_line_9 |  | 6 | 10 | 0.037894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1708-6_0_3_line_10 |  | 7 | 17 | 0.020344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1708-6_0_3_line_11 |  | 8 | 11 | 0.015973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1708-6_0_3_line_12 |  | 9 | 20 | 0.023568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1708-6_0_3_line_13 |  | 11 | 12 | 0.016281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1708-6_0_3_line_14 |  | 12 | 21 | 0.033041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1708-6_0_3_line_15 |  | 13 | 14 | 0.006512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1708-6_0_3_line_16 |  | 13 | 15 | 0.038327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1708-6_0_3_line_17 |  | 13 | 16 | 0.02499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1708-6_0_3_line_18 |  | 14 | 18 | 0.094814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1708-6_0_3_line_19 |  | 15 | 19 | 0.0036929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1708-6_0_3_line_20 |  | 16 | 24 | 0.023407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1708-6_0_3_line_21 |  | 17 | 25 | 0.0069115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1708-6_0_3_line_22 |  | 19 | 26 | 0.03062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1708-6_0_3_line_23 |  | 20 | 39 | 0.00011441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1708-6_0_3_line_24 |  | 21 | 37 | 0.019568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1708-6_0_3_line_25 |  | 22 | 23 | 0.040354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1708-6_0_3_line_26 |  | 23 | 36 | 0.014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1708-6_0_3_line_27 |  | 24 | 28 | 0.023693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1708-6_0_3_line_28 |  | 24 | 29 | 0.0025012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1708-6_0_3_line_29 |  | 25 | 27 | 0.01832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1708-6_0_3_line_30 |  | 26 | 40 | 0.008593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1708-6_0_3_line_31 |  | 26 | 39 | 0.055546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1708-6_0_3_line_32 |  | 28 | 30 | 0.024463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1708-6_0_3_line_33 |  | 28 | 31 | 0.022687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1708-6_0_3_line_34 |  | 29 | 32 | 0.0266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1708-6_0_3_line_35 |  | 32 | 33 | 2.0672e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1708-6_0_3_line_36 |  | 33 | 34 | 0.037059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1708-6_0_3_line_37 |  | 34 | 35 | 0.032385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1708-6_0_3_line_38 |  | 35 | 36 | 0.011281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1708-6_0_3_line_39 |  | 37 | 38 | 0.023616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1708-6_0_3_trafo_36 | 0.63 MVA 20/0.4 kV | 41 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2679624.3139 | 1227433.7858 | 2679628.8218 | 1227436.6453
1 | 2679603.2013 | 1227417.3247 | 2679615.3952 | 1227428.1285 | 2679624.3139 | 1227433.7858
2 | 2679628.8218 | 1227436.6453 | 2679659.6785 | 1227456.2184
3 | 2679603.2013 | 1227417.3247 | 2679585.0473 | 1227400.985
4 | 2679603.2013 | 1227417.3247 | 2679624.0493 | 1227395.1325
5 | 2679591.5269 | 1227486.0484 | 2679577.8057 | 1227477.2367 | 2679557.0152 | 1227471.6883 | 2679562.1465 | 1227464.8634 | 2679574.3933 | 1227448.4938 | 2679603.2013 | 1227417.3247
6 | 2679664.1007 | 1227459.0235 | 2679659.6785 | 1227456.2184
7 | 2679560.8398 | 1227379.1968 | 2679585.0473 | 1227400.985
8 | 2679641.0298 | 1227377.0572 | 2679624.0493 | 1227395.1325
9 | 2679591.5269 | 1227486.0484 | 2679623.41 | 1227506.5285
10 | 2679664.1007 | 1227459.0235 | 2679676.7428 | 1227443.0842
11 | 2679548.9673 | 1227368.5108 | 2679560.8398 | 1227379.1968
12 | 2679641.0298 | 1227377.0572 | 2679651.9932 | 1227365.3869 | 2679656.8592 | 1227359.6071
13 | 2679548.9673 | 1227368.5108 | 2679536.5887 | 1227357.8937
14 | 2679536.5887 | 1227357.8937 | 2679558.1596 | 1227332.8652
15 | 2679732.3287 | 1227294.915 | 2679738.2023 | 1227297.7623
16 | 2679717.8029 | 1227330.2776 | 2679722.0897 | 1227318.6272 | 2679728.1858 | 1227302.0532 | 2679732.3287 | 1227294.915
17 | 2679732.3287 | 1227294.915 | 2679715.3552 | 1227276.5742
18 | 2679738.2023 | 1227297.7623 | 2679758.7163 | 1227264.6258 | 2679762.4767 | 1227251.5452 | 2679739.2204 | 1227233.6992 | 2679746.9556 | 1227223.355
19 | 2679717.8029 | 1227330.2776 | 2679715.323 | 1227327.5413
20 | 2679699.4565 | 1227259.395 | 2679715.3552 | 1227276.5742
21 | 2679681.0378 | 1227437.6691 | 2679676.7428 | 1227443.0842
22 | 2679691.9245 | 1227316.3883 | 2679695.0181 | 1227314.5952 | 2679698.3949 | 1227313.1616 | 2679700.5162 | 1227312.6564 | 2679702.6042 | 1227313.5071 | 2679715.323 | 1227327.5413
23 | 2679656.9329 | 1227359.5196 | 2679656.8592 | 1227359.6071
24 | 2679570.9348 | 1227318.0423 | 2679558.1596 | 1227332.8652
25 | 2679581.5301 | 1227244.9626 | 2679589.4184 | 1227237.563 | 2679609.36 | 1227215.7717
26 | 2679618.4191 | 1227203.9727 | 2679610.6476 | 1227214.3646 | 2679609.36 | 1227215.7717
27 | 2679715.8378 | 1227242.2361 | 2679699.4565 | 1227259.395
28 | 2679699.4565 | 1227259.395 | 2679697.7556 | 1227257.5612
29 | 2679681.0378 | 1227437.6691 | 2679692.4277 | 1227423.3199
30 | 2679691.9245 | 1227316.3883 | 2679685.0438 | 1227311.2149
31 | 2679691.9245 | 1227316.3883 | 2679670.8391 | 1227343.0018 | 2679656.9329 | 1227359.5196
32 | 2679715.8378 | 1227242.2361 | 2679698.7845 | 1227224.6963
33 | 2679715.8378 | 1227242.2361 | 2679731.2961 | 1227258.841
34 | 2679697.7556 | 1227257.5612 | 2679679.6662 | 1227238.0593
35 | 2679679.6521 | 1227238.0442 | 2679679.6662 | 1227238.0593
36 | 2679651.3328 | 1227214.2991 | 2679667.4167 | 1227226.2102 | 2679674.1737 | 1227232.138 | 2679679.6521 | 1227238.0442
37 | 2679625.3071 | 1227195.0255 | 2679651.3328 | 1227214.2991
38 | 2679625.3071 | 1227195.0255 | 2679618.4191 | 1227203.9727
39 | 2679586.3525 | 1227300.1533 | 2679570.9348 | 1227318.0423

## bus_geodata
| x | y | coords
0 | 2679624.3139 | 1227433.7858
1 | 2679628.8218 | 1227436.6453
2 | 2679603.2013 | 1227417.3247
3 | 2679659.6785 | 1227456.2184
4 | 2679585.0473 | 1227400.985
5 | 2679624.0493 | 1227395.1325
6 | 2679591.5269 | 1227486.0484
7 | 2679664.1007 | 1227459.0235
8 | 2679560.8398 | 1227379.1968
9 | 2679641.0298 | 1227377.0572
10 | 2679623.41 | 1227506.5285
11 | 2679548.9673 | 1227368.5108
12 | 2679536.5887 | 1227357.8937
13 | 2679732.3287 | 1227294.915
14 | 2679738.2023 | 1227297.7623
15 | 2679717.8029 | 1227330.2776
16 | 2679715.3552 | 1227276.5742
17 | 2679676.7428 | 1227443.0842
18 | 2679746.9556 | 1227223.355
19 | 2679715.323 | 1227327.5413
20 | 2679656.8592 | 1227359.6071
21 | 2679558.1596 | 1227332.8652
22 | 2679581.5301 | 1227244.9626
23 | 2679609.36 | 1227215.7717
24 | 2679699.4565 | 1227259.395
25 | 2679681.0378 | 1227437.6691
26 | 2679691.9245 | 1227316.3883
27 | 2679692.4277 | 1227423.3199
28 | 2679715.8378 | 1227242.2361
29 | 2679697.7556 | 1227257.5612
30 | 2679698.7845 | 1227224.6963
31 | 2679731.2961 | 1227258.841
32 | 2679679.6662 | 1227238.0593
33 | 2679679.6521 | 1227238.0442
34 | 2679651.3328 | 1227214.2991
35 | 2679625.3071 | 1227195.0255
36 | 2679618.4191 | 1227203.9727
37 | 2679570.9348 | 1227318.0423
38 | 2679586.3525 | 1227300.1533
39 | 2679656.9329 | 1227359.5196
40 | 2679685.0438 | 1227311.2149
41 | 2679656.8592 | 1227359.6071

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99006 | -0.19032 | 0.018204 | 0.0045624
1 | 0.98974 | -0.19655 | 0.013186 | 0.0033048
2 | 0.99213 | -0.15042 | 0 | 0
3 | 0.98799 | -0.23064 | 0.019377 | 0.0048564
4 | 0.98994 | -0.19254 | 0.0014633 | 0.00036673
5 | 0.99492 | -0.096847 | 0.023636 | 0.0059238
6 | 0.99029 | -0.18609 | 0 | 0
7 | 0.98783 | -0.23372 | 0 | 0
8 | 0.98706 | -0.24813 | 0.025242 | 0.0063263
9 | 0.99746 | -0.048295 | 0.011605 | 0.0029085
10 | 0.98965 | -0.19849 | 0.018398 | 0.0046111
11 | 0.98602 | -0.26828 | 0 | 0
12 | 0.98496 | -0.28887 | 0 | 0
13 | 0.98662 | -0.25602 | 0 | 0
14 | 0.98659 | -0.2566 | 0 | 0
15 | 0.9902 | -0.18683 | 0 | 0
16 | 0.9844 | -0.29917 | 0.012437 | 0.003117
17 | 0.98721 | -0.24571 | 0.017106 | 0.0042872
18 | 0.98616 | -0.26501 | 0.0049502 | 0.0012406
19 | 0.99055 | -0.18019 | 0.0030383 | 0.00076148
20 | 1 | 0 | -0.37994 | -0.096589
21 | 0.98282 | -0.33078 | 0.01741 | 0.0043633
22 | 0.97939 | -0.39701 | 0.010146 | 0.0025428
23 | 0.97977 | -0.38957 | 0.0081622 | 0.0020457
24 | 0.98258 | -0.33452 | 0 | 0
25 | 0.98711 | -0.24767 | 0 | 0
26 | 0.9935 | -0.12368 | 0 | 0
27 | 0.98684 | -0.25287 | 0.01586 | 0.0039748
28 | 0.9817 | -0.35177 | 0 | 0
29 | 0.98248 | -0.33648 | 0.005355 | 0.0013421
30 | 0.98141 | -0.35746 | 0.012862 | 0.0032234
31 | 0.98113 | -0.36303 | 0.027437 | 0.0068764
32 | 0.98154 | -0.35481 | 0.0070185 | 0.001759
33 | 0.98154 | -0.35482 | 0.0083087 | 0.0020824
34 | 0.98076 | -0.37012 | 0.0044917 | 0.0011257
35 | 0.98021 | -0.38087 | 0 | 0
36 | 0.98002 | -0.38462 | 0 | 0
37 | 0.98186 | -0.34952 | 0.043224 | 0.010833
38 | 0.98164 | -0.35371 | 0.0098133 | 0.0024595
39 | 0.99999 | -0.00027753 | 0.012545 | 0.0031442
40 | 0.99332 | -0.12708 | 0.022406 | 0.0056154
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.065663 | 0.016508 | -0.065644 | -0.016495 | 1.9504e-05 | 1.2414e-05 | 0.098707 | 0.098707 | 0.098707 | 0.99006 | -0.19032 | 0.98974 | -0.19655 | 27.1172
1 | -0.083867 | -0.02107 | 0.084028 | 0.021172 | 0.00016004 | 0.00010208 | 0.12607 | 0.12607 | 0.12607 | 0.99006 | -0.19032 | 0.99213 | -0.15042 | 34.6337
2 | 0.052458 | 0.013191 | -0.052372 | -0.013136 | 8.5265e-05 | 5.4101e-05 | 0.078882 | 0.078882 | 0.078882 | 0.98974 | -0.19655 | 0.98799 | -0.23064 | 21.671
3 | 0.097935 | 0.024847 | -0.097737 | -0.024721 | 0.0001979 | 0.00012634 | 0.14699 | 0.14699 | 0.14699 | 0.99213 | -0.15042 | 0.98994 | -0.19254 | 40.3828
4 | -0.2004 | -0.050656 | 0.20092 | 0.050985 | 0.0005163 | 0.00032965 | 0.30072 | 0.30072 | 0.30072 | 0.99213 | -0.15042 | 0.99492 | -0.096847 | 41.3081
5 | 0.018441 | 0.0046362 | -0.018409 | -0.0046175 | 3.1351e-05 | 1.8657e-05 | 0.027663 | 0.027663 | 0.027663 | 0.99213 | -0.15042 | 0.99029 | -0.18609 | 7.5998
6 | 0.032995 | 0.00828 | -0.03299 | -0.008277 | 4.8504e-06 | 3.0372e-06 | 0.049698 | 0.049698 | 0.049698 | 0.98799 | -0.23064 | 0.98783 | -0.23372 | 13.6533
7 | 0.096274 | 0.024354 | -0.096018 | -0.024191 | 0.00025606 | 0.00016346 | 0.14479 | 0.14479 | 0.14479 | 0.98994 | -0.19254 | 0.98706 | -0.24813 | 39.7786
8 | -0.22456 | -0.056909 | 0.22508 | 0.057245 | 0.0005252 | 0.00033548 | 0.33607 | 0.33607 | 0.33607 | 0.99492 | -0.096847 | 0.99746 | -0.048295 | 46.1639
9 | 0.018409 | 0.0046175 | -0.018398 | -0.0046111 | 1.0875e-05 | 6.4726e-06 | 0.027663 | 0.027664 | 0.027664 | 0.99029 | -0.18609 | 0.98965 | -0.19849 | 7.5999
10 | 0.03299 | 0.008277 | -0.032971 | -0.0082652 | 1.8843e-05 | 1.1799e-05 | 0.049698 | 0.049698 | 0.049698 | 0.98783 | -0.23372 | 0.98721 | -0.24571 | 13.6534
11 | 0.070776 | 0.017865 | -0.070707 | -0.017821 | 6.8248e-05 | 4.3475e-05 | 0.10674 | 0.10674 | 0.10674 | 0.98706 | -0.24813 | 0.98602 | -0.26828 | 29.3244
12 | -0.23669 | -0.060153 | 0.23724 | 0.060506 | 0.00055184 | 0.00035256 | 0.35339 | 0.35338 | 0.35339 | 0.99746 | -0.048295 | 1 | 0 | 48.5419
13 | 0.070707 | 0.017821 | -0.070638 | -0.017777 | 6.9562e-05 | 4.4313e-05 | 0.10674 | 0.10674 | 0.10674 | 0.98602 | -0.26828 | 0.98496 | -0.28887 | 29.3245
14 | 0.070638 | 0.017777 | -0.070497 | -0.017687 | 0.00014117 | 8.9931e-05 | 0.10674 | 0.10674 | 0.10674 | 0.98496 | -0.28887 | 0.98282 | -0.33078 | 29.3245
15 | 0.0049523 | 0.0012407 | -0.0049522 | -0.0012407 | 1.3623e-07 | 4.0253e-09 | 0.0074689 | 0.0074689 | 0.0074689 | 0.98662 | -0.25602 | 0.98659 | -0.2566 | 2.0519
16 | -0.10164 | -0.025651 | 0.10198 | 0.025867 | 0.00033801 | 0.00021583 | 0.15335 | 0.15335 | 0.15335 | 0.98662 | -0.25602 | 0.9902 | -0.18683 | 42.1301
17 | 0.096686 | 0.02441 | -0.096486 | -0.024283 | 0.00019944 | 0.00012732 | 0.14588 | 0.14588 | 0.14588 | 0.98662 | -0.25602 | 0.9844 | -0.29917 | 40.0782
18 | 0.0049522 | 0.0012407 | -0.0049502 | -0.0012406 | 1.9835e-06 | 5.9252e-08 | 0.0074689 | 0.0074693 | 0.0074693 | 0.98659 | -0.2566 | 0.98616 | -0.26501 | 2.052
19 | -0.10198 | -0.025867 | 0.10201 | 0.025887 | 3.2568e-05 | 2.0796e-05 | 0.15335 | 0.15335 | 0.15335 | 0.9902 | -0.18683 | 0.99055 | -0.18019 | 42.13
20 | 0.084049 | 0.021166 | -0.083907 | -0.021075 | 0.00014176 | 9.0432e-05 | 0.12708 | 0.12708 | 0.12708 | 0.9844 | -0.29917 | 0.98258 | -0.33452 | 34.9134
21 | 0.015865 | 0.003978 | -0.015864 | -0.0039771 | 1.4822e-06 | 8.6026e-07 | 0.023914 | 0.023914 | 0.023914 | 0.98721 | -0.24571 | 0.98711 | -0.24767 | 6.5698
22 | -0.10505 | -0.026649 | 0.10533 | 0.026832 | 0.00028635 | 0.00018287 | 0.15792 | 0.15792 | 0.15792 | 0.99055 | -0.18019 | 0.9935 | -0.12368 | 43.3839
23 | 0.14105 | 0.036083 | -0.14105 | -0.036082 | 1.8947e-06 | 1.2111e-06 | 0.21015 | 0.21015 | 0.21015 | 1 | 0 | 0.99999 | -0.00027753 | 57.7332
24 | 0.053087 | 0.013323 | -0.053039 | -0.013293 | 4.7414e-05 | 3.0097e-05 | 0.080382 | 0.080382 | 0.080382 | 0.98282 | -0.33078 | 0.98186 | -0.34952 | 22.083
25 | -0.010146 | -0.0025428 | 0.01015 | 0.0025446 | 3.5959e-06 | 1.7933e-06 | 0.015415 | 0.015415 | 0.015415 | 0.97939 | -0.39701 | 0.97977 | -0.38957 | 4.2349
26 | -0.018312 | -0.0045903 | 0.018316 | 0.0045928 | 4.317e-06 | 2.5754e-06 | 0.027811 | 0.027811 | 0.027811 | 0.97977 | -0.38957 | 0.98002 | -0.38462 | 7.6404
27 | 0.04035 | 0.010132 | -0.040317 | -0.010111 | 3.3183e-05 | 2.0937e-05 | 0.061113 | 0.061113 | 0.061113 | 0.98258 | -0.33452 | 0.9817 | -0.35177 | 16.7893
28 | 0.043557 | 0.010943 | -0.043553 | -0.010941 | 4.0822e-06 | 2.5809e-06 | 0.065972 | 0.065972 | 0.065972 | 0.98258 | -0.33452 | 0.98248 | -0.33648 | 18.1242
29 | 0.015864 | 0.0039771 | -0.01586 | -0.0039748 | 3.9289e-06 | 2.2804e-06 | 0.023914 | 0.023914 | 0.023914 | 0.98711 | -0.24767 | 0.98684 | -0.25287 | 6.5699
30 | 0.022409 | 0.0056176 | -0.022406 | -0.0056154 | 3.6302e-06 | 2.2121e-06 | 0.033564 | 0.033564 | 0.033564 | 0.9935 | -0.12368 | 0.99332 | -0.12708 | 9.2209
31 | -0.12774 | -0.032449 | 0.12851 | 0.032937 | 0.00076373 | 0.00048806 | 0.19148 | 0.19148 | 0.19148 | 0.9935 | -0.12368 | 0.99999 | -0.00027753 | 52.6048
32 | 0.012865 | 0.0032253 | -0.012862 | -0.0032234 | 3.4886e-06 | 1.9235e-06 | 0.019501 | 0.019501 | 0.019501 | 0.9817 | -0.35177 | 0.98141 | -0.35746 | 5.3574
33 | 0.027452 | 0.0068856 | -0.027437 | -0.0068764 | 1.4732e-05 | 9.1415e-06 | 0.041612 | 0.041613 | 0.041613 | 0.9817 | -0.35177 | 0.98113 | -0.36303 | 11.432
34 | 0.038198 | 0.0095987 | -0.038164 | -0.0095777 | 3.3396e-05 | 2.1037e-05 | 0.057862 | 0.057862 | 0.057862 | 0.98248 | -0.33648 | 0.98154 | -0.35481 | 15.8961
35 | 0.031146 | 0.0078187 | -0.031146 | -0.0078187 | 1.7284e-08 | 1.0799e-08 | 0.047222 | 0.047222 | 0.047222 | 0.98154 | -0.35481 | 0.98154 | -0.35482 | 12.973
36 | 0.022837 | 0.0057363 | -0.022821 | -0.0057261 | 1.6662e-05 | 1.0195e-05 | 0.034626 | 0.034626 | 0.034626 | 0.98154 | -0.35482 | 0.98076 | -0.37012 | 9.5126
37 | 0.018329 | 0.0046004 | -0.018319 | -0.0045948 | 9.3932e-06 | 5.6032e-06 | 0.027811 | 0.027811 | 0.027811 | 0.98076 | -0.37012 | 0.98021 | -0.38087 | 7.6404
38 | 0.018319 | 0.0045948 | -0.018316 | -0.0045928 | 3.272e-06 | 1.9519e-06 | 0.027811 | 0.027811 | 0.027811 | 0.98021 | -0.38087 | 0.98002 | -0.38462 | 7.6404
39 | 0.0098153 | 0.0024604 | -0.0098133 | -0.0024595 | 1.9597e-06 | 9.5556e-07 | 0.014875 | 0.014875 | 0.014875 | 0.98186 | -0.34952 | 0.98164 | -0.35371 | 4.0867

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40193 | 0.1021

## res_load
| p_mw | q_mvar
0 | 0.018204 | 0.0045624
1 | 0.013186 | 0.0033048
2 | 0.019377 | 0.0048564
3 | 0.0014633 | 0.00036673
4 | 0.023636 | 0.0059238
5 | 0.025242 | 0.0063263
6 | 0.011605 | 0.0029085
7 | 0.018398 | 0.0046111
8 | 0.012437 | 0.003117
9 | 0.017106 | 0.0042872
10 | 0.0049502 | 0.0012406
11 | 0.0030383 | 0.00076148
12 | 0.021993 | 0.0055119
13 | 0.01741 | 0.0043633
14 | 0.010146 | 0.0025428
15 | 0.0081622 | 0.0020457
16 | 0.01586 | 0.0039748
17 | 0.005355 | 0.0013421
18 | 0.012862 | 0.0032234
19 | 0.027437 | 0.0068764
20 | 0.0070185 | 0.001759
21 | 0.0083087 | 0.0020824
22 | 0.0044917 | 0.0011257
23 | 0.043224 | 0.010833
24 | 0.0098133 | 0.0024595
25 | 0.012545 | 0.0031442
26 | 0.022406 | 0.0056154

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1