## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1708-9_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_1708-9_1_3_node_79 | 0.4 | n |  | TRUE
2 | bus_LV_1708-9_1_3_node_62 | 0.4 | n |  | TRUE
3 | bus_LV_1708-9_1_3_node_63 | 0.4 | n |  | TRUE
4 | bus_LV_1708-9_1_3_node_64 | 0.4 | n |  | TRUE
5 | bus_LV_1708-9_1_3_node_65 | 0.4 | n |  | TRUE
6 | bus_LV_1708-9_1_3_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_1708-9_1_3_node_68 | 0.4 | n |  | TRUE
8 | bus_LV_1708-9_1_3_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_1708-9_1_3_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_1708-9_1_3_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_1708-9_1_3_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_1708-9_1_3_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_1708-9_1_3_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_1708-9_1_3_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_1708-9_1_3_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_1708-9_1_3_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_1708-9_1_3_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_1708-9_1_3_node_77 | 0.4 | n |  | TRUE
19 | bus_LV_1708-9_1_3_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_1708-9_1_3_node_81 | 0.4 | n |  | TRUE
21 | bus_LV_1708-9_1_3_node_108 | 0.4 | n |  | TRUE
22 | bus_LV_1708-9_1_3_node_95 | 0.4 | n |  | TRUE
23 | bus_LV_1708-9_1_3_node_96 | 0.4 | n |  | TRUE
24 | bus_LV_1708-9_1_3_node_80 | 0.4 | n |  | TRUE
25 | bus_LV_1708-9_1_3_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_1708-9_1_3_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_1708-9_1_3_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_1708-9_1_3_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_1708-9_1_3_node_88 | 0.4 | n |  | TRUE
30 | bus_LV_1708-9_1_3_node_102 | 0.4 | n |  | TRUE
31 | bus_LV_1708-9_1_3_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_1708-9_1_3_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_1708-9_1_3_node_91 | 0.4 | n |  | TRUE
34 | bus_LV_1708-9_1_3_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_1708-9_1_3_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_1708-9_1_3_node_94 | 0.4 | n |  | TRUE
37 | bus_LV_1708-9_1_3_node_104 | 0.4 | n |  | TRUE
38 | bus_LV_1708-9_1_3_node_124 | 0.4 | n |  | TRUE
39 | bus_LV_1708-9_1_3_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_1708-9_1_3_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_1708-9_1_3_node_100 | 0.4 | n |  | TRUE
42 | bus_LV_1708-9_1_3_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_1708-9_1_3_node_101 | 0.4 | n |  | TRUE
44 | bus_LV_1708-9_1_3_node_103 | 0.4 | n |  | TRUE
45 | bus_LV_1708-9_1_3_node_120 | 0.4 | n |  | TRUE
46 | bus_LV_1708-9_1_3_node_111 | 0.4 | n |  | TRUE
47 | bus_LV_1708-9_1_3_node_115 | 0.4 | n |  | TRUE
48 | bus_LV_1708-9_1_3_node_105 | 0.4 | n |  | TRUE
49 | bus_LV_1708-9_1_3_node_106 | 0.4 | n |  | TRUE
50 | bus_LV_1708-9_1_3_node_107 | 0.4 | n |  | TRUE
51 | bus_LV_1708-9_1_3_node_119 | 0.4 | n |  | TRUE
52 | bus_LV_1708-9_1_3_node_109 | 0.4 | n |  | TRUE
53 | bus_LV_1708-9_1_3_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_1708-9_1_3_node_112 | 0.4 | n |  | TRUE
55 | bus_LV_1708-9_1_3_node_113 | 0.4 | n |  | TRUE
56 | bus_LV_1708-9_1_3_node_114 | 0.4 | n |  | TRUE
57 | bus_LV_1708-9_1_3_node_116 | 0.4 | n |  | TRUE
58 | bus_LV_1708-9_1_3_node_117 | 0.4 | n |  | TRUE
59 | bus_LV_1708-9_1_3_node_118 | 0.4 | n |  | TRUE
60 | bus_LV_1708-9_1_3_node_121 | 0.4 | n |  | TRUE
61 | bus_LV_1708-9_1_3_node_122 | 0.4 | n |  | TRUE
62 | bus_MV_231_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1708-9_1_3_load_128 | 0 | 0.014172 | 0.0035518 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1708-9_1_3_load_62 | 2 | 0.0080871 | 0.0020268 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1708-9_1_3_load_66 | 6 | 0.0079024 | 0.0019805 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1708-9_1_3_load_68 | 7 | 0.0039654 | 0.00099382 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1708-9_1_3_load_78 | 9 | 0.0088714 | 0.0022234 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1708-9_1_3_load_69 | 10 | 0.0045059 | 0.0011293 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1708-9_1_3_load_70 | 11 | 0.003651 | 0.00091502 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1708-9_1_3_load_83 | 12 | 0.0042854 | 0.001074 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1708-9_1_3_load_72 | 13 | 0.0078572 | 0.0019692 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1708-9_1_3_load_73 | 14 | 0.0028851 | 0.00072306 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1708-9_1_3_load_75 | 16 | 0.0034616 | 0.00086757 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1708-9_1_3_load_76 | 17 | 0.0067205 | 0.0016843 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1708-9_1_3_load_77 | 18 | 0.0040222 | 0.0010081 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1708-9_1_3_load_87 | 19 | 0.0083178 | 0.0020846 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1708-9_1_3_load_81 | 20 | 0.0045213 | 0.0011331 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1708-9_1_3_load_108 | 21 | 0.0062664 | 0.0015705 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1708-9_1_3_load_95 | 22 | 0.0092383 | 0.0023153 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1708-9_1_3_load_80 | 24 | 0.0048799 | 0.001223 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1708-9_1_3_load_82 | 25 | 0.0056235 | 0.0014094 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1708-9_1_3_load_84 | 26 | 0.0034373 | 0.00086148 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1708-9_1_3_load_85 | 27 | 0.005064 | 0.0012692 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1708-9_1_3_load_86 | 28 | 0.01441 | 0.0036115 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1708-9_1_3_load_88 | 29 | 0.0096691 | 0.0024233 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1708-9_1_3_load_89 | 31 | 0.0027214 | 0.00068203 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1708-9_1_3_load_90 | 32 | 0.0042641 | 0.0010687 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1708-9_1_3_load_93 | 35 | 0.0020473 | 0.0005131 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1708-9_1_3_load_94 | 36 | 0.0019301 | 0.00048372 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1708-9_1_3_load_124 | 38 | 0.0035962 | 0.00090128 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1708-9_1_3_load_97 | 39 | 0.015518 | 0.0038892 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1708-9_1_3_load_98 | 40 | 0.0042865 | 0.0010743 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1708-9_1_3_load_99 | 42 | 0.0036705 | 0.00091992 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1708-9_1_3_load_120 | 45 | 0.0025298 | 0.00063402 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1708-9_1_3_load_111 | 46 | 0.0027326 | 0.00068486 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1708-9_1_3_load_115 | 47 | 0.0025528 | 0.00063979 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1708-9_1_3_load_105 | 48 | 0.0047787 | 0.0011977 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1708-9_1_3_load_106 | 49 | 0.0027717 | 0.00069466 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1708-9_1_3_load_107 | 50 | 0.0028286 | 0.00070891 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1708-9_1_3_load_109 | 52 | 0.0028542 | 0.00071533 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1708-9_1_3_load_110 | 53 | 0.0049768 | 0.0012473 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1708-9_1_3_load_112 | 54 | 0.002598 | 0.00065112 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1708-9_1_3_load_113 | 55 | 0.0019216 | 0.0004816 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1708-9_1_3_load_114 | 56 | 0.0027329 | 0.00068492 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1708-9_1_3_load_116 | 57 | 0.0048251 | 0.0012093 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1708-9_1_3_load_117 | 58 | 0.0054486 | 0.0013656 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1708-9_1_3_load_118 | 59 | 0.0030752 | 0.00077072 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1708-9_1_3_load_121 | 60 | 0.0035469 | 0.00088893 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1708-9_1_3_load_122 | 61 | 0.0036381 | 0.0009118 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1708-9_1_3_line_0 |  | 0 | 1 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1708-9_1_3_line_1 |  | 1 | 23 | 0.014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1708-9_1_3_line_2 |  | 2 | 3 | 0.021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1708-9_1_3_line_3 |  | 2 | 4 | 0.020074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1708-9_1_3_line_4 |  | 3 | 5 | 0.037419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1708-9_1_3_line_5 |  | 4 | 6 | 0.036526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1708-9_1_3_line_6 |  | 5 | 7 | 0.016978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1708-9_1_3_line_7 |  | 6 | 8 | 0.010379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1708-9_1_3_line_8 |  | 7 | 10 | 0.023146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1708-9_1_3_line_9 |  | 8 | 9 | 0.020928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1708-9_1_3_line_10 |  | 9 | 22 | 0.01373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1708-9_1_3_line_11 |  | 10 | 11 | 0.021133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1708-9_1_3_line_12 |  | 11 | 12 | 0.00057557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1708-9_1_3_line_13 |  | 12 | 25 | 0.022838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1708-9_1_3_line_14 |  | 13 | 14 | 0.033511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1708-9_1_3_line_15 |  | 13 | 15 | 0.020081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1708-9_1_3_line_16 |  | 14 | 16 | 0.007761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1708-9_1_3_line_17 |  | 15 | 17 | 0.041514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1708-9_1_3_line_18 |  | 15 | 18 | 0.01862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1708-9_1_3_line_19 |  | 16 | 19 | 0.038888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1708-9_1_3_line_20 |  | 17 | 20 | 0.019006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1708-9_1_3_line_21 |  | 18 | 21 | 0.00034288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1708-9_1_3_line_22 |  | 19 | 27 | 0.0049531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1708-9_1_3_line_23 |  | 20 | 24 | 0.020483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1708-9_1_3_line_24 |  | 21 | 37 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1708-9_1_3_line_25 |  | 22 | 23 | 0.029547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1708-9_1_3_line_26 |  | 23 | 39 | 0.026556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1708-9_1_3_line_27 |  | 24 | 25 | 0.019853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1708-9_1_3_line_28 |  | 26 | 27 | 0.012875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1708-9_1_3_line_29 |  | 26 | 28 | 0.025412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1708-9_1_3_line_30 |  | 28 | 29 | 0.027741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1708-9_1_3_line_31 |  | 29 | 30 | 0.022351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1708-9_1_3_line_32 |  | 30 | 44 | 0.062217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1708-9_1_3_line_33 |  | 31 | 32 | 0.030236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1708-9_1_3_line_34 |  | 31 | 33 | 0.022838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1708-9_1_3_line_35 |  | 32 | 34 | 0.019056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1708-9_1_3_line_36 |  | 33 | 35 | 0.032934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1708-9_1_3_line_37 |  | 33 | 36 | 0.012581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1708-9_1_3_line_38 |  | 34 | 37 | 0.053292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1708-9_1_3_line_39 |  | 36 | 38 | 0.027844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1708-9_1_3_line_40 |  | 37 | 48 | 0.040259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1708-9_1_3_line_41 |  | 38 | 61 | 0.032228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1708-9_1_3_line_42 |  | 40 | 41 | 0.020597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1708-9_1_3_line_43 |  | 41 | 44 | 0.054029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1708-9_1_3_line_44 |  | 42 | 43 | 0.014915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1708-9_1_3_line_45 |  | 43 | 45 | 0.020588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1708-9_1_3_line_46 |  | 44 | 46 | 0.023014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1708-9_1_3_line_47 |  | 44 | 47 | 0.018386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1708-9_1_3_line_48 |  | 45 | 60 | 0.026918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1708-9_1_3_line_49 |  | 46 | 52 | 0.0054511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1708-9_1_3_line_50 |  | 47 | 56 | 0.013938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1708-9_1_3_line_51 |  | 48 | 49 | 0.018748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1708-9_1_3_line_52 |  | 49 | 50 | 0.020185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1708-9_1_3_line_53 |  | 50 | 51 | 0.017077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1708-9_1_3_line_54 |  | 51 | 59 | 0.0025123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1708-9_1_3_line_55 |  | 52 | 53 | 0.052642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1708-9_1_3_line_56 |  | 53 | 54 | 0.030975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1708-9_1_3_line_57 |  | 54 | 55 | 0.0024318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1708-9_1_3_line_58 |  | 56 | 57 | 0.0027713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1708-9_1_3_line_59 |  | 57 | 58 | 0.01283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1708-9_1_3_line_60 |  | 60 | 61 | 0.030009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1708-9_1_3_trafo_84 | 0.63 MVA 20/0.4 kV | 62 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2679805.844 | 1227790.9146 | 2679810.3272 | 1227764.6235
1 | 2679820.1083 | 1227793.0629 | 2679805.844 | 1227790.9146
2 | 2679707.8783 | 1227828.0933 | 2679729.5633 | 1227831.3028
3 | 2679748.924 | 1227831.4345 | 2679744.9695 | 1227833.5829 | 2679729.5633 | 1227831.3028
4 | 2679702.3351 | 1227865.0998 | 2679706.4475 | 1227837.5917 | 2679707.8783 | 1227828.0933
5 | 2679748.924 | 1227831.4345 | 2679753.7031 | 1227830.5201 | 2679771.4917 | 1227832.6378 | 2679773.5259 | 1227819.0435
6 | 2679702.3351 | 1227865.0998 | 2679719.0865 | 1227867.8632
7 | 2679777.5152 | 1227809.5807 | 2679773.9142 | 1227816.4482 | 2679773.5259 | 1227819.0435
8 | 2679719.0865 | 1227867.8632 | 2679741.9239 | 1227871.6306
9 | 2679777.5152 | 1227809.5807 | 2679780.4575 | 1227812.2664 | 2679797.244 | 1227814.5711
10 | 2679810.8469 | 1227816.4386 | 2679797.244 | 1227814.5711
11 | 2679741.9239 | 1227871.6306 | 2679762.7754 | 1227875.0704
12 | 2679762.7754 | 1227875.0704 | 2679763.3433 | 1227875.164
13 | 2679763.3433 | 1227875.164 | 2679785.8764 | 1227878.8813
14 | 2679888.8822 | 1227875.5227 | 2679892.1053 | 1227857.2839 | 2679893.243 | 1227842.3377
15 | 2679885.3878 | 1227895.2973 | 2679888.8822 | 1227875.5227
16 | 2679893.832 | 1227834.5991 | 2679893.243 | 1227842.3377
17 | 2679885.3878 | 1227895.2973 | 2679844.4276 | 1227888.5402
18 | 2679885.3878 | 1227895.2973 | 2679881.827 | 1227913.5738
19 | 2679893.832 | 1227834.5991 | 2679894.8201 | 1227821.6183 | 2679881.7986 | 1227819.4865 | 2679869.2378 | 1227817.7932
20 | 2679825.6749 | 1227885.4467 | 2679844.4276 | 1227888.5402
21 | 2679881.827 | 1227913.5738 | 2679881.7614 | 1227913.9103
22 | 2679869.2378 | 1227817.7932 | 2679864.3291 | 1227817.1314
23 | 2679805.465 | 1227882.1127 | 2679825.6749 | 1227885.4467
24 | 2679878.2168 | 1227932.1038 | 2679881.7614 | 1227913.9103
25 | 2679820.1083 | 1227793.0629 | 2679815.9125 | 1227817.1341 | 2679810.8469 | 1227816.4386
26 | 2679820.1083 | 1227793.0629 | 2679823.9244 | 1227766.7852
27 | 2679805.465 | 1227882.1127 | 2679785.8764 | 1227878.8813
28 | 2679851.5697 | 1227815.4113 | 2679851.5697 | 1227815.4113 | 2679864.3291 | 1227817.1314
29 | 2679851.5697 | 1227815.4113 | 2679849.6887 | 1227811.5724 | 2679851.467 | 1227790.5107
30 | 2679851.467 | 1227790.5107 | 2679852.6987 | 1227775.9219 | 2679854.4022 | 1227762.9324
31 | 2679857.3087 | 1227740.771 | 2679854.4022 | 1227762.9324
32 | 2679857.3087 | 1227740.771 | 2679875.142 | 1227743.5233 | 2679885.2374 | 1227741.7799 | 2679892.6067 | 1227735.9193 | 2679915.0274 | 1227745.8271
33 | 2679946.6659 | 1227893.6692 | 2679936.3612 | 1227922.0947
34 | 2679954.4496 | 1227872.1981 | 2679946.6659 | 1227893.6692
35 | 2679930.8667 | 1227940.3275 | 2679934.3095 | 1227927.7541 | 2679936.3612 | 1227922.0947
36 | 2679954.4496 | 1227872.1981 | 2679922.9886 | 1227862.4603
37 | 2679954.4496 | 1227872.1981 | 2679960.2445 | 1227861.0316
38 | 2679878.2168 | 1227932.1038 | 2679885.4511 | 1227933.4574 | 2679930.8667 | 1227940.3275
39 | 2679973.0699 | 1227836.3178 | 2679960.2445 | 1227861.0316
40 | 2679878.2168 | 1227932.1038 | 2679838.4723 | 1227925.6883
41 | 2679973.0699 | 1227836.3178 | 2679987.915 | 1227807.7122
42 | 2679903.7401 | 1227708.8171 | 2679923.7089 | 1227713.8646
43 | 2679903.7401 | 1227708.8171 | 2679896.8201 | 1227729.7384 | 2679892.6067 | 1227735.9193 | 2679915.0274 | 1227745.8271
44 | 2680019.6161 | 1227737.0601 | 2680005.051 | 1227733.848
45 | 2680019.6161 | 1227737.0601 | 2680012.0507 | 1227756.208
46 | 2679915.0274 | 1227745.8271 | 2679921.3392 | 1227743.0989 | 2679929.1111 | 1227743.3702 | 2679936.6217 | 1227747.0439
47 | 2679915.0274 | 1227745.8271 | 2679916.7386 | 1227754.4004 | 2679912.7799 | 1227763.1944
48 | 2680012.0507 | 1227756.208 | 2680006.192 | 1227771.036 | 2680001.4445 | 1227780.9305
49 | 2679941.5184 | 1227749.439 | 2679936.6217 | 1227747.0439
50 | 2679907.0585 | 1227775.9042 | 2679912.7799 | 1227763.1944
51 | 2679838.4723 | 1227925.6883 | 2679819.9639 | 1227922.7006
52 | 2679800.037 | 1227919.4841 | 2679819.9639 | 1227922.7006
53 | 2679783.1781 | 1227916.7627 | 2679800.037 | 1227919.4841
54 | 2679783.1781 | 1227916.7627 | 2679780.7007 | 1227916.3454
55 | 2679941.5184 | 1227749.439 | 2679968.2622 | 1227762.5203 | 2679970.9977 | 1227768.1832 | 2679963.9156 | 1227783.1764
56 | 2679950.6861 | 1227811.1836 | 2679963.9156 | 1227783.1764
57 | 2679949.6475 | 1227813.3825 | 2679950.6861 | 1227811.1836
58 | 2679907.0585 | 1227775.9042 | 2679905.9209 | 1227778.4313
59 | 2679900.6542 | 1227790.1308 | 2679905.9209 | 1227778.4313
60 | 2679987.915 | 1227807.7122 | 2679996.9212 | 1227790.3578 | 2680001.4445 | 1227780.9305

## bus_geodata
| x | y | coords
0 | 2679810.3272 | 1227764.6235
1 | 2679805.844 | 1227790.9146
2 | 2679729.5633 | 1227831.3028
3 | 2679707.8783 | 1227828.0933
4 | 2679748.924 | 1227831.4345
5 | 2679702.3351 | 1227865.0998
6 | 2679773.5259 | 1227819.0435
7 | 2679719.0865 | 1227867.8632
8 | 2679777.5152 | 1227809.5807
9 | 2679797.244 | 1227814.5711
10 | 2679741.9239 | 1227871.6306
11 | 2679762.7754 | 1227875.0704
12 | 2679763.3433 | 1227875.164
13 | 2679888.8822 | 1227875.5227
14 | 2679893.243 | 1227842.3377
15 | 2679885.3878 | 1227895.2973
16 | 2679893.832 | 1227834.5991
17 | 2679844.4276 | 1227888.5402
18 | 2679881.827 | 1227913.5738
19 | 2679869.2378 | 1227817.7932
20 | 2679825.6749 | 1227885.4467
21 | 2679881.7614 | 1227913.9103
22 | 2679810.8469 | 1227816.4386
23 | 2679820.1083 | 1227793.0629
24 | 2679805.465 | 1227882.1127
25 | 2679785.8764 | 1227878.8813
26 | 2679851.5697 | 1227815.4113
27 | 2679864.3291 | 1227817.1314
28 | 2679851.467 | 1227790.5107
29 | 2679854.4023 | 1227762.9324
30 | 2679857.3087 | 1227740.771
31 | 2679946.6659 | 1227893.6692
32 | 2679936.3612 | 1227922.0947
33 | 2679954.4496 | 1227872.1981
34 | 2679930.8667 | 1227940.3275
35 | 2679922.9886 | 1227862.4603
36 | 2679960.2445 | 1227861.0316
37 | 2679878.2168 | 1227932.1038
38 | 2679973.0699 | 1227836.3178
39 | 2679823.9244 | 1227766.7852
40 | 2679923.7089 | 1227713.8646
41 | 2679903.7401 | 1227708.8171
42 | 2680005.051 | 1227733.848
43 | 2680019.6161 | 1227737.0601
44 | 2679915.0274 | 1227745.8271
45 | 2680012.0507 | 1227756.208
46 | 2679936.6217 | 1227747.0439
47 | 2679912.7799 | 1227763.1944
48 | 2679838.4723 | 1227925.6883
49 | 2679819.9639 | 1227922.7006
50 | 2679800.037 | 1227919.4841
51 | 2679783.1781 | 1227916.7627
52 | 2679941.5184 | 1227749.439
53 | 2679963.9156 | 1227783.1764
54 | 2679950.6861 | 1227811.1836
55 | 2679949.6475 | 1227813.3825
56 | 2679907.0585 | 1227775.9042
57 | 2679905.9209 | 1227778.4313
58 | 2679900.6542 | 1227790.1308
59 | 2679780.7007 | 1227916.3454
60 | 2680001.4445 | 1227780.9305
61 | 2679987.915 | 1227807.7122
62 | 2679857.3087 | 1227740.771

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97034 | -0.57282 | 0.014172 | 0.0035518
1 | 0.97069 | -0.56582 | 0 | 0
2 | 0.97654 | -0.45062 | 0.0080871 | 0.0020268
3 | 0.97785 | -0.4251 | 0 | 0
4 | 0.9755 | -0.47108 | 0 | 0
5 | 0.98007 | -0.38168 | 0 | 0
6 | 0.9736 | -0.50842 | 0.0079024 | 0.0019805
7 | 0.98109 | -0.36205 | 0.0039654 | 0.00099382
8 | 0.97313 | -0.51755 | 0 | 0
9 | 0.9722 | -0.53598 | 0.0088714 | 0.0022234
10 | 0.98255 | -0.33369 | 0.0045059 | 0.0011293
11 | 0.98397 | -0.30615 | 0.003651 | 0.00091502
12 | 0.98401 | -0.30537 | 0.0042854 | 0.001074
13 | 0.99241 | -0.14422 | 0.0078572 | 0.0019692
14 | 0.99491 | -0.096443 | 0.0028851 | 0.00072306
15 | 0.99098 | -0.17156 | 0 | 0
16 | 0.9955 | -0.085216 | 0.0034616 | 0.00086757
17 | 0.98901 | -0.2092 | 0.0067205 | 0.0016843
18 | 0.99009 | -0.18866 | 0.0040222 | 0.0010081
19 | 0.99852 | -0.027983 | 0.0083178 | 0.0020846
20 | 0.98817 | -0.22534 | 0.0045213 | 0.0011331
21 | 0.99008 | -0.18895 | 0.0062664 | 0.0015705
22 | 0.9717 | -0.54584 | 0.0092383 | 0.0023153
23 | 0.97088 | -0.56205 | 0 | 0
24 | 0.98731 | -0.24193 | 0.0048799 | 0.001223
25 | 0.98572 | -0.27245 | 0.0056235 | 0.0014094
26 | 1 | 0 | -0.24499 | -0.062179
27 | 0.99892 | -0.020359 | 0.005064 | 0.0012692
28 | 0.99863 | -0.026176 | 0.01441 | 0.0036115
29 | 0.99751 | -0.047829 | 0.0096691 | 0.0024233
30 | 0.99679 | -0.061518 | 0 | 0
31 | 0.98686 | -0.2515 | 0.0027214 | 0.00068203
32 | 0.98751 | -0.23869 | 0.0042641 | 0.0010687
33 | 0.98642 | -0.26007 | 0 | 0
34 | 0.988 | -0.22917 | 0 | 0
35 | 0.98635 | -0.26128 | 0.0020473 | 0.0005131
36 | 0.9862 | -0.26433 | 0.0019301 | 0.00048372
37 | 0.98937 | -0.20261 | 0 | 0
38 | 0.98576 | -0.27281 | 0.0035962 | 0.00090128
39 | 0.9705 | -0.56967 | 0.015518 | 0.0038892
40 | 0.99452 | -0.10536 | 0.0042865 | 0.0010743
41 | 0.9946 | -0.10381 | 0 | 0
42 | 0.98482 | -0.29115 | 0.0036705 | 0.00091992
43 | 0.98487 | -0.29017 | 0 | 0
44 | 0.99481 | -0.099726 | 0 | 0
45 | 0.98494 | -0.28881 | 0.0025298 | 0.00063402
46 | 0.9945 | -0.10584 | 0.0027326 | 0.00068486
47 | 0.99455 | -0.10477 | 0.0025528 | 0.00063979
48 | 0.98888 | -0.21226 | 0.0047787 | 0.0011977
49 | 0.98873 | -0.21516 | 0.0027717 | 0.00069466
50 | 0.98862 | -0.21729 | 0.0028286 | 0.00070891
51 | 0.98857 | -0.21822 | 0 | 0
52 | 0.99444 | -0.10703 | 0.0028542 | 0.00071533
53 | 0.99398 | -0.11585 | 0.0049768 | 0.0012473
54 | 0.99385 | -0.11832 | 0.002598 | 0.00065112
55 | 0.99385 | -0.1184 | 0.0019216 | 0.0004816
56 | 0.99439 | -0.10796 | 0.0027329 | 0.00068492
57 | 0.99436 | -0.10846 | 0.0048251 | 0.0012093
58 | 0.9943 | -0.1097 | 0.0054486 | 0.0013656
59 | 0.98856 | -0.21836 | 0.0030752 | 0.00077072
60 | 0.9851 | -0.28581 | 0.0035469 | 0.00088893
61 | 0.98536 | -0.28056 | 0.0036381 | 0.0009118
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014172 | -0.0035518 | 0.014176 | 0.0035545 | 4.7241e-06 | 2.6938e-06 | 0.021732 | 0.021732 | 0.021732 | 0.97034 | -0.57282 | 0.97069 | -0.56582 | 5.9704
1 | -0.014176 | -0.0035545 | 0.014179 | 0.0035559 | 2.5475e-06 | 1.4526e-06 | 0.021732 | 0.021732 | 0.021732 | 0.97069 | -0.56582 | 0.97088 | -0.56205 | 5.9704
2 | -0.064061 | -0.016158 | 0.064139 | 0.016208 | 7.8387e-05 | 4.9893e-05 | 0.097651 | 0.097651 | 0.097651 | 0.97654 | -0.45062 | 0.97785 | -0.4251 | 26.8271
3 | 0.055974 | 0.014132 | -0.055919 | -0.014097 | 5.481e-05 | 3.4827e-05 | 0.085328 | 0.085328 | 0.085328 | 0.97654 | -0.45062 | 0.9755 | -0.47108 | 23.4417
4 | -0.064139 | -0.016208 | 0.064273 | 0.016294 | 0.00013381 | 8.5165e-05 | 0.097651 | 0.09765 | 0.097651 | 0.97785 | -0.4251 | 0.98007 | -0.38168 | 26.8271
5 | 0.055919 | 0.014097 | -0.055819 | -0.014033 | 9.9727e-05 | 6.337e-05 | 0.085328 | 0.085328 | 0.085328 | 0.9755 | -0.47108 | 0.9736 | -0.50842 | 23.4418
6 | -0.064273 | -0.016294 | 0.064334 | 0.016332 | 6.071e-05 | 3.864e-05 | 0.09765 | 0.09765 | 0.09765 | 0.98007 | -0.38168 | 0.98109 | -0.36205 | 26.827
7 | 0.047917 | 0.012053 | -0.047896 | -0.01204 | 2.0883e-05 | 1.3236e-05 | 0.07325 | 0.07325 | 0.07325 | 0.9736 | -0.50842 | 0.97313 | -0.51755 | 20.1237
8 | -0.068299 | -0.017326 | 0.068392 | 0.017385 | 9.3276e-05 | 5.9404e-05 | 0.10366 | 0.10366 | 0.10366 | 0.98109 | -0.36205 | 0.98255 | -0.33369 | 28.4793
9 | 0.047896 | 0.01204 | -0.047854 | -0.012013 | 4.2109e-05 | 2.669e-05 | 0.07325 | 0.07325 | 0.07325 | 0.97313 | -0.51755 | 0.9722 | -0.53598 | 20.1237
10 | 0.038982 | 0.0097896 | -0.038964 | -0.0097781 | 1.8334e-05 | 1.1564e-05 | 0.059672 | 0.059672 | 0.059672 | 0.9722 | -0.53598 | 0.9717 | -0.54584 | 16.3935
11 | -0.072898 | -0.018515 | 0.072995 | 0.018576 | 9.6746e-05 | 6.1649e-05 | 0.11049 | 0.11049 | 0.11049 | 0.98255 | -0.33369 | 0.98397 | -0.30615 | 30.354
12 | -0.076646 | -0.019491 | 0.076649 | 0.019493 | 2.9048e-06 | 1.8517e-06 | 0.11601 | 0.11601 | 0.11601 | 0.98397 | -0.30615 | 0.98401 | -0.30537 | 31.8707
13 | -0.080934 | -0.020567 | 0.081063 | 0.020649 | 0.00012849 | 8.1945e-05 | 0.12249 | 0.12249 | 0.12249 | 0.98401 | -0.30537 | 0.98572 | -0.27245 | 33.6511
14 | -0.16319 | -0.04155 | 0.16357 | 0.04179 | 0.00037691 | 0.00024035 | 0.24492 | 0.24492 | 0.24492 | 0.99241 | -0.14422 | 0.99491 | -0.096443 | 33.6428
15 | 0.15533 | 0.03958 | -0.15513 | -0.03945 | 0.00020465 | 0.00013046 | 0.23314 | 0.23314 | 0.23314 | 0.99241 | -0.14422 | 0.99098 | -0.17156 | 32.0245
16 | -0.16645 | -0.042513 | 0.16654 | 0.042571 | 9.0392e-05 | 5.7649e-05 | 0.24923 | 0.24923 | 0.24923 | 0.99491 | -0.096443 | 0.9955 | -0.085216 | 34.2354
17 | 0.10327 | 0.026394 | -0.10308 | -0.026275 | 0.00018762 | 0.00011901 | 0.15525 | 0.15525 | 0.15525 | 0.99098 | -0.17156 | 0.98901 | -0.2092 | 21.3259
18 | 0.051856 | 0.013056 | -0.051814 | -0.013029 | 4.2358e-05 | 2.687e-05 | 0.077887 | 0.077887 | 0.077887 | 0.99098 | -0.17156 | 0.99009 | -0.18866 | 21.3974
19 | -0.17 | -0.043438 | 0.17048 | 0.043739 | 0.00047193 | 0.00030102 | 0.25441 | 0.25441 | 0.25441 | 0.9955 | -0.085216 | 0.99852 | -0.027983 | 34.9462
20 | 0.096364 | 0.02459 | -0.096289 | -0.024543 | 7.5072e-05 | 4.7559e-05 | 0.14514 | 0.14514 | 0.14514 | 0.98901 | -0.2092 | 0.98817 | -0.22534 | 19.937
21 | 0.047792 | 0.012021 | -0.047791 | -0.012021 | 6.6363e-07 | 4.2031e-07 | 0.071842 | 0.071842 | 0.071842 | 0.99009 | -0.18866 | 0.99008 | -0.18895 | 19.7367
22 | -0.17879 | -0.045824 | 0.17886 | 0.045866 | 6.6108e-05 | 4.218e-05 | 0.2668 | 0.2668 | 0.2668 | 0.99852 | -0.027983 | 0.99892 | -0.020359 | 36.6487
23 | 0.091768 | 0.02341 | -0.091694 | -0.023363 | 7.3494e-05 | 4.6512e-05 | 0.13833 | 0.13833 | 0.13833 | 0.98817 | -0.22534 | 0.98731 | -0.24193 | 19.0018
24 | 0.041525 | 0.010451 | -0.041498 | -0.010433 | 2.7086e-05 | 1.7097e-05 | 0.062424 | 0.062424 | 0.062424 | 0.99008 | -0.18895 | 0.98937 | -0.20261 | 17.1494
25 | 0.029726 | 0.0074627 | -0.029703 | -0.0074484 | 2.2964e-05 | 1.4331e-05 | 0.045525 | 0.045525 | 0.045525 | 0.9717 | -0.54584 | 0.97088 | -0.56205 | 12.5069
26 | 0.015524 | 0.0038925 | -0.015518 | -0.0038892 | 5.6376e-06 | 3.2798e-06 | 0.023793 | 0.023793 | 0.023793 | 0.97088 | -0.56205 | 0.9705 | -0.56967 | 6.5366
27 | 0.086814 | 0.02214 | -0.086686 | -0.022059 | 0.00012772 | 8.1489e-05 | 0.13098 | 0.13098 | 0.13098 | 0.98731 | -0.24193 | 0.98572 | -0.27245 | 35.9832
28 | 0.18411 | 0.047251 | -0.18392 | -0.047135 | 0.00018169 | 0.00011595 | 0.27435 | 0.27435 | 0.27435 | 1 | 0 | 0.99892 | -0.020359 | 37.6849
29 | 0.059232 | 0.014927 | -0.059158 | -0.01488 | 7.4077e-05 | 4.7076e-05 | 0.088168 | 0.088168 | 0.088168 | 1 | 0 | 0.99863 | -0.026176 | 24.222
30 | 0.044748 | 0.011269 | -0.044702 | -0.01124 | 4.6277e-05 | 2.9254e-05 | 0.066696 | 0.066696 | 0.066696 | 0.99863 | -0.026176 | 0.99751 | -0.047829 | 18.3231
31 | 0.035033 | 0.0088163 | -0.03501 | -0.0088019 | 2.2902e-05 | 1.4366e-05 | 0.052273 | 0.052273 | 0.052273 | 0.99751 | -0.047829 | 0.99679 | -0.061518 | 14.3606
32 | 0.03501 | 0.0088019 | -0.034946 | -0.0087619 | 6.3752e-05 | 3.9992e-05 | 0.052273 | 0.052273 | 0.052273 | 0.99679 | -0.061518 | 0.99481 | -0.099726 | 14.3607
33 | -0.023708 | -0.00595 | 0.023723 | 0.0059589 | 1.4492e-05 | 8.8883e-06 | 0.035751 | 0.035751 | 0.035751 | 0.98686 | -0.2515 | 0.98751 | -0.23869 | 9.8217
34 | 0.020987 | 0.0052679 | -0.020978 | -0.0052627 | 8.5779e-06 | 5.1982e-06 | 0.031648 | 0.031648 | 0.031648 | 0.98686 | -0.2515 | 0.98642 | -0.26007 | 8.6944
35 | -0.027987 | -0.0070276 | 0.028 | 0.0070354 | 1.2712e-05 | 7.8915e-06 | 0.042176 | 0.042176 | 0.042176 | 0.98751 | -0.23869 | 0.988 | -0.22917 | 11.5869
36 | 0.0020474 | 0.00051276 | -0.0020473 | -0.0005131 | 1.178e-07 | -3.4499e-07 | 0.0030884 | 0.0030886 | 0.0030886 | 0.98642 | -0.26007 | 0.98635 | -0.26128 | 0.8485
37 | 0.018931 | 0.00475 | -0.018927 | -0.0047477 | 3.8479e-06 | 2.3021e-06 | 0.028559 | 0.028559 | 0.028559 | 0.98642 | -0.26007 | 0.9862 | -0.26433 | 7.846
38 | -0.028 | -0.0070354 | 0.028035 | 0.0070575 | 3.5549e-05 | 2.2068e-05 | 0.042176 | 0.042176 | 0.042176 | 0.988 | -0.22917 | 0.98937 | -0.20261 | 11.5868
39 | 0.016997 | 0.004264 | -0.01699 | -0.0042599 | 6.8682e-06 | 4.0405e-06 | 0.025647 | 0.025647 | 0.025647 | 0.9862 | -0.26433 | 0.98576 | -0.27281 | 7.046
40 | 0.013462 | 0.0033759 | -0.013456 | -0.0033725 | 6.1896e-06 | 3.4446e-06 | 0.020248 | 0.020248 | 0.020248 | 0.98937 | -0.20261 | 0.98888 | -0.21226 | 5.5627
41 | 0.013394 | 0.0033586 | -0.013389 | -0.0033559 | 4.9407e-06 | 2.7514e-06 | 0.020219 | 0.020219 | 0.020219 | 0.98576 | -0.27281 | 0.98536 | -0.28056 | 5.5547
42 | -0.0042865 | -0.0010743 | 0.0042868 | 0.0010742 | 3.177e-07 | -6.3956e-08 | 0.0064135 | 0.0064134 | 0.0064135 | 0.99452 | -0.10536 | 0.9946 | -0.10381 | 1.762
43 | -0.0042868 | -0.0010742 | 0.0042877 | 0.0010741 | 8.3334e-07 | -1.68e-07 | 0.0064134 | 0.0064132 | 0.0064134 | 0.9946 | -0.10381 | 0.99481 | -0.099726 | 1.7619
44 | -0.0036705 | -0.00091992 | 0.0036707 | 0.00091984 | 1.7203e-07 | -7.969e-08 | 0.005546 | 0.0055459 | 0.005546 | 0.98482 | -0.29115 | 0.98487 | -0.29017 | 1.5236
45 | -0.0036707 | -0.00091984 | 0.0036709 | 0.00091973 | 2.3746e-07 | -1.1004e-07 | 0.0055459 | 0.0055458 | 0.0055459 | 0.98487 | -0.29017 | 0.98494 | -0.28881 | 1.5236
46 | 0.015093 | 0.0037849 | -0.015088 | -0.0037824 | 4.3987e-06 | 2.5165e-06 | 0.022576 | 0.022576 | 0.022576 | 0.99481 | -0.099726 | 0.9945 | -0.10584 | 6.2023
47 | 0.015566 | 0.003903 | -0.015562 | -0.0039008 | 3.7378e-06 | 2.1536e-06 | 0.023283 | 0.023283 | 0.023283 | 0.99481 | -0.099726 | 0.99455 | -0.10477 | 6.3966
48 | -0.0062007 | -0.0015538 | 0.0062016 | 0.001554 | 8.858e-07 | 2.2427e-07 | 0.0093677 | 0.0093676 | 0.0093677 | 0.98494 | -0.28881 | 0.9851 | -0.28581 | 2.5735
49 | 0.012356 | 0.0030975 | -0.012355 | -0.0030971 | 6.9868e-07 | 3.7643e-07 | 0.018488 | 0.018488 | 0.018488 | 0.9945 | -0.10584 | 0.99444 | -0.10703 | 5.079
50 | 0.013009 | 0.003261 | -0.013007 | -0.0032599 | 1.9802e-06 | 1.0865e-06 | 0.019464 | 0.019464 | 0.019464 | 0.99455 | -0.10477 | 0.99439 | -0.10796 | 5.3473
51 | 0.0086775 | 0.0021748 | -0.0086763 | -0.0021743 | 1.1987e-06 | 5.2668e-07 | 0.013057 | 0.013058 | 0.013058 | 0.98888 | -0.21226 | 0.98873 | -0.21516 | 3.5872
52 | 0.0059046 | 0.0014796 | -0.005904 | -0.0014795 | 5.9771e-07 | 1.2369e-07 | 0.0088862 | 0.0088863 | 0.0088863 | 0.98873 | -0.21516 | 0.98862 | -0.21729 | 2.4413
53 | 0.0030754 | 0.00077057 | -0.0030752 | -0.0007707 | 1.3721e-07 | -1.3114e-07 | 0.0046288 | 0.0046289 | 0.0046289 | 0.98862 | -0.21729 | 0.98857 | -0.21822 | 1.2717
54 | 0.0030752 | 0.0007707 | -0.0030752 | -0.00077072 | 2.0186e-08 | -1.9291e-08 | 0.0046289 | 0.0046289 | 0.0046289 | 0.98857 | -0.21822 | 0.98856 | -0.21836 | 1.2717
55 | 0.0095009 | 0.0023818 | -0.0094969 | -0.0023799 | 3.9901e-06 | 1.871e-06 | 0.014217 | 0.014217 | 0.014217 | 0.99444 | -0.10703 | 0.99398 | -0.11585 | 3.9058
56 | 0.0045202 | 0.0011326 | -0.0045196 | -0.0011327 | 5.3187e-07 | -6.1037e-08 | 0.0067668 | 0.0067669 | 0.0067669 | 0.99398 | -0.11585 | 0.99385 | -0.11832 | 1.859
57 | 0.0019216 | 0.00048158 | -0.0019216 | -0.0004816 | 7.5488e-09 | -2.6682e-08 | 0.0028771 | 0.0028771 | 0.0028771 | 0.99385 | -0.11832 | 0.99385 | -0.1184 | 0.79041
58 | 0.010274 | 0.002575 | -0.010274 | -0.0025749 | 2.4566e-07 | 1.2127e-07 | 0.015375 | 0.015375 | 0.015375 | 0.99439 | -0.10796 | 0.99436 | -0.10846 | 4.2238
59 | 0.005449 | 0.0013656 | -0.0054486 | -0.0013656 | 3.1991e-07 | 3.832e-08 | 0.0081541 | 0.0081542 | 0.0081542 | 0.99436 | -0.10846 | 0.9943 | -0.1097 | 2.2402
60 | -0.0097485 | -0.0024429 | 0.0097509 | 0.0024441 | 2.44e-06 | 1.1795e-06 | 0.014725 | 0.014725 | 0.014725 | 0.9851 | -0.28581 | 0.98536 | -0.28056 | 4.0454

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24843 | 0.06304

## res_load
| p_mw | q_mvar
0 | 0.014172 | 0.0035518
1 | 0.0080871 | 0.0020268
2 | 0.0079024 | 0.0019805
3 | 0.0039654 | 0.00099382
4 | 0.0088714 | 0.0022234
5 | 0.0045059 | 0.0011293
6 | 0.003651 | 0.00091502
7 | 0.0042854 | 0.001074
8 | 0.0078572 | 0.0019692
9 | 0.0028851 | 0.00072306
10 | 0.0034616 | 0.00086757
11 | 0.0067205 | 0.0016843
12 | 0.0040222 | 0.0010081
13 | 0.0083178 | 0.0020846
14 | 0.0045213 | 0.0011331
15 | 0.0062664 | 0.0015705
16 | 0.0092383 | 0.0023153
17 | 0.0048799 | 0.001223
18 | 0.0056235 | 0.0014094
19 | 0.0034373 | 0.00086148
20 | 0.005064 | 0.0012692
21 | 0.01441 | 0.0036115
22 | 0.0096691 | 0.0024233
23 | 0.0027214 | 0.00068203
24 | 0.0042641 | 0.0010687
25 | 0.0020473 | 0.0005131
26 | 0.0019301 | 0.00048372
27 | 0.0035962 | 0.00090128
28 | 0.015518 | 0.0038892
29 | 0.0042865 | 0.0010743
30 | 0.0036705 | 0.00091992
31 | 0.0025298 | 0.00063402
32 | 0.0027326 | 0.00068486
33 | 0.0025528 | 0.00063979
34 | 0.0047787 | 0.0011977
35 | 0.0027717 | 0.00069466
36 | 0.0028286 | 0.00070891
37 | 0.0028542 | 0.00071533
38 | 0.0049768 | 0.0012473
39 | 0.002598 | 0.00065112
40 | 0.0019216 | 0.0004816
41 | 0.0027329 | 0.00068492
42 | 0.0048251 | 0.0012093
43 | 0.0054486 | 0.0013656
44 | 0.0030752 | 0.00077072
45 | 0.0035469 | 0.00088893
46 | 0.0036381 | 0.0009118

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1