## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-15_0_3_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_191-15_0_3_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_191-15_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_191-15_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_191-15_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_191-15_0_3_node_106 | 0.4 | n |  | TRUE
9 | bus_LV_191-15_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_191-15_0_3_node_94 | 0.4 | n |  | TRUE
11 | bus_LV_191-15_0_3_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_191-15_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_191-15_0_3_node_92 | 0.4 | n |  | TRUE
14 | bus_LV_191-15_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_191-15_0_3_node_93 | 0.4 | n |  | TRUE
16 | bus_LV_191-15_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_191-15_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_191-15_0_3_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_191-15_0_3_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_191-15_0_3_node_107 | 0.4 | n |  | TRUE
21 | bus_LV_191-15_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_191-15_0_3_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_191-15_0_3_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_191-15_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_191-15_0_3_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_191-15_0_3_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_191-15_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_191-15_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_191-15_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_191-15_0_3_node_102 | 0.4 | n |  | TRUE
31 | bus_LV_191-15_0_3_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_191-15_0_3_node_105 | 0.4 | n |  | TRUE
33 | bus_LV_191-15_0_3_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_191-15_0_3_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_191-15_0_3_node_90 | 0.4 | n |  | TRUE
36 | bus_LV_191-15_0_3_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_191-15_0_3_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_191-15_0_3_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_191-15_0_3_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_191-15_0_3_node_14 | 0.4 | n |  | TRUE
41 | bus_LV_191-15_0_3_node_16 | 0.4 | n |  | TRUE
42 | bus_LV_191-15_0_3_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_191-15_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_191-15_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_191-15_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_191-15_0_3_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_191-15_0_3_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_191-15_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_191-15_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_191-15_0_3_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_191-15_0_3_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_191-15_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_191-15_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_191-15_0_3_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_191-15_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_191-15_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_191-15_0_3_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_191-15_0_3_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_191-15_0_3_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_191-15_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_191-15_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_191-15_0_3_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_191-15_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_191-15_0_3_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_191-15_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_191-15_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_191-15_0_3_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_191-15_0_3_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_191-15_0_3_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_191-15_0_3_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_191-15_0_3_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_191-15_0_3_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_191-15_0_3_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_191-15_0_3_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_191-15_0_3_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_191-15_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_191-15_0_3_node_104 | 0.4 | n |  | TRUE
78 | bus_LV_191-15_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_191-15_0_3_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_191-15_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_191-15_0_3_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_191-15_0_3_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_191-15_0_3_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_191-15_0_3_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_191-15_0_3_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_191-15_0_3_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_191-15_0_3_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_191-15_0_3_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_191-15_0_3_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_191-15_0_3_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_191-15_0_3_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_191-15_0_3_node_98 | 0.4 | n |  | TRUE
93 | bus_LV_191-15_0_3_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_191-15_0_3_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_191-15_0_3_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_191-15_0_3_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_191-15_0_3_node_101 | 0.4 | n |  | TRUE
98 | bus_LV_191-15_0_3_node_100 | 0.4 | n |  | TRUE
99 | bus_MV_499_0_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-15_0_3_load_0 | 0 | 0.0021454 | 0.00053768 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-15_0_3_load_1 | 1 | 0.010372 | 0.0025995 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-15_0_3_load_106 | 8 | 0.0010849 | 0.0002719 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-15_0_3_load_78 | 11 | 0.0032675 | 0.0008189 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-15_0_3_load_92 | 13 | 0.0011331 | 0.00028397 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-15_0_3_load_93 | 15 | 0.001046 | 0.00026214 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-15_0_3_load_31 | 17 | 0.0031962 | 0.00080105 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-15_0_3_load_29 | 18 | 0.012341 | 0.0030929 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-15_0_3_load_60 | 19 | 0.0026088 | 0.00065382 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-15_0_3_load_107 | 20 | 0.0014994 | 0.00037579 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-15_0_3_load_81 | 22 | 0.0015212 | 0.00038125 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-15_0_3_load_76 | 23 | 0.0035837 | 0.00089817 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-15_0_3_load_61 | 25 | 0.0072224 | 0.0018101 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-15_0_3_load_56 | 26 | 0.0072224 | 0.0018101 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-15_0_3_load_22 | 27 | 0.0052326 | 0.0013114 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-15_0_3_load_21 | 28 | 0.0013673 | 0.00034269 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-15_0_3_load_102 | 30 | 0.00059345 | 0.00014873 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-15_0_3_load_105 | 32 | 0.0017452 | 0.00043738 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-15_0_3_load_103 | 33 | 0.00060291 | 0.0001511 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-15_0_3_load_90 | 35 | 0.0010525 | 0.00026378 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-15_0_3_load_71 | 36 | 0.013 | 0.003258 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-15_0_3_load_59 | 37 | 0.0031965 | 0.00080113 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-15_0_3_load_96 | 38 | 0.0027889 | 0.00069897 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-15_0_3_load_55 | 39 | 0.0063223 | 0.0015845 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-15_0_3_load_14 | 40 | 0.0023415 | 0.00058682 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-15_0_3_load_16 | 41 | 0.029238 | 0.0073278 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-15_0_3_load_18 | 42 | 0.006823 | 0.00171 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-15_0_3_load_23 | 43 | 0.029686 | 0.00744 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-15_0_3_load_32 | 48 | 0.027984 | 0.0070134 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-15_0_3_load_75 | 50 | 0.011761 | 0.0029476 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-15_0_3_load_82 | 51 | 0.010275 | 0.0025753 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-15_0_3_load_40 | 52 | 0.01176 | 0.0029474 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-15_0_3_load_37 | 53 | 0.0085549 | 0.0021441 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-15_0_3_load_33 | 56 | 0.0066626 | 0.0016698 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-15_0_3_load_34 | 57 | 0.0016677 | 0.00041797 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-15_0_3_load_35 | 58 | 0.01363 | 0.003416 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-15_0_3_load_36 | 59 | 0.0017391 | 0.00043585 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-15_0_3_load_53 | 60 | 0.0016671 | 0.0004178 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-15_0_3_load_52 | 61 | 0.01008 | 0.0025262 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-15_0_3_load_39 | 62 | 0.0068161 | 0.0017083 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-15_0_3_load_41 | 63 | 0.00863 | 0.0021629 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-15_0_3_load_42 | 64 | 0.011759 | 0.002947 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_191-15_0_3_load_44 | 67 | 0.0089735 | 0.002249 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_191-15_0_3_load_45 | 68 | 0.020104 | 0.0050386 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_191-15_0_3_load_48 | 71 | 0.0089742 | 0.0022492 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_191-15_0_3_load_51 | 73 | 0.0036125 | 0.00090537 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_191-15_0_3_load_54 | 74 | 0.0017391 | 0.00043586 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_191-15_0_3_load_104 | 77 | 0.0012793 | 0.00032063 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_191-15_0_3_load_72 | 78 | 0.0034257 | 0.00085857 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_191-15_0_3_load_65 | 79 | 0.0011239 | 0.00028167 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_191-15_0_3_load_69 | 80 | 0.001869 | 0.00046841 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_191-15_0_3_load_68 | 81 | 0.013794 | 0.0034572 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_191-15_0_3_load_73 | 83 | 0.0020091 | 0.00050353 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_191-15_0_3_load_63 | 84 | 0.0011294 | 0.00028305 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_191-15_0_3_load_64 | 85 | 0.0011061 | 0.00027721 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_191-15_0_3_load_95 | 87 | 0.0010425 | 0.00026128 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_191-15_0_3_load_91 | 88 | 0.00071321 | 0.00017875 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_191-15_0_3_load_89 | 89 | 0.0031562 | 0.00079102 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_191-15_0_3_load_83 | 90 | 0.0017404 | 0.00043617 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_191-15_0_3_load_84 | 91 | 0.0016683 | 0.00041811 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_191-15_0_3_load_98 | 92 | 0.0017403 | 0.00043617 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_191-15_0_3_load_99 | 93 | 0.0016683 | 0.00041811 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_191-15_0_3_load_86 | 94 | 0.01699 | 0.004258 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_191-15_0_3_load_87 | 95 | 0.0016659 | 0.00041753 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_191-15_0_3_load_88 | 96 | 0.0017379 | 0.00043555 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_191-15_0_3_load_101 | 97 | 0.0021471 | 0.00053811 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_191-15_0_3_load_100 | 98 | 0.0022399 | 0.00056137 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-15_0_3_line_0 |  | 0 | 1 | 0.055727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-15_0_3_line_1 |  | 0 | 2 | 0.033135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-15_0_3_line_2 |  | 2 | 3 | 0.018063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_191-15_0_3_line_3 |  | 2 | 4 | 0.021567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_191-15_0_3_line_4 |  | 3 | 20 | 0.032035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-15_0_3_line_5 |  | 3 | 12 | 0.012989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_191-15_0_3_line_6 |  | 4 | 27 | 0.005567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-15_0_3_line_7 |  | 4 | 28 | 0.012294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_191-15_0_3_line_8 |  | 5 | 6 | 0.017263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-15_0_3_line_9 |  | 5 | 7 | 0.000119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-15_0_3_line_10 |  | 5 | 8 | 0.17467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-15_0_3_line_11 |  | 6 | 14 | 0.033407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-15_0_3_line_12 |  | 6 | 15 | 0.014237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-15_0_3_line_13 |  | 7 | 28 | 0.014996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-15_0_3_line_14 |  | 7 | 29 | 0.038201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-15_0_3_line_15 |  | 9 | 10 | 0.003927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-15_0_3_line_16 |  | 9 | 11 | 0.015295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-15_0_3_line_17 |  | 10 | 30 | 0.0055029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-15_0_3_line_18 |  | 10 | 12 | 0.037151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-15_0_3_line_19 |  | 11 | 34 | 0.0063519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-15_0_3_line_20 |  | 12 | 13 | 0.021621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_191-15_0_3_line_21 |  | 13 | 35 | 0.02354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_191-15_0_3_line_22 |  | 14 | 19 | 0.0040383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-15_0_3_line_23 |  | 15 | 36 | 0.0377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-15_0_3_line_24 |  | 16 | 17 | 0.068783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-15_0_3_line_25 |  | 16 | 18 | 0.052746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-15_0_3_line_26 |  | 17 | 37 | 0.038359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-15_0_3_line_27 |  | 19 | 37 | 0.03392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-15_0_3_line_28 |  | 21 | 22 | 0.017005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-15_0_3_line_29 |  | 21 | 23 | 0.012451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-15_0_3_line_30 |  | 22 | 38 | 0.034288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-15_0_3_line_31 |  | 23 | 34 | 0.010819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-15_0_3_line_32 |  | 24 | 25 | 0.0186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-15_0_3_line_33 |  | 24 | 26 | 0.020593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-15_0_3_line_34 |  | 26 | 39 | 0.039404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-15_0_3_line_35 |  | 29 | 41 | 0.087834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-15_0_3_line_36 |  | 29 | 40 | 0.038203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-15_0_3_line_37 |  | 30 | 33 | 0.0069767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-15_0_3_line_38 |  | 31 | 32 | 0.015387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-15_0_3_line_39 |  | 31 | 33 | 0.016423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-15_0_3_line_40 |  | 35 | 89 | 0.021065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_191-15_0_3_line_41 |  | 36 | 82 | 0.030323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-15_0_3_line_42 |  | 39 | 65 | 0.021809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-15_0_3_line_43 |  | 41 | 42 | 0.16933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-15_0_3_line_44 |  | 43 | 44 | 0.076244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-15_0_3_line_45 |  | 44 | 45 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-15_0_3_line_46 |  | 44 | 46 | 0.014759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-15_0_3_line_47 |  | 45 | 47 | 0.008638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-15_0_3_line_48 |  | 45 | 48 | 0.037053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-15_0_3_line_49 |  | 46 | 49 | 0.03115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-15_0_3_line_50 |  | 46 | 50 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-15_0_3_line_51 |  | 47 | 51 | 0.027035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-15_0_3_line_52 |  | 49 | 52 | 0.0066006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-15_0_3_line_53 |  | 49 | 53 | 0.032107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-15_0_3_line_54 |  | 50 | 54 | 0.017075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-15_0_3_line_55 |  | 51 | 90 | 0.029877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-15_0_3_line_56 |  | 53 | 62 | 0.010239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_191-15_0_3_line_57 |  | 54 | 55 | 0.006264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_191-15_0_3_line_58 |  | 55 | 65 | 0.044986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_191-15_0_3_line_59 |  | 55 | 64 | 0.046376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_191-15_0_3_line_60 |  | 56 | 57 | 0.0077815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_191-15_0_3_line_61 |  | 56 | 58 | 0.015552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_191-15_0_3_line_62 |  | 57 | 59 | 0.0059278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_191-15_0_3_line_63 |  | 59 | 60 | 0.013982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_191-15_0_3_line_64 |  | 60 | 61 | 0.0044337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_191-15_0_3_line_65 |  | 61 | 74 | 0.0014913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_191-15_0_3_line_66 |  | 63 | 64 | 0.0023711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_191-15_0_3_line_67 |  | 65 | 66 | 0.014679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_191-15_0_3_line_68 |  | 66 | 80 | 0.026387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_191-15_0_3_line_69 |  | 66 | 73 | 0.015882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_191-15_0_3_line_70 |  | 67 | 68 | 0.031598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_191-15_0_3_line_71 |  | 67 | 69 | 0.0053079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_191-15_0_3_line_72 |  | 68 | 70 | 0.02602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_191-15_0_3_line_73 |  | 69 | 71 | 0.04092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_191-15_0_3_line_74 |  | 69 | 72 | 0.32145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_191-15_0_3_line_75 |  | 70 | 73 | 0.030318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_191-15_0_3_line_76 |  | 72 | 74 | 0.028134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_191-15_0_3_line_77 |  | 75 | 76 | 0.012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_191-15_0_3_line_78 |  | 75 | 77 | 0.0039597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_191-15_0_3_line_79 |  | 76 | 78 | 0.012059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_191-15_0_3_line_80 |  | 76 | 79 | 0.011187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_191-15_0_3_line_81 |  | 78 | 83 | 0.005021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_191-15_0_3_line_82 |  | 79 | 84 | 0.030808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_191-15_0_3_line_83 |  | 80 | 83 | 0.0089443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_191-15_0_3_line_84 |  | 81 | 82 | 0.032404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_191-15_0_3_line_85 |  | 84 | 85 | 0.019301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_191-15_0_3_line_86 |  | 85 | 86 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_191-15_0_3_line_87 |  | 86 | 87 | 0.036428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_191-15_0_3_line_88 |  | 86 | 88 | 0.013153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_191-15_0_3_line_89 |  | 88 | 89 | 0.0026162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_191-15_0_3_line_90 |  | 90 | 91 | 1.1864e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_191-15_0_3_line_91 |  | 91 | 92 | 0.00042956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_191-15_0_3_line_92 |  | 92 | 93 | 1.1845e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_191-15_0_3_line_93 |  | 93 | 98 | 0.021214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_191-15_0_3_line_94 |  | 94 | 95 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_191-15_0_3_line_95 |  | 95 | 96 | 1.0915e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_191-15_0_3_line_96 |  | 96 | 97 | 0.0002614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_191-15_0_3_line_97 |  | 97 | 98 | 1.002e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-15_0_3_trafo_62 | 0.63 MVA 20/0.4 kV | 99 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2689865.7266 | 1251095.8576 | 2689843.1715 | 1251044.8996
1 | 2689879.6391 | 1251125.9202 | 2689874.5098 | 1251115.7013 | 2689865.7266 | 1251095.8576
2 | 2689865.5644 | 1251137.0708 | 2689871.7033 | 1251131.0037 | 2689875.4878 | 1251128.3591 | 2689879.6391 | 1251125.9202
3 | 2689879.6391 | 1251125.9202 | 2689885.9766 | 1251136.6133 | 2689888.5761 | 1251140.4223 | 2689890.7665 | 1251138.8544 | 2689892.0173 | 1251137.5168
4 | 2689865.5644 | 1251137.0708 | 2689876.3805 | 1251148.1322 | 2689879.2162 | 1251152.7898 | 2689879.727 | 1251157.4344 | 2689877.4384 | 1251163.4821
5 | 2689857.0956 | 1251146.9388 | 2689865.5644 | 1251137.0708
6 | 2689895.8533 | 1251133.4719 | 2689892.0173 | 1251137.5168
7 | 2689892.0173 | 1251137.5168 | 2689893.6382 | 1251140.1433 | 2689899.1529 | 1251147.5161
8 | 2689903.8657 | 1251171.578 | 2689906.5233 | 1251168.0712 | 2689909.1061 | 1251163.5292 | 2689907.1933 | 1251161.7321 | 2689908.4881 | 1251159.9837 | 2689910.1834 | 1251157.7077
9 | 2689910.1834 | 1251157.7077 | 2689910.0941 | 1251157.6285
10 | 2689910.1834 | 1251157.7077 | 2689924.4762 | 1251168.9887 | 2689937.9427 | 1251177.0103 | 2689942.7616 | 1251180.3193 | 2689957.0833 | 1251192.6683 | 2689966.2994 | 1251204.1836 | 2689972.1042 | 1251209.676 | 2690022.1962 | 1251249.1334 | 2690034.5432 | 1251258.2724 | 2690045.9929 | 1251266.6077
11 | 2689929.6401 | 1251192.8297 | 2689915.357 | 1251180.915 | 2689903.8657 | 1251171.578
12 | 2689903.8657 | 1251171.578 | 2689895.2781 | 1251182.9329
13 | 2689910.0941 | 1251157.6285 | 2689901.6809 | 1251150.8958 | 2689899.1529 | 1251147.5161
14 | 2689910.0941 | 1251157.6285 | 2689932.435 | 1251126.5994
15 | 2689822.0004 | 1251134.4529 | 2689823.3998 | 1251130.7824
16 | 2689823.3998 | 1251130.7824 | 2689825.4205 | 1251125.4756 | 2689824.7009 | 1251124.1415 | 2689827.7428 | 1251116.6339
17 | 2689822.0004 | 1251134.4529 | 2689816.8317 | 1251132.5643
18 | 2689857.0956 | 1251146.9388 | 2689822.0004 | 1251134.4529
19 | 2689830.128 | 1251110.7469 | 2689827.7428 | 1251116.6339
20 | 2689857.0956 | 1251146.9388 | 2689843.9719 | 1251164.1209
21 | 2689829.6834 | 1251182.8282 | 2689843.9719 | 1251164.1209
22 | 2689929.6401 | 1251192.8297 | 2689932.7673 | 1251195.3847
23 | 2689872.5373 | 1251213.0019 | 2689895.2781 | 1251182.9329
24 | 2690043.1157 | 1251282.3099 | 2690013.0001 | 1251260.647 | 2690000.3893 | 1251253.4611 | 2689986.7964 | 1251242.969
25 | 2690043.1157 | 1251282.3099 | 2690010.805 | 1251324.0017
26 | 2689959.0347 | 1251216.8462 | 2689974.64 | 1251229.5963 | 2689982.0938 | 1251239.3392 | 2689986.7964 | 1251242.969
27 | 2689959.0347 | 1251216.8462 | 2689932.7673 | 1251195.3847
28 | 2689851.4523 | 1251101.4297 | 2689844.6453 | 1251085.8468
29 | 2689851.4523 | 1251101.4297 | 2689840.0424 | 1251106.415
30 | 2689832.6066 | 1251054.0052 | 2689838.171 | 1251067.7471 | 2689838.1229 | 1251070.9154 | 2689844.6453 | 1251085.8468
31 | 2689830.128 | 1251110.7469 | 2689840.0424 | 1251106.415
32 | 2689870.2372 | 1251241.0432 | 2689885.1589 | 1251252.1482
33 | 2689870.2372 | 1251241.0432 | 2689857.7774 | 1251257.4388
34 | 2689833.9356 | 1251288.8116 | 2689857.7774 | 1251257.4388
35 | 2689932.435 | 1251126.5994 | 2689940.8562 | 1251134.789 | 2690001.8481 | 1251180.2786
36 | 2689932.435 | 1251126.5994 | 2689927.4803 | 1251121.7872 | 2689918.7838 | 1251108.8565 | 2689910.7819 | 1251095.9141 | 2689910.5717 | 1251095.4646
37 | 2689816.8317 | 1251132.5643 | 2689810.2787 | 1251130.17
38 | 2689794.8532 | 1251124.5339 | 2689789.531 | 1251138.9754
39 | 2689794.8532 | 1251124.5339 | 2689810.2787 | 1251130.17
40 | 2689816.897 | 1251199.5687 | 2689829.6834 | 1251182.8282
41 | 2689854.2466 | 1251237.1867 | 2689872.5373 | 1251213.0019
42 | 2689820.7396 | 1251306.1759 | 2689833.9356 | 1251288.8116
43 | 2690001.8481 | 1251180.2786 | 2690070.036 | 1251231.1354 | 2690137.738 | 1251281.3052
44 | 2689901.0417 | 1251362.5699 | 2689915.2043 | 1251346.5947 | 2689921.8193 | 1251329.0484 | 2689934.1679 | 1251331.6266 | 2689948.9123 | 1251313.2917
45 | 2689915.2897 | 1251372.2934 | 2689901.0417 | 1251362.5699
46 | 2689888.9725 | 1251354.0247 | 2689901.0417 | 1251362.5699
47 | 2689922.4398 | 1251377.1723 | 2689915.2897 | 1251372.2934
48 | 2689915.2897 | 1251372.2934 | 2689919.6958 | 1251365.9888 | 2689946.0941 | 1251378.8415
49 | 2689888.9725 | 1251354.0247 | 2689870.0415 | 1251378.801
50 | 2689888.9725 | 1251354.0247 | 2689876.736 | 1251345.5038
51 | 2689922.4398 | 1251377.1723 | 2689906.6516 | 1251399.1176
52 | 2689870.0415 | 1251378.801 | 2689864.9396 | 1251375.2431 | 2689864.7119 | 1251375.5482
53 | 2689870.0415 | 1251378.801 | 2689853.721 | 1251400.192 | 2689852.1135 | 1251405.1381
54 | 2689862.7233 | 1251335.746 | 2689876.736 | 1251345.5038
55 | 2689906.6516 | 1251399.1176 | 2689894.3313 | 1251416.2424 | 2689894.8626 | 1251421.5211 | 2689897.6123 | 1251423.6466
56 | 2689858.8279 | 1251412.868 | 2689852.1135 | 1251405.1381
57 | 2689857.5997 | 1251332.1211 | 2689862.7233 | 1251335.746
58 | 2689857.5997 | 1251332.1211 | 2689820.7396 | 1251306.1759
59 | 2689857.5997 | 1251332.1211 | 2689828.4834 | 1251368.2184
60 | 2689813.6981 | 1251459.0597 | 2689818.484 | 1251452.924
61 | 2689830.8745 | 1251449.2165 | 2689823.0642 | 1251447.052 | 2689818.484 | 1251452.924
62 | 2689813.6981 | 1251459.0597 | 2689810.0524 | 1251463.7338
63 | 2689810.0524 | 1251463.7338 | 2689801.4532 | 1251474.7583
64 | 2689798.7263 | 1251478.2543 | 2689801.4532 | 1251474.7583
65 | 2689798.7263 | 1251478.2543 | 2689797.8091 | 1251479.4302
66 | 2689826.9948 | 1251370.0639 | 2689828.4834 | 1251368.2184
67 | 2689807.7625 | 1251299.2406 | 2689810.8027 | 1251300.8657 | 2689817.9689 | 1251304.6994 | 2689820.7396 | 1251306.1759
68 | 2689807.7625 | 1251299.2406 | 2689802.6858 | 1251296.506 | 2689784.5466 | 1251286.6994
69 | 2689807.7625 | 1251299.2406 | 2689798.261 | 1251311.9672
70 | 2689744.9337 | 1251381.8853 | 2689764.2318 | 1251356.8649
71 | 2689739.6301 | 1251381.6714 | 2689744.9337 | 1251381.8853 | 2689744.9337 | 1251381.8853
72 | 2689780.1234 | 1251336.2612 | 2689764.2318 | 1251356.8649
73 | 2689739.6301 | 1251381.6714 | 2689714.3515 | 1251413.9022
74 | 2689739.6301 | 1251381.6714 | 2689732.0884 | 1251376.7201 | 2689734.4612 | 1251373.5648 | 2689696.8031 | 1251345.9625 | 2689665.7344 | 1251389.6813 | 2689671.5488 | 1251393.55 | 2689654.2595 | 1251421.6432 | 2689650.758 | 1251427.0499 | 2689645.9074 | 1251434.8158 | 2689660.3171 | 1251445.8422 | 2689665.4268 | 1251449.8781 | 2689683.1092 | 1251463.1225 | 2689697.4246 | 1251473.3803 | 2689710.9497 | 1251480.5016 | 2689730.4076 | 1251486.6453 | 2689745.7282 | 1251489.8464 | 2689765.4556 | 1251494.6488 | 2689780.5076 | 1251501.6155
75 | 2689780.1234 | 1251336.2612 | 2689798.261 | 1251311.9672
76 | 2689780.5076 | 1251501.6155 | 2689783.5562 | 1251497.7031 | 2689797.8091 | 1251479.4302
77 | 2689751.0053 | 1251268.6575 | 2689761.654 | 1251274.3231
78 | 2689751.0053 | 1251268.6575 | 2689747.5391 | 1251266.7431
79 | 2689761.654 | 1251274.3231 | 2689772.2617 | 1251280.0578
80 | 2689761.654 | 1251274.3231 | 2689768.2734 | 1251265.3048
81 | 2689772.2617 | 1251280.0578 | 2689776.6785 | 1251282.4457
82 | 2689786.5031 | 1251240.4687 | 2689768.2734 | 1251265.3048
83 | 2689776.6785 | 1251282.4457 | 2689784.5466 | 1251286.6994
84 | 2689854.2466 | 1251237.1867 | 2689834.8192 | 1251263.1213
85 | 2689786.5031 | 1251240.4687 | 2689797.9235 | 1251224.9095
86 | 2689807.3251 | 1251212.1008 | 2689797.9235 | 1251224.9095
87 | 2689807.3251 | 1251212.1008 | 2689775.1188 | 1251195.0793
88 | 2689807.3251 | 1251212.1008 | 2689815.309 | 1251201.6478
89 | 2689816.897 | 1251199.5687 | 2689815.309 | 1251201.6478
90 | 2689897.6123 | 1251423.6466 | 2689897.6217 | 1251423.6539
91 | 2689897.6217 | 1251423.6539 | 2689897.9615 | 1251423.9166
92 | 2689897.9615 | 1251423.9166 | 2689897.9709 | 1251423.9239
93 | 2689897.9709 | 1251423.9239 | 2689914.7551 | 1251436.8982
94 | 2689930.5349 | 1251426.6221 | 2689922.9086 | 1251436.7805 | 2689916.3732 | 1251438.1491 | 2689914.9785 | 1251437.0709
95 | 2689914.9698 | 1251437.0642 | 2689914.9785 | 1251437.0709
96 | 2689914.763 | 1251436.9043 | 2689914.9698 | 1251437.0642
97 | 2689914.7551 | 1251436.8982 | 2689914.763 | 1251436.9043

## bus_geodata
| x | y | coords
0 | 2689865.7266 | 1251095.8576
1 | 2689843.1715 | 1251044.8996
2 | 2689879.6391 | 1251125.9202
3 | 2689865.5644 | 1251137.0708
4 | 2689892.0173 | 1251137.5168
5 | 2689910.1834 | 1251157.7077
6 | 2689903.8657 | 1251171.578
7 | 2689910.0941 | 1251157.6285
8 | 2690045.9929 | 1251266.6077
9 | 2689823.3998 | 1251130.7824
10 | 2689822.0004 | 1251134.4529
11 | 2689827.7428 | 1251116.6339
12 | 2689857.0956 | 1251146.9388
13 | 2689843.9719 | 1251164.1209
14 | 2689929.6401 | 1251192.8297
15 | 2689895.2781 | 1251182.9329
16 | 2690043.1157 | 1251282.3099
17 | 2689986.7964 | 1251242.969
18 | 2690010.805 | 1251324.0017
19 | 2689932.7673 | 1251195.3847
20 | 2689877.4384 | 1251163.4821
21 | 2689851.4523 | 1251101.4297
22 | 2689844.6453 | 1251085.8468
23 | 2689840.0424 | 1251106.415
24 | 2689870.2372 | 1251241.0432
25 | 2689885.1589 | 1251252.1482
26 | 2689857.7774 | 1251257.4388
27 | 2689895.8533 | 1251133.4719
28 | 2689899.1529 | 1251147.5161
29 | 2689932.435 | 1251126.5994
30 | 2689816.8317 | 1251132.5643
31 | 2689794.8532 | 1251124.5339
32 | 2689789.531 | 1251138.9754
33 | 2689810.2787 | 1251130.17
34 | 2689830.128 | 1251110.7469
35 | 2689829.6834 | 1251182.8282
36 | 2689872.5373 | 1251213.0019
37 | 2689959.0347 | 1251216.8462
38 | 2689832.6066 | 1251054.0052
39 | 2689833.9356 | 1251288.8116
40 | 2689910.5717 | 1251095.4646
41 | 2690001.8481 | 1251180.2786
42 | 2690137.738 | 1251281.3052
43 | 2689948.9123 | 1251313.2917
44 | 2689901.0417 | 1251362.5699
45 | 2689915.2897 | 1251372.2934
46 | 2689888.9725 | 1251354.0247
47 | 2689922.4398 | 1251377.1723
48 | 2689946.0941 | 1251378.8415
49 | 2689870.0415 | 1251378.801
50 | 2689876.736 | 1251345.5038
51 | 2689906.6516 | 1251399.1176
52 | 2689864.7119 | 1251375.5482
53 | 2689852.1135 | 1251405.1381
54 | 2689862.7233 | 1251335.746
55 | 2689857.5997 | 1251332.1211
56 | 2689818.484 | 1251452.924
57 | 2689813.6981 | 1251459.0597
58 | 2689830.8745 | 1251449.2165
59 | 2689810.0524 | 1251463.7338
60 | 2689801.4532 | 1251474.7583
61 | 2689798.7263 | 1251478.2543
62 | 2689858.8279 | 1251412.868
63 | 2689826.9948 | 1251370.0639
64 | 2689828.4834 | 1251368.2184
65 | 2689820.7396 | 1251306.1759
66 | 2689807.7625 | 1251299.2406
67 | 2689744.9336 | 1251381.8853
68 | 2689764.2318 | 1251356.8649
69 | 2689739.6301 | 1251381.6714
70 | 2689780.1234 | 1251336.2612
71 | 2689714.3515 | 1251413.9022
72 | 2689780.5076 | 1251501.6155
73 | 2689798.261 | 1251311.9672
74 | 2689797.8091 | 1251479.4302
75 | 2689751.0053 | 1251268.6575
76 | 2689761.654 | 1251274.3231
77 | 2689747.5391 | 1251266.7431
78 | 2689772.2617 | 1251280.0578
79 | 2689768.2734 | 1251265.3048
80 | 2689784.5466 | 1251286.6994
81 | 2689834.8192 | 1251263.1213
82 | 2689854.2466 | 1251237.1867
83 | 2689776.6785 | 1251282.4457
84 | 2689786.5031 | 1251240.4687
85 | 2689797.9235 | 1251224.9095
86 | 2689807.3251 | 1251212.1008
87 | 2689775.1188 | 1251195.0793
88 | 2689815.309 | 1251201.6478
89 | 2689816.897 | 1251199.5687
90 | 2689897.6123 | 1251423.6466
91 | 2689897.6217 | 1251423.6539
92 | 2689897.9615 | 1251423.9166
93 | 2689897.9709 | 1251423.9239
94 | 2689930.5349 | 1251426.6221
95 | 2689914.9785 | 1251437.0709
96 | 2689914.9698 | 1251437.0642
97 | 2689914.763 | 1251436.9043
98 | 2689914.7551 | 1251436.8982
99 | 2689857.5997 | 1251332.1211

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97776 | -0.42619 | 0.0021454 | 0.00053768
1 | 0.97722 | -0.43673 | 0.010372 | 0.0025995
2 | 0.97815 | -0.41863 | 0 | 0
3 | 0.97905 | -0.4009 | 0 | 0
4 | 0.97719 | -0.43736 | 0 | 0
5 | 0.97542 | -0.47192 | 0 | 0
6 | 0.97463 | -0.48749 | 0 | 0
7 | 0.97543 | -0.47181 | 0 | 0
8 | 0.97525 | -0.4754 | 0.0010849 | 0.0002719
9 | 0.97919 | -0.39832 | 0 | 0
10 | 0.97923 | -0.39752 | 0 | 0
11 | 0.97903 | -0.40142 | 0.0032675 | 0.0008189
12 | 0.97972 | -0.388 | 0 | 0
13 | 0.98096 | -0.3638 | 0.0011331 | 0.00028397
14 | 0.97397 | -0.50058 | 0 | 0
15 | 0.97426 | -0.49476 | 0.001046 | 0.00026214
16 | 0.97195 | -0.54048 | 0 | 0
17 | 0.97274 | -0.52483 | 0.0031962 | 0.00080105
18 | 0.97134 | -0.5525 | 0.012341 | 0.0030929
19 | 0.97389 | -0.50217 | 0.0026088 | 0.00065382
20 | 0.97901 | -0.40178 | 0.0014994 | 0.00037579
21 | 0.97886 | -0.40487 | 0 | 0
22 | 0.97879 | -0.4062 | 0.0015212 | 0.00038125
23 | 0.97891 | -0.40389 | 0.0035837 | 0.00089817
24 | 0.99312 | -0.13056 | 0 | 0
25 | 0.99299 | -0.13294 | 0.0072224 | 0.0018101
26 | 0.99325 | -0.12794 | 0.0072224 | 0.0018101
27 | 0.97716 | -0.4379 | 0.0052326 | 0.0013114
28 | 0.97667 | -0.44747 | 0.0013673 | 0.00034269
29 | 0.97406 | -0.49873 | 0 | 0
30 | 0.97921 | -0.39782 | 0.00059345 | 0.00014873
31 | 0.97917 | -0.39864 | 0 | 0
32 | 0.97915 | -0.39913 | 0.0017452 | 0.00043738
33 | 0.9792 | -0.39812 | 0.00060291 | 0.0001511
34 | 0.97898 | -0.40234 | 0 | 0
35 | 0.98232 | -0.33728 | 0.0010525 | 0.00026378
36 | 0.97332 | -0.51333 | 0.013 | 0.003258
37 | 0.97329 | -0.51386 | 0.0031965 | 0.00080113
38 | 0.9787 | -0.40794 | 0.0027889 | 0.00069897
39 | 0.99377 | -0.11788 | 0.0063223 | 0.0015845
40 | 0.97398 | -0.50037 | 0.0023415 | 0.00058682
41 | 0.9711 | -0.5571 | 0.029238 | 0.0073278
42 | 0.97002 | -0.57849 | 0.006823 | 0.00171
43 | 0.99271 | -0.14021 | 0.029686 | 0.00744
44 | 0.99477 | -0.10026 | 0 | 0
45 | 0.99367 | -0.12147 | 0 | 0
46 | 0.99612 | -0.074417 | 0 | 0
47 | 0.99334 | -0.12785 | 0 | 0
48 | 0.99273 | -0.13979 | 0.027984 | 0.0070134
49 | 0.99535 | -0.089275 | 0 | 0
50 | 0.99784 | -0.041293 | 0.011761 | 0.0029476
51 | 0.99231 | -0.14787 | 0.010275 | 0.0025753
52 | 0.99527 | -0.090641 | 0.01176 | 0.0029474
53 | 0.9949 | -0.097962 | 0.0085549 | 0.0021441
54 | 1 | 0 | -0.40827 | -0.10411
55 | 0.99924 | -0.014342 | 0 | 0
56 | 0.97289 | -0.52238 | 0.0066626 | 0.0016698
57 | 0.97304 | -0.51947 | 0.0016677 | 0.00041797
58 | 0.9727 | -0.52629 | 0.01363 | 0.003416
59 | 0.97316 | -0.51708 | 0.0017391 | 0.00043585
60 | 0.97347 | -0.51098 | 0.0016671 | 0.0004178
61 | 0.97358 | -0.50891 | 0.01008 | 0.0025262
62 | 0.99483 | -0.099191 | 0.0068161 | 0.0017083
63 | 0.99836 | -0.03122 | 0.00863 | 0.0021629
64 | 0.99838 | -0.030862 | 0.011759 | 0.002947
65 | 0.99418 | -0.10989 | 0 | 0
66 | 0.99268 | -0.13859 | 0 | 0
67 | 0.98597 | -0.26742 | 0.0089735 | 0.002249
68 | 0.98759 | -0.23623 | 0.020104 | 0.0050386
69 | 0.98574 | -0.27182 | 0 | 0
70 | 0.9894 | -0.2013 | 0 | 0
71 | 0.98541 | -0.27841 | 0.0089742 | 0.0022492
72 | 0.9746 | -0.48872 | 0 | 0
73 | 0.99152 | -0.16077 | 0.0036125 | 0.00090537
74 | 0.97362 | -0.50794 | 0.0017391 | 0.00043586
75 | 0.98924 | -0.20403 | 0 | 0
76 | 0.98926 | -0.20375 | 0 | 0
77 | 0.98924 | -0.20412 | 0.0012793 | 0.00032063
78 | 0.99002 | -0.18925 | 0.0034257 | 0.00085857
79 | 0.98856 | -0.2171 | 0.0011239 | 0.00028167
80 | 0.99093 | -0.17189 | 0.001869 | 0.00046841
81 | 0.97252 | -0.52927 | 0.013794 | 0.0034572
82 | 0.97293 | -0.52103 | 0 | 0
83 | 0.99034 | -0.18306 | 0.0020091 | 0.00050353
84 | 0.98665 | -0.25365 | 0.0011294 | 0.00028305
85 | 0.98547 | -0.27642 | 0.0011061 | 0.00027721
86 | 0.98451 | -0.29505 | 0 | 0
87 | 0.98447 | -0.29574 | 0.0010425 | 0.00026128
88 | 0.98371 | -0.31038 | 0.00071321 | 0.00017875
89 | 0.98356 | -0.31341 | 0.0031562 | 0.00079102
90 | 0.99144 | -0.1646 | 0.0017404 | 0.00043617
91 | 0.99144 | -0.1646 | 0.0016683 | 0.00041811
92 | 0.99143 | -0.16482 | 0.0017403 | 0.00043617
93 | 0.99143 | -0.16482 | 0.0016683 | 0.00041811
94 | 0.99062 | -0.18063 | 0.01699 | 0.004258
95 | 0.99094 | -0.17425 | 0.0016659 | 0.00041753
96 | 0.99094 | -0.17425 | 0.0017379 | 0.00043555
97 | 0.99095 | -0.17416 | 0.0021471 | 0.00053811
98 | 0.99095 | -0.17415 | 0.0022399 | 0.00056137
99 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010377 | 0.0026022 | -0.010372 | -0.0025995 | 5.2127e-06 | 2.6376e-06 | 0.015794 | 0.015794 | 0.015794 | 0.97776 | -0.42619 | 0.97722 | -0.43673 | 4.339
1 | -0.012523 | -0.0031398 | 0.012527 | 0.0031423 | 4.5132e-06 | 2.4727e-06 | 0.019058 | 0.019058 | 0.019058 | 0.97776 | -0.42619 | 0.97815 | -0.41863 | 5.2358
2 | -0.10832 | -0.027341 | 0.10841 | 0.0274 | 9.2038e-05 | 5.8451e-05 | 0.16485 | 0.16485 | 0.16485 | 0.97815 | -0.41863 | 0.97905 | -0.4009 | 22.6444
3 | 0.095791 | 0.024199 | -0.095705 | -0.024144 | 8.5952e-05 | 5.4468e-05 | 0.14579 | 0.14579 | 0.14579 | 0.97815 | -0.41863 | 0.97719 | -0.43736 | 20.0265
4 | 0.0014995 | 0.00037543 | -0.0014994 | -0.00037579 | 6.2391e-08 | -3.6291e-07 | 0.0022789 | 0.002279 | 0.002279 | 0.97905 | -0.4009 | 0.97901 | -0.40178 | 0.6261
5 | -0.10991 | -0.027775 | 0.10998 | 0.027818 | 6.8027e-05 | 4.3211e-05 | 0.16713 | 0.16713 | 0.16713 | 0.97905 | -0.4009 | 0.97972 | -0.388 | 22.9574
6 | 0.0052327 | 0.0013114 | -0.0052326 | -0.0013114 | 1.3255e-07 | 1.5091e-08 | 0.0079682 | 0.0079682 | 0.0079682 | 0.97719 | -0.43736 | 0.97716 | -0.4379 | 2.1891
7 | 0.090473 | 0.022833 | -0.090429 | -0.022805 | 4.3786e-05 | 2.7715e-05 | 0.13782 | 0.13782 | 0.13782 | 0.97719 | -0.43736 | 0.97667 | -0.44747 | 18.932
8 | 0.049313 | 0.012405 | -0.049276 | -0.012382 | 3.6652e-05 | 2.3242e-05 | 0.075243 | 0.075243 | 0.075243 | 0.97542 | -0.47192 | 0.97463 | -0.48749 | 20.6713
9 | -0.050398 | -0.012675 | 0.050398 | 0.012675 | 2.6388e-07 | 1.674e-07 | 0.076898 | 0.076898 | 0.076898 | 0.97542 | -0.47192 | 0.97543 | -0.47181 | 21.1258
10 | 0.0010851 | 0.00026984 | -0.0010849 | -0.0002719 | 1.7939e-07 | -2.0651e-06 | 0.0016545 | 0.0016553 | 0.0016553 | 0.97542 | -0.47192 | 0.97525 | -0.4754 | 0.45476
11 | 0.021392 | 0.0053779 | -0.021379 | -0.0053698 | 1.3368e-05 | 8.1395e-06 | 0.032666 | 0.032667 | 0.032667 | 0.97463 | -0.48749 | 0.97397 | -0.50058 | 8.9743
12 | 0.027884 | 0.007004 | -0.027874 | -0.006998 | 9.678e-06 | 6.0166e-06 | 0.042577 | 0.042577 | 0.042577 | 0.97463 | -0.48749 | 0.97426 | -0.49476 | 11.697
13 | -0.088958 | -0.022396 | 0.089062 | 0.022462 | 0.00010362 | 6.6128e-05 | 0.13574 | 0.13574 | 0.13574 | 0.97543 | -0.47181 | 0.97667 | -0.44747 | 37.2917
14 | 0.03856 | 0.0097212 | -0.03851 | -0.0096899 | 4.9603e-05 | 3.127e-05 | 0.058844 | 0.058844 | 0.058844 | 0.97543 | -0.47181 | 0.97406 | -0.49873 | 16.1659
15 | -0.011165 | -0.0027982 | 0.011165 | 0.0027984 | 4.239e-07 | 2.2189e-07 | 0.016966 | 0.016966 | 0.016966 | 0.97919 | -0.39832 | 0.97923 | -0.39752 | 4.661
16 | 0.011165 | 0.0027982 | -0.011163 | -0.0027973 | 1.651e-06 | 8.6427e-07 | 0.016966 | 0.016966 | 0.016966 | 0.97919 | -0.39832 | 0.97903 | -0.40142 | 4.6611
17 | 0.0029417 | 0.00073676 | -0.0029417 | -0.0007368 | 4.1232e-08 | -4.2837e-08 | 0.00447 | 0.00447 | 0.00447 | 0.97923 | -0.39752 | 0.97921 | -0.39782 | 1.228
18 | -0.014107 | -0.0035352 | 0.014113 | 0.0035388 | 6.4016e-06 | 3.6295e-06 | 0.021436 | 0.021436 | 0.021436 | 0.97923 | -0.39752 | 0.97972 | -0.388 | 5.889
19 | 0.0078955 | 0.0019784 | -0.0078951 | -0.0019783 | 3.4301e-07 | 1.3965e-07 | 0.012 | 0.012 | 0.012 | 0.97903 | -0.40142 | 0.97898 | -0.40234 | 3.2967
20 | -0.12409 | -0.031357 | 0.12424 | 0.031449 | 0.00014414 | 9.1707e-05 | 0.18857 | 0.18857 | 0.18857 | 0.97972 | -0.388 | 0.98096 | -0.3638 | 25.9018
21 | -0.12537 | -0.031733 | 0.12553 | 0.031834 | 0.00015981 | 0.00010168 | 0.19028 | 0.19028 | 0.19028 | 0.98096 | -0.3638 | 0.98232 | -0.33728 | 26.1379
22 | 0.021379 | 0.0053698 | -0.021377 | -0.0053688 | 1.616e-06 | 9.8397e-07 | 0.032667 | 0.032667 | 0.032667 | 0.97397 | -0.50058 | 0.97389 | -0.50217 | 8.9743
23 | 0.026828 | 0.0067358 | -0.026804 | -0.0067211 | 2.3741e-05 | 1.4726e-05 | 0.04098 | 0.04098 | 0.04098 | 0.97426 | -0.49476 | 0.97332 | -0.51333 | 11.2582
24 | -0.012348 | -0.0030968 | 0.012357 | 0.0031018 | 9.2184e-06 | 5.0466e-06 | 0.018905 | 0.018905 | 0.018905 | 0.97195 | -0.54048 | 0.97274 | -0.52483 | 5.1937
25 | 0.012348 | 0.0030968 | -0.012341 | -0.0030929 | 7.0694e-06 | 3.8711e-06 | 0.018905 | 0.018905 | 0.018905 | 0.97195 | -0.54048 | 0.97134 | -0.5525 | 5.1937
26 | -0.015553 | -0.0039029 | 0.015561 | 0.0039076 | 8.1439e-06 | 4.7356e-06 | 0.023794 | 0.023794 | 0.023794 | 0.97274 | -0.52483 | 0.97329 | -0.51386 | 6.5368
27 | 0.018768 | 0.004715 | -0.018758 | -0.0047087 | 1.0463e-05 | 6.2747e-06 | 0.028681 | 0.028681 | 0.028681 | 0.97389 | -0.50217 | 0.97329 | -0.51386 | 7.8793
28 | 0.0043106 | 0.0010799 | -0.0043103 | -0.0010799 | 2.738e-07 | -3.8506e-08 | 0.0065527 | 0.0065527 | 0.0065527 | 0.97886 | -0.40487 | 0.97879 | -0.4062 | 1.8002
29 | -0.0043106 | -0.0010799 | 0.0043108 | 0.0010799 | 2.0049e-07 | -2.8217e-08 | 0.0065527 | 0.0065526 | 0.0065527 | 0.97886 | -0.40487 | 0.97891 | -0.40389 | 1.8002
30 | 0.0027891 | 0.00069868 | -0.0027889 | -0.00069897 | 2.3118e-07 | -2.8296e-07 | 0.0042401 | 0.0042403 | 0.0042403 | 0.97879 | -0.4062 | 0.9787 | -0.40794 | 1.1649
31 | -0.0078945 | -0.001978 | 0.0078951 | 0.0019783 | 5.8426e-07 | 2.379e-07 | 0.012 | 0.012 | 0.012 | 0.97891 | -0.40389 | 0.97898 | -0.40234 | 3.2967
32 | 0.0072233 | 0.0018104 | -0.0072224 | -0.0018101 | 8.1704e-07 | 2.8226e-07 | 0.010823 | 0.010823 | 0.010823 | 0.99312 | -0.13056 | 0.99299 | -0.13294 | 2.9733
33 | -0.0072233 | -0.0018104 | 0.0072242 | 0.0018107 | 9.0454e-07 | 3.1241e-07 | 0.010823 | 0.010823 | 0.010823 | 0.99312 | -0.13056 | 0.99325 | -0.12794 | 2.9733
34 | -0.014447 | -0.0036208 | 0.014453 | 0.0036247 | 6.9215e-06 | 3.9195e-06 | 0.021643 | 0.021643 | 0.021643 | 0.99325 | -0.12794 | 0.99377 | -0.11788 | 5.9458
35 | 0.036169 | 0.0091034 | -0.036068 | -0.0090401 | 0.00010061 | 6.3299e-05 | 0.055267 | 0.055267 | 0.055267 | 0.97406 | -0.49873 | 0.9711 | -0.5571 | 15.1833
36 | 0.0023416 | 0.00058647 | -0.0023415 | -0.00058682 | 1.8331e-07 | -3.5816e-07 | 0.003577 | 0.0035772 | 0.0035772 | 0.97406 | -0.49873 | 0.97398 | -0.50037 | 0.98275
37 | 0.0023482 | 0.00058807 | -0.0023482 | -0.00058814 | 3.331e-08 | -6.6444e-08 | 0.0035682 | 0.0035682 | 0.0035682 | 0.97921 | -0.39782 | 0.9792 | -0.39812 | 0.98027
38 | 0.0017452 | 0.00043721 | -0.0017452 | -0.00043738 | 4.0585e-08 | -1.6757e-07 | 0.0026521 | 0.0026521 | 0.0026521 | 0.97917 | -0.39864 | 0.97915 | -0.39913 | 0.72861
39 | -0.0017452 | -0.00043721 | 0.0017453 | 0.00043703 | 4.3315e-08 | -1.7886e-07 | 0.0026521 | 0.002652 | 0.0026521 | 0.97917 | -0.39864 | 0.9792 | -0.39812 | 0.72859
40 | -0.12658 | -0.032098 | 0.12673 | 0.032191 | 0.00014542 | 9.2533e-05 | 0.19188 | 0.19188 | 0.19188 | 0.98232 | -0.33728 | 0.98356 | -0.31341 | 26.3569
41 | 0.013805 | 0.0034631 | -0.0138 | -0.0034602 | 5.0653e-06 | 2.8651e-06 | 0.021106 | 0.021106 | 0.021106 | 0.97332 | -0.51333 | 0.97293 | -0.52103 | 5.7983
42 | -0.020776 | -0.0052092 | 0.020784 | 0.005214 | 7.9151e-06 | 4.7829e-06 | 0.031109 | 0.031109 | 0.031109 | 0.99377 | -0.11788 | 0.99418 | -0.10989 | 8.5465
43 | 0.0068299 | 0.0017124 | -0.006823 | -0.00171 | 6.9556e-06 | 2.359e-06 | 0.010466 | 0.010466 | 0.010466 | 0.9711 | -0.5571 | 0.97002 | -0.57849 | 2.8754
44 | -0.029686 | -0.00744 | 0.029743 | 0.0074752 | 5.6612e-05 | 3.5244e-05 | 0.044498 | 0.044497 | 0.044498 | 0.99271 | -0.14021 | 0.99477 | -0.10026 | 12.2247
45 | 0.070047 | 0.017627 | -0.069976 | -0.017582 | 7.0908e-05 | 4.5158e-05 | 0.1048 | 0.1048 | 0.1048 | 0.99477 | -0.10026 | 0.99367 | -0.12147 | 28.7923
46 | -0.099789 | -0.025103 | 0.099913 | 0.025181 | 0.00012337 | 7.8766e-05 | 0.1493 | 0.1493 | 0.1493 | 0.99477 | -0.10026 | 0.99612 | -0.074417 | 41.0169
47 | 0.041968 | 0.010554 | -0.041955 | -0.010546 | 1.2799e-05 | 8.0796e-06 | 0.062859 | 0.062859 | 0.062859 | 0.99367 | -0.12147 | 0.99334 | -0.12785 | 17.269
48 | 0.028008 | 0.0070285 | -0.027984 | -0.0070134 | 2.4446e-05 | 1.5166e-05 | 0.041945 | 0.041945 | 0.041945 | 0.99367 | -0.12147 | 0.99273 | -0.13979 | 11.5234
49 | 0.027158 | 0.0068158 | -0.027139 | -0.0068039 | 1.9229e-05 | 1.1901e-05 | 0.040573 | 0.040573 | 0.040573 | 0.99612 | -0.074417 | 0.99535 | -0.089275 | 11.1463
50 | -0.12707 | -0.031997 | 0.12727 | 0.032126 | 0.00020159 | 0.00012882 | 0.18987 | 0.18987 | 0.18987 | 0.99612 | -0.074417 | 0.99784 | -0.041293 | 52.1631
51 | 0.041955 | 0.010546 | -0.041915 | -0.01052 | 4.0058e-05 | 2.5287e-05 | 0.062859 | 0.062859 | 0.062859 | 0.99334 | -0.12785 | 0.99231 | -0.14787 | 17.269
52 | 0.011761 | 0.0029478 | -0.01176 | -0.0029474 | 7.6522e-07 | 4.0396e-07 | 0.017583 | 0.017583 | 0.017583 | 0.99535 | -0.089275 | 0.99527 | -0.090641 | 4.8304
53 | 0.015378 | 0.0038561 | -0.015371 | -0.0038524 | 6.3637e-06 | 3.6556e-06 | 0.02299 | 0.02299 | 0.02299 | 0.99535 | -0.089275 | 0.9949 | -0.097962 | 6.316
54 | -0.13903 | -0.035074 | 0.13931 | 0.03525 | 0.00027547 | 0.00017608 | 0.20741 | 0.20741 | 0.20741 | 0.99784 | -0.041293 | 1 | 0 | 56.9814
55 | 0.03164 | 0.007945 | -0.031614 | -0.0079292 | 2.5226e-05 | 1.5759e-05 | 0.047451 | 0.047451 | 0.047451 | 0.99231 | -0.14787 | 0.99144 | -0.1646 | 13.0359
56 | 0.0068165 | 0.0017084 | -0.0068161 | -0.0017083 | 3.9908e-07 | 1.2246e-07 | 0.010195 | 0.010195 | 0.010195 | 0.9949 | -0.097962 | 0.99483 | -0.099191 | 2.8008
57 | 0.26731 | 0.068862 | -0.26713 | -0.068743 | 0.00018645 | 0.00011916 | 0.39843 | 0.39843 | 0.39843 | 1 | 0 | 0.99924 | -0.014342 | 54.7296
58 | 0.24672 | 0.063623 | -0.24558 | -0.062893 | 0.0011426 | 0.00073007 | 0.36804 | 0.36804 | 0.36804 | 0.99924 | -0.014342 | 0.99418 | -0.10989 | 50.5556
59 | 0.020405 | 0.0051196 | -0.020389 | -0.0051099 | 1.606e-05 | 9.6711e-06 | 0.030388 | 0.030388 | 0.030388 | 0.99924 | -0.014342 | 0.99838 | -0.030862 | 8.3484
60 | -0.020295 | -0.0050873 | 0.020298 | 0.005089 | 2.8118e-06 | 1.7029e-06 | 0.031042 | 0.031041 | 0.031042 | 0.97289 | -0.52238 | 0.97304 | -0.51947 | 8.5279
61 | 0.013633 | 0.0034175 | -0.01363 | -0.003416 | 2.5356e-06 | 1.4297e-06 | 0.020851 | 0.020851 | 0.020851 | 0.97289 | -0.52238 | 0.9727 | -0.52629 | 5.7284
62 | -0.021966 | -0.005507 | 0.021968 | 0.0055085 | 2.5084e-06 | 1.5317e-06 | 0.033592 | 0.033592 | 0.033592 | 0.97304 | -0.51947 | 0.97316 | -0.51708 | 9.2285
63 | -0.023707 | -0.0059443 | 0.023714 | 0.0059486 | 6.8901e-06 | 4.2359e-06 | 0.036251 | 0.036251 | 0.036251 | 0.97316 | -0.51708 | 0.97347 | -0.51098 | 9.9591
64 | -0.025381 | -0.0063664 | 0.025384 | 0.0063679 | 2.5029e-06 | 1.5467e-06 | 0.038799 | 0.038799 | 0.038799 | 0.97347 | -0.51098 | 0.97358 | -0.50891 | 10.6591
65 | -0.035464 | -0.0088941 | 0.035465 | 0.0088952 | 1.6432e-06 | 1.0331e-06 | 0.054205 | 0.054205 | 0.054205 | 0.97358 | -0.50891 | 0.97362 | -0.50794 | 14.8914
66 | -0.00863 | -0.0021629 | 0.0086301 | 0.0021629 | 1.4711e-07 | 6.3143e-08 | 0.012863 | 0.012863 | 0.012863 | 0.99836 | -0.03122 | 0.99838 | -0.030862 | 3.5337
67 | 0.2248 | 0.057679 | -0.22448 | -0.05748 | 0.00031246 | 0.00019959 | 0.33694 | 0.33694 | 0.33694 | 0.99418 | -0.10989 | 0.99268 | -0.13859 | 46.2824
68 | 0.14473 | 0.037149 | -0.1445 | -0.037 | 0.00023355 | 0.00014879 | 0.21727 | 0.21727 | 0.21727 | 0.99268 | -0.13859 | 0.99093 | -0.17189 | 29.8447
69 | 0.07975 | 0.020331 | -0.079664 | -0.020276 | 8.5289e-05 | 5.438e-05 | 0.11967 | 0.11967 | 0.11967 | 0.99268 | -0.13859 | 0.99152 | -0.16077 | 32.8755
70 | -0.055589 | -0.014104 | 0.055672 | 0.014157 | 8.3519e-05 | 5.3048e-05 | 0.083955 | 0.083955 | 0.083955 | 0.98597 | -0.26742 | 0.98759 | -0.23623 | 23.0646
71 | 0.046615 | 0.011855 | -0.046605 | -0.011848 | 9.8685e-06 | 6.2482e-06 | 0.070412 | 0.070412 | 0.070412 | 0.98597 | -0.26742 | 0.98574 | -0.27182 | 19.3441
72 | -0.075776 | -0.019195 | 0.075904 | 0.019276 | 0.00012736 | 8.1175e-05 | 0.11425 | 0.11425 | 0.11425 | 0.98759 | -0.23623 | 0.9894 | -0.2013 | 31.3862
73 | 0.008977 | 0.0022504 | -0.0089742 | -0.0022492 | 2.818e-06 | 1.282e-06 | 0.013551 | 0.013552 | 0.013552 | 0.98574 | -0.27182 | 0.98541 | -0.27841 | 3.723
74 | 0.037628 | 0.0095979 | -0.037238 | -0.0093525 | 0.00038976 | 0.00024539 | 0.056861 | 0.056863 | 0.056863 | 0.98574 | -0.27182 | 0.9746 | -0.48872 | 15.6216
75 | -0.075904 | -0.019276 | 0.076052 | 0.019371 | 0.00014839 | 9.458e-05 | 0.11425 | 0.11425 | 0.11425 | 0.9894 | -0.2013 | 0.99152 | -0.16077 | 31.3862
76 | 0.037238 | 0.0093525 | -0.037204 | -0.009331 | 3.4113e-05 | 2.1482e-05 | 0.056863 | 0.056863 | 0.056863 | 0.9746 | -0.48872 | 0.97362 | -0.50794 | 15.6216
77 | -0.0012793 | -0.00032058 | 0.0012794 | 0.00032044 | 1.6711e-08 | -1.4381e-07 | 0.0019244 | 0.0019243 | 0.0019244 | 0.98924 | -0.20403 | 0.98926 | -0.20375 | 0.52867
78 | 0.0012793 | 0.00032058 | -0.0012793 | -0.00032063 | 5.4988e-09 | -4.7317e-08 | 0.0019244 | 0.0019244 | 0.0019244 | 0.98924 | -0.20403 | 0.98924 | -0.20412 | 0.52867
79 | -0.13698 | -0.035032 | 0.13708 | 0.035094 | 9.6223e-05 | 6.1273e-05 | 0.2063 | 0.2063 | 0.2063 | 0.98926 | -0.20375 | 0.99002 | -0.18925 | 28.3373
80 | 0.1357 | 0.034712 | -0.13561 | -0.034656 | 8.7609e-05 | 5.5783e-05 | 0.20437 | 0.20437 | 0.20437 | 0.98926 | -0.20375 | 0.98856 | -0.2171 | 28.073
81 | -0.1405 | -0.035952 | 0.14055 | 0.035979 | 4.2091e-05 | 2.6809e-05 | 0.21144 | 0.21144 | 0.21144 | 0.99002 | -0.18925 | 0.99034 | -0.18306 | 29.0446
82 | 0.13449 | 0.034374 | -0.13425 | -0.034223 | 0.0002373 | 0.00015108 | 0.20268 | 0.20268 | 0.20268 | 0.98856 | -0.2171 | 0.98665 | -0.25365 | 27.8407
83 | 0.14263 | 0.036532 | -0.14255 | -0.036483 | 7.7135e-05 | 4.9136e-05 | 0.21446 | 0.21446 | 0.21446 | 0.99093 | -0.17189 | 0.99034 | -0.18306 | 29.4592
84 | -0.013794 | -0.0034572 | 0.0138 | 0.0034602 | 5.4131e-06 | 3.0621e-06 | 0.021106 | 0.021106 | 0.021106 | 0.97252 | -0.52927 | 0.97293 | -0.52103 | 5.7984
85 | 0.13312 | 0.03394 | -0.13298 | -0.033847 | 0.00014617 | 9.3058e-05 | 0.20098 | 0.20098 | 0.20098 | 0.98665 | -0.25365 | 0.98547 | -0.27642 | 27.6068
86 | 0.13187 | 0.03357 | -0.13175 | -0.033495 | 0.00011834 | 7.5334e-05 | 0.19931 | 0.19931 | 0.19931 | 0.98547 | -0.27642 | 0.98451 | -0.29505 | 27.3774
87 | 0.0010426 | 0.00026084 | -0.0010425 | -0.00026128 | 3.3916e-08 | -4.4149e-07 | 0.0015756 | 0.0015758 | 0.0015758 | 0.98451 | -0.29505 | 0.98447 | -0.29574 | 0.4329
88 | 0.13071 | 0.033234 | -0.13061 | -0.033173 | 9.6425e-05 | 6.1377e-05 | 0.19773 | 0.19773 | 0.19773 | 0.98451 | -0.29505 | 0.98371 | -0.31038 | 27.161
89 | 0.1299 | 0.032994 | -0.12988 | -0.032982 | 1.897e-05 | 1.2074e-05 | 0.19665 | 0.19665 | 0.19665 | 0.98371 | -0.31038 | 0.98356 | -0.31341 | 27.0128
90 | 0.029874 | 0.007493 | -0.029874 | -0.007493 | 8.9441e-09 | 5.573e-09 | 0.044839 | 0.044839 | 0.044839 | 0.99144 | -0.1646 | 0.99144 | -0.1646 | 12.3183
91 | 0.028206 | 0.0070749 | -0.028205 | -0.0070747 | 2.887e-07 | 1.7923e-07 | 0.042335 | 0.042335 | 0.042335 | 0.99144 | -0.1646 | 0.99143 | -0.16482 | 11.6305
92 | 0.026465 | 0.0066386 | -0.026465 | -0.0066386 | 7.0227e-09 | 4.3269e-09 | 0.039723 | 0.039723 | 0.039723 | 0.99143 | -0.16482 | 0.99143 | -0.16482 | 10.9129
93 | 0.024797 | 0.0062204 | -0.024786 | -0.0062137 | 1.102e-05 | 6.7795e-06 | 0.037219 | 0.037219 | 0.037219 | 0.99143 | -0.16482 | 0.99095 | -0.17415 | 10.225
94 | -0.01699 | -0.004258 | 0.016995 | 0.0042611 | 5.1637e-06 | 3.0325e-06 | 0.02552 | 0.02552 | 0.02552 | 0.99062 | -0.18063 | 0.99094 | -0.17425 | 7.0111
95 | -0.018661 | -0.0046786 | 0.018661 | 0.0046786 | 3.2136e-09 | 1.9128e-09 | 0.028022 | 0.028022 | 0.028022 | 0.99094 | -0.17425 | 0.99094 | -0.17425 | 7.6983
96 | -0.020399 | -0.0051141 | 0.020399 | 0.0051142 | 9.1974e-08 | 5.5496e-08 | 0.030632 | 0.030632 | 0.030632 | 0.99094 | -0.17425 | 0.99095 | -0.17416 | 8.4153
97 | -0.022546 | -0.0056523 | 0.022546 | 0.0056523 | 4.3063e-09 | 2.6265e-09 | 0.033856 | 0.033856 | 0.033856 | 0.99095 | -0.17416 | 0.99095 | -0.17415 | 9.301

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40827 | 0.10411

## res_load
| p_mw | q_mvar
0 | 0.0021454 | 0.00053768
1 | 0.010372 | 0.0025995
2 | 0.0010849 | 0.0002719
3 | 0.0032675 | 0.0008189
4 | 0.0011331 | 0.00028397
5 | 0.001046 | 0.00026214
6 | 0.0031962 | 0.00080105
7 | 0.012341 | 0.0030929
8 | 0.0026088 | 0.00065382
9 | 0.0014994 | 0.00037579
10 | 0.0015212 | 0.00038125
11 | 0.0035837 | 0.00089817
12 | 0.0072224 | 0.0018101
13 | 0.0072224 | 0.0018101
14 | 0.0052326 | 0.0013114
15 | 0.0013673 | 0.00034269
16 | 0.00059345 | 0.00014873
17 | 0.0017452 | 0.00043738
18 | 0.00060291 | 0.0001511
19 | 0.0010525 | 0.00026378
20 | 0.013 | 0.003258
21 | 0.0031965 | 0.00080113
22 | 0.0027889 | 0.00069897
23 | 0.0063223 | 0.0015845
24 | 0.0023415 | 0.00058682
25 | 0.029238 | 0.0073278
26 | 0.006823 | 0.00171
27 | 0.029686 | 0.00744
28 | 0.027984 | 0.0070134
29 | 0.011761 | 0.0029476
30 | 0.010275 | 0.0025753
31 | 0.01176 | 0.0029474
32 | 0.0085549 | 0.0021441
33 | 0.0066626 | 0.0016698
34 | 0.0016677 | 0.00041797
35 | 0.01363 | 0.003416
36 | 0.0017391 | 0.00043585
37 | 0.0016671 | 0.0004178
38 | 0.01008 | 0.0025262
39 | 0.0068161 | 0.0017083
40 | 0.00863 | 0.0021629
41 | 0.011759 | 0.002947
42 | 0.0089735 | 0.002249
43 | 0.020104 | 0.0050386
44 | 0.0089742 | 0.0022492
45 | 0.0036125 | 0.00090537
46 | 0.0017391 | 0.00043586
47 | 0.0012793 | 0.00032063
48 | 0.0034257 | 0.00085857
49 | 0.0011239 | 0.00028167
50 | 0.001869 | 0.00046841
51 | 0.013794 | 0.0034572
52 | 0.0020091 | 0.00050353
53 | 0.0011294 | 0.00028305
54 | 0.0011061 | 0.00027721
55 | 0.0010425 | 0.00026128
56 | 0.00071321 | 0.00017875
57 | 0.0031562 | 0.00079102
58 | 0.0017404 | 0.00043617
59 | 0.0016683 | 0.00041811
60 | 0.0017403 | 0.00043617
61 | 0.0016683 | 0.00041811
62 | 0.01699 | 0.004258
63 | 0.0016659 | 0.00041753
64 | 0.0017379 | 0.00043555
65 | 0.0021471 | 0.00053811
66 | 0.0022399 | 0.00056137

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1