## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-17_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_191-17_0_4_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_191-17_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_191-17_0_4_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_191-17_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_191-17_0_4_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_191-17_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_191-17_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_191-17_0_4_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_191-17_0_4_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_191-17_0_4_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_191-17_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_191-17_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_191-17_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_191-17_0_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_191-17_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_191-17_0_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_191-17_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_191-17_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_191-17_0_4_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_191-17_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_191-17_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_191-17_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_191-17_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_191-17_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_191-17_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_191-17_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_191-17_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_191-17_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_191-17_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_191-17_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_191-17_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_191-17_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_191-17_0_4_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_191-17_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_191-17_0_4_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_191-17_0_4_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_191-17_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_191-17_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_191-17_0_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_191-17_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_191-17_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_191-17_0_4_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_191-17_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_191-17_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_191-17_0_4_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_191-17_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_191-17_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_191-17_0_4_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_191-17_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_191-17_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_191-17_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_191-17_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_191-17_0_4_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_191-17_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_191-17_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_191-17_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_191-17_0_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_191-17_0_4_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_191-17_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_191-17_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_191-17_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_191-17_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_191-17_0_4_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_191-17_0_4_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_191-17_0_4_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_191-17_0_4_node_76 | 0.4 | n |  | TRUE
71 | bus_MV_500_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-17_0_4_load_0 | 0 | 0.019841 | 0.0049726 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-17_0_4_load_1 | 1 | 0.011062 | 0.0027725 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-17_0_4_load_4 | 4 | 0.012962 | 0.0032486 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-17_0_4_load_24 | 5 | 0.013848 | 0.0034706 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-17_0_4_load_44 | 7 | 0.0065426 | 0.0016397 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-17_0_4_load_36 | 9 | 0.010097 | 0.0025305 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-17_0_4_load_57 | 12 | 0.0092288 | 0.0023129 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-17_0_4_load_72 | 13 | 0.007082 | 0.0017749 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-17_0_4_load_39 | 17 | 0.0021261 | 0.00053286 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-17_0_4_load_31 | 18 | 0.010251 | 0.0025693 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-17_0_4_load_42 | 20 | 0.0027536 | 0.00069011 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-17_0_4_load_43 | 22 | 0.0015335 | 0.00038433 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-17_0_4_load_41 | 23 | 0.0097587 | 0.0024457 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-17_0_4_load_38 | 26 | 0.0023497 | 0.00058888 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-17_0_4_load_37 | 30 | 0.016831 | 0.0042182 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-17_0_4_load_29 | 33 | 0.010415 | 0.0026103 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-17_0_4_load_34 | 34 | 0.0024816 | 0.00062196 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-17_0_4_load_32 | 35 | 0.0015802 | 0.00039603 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-17_0_4_load_40 | 36 | 0.0024303 | 0.0006091 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-17_0_4_load_68 | 37 | 0.0071469 | 0.0017912 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-17_0_4_load_35 | 38 | 0.010216 | 0.0025604 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-17_0_4_load_69 | 40 | 0.0081494 | 0.0020424 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-17_0_4_load_33 | 42 | 0.001579 | 0.00039573 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-17_0_4_load_47 | 44 | 0.0059733 | 0.0014971 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-17_0_4_load_25 | 46 | 0.010502 | 0.0026321 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-17_0_4_load_30 | 48 | 0.0080583 | 0.0020196 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-17_0_4_load_48 | 50 | 0.0085622 | 0.0021459 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-17_0_4_load_52 | 51 | 0.0066022 | 0.0016547 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-17_0_4_load_53 | 52 | 0.0060857 | 0.0015252 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-17_0_4_load_54 | 55 | 0.015584 | 0.0039056 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-17_0_4_load_59 | 58 | 0.0065733 | 0.0016474 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-17_0_4_load_58 | 59 | 0.014788 | 0.0037061 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-17_0_4_load_56 | 60 | 0.007518 | 0.0018842 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-17_0_4_load_67 | 61 | 0.0066985 | 0.0016788 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-17_0_4_load_66 | 62 | 0.012785 | 0.0032042 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-17_0_4_load_61 | 64 | 0.018244 | 0.0045724 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-17_0_4_load_63 | 65 | 0.010722 | 0.0026872 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-17_0_4_load_65 | 66 | 0.0029625 | 0.00074248 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-17_0_4_load_74 | 67 | 0.0072586 | 0.0018192 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-17_0_4_load_75 | 68 | 0.0063683 | 0.0015961 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-17_0_4_load_73 | 69 | 0.0067546 | 0.0016929 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-17_0_4_load_76 | 70 | 0.0075785 | 0.0018994 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-17_0_4_line_0 |  | 0 | 1 | 0.031259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-17_0_4_line_1 |  | 0 | 2 | 0.028409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-17_0_4_line_2 |  | 1 | 3 | 0.037729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-17_0_4_line_3 |  | 2 | 4 | 0.011853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-17_0_4_line_4 |  | 3 | 5 | 0.030444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-17_0_4_line_5 |  | 4 | 6 | 0.00045913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-17_0_4_line_6 |  | 5 | 37 | 0.014407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-17_0_4_line_7 |  | 6 | 7 | 0.0015355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-17_0_4_line_8 |  | 6 | 8 | 0.016367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-17_0_4_line_9 |  | 7 | 19 | 0.019747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_191-17_0_4_line_10 |  | 8 | 9 | 0.0078327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-17_0_4_line_11 |  | 9 | 38 | 0.019167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-17_0_4_line_12 |  | 10 | 11 | 0.13754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-17_0_4_line_13 |  | 10 | 12 | 0.02827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-17_0_4_line_14 |  | 11 | 13 | 0.025066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-17_0_4_line_15 |  | 11 | 14 | 0.017515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-17_0_4_line_16 |  | 14 | 39 | 0.010531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-17_0_4_line_17 |  | 14 | 40 | 0.025335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-17_0_4_line_18 |  | 15 | 16 | 0.037185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-17_0_4_line_19 |  | 15 | 17 | 0.01629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-17_0_4_line_20 |  | 16 | 18 | 0.0076251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-17_0_4_line_21 |  | 17 | 24 | 0.0046027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-17_0_4_line_22 |  | 18 | 41 | 0.020698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-17_0_4_line_23 |  | 19 | 20 | 0.015948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_191-17_0_4_line_24 |  | 20 | 23 | 0.0091412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_191-17_0_4_line_25 |  | 21 | 22 | 0.017218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_191-17_0_4_line_26 |  | 21 | 23 | 0.011486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_191-17_0_4_line_27 |  | 22 | 25 | 0.0013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_191-17_0_4_line_28 |  | 24 | 25 | 0.01312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-17_0_4_line_29 |  | 24 | 26 | 0.013433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-17_0_4_line_30 |  | 25 | 27 | 0.009058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-17_0_4_line_31 |  | 26 | 30 | 0.013108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-17_0_4_line_32 |  | 27 | 43 | 0.036643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-17_0_4_line_33 |  | 27 | 44 | 0.035137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-17_0_4_line_34 |  | 28 | 29 | 0.007503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-17_0_4_line_35 |  | 28 | 30 | 0.047539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-17_0_4_line_36 |  | 29 | 36 | 0.021628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-17_0_4_line_37 |  | 31 | 32 | 0.054128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-17_0_4_line_38 |  | 31 | 33 | 0.0079209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-17_0_4_line_39 |  | 32 | 34 | 0.028766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-17_0_4_line_40 |  | 32 | 35 | 0.063926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-17_0_4_line_41 |  | 33 | 45 | 0.0096327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-17_0_4_line_42 |  | 35 | 42 | 0.028727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-17_0_4_line_43 |  | 37 | 40 | 0.028999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-17_0_4_line_44 |  | 39 | 67 | 0.0087901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-17_0_4_line_45 |  | 39 | 68 | 0.019719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-17_0_4_line_46 |  | 41 | 48 | 0.027935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-17_0_4_line_47 |  | 41 | 47 | 0.016391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-17_0_4_line_48 |  | 43 | 49 | 0.032081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-17_0_4_line_49 |  | 43 | 50 | 0.025618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-17_0_4_line_50 |  | 45 | 46 | 0.0054641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-17_0_4_line_51 |  | 46 | 47 | 0.018478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-17_0_4_line_52 |  | 49 | 51 | 0.023529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-17_0_4_line_53 |  | 49 | 52 | 0.0072135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-17_0_4_line_54 |  | 50 | 53 | 0.027238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-17_0_4_line_55 |  | 52 | 56 | 0.0099938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-17_0_4_line_56 |  | 53 | 54 | 0.009868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_191-17_0_4_line_57 |  | 54 | 55 | 0.018915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_191-17_0_4_line_58 |  | 56 | 57 | 0.031592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_191-17_0_4_line_59 |  | 57 | 62 | 0.0060761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_191-17_0_4_line_60 |  | 57 | 66 | 0.0046686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_191-17_0_4_line_61 |  | 58 | 59 | 0.011696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_191-17_0_4_line_62 |  | 59 | 63 | 0.0080846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_191-17_0_4_line_63 |  | 60 | 61 | 0.00073242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_191-17_0_4_line_64 |  | 61 | 62 | 0.01624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_191-17_0_4_line_65 |  | 63 | 64 | 0.0044234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_191-17_0_4_line_66 |  | 64 | 65 | 0.0054076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_191-17_0_4_line_67 |  | 65 | 66 | 0.0069977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_191-17_0_4_line_68 |  | 67 | 70 | 0.0065501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_191-17_0_4_line_69 |  | 69 | 70 | 0.0021922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-17_0_4_trafo_41 | 0.63 MVA 20/0.4 kV | 71 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2688209.4115 | 1250089.019 | 2688240.1631 | 1250094.6267
1 | 2688182.0642 | 1250088.534 | 2688188.9607 | 1250085.2897 | 2688209.4115 | 1250089.019
2 | 2688264.3564 | 1250077.8618 | 2688259.846 | 1250094.7741 | 2688252.905 | 1250096.9502 | 2688240.1631 | 1250094.6267
3 | 2688182.0642 | 1250088.534 | 2688170.4864 | 1250085.9959
4 | 2688264.3564 | 1250077.8618 | 2688246.7031 | 1250053.058
5 | 2688170.4864 | 1250085.9959 | 2688170.038 | 1250085.8976
6 | 2688246.7031 | 1250053.058 | 2688249.0752 | 1250038.8478
7 | 2688170.038 | 1250085.8976 | 2688168.504 | 1250085.8287
8 | 2688167.389 | 1250102.0481 | 2688168.5068 | 1250095.4264 | 2688170.038 | 1250085.8976
9 | 2688148.9521 | 1250085.7394 | 2688155.4277 | 1250086.9255 | 2688164.8468 | 1250085.6646 | 2688168.504 | 1250085.8287
10 | 2688167.389 | 1250102.0481 | 2688175.0681 | 1250103.5918
11 | 2688175.0681 | 1250103.5918 | 2688187.8798 | 1250106.1672 | 2688193.6919 | 1250108.0172
12 | 2688239.7222 | 1249980.8662 | 2688258.7843 | 1249963.8371 | 2688281.7696 | 1249990.0881 | 2688258.5253 | 1250010.613 | 2688258.2206 | 1250012.3098 | 2688257.3194 | 1250018.0674 | 2688258.7577 | 1250030.4871 | 2688259.0778 | 1250041.4334 | 2688267.6517 | 1250053.826
13 | 2688267.6517 | 1250053.826 | 2688268.0981 | 1250061.8721 | 2688280.1123 | 1250076.462 | 2688281.0725 | 1250077.3555
14 | 2688239.7222 | 1249980.8662 | 2688223.1193 | 1249962.0877
15 | 2688226.6442 | 1249992.5582 | 2688239.7222 | 1249980.8662
16 | 2688218.9932 | 1249999.8164 | 2688226.6442 | 1249992.5582
17 | 2688226.6442 | 1249992.5582 | 2688241.4205 | 1250013.1373
18 | 2688118.7405 | 1250091.9949 | 2688122.3132 | 1250098.4974 | 2688122.6172 | 1250103.9505 | 2688123.7414 | 1250106.0355 | 2688127.2925 | 1250107.9008 | 2688127.4257 | 1250111.1274 | 2688129.6169 | 1250121.6791 | 2688131.1564 | 1250125.2825
19 | 2688118.7405 | 1250091.9949 | 2688116.0861 | 1250091.266 | 2688102.8594 | 1250088.3807
20 | 2688131.1564 | 1250125.2825 | 2688134.5387 | 1250132.1163
21 | 2688098.3624 | 1250087.3997 | 2688102.8594 | 1250088.3807
22 | 2688143.7199 | 1250150.6662 | 2688134.5387 | 1250132.1163
23 | 2688148.9521 | 1250085.7394 | 2688147.0907 | 1250079.9184 | 2688137.4229 | 1250078.1029
24 | 2688128.4387 | 1250076.4158 | 2688137.4229 | 1250078.1029
25 | 2688119.0747 | 1250079.6795 | 2688102.5149 | 1250074.9643
26 | 2688119.0747 | 1250079.6795 | 2688122.7181 | 1250075.3415 | 2688128.4387 | 1250076.4158
27 | 2688101.2332 | 1250074.5994 | 2688102.5149 | 1250074.9643
28 | 2688101.2332 | 1250074.5994 | 2688099.939 | 1250080.896 | 2688098.3624 | 1250087.3997
29 | 2688098.3624 | 1250087.3997 | 2688085.1999 | 1250084.7179
30 | 2688092.3521 | 1250072.6882 | 2688101.2332 | 1250074.5994
31 | 2688085.1999 | 1250084.7179 | 2688072.3556 | 1250082.1009
32 | 2688092.3521 | 1250072.6882 | 2688084.639 | 1250048.5998 | 2688083.1286 | 1250039.4816 | 2688083.4616 | 1250037.396
33 | 2688092.3521 | 1250072.6882 | 2688071.7655 | 1250069.9246 | 2688057.7027 | 1250066.9922
34 | 2688025.7738 | 1250072.6102 | 2688023.6885 | 1250079.818
35 | 2688025.7738 | 1250072.6102 | 2688072.3556 | 1250082.1009
36 | 2688023.6885 | 1250079.818 | 2688026.5036 | 1250101.262
37 | 2688168.8107 | 1250202.8343 | 2688174.5502 | 1250212.3825 | 2688179.9916 | 1250220.1471 | 2688186.4172 | 1250228.2377 | 2688195.2436 | 1250222.1422 | 2688205.8505 | 1250215.6284
38 | 2688168.8107 | 1250202.8343 | 2688165.2091 | 1250195.7796
39 | 2688205.8505 | 1250215.6284 | 2688217.9619 | 1250211.5166 | 2688230.3077 | 1250209.4099 | 2688233.7515 | 1250209.6357
40 | 2688205.8505 | 1250215.6284 | 2688204.9371 | 1250209.5324 | 2688204.5816 | 1250201.9659 | 2688205.3925 | 1250197.708 | 2688207.5109 | 1250193.87 | 2688237.3005 | 1250165.0216
41 | 2688161.1102 | 1250187.0634 | 2688164.5777 | 1250194.5429 | 2688165.2091 | 1250195.7796
42 | 2688237.3005 | 1250165.0216 | 2688250.1661 | 1250152.5625 | 2688252.6883 | 1250142.0428
43 | 2688249.0752 | 1250038.8478 | 2688251.1136 | 1250026.637 | 2688241.4205 | 1250013.1373
44 | 2688218.9932 | 1249999.8164 | 2688217.3236 | 1249998.3572 | 2688215.2811 | 1249997.604 | 2688213.1004 | 1249997.5048 | 2688211.0059 | 1249998.2186
45 | 2688218.9932 | 1249999.8164 | 2688217.3236 | 1249998.3572 | 2688215.2811 | 1249997.604 | 2688213.1004 | 1249997.5048 | 2688211.0059 | 1249998.2186 | 2688209.2947 | 1249999.5497 | 2688208.1197 | 1250001.3891 | 2688207.6573 | 1250003.5394 | 2688207.9496 | 1250005.7121 | 2688208.9399 | 1250007.6616
46 | 2688143.7199 | 1250150.6662 | 2688138.5199 | 1250153.0574 | 2688132.9179 | 1250155.576 | 2688118.2625 | 1250162.1678
47 | 2688143.7199 | 1250150.6662 | 2688150.5652 | 1250165.5682
48 | 2688051.4726 | 1250035.7195 | 2688063.5986 | 1250037.2453 | 2688073.7141 | 1250036.3727 | 2688083.4616 | 1250037.396
49 | 2688083.4616 | 1250037.396 | 2688087.5312 | 1250030.2956 | 2688098.7535 | 1250016.9531
50 | 2688161.1102 | 1250187.0634 | 2688158.7036 | 1250182.1578
51 | 2688150.5652 | 1250165.5682 | 2688158.7036 | 1250182.1578
52 | 2688051.4726 | 1250035.7195 | 2688041.7111 | 1250041.7346 | 2688038.2602 | 1250043.7849 | 2688032.9026 | 1250043.5719 | 2688030.2493 | 1250043.1436
53 | 2688051.4726 | 1250035.7195 | 2688050.1761 | 1250028.973 | 2688049.9825 | 1250028.6892
54 | 2688116.286 | 1249996.1083 | 2688098.7535 | 1250016.9531
55 | 2688045.1449 | 1250020.0026 | 2688046.8582 | 1250024.1089 | 2688049.9825 | 1250028.6892
56 | 2688116.286 | 1249996.1083 | 2688108.386 | 1249990.1641
57 | 2688108.386 | 1249990.1641 | 2688103.02 | 1249987.9716 | 2688092.6609 | 1249979.9224
58 | 2688021.5921 | 1249999.8709 | 2688026.3296 | 1250006.7576 | 2688033.7047 | 1250012.9718 | 2688037.8442 | 1250016.914 | 2688045.1449 | 1250020.0026
59 | 2688021.5921 | 1249999.8709 | 2688016.8251 | 1250003.6386
60 | 2688021.5921 | 1249999.8709 | 2688025.1392 | 1249996.8355
61 | 2688048.3333 | 1249991.7499 | 2688052.4488 | 1249991.8898 | 2688057.6344 | 1249989.9654 | 2688059.2751 | 1249988.7416
62 | 2688040.2533 | 1249991.475 | 2688048.3333 | 1249991.7499
63 | 2688004.0839 | 1250013.7088 | 2688003.5093 | 1250014.1629
64 | 2688016.8251 | 1250003.6386 | 2688004.0839 | 1250013.7088
65 | 2688040.2533 | 1249991.475 | 2688035.845 | 1249991.8398
66 | 2688035.845 | 1249991.8398 | 2688030.4558 | 1249992.2857
67 | 2688030.4558 | 1249992.2857 | 2688030.4558 | 1249992.2857 | 2688025.1392 | 1249996.8355
68 | 2688207.6573 | 1250003.5394 | 2688207.6573 | 1250003.5394 | 2688208.1197 | 1250001.3891 | 2688209.2947 | 1249999.5497 | 2688211.0059 | 1249998.2186
69 | 2688207.9496 | 1250005.7121 | 2688207.6573 | 1250003.5394

## bus_geodata
| x | y | coords
0 | 2688209.4115 | 1250089.019
1 | 2688240.1631 | 1250094.6267
2 | 2688182.0642 | 1250088.534
3 | 2688264.3564 | 1250077.8618
4 | 2688170.4864 | 1250085.9959
5 | 2688246.7031 | 1250053.058
6 | 2688170.038 | 1250085.8976
7 | 2688168.504 | 1250085.8287
8 | 2688167.389 | 1250102.0481
9 | 2688175.0681 | 1250103.5918
10 | 2688267.6517 | 1250053.826
11 | 2688239.7222 | 1249980.8662
12 | 2688281.0725 | 1250077.3555
13 | 2688223.1193 | 1249962.0877
14 | 2688226.6442 | 1249992.5582
15 | 2688118.7405 | 1250091.9949
16 | 2688131.1564 | 1250125.2825
17 | 2688102.8594 | 1250088.3807
18 | 2688134.5387 | 1250132.1163
19 | 2688148.9521 | 1250085.7394
20 | 2688137.4229 | 1250078.1029
21 | 2688119.0747 | 1250079.6795
22 | 2688102.5149 | 1250074.9643
23 | 2688128.4387 | 1250076.4158
24 | 2688098.3624 | 1250087.3997
25 | 2688101.2332 | 1250074.5994
26 | 2688085.1999 | 1250084.7179
27 | 2688092.3521 | 1250072.6882
28 | 2688025.7738 | 1250072.6102
29 | 2688023.6885 | 1250079.818
30 | 2688072.3556 | 1250082.1009
31 | 2688168.8107 | 1250202.8343
32 | 2688205.8505 | 1250215.6284
33 | 2688165.2091 | 1250195.7796
34 | 2688233.7515 | 1250209.6357
35 | 2688237.3005 | 1250165.0216
36 | 2688026.5036 | 1250101.262
37 | 2688249.0752 | 1250038.8478
38 | 2688193.6919 | 1250108.0172
39 | 2688218.9932 | 1249999.8164
40 | 2688241.4205 | 1250013.1373
41 | 2688143.7199 | 1250150.6662
42 | 2688252.6883 | 1250142.0428
43 | 2688083.4616 | 1250037.396
44 | 2688057.7027 | 1250066.9922
45 | 2688161.1102 | 1250187.0634
46 | 2688158.7036 | 1250182.1578
47 | 2688150.5652 | 1250165.5682
48 | 2688118.2625 | 1250162.1678
49 | 2688051.4726 | 1250035.7195
50 | 2688098.7535 | 1250016.9531
51 | 2688030.2493 | 1250043.1436
52 | 2688049.9825 | 1250028.6892
53 | 2688116.286 | 1249996.1083
54 | 2688108.386 | 1249990.1641
55 | 2688092.6609 | 1249979.9224
56 | 2688045.1449 | 1250020.0026
57 | 2688021.5921 | 1249999.8709
58 | 2688059.2751 | 1249988.7416
59 | 2688048.3333 | 1249991.7499
60 | 2688003.5093 | 1250014.1629
61 | 2688004.0839 | 1250013.7088
62 | 2688016.8251 | 1250003.6386
63 | 2688040.2533 | 1249991.475
64 | 2688035.845 | 1249991.8398
65 | 2688030.4558 | 1249992.2857
66 | 2688025.1392 | 1249996.8355
67 | 2688211.0059 | 1249998.2186
68 | 2688208.9399 | 1250007.6616
69 | 2688207.9496 | 1250005.7121
70 | 2688207.6573 | 1250003.5394
71 | 2688119.0747 | 1250079.6795

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99291 | -0.13534 | 0.019841 | 0.0049726
1 | 0.99048 | -0.18215 | 0.011062 | 0.0027725
2 | 0.99564 | -0.083083 | 0 | 0
3 | 0.98792 | -0.23149 | 0 | 0
4 | 0.99678 | -0.061365 | 0.012962 | 0.0032486
5 | 0.98586 | -0.2715 | 0.013848 | 0.0034706
6 | 0.99683 | -0.06042 | 0 | 0
7 | 0.99702 | -0.056715 | 0.0065426 | 0.0016397
8 | 0.99653 | -0.066254 | 0 | 0
9 | 0.99638 | -0.069047 | 0.010097 | 0.0025305
10 | 0.98119 | -0.3626 | 0 | 0
11 | 0.98237 | -0.33964 | 0 | 0
12 | 0.98095 | -0.36732 | 0.0092288 | 0.0023129
13 | 0.9822 | -0.34285 | 0.007082 | 0.0017749
14 | 0.98263 | -0.33448 | 0 | 0
15 | 0.99565 | -0.083138 | 0 | 0
16 | 0.99413 | -0.11252 | 0 | 0
17 | 0.99632 | -0.070292 | 0.0021261 | 0.00053286
18 | 0.99382 | -0.11856 | 0.010251 | 0.0025693
19 | 0.99833 | -0.031791 | 0 | 0
20 | 0.99938 | -0.01171 | 0.0027536 | 0.00069011
21 | 0.99898 | -0.019364 | 0 | 0
22 | 0.99746 | -0.048467 | 0.0015335 | 0.00038433
23 | 1 | 0 | -0.34511 | -0.087357
24 | 0.99652 | -0.066494 | 0 | 0
25 | 0.99734 | -0.050705 | 0 | 0
26 | 0.99625 | -0.071591 | 0.0023497 | 0.00058888
27 | 0.99632 | -0.070265 | 0 | 0
28 | 0.99592 | -0.078058 | 0 | 0
29 | 0.9959 | -0.078378 | 0 | 0
30 | 0.99602 | -0.076026 | 0.016831 | 0.0042182
31 | 0.99205 | -0.15268 | 0 | 0
32 | 0.99177 | -0.1581 | 0 | 0
33 | 0.99209 | -0.15189 | 0.010415 | 0.0026103
34 | 0.99171 | -0.15936 | 0.0024816 | 0.00062196
35 | 0.99159 | -0.16168 | 0.0015802 | 0.00039603
36 | 0.99586 | -0.079302 | 0.0024303 | 0.0006091
37 | 0.98507 | -0.2869 | 0.0071469 | 0.0017912
38 | 0.9962 | -0.072485 | 0.010216 | 0.0025604
39 | 0.98236 | -0.3398 | 0 | 0
40 | 0.98367 | -0.31425 | 0.0081494 | 0.0020424
41 | 0.99316 | -0.13122 | 0 | 0
42 | 0.99155 | -0.16248 | 0.001579 | 0.00039573
43 | 0.99237 | -0.14593 | 0 | 0
44 | 0.99612 | -0.073951 | 0.0059733 | 0.0014971
45 | 0.99224 | -0.14915 | 0 | 0
46 | 0.99232 | -0.1476 | 0.010502 | 0.0026321
47 | 0.99276 | -0.13891 | 0 | 0
48 | 0.99296 | -0.13519 | 0.0080583 | 0.0020196
49 | 0.98963 | -0.19887 | 0 | 0
50 | 0.9918 | -0.15688 | 0.0085622 | 0.0021459
51 | 0.98948 | -0.20163 | 0.0066022 | 0.0016547
52 | 0.98905 | -0.20996 | 0.0060857 | 0.0015252
53 | 0.99142 | -0.16441 | 0 | 0
54 | 0.99128 | -0.16713 | 0 | 0
55 | 0.99101 | -0.17236 | 0.015584 | 0.0039056
56 | 0.98831 | -0.22427 | 0 | 0
57 | 0.98598 | -0.26964 | 0 | 0
58 | 0.98491 | -0.29045 | 0.0065733 | 0.0016474
59 | 0.98498 | -0.28907 | 0.014788 | 0.0037061
60 | 0.98561 | -0.27683 | 0.007518 | 0.0018842
61 | 0.98562 | -0.27673 | 0.0066985 | 0.0016788
62 | 0.98583 | -0.27259 | 0.012785 | 0.0032042
63 | 0.98514 | -0.28597 | 0 | 0
64 | 0.98523 | -0.28427 | 0.018244 | 0.0045724
65 | 0.98543 | -0.28042 | 0.010722 | 0.0026872
66 | 0.98575 | -0.2741 | 0.0029625 | 0.00074248
67 | 0.98218 | -0.34322 | 0.0072586 | 0.0018192
68 | 0.98224 | -0.34206 | 0.0063683 | 0.0015961
69 | 0.98208 | -0.34519 | 0.0067546 | 0.0016929
70 | 0.9821 | -0.34492 | 0.0075785 | 0.0018994
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.085169 | 0.021609 | -0.084978 | -0.021487 | 0.00019125 | 0.000122 | 0.12773 | 0.12773 | 0.12773 | 0.99291 | -0.13534 | 0.99048 | -0.18215 | 35.0912
1 | -0.10501 | -0.026582 | 0.10527 | 0.026751 | 0.00026416 | 0.00016869 | 0.15747 | 0.15747 | 0.15747 | 0.99291 | -0.13534 | 0.99564 | -0.083083 | 43.2598
2 | 0.073916 | 0.018715 | -0.073741 | -0.018604 | 0.00017468 | 0.00011131 | 0.11111 | 0.11111 | 0.11111 | 0.99048 | -0.18215 | 0.98792 | -0.23149 | 30.5255
3 | -0.10527 | -0.026751 | 0.10538 | 0.026821 | 0.00011021 | 7.038e-05 | 0.15747 | 0.15747 | 0.15747 | 0.99564 | -0.083083 | 0.99678 | -0.061365 | 43.2598
4 | 0.073741 | 0.018604 | -0.0736 | -0.018514 | 0.00014095 | 8.982e-05 | 0.11111 | 0.11111 | 0.11111 | 0.98792 | -0.23149 | 0.98586 | -0.2715 | 30.5256
5 | -0.11835 | -0.03007 | 0.11835 | 0.030073 | 5.3828e-06 | 3.439e-06 | 0.17682 | 0.17682 | 0.17682 | 0.99678 | -0.061365 | 0.99683 | -0.06042 | 48.5756
6 | 0.059752 | 0.015043 | -0.059708 | -0.015015 | 4.3967e-05 | 2.7955e-05 | 0.090212 | 0.090212 | 0.090212 | 0.98586 | -0.2715 | 0.98507 | -0.2869 | 24.7835
7 | -0.13867 | -0.03517 | 0.1387 | 0.035186 | 2.471e-05 | 1.5794e-05 | 0.20715 | 0.20715 | 0.20715 | 0.99683 | -0.06042 | 0.99702 | -0.056715 | 56.9102
8 | 0.020323 | 0.0050967 | -0.020317 | -0.0050933 | 5.6489e-06 | 3.402e-06 | 0.030338 | 0.030338 | 0.030338 | 0.99683 | -0.06042 | 0.99653 | -0.066254 | 8.3347
9 | -0.14524 | -0.036825 | 0.14542 | 0.036936 | 0.00017422 | 0.00011099 | 0.21692 | 0.21692 | 0.21692 | 0.99702 | -0.056715 | 0.99833 | -0.031791 | 29.7964
10 | 0.020317 | 0.0050933 | -0.020314 | -0.0050917 | 2.7035e-06 | 1.6282e-06 | 0.030338 | 0.030338 | 0.030338 | 0.99653 | -0.066254 | 0.99638 | -0.069047 | 8.3347
11 | 0.010218 | 0.0025612 | -0.010216 | -0.0025604 | 1.6737e-06 | 8.216e-07 | 0.01526 | 0.01526 | 0.01526 | 0.99638 | -0.069047 | 0.9962 | -0.072485 | 4.1923
12 | -0.0092309 | -0.0023139 | 0.009241 | 0.0023187 | 1.0107e-05 | 4.7294e-06 | 0.013999 | 0.013998 | 0.013999 | 0.98119 | -0.3626 | 0.98237 | -0.33964 | 3.8459
13 | 0.0092309 | 0.0023139 | -0.0092288 | -0.0023129 | 2.0776e-06 | 9.7269e-07 | 0.013999 | 0.013999 | 0.013999 | 0.98119 | -0.3626 | 0.98095 | -0.36732 | 3.8459
14 | 0.0070831 | 0.0017753 | -0.007082 | -0.0017749 | 1.082e-06 | 3.752e-07 | 0.010729 | 0.010729 | 0.010729 | 0.98237 | -0.33964 | 0.9822 | -0.34285 | 2.9476
15 | -0.016324 | -0.0040939 | 0.016328 | 0.0040963 | 4.0161e-06 | 2.3485e-06 | 0.024727 | 0.024727 | 0.024727 | 0.98237 | -0.33964 | 0.98263 | -0.33448 | 6.7933
16 | 0.027973 | 0.0070149 | -0.027965 | -0.0070105 | 7.0865e-06 | 4.402e-06 | 0.042361 | 0.042361 | 0.042361 | 0.98263 | -0.33448 | 0.98236 | -0.3398 | 11.6376
17 | -0.044301 | -0.011111 | 0.044343 | 0.011138 | 4.276e-05 | 2.7045e-05 | 0.067088 | 0.067088 | 0.067088 | 0.98263 | -0.33448 | 0.98367 | -0.31425 | 18.4309
18 | 0.044993 | 0.011321 | -0.04493 | -0.011281 | 6.3081e-05 | 3.9889e-05 | 0.067258 | 0.067258 | 0.067258 | 0.99565 | -0.083138 | 0.99413 | -0.11252 | 18.4776
19 | -0.044993 | -0.011321 | 0.045021 | 0.011338 | 2.7635e-05 | 1.7474e-05 | 0.067258 | 0.067258 | 0.067258 | 0.99565 | -0.083138 | 0.99632 | -0.070292 | 18.4775
20 | 0.04493 | 0.011281 | -0.044917 | -0.011273 | 1.2935e-05 | 8.1796e-06 | 0.067258 | 0.067258 | 0.067258 | 0.99413 | -0.11252 | 0.99382 | -0.11856 | 18.4776
21 | -0.047147 | -0.011871 | 0.047155 | 0.011876 | 8.5626e-06 | 5.4201e-06 | 0.070434 | 0.070434 | 0.070434 | 0.99632 | -0.070292 | 0.99652 | -0.066494 | 19.3499
22 | 0.034665 | 0.0087034 | -0.034645 | -0.0086903 | 2.0914e-05 | 1.3117e-05 | 0.051909 | 0.051909 | 0.051909 | 0.99382 | -0.11856 | 0.99316 | -0.13122 | 14.2608
23 | -0.14542 | -0.036936 | 0.14556 | 0.037026 | 0.0001407 | 8.9632e-05 | 0.21692 | 0.21692 | 0.21692 | 0.99833 | -0.031791 | 0.99938 | -0.01171 | 29.7964
24 | -0.14831 | -0.037716 | 0.14839 | 0.037769 | 8.3726e-05 | 5.3345e-05 | 0.22102 | 0.22102 | 0.22102 | 0.99938 | -0.01171 | 1 | 0 | 30.3595
25 | 0.19488 | 0.049472 | -0.19461 | -0.049298 | 0.00027245 | 0.00017392 | 0.2905 | 0.2905 | 0.2905 | 0.99898 | -0.019364 | 0.99746 | -0.048467 | 39.9045
26 | -0.19488 | -0.049472 | 0.19506 | 0.049588 | 0.00018174 | 0.00011601 | 0.2905 | 0.2905 | 0.2905 | 0.99898 | -0.019364 | 1 | 0 | 39.9044
27 | 0.19308 | 0.048913 | -0.19305 | -0.0489 | 2.0758e-05 | 1.325e-05 | 0.28822 | 0.28822 | 0.28822 | 0.99746 | -0.048467 | 0.99734 | -0.050705 | 39.5902
28 | -0.068776 | -0.017297 | 0.068828 | 0.017331 | 5.1912e-05 | 3.3053e-05 | 0.10272 | 0.10272 | 0.10272 | 0.99652 | -0.066494 | 0.99734 | -0.050705 | 28.2193
29 | 0.02162 | 0.005421 | -0.021615 | -0.0054178 | 5.2505e-06 | 3.1853e-06 | 0.032285 | 0.032285 | 0.032285 | 0.99652 | -0.066494 | 0.99625 | -0.071591 | 8.8694
30 | 0.12423 | 0.03157 | -0.12411 | -0.031495 | 0.00011688 | 7.4686e-05 | 0.1855 | 0.1855 | 0.1855 | 0.99734 | -0.050705 | 0.99632 | -0.070265 | 50.9612
31 | 0.019265 | 0.0048289 | -0.019261 | -0.0048265 | 4.0702e-06 | 2.4343e-06 | 0.028775 | 0.028775 | 0.028775 | 0.99625 | -0.071591 | 0.99602 | -0.076026 | 7.9053
32 | 0.11814 | 0.029998 | -0.11771 | -0.029724 | 0.00042844 | 0.00027372 | 0.17658 | 0.17658 | 0.17658 | 0.99632 | -0.070265 | 0.99237 | -0.14593 | 48.51
33 | 0.0059744 | 0.0014973 | -0.0059733 | -0.0014971 | 1.0491e-06 | 2.1391e-07 | 0.0089228 | 0.008923 | 0.008923 | 0.99632 | -0.070265 | 0.99612 | -0.073951 | 2.4514
34 | 0.0024305 | 0.00060881 | -0.0024304 | -0.00060889 | 3.7102e-08 | -7.3886e-08 | 0.0036313 | 0.0036313 | 0.0036313 | 0.99592 | -0.078058 | 0.9959 | -0.078378 | 0.99762
35 | -0.0024305 | -0.00060881 | 0.0024307 | 0.00060835 | 2.3506e-07 | -4.6822e-07 | 0.0036313 | 0.0036311 | 0.0036313 | 0.99592 | -0.078058 | 0.99602 | -0.076026 | 0.99761
36 | 0.0024304 | 0.00060889 | -0.0024303 | -0.0006091 | 1.0695e-07 | -2.1296e-07 | 0.0036313 | 0.0036314 | 0.0036314 | 0.9959 | -0.078378 | 0.99586 | -0.079302 | 0.99765
37 | 0.005643 | 0.0014129 | -0.0056415 | -0.0014126 | 1.454e-06 | 2.3191e-07 | 0.0084636 | 0.0084639 | 0.0084639 | 0.99205 | -0.15268 | 0.99177 | -0.1581 | 2.3252
38 | -0.005643 | -0.0014129 | 0.0056432 | 0.0014129 | 2.1277e-07 | 3.3899e-08 | 0.0084636 | 0.0084636 | 0.0084636 | 0.99205 | -0.15268 | 0.99209 | -0.15189 | 2.3252
39 | 0.0024818 | 0.00062168 | -0.0024816 | -0.00062196 | 1.4956e-07 | -2.7546e-07 | 0.0037234 | 0.0037236 | 0.0037236 | 0.99177 | -0.1581 | 0.99171 | -0.15936 | 1.023
40 | 0.0031598 | 0.00079095 | -0.0031592 | -0.00079143 | 5.3873e-07 | -4.7998e-07 | 0.0047404 | 0.0047407 | 0.0047407 | 0.99177 | -0.1581 | 0.99159 | -0.16168 | 1.3024
41 | -0.016058 | -0.0040232 | 0.016061 | 0.0040244 | 2.0955e-06 | 1.2167e-06 | 0.024085 | 0.024085 | 0.024085 | 0.99209 | -0.15189 | 0.99224 | -0.14915 | 6.6168
42 | 0.001579 | 0.0003954 | -0.001579 | -0.00039573 | 6.0485e-08 | -3.3185e-07 | 0.0023694 | 0.0023696 | 0.0023696 | 0.99159 | -0.16168 | 0.99155 | -0.16248 | 0.65098
43 | 0.052561 | 0.013224 | -0.052493 | -0.013181 | 6.8585e-05 | 4.3526e-05 | 0.079416 | 0.079416 | 0.079416 | 0.98507 | -0.2869 | 0.98367 | -0.31425 | 21.8176
44 | 0.021596 | 0.0054142 | -0.021593 | -0.0054121 | 3.5276e-06 | 2.1464e-06 | 0.032714 | 0.032714 | 0.032714 | 0.98236 | -0.3398 | 0.98218 | -0.34322 | 8.9873
45 | 0.006369 | 0.0015962 | -0.0063683 | -0.0015961 | 6.8825e-07 | 1.9085e-07 | 0.0096474 | 0.0096475 | 0.0096475 | 0.98236 | -0.3398 | 0.98224 | -0.34206 | 2.6504
46 | 0.0080599 | 0.0020202 | -0.0080583 | -0.0020196 | 1.5277e-06 | 6.1628e-07 | 0.012076 | 0.012076 | 0.012076 | 0.99316 | -0.13122 | 0.99296 | -0.13519 | 3.3176
47 | 0.026585 | 0.00667 | -0.026575 | -0.006664 | 9.7529e-06 | 6.0298e-06 | 0.039833 | 0.039833 | 0.039833 | 0.99316 | -0.13122 | 0.99276 | -0.13891 | 10.9433
48 | 0.093537 | 0.023658 | -0.0933 | -0.023507 | 0.00023691 | 0.00015121 | 0.14033 | 0.14033 | 0.14033 | 0.99237 | -0.14593 | 0.98963 | -0.19887 | 38.5527
49 | 0.02417 | 0.0060659 | -0.024157 | -0.0060581 | 1.262e-05 | 7.7462e-06 | 0.036245 | 0.036245 | 0.036245 | 0.99237 | -0.14593 | 0.9918 | -0.15688 | 9.9573
50 | -0.016061 | -0.0040244 | 0.016062 | 0.0040251 | 1.1886e-06 | 6.9014e-07 | 0.024085 | 0.024085 | 0.024085 | 0.99224 | -0.14915 | 0.99232 | -0.1476 | 6.6168
51 | -0.026564 | -0.0066572 | 0.026575 | 0.006664 | 1.0995e-05 | 6.7979e-06 | 0.039834 | 0.039833 | 0.039834 | 0.99232 | -0.1476 | 0.99276 | -0.13891 | 10.9433
52 | 0.006603 | 0.0016549 | -0.0066022 | -0.0016547 | 8.6978e-07 | 2.5439e-07 | 0.0099284 | 0.0099286 | 0.0099286 | 0.98963 | -0.19887 | 0.98948 | -0.20163 | 2.7276
53 | 0.086697 | 0.021852 | -0.086651 | -0.021823 | 4.6e-05 | 2.9347e-05 | 0.1304 | 0.1304 | 0.1304 | 0.98963 | -0.19887 | 0.98905 | -0.20996 | 35.8251
54 | 0.015595 | 0.0039122 | -0.015589 | -0.003909 | 5.5923e-06 | 3.2277e-06 | 0.023399 | 0.023399 | 0.023399 | 0.9918 | -0.15688 | 0.99142 | -0.16441 | 6.4283
55 | 0.080566 | 0.020297 | -0.080511 | -0.020262 | 5.5095e-05 | 3.5132e-05 | 0.12125 | 0.12125 | 0.12125 | 0.98905 | -0.20996 | 0.98831 | -0.22427 | 33.3098
56 | 0.015589 | 0.003909 | -0.015587 | -0.0039079 | 2.0261e-06 | 1.1694e-06 | 0.023399 | 0.023399 | 0.023399 | 0.99142 | -0.16441 | 0.99128 | -0.16713 | 6.4283
57 | 0.015587 | 0.0039079 | -0.015584 | -0.0039056 | 3.8837e-06 | 2.2418e-06 | 0.023399 | 0.023399 | 0.023399 | 0.99128 | -0.16713 | 0.99101 | -0.17236 | 6.4283
58 | 0.080511 | 0.020262 | -0.080336 | -0.020151 | 0.00017416 | 0.00011106 | 0.12125 | 0.12125 | 0.12125 | 0.98831 | -0.22427 | 0.98598 | -0.26964 | 33.3098
59 | 0.027008 | 0.0067711 | -0.027004 | -0.0067688 | 3.7856e-06 | 2.3453e-06 | 0.04076 | 0.04076 | 0.04076 | 0.98598 | -0.26964 | 0.98583 | -0.27259 | 11.1979
60 | 0.053329 | 0.01338 | -0.053317 | -0.013373 | 1.1341e-05 | 7.199e-06 | 0.080487 | 0.080487 | 0.080487 | 0.98598 | -0.26964 | 0.98575 | -0.2741 | 22.1119
61 | -0.0065733 | -0.0016474 | 0.0065737 | 0.0016475 | 4.3256e-07 | 1.2798e-07 | 0.0099309 | 0.0099309 | 0.0099309 | 0.98491 | -0.29045 | 0.98498 | -0.28907 | 2.7283
62 | -0.021361 | -0.0053536 | 0.021364 | 0.0053556 | 3.1572e-06 | 1.9177e-06 | 0.03227 | 0.03227 | 0.03227 | 0.98498 | -0.28907 | 0.98514 | -0.28597 | 8.8655
63 | -0.007518 | -0.0018842 | 0.0075181 | 0.0018842 | 3.5384e-08 | 1.3311e-08 | 0.01135 | 0.01135 | 0.01135 | 0.98561 | -0.27683 | 0.98562 | -0.27673 | 3.1182
64 | -0.014217 | -0.003563 | 0.014219 | 0.0035646 | 2.8055e-06 | 1.5885e-06 | 0.021463 | 0.021463 | 0.021463 | 0.98562 | -0.27673 | 0.98583 | -0.27259 | 5.8965
65 | -0.021364 | -0.0053556 | 0.021366 | 0.0053566 | 1.7274e-06 | 1.0492e-06 | 0.03227 | 0.03227 | 0.03227 | 0.98514 | -0.28597 | 0.98523 | -0.28427 | 8.8655
66 | -0.03961 | -0.0099291 | 0.039618 | 0.0099336 | 7.2577e-06 | 4.5761e-06 | 0.059825 | 0.059825 | 0.059825 | 0.98523 | -0.28427 | 0.98543 | -0.28042 | 16.4355
67 | -0.05034 | -0.012621 | 0.050355 | 0.01263 | 1.5163e-05 | 9.6152e-06 | 0.076015 | 0.076015 | 0.076015 | 0.98543 | -0.28042 | 0.98575 | -0.2741 | 20.8833
68 | 0.014334 | 0.0035929 | -0.014333 | -0.0035922 | 1.1584e-06 | 6.5851e-07 | 0.021717 | 0.021717 | 0.021717 | 0.98218 | -0.34322 | 0.9821 | -0.34492 | 5.9662
69 | -0.0067546 | -0.0016929 | 0.0067547 | 0.0016929 | 8.6107e-08 | 2.7369e-08 | 0.010234 | 0.010234 | 0.010234 | 0.98208 | -0.34519 | 0.9821 | -0.34492 | 2.8116

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35487 | 0.089803

## res_load
| p_mw | q_mvar
0 | 0.019841 | 0.0049726
1 | 0.011062 | 0.0027725
2 | 0.012962 | 0.0032486
3 | 0.013848 | 0.0034706
4 | 0.0065426 | 0.0016397
5 | 0.010097 | 0.0025305
6 | 0.0092288 | 0.0023129
7 | 0.007082 | 0.0017749
8 | 0.0021261 | 0.00053286
9 | 0.010251 | 0.0025693
10 | 0.0027536 | 0.00069011
11 | 0.0015335 | 0.00038433
12 | 0.0097587 | 0.0024457
13 | 0.0023497 | 0.00058888
14 | 0.016831 | 0.0042182
15 | 0.010415 | 0.0026103
16 | 0.0024816 | 0.00062196
17 | 0.0015802 | 0.00039603
18 | 0.0024303 | 0.0006091
19 | 0.0071469 | 0.0017912
20 | 0.010216 | 0.0025604
21 | 0.0081494 | 0.0020424
22 | 0.001579 | 0.00039573
23 | 0.0059733 | 0.0014971
24 | 0.010502 | 0.0026321
25 | 0.0080583 | 0.0020196
26 | 0.0085622 | 0.0021459
27 | 0.0066022 | 0.0016547
28 | 0.0060857 | 0.0015252
29 | 0.015584 | 0.0039056
30 | 0.0065733 | 0.0016474
31 | 0.014788 | 0.0037061
32 | 0.007518 | 0.0018842
33 | 0.0066985 | 0.0016788
34 | 0.012785 | 0.0032042
35 | 0.018244 | 0.0045724
36 | 0.010722 | 0.0026872
37 | 0.0029625 | 0.00074248
38 | 0.0072586 | 0.0018192
39 | 0.0063683 | 0.0015961
40 | 0.0067546 | 0.0016929
41 | 0.0075785 | 0.0018994

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1