## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-20_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-20_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-20_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-20_0_4_node_61 | 0.4 | n |  | TRUE
5 | bus_LV_191-20_0_4_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_191-20_0_4_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_191-20_0_4_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_191-20_0_4_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_191-20_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_191-20_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_191-20_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_191-20_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_191-20_0_4_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_191-20_0_4_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_191-20_0_4_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_191-20_0_4_node_90 | 0.4 | n |  | TRUE
17 | bus_LV_191-20_0_4_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_191-20_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_191-20_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_191-20_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_191-20_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_191-20_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_191-20_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_191-20_0_4_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_191-20_0_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_191-20_0_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_191-20_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_191-20_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_191-20_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_191-20_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_191-20_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_191-20_0_4_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_191-20_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_191-20_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_191-20_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_191-20_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_191-20_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_191-20_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_191-20_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_191-20_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_191-20_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_191-20_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_191-20_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_191-20_0_4_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_191-20_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_191-20_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_191-20_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_191-20_0_4_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_191-20_0_4_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_191-20_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_191-20_0_4_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_191-20_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_191-20_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_191-20_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_191-20_0_4_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_191-20_0_4_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_191-20_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_191-20_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_191-20_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_191-20_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_191-20_0_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_191-20_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_191-20_0_4_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_191-20_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_191-20_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_191-20_0_4_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_191-20_0_4_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_191-20_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_191-20_0_4_node_87 | 0.4 | n |  | TRUE
70 | bus_LV_191-20_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_191-20_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_191-20_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_191-20_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_191-20_0_4_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_191-20_0_4_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_191-20_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_191-20_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_191-20_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_191-20_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_191-20_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_191-20_0_4_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_191-20_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_191-20_0_4_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_191-20_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_191-20_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_MV_499_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-20_0_4_load_0 | 0 | 0.0041569 | 0.0010418 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-20_0_4_load_2 | 2 | 0.010144 | 0.0025422 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-20_0_4_load_53 | 5 | 0.0035757 | 0.00089616 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-20_0_4_load_66 | 6 | 0.0096494 | 0.0024184 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-20_0_4_load_65 | 7 | 0.0034726 | 0.00087033 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-20_0_4_load_4 | 9 | 0.0059793 | 0.0014985 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-20_0_4_load_6 | 11 | 0.0018632 | 0.00046697 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-20_0_4_load_7 | 12 | 0.0024364 | 0.00061061 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-20_0_4_load_37 | 13 | 0.00048486 | 0.00012152 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-20_0_4_load_54 | 14 | 0.0078393 | 0.0019647 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-20_0_4_load_38 | 15 | 0.0037905 | 0.00094999 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-20_0_4_load_90 | 16 | 0.0022473 | 0.00056323 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-20_0_4_load_8 | 18 | 0.0037649 | 0.00094357 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-20_0_4_load_9 | 19 | 0.0015377 | 0.00038539 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-20_0_4_load_10 | 20 | 0.0021795 | 0.00054622 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-20_0_4_load_11 | 21 | 0.0014862 | 0.00037249 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-20_0_4_load_12 | 22 | 0.00069711 | 0.00017471 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-20_0_4_load_27 | 23 | 0.0017697 | 0.00044354 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-20_0_4_load_48 | 24 | 0.0084858 | 0.0021267 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-20_0_4_load_26 | 25 | 0.0017689 | 0.00044333 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-20_0_4_load_49 | 26 | 0.0058502 | 0.0014662 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-20_0_4_load_13 | 27 | 0.02706 | 0.0067819 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-20_0_4_load_14 | 28 | 0.00068618 | 0.00017197 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-20_0_4_load_15 | 29 | 0.0022189 | 0.00055612 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-20_0_4_load_16 | 30 | 0.0025678 | 0.00064355 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-20_0_4_load_43 | 33 | 0.0072176 | 0.0018089 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-20_0_4_load_18 | 34 | 0.0049828 | 0.0012488 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-20_0_4_load_19 | 35 | 0.005695 | 0.0014273 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-20_0_4_load_20 | 36 | 0.0088369 | 0.0022147 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-20_0_4_load_21 | 37 | 0.010342 | 0.0025919 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-20_0_4_load_22 | 38 | 0.0049801 | 0.0012481 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-20_0_4_load_36 | 39 | 0.010139 | 0.0025411 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-20_0_4_load_25 | 42 | 0.0067918 | 0.0017022 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-20_0_4_load_41 | 43 | 0.0099897 | 0.0025037 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-20_0_4_load_64 | 44 | 0.0061807 | 0.001549 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-20_0_4_load_30 | 47 | 0.0025457 | 0.00063802 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-20_0_4_load_76 | 48 | 0.00069683 | 0.00017464 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-20_0_4_load_59 | 49 | 0.0017683 | 0.00044318 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-20_0_4_load_57 | 50 | 0.0029054 | 0.00072817 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-20_0_4_load_77 | 51 | 0.00069683 | 0.00017464 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-20_0_4_load_31 | 52 | 0.0028059 | 0.00070322 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-20_0_4_load_32 | 53 | 0.0096978 | 0.0024305 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_191-20_0_4_load_33 | 54 | 0.009701 | 0.0024313 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_191-20_0_4_load_35 | 56 | 0.0019381 | 0.00048574 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_191-20_0_4_load_51 | 58 | 0.0067201 | 0.0016842 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_191-20_0_4_load_63 | 60 | 0.0037831 | 0.00094812 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_191-20_0_4_load_67 | 61 | 0.014623 | 0.0036649 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_191-20_0_4_load_52 | 62 | 0.0070474 | 0.0017662 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_191-20_0_4_load_80 | 63 | 0.0062961 | 0.0015779 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_191-20_0_4_load_62 | 64 | 0.0053098 | 0.0013308 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_191-20_0_4_load_44 | 65 | 0.014437 | 0.0036181 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_191-20_0_4_load_68 | 66 | 0.0061491 | 0.0015411 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_191-20_0_4_load_69 | 67 | 0.004562 | 0.0011433 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_191-20_0_4_load_50 | 68 | 0.0058551 | 0.0014674 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_191-20_0_4_load_87 | 69 | 0.0078381 | 0.0019644 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_191-20_0_4_load_56 | 70 | 0.0017689 | 0.00044334 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_191-20_0_4_load_58 | 71 | 0.0021394 | 0.00053618 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_191-20_0_4_load_60 | 72 | 0.0034231 | 0.00085791 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_191-20_0_4_load_70 | 73 | 0.0012819 | 0.00032127 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_191-20_0_4_load_81 | 74 | 0.001474 | 0.00036942 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_191-20_0_4_load_71 | 76 | 0.00041945 | 0.00010512 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_191-20_0_4_load_72 | 77 | 0.00057213 | 0.00014339 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_191-20_0_4_load_73 | 78 | 0.0006983 | 0.00017501 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_191-20_0_4_load_74 | 79 | 0.00054501 | 0.00013659 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_191-20_0_4_load_82 | 81 | 0.00087631 | 0.00021962 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_191-20_0_4_load_79 | 82 | 0.00076019 | 0.00019052 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_191-20_0_4_load_83 | 83 | 0.0045577 | 0.0011423 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_191-20_0_4_load_78 | 84 | 0.0014253 | 0.00035721 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_191-20_0_4_load_85 | 85 | 0.0021899 | 0.00054884 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-20_0_4_line_0 |  | 0 | 1 | 0.014665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-20_0_4_line_1 |  | 0 | 2 | 0.012236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-20_0_4_line_2 |  | 1 | 3 | 0.007205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-20_0_4_line_3 |  | 3 | 4 | 0.002692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-20_0_4_line_4 |  | 3 | 5 | 0.011666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-20_0_4_line_5 |  | 4 | 6 | 0.023573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-20_0_4_line_6 |  | 4 | 7 | 0.01969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-20_0_4_line_7 |  | 5 | 8 | 0.037306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-20_0_4_line_8 |  | 7 | 72 | 0.010303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-20_0_4_line_9 |  | 8 | 58 | 0.01418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-20_0_4_line_10 |  | 8 | 55 | 0.034911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-20_0_4_line_11 |  | 9 | 10 | 0.0021419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-20_0_4_line_12 |  | 10 | 11 | 0.033671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-20_0_4_line_13 |  | 10 | 12 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-20_0_4_line_14 |  | 11 | 13 | 0.00036803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-20_0_4_line_15 |  | 12 | 14 | 0.040568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-20_0_4_line_16 |  | 13 | 15 | 0.019648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-20_0_4_line_17 |  | 13 | 16 | 0.081413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-20_0_4_line_18 |  | 14 | 17 | 0.014535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-20_0_4_line_19 |  | 15 | 30 | 0.024264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-20_0_4_line_20 |  | 17 | 69 | 0.03088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-20_0_4_line_21 |  | 18 | 19 | 0.011044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-20_0_4_line_22 |  | 18 | 20 | 0.019345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-20_0_4_line_23 |  | 19 | 21 | 0.0072729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-20_0_4_line_24 |  | 20 | 22 | 0.00069811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-20_0_4_line_25 |  | 21 | 23 | 0.0049228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-20_0_4_line_26 |  | 22 | 24 | 0.025803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-20_0_4_line_27 |  | 23 | 25 | 0.023843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-20_0_4_line_28 |  | 24 | 26 | 0.0013713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-20_0_4_line_29 |  | 25 | 46 | 0.016732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-20_0_4_line_30 |  | 26 | 68 | 0.028698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-20_0_4_line_31 |  | 27 | 28 | 0.0050772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-20_0_4_line_32 |  | 27 | 29 | 0.053188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-20_0_4_line_33 |  | 28 | 30 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-20_0_4_line_34 |  | 29 | 31 | 0.028439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-20_0_4_line_35 |  | 31 | 32 | 0.012727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-20_0_4_line_36 |  | 32 | 33 | 0.030404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-20_0_4_line_37 |  | 33 | 41 | 0.0061745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-20_0_4_line_38 |  | 34 | 35 | 0.0030365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-20_0_4_line_39 |  | 34 | 36 | 0.029628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-20_0_4_line_40 |  | 35 | 37 | 0.033647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-20_0_4_line_41 |  | 36 | 38 | 0.0027866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-20_0_4_line_42 |  | 37 | 39 | 0.005967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-20_0_4_line_43 |  | 38 | 40 | 0.044502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-20_0_4_line_44 |  | 40 | 41 | 0.031849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-20_0_4_line_45 |  | 40 | 42 | 0.022772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-20_0_4_line_46 |  | 41 | 43 | 0.029586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-20_0_4_line_47 |  | 42 | 44 | 0.027986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-20_0_4_line_48 |  | 43 | 45 | 0.032144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_191-20_0_4_line_49 |  | 45 | 65 | 0.035804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_191-20_0_4_line_50 |  | 46 | 47 | 0.012783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-20_0_4_line_51 |  | 47 | 48 | 0.021175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-20_0_4_line_52 |  | 48 | 51 | 0.018674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-20_0_4_line_53 |  | 49 | 50 | 0.023685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-20_0_4_line_54 |  | 50 | 70 | 0.0045689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-20_0_4_line_55 |  | 51 | 84 | 0.020013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-20_0_4_line_56 |  | 52 | 53 | 0.021994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_191-20_0_4_line_57 |  | 52 | 54 | 0.019928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_191-20_0_4_line_58 |  | 53 | 55 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_191-20_0_4_line_59 |  | 54 | 56 | 0.011434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_191-20_0_4_line_60 |  | 55 | 57 | 0.014806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_191-20_0_4_line_61 |  | 57 | 59 | 0.009029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_191-20_0_4_line_62 |  | 57 | 60 | 0.0066467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_191-20_0_4_line_63 |  | 57 | 61 | 0.033935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_191-20_0_4_line_64 |  | 58 | 62 | 0.015964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_191-20_0_4_line_65 |  | 59 | 63 | 0.0081227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_191-20_0_4_line_66 |  | 60 | 64 | 0.037476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_191-20_0_4_line_67 |  | 63 | 68 | 0.029138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_191-20_0_4_line_68 |  | 64 | 65 | 0.019552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_191-20_0_4_line_69 |  | 66 | 67 | 0.054519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_191-20_0_4_line_70 |  | 67 | 73 | 0.026823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_191-20_0_4_line_71 |  | 70 | 71 | 0.017745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_191-20_0_4_line_72 |  | 71 | 72 | 0.0020661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_191-20_0_4_line_73 |  | 73 | 74 | 0.019137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_191-20_0_4_line_74 |  | 74 | 75 | 0.012115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_191-20_0_4_line_75 |  | 75 | 85 | 0.019755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_191-20_0_4_line_76 |  | 75 | 83 | 0.035336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_191-20_0_4_line_77 |  | 76 | 77 | 0.015668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_191-20_0_4_line_78 |  | 76 | 78 | 0.0074625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_191-20_0_4_line_79 |  | 77 | 79 | 0.00033877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_191-20_0_4_line_80 |  | 78 | 80 | 0.00038524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_191-20_0_4_line_81 |  | 79 | 81 | 0.011576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_191-20_0_4_line_82 |  | 80 | 82 | 0.0057665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_191-20_0_4_line_83 |  | 81 | 83 | 0.012044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_191-20_0_4_line_84 |  | 82 | 84 | 0.019505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-20_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 86 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2689786.2744 | 1250102.3037 | 2689783.1733 | 1250100.1662 | 2689782.2019 | 1250099.4954 | 2689774.2048 | 1250093.9735
1 | 2689764.134 | 1250087.0234 | 2689767.235 | 1250089.1609 | 2689774.2048 | 1250093.9735
2 | 2689781.9361 | 1250108.0646 | 2689786.2744 | 1250102.3037
3 | 2689783.8938 | 1250109.9179 | 2689781.9361 | 1250108.0646
4 | 2689781.9361 | 1250108.0646 | 2689774.7585 | 1250117.2615
5 | 2689783.8938 | 1250109.9179 | 2689769.6858 | 1250128.7281
6 | 2689783.8938 | 1250109.9179 | 2689794.1589 | 1250119.614 | 2689799.2789 | 1250121.8065
7 | 2689751.8063 | 1250146.671 | 2689774.7585 | 1250117.2615
8 | 2689799.2789 | 1250121.8065 | 2689808.7497 | 1250125.8621 | 2689808.7497 | 1250125.8621
9 | 2689751.8063 | 1250146.671 | 2689740.2928 | 1250138.3943
10 | 2689751.8063 | 1250146.671 | 2689730.3083 | 1250174.222
11 | 2689618.0412 | 1249974.1828 | 2689618.8508 | 1249972.1998
12 | 2689618.0412 | 1249974.1828 | 2689605.3185 | 1250005.3577
13 | 2689618.0412 | 1249974.1828 | 2689635.886 | 1249982.2102
14 | 2689605.3185 | 1250005.3577 | 2689605.1795 | 1250005.6984
15 | 2689635.886 | 1249982.2102 | 2689654.5939 | 1249990.6258 | 2689656.0681 | 1249987.012 | 2689670.2337 | 1249994.7705
16 | 2689605.1795 | 1250005.6984 | 2689597.7555 | 1250023.8897
17 | 2689605.1795 | 1250005.6984 | 2689527.023 | 1249982.903
18 | 2689682.9817 | 1250001.7526 | 2689670.2337 | 1249994.7705
19 | 2689597.7555 | 1250023.8897 | 2689588.5873 | 1250046.3547
20 | 2689682.9817 | 1250001.7526 | 2689668.3895 | 1250028.9858
21 | 2689837.0985 | 1250184.8561 | 2689848.0819 | 1250183.6974
22 | 2689817.8601 | 1250186.8856 | 2689837.0985 | 1250184.8561
23 | 2689848.0819 | 1250183.6974 | 2689855.3146 | 1250182.9344
24 | 2689817.1658 | 1250186.9588 | 2689817.8601 | 1250186.8856
25 | 2689860.2103 | 1250182.4179 | 2689855.3146 | 1250182.9344
26 | 2689791.5049 | 1250189.6659 | 2689817.1658 | 1250186.9588
27 | 2689860.2103 | 1250182.4179 | 2689875.6887 | 1250180.785 | 2689883.9216 | 1250179.9162
28 | 2689791.5049 | 1250189.6659 | 2689790.1412 | 1250189.8098
29 | 2689900.5616 | 1250178.1602 | 2689883.9216 | 1250179.9162
30 | 2689761.6016 | 1250192.8205 | 2689790.1412 | 1250189.8098
31 | 2689580.9747 | 1250065.0082 | 2689582.8931 | 1250060.3074
32 | 2689580.9747 | 1250065.0082 | 2689560.8776 | 1250114.2529
33 | 2689582.8931 | 1250060.3074 | 2689588.5873 | 1250046.3547
34 | 2689550.1298 | 1250140.5828 | 2689554.8813 | 1250128.9458 | 2689560.8776 | 1250114.2529
35 | 2689550.1298 | 1250140.5828 | 2689562.1612 | 1250144.8345
36 | 2689562.1612 | 1250144.8345 | 2689580.9454 | 1250147.4092 | 2689590.2151 | 1250147.049 | 2689592.3582 | 1250146.7261
37 | 2689598.4638 | 1250145.8061 | 2689592.3582 | 1250146.7261
38 | 2689683.5277 | 1250082.7797 | 2689685.3832 | 1250080.3761
39 | 2689665.4231 | 1250106.2329 | 2689683.5277 | 1250082.7797
40 | 2689705.221 | 1250053.2337 | 2689699.9721 | 1250061.4772 | 2689685.3832 | 1250080.3761
41 | 2689665.4231 | 1250106.2329 | 2689665.4231 | 1250106.2329 | 2689663.5225 | 1250108.2708
42 | 2689705.221 | 1250053.2337 | 2689708.4259 | 1250048.2005
43 | 2689628.4743 | 1250134.9738 | 2689639.2361 | 1250129.8215 | 2689654.3788 | 1250118.0749 | 2689663.5225 | 1250108.2708
44 | 2689628.4743 | 1250134.9738 | 2689624.1365 | 1250136.7317 | 2689612.3391 | 1250141.4681 | 2689598.4638 | 1250145.8061
45 | 2689628.4743 | 1250134.9738 | 2689633.3007 | 1250148.835 | 2689638.6127 | 1250154.9423
46 | 2689598.4638 | 1250145.8061 | 2689618.2595 | 1250167.7941
47 | 2689661.3842 | 1250154.5752 | 2689645.1301 | 1250162.4354 | 2689638.6127 | 1250154.9423
48 | 2689627.7241 | 1250196.031 | 2689628.4037 | 1250179.0617 | 2689618.2595 | 1250167.7941
49 | 2689627.7241 | 1250196.031 | 2689648.2665 | 1250196.6644 | 2689663.5068 | 1250196.0687
50 | 2689900.5616 | 1250178.1602 | 2689891.5303 | 1250187.2064
51 | 2689876.5693 | 1250202.1919 | 2689891.5303 | 1250187.2064
52 | 2689876.5693 | 1250202.1919 | 2689863.3756 | 1250215.4073
53 | 2689856.6531 | 1250121.918 | 2689833.0477 | 1250123.8615
54 | 2689828.4942 | 1250124.2364 | 2689833.0477 | 1250123.8615
55 | 2689863.3756 | 1250215.4073 | 2689852.5212 | 1250226.2795 | 2689849.3638 | 1250229.6927
56 | 2689716.5948 | 1250163.8156 | 2689699.0743 | 1250150.5204
57 | 2689688.1699 | 1250137.8233 | 2689686.0061 | 1250140.6038 | 2689699.0743 | 1250150.5204
58 | 2689730.3083 | 1250174.222 | 2689716.5948 | 1250163.8156
59 | 2689688.1699 | 1250137.8233 | 2689688.1699 | 1250137.8233 | 2689686.6025 | 1250136.6209 | 2689681.9453 | 1250133.0366 | 2689679.1432 | 1250130.8061
60 | 2689724.7434 | 1250187.7035 | 2689724.7999 | 1250184.969 | 2689730.3083 | 1250174.222
61 | 2689724.7434 | 1250187.7035 | 2689724.5462 | 1250196.7296
62 | 2689724.7434 | 1250187.7035 | 2689718.2163 | 1250186.4482
63 | 2689724.7434 | 1250187.7035 | 2689732.6297 | 1250185.9549 | 2689731.7075 | 1250183.0388 | 2689733.2959 | 1250176.3688 | 2689742.7655 | 1250163.5441
64 | 2689727.3303 | 1250129.0759 | 2689740.2928 | 1250138.3943
65 | 2689724.5462 | 1250196.7296 | 2689732.6241 | 1250195.8775
66 | 2689683.0376 | 1250195.152 | 2689683.5119 | 1250195.1297 | 2689711.9254 | 1250192.0239 | 2689716.1762 | 1250188.5412 | 2689718.2163 | 1250186.4482
67 | 2689761.6016 | 1250192.8205 | 2689732.6241 | 1250195.8775
68 | 2689683.0376 | 1250195.152 | 2689663.852 | 1250196.0552 | 2689663.5068 | 1250196.0687
69 | 2689689.5366 | 1250235.8291 | 2689731.1488 | 1250271.0526
70 | 2689731.1488 | 1250271.0526 | 2689751.6223 | 1250288.3828
71 | 2689828.4942 | 1250124.2364 | 2689810.8088 | 1250125.6925
72 | 2689808.7497 | 1250125.8621 | 2689810.8088 | 1250125.6925
73 | 2689766.2294 | 1250300.7471 | 2689751.6223 | 1250288.3828
74 | 2689775.4767 | 1250308.5747 | 2689766.2294 | 1250300.7471
75 | 2689775.4767 | 1250308.5747 | 2689759.6349 | 1250320.3779
76 | 2689775.4767 | 1250308.5747 | 2689799.6818 | 1250282.8313
77 | 2689826.8268 | 1250253.9611 | 2689816.094 | 1250265.376
78 | 2689826.8268 | 1250253.9611 | 2689831.9386 | 1250248.5244
79 | 2689816.094 | 1250265.376 | 2689815.862 | 1250265.6228
80 | 2689832.2025 | 1250248.2438 | 2689831.9386 | 1250248.5244
81 | 2689807.9321 | 1250274.0566 | 2689815.862 | 1250265.6228
82 | 2689832.2025 | 1250248.2438 | 2689836.1184 | 1250244.0107
83 | 2689807.9321 | 1250274.0566 | 2689799.6818 | 1250282.8313
84 | 2689836.1184 | 1250244.0107 | 2689849.3638 | 1250229.6927

## bus_geodata
| x | y | coords
0 | 2689774.2048 | 1250093.9735
1 | 2689786.2744 | 1250102.3037
2 | 2689764.134 | 1250087.0234
3 | 2689781.9361 | 1250108.0646
4 | 2689783.8938 | 1250109.9179
5 | 2689774.7585 | 1250117.2615
6 | 2689769.6858 | 1250128.7281
7 | 2689799.2789 | 1250121.8065
8 | 2689751.8063 | 1250146.671
9 | 2689618.8508 | 1249972.1998
10 | 2689618.0412 | 1249974.1828
11 | 2689605.3185 | 1250005.3577
12 | 2689635.886 | 1249982.2102
13 | 2689605.1795 | 1250005.6984
14 | 2689670.2337 | 1249994.7705
15 | 2689597.7555 | 1250023.8897
16 | 2689527.023 | 1249982.903
17 | 2689682.9817 | 1250001.7526
18 | 2689837.0985 | 1250184.8561
19 | 2689848.0819 | 1250183.6974
20 | 2689817.8601 | 1250186.8856
21 | 2689855.3146 | 1250182.9344
22 | 2689817.1658 | 1250186.9588
23 | 2689860.2103 | 1250182.4179
24 | 2689791.5049 | 1250189.6659
25 | 2689883.9216 | 1250179.9162
26 | 2689790.1412 | 1250189.8098
27 | 2689580.9747 | 1250065.0082
28 | 2689582.8931 | 1250060.3074
29 | 2689560.8776 | 1250114.2529
30 | 2689588.5873 | 1250046.3547
31 | 2689550.1298 | 1250140.5828
32 | 2689562.1612 | 1250144.8345
33 | 2689592.3582 | 1250146.7261
34 | 2689683.5277 | 1250082.7797
35 | 2689685.3832 | 1250080.3761
36 | 2689665.4231 | 1250106.2329
37 | 2689705.221 | 1250053.2337
38 | 2689663.5225 | 1250108.2708
39 | 2689708.4259 | 1250048.2005
40 | 2689628.4743 | 1250134.9738
41 | 2689598.4638 | 1250145.8061
42 | 2689638.6127 | 1250154.9423
43 | 2689618.2595 | 1250167.7941
44 | 2689661.3842 | 1250154.5752
45 | 2689627.7241 | 1250196.031
46 | 2689900.5616 | 1250178.1602
47 | 2689891.5303 | 1250187.2064
48 | 2689876.5693 | 1250202.1919
49 | 2689856.6531 | 1250121.918
50 | 2689833.0477 | 1250123.8615
51 | 2689863.3756 | 1250215.4073
52 | 2689699.0743 | 1250150.5204
53 | 2689716.5948 | 1250163.8156
54 | 2689688.1699 | 1250137.8233
55 | 2689730.3083 | 1250174.222
56 | 2689679.1432 | 1250130.8061
57 | 2689724.7434 | 1250187.7036
58 | 2689740.2928 | 1250138.3943
59 | 2689724.5462 | 1250196.7296
60 | 2689718.2163 | 1250186.4482
61 | 2689742.7655 | 1250163.5441
62 | 2689727.3303 | 1250129.0759
63 | 2689732.6241 | 1250195.8775
64 | 2689683.0376 | 1250195.152
65 | 2689663.5068 | 1250196.0687
66 | 2689689.5366 | 1250235.8291
67 | 2689731.1488 | 1250271.0526
68 | 2689761.6016 | 1250192.8205
69 | 2689668.3895 | 1250028.9858
70 | 2689828.4942 | 1250124.2364
71 | 2689810.8088 | 1250125.6925
72 | 2689808.7497 | 1250125.8621
73 | 2689751.6223 | 1250288.3828
74 | 2689766.2294 | 1250300.7471
75 | 2689775.4767 | 1250308.5747
76 | 2689826.8268 | 1250253.9611
77 | 2689816.094 | 1250265.376
78 | 2689831.9386 | 1250248.5244
79 | 2689815.862 | 1250265.6228
80 | 2689832.2025 | 1250248.2438
81 | 2689807.9321 | 1250274.0566
82 | 2689836.1184 | 1250244.0107
83 | 2689799.6818 | 1250282.8313
84 | 2689849.3638 | 1250229.6927
85 | 2689759.6349 | 1250320.3779
86 | 2689675.6601 | 1250133.2528

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99033 | -0.18501 | 0.0041569 | 0.0010418
1 | 0.99052 | -0.18128 | 0 | 0
2 | 0.99022 | -0.18722 | 0.010144 | 0.0025422
3 | 0.99062 | -0.17945 | 0 | 0
4 | 0.99056 | -0.18065 | 0 | 0
5 | 0.99104 | -0.17129 | 0.0035757 | 0.00089616
6 | 0.99035 | -0.1847 | 0.0096494 | 0.0024184
7 | 0.99028 | -0.18607 | 0.0034726 | 0.00087033
8 | 0.99251 | -0.14285 | 0 | 0
9 | 0.97228 | -0.53519 | 0.0059793 | 0.0014985
10 | 0.97229 | -0.53495 | 0 | 0
11 | 0.97305 | -0.52001 | 0.0018632 | 0.00046697
12 | 0.97196 | -0.54149 | 0.0024364 | 0.00061061
13 | 0.97306 | -0.51983 | 0.00048486 | 0.00012152
14 | 0.97137 | -0.55323 | 0.0078393 | 0.0019647
15 | 0.97358 | -0.50946 | 0.0037905 | 0.00094999
16 | 0.97289 | -0.5232 | 0.0022473 | 0.00056323
17 | 0.97126 | -0.55534 | 0 | 0
18 | 0.98709 | -0.24717 | 0.0037649 | 0.00094357
19 | 0.98673 | -0.25429 | 0.0015377 | 0.00038539
20 | 0.9878 | -0.23341 | 0.0021795 | 0.00054622
21 | 0.98649 | -0.25878 | 0.0014862 | 0.00037249
22 | 0.98783 | -0.23289 | 0.00069711 | 0.00017471
23 | 0.98634 | -0.26169 | 0.0017697 | 0.00044354
24 | 0.98885 | -0.21324 | 0.0084858 | 0.0021267
25 | 0.98566 | -0.27504 | 0.0017689 | 0.00044333
26 | 0.98891 | -0.21199 | 0.0058502 | 0.0014662
27 | 0.97498 | -0.48195 | 0.02706 | 0.0067819
28 | 0.97481 | -0.48528 | 0.00068618 | 0.00017197
29 | 0.97809 | -0.4209 | 0.0022189 | 0.00055612
30 | 0.97432 | -0.49497 | 0.0025678 | 0.00064355
31 | 0.97981 | -0.38727 | 0 | 0
32 | 0.98059 | -0.37226 | 0 | 0
33 | 0.98243 | -0.33649 | 0.0072176 | 0.0018089
34 | 0.97832 | -0.41693 | 0.0049828 | 0.0012488
35 | 0.97825 | -0.41838 | 0.005695 | 0.0014273
36 | 0.97917 | -0.40013 | 0.0088369 | 0.0022147
37 | 0.97761 | -0.43094 | 0.010342 | 0.0025919
38 | 0.97928 | -0.39811 | 0.0049801 | 0.0012481
39 | 0.97755 | -0.43204 | 0.010139 | 0.0025411
40 | 0.98113 | -0.3618 | 0 | 0
41 | 0.98284 | -0.32844 | 0 | 0
42 | 0.98086 | -0.36715 | 0.0067918 | 0.0017022
43 | 0.98642 | -0.25918 | 0.0099897 | 0.0025037
44 | 0.9807 | -0.37028 | 0.0061807 | 0.001549
45 | 0.98852 | -0.21891 | 0 | 0
46 | 0.9852 | -0.28389 | 0 | 0
47 | 0.98485 | -0.29065 | 0.0025457 | 0.00063802
48 | 0.98433 | -0.3009 | 0.00069683 | 0.00017464
49 | 0.98999 | -0.19174 | 0.0017683 | 0.00044318
50 | 0.99002 | -0.191 | 0.0029054 | 0.00072817
51 | 0.98388 | -0.30971 | 0.00069683 | 0.00017464
52 | 0.99806 | -0.03675 | 0.0028059 | 0.00070322
53 | 0.99593 | -0.077114 | 0.0096978 | 0.0024305
54 | 1 | 0 | -0.32506 | -0.082873
55 | 0.99432 | -0.10785 | 0 | 0
56 | 0.99998 | -0.00038628 | 0.0019381 | 0.00048574
57 | 0.99319 | -0.12941 | 0 | 0
58 | 0.99233 | -0.14631 | 0.0067201 | 0.0016842
59 | 0.99262 | -0.14045 | 0 | 0
60 | 0.99286 | -0.13582 | 0.0037831 | 0.00094812
61 | 0.99274 | -0.13818 | 0.014623 | 0.0036649
62 | 0.99223 | -0.1483 | 0.0070474 | 0.0017662
63 | 0.9921 | -0.15039 | 0.0062961 | 0.0015779
64 | 0.991 | -0.17121 | 0.0053098 | 0.0013308
65 | 0.99007 | -0.18911 | 0.014437 | 0.0036181
66 | 0.98045 | -0.37665 | 0.0061491 | 0.0015411
67 | 0.98076 | -0.37058 | 0.004562 | 0.0011433
68 | 0.99042 | -0.18288 | 0.0058551 | 0.0014674
69 | 0.97103 | -0.55981 | 0.0078381 | 0.0019644
70 | 0.99004 | -0.19062 | 0.0017689 | 0.00044334
71 | 0.99015 | -0.18858 | 0.0021394 | 0.00053618
72 | 0.99016 | -0.18827 | 0.0034231 | 0.00085791
73 | 0.98103 | -0.36537 | 0.0012819 | 0.00032127
74 | 0.98124 | -0.36121 | 0.001474 | 0.00036942
75 | 0.98139 | -0.35826 | 0 | 0
76 | 0.98268 | -0.33302 | 0.00041945 | 0.00010512
77 | 0.98236 | -0.3393 | 0.00057213 | 0.00014339
78 | 0.98284 | -0.32997 | 0.0006983 | 0.00017501
79 | 0.98235 | -0.33944 | 0.00054501 | 0.00013659
80 | 0.98285 | -0.32981 | 0 | 0
81 | 0.98213 | -0.34385 | 0.00087631 | 0.00021962
82 | 0.98297 | -0.32738 | 0.00076019 | 0.00019052
83 | 0.9819 | -0.34825 | 0.0045577 | 0.0011423
84 | 0.9834 | -0.31891 | 0.0014253 | 0.00035721
85 | 0.98135 | -0.35904 | 0.0021899 | 0.00054884
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014302 | -0.0035846 | 0.014304 | 0.003586 | 2.5395e-06 | 1.4365e-06 | 0.021489 | 0.021489 | 0.021489 | 0.99033 | -0.18501 | 0.99052 | -0.18128 | 5.9035
1 | 0.010145 | 0.0025428 | -0.010144 | -0.0025422 | 1.0661e-06 | 5.2491e-07 | 0.015243 | 0.015243 | 0.015243 | 0.99033 | -0.18501 | 0.99022 | -0.18722 | 4.1876
2 | -0.014304 | -0.003586 | 0.014305 | 0.0035867 | 1.2476e-06 | 7.0574e-07 | 0.021489 | 0.021489 | 0.021489 | 0.99052 | -0.18128 | 0.99062 | -0.17945 | 5.9035
3 | 0.025137 | 0.0063022 | -0.025135 | -0.0063013 | 1.4393e-06 | 8.8647e-07 | 0.037759 | 0.037759 | 0.037759 | 0.99062 | -0.17945 | 0.99056 | -0.18065 | 10.3733
4 | -0.039442 | -0.0098889 | 0.039457 | 0.0098986 | 1.5357e-05 | 9.6781e-06 | 0.059247 | 0.059247 | 0.059247 | 0.99062 | -0.17945 | 0.99104 | -0.17129 | 16.2768
5 | 0.0096512 | 0.0024192 | -0.0096494 | -0.0024184 | 1.8582e-06 | 8.8583e-07 | 0.014498 | 0.014498 | 0.014498 | 0.99056 | -0.18065 | 0.99035 | -0.1847 | 3.9831
6 | 0.015484 | 0.003882 | -0.01548 | -0.0038797 | 3.995e-06 | 2.3034e-06 | 0.02326 | 0.023261 | 0.023261 | 0.99056 | -0.18065 | 0.99028 | -0.18607 | 6.3903
7 | -0.043033 | -0.010795 | 0.043091 | 0.010832 | 5.841e-05 | 3.6901e-05 | 0.064616 | 0.064616 | 0.064616 | 0.99104 | -0.17129 | 0.99251 | -0.14285 | 17.7517
8 | 0.012007 | 0.0030094 | -0.012006 | -0.0030087 | 1.2577e-06 | 6.7239e-07 | 0.018042 | 0.018043 | 0.018043 | 0.99028 | -0.18607 | 0.99016 | -0.18827 | 4.9567
9 | 0.01377 | 0.0034519 | -0.013768 | -0.0034507 | 2.2665e-06 | 1.2673e-06 | 0.020645 | 0.020646 | 0.020646 | 0.99251 | -0.14285 | 0.99233 | -0.14631 | 5.6719
10 | -0.056862 | -0.014284 | 0.056957 | 0.014344 | 9.517e-05 | 6.0457e-05 | 0.085261 | 0.085261 | 0.085261 | 0.99251 | -0.14285 | 0.99432 | -0.10785 | 23.4235
11 | -0.0059793 | -0.0014985 | 0.0059793 | 0.0014986 | 6.7261e-08 | 1.6482e-08 | 0.0091509 | 0.0091509 | 0.0091509 | 0.97228 | -0.53519 | 0.97229 | -0.53495 | 2.514
12 | -0.02411 | -0.0060478 | 0.024127 | 0.0060584 | 1.7193e-05 | 1.0585e-05 | 0.0369 | 0.0369 | 0.0369 | 0.97229 | -0.53495 | 0.97305 | -0.52001 | 10.1375
13 | 0.018131 | 0.0045492 | -0.018125 | -0.0045459 | 5.6503e-06 | 3.3736e-06 | 0.027749 | 0.02775 | 0.02775 | 0.97229 | -0.53495 | 0.97196 | -0.54149 | 7.6235
14 | -0.02599 | -0.0065254 | 0.025991 | 0.0065255 | 2.1806e-07 | 1.3499e-07 | 0.03975 | 0.03975 | 0.03975 | 0.97305 | -0.52001 | 0.97306 | -0.51983 | 10.9202
15 | 0.015689 | 0.0039353 | -0.01568 | -0.0039301 | 8.777e-06 | 5.1148e-06 | 0.02402 | 0.02402 | 0.02402 | 0.97196 | -0.54149 | 0.97137 | -0.55323 | 6.5989
16 | -0.028723 | -0.0072095 | 0.028737 | 0.0072183 | 1.4218e-05 | 8.855e-06 | 0.043928 | 0.043928 | 0.043928 | 0.97306 | -0.51983 | 0.97358 | -0.50946 | 12.0681
17 | 0.0022477 | 0.00056245 | -0.0022473 | -0.00056323 | 3.6066e-07 | -7.803e-07 | 0.0034369 | 0.0034372 | 0.0034372 | 0.97306 | -0.51983 | 0.97289 | -0.5232 | 0.9443
18 | 0.0078406 | 0.0019654 | -0.0078398 | -0.0019651 | 7.8632e-07 | 3.2334e-07 | 0.012011 | 0.012011 | 0.012011 | 0.97137 | -0.55323 | 0.97126 | -0.55534 | 3.2997
19 | -0.032528 | -0.0081683 | 0.03255 | 0.0081824 | 2.2494e-05 | 1.4094e-05 | 0.049721 | 0.049721 | 0.049721 | 0.97358 | -0.50946 | 0.97432 | -0.49497 | 13.6597
20 | 0.0078398 | 0.0019651 | -0.0078381 | -0.0019644 | 1.6706e-06 | 6.8711e-07 | 0.012011 | 0.012011 | 0.012011 | 0.97126 | -0.55534 | 0.97103 | -0.55981 | 3.2998
21 | 0.036163 | 0.0091167 | -0.036151 | -0.009109 | 1.2317e-05 | 7.7417e-06 | 0.054534 | 0.054534 | 0.054534 | 0.98709 | -0.24717 | 0.98673 | -0.25429 | 14.9818
22 | -0.039928 | -0.01006 | 0.039954 | 0.010077 | 2.6298e-05 | 1.6583e-05 | 0.060209 | 0.060209 | 0.060209 | 0.98709 | -0.24717 | 0.9878 | -0.23341 | 16.541
23 | 0.034613 | 0.0087236 | -0.034605 | -0.008719 | 7.4358e-06 | 4.666e-06 | 0.052215 | 0.052215 | 0.052215 | 0.98673 | -0.25429 | 0.98649 | -0.25878 | 14.3447
24 | -0.042134 | -0.010623 | 0.042135 | 0.010624 | 1.0553e-06 | 6.6649e-07 | 0.063492 | 0.063492 | 0.063492 | 0.9878 | -0.23341 | 0.98783 | -0.23289 | 17.4429
25 | 0.033119 | 0.0083465 | -0.033115 | -0.0083436 | 4.6101e-06 | 2.8876e-06 | 0.049973 | 0.049973 | 0.049973 | 0.98649 | -0.25878 | 0.98634 | -0.26169 | 13.7288
26 | -0.042832 | -0.010799 | 0.042872 | 0.010824 | 4.0308e-05 | 2.5467e-05 | 0.064542 | 0.064542 | 0.064542 | 0.98783 | -0.23289 | 0.98885 | -0.21324 | 17.7314
27 | 0.031345 | 0.0079 | -0.031325 | -0.0078875 | 2.0006e-05 | 1.25e-05 | 0.047303 | 0.047303 | 0.047303 | 0.98634 | -0.26169 | 0.98566 | -0.27504 | 12.9954
28 | -0.051358 | -0.012951 | 0.051361 | 0.012953 | 3.0736e-06 | 1.9495e-06 | 0.077311 | 0.077311 | 0.077311 | 0.98885 | -0.21324 | 0.98891 | -0.21199 | 21.2394
29 | 0.029556 | 0.0074442 | -0.029543 | -0.0074364 | 1.25e-05 | 7.7866e-06 | 0.044633 | 0.044633 | 0.044633 | 0.98566 | -0.27504 | 0.9852 | -0.28389 | 12.2618
30 | -0.057211 | -0.014419 | 0.057291 | 0.01447 | 7.9805e-05 | 5.0707e-05 | 0.086114 | 0.086114 | 0.086114 | 0.98891 | -0.21199 | 0.99042 | -0.18288 | 23.6578
31 | 0.035826 | 0.0090117 | -0.035821 | -0.0090081 | 5.6947e-06 | 3.5813e-06 | 0.05469 | 0.05469 | 0.05469 | 0.97498 | -0.48195 | 0.97481 | -0.48528 | 15.0247
32 | -0.062886 | -0.015794 | 0.06307 | 0.015911 | 0.00018378 | 0.00011695 | 0.095989 | 0.095989 | 0.095989 | 0.97498 | -0.48195 | 0.97809 | -0.4209 | 26.3706
33 | 0.035134 | 0.0088362 | -0.035118 | -0.008826 | 1.6262e-05 | 1.022e-05 | 0.053643 | 0.053643 | 0.053643 | 0.97481 | -0.48528 | 0.97432 | -0.49497 | 14.737
34 | -0.065289 | -0.016467 | 0.065394 | 0.016534 | 0.0001053 | 6.7031e-05 | 0.099365 | 0.099365 | 0.099365 | 0.97809 | -0.4209 | 0.97981 | -0.38727 | 27.298
35 | -0.065394 | -0.016534 | 0.065442 | 0.016564 | 4.7122e-05 | 2.9997e-05 | 0.099365 | 0.099364 | 0.099365 | 0.97981 | -0.38727 | 0.98059 | -0.37226 | 27.298
36 | -0.065442 | -0.016564 | 0.065554 | 0.016635 | 0.00011257 | 7.166e-05 | 0.099364 | 0.099364 | 0.099364 | 0.98059 | -0.37226 | 0.98243 | -0.33649 | 27.2979
37 | -0.072772 | -0.018444 | 0.0728 | 0.018462 | 2.8168e-05 | 1.7949e-05 | 0.1103 | 0.1103 | 0.1103 | 0.98243 | -0.33649 | 0.98284 | -0.32844 | 30.3012
38 | 0.02619 | 0.0065691 | -0.026189 | -0.006568 | 1.8071e-06 | 1.1184e-06 | 0.039837 | 0.039837 | 0.039837 | 0.97832 | -0.41693 | 0.97825 | -0.41838 | 10.9443
39 | -0.031173 | -0.0078179 | 0.031198 | 0.0078335 | 2.498e-05 | 1.5615e-05 | 0.047416 | 0.047416 | 0.047416 | 0.97832 | -0.41693 | 0.97917 | -0.40013 | 13.0264
40 | 0.020494 | 0.0051407 | -0.020481 | -0.0051332 | 1.2263e-05 | 7.426e-06 | 0.031175 | 0.031175 | 0.031175 | 0.97825 | -0.41838 | 0.97761 | -0.43094 | 8.5645
41 | -0.040035 | -0.010048 | 0.040039 | 0.010051 | 3.8687e-06 | 2.4409e-06 | 0.060845 | 0.060845 | 0.060845 | 0.97917 | -0.40013 | 0.97928 | -0.39811 | 16.7157
42 | 0.01014 | 0.0025414 | -0.010139 | -0.0025411 | 5.3299e-07 | 2.663e-07 | 0.015434 | 0.015434 | 0.015434 | 0.97761 | -0.43094 | 0.97755 | -0.43204 | 4.24
43 | -0.045019 | -0.011299 | 0.045097 | 0.011348 | 7.8105e-05 | 4.9426e-05 | 0.068412 | 0.068412 | 0.068412 | 0.97928 | -0.39811 | 0.98113 | -0.3618 | 18.7946
44 | -0.058074 | -0.014602 | 0.058167 | 0.01466 | 9.2686e-05 | 5.8916e-05 | 0.088093 | 0.088093 | 0.088093 | 0.98113 | -0.3618 | 0.98284 | -0.32844 | 24.2014
45 | 0.012977 | 0.0032533 | -0.012973 | -0.0032515 | 3.3078e-06 | 1.8295e-06 | 0.019681 | 0.019681 | 0.019681 | 0.98113 | -0.3618 | 0.98086 | -0.36715 | 5.407
46 | -0.13097 | -0.033123 | 0.1314 | 0.033402 | 0.00043667 | 0.00027909 | 0.19839 | 0.19839 | 0.19839 | 0.98284 | -0.32844 | 0.98642 | -0.25918 | 54.5026
47 | 0.0061816 | 0.0015493 | -0.0061807 | -0.001549 | 9.2295e-07 | 2.3751e-07 | 0.0093778 | 0.0093779 | 0.0093779 | 0.98086 | -0.36715 | 0.9807 | -0.37028 | 2.5764
48 | -0.14139 | -0.035905 | 0.14167 | 0.03608 | 0.00027462 | 0.00017493 | 0.21346 | 0.21346 | 0.21346 | 0.98642 | -0.25918 | 0.98852 | -0.21891 | 29.3212
49 | -0.14167 | -0.03608 | 0.14187 | 0.036209 | 0.00020392 | 0.00012913 | 0.21346 | 0.21346 | 0.21346 | 0.98852 | -0.21891 | 0.99007 | -0.18911 | 19.5475
50 | 0.029543 | 0.0074364 | -0.029534 | -0.0074305 | 9.5491e-06 | 5.9487e-06 | 0.044633 | 0.044633 | 0.044633 | 0.9852 | -0.28389 | 0.98485 | -0.29065 | 12.2618
51 | 0.026988 | 0.0067925 | -0.026975 | -0.0067843 | 1.321e-05 | 8.185e-06 | 0.040787 | 0.040787 | 0.040787 | 0.98485 | -0.29065 | 0.98433 | -0.3009 | 11.2051
52 | 0.026278 | 0.0066096 | -0.026267 | -0.0066028 | 1.1056e-05 | 6.8383e-06 | 0.039733 | 0.039733 | 0.039733 | 0.98433 | -0.3009 | 0.98388 | -0.30971 | 10.9157
53 | -0.0017683 | -0.00044318 | 0.0017684 | 0.00044291 | 6.2742e-08 | -2.644e-07 | 0.0026579 | 0.0026578 | 0.0026579 | 0.98999 | -0.19174 | 0.99002 | -0.191 | 0.73018
54 | -0.0046738 | -0.0011711 | 0.0046739 | 0.0011711 | 8.4546e-08 | -4.6425e-09 | 0.0070247 | 0.0070246 | 0.0070247 | 0.99002 | -0.191 | 0.99004 | -0.19062 | 1.9299
55 | 0.02557 | 0.0064281 | -0.025559 | -0.0064212 | 1.1228e-05 | 6.9318e-06 | 0.038679 | 0.03868 | 0.03868 | 0.98388 | -0.30971 | 0.9834 | -0.31891 | 10.6262
56 | 0.31809 | 0.081319 | -0.31748 | -0.080923 | 0.00061982 | 0.00039582 | 0.47482 | 0.47482 | 0.47482 | 0.99806 | -0.03675 | 0.99593 | -0.077114 | 43.4815
57 | -0.3209 | -0.082022 | 0.32147 | 0.082387 | 0.00057154 | 0.000365 | 0.479 | 0.479 | 0.479 | 0.99806 | -0.03675 | 1 | 0 | 43.8646
58 | 0.30778 | 0.078492 | -0.30732 | -0.078201 | 0.00045599 | 0.00029116 | 0.46033 | 0.46033 | 0.46033 | 0.99593 | -0.077114 | 0.99432 | -0.10785 | 42.1547
59 | 0.0019382 | 0.00048562 | -0.0019381 | -0.00048574 | 3.5663e-08 | -1.2718e-07 | 0.002884 | 0.002884 | 0.002884 | 1 | 0 | 0.99998 | -0.00038628 | 0.79232
60 | 0.25036 | 0.063857 | -0.2501 | -0.063691 | 0.00026036 | 0.00016605 | 0.37507 | 0.37507 | 0.37507 | 0.99432 | -0.10785 | 0.99319 | -0.12941 | 34.3469
61 | 0.069611 | 0.017622 | -0.069574 | -0.017599 | 3.6871e-05 | 2.3481e-05 | 0.10435 | 0.10435 | 0.10435 | 0.99319 | -0.12941 | 0.99262 | -0.14045 | 28.6687
62 | 0.16586 | 0.042401 | -0.16581 | -0.042368 | 5.1429e-05 | 3.2656e-05 | 0.2488 | 0.2488 | 0.2488 | 0.99319 | -0.12941 | 0.99286 | -0.13582 | 22.7836
63 | 0.014629 | 0.0036684 | -0.014623 | -0.0036649 | 6.1136e-06 | 3.4738e-06 | 0.021918 | 0.021919 | 0.021919 | 0.99319 | -0.12941 | 0.99274 | -0.13818 | 6.0216
64 | 0.0070481 | 0.0017665 | -0.0070474 | -0.0017662 | 6.687e-07 | 2.2175e-07 | 0.010569 | 0.010569 | 0.010569 | 0.99233 | -0.14631 | 0.99223 | -0.1483 | 2.9035
65 | 0.069574 | 0.017599 | -0.06954 | -0.017578 | 3.317e-05 | 2.1124e-05 | 0.10435 | 0.10435 | 0.10435 | 0.99262 | -0.14045 | 0.9921 | -0.15039 | 28.6687
66 | 0.16203 | 0.04142 | -0.16175 | -0.041244 | 0.0002769 | 0.00017577 | 0.24313 | 0.24313 | 0.24313 | 0.99286 | -0.13582 | 0.991 | -0.17121 | 22.2644
67 | 0.063244 | 0.016 | -0.063146 | -0.015937 | 9.843e-05 | 6.262e-05 | 0.094911 | 0.094911 | 0.094911 | 0.9921 | -0.15039 | 0.99042 | -0.18288 | 26.0744
68 | 0.15644 | 0.039913 | -0.15631 | -0.039828 | 0.00013515 | 8.5741e-05 | 0.23515 | 0.23515 | 0.23515 | 0.991 | -0.17121 | 0.99007 | -0.18911 | 21.5343
69 | -0.0061491 | -0.0015411 | 0.0061509 | 0.0015416 | 1.7805e-06 | 4.5176e-07 | 0.0093324 | 0.0093321 | 0.0093324 | 0.98045 | -0.37665 | 0.98076 | -0.37058 | 2.5638
70 | -0.010713 | -0.0026849 | 0.010716 | 0.0026863 | 2.6573e-06 | 1.3621e-06 | 0.016254 | 0.016254 | 0.016254 | 0.98076 | -0.37058 | 0.98103 | -0.36537 | 4.4653
71 | -0.0064428 | -0.0016144 | 0.0064434 | 0.0016146 | 6.2396e-07 | 1.7112e-07 | 0.0096833 | 0.0096832 | 0.0096833 | 0.99004 | -0.19062 | 0.99015 | -0.18858 | 2.6602
72 | -0.0085828 | -0.0021508 | 0.0085829 | 0.0021508 | 1.289e-07 | 5.5921e-08 | 0.012898 | 0.012898 | 0.012898 | 0.99015 | -0.18858 | 0.99016 | -0.18827 | 3.5435
73 | -0.011997 | -0.0030075 | 0.012 | 0.0030088 | 2.3766e-06 | 1.2793e-06 | 0.018198 | 0.018198 | 0.018198 | 0.98103 | -0.36537 | 0.98124 | -0.36121 | 4.9994
74 | -0.013474 | -0.0033782 | 0.013476 | 0.0033793 | 1.8969e-06 | 1.0609e-06 | 0.020433 | 0.020433 | 0.020433 | 0.98124 | -0.36121 | 0.98139 | -0.35826 | 5.6135
75 | 0.00219 | 0.00054864 | -0.0021899 | -0.00054884 | 8.1681e-08 | -1.9734e-07 | 0.0033204 | 0.0033205 | 0.0033205 | 0.98139 | -0.35826 | 0.98135 | -0.35904 | 0.91223
76 | -0.015666 | -0.0039279 | 0.015673 | 0.0039323 | 7.4764e-06 | 4.3382e-06 | 0.023753 | 0.023753 | 0.023753 | 0.98139 | -0.35826 | 0.9819 | -0.34825 | 6.5257
77 | 0.02224 | 0.0055836 | -0.022233 | -0.0055795 | 6.6649e-06 | 4.0671e-06 | 0.03368 | 0.03368 | 0.03368 | 0.98268 | -0.33302 | 0.98236 | -0.3393 | 9.2527
78 | -0.022659 | -0.0056887 | 0.022663 | 0.0056907 | 3.2952e-06 | 2.0144e-06 | 0.034315 | 0.034315 | 0.034315 | 0.98268 | -0.33302 | 0.98284 | -0.32997 | 9.4272
79 | 0.021661 | 0.0054361 | -0.021661 | -0.005436 | 1.3679e-07 | 8.3254e-08 | 0.032813 | 0.032813 | 0.032813 | 0.98236 | -0.3393 | 0.98235 | -0.33944 | 9.0146
80 | -0.023361 | -0.0058657 | 0.023361 | 0.0058658 | 1.8075e-07 | 1.108e-07 | 0.035372 | 0.035372 | 0.035372 | 0.98284 | -0.32997 | 0.98285 | -0.32981 | 9.7176
81 | 0.021116 | 0.0052994 | -0.021111 | -0.0052967 | 4.4419e-06 | 2.6963e-06 | 0.031988 | 0.031988 | 0.031988 | 0.98235 | -0.33944 | 0.98213 | -0.34385 | 8.7879
82 | -0.023361 | -0.0058658 | 0.023364 | 0.0058675 | 2.7056e-06 | 1.6585e-06 | 0.035372 | 0.035372 | 0.035372 | 0.98285 | -0.32981 | 0.98297 | -0.32738 | 9.7176
83 | 0.020235 | 0.0050771 | -0.020231 | -0.0050745 | 4.2458e-06 | 2.5649e-06 | 0.03066 | 0.03066 | 0.03066 | 0.98213 | -0.34385 | 0.9819 | -0.34825 | 8.4231
84 | -0.024124 | -0.006058 | 0.024134 | 0.006064 | 9.7568e-06 | 5.997e-06 | 0.036523 | 0.036523 | 0.036523 | 0.98297 | -0.32738 | 0.9834 | -0.31891 | 10.0338

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33476 | 0.085304

## res_load
| p_mw | q_mvar
0 | 0.0041569 | 0.0010418
1 | 0.010144 | 0.0025422
2 | 0.0035757 | 0.00089616
3 | 0.0096494 | 0.0024184
4 | 0.0034726 | 0.00087033
5 | 0.0059793 | 0.0014985
6 | 0.0018632 | 0.00046697
7 | 0.0024364 | 0.00061061
8 | 0.00048486 | 0.00012152
9 | 0.0078393 | 0.0019647
10 | 0.0037905 | 0.00094999
11 | 0.0022473 | 0.00056323
12 | 0.0037649 | 0.00094357
13 | 0.0015377 | 0.00038539
14 | 0.0021795 | 0.00054622
15 | 0.0014862 | 0.00037249
16 | 0.00069711 | 0.00017471
17 | 0.0017697 | 0.00044354
18 | 0.0084858 | 0.0021267
19 | 0.0017689 | 0.00044333
20 | 0.0058502 | 0.0014662
21 | 0.02706 | 0.0067819
22 | 0.00068618 | 0.00017197
23 | 0.0022189 | 0.00055612
24 | 0.0025678 | 0.00064355
25 | 0.0072176 | 0.0018089
26 | 0.0049828 | 0.0012488
27 | 0.005695 | 0.0014273
28 | 0.0088369 | 0.0022147
29 | 0.010342 | 0.0025919
30 | 0.0049801 | 0.0012481
31 | 0.010139 | 0.0025411
32 | 0.0067918 | 0.0017022
33 | 0.0099897 | 0.0025037
34 | 0.0061807 | 0.001549
35 | 0.0025457 | 0.00063802
36 | 0.00069683 | 0.00017464
37 | 0.0017683 | 0.00044318
38 | 0.0029054 | 0.00072817
39 | 0.00069683 | 0.00017464
40 | 0.0028059 | 0.00070322
41 | 0.0096978 | 0.0024305
42 | 0.009701 | 0.0024313
43 | 0.0019381 | 0.00048574
44 | 0.0067201 | 0.0016842
45 | 0.0037831 | 0.00094812
46 | 0.014623 | 0.0036649
47 | 0.0070474 | 0.0017662
48 | 0.0062961 | 0.0015779
49 | 0.0053098 | 0.0013308
50 | 0.014437 | 0.0036181
51 | 0.0061491 | 0.0015411
52 | 0.004562 | 0.0011433
53 | 0.0058551 | 0.0014674
54 | 0.0078381 | 0.0019644
55 | 0.0017689 | 0.00044334
56 | 0.0021394 | 0.00053618
57 | 0.0034231 | 0.00085791
58 | 0.0012819 | 0.00032127
59 | 0.001474 | 0.00036942
60 | 0.00041945 | 0.00010512
61 | 0.00057213 | 0.00014339
62 | 0.0006983 | 0.00017501
63 | 0.00054501 | 0.00013659
64 | 0.00087631 | 0.00021962
65 | 0.00076019 | 0.00019052
66 | 0.0045577 | 0.0011423
67 | 0.0014253 | 0.00035721
68 | 0.0021899 | 0.00054884

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1