## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-23_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-23_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_191-23_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_191-23_0_4_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_191-23_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_191-23_0_4_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_191-23_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_191-23_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_191-23_0_4_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_191-23_0_4_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_191-23_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_191-23_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_191-23_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_191-23_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_191-23_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_191-23_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_191-23_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_191-23_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_191-23_0_4_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_191-23_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_191-23_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_191-23_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_191-23_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_191-23_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_191-23_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_191-23_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_191-23_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_191-23_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_191-23_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_191-23_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_191-23_0_4_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_191-23_0_4_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_191-23_0_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_191-23_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_191-23_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_191-23_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_191-23_0_4_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_191-23_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_191-23_0_4_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_191-23_0_4_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_191-23_0_4_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_191-23_0_4_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_191-23_0_4_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_191-23_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_191-23_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_191-23_0_4_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_191-23_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_191-23_0_4_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_191-23_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_191-23_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_191-23_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_191-23_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_191-23_0_4_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_191-23_0_4_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_191-23_0_4_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_191-23_0_4_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_191-23_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_191-23_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_191-23_0_4_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_191-23_0_4_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_191-23_0_4_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_191-23_0_4_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_191-23_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_191-23_0_4_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_191-23_0_4_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_191-23_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_191-23_0_4_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_191-23_0_4_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_191-23_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_MV_499_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-23_0_4_load_0 | 0 | 0.004523 | 0.0011336 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-23_0_4_load_1 | 1 | 0.0028213 | 0.0007071 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-23_0_4_load_4 | 3 | 0.0030681 | 0.00076893 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-23_0_4_load_5 | 4 | 0.0022608 | 0.00056662 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-23_0_4_load_27 | 5 | 0.0030686 | 0.00076907 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-23_0_4_load_12 | 6 | 0.00080204 | 0.00020101 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-23_0_4_load_28 | 8 | 0.001525 | 0.0003822 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-23_0_4_load_59 | 11 | 0.0032103 | 0.00080458 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-23_0_4_load_11 | 12 | 0.0029977 | 0.00075131 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-23_0_4_load_6 | 13 | 0.0029864 | 0.00074847 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-23_0_4_load_7 | 14 | 0.0015465 | 0.00038759 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-23_0_4_load_8 | 15 | 0.0029833 | 0.00074769 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-23_0_4_load_10 | 17 | 0.0013765 | 0.00034498 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-23_0_4_load_16 | 19 | 0.0060813 | 0.0015241 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-23_0_4_load_76 | 20 | 0.005577 | 0.0013977 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-23_0_4_load_14 | 21 | 0.0020093 | 0.00050357 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-23_0_4_load_13 | 22 | 0.0012391 | 0.00031054 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-23_0_4_load_15 | 23 | 0.0022205 | 0.0005565 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-23_0_4_load_31 | 27 | 0.0061981 | 0.0015534 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-23_0_4_load_18 | 28 | 0.0015567 | 0.00039014 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-23_0_4_load_19 | 29 | 0.001558 | 0.00039048 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-23_0_4_load_32 | 31 | 0.0018474 | 0.00046301 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-23_0_4_load_57 | 33 | 0.0075821 | 0.0019002 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-23_0_4_load_74 | 38 | 0.0081076 | 0.0020319 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-23_0_4_load_62 | 40 | 0.018162 | 0.0045517 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-23_0_4_load_77 | 41 | 0.0053106 | 0.001331 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-23_0_4_load_50 | 44 | 0.0032016 | 0.00080241 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-23_0_4_load_63 | 47 | 0.021344 | 0.0053493 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-23_0_4_load_78 | 49 | 0.020093 | 0.0050357 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-23_0_4_load_73 | 54 | 0.0090451 | 0.0022669 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-23_0_4_load_66 | 55 | 0.0050169 | 0.0012574 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-23_0_4_load_65 | 56 | 0.080465 | 0.020166 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-23_0_4_load_72 | 57 | 0.0056212 | 0.0014088 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-23_0_4_load_71 | 60 | 0.0075083 | 0.0018818 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-23_0_4_load_64 | 61 | 0.031587 | 0.0079164 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-23_0_4_load_69 | 62 | 0.0025323 | 0.00063465 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-23_0_4_load_60 | 64 | 0.057839 | 0.014496 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-23_0_4_load_67 | 65 | 0.0060104 | 0.0015063 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-23_0_4_load_53 | 67 | 0.0075781 | 0.0018992 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-23_0_4_load_70 | 68 | 0.0024831 | 0.00062232 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-23_0_4_load_79 | 69 | 0.018267 | 0.0045782 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-23_0_4_load_58 | 70 | 0.016882 | 0.004231 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-23_0_4_line_0 |  | 0 | 1 | 0.0012599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-23_0_4_line_1 |  | 0 | 2 | 0.014231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-23_0_4_line_2 |  | 2 | 3 | 0.018726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-23_0_4_line_3 |  | 2 | 4 | 0.0082734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-23_0_4_line_4 |  | 3 | 5 | 0.027172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-23_0_4_line_5 |  | 4 | 6 | 0.023081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-23_0_4_line_6 |  | 5 | 7 | 0.00994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-23_0_4_line_7 |  | 6 | 12 | 0.0048281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-23_0_4_line_8 |  | 7 | 8 | 0.024703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-23_0_4_line_9 |  | 9 | 10 | 0.011872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-23_0_4_line_10 |  | 9 | 11 | 0.0097128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-23_0_4_line_11 |  | 10 | 33 | 0.029385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-23_0_4_line_12 |  | 10 | 34 | 0.11831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-23_0_4_line_13 |  | 11 | 32 | 0.013678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-23_0_4_line_14 |  | 12 | 17 | 0.0067953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-23_0_4_line_15 |  | 13 | 14 | 0.0063536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-23_0_4_line_16 |  | 13 | 15 | 0.0099811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-23_0_4_line_17 |  | 14 | 16 | 0.0243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-23_0_4_line_18 |  | 15 | 17 | 0.0038701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-23_0_4_line_19 |  | 16 | 18 | 0.040318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-23_0_4_line_20 |  | 16 | 19 | 0.023882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-23_0_4_line_21 |  | 18 | 20 | 0.032388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-23_0_4_line_22 |  | 19 | 21 | 0.0047071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-23_0_4_line_23 |  | 21 | 22 | 0.0162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-23_0_4_line_24 |  | 22 | 23 | 0.015027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-23_0_4_line_25 |  | 23 | 24 | 0.0062223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-23_0_4_line_26 |  | 24 | 25 | 0.006647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-23_0_4_line_27 |  | 24 | 26 | 0.037309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-23_0_4_line_28 |  | 25 | 27 | 0.016644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-23_0_4_line_29 |  | 26 | 28 | 0.0053165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-23_0_4_line_30 |  | 27 | 30 | 0.030116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-23_0_4_line_31 |  | 28 | 29 | 0.0097181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-23_0_4_line_32 |  | 30 | 31 | 0.010621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-23_0_4_line_33 |  | 31 | 32 | 0.010706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_191-23_0_4_line_34 |  | 32 | 58 | 0.023073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_191-23_0_4_line_35 |  | 33 | 70 | 0.0046374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-23_0_4_line_36 |  | 34 | 69 | 0.023969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-23_0_4_line_37 |  | 35 | 36 | 0.043251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-23_0_4_line_38 |  | 35 | 37 | 0.23861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-23_0_4_line_39 |  | 35 | 38 | 0.075707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-23_0_4_line_40 |  | 36 | 41 | 0.011861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-23_0_4_line_41 |  | 37 | 42 | 0.015575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-23_0_4_line_42 |  | 37 | 43 | 0.13003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_191-23_0_4_line_43 |  | 37 | 44 | 0.024278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_191-23_0_4_line_44 |  | 37 | 39 | 0.24207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_191-23_0_4_line_45 |  | 39 | 40 | 0.007381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-23_0_4_line_46 |  | 40 | 63 | 0.0047506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-23_0_4_line_47 |  | 42 | 67 | 0.037794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-23_0_4_line_48 |  | 43 | 55 | 0.029794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-23_0_4_line_49 |  | 43 | 56 | 0.049531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-23_0_4_line_50 |  | 43 | 51 | 0.10587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_191-23_0_4_line_51 |  | 44 | 58 | 0.004479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_191-23_0_4_line_52 |  | 45 | 46 | 0.027573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-23_0_4_line_53 |  | 45 | 47 | 0.028994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-23_0_4_line_54 |  | 46 | 61 | 0.022631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-23_0_4_line_55 |  | 47 | 51 | 0.025471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-23_0_4_line_56 |  | 48 | 49 | 0.069123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_191-23_0_4_line_57 |  | 48 | 50 | 0.067825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_191-23_0_4_line_58 |  | 50 | 54 | 0.026526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_191-23_0_4_line_59 |  | 50 | 57 | 0.0096035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_191-23_0_4_line_60 |  | 52 | 53 | 0.021285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_191-23_0_4_line_61 |  | 52 | 54 | 0.010815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_191-23_0_4_line_62 |  | 53 | 62 | 0.014411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_191-23_0_4_line_63 |  | 53 | 59 | 0.11333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_191-23_0_4_line_64 |  | 55 | 57 | 0.031594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_191-23_0_4_line_65 |  | 59 | 60 | 0.066136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_191-23_0_4_line_66 |  | 60 | 68 | 0.041369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_191-23_0_4_line_67 |  | 62 | 66 | 0.025856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_191-23_0_4_line_68 |  | 63 | 64 | 0.014074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_191-23_0_4_line_69 |  | 65 | 66 | 0.011326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-23_0_4_trafo_41 | 0.63 MVA 20/0.4 kV | 71 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2688708.5745 | 1250479.0809 | 2688708.9498 | 1250477.8782
1 | 2688704.3358 | 1250492.6658 | 2688708.5745 | 1250479.0809
2 | 2688704.3358 | 1250492.6658 | 2688686.3971 | 1250487.292
3 | 2688704.3358 | 1250492.6658 | 2688712.262 | 1250495.0374
4 | 2688660.3661 | 1250479.5014 | 2688674.7972 | 1250483.8171 | 2688686.3971 | 1250487.292
5 | 2688712.262 | 1250495.0374 | 2688734.3748 | 1250501.6536
6 | 2688650.8429 | 1250476.6534 | 2688660.3661 | 1250479.5014
7 | 2688734.3748 | 1250501.6536 | 2688739.0003 | 1250503.0375
8 | 2688650.8429 | 1250476.6534 | 2688627.2469 | 1250469.34
9 | 2688944.7479 | 1250498.1504 | 2688953.8547 | 1250490.5035
10 | 2688944.7479 | 1250498.1504 | 2688937.6744 | 1250504.8066
11 | 2688953.8547 | 1250490.5035 | 2688968.1409 | 1250514.0024 | 2688969.765 | 1250514.9586
12 | 2688953.8547 | 1250490.5035 | 2688961.0128 | 1250484.9178 | 2688972.8345 | 1250476.9781 | 2688982.9405 | 1250471.1699 | 2688994.25 | 1250464.6569 | 2689005.8334 | 1250458.0036 | 2689026.4493 | 1250446.1486 | 2689029.0769 | 1250444.6314 | 2689041.2613 | 1250469.8224 | 2689040.5817 | 1250471.836
13 | 2688928.2592 | 1250514.7267 | 2688937.0132 | 1250505.4288 | 2688937.6744 | 1250504.8066
14 | 2688745.5105 | 1250504.9854 | 2688739.0003 | 1250503.0375
15 | 2688758.9466 | 1250508.35 | 2688765.111 | 1250509.8887
16 | 2688758.9466 | 1250508.35 | 2688749.2626 | 1250505.9327
17 | 2688789.0257 | 1250514.139 | 2688778.2978 | 1250512.5993 | 2688765.111 | 1250509.8887
18 | 2688745.5105 | 1250504.9854 | 2688745.7275 | 1250505.0503 | 2688749.2626 | 1250505.9327
19 | 2688789.0257 | 1250514.139 | 2688781.1067 | 1250496.9629 | 2688772.1953 | 1250477.4813
20 | 2688789.0257 | 1250514.139 | 2688802.8207 | 1250515.5578 | 2688812.8184 | 1250516.1322
21 | 2688772.1953 | 1250477.4813 | 2688768.3137 | 1250468.9834 | 2688768.2669 | 1250462.033 | 2688772.5936 | 1250459.974 | 2688767.6739 | 1250449.7973
22 | 2688812.8184 | 1250516.1322 | 2688816.7005 | 1250516.3553 | 2688817.519 | 1250516.3689
23 | 2688833.7168 | 1250516.6387 | 2688817.519 | 1250516.3689
24 | 2688848.7237 | 1250516.0144 | 2688836.831 | 1250516.6905 | 2688833.7168 | 1250516.6387
25 | 2688854.9359 | 1250515.6611 | 2688848.7237 | 1250516.0144
26 | 2688854.9359 | 1250515.6611 | 2688861.5673 | 1250514.9823
27 | 2688854.9359 | 1250515.6611 | 2688837.3555 | 1250482.7282
28 | 2688861.5673 | 1250514.9823 | 2688878.1349 | 1250513.3928
29 | 2688837.3555 | 1250482.7282 | 2688834.8693 | 1250478.0288
30 | 2688908.1051 | 1250510.4322 | 2688897.9497 | 1250511.4918 | 2688878.1349 | 1250513.3928
31 | 2688834.8693 | 1250478.0288 | 2688832.8843 | 1250474.277 | 2688829.7098 | 1250469.818
32 | 2688908.1051 | 1250510.4322 | 2688918.2662 | 1250509.9954 | 2688918.6957 | 1250510.1301
33 | 2688928.2592 | 1250514.7267 | 2688923.4061 | 1250511.6071 | 2688918.6957 | 1250510.1301
34 | 2688915.1845 | 1250533.7228 | 2688919.3063 | 1250526.7126 | 2688928.2592 | 1250514.7267
35 | 2688973.7612 | 1250517.3115 | 2688969.765 | 1250514.9586
36 | 2689044.6357 | 1250495.4592 | 2689041.7794 | 1250478.5479 | 2689041.1806 | 1250475.192 | 2689040.5817 | 1250471.836
37 | 2688704.613 | 1250589.599 | 2688702.6214 | 1250576.8929 | 2688690.5729 | 1250565.7375 | 2688687.5538 | 1250552.0708
38 | 2688687.5538 | 1250552.0708 | 2688700.0724 | 1250550.4903 | 2688720.8869 | 1250549.5011 | 2688826.5576 | 1250555.3214 | 2688842.7118 | 1250557.9989 | 2688863.7843 | 1250563.9749 | 2688872.2151 | 1250567.1481 | 2688888.9151 | 1250574.7043 | 2688891.763 | 1250576.1036 | 2688892.4488 | 1250574.6795 | 2688901.3396 | 1250557.2663 | 2688902.0085 | 1250555.9531 | 2688909.5994 | 1250558.2465
39 | 2688687.5538 | 1250552.0708 | 2688674.5103 | 1250554.9223 | 2688615.0731 | 1250573.7743
40 | 2688704.613 | 1250589.599 | 2688713.7943 | 1250597.1088
41 | 2688909.5994 | 1250558.2465 | 2688914.2446 | 1250559.1168 | 2688923.6912 | 1250564.5293
42 | 2688934.5119 | 1250664.9679 | 2688929.7282 | 1250637.6309 | 2688928.476 | 1250637.0561 | 2688908.15 | 1250627.6441 | 2688914.7479 | 1250613.0987 | 2688915.7999 | 1250610.9128 | 2688901.7609 | 1250587.0396 | 2688898.2687 | 1250579.2703 | 2688899.0143 | 1250577.8804 | 2688908.2054 | 1250560.5829 | 2688909.5994 | 1250558.2465
43 | 2688909.5994 | 1250558.2465 | 2688914.7372 | 1250547.9268 | 2688919.0772 | 1250535.9384
44 | 2688794.604 | 1250603.3458 | 2688782.3658 | 1250602.3394 | 2688777.5942 | 1250611.9197 | 2688777.1212 | 1250620.3079 | 2688784.9248 | 1250648.7018 | 2688857.6203 | 1250629.1097 | 2688859.8503 | 1250626.4077 | 2688862.8121 | 1250622.2267 | 2688875.1152 | 1250617.3964 | 2688877.8405 | 1250615.3913 | 2688879.8365 | 1250612.1855 | 2688880.594 | 1250608.9944 | 2688880.4326 | 1250606.1676 | 2688875.9109 | 1250592.545 | 2688879.2391 | 1250591.1161 | 2688883.8351 | 1250585.2027 | 2688888.9151 | 1250574.7043 | 2688891.763 | 1250576.1036 | 2688892.4488 | 1250574.6795 | 2688901.3396 | 1250557.2663 | 2688902.0085 | 1250555.9531 | 2688909.5994 | 1250558.2465
45 | 2688794.604 | 1250603.3458 | 2688795.5755 | 1250600.9919 | 2688797.746 | 1250599.7345 | 2688800.0602 | 1250599.9694
46 | 2688802.4639 | 1250603.8083 | 2688801.7758 | 1250601.3628 | 2688800.0602 | 1250599.9694
47 | 2688923.6912 | 1250564.5293 | 2688933.7909 | 1250568.684 | 2688949.4341 | 1250573.7114 | 2688959.8496 | 1250574.4598
48 | 2688934.5119 | 1250664.9679 | 2688939.4904 | 1250677.3186 | 2688946.0971 | 1250689.8384 | 2688947.2553 | 1250691.85
49 | 2688934.5119 | 1250664.9679 | 2688936.868 | 1250660.3998 | 2688933.7682 | 1250640.0823 | 2688956.6104 | 1250633.2643
50 | 2688866.8798 | 1250653.5337 | 2688875.7971 | 1250652.9558 | 2688899.561 | 1250646.5852 | 2688899.8112 | 1250646.0107 | 2688908.15 | 1250627.6441 | 2688928.476 | 1250637.0561 | 2688929.7282 | 1250637.6309 | 2688934.5119 | 1250664.9679
51 | 2688915.1845 | 1250533.7228 | 2688917.9318 | 1250535.2874 | 2688919.0772 | 1250535.9384
52 | 2688821.9728 | 1250694.4027 | 2688814.3449 | 1250667.9016
53 | 2688814.3449 | 1250667.9016 | 2688842.3115 | 1250660.2529
54 | 2688821.9728 | 1250694.4027 | 2688816.8626 | 1250693.3364 | 2688800.1523 | 1250698.224
55 | 2688866.8798 | 1250653.5337 | 2688842.3115 | 1250660.2529
56 | 2688884.7344 | 1250686.2596 | 2688883.7855 | 1250694.6517 | 2688913.4759 | 1250747.615
57 | 2688913.4759 | 1250747.615 | 2688929.5577 | 1250740.4953 | 2688950.9308 | 1250729.4188 | 2688963.687 | 1250723.5613 | 2688975.1827 | 1250719.6976
58 | 2688975.1827 | 1250719.6976 | 2688999.186 | 1250708.4071
59 | 2688975.1827 | 1250719.6976 | 2688968.7672 | 1250712.5514
60 | 2689028.2772 | 1250694.7203 | 2689008.9721 | 1250703.804
61 | 2689008.9721 | 1250703.804 | 2688999.186 | 1250708.4071
62 | 2689028.2772 | 1250694.7203 | 2689021.8977 | 1250681.7985
63 | 2689028.2772 | 1250694.7203 | 2689044.1375 | 1250686.7859 | 2689070.6541 | 1250669.0709 | 2689090.6093 | 1250652.9141 | 2689113.8727 | 1250632.6595 | 2689116.4274 | 1250625.9484
64 | 2688968.7672 | 1250712.5514 | 2688968.7672 | 1250712.5514 | 2688964.0439 | 1250711.8689 | 2688960.3965 | 1250710.4242 | 2688956.6087 | 1250706.7645 | 2688953.2267 | 1250702.2214 | 2688947.2553 | 1250691.85
65 | 2689116.4274 | 1250625.9484 | 2689110.2276 | 1250622.03 | 2689096.887 | 1250615.013 | 2689081.4379 | 1250609.143 | 2689071.3888 | 1250606.6567 | 2689058.5284 | 1250604.8621 | 2689054.6681 | 1250604.6857
66 | 2689013.7307 | 1250609.0628 | 2689020.6818 | 1250607.351 | 2689030.5909 | 1250605.5874 | 2689038.5255 | 1250604.5947 | 2689049.4598 | 1250604.4478 | 2689054.6681 | 1250604.6857
67 | 2689010.4515 | 1250658.6141 | 2689021.8977 | 1250681.7985
68 | 2688802.4639 | 1250603.8083 | 2688816.4788 | 1250605.099
69 | 2689010.4515 | 1250658.6141 | 2689008.7764 | 1250647.4124

## bus_geodata
| x | y | coords
0 | 2688708.5745 | 1250479.0809
1 | 2688708.9498 | 1250477.8782
2 | 2688704.3358 | 1250492.6658
3 | 2688686.3971 | 1250487.292
4 | 2688712.262 | 1250495.0374
5 | 2688660.3661 | 1250479.5014
6 | 2688734.3748 | 1250501.6536
7 | 2688650.8429 | 1250476.6534
8 | 2688627.2469 | 1250469.34
9 | 2688944.7479 | 1250498.1504
10 | 2688953.8547 | 1250490.5035
11 | 2688937.6744 | 1250504.8066
12 | 2688739.0003 | 1250503.0375
13 | 2688758.9466 | 1250508.35
14 | 2688765.111 | 1250509.8887
15 | 2688749.2626 | 1250505.9327
16 | 2688789.0257 | 1250514.139
17 | 2688745.5105 | 1250504.9854
18 | 2688772.1953 | 1250477.4813
19 | 2688812.8184 | 1250516.1322
20 | 2688767.6739 | 1250449.7973
21 | 2688817.519 | 1250516.3689
22 | 2688833.7168 | 1250516.6387
23 | 2688848.7237 | 1250516.0144
24 | 2688854.9359 | 1250515.6611
25 | 2688861.5673 | 1250514.9823
26 | 2688837.3555 | 1250482.7282
27 | 2688878.1349 | 1250513.3928
28 | 2688834.8693 | 1250478.0288
29 | 2688829.7098 | 1250469.818
30 | 2688908.1051 | 1250510.4322
31 | 2688918.6957 | 1250510.1301
32 | 2688928.2592 | 1250514.7267
33 | 2688969.765 | 1250514.9586
34 | 2689040.5817 | 1250471.836
35 | 2688687.5538 | 1250552.0708
36 | 2688704.613 | 1250589.599
37 | 2688909.5994 | 1250558.2465
38 | 2688615.0731 | 1250573.7743
39 | 2688794.604 | 1250603.3458
40 | 2688800.0602 | 1250599.9694
41 | 2688713.7943 | 1250597.1088
42 | 2688923.6912 | 1250564.5293
43 | 2688934.5119 | 1250664.9679
44 | 2688919.0772 | 1250535.9384
45 | 2688814.3449 | 1250667.9016
46 | 2688821.9728 | 1250694.4027
47 | 2688842.3115 | 1250660.2529
48 | 2688913.4759 | 1250747.615
49 | 2688884.7344 | 1250686.2596
50 | 2688975.1827 | 1250719.6976
51 | 2688866.8798 | 1250653.5337
52 | 2689008.9721 | 1250703.804
53 | 2689028.2772 | 1250694.7203
54 | 2688999.186 | 1250708.4071
55 | 2688947.2553 | 1250691.85
56 | 2688956.6104 | 1250633.2643
57 | 2688968.7672 | 1250712.5514
58 | 2688915.1845 | 1250533.7228
59 | 2689116.4274 | 1250625.9484
60 | 2689054.6681 | 1250604.6857
61 | 2688800.1523 | 1250698.224
62 | 2689021.8977 | 1250681.7985
63 | 2688802.4639 | 1250603.8083
64 | 2688816.4788 | 1250605.099
65 | 2689008.7764 | 1250647.4124
66 | 2689010.4515 | 1250658.6141
67 | 2688959.8496 | 1250574.4598
68 | 2689013.7307 | 1250609.0628
69 | 2689044.6357 | 1250495.4592
70 | 2688973.7612 | 1250517.3115
71 | 2688899.561 | 1250646.5852

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97038 | -0.57128 | 0.004523 | 0.0011336
1 | 0.97038 | -0.57135 | 0.0028213 | 0.0007071
2 | 0.97048 | -0.56934 | 0 | 0
3 | 0.97035 | -0.572 | 0.0030681 | 0.00076893
4 | 0.9706 | -0.56705 | 0.0022608 | 0.00056662
5 | 0.97023 | -0.57431 | 0.0030686 | 0.00076907
6 | 0.97097 | -0.55967 | 0.00080204 | 0.00020101
7 | 0.97022 | -0.57459 | 0 | 0
8 | 0.97018 | -0.57529 | 0.001525 | 0.0003822
9 | 0.97745 | -0.43232 | 0 | 0
10 | 0.97697 | -0.44158 | 0 | 0
11 | 0.97783 | -0.42475 | 0.0032103 | 0.00080458
12 | 0.97105 | -0.55806 | 0.0029977 | 0.00075131
13 | 0.9715 | -0.54912 | 0.0029864 | 0.00074847
14 | 0.97167 | -0.54579 | 0.0015465 | 0.00038759
15 | 0.97127 | -0.55381 | 0.0029833 | 0.00074769
16 | 0.97235 | -0.53236 | 0 | 0
17 | 0.97119 | -0.55542 | 0.0013765 | 0.00034498
18 | 0.97214 | -0.5365 | 0 | 0
19 | 0.97314 | -0.51672 | 0.0060813 | 0.0015241
20 | 0.97197 | -0.53983 | 0.005577 | 0.0013977
21 | 0.97333 | -0.51311 | 0.0020093 | 0.00050357
22 | 0.97399 | -0.50012 | 0.0012391 | 0.00031054
23 | 0.97462 | -0.48774 | 0.0022205 | 0.0005565
24 | 0.97489 | -0.48236 | 0 | 0
25 | 0.9752 | -0.47624 | 0 | 0
26 | 0.97478 | -0.48449 | 0 | 0
27 | 0.97598 | -0.46094 | 0.0061981 | 0.0015534
28 | 0.97477 | -0.4848 | 0.0015567 | 0.00039014
29 | 0.97475 | -0.48507 | 0.001558 | 0.00039048
30 | 0.97757 | -0.4299 | 0 | 0
31 | 0.97812 | -0.41898 | 0.0018474 | 0.00046301
32 | 0.97842 | -0.4133 | 0 | 0
33 | 0.97631 | -0.45472 | 0.0075821 | 0.0019002
34 | 0.97496 | -0.48113 | 0 | 0
35 | 0.97752 | -0.4311 | 0 | 0
36 | 0.9773 | -0.43529 | 0 | 0
37 | 0.98049 | -0.37284 | 0 | 0
38 | 0.97695 | -0.4423 | 0.0081076 | 0.0020319
39 | 0.97189 | -0.54111 | 0 | 0
40 | 0.97137 | -0.55146 | 0.018162 | 0.0045517
41 | 0.97725 | -0.43644 | 0.0053106 | 0.001331
42 | 0.98038 | -0.37498 | 0 | 0
43 | 0.98875 | -0.21352 | 0 | 0
44 | 0.97968 | -0.38861 | 0.0032016 | 0.00080241
45 | 0.99794 | -0.039544 | 0 | 0
46 | 0.99715 | -0.054799 | 0 | 0
47 | 0.99877 | -0.023528 | 0.021344 | 0.0053493
48 | 0.98392 | -0.30746 | 0 | 0
49 | 0.98264 | -0.3325 | 0.020093 | 0.0050357
50 | 0.98517 | -0.28295 | 0 | 0
51 | 1 | 0 | -0.40502 | -0.10389
52 | 0.98432 | -0.29971 | 0 | 0
53 | 0.98395 | -0.30681 | 0 | 0
54 | 0.9845 | -0.2961 | 0.0090451 | 0.0022669
55 | 0.98715 | -0.24456 | 0.0050169 | 0.0012574
56 | 0.98508 | -0.28484 | 0.080465 | 0.020166
57 | 0.9856 | -0.27473 | 0.0056212 | 0.0014088
58 | 0.97953 | -0.39144 | 0 | 0
59 | 0.98291 | -0.32723 | 0 | 0
60 | 0.9823 | -0.33916 | 0.0075083 | 0.0018818
61 | 0.9965 | -0.067338 | 0.031587 | 0.0079164
62 | 0.98384 | -0.30903 | 0.0025323 | 0.00063465
63 | 0.97111 | -0.55654 | 0 | 0
64 | 0.97035 | -0.5716 | 0.057839 | 0.014496
65 | 0.98363 | -0.31305 | 0.0060104 | 0.0015063
66 | 0.98369 | -0.31183 | 0 | 0
67 | 0.98011 | -0.38017 | 0.0075781 | 0.0018992
68 | 0.9822 | -0.34101 | 0.0024831 | 0.00062232
69 | 0.97456 | -0.48916 | 0.018267 | 0.0045782
70 | 0.97623 | -0.45615 | 0.016882 | 0.004231
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0028214 | 0.00070709 | -0.0028213 | -0.0007071 | 8.8434e-09 | -9.9049e-09 | 0.0043263 | 0.0043263 | 0.0043263 | 0.97038 | -0.57128 | 0.97038 | -0.57135 | 1.1886
1 | -0.0073443 | -0.0018406 | 0.007345 | 0.0018409 | 6.7685e-07 | 2.5736e-07 | 0.011262 | 0.011262 | 0.011262 | 0.97038 | -0.57128 | 0.97048 | -0.56934 | 3.094
2 | 0.0076633 | 0.0019202 | -0.0076623 | -0.0019198 | 9.6949e-07 | 3.8912e-07 | 0.01175 | 0.01175 | 0.01175 | 0.97048 | -0.56934 | 0.97035 | -0.572 | 3.228
3 | -0.015008 | -0.0037611 | 0.01501 | 0.0037621 | 1.6429e-06 | 9.4922e-07 | 0.023012 | 0.023012 | 0.023012 | 0.97048 | -0.56934 | 0.9706 | -0.56705 | 6.3219
4 | 0.0045942 | 0.0011509 | -0.0045937 | -0.0011509 | 5.0573e-07 | -1.1939e-08 | 0.007045 | 0.0070451 | 0.0070451 | 0.97035 | -0.572 | 0.97023 | -0.57431 | 1.9355
5 | -0.017271 | -0.0043287 | 0.017277 | 0.0043323 | 6.0681e-06 | 3.5982e-06 | 0.026478 | 0.026478 | 0.026478 | 0.9706 | -0.56705 | 0.97097 | -0.55967 | 7.2741
6 | 0.0015251 | 0.00038182 | -0.0015251 | -0.00038193 | 2.039e-08 | -1.0971e-07 | 0.0023388 | 0.0023389 | 0.0023389 | 0.97023 | -0.57431 | 0.97022 | -0.57459 | 0.64255
7 | -0.018079 | -0.0045333 | 0.01808 | 0.0045341 | 1.3899e-06 | 8.298e-07 | 0.027707 | 0.027707 | 0.027707 | 0.97097 | -0.55967 | 0.97105 | -0.55806 | 7.6117
8 | 0.0015251 | 0.00038193 | -0.001525 | -0.0003822 | 5.0679e-08 | -2.7263e-07 | 0.0023389 | 0.002339 | 0.002339 | 0.97022 | -0.57459 | 0.97018 | -0.57529 | 0.64258
9 | 0.042808 | 0.010756 | -0.042789 | -0.010744 | 1.8913e-05 | 1.1956e-05 | 0.065179 | 0.065179 | 0.065179 | 0.97745 | -0.43232 | 0.97697 | -0.44158 | 17.9063
10 | -0.042808 | -0.010756 | 0.042824 | 0.010766 | 1.5474e-05 | 9.7813e-06 | 0.065179 | 0.065179 | 0.065179 | 0.97745 | -0.43232 | 0.97783 | -0.42475 | 17.9063
11 | 0.02448 | 0.0061414 | -0.024465 | -0.0061319 | 1.5322e-05 | 9.4381e-06 | 0.037288 | 0.037288 | 0.037288 | 0.97697 | -0.44158 | 0.97631 | -0.45472 | 10.244
12 | 0.018309 | 0.004603 | -0.018274 | -0.0045824 | 3.4514e-05 | 2.061e-05 | 0.027891 | 0.027892 | 0.027892 | 0.97697 | -0.44158 | 0.97496 | -0.48113 | 7.6625
13 | -0.046034 | -0.011571 | 0.046059 | 0.011587 | 2.518e-05 | 1.5944e-05 | 0.070064 | 0.070064 | 0.070064 | 0.97783 | -0.42475 | 0.97842 | -0.4133 | 19.2484
14 | -0.021078 | -0.0052854 | 0.021081 | 0.005287 | 2.6586e-06 | 1.6174e-06 | 0.0323 | 0.0323 | 0.0323 | 0.97105 | -0.55806 | 0.97119 | -0.55542 | 8.8737
15 | -0.028434 | -0.0071327 | 0.028439 | 0.0071356 | 4.5197e-06 | 2.8139e-06 | 0.043554 | 0.043554 | 0.043554 | 0.9715 | -0.54912 | 0.97167 | -0.54579 | 11.9654
16 | 0.025448 | 0.0063843 | -0.025442 | -0.0063808 | 5.6871e-06 | 3.5162e-06 | 0.03898 | 0.03898 | 0.03898 | 0.9715 | -0.54912 | 0.97127 | -0.55381 | 10.7088
17 | -0.029985 | -0.0075231 | 0.030005 | 0.0075351 | 1.9217e-05 | 1.1998e-05 | 0.045922 | 0.045922 | 0.045922 | 0.97167 | -0.54579 | 0.97235 | -0.53236 | 12.616
18 | 0.022459 | 0.0056331 | -0.022457 | -0.005632 | 1.7183e-06 | 1.0518e-06 | 0.034409 | 0.034409 | 0.034409 | 0.97127 | -0.55381 | 0.97119 | -0.55542 | 9.4531
19 | 0.005579 | 0.0013981 | -0.0055779 | -0.0013979 | 1.1021e-06 | 2.0535e-07 | 0.0085377 | 0.0085378 | 0.0085378 | 0.97235 | -0.53236 | 0.97214 | -0.5365 | 2.3456
20 | -0.035584 | -0.0089333 | 0.03561 | 0.00895 | 2.6562e-05 | 1.6703e-05 | 0.05446 | 0.05446 | 0.05446 | 0.97235 | -0.53236 | 0.97314 | -0.51672 | 14.9615
21 | 0.0055779 | 0.0013979 | -0.005577 | -0.0013977 | 8.8536e-07 | 1.6514e-07 | 0.0085378 | 0.008538 | 0.008538 | 0.97214 | -0.5365 | 0.97197 | -0.53983 | 2.3456
22 | -0.041691 | -0.010474 | 0.041699 | 0.010479 | 7.1757e-06 | 4.5339e-06 | 0.063759 | 0.063759 | 0.063759 | 0.97314 | -0.51672 | 0.97333 | -0.51311 | 17.5161
23 | -0.043708 | -0.010982 | 0.043735 | 0.010999 | 2.7133e-05 | 1.7164e-05 | 0.06683 | 0.06683 | 0.06683 | 0.97333 | -0.51311 | 0.97399 | -0.50012 | 18.36
24 | -0.044974 | -0.01131 | 0.045001 | 0.011327 | 2.6613e-05 | 1.6845e-05 | 0.068723 | 0.068723 | 0.068723 | 0.97399 | -0.50012 | 0.97462 | -0.48774 | 18.88
25 | -0.047221 | -0.011883 | 0.047233 | 0.011891 | 1.2134e-05 | 7.6883e-06 | 0.072113 | 0.072113 | 0.072113 | 0.97462 | -0.48774 | 0.97489 | -0.48236 | 19.8114
26 | -0.050348 | -0.012671 | 0.050363 | 0.01268 | 1.4728e-05 | 9.3431e-06 | 0.076868 | 0.076868 | 0.076868 | 0.97489 | -0.48236 | 0.9752 | -0.47624 | 21.1175
27 | 0.0031151 | 0.00078021 | -0.0031148 | -0.00078047 | 3.1628e-07 | -2.6272e-07 | 0.0047545 | 0.0047547 | 0.0047547 | 0.97489 | -0.48236 | 0.97478 | -0.48449 | 1.3062
28 | -0.050363 | -0.01268 | 0.0504 | 0.012704 | 3.6878e-05 | 2.3394e-05 | 0.076868 | 0.076868 | 0.076868 | 0.9752 | -0.47624 | 0.97598 | -0.46094 | 21.1175
29 | 0.0031148 | 0.00078047 | -0.0031147 | -0.00078051 | 4.5072e-08 | -3.7428e-08 | 0.0047547 | 0.0047547 | 0.0047547 | 0.97478 | -0.48449 | 0.97477 | -0.4848 | 1.3062
30 | -0.056598 | -0.014257 | 0.056682 | 0.014311 | 8.4145e-05 | 5.3476e-05 | 0.086318 | 0.086317 | 0.086318 | 0.97598 | -0.46094 | 0.97757 | -0.4299 | 23.7136
31 | 0.0015581 | 0.00039037 | -0.001558 | -0.00039048 | 2.0615e-08 | -1.0795e-07 | 0.0023784 | 0.0023784 | 0.0023784 | 0.97477 | -0.4848 | 0.97475 | -0.48507 | 0.65341
32 | -0.056682 | -0.014311 | 0.056712 | 0.01433 | 2.9674e-05 | 1.8858e-05 | 0.086317 | 0.086317 | 0.086317 | 0.97757 | -0.4299 | 0.97812 | -0.41898 | 23.7136
33 | -0.058559 | -0.014793 | 0.058575 | 0.014803 | 1.5946e-05 | 9.9365e-06 | 0.089128 | 0.089128 | 0.089128 | 0.97812 | -0.41898 | 0.97842 | -0.4133 | 12.2428
34 | -0.10463 | -0.026389 | 0.10474 | 0.026459 | 0.00010963 | 6.9586e-05 | 0.15919 | 0.15919 | 0.15919 | 0.97842 | -0.4133 | 0.97953 | -0.39144 | 21.867
35 | 0.016883 | 0.0042317 | -0.016882 | -0.004231 | 1.1515e-06 | 6.7896e-07 | 0.025732 | 0.025732 | 0.025732 | 0.97631 | -0.45472 | 0.97623 | -0.45615 | 7.0692
36 | 0.018274 | 0.0045824 | -0.018267 | -0.0045782 | 6.9925e-06 | 4.1764e-06 | 0.027892 | 0.027892 | 0.027892 | 0.97496 | -0.48113 | 0.97456 | -0.48916 | 7.6626
37 | 0.0053119 | 0.0013311 | -0.0053109 | -0.001331 | 1.0605e-06 | 1.3663e-07 | 0.008086 | 0.0080862 | 0.0080862 | 0.97752 | -0.4311 | 0.9773 | -0.43529 | 2.2215
38 | -0.013424 | -0.0033649 | 0.013461 | 0.0033858 | 3.7362e-05 | 2.0911e-05 | 0.020434 | 0.020433 | 0.020434 | 0.97752 | -0.4311 | 0.98049 | -0.37284 | 5.6139
39 | 0.0081119 | 0.0020338 | -0.0081076 | -0.0020319 | 4.3292e-06 | 1.8222e-06 | 0.012349 | 0.012349 | 0.012349 | 0.97752 | -0.4311 | 0.97695 | -0.4423 | 3.3925
40 | 0.0053109 | 0.001331 | -0.0053106 | -0.001331 | 2.9084e-07 | 3.7518e-08 | 0.0080862 | 0.0080862 | 0.0080862 | 0.9773 | -0.43529 | 0.97725 | -0.43644 | 2.2215
41 | 0.0075807 | 0.0019003 | -0.00758 | -0.0019 | 7.7308e-07 | 2.9835e-07 | 0.011505 | 0.011505 | 0.011505 | 0.98049 | -0.37284 | 0.98038 | -0.37498 | 3.1607
42 | -0.20579 | -0.052103 | 0.20738 | 0.053114 | 0.0015873 | 0.0010109 | 0.31251 | 0.3125 | 0.31251 | 0.98049 | -0.37284 | 0.98875 | -0.21352 | 28.6178
43 | 0.10804 | 0.027321 | -0.10796 | -0.02727 | 8.1676e-05 | 5.1355e-05 | 0.16405 | 0.16405 | 0.16405 | 0.98049 | -0.37284 | 0.97968 | -0.38861 | 15.0233
44 | 0.07671 | 0.019495 | -0.076094 | -0.019107 | 0.00061619 | 0.00038831 | 0.11651 | 0.11652 | 0.11652 | 0.98049 | -0.37284 | 0.97189 | -0.54111 | 16.005
45 | 0.076094 | 0.019107 | -0.076056 | -0.019083 | 3.7577e-05 | 2.3958e-05 | 0.11652 | 0.11652 | 0.11652 | 0.97189 | -0.54111 | 0.97137 | -0.55146 | 32.01
46 | 0.057894 | 0.014531 | -0.05788 | -0.014522 | 1.4015e-05 | 8.9105e-06 | 0.088695 | 0.088695 | 0.088695 | 0.97137 | -0.55146 | 0.97111 | -0.55654 | 24.3667
47 | 0.00758 | 0.0019 | -0.0075781 | -0.0018992 | 1.876e-06 | 7.242e-07 | 0.011505 | 0.011505 | 0.011505 | 0.98038 | -0.37498 | 0.98011 | -0.38017 | 3.1607
48 | 0.058585 | 0.014783 | -0.058498 | -0.014728 | 8.6919e-05 | 5.5247e-05 | 0.088203 | 0.088203 | 0.088203 | 0.98875 | -0.21352 | 0.98715 | -0.24456 | 24.2315
49 | 0.080739 | 0.020341 | -0.080465 | -0.020166 | 0.0002744 | 0.00017498 | 0.12155 | 0.12155 | 0.12155 | 0.98875 | -0.21352 | 0.98508 | -0.28484 | 33.3918
50 | -0.3467 | -0.088238 | 0.35031 | 0.090544 | 0.0036093 | 0.0023059 | 0.52225 | 0.52225 | 0.52225 | 0.98875 | -0.21352 | 1 | 0 | 47.8253
51 | 0.10476 | 0.026468 | -0.10474 | -0.026459 | 1.4188e-05 | 8.9115e-06 | 0.15919 | 0.15919 | 0.15919 | 0.97968 | -0.38861 | 0.97953 | -0.39144 | 14.578
52 | 0.031629 | 0.0079426 | -0.031606 | -0.0079282 | 2.3003e-05 | 1.4362e-05 | 0.047167 | 0.047167 | 0.047167 | 0.99794 | -0.039544 | 0.99715 | -0.054799 | 12.9579
53 | -0.031629 | -0.0079426 | 0.031653 | 0.0079577 | 2.4188e-05 | 1.5101e-05 | 0.047167 | 0.047167 | 0.047167 | 0.99794 | -0.039544 | 0.99877 | -0.023528 | 12.9579
54 | 0.031606 | 0.0079282 | -0.031587 | -0.0079164 | 1.888e-05 | 1.1788e-05 | 0.047167 | 0.047167 | 0.047167 | 0.99715 | -0.054799 | 0.9965 | -0.067338 | 12.958
55 | -0.052997 | -0.013307 | 0.053057 | 0.013345 | 5.9559e-05 | 3.7784e-05 | 0.078966 | 0.078966 | 0.078966 | 0.99877 | -0.023528 | 1 | 0 | 21.6939
56 | 0.020117 | 0.0050502 | -0.020093 | -0.0050357 | 2.3997e-05 | 1.4481e-05 | 0.030426 | 0.030427 | 0.030427 | 0.98392 | -0.30746 | 0.98264 | -0.3325 | 8.359
57 | -0.020117 | -0.0050502 | 0.02014 | 0.0050644 | 2.3546e-05 | 1.4207e-05 | 0.030426 | 0.030426 | 0.030426 | 0.98392 | -0.30746 | 0.98517 | -0.28295 | 8.3589
58 | 0.027624 | 0.0069362 | -0.027606 | -0.0069255 | 1.732e-05 | 1.0747e-05 | 0.041728 | 0.041728 | 0.041728 | 0.98517 | -0.28295 | 0.9845 | -0.2961 | 11.4637
59 | -0.047764 | -0.012001 | 0.047783 | 0.012013 | 1.8749e-05 | 1.1877e-05 | 0.072154 | 0.072154 | 0.072154 | 0.98517 | -0.28295 | 0.9856 | -0.27473 | 19.8224
60 | 0.018558 | 0.0046567 | -0.018552 | -0.0046529 | 6.2831e-06 | 3.7507e-06 | 0.028057 | 0.028057 | 0.028057 | 0.98432 | -0.29971 | 0.98395 | -0.30681 | 7.7079
61 | -0.018558 | -0.0046567 | 0.018561 | 0.0046586 | 3.1924e-06 | 1.9056e-06 | 0.028057 | 0.028057 | 0.028057 | 0.98432 | -0.29971 | 0.9845 | -0.2961 | 7.7079
62 | 0.0085447 | 0.0021416 | -0.0085438 | -0.0021412 | 9.0237e-07 | 3.945e-07 | 0.012922 | 0.012922 | 0.012922 | 0.98395 | -0.30681 | 0.98384 | -0.30903 | 3.55
63 | 0.010007 | 0.0025113 | -0.0099973 | -0.0025065 | 9.7346e-06 | 4.7923e-06 | 0.015135 | 0.015135 | 0.015135 | 0.98395 | -0.30681 | 0.98291 | -0.32723 | 4.158
64 | 0.053481 | 0.01347 | -0.053404 | -0.013421 | 7.7044e-05 | 4.8905e-05 | 0.08064 | 0.08064 | 0.08064 | 0.98715 | -0.24456 | 0.9856 | -0.27473 | 22.1539
65 | 0.0099973 | 0.0025065 | -0.0099916 | -0.0025037 | 5.6813e-06 | 2.7983e-06 | 0.015135 | 0.015135 | 0.015135 | 0.98291 | -0.32723 | 0.9823 | -0.33916 | 4.1581
66 | 0.0024833 | 0.00062194 | -0.0024831 | -0.00062232 | 2.1953e-07 | -3.8314e-07 | 0.0037617 | 0.0037618 | 0.0037618 | 0.9823 | -0.33916 | 0.9822 | -0.34101 | 1.0335
67 | 0.0060115 | 0.0015066 | -0.0060107 | -0.0015064 | 8.0155e-07 | 1.8471e-07 | 0.0090922 | 0.0090923 | 0.0090923 | 0.98384 | -0.30903 | 0.98369 | -0.31183 | 2.4979
68 | 0.05788 | 0.014522 | -0.057839 | -0.014496 | 4.1519e-05 | 2.6398e-05 | 0.088695 | 0.088695 | 0.088695 | 0.97111 | -0.55654 | 0.97035 | -0.5716 | 24.3667
69 | -0.0060104 | -0.0015063 | 0.0060107 | 0.0015064 | 3.5113e-07 | 8.0945e-08 | 0.0090923 | 0.0090923 | 0.0090923 | 0.98363 | -0.31305 | 0.98369 | -0.31183 | 2.4979

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40502 | 0.10389

## res_load
| p_mw | q_mvar
0 | 0.004523 | 0.0011336
1 | 0.0028213 | 0.0007071
2 | 0.0030681 | 0.00076893
3 | 0.0022608 | 0.00056662
4 | 0.0030686 | 0.00076907
5 | 0.00080204 | 0.00020101
6 | 0.001525 | 0.0003822
7 | 0.0032103 | 0.00080458
8 | 0.0029977 | 0.00075131
9 | 0.0029864 | 0.00074847
10 | 0.0015465 | 0.00038759
11 | 0.0029833 | 0.00074769
12 | 0.0013765 | 0.00034498
13 | 0.0060813 | 0.0015241
14 | 0.005577 | 0.0013977
15 | 0.0020093 | 0.00050357
16 | 0.0012391 | 0.00031054
17 | 0.0022205 | 0.0005565
18 | 0.0061981 | 0.0015534
19 | 0.0015567 | 0.00039014
20 | 0.001558 | 0.00039048
21 | 0.0018474 | 0.00046301
22 | 0.0075821 | 0.0019002
23 | 0.0081076 | 0.0020319
24 | 0.018162 | 0.0045517
25 | 0.0053106 | 0.001331
26 | 0.0032016 | 0.00080241
27 | 0.021344 | 0.0053493
28 | 0.020093 | 0.0050357
29 | 0.0090451 | 0.0022669
30 | 0.0050169 | 0.0012574
31 | 0.080465 | 0.020166
32 | 0.0056212 | 0.0014088
33 | 0.0075083 | 0.0018818
34 | 0.031587 | 0.0079164
35 | 0.0025323 | 0.00063465
36 | 0.057839 | 0.014496
37 | 0.0060104 | 0.0015063
38 | 0.0075781 | 0.0018992
39 | 0.0024831 | 0.00062232
40 | 0.018267 | 0.0045782
41 | 0.016882 | 0.004231

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1