## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-27_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-27_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-27_0_4_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_191-27_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-27_0_4_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_191-27_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_191-27_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_191-27_0_4_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_191-27_0_4_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_191-27_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_191-27_0_4_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_191-27_0_4_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_191-27_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_191-27_0_4_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_191-27_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_191-27_0_4_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_191-27_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_191-27_0_4_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_191-27_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_191-27_0_4_node_89 | 0.4 | n |  | TRUE
20 | bus_LV_191-27_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_191-27_0_4_node_87 | 0.4 | n |  | TRUE
22 | bus_LV_191-27_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_191-27_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_191-27_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_191-27_0_4_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_191-27_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_191-27_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_191-27_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_191-27_0_4_node_96 | 0.4 | n |  | TRUE
30 | bus_LV_191-27_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_191-27_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_191-27_0_4_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_191-27_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_191-27_0_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_191-27_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_191-27_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_191-27_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_191-27_0_4_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_191-27_0_4_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_191-27_0_4_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_191-27_0_4_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_191-27_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_191-27_0_4_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_191-27_0_4_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_191-27_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_191-27_0_4_node_94 | 0.4 | n |  | TRUE
47 | bus_LV_191-27_0_4_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_191-27_0_4_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_191-27_0_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_191-27_0_4_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_191-27_0_4_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_191-27_0_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_191-27_0_4_node_91 | 0.4 | n |  | TRUE
54 | bus_LV_191-27_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_191-27_0_4_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_191-27_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_191-27_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_191-27_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_191-27_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_191-27_0_4_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_191-27_0_4_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_191-27_0_4_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_191-27_0_4_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_191-27_0_4_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_191-27_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_191-27_0_4_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_191-27_0_4_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_191-27_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_191-27_0_4_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_191-27_0_4_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_191-27_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_191-27_0_4_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_191-27_0_4_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_191-27_0_4_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_191-27_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_191-27_0_4_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_191-27_0_4_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_191-27_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_191-27_0_4_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_191-27_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_191-27_0_4_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_191-27_0_4_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_191-27_0_4_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_191-27_0_4_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_191-27_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_191-27_0_4_node_73 | 0.4 | n |  | TRUE
87 | bus_MV_499_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-27_0_4_load_0 | 0 | 0.020285 | 0.0050838 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-27_0_4_load_30 | 4 | 0.0082343 | 0.0020637 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-27_0_4_load_29 | 5 | 0.010189 | 0.0025536 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-27_0_4_load_32 | 7 | 0.0068932 | 0.0017276 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-27_0_4_load_33 | 8 | 0.0065938 | 0.0016526 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-27_0_4_load_57 | 10 | 0.0083316 | 0.0020881 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-27_0_4_load_56 | 11 | 0.015003 | 0.0037602 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-27_0_4_load_53 | 13 | 0.0075848 | 0.0019009 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-27_0_4_load_31 | 15 | 0.0093122 | 0.0023339 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-27_0_4_load_34 | 17 | 0.020825 | 0.0052192 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-27_0_4_load_89 | 19 | 0.0088756 | 0.0022244 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-27_0_4_load_87 | 21 | 0.0070032 | 0.0017552 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-27_0_4_load_95 | 25 | 0.010668 | 0.0026738 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-27_0_4_load_96 | 29 | 0.002734 | 0.0006852 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-27_0_4_load_74 | 32 | 0.0057987 | 0.0014533 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-27_0_4_load_42 | 34 | 0.004885 | 0.0012243 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-27_0_4_load_41 | 35 | 0.0064774 | 0.0016234 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-27_0_4_load_43 | 36 | 0.013254 | 0.0033219 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-27_0_4_load_39 | 37 | 0.013503 | 0.0033841 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-27_0_4_load_88 | 38 | 0.01454 | 0.003644 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-27_0_4_load_90 | 39 | 0.0014324 | 0.00035898 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-27_0_4_load_63 | 40 | 0.010995 | 0.0027556 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-27_0_4_load_86 | 41 | 0.011625 | 0.0029135 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-27_0_4_load_83 | 44 | 0.0046558 | 0.0011669 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-27_0_4_load_94 | 46 | 0.0068186 | 0.0017089 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-27_0_4_load_93 | 47 | 0.0015138 | 0.00037939 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-27_0_4_load_52 | 48 | 0.004489 | 0.0011251 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-27_0_4_load_58 | 49 | 0.0078589 | 0.0019696 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-27_0_4_load_80 | 50 | 0.0024692 | 0.00061884 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-27_0_4_load_79 | 51 | 0.0043316 | 0.0010856 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-27_0_4_load_54 | 52 | 0.004875 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-27_0_4_load_92 | 55 | 0.034283 | 0.0085922 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-27_0_4_load_44 | 57 | 0.0095221 | 0.0023865 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-27_0_4_load_35 | 58 | 0.020427 | 0.0051195 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-27_0_4_load_40 | 59 | 0.0059756 | 0.0014976 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-27_0_4_load_76 | 60 | 0.0068022 | 0.0017048 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-27_0_4_load_77 | 62 | 0.0078117 | 0.0019578 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-27_0_4_load_36 | 64 | 0.017873 | 0.0044793 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-27_0_4_load_62 | 65 | 0.0056203 | 0.0014086 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-27_0_4_load_85 | 66 | 0.010077 | 0.0025255 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-27_0_4_load_82 | 67 | 0.0048589 | 0.0012178 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-27_0_4_load_61 | 68 | 0.0056056 | 0.0014049 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_191-27_0_4_load_45 | 69 | 0.0050484 | 0.0012652 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_191-27_0_4_load_46 | 70 | 0.0053651 | 0.0013446 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_191-27_0_4_load_49 | 73 | 0.0088633 | 0.0022214 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_191-27_0_4_load_48 | 74 | 0.011058 | 0.0027715 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_191-27_0_4_load_78 | 76 | 0.0039753 | 0.0009963 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_191-27_0_4_load_84 | 77 | 0.0051066 | 0.0012798 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_191-27_0_4_load_69 | 78 | 0.005149 | 0.0012905 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_191-27_0_4_load_64 | 80 | 0.0053002 | 0.0013283 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_191-27_0_4_load_65 | 81 | 0.0049288 | 0.0012353 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_191-27_0_4_load_70 | 85 | 0.0057987 | 0.0014533 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_191-27_0_4_load_73 | 86 | 0.004682 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-27_0_4_line_0 |  | 0 | 1 | 0.024201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-27_0_4_line_1 |  | 1 | 2 | 0.069805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-27_0_4_line_2 |  | 2 | 16 | 0.052174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-27_0_4_line_3 |  | 2 | 17 | 0.029846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-27_0_4_line_4 |  | 3 | 4 | 0.018807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-27_0_4_line_5 |  | 3 | 5 | 0.004562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-27_0_4_line_6 |  | 4 | 6 | 0.028385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-27_0_4_line_7 |  | 5 | 14 | 0.02455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-27_0_4_line_8 |  | 6 | 7 | 0.041428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-27_0_4_line_9 |  | 6 | 8 | 0.018085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-27_0_4_line_10 |  | 7 | 48 | 0.0060325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-27_0_4_line_11 |  | 9 | 10 | 0.02472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-27_0_4_line_12 |  | 9 | 11 | 0.023321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-27_0_4_line_13 |  | 10 | 49 | 0.019122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-27_0_4_line_14 |  | 11 | 12 | 0.026356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-27_0_4_line_15 |  | 12 | 13 | 0.024183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-27_0_4_line_16 |  | 13 | 52 | 0.017675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-27_0_4_line_17 |  | 14 | 15 | 0.014495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-27_0_4_line_18 |  | 15 | 53 | 0.011519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-27_0_4_line_19 |  | 16 | 54 | 0.026913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_191-27_0_4_line_20 |  | 16 | 55 | 0.023672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-27_0_4_line_21 |  | 17 | 58 | 0.041489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-27_0_4_line_22 |  | 18 | 19 | 0.018069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-27_0_4_line_23 |  | 18 | 20 | 0.052458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-27_0_4_line_24 |  | 18 | 21 | 0.0090846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-27_0_4_line_25 |  | 20 | 40 | 0.02799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_191-27_0_4_line_26 |  | 20 | 41 | 0.015982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-27_0_4_line_27 |  | 21 | 38 | 0.052284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-27_0_4_line_28 |  | 22 | 23 | 0.009889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-27_0_4_line_29 |  | 22 | 24 | 0.018876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-27_0_4_line_30 |  | 23 | 34 | 0.025138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-27_0_4_line_31 |  | 24 | 25 | 0.022697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-27_0_4_line_32 |  | 25 | 45 | 0.024811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-27_0_4_line_33 |  | 26 | 27 | 0.0095044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-27_0_4_line_34 |  | 26 | 28 | 0.004901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-27_0_4_line_35 |  | 26 | 29 | 0.0068869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-27_0_4_line_36 |  | 27 | 36 | 0.042177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-27_0_4_line_37 |  | 27 | 37 | 0.010714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-27_0_4_line_38 |  | 28 | 38 | 0.023904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-27_0_4_line_39 |  | 29 | 46 | 0.011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-27_0_4_line_40 |  | 30 | 31 | 0.032972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-27_0_4_line_41 |  | 30 | 32 | 0.015331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-27_0_4_line_42 |  | 31 | 39 | 0.027084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-27_0_4_line_43 |  | 32 | 63 | 0.010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-27_0_4_line_44 |  | 33 | 34 | 0.027874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-27_0_4_line_45 |  | 33 | 35 | 0.022317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-27_0_4_line_46 |  | 35 | 59 | 0.041318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-27_0_4_line_47 |  | 40 | 65 | 0.018559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_191-27_0_4_line_48 |  | 41 | 66 | 0.018286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-27_0_4_line_49 |  | 42 | 43 | 0.02119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-27_0_4_line_50 |  | 42 | 44 | 0.01443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-27_0_4_line_51 |  | 43 | 67 | 0.0045084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-27_0_4_line_52 |  | 43 | 62 | 0.017126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-27_0_4_line_53 |  | 45 | 46 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-27_0_4_line_54 |  | 45 | 47 | 0.033859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-27_0_4_line_55 |  | 49 | 72 | 0.025731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-27_0_4_line_56 |  | 50 | 51 | 0.016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_191-27_0_4_line_57 |  | 51 | 75 | 0.021383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_191-27_0_4_line_58 |  | 53 | 55 | 0.02337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_191-27_0_4_line_59 |  | 54 | 56 | 0.029259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_191-27_0_4_line_60 |  | 54 | 57 | 0.015517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_191-27_0_4_line_61 |  | 56 | 68 | 0.020214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_191-27_0_4_line_62 |  | 57 | 69 | 0.0088807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_191-27_0_4_line_63 |  | 58 | 64 | 0.04216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_191-27_0_4_line_64 |  | 60 | 61 | 0.0079823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_191-27_0_4_line_65 |  | 61 | 62 | 0.025237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_191-27_0_4_line_66 |  | 63 | 85 | 0.0073225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_191-27_0_4_line_67 |  | 63 | 83 | 0.025525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_191-27_0_4_line_68 |  | 65 | 68 | 0.016413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_191-27_0_4_line_69 |  | 66 | 83 | 0.0116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_191-27_0_4_line_70 |  | 67 | 86 | 0.013185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_191-27_0_4_line_71 |  | 69 | 70 | 0.019136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_191-27_0_4_line_72 |  | 70 | 71 | 0.0073083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_191-27_0_4_line_73 |  | 71 | 72 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_191-27_0_4_line_74 |  | 71 | 73 | 0.018729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_191-27_0_4_line_75 |  | 73 | 74 | 0.0013682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_191-27_0_4_line_76 |  | 75 | 76 | 0.024017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_191-27_0_4_line_77 |  | 76 | 79 | 0.0061293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_191-27_0_4_line_78 |  | 77 | 78 | 0.017651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_191-27_0_4_line_79 |  | 78 | 82 | 0.016663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_191-27_0_4_line_80 |  | 79 | 84 | 0.020658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_191-27_0_4_line_81 |  | 80 | 81 | 0.019149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_191-27_0_4_line_82 |  | 80 | 82 | 0.015377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_191-27_0_4_line_83 |  | 81 | 83 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_191-27_0_4_line_84 |  | 84 | 86 | 0.025127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_191-27_0_4_line_85 |  | 84 | 85 | 0.0211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-27_0_4_trafo_61 | 0.63 MVA 20/0.4 kV | 87 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2688703.2632 | 1250204.3313 | 2688720.5946 | 1250208.6273 | 2688726.855 | 1250209.6572
1 | 2688719.6191 | 1250156.3064 | 2688696.6546 | 1250179.2579 | 2688690.0923 | 1250190.4237 | 2688690.2142 | 1250201.445 | 2688703.2632 | 1250204.3313
2 | 2688680.7916 | 1250133.8639 | 2688686.9321 | 1250127.6733 | 2688719.6191 | 1250156.3064
3 | 2688719.6191 | 1250156.3064 | 2688740.7185 | 1250135.1971
4 | 2688614.4152 | 1250180.8847 | 2688595.9876 | 1250177.126
5 | 2688614.4152 | 1250180.8847 | 2688618.9271 | 1250181.5586
6 | 2688568.1748 | 1250171.4531 | 2688595.9876 | 1250177.126
7 | 2688643.208 | 1250185.1851 | 2688618.9271 | 1250181.5586
8 | 2688568.1748 | 1250171.4531 | 2688566.9989 | 1250165.7646 | 2688564.7941 | 1250158.7041 | 2688549.028 | 1250135.2966
9 | 2688568.1748 | 1250171.4531 | 2688550.4545 | 1250167.8403
10 | 2688549.028 | 1250135.2966 | 2688545.6579 | 1250130.2932
11 | 2688542.4922 | 1250091.9204 | 2688548.6015 | 1250094.8805 | 2688566.2534 | 1250098.0329
12 | 2688542.4922 | 1250091.9204 | 2688548.083 | 1250069.2796
13 | 2688585.0781 | 1250101.3947 | 2688566.2534 | 1250098.0329
14 | 2688557.9405 | 1250044.9378 | 2688549.7254 | 1250062.6285 | 2688548.083 | 1250069.2796
15 | 2688557.9405 | 1250044.9378 | 2688580.1623 | 1250054.4771
16 | 2688580.1623 | 1250054.4771 | 2688595.4262 | 1250063.3895
17 | 2688643.208 | 1250185.1851 | 2688646.4234 | 1250171.0509
18 | 2688648.9786 | 1250159.8188 | 2688646.4234 | 1250171.0509
19 | 2688671.9944 | 1250117.2865 | 2688686.9321 | 1250127.6733 | 2688680.7916 | 1250133.8639
20 | 2688680.7916 | 1250133.8639 | 2688677.5644 | 1250139.62 | 2688668.641 | 1250154.1753
21 | 2688740.7185 | 1250135.1971 | 2688759.7849 | 1250116.1217 | 2688769.9548 | 1250105.76
22 | 2688775.7374 | 1250002.3633 | 2688775.9579 | 1250001.2547 | 2688776.7197 | 1249997.7857 | 2688766.895 | 1249988.6927
23 | 2688739.7246 | 1250030.3787 | 2688743.6263 | 1250026.9789 | 2688752.008 | 1250019.3765 | 2688757.763 | 1250013.2246 | 2688762.0984 | 1250005.5726 | 2688772.8567 | 1250009.1809 | 2688775.7374 | 1250002.3633
24 | 2688775.7374 | 1250002.3633 | 2688783.862 | 1250006.4279
25 | 2688739.7246 | 1250030.3787 | 2688719.3376 | 1250049.5568
26 | 2688739.7246 | 1250030.3787 | 2688729.4163 | 1250019.4161 | 2688728.6289 | 1250018.9133
27 | 2688783.862 | 1250006.4279 | 2688784.9255 | 1250006.96 | 2688799.6714 | 1250011.0061 | 2688813.1189 | 1250013.5206 | 2688824.2088 | 1250013.6424 | 2688835.1994 | 1250014.6057
28 | 2688910.4032 | 1250100.3114 | 2688915.7293 | 1250108.6531
29 | 2688910.4032 | 1250100.3114 | 2688912.3222 | 1250089.165 | 2688913.0845 | 1250081.6374
30 | 2688915.7293 | 1250108.6531 | 2688907.7466 | 1250112.3028 | 2688895.8049 | 1250123.4866
31 | 2688913.0845 | 1250081.6374 | 2688908.4576 | 1250078.5212 | 2688897.68 | 1250065.2215
32 | 2688882.0593 | 1250045.9451 | 2688897.68 | 1250065.2215
33 | 2688856.7238 | 1250034.6123 | 2688858.9956 | 1250029.6426 | 2688860.9214 | 1250026.091
34 | 2688857.1172 | 1250022.9872 | 2688860.9214 | 1250026.091
35 | 2688860.9214 | 1250026.091 | 2688866.474 | 1250030.1651
36 | 2688856.7238 | 1250034.6123 | 2688864.0308 | 1250039.7702 | 2688870.9977 | 1250046.4574 | 2688877.683 | 1250055.3088 | 2688885.3504 | 1250065.1603
37 | 2688856.7238 | 1250034.6123 | 2688853.3355 | 1250033.4829 | 2688849.5073 | 1250033.9925 | 2688846.4904 | 1250035.2816
38 | 2688857.1172 | 1250022.9872 | 2688853.0451 | 1250019.6236 | 2688839.0562 | 1250014.9437 | 2688835.1994 | 1250014.6057
39 | 2688874.9367 | 1250037.5542 | 2688874.9367 | 1250037.5542 | 2688868.4867 | 1250031.6419 | 2688866.474 | 1250030.1651
40 | 2688704.5234 | 1249967.9157 | 2688712.7248 | 1249960.7552 | 2688703.9862 | 1249948.8265 | 2688709.7168 | 1249944.3088
41 | 2688704.5234 | 1249967.9157 | 2688693.1717 | 1249978.22
42 | 2688709.7168 | 1249944.3088 | 2688721.8218 | 1249960.3466 | 2688726.7124 | 1249965.3423
43 | 2688685.5553 | 1249985.1338 | 2688693.1717 | 1249978.22
44 | 2688875.4605 | 1250142.5416 | 2688883.218 | 1250135.2746 | 2688895.8049 | 1250123.4866
45 | 2688875.4605 | 1250142.5416 | 2688859.2025 | 1250157.8297
46 | 2688829.1024 | 1250186.1343 | 2688859.2025 | 1250157.8297
47 | 2688719.3376 | 1250049.5568 | 2688706.2269 | 1250061.89 | 2688705.821 | 1250062.275
48 | 2688728.6289 | 1250018.9133 | 2688722.8722 | 1250015.2372 | 2688715.2792 | 1250007.4843 | 2688714.725 | 1250007.2457
49 | 2688621.1907 | 1249956.1159 | 2688635.6518 | 1249971.6438
50 | 2688621.1907 | 1249956.1159 | 2688610.1316 | 1249965.3855
51 | 2688635.6518 | 1249971.6438 | 2688638.6404 | 1249975.0193
52 | 2688635.6518 | 1249971.6438 | 2688648.4259 | 1249960.2374
53 | 2688882.0593 | 1250045.9451 | 2688874.9367 | 1250037.5542
54 | 2688882.0593 | 1250045.9451 | 2688908.3237 | 1250024.5761
55 | 2688610.5969 | 1250104.5254 | 2688603.1565 | 1250103.7358 | 2688593.6551 | 1250102.9265 | 2688585.0781 | 1250101.3947
56 | 2688614.3159 | 1250027.6013 | 2688603.1538 | 1250014.9898
57 | 2688630.363 | 1250041.5065 | 2688620.6187 | 1250034.7224 | 2688614.3159 | 1250027.6013
58 | 2688648.9786 | 1250159.8188 | 2688661.4335 | 1250162.0401 | 2688663.6875 | 1250160.2614 | 2688668.641 | 1250154.1753
59 | 2688671.9944 | 1250117.2865 | 2688676.2762 | 1250102.1057 | 2688682.1586 | 1250089.9623
60 | 2688671.9944 | 1250117.2865 | 2688656.7954 | 1250114.1608
61 | 2688682.1586 | 1250089.9623 | 2688683.3585 | 1250087.4783 | 2688693.9529 | 1250073.6061
62 | 2688656.7954 | 1250114.1608 | 2688648.0967 | 1250112.3719
63 | 2688769.9548 | 1250105.76 | 2688799.4868 | 1250075.6708
64 | 2688667.2504 | 1249943.4284 | 2688662.0885 | 1249937.3397
65 | 2688667.2504 | 1249943.4284 | 2688648.4259 | 1249960.2374
66 | 2688685.5553 | 1249985.1338 | 2688680.0117 | 1249989.9179
67 | 2688685.5553 | 1249985.1338 | 2688695.289 | 1249995.654 | 2688704.0711 | 1250002.6574
68 | 2688693.9529 | 1250073.6061 | 2688694.1559 | 1250073.3403 | 2688705.821 | 1250062.275
69 | 2688704.0711 | 1250002.6574 | 2688714.725 | 1250007.2457
70 | 2688638.6404 | 1249975.0193 | 2688647.3807 | 1249984.8909
71 | 2688648.0967 | 1250112.3719 | 2688629.3529 | 1250108.5172
72 | 2688622.1944 | 1250107.0451 | 2688629.3529 | 1250108.5172
73 | 2688610.5969 | 1250104.5254 | 2688622.1944 | 1250107.0451
74 | 2688622.1944 | 1250107.0451 | 2688618.2369 | 1250125.3507
75 | 2688617.9478 | 1250126.688 | 2688618.2369 | 1250125.3507
76 | 2688630.363 | 1250041.5065 | 2688643.93 | 1250022.9175 | 2688644.6237 | 1250022.1929
77 | 2688648.8621 | 1250017.7652 | 2688644.6237 | 1250022.1929
78 | 2688660.3741 | 1250049.2056 | 2688657.1483 | 1250056.385 | 2688654.7724 | 1250058.7401 | 2688652.0296 | 1250064.5607
79 | 2688668.6732 | 1250035.0078 | 2688663.0451 | 1250046.8104 | 2688660.3741 | 1250049.2056
80 | 2688664.0376 | 1250003.7037 | 2688648.8621 | 1250017.7652
81 | 2688680.9459 | 1250028.2419 | 2688689.8234 | 1250020.8024 | 2688695.1897 | 1250015.4684
82 | 2688668.6732 | 1250035.0078 | 2688675.0605 | 1250035.0367 | 2688680.9459 | 1250028.2419
83 | 2688704.0711 | 1250002.6574 | 2688698.2544 | 1250012.4222 | 2688695.1897 | 1250015.4684
84 | 2688664.0376 | 1250003.7037 | 2688647.3807 | 1249984.8909
85 | 2688664.0376 | 1250003.7037 | 2688680.0117 | 1249989.9179

## bus_geodata
| x | y | coords
0 | 2688726.855 | 1250209.6572
1 | 2688703.2632 | 1250204.3313
2 | 2688719.6191 | 1250156.3064
3 | 2688614.4152 | 1250180.8847
4 | 2688595.9876 | 1250177.126
5 | 2688618.9271 | 1250181.5586
6 | 2688568.1748 | 1250171.4531
7 | 2688549.028 | 1250135.2966
8 | 2688550.4545 | 1250167.8403
9 | 2688542.4922 | 1250091.9204
10 | 2688566.2534 | 1250098.0329
11 | 2688548.083 | 1250069.2796
12 | 2688557.9405 | 1250044.9378
13 | 2688580.1623 | 1250054.4771
14 | 2688643.208 | 1250185.1851
15 | 2688646.4234 | 1250171.0509
16 | 2688680.7916 | 1250133.8639
17 | 2688740.7185 | 1250135.1971
18 | 2688775.7374 | 1250002.3633
19 | 2688766.895 | 1249988.6927
20 | 2688739.7246 | 1250030.3787
21 | 2688783.862 | 1250006.4279
22 | 2688910.4032 | 1250100.3114
23 | 2688915.7293 | 1250108.6531
24 | 2688913.0845 | 1250081.6374
25 | 2688897.68 | 1250065.2215
26 | 2688860.9214 | 1250026.091
27 | 2688856.7238 | 1250034.6123
28 | 2688857.1172 | 1250022.9872
29 | 2688866.474 | 1250030.1651
30 | 2688704.5234 | 1249967.9157
31 | 2688709.7168 | 1249944.3088
32 | 2688693.1717 | 1249978.22
33 | 2688875.4605 | 1250142.5416
34 | 2688895.8049 | 1250123.4866
35 | 2688859.2025 | 1250157.8297
36 | 2688885.3504 | 1250065.1603
37 | 2688846.4904 | 1250035.2816
38 | 2688835.1994 | 1250014.6057
39 | 2688726.7124 | 1249965.3423
40 | 2688719.3376 | 1250049.5568
41 | 2688728.6289 | 1250018.9133
42 | 2688621.1907 | 1249956.1159
43 | 2688635.6518 | 1249971.6438
44 | 2688610.1316 | 1249965.3855
45 | 2688882.0593 | 1250045.9451
46 | 2688874.9367 | 1250037.5542
47 | 2688908.3237 | 1250024.5761
48 | 2688545.6579 | 1250130.2932
49 | 2688585.0781 | 1250101.3947
50 | 2688603.1538 | 1250014.9898
51 | 2688614.3159 | 1250027.6013
52 | 2688595.4262 | 1250063.3895
53 | 2688648.9786 | 1250159.8188
54 | 2688671.9944 | 1250117.2865
55 | 2688668.641 | 1250154.1753
56 | 2688682.1586 | 1250089.9623
57 | 2688656.7954 | 1250114.1608
58 | 2688769.9548 | 1250105.76
59 | 2688829.1024 | 1250186.1343
60 | 2688662.0885 | 1249937.3397
61 | 2688667.2504 | 1249943.4284
62 | 2688648.4259 | 1249960.2374
63 | 2688685.5553 | 1249985.1338
64 | 2688799.4868 | 1250075.6708
65 | 2688705.821 | 1250062.275
66 | 2688714.725 | 1250007.2457
67 | 2688638.6404 | 1249975.0193
68 | 2688693.9529 | 1250073.6061
69 | 2688648.0967 | 1250112.3719
70 | 2688629.3529 | 1250108.5172
71 | 2688622.1944 | 1250107.0451
72 | 2688610.5969 | 1250104.5254
73 | 2688618.2369 | 1250125.3507
74 | 2688617.9478 | 1250126.688
75 | 2688630.363 | 1250041.5065
76 | 2688644.6237 | 1250022.1929
77 | 2688652.0296 | 1250064.5607
78 | 2688660.3741 | 1250049.2056
79 | 2688648.8621 | 1250017.7652
80 | 2688680.9459 | 1250028.2419
81 | 2688695.1897 | 1250015.4684
82 | 2688668.6732 | 1250035.0078
83 | 2688704.0711 | 1250002.6574
84 | 2688664.0376 | 1250003.7037
85 | 2688680.0117 | 1249989.9179
86 | 2688647.3807 | 1249984.8909
87 | 2688682.1586 | 1250089.9623

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98695 | -0.25086 | 0.020285 | 0.0050838
1 | 0.9874 | -0.24208 | 0 | 0
2 | 0.9887 | -0.2168 | 0 | 0
3 | 0.9879 | -0.23261 | 0 | 0
4 | 0.98744 | -0.24142 | 0.0082343 | 0.0020637
5 | 0.98801 | -0.23048 | 0.010189 | 0.0025536
6 | 0.98698 | -0.25055 | 0 | 0
7 | 0.98654 | -0.25899 | 0.0068932 | 0.0017276
8 | 0.98687 | -0.25268 | 0.0065938 | 0.0016526
9 | 0.9883 | -0.22486 | 0 | 0
10 | 0.98892 | -0.21275 | 0.0083316 | 0.0020881
11 | 0.98771 | -0.2363 | 0.015003 | 0.0037602
12 | 0.98741 | -0.24217 | 0 | 0
13 | 0.98713 | -0.24755 | 0.0075848 | 0.0019009
14 | 0.98883 | -0.21453 | 0 | 0
15 | 0.98931 | -0.20513 | 0.0093122 | 0.0023339
16 | 0.99251 | -0.1432 | 0 | 0
17 | 0.98708 | -0.24832 | 0.020825 | 0.0052192
18 | 0.98959 | -0.19909 | 0 | 0
19 | 0.98944 | -0.20194 | 0.0088756 | 0.0022244
20 | 0.99425 | -0.10963 | 0 | 0
21 | 0.98886 | -0.21323 | 0.0070032 | 0.0017552
22 | 0.98099 | -0.36628 | 0 | 0
23 | 0.98083 | -0.36938 | 0 | 0
24 | 0.98129 | -0.36035 | 0 | 0
25 | 0.98166 | -0.35323 | 0.010668 | 0.0026738
26 | 0.98323 | -0.32257 | 0 | 0
27 | 0.98299 | -0.32715 | 0 | 0
28 | 0.98352 | -0.31675 | 0 | 0
29 | 0.98298 | -0.32742 | 0.002734 | 0.0006852
30 | 0.98937 | -0.20398 | 0 | 0
31 | 0.98932 | -0.20482 | 0 | 0
32 | 0.98939 | -0.20358 | 0.0057987 | 0.0014533
33 | 0.98011 | -0.38358 | 0 | 0
34 | 0.98043 | -0.37728 | 0.004885 | 0.0012243
35 | 0.97985 | -0.38863 | 0.0064774 | 0.0016234
36 | 0.98248 | -0.33724 | 0.013254 | 0.0033219
37 | 0.98286 | -0.32976 | 0.013503 | 0.0033841
38 | 0.98498 | -0.28843 | 0.01454 | 0.003644
39 | 0.98929 | -0.20551 | 0.0014324 | 0.00035898
40 | 0.99671 | -0.062599 | 0.010995 | 0.0027556
41 | 0.99286 | -0.13639 | 0.011625 | 0.0029135
42 | 0.98725 | -0.245 | 0 | 0
43 | 0.98735 | -0.24324 | 0 | 0
44 | 0.98719 | -0.2462 | 0.0046558 | 0.0011669
45 | 0.9823 | -0.34066 | 0 | 0
46 | 0.9826 | -0.3348 | 0.0068186 | 0.0017089
47 | 0.98225 | -0.34159 | 0.0015138 | 0.00037939
48 | 0.98652 | -0.25948 | 0.004489 | 0.0011251
49 | 0.98955 | -0.20056 | 0.0078589 | 0.0019696
50 | 0.9878 | -0.23448 | 0.0024692 | 0.00061884
51 | 0.98783 | -0.23374 | 0.0043316 | 0.0010856
52 | 0.98706 | -0.2491 | 0.004875 | 0.0012218
53 | 0.9898 | -0.19576 | 0 | 0
54 | 0.99448 | -0.10532 | 0 | 0
55 | 0.99078 | -0.17677 | 0.034283 | 0.0085922
56 | 0.99775 | -0.042893 | 0 | 0
57 | 0.9933 | -0.12819 | 0.0095221 | 0.0023865
58 | 0.98562 | -0.27679 | 0.020427 | 0.0051195
59 | 0.97962 | -0.39311 | 0.0059756 | 0.0014976
60 | 0.98691 | -0.25176 | 0.0068022 | 0.0017048
61 | 0.98696 | -0.25079 | 0 | 0
62 | 0.98712 | -0.24771 | 0.0078117 | 0.0019578
63 | 0.98945 | -0.20226 | 0 | 0
64 | 0.98492 | -0.29032 | 0.017873 | 0.0044793
65 | 0.99843 | -0.029755 | 0.0056203 | 0.0014086
66 | 0.99147 | -0.16332 | 0.010077 | 0.0025255
67 | 0.98743 | -0.24169 | 0.0048589 | 0.0012178
68 | 1 | 0 | -0.45731 | -0.11615
69 | 0.99269 | -0.13981 | 0.0050484 | 0.0012652
70 | 0.99148 | -0.16317 | 0.0053651 | 0.0013446
71 | 0.99106 | -0.17141 | 0 | 0
72 | 0.99058 | -0.18058 | 0 | 0
73 | 0.99072 | -0.17803 | 0.0088633 | 0.0022214
74 | 0.9907 | -0.1783 | 0.011058 | 0.0027715
75 | 0.98797 | -0.23114 | 0 | 0
76 | 0.98812 | -0.22823 | 0.0039753 | 0.0009963
77 | 0.98974 | -0.19683 | 0.0051066 | 0.0012798
78 | 0.98982 | -0.19522 | 0.005149 | 0.0012905
79 | 0.98818 | -0.22705 | 0 | 0
80 | 0.99012 | -0.18938 | 0.0053002 | 0.0013283
81 | 0.99039 | -0.18408 | 0.0049288 | 0.0012353
82 | 0.98998 | -0.19218 | 0 | 0
83 | 0.99069 | -0.17837 | 0 | 0
84 | 0.98838 | -0.22307 | 0 | 0
85 | 0.98915 | -0.20818 | 0.0057987 | 0.0014533
86 | 0.98772 | -0.236 | 0.004682 | 0.0011734
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.020285 | -0.0050838 | 0.020293 | 0.0050889 | 8.4881e-06 | 5.123e-06 | 0.030583 | 0.030583 | 0.030583 | 0.98695 | -0.25086 | 0.9874 | -0.24208 | 8.4019
1 | -0.020293 | -0.0050889 | 0.020318 | 0.0051037 | 2.4483e-05 | 1.4775e-05 | 0.030583 | 0.030582 | 0.030583 | 0.9874 | -0.24208 | 0.9887 | -0.2168 | 8.4019
2 | -0.079595 | -0.020018 | 0.079876 | 0.020197 | 0.00028088 | 0.00017909 | 0.11982 | 0.11982 | 0.11982 | 0.9887 | -0.2168 | 0.99251 | -0.1432 | 32.9166
3 | 0.059277 | 0.014914 | -0.059188 | -0.014858 | 8.9121e-05 | 5.6655e-05 | 0.089234 | 0.089234 | 0.089234 | 0.9887 | -0.2168 | 0.98708 | -0.24832 | 24.5149
4 | 0.026235 | 0.006583 | -0.026224 | -0.0065762 | 1.1014e-05 | 6.8084e-06 | 0.039519 | 0.039519 | 0.039519 | 0.9879 | -0.23261 | 0.98744 | -0.24142 | 10.8568
5 | -0.026235 | -0.006583 | 0.026237 | 0.0065846 | 2.6717e-06 | 1.6515e-06 | 0.039519 | 0.039519 | 0.039519 | 0.9879 | -0.23261 | 0.98801 | -0.23048 | 10.8567
6 | 0.017989 | 0.0045125 | -0.017981 | -0.0045078 | 7.8233e-06 | 4.644e-06 | 0.02711 | 0.02711 | 0.02711 | 0.98744 | -0.24142 | 0.98698 | -0.25055 | 7.4478
7 | -0.036426 | -0.0091382 | 0.036454 | 0.0091556 | 2.7711e-05 | 1.7421e-05 | 0.054864 | 0.054864 | 0.054864 | 0.98801 | -0.23048 | 0.98883 | -0.21453 | 15.0725
8 | 0.011387 | 0.002855 | -0.011382 | -0.0028526 | 4.5789e-06 | 2.4013e-06 | 0.017168 | 0.017168 | 0.017168 | 0.98698 | -0.25055 | 0.98654 | -0.25899 | 4.7165
9 | 0.0065945 | 0.0016528 | -0.0065938 | -0.0016526 | 6.7037e-07 | 1.9794e-07 | 0.0099422 | 0.0099423 | 0.0099423 | 0.98698 | -0.25055 | 0.98687 | -0.25268 | 2.7314
10 | 0.0044891 | 0.001125 | -0.004489 | -0.0011251 | 1.0371e-07 | -1.0648e-08 | 0.006771 | 0.006771 | 0.006771 | 0.98654 | -0.25899 | 0.98652 | -0.25948 | 1.8602
11 | -0.027485 | -0.0068959 | 0.027501 | 0.0069057 | 1.5877e-05 | 9.8443e-06 | 0.041385 | 0.041385 | 0.041385 | 0.9883 | -0.22486 | 0.98892 | -0.21275 | 11.3696
12 | 0.027485 | 0.0068959 | -0.02747 | -0.0068866 | 1.4978e-05 | 9.2875e-06 | 0.041385 | 0.041385 | 0.041385 | 0.9883 | -0.22486 | 0.98771 | -0.2363 | 11.3696
13 | -0.035833 | -0.0089938 | 0.035854 | 0.0090069 | 2.085e-05 | 1.3098e-05 | 0.053921 | 0.053921 | 0.053921 | 0.98892 | -0.21275 | 0.98955 | -0.20056 | 14.8136
14 | 0.012467 | 0.0031263 | -0.012463 | -0.0031244 | 3.4866e-06 | 1.8942e-06 | 0.018782 | 0.018782 | 0.018782 | 0.98771 | -0.2363 | 0.98741 | -0.24217 | 5.16
15 | 0.012463 | 0.0031244 | -0.01246 | -0.0031227 | 3.1992e-06 | 1.7382e-06 | 0.018782 | 0.018782 | 0.018782 | 0.98741 | -0.24217 | 0.98713 | -0.24755 | 5.16
16 | 0.0048753 | 0.0012218 | -0.004875 | -0.0012218 | 3.5799e-07 | 3.1716e-09 | 0.0073491 | 0.0073492 | 0.0073492 | 0.98713 | -0.24755 | 0.98706 | -0.2491 | 2.019
17 | -0.036454 | -0.0091556 | 0.03647 | 0.0091659 | 1.6362e-05 | 1.0285e-05 | 0.054864 | 0.054864 | 0.054864 | 0.98883 | -0.21453 | 0.98931 | -0.20513 | 15.0724
18 | -0.045782 | -0.0115 | 0.045803 | 0.011513 | 2.0488e-05 | 1.2965e-05 | 0.06887 | 0.06887 | 0.06887 | 0.98931 | -0.20513 | 0.9898 | -0.19576 | 18.9203
19 | -0.16013 | -0.04041 | 0.16042 | 0.040596 | 0.00029109 | 0.0001856 | 0.24017 | 0.24017 | 0.24017 | 0.99251 | -0.1432 | 0.99448 | -0.10532 | 32.9911
20 | 0.080256 | 0.020213 | -0.080128 | -0.020131 | 0.00012859 | 8.1995e-05 | 0.12036 | 0.12036 | 0.12036 | 0.99251 | -0.1432 | 0.99078 | -0.17677 | 33.0656
21 | 0.038363 | 0.0096385 | -0.038311 | -0.0096057 | 5.2052e-05 | 3.2784e-05 | 0.057841 | 0.057841 | 0.057841 | 0.98708 | -0.24832 | 0.98562 | -0.27679 | 15.8905
22 | 0.0088768 | 0.002225 | -0.0088756 | -0.0022244 | 1.2072e-06 | 5.4051e-07 | 0.013348 | 0.013348 | 0.013348 | 0.98959 | -0.19909 | 0.98944 | -0.20194 | 3.667
23 | -0.096796 | -0.024467 | 0.097214 | 0.024734 | 0.00041717 | 0.00026631 | 0.14562 | 0.14562 | 0.14562 | 0.98959 | -0.19909 | 0.99425 | -0.10963 | 40.0065
24 | 0.08792 | 0.022242 | -0.08786 | -0.022204 | 5.9607e-05 | 3.8032e-05 | 0.13228 | 0.13228 | 0.13228 | 0.98959 | -0.19909 | 0.98886 | -0.21323 | 36.3395
25 | -0.19245 | -0.048764 | 0.19288 | 0.049042 | 0.00043594 | 0.00027827 | 0.28821 | 0.28821 | 0.28821 | 0.99425 | -0.10963 | 0.99671 | -0.062599 | 39.5895
26 | 0.095235 | 0.02403 | -0.095113 | -0.023952 | 0.00012185 | 7.7778e-05 | 0.14259 | 0.14259 | 0.14259 | 0.99425 | -0.10963 | 0.99286 | -0.13639 | 39.1726
27 | 0.080857 | 0.020449 | -0.080566 | -0.020264 | 0.00029057 | 0.0001853 | 0.12174 | 0.12174 | 0.12174 | 0.98886 | -0.21323 | 0.98498 | -0.28843 | 33.4445
28 | 0.017355 | 0.0043547 | -0.017353 | -0.0043532 | 2.5703e-06 | 1.5202e-06 | 0.026327 | 0.026327 | 0.026327 | 0.98099 | -0.36628 | 0.98083 | -0.36938 | 7.2327
29 | -0.017355 | -0.0043547 | 0.01736 | 0.0043576 | 4.9063e-06 | 2.9016e-06 | 0.026327 | 0.026327 | 0.026327 | 0.98099 | -0.36628 | 0.98129 | -0.36035 | 7.2327
30 | 0.017353 | 0.0043532 | -0.017346 | -0.0043493 | 6.534e-06 | 3.8646e-06 | 0.026327 | 0.026327 | 0.026327 | 0.98083 | -0.36938 | 0.98043 | -0.37728 | 7.2327
31 | -0.01736 | -0.0043576 | 0.017366 | 0.0043611 | 5.8992e-06 | 3.4887e-06 | 0.026327 | 0.026327 | 0.026327 | 0.98129 | -0.36035 | 0.98166 | -0.35323 | 7.2327
32 | -0.028034 | -0.0070348 | 0.028051 | 0.0070453 | 1.6804e-05 | 1.0441e-05 | 0.042498 | 0.042498 | 0.042498 | 0.98166 | -0.35323 | 0.9823 | -0.34066 | 11.6754
33 | 0.026771 | 0.0067141 | -0.026765 | -0.0067105 | 5.851e-06 | 3.6241e-06 | 0.040517 | 0.040517 | 0.040517 | 0.98323 | -0.32257 | 0.98299 | -0.32715 | 11.1311
34 | -0.065919 | -0.016551 | 0.065937 | 0.016563 | 1.8295e-05 | 1.1647e-05 | 0.099773 | 0.099773 | 0.099773 | 0.98323 | -0.32257 | 0.98352 | -0.31675 | 27.4101
35 | 0.039148 | 0.0098373 | -0.039139 | -0.0098316 | 9.0681e-06 | 5.7163e-06 | 0.059256 | 0.059256 | 0.059256 | 0.98323 | -0.32257 | 0.98298 | -0.32742 | 16.279
36 | 0.013261 | 0.0033254 | -0.013254 | -0.0033219 | 6.3738e-06 | 3.5448e-06 | 0.020074 | 0.020075 | 0.020075 | 0.98299 | -0.32715 | 0.98248 | -0.33724 | 5.515
37 | 0.013504 | 0.003385 | -0.013503 | -0.0033841 | 1.6791e-06 | 9.388e-07 | 0.020443 | 0.020443 | 0.020443 | 0.98299 | -0.32715 | 0.98286 | -0.32976 | 5.6161
38 | -0.065937 | -0.016563 | 0.066026 | 0.01662 | 8.9233e-05 | 5.6806e-05 | 0.099773 | 0.099773 | 0.099773 | 0.98352 | -0.31675 | 0.98498 | -0.28843 | 27.4101
39 | 0.036405 | 0.0091464 | -0.036392 | -0.0091384 | 1.2812e-05 | 8.057e-06 | 0.055117 | 0.055117 | 0.055117 | 0.98298 | -0.32742 | 0.9826 | -0.3348 | 15.1421
40 | 0.0014325 | 0.00035828 | -0.0014324 | -0.00035867 | 5.7381e-08 | -3.8667e-07 | 0.0021542 | 0.0021543 | 0.0021543 | 0.98937 | -0.20398 | 0.98932 | -0.20482 | 0.59185
41 | -0.0014325 | -0.00035828 | 0.0014325 | 0.0003581 | 2.6678e-08 | -1.7981e-07 | 0.0021542 | 0.0021541 | 0.0021542 | 0.98937 | -0.20398 | 0.98939 | -0.20358 | 0.59181
42 | 0.0014324 | 0.00035867 | -0.0014324 | -0.00035898 | 4.7142e-08 | -3.176e-07 | 0.0021543 | 0.0021545 | 0.0021545 | 0.98932 | -0.20482 | 0.98929 | -0.20551 | 0.59189
43 | -0.0072312 | -0.0018114 | 0.0072317 | 0.0018116 | 4.5622e-07 | 1.5987e-07 | 0.010875 | 0.010875 | 0.010875 | 0.98939 | -0.20358 | 0.98945 | -0.20226 | 2.9877
44 | -0.012457 | -0.0031229 | 0.012461 | 0.003125 | 3.7391e-06 | 2.0416e-06 | 0.018913 | 0.018913 | 0.018913 | 0.98011 | -0.38358 | 0.98043 | -0.37728 | 5.1959
45 | 0.012457 | 0.0031229 | -0.012454 | -0.0031213 | 2.9936e-06 | 1.6347e-06 | 0.018913 | 0.018913 | 0.018913 | 0.98011 | -0.38358 | 0.97985 | -0.38863 | 5.196
46 | 0.0059769 | 0.0014979 | -0.0059756 | -0.0014976 | 1.2765e-06 | 2.9665e-07 | 0.0090766 | 0.0090768 | 0.0090768 | 0.97985 | -0.38863 | 0.97962 | -0.39311 | 2.4936
47 | -0.20388 | -0.051797 | 0.2042 | 0.052004 | 0.00032292 | 0.00020619 | 0.30463 | 0.30463 | 0.30463 | 0.99671 | -0.062599 | 0.99843 | -0.029755 | 41.8442
48 | 0.083488 | 0.021039 | -0.08338 | -0.02097 | 0.00010743 | 6.8516e-05 | 0.12517 | 0.12517 | 0.12517 | 0.99286 | -0.13639 | 0.99147 | -0.16332 | 34.3861
49 | -0.0046561 | -0.0011668 | 0.0046565 | 0.0011668 | 3.9134e-07 | -2.0526e-08 | 0.0070177 | 0.0070176 | 0.0070177 | 0.98725 | -0.245 | 0.98735 | -0.24324 | 1.928
50 | 0.0046561 | 0.0011668 | -0.0046558 | -0.0011669 | 2.665e-07 | -1.3946e-08 | 0.0070177 | 0.0070178 | 0.0070178 | 0.98725 | -0.245 | 0.98719 | -0.2462 | 1.928
51 | -0.019275 | -0.0048316 | 0.019276 | 0.0048325 | 1.4267e-06 | 8.554e-07 | 0.029049 | 0.029049 | 0.029049 | 0.98735 | -0.24324 | 0.98743 | -0.24169 | 7.9805
52 | 0.014618 | 0.0036648 | -0.014615 | -0.003663 | 3.1172e-06 | 1.776e-06 | 0.022031 | 0.022032 | 0.022032 | 0.98735 | -0.24324 | 0.98712 | -0.24771 | 6.0526
53 | -0.029565 | -0.0074243 | 0.029573 | 0.0074295 | 8.2805e-06 | 5.1602e-06 | 0.044791 | 0.044791 | 0.044791 | 0.9823 | -0.34066 | 0.9826 | -0.3348 | 12.3053
54 | 0.0015139 | 0.000379 | -0.0015138 | -0.00037939 | 6.6769e-08 | -3.8587e-07 | 0.0022931 | 0.0022932 | 0.0022932 | 0.9823 | -0.34066 | 0.98225 | -0.34159 | 0.63001
55 | -0.043712 | -0.010977 | 0.043754 | 0.011003 | 4.1699e-05 | 2.6357e-05 | 0.065739 | 0.065739 | 0.065739 | 0.98955 | -0.20056 | 0.99058 | -0.18058 | 18.0602
56 | -0.0024692 | -0.00061884 | 0.0024693 | 0.00061868 | 8.7377e-08 | -1.5968e-07 | 0.0037196 | 0.0037195 | 0.0037196 | 0.9878 | -0.23448 | 0.98783 | -0.23374 | 1.0219
57 | -0.0068008 | -0.0017043 | 0.0068017 | 0.0017045 | 8.4152e-07 | 2.6479e-07 | 0.010244 | 0.010244 | 0.010244 | 0.98783 | -0.23374 | 0.98797 | -0.23114 | 2.8144
58 | -0.045803 | -0.011513 | 0.045844 | 0.011539 | 4.1567e-05 | 2.6302e-05 | 0.06887 | 0.06887 | 0.06887 | 0.9898 | -0.19576 | 0.99078 | -0.17677 | 18.9203
59 | -0.2443 | -0.061754 | 0.24503 | 0.062223 | 0.00073376 | 0.00046885 | 0.36572 | 0.36572 | 0.36572 | 0.99448 | -0.10532 | 0.99775 | -0.042893 | 50.2361
60 | 0.083872 | 0.021158 | -0.08378 | -0.021099 | 9.1714e-05 | 5.8496e-05 | 0.12554 | 0.12554 | 0.12554 | 0.99448 | -0.10532 | 0.9933 | -0.12819 | 34.4902
61 | -0.24503 | -0.062223 | 0.24554 | 0.062547 | 0.00050692 | 0.0003239 | 0.36572 | 0.36572 | 0.36572 | 0.99775 | -0.042893 | 1 | 0 | 50.2361
62 | 0.074258 | 0.018713 | -0.074217 | -0.018687 | 4.1239e-05 | 2.6278e-05 | 0.11128 | 0.11128 | 0.11128 | 0.9933 | -0.12819 | 0.99269 | -0.13981 | 30.5713
63 | 0.017884 | 0.0044862 | -0.017873 | -0.0044793 | 1.1527e-05 | 6.8405e-06 | 0.027002 | 0.027002 | 0.027002 | 0.98562 | -0.27679 | 0.98492 | -0.29032 | 7.4182
64 | -0.0068022 | -0.0017048 | 0.0068025 | 0.0017049 | 3.1486e-07 | 9.9505e-08 | 0.010256 | 0.010256 | 0.010256 | 0.98691 | -0.25176 | 0.98696 | -0.25079 | 2.8176
65 | -0.0068025 | -0.0017049 | 0.0068035 | 0.0017052 | 9.9545e-07 | 3.1452e-07 | 0.010256 | 0.010256 | 0.010256 | 0.98696 | -0.25079 | 0.98712 | -0.24771 | 2.8176
66 | 0.045462 | 0.01142 | -0.045449 | -0.011412 | 1.2839e-05 | 8.1229e-06 | 0.068378 | 0.068378 | 0.068378 | 0.98945 | -0.20226 | 0.98915 | -0.20818 | 18.7852
67 | -0.052693 | -0.013232 | 0.052754 | 0.01327 | 6.0122e-05 | 3.815e-05 | 0.079253 | 0.079253 | 0.079253 | 0.98945 | -0.20226 | 0.99069 | -0.17837 | 21.7729
68 | -0.20982 | -0.053412 | 0.21012 | 0.053605 | 0.0003015 | 0.00019253 | 0.313 | 0.313 | 0.313 | 0.99843 | -0.029755 | 1 | 0 | 42.9947
69 | 0.073303 | 0.018445 | -0.073251 | -0.018411 | 5.2675e-05 | 3.3562e-05 | 0.11004 | 0.11004 | 0.11004 | 0.99147 | -0.16332 | 0.99069 | -0.17837 | 30.2312
70 | -0.024135 | -0.0060502 | 0.024142 | 0.0060542 | 6.5407e-06 | 4.0173e-06 | 0.036371 | 0.036371 | 0.036371 | 0.98743 | -0.24169 | 0.98772 | -0.236 | 9.9921
71 | 0.069169 | 0.017421 | -0.069092 | -0.017372 | 7.7187e-05 | 4.9153e-05 | 0.10371 | 0.10371 | 0.10371 | 0.99269 | -0.13981 | 0.99148 | -0.16317 | 28.4924
72 | 0.063726 | 0.016028 | -0.063701 | -0.016012 | 2.5079e-05 | 1.5956e-05 | 0.09566 | 0.095661 | 0.095661 | 0.99148 | -0.16317 | 0.99106 | -0.17141 | 26.2804
73 | 0.043773 | 0.011015 | -0.043754 | -0.011003 | 1.9178e-05 | 1.2122e-05 | 0.065739 | 0.065739 | 0.065739 | 0.99106 | -0.17141 | 0.99058 | -0.18058 | 18.0601
74 | 0.019928 | 0.0049967 | -0.019922 | -0.0049929 | 6.2879e-06 | 3.783e-06 | 0.029922 | 0.029922 | 0.029922 | 0.99106 | -0.17141 | 0.99072 | -0.17803 | 8.2203
75 | 0.011059 | 0.0027716 | -0.011058 | -0.0027715 | 1.4155e-07 | 7.2971e-08 | 0.016609 | 0.016609 | 0.016609 | 0.99072 | -0.17803 | 0.9907 | -0.1783 | 4.563
76 | -0.0068017 | -0.0017045 | 0.0068026 | 0.0017048 | 9.4513e-07 | 2.973e-07 | 0.010244 | 0.010244 | 0.010244 | 0.98797 | -0.23114 | 0.98812 | -0.22823 | 2.8143
77 | -0.010778 | -0.0027011 | 0.010779 | 0.0027014 | 6.0549e-07 | 3.09e-07 | 0.016231 | 0.016231 | 0.016231 | 0.98812 | -0.22823 | 0.98818 | -0.22705 | 4.4589
78 | -0.0051066 | -0.0012798 | 0.005107 | 0.0012799 | 3.9014e-07 | 2.2837e-08 | 0.0076775 | 0.0076774 | 0.0076775 | 0.98974 | -0.19683 | 0.98982 | -0.19522 | 2.1092
79 | -0.010256 | -0.0025703 | 0.010257 | 0.002571 | 1.4854e-06 | 7.3645e-07 | 0.015418 | 0.015418 | 0.015418 | 0.98982 | -0.19522 | 0.98998 | -0.19218 | 4.2357
80 | -0.010779 | -0.0027014 | 0.010781 | 0.0027025 | 2.0407e-06 | 1.0414e-06 | 0.016231 | 0.01623 | 0.016231 | 0.98818 | -0.22705 | 0.98838 | -0.22307 | 4.4589
81 | -0.015559 | -0.0039001 | 0.015563 | 0.0039023 | 3.9263e-06 | 2.2665e-06 | 0.023383 | 0.023383 | 0.023383 | 0.99012 | -0.18938 | 0.99039 | -0.18408 | 6.424
82 | 0.010259 | 0.0025717 | -0.010257 | -0.002571 | 1.3707e-06 | 6.7951e-07 | 0.015418 | 0.015418 | 0.015418 | 0.99012 | -0.18938 | 0.98998 | -0.19218 | 4.2357
83 | -0.020492 | -0.0051376 | 0.020497 | 0.005141 | 5.5763e-06 | 3.3669e-06 | 0.030788 | 0.030788 | 0.030788 | 0.99039 | -0.18408 | 0.99069 | -0.17837 | 8.4584
84 | 0.028841 | 0.0072387 | -0.028824 | -0.0072277 | 1.7768e-05 | 1.105e-05 | 0.043425 | 0.043425 | 0.043425 | 0.98838 | -0.22307 | 0.98772 | -0.236 | 11.9299
85 | -0.039622 | -0.0099412 | 0.03965 | 0.0099589 | 2.8159e-05 | 1.7751e-05 | 0.059655 | 0.059655 | 0.059655 | 0.98838 | -0.22307 | 0.98915 | -0.20818 | 16.3888

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46292 | 0.11756

## res_load
| p_mw | q_mvar
0 | 0.020285 | 0.0050838
1 | 0.0082343 | 0.0020637
2 | 0.010189 | 0.0025536
3 | 0.0068932 | 0.0017276
4 | 0.0065938 | 0.0016526
5 | 0.0083316 | 0.0020881
6 | 0.015003 | 0.0037602
7 | 0.0075848 | 0.0019009
8 | 0.0093122 | 0.0023339
9 | 0.020825 | 0.0052192
10 | 0.0088756 | 0.0022244
11 | 0.0070032 | 0.0017552
12 | 0.010668 | 0.0026738
13 | 0.002734 | 0.0006852
14 | 0.0057987 | 0.0014533
15 | 0.004885 | 0.0012243
16 | 0.0064774 | 0.0016234
17 | 0.013254 | 0.0033219
18 | 0.013503 | 0.0033841
19 | 0.01454 | 0.003644
20 | 0.0014324 | 0.00035898
21 | 0.010995 | 0.0027556
22 | 0.011625 | 0.0029135
23 | 0.0046558 | 0.0011669
24 | 0.0068186 | 0.0017089
25 | 0.0015138 | 0.00037939
26 | 0.004489 | 0.0011251
27 | 0.0078589 | 0.0019696
28 | 0.0024692 | 0.00061884
29 | 0.0043316 | 0.0010856
30 | 0.004875 | 0.0012218
31 | 0.034283 | 0.0085922
32 | 0.0095221 | 0.0023865
33 | 0.020427 | 0.0051195
34 | 0.0059756 | 0.0014976
35 | 0.0068022 | 0.0017048
36 | 0.0078117 | 0.0019578
37 | 0.017873 | 0.0044793
38 | 0.0056203 | 0.0014086
39 | 0.010077 | 0.0025255
40 | 0.0048589 | 0.0012178
41 | 0.0056056 | 0.0014049
42 | 0.0050484 | 0.0012652
43 | 0.0053651 | 0.0013446
44 | 0.0088633 | 0.0022214
45 | 0.011058 | 0.0027715
46 | 0.0039753 | 0.0009963
47 | 0.0051066 | 0.0012798
48 | 0.005149 | 0.0012905
49 | 0.0053002 | 0.0013283
50 | 0.0049288 | 0.0012353
51 | 0.0057987 | 0.0014533
52 | 0.004682 | 0.0011734

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1