## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-30_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-30_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-30_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-30_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-30_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_191-30_0_3_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_191-30_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_191-30_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_191-30_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_191-30_0_3_node_79 | 0.4 | n |  | TRUE
10 | bus_LV_191-30_0_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_191-30_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_191-30_0_3_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_191-30_0_3_node_80 | 0.4 | n |  | TRUE
14 | bus_LV_191-30_0_3_node_81 | 0.4 | n |  | TRUE
15 | bus_LV_191-30_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_191-30_0_3_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_191-30_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_191-30_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_191-30_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_191-30_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_191-30_0_3_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_191-30_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_191-30_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_191-30_0_3_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_191-30_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_191-30_0_3_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_191-30_0_3_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_191-30_0_3_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_191-30_0_3_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_191-30_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_191-30_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_191-30_0_3_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_191-30_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_191-30_0_3_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_191-30_0_3_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_191-30_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_191-30_0_3_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_191-30_0_3_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_191-30_0_3_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_191-30_0_3_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_191-30_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_191-30_0_3_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_191-30_0_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_191-30_0_3_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_191-30_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_191-30_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_191-30_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_191-30_0_3_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_191-30_0_3_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_191-30_0_3_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_191-30_0_3_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_191-30_0_3_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_191-30_0_3_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_191-30_0_3_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_191-30_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_191-30_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_191-30_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_191-30_0_3_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_191-30_0_3_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_191-30_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_191-30_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_191-30_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_191-30_0_3_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_191-30_0_3_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_191-30_0_3_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_191-30_0_3_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_191-30_0_3_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_191-30_0_3_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_191-30_0_3_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_191-30_0_3_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_191-30_0_3_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_191-30_0_3_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_191-30_0_3_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_191-30_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_191-30_0_3_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_191-30_0_3_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_191-30_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_191-30_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_191-30_0_3_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_191-30_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_191-30_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_MV_499_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-30_0_3_load_0 | 0 | 0.0030896 | 0.00077434 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-30_0_3_load_1 | 1 | 0.00147 | 0.00036841 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-30_0_3_load_3 | 3 | 0.001666 | 0.00041753 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-30_0_3_load_4 | 4 | 0.0024841 | 0.00062257 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-30_0_3_load_26 | 5 | 0.0020596 | 0.00051619 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-30_0_3_load_79 | 9 | 0.003163 | 0.00079273 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-30_0_3_load_25 | 10 | 0.001543 | 0.00038671 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-30_0_3_load_78 | 12 | 0.0025442 | 0.00063764 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-30_0_3_load_81 | 14 | 0.0031625 | 0.00079259 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-30_0_3_load_77 | 16 | 0.0025451 | 0.00063785 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-30_0_3_load_61 | 21 | 0.0042076 | 0.0010545 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-30_0_3_load_32 | 23 | 0.0022356 | 0.00056028 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-30_0_3_load_63 | 24 | 0.0042647 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-30_0_3_load_60 | 26 | 0.0018336 | 0.00045955 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-30_0_3_load_55 | 28 | 0.0034376 | 0.00086154 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-30_0_3_load_56 | 29 | 0.0059178 | 0.0014831 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-30_0_3_load_74 | 32 | 0.0011867 | 0.00029741 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-30_0_3_load_54 | 34 | 0.0041393 | 0.0010374 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-30_0_3_load_70 | 35 | 0.0011864 | 0.00029735 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-30_0_3_load_83 | 37 | 0.021208 | 0.0053151 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-30_0_3_load_84 | 38 | 0.0050415 | 0.0012635 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-30_0_3_load_69 | 39 | 0.0031289 | 0.00078417 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-30_0_3_load_62 | 40 | 0.008716 | 0.0021844 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-30_0_3_load_51 | 43 | 0.0042806 | 0.0010728 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-30_0_3_load_33 | 47 | 0.0090536 | 0.0022691 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-30_0_3_load_22 | 49 | 0.0011899 | 0.00029821 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-30_0_3_load_23 | 50 | 0.0011814 | 0.00029608 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-30_0_3_load_24 | 51 | 0.0011345 | 0.00028432 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-30_0_3_load_27 | 52 | 0.0011854 | 0.0002971 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-30_0_3_load_28 | 53 | 0.00099913 | 0.00025041 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-30_0_3_load_30 | 54 | 0.0024075 | 0.00060338 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-30_0_3_load_49 | 55 | 0.051777 | 0.012977 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-30_0_3_load_45 | 56 | 0.017768 | 0.004453 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-30_0_3_load_34 | 58 | 0.01379 | 0.0034561 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-30_0_3_load_36 | 59 | 0.0095738 | 0.0023994 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-30_0_3_load_50 | 60 | 0.008633 | 0.0021636 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-30_0_3_load_64 | 61 | 0.017466 | 0.0043773 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-30_0_3_load_38 | 63 | 0.013797 | 0.0034579 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-30_0_3_load_39 | 64 | 0.0022604 | 0.00056651 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-30_0_3_load_42 | 66 | 0.015757 | 0.0039491 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-30_0_3_load_82 | 70 | 0.0038064 | 0.00095398 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-30_0_3_load_86 | 71 | 0.0015064 | 0.00037754 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_191-30_0_3_load_85 | 72 | 0.008066 | 0.0020215 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_191-30_0_3_load_48 | 73 | 0.0098392 | 0.0024659 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_191-30_0_3_load_68 | 74 | 0.017076 | 0.0042795 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_191-30_0_3_load_57 | 75 | 0.0046156 | 0.0011568 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_191-30_0_3_load_58 | 76 | 0.00762 | 0.0019098 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_191-30_0_3_load_59 | 77 | 0.0015648 | 0.00039218 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_191-30_0_3_load_72 | 79 | 0.0031622 | 0.00079253 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_191-30_0_3_load_73 | 80 | 0.0031631 | 0.00079274 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_191-30_0_3_load_76 | 81 | 0.0011865 | 0.00029737 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-30_0_3_line_0 |  | 0 | 1 | 0.022783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-30_0_3_line_1 |  | 0 | 2 | 0.0020433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-30_0_3_line_2 |  | 1 | 3 | 0.012208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-30_0_3_line_3 |  | 2 | 4 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-30_0_3_line_4 |  | 3 | 5 | 0.017922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-30_0_3_line_5 |  | 4 | 6 | 0.013983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-30_0_3_line_6 |  | 5 | 10 | 0.025115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-30_0_3_line_7 |  | 6 | 11 | 0.030105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-30_0_3_line_8 |  | 7 | 8 | 0.021558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-30_0_3_line_9 |  | 7 | 9 | 0.011094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-30_0_3_line_10 |  | 8 | 12 | 0.012445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-30_0_3_line_11 |  | 9 | 13 | 0.035154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-30_0_3_line_12 |  | 10 | 51 | 0.0060333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-30_0_3_line_13 |  | 11 | 15 | 0.019843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-30_0_3_line_14 |  | 11 | 16 | 0.020655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-30_0_3_line_15 |  | 12 | 16 | 0.0001889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-30_0_3_line_16 |  | 13 | 14 | 0.023815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-30_0_3_line_17 |  | 13 | 80 | 0.0057374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-30_0_3_line_18 |  | 15 | 24 | 0.023751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-30_0_3_line_19 |  | 17 | 18 | 0.021554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-30_0_3_line_20 |  | 17 | 19 | 0.025074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-30_0_3_line_21 |  | 17 | 20 | 0.055845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-30_0_3_line_22 |  | 17 | 21 | 0.027693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-30_0_3_line_23 |  | 18 | 29 | 0.0077151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_191-30_0_3_line_24 |  | 19 | 39 | 0.033121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-30_0_3_line_25 |  | 19 | 36 | 0.00701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-30_0_3_line_26 |  | 20 | 38 | 0.001317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-30_0_3_line_27 |  | 21 | 40 | 0.0032948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-30_0_3_line_28 |  | 22 | 23 | 0.022933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-30_0_3_line_29 |  | 22 | 24 | 0.0025705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-30_0_3_line_30 |  | 23 | 41 | 0.0058722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-30_0_3_line_31 |  | 25 | 26 | 0.028323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-30_0_3_line_32 |  | 25 | 27 | 0.036576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_191-30_0_3_line_33 |  | 25 | 28 | 0.031425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_191-30_0_3_line_34 |  | 27 | 42 | 0.025972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_191-30_0_3_line_35 |  | 27 | 43 | 0.022085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-30_0_3_line_36 |  | 28 | 34 | 0.038065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_191-30_0_3_line_37 |  | 29 | 33 | 0.04413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_191-30_0_3_line_38 |  | 30 | 31 | 0.038352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-30_0_3_line_39 |  | 30 | 32 | 0.045658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-30_0_3_line_40 |  | 31 | 35 | 0.018268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-30_0_3_line_41 |  | 33 | 34 | 0.021886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_191-30_0_3_line_42 |  | 35 | 44 | 0.018844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-30_0_3_line_43 |  | 36 | 37 | 0.019427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-30_0_3_line_44 |  | 39 | 48 | 0.033415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-30_0_3_line_45 |  | 41 | 52 | 0.020066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-30_0_3_line_46 |  | 42 | 75 | 0.010273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_191-30_0_3_line_47 |  | 42 | 55 | 0.042721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-30_0_3_line_48 |  | 43 | 54 | 0.0046423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-30_0_3_line_49 |  | 44 | 79 | 0.021037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-30_0_3_line_50 |  | 44 | 80 | 0.023729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-30_0_3_line_51 |  | 45 | 46 | 0.017601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-30_0_3_line_52 |  | 45 | 47 | 0.02242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-30_0_3_line_53 |  | 46 | 48 | 0.007134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-30_0_3_line_54 |  | 47 | 58 | 0.056457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-30_0_3_line_55 |  | 49 | 50 | 0.0091784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-30_0_3_line_56 |  | 50 | 51 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_191-30_0_3_line_57 |  | 52 | 53 | 0.013501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_191-30_0_3_line_58 |  | 53 | 54 | 0.025462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_191-30_0_3_line_59 |  | 56 | 57 | 0.022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_191-30_0_3_line_60 |  | 57 | 73 | 0.018407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_191-30_0_3_line_61 |  | 57 | 69 | 0.028817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_191-30_0_3_line_62 |  | 58 | 59 | 0.058925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_191-30_0_3_line_63 |  | 59 | 60 | 0.0398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_191-30_0_3_line_64 |  | 61 | 62 | 0.031583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_191-30_0_3_line_65 |  | 62 | 74 | 0.026343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_191-30_0_3_line_66 |  | 62 | 78 | 0.005019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_191-30_0_3_line_67 |  | 63 | 64 | 0.027755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_191-30_0_3_line_68 |  | 63 | 65 | 0.0055489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_191-30_0_3_line_69 |  | 65 | 66 | 0.019898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_191-30_0_3_line_70 |  | 65 | 67 | 0.15335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_191-30_0_3_line_71 |  | 65 | 68 | 0.15077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_191-30_0_3_line_72 |  | 66 | 69 | 0.01416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_191-30_0_3_line_73 |  | 67 | 70 | 0.027196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_191-30_0_3_line_74 |  | 68 | 71 | 0.049668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_191-30_0_3_line_75 |  | 68 | 72 | 0.01039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_191-30_0_3_line_76 |  | 73 | 74 | 0.034372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_191-30_0_3_line_77 |  | 75 | 76 | 0.020045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_191-30_0_3_line_78 |  | 76 | 77 | 0.015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_191-30_0_3_line_79 |  | 77 | 78 | 0.018587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_191-30_0_3_line_80 |  | 79 | 81 | 0.0071469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-30_0_3_trafo_68 | 0.63 MVA 20/0.4 kV | 82 | 74 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2689409.1484 | 1249424.8141 | 2689422.5178 | 1249443.2625
1 | 2689407.9494 | 1249423.1596 | 2689409.1484 | 1249424.8141
2 | 2689428.737 | 1249453.7016 | 2689426.3462 | 1249448.5452 | 2689422.5178 | 1249443.2625
3 | 2689407.9494 | 1249423.1596 | 2689401.1002 | 1249413.6602 | 2689393.9202 | 1249403.3709
4 | 2689436.276 | 1249469.9613 | 2689428.737 | 1249453.7016
5 | 2689385.9182 | 1249391.9037 | 2689393.9202 | 1249403.3709
6 | 2689445.2926 | 1249493.3589 | 2689440.7384 | 1249479.5858 | 2689436.276 | 1249469.9613
7 | 2689385.9182 | 1249391.9037 | 2689382.2395 | 1249392.9824 | 2689377.695 | 1249392.3912 | 2689370.7688 | 1249391.4973 | 2689363.7727 | 1249392.2368 | 2689357.1351 | 1249396.2398
8 | 2689360.9554 | 1249427.8213 | 2689365.4459 | 1249434.494 | 2689376.203 | 1249442.7291
9 | 2689376.203 | 1249442.7291 | 2689376.976 | 1249453.796
10 | 2689360.9554 | 1249427.8213 | 2689359.9321 | 1249420.0666 | 2689360.6533 | 1249415.5003
11 | 2689392.3232 | 1249484.8818 | 2689389.5319 | 1249479.2021 | 2689380.8422 | 1249467.073 | 2689377.1656 | 1249456.5096 | 2689376.976 | 1249453.796
12 | 2689447.1671 | 1249499.0931 | 2689447.0572 | 1249498.6956 | 2689445.2926 | 1249493.3589
13 | 2689345.726 | 1249380.1557 | 2689347.8171 | 1249383.701 | 2689349.8201 | 1249387.0782 | 2689353.0207 | 1249392.1636 | 2689357.1351 | 1249396.2398
14 | 2689357.1351 | 1249396.2398 | 2689360.6388 | 1249400.2512 | 2689361.6869 | 1249403.3582 | 2689361.8523 | 1249407.9086 | 2689360.6828 | 1249415.3137
15 | 2689360.6533 | 1249415.5003 | 2689360.6828 | 1249415.3137
16 | 2689392.3232 | 1249484.8818 | 2689394.5996 | 1249484.1489 | 2689397.0671 | 1249481.2617 | 2689400.4112 | 1249474.8295 | 2689407.7082 | 1249469.1575 | 2689408.5604 | 1249468.4096
17 | 2689392.3232 | 1249484.8818 | 2689392.7939 | 1249490.5999
18 | 2689345.726 | 1249380.1557 | 2689366.1196 | 1249367.9815
19 | 2689340.753 | 1249161.6155 | 2689333.071 | 1249166.7591 | 2689324.3679 | 1249175.5124
20 | 2689340.753 | 1249161.6155 | 2689350.6311 | 1249155.0705 | 2689359.598 | 1249151.8588 | 2689363.205 | 1249151.0347
21 | 2689319.764 | 1249122.7476 | 2689323.6767 | 1249127.1988 | 2689344.2757 | 1249150.8604 | 2689334.9704 | 1249157.9811 | 2689340.753 | 1249161.6155
22 | 2689340.753 | 1249161.6155 | 2689357.7237 | 1249183.4989
23 | 2689324.3679 | 1249175.5124 | 2689318.9277 | 1249180.9829
24 | 2689363.205 | 1249151.0347 | 2689372.9507 | 1249150.7592 | 2689385.071 | 1249151.7649 | 2689396.1021 | 1249153.7585
25 | 2689362.3055 | 1249144.0826 | 2689363.205 | 1249151.0347
26 | 2689318.8955 | 1249121.756 | 2689319.764 | 1249122.7476
27 | 2689360.1883 | 1249181.3121 | 2689357.7237 | 1249183.4989
28 | 2689368.3268 | 1249366.6639 | 2689387.8077 | 1249354.564
29 | 2689368.3268 | 1249366.6639 | 2689366.1196 | 1249367.9815
30 | 2689392.796 | 1249351.4657 | 2689387.8077 | 1249354.564
31 | 2689319.472 | 1249297.3863 | 2689318.9036 | 1249313.0452 | 2689318.2594 | 1249325.683
32 | 2689349.998 | 1249277.1532 | 2689325.427 | 1249294.0847 | 2689319.472 | 1249297.3863
33 | 2689319.472 | 1249297.3863 | 2689319.5181 | 1249285.8116 | 2689318.7251 | 1249275.3028 | 2689317.0763 | 1249266.1383
34 | 2689349.998 | 1249277.1532 | 2689351.0358 | 1249276.435 | 2689370.7446 | 1249261.4541
35 | 2689349.998 | 1249277.1532 | 2689361.0199 | 1249296.2912
36 | 2689303.2257 | 1249231.0109 | 2689305.3432 | 1249233.7698 | 2689309.3123 | 1249242.4807 | 2689314.3278 | 1249253.9204 | 2689317.018 | 1249265.8144 | 2689317.0763 | 1249266.1383
37 | 2689289.5805 | 1249213.9063 | 2689310.3358 | 1249189.6228 | 2689318.9277 | 1249180.9829
38 | 2689367.42 | 1249526.3822 | 2689363.2899 | 1249527.8544 | 2689374.3283 | 1249559.9784
39 | 2689374.3283 | 1249559.9784 | 2689417.2232 | 1249544.3369
40 | 2689367.42 | 1249526.3822 | 2689384.6308 | 1249520.2566
41 | 2689289.5805 | 1249213.9063 | 2689295.2932 | 1249220.6752 | 2689303.2257 | 1249231.0109
42 | 2689401.5961 | 1249512.398 | 2689396.1327 | 1249516.1629 | 2689384.6308 | 1249520.2566
43 | 2689362.3055 | 1249144.0826 | 2689363.6604 | 1249137.3646 | 2689373.3201 | 1249129.2819
44 | 2689427.7998 | 1249164.1631 | 2689413.0324 | 1249158.4249 | 2689398.3634 | 1249154.1671 | 2689396.1021 | 1249153.7585
45 | 2689392.796 | 1249351.4657 | 2689382.7817 | 1249334.0774
46 | 2689370.7446 | 1249261.4541 | 2689378.9218 | 1249255.2362
47 | 2689370.7446 | 1249261.4541 | 2689392.1932 | 1249298.4003
48 | 2689361.0199 | 1249296.2912 | 2689363.3367 | 1249300.314
49 | 2689401.5961 | 1249512.398 | 2689408.2624 | 1249511.9871 | 2689421.885 | 1249507.4513
50 | 2689401.5961 | 1249512.398 | 2689396.3682 | 1249503.0565 | 2689393.0124 | 1249493.2541 | 2689392.7939 | 1249490.5999
51 | 2689430.8349 | 1249157.704 | 2689416.7932 | 1249151.91 | 2689414.4719 | 1249151.1077
52 | 2689414.4719 | 1249151.1077 | 2689416.6136 | 1249149.3054 | 2689417.4395 | 1249148.6173 | 2689418.9997 | 1249147.3176 | 2689420.1087 | 1249146.3892 | 2689431.8096 | 1249136.8944
53 | 2689430.8349 | 1249157.704 | 2689427.7998 | 1249164.1631
54 | 2689431.8096 | 1249136.8944 | 2689431.9742 | 1249136.7609 | 2689432.7845 | 1249136.106 | 2689433.6944 | 1249135.3636 | 2689434.7193 | 1249134.5006 | 2689447.4362 | 1249123.5063 | 2689454.8907 | 1249131.9363 | 2689470.7328 | 1249118.5208 | 2689473.2665 | 1249121.4402
55 | 2689453.9975 | 1249523.8009 | 2689451.5519 | 1249514.9543
56 | 2689451.5519 | 1249514.9543 | 2689447.1671 | 1249499.0931
57 | 2689382.7817 | 1249334.0774 | 2689376.044 | 1249322.3783
58 | 2689376.044 | 1249322.3783 | 2689363.3367 | 1249300.314
59 | 2689465.1976 | 1249296.0271 | 2689448.0189 | 1249309.9397
60 | 2689465.1976 | 1249296.0271 | 2689455.9605 | 1249280.1061
61 | 2689465.1976 | 1249296.0271 | 2689476.905 | 1249283.8501 | 2689484.9005 | 1249274.9529
62 | 2689473.2665 | 1249121.4402 | 2689479.9442 | 1249129.1345 | 2689484.7015 | 1249125.1477 | 2689510.8892 | 1249155.7328 | 2689512.5962 | 1249154.2426
63 | 2689542.5787 | 1249128.0682 | 2689512.5962 | 1249154.2426
64 | 2689426.1418 | 1249228.4756 | 2689430.9149 | 1249226.9353 | 2689444.5582 | 1249214.087 | 2689449.4234 | 1249207.9557
65 | 2689426.1418 | 1249228.4756 | 2689441.0533 | 1249250.1922
66 | 2689423.2893 | 1249224.3406 | 2689426.1418 | 1249228.4756
67 | 2689507.1984 | 1249242.2329 | 2689516.4223 | 1249226.8479 | 2689521.474 | 1249218.4303
68 | 2689504.3451 | 1249246.992 | 2689507.1984 | 1249242.2329
69 | 2689504.3451 | 1249246.992 | 2689492.9849 | 1249263.3277
70 | 2689504.3451 | 1249246.992 | 2689517.1963 | 1249253.0906 | 2689526.366 | 1249257.4435 | 2689532.3477 | 1249259.8801 | 2689539.5751 | 1249262.8359 | 2689598.9184 | 1249287.0619 | 2689612.5101 | 1249292.616 | 2689645.8354 | 1249306.0411
71 | 2689504.3451 | 1249246.992 | 2689517.1963 | 1249253.0906 | 2689526.366 | 1249257.4435 | 2689532.3477 | 1249259.8801 | 2689539.5751 | 1249262.8359 | 2689547.1269 | 1249248.3279 | 2689535.5745 | 1249242.7381 | 2689541.2726 | 1249233.4615 | 2689525.8475 | 1249225.7895 | 2689531.2037 | 1249216.1519 | 2689547.5996 | 1249187.578 | 2689552.9979 | 1249178.1635
72 | 2689484.9005 | 1249274.9529 | 2689492.9849 | 1249263.3277
73 | 2689645.8354 | 1249306.0411 | 2689671.6649 | 1249314.7828
74 | 2689552.9979 | 1249178.1635 | 2689598.0706 | 1249199.316
75 | 2689558.1711 | 1249169.1459 | 2689552.9979 | 1249178.1635
76 | 2689455.9605 | 1249280.1061 | 2689443.8759 | 1249259.2775 | 2689444.6735 | 1249255.4645 | 2689441.0533 | 1249250.1922
77 | 2689378.9218 | 1249255.2362 | 2689394.8774 | 1249243.1036
78 | 2689407.5863 | 1249234.2846 | 2689400.9422 | 1249238.492 | 2689394.8774 | 1249243.1036
79 | 2689423.2893 | 1249224.3406 | 2689407.5863 | 1249234.2846
80 | 2689428.6659 | 1249505.1935 | 2689421.885 | 1249507.4513

## bus_geodata
| x | y | coords
0 | 2689409.1484 | 1249424.8141
1 | 2689422.5178 | 1249443.2625
2 | 2689407.9494 | 1249423.1596
3 | 2689428.737 | 1249453.7016
4 | 2689393.9202 | 1249403.3709
5 | 2689436.276 | 1249469.9613
6 | 2689385.9182 | 1249391.9037
7 | 2689376.203 | 1249442.7291
8 | 2689360.9554 | 1249427.8213
9 | 2689376.976 | 1249453.796
10 | 2689445.2926 | 1249493.3589
11 | 2689357.1351 | 1249396.2398
12 | 2689360.6533 | 1249415.5003
13 | 2689392.3232 | 1249484.8818
14 | 2689408.5604 | 1249468.4096
15 | 2689345.726 | 1249380.1557
16 | 2689360.6828 | 1249415.3137
17 | 2689340.753 | 1249161.6155
18 | 2689324.3679 | 1249175.5124
19 | 2689363.205 | 1249151.0347
20 | 2689319.764 | 1249122.7476
21 | 2689357.7237 | 1249183.4989
22 | 2689368.3268 | 1249366.6639
23 | 2689387.8077 | 1249354.564
24 | 2689366.1196 | 1249367.9815
25 | 2689319.472 | 1249297.3863
26 | 2689318.2594 | 1249325.683
27 | 2689349.998 | 1249277.1532
28 | 2689317.0763 | 1249266.1383
29 | 2689318.9277 | 1249180.9829
30 | 2689374.3283 | 1249559.9784
31 | 2689367.42 | 1249526.3822
32 | 2689417.2232 | 1249544.3369
33 | 2689289.5805 | 1249213.9063
34 | 2689303.2257 | 1249231.0109
35 | 2689384.6308 | 1249520.2566
36 | 2689362.3055 | 1249144.0826
37 | 2689373.32 | 1249129.2819
38 | 2689318.8955 | 1249121.756
39 | 2689396.1021 | 1249153.7585
40 | 2689360.1883 | 1249181.3121
41 | 2689392.796 | 1249351.4657
42 | 2689370.7446 | 1249261.4541
43 | 2689361.0199 | 1249296.2912
44 | 2689401.5961 | 1249512.398
45 | 2689414.4719 | 1249151.1077
46 | 2689430.8349 | 1249157.704
47 | 2689431.8096 | 1249136.8944
48 | 2689427.7998 | 1249164.1631
49 | 2689453.9975 | 1249523.8009
50 | 2689451.5519 | 1249514.9543
51 | 2689447.1671 | 1249499.0931
52 | 2689382.7817 | 1249334.0774
53 | 2689376.044 | 1249322.3783
54 | 2689363.3367 | 1249300.314
55 | 2689392.1932 | 1249298.4003
56 | 2689448.0189 | 1249309.9397
57 | 2689465.1976 | 1249296.0271
58 | 2689473.2665 | 1249121.4402
59 | 2689512.5962 | 1249154.2426
60 | 2689542.5787 | 1249128.0682
61 | 2689449.4234 | 1249207.9557
62 | 2689426.1418 | 1249228.4756
63 | 2689507.1984 | 1249242.2329
64 | 2689521.474 | 1249218.4303
65 | 2689504.3451 | 1249246.992
66 | 2689492.9849 | 1249263.3277
67 | 2689645.8354 | 1249306.0411
68 | 2689552.9979 | 1249178.1635
69 | 2689484.9005 | 1249274.9529
70 | 2689671.6649 | 1249314.7828
71 | 2689598.0706 | 1249199.316
72 | 2689558.1711 | 1249169.1459
73 | 2689455.9605 | 1249280.1061
74 | 2689441.0533 | 1249250.1921
75 | 2689378.9218 | 1249255.2362
76 | 2689394.8774 | 1249243.1036
77 | 2689407.5863 | 1249234.2846
78 | 2689423.2893 | 1249224.3406
79 | 2689421.885 | 1249507.4513
80 | 2689392.7939 | 1249490.5999
81 | 2689428.6659 | 1249505.1935
82 | 2689426.1418 | 1249228.4756

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98113 | -0.36255 | 0.0030896 | 0.00077434
1 | 0.98091 | -0.36678 | 0.00147 | 0.00036841
2 | 0.98116 | -0.36206 | 0 | 0
3 | 0.98082 | -0.36872 | 0.001666 | 0.00041753
4 | 0.98145 | -0.3562 | 0.0024841 | 0.00062257
5 | 0.9807 | -0.37103 | 0.0020596 | 0.00051619
6 | 0.98166 | -0.3522 | 0 | 0
7 | 0.98118 | -0.36159 | 0 | 0
8 | 0.9815 | -0.35526 | 0 | 0
9 | 0.98101 | -0.36484 | 0.003163 | 0.00079273
10 | 0.98058 | -0.37333 | 0.001543 | 0.00038671
11 | 0.9821 | -0.34358 | 0 | 0
12 | 0.98169 | -0.35161 | 0.0025442 | 0.00063764
13 | 0.98059 | -0.37316 | 0 | 0
14 | 0.98052 | -0.37452 | 0.0031625 | 0.00079259
15 | 0.98278 | -0.33028 | 0 | 0
16 | 0.98169 | -0.35154 | 0.0025451 | 0.00063785
17 | 0.97907 | -0.40176 | 0 | 0
18 | 0.98074 | -0.36915 | 0 | 0
19 | 0.97754 | -0.43162 | 0 | 0
20 | 0.97881 | -0.40688 | 0 | 0
21 | 0.97874 | -0.40827 | 0.0042076 | 0.0010545
22 | 0.98369 | -0.31246 | 0 | 0
23 | 0.98457 | -0.29537 | 0.0022356 | 0.00056028
24 | 0.98359 | -0.31438 | 0.0042647 | 0.0010688
25 | 0.98685 | -0.25085 | 0 | 0
26 | 0.9868 | -0.25178 | 0.0018336 | 0.00045955
27 | 0.98853 | -0.2186 | 0 | 0
28 | 0.98544 | -0.27813 | 0.0034376 | 0.00086154
29 | 0.98104 | -0.36332 | 0.0059178 | 0.0014831
30 | 0.98029 | -0.37911 | 0 | 0
31 | 0.98033 | -0.37829 | 0 | 0
32 | 0.98024 | -0.3801 | 0.0011867 | 0.00029741
33 | 0.98287 | -0.32771 | 0 | 0
34 | 0.98378 | -0.3101 | 0.0041393 | 0.0010374
35 | 0.98035 | -0.37789 | 0.0011864 | 0.00029735
36 | 0.9774 | -0.43434 | 0 | 0
37 | 0.97702 | -0.44186 | 0.021208 | 0.0053151
38 | 0.9788 | -0.407 | 0.0050415 | 0.0012635
39 | 0.97617 | -0.45836 | 0.0031289 | 0.00078417
40 | 0.97871 | -0.40879 | 0.008716 | 0.0021844
41 | 0.98481 | -0.29077 | 0 | 0
42 | 0.99035 | -0.18364 | 0 | 0
43 | 0.98746 | -0.2393 | 0.0042806 | 0.0010728
44 | 0.98039 | -0.37708 | 0 | 0
45 | 0.97394 | -0.50212 | 0 | 0
46 | 0.97462 | -0.48886 | 0 | 0
47 | 0.97309 | -0.51905 | 0.0090536 | 0.0022691
48 | 0.97489 | -0.48348 | 0 | 0
49 | 0.98051 | -0.37462 | 0.0011899 | 0.00029821
50 | 0.98052 | -0.37442 | 0.0011814 | 0.00029608
51 | 0.98056 | -0.37371 | 0.0011345 | 0.00028432
52 | 0.98562 | -0.27504 | 0.0011854 | 0.0002971
53 | 0.98617 | -0.26419 | 0.00099913 | 0.00025041
54 | 0.98725 | -0.24331 | 0.0024075 | 0.00060338
55 | 0.98832 | -0.22303 | 0.051777 | 0.012977
56 | 0.99631 | -0.070936 | 0.017768 | 0.004453
57 | 0.99666 | -0.064042 | 0 | 0
58 | 0.9714 | -0.55237 | 0.01379 | 0.0034561
59 | 0.9704 | -0.5722 | 0.0095738 | 0.0023994
60 | 0.97007 | -0.57857 | 0.008633 | 0.0021636
61 | 0.99665 | -0.063611 | 0.017466 | 0.0043773
62 | 0.99715 | -0.053936 | 0 | 0
63 | 0.99428 | -0.11009 | 0.013797 | 0.0034579
64 | 0.99422 | -0.1112 | 0.0022604 | 0.00056651
65 | 0.99436 | -0.10852 | 0 | 0
66 | 0.99489 | -0.098194 | 0.015757 | 0.0039491
67 | 0.99383 | -0.11882 | 0 | 0
68 | 0.99304 | -0.134 | 0 | 0
69 | 0.99548 | -0.086929 | 0 | 0
70 | 0.99373 | -0.12065 | 0.0038064 | 0.00095398
71 | 0.99297 | -0.13533 | 0.0015064 | 0.00037754
72 | 0.99296 | -0.13549 | 0.008066 | 0.0020215
73 | 0.99772 | -0.043724 | 0.0098392 | 0.0024659
74 | 1 | 0 | -0.31279 | -0.079557
75 | 0.99132 | -0.16512 | 0.0046156 | 0.0011568
76 | 0.99324 | -0.12829 | 0.00762 | 0.0019098
77 | 0.99478 | -0.098898 | 0.0015648 | 0.00039218
78 | 0.99665 | -0.063478 | 0 | 0
79 | 0.9803 | -0.37874 | 0.0031622 | 0.00079253
80 | 0.98054 | -0.37419 | 0.0031631 | 0.00079274
81 | 0.9803 | -0.37889 | 0.0011865 | 0.00029737
82 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010249 | 0.0025689 | -0.010247 | -0.0025678 | 2.0642e-06 | 1.0334e-06 | 0.015544 | 0.015544 | 0.015544 | 0.98113 | -0.36255 | 0.98091 | -0.36678 | 4.2702
1 | -0.013338 | -0.0033432 | 0.013339 | 0.0033434 | 3.1357e-07 | 1.7488e-07 | 0.020229 | 0.020229 | 0.020229 | 0.98113 | -0.36255 | 0.98116 | -0.36206 | 5.5575
2 | 0.0087766 | 0.0021994 | -0.0087758 | -0.0021991 | 8.1147e-07 | 3.6525e-07 | 0.013314 | 0.013314 | 0.013314 | 0.98091 | -0.36678 | 0.98082 | -0.36872 | 3.6576
3 | -0.013339 | -0.0033434 | 0.013342 | 0.0033455 | 3.7226e-06 | 2.076e-06 | 0.020229 | 0.020229 | 0.020229 | 0.98116 | -0.36206 | 0.98145 | -0.3562 | 5.5575
4 | 0.0071098 | 0.0017815 | -0.0071091 | -0.0017813 | 7.8195e-07 | 2.7428e-07 | 0.010786 | 0.010786 | 0.010786 | 0.98082 | -0.36872 | 0.9807 | -0.37103 | 2.9633
5 | -0.015826 | -0.003968 | 0.015829 | 0.0039698 | 3.0192e-06 | 1.7556e-06 | 0.023995 | 0.023995 | 0.023995 | 0.98145 | -0.3562 | 0.98166 | -0.3522 | 6.5922
6 | 0.0050494 | 0.0012651 | -0.0050489 | -0.001265 | 5.5282e-07 | 3.6947e-08 | 0.0076613 | 0.0076615 | 0.0076615 | 0.9807 | -0.37103 | 0.98058 | -0.37333 | 2.1048
7 | -0.015829 | -0.0039698 | 0.015836 | 0.0039736 | 6.5002e-06 | 3.7793e-06 | 0.023995 | 0.023995 | 0.023995 | 0.98166 | -0.3522 | 0.9821 | -0.34358 | 6.5922
8 | -0.01622 | -0.0040659 | 0.016225 | 0.0040687 | 4.892e-06 | 2.8585e-06 | 0.024599 | 0.024599 | 0.024599 | 0.98118 | -0.36159 | 0.9815 | -0.35526 | 6.758
9 | 0.01622 | 0.0040659 | -0.016218 | -0.0040644 | 2.5174e-06 | 1.4711e-06 | 0.024599 | 0.024599 | 0.024599 | 0.98118 | -0.36159 | 0.98101 | -0.36484 | 6.7581
10 | -0.016225 | -0.0040687 | 0.016228 | 0.0040704 | 2.824e-06 | 1.65e-06 | 0.024599 | 0.024599 | 0.024599 | 0.9815 | -0.35526 | 0.98169 | -0.35161 | 6.758
11 | 0.013055 | 0.0032717 | -0.01305 | -0.0032688 | 5.1691e-06 | 2.8646e-06 | 0.019802 | 0.019802 | 0.019802 | 0.98101 | -0.36484 | 0.98059 | -0.37316 | 5.44
12 | 0.0035059 | 0.00087831 | -0.0035058 | -0.00087835 | 6.4033e-08 | -3.5125e-08 | 0.00532 | 0.00532 | 0.00532 | 0.98058 | -0.37333 | 0.98056 | -0.37371 | 1.4615
13 | -0.037161 | -0.0093244 | 0.037185 | 0.0093392 | 2.3593e-05 | 1.4848e-05 | 0.056308 | 0.056308 | 0.056308 | 0.9821 | -0.34358 | 0.98278 | -0.33028 | 15.4694
14 | 0.021325 | 0.0053508 | -0.021317 | -0.0053459 | 8.0877e-06 | 4.9149e-06 | 0.032313 | 0.032313 | 0.032313 | 0.9821 | -0.34358 | 0.98169 | -0.35154 | 8.8773
15 | -0.018772 | -0.004708 | 0.018772 | 0.0047081 | 5.7358e-08 | 3.4321e-08 | 0.028456 | 0.028456 | 0.028456 | 0.98169 | -0.35161 | 0.98169 | -0.35154 | 7.8175
16 | 0.0031627 | 0.00079243 | -0.0031625 | -0.00079259 | 2.057e-07 | -1.6876e-07 | 0.0047992 | 0.0047993 | 0.0047993 | 0.98059 | -0.37316 | 0.98052 | -0.37452 | 1.3185
17 | 0.0098869 | 0.0024764 | -0.0098864 | -0.0024762 | 4.8426e-07 | 2.3755e-07 | 0.015003 | 0.015003 | 0.015003 | 0.98059 | -0.37316 | 0.98054 | -0.37419 | 4.1216
18 | -0.037185 | -0.0093392 | 0.037213 | 0.009357 | 2.824e-05 | 1.7772e-05 | 0.056308 | 0.056308 | 0.056308 | 0.98278 | -0.33028 | 0.98359 | -0.31438 | 15.4693
19 | -0.083709 | -0.021113 | 0.08384 | 0.021197 | 0.00013093 | 8.3521e-05 | 0.12727 | 0.12727 | 0.12727 | 0.97907 | -0.40176 | 0.98074 | -0.36915 | 34.9648
20 | 0.065738 | 0.016608 | -0.065645 | -0.016549 | 9.3952e-05 | 5.9814e-05 | 0.099959 | 0.099959 | 0.099959 | 0.97907 | -0.40176 | 0.97754 | -0.43162 | 27.4613
21 | 0.0050428 | 0.0012636 | -0.0050415 | -0.0012635 | 1.2301e-06 | 8.5174e-08 | 0.0076641 | 0.0076643 | 0.0076643 | 0.97907 | -0.40176 | 0.97881 | -0.40688 | 2.1056
22 | 0.012928 | 0.0032413 | -0.012924 | -0.0032391 | 4.0093e-06 | 2.2178e-06 | 0.019649 | 0.019649 | 0.019649 | 0.97907 | -0.40176 | 0.97874 | -0.40827 | 5.398
23 | -0.08384 | -0.021197 | 0.083863 | 0.021212 | 2.3432e-05 | 1.4802e-05 | 0.12727 | 0.12727 | 0.12727 | 0.98074 | -0.36915 | 0.98104 | -0.36332 | 17.4824
24 | 0.044427 | 0.011227 | -0.04437 | -0.011191 | 5.686e-05 | 3.5976e-05 | 0.06766 | 0.06766 | 0.06766 | 0.97754 | -0.43162 | 0.97617 | -0.45836 | 18.5879
25 | 0.021218 | 0.0053214 | -0.021215 | -0.0053197 | 2.7424e-06 | 1.6673e-06 | 0.032299 | 0.032299 | 0.032299 | 0.97754 | -0.43162 | 0.9774 | -0.43434 | 8.8734
26 | 0.0050415 | 0.0012635 | -0.0050415 | -0.0012635 | 2.9011e-08 | 2.0138e-09 | 0.0076643 | 0.0076643 | 0.0076643 | 0.97881 | -0.40688 | 0.9788 | -0.407 | 2.1056
27 | 0.0087162 | 0.0021845 | -0.008716 | -0.0021844 | 2.1698e-07 | 9.7458e-08 | 0.013252 | 0.013252 | 0.013252 | 0.97874 | -0.40827 | 0.97871 | -0.40879 | 3.6406
28 | -0.041482 | -0.010428 | 0.041516 | 0.01045 | 3.3873e-05 | 2.1387e-05 | 0.06276 | 0.06276 | 0.06276 | 0.98369 | -0.31246 | 0.98457 | -0.29537 | 17.2418
29 | 0.041482 | 0.010428 | -0.041478 | -0.010426 | 3.7968e-06 | 2.3973e-06 | 0.06276 | 0.06276 | 0.06276 | 0.98369 | -0.31246 | 0.98359 | -0.31438 | 17.2418
30 | -0.043751 | -0.01101 | 0.043761 | 0.011016 | 9.6325e-06 | 6.0901e-06 | 0.066139 | 0.066139 | 0.066139 | 0.98457 | -0.29537 | 0.98481 | -0.29077 | 18.1699
31 | 0.0018337 | 0.00045924 | -0.0018336 | -0.00045955 | 8.1197e-08 | -3.0989e-07 | 0.0027648 | 0.002765 | 0.002765 | 0.98685 | -0.25085 | 0.9868 | -0.25178 | 0.75961
32 | -0.099695 | -0.025372 | 0.09985 | 0.02547 | 0.00015526 | 9.8429e-05 | 0.15046 | 0.15046 | 0.15046 | 0.98685 | -0.25085 | 0.98853 | -0.2186 | 20.668
33 | 0.097861 | 0.024912 | -0.097733 | -0.024831 | 0.00012854 | 8.1462e-05 | 0.1477 | 0.1477 | 0.1477 | 0.98685 | -0.25085 | 0.98544 | -0.27813 | 20.2882
34 | -0.15265 | -0.038814 | 0.15291 | 0.038978 | 0.00025756 | 0.00016417 | 0.22998 | 0.22998 | 0.22998 | 0.98853 | -0.2186 | 0.99035 | -0.18364 | 31.5902
35 | 0.052797 | 0.013344 | -0.052745 | -0.01331 | 5.2362e-05 | 3.3229e-05 | 0.079514 | 0.079515 | 0.079515 | 0.98853 | -0.2186 | 0.98746 | -0.2393 | 21.8447
36 | 0.094295 | 0.023969 | -0.09415 | -0.023878 | 0.00014494 | 9.1796e-05 | 0.14251 | 0.14251 | 0.14251 | 0.98544 | -0.27813 | 0.98378 | -0.3101 | 19.5753
37 | -0.089781 | -0.022695 | 0.089935 | 0.022792 | 0.0001536 | 9.7187e-05 | 0.13625 | 0.13625 | 0.13625 | 0.98104 | -0.36332 | 0.98287 | -0.32771 | 18.7153
38 | -0.0011867 | -0.00029687 | 0.0011868 | 0.00029642 | 4.6655e-08 | -4.5367e-07 | 0.0018012 | 0.001801 | 0.0018012 | 0.98029 | -0.37911 | 0.98033 | -0.37829 | 0.49483
39 | 0.0011867 | 0.00029687 | -0.0011867 | -0.00029741 | 5.5554e-08 | -5.4003e-07 | 0.0018012 | 0.0018014 | 0.0018014 | 0.98029 | -0.37911 | 0.98024 | -0.3801 | 0.49489
40 | -0.0011868 | -0.00029642 | 0.0011868 | 0.0002962 | 2.222e-08 | -2.1612e-07 | 0.001801 | 0.0018009 | 0.001801 | 0.98033 | -0.37829 | 0.98035 | -0.37789 | 0.49478
41 | -0.089935 | -0.022792 | 0.090011 | 0.02284 | 7.6178e-05 | 4.8198e-05 | 0.13625 | 0.13625 | 0.13625 | 0.98287 | -0.32771 | 0.98378 | -0.3101 | 18.7153
42 | -0.0023732 | -0.00059355 | 0.0023733 | 0.00059337 | 9.1667e-08 | -1.7894e-07 | 0.0036017 | 0.0036017 | 0.0036017 | 0.98035 | -0.37789 | 0.98039 | -0.37708 | 0.98949
43 | 0.021215 | 0.0053197 | -0.021208 | -0.0053151 | 7.6002e-06 | 4.6207e-06 | 0.032299 | 0.032299 | 0.032299 | 0.9774 | -0.43434 | 0.97702 | -0.44186 | 8.8735
44 | 0.041241 | 0.010407 | -0.041191 | -0.010376 | 4.9562e-05 | 3.1303e-05 | 0.062891 | 0.062891 | 0.062891 | 0.97617 | -0.45836 | 0.97489 | -0.48348 | 17.2777
45 | -0.043761 | -0.011016 | 0.043794 | 0.011037 | 3.2915e-05 | 2.081e-05 | 0.066139 | 0.066138 | 0.066139 | 0.98481 | -0.29077 | 0.98562 | -0.27504 | 18.1699
46 | -0.20478 | -0.052016 | 0.20496 | 0.052133 | 0.00018264 | 0.00011662 | 0.30793 | 0.30793 | 0.30793 | 0.99035 | -0.18364 | 0.99132 | -0.16512 | 42.2983
47 | 0.051874 | 0.013038 | -0.051777 | -0.012977 | 9.7356e-05 | 6.1759e-05 | 0.077955 | 0.077956 | 0.077956 | 0.99035 | -0.18364 | 0.98832 | -0.22303 | 21.4163
48 | 0.048464 | 0.012238 | -0.048455 | -0.012232 | 9.2934e-06 | 5.8884e-06 | 0.073064 | 0.073064 | 0.073064 | 0.98746 | -0.2393 | 0.98725 | -0.24331 | 20.0726
49 | 0.0043491 | 0.0010898 | -0.0043488 | -0.0010898 | 3.4374e-07 | -4.5256e-08 | 0.0066009 | 0.006601 | 0.006601 | 0.98039 | -0.37708 | 0.9803 | -0.37874 | 1.8135
50 | -0.0067224 | -0.0016831 | 0.0067233 | 0.0016834 | 9.2624e-07 | 2.9353e-07 | 0.010203 | 0.010202 | 0.010203 | 0.98039 | -0.37708 | 0.98054 | -0.37419 | 2.8029
51 | -0.041155 | -0.010353 | 0.041181 | 0.010369 | 2.6106e-05 | 1.6489e-05 | 0.062891 | 0.062891 | 0.062891 | 0.97394 | -0.50212 | 0.97462 | -0.48886 | 17.2777
52 | 0.041155 | 0.010353 | -0.041121 | -0.010332 | 3.3254e-05 | 2.1004e-05 | 0.062891 | 0.062891 | 0.062891 | 0.97394 | -0.50212 | 0.97309 | -0.51905 | 17.2778
53 | -0.041181 | -0.010369 | 0.041191 | 0.010376 | 1.0581e-05 | 6.6831e-06 | 0.062891 | 0.062891 | 0.062891 | 0.97462 | -0.48886 | 0.97489 | -0.48348 | 17.2777
54 | 0.032068 | 0.0080626 | -0.032017 | -0.0080307 | 5.0929e-05 | 3.1894e-05 | 0.049046 | 0.049047 | 0.049047 | 0.97309 | -0.51905 | 0.9714 | -0.55237 | 13.4744
55 | -0.0011899 | -0.00029821 | 0.0011899 | 0.0002981 | 1.1223e-08 | -1.0859e-07 | 0.0018057 | 0.0018057 | 0.0018057 | 0.98051 | -0.37462 | 0.98052 | -0.37442 | 0.49608
56 | -0.0023712 | -0.00059418 | 0.0023713 | 0.00059402 | 7.9909e-08 | -1.5643e-07 | 0.0035985 | 0.0035984 | 0.0035985 | 0.98052 | -0.37442 | 0.98056 | -0.37371 | 0.9886
57 | -0.044979 | -0.011334 | 0.045002 | 0.011349 | 2.336e-05 | 1.4779e-05 | 0.067928 | 0.067928 | 0.067928 | 0.98562 | -0.27504 | 0.98617 | -0.26419 | 18.6616
58 | -0.046002 | -0.011599 | 0.046048 | 0.011628 | 4.6035e-05 | 2.9137e-05 | 0.069436 | 0.069436 | 0.069436 | 0.98617 | -0.26419 | 0.98725 | -0.24331 | 19.0757
59 | -0.017768 | -0.004453 | 0.017774 | 0.0044565 | 5.8376e-06 | 3.4481e-06 | 0.026537 | 0.026537 | 0.026537 | 0.99631 | -0.070936 | 0.99666 | -0.064042 | 7.2903
60 | -0.063071 | -0.015843 | 0.063132 | 0.015882 | 6.1221e-05 | 3.8941e-05 | 0.094178 | 0.094178 | 0.094178 | 0.99666 | -0.064042 | 0.99772 | -0.043724 | 25.8731
61 | 0.045298 | 0.011387 | -0.045248 | -0.011356 | 4.9443e-05 | 3.1268e-05 | 0.067641 | 0.067641 | 0.067641 | 0.99666 | -0.064042 | 0.99548 | -0.086929 | 18.5828
62 | 0.018227 | 0.0045745 | -0.018209 | -0.0045642 | 1.7228e-05 | 1.0297e-05 | 0.027922 | 0.027923 | 0.027923 | 0.9714 | -0.55237 | 0.9704 | -0.5722 | 7.6711
63 | 0.0086356 | 0.0021648 | -0.008633 | -0.0021636 | 2.6172e-06 | 1.1835e-06 | 0.013242 | 0.013242 | 0.013242 | 0.9704 | -0.5722 | 0.97007 | -0.57857 | 3.638
64 | -0.017466 | -0.0043773 | 0.017474 | 0.004382 | 8.0536e-06 | 4.7425e-06 | 0.026077 | 0.026076 | 0.026077 | 0.99665 | -0.063611 | 0.99715 | -0.053936 | 7.1639
65 | -0.2374 | -0.060714 | 0.23802 | 0.061111 | 0.0006214 | 0.00039701 | 0.35469 | 0.35469 | 0.35469 | 0.99715 | -0.053936 | 1 | 0 | 48.7214
66 | 0.21992 | 0.056332 | -0.21982 | -0.056267 | 0.00010162 | 6.4908e-05 | 0.32862 | 0.32862 | 0.32862 | 0.99715 | -0.053936 | 0.99665 | -0.063478 | 45.1395
67 | 0.0022605 | 0.00056622 | -0.0022604 | -0.00056651 | 1.1912e-07 | -2.8372e-07 | 0.0033829 | 0.0033831 | 0.0033831 | 0.99428 | -0.11009 | 0.99422 | -0.1112 | 0.92941
68 | -0.016058 | -0.0040241 | 0.016059 | 0.0040248 | 1.2017e-06 | 6.9713e-07 | 0.024032 | 0.024032 | 0.024032 | 0.99428 | -0.11009 | 0.99436 | -0.10852 | 6.6021
69 | -0.029452 | -0.0073821 | 0.029467 | 0.0073911 | 1.4494e-05 | 9.0182e-06 | 0.044074 | 0.044074 | 0.044074 | 0.99436 | -0.10852 | 0.99489 | -0.098194 | 12.1083
70 | 0.0038086 | 0.00095305 | -0.0038068 | -0.00095384 | 1.8679e-06 | -7.9268e-07 | 0.005699 | 0.0056997 | 0.0056997 | 0.99436 | -0.10852 | 0.99383 | -0.11882 | 1.5658
71 | 0.0095846 | 0.0024042 | -0.009573 | -0.0023987 | 1.1633e-05 | 5.4919e-06 | 0.014344 | 0.014344 | 0.014344 | 0.99436 | -0.10852 | 0.99304 | -0.134 | 3.9408
72 | -0.045224 | -0.01134 | 0.045248 | 0.011356 | 2.4295e-05 | 1.5365e-05 | 0.067641 | 0.067641 | 0.067641 | 0.99489 | -0.098194 | 0.99548 | -0.086929 | 18.5828
73 | 0.0038068 | 0.00095384 | -0.0038064 | -0.00095398 | 3.3132e-07 | -1.4032e-07 | 0.0056997 | 0.0056998 | 0.0056998 | 0.99383 | -0.11882 | 0.99373 | -0.12065 | 1.5659
74 | 0.0015065 | 0.00037695 | -0.0015064 | -0.00037754 | 9.4902e-08 | -5.8179e-07 | 0.0022572 | 0.0022574 | 0.0022574 | 0.99304 | -0.134 | 0.99297 | -0.13533 | 0.62016
75 | 0.0080665 | 0.0020217 | -0.008066 | -0.0020215 | 5.6925e-07 | 2.2991e-07 | 0.012087 | 0.012087 | 0.012087 | 0.99304 | -0.134 | 0.99296 | -0.13549 | 3.3207
76 | -0.072972 | -0.018348 | 0.073124 | 0.018445 | 0.00015272 | 9.7293e-05 | 0.10885 | 0.10885 | 0.10885 | 0.99772 | -0.043724 | 1 | 0 | 29.9044
77 | -0.20958 | -0.05329 | 0.20995 | 0.053527 | 0.00037259 | 0.00023794 | 0.31486 | 0.31486 | 0.31486 | 0.99132 | -0.16512 | 0.99324 | -0.12829 | 43.25
78 | -0.21757 | -0.055437 | 0.21788 | 0.055635 | 0.00030905 | 0.00019739 | 0.32628 | 0.32628 | 0.32628 | 0.99324 | -0.12829 | 0.99478 | -0.098898 | 44.818
79 | -0.21944 | -0.056027 | 0.21982 | 0.056267 | 0.00037634 | 0.00024037 | 0.32862 | 0.32862 | 0.32862 | 0.99478 | -0.098898 | 0.99665 | -0.063478 | 45.1395
80 | 0.0011865 | 0.00029729 | -0.0011865 | -0.00029737 | 8.6934e-09 | -8.454e-08 | 0.001801 | 0.001801 | 0.001801 | 0.9803 | -0.37874 | 0.9803 | -0.37889 | 0.49479

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32987 | 0.083836

## res_load
| p_mw | q_mvar
0 | 0.0030896 | 0.00077434
1 | 0.00147 | 0.00036841
2 | 0.001666 | 0.00041753
3 | 0.0024841 | 0.00062257
4 | 0.0020596 | 0.00051619
5 | 0.003163 | 0.00079273
6 | 0.001543 | 0.00038671
7 | 0.0025442 | 0.00063764
8 | 0.0031625 | 0.00079259
9 | 0.0025451 | 0.00063785
10 | 0.0042076 | 0.0010545
11 | 0.0022356 | 0.00056028
12 | 0.0042647 | 0.0010688
13 | 0.0018336 | 0.00045955
14 | 0.0034376 | 0.00086154
15 | 0.0059178 | 0.0014831
16 | 0.0011867 | 0.00029741
17 | 0.0041393 | 0.0010374
18 | 0.0011864 | 0.00029735
19 | 0.021208 | 0.0053151
20 | 0.0050415 | 0.0012635
21 | 0.0031289 | 0.00078417
22 | 0.008716 | 0.0021844
23 | 0.0042806 | 0.0010728
24 | 0.0090536 | 0.0022691
25 | 0.0011899 | 0.00029821
26 | 0.0011814 | 0.00029608
27 | 0.0011345 | 0.00028432
28 | 0.0011854 | 0.0002971
29 | 0.00099913 | 0.00025041
30 | 0.0024075 | 0.00060338
31 | 0.051777 | 0.012977
32 | 0.017768 | 0.004453
33 | 0.01379 | 0.0034561
34 | 0.0095738 | 0.0023994
35 | 0.008633 | 0.0021636
36 | 0.017466 | 0.0043773
37 | 0.013797 | 0.0034579
38 | 0.0022604 | 0.00056651
39 | 0.015757 | 0.0039491
40 | 0.0038064 | 0.00095398
41 | 0.0015064 | 0.00037754
42 | 0.008066 | 0.0020215
43 | 0.0098392 | 0.0024659
44 | 0.017076 | 0.0042795
45 | 0.0046156 | 0.0011568
46 | 0.00762 | 0.0019098
47 | 0.0015648 | 0.00039218
48 | 0.0031622 | 0.00079253
49 | 0.0031631 | 0.00079274
50 | 0.0011865 | 0.00029737

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1