## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-32_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-32_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-32_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-32_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-32_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_191-32_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_191-32_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_191-32_0_4_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_191-32_0_4_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_191-32_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_191-32_0_4_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_191-32_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_191-32_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_191-32_0_4_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_191-32_0_4_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_191-32_0_4_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_191-32_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_191-32_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_191-32_0_4_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_191-32_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_191-32_0_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_191-32_0_4_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_191-32_0_4_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_191-32_0_4_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_191-32_0_4_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_191-32_0_4_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_191-32_0_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_191-32_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_191-32_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_191-32_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_191-32_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_191-32_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_191-32_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_191-32_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_191-32_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_191-32_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_191-32_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_191-32_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_191-32_0_4_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_191-32_0_4_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_191-32_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_191-32_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_191-32_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_191-32_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_191-32_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_191-32_0_4_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_191-32_0_4_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_191-32_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_191-32_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_191-32_0_4_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_191-32_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_191-32_0_4_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_191-32_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_191-32_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_191-32_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_191-32_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_191-32_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_191-32_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_191-32_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_191-32_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_191-32_0_4_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_191-32_0_4_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_191-32_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_191-32_0_4_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_191-32_0_4_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_191-32_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_191-32_0_4_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_191-32_0_4_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_191-32_0_4_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_191-32_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_191-32_0_4_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_191-32_0_4_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_191-32_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_191-32_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_191-32_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_191-32_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_191-32_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_191-32_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_191-32_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_191-32_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_191-32_0_4_node_86 | 0.4 | n |  | TRUE
81 | bus_MV_499_0_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-32_0_4_load_0 | 0 | 0.0046332 | 0.0011612 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-32_0_4_load_6 | 6 | 0.0081787 | 0.0020498 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-32_0_4_load_76 | 8 | 0.0078906 | 0.0019776 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-32_0_4_load_9 | 11 | 0.0082584 | 0.0020698 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-32_0_4_load_78 | 13 | 0.0078661 | 0.0019714 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-32_0_4_load_79 | 14 | 0.0052013 | 0.0013036 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-32_0_4_load_53 | 15 | 0.03381 | 0.0084736 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-32_0_4_load_57 | 18 | 0.010782 | 0.0027023 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-32_0_4_load_80 | 21 | 0.0081036 | 0.002031 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-32_0_4_load_81 | 22 | 0.0087588 | 0.0021952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-32_0_4_load_61 | 23 | 0.025019 | 0.0062703 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-32_0_4_load_39 | 26 | 0.0073413 | 0.0018399 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-32_0_4_load_15 | 28 | 0.0056334 | 0.0014119 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-32_0_4_load_16 | 29 | 0.015441 | 0.0038698 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-32_0_4_load_36 | 34 | 0.014072 | 0.0035267 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-32_0_4_load_33 | 36 | 0.0097153 | 0.0024349 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-32_0_4_load_55 | 37 | 0.012047 | 0.0030192 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-32_0_4_load_64 | 38 | 0.0068888 | 0.0017265 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-32_0_4_load_72 | 39 | 0.0050775 | 0.0012725 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-32_0_4_load_45 | 42 | 0.0030893 | 0.00077425 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-32_0_4_load_42 | 43 | 0.0058083 | 0.0014557 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-32_0_4_load_67 | 46 | 0.0073265 | 0.0018362 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-32_0_4_load_84 | 51 | 0.0060669 | 0.0015205 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-32_0_4_load_51 | 52 | 0.0037496 | 0.00093975 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-32_0_4_load_49 | 53 | 0.0038398 | 0.00096233 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-32_0_4_load_37 | 54 | 0.017627 | 0.0044178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-32_0_4_load_48 | 57 | 0.0013286 | 0.00033298 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-32_0_4_load_40 | 59 | 0.0085229 | 0.002136 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-32_0_4_load_62 | 60 | 0.011607 | 0.0029091 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-32_0_4_load_73 | 61 | 0.0092807 | 0.002326 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-32_0_4_load_50 | 62 | 0.0010276 | 0.00025753 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-32_0_4_load_82 | 63 | 0.0076969 | 0.001929 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-32_0_4_load_43 | 65 | 0.0010218 | 0.00025608 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-32_0_4_load_87 | 67 | 0.0015387 | 0.00038562 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-32_0_4_load_85 | 68 | 0.0032068 | 0.00080371 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-32_0_4_load_47 | 69 | 0.0015372 | 0.00038525 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-32_0_4_load_41 | 70 | 0.0069128 | 0.0017325 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-32_0_4_load_44 | 71 | 0.00496 | 0.0012431 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-32_0_4_load_65 | 72 | 0.031058 | 0.0077839 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-32_0_4_load_74 | 74 | 0.013397 | 0.0033576 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-32_0_4_load_63 | 76 | 0.024171 | 0.0060578 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-32_0_4_load_70 | 79 | 0.01139 | 0.0028545 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_191-32_0_4_load_86 | 80 | 0.00838 | 0.0021002 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-32_0_4_line_0 |  | 0 | 1 | 0.034869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-32_0_4_line_1 |  | 0 | 2 | 0.0029453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-32_0_4_line_2 |  | 1 | 3 | 0.001375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-32_0_4_line_3 |  | 2 | 4 | 0.016656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-32_0_4_line_4 |  | 3 | 5 | 0.014838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-32_0_4_line_5 |  | 3 | 6 | 0.014518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-32_0_4_line_6 |  | 4 | 7 | 0.012406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-32_0_4_line_7 |  | 4 | 8 | 0.010463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-32_0_4_line_8 |  | 5 | 12 | 0.067403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-32_0_4_line_9 |  | 7 | 13 | 0.0098991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-32_0_4_line_10 |  | 9 | 10 | 0.029739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-32_0_4_line_11 |  | 9 | 11 | 0.053491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-32_0_4_line_12 |  | 10 | 14 | 0.017349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-32_0_4_line_13 |  | 10 | 13 | 0.031454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-32_0_4_line_14 |  | 12 | 15 | 0.049457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-32_0_4_line_15 |  | 14 | 45 | 0.032257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-32_0_4_line_16 |  | 16 | 17 | 0.00218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-32_0_4_line_17 |  | 16 | 18 | 0.025654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-32_0_4_line_18 |  | 17 | 22 | 0.040468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-32_0_4_line_19 |  | 19 | 20 | 0.061208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-32_0_4_line_20 |  | 19 | 21 | 0.021199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-32_0_4_line_21 |  | 20 | 26 | 0.015482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-32_0_4_line_22 |  | 20 | 27 | 0.030725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-32_0_4_line_23 |  | 21 | 22 | 0.027815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-32_0_4_line_24 |  | 23 | 24 | 0.021737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-32_0_4_line_25 |  | 24 | 25 | 0.009947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-32_0_4_line_26 |  | 25 | 72 | 0.028966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-32_0_4_line_27 |  | 25 | 58 | 0.050628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-32_0_4_line_28 |  | 26 | 59 | 0.0048664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-32_0_4_line_29 |  | 27 | 37 | 0.021615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-32_0_4_line_30 |  | 28 | 29 | 0.052075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-32_0_4_line_31 |  | 28 | 30 | 0.028264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-32_0_4_line_32 |  | 29 | 31 | 0.039315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-32_0_4_line_33 |  | 30 | 32 | 0.069596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-32_0_4_line_34 |  | 31 | 33 | 0.035023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-32_0_4_line_35 |  | 32 | 34 | 0.045855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-32_0_4_line_36 |  | 33 | 38 | 0.046914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-32_0_4_line_37 |  | 33 | 39 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-32_0_4_line_38 |  | 33 | 35 | 0.015383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-32_0_4_line_39 |  | 34 | 54 | 0.098048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-32_0_4_line_40 |  | 35 | 36 | 0.022795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-32_0_4_line_41 |  | 37 | 58 | 0.018732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-32_0_4_line_42 |  | 38 | 60 | 0.10123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-32_0_4_line_43 |  | 39 | 61 | 0.019551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-32_0_4_line_44 |  | 40 | 41 | 0.041028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-32_0_4_line_45 |  | 40 | 42 | 0.011349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-32_0_4_line_46 |  | 40 | 43 | 0.020681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-32_0_4_line_47 |  | 41 | 53 | 0.0055299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-32_0_4_line_48 |  | 42 | 47 | 0.012146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-32_0_4_line_49 |  | 43 | 65 | 0.025251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-32_0_4_line_50 |  | 44 | 45 | 0.006858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-32_0_4_line_51 |  | 44 | 46 | 0.030504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-32_0_4_line_52 |  | 45 | 50 | 0.010214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-32_0_4_line_53 |  | 46 | 66 | 0.017008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-32_0_4_line_54 |  | 47 | 48 | 0.015405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-32_0_4_line_55 |  | 48 | 52 | 0.0090532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-32_0_4_line_56 |  | 49 | 50 | 0.039002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_191-32_0_4_line_57 |  | 49 | 51 | 0.016545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_191-32_0_4_line_58 |  | 50 | 52 | 0.0082928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_191-32_0_4_line_59 |  | 51 | 64 | 0.0026382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_191-32_0_4_line_60 |  | 55 | 56 | 0.034049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_191-32_0_4_line_61 |  | 55 | 57 | 0.05331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_191-32_0_4_line_62 |  | 56 | 62 | 0.081164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_191-32_0_4_line_63 |  | 57 | 69 | 0.020799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_191-32_0_4_line_64 |  | 59 | 70 | 0.024855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_191-32_0_4_line_65 |  | 60 | 76 | 0.047554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_191-32_0_4_line_66 |  | 63 | 64 | 0.081267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_191-32_0_4_line_67 |  | 65 | 71 | 0.0037257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_191-32_0_4_line_68 |  | 66 | 79 | 0.022336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_191-32_0_4_line_69 |  | 67 | 68 | 0.0060198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_191-32_0_4_line_70 |  | 68 | 78 | 0.018252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_191-32_0_4_line_71 |  | 69 | 71 | 0.022796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_191-32_0_4_line_72 |  | 72 | 75 | 0.030103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_191-32_0_4_line_73 |  | 73 | 74 | 0.014347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_191-32_0_4_line_74 |  | 73 | 75 | 0.035739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_191-32_0_4_line_75 |  | 73 | 76 | 0.028063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_191-32_0_4_line_76 |  | 75 | 77 | 0.025834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_191-32_0_4_line_77 |  | 77 | 78 | 0.0044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_191-32_0_4_line_78 |  | 77 | 79 | 0.0095153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_191-32_0_4_line_79 |  | 78 | 80 | 0.024569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-32_0_4_trafo_59 | 0.63 MVA 20/0.4 kV | 81 | 73 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2688906.7946 | 1249802.9655 | 2688910.8202 | 1249809.4419 | 2688913.6835 | 1249816.3789 | 2688915.6993 | 1249823.9371 | 2688916.2512 | 1249830.9396 | 2688915.9234 | 1249835.8212
1 | 2688915.726 | 1249838.7599 | 2688915.9234 | 1249835.8212
2 | 2688906.7946 | 1249802.9655 | 2688905.889 | 1249801.9289
3 | 2688915.726 | 1249838.7599 | 2688932.2311 | 1249841.3316
4 | 2688896.2808 | 1249790.5984 | 2688905.889 | 1249801.9289
5 | 2688905.889 | 1249801.9289 | 2688891.5742 | 1249804.3494
6 | 2688938.7766 | 1249850.9482 | 2688939.0282 | 1249848.2722 | 2688936.8437 | 1249846.4158 | 2688932.2311 | 1249841.3316
7 | 2688932.2311 | 1249841.3316 | 2688938.4562 | 1249835.0758 | 2688939.7004 | 1249834.1827 | 2688939.7897 | 1249834.1255
8 | 2688849.1098 | 1249745.3682 | 2688853.962 | 1249750.1 | 2688858.4751 | 1249749.2448 | 2688864.1373 | 1249755.3454 | 2688880.2765 | 1249772.7561 | 2688891.8558 | 1249785.5839 | 2688896.2808 | 1249790.5984
9 | 2688938.7766 | 1249850.9482 | 2688937.3734 | 1249860.7473
10 | 2688908.4213 | 1249891.29 | 2688921.7216 | 1249892.5572 | 2688931.055 | 1249892.5082 | 2688938.1743 | 1249892.0703
11 | 2688908.4213 | 1249891.29 | 2688893.5116 | 1249887.5747 | 2688866.8061 | 1249879.9463 | 2688857.4009 | 1249875.6213
12 | 2688938.1743 | 1249892.0703 | 2688955.4579 | 1249890.566
13 | 2688938.1743 | 1249892.0703 | 2688937.797 | 1249873.4505 | 2688937.4907 | 1249870.2101 | 2688936.7016 | 1249865.4391 | 2688937.3734 | 1249860.7473
14 | 2688849.1098 | 1249745.3682 | 2688885.532 | 1249711.9103
15 | 2688987.5638 | 1249887.508 | 2688982.4111 | 1249888.2201 | 2688955.4579 | 1249890.566
16 | 2688893.9657 | 1249649.5126 | 2688892.3578 | 1249650.9896
17 | 2688892.3578 | 1249650.9896 | 2688909.9555 | 1249669.657
18 | 2688893.9657 | 1249649.5126 | 2688911.5157 | 1249633.308 | 2688916.0748 | 1249628.3948 | 2688918.3867 | 1249626.795 | 2688923.0303 | 1249621.4683
19 | 2688954.1771 | 1249583.6437 | 2688968.3852 | 1249595.9107 | 2688982.5766 | 1249598.2254 | 2688981.1634 | 1249609.3571 | 2688979.0399 | 1249626.06
20 | 2688954.1771 | 1249583.6437 | 2688941.0951 | 1249600.3252
21 | 2688979.0399 | 1249626.06 | 2688968.5581 | 1249625.1242 | 2688964.5267 | 1249625.0637 | 2688963.6272 | 1249625.2878
22 | 2688975.2293 | 1249656.5481 | 2688977.6949 | 1249636.6812 | 2688977.8409 | 1249635.5047 | 2688979.0399 | 1249626.06
23 | 2688941.0951 | 1249600.3252 | 2688937.8102 | 1249604.5139 | 2688923.0303 | 1249621.4683
24 | 2688945.3419 | 1249742.5869 | 2688944.8366 | 1249743.0464 | 2688931.4766 | 1249755.2885 | 2688929.3769 | 1249757.3363
25 | 2688945.3419 | 1249742.5869 | 2688953.4184 | 1249736.7481
26 | 2688953.4184 | 1249736.7481 | 2688959.806 | 1249765.0015
27 | 2688971.6659 | 1249696.725 | 2688971.5276 | 1249714.9812 | 2688963.8374 | 1249718.2238 | 2688951.8035 | 1249729.1404 | 2688953.4184 | 1249736.7481
28 | 2688958.9052 | 1249626.4641 | 2688963.6272 | 1249625.2878
29 | 2688975.2293 | 1249656.5481 | 2688974.8512 | 1249659.6003 | 2688972.8151 | 1249678.0281
30 | 2689109.9715 | 1249645.3302 | 2689108.7235 | 1249649.4812 | 2689095.2839 | 1249660.9545 | 2689072.4786 | 1249680.5522
31 | 2689132.6512 | 1249630.5043 | 2689131.0166 | 1249631.7474 | 2689115.9683 | 1249645.2425 | 2689109.9715 | 1249645.3302
32 | 2689042.661 | 1249706.1759 | 2689072.4786 | 1249680.5522
33 | 2689078.8049 | 1249622.9782 | 2689081.8451 | 1249625.6815 | 2689096.5477 | 1249611.0691 | 2689109.0421 | 1249609.7337 | 2689128.6365 | 1249622.8159 | 2689132.6512 | 1249630.5043
34 | 2689042.661 | 1249706.1759 | 2689045.7346 | 1249710.1695 | 2689061.6881 | 1249730.8693 | 2689058.5363 | 1249733.0792
35 | 2689078.8049 | 1249622.9782 | 2689044.9779 | 1249653.9364
36 | 2689058.5363 | 1249733.0792 | 2689042.9521 | 1249712.4294 | 2689030.3703 | 1249695.5608
37 | 2689058.5363 | 1249733.0792 | 2689057.4146 | 1249733.8629 | 2689047.6358 | 1249741.9054
38 | 2689058.5363 | 1249733.0792 | 2689061.6881 | 1249730.8693 | 2689069.0297 | 1249739.7641
39 | 2689044.9779 | 1249653.9364 | 2689029.9269 | 1249667.7111 | 2689024.8908 | 1249668.6918 | 2689021.3811 | 1249667.5827 | 2688986.2609 | 1249623.3997 | 2688985.102 | 1249619.1124 | 2688986.0514 | 1249611.2176
40 | 2689069.0297 | 1249739.7641 | 2689086.0949 | 1249724.651
41 | 2688971.6659 | 1249696.725 | 2688972.8151 | 1249678.0281
42 | 2688978.1398 | 1249675.6201 | 2688979.9223 | 1249659.8099 | 2688982.0716 | 1249649.4343 | 2688985.4769 | 1249645.4269 | 2688990.7716 | 1249645.3285 | 2688995.9136 | 1249649.3643 | 2689030.3703 | 1249695.5608
43 | 2689040.5851 | 1249758.8846 | 2689042.4908 | 1249746.1369 | 2689047.6358 | 1249741.9054
44 | 2688991.3192 | 1249993.8783 | 2688993.9435 | 1249986.0562 | 2688996.1545 | 1249971.0669 | 2688996.0072 | 1249961.2684 | 2688995.7472 | 1249953.4475
45 | 2688995.7472 | 1249953.4475 | 2688994.3517 | 1249942.1847
46 | 2688995.7472 | 1249953.4475 | 2688979.7051 | 1249966.4995
47 | 2688991.3192 | 1249993.8783 | 2688988.7235 | 1249998.7612
48 | 2688992.8583 | 1249930.1309 | 2688994.3517 | 1249942.1847
49 | 2688960.1183 | 1249982.4355 | 2688979.7051 | 1249966.4995
50 | 2688994.3739 | 1249886.5429 | 2688987.5638 | 1249887.508
51 | 2688994.3739 | 1249886.5429 | 2688989.591 | 1249856.4157
52 | 2688987.5638 | 1249887.508 | 2688988.6344 | 1249897.6651
53 | 2688986.9241 | 1249839.6177 | 2688989.591 | 1249856.4157
54 | 2688992.8583 | 1249930.1309 | 2688990.4441 | 1249914.9165
55 | 2688990.4441 | 1249914.9165 | 2688989.4996 | 1249905.9127
56 | 2688988.6344 | 1249897.6651 | 2688996.14 | 1249896.6437 | 2689005.9735 | 1249894.9678 | 2689009.4707 | 1249892.3739 | 2689021.939 | 1249880.6745
57 | 2689021.939 | 1249880.6745 | 2689021.0624 | 1249878.2151 | 2689010.4756 | 1249869.1554
58 | 2688988.6344 | 1249897.6651 | 2688989.4996 | 1249905.9127
59 | 2689008.4712 | 1249867.4401 | 2689010.4756 | 1249869.1554
60 | 2688857.1172 | 1250022.9872 | 2688860.9214 | 1250026.091 | 2688868.4867 | 1250031.6419 | 2688874.9367 | 1250037.5542 | 2688882.0593 | 1250045.9451
61 | 2688882.0593 | 1250045.9451 | 2688923.4118 | 1250012.3003
62 | 2688857.1172 | 1250022.9872 | 2688859.9742 | 1250016.2471 | 2688882.736 | 1249994.3051 | 2688904.0994 | 1249977.5127 | 2688916.4052 | 1249968.8406
63 | 2688923.4118 | 1250012.3003 | 2688939.5454 | 1249999.1738
64 | 2688938.6068 | 1249637.9623 | 2688941.6998 | 1249638.6537 | 2688945.8838 | 1249636.0923 | 2688948.927 | 1249632.0571 | 2688952.0703 | 1249628.9019 | 2688956.7806 | 1249626.9933 | 2688958.9052 | 1249626.4641
65 | 2688978.1398 | 1249675.6201 | 2688977.7096 | 1249679.436 | 2688976.3992 | 1249720.4251 | 2688976.5042 | 1249723.1266
66 | 2689008.4712 | 1249867.4401 | 2689003.3902 | 1249861.8707 | 2689002.3842 | 1249857.4633 | 2689018.9308 | 1249841.1884 | 2689025.3854 | 1249838.7612 | 2689030.4154 | 1249841.6945 | 2689054.6817 | 1249818.9203
67 | 2688957.2283 | 1249984.7868 | 2688960.1183 | 1249982.4355
68 | 2688986.9241 | 1249839.6177 | 2688983.6087 | 1249818.552 | 2688983.446 | 1249817.5545
69 | 2688990.2261 | 1249831.3858 | 2688989.2443 | 1249825.4466
70 | 2688986.2674 | 1249807.4391 | 2688989.2443 | 1249825.4466
71 | 2688957.2283 | 1249984.7868 | 2688939.5454 | 1249999.1738
72 | 2688977.9263 | 1249782.6395 | 2688971.1613 | 1249782.6047 | 2688962.9912 | 1249779.0905 | 2688959.806 | 1249765.0015
73 | 2688978.3318 | 1249751.1218 | 2688980.3337 | 1249765.3289
74 | 2688977.9263 | 1249782.6395 | 2688973.7223 | 1249751.8532 | 2688978.3318 | 1249751.1218
75 | 2688978.3318 | 1249751.1218 | 2688977.0091 | 1249736.1239 | 2688976.5042 | 1249723.1266
76 | 2688977.9263 | 1249782.6395 | 2688979.2707 | 1249791.6666 | 2688981.9148 | 1249808.1632
77 | 2688981.9148 | 1249808.1632 | 2688986.2674 | 1249807.4391
78 | 2688981.9148 | 1249808.1632 | 2688983.446 | 1249817.5545
79 | 2688998.7483 | 1249791.8925 | 2689000.2349 | 1249798.9868 | 2688997.9992 | 1249803.0563 | 2688993.5625 | 1249805.8585 | 2688986.2674 | 1249807.4391

## bus_geodata
| x | y | coords
0 | 2688915.9234 | 1249835.8212
1 | 2688906.7946 | 1249802.9655
2 | 2688915.726 | 1249838.7598
3 | 2688905.889 | 1249801.9289
4 | 2688932.2311 | 1249841.3316
5 | 2688896.2808 | 1249790.5984
6 | 2688891.5742 | 1249804.3494
7 | 2688938.7766 | 1249850.9482
8 | 2688939.7897 | 1249834.1255
9 | 2688908.4213 | 1249891.29
10 | 2688938.1743 | 1249892.0703
11 | 2688857.4009 | 1249875.6213
12 | 2688849.1098 | 1249745.3682
13 | 2688937.3734 | 1249860.7473
14 | 2688955.4579 | 1249890.566
15 | 2688885.532 | 1249711.9103
16 | 2688892.3578 | 1249650.9896
17 | 2688893.9657 | 1249649.5126
18 | 2688909.9555 | 1249669.657
19 | 2688954.1771 | 1249583.6437
20 | 2688979.0399 | 1249626.06
21 | 2688941.0951 | 1249600.3252
22 | 2688923.0303 | 1249621.4683
23 | 2688929.3769 | 1249757.3363
24 | 2688945.3419 | 1249742.5869
25 | 2688953.4184 | 1249736.7481
26 | 2688963.6272 | 1249625.2878
27 | 2688975.2293 | 1249656.5481
28 | 2689109.9715 | 1249645.3302
29 | 2689072.4786 | 1249680.5522
30 | 2689132.6512 | 1249630.5043
31 | 2689042.661 | 1249706.1759
32 | 2689078.8049 | 1249622.9782
33 | 2689058.5363 | 1249733.0792
34 | 2689044.9779 | 1249653.9364
35 | 2689069.0297 | 1249739.7641
36 | 2689086.0949 | 1249724.651
37 | 2688972.8151 | 1249678.0281
38 | 2689030.3703 | 1249695.5608
39 | 2689047.6358 | 1249741.9054
40 | 2688995.7472 | 1249953.4475
41 | 2688991.3192 | 1249993.8783
42 | 2688994.3517 | 1249942.1847
43 | 2688979.7051 | 1249966.4995
44 | 2688994.3739 | 1249886.5429
45 | 2688987.5638 | 1249887.508
46 | 2688989.591 | 1249856.4157
47 | 2688992.8583 | 1249930.1309
48 | 2688990.4441 | 1249914.9165
49 | 2689021.939 | 1249880.6745
50 | 2688988.6344 | 1249897.6651
51 | 2689010.4756 | 1249869.1554
52 | 2688989.4996 | 1249905.9127
53 | 2688988.7235 | 1249998.7612
54 | 2688986.0514 | 1249611.2176
55 | 2688882.0593 | 1250045.9451
56 | 2688857.1172 | 1250022.9872
57 | 2688923.4118 | 1250012.3003
58 | 2688971.6659 | 1249696.725
59 | 2688958.9052 | 1249626.4641
60 | 2688978.1398 | 1249675.6201
61 | 2689040.5851 | 1249758.8846
62 | 2688916.4052 | 1249968.8406
63 | 2689054.6817 | 1249818.9203
64 | 2689008.4712 | 1249867.4401
65 | 2688960.1183 | 1249982.4355
66 | 2688986.9241 | 1249839.6177
67 | 2688990.2261 | 1249831.3858
68 | 2688989.2443 | 1249825.4466
69 | 2688939.5454 | 1249999.1738
70 | 2688938.6068 | 1249637.9623
71 | 2688957.2283 | 1249984.7868
72 | 2688959.806 | 1249765.0015
73 | 2688978.3318 | 1249751.1218
74 | 2688980.3337 | 1249765.3289
75 | 2688977.9263 | 1249782.6395
76 | 2688976.5042 | 1249723.1266
77 | 2688981.9148 | 1249808.1632
78 | 2688986.2674 | 1249807.4391
79 | 2688983.446 | 1249817.5545
80 | 2688998.7483 | 1249791.8925
81 | 2688973.7223 | 1249751.8532

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9769 | -0.44428 | 0.0046332 | 0.0011612
1 | 0.97553 | -0.47106 | 0 | 0
2 | 0.97703 | -0.44177 | 0 | 0
3 | 0.97548 | -0.47212 | 0 | 0
4 | 0.97775 | -0.4276 | 0 | 0
5 | 0.97501 | -0.48131 | 0 | 0
6 | 0.97537 | -0.4743 | 0.0081787 | 0.0020498
7 | 0.97838 | -0.41528 | 0 | 0
8 | 0.97767 | -0.42911 | 0.0078906 | 0.0019776
9 | 0.98048 | -0.37429 | 0 | 0
10 | 0.98071 | -0.36983 | 0 | 0
11 | 0.98008 | -0.3823 | 0.0082584 | 0.0020698
12 | 0.97288 | -0.52319 | 0 | 0
13 | 0.97888 | -0.40546 | 0.0078661 | 0.0019714
14 | 0.98185 | -0.34765 | 0.0052013 | 0.0013036
15 | 0.97132 | -0.55403 | 0.03381 | 0.0084736
16 | 0.98052 | -0.3754 | 0 | 0
17 | 0.98054 | -0.37498 | 0 | 0
18 | 0.98026 | -0.38042 | 0.010782 | 0.0027023
19 | 0.98199 | -0.34663 | 0 | 0
20 | 0.98355 | -0.31609 | 0 | 0
21 | 0.98145 | -0.35723 | 0.0081036 | 0.002031
22 | 0.98094 | -0.36707 | 0.0087588 | 0.0021952
23 | 0.98926 | -0.20538 | 0.025019 | 0.0062703
24 | 0.98976 | -0.1957 | 0 | 0
25 | 0.98999 | -0.19127 | 0 | 0
26 | 0.98323 | -0.32244 | 0.0073413 | 0.0018399
27 | 0.98498 | -0.28821 | 0 | 0
28 | 0.97599 | -0.46147 | 0.0056334 | 0.0014119
29 | 0.9778 | -0.42596 | 0.015441 | 0.0038698
30 | 0.97515 | -0.47788 | 0 | 0
31 | 0.97974 | -0.3882 | 0 | 0
32 | 0.97309 | -0.51841 | 0 | 0
33 | 0.98146 | -0.35469 | 0 | 0
34 | 0.97173 | -0.54521 | 0.014072 | 0.0035267
35 | 0.98132 | -0.3574 | 0 | 0
36 | 0.98112 | -0.36141 | 0.0097153 | 0.0024349
37 | 0.98599 | -0.26865 | 0.012047 | 0.0030192
38 | 0.98481 | -0.28967 | 0.0068888 | 0.0017265
39 | 0.98127 | -0.35834 | 0.0050775 | 0.0012725
40 | 0.98258 | -0.33377 | 0 | 0
41 | 0.98243 | -0.33661 | 0 | 0
42 | 0.98278 | -0.32977 | 0.0030893 | 0.00077425
43 | 0.98228 | -0.33963 | 0.0058083 | 0.0014557
44 | 0.98487 | -0.28921 | 0 | 0
45 | 0.98413 | -0.30351 | 0 | 0
46 | 0.98815 | -0.22584 | 0.0073265 | 0.0018362
47 | 0.98304 | -0.32481 | 0 | 0
48 | 0.98336 | -0.31853 | 0 | 0
49 | 0.98325 | -0.32057 | 0 | 0
50 | 0.98375 | -0.3109 | 0 | 0
51 | 0.98304 | -0.32468 | 0.0060669 | 0.0015205
52 | 0.98355 | -0.31484 | 0.0037496 | 0.00093975
53 | 0.98241 | -0.337 | 0.0038398 | 0.00096233
54 | 0.97012 | -0.57716 | 0.017627 | 0.0044178
55 | 0.98184 | -0.34822 | 0 | 0
56 | 0.98181 | -0.34886 | 0 | 0
57 | 0.98189 | -0.34723 | 0.0013286 | 0.00033298
58 | 0.98707 | -0.24769 | 0 | 0
59 | 0.98316 | -0.3238 | 0.0085229 | 0.002136
60 | 0.99269 | -0.13852 | 0.011607 | 0.0029091
61 | 0.98111 | -0.36163 | 0.0092807 | 0.002326
62 | 0.98173 | -0.35037 | 0.0010276 | 0.00025753
63 | 0.98245 | -0.33633 | 0.0076969 | 0.001929
64 | 0.98303 | -0.32504 | 0 | 0
65 | 0.98205 | -0.34414 | 0.0010218 | 0.00025608
66 | 0.99009 | -0.18847 | 0 | 0
67 | 0.9937 | -0.11969 | 0.0015387 | 0.00038562
68 | 0.99371 | -0.11953 | 0.0032068 | 0.00080371
69 | 0.98194 | -0.34634 | 0.0015372 | 0.00038525
70 | 0.983 | -0.3269 | 0.0069128 | 0.0017325
71 | 0.98202 | -0.34473 | 0.00496 | 0.0012431
72 | 0.99232 | -0.1463 | 0.031058 | 0.0077839
73 | 1 | 0 | -0.40703 | -0.10395
74 | 0.99983 | -0.0033508 | 0.013397 | 0.0033576
75 | 0.99561 | -0.083339 | 0 | 0
76 | 0.9969 | -0.058649 | 0.024171 | 0.0060578
77 | 0.99384 | -0.11698 | 0 | 0
78 | 0.99379 | -0.118 | 0 | 0
79 | 0.99265 | -0.13962 | 0.01139 | 0.0028545
80 | 0.9936 | -0.12163 | 0.00838 | 0.0021002
81 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.042178 | 0.010642 | -0.042124 | -0.010608 | 5.4015e-05 | 3.4134e-05 | 0.064272 | 0.064272 | 0.064272 | 0.9769 | -0.44428 | 0.97553 | -0.47106 | 17.6571
1 | -0.046811 | -0.011804 | 0.046817 | 0.011807 | 5.6194e-06 | 3.5596e-06 | 0.071329 | 0.071329 | 0.071329 | 0.9769 | -0.44428 | 0.97703 | -0.44177 | 19.5958
2 | 0.042124 | 0.010608 | -0.042122 | -0.010607 | 2.13e-06 | 1.346e-06 | 0.064272 | 0.064272 | 0.064272 | 0.97553 | -0.47106 | 0.97548 | -0.47212 | 17.6571
3 | -0.046817 | -0.011807 | 0.046849 | 0.011827 | 3.1778e-05 | 2.0129e-05 | 0.071329 | 0.071329 | 0.071329 | 0.97703 | -0.44177 | 0.97775 | -0.4276 | 19.5958
4 | 0.033942 | 0.0085567 | -0.033928 | -0.0085474 | 1.4927e-05 | 9.3682e-06 | 0.051795 | 0.051795 | 0.051795 | 0.97548 | -0.47212 | 0.97501 | -0.48131 | 14.2293
5 | 0.0081795 | 0.0020501 | -0.0081787 | -0.0020498 | 8.4758e-07 | 3.6123e-07 | 0.012477 | 0.012477 | 0.012477 | 0.97548 | -0.47212 | 0.97537 | -0.4743 | 3.4278
6 | -0.05474 | -0.013805 | 0.054772 | 0.013826 | 3.2311e-05 | 2.0523e-05 | 0.083338 | 0.083338 | 0.083338 | 0.97775 | -0.4276 | 0.97838 | -0.41528 | 22.8951
7 | 0.0078912 | 0.0019778 | -0.0078906 | -0.0019776 | 5.6589e-07 | 2.3096e-07 | 0.012009 | 0.01201 | 0.01201 | 0.97775 | -0.4276 | 0.97767 | -0.42911 | 3.2993
8 | 0.033928 | 0.0085474 | -0.03386 | -0.0085048 | 6.7809e-05 | 4.2559e-05 | 0.051795 | 0.051795 | 0.051795 | 0.97501 | -0.48131 | 0.97288 | -0.52319 | 14.2294
9 | -0.054772 | -0.013826 | 0.054798 | 0.013842 | 2.5782e-05 | 1.6376e-05 | 0.083338 | 0.083338 | 0.083338 | 0.97838 | -0.41528 | 0.97888 | -0.40546 | 22.8951
10 | -0.0082616 | -0.0020711 | 0.0082634 | 0.0020719 | 1.7532e-06 | 7.4688e-07 | 0.012538 | 0.012538 | 0.012538 | 0.98048 | -0.37429 | 0.98071 | -0.36983 | 3.4446
11 | 0.0082616 | 0.0020711 | -0.0082584 | -0.0020698 | 3.1535e-06 | 1.3439e-06 | 0.012538 | 0.012539 | 0.012539 | 0.98048 | -0.37429 | 0.98008 | -0.3823 | 3.4447
12 | -0.071034 | -0.017953 | 0.07111 | 0.018002 | 7.565e-05 | 4.8197e-05 | 0.10783 | 0.10783 | 0.10783 | 0.98071 | -0.36983 | 0.98185 | -0.34765 | 29.6246
13 | 0.062771 | 0.015881 | -0.062664 | -0.015813 | 0.00010711 | 6.8157e-05 | 0.095295 | 0.095295 | 0.095295 | 0.98071 | -0.36983 | 0.97888 | -0.40546 | 26.1801
14 | 0.03386 | 0.0085048 | -0.03381 | -0.0084736 | 4.9755e-05 | 3.123e-05 | 0.051795 | 0.051795 | 0.051795 | 0.97288 | -0.52319 | 0.97132 | -0.55403 | 14.2294
15 | -0.076311 | -0.019305 | 0.076473 | 0.019408 | 0.00016197 | 0.00010325 | 0.11572 | 0.11572 | 0.11572 | 0.98185 | -0.34765 | 0.98413 | -0.30351 | 31.7901
16 | -0.010785 | -0.0027036 | 0.010785 | 0.0027037 | 2.1899e-07 | 1.1266e-07 | 0.016367 | 0.016367 | 0.016367 | 0.98052 | -0.3754 | 0.98054 | -0.37498 | 4.4964
17 | 0.010785 | 0.0027036 | -0.010782 | -0.0027023 | 2.5771e-06 | 1.3259e-06 | 0.016367 | 0.016367 | 0.016367 | 0.98052 | -0.3754 | 0.98026 | -0.38042 | 4.4965
18 | -0.010785 | -0.0027037 | 0.010789 | 0.0027058 | 4.0651e-06 | 2.091e-06 | 0.016367 | 0.016367 | 0.016367 | 0.98054 | -0.37498 | 0.98094 | -0.36707 | 4.4964
19 | -0.027675 | -0.0069461 | 0.027715 | 0.0069712 | 4.0372e-05 | 2.5062e-05 | 0.041939 | 0.041939 | 0.041939 | 0.98199 | -0.34663 | 0.98355 | -0.31609 | 11.5218
20 | 0.027675 | 0.0069461 | -0.027661 | -0.0069374 | 1.3983e-05 | 8.681e-06 | 0.041939 | 0.041939 | 0.041939 | 0.98199 | -0.34663 | 0.98145 | -0.35723 | 11.5218
21 | 0.022786 | 0.0057136 | -0.022779 | -0.0057094 | 6.9e-06 | 4.2196e-06 | 0.034474 | 0.034474 | 0.034474 | 0.98355 | -0.31609 | 0.98323 | -0.32244 | 9.4708
22 | -0.050501 | -0.012685 | 0.050568 | 0.012727 | 6.7276e-05 | 4.2666e-05 | 0.076413 | 0.076413 | 0.076413 | 0.98355 | -0.31609 | 0.98498 | -0.28821 | 20.9925
23 | 0.019557 | 0.0049065 | -0.019548 | -0.004901 | 9.1718e-06 | 5.5186e-06 | 0.029653 | 0.029653 | 0.029653 | 0.98145 | -0.35723 | 0.98094 | -0.36707 | 8.1465
24 | -0.025019 | -0.0062703 | 0.02503 | 0.0062774 | 1.1544e-05 | 7.1088e-06 | 0.037633 | 0.037632 | 0.037633 | 0.98926 | -0.20538 | 0.98976 | -0.1957 | 10.3386
25 | -0.02503 | -0.0062774 | 0.025036 | 0.0062807 | 5.2826e-06 | 3.253e-06 | 0.037632 | 0.037632 | 0.037632 | 0.98976 | -0.1957 | 0.98999 | -0.19127 | 10.3386
26 | -0.087931 | -0.022205 | 0.088121 | 0.022327 | 0.00018991 | 0.00012117 | 0.13223 | 0.13223 | 0.13223 | 0.98999 | -0.19127 | 0.99232 | -0.1463 | 36.3256
27 | 0.062895 | 0.015925 | -0.062725 | -0.015817 | 0.00016988 | 0.00010807 | 0.094593 | 0.094593 | 0.094593 | 0.98999 | -0.19127 | 0.98707 | -0.24769 | 25.9871
28 | 0.015438 | 0.0038695 | -0.015437 | -0.0038689 | 9.9612e-07 | 5.758e-07 | 0.023364 | 0.023364 | 0.023364 | 0.98323 | -0.32244 | 0.98316 | -0.3238 | 6.4186
29 | -0.050568 | -0.012727 | 0.050615 | 0.012757 | 4.7329e-05 | 3.0015e-05 | 0.076413 | 0.076413 | 0.076413 | 0.98498 | -0.28821 | 0.98599 | -0.26865 | 20.9925
30 | -0.037486 | -0.0094519 | 0.03755 | 0.0094921 | 6.3831e-05 | 4.02e-05 | 0.057173 | 0.057173 | 0.057173 | 0.97599 | -0.46147 | 0.9778 | -0.42596 | 15.7068
31 | 0.031853 | 0.00804 | -0.031828 | -0.0080244 | 2.5018e-05 | 1.5659e-05 | 0.048584 | 0.048584 | 0.048584 | 0.97599 | -0.46147 | 0.97515 | -0.47788 | 13.3473
32 | -0.052991 | -0.013362 | 0.053087 | 0.013423 | 9.5944e-05 | 6.091e-05 | 0.08067 | 0.08067 | 0.08067 | 0.9778 | -0.42596 | 0.97974 | -0.3882 | 22.1622
33 | 0.031828 | 0.0080244 | -0.031766 | -0.0079858 | 6.1604e-05 | 3.856e-05 | 0.048584 | 0.048584 | 0.048584 | 0.97515 | -0.47788 | 0.97309 | -0.51841 | 13.3474
34 | -0.053087 | -0.013423 | 0.053172 | 0.013477 | 8.5469e-05 | 5.4258e-05 | 0.08067 | 0.08067 | 0.08067 | 0.97974 | -0.3882 | 0.98146 | -0.35469 | 22.1621
35 | 0.031766 | 0.0079858 | -0.031726 | -0.0079604 | 4.059e-05 | 2.5408e-05 | 0.048584 | 0.048585 | 0.048585 | 0.97309 | -0.51841 | 0.97173 | -0.54521 | 13.3474
36 | -0.077253 | -0.019514 | 0.077494 | 0.019668 | 0.00024157 | 0.00015401 | 0.11718 | 0.11718 | 0.11718 | 0.98146 | -0.35469 | 0.98481 | -0.28967 | 32.1922
37 | 0.014362 | 0.0036006 | -0.01436 | -0.0035992 | 2.4946e-06 | 1.4193e-06 | 0.021775 | 0.021775 | 0.021775 | 0.98146 | -0.35469 | 0.98127 | -0.35834 | 5.9822
38 | 0.0097184 | 0.0024364 | -0.0097172 | -0.0024358 | 1.2524e-06 | 6.0716e-07 | 0.014735 | 0.014735 | 0.014735 | 0.98146 | -0.35469 | 0.98132 | -0.3574 | 4.048
39 | 0.017654 | 0.0044337 | -0.017627 | -0.0044178 | 2.6878e-05 | 1.5989e-05 | 0.027037 | 0.027037 | 0.027037 | 0.97173 | -0.54521 | 0.97012 | -0.57716 | 7.4278
40 | 0.0097172 | 0.0024358 | -0.0097153 | -0.0024349 | 1.8559e-06 | 8.9986e-07 | 0.014735 | 0.014735 | 0.014735 | 0.98132 | -0.3574 | 0.98112 | -0.36141 | 4.048
41 | -0.062662 | -0.015777 | 0.062725 | 0.015817 | 6.2855e-05 | 3.9988e-05 | 0.094593 | 0.094593 | 0.094593 | 0.98599 | -0.26865 | 0.98707 | -0.24769 | 25.9872
42 | -0.084383 | -0.021395 | 0.085001 | 0.021789 | 0.00061795 | 0.00039419 | 0.12759 | 0.12759 | 0.12759 | 0.98481 | -0.28967 | 0.99269 | -0.13852 | 35.0517
43 | 0.0092821 | 0.0023266 | -0.0092807 | -0.002326 | 1.4526e-06 | 6.8271e-07 | 0.014076 | 0.014076 | 0.014076 | 0.98127 | -0.35834 | 0.98111 | -0.36163 | 3.867
44 | 0.0038404 | 0.00096212 | -0.0038398 | -0.00096231 | 5.2039e-07 | -1.8654e-07 | 0.0058157 | 0.0058159 | 0.0058159 | 0.98258 | -0.33377 | 0.98243 | -0.33661 | 1.5978
45 | -0.019531 | -0.0048941 | 0.019535 | 0.0048964 | 3.7231e-06 | 2.239e-06 | 0.029577 | 0.029577 | 0.029577 | 0.98258 | -0.33377 | 0.98278 | -0.32977 | 8.1257
46 | 0.015691 | 0.003932 | -0.015686 | -0.0039295 | 4.3789e-06 | 2.5406e-06 | 0.023762 | 0.023762 | 0.023762 | 0.98258 | -0.33377 | 0.98228 | -0.33963 | 6.528
47 | 0.0038398 | 0.00096231 | -0.0038398 | -0.00096233 | 7.0143e-08 | -2.513e-08 | 0.0058159 | 0.0058159 | 0.0058159 | 0.98243 | -0.33661 | 0.98241 | -0.337 | 1.5978
48 | -0.022624 | -0.0056706 | 0.022629 | 0.0056739 | 5.3445e-06 | 3.2665e-06 | 0.034255 | 0.034255 | 0.034255 | 0.98278 | -0.32977 | 0.98304 | -0.32481 | 9.4107
49 | 0.009878 | 0.0024737 | -0.0098759 | -0.0024727 | 2.1201e-06 | 1.0373e-06 | 0.014963 | 0.014963 | 0.014963 | 0.98228 | -0.33963 | 0.98205 | -0.34414 | 4.1108
50 | 0.11674 | 0.029548 | -0.11666 | -0.029497 | 8.0101e-05 | 5.1177e-05 | 0.17648 | 0.17648 | 0.17648 | 0.98487 | -0.28921 | 0.98413 | -0.30351 | 48.4845
51 | -0.11674 | -0.029548 | 0.1171 | 0.029776 | 0.00035629 | 0.00022764 | 0.17648 | 0.17648 | 0.17648 | 0.98487 | -0.28921 | 0.98815 | -0.22584 | 48.4845
52 | 0.040186 | 0.010088 | -0.040172 | -0.01008 | 1.4144e-05 | 8.9225e-06 | 0.060768 | 0.060768 | 0.060768 | 0.98413 | -0.30351 | 0.98375 | -0.3109 | 16.6945
53 | -0.12442 | -0.031612 | 0.12465 | 0.031755 | 0.00022427 | 0.00014331 | 0.18752 | 0.18752 | 0.18752 | 0.98815 | -0.22584 | 0.99009 | -0.18847 | 51.5154
54 | -0.022629 | -0.0056739 | 0.022636 | 0.005678 | 6.7785e-06 | 4.1429e-06 | 0.034255 | 0.034255 | 0.034255 | 0.98304 | -0.32481 | 0.98336 | -0.31853 | 9.4107
55 | -0.022636 | -0.005678 | 0.02264 | 0.0056804 | 3.9836e-06 | 2.4346e-06 | 0.034255 | 0.034255 | 0.034255 | 0.98336 | -0.31853 | 0.98355 | -0.31484 | 9.4106
56 | -0.013771 | -0.0034527 | 0.013777 | 0.0034563 | 6.3524e-06 | 3.5706e-06 | 0.020841 | 0.02084 | 0.020841 | 0.98325 | -0.32057 | 0.98375 | -0.3109 | 5.7254
57 | 0.013771 | 0.0034527 | -0.013768 | -0.0034512 | 2.6948e-06 | 1.5149e-06 | 0.020841 | 0.020841 | 0.020841 | 0.98325 | -0.32057 | 0.98304 | -0.32468 | 5.7255
58 | 0.026395 | 0.0066233 | -0.02639 | -0.0066202 | 4.9577e-06 | 3.0676e-06 | 0.039928 | 0.039928 | 0.039928 | 0.98375 | -0.3109 | 0.98355 | -0.31484 | 10.9691
59 | 0.0077012 | 0.0019307 | -0.007701 | -0.0019306 | 1.3444e-07 | 5.2596e-08 | 0.011657 | 0.011657 | 0.011657 | 0.98304 | -0.32468 | 0.98303 | -0.32504 | 3.2026
60 | 0.0010277 | 0.00025614 | -0.0010276 | -0.00025655 | 3.0955e-08 | -4.108e-07 | 0.001557 | 0.0015571 | 0.0015571 | 0.98184 | -0.34822 | 0.98181 | -0.34886 | 0.42778
61 | -0.0010277 | -0.00025614 | 0.0010277 | 0.0002555 | 4.8454e-08 | -6.4325e-07 | 0.001557 | 0.0015567 | 0.001557 | 0.98184 | -0.34822 | 0.98189 | -0.34723 | 0.42773
62 | 0.0010276 | 0.00025655 | -0.0010276 | -0.00025753 | 7.3813e-08 | -9.7911e-07 | 0.0015571 | 0.0015575 | 0.0015575 | 0.98181 | -0.34886 | 0.98173 | -0.35037 | 0.42788
63 | -0.0023563 | -0.00058847 | 0.0023564 | 0.00058827 | 9.941e-08 | -1.9946e-07 | 0.0035701 | 0.00357 | 0.0035701 | 0.98189 | -0.34723 | 0.98194 | -0.34634 | 0.98081
64 | 0.0069138 | 0.0017328 | -0.0069128 | -0.0017325 | 1.0206e-06 | 3.3805e-07 | 0.010464 | 0.010464 | 0.010464 | 0.98316 | -0.3238 | 0.983 | -0.3269 | 2.8748
65 | -0.096608 | -0.024698 | 0.096983 | 0.024937 | 0.00037486 | 0.00023929 | 0.14499 | 0.14499 | 0.14499 | 0.99269 | -0.13852 | 0.9969 | -0.058649 | 39.8315
66 | -0.0076969 | -0.001929 | 0.007701 | 0.0019306 | 4.1415e-06 | 1.6209e-06 | 0.011658 | 0.011657 | 0.011658 | 0.98245 | -0.33633 | 0.98303 | -0.32504 | 3.2027
67 | 0.0088541 | 0.0022166 | -0.0088538 | -0.0022165 | 2.5143e-07 | 1.1378e-07 | 0.013415 | 0.013415 | 0.013415 | 0.98205 | -0.34414 | 0.98202 | -0.34473 | 3.6854
68 | -0.12465 | -0.031755 | 0.12494 | 0.031943 | 0.00029452 | 0.0001882 | 0.18752 | 0.18752 | 0.18752 | 0.99009 | -0.18847 | 0.99265 | -0.13962 | 51.5154
69 | -0.0015387 | -0.00038562 | 0.0015387 | 0.00038555 | 1.1984e-08 | -7.0314e-08 | 0.0023041 | 0.002304 | 0.0023041 | 0.9937 | -0.11969 | 0.99371 | -0.11953 | 0.63298
70 | -0.0047455 | -0.0011893 | 0.0047458 | 0.0011892 | 3.4562e-07 | -1.5272e-08 | 0.0071061 | 0.007106 | 0.0071061 | 0.99371 | -0.11953 | 0.99379 | -0.118 | 1.9522
71 | -0.0038936 | -0.00097352 | 0.0038939 | 0.00097342 | 2.9751e-07 | -9.798e-08 | 0.0058994 | 0.0058993 | 0.0058994 | 0.98194 | -0.34634 | 0.98202 | -0.34473 | 1.6207
72 | -0.11918 | -0.03011 | 0.11954 | 0.030341 | 0.00036089 | 0.00023058 | 0.1788 | 0.1788 | 0.1788 | 0.99232 | -0.1463 | 0.99561 | -0.083339 | 49.1202
73 | 0.013399 | 0.0033588 | -0.013397 | -0.0033576 | 2.1389e-06 | 1.1807e-06 | 0.019938 | 0.019938 | 0.019938 | 1 | 0 | 0.99983 | -0.0033508 | 5.4776
74 | 0.27048 | 0.069376 | -0.26939 | -0.06868 | 0.0010885 | 0.00069573 | 0.40304 | 0.40304 | 0.40304 | 1 | 0 | 0.99561 | -0.083339 | 55.3629
75 | 0.1215 | 0.031215 | -0.12115 | -0.030995 | 0.00034501 | 0.00022044 | 0.18106 | 0.18106 | 0.18106 | 1 | 0 | 0.9969 | -0.058649 | 49.743
76 | 0.14985 | 0.038339 | -0.14961 | -0.038184 | 0.00024358 | 0.00015522 | 0.22424 | 0.22424 | 0.22424 | 0.99561 | -0.083339 | 0.99384 | -0.11698 | 30.8029
77 | 0.013128 | 0.0032904 | -0.013127 | -0.0032901 | 6.3748e-07 | 3.5098e-07 | 0.019656 | 0.019656 | 0.019656 | 0.99384 | -0.11698 | 0.99379 | -0.118 | 5.4
78 | 0.13648 | 0.034893 | -0.13633 | -0.034798 | 0.00014935 | 9.5464e-05 | 0.20459 | 0.20459 | 0.20459 | 0.99384 | -0.11698 | 0.99265 | -0.13962 | 56.2059
79 | 0.0083815 | 0.0021008 | -0.00838 | -0.0021002 | 1.4511e-06 | 6.1044e-07 | 0.01255 | 0.01255 | 0.01255 | 0.99379 | -0.118 | 0.9936 | -0.12163 | 3.4478

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40703 | 0.10395

## res_load
| p_mw | q_mvar
0 | 0.0046332 | 0.0011612
1 | 0.0081787 | 0.0020498
2 | 0.0078906 | 0.0019776
3 | 0.0082584 | 0.0020698
4 | 0.0078661 | 0.0019714
5 | 0.0052013 | 0.0013036
6 | 0.03381 | 0.0084736
7 | 0.010782 | 0.0027023
8 | 0.0081036 | 0.002031
9 | 0.0087588 | 0.0021952
10 | 0.025019 | 0.0062703
11 | 0.0073413 | 0.0018399
12 | 0.0056334 | 0.0014119
13 | 0.015441 | 0.0038698
14 | 0.014072 | 0.0035267
15 | 0.0097153 | 0.0024349
16 | 0.012047 | 0.0030192
17 | 0.0068888 | 0.0017265
18 | 0.0050775 | 0.0012725
19 | 0.0030893 | 0.00077425
20 | 0.0058083 | 0.0014557
21 | 0.0073265 | 0.0018362
22 | 0.0060669 | 0.0015205
23 | 0.0037496 | 0.00093975
24 | 0.0038398 | 0.00096233
25 | 0.017627 | 0.0044178
26 | 0.0013286 | 0.00033298
27 | 0.0085229 | 0.002136
28 | 0.011607 | 0.0029091
29 | 0.0092807 | 0.002326
30 | 0.0010276 | 0.00025753
31 | 0.0076969 | 0.001929
32 | 0.0010218 | 0.00025608
33 | 0.0015387 | 0.00038562
34 | 0.0032068 | 0.00080371
35 | 0.0015372 | 0.00038525
36 | 0.0069128 | 0.0017325
37 | 0.00496 | 0.0012431
38 | 0.031058 | 0.0077839
39 | 0.013397 | 0.0033576
40 | 0.024171 | 0.0060578
41 | 0.01139 | 0.0028545
42 | 0.00838 | 0.0021002

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1