## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-33_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-33_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-33_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-33_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-33_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_191-33_0_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_191-33_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_191-33_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_191-33_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_191-33_0_4_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_191-33_0_4_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_191-33_0_4_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_191-33_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_191-33_0_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_191-33_0_4_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_191-33_0_4_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_191-33_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_191-33_0_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_191-33_0_4_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_191-33_0_4_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_191-33_0_4_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_191-33_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_191-33_0_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_191-33_0_4_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_191-33_0_4_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_191-33_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_191-33_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_191-33_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_191-33_0_4_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_191-33_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_191-33_0_4_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_191-33_0_4_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_191-33_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_191-33_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_191-33_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_191-33_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_191-33_0_4_node_11 | 0.4 | n |  | TRUE
37 | bus_LV_191-33_0_4_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_191-33_0_4_node_13 | 0.4 | n |  | TRUE
39 | bus_LV_191-33_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_191-33_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_191-33_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_191-33_0_4_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_191-33_0_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_191-33_0_4_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_191-33_0_4_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_191-33_0_4_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_191-33_0_4_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_191-33_0_4_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_191-33_0_4_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_191-33_0_4_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_191-33_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_191-33_0_4_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_191-33_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_191-33_0_4_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_191-33_0_4_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_191-33_0_4_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_191-33_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_191-33_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_191-33_0_4_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_191-33_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_191-33_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_191-33_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_191-33_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_191-33_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_191-33_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_191-33_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_MV_499_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-33_0_4_load_0 | 0 | 0.0047448 | 0.0011892 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-33_0_4_load_1 | 1 | 0.011899 | 0.0029821 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-33_0_4_load_9 | 6 | 0.011902 | 0.0029829 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-33_0_4_load_30 | 9 | 0.0030051 | 0.00075315 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-33_0_4_load_41 | 10 | 0.012108 | 0.0030346 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-33_0_4_load_44 | 11 | 0.0073753 | 0.0018484 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-33_0_4_load_8 | 12 | 0.011774 | 0.002951 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-33_0_4_load_66 | 15 | 0.010935 | 0.0027405 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-33_0_4_load_61 | 18 | 0.0058017 | 0.0014541 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-33_0_4_load_67 | 20 | 0.019233 | 0.0048204 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-33_0_4_load_75 | 23 | 0.013095 | 0.003282 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-33_0_4_load_57 | 24 | 0.01544 | 0.0038697 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-33_0_4_load_12 | 27 | 0.012265 | 0.0030739 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-33_0_4_load_42 | 28 | 0.011961 | 0.0029978 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-33_0_4_load_48 | 30 | 0.0067027 | 0.0016798 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-33_0_4_load_47 | 31 | 0.0030042 | 0.00075292 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-33_0_4_load_33 | 32 | 0.0011231 | 0.00028149 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-33_0_4_load_38 | 34 | 0.0027894 | 0.00069908 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-33_0_4_load_11 | 36 | 0.012104 | 0.0030336 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-33_0_4_load_13 | 38 | 0.012472 | 0.0031257 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-33_0_4_load_39 | 40 | 0.0054897 | 0.0013758 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-33_0_4_load_50 | 41 | 0.0068156 | 0.0017082 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-33_0_4_load_71 | 42 | 0.011211 | 0.0028098 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-33_0_4_load_56 | 43 | 0.010932 | 0.0027399 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-33_0_4_load_55 | 47 | 0.017761 | 0.0044514 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-33_0_4_load_70 | 48 | 0.028246 | 0.0070791 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-33_0_4_load_65 | 52 | 0.0054448 | 0.0013646 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-33_0_4_load_76 | 54 | 0.016912 | 0.0042386 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-33_0_4_load_74 | 55 | 0.0043797 | 0.0010977 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-33_0_4_load_64 | 56 | 0.0092635 | 0.0023216 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-33_0_4_load_35 | 57 | 0.011755 | 0.002946 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-33_0_4_load_43 | 59 | 0.012326 | 0.0030891 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-33_0_4_load_45 | 60 | 0.0074553 | 0.0018685 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-33_0_4_load_51 | 61 | 0.0069257 | 0.0017357 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-33_0_4_load_52 | 62 | 0.008088 | 0.002027 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-33_0_4_load_54 | 63 | 0.0064959 | 0.001628 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-33_0_4_load_60 | 64 | 0.042761 | 0.010717 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-33_0_4_load_63 | 66 | 0.0020441 | 0.00051229 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-33_0_4_line_0 |  | 0 | 1 | 0.00091891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_191-33_0_4_line_1 |  | 0 | 2 | 0.02013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_191-33_0_4_line_2 |  | 1 | 3 | 0.016329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_191-33_0_4_line_3 |  | 2 | 4 | 0.006012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_191-33_0_4_line_4 |  | 3 | 5 | 0.005137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_191-33_0_4_line_5 |  | 4 | 6 | 0.018138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_191-33_0_4_line_6 |  | 5 | 10 | 0.031949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-33_0_4_line_7 |  | 5 | 11 | 0.017572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_191-33_0_4_line_8 |  | 6 | 12 | 0.020885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-33_0_4_line_9 |  | 7 | 8 | 0.005689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-33_0_4_line_10 |  | 7 | 9 | 0.017151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-33_0_4_line_11 |  | 8 | 36 | 0.031652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-33_0_4_line_12 |  | 8 | 12 | 0.016532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-33_0_4_line_13 |  | 9 | 33 | 0.02336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-33_0_4_line_14 |  | 10 | 39 | 0.01856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-33_0_4_line_15 |  | 11 | 60 | 0.020884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_191-33_0_4_line_16 |  | 13 | 14 | 0.050819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-33_0_4_line_17 |  | 13 | 15 | 0.0076288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-33_0_4_line_18 |  | 14 | 20 | 0.0096273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-33_0_4_line_19 |  | 15 | 52 | 0.027767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-33_0_4_line_20 |  | 16 | 17 | 0.054951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_191-33_0_4_line_21 |  | 16 | 18 | 0.020426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_191-33_0_4_line_22 |  | 16 | 19 | 0.002424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-33_0_4_line_23 |  | 17 | 28 | 0.02254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_191-33_0_4_line_24 |  | 18 | 50 | 0.0024552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_191-33_0_4_line_25 |  | 19 | 42 | 0.0045707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-33_0_4_line_26 |  | 20 | 46 | 0.036059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-33_0_4_line_27 |  | 21 | 22 | 0.043435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-33_0_4_line_28 |  | 21 | 23 | 0.030565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-33_0_4_line_29 |  | 22 | 24 | 0.020583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-33_0_4_line_30 |  | 23 | 54 | 0.0081017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-33_0_4_line_31 |  | 24 | 47 | 0.019995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-33_0_4_line_32 |  | 25 | 26 | 0.012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-33_0_4_line_33 |  | 25 | 27 | 0.0032307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-33_0_4_line_34 |  | 26 | 37 | 0.036981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-33_0_4_line_35 |  | 26 | 36 | 0.01633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-33_0_4_line_36 |  | 27 | 38 | 0.024097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-33_0_4_line_37 |  | 28 | 51 | 0.021565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_191-33_0_4_line_38 |  | 29 | 30 | 0.034687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-33_0_4_line_39 |  | 29 | 31 | 0.037829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-33_0_4_line_40 |  | 31 | 53 | 0.018215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-33_0_4_line_41 |  | 32 | 33 | 0.010143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-33_0_4_line_42 |  | 33 | 53 | 0.005668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-33_0_4_line_43 |  | 34 | 35 | 0.010123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-33_0_4_line_44 |  | 35 | 58 | 0.006021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-33_0_4_line_45 |  | 35 | 57 | 0.023464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-33_0_4_line_46 |  | 37 | 41 | 0.018433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-33_0_4_line_47 |  | 39 | 40 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-33_0_4_line_48 |  | 43 | 44 | 0.031343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_191-33_0_4_line_49 |  | 44 | 47 | 0.035484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-33_0_4_line_50 |  | 44 | 61 | 0.029694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_191-33_0_4_line_51 |  | 45 | 46 | 0.019184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-33_0_4_line_52 |  | 45 | 47 | 0.023698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-33_0_4_line_53 |  | 46 | 49 | 0.021818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-33_0_4_line_54 |  | 48 | 49 | 0.0097248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-33_0_4_line_55 |  | 50 | 64 | 0.075166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-33_0_4_line_56 |  | 50 | 63 | 0.036723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_191-33_0_4_line_57 |  | 51 | 59 | 0.017305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_191-33_0_4_line_58 |  | 55 | 56 | 0.0059083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_191-33_0_4_line_59 |  | 56 | 65 | 0.016627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_191-33_0_4_line_60 |  | 58 | 59 | 0.033551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_191-33_0_4_line_61 |  | 58 | 60 | 0.016955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_191-33_0_4_line_62 |  | 61 | 62 | 0.016619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_191-33_0_4_line_63 |  | 62 | 63 | 0.021007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_191-33_0_4_line_64 |  | 64 | 65 | 0.030174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_191-33_0_4_line_65 |  | 65 | 66 | 0.011934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-33_0_4_trafo_56 | 0.63 MVA 20/0.4 kV | 67 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2688702.2606 | 1249649.9439 | 2688701.5879 | 1249650.57
1 | 2688716.9961 | 1249636.2293 | 2688702.2606 | 1249649.9439
2 | 2688689.6352 | 1249661.6947 | 2688701.5879 | 1249650.57
3 | 2688720.9988 | 1249640.7259 | 2688716.9961 | 1249636.2293
4 | 2688693.2195 | 1249665.3844 | 2688689.6352 | 1249661.6947
5 | 2688720.9988 | 1249640.7259 | 2688734.2503 | 1249628.3417
6 | 2688693.2195 | 1249665.3844 | 2688715.084 | 1249688.6794
7 | 2688693.2195 | 1249665.3844 | 2688680.2195 | 1249677.2074
8 | 2688749.5091 | 1249614.0814 | 2688734.2503 | 1249628.3417
9 | 2688761.5873 | 1249602.7937 | 2688757.9072 | 1249598.4464
10 | 2688757.9072 | 1249598.4464 | 2688770.6585 | 1249586.9769
11 | 2688761.5873 | 1249602.7937 | 2688783.5252 | 1249625.6106
12 | 2688761.5873 | 1249602.7937 | 2688749.5091 | 1249614.0814
13 | 2688788.0265 | 1249571.3548 | 2688770.6585 | 1249586.9769
14 | 2688727.7797 | 1249702.2183 | 2688726.0556 | 1249700.3689 | 2688715.084 | 1249688.6794
15 | 2688664.7694 | 1249691.2586 | 2688680.2195 | 1249677.2074
16 | 2688865.2256 | 1249619.8815 | 2688871.0182 | 1249627.8744 | 2688872.749 | 1249629.7795 | 2688875.8616 | 1249633.1955 | 2688878.6739 | 1249633.9827 | 2688893.9657 | 1249649.5126 | 2688892.3578 | 1249650.9896 | 2688886.3947 | 1249654.3694
17 | 2688865.2256 | 1249619.8815 | 2688870.8714 | 1249614.7508
18 | 2688886.3947 | 1249654.3694 | 2688879.3711 | 1249660.9538
19 | 2688891.1603 | 1249595.7996 | 2688883.4378 | 1249603.3309 | 2688870.8714 | 1249614.7508
20 | 2688653.8644 | 1249770.2973 | 2688658.9645 | 1249776.1335 | 2688669.7168 | 1249783.1997 | 2688699.8704 | 1249799.6187
21 | 2688699.8704 | 1249799.6187 | 2688717.9408 | 1249809.1407
22 | 2688699.8704 | 1249799.6187 | 2688701.3788 | 1249797.7177
23 | 2688653.8644 | 1249770.2973 | 2688670.4431 | 1249755.0261
24 | 2688720.1129 | 1249810.2853 | 2688717.9408 | 1249809.1407
25 | 2688701.3788 | 1249797.7177 | 2688697.3434 | 1249795.5714
26 | 2688853.0642 | 1249685.6156 | 2688879.3711 | 1249660.9538
27 | 2688849.1098 | 1249745.3682 | 2688853.962 | 1249750.1 | 2688858.4751 | 1249749.2448 | 2688864.1373 | 1249755.3454 | 2688880.2765 | 1249772.7561
28 | 2688880.2765 | 1249772.7561 | 2688864.8697 | 1249790.0827 | 2688857.8005 | 1249792.2005
29 | 2688849.1098 | 1249745.3682 | 2688835.3479 | 1249730.0627
30 | 2688851.8139 | 1249797.6594 | 2688857.8005 | 1249792.2005
31 | 2688821.979 | 1249715.1943 | 2688835.3479 | 1249730.0627
32 | 2688786.0359 | 1249645.7256 | 2688794.8063 | 1249637.4174
33 | 2688786.0359 | 1249645.7256 | 2688783.9536 | 1249648.1957
34 | 2688823.4939 | 1249614.1629 | 2688815.4519 | 1249621.2255 | 2688803.4629 | 1249629.1519 | 2688794.8063 | 1249637.4174
35 | 2688794.8063 | 1249637.4174 | 2688793.4245 | 1249635.9066 | 2688783.5252 | 1249625.6106
36 | 2688783.9536 | 1249648.1957 | 2688777.1029 | 1249656.3221 | 2688767.2204 | 1249665.4719
37 | 2688686.3046 | 1249740.4155 | 2688670.4431 | 1249755.0261
38 | 2688830.7771 | 1249537.8588 | 2688854.1556 | 1249563.4836
39 | 2688830.7771 | 1249537.8588 | 2688803.4228 | 1249563.9882
40 | 2688790.2515 | 1249576.5698 | 2688803.4228 | 1249563.9882
41 | 2688788.0265 | 1249571.3548 | 2688781.1534 | 1249563.8957
42 | 2688790.2515 | 1249576.5698 | 2688788.0265 | 1249571.3548
43 | 2688649.3455 | 1249697.3746 | 2688642.5666 | 1249689.8563
44 | 2688652.2262 | 1249702.6661 | 2688649.3455 | 1249697.3746
45 | 2688649.3455 | 1249697.3746 | 2688632.0586 | 1249713.2411
46 | 2688823.4939 | 1249614.1629 | 2688837.0107 | 1249601.6299
47 | 2688727.7797 | 1249702.2183 | 2688714.7543 | 1249714.2142
48 | 2688794.7108 | 1249737.992 | 2688789.6162 | 1249732.3002 | 2688779.0049 | 1249730.4399 | 2688773.1667 | 1249731.5422 | 2688766.3034 | 1249730.2183
49 | 2688821.979 | 1249715.1943 | 2688794.7108 | 1249737.992
50 | 2688794.7108 | 1249737.992 | 2688772.8139 | 1249758.0485
51 | 2688839.295 | 1249698.9638 | 2688846.7298 | 1249692.1033 | 2688853.0642 | 1249685.6156
52 | 2688821.979 | 1249715.1943 | 2688839.295 | 1249698.9638
53 | 2688833.0921 | 1249678.5554 | 2688846.0575 | 1249680.5401 | 2688849.5283 | 1249682.2267 | 2688853.0642 | 1249685.6156
54 | 2688833.0921 | 1249678.5554 | 2688823.4297 | 1249677.4562
55 | 2688720.1129 | 1249810.2853 | 2688787.7954 | 1249842.9815
56 | 2688720.1129 | 1249810.2853 | 2688723.3736 | 1249806.3311 | 2688733.5554 | 1249794.0075 | 2688745.0678 | 1249783.4627
57 | 2688686.3046 | 1249740.4155 | 2688674.7089 | 1249727.5706
58 | 2688823.0658 | 1249840.9099 | 2688827.3342 | 1249844.995
59 | 2688814.9657 | 1249856.1069 | 2688827.3342 | 1249844.995 | 2688827.3342 | 1249844.995
60 | 2688652.2262 | 1249702.6661 | 2688674.7089 | 1249727.5706
61 | 2688652.2262 | 1249702.6661 | 2688664.7694 | 1249691.2586
62 | 2688772.8139 | 1249758.0485 | 2688760.559 | 1249769.2734
63 | 2688745.0678 | 1249783.4627 | 2688760.559 | 1249769.2734
64 | 2688814.9657 | 1249856.1069 | 2688787.7954 | 1249842.9815
65 | 2688814.9657 | 1249856.1069 | 2688825.8085 | 1249861.0931

## bus_geodata
| x | y | coords
0 | 2688702.2606 | 1249649.9439
1 | 2688701.5879 | 1249650.57
2 | 2688716.9961 | 1249636.2293
3 | 2688689.6352 | 1249661.6947
4 | 2688720.9988 | 1249640.7259
5 | 2688693.2195 | 1249665.3844
6 | 2688734.2503 | 1249628.3417
7 | 2688757.9072 | 1249598.4464
8 | 2688761.5873 | 1249602.7937
9 | 2688770.6585 | 1249586.9769
10 | 2688715.084 | 1249688.6794
11 | 2688680.2195 | 1249677.2074
12 | 2688749.5091 | 1249614.0814
13 | 2688865.2256 | 1249619.8815
14 | 2688886.3947 | 1249654.3694
15 | 2688870.8714 | 1249614.7508
16 | 2688699.8704 | 1249799.6187
17 | 2688653.8644 | 1249770.2973
18 | 2688717.9408 | 1249809.1407
19 | 2688701.3788 | 1249797.7177
20 | 2688879.3711 | 1249660.9538
21 | 2688880.2765 | 1249772.7561
22 | 2688849.1098 | 1249745.3682
23 | 2688857.8005 | 1249792.2005
24 | 2688835.3479 | 1249730.0627
25 | 2688786.0359 | 1249645.7256
26 | 2688794.8063 | 1249637.4174
27 | 2688783.9536 | 1249648.1957
28 | 2688670.4431 | 1249755.0261
29 | 2688830.7771 | 1249537.8588
30 | 2688854.1556 | 1249563.4836
31 | 2688803.4228 | 1249563.9883
32 | 2688781.1534 | 1249563.8957
33 | 2688788.0265 | 1249571.3548
34 | 2688642.5666 | 1249689.8563
35 | 2688649.3455 | 1249697.3746
36 | 2688783.5252 | 1249625.6106
37 | 2688823.4939 | 1249614.1629
38 | 2688767.2204 | 1249665.4719
39 | 2688727.7797 | 1249702.2183
40 | 2688714.7543 | 1249714.2142
41 | 2688837.0107 | 1249601.6299
42 | 2688697.3434 | 1249795.5714
43 | 2688766.3034 | 1249730.2183
44 | 2688794.7108 | 1249737.992
45 | 2688839.295 | 1249698.9638
46 | 2688853.0642 | 1249685.6156
47 | 2688821.979 | 1249715.1943
48 | 2688823.4297 | 1249677.4562
49 | 2688833.0921 | 1249678.5554
50 | 2688720.1129 | 1249810.2853
51 | 2688686.3046 | 1249740.4155
52 | 2688891.1603 | 1249595.7996
53 | 2688790.2515 | 1249576.5698
54 | 2688851.8139 | 1249797.6594
55 | 2688823.0658 | 1249840.9099
56 | 2688827.3342 | 1249844.995
57 | 2688632.0586 | 1249713.2411
58 | 2688652.2262 | 1249702.6661
59 | 2688674.7089 | 1249727.5706
60 | 2688664.7694 | 1249691.2586
61 | 2688772.8139 | 1249758.0485
62 | 2688760.559 | 1249769.2734
63 | 2688745.0678 | 1249783.4627
64 | 2688787.7954 | 1249842.9815
65 | 2688814.9657 | 1249856.1069
66 | 2688825.8085 | 1249861.0931
67 | 2688794.7108 | 1249737.992

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97649 | -0.45204 | 0.0047448 | 0.0011892
1 | 0.97651 | -0.45156 | 0.011899 | 0.0029821
2 | 0.97598 | -0.462 | 0 | 0
3 | 0.97701 | -0.44183 | 0 | 0
4 | 0.97583 | -0.46498 | 0 | 0
5 | 0.97717 | -0.43878 | 0 | 0
6 | 0.97514 | -0.47847 | 0.011902 | 0.0029829
7 | 0.97283 | -0.52396 | 0 | 0
8 | 0.9729 | -0.52251 | 0 | 0
9 | 0.97261 | -0.52833 | 0.0030051 | 0.00075315
10 | 0.97664 | -0.44904 | 0.012108 | 0.0030346
11 | 0.9778 | -0.42644 | 0.0073753 | 0.0018484
12 | 0.97379 | -0.50502 | 0.011774 | 0.002951
13 | 0.98747 | -0.24059 | 0 | 0
14 | 0.98823 | -0.22572 | 0 | 0
15 | 0.98735 | -0.24282 | 0.010935 | 0.0027405
16 | 0.98674 | -0.25275 | 0 | 0
17 | 0.98386 | -0.30837 | 0 | 0
18 | 0.98788 | -0.2308 | 0.0058017 | 0.0014541
19 | 0.98672 | -0.25324 | 0 | 0
20 | 0.98838 | -0.2229 | 0.019233 | 0.0048204
21 | 0.98948 | -0.20164 | 0 | 0
22 | 0.99067 | -0.17847 | 0 | 0
23 | 0.98863 | -0.21798 | 0.013095 | 0.003282
24 | 0.99124 | -0.1675 | 0.01544 | 0.0038697
25 | 0.97085 | -0.56303 | 0 | 0
26 | 0.97113 | -0.55751 | 0 | 0
27 | 0.97078 | -0.56451 | 0.012265 | 0.0030739
28 | 0.98268 | -0.33127 | 0.011961 | 0.0029978
29 | 0.97192 | -0.54195 | 0 | 0
30 | 0.9717 | -0.54624 | 0.0067027 | 0.0016798
31 | 0.97216 | -0.53727 | 0.0030042 | 0.00075292
32 | 0.97236 | -0.53321 | 0.0011231 | 0.00028149
33 | 0.97237 | -0.533 | 0 | 0
34 | 0.97917 | -0.39959 | 0.0027894 | 0.00069908
35 | 0.9792 | -0.39907 | 0 | 0
36 | 0.97161 | -0.54799 | 0.012104 | 0.0030336
37 | 0.9709 | -0.56217 | 0 | 0
38 | 0.9705 | -0.57006 | 0.012472 | 0.0031257
39 | 0.97655 | -0.45091 | 0 | 0
40 | 0.97646 | -0.45268 | 0.0054897 | 0.0013758
41 | 0.97078 | -0.56449 | 0.0068156 | 0.0017082
42 | 0.98667 | -0.25416 | 0.011211 | 0.0028098
43 | 1 | 0 | -0.40114 | -0.10258
44 | 0.9962 | -0.07187 | 0 | 0
45 | 0.99068 | -0.17823 | 0 | 0
46 | 0.98956 | -0.20002 | 0 | 0
47 | 0.99207 | -0.15139 | 0.017761 | 0.0044514
48 | 0.98874 | -0.21589 | 0.028246 | 0.0070791
49 | 0.98899 | -0.21099 | 0 | 0
50 | 0.98802 | -0.22808 | 0 | 0
51 | 0.98163 | -0.35168 | 0 | 0
52 | 0.98722 | -0.24552 | 0.0054448 | 0.0013646
53 | 0.97232 | -0.53401 | 0 | 0
54 | 0.98851 | -0.22043 | 0.016912 | 0.0042386
55 | 0.9833 | -0.31993 | 0.0043797 | 0.0010977
56 | 0.98333 | -0.31946 | 0.0092635 | 0.0023216
57 | 0.97894 | -0.40409 | 0.011755 | 0.002946
58 | 0.97928 | -0.39748 | 0 | 0
59 | 0.98078 | -0.36809 | 0.012326 | 0.0030891
60 | 0.97859 | -0.41087 | 0.0074553 | 0.0018685
61 | 0.99376 | -0.11824 | 0.0069257 | 0.0017357
62 | 0.99243 | -0.14361 | 0.008088 | 0.002027
63 | 0.9908 | -0.17478 | 0.0064959 | 0.001628
64 | 0.98397 | -0.30685 | 0.042761 | 0.010717
65 | 0.98354 | -0.31538 | 0 | 0
66 | 0.98352 | -0.31581 | 0.0020441 | 0.00051229
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.086245 | -0.021738 | 0.086247 | 0.02174 | 1.9853e-06 | 1.2361e-06 | 0.13147 | 0.13147 | 0.13147 | 0.97649 | -0.45204 | 0.97651 | -0.45156 | 12.0392
1 | 0.0815 | 0.020549 | -0.081461 | -0.020525 | 3.8839e-05 | 2.4102e-05 | 0.12424 | 0.12424 | 0.12424 | 0.97649 | -0.45204 | 0.97598 | -0.462 | 11.3771
2 | -0.098145 | -0.024722 | 0.098191 | 0.02475 | 4.5679e-05 | 2.8622e-05 | 0.1496 | 0.1496 | 0.1496 | 0.97651 | -0.45156 | 0.97701 | -0.44183 | 13.6996
3 | 0.081461 | 0.020525 | -0.081449 | -0.020518 | 1.1599e-05 | 7.1983e-06 | 0.12424 | 0.12424 | 0.12424 | 0.97598 | -0.462 | 0.97583 | -0.46498 | 11.3771
4 | -0.098191 | -0.02475 | 0.098205 | 0.024759 | 1.4371e-05 | 9.0042e-06 | 0.1496 | 0.1496 | 0.1496 | 0.97701 | -0.44183 | 0.97717 | -0.43878 | 13.6995
5 | 0.081449 | 0.020518 | -0.081397 | -0.020485 | 5.2492e-05 | 3.3142e-05 | 0.12424 | 0.12424 | 0.12424 | 0.97583 | -0.46498 | 0.97514 | -0.47847 | 17.0657
6 | 0.017608 | 0.0044157 | -0.017599 | -0.0044106 | 8.6138e-06 | 5.1128e-06 | 0.026814 | 0.026814 | 0.026814 | 0.97717 | -0.43878 | 0.97664 | -0.44904 | 7.3664
7 | -0.11581 | -0.029175 | 0.11588 | 0.029218 | 6.8358e-05 | 4.3089e-05 | 0.17641 | 0.17641 | 0.17641 | 0.97717 | -0.43878 | 0.9778 | -0.42644 | 16.155
8 | 0.069495 | 0.017502 | -0.069407 | -0.017446 | 8.8126e-05 | 5.6141e-05 | 0.10608 | 0.10608 | 0.10608 | 0.97514 | -0.47847 | 0.97379 | -0.50502 | 29.1419
9 | -0.013845 | -0.0034721 | 0.013846 | 0.0034726 | 9.5684e-07 | 5.4174e-07 | 0.021178 | 0.021178 | 0.021178 | 0.97283 | -0.52396 | 0.9729 | -0.52251 | 5.8182
10 | 0.013845 | 0.0034721 | -0.013842 | -0.0034704 | 2.8846e-06 | 1.6333e-06 | 0.021178 | 0.021178 | 0.021178 | 0.97283 | -0.52396 | 0.97261 | -0.52833 | 5.8182
11 | 0.043738 | 0.010992 | -0.043685 | -0.010958 | 5.3134e-05 | 3.3613e-05 | 0.066906 | 0.066906 | 0.066906 | 0.9729 | -0.52251 | 0.97161 | -0.54799 | 18.3809
12 | -0.057584 | -0.014464 | 0.057632 | 0.014495 | 4.81e-05 | 3.0579e-05 | 0.088084 | 0.088084 | 0.088084 | 0.9729 | -0.52251 | 0.97379 | -0.50502 | 24.199
13 | 0.010837 | 0.0027173 | -0.010835 | -0.002716 | 2.4083e-06 | 1.2515e-06 | 0.016581 | 0.016581 | 0.016581 | 0.97261 | -0.52833 | 0.97237 | -0.533 | 4.5551
14 | 0.0054907 | 0.001376 | -0.0054902 | -0.0013759 | 4.8709e-07 | 7.9504e-08 | 0.0083655 | 0.0083656 | 0.0083656 | 0.97664 | -0.44904 | 0.97655 | -0.45091 | 2.2983
15 | -0.12326 | -0.031067 | 0.12335 | 0.031125 | 9.1908e-05 | 5.8035e-05 | 0.18764 | 0.18764 | 0.18764 | 0.9778 | -0.42644 | 0.97859 | -0.41087 | 17.1828
16 | -0.016382 | -0.0041062 | 0.016394 | 0.004113 | 1.1614e-05 | 6.782e-06 | 0.024686 | 0.024686 | 0.024686 | 0.98747 | -0.24059 | 0.98823 | -0.22572 | 6.7819
17 | 0.016382 | 0.0041062 | -0.01638 | -0.0041052 | 1.7434e-06 | 1.0182e-06 | 0.024686 | 0.024686 | 0.024686 | 0.98747 | -0.24059 | 0.98735 | -0.24282 | 6.7819
18 | -0.016394 | -0.004113 | 0.016396 | 0.0041143 | 2.2001e-06 | 1.2847e-06 | 0.024686 | 0.024686 | 0.024686 | 0.98823 | -0.22572 | 0.98838 | -0.2229 | 6.7818
19 | 0.0054455 | 0.0013647 | -0.0054448 | -0.0013646 | 7.0132e-07 | 9.3765e-08 | 0.0082068 | 0.0082069 | 0.0082069 | 0.98735 | -0.24282 | 0.98722 | -0.24552 | 2.2547
20 | 0.17085 | 0.043497 | -0.17039 | -0.043207 | 0.00045683 | 0.00029027 | 0.25789 | 0.25789 | 0.25789 | 0.98674 | -0.25275 | 0.98386 | -0.30837 | 23.6162
21 | -0.18206 | -0.046307 | 0.18226 | 0.04643 | 0.0001928 | 0.00012261 | 0.2748 | 0.2748 | 0.2748 | 0.98674 | -0.25275 | 0.98788 | -0.2308 | 25.1645
22 | 0.011212 | 0.0028102 | -0.011212 | -0.0028101 | 2.5986e-07 | 1.3535e-07 | 0.016908 | 0.016908 | 0.016908 | 0.98674 | -0.25275 | 0.98672 | -0.25324 | 4.645
23 | 0.17039 | 0.043207 | -0.17021 | -0.043088 | 0.00018738 | 0.00011907 | 0.25789 | 0.25789 | 0.25789 | 0.98386 | -0.30837 | 0.98268 | -0.33127 | 23.6162
24 | -0.18806 | -0.047884 | 0.18808 | 0.047899 | 2.4672e-05 | 1.5696e-05 | 0.28353 | 0.28353 | 0.28353 | 0.98788 | -0.2308 | 0.98802 | -0.22808 | 25.9647
25 | 0.011212 | 0.0028101 | -0.011211 | -0.0028098 | 4.9e-07 | 2.5522e-07 | 0.016908 | 0.016908 | 0.016908 | 0.98672 | -0.25324 | 0.98667 | -0.25416 | 4.645
26 | -0.035629 | -0.0089346 | 0.035668 | 0.0089591 | 3.891e-05 | 2.4439e-05 | 0.053642 | 0.053642 | 0.053642 | 0.98838 | -0.2229 | 0.98956 | -0.20002 | 14.7368
27 | -0.030033 | -0.0075364 | 0.030066 | 0.0075571 | 3.323e-05 | 2.0709e-05 | 0.045168 | 0.045168 | 0.045168 | 0.98948 | -0.20164 | 0.99067 | -0.17847 | 12.4089
28 | 0.030033 | 0.0075364 | -0.03001 | -0.0075218 | 2.3385e-05 | 1.4574e-05 | 0.045168 | 0.045168 | 0.045168 | 0.98948 | -0.20164 | 0.98863 | -0.21798 | 12.4089
29 | -0.030066 | -0.0075571 | 0.030082 | 0.0075669 | 1.5747e-05 | 9.8129e-06 | 0.045168 | 0.045168 | 0.045168 | 0.99067 | -0.17847 | 0.99124 | -0.1675 | 12.4088
30 | 0.016914 | 0.0042398 | -0.016912 | -0.0042386 | 1.9691e-06 | 1.1563e-06 | 0.025458 | 0.025458 | 0.025458 | 0.98863 | -0.21798 | 0.98851 | -0.22043 | 6.994
31 | -0.045522 | -0.011437 | 0.045557 | 0.011459 | 3.5025e-05 | 2.2158e-05 | 0.068346 | 0.068346 | 0.068346 | 0.99124 | -0.1675 | 0.99207 | -0.15139 | 18.7765
32 | -0.024742 | -0.0062025 | 0.024748 | 0.0062065 | 6.5054e-06 | 4.0142e-06 | 0.037922 | 0.037922 | 0.037922 | 0.97085 | -0.56303 | 0.97113 | -0.55751 | 10.4182
33 | 0.024742 | 0.0062025 | -0.02474 | -0.0062015 | 1.7423e-06 | 1.0751e-06 | 0.037922 | 0.037922 | 0.037922 | 0.97085 | -0.56303 | 0.97078 | -0.56451 | 10.4182
34 | 0.0068179 | 0.0017089 | -0.0068164 | -0.0017084 | 1.5135e-06 | 5.112e-07 | 0.010447 | 0.010447 | 0.010447 | 0.97113 | -0.55751 | 0.9709 | -0.56217 | 2.87
35 | -0.031566 | -0.0079155 | 0.031581 | 0.0079244 | 1.4327e-05 | 8.9673e-06 | 0.048369 | 0.048369 | 0.048369 | 0.97113 | -0.55751 | 0.97161 | -0.54799 | 13.2882
36 | 0.012475 | 0.0031275 | -0.012472 | -0.0031257 | 3.3042e-06 | 1.8169e-06 | 0.019122 | 0.019122 | 0.019122 | 0.97078 | -0.56451 | 0.9705 | -0.57006 | 5.2534
37 | 0.15825 | 0.04009 | -0.15809 | -0.039991 | 0.00015498 | 9.8369e-05 | 0.23978 | 0.23978 | 0.23978 | 0.98268 | -0.33127 | 0.98163 | -0.35168 | 21.9576
38 | 0.006704 | 0.0016803 | -0.0067027 | -0.0016798 | 1.3704e-06 | 4.4725e-07 | 0.010264 | 0.010264 | 0.010264 | 0.97192 | -0.54195 | 0.9717 | -0.54624 | 2.8198
39 | -0.006704 | -0.0016803 | 0.0067055 | 0.0016808 | 1.4944e-06 | 4.8751e-07 | 0.010264 | 0.010264 | 0.010264 | 0.97192 | -0.54195 | 0.97216 | -0.53727 | 2.8198
40 | -0.0097097 | -0.0024337 | 0.0097112 | 0.0024344 | 1.5087e-06 | 7.3971e-07 | 0.014862 | 0.014862 | 0.014862 | 0.97216 | -0.53727 | 0.97232 | -0.53401 | 4.083
41 | -0.0011231 | -0.00028149 | 0.0011232 | 0.00028137 | 1.1236e-08 | -1.1862e-07 | 0.0017188 | 0.0017187 | 0.0017188 | 0.97236 | -0.53321 | 0.97237 | -0.533 | 0.47219
42 | 0.0097117 | 0.0024347 | -0.0097112 | -0.0024344 | 4.6948e-07 | 2.3016e-07 | 0.014862 | 0.014862 | 0.014862 | 0.97237 | -0.533 | 0.97232 | -0.53401 | 4.083
43 | -0.0027894 | -0.00069908 | 0.0027894 | 0.000699 | 6.8211e-08 | -8.3681e-08 | 0.0042389 | 0.0042389 | 0.0042389 | 0.97917 | -0.39959 | 0.9792 | -0.39907 | 1.1645
44 | -0.014547 | -0.0036465 | 0.014548 | 0.0036472 | 1.1034e-06 | 6.3043e-07 | 0.022106 | 0.022106 | 0.022106 | 0.9792 | -0.39907 | 0.97928 | -0.39748 | 6.0732
45 | 0.011758 | 0.0029475 | -0.011755 | -0.002946 | 2.8091e-06 | 1.5028e-06 | 0.017867 | 0.017868 | 0.017868 | 0.9792 | -0.39907 | 0.97894 | -0.40409 | 4.9087
46 | 0.0068164 | 0.0017084 | -0.0068156 | -0.0017082 | 7.5442e-07 | 2.549e-07 | 0.010447 | 0.010447 | 0.010447 | 0.9709 | -0.56217 | 0.97078 | -0.56449 | 2.8701
47 | 0.0054902 | 0.0013759 | -0.0054897 | -0.0013758 | 4.6472e-07 | 7.5899e-08 | 0.0083656 | 0.0083657 | 0.0083657 | 0.97655 | -0.45091 | 0.97646 | -0.45268 | 2.2983
48 | 0.39949 | 0.10258 | -0.3981 | -0.10169 | 0.0013885 | 0.00088744 | 0.59532 | 0.59532 | 0.59532 | 1 | 0 | 0.9962 | -0.07187 | 54.5169
49 | 0.12789 | 0.032367 | -0.1274 | -0.032056 | 0.00048613 | 0.00031067 | 0.19114 | 0.19114 | 0.19114 | 0.9962 | -0.07187 | 0.99207 | -0.15139 | 52.5103
50 | 0.27022 | 0.069325 | -0.26961 | -0.068938 | 0.00060638 | 0.00038693 | 0.40419 | 0.40419 | 0.40419 | 0.9962 | -0.07187 | 0.99376 | -0.11824 | 37.0136
51 | 0.064002 | 0.016094 | -0.063936 | -0.016051 | 6.6507e-05 | 4.2318e-05 | 0.096151 | 0.096151 | 0.096151 | 0.99068 | -0.17823 | 0.98956 | -0.20002 | 26.4151
52 | -0.064002 | -0.016094 | 0.064084 | 0.016146 | 8.2158e-05 | 5.2275e-05 | 0.096151 | 0.096151 | 0.096151 | 0.99068 | -0.17823 | 0.99207 | -0.15139 | 26.4151
53 | 0.028267 | 0.0070924 | -0.028253 | -0.0070832 | 1.4785e-05 | 9.182e-06 | 0.042509 | 0.042509 | 0.042509 | 0.98956 | -0.20002 | 0.98899 | -0.21099 | 11.6783
54 | -0.028246 | -0.0070791 | 0.028253 | 0.0070832 | 6.5898e-06 | 4.0927e-06 | 0.042509 | 0.042509 | 0.042509 | 0.98874 | -0.21589 | 0.98899 | -0.21099 | 11.6783
55 | 0.058677 | 0.014794 | -0.058457 | -0.014653 | 0.00022029 | 0.00014002 | 0.088403 | 0.088403 | 0.088403 | 0.98802 | -0.22808 | 0.98397 | -0.30685 | 24.2865
56 | -0.24676 | -0.062693 | 0.24739 | 0.063098 | 0.00063501 | 0.00040499 | 0.37194 | 0.37194 | 0.37194 | 0.98802 | -0.22808 | 0.9908 | -0.17478 | 34.0602
57 | 0.15809 | 0.039991 | -0.15797 | -0.039912 | 0.00012436 | 7.8936e-05 | 0.23978 | 0.23978 | 0.23978 | 0.98163 | -0.35168 | 0.98078 | -0.36809 | 21.9576
58 | -0.0043797 | -0.0010977 | 0.0043798 | 0.0010977 | 9.7325e-08 | -1.266e-08 | 0.0066278 | 0.0066277 | 0.0066278 | 0.9833 | -0.31993 | 0.98333 | -0.31946 | 1.8208
59 | -0.013643 | -0.0034193 | 0.013646 | 0.0034208 | 2.6577e-06 | 1.4899e-06 | 0.020646 | 0.020646 | 0.020646 | 0.98333 | -0.31946 | 0.98354 | -0.31538 | 5.6719
60 | -0.14544 | -0.036693 | 0.14564 | 0.036823 | 0.00020498 | 0.00012992 | 0.22108 | 0.22108 | 0.22108 | 0.97928 | -0.39748 | 0.98078 | -0.36809 | 20.2452
61 | 0.13089 | 0.033046 | -0.1308 | -0.032993 | 8.3904e-05 | 5.3059e-05 | 0.19897 | 0.19897 | 0.19897 | 0.97928 | -0.39748 | 0.97859 | -0.41087 | 18.2209
62 | 0.26268 | 0.067203 | -0.26236 | -0.066997 | 0.00032218 | 0.00020555 | 0.39382 | 0.39382 | 0.39382 | 0.99376 | -0.11824 | 0.99243 | -0.14361 | 36.064
63 | 0.25427 | 0.06497 | -0.25389 | -0.064726 | 0.00038257 | 0.00024403 | 0.38169 | 0.38169 | 0.38169 | 0.99243 | -0.14361 | 0.9908 | -0.17478 | 34.9535
64 | 0.015696 | 0.0039366 | -0.01569 | -0.003933 | 6.3762e-06 | 3.6976e-06 | 0.023738 | 0.023738 | 0.023738 | 0.98397 | -0.30685 | 0.98354 | -0.31538 | 6.5214
65 | 0.0020441 | 0.00051216 | -0.0020441 | -0.00051229 | 4.2802e-08 | -1.2406e-07 | 0.0030925 | 0.0030926 | 0.0030926 | 0.98354 | -0.31538 | 0.98352 | -0.31581 | 0.8496

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41208 | 0.10532

## res_load
| p_mw | q_mvar
0 | 0.0047448 | 0.0011892
1 | 0.011899 | 0.0029821
2 | 0.011902 | 0.0029829
3 | 0.0030051 | 0.00075315
4 | 0.012108 | 0.0030346
5 | 0.0073753 | 0.0018484
6 | 0.011774 | 0.002951
7 | 0.010935 | 0.0027405
8 | 0.0058017 | 0.0014541
9 | 0.019233 | 0.0048204
10 | 0.013095 | 0.003282
11 | 0.01544 | 0.0038697
12 | 0.012265 | 0.0030739
13 | 0.011961 | 0.0029978
14 | 0.0067027 | 0.0016798
15 | 0.0030042 | 0.00075292
16 | 0.0011231 | 0.00028149
17 | 0.0027894 | 0.00069908
18 | 0.012104 | 0.0030336
19 | 0.012472 | 0.0031257
20 | 0.0054897 | 0.0013758
21 | 0.0068156 | 0.0017082
22 | 0.011211 | 0.0028098
23 | 0.010932 | 0.0027399
24 | 0.017761 | 0.0044514
25 | 0.028246 | 0.0070791
26 | 0.0054448 | 0.0013646
27 | 0.016912 | 0.0042386
28 | 0.0043797 | 0.0010977
29 | 0.0092635 | 0.0023216
30 | 0.011755 | 0.002946
31 | 0.012326 | 0.0030891
32 | 0.0074553 | 0.0018685
33 | 0.0069257 | 0.0017357
34 | 0.008088 | 0.002027
35 | 0.0064959 | 0.001628
36 | 0.042761 | 0.010717
37 | 0.0020441 | 0.00051229

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1