## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-37_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-37_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-37_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-37_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-37_0_4_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_191-37_0_4_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_191-37_0_4_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_191-37_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_191-37_0_4_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_191-37_0_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_191-37_0_4_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_191-37_0_4_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_191-37_0_4_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_191-37_0_4_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_191-37_0_4_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_191-37_0_4_node_4 | 0.4 | n |  | TRUE
16 | bus_LV_191-37_0_4_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_191-37_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_191-37_0_4_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_191-37_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_191-37_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_191-37_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_191-37_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_191-37_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_191-37_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_191-37_0_4_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_191-37_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_191-37_0_4_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_191-37_0_4_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_191-37_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_191-37_0_4_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_191-37_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_191-37_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_191-37_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_191-37_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_191-37_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_191-37_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_191-37_0_4_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_191-37_0_4_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_191-37_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_191-37_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_191-37_0_4_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_191-37_0_4_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_191-37_0_4_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_191-37_0_4_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_191-37_0_4_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_191-37_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_191-37_0_4_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_191-37_0_4_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_191-37_0_4_node_21 | 0.4 | n |  | TRUE
50 | bus_LV_191-37_0_4_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_191-37_0_4_node_22 | 0.4 | n |  | TRUE
52 | bus_LV_191-37_0_4_node_23 | 0.4 | n |  | TRUE
53 | bus_LV_191-37_0_4_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_191-37_0_4_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_191-37_0_4_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_191-37_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_191-37_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_191-37_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_191-37_0_4_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_191-37_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_191-37_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_191-37_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_191-37_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_191-37_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_MV_499_0_node_155 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-37_0_4_load_0 | 0 | 0.012341 | 0.0030929 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-37_0_4_load_3 | 3 | 0.0030579 | 0.00076639 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-37_0_4_load_27 | 5 | 0.0085956 | 0.0021543 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-37_0_4_load_8 | 7 | 0.0028071 | 0.00070353 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-37_0_4_load_63 | 8 | 0.0032264 | 0.00080861 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-37_0_4_load_50 | 11 | 0.0036815 | 0.00092267 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-37_0_4_load_66 | 13 | 0.0070351 | 0.0017632 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-37_0_4_load_65 | 14 | 0.014482 | 0.0036296 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-37_0_4_load_4 | 15 | 0.004325 | 0.0010839 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-37_0_4_load_5 | 16 | 0.0031916 | 0.00079988 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-37_0_4_load_9 | 19 | 0.0010695 | 0.00026804 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-37_0_4_load_34 | 21 | 0.0008318 | 0.00020847 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-37_0_4_load_10 | 22 | 0.0011405 | 0.00028584 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-37_0_4_load_33 | 23 | 0.0015403 | 0.00038603 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-37_0_4_load_57 | 25 | 0.010787 | 0.0027035 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-37_0_4_load_56 | 27 | 0.030043 | 0.0075295 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-37_0_4_load_41 | 28 | 0.0061656 | 0.0015452 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-37_0_4_load_67 | 30 | 0.0082006 | 0.0020553 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-37_0_4_load_43 | 33 | 0.0060999 | 0.0015288 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-37_0_4_load_51 | 34 | 0.0045424 | 0.0011384 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-37_0_4_load_59 | 37 | 0.0077285 | 0.0019369 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-37_0_4_load_64 | 38 | 0.0061594 | 0.0015437 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-37_0_4_load_39 | 39 | 0.020169 | 0.0050547 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-37_0_4_load_36 | 40 | 0.00075503 | 0.00018923 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-37_0_4_load_52 | 43 | 0.057994 | 0.014535 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-37_0_4_load_54 | 44 | 0.0059922 | 0.0015018 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-37_0_4_load_58 | 45 | 0.0024227 | 0.00060718 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-37_0_4_load_40 | 46 | 0.0073212 | 0.0018349 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-37_0_4_load_19 | 47 | 0.014903 | 0.003735 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-37_0_4_load_21 | 49 | 0.015835 | 0.0039686 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-37_0_4_load_22 | 51 | 0.011506 | 0.0028837 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-37_0_4_load_25 | 53 | 0.0059778 | 0.0014982 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-37_0_4_load_61 | 55 | 0.0034158 | 0.00085608 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-37_0_4_load_49 | 56 | 0.017655 | 0.0044248 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-37_0_4_load_46 | 57 | 0.00075492 | 0.0001892 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-37_0_4_load_44 | 58 | 0.0073691 | 0.0018469 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-37_0_4_load_37 | 59 | 0.008666 | 0.0021719 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-37_0_4_load_38 | 60 | 0.015428 | 0.0038667 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-37_0_4_load_45 | 61 | 0.075944 | 0.019033 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-37_0_4_load_47 | 62 | 0.0073737 | 0.001848 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-37_0_4_load_62 | 63 | 0.0048484 | 0.0012151 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-37_0_4_load_60 | 64 | 0.0027102 | 0.00067925 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-37_0_4_line_0 |  | 0 | 1 | 0.03516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-37_0_4_line_1 |  | 1 | 2 | 0.002125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-37_0_4_line_2 |  | 1 | 3 | 0.015937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-37_0_4_line_3 |  | 2 | 4 | 0.031017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-37_0_4_line_4 |  | 2 | 5 | 0.018642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-37_0_4_line_5 |  | 4 | 6 | 0.013094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-37_0_4_line_6 |  | 4 | 7 | 0.013426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-37_0_4_line_7 |  | 6 | 8 | 0.0086062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-37_0_4_line_8 |  | 7 | 17 | 0.023714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-37_0_4_line_9 |  | 8 | 55 | 0.0065079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_191-37_0_4_line_10 |  | 9 | 10 | 0.013458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_191-37_0_4_line_11 |  | 9 | 11 | 0.024867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_191-37_0_4_line_12 |  | 10 | 56 | 0.018948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_191-37_0_4_line_13 |  | 11 | 34 | 0.0042256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_191-37_0_4_line_14 |  | 12 | 13 | 0.020803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-37_0_4_line_15 |  | 12 | 14 | 0.012259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-37_0_4_line_16 |  | 13 | 54 | 0.020495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-37_0_4_line_17 |  | 14 | 42 | 0.016069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-37_0_4_line_18 |  | 15 | 16 | 0.0019266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-37_0_4_line_19 |  | 15 | 17 | 0.030417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-37_0_4_line_20 |  | 16 | 18 | 0.015683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-37_0_4_line_21 |  | 17 | 19 | 0.020087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-37_0_4_line_22 |  | 18 | 20 | 0.011872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-37_0_4_line_23 |  | 19 | 21 | 0.015092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-37_0_4_line_24 |  | 20 | 22 | 0.010347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-37_0_4_line_25 |  | 21 | 23 | 0.0020433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-37_0_4_line_26 |  | 23 | 31 | 0.016267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-37_0_4_line_27 |  | 24 | 25 | 0.039762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-37_0_4_line_28 |  | 24 | 26 | 0.038837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-37_0_4_line_29 |  | 24 | 27 | 0.021741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-37_0_4_line_30 |  | 26 | 28 | 0.015528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-37_0_4_line_31 |  | 28 | 39 | 0.016395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-37_0_4_line_32 |  | 29 | 30 | 0.007355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-37_0_4_line_33 |  | 29 | 31 | 0.055189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-37_0_4_line_34 |  | 31 | 40 | 0.015342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-37_0_4_line_35 |  | 32 | 33 | 0.011326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-37_0_4_line_36 |  | 32 | 34 | 0.020761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-37_0_4_line_37 |  | 33 | 46 | 0.0054807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-37_0_4_line_38 |  | 34 | 43 | 0.020321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_191-37_0_4_line_39 |  | 35 | 36 | 0.031012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-37_0_4_line_40 |  | 35 | 37 | 0.014097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-37_0_4_line_41 |  | 36 | 38 | 0.028997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-37_0_4_line_42 |  | 37 | 45 | 0.00014015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-37_0_4_line_43 |  | 38 | 42 | 0.016816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-37_0_4_line_44 |  | 39 | 59 | 0.014023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-37_0_4_line_45 |  | 40 | 57 | 0.00010466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-37_0_4_line_46 |  | 41 | 42 | 0.020206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-37_0_4_line_47 |  | 41 | 43 | 0.014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-37_0_4_line_48 |  | 44 | 45 | 0.005423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-37_0_4_line_49 |  | 46 | 60 | 0.0051855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-37_0_4_line_50 |  | 47 | 48 | 0.035078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-37_0_4_line_51 |  | 48 | 49 | 0.018156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-37_0_4_line_52 |  | 49 | 50 | 0.033598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-37_0_4_line_53 |  | 50 | 51 | 0.017787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-37_0_4_line_54 |  | 51 | 52 | 0.017848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-37_0_4_line_55 |  | 52 | 53 | 0.0022024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-37_0_4_line_56 |  | 52 | 54 | 0.018377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_191-37_0_4_line_57 |  | 55 | 64 | 0.0059985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_191-37_0_4_line_58 |  | 56 | 63 | 0.0051673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_191-37_0_4_line_59 |  | 57 | 58 | 0.013879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_191-37_0_4_line_60 |  | 58 | 61 | 0.0054214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_191-37_0_4_line_61 |  | 59 | 60 | 0.0033919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_191-37_0_4_line_62 |  | 61 | 62 | 0.0049632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_191-37_0_4_line_63 |  | 63 | 64 | 0.0053604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-37_0_4_trafo_48 | 0.63 MVA 20/0.4 kV | 65 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2689040.5817 | 1250471.836 | 2689038.3136 | 1250473.0473 | 2689021.9798 | 1250481.8086 | 2689009.5933 | 1250488.4465
1 | 2689040.5817 | 1250471.836 | 2689041.2613 | 1250469.8224
2 | 2689040.5817 | 1250471.836 | 2689041.1806 | 1250475.192 | 2689041.7794 | 1250478.5479 | 2689043.2982 | 1250487.5399
3 | 2689026.4493 | 1250446.1486 | 2689029.0769 | 1250444.6314 | 2689041.2613 | 1250469.8224
4 | 2689041.2613 | 1250469.8224 | 2689058.2544 | 1250462.1577
5 | 2689025.4903 | 1250433.1021 | 2689025.5806 | 1250437.6402 | 2689025.8706 | 1250440.4467 | 2689026.4493 | 1250446.1486
6 | 2689026.4493 | 1250446.1486 | 2689014.8107 | 1250452.8413
7 | 2689025.4903 | 1250433.1021 | 2689024.6449 | 1250431.5771 | 2689021.5876 | 1250426.027 | 2689021.6789 | 1250425.509
8 | 2688994.25 | 1250464.6569 | 2689005.8334 | 1250458.0036 | 2689014.8107 | 1250452.8413
9 | 2689022.8093 | 1250419.0999 | 2689021.6789 | 1250425.509
10 | 2689040.996 | 1250377.4817 | 2689029.3203 | 1250384.2337
11 | 2689040.996 | 1250377.4817 | 2689027.5843 | 1250356.5413
12 | 2689029.3203 | 1250384.2337 | 2689027.2835 | 1250393.6658 | 2689027.2659 | 1250393.8323 | 2689025.6818 | 1250402.8252
13 | 2689025.3053 | 1250352.983 | 2689027.5843 | 1250356.5413
14 | 2689082.0023 | 1250374.3399 | 2689083.6522 | 1250373.5752 | 2689092.9861 | 1250390.1067
15 | 2689082.0023 | 1250374.3399 | 2689075.8396 | 1250363.7428
16 | 2689103.0901 | 1250407.9379 | 2689098.5958 | 1250400.0421 | 2689092.9861 | 1250390.1067
17 | 2689067.7612 | 1250349.8518 | 2689075.8396 | 1250363.7428
18 | 2688968.0942 | 1250480.1618 | 2688966.4948 | 1250481.236
19 | 2688994.25 | 1250464.6569 | 2688982.9405 | 1250471.1699 | 2688972.8345 | 1250476.9781 | 2688968.0942 | 1250480.1618
20 | 2688953.8547 | 1250490.5035 | 2688961.0128 | 1250484.9178 | 2688966.4948 | 1250481.236
21 | 2688994.25 | 1250464.6569 | 2688989.0305 | 1250455.2714 | 2688984.4962 | 1250447.097
22 | 2688944.7479 | 1250498.1504 | 2688953.8547 | 1250490.5035
23 | 2688984.4962 | 1250447.097 | 2688977.1756 | 1250433.8996
24 | 2688944.7479 | 1250498.1504 | 2688940.7557 | 1250488.6046
25 | 2688977.1756 | 1250433.8996 | 2688976.1844 | 1250432.1127
26 | 2688968.2937 | 1250417.8874 | 2688976.1844 | 1250432.1127
27 | 2689001.9029 | 1250286.9704 | 2689011.6113 | 1250298.6028 | 2689022.1893 | 1250298.5838 | 2689030.856 | 1250309.6195
28 | 2689001.9029 | 1250286.9704 | 2688991.1313 | 1250294.848 | 2688969.0152 | 1250307.5256
29 | 2689001.9029 | 1250286.9704 | 2689019.0087 | 1250273.552
30 | 2688969.0152 | 1250307.5256 | 2688977.0382 | 1250320.8206
31 | 2688977.0382 | 1250320.8206 | 2688981.0009 | 1250327.3872 | 2688988.0144 | 1250323.4006 | 2688988.3568 | 1250323.9627
32 | 2688947.6917 | 1250366.4725 | 2688941.1184 | 1250369.8097
33 | 2688968.2937 | 1250417.8874 | 2688941.1184 | 1250369.8097
34 | 2688968.2937 | 1250417.8874 | 2688981.728 | 1250410.4789
35 | 2689014.7855 | 1250335.067 | 2689004.8979 | 1250340.5909
36 | 2689014.7855 | 1250335.067 | 2689025.3053 | 1250352.983
37 | 2689000.1133 | 1250343.264 | 2689004.8979 | 1250340.5909
38 | 2689025.3053 | 1250352.983 | 2689031.3532 | 1250349.4489 | 2689043.1193 | 1250343.2128
39 | 2689076.8359 | 1250299.6834 | 2689100.6587 | 1250319.6232
40 | 2689076.8359 | 1250299.6834 | 2689068.8044 | 1250308.0913 | 2689066.3655 | 1250308.4766
41 | 2689100.6587 | 1250319.6232 | 2689092.9633 | 1250327.2689 | 2689088.2736 | 1250336.8835 | 2689086.9929 | 1250337.6982 | 2689081.9764 | 1250340.8684
42 | 2689066.3655 | 1250308.4766 | 2689066.2271 | 1250308.4985
43 | 2689067.7612 | 1250349.8518 | 2689081.9764 | 1250340.8684
44 | 2688988.3568 | 1250323.9627 | 2688995.6513 | 1250335.9386
45 | 2688981.8196 | 1250410.4283 | 2688981.728 | 1250410.4789
46 | 2689056.3161 | 1250336.2361 | 2689065.3778 | 1250351.1947 | 2689067.7612 | 1250349.8518
47 | 2689056.3161 | 1250336.2361 | 2689054.3452 | 1250337.2629 | 2689043.1193 | 1250343.2128
48 | 2689060.8705 | 1250309.3447 | 2689066.2271 | 1250308.4985
49 | 2688997.4158 | 1250338.8354 | 2689000.1133 | 1250343.264 | 2689000.1133 | 1250343.264
50 | 2689104.7506 | 1250497.7977 | 2689070.2086 | 1250503.9054
51 | 2689104.7506 | 1250497.7977 | 2689103.176 | 1250479.7105
52 | 2689098.0826 | 1250446.7032 | 2689100.6458 | 1250453.4802 | 2689103.064 | 1250478.4243 | 2689103.176 | 1250479.7105
53 | 2689098.0826 | 1250446.7032 | 2689091.7981 | 1250430.063
54 | 2689085.4924 | 1250413.3664 | 2689091.7981 | 1250430.063
55 | 2689085.4924 | 1250413.3664 | 2689083.5144 | 1250414.335
56 | 2689085.4924 | 1250413.3664 | 2689094.0456 | 1250410.4149 | 2689103.0901 | 1250407.9379
57 | 2689023.8513 | 1250413.1926 | 2689022.8093 | 1250419.0999
58 | 2689025.6818 | 1250402.8252 | 2689025.5077 | 1250403.8135 | 2689024.8229 | 1250407.6839 | 2689024.7824 | 1250407.9136
59 | 2688993.9731 | 1250403.7262 | 2688981.8196 | 1250410.4283
60 | 2688993.9731 | 1250403.7262 | 2688998.7205 | 1250401.1082
61 | 2688997.4158 | 1250338.8354 | 2688995.6513 | 1250335.9386
62 | 2689003.0666 | 1250398.7115 | 2688998.7205 | 1250401.1082
63 | 2689023.8513 | 1250413.1926 | 2689024.7824 | 1250407.9136

## bus_geodata
| x | y | coords
0 | 2689009.5933 | 1250488.4465
1 | 2689040.5817 | 1250471.836
2 | 2689041.2613 | 1250469.8224
3 | 2689043.2982 | 1250487.5399
4 | 2689026.4493 | 1250446.1486
5 | 2689058.2544 | 1250462.1577
6 | 2689025.4903 | 1250433.1021
7 | 2689014.8107 | 1250452.8413
8 | 2689021.6789 | 1250425.509
9 | 2689040.996 | 1250377.4817
10 | 2689029.3203 | 1250384.2337
11 | 2689027.5843 | 1250356.5413
12 | 2689082.0023 | 1250374.3399
13 | 2689092.9861 | 1250390.1067
14 | 2689075.8396 | 1250363.7428
15 | 2688968.0942 | 1250480.1618
16 | 2688966.4948 | 1250481.236
17 | 2688994.25 | 1250464.6569
18 | 2688953.8547 | 1250490.5035
19 | 2688984.4962 | 1250447.097
20 | 2688944.7479 | 1250498.1504
21 | 2688977.1756 | 1250433.8996
22 | 2688940.7557 | 1250488.6046
23 | 2688976.1844 | 1250432.1127
24 | 2689001.9029 | 1250286.9704
25 | 2689030.856 | 1250309.6195
26 | 2688969.0152 | 1250307.5256
27 | 2689019.0087 | 1250273.552
28 | 2688977.0382 | 1250320.8206
29 | 2688941.1184 | 1250369.8097
30 | 2688947.6917 | 1250366.4725
31 | 2688968.2937 | 1250417.8874
32 | 2689014.7855 | 1250335.067
33 | 2689004.8979 | 1250340.5909
34 | 2689025.3053 | 1250352.983
35 | 2689076.8359 | 1250299.6834
36 | 2689100.6587 | 1250319.6232
37 | 2689066.3655 | 1250308.4766
38 | 2689081.9764 | 1250340.8684
39 | 2688988.3568 | 1250323.9627
40 | 2688981.728 | 1250410.4789
41 | 2689056.3161 | 1250336.2361
42 | 2689067.7612 | 1250349.8518
43 | 2689043.1193 | 1250343.2128
44 | 2689060.8705 | 1250309.3447
45 | 2689066.2271 | 1250308.4985
46 | 2689000.1133 | 1250343.264
47 | 2689070.2086 | 1250503.9054
48 | 2689104.7506 | 1250497.7977
49 | 2689103.176 | 1250479.7105
50 | 2689098.0826 | 1250446.7032
51 | 2689091.7981 | 1250430.063
52 | 2689085.4924 | 1250413.3664
53 | 2689083.5144 | 1250414.335
54 | 2689103.0901 | 1250407.9379
55 | 2689022.8093 | 1250419.0999
56 | 2689025.6818 | 1250402.8252
57 | 2688981.8196 | 1250410.4283
58 | 2688993.9731 | 1250403.7262
59 | 2688995.6513 | 1250335.9386
60 | 2688997.4158 | 1250338.8354
61 | 2688998.7205 | 1250401.1082
62 | 2689003.0666 | 1250398.7115
63 | 2689024.7824 | 1250407.9136
64 | 2689023.8513 | 1250413.1926
65 | 2689040.996 | 1250377.4817

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99306 | -0.13255 | 0.012341 | 0.0030929
1 | 0.99345 | -0.12489 | 0 | 0
2 | 0.99348 | -0.12431 | 0 | 0
3 | 0.99341 | -0.12575 | 0.0030579 | 0.00076639
4 | 0.99416 | -0.11117 | 0 | 0
5 | 0.99334 | -0.12714 | 0.0085956 | 0.0021543
6 | 0.99584 | -0.079061 | 0 | 0
7 | 0.99273 | -0.13852 | 0.0028071 | 0.00070353
8 | 0.99695 | -0.058013 | 0.0032264 | 0.00080861
9 | 0.99838 | -0.030891 | 0 | 0
10 | 1 | 0 | -0.44032 | -0.11171
11 | 0.99538 | -0.088234 | 0.0036815 | 0.00092267
12 | 0.98885 | -0.21404 | 0 | 0
13 | 0.98779 | -0.23456 | 0.0070351 | 0.0017632
14 | 0.98947 | -0.20198 | 0.014482 | 0.0036296
15 | 0.99003 | -0.1905 | 0.004325 | 0.0010839
16 | 0.99002 | -0.19065 | 0.0031916 | 0.00079988
17 | 0.99027 | -0.18582 | 0 | 0
18 | 0.99001 | -0.19096 | 0 | 0
19 | 0.98835 | -0.22296 | 0.0010695 | 0.00026804
20 | 0.98999 | -0.19121 | 0 | 0
21 | 0.98692 | -0.25068 | 0.0008318 | 0.00020847
22 | 0.98998 | -0.19142 | 0.0011405 | 0.00028584
23 | 0.98672 | -0.25441 | 0.0015403 | 0.00038603
24 | 0.98702 | -0.24985 | 0 | 0
25 | 0.98662 | -0.25753 | 0.010787 | 0.0027035
26 | 0.98847 | -0.22152 | 0 | 0
27 | 0.98642 | -0.26154 | 0.030043 | 0.0075295
28 | 0.98906 | -0.21022 | 0.0061656 | 0.0015452
29 | 0.9848 | -0.29182 | 0 | 0
30 | 0.98474 | -0.2929 | 0.0082006 | 0.0020553
31 | 0.98522 | -0.28369 | 0 | 0
32 | 0.99288 | -0.13622 | 0 | 0
33 | 0.9918 | -0.15721 | 0.0060999 | 0.0015288
34 | 0.99488 | -0.097876 | 0.0045424 | 0.0011384
35 | 0.98927 | -0.20595 | 0 | 0
36 | 0.98973 | -0.19704 | 0 | 0
37 | 0.98906 | -0.21 | 0.0077285 | 0.0019369
38 | 0.99016 | -0.18871 | 0.0061594 | 0.0015437
39 | 0.98976 | -0.1965 | 0.020169 | 0.0050547
40 | 0.98391 | -0.30912 | 0.00075503 | 0.00018923
41 | 0.99221 | -0.14906 | 0 | 0
42 | 0.99051 | -0.18204 | 0 | 0
43 | 0.99348 | -0.12476 | 0.057994 | 0.014535
44 | 0.98903 | -0.2106 | 0.0059922 | 0.0015018
45 | 0.98906 | -0.21002 | 0.0024227 | 0.00060718
46 | 0.9913 | -0.16679 | 0.0073212 | 0.0018349
47 | 0.98318 | -0.32432 | 0.014903 | 0.003735
48 | 0.98366 | -0.3149 | 0 | 0
49 | 0.98391 | -0.31002 | 0.015835 | 0.0039686
50 | 0.98487 | -0.29145 | 0 | 0
51 | 0.98537 | -0.28163 | 0.011506 | 0.0028837
52 | 0.98606 | -0.2681 | 0 | 0
53 | 0.98605 | -0.26834 | 0.0059778 | 0.0014982
54 | 0.98688 | -0.25223 | 0 | 0
55 | 0.99737 | -0.049883 | 0.0034158 | 0.00085608
56 | 0.99851 | -0.028307 | 0.017655 | 0.0044248
57 | 0.9839 | -0.30929 | 0.00075492 | 0.0001892
58 | 0.98274 | -0.33198 | 0.0073691 | 0.0018469
59 | 0.99063 | -0.17975 | 0.008666 | 0.0021719
60 | 0.99087 | -0.17519 | 0.015428 | 0.0038667
61 | 0.98232 | -0.34014 | 0.075944 | 0.019033
62 | 0.98229 | -0.3408 | 0.0073737 | 0.001848
63 | 0.99814 | -0.035243 | 0.0048484 | 0.0012151
64 | 0.99778 | -0.042216 | 0.0027102 | 0.00067925
65 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012341 | -0.0030929 | 0.012345 | 0.0030953 | 4.5084e-06 | 2.4303e-06 | 0.018492 | 0.018492 | 0.018492 | 0.99306 | -0.13255 | 0.99345 | -0.12489 | 5.0801
1 | -0.015403 | -0.0038616 | 0.015404 | 0.0038618 | 4.2419e-07 | 2.4396e-07 | 0.023072 | 0.023072 | 0.023072 | 0.99345 | -0.12489 | 0.99348 | -0.12431 | 6.3384
2 | 0.0030581 | 0.00076627 | -0.0030579 | -0.00076639 | 1.2539e-07 | -1.261e-07 | 0.0045804 | 0.0045805 | 0.0045805 | 0.99345 | -0.12489 | 0.99341 | -0.12575 | 1.2584
3 | -0.024001 | -0.0060166 | 0.024016 | 0.0060258 | 1.5031e-05 | 9.2177e-06 | 0.035948 | 0.035948 | 0.035948 | 0.99348 | -0.12431 | 0.99416 | -0.11117 | 9.8758
4 | 0.0085967 | 0.0021548 | -0.0085956 | -0.0021543 | 1.159e-06 | 5.0041e-07 | 0.012876 | 0.012876 | 0.012876 | 0.99348 | -0.12431 | 0.99334 | -0.12714 | 3.5374
5 | -0.14046 | -0.035652 | 0.14068 | 0.035791 | 0.00021736 | 0.00013894 | 0.2104 | 0.2104 | 0.2104 | 0.99416 | -0.11117 | 0.99584 | -0.079061 | 57.801
6 | 0.11645 | 0.029626 | -0.11629 | -0.029528 | 0.00015322 | 9.7884e-05 | 0.17445 | 0.17445 | 0.17445 | 0.99416 | -0.11117 | 0.99273 | -0.13852 | 47.9253
7 | -0.14068 | -0.035791 | 0.14082 | 0.035882 | 0.00014286 | 9.1319e-05 | 0.2104 | 0.2104 | 0.2104 | 0.99584 | -0.079061 | 0.99695 | -0.058013 | 57.801
8 | 0.11349 | 0.028824 | -0.11323 | -0.02866 | 0.00025773 | 0.00016464 | 0.17024 | 0.17024 | 0.17024 | 0.99273 | -0.13852 | 0.99027 | -0.18582 | 46.7694
9 | -0.14405 | -0.03669 | 0.1441 | 0.036726 | 5.6517e-05 | 3.6001e-05 | 0.21521 | 0.21521 | 0.21521 | 0.99695 | -0.058013 | 0.99737 | -0.049883 | 29.562
10 | -0.26515 | -0.067306 | 0.26555 | 0.067558 | 0.00039469 | 0.00025225 | 0.39549 | 0.39549 | 0.39549 | 0.99838 | -0.030891 | 1 | 0 | 54.3258
11 | 0.26515 | 0.067306 | -0.26442 | -0.06684 | 0.00072929 | 0.0004661 | 0.39549 | 0.39549 | 0.39549 | 0.99838 | -0.030891 | 0.99538 | -0.088234 | 54.3258
12 | 0.17313 | 0.044153 | -0.17289 | -0.044002 | 0.00023628 | 0.00015072 | 0.25789 | 0.25789 | 0.25789 | 1 | 0 | 0.99851 | -0.028307 | 35.424
13 | 0.26074 | 0.065917 | -0.26062 | -0.06584 | 0.0001205 | 7.7011e-05 | 0.38999 | 0.38999 | 0.38999 | 0.99538 | -0.088234 | 0.99488 | -0.097876 | 53.5699
14 | 0.055468 | 0.013981 | -0.055414 | -0.013947 | 5.4386e-05 | 3.4541e-05 | 0.083496 | 0.083496 | 0.083496 | 0.98885 | -0.21404 | 0.98779 | -0.23456 | 22.9386
15 | -0.055468 | -0.013981 | 0.0555 | 0.014002 | 3.2049e-05 | 2.0354e-05 | 0.083496 | 0.083496 | 0.083496 | 0.98885 | -0.21404 | 0.98947 | -0.20198 | 22.9385
16 | 0.048379 | 0.012184 | -0.048338 | -0.012158 | 4.0843e-05 | 2.5877e-05 | 0.072899 | 0.072899 | 0.072899 | 0.98779 | -0.23456 | 0.98688 | -0.25223 | 20.0271
17 | -0.069982 | -0.017631 | 0.070049 | 0.017674 | 6.6785e-05 | 4.2536e-05 | 0.10528 | 0.10528 | 0.10528 | 0.98947 | -0.20198 | 0.99051 | -0.18204 | 28.9218
18 | 0.0043322 | 0.0010853 | -0.0043321 | -0.0010853 | 3.0629e-08 | -5.1719e-09 | 0.0065111 | 0.0065111 | 0.0065111 | 0.99003 | -0.1905 | 0.99002 | -0.19065 | 1.7888
19 | -0.0086571 | -0.0021692 | 0.0086591 | 0.00217 | 1.9311e-06 | 8.4466e-07 | 0.013011 | 0.013011 | 0.013011 | 0.99003 | -0.1905 | 0.99027 | -0.18582 | 3.5746
20 | 0.0011406 | 0.00028538 | -0.0011405 | -0.00028557 | 1.728e-08 | -1.9061e-07 | 0.0017141 | 0.0017142 | 0.0017142 | 0.99002 | -0.19065 | 0.99001 | -0.19096 | 0.47092
21 | 0.10457 | 0.02649 | -0.10438 | -0.026371 | 0.00018621 | 0.00011892 | 0.15723 | 0.15723 | 0.15723 | 0.99027 | -0.18582 | 0.98835 | -0.22296 | 43.1949
22 | 0.0011405 | 0.00028557 | -0.0011405 | -0.00028571 | 1.3082e-08 | -1.4428e-07 | 0.0017142 | 0.0017142 | 0.0017142 | 0.99001 | -0.19096 | 0.98999 | -0.19121 | 0.47094
23 | 0.10331 | 0.026103 | -0.10318 | -0.026015 | 0.00013706 | 8.7523e-05 | 0.15562 | 0.15562 | 0.15562 | 0.98835 | -0.22296 | 0.98692 | -0.25068 | 42.7526
24 | 0.0011405 | 0.00028571 | -0.0011405 | -0.00028584 | 1.1402e-08 | -1.2574e-07 | 0.0017142 | 0.0017143 | 0.0017143 | 0.98999 | -0.19121 | 0.98998 | -0.19142 | 0.47095
25 | 0.10234 | 0.025807 | -0.10233 | -0.025795 | 1.8259e-05 | 1.1659e-05 | 0.15437 | 0.15437 | 0.15437 | 0.98692 | -0.25068 | 0.98672 | -0.25441 | 42.408
26 | 0.10079 | 0.025409 | -0.10064 | -0.025319 | 0.00014102 | 9.0045e-05 | 0.15204 | 0.15204 | 0.15204 | 0.98672 | -0.25441 | 0.98522 | -0.28369 | 41.7699
27 | 0.010791 | 0.0027055 | -0.010787 | -0.0027035 | 3.9465e-06 | 2.0178e-06 | 0.016269 | 0.016269 | 0.016269 | 0.98702 | -0.24985 | 0.98662 | -0.25753 | 4.4695
28 | -0.040851 | -0.010245 | 0.040906 | 0.01028 | 5.5244e-05 | 3.4859e-05 | 0.061589 | 0.061589 | 0.061589 | 0.98702 | -0.24985 | 0.98847 | -0.22152 | 16.9201
29 | 0.03006 | 0.00754 | -0.030043 | -0.0075295 | 1.6745e-05 | 1.0439e-05 | 0.04532 | 0.04532 | 0.04532 | 0.98702 | -0.24985 | 0.98642 | -0.26154 | 12.4506
30 | -0.040906 | -0.01028 | 0.040928 | 0.010294 | 2.2088e-05 | 1.3937e-05 | 0.061589 | 0.061589 | 0.061589 | 0.98847 | -0.22152 | 0.98906 | -0.21022 | 16.92
31 | -0.047094 | -0.01184 | 0.047125 | 0.011859 | 3.0875e-05 | 1.955e-05 | 0.070865 | 0.070865 | 0.070865 | 0.98906 | -0.21022 | 0.98976 | -0.1965 | 19.4684
32 | 0.008201 | 0.0020554 | -0.0082006 | -0.0020553 | 4.2352e-07 | 1.7748e-07 | 0.012392 | 0.012392 | 0.012392 | 0.9848 | -0.29182 | 0.98474 | -0.2929 | 3.4043
33 | -0.008201 | -0.0020554 | 0.0082042 | 0.0020568 | 3.1778e-06 | 1.3313e-06 | 0.012392 | 0.012391 | 0.012392 | 0.9848 | -0.29182 | 0.98522 | -0.28369 | 3.4043
34 | 0.092441 | 0.023262 | -0.092329 | -0.023191 | 0.0001122 | 7.1613e-05 | 0.13965 | 0.13965 | 0.13965 | 0.98522 | -0.28369 | 0.98391 | -0.30912 | 38.3657
35 | 0.10507 | 0.026481 | -0.10496 | -0.026413 | 0.00010538 | 6.7295e-05 | 0.15751 | 0.15751 | 0.15751 | 0.99288 | -0.13622 | 0.9918 | -0.15721 | 43.2732
36 | -0.10507 | -0.026481 | 0.10526 | 0.026604 | 0.00019316 | 0.00012335 | 0.15751 | 0.15751 | 0.15751 | 0.99288 | -0.13622 | 0.99488 | -0.097876 | 43.2731
37 | 0.098861 | 0.024884 | -0.098816 | -0.024856 | 4.5239e-05 | 2.8882e-05 | 0.14836 | 0.14836 | 0.14836 | 0.9918 | -0.15721 | 0.9913 | -0.16679 | 40.7589
38 | 0.15082 | 0.038098 | -0.15062 | -0.037974 | 0.00019406 | 0.00012367 | 0.22568 | 0.22568 | 0.22568 | 0.99488 | -0.097876 | 0.99348 | -0.12476 | 31.0001
39 | -0.016147 | -0.0040478 | 0.016154 | 0.0040518 | 6.8599e-06 | 3.992e-06 | 0.024287 | 0.024287 | 0.024287 | 0.98927 | -0.20595 | 0.98973 | -0.19704 | 6.6724
40 | 0.016147 | 0.0040478 | -0.016144 | -0.004046 | 3.1182e-06 | 1.8147e-06 | 0.024287 | 0.024287 | 0.024287 | 0.98927 | -0.20595 | 0.98906 | -0.21 | 6.6724
41 | -0.016154 | -0.0040518 | 0.01616 | 0.0040555 | 6.4142e-06 | 3.7323e-06 | 0.024287 | 0.024287 | 0.024287 | 0.98973 | -0.19704 | 0.99016 | -0.18871 | 6.6723
42 | 0.008415 | 0.002109 | -0.008415 | -0.002109 | 8.4244e-09 | 3.5921e-09 | 0.01266 | 0.01266 | 0.01266 | 0.98906 | -0.21 | 0.98906 | -0.21002 | 3.4781
43 | -0.022319 | -0.0055992 | 0.022326 | 0.0056035 | 7.0952e-06 | 4.3246e-06 | 0.033544 | 0.033543 | 0.033544 | 0.99016 | -0.18871 | 0.99051 | -0.18204 | 9.2152
44 | -0.067293 | -0.016914 | 0.067347 | 0.016948 | 5.384e-05 | 3.4277e-05 | 0.10119 | 0.10119 | 0.10119 | 0.98976 | -0.1965 | 0.99063 | -0.17975 | 27.7985
45 | 0.091573 | 0.023001 | -0.091573 | -0.023001 | 7.5297e-07 | 4.8057e-07 | 0.13851 | 0.13851 | 0.13851 | 0.98391 | -0.30912 | 0.9839 | -0.30929 | 38.052
46 | 0.092522 | 0.023371 | -0.092376 | -0.023277 | 0.00014602 | 9.3191e-05 | 0.13882 | 0.13882 | 0.13882 | 0.99221 | -0.14906 | 0.99051 | -0.18204 | 38.137
47 | -0.092522 | -0.023371 | 0.09263 | 0.023439 | 0.00010787 | 6.8846e-05 | 0.13882 | 0.13882 | 0.13882 | 0.99221 | -0.14906 | 0.99348 | -0.12476 | 38.137
48 | -0.0059922 | -0.0015018 | 0.0059924 | 0.0015018 | 1.6529e-07 | 3.6187e-08 | 0.0090154 | 0.0090153 | 0.0090154 | 0.98903 | -0.2106 | 0.98906 | -0.21002 | 2.4767
49 | 0.091495 | 0.023021 | -0.091458 | -0.022997 | 3.6696e-05 | 2.3419e-05 | 0.13737 | 0.13737 | 0.13737 | 0.9913 | -0.16679 | 0.99087 | -0.17519 | 37.7398
50 | -0.014903 | -0.003735 | 0.01491 | 0.0037389 | 6.6919e-06 | 3.8378e-06 | 0.022555 | 0.022555 | 0.022555 | 0.98318 | -0.32432 | 0.98366 | -0.3149 | 6.1965
51 | -0.01491 | -0.0037389 | 0.014913 | 0.0037409 | 3.4636e-06 | 1.9862e-06 | 0.022555 | 0.022555 | 0.022555 | 0.98366 | -0.3149 | 0.98391 | -0.31002 | 6.1964
52 | -0.030748 | -0.0077095 | 0.030775 | 0.0077265 | 2.7246e-05 | 1.701e-05 | 0.046503 | 0.046503 | 0.046503 | 0.98391 | -0.31002 | 0.98487 | -0.29145 | 12.7755
53 | -0.030775 | -0.0077265 | 0.03079 | 0.0077355 | 1.4424e-05 | 9.0051e-06 | 0.046503 | 0.046503 | 0.046503 | 0.98487 | -0.29145 | 0.98537 | -0.28163 | 12.7754
54 | -0.042296 | -0.010619 | 0.042323 | 0.010636 | 2.731e-05 | 1.7251e-05 | 0.063878 | 0.063878 | 0.063878 | 0.98537 | -0.28163 | 0.98606 | -0.2681 | 17.5489
55 | 0.0059779 | 0.0014982 | -0.0059778 | -0.0014982 | 6.7209e-08 | 1.492e-08 | 0.0090209 | 0.0090209 | 0.0090209 | 0.98606 | -0.2681 | 0.98605 | -0.26834 | 2.4783
56 | -0.048301 | -0.012135 | 0.048338 | 0.012158 | 3.6622e-05 | 2.3204e-05 | 0.072899 | 0.072899 | 0.072899 | 0.98606 | -0.2681 | 0.98688 | -0.25223 | 20.0272
57 | -0.14752 | -0.037583 | 0.14758 | 0.037617 | 5.4589e-05 | 3.478e-05 | 0.22031 | 0.22031 | 0.22031 | 0.99737 | -0.049883 | 0.99778 | -0.042216 | 30.262
58 | 0.15524 | 0.039577 | -0.15518 | -0.039544 | 5.1958e-05 | 3.3118e-05 | 0.23158 | 0.23158 | 0.23158 | 0.99851 | -0.028307 | 0.99814 | -0.035243 | 31.81
59 | 0.090818 | 0.022812 | -0.09072 | -0.022749 | 9.821e-05 | 6.2678e-05 | 0.13737 | 0.13737 | 0.13737 | 0.9839 | -0.30929 | 0.98274 | -0.33198 | 37.7384
60 | 0.083351 | 0.020902 | -0.083318 | -0.020882 | 3.2384e-05 | 2.0657e-05 | 0.12621 | 0.12621 | 0.12621 | 0.98274 | -0.33198 | 0.98232 | -0.34014 | 34.673
61 | -0.076013 | -0.01912 | 0.07603 | 0.019131 | 1.6589e-05 | 1.0573e-05 | 0.1142 | 0.1142 | 0.1142 | 0.99063 | -0.17975 | 0.99087 | -0.17519 | 31.3746
62 | 0.007374 | 0.0018481 | -0.0073737 | -0.001848 | 2.3222e-07 | 8.5791e-08 | 0.01117 | 0.01117 | 0.01117 | 0.98232 | -0.34014 | 0.98229 | -0.3408 | 3.0687
63 | 0.15034 | 0.038329 | -0.15029 | -0.038297 | 5.0588e-05 | 3.2236e-05 | 0.22435 | 0.22435 | 0.22435 | 0.99814 | -0.035243 | 0.99778 | -0.042216 | 30.8172

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44032 | 0.11171

## res_load
| p_mw | q_mvar
0 | 0.012341 | 0.0030929
1 | 0.0030579 | 0.00076639
2 | 0.0085956 | 0.0021543
3 | 0.0028071 | 0.00070353
4 | 0.0032264 | 0.00080861
5 | 0.0036815 | 0.00092267
6 | 0.0070351 | 0.0017632
7 | 0.014482 | 0.0036296
8 | 0.004325 | 0.0010839
9 | 0.0031916 | 0.00079988
10 | 0.0010695 | 0.00026804
11 | 0.0008318 | 0.00020847
12 | 0.0011405 | 0.00028584
13 | 0.0015403 | 0.00038603
14 | 0.010787 | 0.0027035
15 | 0.030043 | 0.0075295
16 | 0.0061656 | 0.0015452
17 | 0.0082006 | 0.0020553
18 | 0.0060999 | 0.0015288
19 | 0.0045424 | 0.0011384
20 | 0.0077285 | 0.0019369
21 | 0.0061594 | 0.0015437
22 | 0.020169 | 0.0050547
23 | 0.00075503 | 0.00018923
24 | 0.057994 | 0.014535
25 | 0.0059922 | 0.0015018
26 | 0.0024227 | 0.00060718
27 | 0.0073212 | 0.0018349
28 | 0.014903 | 0.003735
29 | 0.015835 | 0.0039686
30 | 0.011506 | 0.0028837
31 | 0.0059778 | 0.0014982
32 | 0.0034158 | 0.00085608
33 | 0.017655 | 0.0044248
34 | 0.00075492 | 0.0001892
35 | 0.0073691 | 0.0018469
36 | 0.008666 | 0.0021719
37 | 0.015428 | 0.0038667
38 | 0.075944 | 0.019033
39 | 0.0073737 | 0.001848
40 | 0.0048484 | 0.0012151
41 | 0.0027102 | 0.00067925

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1