## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-38_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-38_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_191-38_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_191-38_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-38_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_191-38_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_191-38_0_5_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_191-38_0_5_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_191-38_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_191-38_0_5_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_191-38_0_5_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_191-38_0_5_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_191-38_0_5_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_191-38_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_191-38_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_191-38_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_191-38_0_5_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_191-38_0_5_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_191-38_0_5_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_191-38_0_5_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_191-38_0_5_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_191-38_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_191-38_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_191-38_0_5_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_191-38_0_5_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_191-38_0_5_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_191-38_0_5_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_191-38_0_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_191-38_0_5_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_191-38_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_191-38_0_5_node_6 | 0.4 | n |  | TRUE
31 | bus_LV_191-38_0_5_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_191-38_0_5_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_191-38_0_5_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_191-38_0_5_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_191-38_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_191-38_0_5_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_191-38_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_191-38_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_191-38_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_191-38_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_191-38_0_5_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_191-38_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_191-38_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_191-38_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_191-38_0_5_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_191-38_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_191-38_0_5_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_191-38_0_5_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_191-38_0_5_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_191-38_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_191-38_0_5_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_191-38_0_5_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_191-38_0_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_191-38_0_5_node_49 | 0.4 | n |  | TRUE
55 | bus_MV_499_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-38_0_5_load_0 | 0 | 0.0021317 | 0.00053425 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-38_0_5_load_1 | 2 | 0.014574 | 0.0036526 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-38_0_5_load_4 | 4 | 0.058047 | 0.014548 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-38_0_5_load_31 | 7 | 0.017184 | 0.0043066 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-38_0_5_load_26 | 9 | 0.052554 | 0.013171 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-38_0_5_load_29 | 10 | 0.053532 | 0.013416 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-38_0_5_load_60 | 12 | 0.012567 | 0.0031495 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-38_0_5_load_21 | 17 | 0.015645 | 0.0039211 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-38_0_5_load_23 | 18 | 0.033888 | 0.0084932 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-38_0_5_load_22 | 19 | 0.012013 | 0.0030106 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-38_0_5_load_27 | 20 | 0.018525 | 0.0046428 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-38_0_5_load_54 | 23 | 0.0071209 | 0.0017847 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-38_0_5_load_55 | 24 | 0.0035616 | 0.00089262 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-38_0_5_load_42 | 26 | 0.0088554 | 0.0022194 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-38_0_5_load_30 | 27 | 0.021067 | 0.0052799 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-38_0_5_load_59 | 28 | 0.019987 | 0.0050093 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-38_0_5_load_24 | 29 | 0.014146 | 0.0035454 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-38_0_5_load_6 | 30 | 0.016665 | 0.0041766 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-38_0_5_load_58 | 31 | 0.0088515 | 0.0022184 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-38_0_5_load_28 | 32 | 0.016934 | 0.004244 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-38_0_5_load_57 | 33 | 0.0045146 | 0.0011315 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-38_0_5_load_56 | 34 | 0.0045019 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-38_0_5_load_25 | 35 | 0.026175 | 0.00656 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-38_0_5_load_53 | 36 | 0.0021961 | 0.0005504 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-38_0_5_load_32 | 37 | 0.0039358 | 0.0009864 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-38_0_5_load_33 | 38 | 0.0017632 | 0.0004419 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-38_0_5_load_35 | 40 | 0.0059325 | 0.0014868 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-38_0_5_load_37 | 42 | 0.0025398 | 0.00063653 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-38_0_5_load_38 | 43 | 0.022852 | 0.0057274 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-38_0_5_load_39 | 46 | 0.0017037 | 0.00042698 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-38_0_5_load_46 | 47 | 0.0010938 | 0.00027413 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-38_0_5_load_62 | 48 | 0.065663 | 0.016457 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-38_0_5_load_51 | 49 | 0.0021756 | 0.00054525 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-38_0_5_load_52 | 50 | 0.0020409 | 0.00051151 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-38_0_5_load_50 | 51 | 0.0027202 | 0.00068175 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-38_0_5_load_48 | 52 | 0.0024567 | 0.00061571 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-38_0_5_load_47 | 53 | 0.0017204 | 0.00043118 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-38_0_5_load_49 | 54 | 0.0013687 | 0.00034302 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-38_0_5_line_0 |  | 0 | 1 | 0.031996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-38_0_5_line_1 |  | 1 | 4 | 0.020132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_191-38_0_5_line_2 |  | 1 | 5 | 0.004073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_191-38_0_5_line_3 |  | 2 | 3 | 0.034032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-38_0_5_line_4 |  | 3 | 6 | 0.007875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-38_0_5_line_5 |  | 4 | 7 | 0.034537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-38_0_5_line_6 |  | 5 | 8 | 0.006262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_191-38_0_5_line_7 |  | 5 | 9 | 0.013833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_191-38_0_5_line_8 |  | 5 | 10 | 0.027638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-38_0_5_line_9 |  | 6 | 25 | 0.004394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-38_0_5_line_10 |  | 6 | 26 | 0.02246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_191-38_0_5_line_11 |  | 7 | 27 | 0.027973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-38_0_5_line_12 |  | 8 | 28 | 0.018442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_191-38_0_5_line_13 |  | 9 | 29 | 0.028495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_191-38_0_5_line_14 |  | 11 | 12 | 0.033811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-38_0_5_line_15 |  | 11 | 13 | 0.0095209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-38_0_5_line_16 |  | 11 | 14 | 0.005783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-38_0_5_line_17 |  | 13 | 18 | 0.026923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-38_0_5_line_18 |  | 13 | 19 | 0.01087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-38_0_5_line_19 |  | 14 | 30 | 0.012938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-38_0_5_line_20 |  | 15 | 16 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-38_0_5_line_21 |  | 15 | 17 | 0.040885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-38_0_5_line_22 |  | 16 | 20 | 0.033926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-38_0_5_line_23 |  | 17 | 19 | 0.018554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-38_0_5_line_24 |  | 18 | 32 | 0.023665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-38_0_5_line_25 |  | 20 | 35 | 0.033604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-38_0_5_line_26 |  | 21 | 22 | 0.057852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-38_0_5_line_27 |  | 21 | 23 | 0.047475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-38_0_5_line_28 |  | 22 | 24 | 0.072313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-38_0_5_line_29 |  | 23 | 36 | 0.0021735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-38_0_5_line_30 |  | 24 | 34 | 0.02073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-38_0_5_line_31 |  | 25 | 49 | 0.0039754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-38_0_5_line_32 |  | 25 | 42 | 0.017998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-38_0_5_line_33 |  | 26 | 31 | 0.04092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_191-38_0_5_line_34 |  | 28 | 31 | 0.039128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_191-38_0_5_line_35 |  | 29 | 35 | 0.029283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_191-38_0_5_line_36 |  | 33 | 34 | 0.00098167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-38_0_5_line_37 |  | 36 | 50 | 0.016258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-38_0_5_line_38 |  | 37 | 38 | 0.002534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-38_0_5_line_39 |  | 37 | 39 | 0.021736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-38_0_5_line_40 |  | 38 | 40 | 0.026279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-38_0_5_line_41 |  | 39 | 41 | 0.003609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-38_0_5_line_42 |  | 39 | 42 | 0.043925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-38_0_5_line_43 |  | 39 | 43 | 0.031232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-38_0_5_line_44 |  | 40 | 44 | 0.011801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-38_0_5_line_45 |  | 41 | 45 | 0.026326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-38_0_5_line_46 |  | 41 | 46 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-38_0_5_line_47 |  | 44 | 47 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-38_0_5_line_48 |  | 45 | 48 | 0.006856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-38_0_5_line_49 |  | 47 | 51 | 0.0043058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-38_0_5_line_50 |  | 49 | 50 | 0.018205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-38_0_5_line_51 |  | 51 | 52 | 0.019273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-38_0_5_line_52 |  | 52 | 53 | 0.0078516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-38_0_5_line_53 |  | 53 | 54 | 0.0022432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-38_0_5_trafo_4 | 0.63 MVA 20/0.4 kV | 55 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2689385.941 | 1250408.1412 | 2689388.6876 | 1250407.2486 | 2689392.5453 | 1250408.2742 | 2689414.5107 | 1250420.4536
1 | 2689385.941 | 1250408.1412 | 2689383.7988 | 1250410.0103 | 2689376.6767 | 1250425.7643
2 | 2689382.2996 | 1250406.2959 | 2689385.941 | 1250408.1412
3 | 2689488.5534 | 1250464.6101 | 2689487.4338 | 1250461.7577 | 2689485.3355 | 1250459.7245 | 2689460.8079 | 1250446.1245
4 | 2689488.5534 | 1250464.6101 | 2689491.6677 | 1250457.3739
5 | 2689362.4494 | 1250457.2348 | 2689376.6767 | 1250425.7643
6 | 2689382.2996 | 1250406.2959 | 2689384.8772 | 1250400.586
7 | 2689382.2996 | 1250406.2959 | 2689379.8393 | 1250411.7296 | 2689376.6077 | 1250418.9038
8 | 2689382.2996 | 1250406.2959 | 2689378.987 | 1250404.667 | 2689378.1371 | 1250400.9513 | 2689360.716 | 1250390.8553
9 | 2689491.6677 | 1250457.3739 | 2689495.5548 | 1250459.4452
10 | 2689491.6677 | 1250457.3739 | 2689471.8346 | 1250446.8324
11 | 2689362.4494 | 1250457.2348 | 2689350.926 | 1250482.7242
12 | 2689384.8772 | 1250400.586 | 2689386.1801 | 1250401.3062 | 2689401.1502 | 1250409.263
13 | 2689376.6077 | 1250418.9038 | 2689370.9887 | 1250431.3778 | 2689364.5821 | 1250444.7351
14 | 2689238.0058 | 1250455.2479 | 2689244.9472 | 1250462.5691 | 2689259.4325 | 1250477.7988 | 2689261.3124 | 1250479.8064
15 | 2689261.3124 | 1250479.8064 | 2689264.9819 | 1250476.7816 | 2689268.9625 | 1250474.1617
16 | 2689256.8476 | 1250483.4975 | 2689261.3124 | 1250479.8064
17 | 2689268.9625 | 1250474.1617 | 2689286.5647 | 1250453.7901
18 | 2689268.9625 | 1250474.1617 | 2689276.4835 | 1250482.0091
19 | 2689256.8476 | 1250483.4975 | 2689259.7772 | 1250488.4898 | 2689265.1321 | 1250493.2273
20 | 2689325.7381 | 1250533.2286 | 2689317.6114 | 1250524.9221
21 | 2689317.6114 | 1250524.9221 | 2689289.3216 | 1250495.4044
22 | 2689325.7381 | 1250533.2286 | 2689327.1382 | 1250526.5001 | 2689338.1217 | 1250501.7771
23 | 2689289.3216 | 1250495.4044 | 2689276.4835 | 1250482.0091
24 | 2689286.5647 | 1250453.7901 | 2689302.0366 | 1250435.8837
25 | 2689351.9181 | 1250471.1385 | 2689349.4116 | 1250476.3644 | 2689338.1217 | 1250501.7771
26 | 2689420.8813 | 1250555.747 | 2689437.4131 | 1250563.4022 | 2689444.6916 | 1250566.8702 | 2689449.1474 | 1250563.2792 | 2689453.0973 | 1250558.1905 | 2689455.6483 | 1250552.7471 | 2689460.6303 | 1250540.3128
27 | 2689460.6303 | 1250540.3128 | 2689465.1964 | 1250529.9183 | 2689479.4875 | 1250496.7433
28 | 2689420.8813 | 1250555.747 | 2689444.8939 | 1250503.4807 | 2689431.4742 | 1250497.2534
29 | 2689479.4875 | 1250496.7433 | 2689480.3474 | 1250494.7472
30 | 2689431.4742 | 1250497.2534 | 2689412.6702 | 1250488.5276 | 2689412.6702 | 1250488.5276
31 | 2689495.5548 | 1250459.4452 | 2689493.982 | 1250463.0963
32 | 2689495.5548 | 1250459.4452 | 2689500.2559 | 1250447.6183 | 2689502.2036 | 1250442.7199
33 | 2689471.8346 | 1250446.8324 | 2689435.7011 | 1250427.6271
34 | 2689435.7011 | 1250427.6271 | 2689401.1502 | 1250409.263
35 | 2689364.5821 | 1250444.7351 | 2689351.9181 | 1250471.1385
36 | 2689412.6702 | 1250488.5276 | 2689412.2511 | 1250489.4153
37 | 2689486.7796 | 1250479.8156 | 2689480.3474 | 1250494.7472
38 | 2689537.4881 | 1250412.3583 | 2689539.7097 | 1250413.5773
39 | 2689518.4326 | 1250401.9025 | 2689537.4881 | 1250412.3583
40 | 2689562.7488 | 1250426.2189 | 2689539.7097 | 1250413.5773
41 | 2689515.1487 | 1250400.3851 | 2689518.4326 | 1250401.9025
42 | 2689518.4326 | 1250401.9025 | 2689502.2036 | 1250442.7199
43 | 2689518.4326 | 1250401.9025 | 2689529.695 | 1250381.5794 | 2689534.1147 | 1250374.915
44 | 2689573.0944 | 1250431.8956 | 2689562.7488 | 1250426.2189
45 | 2689491.7748 | 1250388.323 | 2689503.5873 | 1250395.0398 | 2689515.1487 | 1250400.3851
46 | 2689515.1487 | 1250400.3851 | 2689512.3444 | 1250408.0931 | 2689509.3441 | 1250415.2438
47 | 2689573.0944 | 1250431.8956 | 2689583.5179 | 1250440.6508
48 | 2689485.7623 | 1250384.9964 | 2689491.7748 | 1250388.323
49 | 2689586.815 | 1250443.4201 | 2689583.5179 | 1250440.6508
50 | 2689493.982 | 1250463.0963 | 2689486.7796 | 1250479.8156
51 | 2689586.815 | 1250443.4201 | 2689601.5728 | 1250455.8158
52 | 2689607.585 | 1250460.8657 | 2689601.5728 | 1250455.8158
53 | 2689607.585 | 1250460.8657 | 2689609.3027 | 1250462.3085

## bus_geodata
| x | y | coords
0 | 2689414.5107 | 1250420.4536
1 | 2689385.941 | 1250408.1412
2 | 2689460.8079 | 1250446.1245
3 | 2689488.5534 | 1250464.6101
4 | 2689376.6767 | 1250425.7643
5 | 2689382.2996 | 1250406.2959
6 | 2689491.6677 | 1250457.3739
7 | 2689362.4494 | 1250457.2348
8 | 2689384.8772 | 1250400.586
9 | 2689376.6077 | 1250418.9038
10 | 2689360.716 | 1250390.8553
11 | 2689261.3124 | 1250479.8064
12 | 2689238.0058 | 1250455.2479
13 | 2689268.9625 | 1250474.1617
14 | 2689256.8476 | 1250483.4975
15 | 2689317.6114 | 1250524.9221
16 | 2689325.7381 | 1250533.2286
17 | 2689289.3216 | 1250495.4044
18 | 2689286.5647 | 1250453.7901
19 | 2689276.4835 | 1250482.0091
20 | 2689338.1217 | 1250501.7771
21 | 2689460.6303 | 1250540.3128
22 | 2689420.8813 | 1250555.747
23 | 2689479.4875 | 1250496.7433
24 | 2689431.4742 | 1250497.2534
25 | 2689495.5548 | 1250459.4452
26 | 2689471.8346 | 1250446.8324
27 | 2689350.926 | 1250482.7242
28 | 2689401.1502 | 1250409.263
29 | 2689364.5821 | 1250444.7351
30 | 2689265.1321 | 1250493.2273
31 | 2689435.7011 | 1250427.6271
32 | 2689302.0366 | 1250435.8837
33 | 2689412.2511 | 1250489.4153
34 | 2689412.6702 | 1250488.5276
35 | 2689351.9181 | 1250471.1385
36 | 2689480.3474 | 1250494.7472
37 | 2689537.4881 | 1250412.3583
38 | 2689539.7097 | 1250413.5773
39 | 2689518.4326 | 1250401.9025
40 | 2689562.7488 | 1250426.2189
41 | 2689515.1487 | 1250400.3851
42 | 2689502.2036 | 1250442.7199
43 | 2689534.1147 | 1250374.915
44 | 2689573.0944 | 1250431.8956
45 | 2689491.7748 | 1250388.323
46 | 2689509.3441 | 1250415.2438
47 | 2689583.5179 | 1250440.6508
48 | 2689485.7623 | 1250384.9964
49 | 2689493.982 | 1250463.0963
50 | 2689486.7796 | 1250479.8156
51 | 2689586.815 | 1250443.4201
52 | 2689601.5728 | 1250455.8158
53 | 2689607.585 | 1250460.8657
54 | 2689609.3027 | 1250462.3085
55 | 2689385.941 | 1250408.1412

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99778 | -0.042246 | 0.0021317 | 0.00053425
1 | 0.99784 | -0.041052 | 0 | 0
2 | 0.99107 | -0.17077 | 0.014574 | 0.0036526
3 | 0.99152 | -0.16198 | 0 | 0
4 | 1 | 0 | -0.51213 | -0.12999
5 | 0.99741 | -0.049341 | 0 | 0
6 | 0.99163 | -0.15994 | 0 | 0
7 | 0.9988 | -0.023054 | 0.017184 | 0.0043066
8 | 0.99713 | -0.054613 | 0 | 0
9 | 0.99671 | -0.062627 | 0.052554 | 0.013171
10 | 0.99606 | -0.075297 | 0.053532 | 0.013416
11 | 0.97834 | -0.41699 | 0 | 0
12 | 0.97794 | -0.42473 | 0.012567 | 0.0031495
13 | 0.9786 | -0.41192 | 0 | 0
14 | 0.97825 | -0.41875 | 0 | 0
15 | 0.98507 | -0.28568 | 0 | 0
16 | 0.98623 | -0.26325 | 0 | 0
17 | 0.98099 | -0.36511 | 0.015645 | 0.0039211
18 | 0.97733 | -0.43686 | 0.033888 | 0.0084932
19 | 0.9794 | -0.3961 | 0.012013 | 0.0030106
20 | 0.98962 | -0.19799 | 0.018525 | 0.0046428
21 | 0.98965 | -0.19814 | 0 | 0
22 | 0.98899 | -0.2111 | 0 | 0
23 | 0.9902 | -0.18751 | 0.0071209 | 0.0017847
24 | 0.98815 | -0.22733 | 0.0035616 | 0.00089262
25 | 0.99106 | -0.17084 | 0 | 0
26 | 0.99323 | -0.12925 | 0.0088554 | 0.0022194
27 | 0.99827 | -0.033356 | 0.021067 | 0.0052799
28 | 0.99631 | -0.070156 | 0.019987 | 0.0050093
29 | 0.99561 | -0.083468 | 0.014146 | 0.0035454
30 | 0.97805 | -0.42267 | 0.016665 | 0.0041766
31 | 0.99476 | -0.099774 | 0.0088515 | 0.0022184
32 | 0.97696 | -0.44417 | 0.016934 | 0.004244
33 | 0.98798 | -0.23074 | 0.0045146 | 0.0011315
34 | 0.98798 | -0.23066 | 0.0045019 | 0.0011283
35 | 0.99355 | -0.12279 | 0.026175 | 0.00656
36 | 0.99024 | -0.18675 | 0.0021961 | 0.0005504
37 | 0.98425 | -0.30287 | 0.0039358 | 0.0009864
38 | 0.98421 | -0.30365 | 0.0017632 | 0.0004419
39 | 0.98467 | -0.29466 | 0 | 0
40 | 0.98384 | -0.31088 | 0.0059325 | 0.0014868
41 | 0.98444 | -0.29904 | 0 | 0
42 | 0.98917 | -0.20724 | 0.0025398 | 0.00063653
43 | 0.98401 | -0.3075 | 0.022852 | 0.0057274
44 | 0.98373 | -0.31287 | 0 | 0
45 | 0.98285 | -0.33018 | 0 | 0
46 | 0.98442 | -0.29953 | 0.0017037 | 0.00042698
47 | 0.98362 | -0.31517 | 0.0010938 | 0.00027413
48 | 0.98243 | -0.3383 | 0.065663 | 0.016457
49 | 0.99097 | -0.17269 | 0.0021756 | 0.00054525
50 | 0.99057 | -0.18042 | 0.0020409 | 0.00051151
51 | 0.98358 | -0.31581 | 0.0027202 | 0.00068175
52 | 0.98348 | -0.31774 | 0.0024567 | 0.00061571
53 | 0.98346 | -0.31817 | 0.0017204 | 0.00043118
54 | 0.98346 | -0.31823 | 0.0013687 | 0.00034302
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0021317 | -0.00053425 | 0.0021318 | 0.00053391 | 1.2125e-07 | -3.4032e-07 | 0.003179 | 0.0031789 | 0.003179 | 0.99778 | -0.042246 | 0.99784 | -0.041052 | 0.87336
1 | -0.47124 | -0.11977 | 0.47217 | 0.12037 | 0.00093362 | 0.00059646 | 0.70332 | 0.70332 | 0.70332 | 0.99784 | -0.041052 | 1 | 0 | 48.3051
2 | 0.46911 | 0.11924 | -0.46892 | -0.11912 | 0.00018718 | 0.00011958 | 0.70014 | 0.70014 | 0.70014 | 0.99784 | -0.041052 | 0.99741 | -0.049341 | 48.0867
3 | -0.014574 | -0.0036526 | 0.01458 | 0.0036561 | 6.1107e-06 | 3.4721e-06 | 0.021882 | 0.021882 | 0.021882 | 0.99107 | -0.17077 | 0.99152 | -0.16198 | 6.0116
4 | -0.01458 | -0.0036561 | 0.014582 | 0.0036569 | 1.414e-06 | 8.0339e-07 | 0.021882 | 0.021882 | 0.021882 | 0.99152 | -0.16198 | 0.99163 | -0.15994 | 6.0115
5 | 0.038303 | 0.0096193 | -0.038261 | -0.0095928 | 4.2083e-05 | 2.648e-05 | 0.057002 | 0.057003 | 0.057003 | 1 | 0 | 0.9988 | -0.023054 | 15.6601
6 | 0.19399 | 0.049333 | -0.19395 | -0.049301 | 4.926e-05 | 3.12e-05 | 0.28967 | 0.28967 | 0.28967 | 0.99741 | -0.049341 | 0.99713 | -0.054613 | 19.895
7 | 0.22133 | 0.056327 | -0.22119 | -0.056237 | 0.00014166 | 8.9939e-05 | 0.3305 | 0.3305 | 0.3305 | 0.99741 | -0.049341 | 0.99671 | -0.062627 | 22.6993
8 | 0.053598 | 0.013458 | -0.053532 | -0.013416 | 6.6285e-05 | 4.2062e-05 | 0.079972 | 0.079972 | 0.079972 | 0.99741 | -0.049341 | 0.99606 | -0.075297 | 21.9703
9 | 0.14081 | 0.035656 | -0.14074 | -0.035609 | 7.3661e-05 | 4.7086e-05 | 0.21143 | 0.21143 | 0.21143 | 0.99163 | -0.15994 | 0.99106 | -0.17084 | 58.086
10 | -0.1554 | -0.039313 | 0.15563 | 0.039459 | 0.00022925 | 0.00014614 | 0.23331 | 0.23331 | 0.23331 | 0.99163 | -0.15994 | 0.99323 | -0.12925 | 32.0487
11 | 0.021077 | 0.0052861 | -0.021067 | -0.0052799 | 1.0344e-05 | 6.2544e-06 | 0.031402 | 0.031402 | 0.031402 | 0.9988 | -0.023054 | 0.99827 | -0.033356 | 8.627
12 | 0.19395 | 0.049301 | -0.1938 | -0.04921 | 0.00014507 | 9.1886e-05 | 0.28967 | 0.28967 | 0.28967 | 0.99713 | -0.054613 | 0.99631 | -0.070156 | 19.895
13 | 0.16863 | 0.043066 | -0.16846 | -0.042959 | 0.0001697 | 0.00010713 | 0.25204 | 0.25204 | 0.25204 | 0.99671 | -0.062627 | 0.99561 | -0.083468 | 17.3106
14 | 0.012571 | 0.0031521 | -0.012567 | -0.0031495 | 4.6357e-06 | 2.5425e-06 | 0.019121 | 0.019121 | 0.019121 | 0.97834 | -0.41699 | 0.97794 | -0.42473 | 5.2531
15 | -0.029241 | -0.0073313 | 0.029248 | 0.0073357 | 7.0621e-06 | 4.4002e-06 | 0.044475 | 0.044475 | 0.044475 | 0.97834 | -0.41699 | 0.9786 | -0.41192 | 12.2184
16 | 0.016669 | 0.0041792 | -0.016668 | -0.0041784 | 1.394e-06 | 8.1956e-07 | 0.025354 | 0.025354 | 0.025354 | 0.97834 | -0.41699 | 0.97825 | -0.41875 | 6.9653
17 | 0.050888 | 0.012779 | -0.050828 | -0.012741 | 6.0464e-05 | 3.8359e-05 | 0.077388 | 0.077388 | 0.077388 | 0.9786 | -0.41192 | 0.97733 | -0.43686 | 21.2604
18 | -0.080136 | -0.020115 | 0.080197 | 0.020153 | 6.0532e-05 | 3.8604e-05 | 0.12186 | 0.12186 | 0.12186 | 0.9786 | -0.41192 | 0.9794 | -0.3961 | 33.4788
19 | 0.016668 | 0.0041784 | -0.016665 | -0.0041766 | 3.1188e-06 | 1.8336e-06 | 0.025354 | 0.025354 | 0.025354 | 0.97825 | -0.41875 | 0.97805 | -0.42267 | 6.9653
20 | -0.1084 | -0.027435 | 0.10852 | 0.02751 | 0.00011682 | 7.4615e-05 | 0.16384 | 0.16384 | 0.16384 | 0.98507 | -0.28568 | 0.98623 | -0.26325 | 45.0123
21 | 0.1084 | 0.027435 | -0.10799 | -0.027172 | 0.00041159 | 0.0002629 | 0.16384 | 0.16385 | 0.16385 | 0.98507 | -0.28568 | 0.98099 | -0.36511 | 45.0124
22 | -0.10852 | -0.02751 | 0.10886 | 0.027728 | 0.00034153 | 0.00021814 | 0.16384 | 0.16384 | 0.16384 | 0.98623 | -0.26325 | 0.98962 | -0.19799 | 45.0123
23 | 0.092346 | 0.023251 | -0.092209 | -0.023164 | 0.00013659 | 8.7185e-05 | 0.14011 | 0.14011 | 0.14011 | 0.98099 | -0.36511 | 0.9794 | -0.3961 | 38.4927
24 | 0.01694 | 0.0042475 | -0.016934 | -0.004244 | 5.9035e-06 | 3.4818e-06 | 0.025792 | 0.025792 | 0.025792 | 0.97733 | -0.43686 | 0.97696 | -0.44417 | 7.0858
25 | -0.12739 | -0.032371 | 0.12785 | 0.032667 | 0.00046308 | 0.00029594 | 0.1917 | 0.1917 | 0.1917 | 0.98962 | -0.19799 | 0.99355 | -0.12279 | 52.6646
26 | 0.012597 | 0.0031626 | -0.012589 | -0.0031583 | 7.7846e-06 | 4.2393e-06 | 0.018943 | 0.018943 | 0.018943 | 0.98965 | -0.19814 | 0.98899 | -0.2111 | 5.2041
27 | -0.012597 | -0.0031626 | 0.012604 | 0.0031661 | 6.3882e-06 | 3.4781e-06 | 0.018943 | 0.018942 | 0.018943 | 0.98965 | -0.19814 | 0.9902 | -0.18751 | 5.204
28 | 0.012589 | 0.0031583 | -0.01258 | -0.003153 | 9.7307e-06 | 5.3005e-06 | 0.018943 | 0.018943 | 0.018943 | 0.98899 | -0.2111 | 0.98815 | -0.22733 | 5.2042
29 | -0.019724 | -0.0049507 | 0.019725 | 0.0049512 | 7.1621e-07 | 4.3041e-07 | 0.029643 | 0.029643 | 0.029643 | 0.9902 | -0.18751 | 0.99024 | -0.18675 | 8.1438
30 | 0.009018 | 0.0022604 | -0.0090166 | -0.0022598 | 1.4336e-06 | 6.52e-07 | 0.01358 | 0.01358 | 0.01358 | 0.98815 | -0.22733 | 0.98798 | -0.23066 | 3.7308
31 | 0.026156 | 0.0065692 | -0.026153 | -0.0065678 | 2.2997e-06 | 1.4206e-06 | 0.039276 | 0.039276 | 0.039276 | 0.99106 | -0.17084 | 0.99097 | -0.17269 | 10.7901
32 | 0.11459 | 0.02904 | -0.11439 | -0.028912 | 0.00020004 | 0.00012779 | 0.17216 | 0.17216 | 0.17216 | 0.99106 | -0.17084 | 0.98917 | -0.20724 | 47.2959
33 | -0.16448 | -0.041678 | 0.16471 | 0.041825 | 0.00023325 | 0.00014716 | 0.24658 | 0.24658 | 0.24658 | 0.99323 | -0.12925 | 0.99476 | -0.099774 | 16.9355
34 | 0.17381 | 0.0442 | -0.17357 | -0.044044 | 0.00024763 | 0.00015645 | 0.25982 | 0.25982 | 0.25982 | 0.99631 | -0.070156 | 0.99476 | -0.099774 | 17.8448
35 | 0.15432 | 0.039413 | -0.15402 | -0.039227 | 0.00029273 | 0.00018659 | 0.2309 | 0.2309 | 0.2309 | 0.99561 | -0.083468 | 0.99355 | -0.12279 | 31.717
36 | -0.0045146 | -0.0011315 | 0.0045147 | 0.0011315 | 1.702e-08 | -1.678e-09 | 0.0067996 | 0.0067996 | 0.0067996 | 0.98798 | -0.23074 | 0.98798 | -0.23066 | 1.868
37 | -0.021921 | -0.0055016 | 0.021928 | 0.0055056 | 6.6166e-06 | 4.0254e-06 | 0.032943 | 0.032943 | 0.032943 | 0.99024 | -0.18675 | 0.99057 | -0.18042 | 9.0504
38 | 0.017064 | 0.0042789 | -0.017064 | -0.0042786 | 6.3248e-07 | 3.7258e-07 | 0.025799 | 0.025799 | 0.025799 | 0.98425 | -0.30287 | 0.98421 | -0.30365 | 7.0876
39 | -0.021 | -0.0052653 | 0.021008 | 0.0052703 | 8.2161e-06 | 4.982e-06 | 0.031749 | 0.031749 | 0.031749 | 0.98425 | -0.30287 | 0.98467 | -0.29466 | 8.7223
40 | 0.0153 | 0.0038367 | -0.015295 | -0.0038336 | 5.2738e-06 | 3.0414e-06 | 0.023133 | 0.023133 | 0.023133 | 0.98421 | -0.30365 | 0.98384 | -0.31088 | 6.3553
41 | 0.067504 | 0.016971 | -0.06749 | -0.016962 | 1.4089e-05 | 8.971e-06 | 0.10203 | 0.10203 | 0.10203 | 0.98467 | -0.29466 | 0.98444 | -0.29904 | 28.0303
42 | -0.11138 | -0.027977 | 0.11185 | 0.028275 | 0.00046677 | 0.00029817 | 0.16834 | 0.16834 | 0.16834 | 0.98467 | -0.29466 | 0.98917 | -0.20724 | 46.2464
43 | 0.022866 | 0.0057359 | -0.022852 | -0.0057274 | 1.3987e-05 | 8.5544e-06 | 0.034557 | 0.034557 | 0.034557 | 0.98467 | -0.29466 | 0.98401 | -0.3075 | 9.4938
44 | 0.0093626 | 0.0023468 | -0.0093617 | -0.0023464 | 8.8737e-07 | 4.1808e-07 | 0.014161 | 0.014161 | 0.014161 | 0.98384 | -0.31088 | 0.98373 | -0.31287 | 3.8903
45 | 0.065786 | 0.016535 | -0.065689 | -0.016473 | 9.765e-05 | 6.2162e-05 | 0.099455 | 0.099455 | 0.099455 | 0.98444 | -0.29904 | 0.98285 | -0.33018 | 27.3229
46 | 0.0017037 | 0.0004268 | -0.0017037 | -0.00042698 | 3.9682e-08 | -1.7748e-07 | 0.0025752 | 0.0025752 | 0.0025752 | 0.98444 | -0.29904 | 0.98442 | -0.29953 | 0.70748
47 | 0.0093617 | 0.0023464 | -0.0093606 | -0.0023459 | 1.0236e-06 | 4.8232e-07 | 0.014161 | 0.014161 | 0.014161 | 0.98373 | -0.31287 | 0.98362 | -0.31517 | 3.8903
48 | 0.065689 | 0.016473 | -0.065663 | -0.016457 | 2.5431e-05 | 1.6189e-05 | 0.099455 | 0.099455 | 0.099455 | 0.98285 | -0.33018 | 0.98243 | -0.3383 | 27.3229
49 | 0.0082669 | 0.0020718 | -0.0082666 | -0.0020717 | 2.5254e-07 | 1.0697e-07 | 0.012506 | 0.012506 | 0.012506 | 0.98362 | -0.31517 | 0.98358 | -0.31581 | 3.4357
50 | 0.023978 | 0.0060225 | -0.023969 | -0.0060171 | 8.8519e-06 | 5.4308e-06 | 0.036009 | 0.036009 | 0.036009 | 0.99097 | -0.17269 | 0.99057 | -0.18042 | 9.8926
51 | 0.0055464 | 0.0013899 | -0.0055459 | -0.0013898 | 5.0886e-07 | 8.1079e-08 | 0.0083908 | 0.0083909 | 0.0083909 | 0.98358 | -0.31581 | 0.98348 | -0.31774 | 2.3052
52 | 0.0030892 | 0.00077412 | -0.0030891 | -0.00077418 | 6.4321e-08 | -5.8466e-08 | 0.0046739 | 0.0046739 | 0.0046739 | 0.98348 | -0.31774 | 0.98346 | -0.31817 | 1.284
53 | 0.0013687 | 0.000343 | -0.0013687 | -0.00034302 | 3.6075e-09 | -2.6155e-08 | 0.0020709 | 0.0020709 | 0.0020709 | 0.98346 | -0.31817 | 0.98346 | -0.31823 | 0.56892

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57017 | 0.14454

## res_load
| p_mw | q_mvar
0 | 0.0021317 | 0.00053425
1 | 0.014574 | 0.0036526
2 | 0.058047 | 0.014548
3 | 0.017184 | 0.0043066
4 | 0.052554 | 0.013171
5 | 0.053532 | 0.013416
6 | 0.012567 | 0.0031495
7 | 0.015645 | 0.0039211
8 | 0.033888 | 0.0084932
9 | 0.012013 | 0.0030106
10 | 0.018525 | 0.0046428
11 | 0.0071209 | 0.0017847
12 | 0.0035616 | 0.00089262
13 | 0.0088554 | 0.0022194
14 | 0.021067 | 0.0052799
15 | 0.019987 | 0.0050093
16 | 0.014146 | 0.0035454
17 | 0.016665 | 0.0041766
18 | 0.0088515 | 0.0022184
19 | 0.016934 | 0.004244
20 | 0.0045146 | 0.0011315
21 | 0.0045019 | 0.0011283
22 | 0.026175 | 0.00656
23 | 0.0021961 | 0.0005504
24 | 0.0039358 | 0.0009864
25 | 0.0017632 | 0.0004419
26 | 0.0059325 | 0.0014868
27 | 0.0025398 | 0.00063653
28 | 0.022852 | 0.0057274
29 | 0.0017037 | 0.00042698
30 | 0.0010938 | 0.00027413
31 | 0.065663 | 0.016457
32 | 0.0021756 | 0.00054525
33 | 0.0020409 | 0.00051151
34 | 0.0027202 | 0.00068175
35 | 0.0024567 | 0.00061571
36 | 0.0017204 | 0.00043118
37 | 0.0013687 | 0.00034302

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1