## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-40_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-40_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-40_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-40_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-40_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_191-40_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_191-40_0_4_node_62 | 0.4 | n |  | TRUE
7 | bus_LV_191-40_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_191-40_0_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_191-40_0_4_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_191-40_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_191-40_0_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_191-40_0_4_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_191-40_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_191-40_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_191-40_0_4_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_191-40_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_191-40_0_4_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_191-40_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_191-40_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_191-40_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_191-40_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_191-40_0_4_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_191-40_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_191-40_0_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_191-40_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_191-40_0_4_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_191-40_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_191-40_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_191-40_0_4_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_191-40_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_191-40_0_4_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_191-40_0_4_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_191-40_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_191-40_0_4_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_191-40_0_4_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_191-40_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_191-40_0_4_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_191-40_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_191-40_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_191-40_0_4_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_191-40_0_4_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_191-40_0_4_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_191-40_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_191-40_0_4_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_191-40_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_191-40_0_4_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_191-40_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_191-40_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_191-40_0_4_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_191-40_0_4_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_191-40_0_4_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_191-40_0_4_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_191-40_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_191-40_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_191-40_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_191-40_0_4_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_191-40_0_4_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_191-40_0_4_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_191-40_0_4_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_191-40_0_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_191-40_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_191-40_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_191-40_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_191-40_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_191-40_0_4_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_191-40_0_4_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_191-40_0_4_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_191-40_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_191-40_0_4_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_191-40_0_4_node_42 | 0.4 | n |  | TRUE
71 | bus_LV_191-40_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_191-40_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_191-40_0_4_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_191-40_0_4_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_191-40_0_4_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_191-40_0_4_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_191-40_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_191-40_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_191-40_0_4_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_191-40_0_4_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_191-40_0_4_node_58 | 0.4 | n |  | TRUE
82 | bus_MV_499_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-40_0_4_load_0 | 0 | 0.0045844 | 0.001149 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-40_0_4_load_1 | 1 | 0.0011488 | 0.00028792 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-40_0_4_load_4 | 4 | 0.0016305 | 0.00040863 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-40_0_4_load_62 | 6 | 0.0032102 | 0.00080454 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-40_0_4_load_6 | 7 | 0.0031173 | 0.00078127 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-40_0_4_load_65 | 9 | 0.0013984 | 0.00035046 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-40_0_4_load_36 | 12 | 0.0040828 | 0.0010232 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-40_0_4_load_78 | 15 | 0.012423 | 0.0031134 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-40_0_4_load_37 | 16 | 0.0014971 | 0.00037521 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-40_0_4_load_35 | 17 | 0.0043462 | 0.0010893 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-40_0_4_load_73 | 22 | 0.0067693 | 0.0016965 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-40_0_4_load_44 | 24 | 0.007747 | 0.0019416 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-40_0_4_load_59 | 26 | 0.00503 | 0.0012606 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-40_0_4_load_60 | 29 | 0.0074097 | 0.001857 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-40_0_4_load_84 | 31 | 0.0051706 | 0.0012959 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-40_0_4_load_72 | 32 | 0.0085427 | 0.002141 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-40_0_4_load_81 | 34 | 0.003636 | 0.00091126 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-40_0_4_load_38 | 36 | 0.0091355 | 0.0022896 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-40_0_4_load_83 | 37 | 0.0050723 | 0.0012712 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-40_0_4_load_74 | 41 | 0.0047317 | 0.0011859 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-40_0_4_load_67 | 42 | 0.055044 | 0.013795 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-40_0_4_load_69 | 44 | 0.020042 | 0.005023 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-40_0_4_load_82 | 46 | 0.091801 | 0.023008 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-40_0_4_load_66 | 49 | 0.038122 | 0.0095544 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-40_0_4_load_77 | 50 | 0.086319 | 0.021633 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-40_0_4_load_68 | 52 | 0.0066363 | 0.0016632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-40_0_4_load_45 | 53 | 0.004997 | 0.0012524 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-40_0_4_load_43 | 54 | 0.0056451 | 0.0014148 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-40_0_4_load_79 | 56 | 0.00083553 | 0.0002094 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-40_0_4_load_80 | 59 | 0.046804 | 0.01173 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-40_0_4_load_64 | 60 | 0.00076866 | 0.00019264 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-40_0_4_load_61 | 62 | 0.0040727 | 0.0010207 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-40_0_4_load_51 | 63 | 0.0014338 | 0.00035935 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-40_0_4_load_52 | 64 | 0.01521 | 0.0038119 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-40_0_4_load_46 | 65 | 0.010791 | 0.0027046 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-40_0_4_load_76 | 66 | 0.0022858 | 0.00057288 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-40_0_4_load_63 | 68 | 0.00048865 | 0.00012247 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-40_0_4_load_39 | 69 | 0.0078857 | 0.0019763 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-40_0_4_load_42 | 70 | 0.0027762 | 0.00069578 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-40_0_4_load_53 | 71 | 0.0016366 | 0.00041018 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-40_0_4_load_54 | 72 | 0.0032102 | 0.00080456 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-40_0_4_load_49 | 74 | 0.0046026 | 0.0011535 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_191-40_0_4_load_75 | 76 | 0.0080984 | 0.0020297 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_191-40_0_4_load_71 | 77 | 0.010772 | 0.0026998 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_191-40_0_4_load_70 | 78 | 0.010692 | 0.0026797 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_191-40_0_4_load_55 | 79 | 0.0061167 | 0.001533 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_191-40_0_4_load_56 | 80 | 0.0019325 | 0.00048433 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_191-40_0_4_load_58 | 81 | 0.0054252 | 0.0013597 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-40_0_4_line_0 |  | 0 | 1 | 0.023695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-40_0_4_line_1 |  | 0 | 2 | 0.026562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-40_0_4_line_2 |  | 1 | 3 | 0.011231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-40_0_4_line_3 |  | 2 | 4 | 0.030734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-40_0_4_line_4 |  | 3 | 5 | 0.004299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-40_0_4_line_5 |  | 4 | 6 | 0.032918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-40_0_4_line_6 |  | 5 | 7 | 0.024291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-40_0_4_line_7 |  | 6 | 8 | 0.032061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-40_0_4_line_8 |  | 8 | 9 | 0.02133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-40_0_4_line_9 |  | 8 | 10 | 0.060674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-40_0_4_line_10 |  | 8 | 11 | 0.021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-40_0_4_line_11 |  | 10 | 12 | 0.034836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-40_0_4_line_12 |  | 11 | 45 | 0.083121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-40_0_4_line_13 |  | 12 | 17 | 0.022094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-40_0_4_line_14 |  | 13 | 14 | 0.048842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_191-40_0_4_line_15 |  | 13 | 15 | 0.0029666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_191-40_0_4_line_16 |  | 14 | 16 | 0.026627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-40_0_4_line_17 |  | 14 | 17 | 0.010397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-40_0_4_line_18 |  | 15 | 23 | 0.0075338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_191-40_0_4_line_19 |  | 18 | 19 | 0.060321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-40_0_4_line_20 |  | 18 | 20 | 0.029737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_191-40_0_4_line_21 |  | 18 | 21 | 0.11431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_191-40_0_4_line_22 |  | 18 | 22 | 0.017042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-40_0_4_line_23 |  | 19 | 37 | 0.014015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-40_0_4_line_24 |  | 19 | 30 | 0.062668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-40_0_4_line_25 |  | 20 | 23 | 0.016234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_191-40_0_4_line_26 |  | 20 | 24 | 0.010468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_191-40_0_4_line_27 |  | 21 | 25 | 0.037078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-40_0_4_line_28 |  | 21 | 26 | 0.017103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-40_0_4_line_29 |  | 23 | 50 | 0.048556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_191-40_0_4_line_30 |  | 24 | 54 | 0.040444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_191-40_0_4_line_31 |  | 25 | 28 | 0.046268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-40_0_4_line_32 |  | 25 | 32 | 0.017726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-40_0_4_line_33 |  | 26 | 61 | 0.014898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-40_0_4_line_34 |  | 27 | 28 | 0.029469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-40_0_4_line_35 |  | 27 | 29 | 0.015245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-40_0_4_line_36 |  | 28 | 36 | 0.0077166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-40_0_4_line_37 |  | 29 | 62 | 0.030213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-40_0_4_line_38 |  | 30 | 31 | 0.019763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-40_0_4_line_39 |  | 33 | 34 | 0.02868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-40_0_4_line_40 |  | 33 | 35 | 0.032964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-40_0_4_line_41 |  | 35 | 63 | 0.019003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-40_0_4_line_42 |  | 35 | 64 | 0.033311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-40_0_4_line_43 |  | 35 | 65 | 0.052269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-40_0_4_line_44 |  | 35 | 55 | 0.023392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-40_0_4_line_45 |  | 38 | 39 | 0.010029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-40_0_4_line_46 |  | 38 | 40 | 0.023725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-40_0_4_line_47 |  | 38 | 41 | 0.040851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-40_0_4_line_48 |  | 39 | 66 | 0.015967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-40_0_4_line_49 |  | 39 | 67 | 0.022421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-40_0_4_line_50 |  | 40 | 42 | 0.029043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-40_0_4_line_51 |  | 40 | 43 | 0.056609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_191-40_0_4_line_52 |  | 40 | 44 | 0.016733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-40_0_4_line_53 |  | 42 | 47 | 0.0037131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-40_0_4_line_54 |  | 43 | 53 | 0.009823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-40_0_4_line_55 |  | 43 | 54 | 0.027393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_191-40_0_4_line_56 |  | 44 | 51 | 0.01626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_191-40_0_4_line_57 |  | 45 | 46 | 0.009052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_191-40_0_4_line_58 |  | 47 | 48 | 0.059258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_191-40_0_4_line_59 |  | 47 | 49 | 0.019401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_191-40_0_4_line_60 |  | 48 | 59 | 0.0085586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_191-40_0_4_line_61 |  | 51 | 52 | 0.021135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_191-40_0_4_line_62 |  | 55 | 56 | 0.015537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_191-40_0_4_line_63 |  | 56 | 57 | 0.034616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_191-40_0_4_line_64 |  | 57 | 58 | 0.021375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_191-40_0_4_line_65 |  | 58 | 60 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_191-40_0_4_line_66 |  | 60 | 68 | 0.024502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_191-40_0_4_line_67 |  | 61 | 81 | 0.017889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_191-40_0_4_line_68 |  | 61 | 79 | 0.039062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_191-40_0_4_line_69 |  | 65 | 73 | 0.012447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_191-40_0_4_line_70 |  | 67 | 70 | 0.026737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_191-40_0_4_line_71 |  | 67 | 69 | 0.025567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_191-40_0_4_line_72 |  | 70 | 71 | 0.014646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_191-40_0_4_line_73 |  | 71 | 72 | 0.0068941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_191-40_0_4_line_74 |  | 73 | 74 | 0.015678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_191-40_0_4_line_75 |  | 73 | 75 | 0.026493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_191-40_0_4_line_76 |  | 74 | 76 | 0.00042177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_191-40_0_4_line_77 |  | 75 | 77 | 0.0074444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_191-40_0_4_line_78 |  | 77 | 78 | 0.011804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_191-40_0_4_line_79 |  | 78 | 81 | 0.028273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_191-40_0_4_line_80 |  | 79 | 80 | 0.0044739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-40_0_4_trafo_77 | 0.63 MVA 20/0.4 kV | 82 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2689128.5071 | 1248941.5894 | 2689126.9817 | 1248932.2359 | 2689123.8531 | 1248918.3669
1 | 2689132.7826 | 1248967.8055 | 2689128.5071 | 1248941.5894
2 | 2689121.3816 | 1248907.4107 | 2689123.8531 | 1248918.3669
3 | 2689132.7826 | 1248967.8055 | 2689136.3465 | 1248998.3322
4 | 2689121.3816 | 1248907.4107 | 2689125.4363 | 1248905.9483
5 | 2689136.3465 | 1248998.3322 | 2689138.5825 | 1249017.4857 | 2689141.4313 | 1249030.8193
6 | 2689125.4363 | 1248905.9483 | 2689131.057 | 1248902.2968 | 2689141.8645 | 1248892.7187 | 2689144.1251 | 1248890.5287
7 | 2689152.035 | 1249060.9653 | 2689146.8092 | 1249049.4224 | 2689142.8226 | 1249037.3311 | 2689141.4313 | 1249030.8193
8 | 2689152.035 | 1249060.9653 | 2689144.1515 | 1249065.4501 | 2689134.6303 | 1249071.367 | 2689133.7014 | 1249071.8578
9 | 2689152.035 | 1249060.9653 | 2689155.4668 | 1249059.2378 | 2689164.0523 | 1249070.3308 | 2689192.8996 | 1249101.9553
10 | 2689152.035 | 1249060.9653 | 2689155.8564 | 1249067.4721 | 2689164.957 | 1249077.9613
11 | 2689192.8996 | 1249101.9553 | 2689215.2863 | 1249128.6457
12 | 2689164.957 | 1249077.9613 | 2689160.1187 | 1249083.8263 | 2689148.332 | 1249111.3254 | 2689176.2439 | 1249147.3835
13 | 2689229.4849 | 1249145.5737 | 2689215.2863 | 1249128.6457
14 | 2689232.3475 | 1249154.2328 | 2689231.0477 | 1249157.8049 | 2689248.61 | 1249179.5412 | 2689248.1165 | 1249182.2247 | 2689247.4282 | 1249189.8201 | 2689245.0976 | 1249196.1453
15 | 2689245.0976 | 1249196.1453 | 2689243.9727 | 1249198.8904
16 | 2689232.3475 | 1249154.2328 | 2689228.4398 | 1249151.9612 | 2689214.3484 | 1249134.9269
17 | 2689232.3475 | 1249154.2328 | 2689233.6492 | 1249150.5385 | 2689229.4849 | 1249145.5737
18 | 2689240.9277 | 1249205.7676 | 2689241.6559 | 1249204.5443 | 2689243.9727 | 1249198.8904
19 | 2689277.0544 | 1249204.2548 | 2689278.8876 | 1249205.8836 | 2689283.9536 | 1249207.9615 | 2689288.2549 | 1249206.6586 | 2689315.0207 | 1249177.9067 | 2689321.116 | 1249171.8162
20 | 2689255.0493 | 1249213.7751 | 2689257.157 | 1249212.2168 | 2689260.2574 | 1249209.9284 | 2689264.0056 | 1249208.7506 | 2689265.4343 | 1249205.1472 | 2689274.6326 | 1249209.122 | 2689277.0544 | 1249204.2548
21 | 2689277.0544 | 1249204.2548 | 2689274.6326 | 1249209.122 | 2689286.106 | 1249217.9681 | 2689297.1813 | 1249229.6771 | 2689303.3087 | 1249238.9876 | 2689310.3336 | 1249254.3828 | 2689312.9709 | 1249267.2879 | 2689314.2966 | 1249276.0256 | 2689314.9214 | 1249281.1611 | 2689314.9561 | 1249299.898 | 2689310.6848 | 1249300.2117
22 | 2689277.0544 | 1249204.2548 | 2689288.7603 | 1249191.8689
23 | 2689312.0647 | 1249161.0939 | 2689321.116 | 1249171.8162
24 | 2689321.116 | 1249171.8162 | 2689334.9704 | 1249157.9811 | 2689344.2757 | 1249150.8604 | 2689323.6767 | 1249127.1988
25 | 2689240.9277 | 1249205.7676 | 2689247.6065 | 1249209.5599 | 2689255.0493 | 1249213.7751
26 | 2689255.0493 | 1249213.7751 | 2689247.8981 | 1249221.4195
27 | 2689310.6848 | 1249300.2117 | 2689309.9111 | 1249315.9675 | 2689308.6995 | 1249337.232
28 | 2689310.6848 | 1249300.2117 | 2689293.6257 | 1249301.4414
29 | 2689240.9277 | 1249205.7676 | 2689232.6603 | 1249219.6981 | 2689220.8242 | 1249230.9174 | 2689210.0874 | 1249237.3384 | 2689207.5688 | 1249239.8234
30 | 2689247.8981 | 1249221.4195 | 2689233.2212 | 1249237.1086 | 2689223.7409 | 1249245.3388 | 2689219.2269 | 1249249.8842
31 | 2689308.6995 | 1249337.232 | 2689308.0324 | 1249349.9204 | 2689308.1191 | 1249357.6943 | 2689308.7733 | 1249372.4041 | 2689297.9621 | 1249374.7542
32 | 2689308.6995 | 1249337.232 | 2689303.6162 | 1249337.311 | 2689294.4797 | 1249336.7619 | 2689291.0293 | 1249336.2457
33 | 2689278.9235 | 1249303.7137 | 2689289.1247 | 1249301.7659 | 2689293.6257 | 1249301.4414
34 | 2689303.251 | 1249399.1078 | 2689302.8941 | 1249398.2351 | 2689302.3465 | 1249396.9926 | 2689302.3634 | 1249395.8698 | 2689303.0046 | 1249394.912 | 2689304.4595 | 1249394.0778 | 2689304.3972 | 1249392.1976 | 2689303.0586 | 1249392.3331 | 2689301.1598 | 1249392.5602 | 2689297.9621 | 1249374.7542
35 | 2689303.251 | 1249399.1078 | 2689289.2275 | 1249405.0865
36 | 2689297.9621 | 1249374.7542 | 2689290.2475 | 1249374.5785
37 | 2689289.2275 | 1249405.0865 | 2689261.4348 | 1249416.9354
38 | 2689308.3913 | 1249139.778 | 2689323.6767 | 1249127.1988
39 | 2689230.4059 | 1249457.0993 | 2689217.5688 | 1249444.0629 | 2689214.1828 | 1249439.2527 | 2689213.9716 | 1249434.7239
40 | 2689187.7313 | 1249426.6785 | 2689185.9969 | 1249431.0335 | 2689204.5533 | 1249434.3485 | 2689213.9716 | 1249434.7239
41 | 2689187.7313 | 1249426.6785 | 2689199.7216 | 1249429.2609 | 2689206.4391 | 1249429.7809
42 | 2689187.7313 | 1249426.6785 | 2689173.8122 | 1249421.7988 | 2689156.8994 | 1249414.1514
43 | 2689187.7313 | 1249426.6785 | 2689190.1248 | 1249420.6767 | 2689212.7068 | 1249380.8221
44 | 2689187.7313 | 1249426.6785 | 2689185.9969 | 1249431.0335 | 2689182.4719 | 1249429.9352 | 2689168.7211 | 1249423.9127
45 | 2689157.1244 | 1249309.3739 | 2689163.9763 | 1249316.7158
46 | 2689157.1244 | 1249309.3739 | 2689153.9807 | 1249306.013 | 2689163.3826 | 1249296.9587 | 2689159.1207 | 1249292.6357
47 | 2689157.1244 | 1249309.3739 | 2689136.7567 | 1249328.5488 | 2689127.5 | 1249337.5012
48 | 2689163.9763 | 1249316.7158 | 2689152.1036 | 1249327.3927
49 | 2689179.3003 | 1249333.1254 | 2689163.9763 | 1249316.7158
50 | 2689159.1207 | 1249292.6357 | 2689149.0564 | 1249280.9756 | 2689140.8451 | 1249270.084
51 | 2689159.1207 | 1249292.6357 | 2689163.3826 | 1249296.9587 | 2689196.1737 | 1249265.6838 | 2689199.9248 | 1249269.3208
52 | 2689159.1207 | 1249292.6357 | 2689147.0167 | 1249304.1895
53 | 2689138.6098 | 1249267.1191 | 2689140.8451 | 1249270.084
54 | 2689199.9248 | 1249269.3208 | 2689206.9804 | 1249276.1766
55 | 2689199.9248 | 1249269.3208 | 2689219.2269 | 1249249.8842
56 | 2689135.2552 | 1249315.4163 | 2689147.0167 | 1249304.1895
57 | 2689169.7004 | 1249153.6565 | 2689176.2439 | 1249147.3835
58 | 2689135.5447 | 1249212.8654 | 2689127.4138 | 1249221.761 | 2689130.9983 | 1249241.4964 | 2689135.433 | 1249262.946 | 2689138.6098 | 1249267.1191
59 | 2689138.6098 | 1249267.1191 | 2689124.3085 | 1249280.2293
60 | 2689135.5447 | 1249212.8654 | 2689138.4622 | 1249211.1858 | 2689142.5303 | 1249207.9595
61 | 2689135.2552 | 1249315.4163 | 2689119.9675 | 1249330.01
62 | 2689168.7211 | 1249423.9127 | 2689162.6385 | 1249438.2098
63 | 2689137.1926 | 1249461.6782 | 2689162.6385 | 1249438.2098
64 | 2689137.1926 | 1249461.6782 | 2689151.6115 | 1249477.4959
65 | 2689151.6115 | 1249477.4959 | 2689157.3757 | 1249472.3009 | 2689163.4083 | 1249466.8577
66 | 2689181.5991 | 1249450.4426 | 2689175.5338 | 1249455.9172 | 2689163.4083 | 1249466.8577
67 | 2689278.9235 | 1249303.7137 | 2689270.9503 | 1249306.6514 | 2689262.7913 | 1249311.3877
68 | 2689278.9235 | 1249303.7137 | 2689276.526 | 1249293.9369 | 2689272.9994 | 1249283.4203 | 2689263.9615 | 1249267.9661
69 | 2689218.8429 | 1249369.9927 | 2689212.7068 | 1249380.8221
70 | 2689179.3003 | 1249333.1254 | 2689186.7988 | 1249341.1554 | 2689187.5748 | 1249345.2813 | 2689180.0903 | 1249354.081
71 | 2689179.3003 | 1249333.1254 | 2689198.2899 | 1249316.0056
72 | 2689180.0903 | 1249354.081 | 2689170.6013 | 1249365.2375
73 | 2689166.1346 | 1249370.489 | 2689170.6013 | 1249365.2375
74 | 2689218.8429 | 1249369.9927 | 2689204.9006 | 1249362.8229
75 | 2689231.5998 | 1249346.756 | 2689218.8429 | 1249369.9927
76 | 2689204.5255 | 1249362.63 | 2689204.9006 | 1249362.8229
77 | 2689231.5998 | 1249346.756 | 2689234.0533 | 1249342.2895 | 2689235.5742 | 1249340.5001
78 | 2689243.2185 | 1249331.5063 | 2689235.5742 | 1249340.5001
79 | 2689262.7913 | 1249311.3877 | 2689257.1394 | 1249315.1276 | 2689243.2185 | 1249331.5063
80 | 2689263.9615 | 1249267.9661 | 2689261.703 | 1249264.1042

## bus_geodata
| x | y | coords
0 | 2689128.5071 | 1248941.5894
1 | 2689123.8531 | 1248918.3669
2 | 2689132.7826 | 1248967.8055
3 | 2689121.3816 | 1248907.4107
4 | 2689136.3465 | 1248998.3322
5 | 2689125.4363 | 1248905.9483
6 | 2689141.4313 | 1249030.8193
7 | 2689144.1251 | 1248890.5287
8 | 2689152.035 | 1249060.9653
9 | 2689133.7014 | 1249071.8578
10 | 2689192.8996 | 1249101.9553
11 | 2689164.957 | 1249077.9613
12 | 2689215.2863 | 1249128.6457
13 | 2689245.0976 | 1249196.1453
14 | 2689232.3475 | 1249154.2328
15 | 2689243.9727 | 1249198.8904
16 | 2689214.3484 | 1249134.9269
17 | 2689229.4849 | 1249145.5737
18 | 2689277.0544 | 1249204.2548
19 | 2689321.116 | 1249171.8162
20 | 2689255.0493 | 1249213.7751
21 | 2689310.6848 | 1249300.2117
22 | 2689288.7603 | 1249191.8689
23 | 2689240.9277 | 1249205.7676
24 | 2689247.8981 | 1249221.4195
25 | 2689308.6995 | 1249337.232
26 | 2689293.6257 | 1249301.4414
27 | 2689303.251 | 1249399.1078
28 | 2689297.9621 | 1249374.7542
29 | 2689289.2275 | 1249405.0865
30 | 2689323.6767 | 1249127.1988
31 | 2689308.3913 | 1249139.778
32 | 2689291.0293 | 1249336.2457
33 | 2689213.9716 | 1249434.7239
34 | 2689230.4059 | 1249457.0993
35 | 2689187.7313 | 1249426.6785
36 | 2689290.2475 | 1249374.5785
37 | 2689312.0647 | 1249161.0939
38 | 2689157.1244 | 1249309.3739
39 | 2689163.9763 | 1249316.7158
40 | 2689159.1207 | 1249292.6357
41 | 2689127.5 | 1249337.5012
42 | 2689140.8451 | 1249270.084
43 | 2689199.9248 | 1249269.3208
44 | 2689147.0167 | 1249304.1895
45 | 2689176.2439 | 1249147.3835
46 | 2689169.7004 | 1249153.6565
47 | 2689138.6098 | 1249267.1191
48 | 2689135.5447 | 1249212.8654
49 | 2689124.3085 | 1249280.2293
50 | 2689207.5688 | 1249239.8234
51 | 2689135.2552 | 1249315.4163
52 | 2689119.9675 | 1249330.01
53 | 2689206.9804 | 1249276.1766
54 | 2689219.2269 | 1249249.8842
55 | 2689168.7211 | 1249423.9127
56 | 2689162.6385 | 1249438.2098
57 | 2689137.1926 | 1249461.6782
58 | 2689151.6115 | 1249477.4959
59 | 2689142.5303 | 1249207.9595
60 | 2689163.4083 | 1249466.8577
61 | 2689278.9235 | 1249303.7137
62 | 2689261.4348 | 1249416.9354
63 | 2689206.4391 | 1249429.7809
64 | 2689156.8994 | 1249414.1514
65 | 2689212.7068 | 1249380.8221
66 | 2689152.1036 | 1249327.3927
67 | 2689179.3003 | 1249333.1254
68 | 2689181.5991 | 1249450.4426
69 | 2689198.2899 | 1249316.0056
70 | 2689180.0903 | 1249354.081
71 | 2689170.6013 | 1249365.2375
72 | 2689166.1346 | 1249370.489
73 | 2689218.8429 | 1249369.9927
74 | 2689204.9006 | 1249362.8229
75 | 2689231.5998 | 1249346.756
76 | 2689204.5255 | 1249362.63
77 | 2689235.5742 | 1249340.5001
78 | 2689243.2185 | 1249331.5063
79 | 2689263.9615 | 1249267.9661
80 | 2689261.703 | 1249264.1042
81 | 2689262.7913 | 1249311.3877
82 | 2689240.9277 | 1249205.7676

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97894 | -0.4024 | 0.0045844 | 0.001149
1 | 0.97885 | -0.40424 | 0.0011488 | 0.00028792
2 | 0.97916 | -0.39813 | 0 | 0
3 | 0.97881 | -0.40488 | 0 | 0
4 | 0.97941 | -0.39318 | 0.0016305 | 0.00040863
5 | 0.9788 | -0.40512 | 0 | 0
6 | 0.97973 | -0.38691 | 0.0032102 | 0.00080454
7 | 0.97873 | -0.4065 | 0.0031173 | 0.00078127
8 | 0.98014 | -0.37894 | 0 | 0
9 | 0.98011 | -0.37948 | 0.0013984 | 0.00035046
10 | 0.98619 | -0.26199 | 0 | 0
11 | 0.9783 | -0.41471 | 0 | 0
12 | 0.98968 | -0.19548 | 0.0040828 | 0.0010232
13 | 0.99442 | -0.10555 | 0 | 0
14 | 0.99309 | -0.13073 | 0 | 0
15 | 0.9945 | -0.10402 | 0.012423 | 0.0031134
16 | 0.99305 | -0.13143 | 0.0014971 | 0.00037521
17 | 0.99197 | -0.15195 | 0.0043462 | 0.0010893
18 | 0.99164 | -0.15878 | 0 | 0
19 | 0.99107 | -0.16974 | 0 | 0
20 | 0.99345 | -0.12405 | 0 | 0
21 | 0.98555 | -0.27602 | 0 | 0
22 | 0.99153 | -0.16083 | 0.0067693 | 0.0016965
23 | 0.99473 | -0.099734 | 0 | 0
24 | 0.99295 | -0.13364 | 0.007747 | 0.0019416
25 | 0.98455 | -0.29545 | 0 | 0
26 | 0.98419 | -0.30241 | 0.00503 | 0.0012606
27 | 0.98336 | -0.31872 | 0 | 0
28 | 0.98368 | -0.31262 | 0 | 0
29 | 0.9832 | -0.32187 | 0.0074097 | 0.001857
30 | 0.99077 | -0.1755 | 0 | 0
31 | 0.99068 | -0.17731 | 0.0051706 | 0.0012959
32 | 0.98442 | -0.29817 | 0.0085427 | 0.002141
33 | 0.97646 | -0.45363 | 0 | 0
34 | 0.97636 | -0.45553 | 0.003636 | 0.00091126
35 | 0.97657 | -0.45143 | 0 | 0
36 | 0.98361 | -0.31389 | 0.0091355 | 0.0022896
37 | 0.99101 | -0.171 | 0.0050723 | 0.0012712
38 | 0.98441 | -0.2984 | 0 | 0
39 | 0.98424 | -0.30161 | 0 | 0
40 | 0.9849 | -0.28879 | 0 | 0
41 | 0.98423 | -0.30188 | 0.0047317 | 0.0011859
42 | 0.98114 | -0.36212 | 0.055044 | 0.013795
43 | 0.98985 | -0.19306 | 0 | 0
44 | 0.98449 | -0.29682 | 0.020042 | 0.005023
45 | 0.97116 | -0.55469 | 0 | 0
46 | 0.97039 | -0.57006 | 0.091801 | 0.023008
47 | 0.98084 | -0.36783 | 0 | 0
48 | 0.97827 | -0.41821 | 0 | 0
49 | 0.98016 | -0.38124 | 0.038122 | 0.0095544
50 | 1 | 0 | -0.47924 | -0.12308
51 | 0.98439 | -0.29876 | 0 | 0
52 | 0.98426 | -0.30128 | 0.0066363 | 0.0016632
53 | 0.98981 | -0.19393 | 0.004997 | 0.0012524
54 | 0.99108 | -0.16943 | 0.0056451 | 0.0014148
55 | 0.97652 | -0.45233 | 0 | 0
56 | 0.97649 | -0.45293 | 0.00083553 | 0.0002094
57 | 0.97645 | -0.45372 | 0 | 0
58 | 0.97643 | -0.45422 | 0 | 0
59 | 0.9779 | -0.42551 | 0.046804 | 0.01173
60 | 0.97641 | -0.45458 | 0.00076866 | 0.00019264
61 | 0.98308 | -0.3241 | 0 | 0
62 | 0.98309 | -0.32409 | 0.0040727 | 0.0010207
63 | 0.97654 | -0.45193 | 0.0014338 | 0.00035935
64 | 0.9761 | -0.4607 | 0.01521 | 0.0038119
65 | 0.97766 | -0.43008 | 0.010791 | 0.0027046
66 | 0.98421 | -0.30227 | 0.0022858 | 0.00057288
67 | 0.98392 | -0.30787 | 0 | 0
68 | 0.9764 | -0.4548 | 0.00048865 | 0.00012247
69 | 0.98374 | -0.3115 | 0.0078857 | 0.0019763
70 | 0.98373 | -0.31154 | 0.0027762 | 0.00069578
71 | 0.98367 | -0.31282 | 0.0016366 | 0.00041018
72 | 0.98365 | -0.31322 | 0.0032102 | 0.00080456
73 | 0.97804 | -0.42255 | 0 | 0
74 | 0.97785 | -0.42618 | 0.0046026 | 0.0011535
75 | 0.97917 | -0.40043 | 0 | 0
76 | 0.97785 | -0.42624 | 0.0080984 | 0.0020297
77 | 0.97948 | -0.39423 | 0.010772 | 0.0026998
78 | 0.9801 | -0.38209 | 0.010692 | 0.0026797
79 | 0.98279 | -0.32977 | 0.0061167 | 0.001533
80 | 0.98278 | -0.32993 | 0.0019325 | 0.00048433
81 | 0.98187 | -0.3476 | 0.0054252 | 0.0013597
82 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0042668 | 0.0010688 | -0.0042665 | -0.0010689 | 3.7375e-07 | -5.8675e-08 | 0.0064855 | 0.0064856 | 0.0064856 | 0.97894 | -0.4024 | 0.97885 | -0.40424 | 1.7818
1 | -0.0088513 | -0.0022178 | 0.0088531 | 0.0022186 | 1.803e-06 | 8.1989e-07 | 0.013454 | 0.013454 | 0.013454 | 0.97894 | -0.4024 | 0.97916 | -0.39813 | 3.6962
2 | 0.0031176 | 0.00078098 | -0.0031175 | -0.00078106 | 9.4599e-08 | -8.0633e-08 | 0.0047392 | 0.0047393 | 0.0047393 | 0.97885 | -0.40424 | 0.97881 | -0.40488 | 1.302
3 | -0.0088531 | -0.0022186 | 0.0088552 | 0.0022196 | 2.0861e-06 | 9.4845e-07 | 0.013454 | 0.013454 | 0.013454 | 0.97916 | -0.39813 | 0.97941 | -0.39318 | 3.6961
4 | 0.0031175 | 0.00078106 | -0.0031175 | -0.00078109 | 3.6209e-08 | -3.0861e-08 | 0.0047393 | 0.0047393 | 0.0047393 | 0.97881 | -0.40488 | 0.9788 | -0.40512 | 1.302
5 | -0.010486 | -0.0026282 | 0.010489 | 0.0026298 | 3.1329e-06 | 1.5906e-06 | 0.015931 | 0.015931 | 0.015931 | 0.97941 | -0.39318 | 0.97973 | -0.38691 | 4.3766
6 | 0.0031175 | 0.00078109 | -0.0031173 | -0.00078127 | 2.046e-07 | -1.7435e-07 | 0.0047393 | 0.0047394 | 0.0047394 | 0.9788 | -0.40512 | 0.97873 | -0.4065 | 1.302
7 | -0.013699 | -0.0034343 | 0.013704 | 0.0034373 | 5.2047e-06 | 2.9271e-06 | 0.020806 | 0.020806 | 0.020806 | 0.97973 | -0.38691 | 0.98014 | -0.37894 | 5.716
8 | 0.0013984 | 0.00035021 | -0.0013984 | -0.00035046 | 3.605e-08 | -2.4575e-07 | 0.0021229 | 0.002123 | 0.002123 | 0.98014 | -0.37894 | 0.98011 | -0.37948 | 0.58324
9 | -0.10775 | -0.027334 | 0.10836 | 0.027723 | 0.00060972 | 0.00038945 | 0.1637 | 0.1637 | 0.1637 | 0.98014 | -0.37894 | 0.98619 | -0.26199 | 44.9722
10 | 0.092646 | 0.023546 | -0.092486 | -0.023445 | 0.00015927 | 0.00010166 | 0.14077 | 0.14077 | 0.14077 | 0.98014 | -0.37894 | 0.9783 | -0.41471 | 38.6731
11 | -0.10836 | -0.027723 | 0.10871 | 0.027947 | 0.00035006 | 0.0002236 | 0.1637 | 0.1637 | 0.1637 | 0.98619 | -0.26199 | 0.98968 | -0.19548 | 44.9722
12 | 0.092486 | 0.023445 | -0.091869 | -0.023051 | 0.00061768 | 0.00039428 | 0.14077 | 0.14077 | 0.14077 | 0.9783 | -0.41471 | 0.97116 | -0.55469 | 38.6732
13 | -0.11279 | -0.02897 | 0.11303 | 0.029123 | 0.00023899 | 0.00015267 | 0.16984 | 0.16984 | 0.16984 | 0.98968 | -0.19548 | 0.99197 | -0.15195 | 46.6585
14 | 0.11914 | 0.030755 | -0.11899 | -0.030665 | 0.00014606 | 9.0945e-05 | 0.1786 | 0.1786 | 0.1786 | 0.99442 | -0.10555 | 0.99309 | -0.13073 | 12.2665
15 | -0.11914 | -0.030755 | 0.11915 | 0.030761 | 8.8713e-06 | 5.5237e-06 | 0.1786 | 0.1786 | 0.1786 | 0.99442 | -0.10555 | 0.9945 | -0.10402 | 12.2664
16 | 0.0014972 | 0.0003749 | -0.0014971 | -0.00037521 | 5.0247e-08 | -3.1235e-07 | 0.0022432 | 0.0022433 | 0.0022433 | 0.99309 | -0.13073 | 0.99305 | -0.13143 | 0.61629
17 | 0.1175 | 0.03029 | -0.11738 | -0.030212 | 0.00012126 | 7.7473e-05 | 0.17636 | 0.17636 | 0.17636 | 0.99309 | -0.13073 | 0.99197 | -0.15195 | 48.4496
18 | -0.13157 | -0.033874 | 0.1316 | 0.033892 | 2.7462e-05 | 1.7185e-05 | 0.19719 | 0.19719 | 0.19719 | 0.9945 | -0.10402 | 0.99473 | -0.099734 | 13.543
19 | 0.01025 | 0.0025699 | -0.010245 | -0.0025673 | 5.3521e-06 | 2.6476e-06 | 0.015382 | 0.015382 | 0.015382 | 0.99164 | -0.15878 | 0.99107 | -0.16974 | 4.2258
20 | -0.13325 | -0.033865 | 0.13347 | 0.034007 | 0.00022328 | 0.00014213 | 0.20011 | 0.20011 | 0.20011 | 0.99164 | -0.15878 | 0.99345 | -0.12405 | 27.4882
21 | 0.11623 | 0.029598 | -0.11557 | -0.029183 | 0.00065321 | 0.00041512 | 0.17457 | 0.17457 | 0.17457 | 0.99164 | -0.15878 | 0.98555 | -0.27602 | 23.9801
22 | 0.00677 | 0.0016967 | -0.0067693 | -0.0016965 | 6.5955e-07 | 2.0227e-07 | 0.010159 | 0.010159 | 0.010159 | 0.99164 | -0.15878 | 0.99153 | -0.16083 | 2.7909
23 | 0.0050726 | 0.0012713 | -0.0050723 | -0.0012712 | 3.0486e-07 | 1.4523e-08 | 0.0076161 | 0.0076162 | 0.0076162 | 0.99107 | -0.16974 | 0.99101 | -0.171 | 2.0924
24 | 0.0051725 | 0.001296 | -0.005171 | -0.0012959 | 1.4174e-06 | 9.9806e-08 | 0.0077659 | 0.0077662 | 0.0077662 | 0.99107 | -0.16974 | 0.99077 | -0.1755 | 2.1336
25 | -0.34328 | -0.087453 | 0.34368 | 0.08771 | 0.00040315 | 0.00025717 | 0.51468 | 0.51468 | 0.51468 | 0.99345 | -0.12405 | 0.99473 | -0.099734 | 35.3487
26 | 0.20981 | 0.053446 | -0.20971 | -0.053385 | 9.7106e-05 | 6.1606e-05 | 0.31456 | 0.31456 | 0.31456 | 0.99345 | -0.12405 | 0.99295 | -0.13364 | 21.6046
27 | 0.029212 | 0.0073387 | -0.029185 | -0.0073219 | 2.7055e-05 | 1.6843e-05 | 0.044111 | 0.044111 | 0.044111 | 0.98555 | -0.27602 | 0.98455 | -0.29545 | 12.1184
28 | 0.086362 | 0.021844 | -0.086253 | -0.021774 | 0.00010917 | 6.9649e-05 | 0.13046 | 0.13046 | 0.13046 | 0.98555 | -0.27602 | 0.98419 | -0.30241 | 35.8417
29 | -0.47528 | -0.1216 | 0.47759 | 0.12308 | 0.0023068 | 0.0014738 | 0.71186 | 0.71186 | 0.71186 | 0.99473 | -0.099734 | 1 | 0 | 48.8916
30 | 0.20196 | 0.051443 | -0.20162 | -0.051223 | 0.000348 | 0.00022063 | 0.30295 | 0.30295 | 0.30295 | 0.99295 | -0.13364 | 0.99108 | -0.16943 | 20.8073
31 | 0.020641 | 0.0051804 | -0.020624 | -0.0051702 | 1.6888e-05 | 1.0221e-05 | 0.031198 | 0.031199 | 0.031199 | 0.98455 | -0.29545 | 0.98368 | -0.31262 | 8.571
32 | 0.0085438 | 0.0021415 | -0.0085427 | -0.002141 | 1.1084e-06 | 4.8396e-07 | 0.012913 | 0.012913 | 0.012913 | 0.98455 | -0.29545 | 0.98442 | -0.29817 | 3.5475
33 | 0.081223 | 0.020514 | -0.081139 | -0.02046 | 8.4329e-05 | 5.3782e-05 | 0.12286 | 0.12286 | 0.12286 | 0.98419 | -0.30241 | 0.98308 | -0.3241 | 33.7525
34 | -0.011485 | -0.0028786 | 0.011488 | 0.0028803 | 3.3375e-06 | 1.762e-06 | 0.017378 | 0.017378 | 0.017378 | 0.98336 | -0.31872 | 0.98368 | -0.31262 | 4.7743
35 | 0.011485 | 0.0028786 | -0.011483 | -0.0028777 | 1.7265e-06 | 9.1162e-07 | 0.017378 | 0.017379 | 0.017379 | 0.98336 | -0.31872 | 0.9832 | -0.32187 | 4.7743
36 | 0.009136 | 0.0022898 | -0.0091355 | -0.0022896 | 5.527e-07 | 2.5577e-07 | 0.01382 | 0.01382 | 0.01382 | 0.98368 | -0.31262 | 0.98361 | -0.31389 | 3.7968
37 | 0.0040732 | 0.0010206 | -0.0040727 | -0.0010207 | 4.3055e-07 | -1.0757e-07 | 0.0061644 | 0.0061646 | 0.0061646 | 0.9832 | -0.32187 | 0.98309 | -0.32409 | 1.6936
38 | 0.005171 | 0.0012959 | -0.0051706 | -0.0012959 | 4.47e-07 | 3.1589e-08 | 0.0077662 | 0.0077663 | 0.0077663 | 0.99077 | -0.1755 | 0.99068 | -0.17731 | 2.1336
39 | 0.0036363 | 0.00091111 | -0.003636 | -0.00091126 | 3.3024e-07 | -1.4736e-07 | 0.0055412 | 0.0055413 | 0.0055413 | 0.97646 | -0.45363 | 0.97636 | -0.45553 | 1.5223
40 | -0.0036363 | -0.00091111 | 0.0036367 | 0.00091094 | 3.7955e-07 | -1.6947e-07 | 0.0055412 | 0.0055411 | 0.0055412 | 0.97646 | -0.45363 | 0.97657 | -0.45143 | 1.5223
41 | 0.0014339 | 0.00035913 | -0.0014338 | -0.00035935 | 3.4014e-08 | -2.1598e-07 | 0.0021847 | 0.0021848 | 0.0021848 | 0.97657 | -0.45143 | 0.97654 | -0.45193 | 0.60022
42 | 0.015216 | 0.0038158 | -0.01521 | -0.0038119 | 6.7155e-06 | 3.8814e-06 | 0.023186 | 0.023186 | 0.023186 | 0.97657 | -0.45143 | 0.9761 | -0.4607 | 6.3699
43 | -0.02238 | -0.0056088 | 0.022403 | 0.0056228 | 2.2793e-05 | 1.3933e-05 | 0.034101 | 0.0341 | 0.034101 | 0.97657 | -0.45143 | 0.97766 | -0.43008 | 9.3683
44 | 0.0020931 | 0.00052298 | -0.002093 | -0.00052322 | 8.9194e-08 | -2.3557e-07 | 0.0031887 | 0.0031888 | 0.0031888 | 0.97657 | -0.45143 | 0.97652 | -0.45233 | 0.87605
45 | 0.017805 | 0.0044649 | -0.017802 | -0.0044633 | 2.7244e-06 | 1.6161e-06 | 0.026915 | 0.026915 | 0.026915 | 0.98441 | -0.2984 | 0.98424 | -0.30161 | 7.3942
46 | -0.022538 | -0.0056507 | 0.022548 | 0.0056571 | 1.0326e-05 | 6.307e-06 | 0.034068 | 0.034068 | 0.034068 | 0.98441 | -0.2984 | 0.9849 | -0.28879 | 9.3594
47 | 0.0047324 | 0.0011858 | -0.0047317 | -0.0011859 | 7.8392e-07 | -1.7547e-08 | 0.0071534 | 0.0071536 | 0.0071536 | 0.98441 | -0.2984 | 0.98423 | -0.30188 | 1.9653
48 | 0.0022859 | 0.00057273 | -0.0022858 | -0.00057288 | 7.1513e-08 | -1.5715e-07 | 0.0034559 | 0.0034559 | 0.0034559 | 0.98424 | -0.30161 | 0.98421 | -0.30227 | 0.94943
49 | 0.015516 | 0.0038906 | -0.015512 | -0.0038879 | 4.6271e-06 | 2.6765e-06 | 0.023459 | 0.023459 | 0.023459 | 0.98424 | -0.30161 | 0.98392 | -0.30787 | 6.4448
50 | 0.14064 | 0.035506 | -0.14015 | -0.035192 | 0.00049215 | 0.00031461 | 0.21257 | 0.21257 | 0.21257 | 0.9849 | -0.28879 | 0.98114 | -0.36212 | 58.3996
51 | -0.18988 | -0.047856 | 0.19075 | 0.048414 | 0.00087409 | 0.00055797 | 0.28697 | 0.28697 | 0.28697 | 0.9849 | -0.28879 | 0.98985 | -0.19306 | 39.4187
52 | 0.02669 | 0.006693 | -0.02668 | -0.0066866 | 1.0204e-05 | 6.3176e-06 | 0.040325 | 0.040325 | 0.040325 | 0.9849 | -0.28879 | 0.98449 | -0.29682 | 11.0784
53 | 0.085103 | 0.021396 | -0.08508 | -0.021382 | 2.3205e-05 | 1.4804e-05 | 0.12909 | 0.12909 | 0.12909 | 0.98114 | -0.36212 | 0.98084 | -0.36783 | 35.4652
54 | 0.0049972 | 0.0012524 | -0.004997 | -0.0012524 | 2.0788e-07 | 6.7808e-09 | 0.0075122 | 0.0075122 | 0.0075122 | 0.98985 | -0.19306 | 0.98981 | -0.19393 | 2.0638
55 | -0.19575 | -0.049667 | 0.19597 | 0.049808 | 0.0002227 | 0.00014112 | 0.29448 | 0.29448 | 0.29448 | 0.98985 | -0.19306 | 0.99108 | -0.16943 | 20.2252
56 | 0.0066377 | 0.0016636 | -0.0066371 | -0.0016635 | 6.1373e-07 | 1.8606e-07 | 0.010033 | 0.010033 | 0.010033 | 0.98449 | -0.29682 | 0.98439 | -0.29876 | 2.7563
57 | 0.091869 | 0.023051 | -0.091801 | -0.023008 | 6.7266e-05 | 4.2939e-05 | 0.14077 | 0.14077 | 0.14077 | 0.97116 | -0.55469 | 0.97039 | -0.57006 | 38.6732
58 | 0.046933 | 0.011812 | -0.04682 | -0.01174 | 0.00011271 | 7.1389e-05 | 0.071218 | 0.071219 | 0.071219 | 0.98084 | -0.36783 | 0.97827 | -0.41821 | 19.5656
59 | 0.038147 | 0.0095697 | -0.038122 | -0.0095544 | 2.4369e-05 | 1.5352e-05 | 0.057875 | 0.057875 | 0.057875 | 0.98084 | -0.36783 | 0.98016 | -0.38124 | 15.8997
60 | 0.04682 | 0.01174 | -0.046804 | -0.01173 | 1.6279e-05 | 1.0311e-05 | 0.071219 | 0.071219 | 0.071219 | 0.97827 | -0.41821 | 0.9779 | -0.42551 | 19.5656
61 | 0.0066371 | 0.0016635 | -0.0066363 | -0.0016632 | 7.9777e-07 | 2.4192e-07 | 0.010033 | 0.010033 | 0.010033 | 0.98439 | -0.29876 | 0.98426 | -0.30128 | 2.7563
62 | 0.002093 | 0.00052322 | -0.0020929 | -0.00052338 | 5.9248e-08 | -1.5645e-07 | 0.0031888 | 0.0031889 | 0.0031889 | 0.97652 | -0.45233 | 0.97649 | -0.45293 | 0.87607
63 | 0.0012574 | 0.00031397 | -0.0012574 | -0.00031437 | 4.7641e-08 | -4.0253e-07 | 0.0019157 | 0.0019158 | 0.0019158 | 0.97649 | -0.45293 | 0.97645 | -0.45372 | 0.52633
64 | 0.0012574 | 0.00031437 | -0.0012573 | -0.00031462 | 2.9422e-08 | -2.4854e-07 | 0.0019158 | 0.0019159 | 0.0019159 | 0.97645 | -0.45372 | 0.97643 | -0.45422 | 0.52635
65 | 0.0012573 | 0.00031462 | -0.0012573 | -0.00031481 | 2.1867e-08 | -1.8469e-07 | 0.0019159 | 0.001916 | 0.001916 | 0.97643 | -0.45422 | 0.97641 | -0.45458 | 0.52637
66 | 0.00048866 | 0.00012216 | -0.00048865 | -0.00012247 | 5.0948e-09 | -3.032e-07 | 0.00074459 | 0.0007447 | 0.0007447 | 0.97641 | -0.45458 | 0.9764 | -0.4548 | 0.20459
67 | 0.073087 | 0.018442 | -0.073005 | -0.018389 | 8.2166e-05 | 5.236e-05 | 0.11067 | 0.11067 | 0.11067 | 0.98308 | -0.3241 | 0.98187 | -0.3476 | 30.4044
68 | 0.0080514 | 0.0020182 | -0.0080493 | -0.0020173 | 2.1756e-06 | 8.9729e-07 | 0.012187 | 0.012187 | 0.012187 | 0.98308 | -0.3241 | 0.98279 | -0.32977 | 3.3481
69 | -0.033194 | -0.0083273 | 0.033206 | 0.0083348 | 1.1916e-05 | 7.4698e-06 | 0.050525 | 0.050525 | 0.050525 | 0.97766 | -0.43008 | 0.97804 | -0.42255 | 13.8806
70 | 0.0076248 | 0.001911 | -0.0076234 | -0.0019105 | 1.3332e-06 | 5.1374e-07 | 0.011531 | 0.011531 | 0.011531 | 0.98392 | -0.30787 | 0.98373 | -0.31154 | 3.1679
71 | 0.007887 | 0.0019769 | -0.0078857 | -0.0019763 | 1.3641e-06 | 5.4837e-07 | 0.011928 | 0.011928 | 0.011928 | 0.98392 | -0.30787 | 0.98374 | -0.3115 | 3.2769
72 | 0.0048472 | 0.0012147 | -0.0048469 | -0.0012147 | 2.9526e-07 | 3.0304e-09 | 0.007332 | 0.007332 | 0.007332 | 0.98373 | -0.31154 | 0.98367 | -0.31282 | 2.0143
73 | 0.0032103 | 0.00080452 | -0.0032102 | -0.00080456 | 6.0971e-08 | -4.8493e-08 | 0.0048563 | 0.0048563 | 0.0048563 | 0.98367 | -0.31282 | 0.98365 | -0.31322 | 1.3342
74 | 0.012703 | 0.0031844 | -0.012701 | -0.0031832 | 2.1962e-06 | 1.2088e-06 | 0.019327 | 0.019327 | 0.019327 | 0.97804 | -0.42255 | 0.97785 | -0.42618 | 5.3097
75 | -0.045909 | -0.011519 | 0.045958 | 0.01155 | 4.8476e-05 | 3.0692e-05 | 0.069853 | 0.069852 | 0.069853 | 0.97804 | -0.42255 | 0.97917 | -0.40043 | 19.1903
76 | 0.0080985 | 0.0020297 | -0.0080984 | -0.0020297 | 2.402e-08 | 1.0082e-08 | 0.012324 | 0.012324 | 0.012324 | 0.97785 | -0.42618 | 0.97785 | -0.42624 | 3.3856
77 | -0.045958 | -0.01155 | 0.045971 | 0.011559 | 1.3621e-05 | 8.6241e-06 | 0.069852 | 0.069852 | 0.069852 | 0.97917 | -0.40043 | 0.97948 | -0.39423 | 19.1902
78 | -0.056744 | -0.014258 | 0.056776 | 0.014279 | 3.2903e-05 | 2.0909e-05 | 0.086217 | 0.086217 | 0.086217 | 0.97948 | -0.39423 | 0.9801 | -0.38209 | 23.6861
79 | -0.067469 | -0.016959 | 0.06758 | 0.01703 | 0.00011128 | 7.0864e-05 | 0.10245 | 0.10245 | 0.10245 | 0.9801 | -0.38209 | 0.98187 | -0.3476 | 28.1457
80 | 0.0019325 | 0.00048429 | -0.0019325 | -0.00048433 | 1.4364e-08 | -4.7498e-08 | 0.002926 | 0.002926 | 0.002926 | 0.98279 | -0.32977 | 0.98278 | -0.32993 | 0.80385

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56556 | 0.14471

## res_load
| p_mw | q_mvar
0 | 0.0045844 | 0.001149
1 | 0.0011488 | 0.00028792
2 | 0.0016305 | 0.00040863
3 | 0.0032102 | 0.00080454
4 | 0.0031173 | 0.00078127
5 | 0.0013984 | 0.00035046
6 | 0.0040828 | 0.0010232
7 | 0.012423 | 0.0031134
8 | 0.0014971 | 0.00037521
9 | 0.0043462 | 0.0010893
10 | 0.0067693 | 0.0016965
11 | 0.007747 | 0.0019416
12 | 0.00503 | 0.0012606
13 | 0.0074097 | 0.001857
14 | 0.0051706 | 0.0012959
15 | 0.0085427 | 0.002141
16 | 0.003636 | 0.00091126
17 | 0.0091355 | 0.0022896
18 | 0.0050723 | 0.0012712
19 | 0.0047317 | 0.0011859
20 | 0.055044 | 0.013795
21 | 0.020042 | 0.005023
22 | 0.091801 | 0.023008
23 | 0.038122 | 0.0095544
24 | 0.086319 | 0.021633
25 | 0.0066363 | 0.0016632
26 | 0.004997 | 0.0012524
27 | 0.0056451 | 0.0014148
28 | 0.00083553 | 0.0002094
29 | 0.046804 | 0.01173
30 | 0.00076866 | 0.00019264
31 | 0.0040727 | 0.0010207
32 | 0.0014338 | 0.00035935
33 | 0.01521 | 0.0038119
34 | 0.010791 | 0.0027046
35 | 0.0022858 | 0.00057288
36 | 0.00048865 | 0.00012247
37 | 0.0078857 | 0.0019763
38 | 0.0027762 | 0.00069578
39 | 0.0016366 | 0.00041018
40 | 0.0032102 | 0.00080456
41 | 0.0046026 | 0.0011535
42 | 0.0080984 | 0.0020297
43 | 0.010772 | 0.0026998
44 | 0.010692 | 0.0026797
45 | 0.0061167 | 0.001533
46 | 0.0019325 | 0.00048433
47 | 0.0054252 | 0.0013597

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1