## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-45_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-45_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-45_0_3_node_88 | 0.4 | n |  | TRUE
3 | bus_LV_191-45_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_191-45_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_191-45_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_191-45_0_3_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_191-45_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_191-45_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_191-45_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_191-45_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_191-45_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_191-45_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_191-45_0_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_191-45_0_3_node_203 | 0.4 | n |  | TRUE
15 | bus_LV_191-45_0_3_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_191-45_0_3_node_127 | 0.4 | n |  | TRUE
17 | bus_LV_191-45_0_3_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_191-45_0_3_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_191-45_0_3_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_191-45_0_3_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_191-45_0_3_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_191-45_0_3_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_191-45_0_3_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_191-45_0_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_191-45_0_3_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_191-45_0_3_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_191-45_0_3_node_131 | 0.4 | n |  | TRUE
28 | bus_LV_191-45_0_3_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_191-45_0_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_191-45_0_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_191-45_0_3_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_191-45_0_3_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_191-45_0_3_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_191-45_0_3_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_191-45_0_3_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_191-45_0_3_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_191-45_0_3_node_213 | 0.4 | n |  | TRUE
38 | bus_LV_191-45_0_3_node_126 | 0.4 | n |  | TRUE
39 | bus_LV_191-45_0_3_node_82 | 0.4 | n |  | TRUE
40 | bus_LV_191-45_0_3_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_191-45_0_3_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_191-45_0_3_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_191-45_0_3_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_191-45_0_3_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_191-45_0_3_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_191-45_0_3_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_191-45_0_3_node_95 | 0.4 | n |  | TRUE
48 | bus_LV_191-45_0_3_node_100 | 0.4 | n |  | TRUE
49 | bus_LV_191-45_0_3_node_107 | 0.4 | n |  | TRUE
50 | bus_LV_191-45_0_3_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_191-45_0_3_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_191-45_0_3_node_121 | 0.4 | n |  | TRUE
53 | bus_LV_191-45_0_3_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_191-45_0_3_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_191-45_0_3_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_191-45_0_3_node_93 | 0.4 | n |  | TRUE
57 | bus_LV_191-45_0_3_node_211 | 0.4 | n |  | TRUE
58 | bus_LV_191-45_0_3_node_113 | 0.4 | n |  | TRUE
59 | bus_LV_191-45_0_3_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_191-45_0_3_node_147 | 0.4 | n |  | TRUE
61 | bus_LV_191-45_0_3_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_191-45_0_3_node_108 | 0.4 | n |  | TRUE
63 | bus_LV_191-45_0_3_node_109 | 0.4 | n |  | TRUE
64 | bus_LV_191-45_0_3_node_111 | 0.4 | n |  | TRUE
65 | bus_LV_191-45_0_3_node_112 | 0.4 | n |  | TRUE
66 | bus_LV_191-45_0_3_node_115 | 0.4 | n |  | TRUE
67 | bus_LV_191-45_0_3_node_116 | 0.4 | n |  | TRUE
68 | bus_LV_191-45_0_3_node_206 | 0.4 | n |  | TRUE
69 | bus_LV_191-45_0_3_node_208 | 0.4 | n |  | TRUE
70 | bus_LV_191-45_0_3_node_207 | 0.4 | n |  | TRUE
71 | bus_LV_191-45_0_3_node_120 | 0.4 | n |  | TRUE
72 | bus_LV_191-45_0_3_node_117 | 0.4 | n |  | TRUE
73 | bus_LV_191-45_0_3_node_118 | 0.4 | n |  | TRUE
74 | bus_LV_191-45_0_3_node_125 | 0.4 | n |  | TRUE
75 | bus_LV_191-45_0_3_node_128 | 0.4 | n |  | TRUE
76 | bus_LV_191-45_0_3_node_129 | 0.4 | n |  | TRUE
77 | bus_LV_191-45_0_3_node_205 | 0.4 | n |  | TRUE
78 | bus_LV_191-45_0_3_node_204 | 0.4 | n |  | TRUE
79 | bus_LV_191-45_0_3_node_212 | 0.4 | n |  | TRUE
80 | bus_MV_500_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-45_0_3_load_0 | 0 | 0.0046964 | 0.001177 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-45_0_3_load_2 | 3 | 0.0025469 | 0.00063832 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-45_0_3_load_11 | 7 | 0.0059578 | 0.0014932 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-45_0_3_load_14 | 9 | 0.002443 | 0.00061227 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-45_0_3_load_15 | 10 | 0.0018835 | 0.00047204 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-45_0_3_load_16 | 12 | 0.00053337 | 0.00013368 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-45_0_3_load_17 | 13 | 0.0044135 | 0.0011061 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-45_0_3_load_203 | 14 | 0.0046874 | 0.0011748 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-45_0_3_load_37 | 17 | 0.0012853 | 0.00032213 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-45_0_3_load_38 | 18 | 0.0031102 | 0.0007795 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-45_0_3_load_39 | 19 | 0.00057319 | 0.00014365 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-45_0_3_load_71 | 21 | 0.0095755 | 0.0023998 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-45_0_3_load_48 | 22 | 0.001621 | 0.00040625 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-45_0_3_load_45 | 23 | 0.00052353 | 0.00013121 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-45_0_3_load_46 | 24 | 0.001064 | 0.00026667 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-45_0_3_load_49 | 26 | 0.011587 | 0.002904 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-45_0_3_load_131 | 27 | 0.0023307 | 0.00058414 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-45_0_3_load_101 | 28 | 0.0057319 | 0.0014366 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-45_0_3_load_60 | 29 | 0.0022973 | 0.00057576 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-45_0_3_load_61 | 30 | 0.0019958 | 0.00050021 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-45_0_3_load_63 | 32 | 0.0047674 | 0.0011948 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-45_0_3_load_64 | 33 | 0.0009516 | 0.00023849 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-45_0_3_load_72 | 35 | 0.0014932 | 0.00037423 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-45_0_3_load_102 | 36 | 0.0095555 | 0.0023948 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-45_0_3_load_213 | 37 | 0.0028634 | 0.00071764 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-45_0_3_load_73 | 40 | 0.0067125 | 0.0016823 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-45_0_3_load_77 | 43 | 0.0052177 | 0.0013077 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-45_0_3_load_78 | 44 | 0.002865 | 0.00071805 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-45_0_3_load_100 | 48 | 0.0046681 | 0.0011699 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-45_0_3_load_107 | 49 | 0.0032613 | 0.00081735 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-45_0_3_load_121 | 52 | 0.0018862 | 0.00047272 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-45_0_3_load_85 | 53 | 0.0051755 | 0.0012971 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-45_0_3_load_86 | 54 | 0.0015532 | 0.00038927 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-45_0_3_load_87 | 55 | 0.0095966 | 0.0024051 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-45_0_3_load_93 | 56 | 0.002785 | 0.00069799 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-45_0_3_load_211 | 57 | 0.0030421 | 0.00076242 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-45_0_3_load_94 | 59 | 0.016484 | 0.0041312 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-45_0_3_load_147 | 60 | 0.0026562 | 0.0006657 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-45_0_3_load_99 | 61 | 0.0064851 | 0.0016253 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-45_0_3_load_108 | 62 | 0.0015368 | 0.00038516 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-45_0_3_load_109 | 63 | 0.0054086 | 0.0013555 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-45_0_3_load_111 | 64 | 0.0019349 | 0.00048494 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_191-45_0_3_load_112 | 65 | 0.026511 | 0.0066443 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_191-45_0_3_load_206 | 68 | 0.00094467 | 0.00023676 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_191-45_0_3_load_207 | 70 | 0.012701 | 0.0031832 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_191-45_0_3_load_120 | 71 | 0.0013468 | 0.00033753 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_191-45_0_3_load_117 | 72 | 0.0024154 | 0.00060535 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_191-45_0_3_load_125 | 74 | 0.0013146 | 0.00032946 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_191-45_0_3_load_128 | 75 | 0.0010454 | 0.00026201 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_191-45_0_3_load_129 | 76 | 0.0010294 | 0.00025799 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_191-45_0_3_load_205 | 77 | 0.0013553 | 0.00033968 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_191-45_0_3_load_212 | 79 | 0.0052834 | 0.0013242 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-45_0_3_line_0 |  | 0 | 1 | 0.021595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-45_0_3_line_1 |  | 1 | 2 | 0.22646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-45_0_3_line_2 |  | 2 | 56 | 0.030438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-45_0_3_line_3 |  | 2 | 54 | 0.038622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-45_0_3_line_4 |  | 3 | 4 | 0.010772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-45_0_3_line_5 |  | 4 | 5 | 0.1403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-45_0_3_line_6 |  | 5 | 6 | 0.076505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-45_0_3_line_7 |  | 6 | 28 | 0.022593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-45_0_3_line_8 |  | 6 | 25 | 0.010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-45_0_3_line_9 |  | 7 | 8 | 0.0076657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-45_0_3_line_10 |  | 8 | 9 | 0.01842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-45_0_3_line_11 |  | 8 | 10 | 0.022807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-45_0_3_line_12 |  | 9 | 14 | 8.0609e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_191-45_0_3_line_13 |  | 10 | 15 | 0.029033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-45_0_3_line_14 |  | 11 | 12 | 0.0084458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-45_0_3_line_15 |  | 11 | 13 | 0.018611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-45_0_3_line_16 |  | 13 | 16 | 0.017271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-45_0_3_line_17 |  | 14 | 78 | 0.018776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_191-45_0_3_line_18 |  | 15 | 21 | 0.0047487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-45_0_3_line_19 |  | 16 | 75 | 0.0073262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-45_0_3_line_20 |  | 16 | 76 | 0.0013261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-45_0_3_line_21 |  | 17 | 18 | 0.029939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-45_0_3_line_22 |  | 17 | 19 | 0.0017509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-45_0_3_line_23 |  | 19 | 20 | 0.0093144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-45_0_3_line_24 |  | 20 | 22 | 0.044187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-45_0_3_line_25 |  | 20 | 23 | 0.023147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-45_0_3_line_26 |  | 21 | 39 | 0.04266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-45_0_3_line_27 |  | 22 | 27 | 0.0078961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-45_0_3_line_28 |  | 23 | 24 | 0.00069249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-45_0_3_line_29 |  | 24 | 25 | 0.017682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-45_0_3_line_30 |  | 25 | 26 | 0.044659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-45_0_3_line_31 |  | 28 | 36 | 0.020031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-45_0_3_line_32 |  | 29 | 30 | 0.015251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-45_0_3_line_33 |  | 29 | 31 | 0.009281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-45_0_3_line_34 |  | 30 | 32 | 0.0042002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-45_0_3_line_35 |  | 31 | 33 | 0.017811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-45_0_3_line_36 |  | 31 | 34 | 0.028718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-45_0_3_line_37 |  | 32 | 35 | 0.0085669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-45_0_3_line_38 |  | 33 | 36 | 0.0052827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-45_0_3_line_39 |  | 34 | 37 | 0.041552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-45_0_3_line_40 |  | 34 | 38 | 0.012607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-45_0_3_line_41 |  | 38 | 75 | 0.029351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-45_0_3_line_42 |  | 38 | 74 | 0.011783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-45_0_3_line_43 |  | 39 | 46 | 0.023643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-45_0_3_line_44 |  | 40 | 41 | 0.025049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-45_0_3_line_45 |  | 40 | 42 | 0.030045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-45_0_3_line_46 |  | 41 | 43 | 0.026545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-45_0_3_line_47 |  | 42 | 44 | 0.026675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-45_0_3_line_48 |  | 44 | 45 | 0.013836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-45_0_3_line_49 |  | 45 | 60 | 0.034024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-45_0_3_line_50 |  | 45 | 47 | 0.12866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-45_0_3_line_51 |  | 46 | 47 | 0.11578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-45_0_3_line_52 |  | 46 | 48 | 0.026192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-45_0_3_line_53 |  | 46 | 49 | 0.017246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-45_0_3_line_54 |  | 47 | 59 | 0.051136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-45_0_3_line_55 |  | 48 | 61 | 0.0050485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-45_0_3_line_56 |  | 49 | 62 | 0.0041119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_191-45_0_3_line_57 |  | 50 | 51 | 0.021176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_191-45_0_3_line_58 |  | 50 | 52 | 0.027244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_191-45_0_3_line_59 |  | 51 | 68 | 0.020966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_191-45_0_3_line_60 |  | 51 | 58 | 0.047166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_191-45_0_3_line_61 |  | 53 | 54 | 0.027391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_191-45_0_3_line_62 |  | 53 | 55 | 0.014202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_191-45_0_3_line_63 |  | 56 | 57 | 0.01967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_191-45_0_3_line_64 |  | 56 | 58 | 0.034581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_191-45_0_3_line_65 |  | 58 | 66 | 0.064197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_191-45_0_3_line_66 |  | 58 | 67 | 0.12273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_191-45_0_3_line_67 |  | 58 | 64 | 0.047835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_191-45_0_3_line_68 |  | 62 | 63 | 0.017673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_191-45_0_3_line_69 |  | 64 | 65 | 0.0057567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_191-45_0_3_line_70 |  | 66 | 69 | 0.020304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_191-45_0_3_line_71 |  | 66 | 70 | 0.07097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_191-45_0_3_line_72 |  | 67 | 71 | 0.021024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_191-45_0_3_line_73 |  | 68 | 78 | 0.010416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_191-45_0_3_line_74 |  | 69 | 79 | 0.005848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_191-45_0_3_line_75 |  | 71 | 73 | 0.010945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_191-45_0_3_line_76 |  | 72 | 73 | 0.032514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_191-45_0_3_line_77 |  | 76 | 77 | 0.020058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_191-45_0_3_line_78 |  | 77 | 78 | 0.012718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-45_0_3_trafo_14 | 0.63 MVA 20/0.4 kV | 80 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2687529.4091 | 1249195.2887 | 2687508.8107 | 1249201.7727
1 | 2687590.4251 | 1248977.2037 | 2687529.4091 | 1249195.2887
2 | 2687582.4315 | 1248947.8303 | 2687590.4251 | 1248977.2037
3 | 2687590.4251 | 1248977.2037 | 2687601.5521 | 1248972.8982 | 2687623.2126 | 1248957.3015
4 | 2687271.7182 | 1249034.0577 | 2687275.2611 | 1249044.2305
5 | 2687271.7182 | 1249034.0577 | 2687273.9133 | 1249034.7349 | 2687276.4197 | 1249033.76 | 2687278.4869 | 1249031.333 | 2687281.776 | 1249022.3414 | 2687287.1302 | 1249011.0562 | 2687314.8471 | 1248967.8764 | 2687324.9476 | 1248954.8153 | 2687327.973 | 1248950.9125 | 2687329.4816 | 1248948.4662 | 2687330.8024 | 1248945.9616 | 2687338.6215 | 1248928.3413 | 2687342.7585 | 1248922.2866 | 2687346.3959 | 1248918.8821
6 | 2687346.3959 | 1248918.8821 | 2687348.2719 | 1248917.1306 | 2687353.1969 | 1248915.5131 | 2687353.8478 | 1248915.4115 | 2687354.453 | 1248915.3426 | 2687364.5156 | 1248915.6133 | 2687374.2919 | 1248920.9613 | 2687376.7722 | 1248921.2537 | 2687378.9688 | 1248920.8079 | 2687410.4302 | 1248896.7203 | 2687411.965 | 1248895.5754
7 | 2687411.965 | 1248895.5754 | 2687424.8316 | 1248914.1473
8 | 2687411.965 | 1248895.5754 | 2687420.0872 | 1248889.1681
9 | 2687512.1829 | 1248855.4014 | 2687505.912 | 1248859.8103
10 | 2687512.1829 | 1248855.4014 | 2687522.5794 | 1248870.6069
11 | 2687512.1829 | 1248855.4014 | 2687526.7127 | 1248845.1859 | 2687523.8108 | 1248841.0588
12 | 2687522.6249 | 1248870.6735 | 2687522.5794 | 1248870.6069
13 | 2687507.1118 | 1248817.309 | 2687523.8108 | 1248841.0588
14 | 2687483.65 | 1248875.462 | 2687476.7393 | 1248880.3173
15 | 2687483.65 | 1248875.462 | 2687494.4535 | 1248890.616
16 | 2687504.5687 | 1248904.6148 | 2687495.9317 | 1248892.6895 | 2687494.4535 | 1248890.616
17 | 2687533.2439 | 1248886.1576 | 2687528.3423 | 1248879.0354 | 2687522.6249 | 1248870.6735
18 | 2687507.1118 | 1248817.309 | 2687510.9306 | 1248814.4864
19 | 2687504.5687 | 1248904.6148 | 2687498.5057 | 1248908.7276
20 | 2687504.5687 | 1248904.6148 | 2687505.6838 | 1248903.8971
21 | 2687482.8063 | 1248835.8389 | 2687480.5019 | 1248837.5427 | 2687470.9677 | 1248845.975 | 2687460.9549 | 1248856.2475
22 | 2687459.7328 | 1248857.5014 | 2687460.9549 | 1248856.2475
23 | 2687453.2314 | 1248864.1714 | 2687459.7328 | 1248857.5014
24 | 2687453.2314 | 1248864.1714 | 2687411.9523 | 1248848.407
25 | 2687453.2314 | 1248864.1714 | 2687438.6526 | 1248875.6762 | 2687434.9513 | 1248878.3659
26 | 2687547.011 | 1248793.1466 | 2687541.1659 | 1248793.6495 | 2687534.1028 | 1248797.3592 | 2687510.9306 | 1248814.4864
27 | 2687411.9523 | 1248848.407 | 2687404.5759 | 1248845.59
28 | 2687434.3912 | 1248878.773 | 2687434.9513 | 1248878.3659
29 | 2687420.0872 | 1248889.1681 | 2687434.3912 | 1248878.773
30 | 2687420.0872 | 1248889.1681 | 2687410.8473 | 1248881.7596 | 2687380.4015 | 1248869.2348
31 | 2687424.8316 | 1248914.1473 | 2687424.994 | 1248914.3816 | 2687423.9612 | 1248915.2781 | 2687430.2115 | 1248924.1547 | 2687428.7849 | 1248925.1344 | 2687431.2606 | 1248928.807 | 2687430.2354 | 1248929.7037
32 | 2687454.1798 | 1248968.7055 | 2687451.7816 | 1248965.4594 | 2687445.3804 | 1248956.2506
33 | 2687440.0831 | 1248948.6298 | 2687445.3804 | 1248956.2506
34 | 2687454.1798 | 1248968.7055 | 2687456.6756 | 1248972.0838
35 | 2687440.0831 | 1248948.6298 | 2687432.0624 | 1248936.3912 | 2687433.7005 | 1248934.9031 | 2687433.165 | 1248934.0996
36 | 2687440.0831 | 1248948.6298 | 2687444.3906 | 1248945.3575 | 2687463.7502 | 1248932.2777
37 | 2687461.7661 | 1248978.9742 | 2687456.6756 | 1248972.0838
38 | 2687433.165 | 1248934.0996 | 2687430.2354 | 1248929.7037 | 2687430.2354 | 1248929.7037
39 | 2687463.7502 | 1248932.2777 | 2687486.8084 | 1248966.8883
40 | 2687474.2158 | 1248925.2046 | 2687463.7502 | 1248932.2777
41 | 2687474.2158 | 1248925.2046 | 2687498.5057 | 1248908.7276
42 | 2687474.2158 | 1248925.2046 | 2687467.8449 | 1248915.292
43 | 2687547.011 | 1248793.1466 | 2687552.1099 | 1248770.0601
44 | 2687429.9187 | 1248765.398 | 2687444.7713 | 1248766.062 | 2687450.3048 | 1248757.5149
45 | 2687456.615 | 1248734.2016 | 2687458.2625 | 1248745.3788 | 2687458.664 | 1248755.5256 | 2687450.3048 | 1248757.5149
46 | 2687429.9187 | 1248765.398 | 2687430.9046 | 1248771.2614 | 2687422.2769 | 1248781.7198 | 2687415.204 | 1248781.4931
47 | 2687456.615 | 1248734.2016 | 2687461.2782 | 1248730.8902 | 2687474.9454 | 1248715.0045
48 | 2687483.969 | 1248704.5162 | 2687474.9454 | 1248715.0045
49 | 2687483.969 | 1248704.5162 | 2687481.9105 | 1248702.7623 | 2687481.3191 | 1248698.3169 | 2687489.528 | 1248688.6197 | 2687483.709 | 1248675.7439
50 | 2687483.969 | 1248704.5162 | 2687518.7144 | 1248663.7429 | 2687538.1097 | 1248641.6793 | 2687562.0263 | 1248665.7839 | 2687553.888 | 1248674.27
51 | 2687552.1099 | 1248770.0601 | 2687562.6607 | 1248724.0369 | 2687564.3565 | 1248718.6468 | 2687567.6937 | 1248713.5923 | 2687581.3025 | 1248699.2937 | 2687556.0714 | 1248676.2593 | 2687553.888 | 1248674.27
52 | 2687552.1099 | 1248770.0601 | 2687537.8324 | 1248764.2116 | 2687528.5715 | 1248758.7263
53 | 2687552.1099 | 1248770.0601 | 2687565.1083 | 1248781.3949
54 | 2687553.888 | 1248674.27 | 2687520.2599 | 1248712.7927
55 | 2687523.8575 | 1248756.9192 | 2687528.5715 | 1248758.7263 | 2687528.5715 | 1248758.7263
56 | 2687568.1825 | 1248784.1248 | 2687567.5587 | 1248783.5317 | 2687565.1083 | 1248781.3949
57 | 2687559.7316 | 1248869.5918 | 2687554.7267 | 1248849.0135
58 | 2687554.7267 | 1248849.0135 | 2687573.6349 | 1248829.3989
59 | 2687559.7316 | 1248869.5918 | 2687553.9517 | 1248871.8192 | 2687541.8074 | 1248880.2281
60 | 2687559.7316 | 1248869.5918 | 2687568.0186 | 1248898.547 | 2687572.4319 | 1248907.5412 | 2687573.0382 | 1248914.5443
61 | 2687643.7132 | 1248939.177 | 2687630.7637 | 1248951.3693 | 2687624.749 | 1248956.1951 | 2687623.2126 | 1248957.3015
62 | 2687654.0532 | 1248929.4415 | 2687643.7132 | 1248939.177
63 | 2687599.5757 | 1248938.5321 | 2687588.0277 | 1248946.2784 | 2687582.4315 | 1248947.8303
64 | 2687582.4315 | 1248947.8303 | 2687573.0382 | 1248914.5443
65 | 2687573.0382 | 1248914.5443 | 2687572.4319 | 1248907.5412 | 2687586.6616 | 1248906.3838 | 2687586.8999 | 1248899.9714 | 2687588.9769 | 1248896.3772 | 2687606.1139 | 1248886.0449 | 2687614.9481 | 1248877.469
66 | 2687573.0382 | 1248914.5443 | 2687572.4319 | 1248907.5412 | 2687586.6616 | 1248906.3838 | 2687598.6365 | 1248902.9693 | 2687617.2779 | 1248892.0143 | 2687648.7798 | 1248862.2131 | 2687658.5751 | 1248855.5418 | 2687670.1678 | 1248851.9438
67 | 2687573.0382 | 1248914.5443 | 2687533.999 | 1248942.1863
68 | 2687580.9018 | 1248796.394 | 2687573.0474 | 1248788.75 | 2687568.1825 | 1248784.1248
69 | 2687533.999 | 1248942.1863 | 2687529.3008 | 1248945.513
70 | 2687614.9481 | 1248877.469 | 2687612.9957 | 1248874.1598 | 2687608.1607 | 1248870.708 | 2687604.1386 | 1248869.481 | 2687597.8085 | 1248870.0991
71 | 2687614.9481 | 1248877.469 | 2687617.6398 | 1248875.7185 | 2687634.6346 | 1248858.668 | 2687634.8724 | 1248850.7545 | 2687641.6618 | 1248844.6169 | 2687644.3288 | 1248840.4532 | 2687653.8626 | 1248820.9911
72 | 2687670.1678 | 1248851.9438 | 2687670.5365 | 1248865.3037 | 2687674.7577 | 1248871.6939
73 | 2687533.2439 | 1248886.1576 | 2687541.8074 | 1248880.2281
74 | 2687597.8085 | 1248870.0991 | 2687593.0604 | 1248873.5315
75 | 2687680.3772 | 1248881.0833 | 2687675.7513 | 1248873.1979 | 2687674.7577 | 1248871.6939
76 | 2687680.3772 | 1248881.0833 | 2687681.6941 | 1248885.9954 | 2687682.1218 | 1248891.2835 | 2687681.7334 | 1248913.4029
77 | 2687505.6838 | 1248903.8971 | 2687522.5502 | 1248893.0408
78 | 2687533.2439 | 1248886.1576 | 2687522.5502 | 1248893.0408

## bus_geodata
| x | y | coords
0 | 2687508.8107 | 1249201.7727
1 | 2687529.4091 | 1249195.2887
2 | 2687590.4251 | 1248977.2037
3 | 2687275.2611 | 1249044.2305
4 | 2687271.7182 | 1249034.0577
5 | 2687346.3959 | 1248918.8821
6 | 2687411.965 | 1248895.5754
7 | 2687505.912 | 1248859.8103
8 | 2687512.1829 | 1248855.4014
9 | 2687522.5794 | 1248870.6069
10 | 2687523.8108 | 1248841.0588
11 | 2687483.65 | 1248875.462
12 | 2687476.7393 | 1248880.3173
13 | 2687494.4535 | 1248890.616
14 | 2687522.6249 | 1248870.6735
15 | 2687507.1118 | 1248817.309
16 | 2687504.5687 | 1248904.6148
17 | 2687460.9549 | 1248856.2475
18 | 2687482.8063 | 1248835.8389
19 | 2687459.7328 | 1248857.5014
20 | 2687453.2314 | 1248864.1714
21 | 2687510.9306 | 1248814.4864
22 | 2687411.9523 | 1248848.407
23 | 2687434.9513 | 1248878.3659
24 | 2687434.3912 | 1248878.773
25 | 2687420.0872 | 1248889.1681
26 | 2687380.4015 | 1248869.2348
27 | 2687404.5759 | 1248845.59
28 | 2687424.8316 | 1248914.1473
29 | 2687445.3804 | 1248956.2506
30 | 2687454.1798 | 1248968.7055
31 | 2687440.0831 | 1248948.6298
32 | 2687456.6756 | 1248972.0838
33 | 2687433.165 | 1248934.0996
34 | 2687463.7502 | 1248932.2777
35 | 2687461.7661 | 1248978.9742
36 | 2687430.2354 | 1248929.7037
37 | 2687486.8084 | 1248966.8883
38 | 2687474.2158 | 1248925.2046
39 | 2687547.011 | 1248793.1466
40 | 2687450.3048 | 1248757.5149
41 | 2687429.9187 | 1248765.398
42 | 2687456.615 | 1248734.2016
43 | 2687415.204 | 1248781.4931
44 | 2687474.9454 | 1248715.0045
45 | 2687483.969 | 1248704.5162
46 | 2687552.1099 | 1248770.0601
47 | 2687553.888 | 1248674.27
48 | 2687528.5715 | 1248758.7263
49 | 2687565.1083 | 1248781.3949
50 | 2687554.7267 | 1248849.0135
51 | 2687559.7316 | 1248869.5918
52 | 2687573.6349 | 1248829.3989
53 | 2687643.7132 | 1248939.177
54 | 2687623.2126 | 1248957.3015
55 | 2687654.0532 | 1248929.4415
56 | 2687582.4315 | 1248947.8302
57 | 2687599.5757 | 1248938.5321
58 | 2687573.0382 | 1248914.5443
59 | 2687520.2599 | 1248712.7927
60 | 2687483.709 | 1248675.7439
61 | 2687523.8575 | 1248756.9192
62 | 2687568.1825 | 1248784.1248
63 | 2687580.9018 | 1248796.394
64 | 2687533.999 | 1248942.1863
65 | 2687529.3008 | 1248945.513
66 | 2687614.9481 | 1248877.469
67 | 2687670.1678 | 1248851.9438
68 | 2687541.8074 | 1248880.2281
69 | 2687597.8085 | 1248870.0991
70 | 2687653.8626 | 1248820.9911
71 | 2687674.7577 | 1248871.6939
72 | 2687681.7334 | 1248913.4029
73 | 2687680.3772 | 1248881.0833
74 | 2687467.8449 | 1248915.292
75 | 2687498.5057 | 1248908.7276
76 | 2687505.6838 | 1248903.897
77 | 2687522.5502 | 1248893.0408
78 | 2687533.2439 | 1248886.1576
79 | 2687593.0604 | 1248873.5315
80 | 2687512.1829 | 1248855.4014

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99066 | -0.17972 | 0.0046964 | 0.001177
1 | 0.99075 | -0.17792 | 0 | 0
2 | 0.99173 | -0.15903 | 0 | 0
3 | 0.99049 | -0.18311 | 0.0025469 | 0.00063832
4 | 0.99051 | -0.18262 | 0 | 0
5 | 0.99084 | -0.17627 | 0 | 0
6 | 0.99102 | -0.1728 | 0 | 0
7 | 0.99873 | -0.024178 | 0.0059578 | 0.0014932
8 | 0.99877 | -0.02338 | 0 | 0
9 | 1 | 0 | -0.22462 | -0.056514
10 | 0.99738 | -0.050026 | 0.0018835 | 0.00047204
11 | 0.99671 | -0.063042 | 0 | 0
12 | 0.9967 | -0.063122 | 0.00053337 | 0.00013368
13 | 0.99671 | -0.062868 | 0.0044135 | 0.0011061
14 | 0.99999 | -0.00010439 | 0.0046874 | 0.0011748
15 | 0.99565 | -0.083092 | 0 | 0
16 | 0.99679 | -0.061369 | 0 | 0
17 | 0.99039 | -0.1849 | 0.0012853 | 0.00032213
18 | 0.99031 | -0.18656 | 0.0031102 | 0.0007795
19 | 0.9904 | -0.18476 | 0.00057319 | 0.00014365
20 | 0.99044 | -0.18394 | 0 | 0
21 | 0.99537 | -0.088511 | 0.0095755 | 0.0023998
22 | 0.99028 | -0.18705 | 0.001621 | 0.00040625
23 | 0.99063 | -0.18027 | 0.00052353 | 0.00013121
24 | 0.99064 | -0.18016 | 0.001064 | 0.00026667
25 | 0.99081 | -0.17686 | 0 | 0
26 | 0.99033 | -0.18605 | 0.011587 | 0.002904
27 | 0.99027 | -0.18737 | 0.0023307 | 0.00058414
28 | 0.99153 | -0.16292 | 0.0057319 | 0.0014366
29 | 0.99285 | -0.13725 | 0.0022973 | 0.00057576
30 | 0.99274 | -0.13947 | 0.0019958 | 0.00050021
31 | 0.99294 | -0.13552 | 0 | 0
32 | 0.99271 | -0.13994 | 0.0047674 | 0.0011948
33 | 0.99228 | -0.1484 | 0.0009516 | 0.00023849
34 | 0.99429 | -0.10943 | 0 | 0
35 | 0.9927 | -0.14017 | 0.0014932 | 0.00037423
36 | 0.99208 | -0.15214 | 0.0095555 | 0.0023948
37 | 0.99418 | -0.11153 | 0.0028634 | 0.00071764
38 | 0.99492 | -0.097365 | 0 | 0
39 | 0.9932 | -0.13011 | 0 | 0
40 | 0.98552 | -0.27908 | 0.0067125 | 0.0016823
41 | 0.9854 | -0.28143 | 0 | 0
42 | 0.98585 | -0.27265 | 0 | 0
43 | 0.98527 | -0.28392 | 0.0052177 | 0.0013077
44 | 0.98614 | -0.26695 | 0.002865 | 0.00071805
45 | 0.98633 | -0.26328 | 0 | 0
46 | 0.992 | -0.15325 | 0 | 0
47 | 0.98839 | -0.22312 | 0 | 0
48 | 0.99174 | -0.15842 | 0.0046681 | 0.0011699
49 | 0.99184 | -0.15637 | 0.0032613 | 0.00081735
50 | 0.99645 | -0.06795 | 0 | 0
51 | 0.99648 | -0.067248 | 0 | 0
52 | 0.9964 | -0.068852 | 0.0018862 | 0.00047272
53 | 0.99078 | -0.1774 | 0.0051755 | 0.0012971
54 | 0.99115 | -0.17021 | 0.0015532 | 0.00038927
55 | 0.99065 | -0.17982 | 0.0095966 | 0.0024051
56 | 0.99231 | -0.14769 | 0.002785 | 0.00069799
57 | 0.99226 | -0.14875 | 0.0030421 | 0.00076242
58 | 0.99316 | -0.13127 | 0 | 0
59 | 0.98762 | -0.23817 | 0.016484 | 0.0041312
60 | 0.98624 | -0.2649 | 0.0026562 | 0.0006657
61 | 0.99171 | -0.159 | 0.0064851 | 0.0016253
62 | 0.99182 | -0.15687 | 0.0015368 | 0.00038516
63 | 0.99173 | -0.15857 | 0.0054086 | 0.0013555
64 | 0.99192 | -0.15534 | 0.0019349 | 0.00048494
65 | 0.99178 | -0.15804 | 0.026511 | 0.0066443
66 | 0.99211 | -0.15169 | 0 | 0
67 | 0.99274 | -0.13944 | 0 | 0
68 | 0.998 | -0.038235 | 0.00094467 | 0.00023676
69 | 0.99201 | -0.15359 | 0 | 0
70 | 0.99128 | -0.16767 | 0.012701 | 0.0031832
71 | 0.99267 | -0.14084 | 0.0013468 | 0.00033753
72 | 0.99257 | -0.14269 | 0.0024154 | 0.00060535
73 | 0.99264 | -0.1413 | 0 | 0
74 | 0.99491 | -0.097638 | 0.0013146 | 0.00032946
75 | 0.99641 | -0.068656 | 0.0010454 | 0.00026201
76 | 0.99687 | -0.059935 | 0.0010294 | 0.00025799
77 | 0.99802 | -0.037917 | 0.0013553 | 0.00033968
78 | 0.99876 | -0.023682 | 0 | 0
79 | 0.99198 | -0.15414 | 0.0052834 | 0.0013242
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0046964 | -0.001177 | 0.0046968 | 0.001177 | 4.0297e-07 | -2.0168e-08 | 0.0070542 | 0.0070541 | 0.0070542 | 0.99066 | -0.17972 | 0.99075 | -0.17792 | 1.938
1 | -0.0046968 | -0.001177 | 0.004701 | 0.0011768 | 4.2252e-06 | -2.1507e-07 | 0.0070541 | 0.0070531 | 0.0070541 | 0.99075 | -0.17792 | 0.99173 | -0.15903 | 1.9379
2 | -0.021041 | -0.0052768 | 0.021053 | 0.0052837 | 1.1378e-05 | 6.8887e-06 | 0.031572 | 0.031572 | 0.031572 | 0.99173 | -0.15903 | 0.99231 | -0.14769 | 8.6736
3 | 0.01634 | 0.0041 | -0.016331 | -0.0040949 | 8.7072e-06 | 5.0745e-06 | 0.024519 | 0.024519 | 0.024519 | 0.99173 | -0.15903 | 0.99115 | -0.17021 | 6.736
4 | -0.0025469 | -0.00063832 | 0.002547 | 0.00063822 | 5.9139e-08 | -1.008e-07 | 0.0038262 | 0.0038262 | 0.0038262 | 0.99049 | -0.18311 | 0.99051 | -0.18262 | 1.0512
5 | -0.002547 | -0.00063822 | 0.0025477 | 0.0006369 | 7.7009e-07 | -1.3136e-06 | 0.0038262 | 0.0038256 | 0.0038262 | 0.99051 | -0.18262 | 0.99084 | -0.17627 | 1.0512
6 | -0.0025477 | -0.0006369 | 0.0025482 | 0.00063619 | 4.1983e-07 | -7.1688e-07 | 0.0038256 | 0.0038252 | 0.0038256 | 0.99084 | -0.17627 | 0.99102 | -0.1728 | 1.051
7 | -0.024657 | -0.0061801 | 0.024669 | 0.0061872 | 1.1613e-05 | 7.1412e-06 | 0.037023 | 0.037023 | 0.037023 | 0.99102 | -0.1728 | 0.99153 | -0.16292 | 10.1711
8 | 0.022109 | 0.0055439 | -0.022105 | -0.0055413 | 4.2679e-06 | 2.5984e-06 | 0.033198 | 0.033198 | 0.033198 | 0.99102 | -0.1728 | 0.99081 | -0.17686 | 9.1202
9 | -0.0059578 | -0.0014932 | 0.005958 | 0.0014932 | 2.265e-07 | 4.4643e-08 | 0.0088765 | 0.0088765 | 0.0088765 | 0.99873 | -0.024178 | 0.99877 | -0.02338 | 2.4386
10 | -0.073266 | -0.018569 | 0.073348 | 0.018622 | 8.2411e-05 | 5.2502e-05 | 0.10923 | 0.10923 | 0.10923 | 0.99877 | -0.02338 | 1 | 0 | 30.0076
11 | 0.067308 | 0.017076 | -0.067221 | -0.017021 | 8.6127e-05 | 5.4823e-05 | 0.10035 | 0.10035 | 0.10035 | 0.99877 | -0.02338 | 0.99738 | -0.050026 | 27.569
12 | 0.14962 | 0.037892 | -0.14962 | -0.037892 | 7.501e-07 | 4.7795e-07 | 0.22277 | 0.22277 | 0.22277 | 1 | 0 | 0.99999 | -0.00010439 | 30.6009
13 | 0.065338 | 0.016549 | -0.065234 | -0.016483 | 0.00010359 | 6.5916e-05 | 0.097541 | 0.097541 | 0.097541 | 0.99738 | -0.050026 | 0.99565 | -0.083092 | 26.7971
14 | 0.00053337 | 0.00013357 | -0.00053337 | -0.00013368 | 2.0081e-09 | -1.0879e-07 | 0.00079625 | 0.00079629 | 0.00079629 | 0.99671 | -0.063042 | 0.9967 | -0.063122 | 0.21876
15 | -0.00053337 | -0.00013357 | 0.00053338 | 0.00013333 | 4.4244e-09 | -2.3972e-07 | 0.00079625 | 0.00079617 | 0.00079625 | 0.99671 | -0.063042 | 0.99671 | -0.062868 | 0.21875
16 | -0.0049469 | -0.0012395 | 0.0049473 | 0.0012395 | 3.5324e-07 | 9.606e-10 | 0.0073852 | 0.0073852 | 0.0073852 | 0.99671 | -0.062868 | 0.99679 | -0.061369 | 2.0289
17 | 0.14493 | 0.036717 | -0.14477 | -0.036613 | 0.00016394 | 0.00010443 | 0.2158 | 0.2158 | 0.2158 | 0.99999 | -0.00010439 | 0.99876 | -0.023682 | 29.6429
18 | 0.065234 | 0.016483 | -0.065217 | -0.016473 | 1.6943e-05 | 1.0782e-05 | 0.097541 | 0.097541 | 0.097541 | 0.99565 | -0.083092 | 0.99537 | -0.088511 | 26.7971
19 | 0.056927 | 0.014364 | -0.056907 | -0.014351 | 1.9857e-05 | 1.2613e-05 | 0.085015 | 0.085015 | 0.085015 | 0.99679 | -0.061369 | 0.99641 | -0.068656 | 23.3558
20 | -0.061874 | -0.015603 | 0.061879 | 0.015606 | 4.2458e-06 | 2.7e-06 | 0.0924 | 0.0924 | 0.0924 | 0.99679 | -0.061369 | 0.99687 | -0.059935 | 25.3847
21 | 0.0031105 | 0.00077927 | -0.0031102 | -0.0007795 | 2.452e-07 | -2.2831e-07 | 0.0046733 | 0.0046734 | 0.0046734 | 0.99039 | -0.1849 | 0.99031 | -0.18656 | 1.2839
22 | -0.0043958 | -0.0011014 | 0.0043958 | 0.0011014 | 2.8639e-08 | -4.2029e-09 | 0.0066044 | 0.0066043 | 0.0066044 | 0.99039 | -0.1849 | 0.9904 | -0.18476 | 1.8144
23 | -0.004969 | -0.001245 | 0.0049692 | 0.0012451 | 1.9467e-07 | 4.7216e-09 | 0.0074655 | 0.0074655 | 0.0074655 | 0.9904 | -0.18476 | 0.99044 | -0.18394 | 2.051
24 | 0.0039523 | 0.00099012 | -0.0039517 | -0.00099031 | 5.8422e-07 | -1.9468e-07 | 0.0059377 | 0.0059379 | 0.0059379 | 0.99044 | -0.18394 | 0.99028 | -0.18705 | 1.6313
25 | -0.0089215 | -0.0022352 | 0.0089231 | 0.0022359 | 1.5593e-06 | 7.0002e-07 | 0.013403 | 0.013403 | 0.013403 | 0.99044 | -0.18394 | 0.99063 | -0.18027 | 3.6822
26 | 0.055642 | 0.014073 | -0.055531 | -0.014002 | 0.00011081 | 7.0364e-05 | 0.083227 | 0.083227 | 0.083227 | 0.99537 | -0.088511 | 0.9932 | -0.13011 | 22.8645
27 | 0.0023308 | 0.00058406 | -0.0023307 | -0.00058414 | 3.6319e-08 | -7.8342e-08 | 0.0035022 | 0.0035023 | 0.0035023 | 0.99028 | -0.18705 | 0.99027 | -0.18737 | 0.96216
28 | -0.0094466 | -0.0023671 | 0.0094467 | 0.0023671 | 5.2285e-08 | 2.4547e-08 | 0.014189 | 0.014189 | 0.014189 | 0.99063 | -0.18027 | 0.99064 | -0.18016 | 3.8982
29 | -0.010511 | -0.0026338 | 0.010512 | 0.0026346 | 1.6527e-06 | 8.3006e-07 | 0.015788 | 0.015788 | 0.015788 | 0.99064 | -0.18016 | 0.99081 | -0.17686 | 4.3373
30 | 0.011592 | 0.0029067 | -0.011587 | -0.002904 | 5.0762e-06 | 2.6739e-06 | 0.01741 | 0.01741 | 0.01741 | 0.99081 | -0.17686 | 0.99033 | -0.18605 | 4.783
31 | -0.030401 | -0.0076238 | 0.030416 | 0.0076335 | 1.5636e-05 | 9.7486e-06 | 0.045625 | 0.045625 | 0.045625 | 0.99153 | -0.16292 | 0.99208 | -0.15214 | 12.5343
32 | 0.0082575 | 0.0020696 | -0.0082566 | -0.0020692 | 8.7595e-07 | 3.634e-07 | 0.012376 | 0.012376 | 0.012376 | 0.99285 | -0.13725 | 0.99274 | -0.13947 | 3.4
33 | -0.010555 | -0.0026453 | 0.010556 | 0.0026458 | 8.7091e-07 | 4.3735e-07 | 0.015819 | 0.015819 | 0.015819 | 0.99285 | -0.13725 | 0.99294 | -0.13552 | 4.3458
34 | 0.0062608 | 0.001569 | -0.0062607 | -0.001569 | 1.3871e-07 | 3.4469e-08 | 0.0093843 | 0.0093843 | 0.0093843 | 0.99274 | -0.13947 | 0.99271 | -0.13994 | 2.5781
35 | 0.040956 | 0.010287 | -0.04093 | -0.010271 | 2.5167e-05 | 1.5877e-05 | 0.061384 | 0.061384 | 0.061384 | 0.99294 | -0.13552 | 0.99228 | -0.1484 | 16.8637
36 | -0.051511 | -0.012933 | 0.051575 | 0.012974 | 6.4187e-05 | 4.0708e-05 | 0.077203 | 0.077202 | 0.077203 | 0.99294 | -0.13552 | 0.99429 | -0.10943 | 21.2095
37 | 0.0014932 | 0.00037413 | -0.0014932 | -0.00037423 | 1.6094e-08 | -1.0046e-07 | 0.0022382 | 0.0022383 | 0.0022383 | 0.99271 | -0.13994 | 0.9927 | -0.14017 | 0.61491
38 | 0.039979 | 0.010033 | -0.039972 | -0.010028 | 7.1214e-06 | 4.4895e-06 | 0.059957 | 0.059957 | 0.059957 | 0.99228 | -0.1484 | 0.99208 | -0.15214 | 16.4717
39 | 0.0028637 | 0.00071729 | -0.0028634 | -0.00071764 | 2.8619e-07 | -3.5571e-07 | 0.0042856 | 0.0042857 | 0.0042857 | 0.99429 | -0.10943 | 0.99418 | -0.11153 | 1.1774
40 | -0.054439 | -0.013691 | 0.054471 | 0.013711 | 3.1393e-05 | 1.9928e-05 | 0.081488 | 0.081488 | 0.081488 | 0.99429 | -0.10943 | 0.99492 | -0.097365 | 22.3868
41 | -0.055785 | -0.01404 | 0.055862 | 0.014089 | 7.6657e-05 | 4.8679e-05 | 0.083454 | 0.083454 | 0.083454 | 0.99492 | -0.097365 | 0.99641 | -0.068656 | 22.9269
42 | 0.0013146 | 0.00032932 | -0.0013146 | -0.00032946 | 1.7081e-08 | -1.4209e-07 | 0.0019661 | 0.0019661 | 0.0019661 | 0.99492 | -0.097365 | 0.99491 | -0.097638 | 0.54014
43 | 0.055531 | 0.014002 | -0.05547 | -0.013963 | 6.1413e-05 | 3.8999e-05 | 0.083227 | 0.083227 | 0.083227 | 0.9932 | -0.13011 | 0.992 | -0.15325 | 22.8645
44 | 0.0052189 | 0.0013078 | -0.0052183 | -0.0013077 | 5.8328e-07 | 5.4156e-08 | 0.0078799 | 0.00788 | 0.00788 | 0.98552 | -0.27908 | 0.9854 | -0.28143 | 2.1648
45 | -0.011931 | -0.0029901 | 0.011935 | 0.0029921 | 3.6566e-06 | 1.9572e-06 | 0.018015 | 0.018015 | 0.018015 | 0.98552 | -0.27908 | 0.98585 | -0.27265 | 4.9492
46 | 0.0052183 | 0.0013077 | -0.0052177 | -0.0013077 | 6.1812e-07 | 5.7486e-08 | 0.00788 | 0.0078801 | 0.0078801 | 0.9854 | -0.28143 | 0.98527 | -0.28392 | 2.1649
47 | -0.011935 | -0.0029921 | 0.011938 | 0.0029938 | 3.2464e-06 | 1.7375e-06 | 0.018015 | 0.018015 | 0.018015 | 0.98585 | -0.27265 | 0.98614 | -0.26695 | 4.9491
48 | -0.014803 | -0.0037118 | 0.014806 | 0.0037133 | 2.5889e-06 | 1.4803e-06 | 0.022338 | 0.022338 | 0.022338 | 0.98614 | -0.26695 | 0.98633 | -0.26328 | 6.1368
49 | 0.0026564 | 0.00066539 | -0.0026562 | -0.0006657 | 2.049e-07 | -3.0307e-07 | 0.0040074 | 0.0040075 | 0.0040075 | 0.98633 | -0.26328 | 0.98624 | -0.2649 | 1.101
50 | -0.017462 | -0.0043787 | 0.017496 | 0.0043985 | 3.3486e-05 | 1.9786e-05 | 0.026345 | 0.026345 | 0.026345 | 0.98633 | -0.26328 | 0.98839 | -0.22312 | 7.2377
51 | 0.034105 | 0.0086079 | -0.033991 | -0.0085366 | 0.00011373 | 7.1296e-05 | 0.051179 | 0.05118 | 0.05118 | 0.992 | -0.15325 | 0.98839 | -0.22312 | 14.0603
52 | 0.011156 | 0.0027967 | -0.011153 | -0.0027953 | 2.7507e-06 | 1.4224e-06 | 0.016735 | 0.016735 | 0.016735 | 0.992 | -0.15325 | 0.99174 | -0.15842 | 4.5974
53 | 0.010209 | 0.0025589 | -0.010207 | -0.0025581 | 1.5166e-06 | 7.48e-07 | 0.015313 | 0.015313 | 0.015313 | 0.992 | -0.15325 | 0.99184 | -0.15637 | 4.207
54 | 0.016495 | 0.0041381 | -0.016484 | -0.0041312 | 1.1827e-05 | 6.9146e-06 | 0.024835 | 0.024835 | 0.024835 | 0.98839 | -0.22312 | 0.98762 | -0.23817 | 6.8229
55 | 0.0064853 | 0.0016254 | -0.0064851 | -0.0016253 | 1.7926e-07 | 4.9584e-08 | 0.0097306 | 0.0097307 | 0.0097307 | 0.99174 | -0.15842 | 0.99171 | -0.159 | 2.6733
56 | 0.006946 | 0.0017408 | -0.0069458 | -0.0017407 | 1.6744e-07 | 5.4096e-08 | 0.010421 | 0.010421 | 0.010421 | 0.99184 | -0.15637 | 0.99182 | -0.15687 | 2.8628
57 | -0.0018863 | -0.00047242 | 0.0018863 | 0.00047218 | 6.2999e-08 | -2.3554e-07 | 0.0028167 | 0.0028166 | 0.0028167 | 0.99645 | -0.06795 | 0.99648 | -0.067248 | 0.77381
58 | 0.0018863 | 0.00047242 | -0.0018862 | -0.00047272 | 8.1058e-08 | -3.03e-07 | 0.0028167 | 0.0028168 | 0.0028168 | 0.99645 | -0.06795 | 0.9964 | -0.068852 | 0.77384
59 | -0.079282 | -0.019996 | 0.079393 | 0.020067 | 0.00011028 | 7.0305e-05 | 0.11843 | 0.11843 | 0.11843 | 0.99648 | -0.067248 | 0.998 | -0.038235 | 32.5369
60 | 0.077396 | 0.019524 | -0.07716 | -0.019373 | 0.00023643 | 0.0001507 | 0.11562 | 0.11562 | 0.11562 | 0.99648 | -0.067248 | 0.99316 | -0.13127 | 31.7632
61 | -0.014773 | -0.0037028 | 0.014778 | 0.0037056 | 5.0565e-06 | 2.8832e-06 | 0.022187 | 0.022187 | 0.022187 | 0.99078 | -0.1774 | 0.99115 | -0.17021 | 6.0954
62 | 0.0095977 | 0.0024057 | -0.0095966 | -0.0024051 | 1.1066e-06 | 5.2533e-07 | 0.014415 | 0.014415 | 0.014415 | 0.99078 | -0.1774 | 0.99065 | -0.17982 | 3.9601
63 | 0.0030422 | 0.00076226 | -0.0030421 | -0.00076242 | 1.5351e-07 | -1.5584e-07 | 0.0045619 | 0.004562 | 0.004562 | 0.99231 | -0.14769 | 0.99226 | -0.14875 | 1.2533
64 | -0.02688 | -0.0067439 | 0.026901 | 0.006757 | 2.1071e-05 | 1.3039e-05 | 0.04031 | 0.04031 | 0.04031 | 0.99231 | -0.14769 | 0.99316 | -0.13127 | 11.0742
65 | 0.018013 | 0.0045231 | -0.017995 | -0.0045127 | 1.7538e-05 | 1.0394e-05 | 0.026991 | 0.026991 | 0.026991 | 0.99316 | -0.13127 | 0.99211 | -0.15169 | 7.4151
66 | 0.0037641 | 0.0009417 | -0.0037626 | -0.00094235 | 1.4637e-06 | -6.5081e-07 | 0.005639 | 0.0056396 | 0.0056396 | 0.99316 | -0.13127 | 0.99274 | -0.13944 | 1.5493
67 | 0.028482 | 0.0071517 | -0.02845 | -0.0071314 | 3.2673e-05 | 2.0293e-05 | 0.042679 | 0.042679 | 0.042679 | 0.99316 | -0.13127 | 0.99192 | -0.15534 | 11.7249
68 | 0.005409 | 0.0013556 | -0.0054086 | -0.0013555 | 4.3644e-07 | 5.1265e-08 | 0.0081151 | 0.0081151 | 0.0081151 | 0.99182 | -0.15687 | 0.99173 | -0.15857 | 2.2294
69 | 0.026515 | 0.0066464 | -0.026511 | -0.0066443 | 3.4155e-06 | 2.1116e-06 | 0.039776 | 0.039776 | 0.039776 | 0.99192 | -0.15534 | 0.99178 | -0.15804 | 10.9275
70 | 0.0052841 | 0.0013242 | -0.0052836 | -0.0013242 | 4.7824e-07 | 4.3916e-08 | 0.0079253 | 0.0079254 | 0.0079254 | 0.99211 | -0.15169 | 0.99201 | -0.15359 | 2.1773
71 | 0.012711 | 0.0031885 | -0.012701 | -0.0031832 | 9.6742e-06 | 5.2758e-06 | 0.019066 | 0.019066 | 0.019066 | 0.99211 | -0.15169 | 0.99128 | -0.16767 | 5.2379
72 | 0.0037626 | 0.00094235 | -0.0037624 | -0.00094246 | 2.5075e-07 | -1.1133e-07 | 0.0056396 | 0.0056397 | 0.0056397 | 0.99274 | -0.13944 | 0.99267 | -0.14084 | 1.5494
73 | -0.080337 | -0.020303 | 0.080394 | 0.020339 | 5.6099e-05 | 3.5767e-05 | 0.11984 | 0.11984 | 0.11984 | 0.998 | -0.038235 | 0.99876 | -0.023682 | 32.9238
74 | 0.0052836 | 0.0013242 | -0.0052834 | -0.0013242 | 1.3775e-07 | 1.266e-08 | 0.0079254 | 0.0079254 | 0.0079254 | 0.99201 | -0.15359 | 0.99198 | -0.15414 | 2.1773
75 | 0.0024156 | 0.00060493 | -0.0024155 | -0.00060504 | 5.381e-08 | -1.0705e-07 | 0.0036208 | 0.0036209 | 0.0036209 | 0.99267 | -0.14084 | 0.99264 | -0.1413 | 0.99475
76 | -0.0024154 | -0.00060535 | 0.0024155 | 0.00060504 | 1.5986e-07 | -3.1796e-07 | 0.003621 | 0.0036209 | 0.003621 | 0.99257 | -0.14269 | 0.99264 | -0.1413 | 0.99479
77 | -0.062908 | -0.015864 | 0.062974 | 0.015906 | 6.6374e-05 | 4.2217e-05 | 0.093937 | 0.093937 | 0.093937 | 0.99687 | -0.059935 | 0.99802 | -0.037917 | 25.8068
78 | -0.06433 | -0.016246 | 0.064374 | 0.016274 | 4.3913e-05 | 2.7938e-05 | 0.095957 | 0.095957 | 0.095957 | 0.99802 | -0.037917 | 0.99876 | -0.023682 | 26.3619

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22706 | 0.057127

## res_load
| p_mw | q_mvar
0 | 0.0046964 | 0.001177
1 | 0.0025469 | 0.00063832
2 | 0.0059578 | 0.0014932
3 | 0.002443 | 0.00061227
4 | 0.0018835 | 0.00047204
5 | 0.00053337 | 0.00013368
6 | 0.0044135 | 0.0011061
7 | 0.0046874 | 0.0011748
8 | 0.0012853 | 0.00032213
9 | 0.0031102 | 0.0007795
10 | 0.00057319 | 0.00014365
11 | 0.0095755 | 0.0023998
12 | 0.001621 | 0.00040625
13 | 0.00052353 | 0.00013121
14 | 0.001064 | 0.00026667
15 | 0.011587 | 0.002904
16 | 0.0023307 | 0.00058414
17 | 0.0057319 | 0.0014366
18 | 0.0022973 | 0.00057576
19 | 0.0019958 | 0.00050021
20 | 0.0047674 | 0.0011948
21 | 0.0009516 | 0.00023849
22 | 0.0014932 | 0.00037423
23 | 0.0095555 | 0.0023948
24 | 0.0028634 | 0.00071764
25 | 0.0067125 | 0.0016823
26 | 0.0052177 | 0.0013077
27 | 0.002865 | 0.00071805
28 | 0.0046681 | 0.0011699
29 | 0.0032613 | 0.00081735
30 | 0.0018862 | 0.00047272
31 | 0.0051755 | 0.0012971
32 | 0.0015532 | 0.00038927
33 | 0.0095966 | 0.0024051
34 | 0.002785 | 0.00069799
35 | 0.0030421 | 0.00076242
36 | 0.016484 | 0.0041312
37 | 0.0026562 | 0.0006657
38 | 0.0064851 | 0.0016253
39 | 0.0015368 | 0.00038516
40 | 0.0054086 | 0.0013555
41 | 0.0019349 | 0.00048494
42 | 0.026511 | 0.0066443
43 | 0.00094467 | 0.00023676
44 | 0.012701 | 0.0031832
45 | 0.0013468 | 0.00033753
46 | 0.0024154 | 0.00060535
47 | 0.0013146 | 0.00032946
48 | 0.0010454 | 0.00026201
49 | 0.0010294 | 0.00025799
50 | 0.0013553 | 0.00033968
51 | 0.0052834 | 0.0013242

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1