## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-53_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-53_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_191-53_0_6_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_191-53_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_191-53_0_6_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_191-53_0_6_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_191-53_0_6_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_191-53_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_191-53_0_6_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_191-53_0_6_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_191-53_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_191-53_0_6_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_191-53_0_6_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_191-53_0_6_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_191-53_0_6_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_191-53_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_191-53_0_6_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_191-53_0_6_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_191-53_0_6_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_191-53_0_6_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_191-53_0_6_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_191-53_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_191-53_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_191-53_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_191-53_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_191-53_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_191-53_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_191-53_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_191-53_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_191-53_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_MV_500_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-53_0_6_load_0 | 0 | 0.036839 | 0.0092328 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-53_0_6_load_28 | 6 | 0.029762 | 0.007459 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-53_0_6_load_32 | 9 | 0.057566 | 0.014427 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-53_0_6_load_33 | 11 | 0.035071 | 0.0087897 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-53_0_6_load_17 | 12 | 0.050771 | 0.012724 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-53_0_6_load_18 | 13 | 0.01902 | 0.0047668 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-53_0_6_load_19 | 14 | 0.02007 | 0.0050301 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-53_0_6_load_10 | 15 | 0.036454 | 0.0091362 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-53_0_6_load_20 | 16 | 0.0038013 | 0.00095269 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-53_0_6_load_25 | 17 | 0.0068226 | 0.0017099 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-53_0_6_load_31 | 19 | 0.0075616 | 0.0018951 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-53_0_6_load_30 | 20 | 0.010461 | 0.0026218 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-53_0_6_load_11 | 22 | 0.026419 | 0.0066212 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-53_0_6_load_15 | 24 | 0.080288 | 0.020122 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-53_0_6_load_16 | 25 | 0.084634 | 0.021211 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-53_0_6_load_21 | 26 | 0.0076483 | 0.0019168 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-53_0_6_load_23 | 28 | 0.0034477 | 0.00086407 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-53_0_6_load_24 | 29 | 0.02101 | 0.0052655 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-53_0_6_line_0 |  | 0 | 1 | 0.041021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-53_0_6_line_1 |  | 1 | 2 | 0.058798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-53_0_6_line_2 |  | 2 | 12 | 0.03165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-53_0_6_line_3 |  | 2 | 10 | 0.049661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-53_0_6_line_4 |  | 3 | 4 | 0.009071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_191-53_0_6_line_5 |  | 3 | 5 | 0.06017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-53_0_6_line_6 |  | 3 | 6 | 0.019896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-53_0_6_line_7 |  | 4 | 15 | 0.076159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_191-53_0_6_line_8 |  | 5 | 16 | 0.04246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-53_0_6_line_9 |  | 5 | 17 | 0.031759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-53_0_6_line_10 |  | 6 | 18 | 0.013562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-53_0_6_line_11 |  | 7 | 8 | 0.054489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-53_0_6_line_12 |  | 7 | 9 | 0.036314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-53_0_6_line_13 |  | 8 | 19 | 0.012789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-53_0_6_line_14 |  | 10 | 11 | 0.030636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-53_0_6_line_15 |  | 12 | 21 | 0.0087436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-53_0_6_line_16 |  | 13 | 14 | 0.027998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-53_0_6_line_17 |  | 14 | 16 | 0.01619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-53_0_6_line_18 |  | 15 | 22 | 0.022958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_191-53_0_6_line_19 |  | 17 | 27 | 0.0082114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-53_0_6_line_20 |  | 18 | 19 | 0.027942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-53_0_6_line_21 |  | 18 | 20 | 0.021359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-53_0_6_line_22 |  | 21 | 24 | 0.04442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_191-53_0_6_line_23 |  | 21 | 23 | 0.099741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_191-53_0_6_line_24 |  | 22 | 23 | 0.020611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_191-53_0_6_line_25 |  | 24 | 25 | 0.056569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-53_0_6_line_26 |  | 26 | 27 | 0.030817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-53_0_6_line_27 |  | 27 | 28 | 0.013091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-53_0_6_line_28 |  | 27 | 29 | 0.017538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-53_0_6_trafo_13 | 0.63 MVA 20/0.4 kV | 30 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2687926.7603 | 1249954.4404 | 2687903.2537 | 1249920.8218
1 | 2687926.7603 | 1249954.4404 | 2687920.5507 | 1249953.6254 | 2687915.6859 | 1249954.2871 | 2687912.2764 | 1249956.0935 | 2687876.1874 | 1249980.8548
2 | 2687876.1874 | 1249980.8548 | 2687865.7108 | 1249987.7492 | 2687857.5148 | 1249990.5409 | 2687849.9364 | 1249990.8956 | 2687847.0917 | 1249990.5736
3 | 2687876.1874 | 1249980.8548 | 2687878.8234 | 1249984.3632 | 2687883.0436 | 1249989.9967 | 2687899.5104 | 1250013.4586 | 2687904.8363 | 1250021.4102
4 | 2687717.7905 | 1249971.8354 | 2687709.0224 | 1249969.4149
5 | 2687709.0224 | 1249969.4149 | 2687650.5768 | 1249954.4169
6 | 2687709.0224 | 1249969.4149 | 2687703.7723 | 1249988.6055
7 | 2687717.7905 | 1249971.8354 | 2687712.6555 | 1249991.7633 | 2687711.6038 | 1250002.1111 | 2687716.4437 | 1250026.0675 | 2687737.164 | 1250025.1875
8 | 2687650.5768 | 1249954.4169 | 2687628.4258 | 1249947.6288 | 2687609.921 | 1249942.1726
9 | 2687650.5768 | 1249954.4169 | 2687648.9756 | 1249959.0412 | 2687650.7635 | 1249963.2264 | 2687656.4672 | 1249968.1255 | 2687658.6666 | 1249970.015 | 2687660.8622 | 1249974.2062 | 2687657.7615 | 1249980.6652
10 | 2687700.1937 | 1250001.6864 | 2687703.7723 | 1249988.6055
11 | 2687709.2234 | 1250040.9941 | 2687718.5838 | 1250094.6731
12 | 2687718.5838 | 1250094.6731 | 2687754.3048 | 1250088.1389
13 | 2687709.2234 | 1250040.9941 | 2687707.0288 | 1250028.3949
14 | 2687904.8363 | 1250021.4102 | 2687923.3399 | 1250007.3407 | 2687925.7397 | 1250000.3043
15 | 2687838.4035 | 1249989.5903 | 2687847.0917 | 1249990.5736
16 | 2687594.3916 | 1249937.5938 | 2687567.5364 | 1249929.6755
17 | 2687594.3916 | 1249937.5938 | 2687609.921 | 1249942.1726
18 | 2687737.164 | 1250025.1875 | 2687760.101 | 1250024.2133
19 | 2687651.9226 | 1249986.4388 | 2687657.7615 | 1249980.6652
20 | 2687700.1937 | 1250001.6864 | 2687703.1413 | 1250006.0778 | 2687707.0288 | 1250028.3949
21 | 2687700.1937 | 1250001.6864 | 2687694.5502 | 1249999.8682 | 2687687.9599 | 1249999.7818 | 2687679.2497 | 1250001.2859
22 | 2687838.4035 | 1249989.5903 | 2687835.466 | 1250033.9136
23 | 2687838.4035 | 1249989.5903 | 2687779.4954 | 1249982.9016 | 2687780.6932 | 1250023.3387
24 | 2687780.6932 | 1250023.3387 | 2687760.101 | 1250024.2133
25 | 2687867.0958 | 1250049.116 | 2687847.2217 | 1250062.9541 | 2687838.8769 | 1250052.8784 | 2687835.466 | 1250033.9136
26 | 2687651.9226 | 1249986.4388 | 2687631.2976 | 1249973.9911 | 2687626.8081 | 1249979
27 | 2687651.9226 | 1249986.4388 | 2687644.196 | 1249997.0065
28 | 2687651.9226 | 1249986.4388 | 2687636.9073 | 1249977.3767

## bus_geodata
| x | y | coords
0 | 2687903.2537 | 1249920.8218
1 | 2687926.7603 | 1249954.4404
2 | 2687876.1874 | 1249980.8548
3 | 2687709.0224 | 1249969.4149
4 | 2687717.7905 | 1249971.8354
5 | 2687650.5768 | 1249954.4169
6 | 2687703.7723 | 1249988.6055
7 | 2687718.5838 | 1250094.6731
8 | 2687709.2234 | 1250040.9941
9 | 2687754.3048 | 1250088.1389
10 | 2687904.8363 | 1250021.4102
11 | 2687925.7397 | 1250000.3043
12 | 2687847.0917 | 1249990.5736
13 | 2687567.5364 | 1249929.6755
14 | 2687594.3916 | 1249937.5938
15 | 2687737.164 | 1250025.1875
16 | 2687609.921 | 1249942.1726
17 | 2687657.7615 | 1249980.6652
18 | 2687700.1937 | 1250001.6864
19 | 2687707.0288 | 1250028.3949
20 | 2687679.2497 | 1250001.2859
21 | 2687838.4035 | 1249989.5903
22 | 2687760.101 | 1250024.2133
23 | 2687780.6932 | 1250023.3387
24 | 2687835.466 | 1250033.9136
25 | 2687867.0958 | 1250049.116
26 | 2687626.8081 | 1249979
27 | 2687651.9226 | 1249986.4388
28 | 2687644.196 | 1249997.0065
29 | 2687636.9073 | 1249977.3767
30 | 2687772.928 | 1250039.358

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98473 | -0.29362 | 0.036839 | 0.0092328
1 | 0.98613 | -0.26649 | 0 | 0
2 | 0.98812 | -0.22774 | 0 | 0
3 | 0.99169 | -0.15871 | 0 | 0
4 | 0.99247 | -0.14368 | 0 | 0
5 | 0.98716 | -0.24637 | 0 | 0
6 | 0.98976 | -0.19594 | 0.029762 | 0.007459
7 | 0.98355 | -0.31622 | 0 | 0
8 | 0.98645 | -0.25987 | 0 | 0
9 | 0.98162 | -0.35396 | 0.057566 | 0.014427
10 | 0.98652 | -0.25889 | 0 | 0
11 | 0.98553 | -0.27815 | 0.035071 | 0.0087897
12 | 0.99022 | -0.1872 | 0.050771 | 0.012724
13 | 0.98441 | -0.29994 | 0.01902 | 0.0047668
14 | 0.9849 | -0.29037 | 0.02007 | 0.0050301
15 | 0.99685 | -0.059963 | 0.036454 | 0.0091362
16 | 0.98548 | -0.279 | 0.0038013 | 0.00095269
17 | 0.98602 | -0.26851 | 0.0068226 | 0.0017099
18 | 0.98881 | -0.21419 | 0 | 0
19 | 0.98713 | -0.24669 | 0.0075616 | 0.0018951
20 | 0.98861 | -0.21818 | 0.010461 | 0.0026218
21 | 0.9912 | -0.16815 | 0 | 0
22 | 0.99842 | -0.029992 | 0.026419 | 0.0066212
23 | 1 | 0 | -0.5457 | -0.13883
24 | 0.98783 | -0.23335 | 0.080288 | 0.020122
25 | 0.98342 | -0.31925 | 0.084634 | 0.021211
26 | 0.98556 | -0.27747 | 0.0076483 | 0.0019168
27 | 0.98578 | -0.27324 | 0 | 0
28 | 0.98574 | -0.27405 | 0.0034477 | 0.00086407
29 | 0.98544 | -0.27985 | 0.02101 | 0.0052655
30 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.036839 | -0.0092328 | 0.036887 | 0.0092628 | 4.7669e-05 | 2.9986e-05 | 0.055667 | 0.055667 | 0.055667 | 0.98473 | -0.29362 | 0.98613 | -0.26649 | 15.2932
1 | -0.036887 | -0.0092628 | 0.036955 | 0.0093058 | 6.8326e-05 | 4.2977e-05 | 0.055667 | 0.055667 | 0.055667 | 0.98613 | -0.26649 | 0.98812 | -0.22774 | 15.2931
2 | -0.072111 | -0.018148 | 0.072251 | 0.018238 | 0.00014003 | 8.9211e-05 | 0.10862 | 0.10862 | 0.10862 | 0.98812 | -0.22774 | 0.99022 | -0.1872 | 29.8404
3 | 0.035156 | 0.0088427 | -0.035103 | -0.0088099 | 5.2218e-05 | 3.2785e-05 | 0.052952 | 0.052953 | 0.052953 | 0.98812 | -0.22774 | 0.98652 | -0.25889 | 14.5474
4 | -0.18832 | -0.047642 | 0.18846 | 0.047729 | 0.00013596 | 8.678e-05 | 0.28273 | 0.28273 | 0.28273 | 0.99169 | -0.15871 | 0.99247 | -0.14368 | 38.8371
5 | 0.082317 | 0.020821 | -0.081973 | -0.020602 | 0.00034462 | 0.00021978 | 0.12358 | 0.12358 | 0.12358 | 0.99169 | -0.15871 | 0.98716 | -0.24637 | 33.9517
6 | 0.10601 | 0.02682 | -0.10582 | -0.0267 | 0.00018898 | 0.00012069 | 0.15915 | 0.15915 | 0.15915 | 0.99169 | -0.15871 | 0.98976 | -0.19594 | 43.7225
7 | -0.18846 | -0.047729 | 0.18922 | 0.048213 | 0.000761 | 0.00048408 | 0.28273 | 0.28273 | 0.28273 | 0.99247 | -0.14368 | 0.99685 | -0.059963 | 25.8914
8 | 0.042988 | 0.01081 | -0.042921 | -0.010768 | 6.6884e-05 | 4.2264e-05 | 0.064812 | 0.064812 | 0.064812 | 0.98716 | -0.24637 | 0.98548 | -0.279 | 17.8055
9 | 0.038985 | 0.0097913 | -0.038944 | -0.0097654 | 4.1139e-05 | 2.5923e-05 | 0.058772 | 0.058772 | 0.058772 | 0.98716 | -0.24637 | 0.98602 | -0.26851 | 16.1463
10 | 0.076055 | 0.019241 | -0.075988 | -0.019198 | 6.6564e-05 | 4.2427e-05 | 0.11441 | 0.11441 | 0.11441 | 0.98976 | -0.19594 | 0.98881 | -0.21419 | 31.4301
11 | -0.057669 | -0.014493 | 0.057825 | 0.014592 | 0.00015559 | 9.8886e-05 | 0.087262 | 0.087262 | 0.087262 | 0.98355 | -0.31622 | 0.98645 | -0.25987 | 23.9731
12 | 0.057669 | 0.014493 | -0.057566 | -0.014427 | 0.00010369 | 6.5904e-05 | 0.087262 | 0.087262 | 0.087262 | 0.98355 | -0.31622 | 0.98162 | -0.35396 | 23.9731
13 | -0.057825 | -0.014592 | 0.057861 | 0.014615 | 3.6519e-05 | 2.3209e-05 | 0.087262 | 0.087262 | 0.087262 | 0.98645 | -0.25987 | 0.98713 | -0.24669 | 23.973
14 | 0.035103 | 0.0088099 | -0.035071 | -0.0087897 | 3.2214e-05 | 2.0226e-05 | 0.052953 | 0.052953 | 0.052953 | 0.98652 | -0.25889 | 0.98553 | -0.27815 | 14.5474
15 | -0.12302 | -0.030962 | 0.12313 | 0.031034 | 0.00011211 | 7.164e-05 | 0.18491 | 0.18491 | 0.18491 | 0.99022 | -0.1872 | 0.9912 | -0.16815 | 50.8002
16 | -0.01902 | -0.0047668 | 0.019028 | 0.004772 | 8.6782e-06 | 5.1979e-06 | 0.02875 | 0.02875 | 0.02875 | 0.98441 | -0.29994 | 0.9849 | -0.29037 | 7.8983
17 | -0.039098 | -0.009802 | 0.03912 | 0.0098154 | 2.1186e-05 | 1.3353e-05 | 0.059072 | 0.059072 | 0.059072 | 0.9849 | -0.29037 | 0.98548 | -0.279 | 16.2287
18 | -0.22567 | -0.057349 | 0.226 | 0.057557 | 0.0003262 | 0.00020787 | 0.33715 | 0.33715 | 0.33715 | 0.99685 | -0.059963 | 0.99842 | -0.029992 | 30.8744
19 | 0.032121 | 0.0080555 | -0.032114 | -0.008051 | 7.2362e-06 | 4.5265e-06 | 0.048476 | 0.048476 | 0.048476 | 0.98602 | -0.26851 | 0.98578 | -0.27324 | 13.3177
20 | 0.065525 | 0.016575 | -0.065423 | -0.01651 | 0.00010199 | 6.4918e-05 | 0.09866 | 0.09866 | 0.09866 | 0.98881 | -0.21419 | 0.98713 | -0.24669 | 27.1044
21 | 0.010463 | 0.0026228 | -0.010461 | -0.0026218 | 1.9858e-06 | 9.9701e-07 | 0.015746 | 0.015746 | 0.015746 | 0.98881 | -0.21419 | 0.98861 | -0.21818 | 4.3258
22 | 0.16579 | 0.041885 | -0.16527 | -0.041555 | 0.0005164 | 0.00032936 | 0.249 | 0.249 | 0.249 | 0.9912 | -0.16815 | 0.98783 | -0.23335 | 34.2036
23 | -0.28892 | -0.072918 | 0.29127 | 0.074417 | 0.0023474 | 0.0014985 | 0.43391 | 0.43391 | 0.43391 | 0.9912 | -0.16815 | 1 | 0 | 39.7357
24 | -0.25242 | -0.064178 | 0.25278 | 0.064411 | 0.00036524 | 0.00023295 | 0.37652 | 0.37652 | 0.37652 | 0.99842 | -0.029992 | 1 | 0 | 34.4799
25 | 0.084982 | 0.021433 | -0.084634 | -0.021211 | 0.00034789 | 0.00022193 | 0.12806 | 0.12806 | 0.12806 | 0.98783 | -0.23335 | 0.98342 | -0.31925 | 35.1816
26 | -0.0076483 | -0.0019168 | 0.0076498 | 0.0019174 | 1.5409e-06 | 5.9342e-07 | 0.011548 | 0.011547 | 0.011548 | 0.98556 | -0.27747 | 0.98578 | -0.27324 | 3.1724
27 | 0.0034478 | 0.00086399 | -0.0034477 | -0.00086407 | 1.3297e-07 | -8.1787e-08 | 0.0052044 | 0.0052045 | 0.0052045 | 0.98578 | -0.27324 | 0.98574 | -0.27405 | 1.4298
28 | 0.021016 | 0.0052695 | -0.02101 | -0.0052655 | 6.6192e-06 | 4.0128e-06 | 0.031725 | 0.031725 | 0.031725 | 0.98578 | -0.27324 | 0.98544 | -0.27985 | 8.7156

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5457 | 0.13883

## res_load
| p_mw | q_mvar
0 | 0.036839 | 0.0092328
1 | 0.029762 | 0.007459
2 | 0.057566 | 0.014427
3 | 0.035071 | 0.0087897
4 | 0.050771 | 0.012724
5 | 0.01902 | 0.0047668
6 | 0.02007 | 0.0050301
7 | 0.036454 | 0.0091362
8 | 0.0038013 | 0.00095269
9 | 0.0068226 | 0.0017099
10 | 0.0075616 | 0.0018951
11 | 0.010461 | 0.0026218
12 | 0.026419 | 0.0066212
13 | 0.080288 | 0.020122
14 | 0.084634 | 0.021211
15 | 0.0076483 | 0.0019168
16 | 0.0034477 | 0.00086407
17 | 0.02101 | 0.0052655

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1