## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-55_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-55_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-55_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-55_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-55_0_3_node_78 | 0.4 | n |  | TRUE
5 | bus_LV_191-55_0_3_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_191-55_0_3_node_93 | 0.4 | n |  | TRUE
7 | bus_LV_191-55_0_3_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_191-55_0_3_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_191-55_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_191-55_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_191-55_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_191-55_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_191-55_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_191-55_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_191-55_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_191-55_0_3_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_191-55_0_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_191-55_0_3_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_191-55_0_3_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_191-55_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_191-55_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_191-55_0_3_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_191-55_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_191-55_0_3_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_191-55_0_3_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_191-55_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_191-55_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_191-55_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_191-55_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_191-55_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_191-55_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_191-55_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_191-55_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_191-55_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_191-55_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_191-55_0_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_191-55_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_191-55_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_191-55_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_191-55_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_191-55_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_191-55_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_191-55_0_3_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_191-55_0_3_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_191-55_0_3_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_191-55_0_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_191-55_0_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_191-55_0_3_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_191-55_0_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_191-55_0_3_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_191-55_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_191-55_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_191-55_0_3_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_191-55_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_191-55_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_191-55_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_191-55_0_3_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_191-55_0_3_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_191-55_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_191-55_0_3_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_191-55_0_3_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_191-55_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_191-55_0_3_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_191-55_0_3_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_191-55_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_191-55_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_191-55_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_191-55_0_3_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_191-55_0_3_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_191-55_0_3_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_191-55_0_3_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_191-55_0_3_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_191-55_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_191-55_0_3_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_191-55_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_191-55_0_3_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_191-55_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_191-55_0_3_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_191-55_0_3_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_191-55_0_3_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_191-55_0_3_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_191-55_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_191-55_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_191-55_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_191-55_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_191-55_0_3_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_191-55_0_3_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_191-55_0_3_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_191-55_0_3_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_191-55_0_3_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_191-55_0_3_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_191-55_0_3_node_87 | 0.4 | n |  | TRUE
93 | bus_MV_500_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-55_0_3_load_0 | 0 | 0.0057106 | 0.0014312 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-55_0_3_load_2 | 2 | 0.0048865 | 0.0012247 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-55_0_3_load_3 | 3 | 0.0052893 | 0.0013256 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-55_0_3_load_93 | 6 | 0.0067089 | 0.0016814 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-55_0_3_load_48 | 8 | 0.0029753 | 0.00074568 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-55_0_3_load_14 | 9 | 0.0023714 | 0.00059433 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-55_0_3_load_4 | 10 | 0.0044412 | 0.0011131 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-55_0_3_load_5 | 11 | 0.0014335 | 0.00035927 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-55_0_3_load_7 | 13 | 0.0010182 | 0.00025518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-55_0_3_load_8 | 14 | 0.0021358 | 0.00053527 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-55_0_3_load_32 | 16 | 0.0031489 | 0.00078919 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-55_0_3_load_33 | 17 | 0.0023115 | 0.00057932 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-55_0_3_load_71 | 18 | 0.0030722 | 0.00076997 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-55_0_3_load_39 | 19 | 0.00097637 | 0.0002447 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-55_0_3_load_13 | 20 | 0.0019596 | 0.00049112 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-55_0_3_load_24 | 21 | 0.0010925 | 0.00027381 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-55_0_3_load_31 | 23 | 0.0029598 | 0.0007418 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-55_0_3_load_10 | 24 | 0.0020435 | 0.00051214 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-55_0_3_load_11 | 25 | 0.0018602 | 0.00046622 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-55_0_3_load_12 | 26 | 0.0031181 | 0.00078146 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-55_0_3_load_15 | 27 | 0.0015863 | 0.00039755 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-55_0_3_load_16 | 28 | 0.0056027 | 0.0014042 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-55_0_3_load_17 | 29 | 0.0034884 | 0.00087428 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-55_0_3_load_18 | 30 | 0.0044645 | 0.0011189 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-55_0_3_load_19 | 31 | 0.0019922 | 0.00049929 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-55_0_3_load_20 | 32 | 0.0023202 | 0.0005815 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-55_0_3_load_21 | 33 | 0.0022542 | 0.00056496 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-55_0_3_load_22 | 34 | 0.0013925 | 0.00034899 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-55_0_3_load_45 | 36 | 0.0019989 | 0.00050096 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-55_0_3_load_25 | 37 | 0.0050315 | 0.001261 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-55_0_3_load_26 | 38 | 0.0032257 | 0.00080845 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-55_0_3_load_28 | 40 | 0.0031704 | 0.00079458 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-55_0_3_load_30 | 42 | 0.0031342 | 0.00078551 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-55_0_3_load_47 | 43 | 0.0032243 | 0.00080808 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-55_0_3_load_92 | 44 | 0.0025946 | 0.00065026 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-55_0_3_load_84 | 45 | 0.0026024 | 0.00065221 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-55_0_3_load_49 | 46 | 0.0030123 | 0.00075496 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-55_0_3_load_85 | 48 | 0.006009 | 0.001506 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-55_0_3_load_34 | 51 | 0.0062708 | 0.0015716 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-55_0_3_load_35 | 52 | 0.0031814 | 0.00079734 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-55_0_3_load_36 | 53 | 0.0033011 | 0.00082733 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-55_0_3_load_37 | 54 | 0.0030477 | 0.00076382 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_191-55_0_3_load_38 | 55 | 0.0068292 | 0.0017116 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_191-55_0_3_load_53 | 56 | 0.0031302 | 0.00078451 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_191-55_0_3_load_62 | 57 | 0.0057845 | 0.0014497 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_191-55_0_3_load_43 | 58 | 0.0044742 | 0.0011213 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_191-55_0_3_load_40 | 59 | 0.0015531 | 0.00038925 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_191-55_0_3_load_41 | 60 | 0.0024479 | 0.0006135 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_191-55_0_3_load_42 | 61 | 0.00096127 | 0.00024092 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_191-55_0_3_load_44 | 62 | 0.0017385 | 0.0004357 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_191-55_0_3_load_60 | 65 | 0.0025099 | 0.00062903 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_191-55_0_3_load_59 | 67 | 0.0029658 | 0.00074331 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_191-55_0_3_load_55 | 69 | 0.0035916 | 0.00090015 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_191-55_0_3_load_50 | 70 | 0.0016854 | 0.00042241 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_191-55_0_3_load_86 | 71 | 0.0026598 | 0.00066662 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_191-55_0_3_load_54 | 72 | 0.0025815 | 0.00064697 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_191-55_0_3_load_56 | 73 | 0.0048419 | 0.0012135 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_191-55_0_3_load_58 | 74 | 0.0035177 | 0.00088163 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_191-55_0_3_load_68 | 75 | 0.0031043 | 0.00077801 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_191-55_0_3_load_80 | 76 | 0.0030508 | 0.00076461 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_191-55_0_3_load_74 | 77 | 0.0026705 | 0.00066929 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_191-55_0_3_load_63 | 78 | 0.0023664 | 0.00059307 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_191-55_0_3_load_65 | 80 | 0.0014339 | 0.00035938 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_191-55_0_3_load_67 | 82 | 0.0034145 | 0.00085575 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_191-55_0_3_load_72 | 83 | 0.0025486 | 0.00063874 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_191-55_0_3_load_79 | 84 | 0.0022424 | 0.00056199 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_191-55_0_3_load_75 | 85 | 0.0086642 | 0.0021714 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_191-55_0_3_load_83 | 88 | 0.0019291 | 0.00048347 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_191-55_0_3_load_90 | 89 | 0.0021358 | 0.00053529 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_191-55_0_3_load_91 | 90 | 0.0038665 | 0.00096903 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_191-55_0_3_load_88 | 91 | 0.0026872 | 0.00067349 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_191-55_0_3_load_87 | 92 | 0.0024164 | 0.00060562 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-55_0_3_line_0 |  | 0 | 1 | 0.024963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-55_0_3_line_1 |  | 1 | 2 | 0.011292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-55_0_3_line_2 |  | 1 | 3 | 0.014375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-55_0_3_line_3 |  | 2 | 4 | 0.026633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-55_0_3_line_4 |  | 3 | 5 | 0.01883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-55_0_3_line_5 |  | 4 | 6 | 0.05425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-55_0_3_line_6 |  | 4 | 7 | 0.03217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-55_0_3_line_7 |  | 5 | 8 | 0.054544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-55_0_3_line_8 |  | 5 | 9 | 0.019146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-55_0_3_line_9 |  | 6 | 86 | 0.02451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-55_0_3_line_10 |  | 7 | 85 | 0.029732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-55_0_3_line_11 |  | 8 | 66 | 0.026143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-55_0_3_line_12 |  | 9 | 26 | 0.00072944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-55_0_3_line_13 |  | 10 | 11 | 0.013958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-55_0_3_line_14 |  | 10 | 12 | 0.011374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-55_0_3_line_15 |  | 11 | 13 | 0.022037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-55_0_3_line_16 |  | 12 | 14 | 0.033792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-55_0_3_line_17 |  | 12 | 15 | 0.00963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-55_0_3_line_18 |  | 13 | 16 | 0.024608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-55_0_3_line_19 |  | 14 | 17 | 0.026235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-55_0_3_line_20 |  | 15 | 18 | 0.010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-55_0_3_line_21 |  | 15 | 19 | 0.027823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-55_0_3_line_22 |  | 16 | 20 | 0.00098984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-55_0_3_line_23 |  | 17 | 21 | 0.02041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-55_0_3_line_24 |  | 18 | 22 | 0.046444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-55_0_3_line_25 |  | 19 | 23 | 9.5928e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-55_0_3_line_26 |  | 20 | 25 | 0.031838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-55_0_3_line_27 |  | 21 | 34 | 0.0021467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-55_0_3_line_28 |  | 22 | 83 | 0.00019111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-55_0_3_line_29 |  | 23 | 31 | 0.039874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-55_0_3_line_30 |  | 24 | 25 | 0.0035145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-55_0_3_line_31 |  | 24 | 26 | 0.023574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-55_0_3_line_32 |  | 27 | 28 | 0.0030839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-55_0_3_line_33 |  | 27 | 29 | 0.030938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-55_0_3_line_34 |  | 28 | 30 | 0.023549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-55_0_3_line_35 |  | 29 | 31 | 0.0044943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-55_0_3_line_36 |  | 32 | 33 | 0.002096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-55_0_3_line_37 |  | 32 | 34 | 0.02808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-55_0_3_line_38 |  | 33 | 35 | 0.035102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-55_0_3_line_39 |  | 35 | 36 | 0.01175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-55_0_3_line_40 |  | 37 | 38 | 0.022912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-55_0_3_line_41 |  | 37 | 39 | 0.024618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-55_0_3_line_42 |  | 38 | 40 | 0.0090801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-55_0_3_line_43 |  | 39 | 41 | 0.014817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-55_0_3_line_44 |  | 39 | 42 | 0.018611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-55_0_3_line_45 |  | 40 | 43 | 0.024461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-55_0_3_line_46 |  | 41 | 44 | 0.024046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-55_0_3_line_47 |  | 42 | 45 | 0.0097155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-55_0_3_line_48 |  | 43 | 46 | 0.0031462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-55_0_3_line_49 |  | 45 | 50 | 0.029727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-55_0_3_line_50 |  | 46 | 67 | 0.033705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-55_0_3_line_51 |  | 47 | 48 | 0.023014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-55_0_3_line_52 |  | 47 | 49 | 0.004061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-55_0_3_line_53 |  | 48 | 71 | 0.0036624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-55_0_3_line_54 |  | 49 | 56 | 0.022347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_191-55_0_3_line_55 |  | 49 | 70 | 0.017503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-55_0_3_line_56 |  | 50 | 76 | 0.0057107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_191-55_0_3_line_57 |  | 50 | 74 | 0.015683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_191-55_0_3_line_58 |  | 51 | 52 | 0.0075945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_191-55_0_3_line_59 |  | 51 | 53 | 0.022109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_191-55_0_3_line_60 |  | 52 | 54 | 0.022026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_191-55_0_3_line_61 |  | 53 | 55 | 0.014569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_191-55_0_3_line_62 |  | 54 | 56 | 0.014899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_191-55_0_3_line_63 |  | 55 | 57 | 0.026495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_191-55_0_3_line_64 |  | 57 | 58 | 0.0064847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_191-55_0_3_line_65 |  | 58 | 60 | 0.01907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_191-55_0_3_line_66 |  | 59 | 60 | 0.020235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_191-55_0_3_line_67 |  | 59 | 61 | 0.013433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_191-55_0_3_line_68 |  | 61 | 62 | 0.021057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_191-55_0_3_line_69 |  | 62 | 63 | 0.016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_191-55_0_3_line_70 |  | 63 | 64 | 0.023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_191-55_0_3_line_71 |  | 63 | 65 | 0.019345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_191-55_0_3_line_72 |  | 64 | 77 | 0.025431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_191-55_0_3_line_73 |  | 64 | 68 | 0.035803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_191-55_0_3_line_74 |  | 65 | 67 | 0.0061303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_191-55_0_3_line_75 |  | 66 | 68 | 0.01241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_191-55_0_3_line_76 |  | 66 | 69 | 0.0081571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_191-55_0_3_line_77 |  | 68 | 75 | 0.024105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_191-55_0_3_line_78 |  | 69 | 72 | 0.026117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_191-55_0_3_line_79 |  | 72 | 73 | 0.028323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_191-55_0_3_line_80 |  | 76 | 87 | 0.030121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_191-55_0_3_line_81 |  | 78 | 79 | 0.017848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_191-55_0_3_line_82 |  | 78 | 80 | 0.023174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_191-55_0_3_line_83 |  | 79 | 81 | 0.021352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_191-55_0_3_line_84 |  | 79 | 82 | 0.042348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_191-55_0_3_line_85 |  | 81 | 83 | 0.0098579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_191-55_0_3_line_86 |  | 82 | 84 | 0.012164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_191-55_0_3_line_87 |  | 86 | 90 | 0.0039503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_191-55_0_3_line_88 |  | 87 | 88 | 0.012957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_191-55_0_3_line_89 |  | 89 | 90 | 0.027361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_191-55_0_3_line_90 |  | 89 | 91 | 0.045191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_191-55_0_3_line_91 |  | 91 | 92 | 0.029699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-55_0_3_trafo_70 | 0.63 MVA 20/0.4 kV | 93 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2687536.0971 | 1248521.8042 | 2687543.1524 | 1248519.6623 | 2687557.42 | 1248509.3739
1 | 2687536.0971 | 1248521.8042 | 2687538.8315 | 1248532.76
2 | 2687536.0971 | 1248521.8042 | 2687532.753 | 1248507.824
3 | 2687545.2808 | 1248558.6007 | 2687538.8315 | 1248532.76
4 | 2687528.3723 | 1248489.5104 | 2687532.753 | 1248507.824
5 | 2687545.2808 | 1248558.6007 | 2687538.4906 | 1248560.6909 | 2687529.1567 | 1248561.1534 | 2687517.6413 | 1248561.0278 | 2687491.4653 | 1248558.6447
6 | 2687545.2808 | 1248558.6007 | 2687546.9644 | 1248567.3321 | 2687540.4292 | 1248572.0947 | 2687528.1603 | 1248581.0536
7 | 2687528.3723 | 1248489.5104 | 2687508.4567 | 1248493.5972 | 2687495.9333 | 1248494.2129 | 2687485.0262 | 1248492.2616 | 2687475.0919 | 1248488.5805
8 | 2687528.3723 | 1248489.5104 | 2687523.9399 | 1248470.8848
9 | 2687467.0559 | 1248556.4224 | 2687491.4653 | 1248558.6447
10 | 2687528.1603 | 1248581.0536 | 2687503.8682 | 1248598.1968
11 | 2687454.1365 | 1248473.8699 | 2687457.4408 | 1248477.6993 | 2687465.9925 | 1248485.2089 | 2687475.0919 | 1248488.5805
12 | 2687523.7711 | 1248470.1751 | 2687523.9399 | 1248470.8848
13 | 2687510.8825 | 1248350.7998 | 2687511.4081 | 1248364.7479
14 | 2687510.4541 | 1248339.4334 | 2687510.8825 | 1248350.7998
15 | 2687511.4081 | 1248364.7479 | 2687512.2379 | 1248386.7695
16 | 2687510.4541 | 1248339.4334 | 2687522.7359 | 1248339.8595 | 2687531.0821 | 1248344.9309 | 2687537.7726 | 1248354.5742
17 | 2687510.551 | 1248329.8054 | 2687510.4541 | 1248339.4334
18 | 2687513.1646 | 1248411.3603 | 2687512.2379 | 1248386.7695
19 | 2687552.7276 | 1248376.1294 | 2687537.7726 | 1248354.5742
20 | 2687510.551 | 1248329.8054 | 2687512.4378 | 1248319.6522
21 | 2687510.551 | 1248329.8054 | 2687493.7331 | 1248315.8802 | 2687489.4884 | 1248311.6559
22 | 2687513.1646 | 1248411.3603 | 2687513.2019 | 1248412.3494
23 | 2687559.9115 | 1248395.1701 | 2687558.0848 | 1248388.2287 | 2687552.7276 | 1248376.1294 | 2687552.7276 | 1248376.1294
24 | 2687520.9817 | 1248274.0398 | 2687516.1064 | 1248295.773 | 2687514.5713 | 1248308.1708 | 2687512.4378 | 1248319.6522
25 | 2687489.4884 | 1248311.6559 | 2687489.4204 | 1248311.5882
26 | 2687517.5 | 1248443.823 | 2687515.3022 | 1248434.5874 | 2687513.3407 | 1248416.0334 | 2687513.2019 | 1248412.3494
27 | 2687560.4578 | 1248397.2461 | 2687559.9115 | 1248395.1701
28 | 2687521.02 | 1248273.8526 | 2687520.9817 | 1248274.0398
29 | 2687489.4204 | 1248311.5882 | 2687476.755 | 1248298.9837 | 2687457.9299 | 1248287.5878
30 | 2687518.3137 | 1248447.2421 | 2687517.5 | 1248443.823
31 | 2687523.7711 | 1248470.1751 | 2687518.3137 | 1248447.2421
32 | 2687426.9497 | 1248270.4778 | 2687424.2382 | 1248269.0087
33 | 2687426.9497 | 1248270.4778 | 2687427.1079 | 1248270.5635 | 2687439.9849 | 1248276.7247 | 2687454.0851 | 1248285.2603
34 | 2687403.3166 | 1248258.2358 | 2687408.4583 | 1248260.4588 | 2687424.2382 | 1248269.0087
35 | 2687457.9299 | 1248287.5878 | 2687454.0851 | 1248285.2603
36 | 2687568.1373 | 1248426.4284 | 2687567.6039 | 1248424.4014
37 | 2687560.4578 | 1248397.2461 | 2687567.6039 | 1248424.4014
38 | 2687577.0704 | 1248460.3743 | 2687568.1373 | 1248426.4284
39 | 2687577.0704 | 1248460.3743 | 2687566.9877 | 1248466.4067
40 | 2687351.9505 | 1248445.2947 | 2687333.9423 | 1248459.4605
41 | 2687314.5936 | 1248474.6807 | 2687333.9423 | 1248459.4605
42 | 2687351.9505 | 1248445.2947 | 2687354.3193 | 1248443.4313 | 2687359.314 | 1248439.9888
43 | 2687314.5936 | 1248474.6807 | 2687304.9874 | 1248463.3752
44 | 2687314.5936 | 1248474.6807 | 2687326.1799 | 1248489.2459
45 | 2687359.314 | 1248439.9888 | 2687374.5846 | 1248429.4639 | 2687379.6359 | 1248426.3877
46 | 2687304.9874 | 1248463.3752 | 2687286.7755 | 1248479.0772
47 | 2687332.2281 | 1248496.8493 | 2687326.1799 | 1248489.2459
48 | 2687382.323 | 1248424.7512 | 2687379.6359 | 1248426.3877
49 | 2687350.7343 | 1248520.1137 | 2687332.2281 | 1248496.8493
50 | 2687412.1637 | 1248409.3895 | 2687410.5777 | 1248409.6351 | 2687396.8682 | 1248415.8932 | 2687382.323 | 1248424.7512
51 | 2687275.8668 | 1248427.8866 | 2687258.5143 | 1248443.0035
52 | 2687273.2848 | 1248424.7463 | 2687275.8668 | 1248427.8866
53 | 2687258.5143 | 1248443.0035 | 2687255.7528 | 1248445.4092
54 | 2687273.2848 | 1248424.7463 | 2687289.3534 | 1248409.2165
55 | 2687273.2848 | 1248424.7463 | 2687268.4037 | 1248419.2592 | 2687262.0175 | 1248411.3583
56 | 2687350.7343 | 1248520.1137 | 2687354.2747 | 1248524.5945
57 | 2687350.7343 | 1248520.1137 | 2687354.0807 | 1248518.5285 | 2687365.0614 | 1248513.7372
58 | 2687316.0558 | 1248383.7291 | 2687322.0236 | 1248379.0321
59 | 2687339.3968 | 1248365.3586 | 2687322.0236 | 1248379.0321
60 | 2687316.0558 | 1248383.7291 | 2687314.2744 | 1248385.1312 | 2687300.0665 | 1248398.8626
61 | 2687350.8451 | 1248356.3482 | 2687350.8451 | 1248356.3482 | 2687339.3968 | 1248365.3586
62 | 2687289.3534 | 1248409.2165 | 2687300.0665 | 1248398.8626
63 | 2687350.8451 | 1248356.3482 | 2687359.6945 | 1248351.3749 | 2687369.0176 | 1248349.1106 | 2687375.6939 | 1248348.1182
64 | 2687382.1082 | 1248347.1649 | 2687375.6939 | 1248348.1182
65 | 2687382.1082 | 1248347.1649 | 2687385.2837 | 1248346.6929 | 2687400.8013 | 1248349.9685 | 2687400.8013 | 1248349.9685
66 | 2687418.2092 | 1248360.0445 | 2687411.3787 | 1248354.8281 | 2687400.8013 | 1248349.9685
67 | 2687418.2092 | 1248360.0445 | 2687420.0047 | 1248361.4157 | 2687426.7175 | 1248370.3477
68 | 2687426.7175 | 1248370.3477 | 2687429.0044 | 1248373.3907 | 2687435.6955 | 1248389.2902
69 | 2687437.3024 | 1248405.2703 | 2687435.6955 | 1248389.2902
70 | 2687439.7007 | 1248429.0457 | 2687437.3024 | 1248405.2703
71 | 2687437.3024 | 1248405.2703 | 2687424.4759 | 1248407.4828 | 2687418.2217 | 1248408.4513
72 | 2687439.7007 | 1248429.0457 | 2687463.9384 | 1248421.3466
73 | 2687439.7007 | 1248429.0457 | 2687441.3233 | 1248450.1076 | 2687447.2577 | 1248463.5385
74 | 2687412.1637 | 1248409.3895 | 2687418.2217 | 1248408.4513
75 | 2687447.2577 | 1248463.5385 | 2687450.2219 | 1248468.4081 | 2687454.1365 | 1248473.8699
76 | 2687454.1365 | 1248473.8699 | 2687448.491 | 1248479.7577 | 2687448.491 | 1248479.7577
77 | 2687447.2577 | 1248463.5385 | 2687468.4768 | 1248452.1011
78 | 2687428.0241 | 1248479.7448 | 2687428.0241 | 1248479.7448 | 2687431.2122 | 1248483.2611 | 2687432.2899 | 1248484.4446 | 2687433.5161 | 1248485.797 | 2687438.8664 | 1248479.9493 | 2687443.7521 | 1248478.4647 | 2687448.491 | 1248479.7577
79 | 2687428.0241 | 1248479.7448 | 2687422.5175 | 1248483.3886 | 2687421.3052 | 1248484.1713 | 2687420.9399 | 1248484.3549 | 2687418.9766 | 1248483.3141 | 2687404.4612 | 1248493.3484
80 | 2687365.2283 | 1248551.2839 | 2687364.8394 | 1248540.7814 | 2687363.2018 | 1248535.5756 | 2687359.6237 | 1248531.3642 | 2687354.2747 | 1248524.5945
81 | 2687523.5488 | 1248242.8989 | 2687507.7359 | 1248251.175
82 | 2687487.2038 | 1248261.9212 | 2687507.7359 | 1248251.175
83 | 2687523.5488 | 1248242.8989 | 2687524.0042 | 1248252.4683 | 2687523.0001 | 1248264.1956
84 | 2687523.5488 | 1248242.8989 | 2687516.4966 | 1248224.3587 | 2687512.6449 | 1248219.2313 | 2687505.6983 | 1248215.0034 | 2687499.6315 | 1248216.1592 | 2687498.0205 | 1248216.9417
85 | 2687523.0001 | 1248264.1956 | 2687521.02 | 1248273.8526
86 | 2687487.0795 | 1248222.2563 | 2687498.0205 | 1248216.9417
87 | 2687467.0559 | 1248556.4224 | 2687463.1207 | 1248556.0783
88 | 2687365.2283 | 1248551.2839 | 2687375.78 | 1248550.6945 | 2687378.1656 | 1248550.5639
89 | 2687463.1207 | 1248556.0783 | 2687435.8637 | 1248553.6953
90 | 2687435.8637 | 1248553.6953 | 2687407.7888 | 1248589.1082
91 | 2687431.9882 | 1248599.616 | 2687430.6491 | 1248596.1485 | 2687424.6935 | 1248589.7893 | 2687416.3788 | 1248587.7207 | 2687407.7888 | 1248589.1082

## bus_geodata
| x | y | coords
0 | 2687557.42 | 1248509.3739
1 | 2687536.0971 | 1248521.8042
2 | 2687538.8315 | 1248532.76
3 | 2687532.753 | 1248507.824
4 | 2687545.2808 | 1248558.6007
5 | 2687528.3723 | 1248489.5104
6 | 2687491.4653 | 1248558.6447
7 | 2687528.1603 | 1248581.0536
8 | 2687475.0919 | 1248488.5805
9 | 2687523.9399 | 1248470.8848
10 | 2687510.8825 | 1248350.7998
11 | 2687511.4081 | 1248364.7479
12 | 2687510.4541 | 1248339.4334
13 | 2687512.238 | 1248386.7695
14 | 2687537.7726 | 1248354.5742
15 | 2687510.551 | 1248329.8054
16 | 2687513.1646 | 1248411.3603
17 | 2687552.7276 | 1248376.1294
18 | 2687512.4378 | 1248319.6522
19 | 2687489.4884 | 1248311.6559
20 | 2687513.2019 | 1248412.3494
21 | 2687559.9115 | 1248395.1701
22 | 2687520.9817 | 1248274.0398
23 | 2687489.4204 | 1248311.5882
24 | 2687518.3137 | 1248447.2421
25 | 2687517.5 | 1248443.823
26 | 2687523.7711 | 1248470.1751
27 | 2687426.9497 | 1248270.4778
28 | 2687424.2382 | 1248269.0087
29 | 2687454.0851 | 1248285.2603
30 | 2687403.3166 | 1248258.2358
31 | 2687457.9299 | 1248287.5878
32 | 2687567.6039 | 1248424.4014
33 | 2687568.1373 | 1248426.4284
34 | 2687560.4578 | 1248397.2461
35 | 2687577.0704 | 1248460.3743
36 | 2687566.9877 | 1248466.4067
37 | 2687333.9423 | 1248459.4605
38 | 2687351.9505 | 1248445.2947
39 | 2687314.5936 | 1248474.6807
40 | 2687359.314 | 1248439.9888
41 | 2687304.9874 | 1248463.3752
42 | 2687326.1799 | 1248489.2459
43 | 2687379.6359 | 1248426.3877
44 | 2687286.7755 | 1248479.0772
45 | 2687332.2281 | 1248496.8493
46 | 2687382.323 | 1248424.7512
47 | 2687275.8669 | 1248427.8866
48 | 2687258.5143 | 1248443.0035
49 | 2687273.2848 | 1248424.7463
50 | 2687350.7343 | 1248520.1137
51 | 2687322.0236 | 1248379.0321
52 | 2687316.0558 | 1248383.7291
53 | 2687339.3968 | 1248365.3586
54 | 2687300.0665 | 1248398.8626
55 | 2687350.8451 | 1248356.3482
56 | 2687289.3534 | 1248409.2165
57 | 2687375.6939 | 1248348.1182
58 | 2687382.1082 | 1248347.1649
59 | 2687418.2092 | 1248360.0445
60 | 2687400.8013 | 1248349.9685
61 | 2687426.7175 | 1248370.3477
62 | 2687435.6955 | 1248389.2902
63 | 2687437.3024 | 1248405.2703
64 | 2687439.7007 | 1248429.0457
65 | 2687418.2217 | 1248408.4513
66 | 2687454.1365 | 1248473.8699
67 | 2687412.1637 | 1248409.3895
68 | 2687447.2577 | 1248463.5385
69 | 2687448.491 | 1248479.7577
70 | 2687262.0175 | 1248411.3583
71 | 2687255.7528 | 1248445.4092
72 | 2687428.0242 | 1248479.7448
73 | 2687404.4612 | 1248493.3484
74 | 2687365.0614 | 1248513.7372
75 | 2687468.4768 | 1248452.1011
76 | 2687354.2747 | 1248524.5945
77 | 2687463.9384 | 1248421.3466
78 | 2687507.7359 | 1248251.175
79 | 2687523.5488 | 1248242.8989
80 | 2687487.2038 | 1248261.9212
81 | 2687523.0001 | 1248264.1956
82 | 2687498.0205 | 1248216.9417
83 | 2687521.02 | 1248273.8526
84 | 2687487.0795 | 1248222.2563
85 | 2687503.8682 | 1248598.1968
86 | 2687467.0559 | 1248556.4224
87 | 2687365.2283 | 1248551.2839
88 | 2687378.1656 | 1248550.5639
89 | 2687435.8637 | 1248553.6953
90 | 2687463.1207 | 1248556.0783
91 | 2687407.7888 | 1248589.1082
92 | 2687431.9882 | 1248599.616
93 | 2687437.3024 | 1248405.2703

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98431 | -0.30033 | 0.0057106 | 0.0014312
1 | 0.98444 | -0.29776 | 0 | 0
2 | 0.98411 | -0.30414 | 0.0048865 | 0.0012247
3 | 0.98493 | -0.28818 | 0.0052893 | 0.0013256
4 | 0.98346 | -0.31684 | 0 | 0
5 | 0.98566 | -0.27385 | 0 | 0
6 | 0.98257 | -0.33428 | 0.0067089 | 0.0016814
7 | 0.9832 | -0.32186 | 0 | 0
8 | 0.99139 | -0.16348 | 0.0029753 | 0.00074568
9 | 0.9844 | -0.29829 | 0.0023714 | 0.00059433
10 | 0.9777 | -0.42892 | 0.0044412 | 0.0011131
11 | 0.9784 | -0.41516 | 0.0014335 | 0.00035927
12 | 0.97718 | -0.43923 | 0 | 0
13 | 0.97954 | -0.3929 | 0.0010182 | 0.00025518
14 | 0.97675 | -0.44756 | 0.0021358 | 0.00053527
15 | 0.97686 | -0.44559 | 0 | 0
16 | 0.98083 | -0.36765 | 0.0031489 | 0.00078919
17 | 0.97648 | -0.45302 | 0.0023115 | 0.00057932
18 | 0.97671 | -0.44843 | 0.0030722 | 0.00076997
19 | 0.97631 | -0.4563 | 0.00097637 | 0.0002447
20 | 0.98089 | -0.36658 | 0.0019596 | 0.00049112
21 | 0.97631 | -0.4564 | 0.0010925 | 0.00027381
22 | 0.97619 | -0.45863 | 0 | 0
23 | 0.97631 | -0.45634 | 0.0029598 | 0.0007418
24 | 0.98292 | -0.32704 | 0.0020435 | 0.00051214
25 | 0.98271 | -0.33107 | 0.0018602 | 0.00046622
26 | 0.98436 | -0.2992 | 0.0031181 | 0.00078146
27 | 0.97528 | -0.47669 | 0.0015863 | 0.00039755
28 | 0.97525 | -0.47726 | 0.0056027 | 0.0014042
29 | 0.97561 | -0.47009 | 0.0034884 | 0.00087428
30 | 0.97515 | -0.47919 | 0.0044645 | 0.0011189
31 | 0.97567 | -0.46884 | 0.0019922 | 0.00049929
32 | 0.97612 | -0.46009 | 0.0023202 | 0.0005815
33 | 0.97611 | -0.46025 | 0.0022542 | 0.00056496
34 | 0.97629 | -0.45671 | 0.0013925 | 0.00034899
35 | 0.97605 | -0.46153 | 0 | 0
36 | 0.97602 | -0.46196 | 0.0019989 | 0.00050096
37 | 0.99461 | -0.10355 | 0.0050315 | 0.001261
38 | 0.99507 | -0.09473 | 0.0032257 | 0.00080845
39 | 0.99423 | -0.11086 | 0 | 0
40 | 0.99528 | -0.09072 | 0.0031704 | 0.00079458
41 | 0.9942 | -0.11154 | 0 | 0
42 | 0.99399 | -0.11553 | 0.0031342 | 0.00078551
43 | 0.99591 | -0.078563 | 0.0032243 | 0.00080808
44 | 0.99414 | -0.11264 | 0.0025946 | 0.00065026
45 | 0.99389 | -0.11743 | 0.0026024 | 0.00065221
46 | 0.996 | -0.076822 | 0.0030123 | 0.00075496
47 | 0.99094 | -0.17445 | 0 | 0
48 | 0.99075 | -0.178 | 0.006009 | 0.001506
49 | 0.99097 | -0.17383 | 0 | 0
50 | 0.99366 | -0.12189 | 0 | 0
51 | 0.99183 | -0.15705 | 0.0062708 | 0.0015716
52 | 0.9917 | -0.1597 | 0.0031814 | 0.00079734
53 | 0.99236 | -0.14687 | 0.0033011 | 0.00082733
54 | 0.99136 | -0.16616 | 0.0030477 | 0.00076382
55 | 0.99275 | -0.13932 | 0.0068292 | 0.0017116
56 | 0.99118 | -0.16972 | 0.0031302 | 0.00078451
57 | 0.99363 | -0.12241 | 0.0057845 | 0.0014497
58 | 0.99387 | -0.11762 | 0.0044742 | 0.0011213
59 | 0.99558 | -0.084635 | 0.0015531 | 0.00038925
60 | 0.99468 | -0.10202 | 0.0024479 | 0.0006135
61 | 0.9962 | -0.072742 | 0.00096127 | 0.00024092
62 | 0.99719 | -0.053774 | 0.0017385 | 0.0004357
63 | 0.99797 | -0.038842 | 0 | 0
64 | 1 | 0 | -0.23068 | -0.05847
65 | 0.99727 | -0.052386 | 0.0025099 | 0.00062903
66 | 0.99421 | -0.10966 | 0 | 0
67 | 0.99706 | -0.056412 | 0.0029658 | 0.00074331
68 | 0.99568 | -0.081818 | 0 | 0
69 | 0.99413 | -0.11125 | 0.0035916 | 0.00090015
70 | 0.99094 | -0.17435 | 0.0016854 | 0.00042241
71 | 0.99075 | -0.17817 | 0.0026598 | 0.00066662
72 | 0.99395 | -0.11467 | 0.0025815 | 0.00064697
73 | 0.99383 | -0.11709 | 0.0048419 | 0.0012135
74 | 0.99361 | -0.12287 | 0.0035177 | 0.00088163
75 | 0.99561 | -0.083134 | 0.0031043 | 0.00077801
76 | 0.99364 | -0.1224 | 0.0030508 | 0.00076461
77 | 0.99994 | -0.001184 | 0.0026705 | 0.00066929
78 | 0.97585 | -0.46531 | 0.0023664 | 0.00059307
79 | 0.97592 | -0.46407 | 0 | 0
80 | 0.97582 | -0.46592 | 0.0014339 | 0.00035938
81 | 0.9761 | -0.46038 | 0 | 0
82 | 0.97569 | -0.46846 | 0.0034145 | 0.00085575
83 | 0.97619 | -0.45867 | 0.0025486 | 0.00063874
84 | 0.97567 | -0.46896 | 0.0022424 | 0.00056199
85 | 0.98296 | -0.32651 | 0.0086642 | 0.0021714
86 | 0.98232 | -0.33919 | 0 | 0
87 | 0.99358 | -0.12342 | 0 | 0
88 | 0.99356 | -0.12386 | 0.0019291 | 0.00048347
89 | 0.98209 | -0.34357 | 0.0021358 | 0.00053529
90 | 0.98228 | -0.33999 | 0.0038665 | 0.00096903
91 | 0.98188 | -0.34774 | 0.0026872 | 0.00067349
92 | 0.98181 | -0.34903 | 0.0024164 | 0.00060562
93 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0057106 | -0.0014312 | 0.0057113 | 0.0014313 | 6.9767e-07 | 1.2916e-07 | 0.008633 | 0.0086329 | 0.008633 | 0.98431 | -0.30033 | 0.98444 | -0.29776 | 2.3717
1 | 0.031415 | 0.0078892 | -0.031406 | -0.0078833 | 9.5505e-06 | 5.9688e-06 | 0.047491 | 0.047491 | 0.047491 | 0.98444 | -0.29776 | 0.98411 | -0.30414 | 13.0471
2 | -0.037127 | -0.0093206 | 0.037144 | 0.0093313 | 1.698e-05 | 1.0684e-05 | 0.056124 | 0.056124 | 0.056124 | 0.98444 | -0.29776 | 0.98493 | -0.28818 | 15.4187
3 | 0.026519 | 0.0066586 | -0.026503 | -0.0066487 | 1.6062e-05 | 9.9417e-06 | 0.040103 | 0.040103 | 0.040103 | 0.98411 | -0.30414 | 0.98346 | -0.31684 | 11.0173
4 | -0.042433 | -0.010657 | 0.042462 | 0.010675 | 2.9027e-05 | 1.8338e-05 | 0.064115 | 0.064115 | 0.064115 | 0.98493 | -0.28818 | 0.98566 | -0.27385 | 17.614
5 | 0.017835 | 0.0044754 | -0.01782 | -0.0044666 | 1.4817e-05 | 8.795e-06 | 0.026987 | 0.026988 | 0.026988 | 0.98346 | -0.31684 | 0.98257 | -0.33428 | 7.4142
6 | 0.0086682 | 0.0021732 | -0.0086661 | -0.0021723 | 2.0752e-06 | 9.2005e-07 | 0.013116 | 0.013116 | 0.013116 | 0.98346 | -0.31684 | 0.9832 | -0.32186 | 3.6032
7 | -0.11405 | -0.028822 | 0.11466 | 0.02921 | 0.00060699 | 0.00038778 | 0.17227 | 0.17227 | 0.17227 | 0.98566 | -0.27385 | 0.99139 | -0.16348 | 47.3263
8 | 0.071592 | 0.018147 | -0.071508 | -0.018093 | 8.398e-05 | 5.3504e-05 | 0.10815 | 0.10815 | 0.10815 | 0.98566 | -0.27385 | 0.9844 | -0.29829 | 29.7123
9 | 0.011111 | 0.0027852 | -0.011109 | -0.0027839 | 2.6027e-06 | 1.3553e-06 | 0.016827 | 0.016828 | 0.016828 | 0.98257 | -0.33428 | 0.98232 | -0.33919 | 4.6229
10 | 0.0086661 | 0.0021723 | -0.0086642 | -0.0021714 | 1.918e-06 | 8.5053e-07 | 0.013116 | 0.013116 | 0.013116 | 0.9832 | -0.32186 | 0.98296 | -0.32651 | 3.6033
11 | -0.11764 | -0.029955 | 0.11794 | 0.030151 | 0.00030621 | 0.00019564 | 0.17673 | 0.17673 | 0.17673 | 0.99139 | -0.16348 | 0.99421 | -0.10966 | 48.5531
12 | 0.069137 | 0.017499 | -0.069134 | -0.017497 | 2.9911e-06 | 1.905e-06 | 0.10457 | 0.10457 | 0.10457 | 0.9844 | -0.29829 | 0.98436 | -0.2992 | 28.7276
13 | -0.05418 | -0.013605 | 0.054215 | 0.013628 | 3.5598e-05 | 2.2608e-05 | 0.082468 | 0.082468 | 0.082468 | 0.9777 | -0.42892 | 0.9784 | -0.41516 | 22.6561
14 | 0.049738 | 0.012492 | -0.049714 | -0.012477 | 2.4449e-05 | 1.5505e-05 | 0.075709 | 0.075709 | 0.075709 | 0.9777 | -0.42892 | 0.97718 | -0.43923 | 20.7992
15 | -0.055649 | -0.013987 | 0.055708 | 0.014025 | 5.9214e-05 | 3.762e-05 | 0.084648 | 0.084648 | 0.084648 | 0.9784 | -0.41516 | 0.97954 | -0.3929 | 23.2551
16 | 0.013517 | 0.0033899 | -0.013511 | -0.0033869 | 5.369e-06 | 3.013e-06 | 0.020584 | 0.020584 | 0.020584 | 0.97718 | -0.43923 | 0.97675 | -0.44756 | 5.6549
17 | 0.036197 | 0.009087 | -0.036186 | -0.0090801 | 1.0974e-05 | 6.9027e-06 | 0.055126 | 0.055126 | 0.055126 | 0.97718 | -0.43923 | 0.97686 | -0.44559 | 15.1444
18 | -0.056726 | -0.01428 | 0.056795 | 0.014324 | 6.8561e-05 | 4.3569e-05 | 0.086195 | 0.086195 | 0.086195 | 0.97954 | -0.3929 | 0.98083 | -0.36765 | 23.68
19 | 0.011376 | 0.0028517 | -0.011373 | -0.0028501 | 2.9547e-06 | 1.5627e-06 | 0.01733 | 0.01733 | 0.01733 | 0.97675 | -0.44756 | 0.97648 | -0.45302 | 4.761
20 | 0.01509 | 0.0037842 | -0.015088 | -0.003783 | 2.0463e-06 | 1.1803e-06 | 0.022987 | 0.022987 | 0.022987 | 0.97686 | -0.44559 | 0.97671 | -0.44843 | 6.315
21 | 0.021097 | 0.0052959 | -0.021086 | -0.0052893 | 1.0777e-05 | 6.5492e-06 | 0.032139 | 0.032139 | 0.032139 | 0.97686 | -0.44559 | 0.97631 | -0.4563 | 8.8294
22 | -0.059944 | -0.015113 | 0.059947 | 0.015115 | 3.0719e-06 | 1.9535e-06 | 0.090972 | 0.090972 | 0.090972 | 0.98083 | -0.36765 | 0.98089 | -0.36658 | 24.9923
23 | 0.0090611 | 0.0022708 | -0.0090597 | -0.0022701 | 1.4592e-06 | 6.7864e-07 | 0.013808 | 0.013808 | 0.013808 | 0.97648 | -0.45302 | 0.97631 | -0.4564 | 3.7934
24 | 0.012016 | 0.003013 | -0.01201 | -0.0030099 | 5.8366e-06 | 3.1545e-06 | 0.018306 | 0.018306 | 0.018306 | 0.97671 | -0.44843 | 0.97619 | -0.45863 | 5.0293
25 | 0.020109 | 0.0050446 | -0.020109 | -0.0050446 | 3.3797e-08 | 2.043e-08 | 0.030651 | 0.030651 | 0.030651 | 0.97631 | -0.4563 | 0.97631 | -0.45634 | 8.4206
26 | -0.061906 | -0.015606 | 0.062012 | 0.015673 | 0.00010537 | 6.7034e-05 | 0.093945 | 0.093945 | 0.093945 | 0.98089 | -0.36658 | 0.98271 | -0.33107 | 25.809
27 | 0.0079671 | 0.0019963 | -0.007967 | -0.0019962 | 1.187e-07 | 4.9122e-08 | 0.012143 | 0.012143 | 0.012143 | 0.97631 | -0.4564 | 0.97629 | -0.45671 | 3.3359
28 | 0.01201 | 0.0030099 | -0.01201 | -0.0030099 | 2.4016e-08 | 1.2981e-08 | 0.018306 | 0.018306 | 0.018306 | 0.97619 | -0.45863 | 0.97619 | -0.45867 | 5.0293
29 | 0.01715 | 0.0043028 | -0.017139 | -0.0042968 | 1.0217e-05 | 6.0407e-06 | 0.02614 | 0.02614 | 0.02614 | 0.97631 | -0.45634 | 0.97567 | -0.46884 | 7.1813
30 | 0.063884 | 0.016147 | -0.063872 | -0.016139 | 1.2339e-05 | 7.8527e-06 | 0.096761 | 0.096761 | 0.096761 | 0.98292 | -0.32704 | 0.98271 | -0.33107 | 26.5828
31 | -0.065928 | -0.016659 | 0.066016 | 0.016715 | 8.8144e-05 | 5.6113e-05 | 0.099855 | 0.099855 | 0.099855 | 0.98292 | -0.32704 | 0.98436 | -0.2992 | 27.4327
32 | 0.010068 | 0.0025232 | -0.010068 | -0.002523 | 2.7287e-07 | 1.3616e-07 | 0.015361 | 0.015361 | 0.015361 | 0.97528 | -0.47669 | 0.97525 | -0.47726 | 4.22
33 | -0.011654 | -0.0029207 | 0.011658 | 0.0029227 | 3.668e-06 | 1.9614e-06 | 0.017781 | 0.017781 | 0.017781 | 0.97528 | -0.47669 | 0.97561 | -0.47009 | 4.8849
34 | 0.0044649 | 0.0011189 | -0.0044645 | -0.0011189 | 4.0984e-07 | -3.1515e-08 | 0.0068124 | 0.0068125 | 0.0068125 | 0.97525 | -0.47726 | 0.97515 | -0.47919 | 1.8716
35 | -0.015146 | -0.003797 | 0.015147 | 0.0037975 | 8.9946e-07 | 5.1953e-07 | 0.023102 | 0.023102 | 0.023102 | 0.97561 | -0.47009 | 0.97567 | -0.46884 | 6.3466
36 | 0.0042533 | 0.0010654 | -0.0042532 | -0.0010654 | 3.3041e-08 | -5.0538e-09 | 0.0064836 | 0.0064836 | 0.0064836 | 0.97612 | -0.46009 | 0.97611 | -0.46025 | 1.7812
37 | -0.0065735 | -0.0016469 | 0.0065745 | 0.0016473 | 1.0573e-06 | 3.2562e-07 | 0.010021 | 0.01002 | 0.010021 | 0.97612 | -0.46009 | 0.97629 | -0.45671 | 2.7529
38 | 0.001999 | 0.00050048 | -0.0019989 | -0.00050084 | 1.2223e-07 | -3.6051e-07 | 0.0030472 | 0.0030474 | 0.0030474 | 0.97611 | -0.46025 | 0.97605 | -0.46153 | 0.83719
39 | 0.0019989 | 0.00050084 | -0.0019989 | -0.00050096 | 4.0917e-08 | -1.2066e-07 | 0.0030474 | 0.0030474 | 0.0030474 | 0.97605 | -0.46153 | 0.97602 | -0.46196 | 0.8372
40 | -0.021873 | -0.0054843 | 0.021882 | 0.0054899 | 9.201e-06 | 5.5911e-06 | 0.032724 | 0.032724 | 0.032724 | 0.99461 | -0.10355 | 0.99507 | -0.09473 | 8.9902
41 | 0.016841 | 0.0042233 | -0.016835 | -0.0042198 | 5.861e-06 | 3.4316e-06 | 0.025197 | 0.025197 | 0.025197 | 0.99461 | -0.10355 | 0.99423 | -0.11086 | 6.9222
42 | -0.025108 | -0.0062983 | 0.025113 | 0.0063013 | 4.8005e-06 | 2.9544e-06 | 0.037548 | 0.037548 | 0.037548 | 0.99507 | -0.09473 | 0.99528 | -0.09072 | 10.3154
43 | 0.0025948 | 0.0006499 | -0.0025947 | -0.00065004 | 8.3793e-08 | -1.3852e-07 | 0.0038833 | 0.0038834 | 0.0038834 | 0.99423 | -0.11086 | 0.9942 | -0.11154 | 1.0669
44 | 0.014241 | 0.0035699 | -0.014237 | -0.0035682 | 3.1705e-06 | 1.7878e-06 | 0.021314 | 0.021314 | 0.021314 | 0.99423 | -0.11086 | 0.99399 | -0.11553 | 5.8554
45 | -0.028283 | -0.0070958 | 0.028299 | 0.007106 | 1.6403e-05 | 1.018e-05 | 0.042288 | 0.042288 | 0.042288 | 0.99528 | -0.09072 | 0.99591 | -0.078563 | 11.6175
46 | 0.0025947 | 0.00065004 | -0.0025946 | -0.00065026 | 1.3599e-07 | -2.2477e-07 | 0.0038834 | 0.0038835 | 0.0038835 | 0.9942 | -0.11154 | 0.99414 | -0.11264 | 1.0669
47 | 0.011103 | 0.0027826 | -0.011102 | -0.0027821 | 1.0066e-06 | 5.1829e-07 | 0.016622 | 0.016622 | 0.016622 | 0.99399 | -0.11553 | 0.99389 | -0.11743 | 4.5664
48 | -0.031524 | -0.0079141 | 0.031526 | 0.0079157 | 2.6179e-06 | 1.6345e-06 | 0.047105 | 0.047105 | 0.047105 | 0.99591 | -0.078563 | 0.996 | -0.076822 | 12.941
49 | 0.0084999 | 0.0021299 | -0.0084981 | -0.0021291 | 1.8053e-06 | 7.7022e-07 | 0.012726 | 0.012726 | 0.012726 | 0.99389 | -0.11743 | 0.99366 | -0.12189 | 3.4961
50 | -0.034539 | -0.0086707 | 0.034572 | 0.0086918 | 3.3661e-05 | 2.1104e-05 | 0.051606 | 0.051605 | 0.051606 | 0.996 | -0.076822 | 0.99706 | -0.056412 | 14.1774
51 | 0.0086703 | 0.0021732 | -0.0086688 | -0.0021726 | 1.4629e-06 | 6.3984e-07 | 0.01302 | 0.01302 | 0.01302 | 0.99094 | -0.17445 | 0.99075 | -0.178 | 3.5768
52 | -0.0086703 | -0.0021732 | 0.0086705 | 0.0021733 | 2.5814e-07 | 1.1289e-07 | 0.01302 | 0.01302 | 0.01302 | 0.99094 | -0.17445 | 0.99097 | -0.17383 | 3.5768
53 | 0.0026599 | 0.00066659 | -0.0026598 | -0.00066662 | 2.1918e-08 | -3.3136e-08 | 0.0039948 | 0.0039949 | 0.0039949 | 0.99075 | -0.178 | 0.99075 | -0.17817 | 1.0975
54 | -0.010356 | -0.0025955 | 0.010358 | 0.0025965 | 2.0264e-06 | 1.0089e-06 | 0.01555 | 0.01555 | 0.01555 | 0.99097 | -0.17383 | 0.99118 | -0.16972 | 4.2721
55 | 0.0016855 | 0.00042221 | -0.0016854 | -0.00042241 | 4.2041e-08 | -1.9859e-07 | 0.0025308 | 0.0025309 | 0.0025309 | 0.99097 | -0.17383 | 0.99094 | -0.17435 | 0.6953
56 | 0.0049802 | 0.0012476 | -0.00498 | -0.0012476 | 1.191e-07 | 2.2544e-09 | 0.0074576 | 0.0074577 | 0.0074577 | 0.99366 | -0.12189 | 0.99364 | -0.1224 | 2.0488
57 | 0.0035179 | 0.00088153 | -0.0035177 | -0.00088163 | 1.6322e-07 | -9.8684e-08 | 0.005268 | 0.0052681 | 0.0052681 | 0.99366 | -0.12189 | 0.99361 | -0.12287 | 1.4473
58 | 0.019727 | 0.004948 | -0.019725 | -0.0049465 | 2.4948e-06 | 1.4987e-06 | 0.029597 | 0.029597 | 0.029597 | 0.99183 | -0.15705 | 0.9917 | -0.1597 | 8.1312
59 | -0.025998 | -0.0065196 | 0.026011 | 0.0065274 | 1.2614e-05 | 7.7873e-06 | 0.039005 | 0.039005 | 0.039005 | 0.99183 | -0.15705 | 0.99236 | -0.14687 | 10.7158
60 | 0.016543 | 0.0041491 | -0.016538 | -0.0041461 | 5.0899e-06 | 2.9734e-06 | 0.024824 | 0.024824 | 0.024824 | 0.9917 | -0.1597 | 0.99136 | -0.16616 | 6.8198
61 | -0.029312 | -0.0073547 | 0.029322 | 0.0073613 | 1.0555e-05 | 6.5671e-06 | 0.043955 | 0.043955 | 0.043955 | 0.99236 | -0.14687 | 0.99275 | -0.13932 | 12.0756
62 | 0.013491 | 0.0033823 | -0.013488 | -0.0033811 | 2.2909e-06 | 1.2741e-06 | 0.020249 | 0.02025 | 0.02025 | 0.99136 | -0.16616 | 0.99118 | -0.16972 | 5.5631
63 | -0.036152 | -0.0090728 | 0.036181 | 0.0090912 | 2.9178e-05 | 1.8331e-05 | 0.054191 | 0.054191 | 0.054191 | 0.99275 | -0.13932 | 0.99363 | -0.12241 | 14.8877
64 | -0.041965 | -0.010541 | 0.041975 | 0.010547 | 9.607e-06 | 6.0645e-06 | 0.062854 | 0.062854 | 0.062854 | 0.99363 | -0.12241 | 0.99387 | -0.11762 | 17.2676
65 | -0.046449 | -0.011668 | 0.046484 | 0.01169 | 3.4594e-05 | 2.1893e-05 | 0.069553 | 0.069552 | 0.069553 | 0.99387 | -0.11762 | 0.99468 | -0.10202 | 19.1078
66 | 0.048972 | 0.012329 | -0.048932 | -0.012304 | 4.0675e-05 | 2.5769e-05 | 0.073214 | 0.073214 | 0.073214 | 0.99558 | -0.084635 | 0.99468 | -0.10202 | 20.1139
67 | -0.050525 | -0.012719 | 0.050554 | 0.012737 | 2.874e-05 | 1.8219e-05 | 0.075536 | 0.075536 | 0.075536 | 0.99558 | -0.084635 | 0.9962 | -0.072742 | 20.7516
68 | -0.051515 | -0.012978 | 0.051562 | 0.013008 | 4.6782e-05 | 2.9666e-05 | 0.076971 | 0.076971 | 0.076971 | 0.9962 | -0.072742 | 0.99719 | -0.053774 | 21.146
69 | -0.053301 | -0.013443 | 0.053339 | 0.013467 | 3.8128e-05 | 2.4192e-05 | 0.079565 | 0.079565 | 0.079565 | 0.99719 | -0.053774 | 0.99797 | -0.038842 | 21.8586
70 | -0.09342 | -0.023552 | 0.093594 | 0.023663 | 0.000174 | 0.00011105 | 0.13934 | 0.13934 | 0.13934 | 0.99797 | -0.038842 | 1 | 0 | 38.2808
71 | 0.040081 | 0.010085 | -0.040055 | -0.010069 | 2.5921e-05 | 1.6337e-05 | 0.059777 | 0.059777 | 0.059777 | 0.99797 | -0.038842 | 0.99727 | -0.052386 | 16.4222
72 | 0.0026706 | 0.00066905 | -0.0026705 | -0.00066929 | 1.506e-07 | -2.3723e-07 | 0.0039739 | 0.003974 | 0.003974 | 1 | 0 | 0.99994 | -0.001184 | 1.0918
73 | 0.13276 | 0.034137 | -0.13224 | -0.033801 | 0.00052562 | 0.00033593 | 0.19786 | 0.19786 | 0.19786 | 1 | 0 | 0.99568 | -0.081818 | 54.3577
74 | 0.037545 | 0.0094397 | -0.037538 | -0.0094351 | 7.2174e-06 | 4.5391e-06 | 0.056032 | 0.056032 | 0.056032 | 0.99727 | -0.052386 | 0.99706 | -0.056412 | 15.3933
75 | -0.12896 | -0.032912 | 0.12913 | 0.033023 | 0.00017375 | 0.00011104 | 0.19322 | 0.19322 | 0.19322 | 0.99421 | -0.10966 | 0.99568 | -0.081818 | 53.0831
76 | 0.011018 | 0.0027615 | -0.011017 | -0.002761 | 8.3176e-07 | 4.2655e-07 | 0.01649 | 0.01649 | 0.01649 | 0.99421 | -0.10966 | 0.99413 | -0.11125 | 4.5302
77 | 0.0031045 | 0.00077782 | -0.0031043 | -0.00077801 | 1.9458e-07 | -1.8896e-07 | 0.0046395 | 0.0046396 | 0.0046396 | 0.99568 | -0.081818 | 0.99561 | -0.083134 | 1.2746
78 | 0.0074251 | 0.0018609 | -0.0074239 | -0.0018604 | 1.2097e-06 | 4.3566e-07 | 0.011114 | 0.011114 | 0.011114 | 0.99413 | -0.11125 | 0.99395 | -0.11467 | 3.0533
79 | 0.0048424 | 0.0012135 | -0.0048419 | -0.0012135 | 5.5819e-07 | -9.8128e-09 | 0.0072494 | 0.0072495 | 0.0072495 | 0.99395 | -0.11467 | 0.99383 | -0.11709 | 1.9916
80 | 0.0019292 | 0.000483 | -0.0019291 | -0.00048333 | 9.4272e-08 | -3.298e-07 | 0.0028889 | 0.002889 | 0.002889 | 0.99364 | -0.1224 | 0.99358 | -0.12342 | 0.79369
81 | -0.0038004 | -0.00095218 | 0.0038006 | 0.00095211 | 2.2474e-07 | -7.9157e-08 | 0.0057948 | 0.0057947 | 0.0057948 | 0.97585 | -0.46531 | 0.97592 | -0.46407 | 1.592
82 | 0.001434 | 0.00035911 | -0.0014339 | -0.00035938 | 4.1547e-08 | -2.6293e-07 | 0.0021865 | 0.0021866 | 0.0021866 | 0.97585 | -0.46531 | 0.97582 | -0.46592 | 0.60071
83 | -0.0094587 | -0.00237 | 0.0094603 | 0.0023708 | 1.6653e-06 | 7.9898e-07 | 0.014422 | 0.014422 | 0.014422 | 0.97592 | -0.46407 | 0.9761 | -0.46038 | 3.962
84 | 0.0056581 | 0.0014179 | -0.0056569 | -0.0014176 | 1.1819e-06 | 2.2743e-07 | 0.008627 | 0.0086272 | 0.0086272 | 0.97592 | -0.46407 | 0.97569 | -0.46846 | 2.3701
85 | -0.0094603 | -0.0023708 | 0.0094611 | 0.0023711 | 7.6886e-07 | 3.6884e-07 | 0.014422 | 0.014422 | 0.014422 | 0.9761 | -0.46038 | 0.97619 | -0.45867 | 3.962
86 | 0.0022424 | 0.00056187 | -0.0022424 | -0.00056199 | 5.3347e-08 | -1.1777e-07 | 0.0034198 | 0.0034199 | 0.0034199 | 0.97569 | -0.46846 | 0.97567 | -0.46896 | 0.93953
87 | 0.011109 | 0.0027839 | -0.011108 | -0.0027837 | 4.1947e-07 | 2.1845e-07 | 0.016828 | 0.016828 | 0.016828 | 0.98232 | -0.33919 | 0.98228 | -0.33999 | 4.623
88 | 0.0019291 | 0.00048333 | -0.0019291 | -0.00048347 | 4.0556e-08 | -1.4186e-07 | 0.002889 | 0.0028891 | 0.0028891 | 0.99358 | -0.12342 | 0.99356 | -0.12386 | 0.7937
89 | -0.0072407 | -0.0018142 | 0.0072419 | 0.0018146 | 1.2348e-06 | 4.4402e-07 | 0.010971 | 0.01097 | 0.010971 | 0.98209 | -0.34357 | 0.98228 | -0.33999 | 3.0139
90 | 0.0051048 | 0.0012789 | -0.0051038 | -0.0012788 | 1.0138e-06 | 7.7124e-08 | 0.0077344 | 0.0077346 | 0.0077346 | 0.98209 | -0.34357 | 0.98188 | -0.34774 | 2.1249
91 | 0.0024166 | 0.00060534 | -0.0024164 | -0.00060562 | 1.4937e-07 | -2.8002e-07 | 0.0036622 | 0.0036623 | 0.0036623 | 0.98188 | -0.34774 | 0.98181 | -0.34903 | 1.0061

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23068 | 0.05847

## res_load
| p_mw | q_mvar
0 | 0.0057106 | 0.0014312
1 | 0.0048865 | 0.0012247
2 | 0.0052893 | 0.0013256
3 | 0.0067089 | 0.0016814
4 | 0.0029753 | 0.00074568
5 | 0.0023714 | 0.00059433
6 | 0.0044412 | 0.0011131
7 | 0.0014335 | 0.00035927
8 | 0.0010182 | 0.00025518
9 | 0.0021358 | 0.00053527
10 | 0.0031489 | 0.00078919
11 | 0.0023115 | 0.00057932
12 | 0.0030722 | 0.00076997
13 | 0.00097637 | 0.0002447
14 | 0.0019596 | 0.00049112
15 | 0.0010925 | 0.00027381
16 | 0.0029598 | 0.0007418
17 | 0.0020435 | 0.00051214
18 | 0.0018602 | 0.00046622
19 | 0.0031181 | 0.00078146
20 | 0.0015863 | 0.00039755
21 | 0.0056027 | 0.0014042
22 | 0.0034884 | 0.00087428
23 | 0.0044645 | 0.0011189
24 | 0.0019922 | 0.00049929
25 | 0.0023202 | 0.0005815
26 | 0.0022542 | 0.00056496
27 | 0.0013925 | 0.00034899
28 | 0.0019989 | 0.00050096
29 | 0.0050315 | 0.001261
30 | 0.0032257 | 0.00080845
31 | 0.0031704 | 0.00079458
32 | 0.0031342 | 0.00078551
33 | 0.0032243 | 0.00080808
34 | 0.0025946 | 0.00065026
35 | 0.0026024 | 0.00065221
36 | 0.0030123 | 0.00075496
37 | 0.006009 | 0.001506
38 | 0.0062708 | 0.0015716
39 | 0.0031814 | 0.00079734
40 | 0.0033011 | 0.00082733
41 | 0.0030477 | 0.00076382
42 | 0.0068292 | 0.0017116
43 | 0.0031302 | 0.00078451
44 | 0.0057845 | 0.0014497
45 | 0.0044742 | 0.0011213
46 | 0.0015531 | 0.00038925
47 | 0.0024479 | 0.0006135
48 | 0.00096127 | 0.00024092
49 | 0.0017385 | 0.0004357
50 | 0.0025099 | 0.00062903
51 | 0.0029658 | 0.00074331
52 | 0.0035916 | 0.00090015
53 | 0.0016854 | 0.00042241
54 | 0.0026598 | 0.00066662
55 | 0.0025815 | 0.00064697
56 | 0.0048419 | 0.0012135
57 | 0.0035177 | 0.00088163
58 | 0.0031043 | 0.00077801
59 | 0.0030508 | 0.00076461
60 | 0.0026705 | 0.00066929
61 | 0.0023664 | 0.00059307
62 | 0.0014339 | 0.00035938
63 | 0.0034145 | 0.00085575
64 | 0.0025486 | 0.00063874
65 | 0.0022424 | 0.00056199
66 | 0.0086642 | 0.0021714
67 | 0.0019291 | 0.00048347
68 | 0.0021358 | 0.00053529
69 | 0.0038665 | 0.00096903
70 | 0.0026872 | 0.00067349
71 | 0.0024164 | 0.00060562

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1