## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-57_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-57_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-57_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-57_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-57_0_4_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_191-57_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_191-57_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_191-57_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_191-57_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_191-57_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_191-57_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_191-57_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_191-57_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_191-57_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_191-57_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_191-57_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_191-57_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_191-57_0_4_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_191-57_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_191-57_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_191-57_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_191-57_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_191-57_0_4_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_191-57_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_191-57_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_191-57_0_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_191-57_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_191-57_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_191-57_0_4_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_191-57_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_191-57_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_191-57_0_4_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_191-57_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_191-57_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_191-57_0_4_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_191-57_0_4_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_191-57_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_191-57_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_191-57_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_191-57_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_191-57_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_191-57_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_191-57_0_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_191-57_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_191-57_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_191-57_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_191-57_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_191-57_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_191-57_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_191-57_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_191-57_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_191-57_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_191-57_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_191-57_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_MV_499_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-57_0_4_load_0 | 0 | 0.018854 | 0.0047252 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-57_0_4_load_2 | 2 | 0.019809 | 0.0049646 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-57_0_4_load_34 | 4 | 0.0424 | 0.010626 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-57_0_4_load_33 | 5 | 0.054908 | 0.013761 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-57_0_4_load_4 | 8 | 0.042385 | 0.010623 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-57_0_4_load_30 | 13 | 0.00045156 | 0.00011317 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-57_0_4_load_40 | 17 | 0.017459 | 0.0043757 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-57_0_4_load_51 | 20 | 0.0006747 | 0.00016909 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-57_0_4_load_57 | 22 | 0.052008 | 0.013034 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-57_0_4_load_32 | 23 | 0.00039319 | 9.8542e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-57_0_4_load_36 | 25 | 0.015292 | 0.0038327 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-57_0_4_load_35 | 26 | 0.014847 | 0.003721 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-57_0_4_load_55 | 28 | 0.052123 | 0.013063 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-57_0_4_load_56 | 31 | 0.0033083 | 0.00082914 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-57_0_4_load_49 | 34 | 0.00086778 | 0.00021749 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-57_0_4_load_52 | 35 | 0.0029868 | 0.00074857 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-57_0_4_load_39 | 38 | 0.056642 | 0.014196 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-57_0_4_load_37 | 39 | 0.056267 | 0.014102 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-57_0_4_load_50 | 41 | 0.0020365 | 0.00051038 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-57_0_4_load_48 | 42 | 0.00060704 | 0.00015214 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-57_0_4_load_29 | 43 | 0.00064669 | 0.00016208 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-57_0_4_load_41 | 44 | 0.0013363 | 0.00033491 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-57_0_4_load_46 | 46 | 0.0025621 | 0.00064212 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-57_0_4_load_38 | 47 | 0.0087477 | 0.0021924 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-57_0_4_load_54 | 48 | 0.0019387 | 0.0004859 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-57_0_4_load_42 | 49 | 0.0019112 | 0.00047898 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-57_0_4_load_44 | 51 | 0.0013822 | 0.00034641 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-57_0_4_load_53 | 53 | 0.0010567 | 0.00026483 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-57_0_4_line_0 |  | 0 | 1 | 0.0067468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-57_0_4_line_1 |  | 1 | 2 | 0.0065078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-57_0_4_line_2 |  | 1 | 3 | 0.014354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-57_0_4_line_3 |  | 3 | 4 | 0.031143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_191-57_0_4_line_4 |  | 3 | 5 | 0.031066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_191-57_0_4_line_5 |  | 4 | 6 | 0.029802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-57_0_4_line_6 |  | 5 | 7 | 0.040731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_191-57_0_4_line_7 |  | 6 | 9 | 0.059192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-57_0_4_line_8 |  | 7 | 14 | 0.10022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_191-57_0_4_line_9 |  | 8 | 9 | 0.024442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-57_0_4_line_10 |  | 9 | 12 | 0.038685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-57_0_4_line_11 |  | 9 | 10 | 0.063405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-57_0_4_line_12 |  | 10 | 11 | 0.018017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-57_0_4_line_13 |  | 11 | 13 | 0.024604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-57_0_4_line_14 |  | 12 | 25 | 0.01022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-57_0_4_line_15 |  | 13 | 43 | 0.015491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-57_0_4_line_16 |  | 14 | 27 | 0.007659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-57_0_4_line_17 |  | 14 | 28 | 0.0394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-57_0_4_line_18 |  | 14 | 21 | 0.17928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-57_0_4_line_19 |  | 15 | 16 | 0.048735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-57_0_4_line_20 |  | 15 | 17 | 0.062701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-57_0_4_line_21 |  | 16 | 26 | 0.03726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-57_0_4_line_22 |  | 17 | 44 | 0.054224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-57_0_4_line_23 |  | 18 | 19 | 0.13497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-57_0_4_line_24 |  | 18 | 20 | 0.021543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-57_0_4_line_25 |  | 19 | 23 | 0.0040394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-57_0_4_line_26 |  | 20 | 36 | 0.04075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-57_0_4_line_27 |  | 21 | 22 | 0.007287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-57_0_4_line_28 |  | 23 | 45 | 0.0098059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-57_0_4_line_29 |  | 24 | 25 | 0.0015631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-57_0_4_line_30 |  | 24 | 26 | 0.0054909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-57_0_4_line_31 |  | 27 | 38 | 0.03951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-57_0_4_line_32 |  | 29 | 30 | 0.1711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-57_0_4_line_33 |  | 29 | 31 | 0.044995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-57_0_4_line_34 |  | 30 | 38 | 0.026428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-57_0_4_line_35 |  | 30 | 39 | 0.0025628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-57_0_4_line_36 |  | 32 | 33 | 0.056477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-57_0_4_line_37 |  | 32 | 34 | 0.022991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-57_0_4_line_38 |  | 33 | 35 | 0.048063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-57_0_4_line_39 |  | 35 | 36 | 0.030804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-57_0_4_line_40 |  | 36 | 37 | 0.024449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-57_0_4_line_41 |  | 37 | 42 | 0.0092636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-57_0_4_line_42 |  | 37 | 46 | 0.024154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-57_0_4_line_43 |  | 39 | 47 | 0.0040764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-57_0_4_line_44 |  | 40 | 41 | 0.013559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-57_0_4_line_45 |  | 40 | 42 | 0.029892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-57_0_4_line_46 |  | 43 | 45 | 0.0052003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-57_0_4_line_47 |  | 47 | 48 | 0.1136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-57_0_4_line_48 |  | 48 | 53 | 0.010227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-57_0_4_line_49 |  | 49 | 50 | 0.0032892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-57_0_4_line_50 |  | 49 | 51 | 0.03649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-57_0_4_line_51 |  | 50 | 52 | 0.010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-57_0_4_line_52 |  | 52 | 53 | 0.012018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-57_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 54 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2688262.9252 | 1251025.5358 | 2688265.5317 | 1251026.4086 | 2688267.3357 | 1251028.9596 | 2688267.2658 | 1251029.8304
1 | 2688262.9252 | 1251025.5358 | 2688259.5463 | 1251026.842 | 2688258.1723 | 1251029.379
2 | 2688262.9252 | 1251025.5358 | 2688264.1765 | 1251013.5008 | 2688264.4062 | 1251011.2581
3 | 2688264.4062 | 1251011.2581 | 2688266.151 | 1250994.4825 | 2688266.7146 | 1250989.0868 | 2688267.6272 | 1250980.2822
4 | 2688264.4062 | 1251011.2581 | 2688287.7367 | 1251013.5629 | 2688295.2031 | 1251012.0285
5 | 2688270.7074 | 1250950.6393 | 2688269.2179 | 1250964.9724 | 2688268.5661 | 1250971.223 | 2688267.6272 | 1250980.2822
6 | 2688290.1013 | 1251052.4387 | 2688295.2031 | 1251012.0285
7 | 2688231.3049 | 1250953.8662 | 2688267.697 | 1250933.8039 | 2688269.7014 | 1250937.6033 | 2688271.1603 | 1250941.528 | 2688271.3689 | 1250944.2443 | 2688270.7074 | 1250950.6393
8 | 2688290.1013 | 1251052.4387 | 2688310.4305 | 1251054.5098 | 2688319.0687 | 1251053.8714 | 2688324.6321 | 1251052.3754 | 2688324.5193 | 1251055.3871 | 2688324.5351 | 1251057.3666 | 2688324.9216 | 1251059.285 | 2688321.9736 | 1251060.0527 | 2688321.0974 | 1251062.1079 | 2688319.906 | 1251064.5475 | 2688317.9177 | 1251067.7759 | 2688317.5375 | 1251071.5064 | 2688317.2579 | 1251074.0597 | 2688318.5013 | 1251074.7121 | 2688319.5108 | 1251077.3847 | 2688323.6993 | 1251077.9698 | 2688327.4436 | 1251081.0168 | 2688330.3488 | 1251083.6288 | 2688331.9688 | 1251087.378 | 2688334.9461 | 1251089.2015 | 2688343.4237 | 1251094.265 | 2688348.5057 | 1251096.6982
9 | 2688231.3049 | 1250953.8662 | 2688231.2914 | 1250965.9196 | 2688237.9904 | 1250974.8483 | 2688237.8587 | 1250976.0675
10 | 2688229.5763 | 1250935.104 | 2688217.3327 | 1250939.5696 | 2688221.5953 | 1250947.8615 | 2688222.8539 | 1250950.5379 | 2688224.1572 | 1250954.2712 | 2688229.8864 | 1250951.2764 | 2688231.3049 | 1250953.8662
11 | 2688175.7141 | 1250984.6511 | 2688231.3049 | 1250953.8662
12 | 2688167.6251 | 1250968.6742 | 2688171.0544 | 1250975.6416 | 2688172.4945 | 1250978.2984 | 2688173.7876 | 1250982.2095 | 2688175.7141 | 1250984.6511
13 | 2688167.6251 | 1250968.6742 | 2688170.2283 | 1250944.2085
14 | 2688229.5763 | 1250935.104 | 2688229.3177 | 1250929.1512 | 2688229.1325 | 1250924.8935
15 | 2688171.8673 | 1250928.8048 | 2688170.2283 | 1250944.2085
16 | 2688352.7455 | 1251090.3121 | 2688348.5057 | 1251096.6982
17 | 2688362.475 | 1251128.3416 | 2688362.0282 | 1251104.6614 | 2688356.0153 | 1251100.3574 | 2688348.5057 | 1251096.6982
18 | 2688205.1948 | 1251115.8671 | 2688220.4845 | 1251117.7071 | 2688225.1633 | 1251118.3217 | 2688228.9287 | 1251119.4453 | 2688235.1875 | 1251122.9522 | 2688238.2517 | 1251122.9979 | 2688240.0553 | 1251113.9178 | 2688242.2946 | 1251095.8708 | 2688242.6127 | 1251093.2625 | 2688246.7429 | 1251090.1661 | 2688251.8131 | 1251089.3409 | 2688256.9287 | 1251090.5402 | 2688263.6903 | 1251092.22 | 2688268.2763 | 1251093.4892 | 2688275.1299 | 1251094.5699 | 2688281.9692 | 1251096.1063 | 2688286.4219 | 1251096.6953 | 2688291.6436 | 1251098.8747 | 2688304.167 | 1251099.4173 | 2688307.1925 | 1251099.5291 | 2688320.4717 | 1251088.374 | 2688327.1348 | 1251087.039 | 2688331.9688 | 1251087.378 | 2688334.9461 | 1251089.2015 | 2688343.4237 | 1251094.265 | 2688348.5057 | 1251096.6982
19 | 2688269.479 | 1250911.4913 | 2688273.2 | 1250903.9522 | 2688283.5863 | 1250902.5391 | 2688290.8559 | 1250901.5578 | 2688293.7249 | 1250901.0334 | 2688305.5274 | 1250898.8187 | 2688307.2517 | 1250906.2056
20 | 2688307.2517 | 1250906.2056 | 2688333.7413 | 1250898.6835 | 2688354.4537 | 1250891.2977 | 2688366.0551 | 1250885.056
21 | 2688269.479 | 1250911.4913 | 2688241.4858 | 1250923.1611 | 2688234.555 | 1250923.2564
22 | 2688366.0551 | 1250885.056 | 2688413.807 | 1250859.3646
23 | 2688103.3354 | 1250940.7748 | 2688104.6603 | 1250932.9108 | 2688106.3819 | 1250929.3337 | 2688108.2827 | 1250925.8927 | 2688110.8394 | 1250900.6894 | 2688110.3315 | 1250896.7677 | 2688109.3096 | 1250892.894 | 2688117.7999 | 1250893.5874 | 2688128.409 | 1250894.4458 | 2688130.7163 | 1250894.6358 | 2688137.7566 | 1250891.3047 | 2688139.7415 | 1250895.404 | 2688143.0539 | 1250893.9966 | 2688150.06 | 1250892.4552 | 2688161.4887 | 1250891.5133 | 2688175.6704 | 1250894.7935 | 2688174.2149 | 1250909.9055
24 | 2688103.3354 | 1250940.7748 | 2688099.3023 | 1250942.4161 | 2688095.1155 | 1250951.3496 | 2688092.0121 | 1250957.9821
25 | 2688174.2149 | 1250909.9055 | 2688173.6905 | 1250913.9107
26 | 2688072.1732 | 1250993.485 | 2688079.443 | 1250982.8294 | 2688088.6828 | 1250965.0977 | 2688092.0121 | 1250957.9821
27 | 2688206.9233 | 1251108.7874 | 2688205.1948 | 1251115.8671
28 | 2688172.4176 | 1250923.6336 | 2688173.6905 | 1250913.9107
29 | 2688229.0646 | 1250923.3319 | 2688229.1325 | 1250924.8935
30 | 2688229.0646 | 1250923.3319 | 2688234.555 | 1250923.2564
31 | 2688352.7455 | 1251090.3121 | 2688357.2571 | 1251088.9783 | 2688363.5711 | 1251090.2957 | 2688372.0793 | 1251091.7904 | 2688391.7945 | 1251092.0456
32 | 2688346.5192 | 1250970.7619 | 2688383.2481 | 1251035.9034 | 2688391.4023 | 1251050.5027 | 2688399.5348 | 1251048.845 | 2688409.999 | 1251043.7194 | 2688416.9529 | 1251041.6215 | 2688417.936 | 1251046.5622 | 2688421.63 | 1251065.1091 | 2688421.9291 | 1251067.8268 | 2688419.3841 | 1251072.9483 | 2688418.188 | 1251092.89
33 | 2688386.2376 | 1250949.4046 | 2688346.5192 | 1250970.7619
34 | 2688418.188 | 1251092.89 | 2688414.9438 | 1251092.7637 | 2688411.38 | 1251092.2991 | 2688391.7945 | 1251092.0456
35 | 2688418.188 | 1251092.89 | 2688418.0944 | 1251095.4511
36 | 2687965.111 | 1251007.1387 | 2687987.3724 | 1251023.993 | 2688000.9815 | 1251034.2918 | 2688010.2261 | 1251041.112
37 | 2687965.111 | 1251007.1387 | 2687968.7057 | 1251002.9889 | 2687976.3589 | 1250997.0091 | 2687982.7093 | 1250992.4998
38 | 2688010.2261 | 1251041.112 | 2688018.0002 | 1251037.6582 | 2688050.3319 | 1251014.8681
39 | 2688072.1732 | 1250993.485 | 2688066.6344 | 1251000.9417 | 2688058.1218 | 1251009.3771 | 2688050.3319 | 1251014.8681
40 | 2688058.4628 | 1250973.2437 | 2688065.1618 | 1250983.2063 | 2688071.1906 | 1250991.5356 | 2688072.1732 | 1250993.485
41 | 2688058.4628 | 1250973.2437 | 2688053.155 | 1250965.6514
42 | 2688058.4628 | 1250973.2437 | 2688039.1146 | 1250987.7027
43 | 2688417.9455 | 1251099.5247 | 2688418.0944 | 1251095.4511
44 | 2688036.0278 | 1250941.1528 | 2688045.4548 | 1250934.6879 | 2688046.5101 | 1250932.8402
45 | 2688036.0278 | 1250941.1528 | 2688053.155 | 1250965.6514
46 | 2688172.4176 | 1250923.6336 | 2688171.8673 | 1250928.8048
47 | 2688417.9455 | 1251099.5247 | 2688455.5358 | 1251206.7265
48 | 2688458.8253 | 1251216.4105 | 2688455.5358 | 1251206.7265
49 | 2688465.9969 | 1251237.402 | 2688467.1822 | 1251240.4702
50 | 2688469.7454 | 1251271.4839 | 2688474.9669 | 1251269.616 | 2688476.1719 | 1251263.7406 | 2688467.1822 | 1251240.4702
51 | 2688465.9969 | 1251237.402 | 2688462.6906 | 1251227.7898
52 | 2688462.6906 | 1251227.7898 | 2688458.8253 | 1251216.4105

## bus_geodata
| x | y | coords
0 | 2688267.2658 | 1251029.8304
1 | 2688262.9252 | 1251025.5358
2 | 2688258.1723 | 1251029.379
3 | 2688264.4062 | 1251011.2581
4 | 2688267.6272 | 1250980.2822
5 | 2688295.2031 | 1251012.0285
6 | 2688270.7074 | 1250950.6393
7 | 2688290.1013 | 1251052.4387
8 | 2688237.8587 | 1250976.0675
9 | 2688231.3049 | 1250953.8662
10 | 2688175.7141 | 1250984.6511
11 | 2688167.6251 | 1250968.6742
12 | 2688229.5763 | 1250935.104
13 | 2688170.2283 | 1250944.2085
14 | 2688348.5057 | 1251096.6982
15 | 2688307.2517 | 1250906.2055
16 | 2688269.479 | 1250911.4913
17 | 2688366.0551 | 1250885.056
18 | 2688103.3354 | 1250940.7748
19 | 2688174.2149 | 1250909.9055
20 | 2688092.0121 | 1250957.9821
21 | 2688205.1948 | 1251115.8671
22 | 2688206.9233 | 1251108.7874
23 | 2688173.6905 | 1250913.9107
24 | 2688229.0646 | 1250923.3319
25 | 2688229.1325 | 1250924.8935
26 | 2688234.555 | 1250923.2564
27 | 2688352.7455 | 1251090.3121
28 | 2688362.475 | 1251128.3416
29 | 2688346.5192 | 1250970.7619
30 | 2688418.188 | 1251092.89
31 | 2688386.2376 | 1250949.4046
32 | 2687965.111 | 1251007.1387
33 | 2688010.2261 | 1251041.112
34 | 2687982.7093 | 1250992.4998
35 | 2688050.3319 | 1251014.8681
36 | 2688072.1732 | 1250993.485
37 | 2688058.4628 | 1250973.2437
38 | 2688391.7945 | 1251092.0456
39 | 2688418.0944 | 1251095.4511
40 | 2688036.0278 | 1250941.1528
41 | 2688046.5101 | 1250932.8402
42 | 2688053.155 | 1250965.6514
43 | 2688171.8673 | 1250928.8048
44 | 2688413.807 | 1250859.3646
45 | 2688172.4176 | 1250923.6336
46 | 2688039.1146 | 1250987.7027
47 | 2688417.9455 | 1251099.5247
48 | 2688455.5358 | 1251206.7265
49 | 2688467.1822 | 1251240.4702
50 | 2688465.9969 | 1251237.402
51 | 2688469.7454 | 1251271.4839
52 | 2688462.6906 | 1251227.7898
53 | 2688458.8253 | 1251216.4105
54 | 2688324.6321 | 1251052.3754

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99228 | -0.14742 | 0.018854 | 0.0047252
1 | 0.9924 | -0.14517 | 0 | 0
2 | 0.99228 | -0.14745 | 0.019809 | 0.0049646
3 | 0.99291 | -0.13536 | 0 | 0
4 | 0.99083 | -0.17535 | 0.0424 | 0.010626
5 | 0.99554 | -0.085057 | 0.054908 | 0.013761
6 | 0.988 | -0.22978 | 0 | 0
7 | 1 | 0 | -0.48208 | -0.12292
8 | 0.98142 | -0.35754 | 0.042385 | 0.010623
9 | 0.98238 | -0.33881 | 0 | 0
10 | 0.98172 | -0.3517 | 0 | 0
11 | 0.98153 | -0.35536 | 0 | 0
12 | 0.98062 | -0.37307 | 0 | 0
13 | 0.98128 | -0.36037 | 0.00045156 | 0.00011317
14 | 0.98911 | -0.20787 | 0 | 0
15 | 0.97844 | -0.41584 | 0 | 0
16 | 0.97929 | -0.39917 | 0 | 0
17 | 0.97735 | -0.43732 | 0.017459 | 0.0043757
18 | 0.97973 | -0.39072 | 0 | 0
19 | 0.98094 | -0.36686 | 0 | 0
20 | 0.97953 | -0.39454 | 0.0006747 | 0.00016909
21 | 0.98048 | -0.37546 | 0 | 0
22 | 0.98013 | -0.38233 | 0.052008 | 0.013034
23 | 0.98098 | -0.36615 | 0.00039319 | 9.8542e-05
24 | 0.98011 | -0.38309 | 0 | 0
25 | 0.98016 | -0.38214 | 0.015292 | 0.0038327
26 | 0.97994 | -0.38645 | 0.014847 | 0.003721
27 | 0.98818 | -0.2258 | 0 | 0
28 | 0.98722 | -0.24453 | 0.052123 | 0.013063
29 | 0.98104 | -0.3647 | 0 | 0
30 | 0.98157 | -0.35444 | 0 | 0
31 | 0.98091 | -0.36739 | 0.0033083 | 0.00082914
32 | 0.979 | -0.40507 | 0 | 0
33 | 0.97904 | -0.40417 | 0 | 0
34 | 0.97898 | -0.40543 | 0.00086778 | 0.00021749
35 | 0.97908 | -0.40341 | 0.0029868 | 0.00074857
36 | 0.97919 | -0.40125 | 0 | 0
37 | 0.97907 | -0.40357 | 0 | 0
38 | 0.98339 | -0.31883 | 0.056642 | 0.014196
39 | 0.9814 | -0.35774 | 0.056267 | 0.014102
40 | 0.97899 | -0.40512 | 0 | 0
41 | 0.97897 | -0.40562 | 0.0020365 | 0.00051038
42 | 0.97905 | -0.40401 | 0.00060704 | 0.00015214
43 | 0.98112 | -0.36339 | 0.00064669 | 0.00016208
44 | 0.97728 | -0.43864 | 0.0013363 | 0.00033491
45 | 0.98107 | -0.36435 | 0 | 0
46 | 0.97902 | -0.40469 | 0.0025621 | 0.00064212
47 | 0.98134 | -0.35885 | 0.0087477 | 0.0021924
48 | 0.98068 | -0.3718 | 0.0019387 | 0.0004859
49 | 0.98056 | -0.37413 | 0.0019112 | 0.00047898
50 | 0.98057 | -0.37393 | 0 | 0
51 | 0.98052 | -0.37504 | 0.0013822 | 0.00034641
52 | 0.9806 | -0.37333 | 0 | 0
53 | 0.98064 | -0.37261 | 0.0010567 | 0.00026483
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.018854 | -0.0047252 | 0.018856 | 0.0047264 | 2.0224e-06 | 1.2072e-06 | 0.028273 | 0.028273 | 0.028273 | 0.99228 | -0.14742 | 0.9924 | -0.14517 | 7.7672
1 | 0.019811 | 0.0049659 | -0.019809 | -0.0049646 | 2.1534e-06 | 1.2941e-06 | 0.029705 | 0.029705 | 0.029705 | 0.9924 | -0.14517 | 0.99228 | -0.14745 | 8.1608
2 | -0.038667 | -0.0096923 | 0.038685 | 0.0097037 | 1.8094e-05 | 1.1395e-05 | 0.057978 | 0.057978 | 0.057978 | 0.9924 | -0.14517 | 0.99291 | -0.13536 | 15.928
3 | 0.14626 | 0.037155 | -0.14598 | -0.036976 | 0.000281 | 0.00017904 | 0.21937 | 0.21937 | 0.21937 | 0.99291 | -0.13536 | 0.99083 | -0.17535 | 30.1331
4 | -0.18494 | -0.046858 | 0.18539 | 0.047144 | 0.00044806 | 0.00028595 | 0.27735 | 0.27735 | 0.27735 | 0.99291 | -0.13536 | 0.99554 | -0.085057 | 38.097
5 | 0.10358 | 0.026349 | -0.10331 | -0.026176 | 0.00027091 | 0.000173 | 0.15569 | 0.15569 | 0.15569 | 0.99083 | -0.17535 | 0.988 | -0.22978 | 42.773
6 | -0.2403 | -0.060906 | 0.24129 | 0.061536 | 0.00098656 | 0.00063033 | 0.35942 | 0.35942 | 0.35942 | 0.99554 | -0.085057 | 1 | 0 | 49.3704
7 | 0.10331 | 0.026176 | -0.10277 | -0.025833 | 0.00053807 | 0.00034361 | 0.15569 | 0.15569 | 0.15569 | 0.988 | -0.22978 | 0.98238 | -0.33881 | 42.7731
8 | 0.23914 | 0.061387 | -0.23676 | -0.059862 | 0.0023865 | 0.0015247 | 0.35636 | 0.35637 | 0.35637 | 1 | 0 | 0.98911 | -0.20787 | 48.9513
9 | -0.042385 | -0.010623 | 0.042422 | 0.010646 | 3.7852e-05 | 2.3916e-05 | 0.064263 | 0.064263 | 0.064263 | 0.98142 | -0.35754 | 0.98238 | -0.33881 | 17.6547
10 | 0.049089 | 0.01236 | -0.049009 | -0.012309 | 8.0251e-05 | 5.0872e-05 | 0.074377 | 0.074377 | 0.074377 | 0.98238 | -0.33881 | 0.98062 | -0.37307 | 20.4332
11 | 0.011258 | 0.0028265 | -0.011251 | -0.0028229 | 6.916e-06 | 3.624e-06 | 0.017055 | 0.017055 | 0.017055 | 0.98238 | -0.33881 | 0.98172 | -0.3517 | 4.6855
12 | 0.011251 | 0.0028229 | -0.011249 | -0.0028218 | 1.9653e-06 | 1.03e-06 | 0.017055 | 0.017055 | 0.017055 | 0.98172 | -0.3517 | 0.98153 | -0.35536 | 4.6855
13 | 0.011249 | 0.0028218 | -0.011247 | -0.0028204 | 2.6838e-06 | 1.4067e-06 | 0.017055 | 0.017055 | 0.017055 | 0.98153 | -0.35536 | 0.98128 | -0.36037 | 4.6855
14 | 0.049009 | 0.012309 | -0.048988 | -0.012295 | 2.1201e-05 | 1.344e-05 | 0.074377 | 0.074377 | 0.074377 | 0.98062 | -0.37307 | 0.98016 | -0.38214 | 20.4332
15 | 0.010795 | 0.0027073 | -0.010794 | -0.0027065 | 1.5568e-06 | 8.0068e-07 | 0.01637 | 0.016371 | 0.016371 | 0.98128 | -0.36037 | 0.98112 | -0.36339 | 4.4974
16 | 0.1321 | 0.03343 | -0.13199 | -0.033357 | 0.00011356 | 7.2582e-05 | 0.19885 | 0.19885 | 0.19885 | 0.98911 | -0.20787 | 0.98818 | -0.2258 | 54.6279
17 | 0.052214 | 0.013121 | -0.052123 | -0.013063 | 9.1194e-05 | 5.7859e-05 | 0.078563 | 0.078563 | 0.078563 | 0.98911 | -0.20787 | 0.98722 | -0.24453 | 21.5833
18 | 0.052444 | 0.013311 | -0.052025 | -0.013045 | 0.00041913 | 0.00026596 | 0.078957 | 0.078958 | 0.078958 | 0.98911 | -0.20787 | 0.98048 | -0.37546 | 21.6917
19 | -0.018815 | -0.0047216 | 0.01883 | 0.0047305 | 1.4966e-05 | 8.9653e-06 | 0.028616 | 0.028616 | 0.028616 | 0.97844 | -0.41584 | 0.97929 | -0.39917 | 7.8616
20 | 0.018815 | 0.0047216 | -0.018796 | -0.00471 | 1.9254e-05 | 1.1536e-05 | 0.028616 | 0.028616 | 0.028616 | 0.97844 | -0.41584 | 0.97735 | -0.43732 | 7.8616
21 | -0.01883 | -0.0047305 | 0.018841 | 0.0047374 | 1.1441e-05 | 6.8535e-06 | 0.028616 | 0.028616 | 0.028616 | 0.97929 | -0.39917 | 0.97994 | -0.38645 | 7.8615
22 | 0.0013364 | 0.00033428 | -0.0013363 | -0.00033491 | 8.4171e-08 | -6.2561e-07 | 0.0020344 | 0.0020347 | 0.0020347 | 0.97735 | -0.43732 | 0.97728 | -0.43864 | 0.55898
23 | -0.009741 | -0.0024396 | 0.009752 | 0.002445 | 1.1077e-05 | 5.3875e-06 | 0.014794 | 0.014793 | 0.014794 | 0.97973 | -0.39072 | 0.98094 | -0.36686 | 4.0643
24 | 0.009741 | 0.0024396 | -0.0097392 | -0.0024388 | 1.7681e-06 | 8.6036e-07 | 0.014794 | 0.014794 | 0.014794 | 0.97973 | -0.39072 | 0.97953 | -0.39454 | 4.0643
25 | -0.009752 | -0.002445 | 0.0097524 | 0.0024452 | 3.315e-07 | 1.6117e-07 | 0.014793 | 0.014793 | 0.014793 | 0.98094 | -0.36686 | 0.98098 | -0.36615 | 4.0641
26 | 0.0090645 | 0.0022697 | -0.0090616 | -0.0022683 | 2.8972e-06 | 1.3414e-06 | 0.013769 | 0.013769 | 0.013769 | 0.97953 | -0.39454 | 0.97919 | -0.40125 | 3.7828
27 | 0.052025 | 0.013045 | -0.052008 | -0.013034 | 1.7036e-05 | 1.0811e-05 | 0.078958 | 0.078958 | 0.078958 | 0.98048 | -0.37546 | 0.98013 | -0.38233 | 21.6917
28 | -0.010146 | -0.0025437 | 0.010146 | 0.0025442 | 8.7093e-07 | 4.3358e-07 | 0.01539 | 0.01539 | 0.01539 | 0.98098 | -0.36615 | 0.98107 | -0.36435 | 4.228
29 | -0.033694 | -0.0084618 | 0.033696 | 0.0084628 | 1.5342e-06 | 9.622e-07 | 0.051161 | 0.051161 | 0.051161 | 0.98011 | -0.38309 | 0.98016 | -0.38214 | 14.0551
30 | 0.033694 | 0.0084618 | -0.033689 | -0.0084584 | 5.3895e-06 | 3.3801e-06 | 0.051161 | 0.051161 | 0.051161 | 0.98011 | -0.38309 | 0.97994 | -0.38645 | 14.0552
31 | 0.13199 | 0.033357 | -0.1314 | -0.032983 | 0.00058583 | 0.00037443 | 0.19885 | 0.19885 | 0.19885 | 0.98818 | -0.2258 | 0.98339 | -0.31883 | 54.6279
32 | -0.0033087 | -0.00082884 | 0.0033103 | 0.00082771 | 1.6156e-06 | -1.1276e-06 | 0.0050184 | 0.0050176 | 0.0050184 | 0.98104 | -0.3647 | 0.98157 | -0.35444 | 1.3787
33 | 0.0033087 | 0.00082884 | -0.0033083 | -0.00082914 | 4.2496e-07 | -2.9608e-07 | 0.0050184 | 0.0050186 | 0.0050186 | 0.98104 | -0.3647 | 0.98091 | -0.36739 | 1.3787
34 | -0.074631 | -0.018706 | 0.074757 | 0.018787 | 0.00012685 | 8.0852e-05 | 0.11314 | 0.11314 | 0.11314 | 0.98157 | -0.35444 | 0.98339 | -0.31883 | 31.0818
35 | 0.07132 | 0.017878 | -0.071309 | -0.017871 | 1.1235e-05 | 7.1578e-06 | 0.10812 | 0.10812 | 0.10812 | 0.98157 | -0.35444 | 0.9814 | -0.35774 | 29.7033
36 | -0.00086779 | -0.00021721 | 0.00086783 | 0.00021652 | 3.6833e-08 | -6.866e-07 | 0.0013189 | 0.0013186 | 0.0013189 | 0.979 | -0.40507 | 0.97904 | -0.40417 | 0.36233
37 | 0.00086779 | 0.00021721 | -0.00086778 | -0.00021749 | 1.4998e-08 | -2.7949e-07 | 0.0013189 | 0.001319 | 0.001319 | 0.979 | -0.40507 | 0.97898 | -0.40543 | 0.36236
38 | -0.00086783 | -0.00021652 | 0.00086786 | 0.00021594 | 3.1335e-08 | -5.8438e-07 | 0.0013186 | 0.0013184 | 0.0013186 | 0.97904 | -0.40417 | 0.97908 | -0.40341 | 0.36226
39 | -0.0038547 | -0.00096451 | 0.0038551 | 0.00096437 | 3.9637e-07 | -1.3376e-07 | 0.0058578 | 0.0058577 | 0.0058578 | 0.97908 | -0.40341 | 0.97919 | -0.40125 | 1.6093
40 | 0.0052065 | 0.001304 | -0.0052059 | -0.0013039 | 5.739e-07 | 5.979e-08 | 0.0079117 | 0.0079118 | 0.0079118 | 0.97919 | -0.40125 | 0.97907 | -0.40357 | 2.1736
41 | 0.0026437 | 0.000662 | -0.0026437 | -0.00066208 | 5.6077e-08 | -8.0607e-08 | 0.0040178 | 0.0040178 | 0.0040178 | 0.97907 | -0.40357 | 0.97905 | -0.40401 | 1.1038
42 | 0.0025622 | 0.00064191 | -0.0025621 | -0.00064212 | 1.3735e-07 | -2.1584e-07 | 0.003894 | 0.0038942 | 0.0038942 | 0.97907 | -0.40357 | 0.97902 | -0.40469 | 1.0698
43 | 0.015042 | 0.0037694 | -0.015041 | -0.0037689 | 7.9508e-07 | 4.5734e-07 | 0.022806 | 0.022806 | 0.022806 | 0.9814 | -0.35774 | 0.98134 | -0.35885 | 6.2654
44 | 0.0020365 | 0.00051024 | -0.0020365 | -0.00051038 | 4.8716e-08 | -1.393e-07 | 0.0030953 | 0.0030954 | 0.0030954 | 0.97899 | -0.40512 | 0.97897 | -0.40562 | 0.85038
45 | -0.0020365 | -0.00051024 | 0.0020366 | 0.00050994 | 1.0739e-07 | -3.0715e-07 | 0.0030953 | 0.0030952 | 0.0030953 | 0.97899 | -0.40512 | 0.97905 | -0.40401 | 0.85036
46 | 0.010147 | 0.0025444 | -0.010146 | -0.0025442 | 4.6188e-07 | 2.2993e-07 | 0.01539 | 0.01539 | 0.01539 | 0.98112 | -0.36339 | 0.98107 | -0.36435 | 4.228
47 | 0.0062931 | 0.0015765 | -0.0062892 | -0.0015755 | 3.879e-06 | 1.0483e-06 | 0.009542 | 0.0095426 | 0.0095426 | 0.98134 | -0.35885 | 0.98068 | -0.3718 | 2.6216
48 | 0.0043505 | 0.0010896 | -0.0043503 | -0.0010896 | 1.6711e-07 | -2.2087e-08 | 0.0066008 | 0.0066009 | 0.0066009 | 0.98068 | -0.3718 | 0.98064 | -0.37261 | 1.8134
49 | -0.0032934 | -0.00082497 | 0.0032934 | 0.00082495 | 3.0807e-08 | -2.1775e-08 | 0.0049976 | 0.0049976 | 0.0049976 | 0.98056 | -0.37413 | 0.98057 | -0.37393 | 1.373
50 | 0.0013822 | 0.00034598 | -0.0013822 | -0.00034641 | 6.02e-08 | -4.2174e-07 | 0.0020974 | 0.0020976 | 0.0020976 | 0.98056 | -0.37413 | 0.98052 | -0.37504 | 0.57625
51 | -0.0032934 | -0.00082495 | 0.0032935 | 0.00082488 | 9.5177e-08 | -6.7279e-08 | 0.0049976 | 0.0049976 | 0.0049976 | 0.98057 | -0.37393 | 0.9806 | -0.37333 | 1.373
52 | -0.0032935 | -0.00082488 | 0.0032936 | 0.0008248 | 1.1256e-07 | -7.9579e-08 | 0.0049976 | 0.0049975 | 0.0049976 | 0.9806 | -0.37333 | 0.98064 | -0.37261 | 1.373

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48208 | 0.12292

## res_load
| p_mw | q_mvar
0 | 0.018854 | 0.0047252
1 | 0.019809 | 0.0049646
2 | 0.0424 | 0.010626
3 | 0.054908 | 0.013761
4 | 0.042385 | 0.010623
5 | 0.00045156 | 0.00011317
6 | 0.017459 | 0.0043757
7 | 0.0006747 | 0.00016909
8 | 0.052008 | 0.013034
9 | 0.00039319 | 9.8542e-05
10 | 0.015292 | 0.0038327
11 | 0.014847 | 0.003721
12 | 0.052123 | 0.013063
13 | 0.0033083 | 0.00082914
14 | 0.00086778 | 0.00021749
15 | 0.0029868 | 0.00074857
16 | 0.056642 | 0.014196
17 | 0.056267 | 0.014102
18 | 0.0020365 | 0.00051038
19 | 0.00060704 | 0.00015214
20 | 0.00064669 | 0.00016208
21 | 0.0013363 | 0.00033491
22 | 0.0025621 | 0.00064212
23 | 0.0087477 | 0.0021924
24 | 0.0019387 | 0.0004859
25 | 0.0019112 | 0.00047898
26 | 0.0013822 | 0.00034641
27 | 0.0010567 | 0.00026483

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1