## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-59_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-59_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-59_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-59_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-59_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_191-59_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_191-59_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_191-59_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_191-59_0_5_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_191-59_0_5_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_191-59_0_5_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_191-59_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_191-59_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_191-59_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_191-59_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_191-59_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_191-59_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_191-59_0_5_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_191-59_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_191-59_0_5_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_191-59_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_191-59_0_5_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_191-59_0_5_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_191-59_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_191-59_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_191-59_0_5_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_191-59_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_191-59_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_191-59_0_5_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_191-59_0_5_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_191-59_0_5_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_191-59_0_5_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_191-59_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_191-59_0_5_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_191-59_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_191-59_0_5_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_191-59_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_191-59_0_5_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_191-59_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_191-59_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_191-59_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_191-59_0_5_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_191-59_0_5_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_191-59_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_191-59_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_191-59_0_5_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_191-59_0_5_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_191-59_0_5_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_191-59_0_5_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_191-59_0_5_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_191-59_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_191-59_0_5_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_191-59_0_5_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_191-59_0_5_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_191-59_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_191-59_0_5_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_191-59_0_5_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_191-59_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_191-59_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_191-59_0_5_node_52 | 0.4 | n |  | TRUE
60 | bus_MV_499_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-59_0_5_load_0 | 0 | 0.00689 | 0.0017268 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-59_0_5_load_1 | 1 | 0.0026186 | 0.00065629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-59_0_5_load_2 | 2 | 0.0023359 | 0.00058544 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-59_0_5_load_3 | 3 | 0.0020258 | 0.00050772 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-59_0_5_load_6 | 4 | 0.0022591 | 0.00056619 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-59_0_5_load_4 | 5 | 0.0084813 | 0.0021256 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-59_0_5_load_5 | 6 | 0.023156 | 0.0058035 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-59_0_5_load_7 | 7 | 0.012994 | 0.0032567 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-59_0_5_load_8 | 11 | 0.0038829 | 0.00097315 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-59_0_5_load_9 | 12 | 0.0028494 | 0.00071414 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-59_0_5_load_11 | 14 | 0.0029881 | 0.00074889 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-59_0_5_load_40 | 19 | 0.0062733 | 0.0015722 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-59_0_5_load_47 | 21 | 0.007518 | 0.0018842 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-59_0_5_load_61 | 22 | 0.0066354 | 0.001663 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-59_0_5_load_57 | 25 | 0.0078674 | 0.0019718 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-59_0_5_load_56 | 28 | 0.0070565 | 0.0017685 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-59_0_5_load_58 | 29 | 0.0076634 | 0.0019206 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-59_0_5_load_54 | 30 | 0.0057704 | 0.0014462 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-59_0_5_load_59 | 31 | 0.017463 | 0.0043767 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-59_0_5_load_48 | 33 | 0.040457 | 0.01014 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-59_0_5_load_46 | 35 | 0.0076445 | 0.0019159 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-59_0_5_load_33 | 37 | 0.0032862 | 0.00082361 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-59_0_5_load_32 | 39 | 0.0077018 | 0.0019302 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-59_0_5_load_31 | 40 | 0.0082218 | 0.0020606 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-59_0_5_load_39 | 41 | 0.0063983 | 0.0016036 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-59_0_5_load_49 | 42 | 0.026794 | 0.0067152 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-59_0_5_load_34 | 43 | 0.0072505 | 0.0018171 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-59_0_5_load_41 | 45 | 0.0067908 | 0.0017019 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-59_0_5_load_45 | 46 | 0.008597 | 0.0021546 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-59_0_5_load_55 | 47 | 0.0021539 | 0.00053981 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-59_0_5_load_53 | 48 | 0.0071872 | 0.0018013 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-59_0_5_load_60 | 49 | 0.015884 | 0.0039808 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-59_0_5_load_44 | 50 | 0.032642 | 0.0081808 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-59_0_5_load_30 | 51 | 0.0084834 | 0.0021261 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-59_0_5_load_50 | 52 | 0.016104 | 0.004036 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_191-59_0_5_load_38 | 53 | 0.0066556 | 0.001668 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_191-59_0_5_load_37 | 54 | 0.0024548 | 0.00061523 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_191-59_0_5_load_36 | 55 | 0.0024498 | 0.00061398 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_191-59_0_5_load_42 | 56 | 0.01387 | 0.0034763 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_191-59_0_5_load_43 | 57 | 0.0060161 | 0.0015078 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_191-59_0_5_load_51 | 58 | 0.010753 | 0.0026949 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_191-59_0_5_load_52 | 59 | 0.02099 | 0.0052605 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-59_0_5_line_0 |  | 0 | 1 | 0.029012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-59_0_5_line_1 |  | 0 | 2 | 0.030475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-59_0_5_line_2 |  | 1 | 3 | 0.0042647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-59_0_5_line_3 |  | 3 | 4 | 0.023975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-59_0_5_line_4 |  | 4 | 5 | 0.034845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-59_0_5_line_5 |  | 5 | 6 | 0.017684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-59_0_5_line_6 |  | 6 | 7 | 0.011107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-59_0_5_line_7 |  | 7 | 8 | 0.033473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-59_0_5_line_8 |  | 8 | 9 | 0.061694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_191-59_0_5_line_9 |  | 8 | 10 | 0.070696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_191-59_0_5_line_10 |  | 9 | 42 | 0.070324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_191-59_0_5_line_11 |  | 9 | 32 | 0.1175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_191-59_0_5_line_12 |  | 10 | 43 | 0.014071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-59_0_5_line_13 |  | 10 | 44 | 0.02515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-59_0_5_line_14 |  | 10 | 39 | 0.01696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_191-59_0_5_line_15 |  | 11 | 12 | 2.9019e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-59_0_5_line_16 |  | 11 | 13 | 0.01303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-59_0_5_line_17 |  | 12 | 14 | 0.0078909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-59_0_5_line_18 |  | 13 | 15 | 0.031442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_191-59_0_5_line_19 |  | 13 | 16 | 0.11199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_191-59_0_5_line_20 |  | 15 | 17 | 0.043222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_191-59_0_5_line_21 |  | 15 | 18 | 0.043497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-59_0_5_line_22 |  | 15 | 19 | 0.019312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_191-59_0_5_line_23 |  | 16 | 20 | 0.019191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_191-59_0_5_line_24 |  | 16 | 21 | 0.021185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_191-59_0_5_line_25 |  | 17 | 40 | 0.016118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-59_0_5_line_26 |  | 17 | 36 | 0.047185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_191-59_0_5_line_27 |  | 18 | 22 | 0.039707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-59_0_5_line_28 |  | 19 | 45 | 0.020511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_191-59_0_5_line_29 |  | 20 | 30 | 0.013736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_191-59_0_5_line_30 |  | 20 | 31 | 0.050035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_191-59_0_5_line_31 |  | 21 | 46 | 0.027391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_191-59_0_5_line_32 |  | 23 | 24 | 0.03154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-59_0_5_line_33 |  | 23 | 25 | 0.014663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-59_0_5_line_34 |  | 24 | 34 | 0.004556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-59_0_5_line_35 |  | 26 | 27 | 0.042636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-59_0_5_line_36 |  | 26 | 28 | 0.027257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-59_0_5_line_37 |  | 27 | 29 | 0.030541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-59_0_5_line_38 |  | 28 | 47 | 0.0017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-59_0_5_line_39 |  | 30 | 48 | 0.0030615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-59_0_5_line_40 |  | 31 | 49 | 0.030613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-59_0_5_line_41 |  | 32 | 33 | 0.054041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-59_0_5_line_42 |  | 34 | 35 | 0.018123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_191-59_0_5_line_43 |  | 35 | 50 | 0.03506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_191-59_0_5_line_44 |  | 36 | 37 | 0.007846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-59_0_5_line_45 |  | 36 | 38 | 0.018121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-59_0_5_line_46 |  | 36 | 39 | 0.017014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_191-59_0_5_line_47 |  | 38 | 41 | 0.016752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-59_0_5_line_48 |  | 40 | 51 | 0.015814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-59_0_5_line_49 |  | 42 | 52 | 0.029987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_191-59_0_5_line_50 |  | 44 | 53 | 0.014033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-59_0_5_line_51 |  | 45 | 56 | 0.012957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-59_0_5_line_52 |  | 46 | 57 | 0.021394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_191-59_0_5_line_53 |  | 47 | 48 | 0.027978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-59_0_5_line_54 |  | 50 | 57 | 0.026435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_191-59_0_5_line_55 |  | 52 | 58 | 0.021483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_191-59_0_5_line_56 |  | 53 | 54 | 0.01966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_191-59_0_5_line_57 |  | 54 | 55 | 0.00012526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_191-59_0_5_line_58 |  | 58 | 59 | 0.01653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-59_0_5_trafo_51 | 0.63 MVA 20/0.4 kV | 60 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2689349.7178 | 1250192.7843 | 2689329.9047 | 1250195.8797 | 2689321.2181 | 1250198.0701
1 | 2689372.881 | 1250175.8679 | 2689368.1237 | 1250183.413 | 2689362.6496 | 1250189.4239 | 2689356.257 | 1250191.7627 | 2689349.7178 | 1250192.7843
2 | 2689317.0828 | 1250199.1128 | 2689321.2181 | 1250198.0701
3 | 2689317.0828 | 1250199.1128 | 2689300.6949 | 1250203.2452 | 2689296.1998 | 1250205.4236 | 2689294.1208 | 1250205.4405
4 | 2689260.3926 | 1250214.0987 | 2689293.3303 | 1250205.447 | 2689294.1208 | 1250205.4405
5 | 2689260.3926 | 1250214.0987 | 2689243.2887 | 1250218.5913
6 | 2689232.5034 | 1250221.236 | 2689237.6001 | 1250220.0855 | 2689243.2887 | 1250218.5913
7 | 2689199.6534 | 1250219.5251 | 2689222.1299 | 1250223.5775 | 2689232.5034 | 1250221.236
8 | 2689161.0788 | 1250250.1457 | 2689161.0083 | 1250245.7969 | 2689175.3886 | 1250241.977 | 2689186.771 | 1250239.1906 | 2689200.9903 | 1250235.5351 | 2689200.6965 | 1250231.9836 | 2689199.6534 | 1250219.5251
9 | 2689199.6534 | 1250219.5251 | 2689200.1583 | 1250214.073 | 2689244.1211 | 1250170.1347 | 2689241.88 | 1250168.0438
10 | 2689161.0788 | 1250250.1457 | 2689229.101 | 1250232.302
11 | 2689161.0788 | 1250250.1457 | 2689161.1342 | 1250253.4824 | 2689159.985 | 1250257.6016 | 2689157.7657 | 1250261.5823 | 2689152.7332 | 1250268.8789 | 2689143.2274 | 1250281.9236 | 2689141.8188 | 1250283.7148 | 2689180.1183 | 1250316.9828 | 2689200.8397 | 1250334.7748
12 | 2689241.88 | 1250168.0438 | 2689231.9015 | 1250177.964
13 | 2689241.88 | 1250168.0438 | 2689223.467 | 1250150.8536
14 | 2689241.88 | 1250168.0438 | 2689253.9067 | 1250156.0852
15 | 2689354.1354 | 1250149.5821 | 2689354.1498 | 1250149.5569
16 | 2689360.613 | 1250138.2433 | 2689354.1498 | 1250149.5569
17 | 2689350.2211 | 1250156.4338 | 2689354.1354 | 1250149.5821
18 | 2689333.004 | 1250123.0489 | 2689360.613 | 1250138.2433
19 | 2689353.5562 | 1250209.6355 | 2689352.9559 | 1250199.3742 | 2689364.4378 | 1250198.5133 | 2689373.4178 | 1250197.8371 | 2689374.386 | 1250186.2095 | 2689376.0546 | 1250179.7075 | 2689384.0031 | 1250165.3276 | 2689390.3409 | 1250154.615 | 2689360.613 | 1250138.2433
20 | 2689295.9284 | 1250109.2354 | 2689301.9864 | 1250105.0568 | 2689307.111 | 1250108.2031 | 2689324.2653 | 1250118.2358 | 2689333.004 | 1250123.0489
21 | 2689339.4767 | 1250088.3757 | 2689331.4029 | 1250105.0556 | 2689328.709 | 1250109.9521 | 2689324.2653 | 1250118.2358 | 2689333.004 | 1250123.0489
22 | 2689333.004 | 1250123.0489 | 2689321.2537 | 1250138.3749
23 | 2689353.5562 | 1250209.6355 | 2689362.4442 | 1250208.0461 | 2689359.3986 | 1250217.7408
24 | 2689353.5562 | 1250209.6355 | 2689352.2607 | 1250219.9349 | 2689349.9762 | 1250225.7271 | 2689347.5904 | 1250229.6347
25 | 2689295.9284 | 1250109.2354 | 2689295.3148 | 1250106.8688 | 2689290.4084 | 1250104.2707 | 2689283.5422 | 1250099.9333
26 | 2689265.9717 | 1250144.0884 | 2689294.4481 | 1250115.7736 | 2689296.5134 | 1250111.5015 | 2689295.9284 | 1250109.2354
27 | 2689339.4767 | 1250088.3757 | 2689362.1161 | 1250097.1681 | 2689356.4161 | 1250111.4966
28 | 2689321.2537 | 1250138.3749 | 2689308.774 | 1250154.6522 | 2689308.774 | 1250154.6522
29 | 2689359.3986 | 1250217.7408 | 2689370.5458 | 1250225.7662
30 | 2689359.3986 | 1250217.7408 | 2689333.2968 | 1250260.4276
31 | 2689347.5904 | 1250229.6347 | 2689342.7379 | 1250237.5825 | 2689333.3141 | 1250253.0109
32 | 2689290.758 | 1250345.5257 | 2689311.1157 | 1250361.3777 | 2689314.9774 | 1250357.1327
33 | 2689314.9774 | 1250357.1327 | 2689324.8481 | 1250346.2895
34 | 2689290.758 | 1250345.5257 | 2689287.1536 | 1250342.7248
35 | 2689418.5464 | 1250261.8218 | 2689390.1894 | 1250293.7294
36 | 2689418.5464 | 1250261.8218 | 2689396.956 | 1250245.1853
37 | 2689390.1894 | 1250293.7294 | 2689374.909 | 1250296.1564 | 2689369.3352 | 1250298.7744 | 2689362.7765 | 1250304.6244 | 2689362.6939 | 1250304.7151
38 | 2689396.956 | 1250245.1853 | 2689395.5731 | 1250244.1198
39 | 2689373.0304 | 1250227.555 | 2689370.5458 | 1250225.7662
40 | 2689333.2968 | 1250260.4276 | 2689320.1276 | 1250281.9644 | 2689317.8099 | 1250286.8069
41 | 2689200.8397 | 1250334.7748 | 2689235.6718 | 1250293.4566
42 | 2689287.1536 | 1250342.7248 | 2689295.1141 | 1250326.4432
43 | 2689309.897 | 1250294.6574 | 2689301.4878 | 1250313.4074 | 2689295.1141 | 1250326.4432
44 | 2689265.9717 | 1250144.0884 | 2689259.7062 | 1250139.3658
45 | 2689265.9717 | 1250144.0884 | 2689268.3682 | 1250145.8925 | 2689257.6743 | 1250156.584
46 | 2689265.9717 | 1250144.0884 | 2689253.9067 | 1250156.0852
47 | 2689257.6743 | 1250156.584 | 2689271.339 | 1250166.2752
48 | 2689270.1725 | 1250091.4876 | 2689283.5422 | 1250099.9333
49 | 2689229.101 | 1250232.302 | 2689258.107 | 1250224.6932
50 | 2689223.467 | 1250150.8536 | 2689223.2551 | 1250144.3677 | 2689227.8548 | 1250138.3887
51 | 2689299.6612 | 1250163.8626 | 2689308.774 | 1250154.6522
52 | 2689322.1621 | 1250271.2685 | 2689333.3141 | 1250253.0109
53 | 2689373.0304 | 1250227.555 | 2689388.9464 | 1250239.0136 | 2689395.5731 | 1250244.1198
54 | 2689322.1621 | 1250271.2685 | 2689321.0001 | 1250273.1708 | 2689313.4258 | 1250286.7893 | 2689309.897 | 1250294.6574
55 | 2689278.8871 | 1250219.2421 | 2689258.107 | 1250224.6932
56 | 2689227.8548 | 1250138.3887 | 2689235.0687 | 1250129.0117 | 2689228.8541 | 1250124.2498
57 | 2689228.7547 | 1250124.1736 | 2689228.8541 | 1250124.2498
58 | 2689278.8871 | 1250219.2421 | 2689294.8761 | 1250215.0478

## bus_geodata
| x | y | coords
0 | 2689349.7178 | 1250192.7843
1 | 2689321.2181 | 1250198.0701
2 | 2689372.881 | 1250175.8679
3 | 2689317.0828 | 1250199.1128
4 | 2689294.1208 | 1250205.4406
5 | 2689260.3927 | 1250214.0987
6 | 2689243.2887 | 1250218.5913
7 | 2689232.5034 | 1250221.236
8 | 2689199.6534 | 1250219.5251
9 | 2689161.0788 | 1250250.1457
10 | 2689241.88 | 1250168.0438
11 | 2689354.1498 | 1250149.5569
12 | 2689354.1354 | 1250149.5821
13 | 2689360.613 | 1250138.2433
14 | 2689350.2211 | 1250156.4338
15 | 2689333.004 | 1250123.0489
16 | 2689353.5562 | 1250209.6355
17 | 2689295.9284 | 1250109.2354
18 | 2689339.4767 | 1250088.3757
19 | 2689321.2537 | 1250138.3749
20 | 2689359.3986 | 1250217.7408
21 | 2689347.5904 | 1250229.6347
22 | 2689356.4161 | 1250111.4966
23 | 2689314.9774 | 1250357.1327
24 | 2689290.758 | 1250345.5257
25 | 2689324.8481 | 1250346.2895
26 | 2689418.5464 | 1250261.8218
27 | 2689390.1894 | 1250293.7294
28 | 2689396.956 | 1250245.1853
29 | 2689362.6939 | 1250304.7151
30 | 2689370.5458 | 1250225.7662
31 | 2689333.2968 | 1250260.4276
32 | 2689200.8397 | 1250334.7748
33 | 2689235.6718 | 1250293.4566
34 | 2689287.1536 | 1250342.7248
35 | 2689295.1141 | 1250326.4432
36 | 2689265.9717 | 1250144.0884
37 | 2689259.7062 | 1250139.3658
38 | 2689257.6743 | 1250156.584
39 | 2689253.9067 | 1250156.0852
40 | 2689283.5422 | 1250099.9333
41 | 2689271.339 | 1250166.2752
42 | 2689229.101 | 1250232.302
43 | 2689231.9015 | 1250177.964
44 | 2689223.467 | 1250150.8536
45 | 2689308.774 | 1250154.6522
46 | 2689333.3141 | 1250253.0109
47 | 2689395.5731 | 1250244.1198
48 | 2689373.0304 | 1250227.555
49 | 2689317.8099 | 1250286.8069
50 | 2689309.897 | 1250294.6574
51 | 2689270.1725 | 1250091.4876
52 | 2689258.107 | 1250224.6932
53 | 2689227.8548 | 1250138.3887
54 | 2689228.8541 | 1250124.2498
55 | 2689228.7547 | 1250124.1736
56 | 2689299.6612 | 1250163.8626
57 | 2689322.1621 | 1250271.2685
58 | 2689278.8871 | 1250219.2421
59 | 2689294.8761 | 1250215.0478
60 | 2689298.9778 | 1250213.9719

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98219 | -0.34078 | 0.00689 | 0.0017268
1 | 0.98244 | -0.33594 | 0.0026186 | 0.00065629
2 | 0.98213 | -0.34206 | 0.0023359 | 0.00058544
3 | 0.98249 | -0.33503 | 0.0020258 | 0.00050772
4 | 0.98279 | -0.32902 | 0.0022591 | 0.00056619
5 | 0.98331 | -0.31889 | 0.0084813 | 0.0021256
6 | 0.98371 | -0.31104 | 0.023156 | 0.0058035
7 | 0.9842 | -0.30149 | 0.012994 | 0.0032567
8 | 0.98608 | -0.26496 | 0 | 0
9 | 0.99024 | -0.18498 | 0 | 0
10 | 0.9823 | -0.33802 | 0 | 0
11 | 0.97558 | -0.46906 | 0.0038829 | 0.00097315
12 | 0.97558 | -0.46906 | 0.0028494 | 0.00071414
13 | 0.9757 | -0.46674 | 0 | 0
14 | 0.97556 | -0.4695 | 0.0029881 | 0.00074889
15 | 0.97675 | -0.44615 | 0 | 0
16 | 0.97221 | -0.53542 | 0 | 0
17 | 0.97853 | -0.41131 | 0 | 0
18 | 0.97648 | -0.45143 | 0 | 0
19 | 0.97663 | -0.44853 | 0.0062733 | 0.0015722
20 | 0.97193 | -0.54102 | 0 | 0
21 | 0.97186 | -0.54229 | 0.007518 | 0.0018842
22 | 0.97624 | -0.45624 | 0.0066354 | 0.001663
23 | 0.97047 | -0.5699 | 0 | 0
24 | 0.9707 | -0.5653 | 0 | 0
25 | 0.97036 | -0.57203 | 0.0078674 | 0.0019718
26 | 0.97101 | -0.55922 | 0 | 0
27 | 0.9707 | -0.56526 | 0 | 0
28 | 0.9712 | -0.55535 | 0.0070565 | 0.0017685
29 | 0.97048 | -0.56959 | 0.0076634 | 0.0019206
30 | 0.97173 | -0.5448 | 0.0057704 | 0.0014462
31 | 0.97141 | -0.55128 | 0.017463 | 0.0043767
32 | 0.98806 | -0.22733 | 0 | 0
33 | 0.98605 | -0.26644 | 0.040457 | 0.01014
34 | 0.97073 | -0.56464 | 0 | 0
35 | 0.97077 | -0.56398 | 0.0076445 | 0.0019159
36 | 0.98066 | -0.36985 | 0 | 0
37 | 0.98064 | -0.37031 | 0.0032862 | 0.00082361
38 | 0.98055 | -0.37195 | 0 | 0
39 | 0.98146 | -0.35419 | 0.0077018 | 0.0019302
40 | 0.97828 | -0.41621 | 0.0082218 | 0.0020606
41 | 0.98045 | -0.37389 | 0.0063983 | 0.0016036
42 | 0.99565 | -0.082109 | 0.026794 | 0.0067152
43 | 0.9822 | -0.33987 | 0.0072505 | 0.0018171
44 | 0.98203 | -0.34328 | 0 | 0
45 | 0.97643 | -0.4524 | 0.0067908 | 0.0017019
46 | 0.97146 | -0.55023 | 0.008597 | 0.0021546
47 | 0.97123 | -0.55488 | 0.0021539 | 0.00053981
48 | 0.97167 | -0.54616 | 0.0071872 | 0.0018013
49 | 0.97095 | -0.56027 | 0.015884 | 0.0039808
50 | 0.97089 | -0.56147 | 0.032642 | 0.0081808
51 | 0.97816 | -0.41866 | 0.0084834 | 0.0021261
52 | 0.99814 | -0.035066 | 0.016104 | 0.004036
53 | 0.98188 | -0.34621 | 0.0066556 | 0.001668
54 | 0.98179 | -0.34795 | 0.0024548 | 0.00061523
55 | 0.98179 | -0.34796 | 0.0024498 | 0.00061398
56 | 0.97626 | -0.45569 | 0.01387 | 0.0034763
57 | 0.97119 | -0.55558 | 0.0060161 | 0.0015078
58 | 1 | 0 | -0.40358 | -0.10347
59 | 0.99969 | -0.0060493 | 0.02099 | 0.0052605
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.009226 | -0.0023119 | 0.0092282 | 0.0023129 | 2.1254e-06 | 9.9301e-07 | 0.013977 | 0.013977 | 0.013977 | 0.98219 | -0.34078 | 0.98244 | -0.33594 | 3.8399
1 | 0.0023361 | 0.00058514 | -0.0023359 | -0.00058544 | 1.4314e-07 | -2.9407e-07 | 0.003539 | 0.0035391 | 0.0035391 | 0.98219 | -0.34078 | 0.98213 | -0.34206 | 0.97229
2 | -0.011847 | -0.0029692 | 0.011847 | 0.0029695 | 5.1491e-07 | 2.7553e-07 | 0.017943 | 0.017943 | 0.017943 | 0.98244 | -0.33594 | 0.98249 | -0.33503 | 4.9295
3 | -0.013873 | -0.0034772 | 0.013877 | 0.0034794 | 3.9692e-06 | 2.2366e-06 | 0.021012 | 0.021011 | 0.021012 | 0.98249 | -0.33503 | 0.98279 | -0.32902 | 5.7724
4 | -0.016136 | -0.0040456 | 0.016144 | 0.0040502 | 7.7999e-06 | 4.5502e-06 | 0.024432 | 0.024432 | 0.024432 | 0.98279 | -0.32902 | 0.98331 | -0.31889 | 6.7121
5 | -0.024625 | -0.0061758 | 0.024635 | 0.0061815 | 9.2097e-06 | 5.6698e-06 | 0.037266 | 0.037266 | 0.037266 | 0.98331 | -0.31889 | 0.98371 | -0.31104 | 10.238
6 | -0.047791 | -0.011985 | 0.047813 | 0.011999 | 2.1767e-05 | 1.379e-05 | 0.072293 | 0.072293 | 0.072293 | 0.98371 | -0.31104 | 0.9842 | -0.30149 | 19.8608
7 | -0.060807 | -0.015255 | 0.060913 | 0.015323 | 0.0001061 | 6.7481e-05 | 0.091939 | 0.091939 | 0.091939 | 0.9842 | -0.30149 | 0.98608 | -0.26496 | 25.2581
8 | -0.29313 | -0.074485 | 0.29426 | 0.075207 | 0.0011336 | 0.00072232 | 0.44271 | 0.44271 | 0.44271 | 0.98608 | -0.26496 | 0.99024 | -0.18498 | 30.4057
9 | 0.23222 | 0.059162 | -0.2314 | -0.058644 | 0.00081547 | 0.00051831 | 0.35077 | 0.35077 | 0.35077 | 0.98608 | -0.26496 | 0.9823 | -0.33802 | 24.0913
10 | -0.33488 | -0.085444 | 0.33655 | 0.086511 | 0.0016731 | 0.0010671 | 0.50376 | 0.50376 | 0.50376 | 0.99024 | -0.18498 | 0.99565 | -0.082109 | 34.5987
11 | 0.040615 | 0.010237 | -0.040533 | -0.010187 | 8.2116e-05 | 4.9538e-05 | 0.061052 | 0.061053 | 0.061053 | 0.99024 | -0.18498 | 0.98806 | -0.22733 | 8.3864
12 | 0.0072511 | 0.0018174 | -0.0072505 | -0.0018171 | 6.3663e-07 | 2.2934e-07 | 0.010984 | 0.010984 | 0.010984 | 0.9823 | -0.33802 | 0.9822 | -0.33987 | 3.0177
13 | 0.011565 | 0.0028997 | -0.011562 | -0.0028981 | 2.8948e-06 | 1.5344e-06 | 0.01752 | 0.01752 | 0.01752 | 0.9823 | -0.33802 | 0.98203 | -0.34328 | 4.8131
14 | 0.21259 | 0.053927 | -0.21242 | -0.053822 | 0.00016513 | 0.00010483 | 0.32227 | 0.32227 | 0.32227 | 0.9823 | -0.33802 | 0.98146 | -0.35419 | 22.1337
15 | 0.0058376 | 0.001463 | -0.0058376 | -0.001463 | 8.6334e-10 | 1.9367e-10 | 0.0089038 | 0.0089038 | 0.0089038 | 0.97558 | -0.46906 | 0.97558 | -0.46906 | 2.4461
16 | -0.0097205 | -0.0024361 | 0.0097216 | 0.0024366 | 1.0741e-06 | 5.2468e-07 | 0.014826 | 0.014826 | 0.014826 | 0.97558 | -0.46906 | 0.9757 | -0.46674 | 4.0732
17 | 0.0029882 | 0.00074883 | -0.0029881 | -0.00074889 | 6.1469e-08 | -5.9187e-08 | 0.0045577 | 0.0045577 | 0.0045577 | 0.97558 | -0.46906 | 0.97556 | -0.4695 | 1.2521
18 | -0.14376 | -0.036237 | 0.1439 | 0.036326 | 0.00014179 | 8.9174e-05 | 0.21932 | 0.21932 | 0.21932 | 0.9757 | -0.46674 | 0.97675 | -0.44615 | 15.0634
19 | 0.13404 | 0.0338 | -0.1336 | -0.033524 | 0.00043908 | 0.00027544 | 0.2045 | 0.2045 | 0.2045 | 0.9757 | -0.46674 | 0.97221 | -0.53542 | 14.0453
20 | -0.17749 | -0.044744 | 0.17778 | 0.044932 | 0.00029645 | 0.00018756 | 0.27048 | 0.27048 | 0.27048 | 0.97675 | -0.44615 | 0.97853 | -0.41131 | 18.5772
21 | 0.0066386 | 0.001664 | -0.0066369 | -0.0016635 | 1.6684e-06 | 5.2352e-07 | 0.010114 | 0.010114 | 0.010114 | 0.97675 | -0.44615 | 0.97648 | -0.45143 | 2.7785
22 | 0.026944 | 0.0067546 | -0.02694 | -0.0067536 | 3.0505e-06 | 9.856e-07 | 0.041047 | 0.041048 | 0.041048 | 0.97675 | -0.44615 | 0.97663 | -0.44853 | 2.8192
23 | 0.063238 | 0.015867 | -0.063221 | -0.015857 | 1.6857e-05 | 9.8368e-06 | 0.096795 | 0.096796 | 0.096796 | 0.97221 | -0.53542 | 0.97193 | -0.54102 | 6.6481
24 | 0.070364 | 0.017658 | -0.070341 | -0.017644 | 2.3039e-05 | 1.3695e-05 | 0.1077 | 0.1077 | 0.1077 | 0.97221 | -0.53542 | 0.97186 | -0.54229 | 7.3973
25 | 0.01671 | 0.0041895 | -0.016706 | -0.0041872 | 3.9029e-06 | 2.2954e-06 | 0.025411 | 0.025411 | 0.025411 | 0.97853 | -0.41131 | 0.97828 | -0.41621 | 6.9811
26 | -0.19449 | -0.049121 | 0.19488 | 0.049367 | 0.0003873 | 0.00024549 | 0.29589 | 0.29589 | 0.29589 | 0.97853 | -0.41131 | 0.98066 | -0.36985 | 20.3224
27 | 0.0066369 | 0.0016635 | -0.0066354 | -0.001663 | 1.5231e-06 | 4.7821e-07 | 0.010114 | 0.010114 | 0.010114 | 0.97648 | -0.45143 | 0.97624 | -0.45624 | 2.7786
28 | 0.020667 | 0.0051813 | -0.020663 | -0.0051794 | 3.8135e-06 | 1.9274e-06 | 0.03149 | 0.03149 | 0.03149 | 0.97663 | -0.44853 | 0.97643 | -0.4524 | 4.3255
29 | 0.029851 | 0.0074869 | -0.029846 | -0.0074838 | 5.3796e-06 | 3.1026e-06 | 0.045704 | 0.045704 | 0.045704 | 0.97193 | -0.54102 | 0.97173 | -0.5448 | 6.278
30 | 0.03337 | 0.0083701 | -0.033354 | -0.0083615 | 1.6326e-05 | 8.5897e-06 | 0.051092 | 0.051093 | 0.051093 | 0.97193 | -0.54102 | 0.97141 | -0.55128 | 4.6788
31 | 0.062823 | 0.01576 | -0.062799 | -0.015746 | 2.3761e-05 | 1.385e-05 | 0.096193 | 0.096194 | 0.096194 | 0.97186 | -0.54229 | 0.97146 | -0.55023 | 6.6067
32 | -0.0078682 | -0.0019721 | 0.0078699 | 0.0019728 | 1.7215e-06 | 7.1195e-07 | 0.012064 | 0.012064 | 0.012064 | 0.97047 | -0.5699 | 0.9707 | -0.5653 | 3.3144
33 | 0.0078682 | 0.0019721 | -0.0078674 | -0.0019718 | 8.0033e-07 | 3.3106e-07 | 0.012064 | 0.012064 | 0.012064 | 0.97047 | -0.5699 | 0.97036 | -0.57203 | 3.3144
34 | -0.0078699 | -0.0019728 | 0.0078702 | 0.0019729 | 2.4866e-07 | 1.0282e-07 | 0.012064 | 0.012064 | 0.012064 | 0.9707 | -0.5653 | 0.97073 | -0.56464 | 3.3143
35 | 0.0076671 | 0.0019221 | -0.0076649 | -0.0019213 | 2.2073e-06 | 8.8547e-07 | 0.01175 | 0.01175 | 0.01175 | 0.97101 | -0.55922 | 0.9707 | -0.56526 | 3.228
36 | -0.0076671 | -0.0019221 | 0.0076686 | 0.0019227 | 1.4111e-06 | 5.6587e-07 | 0.01175 | 0.01175 | 0.01175 | 0.97101 | -0.55922 | 0.9712 | -0.55535 | 3.2279
37 | 0.0076649 | 0.0019213 | -0.0076634 | -0.0019206 | 1.5812e-06 | 6.3452e-07 | 0.01175 | 0.01175 | 0.01175 | 0.9707 | -0.56526 | 0.97048 | -0.56959 | 3.228
38 | -0.014725 | -0.0036912 | 0.014725 | 0.0036914 | 3.3322e-07 | 1.9166e-07 | 0.022561 | 0.022561 | 0.022561 | 0.9712 | -0.55535 | 0.97123 | -0.55488 | 6.1981
39 | 0.024075 | 0.0060376 | -0.024074 | -0.0060367 | 1.5605e-06 | 9.6078e-07 | 0.036868 | 0.036868 | 0.036868 | 0.97173 | -0.5448 | 0.97167 | -0.54616 | 10.1284
40 | 0.015891 | 0.0039848 | -0.015884 | -0.0039808 | 6.8023e-06 | 3.9747e-06 | 0.024342 | 0.024342 | 0.024342 | 0.97141 | -0.55128 | 0.97095 | -0.56027 | 6.6875
41 | 0.040533 | 0.010187 | -0.040457 | -0.01014 | 7.5539e-05 | 4.7654e-05 | 0.061053 | 0.061053 | 0.061053 | 0.98806 | -0.22733 | 0.98605 | -0.26644 | 16.7728
42 | -0.0078702 | -0.0019729 | 0.0078704 | 0.0019722 | 2.4729e-07 | -7.3798e-07 | 0.012064 | 0.012064 | 0.012064 | 0.97073 | -0.56464 | 0.97077 | -0.56398 | 0.82859
43 | -0.015515 | -0.0038881 | 0.015517 | 0.0038875 | 1.8589e-06 | -5.4438e-07 | 0.023782 | 0.023781 | 0.023782 | 0.97077 | -0.56398 | 0.97089 | -0.56147 | 1.6334
44 | 0.0032863 | 0.00082356 | -0.0032862 | -0.00082361 | 7.316e-08 | -5.2166e-08 | 0.0049865 | 0.0049865 | 0.0049865 | 0.98066 | -0.36985 | 0.98064 | -0.37031 | 1.3699
45 | 0.0063995 | 0.0016039 | -0.0063989 | -0.0016037 | 6.4077e-07 | 1.8148e-07 | 0.0097104 | 0.0097105 | 0.0097105 | 0.98066 | -0.36985 | 0.98055 | -0.37195 | 2.6677
46 | -0.20457 | -0.051794 | 0.20472 | 0.051892 | 0.00015387 | 9.7619e-05 | 0.31059 | 0.31059 | 0.31059 | 0.98066 | -0.36985 | 0.98146 | -0.35419 | 21.3317
47 | 0.0063989 | 0.0016037 | -0.0063983 | -0.0016036 | 5.9237e-07 | 1.6782e-07 | 0.0097105 | 0.0097105 | 0.0097105 | 0.98055 | -0.37195 | 0.98045 | -0.37389 | 2.6677
48 | 0.0084844 | 0.0021266 | -0.0084834 | -0.0021261 | 9.8766e-07 | 4.3357e-07 | 0.012905 | 0.012905 | 0.012905 | 0.97828 | -0.41621 | 0.97816 | -0.41866 | 3.5454
49 | -0.36335 | -0.093227 | 0.36418 | 0.093757 | 0.00083136 | 0.0005305 | 0.5438 | 0.5438 | 0.5438 | 0.99565 | -0.082109 | 0.99814 | -0.035066 | 37.3489
50 | 0.011562 | 0.0028981 | -0.011561 | -0.0028973 | 1.6152e-06 | 8.5623e-07 | 0.01752 | 0.01752 | 0.01752 | 0.98203 | -0.34328 | 0.98188 | -0.34621 | 4.8131
51 | 0.013873 | 0.0034775 | -0.01387 | -0.0034763 | 2.1716e-06 | 1.2278e-06 | 0.021141 | 0.021141 | 0.021141 | 0.97643 | -0.4524 | 0.97626 | -0.45569 | 5.808
52 | 0.054202 | 0.013591 | -0.054188 | -0.013583 | 1.3826e-05 | 7.7893e-06 | 0.083025 | 0.083026 | 0.083026 | 0.97146 | -0.55023 | 0.97119 | -0.55558 | 5.7023
53 | -0.016879 | -0.0042312 | 0.016886 | 0.0042354 | 7.0167e-06 | 4.1443e-06 | 0.025861 | 0.025861 | 0.025861 | 0.97123 | -0.55488 | 0.97167 | -0.54616 | 7.1047
54 | -0.048159 | -0.012068 | 0.048172 | 0.012076 | 1.3501e-05 | 7.3327e-06 | 0.073809 | 0.073808 | 0.073809 | 0.97089 | -0.56147 | 0.97119 | -0.55558 | 5.0693
55 | -0.38028 | -0.097793 | 0.38093 | 0.098208 | 0.00064934 | 0.00041445 | 0.56781 | 0.56781 | 0.56781 | 0.99814 | -0.035066 | 1 | 0 | 38.9977
56 | 0.004905 | 0.0012292 | -0.0049046 | -0.0012292 | 4.0738e-07 | 1.208e-08 | 0.0074334 | 0.0074335 | 0.0074335 | 0.98188 | -0.34621 | 0.98179 | -0.34795 | 2.0422
57 | 0.0024498 | 0.00061398 | -0.0024498 | -0.00061398 | 6.4688e-10 | -1.1688e-09 | 0.003713 | 0.003713 | 0.003713 | 0.98179 | -0.34795 | 0.98179 | -0.34796 | 1.02
58 | 0.020996 | 0.0052642 | -0.02099 | -0.0052605 | 6.0507e-06 | 3.6557e-06 | 0.031243 | 0.031243 | 0.031243 | 1 | 0 | 0.99969 | -0.0060493 | 8.5832

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41433 | 0.10617

## res_load
| p_mw | q_mvar
0 | 0.00689 | 0.0017268
1 | 0.0026186 | 0.00065629
2 | 0.0023359 | 0.00058544
3 | 0.0020258 | 0.00050772
4 | 0.0022591 | 0.00056619
5 | 0.0084813 | 0.0021256
6 | 0.023156 | 0.0058035
7 | 0.012994 | 0.0032567
8 | 0.0038829 | 0.00097315
9 | 0.0028494 | 0.00071414
10 | 0.0029881 | 0.00074889
11 | 0.0062733 | 0.0015722
12 | 0.007518 | 0.0018842
13 | 0.0066354 | 0.001663
14 | 0.0078674 | 0.0019718
15 | 0.0070565 | 0.0017685
16 | 0.0076634 | 0.0019206
17 | 0.0057704 | 0.0014462
18 | 0.017463 | 0.0043767
19 | 0.040457 | 0.01014
20 | 0.0076445 | 0.0019159
21 | 0.0032862 | 0.00082361
22 | 0.0077018 | 0.0019302
23 | 0.0082218 | 0.0020606
24 | 0.0063983 | 0.0016036
25 | 0.026794 | 0.0067152
26 | 0.0072505 | 0.0018171
27 | 0.0067908 | 0.0017019
28 | 0.008597 | 0.0021546
29 | 0.0021539 | 0.00053981
30 | 0.0071872 | 0.0018013
31 | 0.015884 | 0.0039808
32 | 0.032642 | 0.0081808
33 | 0.0084834 | 0.0021261
34 | 0.016104 | 0.004036
35 | 0.0066556 | 0.001668
36 | 0.0024548 | 0.00061523
37 | 0.0024498 | 0.00061398
38 | 0.01387 | 0.0034763
39 | 0.0060161 | 0.0015078
40 | 0.010753 | 0.0026949
41 | 0.02099 | 0.0052605

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1