## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-6_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_191-6_0_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_191-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-6_0_3_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_191-6_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_191-6_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_191-6_0_3_node_99 | 0.4 | n |  | TRUE
8 | bus_LV_191-6_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_191-6_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_191-6_0_3_node_104 | 0.4 | n |  | TRUE
11 | bus_LV_191-6_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_191-6_0_3_node_94 | 0.4 | n |  | TRUE
13 | bus_LV_191-6_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_191-6_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_191-6_0_3_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_191-6_0_3_node_97 | 0.4 | n |  | TRUE
17 | bus_LV_191-6_0_3_node_100 | 0.4 | n |  | TRUE
18 | bus_LV_191-6_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_191-6_0_3_node_93 | 0.4 | n |  | TRUE
20 | bus_LV_191-6_0_3_node_92 | 0.4 | n |  | TRUE
21 | bus_LV_191-6_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_191-6_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_191-6_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_191-6_0_3_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_191-6_0_3_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_191-6_0_3_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_191-6_0_3_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_191-6_0_3_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_191-6_0_3_node_103 | 0.4 | n |  | TRUE
30 | bus_LV_191-6_0_3_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_191-6_0_3_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_191-6_0_3_node_102 | 0.4 | n |  | TRUE
33 | bus_LV_191-6_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_191-6_0_3_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_191-6_0_3_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_191-6_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_191-6_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_191-6_0_3_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_191-6_0_3_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_191-6_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_191-6_0_3_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_191-6_0_3_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_191-6_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_191-6_0_3_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_191-6_0_3_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_191-6_0_3_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_191-6_0_3_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_191-6_0_3_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_191-6_0_3_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_191-6_0_3_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_191-6_0_3_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_191-6_0_3_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_191-6_0_3_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_191-6_0_3_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_191-6_0_3_node_101 | 0.4 | n |  | TRUE
56 | bus_LV_191-6_0_3_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_191-6_0_3_node_105 | 0.4 | n |  | TRUE
58 | bus_MV_499_0_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-6_0_3_load_0 | 0 | 0.023145 | 0.0058007 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-6_0_3_load_3 | 3 | 0.0080727 | 0.0020232 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-6_0_3_load_99 | 7 | 0.0022226 | 0.00055703 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-6_0_3_load_104 | 10 | 0.0073739 | 0.0018481 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-6_0_3_load_94 | 12 | 0.0014871 | 0.00037271 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-6_0_3_load_77 | 15 | 0.0056488 | 0.0014157 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-6_0_3_load_97 | 16 | 0.01106 | 0.0027718 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-6_0_3_load_100 | 17 | 0.0067052 | 0.0016805 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-6_0_3_load_93 | 19 | 0.0033694 | 0.00084444 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-6_0_3_load_92 | 20 | 0.002738 | 0.00068622 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-6_0_3_load_19 | 21 | 0.0026228 | 0.00065734 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-6_0_3_load_20 | 22 | 0.0016309 | 0.00040875 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-6_0_3_load_68 | 25 | 0.0053621 | 0.0013439 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-6_0_3_load_90 | 27 | 0.0035351 | 0.00088597 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-6_0_3_load_91 | 28 | 0.001903 | 0.00047694 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-6_0_3_load_103 | 29 | 0.0016475 | 0.0004129 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-6_0_3_load_66 | 30 | 0.0057099 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-6_0_3_load_75 | 31 | 0.019274 | 0.0048305 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-6_0_3_load_102 | 32 | 0.0017437 | 0.00043701 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-6_0_3_load_80 | 34 | 0.0016083 | 0.00040308 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-6_0_3_load_78 | 35 | 0.0015836 | 0.00039688 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-6_0_3_load_79 | 38 | 0.00047387 | 0.00011876 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-6_0_3_load_83 | 39 | 0.0032611 | 0.0008173 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-6_0_3_load_87 | 41 | 0.0014916 | 0.00037383 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-6_0_3_load_84 | 42 | 0.0050536 | 0.0012665 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-6_0_3_load_82 | 44 | 0.048318 | 0.01211 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-6_0_3_load_81 | 45 | 0.015984 | 0.0040059 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-6_0_3_load_63 | 47 | 0.074312 | 0.018624 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-6_0_3_load_85 | 48 | 0.0365 | 0.0091479 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-6_0_3_load_89 | 51 | 0.0069172 | 0.0017336 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_191-6_0_3_load_70 | 52 | 0.0040977 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_191-6_0_3_load_73 | 54 | 0.0069929 | 0.0017526 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_191-6_0_3_load_101 | 55 | 0.0016975 | 0.00042543 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_191-6_0_3_load_74 | 56 | 0.016282 | 0.0040806 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_191-6_0_3_load_105 | 57 | 0.0035701 | 0.00089476 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-6_0_3_line_0 |  | 0 | 1 | 0.026342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-6_0_3_line_1 |  | 1 | 2 | 0.048577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-6_0_3_line_2 |  | 2 | 11 | 0.033738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-6_0_3_line_3 |  | 2 | 12 | 0.017189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-6_0_3_line_4 |  | 3 | 4 | 0.033585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-6_0_3_line_5 |  | 4 | 21 | 0.022967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-6_0_3_line_6 |  | 4 | 22 | 0.027998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-6_0_3_line_7 |  | 5 | 6 | 0.042051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-6_0_3_line_8 |  | 5 | 7 | 0.024374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_191-6_0_3_line_9 |  | 6 | 13 | 0.021109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-6_0_3_line_10 |  | 6 | 14 | 0.02498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-6_0_3_line_11 |  | 6 | 15 | 0.021529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-6_0_3_line_12 |  | 7 | 11 | 0.021645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-6_0_3_line_13 |  | 8 | 9 | 0.14563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-6_0_3_line_14 |  | 8 | 10 | 0.0051519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-6_0_3_line_15 |  | 9 | 16 | 0.023618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-6_0_3_line_16 |  | 10 | 13 | 0.014439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-6_0_3_line_17 |  | 14 | 17 | 0.02698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-6_0_3_line_18 |  | 17 | 23 | 0.024822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-6_0_3_line_19 |  | 18 | 19 | 0.0018658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-6_0_3_line_20 |  | 18 | 20 | 0.015015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-6_0_3_line_21 |  | 19 | 21 | 0.025054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-6_0_3_line_22 |  | 22 | 29 | 0.007819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-6_0_3_line_23 |  | 23 | 24 | 0.003269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-6_0_3_line_24 |  | 24 | 30 | 0.018792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_191-6_0_3_line_25 |  | 24 | 31 | 0.024821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_191-6_0_3_line_26 |  | 25 | 26 | 0.013031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-6_0_3_line_27 |  | 26 | 52 | 0.014451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_191-6_0_3_line_28 |  | 26 | 49 | 0.048075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_191-6_0_3_line_29 |  | 26 | 53 | 0.004115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-6_0_3_line_30 |  | 27 | 28 | 0.028411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_191-6_0_3_line_31 |  | 28 | 53 | 0.0064553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-6_0_3_line_32 |  | 29 | 32 | 0.025625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-6_0_3_line_33 |  | 30 | 46 | 0.024774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_191-6_0_3_line_34 |  | 31 | 56 | 0.032119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_191-6_0_3_line_35 |  | 32 | 55 | 0.0074496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-6_0_3_line_36 |  | 33 | 34 | 0.026852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-6_0_3_line_37 |  | 33 | 35 | 0.038225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-6_0_3_line_38 |  | 35 | 38 | 0.011778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-6_0_3_line_39 |  | 36 | 37 | 0.049209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-6_0_3_line_40 |  | 36 | 38 | 0.046503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-6_0_3_line_41 |  | 36 | 39 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_191-6_0_3_line_42 |  | 37 | 43 | 0.063988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-6_0_3_line_43 |  | 39 | 42 | 0.0062571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_191-6_0_3_line_44 |  | 40 | 41 | 0.0087316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_191-6_0_3_line_45 |  | 40 | 42 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_191-6_0_3_line_46 |  | 41 | 50 | 0.026636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_191-6_0_3_line_47 |  | 43 | 44 | 0.0097075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-6_0_3_line_48 |  | 43 | 45 | 0.031363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-6_0_3_line_49 |  | 44 | 51 | 0.0045258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-6_0_3_line_50 |  | 46 | 47 | 0.017154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-6_0_3_line_51 |  | 48 | 49 | 0.027332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-6_0_3_line_52 |  | 49 | 50 | 0.014899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_191-6_0_3_line_53 |  | 50 | 57 | 0.009287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_191-6_0_3_line_54 |  | 52 | 54 | 0.02578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_191-6_0_3_line_55 |  | 53 | 55 | 0.0023464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_191-6_0_3_line_56 |  | 54 | 56 | 0.026602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-6_0_3_trafo_64 | 0.63 MVA 20/0.4 kV | 58 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2689022.5145 | 1250010.6928 | 2689040.8542 | 1250029.6021
1 | 2688991.3192 | 1249993.8783 | 2688995.5407 | 1249995.3317 | 2689000.736 | 1249997.3111 | 2689000.5074 | 1249998.9534 | 2689000.446 | 1250003.0445 | 2689005.0021 | 1250008.3613 | 2689015.1034 | 1250018.9989 | 2689022.5145 | 1250010.6928
2 | 2688991.3192 | 1249993.8783 | 2688995.5407 | 1249995.3317 | 2689000.736 | 1249997.3111 | 2689006.647 | 1249983.3115 | 2689007.642 | 1249979.4013 | 2689008.4256 | 1249974.9875
3 | 2688991.3192 | 1249993.8783 | 2688993.9435 | 1249986.0562 | 2688995.2478 | 1249977.2136
4 | 2689113.8782 | 1250004.0049 | 2689104.7809 | 1250007.9489 | 2689091.4363 | 1250021.1917 | 2689088.0381 | 1250017.7047
5 | 2689113.8782 | 1250004.0049 | 2689109.7289 | 1250015.3178 | 2689108.8137 | 1250026.1963
6 | 2689113.8782 | 1250004.0049 | 2689138.2334 | 1250015.7355 | 2689139.1247 | 1250016.105
7 | 2689008.0549 | 1249929.314 | 2689012.6876 | 1249922.5006 | 2689011.7989 | 1249909.7888 | 2689019.5804 | 1249910.5061 | 2689022.7398 | 1249911.2986 | 2689027.0499 | 1249912.3864 | 2689030.9228 | 1249908.4082
8 | 2689008.0549 | 1249929.314 | 2689006.6947 | 1249934.9089 | 2689006.2563 | 1249945.9996 | 2689007.2237 | 1249953.4541
9 | 2689030.9228 | 1249908.4082 | 2689025.8302 | 1249904.6178 | 2689032.7004 | 1249897.649 | 2689036.1967 | 1249894.1099
10 | 2689030.9228 | 1249908.4082 | 2689027.0499 | 1249912.3864 | 2689040.8738 | 1249926.0377
11 | 2689030.9228 | 1249908.4082 | 2689045.3618 | 1249924.3768
12 | 2689008.4256 | 1249974.9875 | 2689008.7981 | 1249968.288 | 2689008.5186 | 1249962.2681 | 2689007.2713 | 1249953.8208 | 2689007.2237 | 1249953.4541
13 | 2689021.939 | 1249880.6745 | 2689021.0624 | 1249878.2151 | 2689008.4712 | 1249867.4401 | 2689003.3902 | 1249861.8707 | 2689002.3842 | 1249857.4633 | 2689018.9308 | 1249841.1884 | 2689025.3854 | 1249838.7612 | 2689030.4154 | 1249841.6945 | 2689060.0932 | 1249813.8415 | 2689087.3589 | 1249839.9598
14 | 2689021.939 | 1249880.6745 | 2689025.6885 | 1249884.2078
15 | 2689087.3589 | 1249839.9598 | 2689084.7962 | 1249850.7072 | 2689076.163 | 1249859.843
16 | 2689036.1967 | 1249894.1099 | 2689025.6885 | 1249884.2078
17 | 2689040.8738 | 1249926.0377 | 2689059.4161 | 1249945.6365
18 | 2689076.4755 | 1249963.6677 | 2689059.4161 | 1249945.6365
19 | 2689106.5568 | 1250053.0209 | 2689106.7132 | 1250051.1617
20 | 2689106.5568 | 1250053.0209 | 2689120.846 | 1250057.6325
21 | 2689106.7132 | 1250051.1617 | 2689108.8137 | 1250026.1963
22 | 2689146.3477 | 1250019.0991 | 2689139.1247 | 1250016.105
23 | 2689076.4755 | 1249963.6677 | 2689078.9317 | 1249961.503
24 | 2689078.9317 | 1249961.503 | 2689079.5444 | 1249960.934 | 2689092.6465 | 1249948.6562
25 | 2689078.9317 | 1249961.503 | 2689096.1631 | 1249979.3684
26 | 2689180.5908 | 1250028.8381 | 2689192.2843 | 1250034.588
27 | 2689180.5908 | 1250028.8381 | 2689167.2543 | 1250023.2742
28 | 2689200.4037 | 1249985.192 | 2689192.3745 | 1249998.4257 | 2689180.5908 | 1250028.8381
29 | 2689179.0685 | 1250032.6626 | 2689180.5908 | 1250028.8381
30 | 2689209.924 | 1250048.8639 | 2689194.0299 | 1250039.9265 | 2689184.8756 | 1250035.482
31 | 2689179.0685 | 1250032.6626 | 2689184.8756 | 1250035.482
32 | 2689170.0192 | 1250028.9114 | 2689146.3477 | 1250019.0991
33 | 2689111.1679 | 1249932.2098 | 2689098.5222 | 1249943.1502 | 2689092.6465 | 1249948.6562
34 | 2689096.1631 | 1249979.3684 | 2689108.239 | 1249991.8887 | 2689118.4179 | 1249999.3696 | 2689120.1945 | 1250000.4735
35 | 2689176.901 | 1250031.7641 | 2689170.0192 | 1250028.9114
36 | 2689315.2315 | 1249975.2579 | 2689298.0835 | 1249995.9209
37 | 2689315.2315 | 1249975.2579 | 2689285.3916 | 1249951.3686
38 | 2689285.3916 | 1249951.3686 | 2689276.1969 | 1249944.0075
39 | 2689206.5971 | 1249883.7862 | 2689213.303 | 1249889.7472 | 2689219.6988 | 1249894.7361 | 2689217.3115 | 1249896.824 | 2689239.8944 | 1249914.9443
40 | 2689239.8944 | 1249914.9443 | 2689276.1969 | 1249944.0075
41 | 2689239.8944 | 1249914.9443 | 2689225.8397 | 1249932.6794
42 | 2689159.2336 | 1249885.6639 | 2689174.9355 | 1249871.3559 | 2689180.3519 | 1249865.6664 | 2689182.6536 | 1249863.2437 | 2689206.5971 | 1249883.7862
43 | 2689225.8397 | 1249932.6794 | 2689221.9535 | 1249937.5833
44 | 2689215.1026 | 1249946.2281 | 2689209.6834 | 1249953.0745
45 | 2689215.1026 | 1249946.2281 | 2689221.9535 | 1249937.5833
46 | 2689208.0264 | 1249972.3859 | 2689199.7855 | 1249965.579 | 2689209.6834 | 1249953.0745
47 | 2689159.2336 | 1249885.6639 | 2689152.0584 | 1249892.2025
48 | 2689159.2336 | 1249885.6639 | 2689138.185 | 1249862.4136
49 | 2689152.0584 | 1249892.2025 | 2689148.7132 | 1249895.2509
50 | 2689111.1679 | 1249932.2098 | 2689103.8703 | 1249924.9279 | 2689099.216 | 1249919.9091
51 | 2689200.4037 | 1249985.192 | 2689179.1813 | 1249967.9685
52 | 2689208.0264 | 1249972.3859 | 2689206.2552 | 1249975.684 | 2689200.4037 | 1249985.192
53 | 2689208.0264 | 1249972.3859 | 2689215.2008 | 1249978.3095
54 | 2689143.6677 | 1250012.8768 | 2689157.668 | 1250019.2749 | 2689167.2543 | 1250023.2742
55 | 2689179.0685 | 1250032.6626 | 2689176.901 | 1250031.7641
56 | 2689143.6677 | 1250012.8768 | 2689130.3943 | 1250006.8109 | 2689120.1945 | 1250000.4735

## bus_geodata
| x | y | coords
0 | 2689040.8542 | 1250029.6021
1 | 2689022.5145 | 1250010.6928
2 | 2688991.3192 | 1249993.8783
3 | 2689088.0381 | 1250017.7047
4 | 2689113.8782 | 1250004.0049
5 | 2689008.0549 | 1249929.314
6 | 2689030.9228 | 1249908.4082
7 | 2689007.2237 | 1249953.4541
8 | 2689021.939 | 1249880.6745
9 | 2689087.3589 | 1249839.9598
10 | 2689025.6885 | 1249884.2078
11 | 2689008.4256 | 1249974.9875
12 | 2688995.2478 | 1249977.2136
13 | 2689036.1967 | 1249894.1099
14 | 2689040.8738 | 1249926.0377
15 | 2689045.3618 | 1249924.3768
16 | 2689076.163 | 1249859.843
17 | 2689059.4161 | 1249945.6365
18 | 2689106.5568 | 1250053.0209
19 | 2689106.7132 | 1250051.1617
20 | 2689120.846 | 1250057.6325
21 | 2689108.8137 | 1250026.1963
22 | 2689139.1247 | 1250016.105
23 | 2689076.4755 | 1249963.6677
24 | 2689078.9317 | 1249961.503
25 | 2689192.2843 | 1250034.588
26 | 2689180.5908 | 1250028.8381
27 | 2689209.924 | 1250048.8639
28 | 2689184.8756 | 1250035.482
29 | 2689146.3477 | 1250019.0991
30 | 2689092.6465 | 1249948.6562
31 | 2689096.1631 | 1249979.3684
32 | 2689170.0192 | 1250028.9114
33 | 2689315.2315 | 1249975.2579
34 | 2689298.0835 | 1249995.9209
35 | 2689285.3916 | 1249951.3686
36 | 2689239.8944 | 1249914.9443
37 | 2689206.5971 | 1249883.7862
38 | 2689276.1969 | 1249944.0075
39 | 2689225.8397 | 1249932.6794
40 | 2689215.1026 | 1249946.2281
41 | 2689209.6834 | 1249953.0745
42 | 2689221.9535 | 1249937.5833
43 | 2689159.2336 | 1249885.6639
44 | 2689152.0584 | 1249892.2025
45 | 2689138.185 | 1249862.4136
46 | 2689111.1679 | 1249932.2098
47 | 2689099.216 | 1249919.9091
48 | 2689179.1813 | 1249967.9685
49 | 2689200.4037 | 1249985.192
50 | 2689208.0264 | 1249972.3859
51 | 2689148.7132 | 1249895.2509
52 | 2689167.2543 | 1250023.2742
53 | 2689179.0685 | 1250032.6626
54 | 2689143.6677 | 1250012.8768
55 | 2689176.901 | 1250031.7641
56 | 2689120.1945 | 1250000.4735
57 | 2689215.2008 | 1249978.3095
58 | 2689078.9317 | 1249961.503

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98622 | -0.26437 | 0.023145 | 0.0058007
1 | 0.98678 | -0.25345 | 0 | 0
2 | 0.98782 | -0.23335 | 0 | 0
3 | 0.98275 | -0.33009 | 0.0080727 | 0.0020232
4 | 0.983 | -0.3252 | 0 | 0
5 | 0.98967 | -0.19735 | 0 | 0
6 | 0.99071 | -0.17727 | 0 | 0
7 | 0.98907 | -0.20901 | 0.0022226 | 0.00055703
8 | 0.99006 | -0.18993 | 0 | 0
9 | 0.98858 | -0.21862 | 0 | 0
10 | 0.99011 | -0.18892 | 0.0073739 | 0.0018481
11 | 0.98858 | -0.21851 | 0 | 0
12 | 0.98779 | -0.2338 | 0.0014871 | 0.00037271
13 | 0.99035 | -0.18419 | 0 | 0
14 | 0.99188 | -0.1547 | 0 | 0
15 | 0.9906 | -0.17943 | 0.0056488 | 0.0014157
16 | 0.98834 | -0.22328 | 0.01106 | 0.0027718
17 | 0.99314 | -0.13037 | 0.0067052 | 0.0016805
18 | 0.98267 | -0.33167 | 0 | 0
19 | 0.98268 | -0.33158 | 0.0033694 | 0.00084444
20 | 0.98263 | -0.33242 | 0.002738 | 0.00068622
21 | 0.98282 | -0.32882 | 0.0026228 | 0.00065734
22 | 0.98344 | -0.31672 | 0.0016309 | 0.00040875
23 | 0.99445 | -0.10511 | 0 | 0
24 | 0.99463 | -0.10179 | 0 | 0
25 | 0.98429 | -0.30004 | 0.0053621 | 0.0013439
26 | 0.98435 | -0.29879 | 0 | 0
27 | 0.98412 | -0.30337 | 0.0035351 | 0.00088597
28 | 0.98421 | -0.30156 | 0.001903 | 0.00047694
29 | 0.98357 | -0.31412 | 0.0016475 | 0.0004129
30 | 0.99692 | -0.058285 | 0.0057099 | 0.001431
31 | 0.99226 | -0.14689 | 0.019274 | 0.0048305
32 | 0.98404 | -0.30485 | 0.0017437 | 0.00043701
33 | 0.97786 | -0.42498 | 0 | 0
34 | 0.97782 | -0.42576 | 0.0016083 | 0.00040308
35 | 0.97791 | -0.42386 | 0.0015836 | 0.00039688
36 | 0.97811 | -0.42006 | 0 | 0
37 | 0.97483 | -0.48413 | 0 | 0
38 | 0.97795 | -0.42317 | 0.00047387 | 0.00011876
39 | 0.9789 | -0.40463 | 0.0032611 | 0.0008173
40 | 0.97955 | -0.39185 | 0 | 0
41 | 0.97989 | -0.38525 | 0.0014916 | 0.00037383
42 | 0.97913 | -0.40019 | 0.0050536 | 0.0012665
43 | 0.97057 | -0.56808 | 0 | 0
44 | 0.97007 | -0.57801 | 0.048318 | 0.01211
45 | 0.9701 | -0.57736 | 0.015984 | 0.0040059
46 | 1 | 0 | -0.34971 | -0.08903
47 | 0.99884 | -0.022244 | 0.074312 | 0.018624
48 | 0.98064 | -0.37096 | 0.0365 | 0.0091479
49 | 0.98156 | -0.35289 | 0 | 0
50 | 0.98095 | -0.3648 | 0 | 0
51 | 0.97004 | -0.57859 | 0.0069172 | 0.0017336
52 | 0.98542 | -0.27813 | 0.0040977 | 0.001027
53 | 0.98424 | -0.30093 | 0 | 0
54 | 0.98738 | -0.24044 | 0.0069929 | 0.0017526
55 | 0.98419 | -0.30192 | 0.0016975 | 0.00042543
56 | 0.98948 | -0.20006 | 0.016282 | 0.0040806
57 | 0.98092 | -0.3654 | 0.0035701 | 0.00089476
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023145 | -0.0058007 | 0.023157 | 0.005808 | 1.2046e-05 | 7.3733e-06 | 0.034921 | 0.034921 | 0.034921 | 0.98622 | -0.26437 | 0.98678 | -0.25345 | 9.5937
1 | -0.023157 | -0.005808 | 0.023179 | 0.0058216 | 2.2214e-05 | 1.3596e-05 | 0.034921 | 0.034921 | 0.034921 | 0.98678 | -0.25345 | 0.98782 | -0.23335 | 9.5937
2 | -0.024666 | -0.0061941 | 0.024684 | 0.0062049 | 1.7471e-05 | 1.0749e-05 | 0.037161 | 0.037161 | 0.037161 | 0.98782 | -0.23335 | 0.98858 | -0.21851 | 10.209
3 | 0.0014872 | 0.00037251 | -0.0014871 | -0.00037271 | 3.2348e-08 | -1.9934e-07 | 0.0022402 | 0.0022402 | 0.0022402 | 0.98782 | -0.23335 | 0.98779 | -0.2338 | 0.61545
4 | -0.0080727 | -0.0020232 | 0.0080746 | 0.002024 | 1.8816e-06 | 7.7859e-07 | 0.012223 | 0.012223 | 0.012223 | 0.98275 | -0.33009 | 0.983 | -0.3252 | 3.358
5 | 0.0087326 | 0.0021887 | -0.0087311 | -0.002188 | 1.505e-06 | 6.721e-07 | 0.013219 | 0.013219 | 0.013219 | 0.983 | -0.3252 | 0.98282 | -0.32882 | 3.6316
6 | -0.016807 | -0.0042127 | 0.016814 | 0.0042167 | 6.796e-06 | 3.9944e-06 | 0.025442 | 0.025442 | 0.025442 | 0.983 | -0.3252 | 0.98344 | -0.31672 | 6.9896
7 | -0.026933 | -0.0067781 | 0.026958 | 0.0067941 | 2.5871e-05 | 1.6016e-05 | 0.040504 | 0.040504 | 0.040504 | 0.98967 | -0.19735 | 0.99071 | -0.17727 | 11.1276
8 | 0.026933 | 0.0067781 | -0.026918 | -0.0067688 | 1.4996e-05 | 9.2842e-06 | 0.040504 | 0.040504 | 0.040504 | 0.98967 | -0.19735 | 0.98907 | -0.20901 | 11.1276
9 | 0.018462 | 0.0046354 | -0.018456 | -0.0046317 | 6.0879e-06 | 3.6246e-06 | 0.027732 | 0.027732 | 0.027732 | 0.99071 | -0.17727 | 0.99035 | -0.18419 | 7.6188
10 | -0.05107 | -0.012845 | 0.051125 | 0.01288 | 5.5139e-05 | 3.4967e-05 | 0.076721 | 0.076721 | 0.076721 | 0.99071 | -0.17727 | 0.99188 | -0.1547 | 21.0773
11 | 0.0056494 | 0.0014158 | -0.0056488 | -0.0014157 | 5.8126e-07 | 9.4819e-08 | 0.0084851 | 0.0084852 | 0.0084852 | 0.99071 | -0.17727 | 0.9906 | -0.17943 | 2.3311
12 | 0.024695 | 0.0062118 | -0.024684 | -0.0062049 | 1.1209e-05 | 6.8959e-06 | 0.037161 | 0.037161 | 0.037161 | 0.98907 | -0.20901 | 0.98858 | -0.21851 | 10.209
13 | 0.011077 | 0.0027809 | -0.011062 | -0.0027731 | 1.5141e-05 | 7.82e-06 | 0.01665 | 0.016651 | 0.016651 | 0.99006 | -0.18993 | 0.98858 | -0.21862 | 4.5745
14 | -0.011077 | -0.0027809 | 0.011078 | 0.0027812 | 5.356e-07 | 2.7653e-07 | 0.01665 | 0.01665 | 0.01665 | 0.99006 | -0.18993 | 0.99011 | -0.18892 | 4.5743
15 | 0.011062 | 0.0027731 | -0.01106 | -0.0027718 | 2.4556e-06 | 1.2689e-06 | 0.016651 | 0.016651 | 0.016651 | 0.98858 | -0.21862 | 0.98834 | -0.22328 | 4.5745
16 | -0.018452 | -0.0046292 | 0.018456 | 0.0046317 | 4.1642e-06 | 2.4793e-06 | 0.027732 | 0.027732 | 0.027732 | 0.99011 | -0.18892 | 0.99035 | -0.18419 | 7.6188
17 | -0.051125 | -0.01288 | 0.051184 | 0.012918 | 5.9553e-05 | 3.7765e-05 | 0.076721 | 0.076721 | 0.076721 | 0.99188 | -0.1547 | 0.99314 | -0.13037 | 21.0773
18 | -0.05789 | -0.014598 | 0.05796 | 0.014643 | 7.0079e-05 | 4.4529e-05 | 0.086767 | 0.086767 | 0.086767 | 0.99314 | -0.13037 | 0.99445 | -0.10511 | 23.8372
19 | -0.0027381 | -0.00068609 | 0.0027382 | 0.00068608 | 1.2028e-08 | -1.5939e-08 | 0.0041462 | 0.0041462 | 0.0041462 | 0.98267 | -0.33167 | 0.98268 | -0.33158 | 1.1391
20 | 0.0027381 | 0.00068609 | -0.002738 | -0.00068622 | 9.6797e-08 | -1.2826e-07 | 0.0041462 | 0.0041463 | 0.0041463 | 0.98267 | -0.33167 | 0.98263 | -0.33242 | 1.1391
21 | -0.0061075 | -0.0015305 | 0.0061083 | 0.0015307 | 8.0355e-07 | 1.9683e-07 | 0.0092482 | 0.0092481 | 0.0092482 | 0.98268 | -0.33158 | 0.98282 | -0.32882 | 2.5407
22 | -0.018445 | -0.0046255 | 0.018447 | 0.0046268 | 2.2839e-06 | 1.3625e-06 | 0.02791 | 0.02791 | 0.02791 | 0.98344 | -0.31672 | 0.98357 | -0.31412 | 7.6675
23 | -0.05796 | -0.014643 | 0.057969 | 0.014649 | 9.2291e-06 | 5.8642e-06 | 0.086767 | 0.086767 | 0.086767 | 0.99445 | -0.10511 | 0.99463 | -0.10179 | 23.8372
24 | -0.26663 | -0.068072 | 0.26719 | 0.068431 | 0.00056189 | 0.00035912 | 0.39934 | 0.39934 | 0.39934 | 0.99463 | -0.10179 | 0.99692 | -0.058285 | 54.8539
25 | 0.20866 | 0.053423 | -0.20821 | -0.053132 | 0.00045469 | 0.00029036 | 0.31257 | 0.31257 | 0.31257 | 0.99463 | -0.10179 | 0.99226 | -0.14689 | 42.9354
26 | -0.0053621 | -0.0013439 | 0.0053624 | 0.0013439 | 3.2109e-07 | 3.9863e-08 | 0.0081062 | 0.0081061 | 0.0081062 | 0.98429 | -0.30004 | 0.98435 | -0.29879 | 2.227
27 | -0.16028 | -0.040627 | 0.16044 | 0.040728 | 0.00015928 | 0.00010157 | 0.24246 | 0.24246 | 0.24246 | 0.98435 | -0.29879 | 0.98542 | -0.27813 | 33.3045
28 | 0.12593 | 0.032008 | -0.1256 | -0.0318 | 0.0003272 | 0.00020819 | 0.19052 | 0.19052 | 0.19052 | 0.98435 | -0.29879 | 0.98156 | -0.35289 | 26.1709
29 | 0.02899 | 0.0072747 | -0.028987 | -0.0072728 | 2.9641e-06 | 1.8447e-06 | 0.043827 | 0.043827 | 0.043827 | 0.98435 | -0.29879 | 0.98424 | -0.30093 | 12.0404
30 | -0.0035351 | -0.00088597 | 0.0035354 | 0.00088581 | 3.0438e-07 | -1.6621e-07 | 0.0053451 | 0.005345 | 0.0053451 | 0.98412 | -0.30337 | 0.98421 | -0.30156 | 1.4684
31 | -0.0054384 | -0.0013627 | 0.0054386 | 0.0013628 | 1.6365e-07 | 2.2698e-08 | 0.0082221 | 0.0082221 | 0.0082221 | 0.98421 | -0.30156 | 0.98424 | -0.30093 | 2.2588
32 | -0.020095 | -0.0050397 | 0.020104 | 0.0050451 | 8.8816e-06 | 5.3589e-06 | 0.030402 | 0.030402 | 0.030402 | 0.98357 | -0.31412 | 0.98404 | -0.30485 | 8.3522
33 | -0.2729 | -0.069862 | 0.27367 | 0.070356 | 0.00077271 | 0.00049388 | 0.40786 | 0.40786 | 0.40786 | 0.99692 | -0.058285 | 1 | 0 | 56.0246
34 | 0.18893 | 0.048302 | -0.18845 | -0.047993 | 0.00048459 | 0.00030931 | 0.28367 | 0.28367 | 0.28367 | 0.99226 | -0.14689 | 0.98948 | -0.20006 | 38.9652
35 | -0.021847 | -0.0054821 | 0.02185 | 0.0054839 | 3.0493e-06 | 1.8569e-06 | 0.033039 | 0.033039 | 0.033039 | 0.98404 | -0.30485 | 0.98419 | -0.30192 | 9.0765
36 | 0.0016084 | 0.00040279 | -0.0016083 | -0.00040308 | 6.0316e-08 | -2.9823e-07 | 0.0024474 | 0.0024475 | 0.0024475 | 0.97786 | -0.42498 | 0.97782 | -0.42576 | 0.67239
37 | -0.0016084 | -0.00040279 | 0.0016085 | 0.00040236 | 8.5852e-08 | -4.246e-07 | 0.0024474 | 0.0024472 | 0.0024474 | 0.97786 | -0.42498 | 0.97791 | -0.42386 | 0.67236
38 | -0.003192 | -0.00079924 | 0.0031921 | 0.00079916 | 1.0419e-07 | -8.1099e-08 | 0.0048568 | 0.0048567 | 0.0048568 | 0.97791 | -0.42386 | 0.97795 | -0.42317 | 1.3343
39 | 0.071759 | 0.018193 | -0.071539 | -0.018052 | 0.00022023 | 0.00014033 | 0.10924 | 0.10924 | 0.10924 | 0.97811 | -0.42006 | 0.97483 | -0.48413 | 30.0121
40 | 0.0036665 | 0.00091768 | -0.003666 | -0.00091792 | 5.4252e-07 | -2.3636e-07 | 0.0055776 | 0.0055778 | 0.0055778 | 0.97811 | -0.42006 | 0.97795 | -0.42317 | 1.5324
41 | -0.075426 | -0.01911 | 0.075481 | 0.019146 | 5.5938e-05 | 3.5232e-05 | 0.11482 | 0.11482 | 0.11482 | 0.97811 | -0.42006 | 0.9789 | -0.40463 | 15.7722
42 | 0.071539 | 0.018052 | -0.071252 | -0.01787 | 0.00028637 | 0.00018248 | 0.10924 | 0.10924 | 0.10924 | 0.97483 | -0.48413 | 0.97057 | -0.56808 | 30.0122
43 | -0.078743 | -0.019963 | 0.078759 | 0.019974 | 1.6832e-05 | 1.0615e-05 | 0.11978 | 0.11978 | 0.11978 | 0.9789 | -0.40463 | 0.97913 | -0.40019 | 16.4531
44 | -0.083847 | -0.021261 | 0.083873 | 0.021278 | 2.6597e-05 | 1.6802e-05 | 0.12746 | 0.12746 | 0.12746 | 0.97955 | -0.39185 | 0.97989 | -0.38525 | 17.508
45 | 0.083847 | 0.021261 | -0.083813 | -0.02124 | 3.3599e-05 | 2.1226e-05 | 0.12746 | 0.12746 | 0.12746 | 0.97955 | -0.39185 | 0.97913 | -0.40019 | 17.508
46 | -0.085365 | -0.021652 | 0.085449 | 0.021705 | 8.4045e-05 | 5.3117e-05 | 0.12972 | 0.12972 | 0.12972 | 0.97989 | -0.38525 | 0.98095 | -0.3648 | 17.8191
47 | 0.055262 | 0.01386 | -0.055236 | -0.013843 | 2.6133e-05 | 1.6605e-05 | 0.084728 | 0.084728 | 0.084728 | 0.97057 | -0.56808 | 0.97007 | -0.57801 | 23.2768
48 | 0.015991 | 0.00401 | -0.015984 | -0.0040059 | 7.0692e-06 | 4.1369e-06 | 0.024517 | 0.024517 | 0.024517 | 0.97057 | -0.56808 | 0.9701 | -0.57736 | 6.7354
49 | 0.0069174 | 0.0017337 | -0.0069172 | -0.0017336 | 1.9109e-07 | 6.6422e-08 | 0.010611 | 0.010611 | 0.010611 | 0.97007 | -0.57801 | 0.97004 | -0.57859 | 2.9151
50 | 0.074391 | 0.018675 | -0.074312 | -0.018624 | 7.8838e-05 | 5.0231e-05 | 0.11071 | 0.11071 | 0.11071 | 1 | 0 | 0.99884 | -0.022244 | 30.4135
51 | -0.0365 | -0.0091479 | 0.036532 | 0.0091676 | 3.1441e-05 | 1.9777e-05 | 0.055386 | 0.055385 | 0.055386 | 0.98064 | -0.37096 | 0.98156 | -0.35289 | 15.2158
52 | 0.08907 | 0.022632 | -0.089019 | -0.0226 | 5.1017e-05 | 3.2275e-05 | 0.13514 | 0.13514 | 0.13514 | 0.98156 | -0.35289 | 0.98095 | -0.3648 | 18.563
53 | 0.0035702 | 0.00089471 | -0.0035701 | -0.00089476 | 1.0215e-07 | -5.1863e-08 | 0.0054157 | 0.0054158 | 0.0054158 | 0.98095 | -0.3648 | 0.98092 | -0.3654 | 1.4879
54 | -0.16454 | -0.041755 | 0.16484 | 0.041946 | 0.00029884 | 0.0001906 | 0.24864 | 0.24864 | 0.24864 | 0.98542 | -0.27813 | 0.98738 | -0.24044 | 34.1544
55 | 0.023549 | 0.0059101 | -0.023548 | -0.0059094 | 1.1154e-06 | 6.8407e-07 | 0.035605 | 0.035605 | 0.035605 | 0.98424 | -0.30093 | 0.98419 | -0.30192 | 9.7816
56 | -0.17183 | -0.043698 | 0.17217 | 0.043912 | 0.00033506 | 0.00021376 | 0.25918 | 0.25918 | 0.25918 | 0.98738 | -0.24044 | 0.98948 | -0.20006 | 35.602

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34971 | 0.08903

## res_load
| p_mw | q_mvar
0 | 0.023145 | 0.0058007
1 | 0.0080727 | 0.0020232
2 | 0.0022226 | 0.00055703
3 | 0.0073739 | 0.0018481
4 | 0.0014871 | 0.00037271
5 | 0.0056488 | 0.0014157
6 | 0.01106 | 0.0027718
7 | 0.0067052 | 0.0016805
8 | 0.0033694 | 0.00084444
9 | 0.002738 | 0.00068622
10 | 0.0026228 | 0.00065734
11 | 0.0016309 | 0.00040875
12 | 0.0053621 | 0.0013439
13 | 0.0035351 | 0.00088597
14 | 0.001903 | 0.00047694
15 | 0.0016475 | 0.0004129
16 | 0.0057099 | 0.001431
17 | 0.019274 | 0.0048305
18 | 0.0017437 | 0.00043701
19 | 0.0016083 | 0.00040308
20 | 0.0015836 | 0.00039688
21 | 0.00047387 | 0.00011876
22 | 0.0032611 | 0.0008173
23 | 0.0014916 | 0.00037383
24 | 0.0050536 | 0.0012665
25 | 0.048318 | 0.01211
26 | 0.015984 | 0.0040059
27 | 0.074312 | 0.018624
28 | 0.0365 | 0.0091479
29 | 0.0069172 | 0.0017336
30 | 0.0040977 | 0.001027
31 | 0.0069929 | 0.0017526
32 | 0.0016975 | 0.00042543
33 | 0.016282 | 0.0040806
34 | 0.0035701 | 0.00089476

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1