## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-7_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_191-7_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_191-7_0_5_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_191-7_0_5_node_58 | 0.4 | n |  | TRUE
8 | bus_LV_191-7_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_191-7_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_191-7_0_5_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_191-7_0_5_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_191-7_0_5_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_191-7_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_191-7_0_5_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_191-7_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_191-7_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_191-7_0_5_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_191-7_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_191-7_0_5_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_191-7_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_191-7_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_191-7_0_5_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_191-7_0_5_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_191-7_0_5_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_191-7_0_5_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_191-7_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_191-7_0_5_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_191-7_0_5_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_191-7_0_5_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_191-7_0_5_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_191-7_0_5_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_191-7_0_5_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_191-7_0_5_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_191-7_0_5_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_191-7_0_5_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_191-7_0_5_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_191-7_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_191-7_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_191-7_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_191-7_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_191-7_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_191-7_0_5_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_191-7_0_5_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_191-7_0_5_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_191-7_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_191-7_0_5_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_191-7_0_5_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_191-7_0_5_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_191-7_0_5_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_191-7_0_5_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_191-7_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_191-7_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_191-7_0_5_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_191-7_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_MV_499_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-7_0_5_load_0 | 0 | 0.022278 | 0.0055835 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-7_0_5_load_1 | 1 | 0.0059966 | 0.0015029 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-7_0_5_load_58 | 7 | 0.034865 | 0.008738 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-7_0_5_load_44 | 10 | 0.025324 | 0.0063469 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-7_0_5_load_53 | 12 | 0.020322 | 0.0050932 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-7_0_5_load_47 | 14 | 0.0089096 | 0.0022329 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-7_0_5_load_51 | 17 | 0.0068634 | 0.0017201 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-7_0_5_load_49 | 19 | 0.039522 | 0.0099052 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-7_0_5_load_55 | 23 | 0.0079401 | 0.00199 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-7_0_5_load_50 | 25 | 0.025629 | 0.0064232 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-7_0_5_load_54 | 27 | 0.0076824 | 0.0019254 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-7_0_5_load_29 | 28 | 0.013402 | 0.003359 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-7_0_5_load_45 | 29 | 0.0060086 | 0.0015059 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-7_0_5_load_33 | 30 | 0.0050008 | 0.0012533 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-7_0_5_load_34 | 31 | 0.0064723 | 0.0016221 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-7_0_5_load_36 | 32 | 0.03164 | 0.0079298 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-7_0_5_load_42 | 33 | 0.031054 | 0.0077828 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-7_0_5_load_56 | 35 | 0.046061 | 0.011544 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-7_0_5_load_18 | 36 | 0.0088353 | 0.0022143 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-7_0_5_load_24 | 40 | 0.018522 | 0.0046421 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-7_0_5_load_25 | 41 | 0.011865 | 0.0029737 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-7_0_5_load_43 | 42 | 0.029061 | 0.0072833 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-7_0_5_load_59 | 44 | 0.014753 | 0.0036975 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-7_0_5_load_57 | 46 | 0.05033 | 0.012614 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-7_0_5_load_37 | 47 | 0.014034 | 0.0035171 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-7_0_5_load_26 | 50 | 0.014904 | 0.0037352 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-7_0_5_load_32 | 51 | 0.008934 | 0.0022391 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-7_0_5_load_30 | 52 | 0.0076792 | 0.0019246 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_191-7_0_5_load_48 | 53 | 0.0060041 | 0.0015048 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_191-7_0_5_load_46 | 54 | 0.0068622 | 0.0017198 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-7_0_5_line_0 |  | 0 | 1 | 0.0088082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_191-7_0_5_line_1 |  | 0 | 2 | 0.016347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_191-7_0_5_line_2 |  | 1 | 3 | 0.011748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_191-7_0_5_line_3 |  | 2 | 4 | 0.026576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_191-7_0_5_line_4 |  | 2 | 5 | 0.011718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_191-7_0_5_line_5 |  | 3 | 6 | 0.026523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-7_0_5_line_6 |  | 4 | 7 | 0.022657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_191-7_0_5_line_7 |  | 5 | 11 | 0.020534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-7_0_5_line_8 |  | 5 | 12 | 0.012738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_191-7_0_5_line_9 |  | 6 | 28 | 0.029176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-7_0_5_line_10 |  | 8 | 9 | 0.022511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-7_0_5_line_11 |  | 8 | 10 | 0.011709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-7_0_5_line_12 |  | 9 | 23 | 0.01524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-7_0_5_line_13 |  | 9 | 13 | 0.01323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-7_0_5_line_14 |  | 10 | 11 | 0.013157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_191-7_0_5_line_15 |  | 12 | 16 | 0.0097696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_191-7_0_5_line_16 |  | 13 | 14 | 0.017065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-7_0_5_line_17 |  | 14 | 29 | 0.0019213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_191-7_0_5_line_18 |  | 15 | 16 | 0.014685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_191-7_0_5_line_19 |  | 15 | 17 | 0.020392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_191-7_0_5_line_20 |  | 17 | 18 | 0.010437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_191-7_0_5_line_21 |  | 18 | 19 | 0.0094067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_191-7_0_5_line_22 |  | 19 | 25 | 0.0094446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_191-7_0_5_line_23 |  | 20 | 21 | 0.023748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_191-7_0_5_line_24 |  | 20 | 22 | 0.036146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_191-7_0_5_line_25 |  | 21 | 24 | 0.008127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_191-7_0_5_line_26 |  | 21 | 25 | 0.0181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_191-7_0_5_line_27 |  | 22 | 32 | 0.005386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-7_0_5_line_28 |  | 22 | 31 | 0.011517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_191-7_0_5_line_29 |  | 23 | 26 | 0.014857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_191-7_0_5_line_30 |  | 24 | 35 | 0.023032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_191-7_0_5_line_31 |  | 26 | 27 | 0.012826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_191-7_0_5_line_32 |  | 28 | 52 | 0.030441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_191-7_0_5_line_33 |  | 29 | 54 | 0.018339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-7_0_5_line_34 |  | 30 | 31 | 0.018784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_191-7_0_5_line_35 |  | 32 | 39 | 0.027035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-7_0_5_line_36 |  | 33 | 34 | 0.0061548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_191-7_0_5_line_37 |  | 34 | 47 | 0.025784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_191-7_0_5_line_38 |  | 34 | 45 | 0.031441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-7_0_5_line_39 |  | 35 | 46 | 0.000489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_191-7_0_5_line_40 |  | 36 | 37 | 0.017613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-7_0_5_line_41 |  | 36 | 38 | 0.018022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-7_0_5_line_42 |  | 37 | 39 | 0.018377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-7_0_5_line_43 |  | 38 | 40 | 0.032794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_191-7_0_5_line_44 |  | 38 | 41 | 0.012044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-7_0_5_line_45 |  | 39 | 42 | 0.023789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-7_0_5_line_46 |  | 43 | 44 | 0.004439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-7_0_5_line_47 |  | 43 | 45 | 0.030058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-7_0_5_line_48 |  | 45 | 46 | 0.019525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-7_0_5_line_49 |  | 48 | 49 | 0.021718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-7_0_5_line_50 |  | 48 | 50 | 0.016596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-7_0_5_line_51 |  | 49 | 51 | 0.015861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-7_0_5_line_52 |  | 51 | 52 | 0.017725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-7_0_5_line_53 |  | 53 | 54 | 0.018437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-7_0_5_trafo_33 | 0.63 MVA 20/0.4 kV | 55 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2689218.3564 | 1250459.0391 | 2689211.9474 | 1250465.0814
1 | 2689230.2506 | 1250447.8255 | 2689218.3564 | 1250459.0391
2 | 2689203.3991 | 1250473.1406 | 2689211.9474 | 1250465.0814
3 | 2689209.1514 | 1250431.5845 | 2689230.2506 | 1250447.8255
4 | 2689230.2506 | 1250447.8255 | 2689234.7908 | 1250443.1347 | 2689238.3435 | 1250439.352
5 | 2689184.2025 | 1250491.499 | 2689203.3991 | 1250473.1406
6 | 2689192.1639 | 1250446.6292 | 2689206.4578 | 1250433.9791 | 2689207.5061 | 1250433.0497 | 2689209.1514 | 1250431.5845
7 | 2689252.4905 | 1250424.4315 | 2689241.957 | 1250435.5369 | 2689238.3435 | 1250439.352
8 | 2689238.3435 | 1250439.352 | 2689229.2878 | 1250430.3942
9 | 2689184.2025 | 1250491.499 | 2689155.5544 | 1250497.0245
10 | 2689253.5368 | 1250390.566 | 2689269.5989 | 1250406.3865
11 | 2689269.5989 | 1250406.3865 | 2689261.5426 | 1250414.8839
12 | 2689253.5368 | 1250390.566 | 2689264.231 | 1250380.8307 | 2689264.7337 | 1250380.2367
13 | 2689253.5368 | 1250390.566 | 2689250.5609 | 1250387.6412 | 2689257.2219 | 1250381.5035
14 | 2689252.4905 | 1250424.4315 | 2689261.5426 | 1250414.8839
15 | 2689224.1552 | 1250422.4367 | 2689224.2713 | 1250423.7506 | 2689224.9745 | 1250425.6848 | 2689227.2368 | 1250428.3654 | 2689229.2878 | 1250430.3942
16 | 2689257.2219 | 1250381.5035 | 2689248.6715 | 1250374.2359 | 2689244.1339 | 1250370.5548
17 | 2689242.6418 | 1250369.3444 | 2689244.1339 | 1250370.5548
18 | 2689213.9863 | 1250411.8423 | 2689218.6632 | 1250416.6274 | 2689224.1552 | 1250422.4367
19 | 2689213.9863 | 1250411.8423 | 2689216.5193 | 1250410.0902 | 2689220.4348 | 1250406.7799 | 2689211.9946 | 1250397.9922
20 | 2689204.7651 | 1250390.465 | 2689211.9946 | 1250397.9922
21 | 2689204.7651 | 1250390.465 | 2689198.2751 | 1250383.6557
22 | 2689198.2751 | 1250383.6557 | 2689191.759 | 1250376.819
23 | 2689162.2978 | 1250380.3184 | 2689166.2797 | 1250376.1084 | 2689179.2712 | 1250363.7167
24 | 2689135.2658 | 1250404.0854 | 2689141.2995 | 1250400.4956 | 2689149.6535 | 1250393.7273 | 2689155.6304 | 1250387.3901 | 2689162.2978 | 1250380.3184
25 | 2689179.2712 | 1250363.7167 | 2689185.1617 | 1250358.101
26 | 2689179.2712 | 1250363.7167 | 2689191.759 | 1250376.819
27 | 2689135.2658 | 1250404.0854 | 2689129.9651 | 1250405.0398
28 | 2689135.2658 | 1250404.0854 | 2689146.7699 | 1250404.6317
29 | 2689274.3316 | 1250368.896 | 2689264.7337 | 1250380.2367
30 | 2689185.1617 | 1250358.101 | 2689180.9036 | 1250353.578 | 2689169.0859 | 1250341.6098
31 | 2689274.3316 | 1250368.896 | 2689278.6201 | 1250367.3928 | 2689283.2472 | 1250360.5242
32 | 2689139.7856 | 1250514.6706 | 2689150.5052 | 1250510.6955 | 2689149.1749 | 1250498.255 | 2689155.5544 | 1250497.0245
33 | 2689242.6418 | 1250369.3444 | 2689228.3996 | 1250357.7907
34 | 2689165.2251 | 1250407.9043 | 2689150.6946 | 1250404.818 | 2689146.7699 | 1250404.6317
35 | 2689103.0901 | 1250407.9379 | 2689123.5434 | 1250405.9105 | 2689129.3381 | 1250405.1526 | 2689129.9651 | 1250405.0398
36 | 2689131.4279 | 1250346.5507 | 2689135.5808 | 1250351.0934
37 | 2689131.4279 | 1250346.5507 | 2689119.1546 | 1250334.8017 | 2689112.3573 | 1250329.2236
38 | 2689131.4279 | 1250346.5507 | 2689145.0066 | 1250332.7667 | 2689149.8285 | 1250332.4389 | 2689155.0238 | 1250327.3688
39 | 2689168.7423 | 1250341.2618 | 2689169.0859 | 1250341.6098
40 | 2689085.4924 | 1250413.3664 | 2689091.7154 | 1250429.8438
41 | 2689098.0826 | 1250446.7032 | 2689091.7154 | 1250429.8438
42 | 2689085.4924 | 1250413.3664 | 2689094.0456 | 1250410.4149 | 2689103.0901 | 1250407.9379
43 | 2689098.0826 | 1250446.7032 | 2689128.5368 | 1250434.3183
44 | 2689098.0826 | 1250446.7032 | 2689100.6458 | 1250453.4802 | 2689101.1089 | 1250458.2567
45 | 2689103.0901 | 1250407.9379 | 2689098.5958 | 1250400.0421 | 2689091.3667 | 1250387.2385
46 | 2689136.0665 | 1250317.2649 | 2689132.9013 | 1250320.3863
47 | 2689136.0665 | 1250317.2649 | 2689141.8952 | 1250325.7924 | 2689145.0066 | 1250332.7667 | 2689149.8285 | 1250332.4389 | 2689155.0238 | 1250327.3688
48 | 2689155.0238 | 1250327.3688 | 2689168.7423 | 1250341.2618
49 | 2689106.6448 | 1250519.4315 | 2689104.7506 | 1250497.7977
50 | 2689104.7506 | 1250497.7977 | 2689088.4078 | 1250500.6875
51 | 2689106.6448 | 1250519.4315 | 2689120.724 | 1250518.5203 | 2689122.4486 | 1250518.2081
52 | 2689122.4486 | 1250518.2081 | 2689137.6819 | 1250515.4507 | 2689139.7856 | 1250514.6706
53 | 2689228.3996 | 1250357.7907 | 2689214.0813 | 1250346.1754

## bus_geodata
| x | y | coords
0 | 2689218.3564 | 1250459.0391
1 | 2689211.9474 | 1250465.0814
2 | 2689230.2506 | 1250447.8255
3 | 2689203.3991 | 1250473.1406
4 | 2689209.1514 | 1250431.5845
5 | 2689238.3435 | 1250439.352
6 | 2689184.2025 | 1250491.499
7 | 2689192.1639 | 1250446.6292
8 | 2689269.5989 | 1250406.3865
9 | 2689253.5368 | 1250390.566
10 | 2689261.5426 | 1250414.8839
11 | 2689252.4905 | 1250424.4315
12 | 2689229.2878 | 1250430.3942
13 | 2689257.2219 | 1250381.5035
14 | 2689244.1339 | 1250370.5548
15 | 2689213.9863 | 1250411.8423
16 | 2689224.1552 | 1250422.4367
17 | 2689211.9946 | 1250397.9922
18 | 2689204.7651 | 1250390.465
19 | 2689198.2751 | 1250383.6557
20 | 2689162.2978 | 1250380.3184
21 | 2689179.2712 | 1250363.7167
22 | 2689135.2658 | 1250404.0854
23 | 2689264.7337 | 1250380.2367
24 | 2689185.1617 | 1250358.101
25 | 2689191.759 | 1250376.819
26 | 2689274.3316 | 1250368.896
27 | 2689283.2472 | 1250360.5242
28 | 2689155.5544 | 1250497.0245
29 | 2689242.6418 | 1250369.3444
30 | 2689165.2251 | 1250407.9043
31 | 2689146.7699 | 1250404.6316
32 | 2689129.9651 | 1250405.0398
33 | 2689135.5808 | 1250351.0934
34 | 2689131.428 | 1250346.5507
35 | 2689169.0859 | 1250341.6098
36 | 2689091.7154 | 1250429.8438
37 | 2689085.4924 | 1250413.3664
38 | 2689098.0826 | 1250446.7032
39 | 2689103.0901 | 1250407.9379
40 | 2689128.5368 | 1250434.3183
41 | 2689101.1089 | 1250458.2567
42 | 2689091.3667 | 1250387.2385
43 | 2689136.0665 | 1250317.2649
44 | 2689132.9013 | 1250320.3863
45 | 2689155.0238 | 1250327.3688
46 | 2689168.7423 | 1250341.2619
47 | 2689112.3573 | 1250329.2236
48 | 2689104.7506 | 1250497.7977
49 | 2689106.6448 | 1250519.4315
50 | 2689088.4078 | 1250500.6875
51 | 2689122.4486 | 1250518.2081
52 | 2689139.7856 | 1250514.6706
53 | 2689214.0813 | 1250346.1754
54 | 2689228.3996 | 1250357.7907
55 | 2689165.2251 | 1250407.9043

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98249 | -0.33676 | 0.022278 | 0.0055835
1 | 0.98208 | -0.34486 | 0.0059966 | 0.0015029
2 | 0.9836 | -0.31518 | 0 | 0
3 | 0.98159 | -0.35441 | 0 | 0
4 | 0.98274 | -0.33189 | 0 | 0
5 | 0.98477 | -0.29239 | 0 | 0
6 | 0.98048 | -0.37598 | 0 | 0
7 | 0.98201 | -0.34615 | 0.034865 | 0.008738
8 | 0.98216 | -0.34329 | 0 | 0
9 | 0.98126 | -0.36096 | 0 | 0
10 | 0.98263 | -0.33411 | 0.025324 | 0.0063469
11 | 0.98347 | -0.3178 | 0 | 0
12 | 0.98581 | -0.27218 | 0.020322 | 0.0050932
13 | 0.98092 | -0.36762 | 0 | 0
14 | 0.98048 | -0.37621 | 0.0089096 | 0.0022329
15 | 0.98692 | -0.25059 | 0 | 0
16 | 0.98626 | -0.26355 | 0 | 0
17 | 0.98785 | -0.23262 | 0.0068634 | 0.0017201
18 | 0.98835 | -0.22312 | 0 | 0
19 | 0.98879 | -0.21456 | 0.039522 | 0.0099052
20 | 0.99277 | -0.13789 | 0 | 0
21 | 0.99044 | -0.18266 | 0 | 0
22 | 0.99631 | -0.070149 | 0 | 0
23 | 0.98104 | -0.36527 | 0.0079401 | 0.00199
24 | 0.99015 | -0.1883 | 0 | 0
25 | 0.98932 | -0.20432 | 0.025629 | 0.0064232
26 | 0.98093 | -0.36734 | 0 | 0
27 | 0.98084 | -0.36912 | 0.0076824 | 0.0019254
28 | 0.97927 | -0.39978 | 0.013402 | 0.003359
29 | 0.98044 | -0.37687 | 0.0060086 | 0.0015059
30 | 1 | 0 | -0.53997 | -0.13745
31 | 0.9977 | -0.043627 | 0.0064723 | 0.0016221
32 | 0.99582 | -0.079604 | 0.03164 | 0.0079298
33 | 0.9859 | -0.27097 | 0.031054 | 0.0077828
34 | 0.98607 | -0.26754 | 0 | 0
35 | 0.9885 | -0.22034 | 0.046061 | 0.011544
36 | 0.99284 | -0.13704 | 0.0088353 | 0.0022143
37 | 0.99348 | -0.12483 | 0 | 0
38 | 0.99234 | -0.14672 | 0 | 0
39 | 0.99413 | -0.11211 | 0 | 0
40 | 0.99179 | -0.15748 | 0.018522 | 0.0046421
41 | 0.99221 | -0.14925 | 0.011865 | 0.0029737
42 | 0.9935 | -0.12431 | 0.029061 | 0.0072833
43 | 0.98697 | -0.25009 | 0 | 0
44 | 0.98691 | -0.25127 | 0.014753 | 0.0036975
45 | 0.98738 | -0.24216 | 0 | 0
46 | 0.98845 | -0.2213 | 0.05033 | 0.012614
47 | 0.98574 | -0.27403 | 0.014034 | 0.0035171
48 | 0.97747 | -0.43514 | 0 | 0
49 | 0.97777 | -0.42924 | 0 | 0
50 | 0.97724 | -0.43965 | 0.014904 | 0.0037352
51 | 0.97799 | -0.42493 | 0.008934 | 0.0022391
52 | 0.97838 | -0.41723 | 0.0076792 | 0.0019246
53 | 0.98012 | -0.38315 | 0.0060041 | 0.0015048
54 | 0.98023 | -0.38115 | 0.0068622 | 0.0017198
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.051099 | 0.012876 | -0.051079 | -0.012863 | 1.9796e-05 | 1.2558e-05 | 0.077416 | 0.077416 | 0.077416 | 0.98249 | -0.33676 | 0.98208 | -0.34486 | 21.2681
1 | -0.073377 | -0.018459 | 0.073453 | 0.018508 | 7.5742e-05 | 4.8268e-05 | 0.11116 | 0.11116 | 0.11116 | 0.98249 | -0.33676 | 0.9836 | -0.31518 | 30.5377
2 | 0.045083 | 0.01136 | -0.045062 | -0.011347 | 2.057e-05 | 1.3016e-05 | 0.06833 | 0.06833 | 0.06833 | 0.98208 | -0.34486 | 0.98159 | -0.35441 | 18.772
3 | 0.034916 | 0.0087703 | -0.034889 | -0.0087529 | 2.7815e-05 | 1.7464e-05 | 0.05283 | 0.05283 | 0.05283 | 0.9836 | -0.31518 | 0.98274 | -0.33189 | 14.5136
4 | -0.10837 | -0.027278 | 0.10849 | 0.027353 | 0.00011816 | 7.5476e-05 | 0.16399 | 0.16399 | 0.16399 | 0.9836 | -0.31518 | 0.98477 | -0.29239 | 45.0513
5 | 0.045062 | 0.011347 | -0.045016 | -0.011318 | 4.6439e-05 | 2.9386e-05 | 0.06833 | 0.06833 | 0.06833 | 0.98159 | -0.35441 | 0.98048 | -0.37598 | 18.7721
6 | 0.034889 | 0.0087529 | -0.034865 | -0.008738 | 2.3713e-05 | 1.489e-05 | 0.05283 | 0.05283 | 0.05283 | 0.98274 | -0.33189 | 0.98201 | -0.34615 | 14.5137
7 | 0.068953 | 0.017365 | -0.068869 | -0.017312 | 8.3639e-05 | 5.3268e-05 | 0.10422 | 0.10422 | 0.10422 | 0.98477 | -0.29239 | 0.98347 | -0.3178 | 28.6319
8 | -0.17744 | -0.044719 | 0.17761 | 0.044828 | 0.0001718 | 0.00010963 | 0.26821 | 0.26821 | 0.26821 | 0.98477 | -0.29239 | 0.98581 | -0.27218 | 36.8415
9 | 0.045016 | 0.011318 | -0.044965 | -0.011286 | 5.1084e-05 | 3.2326e-05 | 0.06833 | 0.068331 | 0.068331 | 0.98048 | -0.37598 | 0.97927 | -0.39978 | 18.7721
10 | 0.043472 | 0.010919 | -0.043436 | -0.010896 | 3.6628e-05 | 2.3157e-05 | 0.065871 | 0.065871 | 0.065871 | 0.98216 | -0.34329 | 0.98126 | -0.36096 | 18.0964
11 | -0.043472 | -0.010919 | 0.043491 | 0.010931 | 1.9053e-05 | 1.2045e-05 | 0.065871 | 0.065871 | 0.065871 | 0.98216 | -0.34329 | 0.98263 | -0.33411 | 18.0964
12 | 0.015627 | 0.0039178 | -0.015624 | -0.0039159 | 3.2095e-06 | 1.8616e-06 | 0.023698 | 0.023698 | 0.023698 | 0.98126 | -0.36096 | 0.98104 | -0.36527 | 6.5104
13 | 0.027809 | 0.006978 | -0.0278 | -0.0069725 | 8.8241e-06 | 5.4803e-06 | 0.042173 | 0.042173 | 0.042173 | 0.98126 | -0.36096 | 0.98092 | -0.36762 | 11.586
14 | -0.068816 | -0.017278 | 0.068869 | 0.017312 | 5.3589e-05 | 3.413e-05 | 0.10422 | 0.10422 | 0.10422 | 0.98263 | -0.33411 | 0.98347 | -0.3178 | 28.6319
15 | -0.19793 | -0.049921 | 0.19802 | 0.049973 | 8.1818e-05 | 5.1865e-05 | 0.29888 | 0.29888 | 0.29888 | 0.98581 | -0.27218 | 0.98626 | -0.26355 | 20.5276
16 | 0.0278 | 0.0069725 | -0.027788 | -0.0069654 | 1.1382e-05 | 7.0689e-06 | 0.042173 | 0.042173 | 0.042173 | 0.98092 | -0.36762 | 0.98048 | -0.37621 | 11.586
17 | 0.018879 | 0.0047325 | -0.018878 | -0.0047321 | 5.9146e-07 | 3.5431e-07 | 0.028652 | 0.028652 | 0.028652 | 0.98048 | -0.37621 | 0.98044 | -0.37687 | 7.8713
18 | 0.19814 | 0.050051 | -0.19802 | -0.049973 | 0.00012299 | 7.7961e-05 | 0.29888 | 0.29888 | 0.29888 | 0.98692 | -0.25059 | 0.98626 | -0.26355 | 20.5275
19 | -0.19814 | -0.050051 | 0.19831 | 0.050159 | 0.00017077 | 0.00010825 | 0.29888 | 0.29888 | 0.29888 | 0.98692 | -0.25059 | 0.98785 | -0.23262 | 20.5275
20 | -0.20517 | -0.05188 | 0.20527 | 0.051939 | 9.3554e-05 | 5.934e-05 | 0.30922 | 0.30922 | 0.30922 | 0.98785 | -0.23262 | 0.98835 | -0.22312 | 21.2376
21 | -0.20527 | -0.051939 | 0.20535 | 0.051992 | 8.4322e-05 | 5.3484e-05 | 0.30922 | 0.30922 | 0.30922 | 0.98835 | -0.22312 | 0.98879 | -0.21456 | 21.2375
22 | -0.24487 | -0.061898 | 0.24499 | 0.061974 | 0.00012036 | 7.6547e-05 | 0.36869 | 0.36869 | 0.36869 | 0.98879 | -0.21456 | 0.98932 | -0.20432 | 25.3224
23 | 0.42847 | 0.10858 | -0.42755 | -0.108 | 0.00091948 | 0.00058724 | 0.64264 | 0.64264 | 0.64264 | 0.99277 | -0.13789 | 0.99044 | -0.18266 | 44.1375
24 | -0.42847 | -0.10858 | 0.42987 | 0.10948 | 0.0013995 | 0.0008938 | 0.64264 | 0.64264 | 0.64264 | 0.99277 | -0.13789 | 0.99631 | -0.070149 | 44.1375
25 | 0.15665 | 0.039419 | -0.15661 | -0.039393 | 4.222e-05 | 2.6602e-05 | 0.2354 | 0.2354 | 0.2354 | 0.99044 | -0.18266 | 0.99015 | -0.1883 | 16.1676
26 | 0.2709 | 0.068577 | -0.27062 | -0.068397 | 0.00028142 | 0.00017918 | 0.40724 | 0.40724 | 0.40724 | 0.99044 | -0.18266 | 0.98932 | -0.20432 | 27.9699
27 | 0.10016 | 0.025195 | -0.10012 | -0.025166 | 4.522e-05 | 2.8871e-05 | 0.14963 | 0.14963 | 0.14963 | 0.99631 | -0.070149 | 0.99582 | -0.079604 | 41.1069
28 | -0.53003 | -0.13467 | 0.53071 | 0.1351 | 0.00067774 | 0.00043315 | 0.79227 | 0.79227 | 0.79227 | 0.99631 | -0.070149 | 0.9977 | -0.043627 | 54.4142
29 | 0.0076838 | 0.0019259 | -0.007683 | -0.0019256 | 7.5677e-07 | 2.9676e-07 | 0.011655 | 0.011655 | 0.011655 | 0.98104 | -0.36527 | 0.98093 | -0.36734 | 3.2018
30 | 0.15661 | 0.039393 | -0.15637 | -0.03924 | 0.0002393 | 0.00015256 | 0.2354 | 0.2354 | 0.2354 | 0.99015 | -0.1883 | 0.9885 | -0.22034 | 32.3353
31 | 0.007683 | 0.0019256 | -0.0076824 | -0.0019254 | 6.5333e-07 | 2.5623e-07 | 0.011655 | 0.011655 | 0.011655 | 0.98093 | -0.36734 | 0.98084 | -0.36912 | 3.2019
32 | 0.031562 | 0.0079266 | -0.031536 | -0.0079102 | 2.6263e-05 | 1.6426e-05 | 0.047965 | 0.047965 | 0.047965 | 0.97927 | -0.39978 | 0.97838 | -0.41723 | 13.1773
33 | 0.01287 | 0.0032262 | -0.012867 | -0.0032248 | 2.6238e-06 | 1.448e-06 | 0.019532 | 0.019532 | 0.019532 | 0.98044 | -0.37687 | 0.98023 | -0.38115 | 5.3661
34 | 0.53832 | 0.13745 | -0.53718 | -0.13673 | 0.0011325 | 0.00072378 | 0.80192 | 0.80192 | 0.80192 | 1 | 0 | 0.9977 | -0.043627 | 55.0771
35 | 0.068478 | 0.017236 | -0.068372 | -0.017169 | 0.0001062 | 6.7618e-05 | 0.10235 | 0.10235 | 0.10235 | 0.99582 | -0.079604 | 0.99413 | -0.11211 | 28.1183
36 | -0.031054 | -0.0077828 | 0.031059 | 0.007786 | 5.0702e-06 | 3.1665e-06 | 0.04687 | 0.04687 | 0.04687 | 0.9859 | -0.27097 | 0.98607 | -0.26754 | 12.8763
37 | 0.014038 | 0.0035196 | -0.014034 | -0.0035171 | 4.3391e-06 | 2.4482e-06 | 0.021184 | 0.021184 | 0.021184 | 0.98607 | -0.26754 | 0.98574 | -0.27403 | 5.8198
38 | -0.045097 | -0.011306 | 0.045151 | 0.01134 | 5.4605e-05 | 3.4546e-05 | 0.068054 | 0.068054 | 0.068054 | 0.98607 | -0.26754 | 0.98738 | -0.24216 | 18.6961
39 | 0.11031 | 0.027696 | -0.1103 | -0.027693 | 5.057e-06 | 3.2302e-06 | 0.16606 | 0.16606 | 0.16606 | 0.9885 | -0.22034 | 0.98845 | -0.2213 | 45.622
40 | -0.039248 | -0.0098453 | 0.039271 | 0.0098597 | 2.2856e-05 | 1.44e-05 | 0.058825 | 0.058825 | 0.058825 | 0.99284 | -0.13704 | 0.99348 | -0.12483 | 16.1608
41 | 0.030412 | 0.007631 | -0.030398 | -0.0076222 | 1.4042e-05 | 8.7542e-06 | 0.045584 | 0.045584 | 0.045584 | 0.99284 | -0.13704 | 0.99234 | -0.14672 | 12.523
42 | -0.039271 | -0.0098597 | 0.039294 | 0.0098747 | 2.3847e-05 | 1.5024e-05 | 0.058825 | 0.058825 | 0.058825 | 0.99348 | -0.12483 | 0.99413 | -0.11211 | 16.1608
43 | 0.018532 | 0.0046478 | -0.018522 | -0.0046421 | 9.4971e-06 | 5.6547e-06 | 0.02779 | 0.02779 | 0.02779 | 0.99234 | -0.14672 | 0.99179 | -0.15748 | 7.6345
44 | 0.011867 | 0.0029745 | -0.011865 | -0.0029737 | 1.4301e-06 | 7.5969e-07 | 0.017794 | 0.017794 | 0.017794 | 0.99234 | -0.14672 | 0.99221 | -0.14925 | 4.8885
45 | 0.029078 | 0.0072938 | -0.029061 | -0.0072833 | 1.69e-05 | 1.0508e-05 | 0.043525 | 0.043525 | 0.043525 | 0.99413 | -0.11211 | 0.9935 | -0.12431 | 11.9575
46 | 0.014754 | 0.003698 | -0.014753 | -0.0036975 | 8.2367e-07 | 4.7042e-07 | 0.022244 | 0.022244 | 0.022244 | 0.98697 | -0.25009 | 0.98691 | -0.25127 | 6.1111
47 | -0.014754 | -0.003698 | 0.01476 | 0.0037012 | 5.5774e-06 | 3.1852e-06 | 0.022244 | 0.022244 | 0.022244 | 0.98697 | -0.25009 | 0.98738 | -0.24216 | 6.1111
48 | -0.059911 | -0.015041 | 0.059971 | 0.015079 | 5.9699e-05 | 3.7957e-05 | 0.090298 | 0.090298 | 0.090298 | 0.98738 | -0.24216 | 0.98845 | -0.2213 | 24.807
49 | -0.014907 | -0.003737 | 0.014911 | 0.0037394 | 4.1941e-06 | 2.4119e-06 | 0.022693 | 0.022693 | 0.022693 | 0.97747 | -0.43514 | 0.97777 | -0.42924 | 6.2344
50 | 0.014907 | 0.003737 | -0.014904 | -0.0037352 | 3.2051e-06 | 1.8433e-06 | 0.022693 | 0.022693 | 0.022693 | 0.97747 | -0.43514 | 0.97724 | -0.43965 | 6.2344
51 | -0.014911 | -0.0037394 | 0.014914 | 0.0037412 | 3.0631e-06 | 1.7614e-06 | 0.022693 | 0.022693 | 0.022693 | 0.97777 | -0.42924 | 0.97799 | -0.42493 | 6.2344
52 | -0.023848 | -0.0059803 | 0.023857 | 0.0059856 | 8.7516e-06 | 5.3785e-06 | 0.036286 | 0.036286 | 0.036286 | 0.97799 | -0.42493 | 0.97838 | -0.41723 | 9.9687
53 | -0.0060041 | -0.0015048 | 0.0060047 | 0.0015049 | 5.7448e-07 | 1.3528e-07 | 0.0091154 | 0.0091153 | 0.0091154 | 0.98012 | -0.38315 | 0.98023 | -0.38115 | 2.5042

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54497 | 0.1387

## res_load
| p_mw | q_mvar
0 | 0.022278 | 0.0055835
1 | 0.0059966 | 0.0015029
2 | 0.034865 | 0.008738
3 | 0.025324 | 0.0063469
4 | 0.020322 | 0.0050932
5 | 0.0089096 | 0.0022329
6 | 0.0068634 | 0.0017201
7 | 0.039522 | 0.0099052
8 | 0.0079401 | 0.00199
9 | 0.025629 | 0.0064232
10 | 0.0076824 | 0.0019254
11 | 0.013402 | 0.003359
12 | 0.0060086 | 0.0015059
13 | 0.0050008 | 0.0012533
14 | 0.0064723 | 0.0016221
15 | 0.03164 | 0.0079298
16 | 0.031054 | 0.0077828
17 | 0.046061 | 0.011544
18 | 0.0088353 | 0.0022143
19 | 0.018522 | 0.0046421
20 | 0.011865 | 0.0029737
21 | 0.029061 | 0.0072833
22 | 0.014753 | 0.0036975
23 | 0.05033 | 0.012614
24 | 0.014034 | 0.0035171
25 | 0.014904 | 0.0037352
26 | 0.008934 | 0.0022391
27 | 0.0076792 | 0.0019246
28 | 0.0060041 | 0.0015048
29 | 0.0068622 | 0.0017198

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1