## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_191-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_191-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_191-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_191-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_191-8_0_6_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_191-8_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_191-8_0_6_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_191-8_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_191-8_0_6_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_191-8_0_6_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_191-8_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_191-8_0_6_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_191-8_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_191-8_0_6_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_191-8_0_6_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_191-8_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_191-8_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_191-8_0_6_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_191-8_0_6_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_191-8_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_191-8_0_6_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_191-8_0_6_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_191-8_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_191-8_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_191-8_0_6_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_191-8_0_6_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_191-8_0_6_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_191-8_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_191-8_0_6_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_191-8_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_191-8_0_6_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_191-8_0_6_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_191-8_0_6_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_191-8_0_6_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_191-8_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_191-8_0_6_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_191-8_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_191-8_0_6_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_191-8_0_6_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_191-8_0_6_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_191-8_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_191-8_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_191-8_0_6_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_191-8_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_191-8_0_6_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_191-8_0_6_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_191-8_0_6_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_191-8_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_191-8_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_191-8_0_6_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_191-8_0_6_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_191-8_0_6_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_191-8_0_6_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_191-8_0_6_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_191-8_0_6_node_54 | 0.4 | n |  | TRUE
55 | bus_MV_500_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_191-8_0_6_load_0 | 0 | 0.05513 | 0.013817 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_191-8_0_6_load_57 | 6 | 0.0073309 | 0.0018373 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_191-8_0_6_load_52 | 9 | 0.00079677 | 0.00019969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_191-8_0_6_load_48 | 11 | 0.011965 | 0.0029987 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_191-8_0_6_load_53 | 13 | 0.081072 | 0.020319 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_191-8_0_6_load_50 | 14 | 0.019465 | 0.0048783 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_191-8_0_6_load_24 | 15 | 0.008041 | 0.0020153 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_191-8_0_6_load_45 | 18 | 0.0088713 | 0.0022233 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_191-8_0_6_load_28 | 21 | 0.00062931 | 0.00015772 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_191-8_0_6_load_43 | 24 | 0.0039052 | 0.00097875 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_191-8_0_6_load_42 | 25 | 0.011424 | 0.0028631 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_191-8_0_6_load_26 | 28 | 0.0055479 | 0.0013904 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_191-8_0_6_load_58 | 31 | 0.013564 | 0.0033995 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_191-8_0_6_load_47 | 32 | 0.011896 | 0.0029815 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_191-8_0_6_load_49 | 33 | 0.081063 | 0.020316 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_191-8_0_6_load_25 | 34 | 0.0054608 | 0.0013686 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_191-8_0_6_load_19 | 37 | 0.00024253 | 6.0783e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_191-8_0_6_load_44 | 38 | 0.011404 | 0.0028582 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_191-8_0_6_load_27 | 40 | 0.0027694 | 0.00069407 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_191-8_0_6_load_30 | 41 | 0.0034557 | 0.00086607 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_191-8_0_6_load_40 | 43 | 0.011904 | 0.0029835 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_191-8_0_6_load_18 | 44 | 0.0034514 | 0.00086501 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_191-8_0_6_load_36 | 47 | 0.00027021 | 6.7721e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_191-8_0_6_load_31 | 48 | 0.0026664 | 0.00066827 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_191-8_0_6_load_51 | 49 | 0.0068455 | 0.0017156 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_191-8_0_6_load_29 | 50 | 0.002695 | 0.00067544 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_191-8_0_6_load_37 | 51 | 0.0027554 | 0.00069056 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_191-8_0_6_load_56 | 53 | 0.036588 | 0.0091698 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_191-8_0_6_line_0 |  | 0 | 1 | 0.060883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_191-8_0_6_line_1 |  | 0 | 2 | 0.020925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_191-8_0_6_line_2 |  | 1 | 3 | 0.072118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_191-8_0_6_line_3 |  | 2 | 4 | 0.026227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_191-8_0_6_line_4 |  | 3 | 5 | 0.082765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_191-8_0_6_line_5 |  | 3 | 6 | 0.043814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_191-8_0_6_line_6 |  | 4 | 26 | 0.048973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_191-8_0_6_line_7 |  | 5 | 10 | 0.06244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_191-8_0_6_line_8 |  | 5 | 11 | 0.01344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_191-8_0_6_line_9 |  | 7 | 8 | 0.055822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_191-8_0_6_line_10 |  | 7 | 9 | 0.034844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_191-8_0_6_line_11 |  | 8 | 31 | 0.008659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_191-8_0_6_line_12 |  | 9 | 22 | 0.041096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_191-8_0_6_line_13 |  | 10 | 15 | 0.037827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_191-8_0_6_line_14 |  | 11 | 32 | 0.043267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_191-8_0_6_line_15 |  | 12 | 13 | 0.06254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_191-8_0_6_line_16 |  | 12 | 14 | 0.062809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_191-8_0_6_line_17 |  | 14 | 33 | 0.027378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_191-8_0_6_line_18 |  | 15 | 34 | 0.0080327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_191-8_0_6_line_19 |  | 16 | 17 | 0.008855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_191-8_0_6_line_20 |  | 16 | 18 | 0.053112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_191-8_0_6_line_21 |  | 17 | 35 | 0.254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_191-8_0_6_line_22 |  | 17 | 24 | 0.015151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_191-8_0_6_line_23 |  | 19 | 20 | 0.030142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_191-8_0_6_line_24 |  | 19 | 21 | 0.035929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_191-8_0_6_line_25 |  | 20 | 36 | 0.044508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_191-8_0_6_line_26 |  | 20 | 37 | 0.011444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_191-8_0_6_line_27 |  | 21 | 27 | 0.005892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_191-8_0_6_line_28 |  | 22 | 23 | 0.051542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_191-8_0_6_line_29 |  | 23 | 24 | 0.048475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_191-8_0_6_line_30 |  | 23 | 25 | 0.029293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_191-8_0_6_line_31 |  | 25 | 29 | 0.026741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_191-8_0_6_line_32 |  | 26 | 38 | 0.022004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_191-8_0_6_line_33 |  | 26 | 39 | 0.058581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_191-8_0_6_line_34 |  | 27 | 28 | 0.030596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_191-8_0_6_line_35 |  | 28 | 40 | 0.0065549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_191-8_0_6_line_36 |  | 29 | 30 | 0.013725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_191-8_0_6_line_37 |  | 30 | 42 | 0.006829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_191-8_0_6_line_38 |  | 30 | 43 | 0.030265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_191-8_0_6_line_39 |  | 32 | 33 | 0.032794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_191-8_0_6_line_40 |  | 35 | 54 | 0.19182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_191-8_0_6_line_41 |  | 36 | 49 | 0.043958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_191-8_0_6_line_42 |  | 37 | 44 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_191-8_0_6_line_43 |  | 38 | 42 | 0.020268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_191-8_0_6_line_44 |  | 39 | 41 | 0.059873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_191-8_0_6_line_45 |  | 41 | 50 | 0.00010432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_191-8_0_6_line_46 |  | 44 | 45 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_191-8_0_6_line_47 |  | 45 | 46 | 0.01534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_191-8_0_6_line_48 |  | 46 | 47 | 0.099564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_191-8_0_6_line_49 |  | 46 | 48 | 0.016177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_191-8_0_6_line_50 |  | 48 | 50 | 0.039674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_191-8_0_6_line_51 |  | 51 | 52 | 0.019328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_191-8_0_6_line_52 |  | 52 | 53 | 0.12562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_191-8_0_6_line_53 |  | 53 | 54 | 0.015191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_191-8_0_6_trafo_1 | 0.63 MVA 20/0.4 kV | 55 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2687704.1719 | 1250436.707 | 2687677.5018 | 1250446.1418 | 2687646.9016 | 1250457.3637
1 | 2687627.2563 | 1250464.5682 | 2687646.9016 | 1250457.3637
2 | 2687684.5922 | 1250373.6475 | 2687688.8632 | 1250371.2533 | 2687700.6477 | 1250420.7873 | 2687701.5476 | 1250424.7702 | 2687704.1719 | 1250436.707
3 | 2687604.2006 | 1250476.7033 | 2687608.1839 | 1250474.8719 | 2687614.2312 | 1250472.326 | 2687620.1968 | 1250467.6551 | 2687627.2563 | 1250464.5682
4 | 2687684.5922 | 1250373.6475 | 2687688.8632 | 1250371.2533 | 2687680.7084 | 1250335.0942 | 2687680.3966 | 1250333.7219 | 2687682.5965 | 1250333.0206 | 2687684.8543 | 1250331.9754 | 2687689.3963 | 1250329.1294 | 2687691.7456 | 1250325.4725 | 2687695.6675 | 1250321.6721 | 2687700.1142 | 1250319.147 | 2687699.2125 | 1250315.2863 | 2687697.6283 | 1250308.5689 | 2687696.8399 | 1250305.2103
5 | 2687646.283 | 1250395.1082 | 2687684.5922 | 1250373.6475
6 | 2687604.2006 | 1250476.7033 | 2687592.5806 | 1250482.3692 | 2687566.6062 | 1250492.7821 | 2687568.6468 | 1250498.2497 | 2687569.439 | 1250500.3297
7 | 2687653.3297 | 1250275.044 | 2687657.1988 | 1250274.8121 | 2687659.0831 | 1250276.052 | 2687659.9563 | 1250279.8011 | 2687661.9811 | 1250286.336 | 2687668.1395 | 1250291.0973 | 2687668.8259 | 1250296.2447 | 2687674.2651 | 1250295.0131 | 2687678.2423 | 1250294.1046 | 2687678.6888 | 1250295.0563 | 2687681.6714 | 1250299.1146 | 2687686.1155 | 1250302.8832 | 2687691.5834 | 1250304.81 | 2687696.8399 | 1250305.2103
8 | 2687696.8399 | 1250305.2103 | 2687710.1561 | 1250303.393
9 | 2687724.8102 | 1250541.9252 | 2687719.2556 | 1250526.498 | 2687704.9795 | 1250489.7479
10 | 2687724.8102 | 1250541.9252 | 2687692.3842 | 1250554.6799
11 | 2687704.9795 | 1250489.7479 | 2687701.9589 | 1250481.6304
12 | 2687654.1405 | 1250569.723 | 2687692.3842 | 1250554.6799
13 | 2687653.3297 | 1250275.044 | 2687616.4811 | 1250283.5929
14 | 2687752.4131 | 1250294.166 | 2687718.8218 | 1250301.9108 | 2687713.3778 | 1250302.9533 | 2687710.1561 | 1250303.393
15 | 2687873.8258 | 1250274.9085 | 2687862.6396 | 1250224.3156 | 2687860.0684 | 1250213.9029
16 | 2687873.8258 | 1250274.9085 | 2687811.6501 | 1250283.8062
17 | 2687811.6501 | 1250283.8062 | 2687784.5484 | 1250287.6846
18 | 2687616.4811 | 1250283.5929 | 2687608.6562 | 1250285.4083
19 | 2687643.336 | 1250652.9372 | 2687651.6199 | 1250649.7462
20 | 2687651.6199 | 1250649.7462 | 2687701.1807 | 1250630.6521
21 | 2687643.336 | 1250652.9372 | 2687718.3563 | 1250895.6083
22 | 2687643.336 | 1250652.9372 | 2687637.6128 | 1250638.9092
23 | 2687515.2458 | 1250366.9953 | 2687516.8381 | 1250363.9832 | 2687525.0517 | 1250354.842 | 2687537.5276 | 1250347.4651
24 | 2687537.5276 | 1250347.4651 | 2687539.3526 | 1250351.1838 | 2687553.9157 | 1250379.4379
25 | 2687490.4978 | 1250344.4463 | 2687491.136 | 1250354.3966 | 2687495.8736 | 1250367.9434 | 2687501.636 | 1250365.2709 | 2687509.0683 | 1250367.1042 | 2687515.2458 | 1250366.9953
26 | 2687515.2458 | 1250366.9953 | 2687511.7425 | 1250373.6486 | 2687508.7769 | 1250376.2193
27 | 2687556.6152 | 1250384.6751 | 2687553.9157 | 1250379.4379
28 | 2687619.3012 | 1250594.0262 | 2687657.7865 | 1250579.4509 | 2687654.1405 | 1250569.723
29 | 2687619.3012 | 1250594.0262 | 2687637.6128 | 1250638.9092
30 | 2687619.3012 | 1250594.0262 | 2687609.1182 | 1250566.5603
31 | 2687599.8224 | 1250541.4875 | 2687609.1182 | 1250566.5603
32 | 2687569.439 | 1250500.3297 | 2687577.266 | 1250520.8947
33 | 2687519.6573 | 1250511.4362 | 2687566.6062 | 1250492.7821 | 2687568.6468 | 1250498.2497 | 2687569.439 | 1250500.3297
34 | 2687556.6152 | 1250384.6751 | 2687570.668 | 1250411.8526
35 | 2687573.6787 | 1250417.6752 | 2687570.668 | 1250411.8526
36 | 2687599.8224 | 1250541.4875 | 2687586.9026 | 1250546.2224
37 | 2687584.4754 | 1250539.8372 | 2687586.9026 | 1250546.2224
38 | 2687586.9026 | 1250546.2224 | 2687589.0104 | 1250551.7466 | 2687579.318 | 1250555.2171 | 2687584.4191 | 1250568.3158
39 | 2687752.4131 | 1250294.166 | 2687763.1868 | 1250291.682 | 2687773.2746 | 1250289.5854 | 2687782.2977 | 1250288.0067 | 2687784.5484 | 1250287.6846
40 | 2687718.3563 | 1250895.6083 | 2687613.2609 | 1250940.5879 | 2687541.5799 | 1250971.2741
41 | 2687490.4978 | 1250344.4463 | 2687483.368 | 1250340.0155 | 2687480.6871 | 1250333.9269 | 2687479.5585 | 1250328.0391 | 2687480.7341 | 1250318.983 | 2687474.161 | 1250312.1364 | 2687471.6625 | 1250308.6457
42 | 2687508.7769 | 1250376.2193 | 2687505.7388 | 1250378.8528 | 2687502.2035 | 1250380.513 | 2687497.3881 | 1250384.4844
43 | 2687584.4754 | 1250539.8372 | 2687577.266 | 1250520.8947
44 | 2687519.6573 | 1250511.4362 | 2687497.3628 | 1250455.8683
45 | 2687497.3628 | 1250455.8683 | 2687497.324 | 1250455.7715
46 | 2687488.4434 | 1250393.5642 | 2687491.5114 | 1250390.8296 | 2687494.6139 | 1250386.7723 | 2687497.3881 | 1250384.4844
47 | 2687488.4434 | 1250393.5642 | 2687476.9676 | 1250403.7803
48 | 2687476.9676 | 1250403.7803 | 2687469.8559 | 1250385.3503 | 2687459.8619 | 1250363.2195 | 2687450.0193 | 1250343.6039 | 2687442.5365 | 1250328.3153 | 2687435.6935 | 1250313.2372
49 | 2687476.9676 | 1250403.7803 | 2687478.6246 | 1250409.1643 | 2687482.5507 | 1250418.9501
50 | 2687497.324 | 1250455.7715 | 2687482.5507 | 1250418.9501
51 | 2687532.3107 | 1251110.1201 | 2687531.3479 | 1251115.4988 | 2687522.6519 | 1251119.0398 | 2687518.5416 | 1251120.808
52 | 2687532.3107 | 1251110.1201 | 2687547.2068 | 1250985.3902
53 | 2687547.2068 | 1250985.3902 | 2687541.5799 | 1250971.2741

## bus_geodata
| x | y | coords
0 | 2687646.9016 | 1250457.3637
1 | 2687704.1719 | 1250436.707
2 | 2687627.2563 | 1250464.5682
3 | 2687684.5922 | 1250373.6475
4 | 2687604.2006 | 1250476.7033
5 | 2687696.8399 | 1250305.2103
6 | 2687646.283 | 1250395.1082
7 | 2687724.8102 | 1250541.9252
8 | 2687704.9795 | 1250489.7479
9 | 2687692.3842 | 1250554.6799
10 | 2687653.3297 | 1250275.044
11 | 2687710.1561 | 1250303.393
12 | 2687873.8258 | 1250274.9085
13 | 2687860.0684 | 1250213.9029
14 | 2687811.6501 | 1250283.8062
15 | 2687616.4811 | 1250283.5929
16 | 2687651.6199 | 1250649.7462
17 | 2687643.336 | 1250652.9372
18 | 2687701.1807 | 1250630.6521
19 | 2687537.5276 | 1250347.4651
20 | 2687515.2458 | 1250366.9953
21 | 2687553.9157 | 1250379.4379
22 | 2687654.1405 | 1250569.723
23 | 2687619.3012 | 1250594.0262
24 | 2687637.6128 | 1250638.9092
25 | 2687609.1182 | 1250566.5603
26 | 2687569.439 | 1250500.3297
27 | 2687556.6152 | 1250384.6751
28 | 2687570.668 | 1250411.8526
29 | 2687599.8224 | 1250541.4875
30 | 2687586.9026 | 1250546.2224
31 | 2687701.9589 | 1250481.6304
32 | 2687752.4131 | 1250294.166
33 | 2687784.5484 | 1250287.6846
34 | 2687608.6562 | 1250285.4083
35 | 2687718.3563 | 1250895.6083
36 | 2687490.4978 | 1250344.4463
37 | 2687508.7769 | 1250376.2193
38 | 2687577.266 | 1250520.8947
39 | 2687519.6573 | 1250511.4362
40 | 2687573.6787 | 1250417.6752
41 | 2687497.3628 | 1250455.8683
42 | 2687584.4754 | 1250539.8372
43 | 2687584.4191 | 1250568.3158
44 | 2687497.3881 | 1250384.4844
45 | 2687488.4434 | 1250393.5642
46 | 2687476.9676 | 1250403.7803
47 | 2687435.6935 | 1250313.2372
48 | 2687482.5507 | 1250418.9501
49 | 2687471.6625 | 1250308.6457
50 | 2687497.324 | 1250455.7715
51 | 2687518.5416 | 1251120.808
52 | 2687532.3107 | 1251110.1201
53 | 2687547.2068 | 1250985.3902
54 | 2687541.5799 | 1250971.2741
55 | 2687710.7873 | 1250466.6719

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99655 | -0.065661 | 0.05513 | 0.013817
1 | 1 | 0 | -0.41903 | -0.10696
2 | 0.99572 | -0.081571 | 0 | 0
3 | 0.99496 | -0.095308 | 0 | 0
4 | 0.99467 | -0.10155 | 0 | 0
5 | 0.98937 | -0.20228 | 0 | 0
6 | 0.99467 | -0.10097 | 0.0073309 | 0.0018373
7 | 0.98805 | -0.22886 | 0 | 0
8 | 0.98735 | -0.24239 | 0 | 0
9 | 0.98848 | -0.22042 | 0.00079677 | 0.00019969
10 | 0.9886 | -0.2173 | 0 | 0
11 | 0.98852 | -0.21868 | 0.011965 | 0.0029987
12 | 0.97807 | -0.42139 | 0 | 0
13 | 0.97334 | -0.51422 | 0.081072 | 0.020319
14 | 0.98281 | -0.32906 | 0.019465 | 0.0048783
15 | 0.98813 | -0.22642 | 0.008041 | 0.0020153
16 | 0.98816 | -0.22615 | 0 | 0
17 | 0.98824 | -0.22475 | 0 | 0
18 | 0.98773 | -0.23457 | 0.0088713 | 0.0022233
19 | 0.98737 | -0.24256 | 0 | 0
20 | 0.98761 | -0.23774 | 0 | 0
21 | 0.98707 | -0.24831 | 0.00062931 | 0.00015772
22 | 0.98902 | -0.2099 | 0 | 0
23 | 0.9897 | -0.19671 | 0 | 0
24 | 0.98892 | -0.21172 | 0.0039052 | 0.00097875
25 | 0.9903 | -0.18516 | 0.011424 | 0.0028631
26 | 0.99271 | -0.13897 | 0 | 0
27 | 0.98703 | -0.24918 | 0 | 0
28 | 0.98679 | -0.25374 | 0.0055479 | 0.0013904
29 | 0.99095 | -0.17282 | 0 | 0
30 | 0.99128 | -0.16649 | 0 | 0
31 | 0.98724 | -0.24449 | 0.013564 | 0.0033995
32 | 0.98593 | -0.26859 | 0.011896 | 0.0029815
33 | 0.9841 | -0.30425 | 0.081063 | 0.020316
34 | 0.98809 | -0.2272 | 0.0054608 | 0.0013686
35 | 0.9789 | -0.40487 | 0 | 0
36 | 0.98734 | -0.24318 | 0 | 0
37 | 0.98778 | -0.23451 | 0.00024253 | 6.0783e-05
38 | 0.99203 | -0.15211 | 0.011404 | 0.0028582
39 | 0.99118 | -0.16863 | 0 | 0
40 | 0.98678 | -0.25406 | 0.0027694 | 0.00069407
41 | 0.98961 | -0.19905 | 0.0034557 | 0.00086607
42 | 0.99147 | -0.16287 | 0 | 0
43 | 0.99095 | -0.17289 | 0.011904 | 0.0029835
44 | 0.98799 | -0.23045 | 0.0034514 | 0.00086501
45 | 0.98822 | -0.22599 | 0 | 0
46 | 0.98849 | -0.22065 | 0 | 0
47 | 0.98847 | -0.22113 | 0.00027021 | 6.7721e-05
48 | 0.98879 | -0.21495 | 0.0026664 | 0.00066827
49 | 0.98706 | -0.24857 | 0.0068455 | 0.0017156
50 | 0.9896 | -0.19909 | 0.002695 | 0.00067544
51 | 0.97092 | -0.56159 | 0.0027554 | 0.00069056
52 | 0.97097 | -0.5606 | 0 | 0
53 | 0.97129 | -0.5542 | 0.036588 | 0.0091698
54 | 0.97185 | -0.54316 | 0 | 0
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.18648 | -0.047318 | 0.18707 | 0.047694 | 0.00059093 | 0.00037581 | 0.27866 | 0.27865 | 0.27866 | 0.99655 | -0.065661 | 1 | 0 | 25.5179
1 | 0.13135 | 0.033502 | -0.13125 | -0.033438 | 0.00010083 | 6.3712e-05 | 0.19634 | 0.19634 | 0.19634 | 0.99655 | -0.065661 | 0.99572 | -0.081571 | 17.9797
2 | 0.2303 | 0.059266 | -0.22924 | -0.058589 | 0.0010621 | 0.00067691 | 0.34324 | 0.34324 | 0.34324 | 1 | 0 | 0.99496 | -0.095308 | 31.4326
3 | 0.13125 | 0.033438 | -0.13113 | -0.033358 | 0.00012638 | 7.9859e-05 | 0.19634 | 0.19634 | 0.19634 | 0.99572 | -0.081571 | 0.99467 | -0.10155 | 17.9797
4 | 0.22191 | 0.056751 | -0.22077 | -0.056023 | 0.0011423 | 0.00072783 | 0.33228 | 0.33228 | 0.33228 | 0.99496 | -0.095308 | 0.98937 | -0.20228 | 30.4284
5 | 0.0073329 | 0.001838 | -0.0073309 | -0.0018373 | 1.9761e-06 | 6.9583e-07 | 0.010967 | 0.010967 | 0.010967 | 0.99496 | -0.095308 | 0.99467 | -0.10097 | 3.0129
6 | 0.13113 | 0.033358 | -0.13089 | -0.033209 | 0.00023598 | 0.00014913 | 0.19634 | 0.19634 | 0.19634 | 0.99467 | -0.10155 | 0.99271 | -0.13897 | 17.9798
7 | 0.013518 | 0.0033926 | -0.013508 | -0.0033872 | 9.6797e-06 | 5.3938e-06 | 0.020332 | 0.020332 | 0.020332 | 0.98937 | -0.20228 | 0.9886 | -0.2173 | 5.5858
8 | 0.20725 | 0.052631 | -0.20708 | -0.052527 | 0.00016348 | 0.00010411 | 0.31195 | 0.31195 | 0.31195 | 0.98937 | -0.20228 | 0.98852 | -0.21868 | 28.5666
9 | 0.013574 | 0.0034051 | -0.013565 | -0.0034002 | 8.7493e-06 | 4.8851e-06 | 0.020444 | 0.020444 | 0.020444 | 0.98805 | -0.22886 | 0.98735 | -0.24239 | 5.6165
10 | -0.013574 | -0.0034051 | 0.01358 | 0.0034081 | 5.4612e-06 | 3.0487e-06 | 0.020444 | 0.020444 | 0.020444 | 0.98805 | -0.22886 | 0.98848 | -0.22042 | 5.6165
11 | 0.013565 | 0.0034002 | -0.013564 | -0.0033995 | 1.3572e-06 | 7.5787e-07 | 0.020444 | 0.020444 | 0.020444 | 0.98735 | -0.24239 | 0.98724 | -0.24449 | 5.6166
12 | -0.014376 | -0.0036078 | 0.014384 | 0.0036119 | 7.2189e-06 | 4.093e-06 | 0.021643 | 0.021643 | 0.021643 | 0.98848 | -0.22042 | 0.98902 | -0.2099 | 5.9459
13 | 0.013508 | 0.0033872 | -0.013502 | -0.0033839 | 5.8643e-06 | 3.2684e-06 | 0.020332 | 0.020333 | 0.020333 | 0.9886 | -0.2173 | 0.98813 | -0.22642 | 5.5859
14 | 0.19512 | 0.049528 | -0.19465 | -0.049231 | 0.00046728 | 0.0002974 | 0.29394 | 0.29394 | 0.29394 | 0.98852 | -0.21868 | 0.98593 | -0.26859 | 26.9173
15 | 0.081433 | 0.020548 | -0.081072 | -0.020319 | 0.00036026 | 0.00022979 | 0.12394 | 0.12394 | 0.12394 | 0.97807 | -0.42139 | 0.97334 | -0.51422 | 34.0496
16 | -0.081433 | -0.020548 | 0.081794 | 0.020779 | 0.00036181 | 0.00023077 | 0.12394 | 0.12394 | 0.12394 | 0.97807 | -0.42139 | 0.98281 | -0.32906 | 34.0496
17 | -0.10126 | -0.025658 | 0.10138 | 0.025734 | 0.00012081 | 7.6624e-05 | 0.15341 | 0.15341 | 0.15341 | 0.98281 | -0.32906 | 0.9841 | -0.30425 | 21.0728
18 | 0.005461 | 0.0013686 | -0.0054608 | -0.0013686 | 2.0372e-07 | 2.7487e-08 | 0.0082237 | 0.0082237 | 0.0082237 | 0.98813 | -0.22642 | 0.98809 | -0.2272 | 2.2593
19 | -0.0088748 | -0.0022249 | 0.0088754 | 0.0022252 | 5.9308e-07 | 2.6612e-07 | 0.013364 | 0.013364 | 0.013364 | 0.98816 | -0.22615 | 0.98824 | -0.22475 | 3.6715
20 | 0.0088748 | 0.0022249 | -0.0088713 | -0.0022233 | 3.5573e-06 | 1.5966e-06 | 0.013364 | 0.013365 | 0.013365 | 0.98816 | -0.22615 | 0.98773 | -0.23457 | 3.6716
21 | 0.039973 | 0.010255 | -0.039626 | -0.010037 | 0.00034604 | 0.00021824 | 0.060273 | 0.060274 | 0.060274 | 0.98824 | -0.22475 | 0.9789 | -0.40487 | 16.5588
22 | -0.048848 | -0.012481 | 0.048879 | 0.0125 | 3.0807e-05 | 1.9522e-05 | 0.073637 | 0.073637 | 0.073637 | 0.98824 | -0.22475 | 0.98892 | -0.21172 | 20.23
23 | -0.0089512 | -0.0022442 | 0.0089533 | 0.0022451 | 2.057e-06 | 9.3088e-07 | 0.01349 | 0.01349 | 0.01349 | 0.98737 | -0.24256 | 0.98761 | -0.23774 | 3.7061
24 | 0.0089512 | 0.0022442 | -0.0089488 | -0.0022431 | 2.452e-06 | 1.1099e-06 | 0.01349 | 0.01349 | 0.01349 | 0.98737 | -0.24256 | 0.98707 | -0.24831 | 3.7062
25 | 0.006849 | 0.0017168 | -0.0068472 | -0.0017162 | 1.7774e-06 | 5.6815e-07 | 0.010319 | 0.01032 | 0.01032 | 0.98761 | -0.23774 | 0.98734 | -0.24318 | 2.835
26 | -0.015802 | -0.0039619 | 0.015805 | 0.0039633 | 2.4328e-06 | 1.4105e-06 | 0.023809 | 0.023809 | 0.023809 | 0.98761 | -0.23774 | 0.98778 | -0.23451 | 6.5411
27 | 0.0083194 | 0.0020854 | -0.0083191 | -0.0020852 | 3.4755e-07 | 1.4712e-07 | 0.012542 | 0.012542 | 0.012542 | 0.98707 | -0.24831 | 0.98703 | -0.24918 | 3.4455
28 | -0.014384 | -0.0036119 | 0.014393 | 0.0036171 | 9.0536e-06 | 5.1324e-06 | 0.021643 | 0.021643 | 0.021643 | 0.98902 | -0.2099 | 0.9897 | -0.19671 | 5.9459
29 | 0.052822 | 0.013502 | -0.052784 | -0.013479 | 3.8309e-05 | 2.265e-05 | 0.079512 | 0.079513 | 0.079513 | 0.9897 | -0.19671 | 0.98892 | -0.21172 | 7.2814
30 | -0.067215 | -0.017119 | 0.067252 | 0.017141 | 3.7467e-05 | 2.2849e-05 | 0.10116 | 0.10115 | 0.10116 | 0.9897 | -0.19671 | 0.9903 | -0.18516 | 9.2633
31 | -0.078676 | -0.020004 | 0.078723 | 0.020033 | 4.6794e-05 | 2.8916e-05 | 0.11832 | 0.11832 | 0.11832 | 0.9903 | -0.18516 | 0.99095 | -0.17282 | 10.8351
32 | 0.10219 | 0.025972 | -0.10212 | -0.025931 | 6.464e-05 | 4.0516e-05 | 0.1533 | 0.1533 | 0.1533 | 0.99271 | -0.13897 | 0.99203 | -0.15211 | 14.0385
33 | 0.028703 | 0.0072374 | -0.028662 | -0.0072121 | 4.0693e-05 | 2.5287e-05 | 0.043039 | 0.04304 | 0.04304 | 0.99271 | -0.13897 | 0.99118 | -0.16863 | 11.8241
34 | 0.0083191 | 0.0020852 | -0.0083173 | -0.0020844 | 1.8047e-06 | 7.6407e-07 | 0.012542 | 0.012542 | 0.012542 | 0.98703 | -0.24918 | 0.98679 | -0.25374 | 3.4456
35 | 0.0027694 | 0.00069401 | -0.0027694 | -0.00069407 | 4.2868e-08 | -5.6302e-08 | 0.0041761 | 0.0041761 | 0.0041761 | 0.98679 | -0.25374 | 0.98678 | -0.25406 | 1.1473
36 | -0.078723 | -0.020033 | 0.078747 | 0.020048 | 2.4018e-05 | 1.4841e-05 | 0.11832 | 0.11832 | 0.11832 | 0.99095 | -0.17282 | 0.99128 | -0.16649 | 10.8351
37 | -0.090655 | -0.023034 | 0.090671 | 0.023044 | 1.5834e-05 | 9.8695e-06 | 0.13619 | 0.13619 | 0.13619 | 0.99128 | -0.16649 | 0.99147 | -0.16287 | 12.472
38 | 0.011908 | 0.0029855 | -0.011904 | -0.0029835 | 3.6266e-06 | 1.931e-06 | 0.017876 | 0.017876 | 0.017876 | 0.99128 | -0.16649 | 0.99095 | -0.17289 | 4.9109
39 | 0.18276 | 0.046249 | -0.18244 | -0.046051 | 0.00031222 | 0.00019857 | 0.27598 | 0.27598 | 0.27598 | 0.98593 | -0.26859 | 0.9841 | -0.30425 | 25.2732
40 | 0.039626 | 0.010037 | -0.039365 | -0.0098723 | 0.00026133 | 0.00016486 | 0.060274 | 0.060275 | 0.060275 | 0.9789 | -0.40487 | 0.97185 | -0.54316 | 16.5591
41 | 0.0068472 | 0.0017162 | -0.0068455 | -0.0017156 | 1.7555e-06 | 5.6149e-07 | 0.01032 | 0.01032 | 0.01032 | 0.98734 | -0.24318 | 0.98706 | -0.24857 | 2.8351
42 | -0.016047 | -0.0040241 | 0.01605 | 0.0040259 | 3.105e-06 | 1.8058e-06 | 0.024175 | 0.024175 | 0.024175 | 0.98778 | -0.23451 | 0.98799 | -0.23045 | 6.6414
43 | 0.090718 | 0.023073 | -0.090671 | -0.023044 | 4.6994e-05 | 2.9292e-05 | 0.13619 | 0.13619 | 0.13619 | 0.99203 | -0.15211 | 0.99147 | -0.16287 | 12.472
44 | 0.028662 | 0.0072121 | -0.028621 | -0.0071862 | 4.1592e-05 | 2.5848e-05 | 0.04304 | 0.04304 | 0.04304 | 0.99118 | -0.16863 | 0.98961 | -0.19905 | 11.8242
45 | 0.025165 | 0.0063202 | -0.025165 | -0.0063201 | 5.6025e-08 | 3.4516e-08 | 0.037844 | 0.037844 | 0.037844 | 0.98961 | -0.19905 | 0.9896 | -0.19909 | 10.3967
46 | -0.019502 | -0.0048909 | 0.019506 | 0.0048934 | 4.1456e-06 | 2.489e-06 | 0.029373 | 0.029373 | 0.029373 | 0.98799 | -0.23045 | 0.98822 | -0.22599 | 8.0695
47 | -0.019506 | -0.0048934 | 0.019511 | 0.0048964 | 4.963e-06 | 2.9798e-06 | 0.029373 | 0.029373 | 0.029373 | 0.98822 | -0.22599 | 0.98849 | -0.22065 | 8.0695
48 | 0.00027022 | 6.6449e-05 | -0.00027021 | -6.7721e-05 | 6.1709e-09 | -1.2723e-06 | 0.00040632 | 0.00040677 | 0.00040677 | 0.98849 | -0.22065 | 0.98847 | -0.22113 | 0.11175
49 | -0.019781 | -0.0049628 | 0.019786 | 0.004966 | 5.3797e-06 | 3.2356e-06 | 0.029779 | 0.029779 | 0.029779 | 0.98849 | -0.22065 | 0.98879 | -0.21495 | 8.1811
50 | -0.022453 | -0.0056343 | 0.02247 | 0.0056447 | 1.6989e-05 | 1.0363e-05 | 0.033792 | 0.033792 | 0.033792 | 0.98879 | -0.21495 | 0.9896 | -0.19909 | 9.2834
51 | -0.0027554 | -0.00069056 | 0.0027555 | 0.0006904 | 1.2925e-07 | -1.5633e-07 | 0.0042228 | 0.0042227 | 0.0042228 | 0.97092 | -0.56159 | 0.97097 | -0.5606 | 1.1601
52 | -0.0027555 | -0.0006904 | 0.0027563 | 0.00068938 | 8.3986e-07 | -1.0167e-06 | 0.0042227 | 0.0042222 | 0.0042227 | 0.97097 | -0.5606 | 0.97129 | -0.5542 | 1.1601
53 | -0.039344 | -0.0098592 | 0.039365 | 0.0098723 | 2.0696e-05 | 1.3058e-05 | 0.060275 | 0.060275 | 0.060275 | 0.97129 | -0.5542 | 0.97185 | -0.54316 | 16.5591

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41903 | 0.10696

## res_load
| p_mw | q_mvar
0 | 0.05513 | 0.013817
1 | 0.0073309 | 0.0018373
2 | 0.00079677 | 0.00019969
3 | 0.011965 | 0.0029987
4 | 0.081072 | 0.020319
5 | 0.019465 | 0.0048783
6 | 0.008041 | 0.0020153
7 | 0.0088713 | 0.0022233
8 | 0.00062931 | 0.00015772
9 | 0.0039052 | 0.00097875
10 | 0.011424 | 0.0028631
11 | 0.0055479 | 0.0013904
12 | 0.013564 | 0.0033995
13 | 0.011896 | 0.0029815
14 | 0.081063 | 0.020316
15 | 0.0054608 | 0.0013686
16 | 0.00024253 | 6.0783e-05
17 | 0.011404 | 0.0028582
18 | 0.0027694 | 0.00069407
19 | 0.0034557 | 0.00086607
20 | 0.011904 | 0.0029835
21 | 0.0034514 | 0.00086501
22 | 0.00027021 | 6.7721e-05
23 | 0.0026664 | 0.00066827
24 | 0.0068455 | 0.0017156
25 | 0.002695 | 0.00067544
26 | 0.0027554 | 0.00069056
27 | 0.036588 | 0.0091698

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1