## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_194-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_194-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_194-2_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_194-2_0_4_node_52 | 0.4 | n |  | TRUE
4 | bus_LV_194-2_0_4_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_194-2_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_194-2_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_194-2_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_194-2_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_194-2_0_4_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_194-2_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_194-2_0_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_194-2_0_4_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_194-2_0_4_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_194-2_0_4_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_194-2_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_194-2_0_4_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_194-2_0_4_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_194-2_0_4_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_194-2_0_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_194-2_0_4_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_194-2_0_4_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_194-2_0_4_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_194-2_0_4_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_194-2_0_4_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_194-2_0_4_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_194-2_0_4_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_194-2_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_194-2_0_4_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_194-2_0_4_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_194-2_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_194-2_0_4_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_194-2_0_4_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_194-2_0_4_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_194-2_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_194-2_0_4_node_11 | 0.4 | n |  | TRUE
36 | bus_LV_194-2_0_4_node_12 | 0.4 | n |  | TRUE
37 | bus_LV_194-2_0_4_node_14 | 0.4 | n |  | TRUE
38 | bus_LV_194-2_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_194-2_0_4_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_194-2_0_4_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_194-2_0_4_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_194-2_0_4_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_194-2_0_4_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_194-2_0_4_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_194-2_0_4_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_194-2_0_4_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_194-2_0_4_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_194-2_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_194-2_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_194-2_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_194-2_0_4_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_194-2_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_194-2_0_4_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_194-2_0_4_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_194-2_0_4_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_194-2_0_4_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_194-2_0_4_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_194-2_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_194-2_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_194-2_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_194-2_0_4_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_194-2_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_194-2_0_4_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_194-2_0_4_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_194-2_0_4_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_194-2_0_4_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_194-2_0_4_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_194-2_0_4_node_38 | 0.4 | n |  | TRUE
69 | bus_LV_194-2_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_194-2_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_194-2_0_4_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_194-2_0_4_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_194-2_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_194-2_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_194-2_0_4_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_194-2_0_4_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_194-2_0_4_node_85 | 0.4 | n |  | TRUE
78 | bus_MV_365_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_194-2_0_4_load_0 | 0 | 0.012753 | 0.0031961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_194-2_0_4_load_1 | 1 | 0.010293 | 0.0025797 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_194-2_0_4_load_52 | 3 | 0.0050791 | 0.0012729 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_194-2_0_4_load_26 | 6 | 0.0015498 | 0.00038841 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_194-2_0_4_load_22 | 7 | 0.005576 | 0.0013975 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_194-2_0_4_load_24 | 11 | 0.011134 | 0.0027903 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_194-2_0_4_load_49 | 12 | 0.012849 | 0.0032203 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_194-2_0_4_load_83 | 14 | 0.0030868 | 0.00077362 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_194-2_0_4_load_61 | 16 | 0.0046053 | 0.0011542 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_194-2_0_4_load_42 | 18 | 0.0055154 | 0.0013823 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_194-2_0_4_load_44 | 19 | 0.0032129 | 0.00080523 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_194-2_0_4_load_48 | 20 | 0.0019457 | 0.00048764 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_194-2_0_4_load_50 | 22 | 0.0029692 | 0.00074415 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_194-2_0_4_load_47 | 23 | 0.004833 | 0.0012113 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_194-2_0_4_load_66 | 28 | 0.013964 | 0.0034998 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_194-2_0_4_load_75 | 29 | 0.071356 | 0.017884 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_194-2_0_4_load_71 | 32 | 0.0046466 | 0.0011646 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_194-2_0_4_load_76 | 33 | 0.0025993 | 0.00065144 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_194-2_0_4_load_11 | 35 | 0.0059445 | 0.0014898 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_194-2_0_4_load_65 | 39 | 0.0021872 | 0.00054817 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_194-2_0_4_load_77 | 41 | 0.001405 | 0.00035212 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_194-2_0_4_load_82 | 42 | 0.0084801 | 0.0021253 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_194-2_0_4_load_74 | 43 | 0.019054 | 0.0047755 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_194-2_0_4_load_64 | 44 | 0.027455 | 0.006881 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_194-2_0_4_load_57 | 46 | 0.001007 | 0.00025238 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_194-2_0_4_load_78 | 47 | 0.0010278 | 0.00025759 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_194-2_0_4_load_60 | 48 | 0.001117 | 0.00027995 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_194-2_0_4_load_40 | 49 | 0.0012424 | 0.00031139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_194-2_0_4_load_39 | 50 | 0.0017738 | 0.00044454 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_194-2_0_4_load_25 | 51 | 0.013915 | 0.0034874 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_194-2_0_4_load_27 | 54 | 0.0022663 | 0.00056799 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_194-2_0_4_load_28 | 55 | 0.0026611 | 0.00066693 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_194-2_0_4_load_30 | 56 | 0.003164 | 0.00079298 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_194-2_0_4_load_31 | 57 | 0.0022671 | 0.00056818 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_194-2_0_4_load_33 | 58 | 0.0026559 | 0.00066562 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_194-2_0_4_load_72 | 61 | 0.0022663 | 0.00056799 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_194-2_0_4_load_80 | 63 | 0.0085432 | 0.0021411 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_194-2_0_4_load_79 | 64 | 0.0086661 | 0.0021719 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_194-2_0_4_load_35 | 65 | 0.0061293 | 0.0015361 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_194-2_0_4_load_36 | 66 | 0.0021014 | 0.00052667 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_194-2_0_4_load_37 | 67 | 0.0021254 | 0.00053268 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_194-2_0_4_load_38 | 68 | 0.0018219 | 0.00045662 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_194-2_0_4_load_62 | 69 | 0.0018227 | 0.00045682 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_194-2_0_4_load_63 | 70 | 0.0034792 | 0.00087198 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_194-2_0_4_load_41 | 71 | 0.0038035 | 0.00095325 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_194-2_0_4_load_43 | 72 | 0.0043689 | 0.001095 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_194-2_0_4_load_58 | 73 | 0.0027344 | 0.00068531 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_194-2_0_4_load_68 | 74 | 0.029702 | 0.0074441 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_194-2_0_4_load_84 | 76 | 0.0045686 | 0.001145 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_194-2_0_4_load_85 | 77 | 0.0080813 | 0.0020254 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_194-2_0_4_line_0 |  | 0 | 1 | 0.010289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_194-2_0_4_line_1 |  | 1 | 2 | 0.01396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_194-2_0_4_line_2 |  | 2 | 3 | 0.019271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_194-2_0_4_line_3 |  | 2 | 4 | 0.041795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_194-2_0_4_line_4 |  | 3 | 13 | 0.010609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_194-2_0_4_line_5 |  | 4 | 14 | 0.002307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_194-2_0_4_line_6 |  | 5 | 6 | 0.012655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_194-2_0_4_line_7 |  | 5 | 7 | 0.013516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_194-2_0_4_line_8 |  | 6 | 13 | 0.022176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_194-2_0_4_line_9 |  | 7 | 15 | 0.024599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_194-2_0_4_line_10 |  | 8 | 9 | 0.023566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_194-2_0_4_line_11 |  | 8 | 10 | 0.005823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_194-2_0_4_line_12 |  | 8 | 11 | 0.024944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_194-2_0_4_line_13 |  | 9 | 16 | 0.020704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_194-2_0_4_line_14 |  | 9 | 17 | 0.004696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_194-2_0_4_line_15 |  | 10 | 12 | 0.031955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_194-2_0_4_line_16 |  | 11 | 15 | 0.010101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_194-2_0_4_line_17 |  | 15 | 51 | 0.019685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_194-2_0_4_line_18 |  | 16 | 45 | 0.025062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_194-2_0_4_line_19 |  | 17 | 18 | 0.022431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_194-2_0_4_line_20 |  | 17 | 19 | 0.010234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_194-2_0_4_line_21 |  | 18 | 71 | 0.012487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_194-2_0_4_line_22 |  | 19 | 72 | 0.0018449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_194-2_0_4_line_23 |  | 20 | 21 | 0.0035922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_194-2_0_4_line_24 |  | 21 | 23 | 0.015649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_194-2_0_4_line_25 |  | 21 | 72 | 0.018582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_194-2_0_4_line_26 |  | 22 | 23 | 0.025415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_194-2_0_4_line_27 |  | 24 | 25 | 0.034523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_194-2_0_4_line_28 |  | 24 | 26 | 0.083202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_194-2_0_4_line_29 |  | 24 | 27 | 0.019451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_194-2_0_4_line_30 |  | 24 | 28 | 0.036513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_194-2_0_4_line_31 |  | 25 | 29 | 0.016209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_194-2_0_4_line_32 |  | 25 | 30 | 0.050165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_194-2_0_4_line_33 |  | 26 | 31 | 0.02332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_194-2_0_4_line_34 |  | 26 | 32 | 0.018414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_194-2_0_4_line_35 |  | 27 | 43 | 0.02999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_194-2_0_4_line_36 |  | 28 | 74 | 0.0096168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_194-2_0_4_line_37 |  | 29 | 40 | 0.012923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_194-2_0_4_line_38 |  | 30 | 42 | 0.005843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_194-2_0_4_line_39 |  | 31 | 75 | 0.007975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_194-2_0_4_line_40 |  | 32 | 61 | 0.024599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_194-2_0_4_line_41 |  | 33 | 34 | 0.030661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_194-2_0_4_line_42 |  | 34 | 41 | 0.0042858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_194-2_0_4_line_43 |  | 34 | 40 | 0.086658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_194-2_0_4_line_44 |  | 35 | 36 | 0.0097086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_194-2_0_4_line_45 |  | 36 | 37 | 0.10274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_194-2_0_4_line_46 |  | 37 | 38 | 0.04794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_194-2_0_4_line_47 |  | 37 | 39 | 0.012081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_194-2_0_4_line_48 |  | 38 | 43 | 0.0050929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_194-2_0_4_line_49 |  | 39 | 44 | 0.019261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_194-2_0_4_line_50 |  | 45 | 46 | 0.014565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_194-2_0_4_line_51 |  | 46 | 73 | 0.0035044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_194-2_0_4_line_52 |  | 47 | 48 | 0.022129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_194-2_0_4_line_53 |  | 48 | 73 | 0.015656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_194-2_0_4_line_54 |  | 49 | 50 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_194-2_0_4_line_55 |  | 50 | 71 | 0.0006037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_194-2_0_4_line_56 |  | 51 | 52 | 0.022842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_194-2_0_4_line_57 |  | 52 | 53 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_194-2_0_4_line_58 |  | 53 | 57 | 0.017422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_194-2_0_4_line_59 |  | 53 | 54 | 0.018262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_194-2_0_4_line_60 |  | 54 | 55 | 0.0044001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_194-2_0_4_line_61 |  | 55 | 56 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_194-2_0_4_line_62 |  | 56 | 58 | 0.012077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_194-2_0_4_line_63 |  | 57 | 59 | 0.0056978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_194-2_0_4_line_64 |  | 58 | 60 | 0.0061726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_194-2_0_4_line_65 |  | 59 | 61 | 0.0067937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_194-2_0_4_line_66 |  | 59 | 62 | 0.01865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_194-2_0_4_line_67 |  | 60 | 65 | 0.023465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_194-2_0_4_line_68 |  | 60 | 66 | 0.016575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_194-2_0_4_line_69 |  | 62 | 63 | 0.008122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_194-2_0_4_line_70 |  | 62 | 64 | 0.012762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_194-2_0_4_line_71 |  | 66 | 67 | 0.0095891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_194-2_0_4_line_72 |  | 67 | 68 | 0.02171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_194-2_0_4_line_73 |  | 68 | 69 | 0.0074877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_194-2_0_4_line_74 |  | 69 | 70 | 0.0015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_194-2_0_4_line_75 |  | 75 | 76 | 0.010953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_194-2_0_4_line_76 |  | 75 | 77 | 0.027627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_194-2_0_4_trafo_71 | 0.63 MVA 20/0.4 kV | 78 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2693403.9973 | 1246921.7566 | 2693410.7198 | 1246929.5463
1 | 2693419.8405 | 1246940.1148 | 2693410.7198 | 1246929.5463
2 | 2693419.8405 | 1246940.1148 | 2693434.3647 | 1246927.4496
3 | 2693419.8405 | 1246940.1148 | 2693420.7635 | 1246952.9725 | 2693421.1794 | 1246958.6945 | 2693436.1994 | 1246976.3334
4 | 2693442.3607 | 1246920.4769 | 2693434.3647 | 1246927.4496
5 | 2693437.759 | 1246978.0371 | 2693436.1994 | 1246976.3334
6 | 2693419.8973 | 1246893.8584 | 2693428.0588 | 1246903.5295
7 | 2693419.8973 | 1246893.8584 | 2693430.0904 | 1246884.9825
8 | 2693442.3607 | 1246920.4769 | 2693428.0588 | 1246903.5295
9 | 2693450.1615 | 1246870.851 | 2693435.3625 | 1246880.3917 | 2693430.0904 | 1246884.9825
10 | 2693454.3567 | 1246830.9423 | 2693443.487 | 1246834.6739 | 2693432.7972 | 1246840.4098
11 | 2693432.7972 | 1246840.4098 | 2693429.9461 | 1246835.3277
12 | 2693432.7972 | 1246840.4098 | 2693445.1565 | 1246862.0767
13 | 2693454.3567 | 1246830.9423 | 2693474.9254 | 1246828.5826
14 | 2693454.2418 | 1246826.248 | 2693454.3567 | 1246830.9423
15 | 2693429.9461 | 1246835.3277 | 2693424.9113 | 1246828.8324 | 2693417.1557 | 1246823.3616 | 2693403.4824 | 1246819.3652
16 | 2693450.1615 | 1246870.851 | 2693445.1565 | 1246862.0767
17 | 2693450.1615 | 1246870.851 | 2693457.9332 | 1246888.9369
18 | 2693499.9611 | 1246827.8143 | 2693478.3865 | 1246828.1856 | 2693474.9254 | 1246828.5826
19 | 2693454.2418 | 1246826.248 | 2693476.6296 | 1246824.8513
20 | 2693454.2418 | 1246826.248 | 2693455.3537 | 1246816.0743
21 | 2693489.0921 | 1246824.0738 | 2693476.6296 | 1246824.8513
22 | 2693455.3537 | 1246816.0743 | 2693455.5541 | 1246814.2403
23 | 2693459.3173 | 1246796.1496 | 2693460.4861 | 1246792.7529
24 | 2693459.3173 | 1246796.1496 | 2693445.1155 | 1246789.5762
25 | 2693459.3173 | 1246796.1496 | 2693456.6609 | 1246804.1138 | 2693455.5541 | 1246814.2403
26 | 2693445.1155 | 1246789.5762 | 2693427.532 | 1246781.4376 | 2693422.364 | 1246778.3137
27 | 2693573.4911 | 1247023.0558 | 2693575.8668 | 1247022.3483 | 2693582.5398 | 1247035.1188 | 2693582.6991 | 1247037.9457 | 2693578.396 | 1247052.1108
28 | 2693504.4854 | 1246988.7635 | 2693514.4654 | 1246998.7841 | 2693518.4377 | 1247006.0522 | 2693526.9887 | 1247002.7512 | 2693542.7939 | 1247010.3396 | 2693554.063 | 1247017.6563 | 2693566.6466 | 1247022.5807 | 2693570.9257 | 1247023.8159 | 2693573.4911 | 1247023.0558
29 | 2693573.4911 | 1247023.0558 | 2693575.8668 | 1247022.3483 | 2693583.9337 | 1247016.2153 | 2693589.074 | 1247011.7041
30 | 2693573.4911 | 1247023.0558 | 2693567.8917 | 1247015.495 | 2693564.4114 | 1247007.2116 | 2693562.9809 | 1246999.7277 | 2693565.2053 | 1246989.4661
31 | 2693578.396 | 1247052.1108 | 2693579.0556 | 1247060.5721 | 2693583.5441 | 1247066.856
32 | 2693578.396 | 1247052.1108 | 2693589.3788 | 1247046.9357 | 2693593.9378 | 1247044.7949 | 2693609.2983 | 1247034.1293 | 2693620.7795 | 1247025.6262
33 | 2693486.5861 | 1247003.7705 | 2693504.4854 | 1246988.7635
34 | 2693504.4854 | 1246988.7635 | 2693497.4192 | 1246979.3561 | 2693494.2702 | 1246973.501
35 | 2693589.074 | 1247011.7041 | 2693585.2697 | 1247001.9367 | 2693599.9517 | 1246989.0921
36 | 2693572.7853 | 1246983.5479 | 2693565.2053 | 1246989.4661
37 | 2693590.1742 | 1247077.8941 | 2693587.5627 | 1247072.4821 | 2693583.5441 | 1247066.856
38 | 2693624.0877 | 1247030.4488 | 2693620.7795 | 1247025.6262
39 | 2693486.5861 | 1247003.7705 | 2693491.526 | 1247010.0421
40 | 2693494.2702 | 1246973.501 | 2693490.6157 | 1246966.7059 | 2693482.1298 | 1246952.1093
41 | 2693555.2714 | 1247142.5704 | 2693544.9294 | 1247113.7057
42 | 2693555.2714 | 1247142.5704 | 2693556.7509 | 1247146.5927
43 | 2693555.2714 | 1247142.5704 | 2693579.0487 | 1247118.8942 | 2693595.4606 | 1247106.2213 | 2693599.9545 | 1247101.0216 | 2693600.122 | 1247098.5446 | 2693598.2655 | 1247092.6886 | 2693591.9589 | 1247081.6028 | 2693590.1742 | 1247077.8941
44 | 2693724.0965 | 1246927.1276 | 2693730.1115 | 1246934.7484
45 | 2693639.9193 | 1246954.1184 | 2693667.8464 | 1246932.7543 | 2693687.078 | 1246925.2635 | 2693693.7341 | 1246922.3664 | 2693701.5703 | 1246918.4206 | 2693701.8991 | 1246918.17 | 2693709.7739 | 1246912.2566 | 2693724.0965 | 1246927.1276
46 | 2693639.9193 | 1246954.1184 | 2693603.7848 | 1246985.7387
47 | 2693639.9193 | 1246954.1184 | 2693632.5816 | 1246944.5216
48 | 2693603.7848 | 1246985.7387 | 2693599.9517 | 1246989.0921
49 | 2693620.8826 | 1246929.2209 | 2693632.5816 | 1246944.5216
50 | 2693499.9611 | 1246827.8143 | 2693504.5978 | 1246841.6216
51 | 2693504.5978 | 1246841.6216 | 2693505.7134 | 1246844.9437
52 | 2693526.5936 | 1246833.6191 | 2693529.546 | 1246843.1035 | 2693517.7996 | 1246846.3829
53 | 2693505.7134 | 1246844.9437 | 2693507.1913 | 1246849.3446 | 2693517.7996 | 1246846.3829
54 | 2693503.8303 | 1246823.1543 | 2693489.6947 | 1246824.0362
55 | 2693489.6947 | 1246824.0362 | 2693489.0921 | 1246824.0738
56 | 2693466.9513 | 1246909.923 | 2693457.9332 | 1246888.9369
57 | 2693466.9513 | 1246909.923 | 2693470.9071 | 1246924.4742
58 | 2693470.9071 | 1246924.4742 | 2693476.791 | 1246940.873
59 | 2693470.9071 | 1246924.4742 | 2693486.9745 | 1246915.7936
60 | 2693490.8458 | 1246913.7022 | 2693486.9745 | 1246915.7936
61 | 2693502.0351 | 1246906.2191 | 2693498.7642 | 1246909.4241 | 2693490.8458 | 1246913.7022
62 | 2693502.0351 | 1246906.2191 | 2693510.6612 | 1246897.7668
63 | 2693478.7152 | 1246946.2361 | 2693476.791 | 1246940.873
64 | 2693515.07 | 1246893.4468 | 2693510.6612 | 1246897.7668
65 | 2693478.7152 | 1246946.2361 | 2693482.1298 | 1246952.1093
66 | 2693464.2662 | 1246958.0284 | 2693471.3684 | 1246952.2248 | 2693478.7152 | 1246946.2361
67 | 2693515.07 | 1246893.4468 | 2693513.634 | 1246870.0286
68 | 2693515.07 | 1246893.4468 | 2693521.9759 | 1246886.6839 | 2693525.8629 | 1246880.9713
69 | 2693457.9676 | 1246963.1775 | 2693464.2662 | 1246958.0284
70 | 2693464.2662 | 1246958.0284 | 2693472.1689 | 1246968.0495
71 | 2693531.2572 | 1246873.0433 | 2693525.8629 | 1246880.9713
72 | 2693543.47 | 1246855.0942 | 2693531.2572 | 1246873.0433
73 | 2693543.47 | 1246855.0942 | 2693547.6822 | 1246848.9036
74 | 2693548.5271 | 1246847.6619 | 2693547.6822 | 1246848.9036
75 | 2693491.526 | 1247010.0421 | 2693482.8902 | 1247016.8111
76 | 2693489.0715 | 1247029.1512 | 2693500.1319 | 1247020.9749 | 2693491.526 | 1247010.0421

## bus_geodata
| x | y | coords
0 | 2693403.9973 | 1246921.7566
1 | 2693410.7198 | 1246929.5463
2 | 2693419.8405 | 1246940.1148
3 | 2693434.3647 | 1246927.4496
4 | 2693436.1994 | 1246976.3334
5 | 2693419.8973 | 1246893.8584
6 | 2693428.0588 | 1246903.5295
7 | 2693430.0904 | 1246884.9825
8 | 2693432.7972 | 1246840.4098
9 | 2693454.3567 | 1246830.9423
10 | 2693429.9461 | 1246835.3277
11 | 2693445.1565 | 1246862.0767
12 | 2693403.4824 | 1246819.3652
13 | 2693442.3607 | 1246920.4769
14 | 2693437.759 | 1246978.0371
15 | 2693450.1615 | 1246870.851
16 | 2693474.9254 | 1246828.5826
17 | 2693454.2418 | 1246826.248
18 | 2693476.6296 | 1246824.8513
19 | 2693455.3537 | 1246816.0743
20 | 2693460.4861 | 1246792.7529
21 | 2693459.3173 | 1246796.1496
22 | 2693422.364 | 1246778.3137
23 | 2693445.1155 | 1246789.5762
24 | 2693573.4911 | 1247023.0558
25 | 2693578.396 | 1247052.1108
26 | 2693504.4854 | 1246988.7635
27 | 2693589.074 | 1247011.7041
28 | 2693565.2053 | 1246989.4661
29 | 2693583.5441 | 1247066.856
30 | 2693620.7795 | 1247025.6262
31 | 2693486.5861 | 1247003.7705
32 | 2693494.2702 | 1246973.501
33 | 2693544.9294 | 1247113.7057
34 | 2693555.2714 | 1247142.5704
35 | 2693730.1115 | 1246934.7484
36 | 2693724.0965 | 1246927.1276
37 | 2693639.9193 | 1246954.1184
38 | 2693603.7848 | 1246985.7387
39 | 2693632.5816 | 1246944.5216
40 | 2693590.1742 | 1247077.8941
41 | 2693556.7509 | 1247146.5927
42 | 2693624.0877 | 1247030.4488
43 | 2693599.9517 | 1246989.0921
44 | 2693620.8826 | 1246929.2209
45 | 2693499.9611 | 1246827.8143
46 | 2693504.5978 | 1246841.6216
47 | 2693526.5936 | 1246833.6191
48 | 2693517.7996 | 1246846.3829
49 | 2693503.8303 | 1246823.1543
50 | 2693489.6947 | 1246824.0362
51 | 2693457.9332 | 1246888.9369
52 | 2693466.9513 | 1246909.923
53 | 2693470.9071 | 1246924.4742
54 | 2693486.9745 | 1246915.7936
55 | 2693490.8458 | 1246913.7022
56 | 2693502.0351 | 1246906.2191
57 | 2693476.791 | 1246940.873
58 | 2693510.6612 | 1246897.7668
59 | 2693478.7152 | 1246946.2361
60 | 2693515.07 | 1246893.4468
61 | 2693482.1298 | 1246952.1093
62 | 2693464.2662 | 1246958.0284
63 | 2693457.9675 | 1246963.1775
64 | 2693472.1689 | 1246968.0495
65 | 2693513.634 | 1246870.0286
66 | 2693525.8629 | 1246880.9713
67 | 2693531.2572 | 1246873.0433
68 | 2693543.47 | 1246855.0942
69 | 2693547.6822 | 1246848.9036
70 | 2693548.5271 | 1246847.6619
71 | 2693489.0921 | 1246824.0738
72 | 2693455.5541 | 1246814.2403
73 | 2693505.7134 | 1246844.9437
74 | 2693572.7853 | 1246983.5479
75 | 2693491.526 | 1247010.0421
76 | 2693482.8902 | 1247016.8111
77 | 2693489.0715 | 1247029.1512
78 | 2693504.4854 | 1246988.7635

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9867 | -0.25604 | 0.012753 | 0.0031961
1 | 0.98682 | -0.25369 | 0.010293 | 0.0025797
2 | 0.98711 | -0.24794 | 0 | 0
3 | 0.98758 | -0.23893 | 0.0050791 | 0.0012729
4 | 0.987 | -0.25025 | 0 | 0
5 | 0.9889 | -0.21327 | 0 | 0
6 | 0.98852 | -0.22066 | 0.0015498 | 0.00038841
7 | 0.98931 | -0.20538 | 0.005576 | 0.0013975
8 | 0.98836 | -0.22369 | 0 | 0
9 | 0.98749 | -0.24059 | 0 | 0
10 | 0.98829 | -0.22503 | 0 | 0
11 | 0.98958 | -0.20012 | 0.011134 | 0.0027903
12 | 0.98792 | -0.23236 | 0.012849 | 0.0032203
13 | 0.98788 | -0.23302 | 0 | 0
14 | 0.98699 | -0.25037 | 0.0030868 | 0.00077362
15 | 0.99017 | -0.1886 | 0 | 0
16 | 0.98729 | -0.24448 | 0.0046053 | 0.0011542
17 | 0.98736 | -0.24308 | 0 | 0
18 | 0.98711 | -0.24803 | 0.0055154 | 0.0013823
19 | 0.9872 | -0.24626 | 0.0032129 | 0.00080523
20 | 0.98701 | -0.25009 | 0.0019457 | 0.00048764
21 | 0.98701 | -0.24996 | 0 | 0
22 | 0.98683 | -0.2535 | 0.0029692 | 0.00074415
23 | 0.9869 | -0.25215 | 0.004833 | 0.0012113
24 | 0.9914 | -0.16477 | 0 | 0
25 | 0.98874 | -0.21624 | 0 | 0
26 | 0.99835 | -0.031315 | 0 | 0
27 | 0.99042 | -0.18364 | 0 | 0
28 | 0.98994 | -0.19308 | 0.013964 | 0.0034998
29 | 0.98762 | -0.23804 | 0.071356 | 0.017884
30 | 0.98835 | -0.22383 | 0 | 0
31 | 0.99809 | -0.036476 | 0 | 0
32 | 1 | 0 | -0.36632 | -0.092742
33 | 0.98718 | -0.2466 | 0.0025993 | 0.00065144
34 | 0.98725 | -0.24518 | 0 | 0
35 | 0.98657 | -0.25847 | 0.0059445 | 0.0014898
36 | 0.98662 | -0.25744 | 0 | 0
37 | 0.98718 | -0.2465 | 0 | 0
38 | 0.98875 | -0.21603 | 0 | 0
39 | 0.98685 | -0.25291 | 0.0021872 | 0.00054817
40 | 0.98757 | -0.23897 | 0 | 0
41 | 0.98725 | -0.24529 | 0.001405 | 0.00035212
42 | 0.9883 | -0.22471 | 0.0084801 | 0.0021253
43 | 0.98891 | -0.2128 | 0.019054 | 0.0047755
44 | 0.98636 | -0.26238 | 0.027455 | 0.006881
45 | 0.98716 | -0.24712 | 0 | 0
46 | 0.98708 | -0.24865 | 0.001007 | 0.00025238
47 | 0.98701 | -0.24996 | 0.0010278 | 0.00025759
48 | 0.98703 | -0.24956 | 0.001117 | 0.00027995
49 | 0.98701 | -0.2499 | 0.0012424 | 0.00031139
50 | 0.98703 | -0.24959 | 0.0017738 | 0.00044454
51 | 0.99202 | -0.1528 | 0.013915 | 0.0034874
52 | 0.99446 | -0.10582 | 0 | 0
53 | 0.99608 | -0.074937 | 0 | 0
54 | 0.99561 | -0.083998 | 0.0022663 | 0.00056799
55 | 0.9955 | -0.086007 | 0.0026611 | 0.00066693
56 | 0.99521 | -0.091574 | 0.003164 | 0.00079298
57 | 0.99723 | -0.052828 | 0.0022671 | 0.00056818
58 | 0.99499 | -0.095855 | 0.0026559 | 0.00066562
59 | 0.99761 | -0.045495 | 0 | 0
60 | 0.99489 | -0.097755 | 0 | 0
61 | 0.99813 | -0.035737 | 0.0022663 | 0.00056799
62 | 0.99732 | -0.051118 | 0 | 0
63 | 0.99726 | -0.052334 | 0.0085432 | 0.0021411
64 | 0.99722 | -0.053056 | 0.0086661 | 0.0021719
65 | 0.99476 | -0.10029 | 0.0061293 | 0.0015361
66 | 0.99472 | -0.10107 | 0.0021014 | 0.00052667
67 | 0.99464 | -0.10263 | 0.0021254 | 0.00053268
68 | 0.9945 | -0.10536 | 0.0018219 | 0.00045662
69 | 0.99446 | -0.10606 | 0.0018227 | 0.00045682
70 | 0.99446 | -0.10615 | 0.0034792 | 0.00087198
71 | 0.98703 | -0.24956 | 0.0038035 | 0.00095325
72 | 0.98718 | -0.24672 | 0.0043689 | 0.001095
73 | 0.98706 | -0.24896 | 0.0027344 | 0.00068531
74 | 0.98967 | -0.19817 | 0.029702 | 0.0074441
75 | 0.99799 | -0.038242 | 0 | 0
76 | 0.99795 | -0.039117 | 0.0045686 | 0.001145
77 | 0.99779 | -0.04215 | 0.0080813 | 0.0020254
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012753 | -0.0031961 | 0.012754 | 0.0031969 | 1.4271e-06 | 7.8193e-07 | 0.019232 | 0.019232 | 0.019232 | 0.9867 | -0.25604 | 0.98682 | -0.25369 | 5.2835
1 | -0.023047 | -0.0057766 | 0.023054 | 0.0057805 | 6.3227e-06 | 3.8681e-06 | 0.034753 | 0.034753 | 0.034753 | 0.98682 | -0.25369 | 0.98711 | -0.24794 | 9.5476
2 | -0.026141 | -0.0065538 | 0.026152 | 0.0065607 | 1.1222e-05 | 6.9355e-06 | 0.039407 | 0.039406 | 0.039407 | 0.98711 | -0.24794 | 0.98758 | -0.23893 | 10.826
3 | 0.0030872 | 0.00077329 | -0.0030868 | -0.00077361 | 3.3942e-07 | -3.1699e-07 | 0.0046535 | 0.0046537 | 0.0046537 | 0.98711 | -0.24794 | 0.987 | -0.25025 | 1.2785
4 | -0.031231 | -0.0078337 | 0.03124 | 0.0078392 | 8.8105e-06 | 5.503e-06 | 0.047059 | 0.047059 | 0.047059 | 0.98758 | -0.23893 | 0.98788 | -0.23302 | 12.9284
5 | 0.0030868 | 0.00077361 | -0.0030868 | -0.00077362 | 1.8736e-08 | -1.7493e-08 | 0.0046537 | 0.0046537 | 0.0046537 | 0.987 | -0.25025 | 0.98699 | -0.25037 | 1.2785
6 | 0.03282 | 0.0082463 | -0.032808 | -0.0082391 | 1.1577e-05 | 7.247e-06 | 0.049392 | 0.049392 | 0.049392 | 0.9889 | -0.21327 | 0.98852 | -0.22066 | 13.5692
7 | -0.03282 | -0.0082463 | 0.032832 | 0.0082541 | 1.2365e-05 | 7.74e-06 | 0.049392 | 0.049392 | 0.049392 | 0.9889 | -0.21327 | 0.98931 | -0.20538 | 13.5692
8 | 0.031258 | 0.0078507 | -0.03124 | -0.0078392 | 1.8416e-05 | 1.1502e-05 | 0.047059 | 0.047059 | 0.047059 | 0.98852 | -0.22066 | 0.98788 | -0.23302 | 12.9284
9 | -0.038408 | -0.0096516 | 0.038439 | 0.009671 | 3.0795e-05 | 1.9393e-05 | 0.057779 | 0.057779 | 0.057779 | 0.98931 | -0.20538 | 0.99017 | -0.1886 | 15.8733
10 | 0.040204 | 0.010092 | -0.040172 | -0.010071 | 3.2384e-05 | 2.0424e-05 | 0.060535 | 0.060535 | 0.060535 | 0.98836 | -0.22369 | 0.98749 | -0.24059 | 16.6304
11 | 0.012854 | 0.0032232 | -0.012854 | -0.0032228 | 8.1789e-07 | 4.4883e-07 | 0.019353 | 0.019353 | 0.019353 | 0.98836 | -0.22369 | 0.98829 | -0.22503 | 5.3169
12 | -0.053059 | -0.013315 | 0.053119 | 0.013353 | 5.9698e-05 | 3.7887e-05 | 0.079888 | 0.079888 | 0.079888 | 0.98836 | -0.22369 | 0.98958 | -0.20012 | 21.9473
13 | 0.010495 | 0.0026302 | -0.010493 | -0.0026292 | 1.9417e-06 | 9.7786e-07 | 0.015814 | 0.015814 | 0.015814 | 0.98749 | -0.24059 | 0.98729 | -0.24448 | 4.3446
14 | 0.029677 | 0.007441 | -0.029674 | -0.0074388 | 3.5219e-06 | 2.1939e-06 | 0.044721 | 0.044721 | 0.044721 | 0.98749 | -0.24059 | 0.98736 | -0.24308 | 12.2859
15 | 0.012854 | 0.0032228 | -0.012849 | -0.0032203 | 4.4883e-06 | 2.4632e-06 | 0.019353 | 0.019354 | 0.019354 | 0.98829 | -0.22503 | 0.98792 | -0.23236 | 5.3169
16 | -0.064252 | -0.016143 | 0.064287 | 0.016166 | 3.537e-05 | 2.2507e-05 | 0.096629 | 0.096629 | 0.096629 | 0.98958 | -0.20012 | 0.99017 | -0.1886 | 26.5466
17 | -0.10273 | -0.025837 | 0.1029 | 0.025949 | 0.000176 | 0.00011238 | 0.15441 | 0.15441 | 0.15441 | 0.99017 | -0.1886 | 0.99202 | -0.1528 | 42.4198
18 | 0.0058876 | 0.001475 | -0.0058868 | -0.0014749 | 7.3998e-07 | 1.5314e-07 | 0.0088734 | 0.0088735 | 0.0088735 | 0.98729 | -0.24448 | 0.98716 | -0.24712 | 2.4378
19 | 0.012339 | 0.003093 | -0.012336 | -0.0030915 | 2.9086e-06 | 1.5747e-06 | 0.018595 | 0.018595 | 0.018595 | 0.98736 | -0.24308 | 0.98711 | -0.24803 | 5.1086
20 | 0.017335 | 0.0043457 | -0.017332 | -0.0043442 | 2.6195e-06 | 1.5456e-06 | 0.026125 | 0.026125 | 0.026125 | 0.98736 | -0.24308 | 0.9872 | -0.24626 | 7.1773
21 | 0.0068202 | 0.0017092 | -0.0068197 | -0.001709 | 4.9495e-07 | 1.5716e-07 | 0.010281 | 0.010281 | 0.010281 | 0.98711 | -0.24803 | 0.98703 | -0.24956 | 2.8245
22 | 0.01412 | 0.003539 | -0.014119 | -0.0035388 | 3.1337e-07 | 1.7697e-07 | 0.021283 | 0.021283 | 0.021283 | 0.9872 | -0.24626 | 0.98718 | -0.24672 | 5.8469
23 | -0.0019457 | -0.00048764 | 0.0019457 | 0.0004876 | 1.1591e-08 | -3.8493e-08 | 0.0029333 | 0.0029333 | 0.0029333 | 0.98701 | -0.25009 | 0.98701 | -0.24996 | 0.80586
24 | 0.0078032 | 0.0019555 | -0.0078023 | -0.0019552 | 8.1215e-07 | 3.1979e-07 | 0.011764 | 0.011764 | 0.011764 | 0.98701 | -0.24996 | 0.9869 | -0.25215 | 3.2319
25 | -0.0097489 | -0.0024431 | 0.0097504 | 0.0024438 | 1.5052e-06 | 7.2581e-07 | 0.014697 | 0.014697 | 0.014697 | 0.98701 | -0.24996 | 0.98718 | -0.24672 | 4.0377
26 | -0.0029692 | -0.00074415 | 0.0029694 | 0.00074394 | 1.9103e-07 | -2.0246e-07 | 0.0044771 | 0.004477 | 0.0044771 | 0.98683 | -0.2535 | 0.9869 | -0.25215 | 1.23
27 | 0.084131 | 0.021195 | -0.083924 | -0.021063 | 0.00020656 | 0.00013175 | 0.12631 | 0.12631 | 0.12631 | 0.9914 | -0.16477 | 0.98874 | -0.21624 | 34.7015
28 | -0.18271 | -0.046005 | 0.18389 | 0.046754 | 0.0011739 | 0.00074914 | 0.27431 | 0.27431 | 0.27431 | 0.9914 | -0.16477 | 0.99835 | -0.031315 | 37.6806
29 | 0.054849 | 0.013824 | -0.0548 | -0.013793 | 4.947e-05 | 3.141e-05 | 0.082353 | 0.082353 | 0.082353 | 0.9914 | -0.16477 | 0.99042 | -0.18364 | 22.6244
30 | 0.043733 | 0.010986 | -0.043674 | -0.010948 | 5.901e-05 | 3.7296e-05 | 0.065649 | 0.065649 | 0.065649 | 0.9914 | -0.16477 | 0.98994 | -0.19308 | 18.0354
31 | 0.075441 | 0.018936 | -0.075362 | -0.018886 | 7.8368e-05 | 4.9948e-05 | 0.11355 | 0.11355 | 0.11355 | 0.98874 | -0.21624 | 0.98762 | -0.23804 | 31.1939
32 | 0.0084836 | 0.0021268 | -0.0084805 | -0.0021255 | 3.0666e-06 | 1.3195e-06 | 0.012768 | 0.012768 | 0.012768 | 0.98874 | -0.21624 | 0.98835 | -0.22383 | 3.5077
33 | 0.012656 | 0.0031732 | -0.012653 | -0.0031715 | 3.1118e-06 | 1.6867e-06 | 0.018864 | 0.018864 | 0.018864 | 0.99835 | -0.031315 | 0.99809 | -0.036476 | 5.1823
34 | -0.19654 | -0.049927 | 0.19684 | 0.050117 | 0.00029676 | 0.00018944 | 0.29318 | 0.29318 | 0.29318 | 0.99835 | -0.031315 | 1 | 0 | 40.2716
35 | 0.0548 | 0.013793 | -0.054724 | -0.013744 | 7.6271e-05 | 4.8428e-05 | 0.082353 | 0.082353 | 0.082353 | 0.99042 | -0.18364 | 0.98891 | -0.2128 | 22.6244
36 | 0.029709 | 0.0074485 | -0.029702 | -0.0074441 | 7.1923e-06 | 4.4794e-06 | 0.044658 | 0.044658 | 0.044658 | 0.98994 | -0.19308 | 0.98967 | -0.19817 | 12.2688
37 | 0.0040058 | 0.0010028 | -0.0040056 | -0.0010029 | 1.765e-07 | -5.2397e-08 | 0.006035 | 0.0060351 | 0.0060351 | 0.98762 | -0.23804 | 0.98757 | -0.23897 | 1.658
38 | 0.0084805 | 0.0021255 | -0.0084801 | -0.0021253 | 3.572e-07 | 1.5373e-07 | 0.012768 | 0.012768 | 0.012768 | 0.98835 | -0.22383 | 0.9883 | -0.22471 | 3.5077
39 | 0.012653 | 0.0031715 | -0.012652 | -0.0031709 | 1.0642e-06 | 5.7686e-07 | 0.018864 | 0.018864 | 0.018864 | 0.99809 | -0.036476 | 0.99799 | -0.038242 | 5.1823
40 | 0.16783 | 0.042625 | -0.16755 | -0.042441 | 0.00028813 | 0.00018376 | 0.24994 | 0.24994 | 0.24994 | 1 | 0 | 0.99813 | -0.035737 | 34.332
41 | -0.0025993 | -0.00065144 | 0.0025995 | 0.00065116 | 1.765e-07 | -2.7908e-07 | 0.003918 | 0.0039179 | 0.003918 | 0.98718 | -0.2466 | 0.98725 | -0.24518 | 1.0764
42 | 0.001405 | 0.00035207 | -0.001405 | -0.00035212 | 7.207e-09 | -5.0189e-08 | 0.0021176 | 0.0021176 | 0.0021176 | 0.98725 | -0.24518 | 0.98725 | -0.24529 | 0.58176
43 | -0.0040044 | -0.0010032 | 0.0040056 | 0.0010029 | 1.1837e-06 | -3.5089e-07 | 0.0060355 | 0.0060351 | 0.0060355 | 0.98725 | -0.24518 | 0.98757 | -0.23897 | 1.6581
44 | -0.0059445 | -0.0014898 | 0.0059448 | 0.0014899 | 2.9267e-07 | 6.3333e-08 | 0.008966 | 0.0089659 | 0.008966 | 0.98657 | -0.25847 | 0.98662 | -0.25744 | 2.4632
45 | -0.0059448 | -0.0014899 | 0.0059479 | 0.0014906 | 3.097e-06 | 6.6929e-07 | 0.0089659 | 0.0089655 | 0.0089659 | 0.98662 | -0.25744 | 0.98718 | -0.2465 | 2.4632
46 | -0.035612 | -0.008933 | 0.035664 | 0.0089656 | 5.1807e-05 | 3.2542e-05 | 0.053682 | 0.053682 | 0.053682 | 0.98718 | -0.2465 | 0.98875 | -0.21603 | 14.7478
47 | 0.029664 | 0.0074425 | -0.029655 | -0.0074368 | 9.0586e-06 | 5.6431e-06 | 0.044717 | 0.044717 | 0.044717 | 0.98718 | -0.2465 | 0.98685 | -0.25291 | 12.2848
48 | -0.035664 | -0.0089656 | 0.035669 | 0.008969 | 5.5037e-06 | 3.457e-06 | 0.053682 | 0.053682 | 0.053682 | 0.98875 | -0.21603 | 0.98891 | -0.2128 | 14.7478
49 | 0.027468 | 0.0068886 | -0.027455 | -0.006881 | 1.2391e-05 | 7.6842e-06 | 0.041419 | 0.041419 | 0.041419 | 0.98685 | -0.25291 | 0.98636 | -0.26238 | 11.3788
50 | 0.0058868 | 0.0014749 | -0.0058864 | -0.0014748 | 4.3006e-07 | 8.9049e-08 | 0.0088735 | 0.0088735 | 0.0088735 | 0.98716 | -0.24712 | 0.98708 | -0.24865 | 2.4378
51 | 0.0048794 | 0.0012224 | -0.0048793 | -0.0012224 | 7.11e-08 | 7.0959e-10 | 0.0073555 | 0.0073555 | 0.0073555 | 0.98708 | -0.24865 | 0.98706 | -0.24896 | 2.0207
52 | -0.0010278 | -0.00025759 | 0.0010278 | 0.00025732 | 1.9922e-08 | -2.7008e-07 | 0.0015495 | 0.0015494 | 0.0015495 | 0.98701 | -0.24996 | 0.98703 | -0.24956 | 0.42568
53 | -0.0021448 | -0.00053727 | 0.0021449 | 0.00053711 | 6.1379e-08 | -1.6083e-07 | 0.0032334 | 0.0032333 | 0.0032334 | 0.98703 | -0.24956 | 0.98706 | -0.24896 | 0.88828
54 | -0.0012424 | -0.00031139 | 0.0012425 | 0.00031122 | 1.8634e-08 | -1.6909e-07 | 0.0018731 | 0.001873 | 0.0018731 | 0.98701 | -0.2499 | 0.98703 | -0.24959 | 0.51459
55 | -0.0030162 | -0.00075576 | 0.0030162 | 0.00075576 | 4.6809e-09 | -4.7202e-09 | 0.0045471 | 0.0045471 | 0.0045471 | 0.98703 | -0.24959 | 0.98703 | -0.24956 | 1.2492
56 | -0.11682 | -0.029436 | 0.11708 | 0.029604 | 0.00026316 | 0.00016813 | 0.17528 | 0.17528 | 0.17528 | 0.99202 | -0.1528 | 0.99446 | -0.10582 | 48.1538
57 | -0.11708 | -0.029604 | 0.11725 | 0.029715 | 0.00017372 | 0.00011098 | 0.17528 | 0.17528 | 0.17528 | 0.99446 | -0.10582 | 0.99608 | -0.074937 | 48.1538
58 | -0.14551 | -0.036808 | 0.14567 | 0.036906 | 0.00015453 | 9.8447e-05 | 0.2175 | 0.2175 | 0.2175 | 0.99608 | -0.074937 | 0.99723 | -0.052828 | 29.876
59 | 0.028258 | 0.0070925 | -0.028246 | -0.0070849 | 1.2206e-05 | 7.5744e-06 | 0.042218 | 0.042218 | 0.042218 | 0.99608 | -0.074937 | 0.99561 | -0.083998 | 11.5984
60 | 0.02598 | 0.0065169 | -0.025977 | -0.0065154 | 2.488e-06 | 1.5351e-06 | 0.038831 | 0.038831 | 0.038831 | 0.99561 | -0.083998 | 0.9955 | -0.086007 | 10.6678
61 | 0.023316 | 0.0058484 | -0.02331 | -0.0058446 | 6.1859e-06 | 3.7825e-06 | 0.034853 | 0.034853 | 0.034853 | 0.9955 | -0.086007 | 0.99521 | -0.091574 | 9.5751
62 | 0.020146 | 0.0050517 | -0.020142 | -0.0050492 | 4.1093e-06 | 2.4731e-06 | 0.030122 | 0.030123 | 0.030123 | 0.99521 | -0.091574 | 0.99499 | -0.095855 | 8.2754
63 | -0.14793 | -0.037474 | 0.14799 | 0.037508 | 5.2122e-05 | 3.3209e-05 | 0.22088 | 0.22088 | 0.22088 | 0.99723 | -0.052828 | 0.99761 | -0.045495 | 30.3407
64 | 0.017486 | 0.0043836 | -0.017484 | -0.0043826 | 1.5829e-06 | 9.3291e-07 | 0.026151 | 0.026151 | 0.026151 | 0.99499 | -0.095855 | 0.99489 | -0.097755 | 7.1843
65 | -0.1652 | -0.041824 | 0.16528 | 0.041873 | 7.7437e-05 | 4.9382e-05 | 0.24656 | 0.24656 | 0.24656 | 0.99761 | -0.045495 | 0.99813 | -0.035737 | 33.8679
66 | 0.017215 | 0.0043163 | -0.017211 | -0.0043136 | 4.6117e-06 | 2.708e-06 | 0.025678 | 0.025679 | 0.025679 | 0.99761 | -0.045495 | 0.99732 | -0.051118 | 7.0545
67 | 0.00613 | 0.0015363 | -0.0061293 | -0.0015361 | 7.3968e-07 | 1.6873e-07 | 0.0091684 | 0.0091685 | 0.0091685 | 0.99489 | -0.097755 | 0.99476 | -0.10029 | 2.5188
68 | 0.011354 | 0.0028463 | -0.011352 | -0.0028454 | 1.7926e-06 | 9.3208e-07 | 0.016982 | 0.016982 | 0.016982 | 0.99489 | -0.097755 | 0.99472 | -0.10107 | 4.6655
69 | 0.0085437 | 0.0021413 | -0.0085432 | -0.0021411 | 4.9492e-07 | 2.1077e-07 | 0.012747 | 0.012747 | 0.012747 | 0.99732 | -0.051118 | 0.99726 | -0.052334 | 3.502
70 | 0.0086669 | 0.0021723 | -0.0086661 | -0.0021719 | 8.0027e-07 | 3.4565e-07 | 0.012931 | 0.012931 | 0.012931 | 0.99732 | -0.051118 | 0.99722 | -0.053056 | 3.5525
71 | 0.0092511 | 0.0023187 | -0.0092504 | -0.0023184 | 6.8867e-07 | 3.1628e-07 | 0.013839 | 0.013839 | 0.013839 | 0.99472 | -0.10107 | 0.99464 | -0.10263 | 3.8019
72 | 0.007125 | 0.0017857 | -0.0071241 | -0.0017854 | 9.2501e-07 | 3.1027e-07 | 0.010659 | 0.010659 | 0.010659 | 0.99464 | -0.10263 | 0.9945 | -0.10536 | 2.9284
73 | 0.0053021 | 0.0013288 | -0.005302 | -0.0013288 | 1.7672e-07 | 1.595e-08 | 0.0079333 | 0.0079333 | 0.0079333 | 0.9945 | -0.10536 | 0.99446 | -0.10606 | 2.1795
74 | 0.0034793 | 0.00087197 | -0.0034792 | -0.00087198 | 1.5265e-08 | -9.7171e-09 | 0.005206 | 0.005206 | 0.005206 | 0.99446 | -0.10606 | 0.99446 | -0.10615 | 1.4302
75 | 0.0045688 | 0.001145 | -0.0045686 | -0.001145 | 1.906e-07 | -2.1128e-08 | 0.0068121 | 0.0068121 | 0.0068121 | 0.99799 | -0.038242 | 0.99795 | -0.039117 | 1.8715
76 | 0.0080828 | 0.002026 | -0.0080813 | -0.0020254 | 1.5047e-06 | 6.0211e-07 | 0.012052 | 0.012052 | 0.012052 | 0.99799 | -0.038242 | 0.99779 | -0.04215 | 3.3109

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37097 | 0.093907

## res_load
| p_mw | q_mvar
0 | 0.012753 | 0.0031961
1 | 0.010293 | 0.0025797
2 | 0.0050791 | 0.0012729
3 | 0.0015498 | 0.00038841
4 | 0.005576 | 0.0013975
5 | 0.011134 | 0.0027903
6 | 0.012849 | 0.0032203
7 | 0.0030868 | 0.00077362
8 | 0.0046053 | 0.0011542
9 | 0.0055154 | 0.0013823
10 | 0.0032129 | 0.00080523
11 | 0.0019457 | 0.00048764
12 | 0.0029692 | 0.00074415
13 | 0.004833 | 0.0012113
14 | 0.013964 | 0.0034998
15 | 0.071356 | 0.017884
16 | 0.0046466 | 0.0011646
17 | 0.0025993 | 0.00065144
18 | 0.0059445 | 0.0014898
19 | 0.0021872 | 0.00054817
20 | 0.001405 | 0.00035212
21 | 0.0084801 | 0.0021253
22 | 0.019054 | 0.0047755
23 | 0.027455 | 0.006881
24 | 0.001007 | 0.00025238
25 | 0.0010278 | 0.00025759
26 | 0.001117 | 0.00027995
27 | 0.0012424 | 0.00031139
28 | 0.0017738 | 0.00044454
29 | 0.013915 | 0.0034874
30 | 0.0022663 | 0.00056799
31 | 0.0026611 | 0.00066693
32 | 0.003164 | 0.00079298
33 | 0.0022671 | 0.00056818
34 | 0.0026559 | 0.00066562
35 | 0.0022663 | 0.00056799
36 | 0.0085432 | 0.0021411
37 | 0.0086661 | 0.0021719
38 | 0.0061293 | 0.0015361
39 | 0.0021014 | 0.00052667
40 | 0.0021254 | 0.00053268
41 | 0.0018219 | 0.00045662
42 | 0.0018227 | 0.00045682
43 | 0.0034792 | 0.00087198
44 | 0.0038035 | 0.00095325
45 | 0.0043689 | 0.001095
46 | 0.0027344 | 0.00068531
47 | 0.029702 | 0.0074441
48 | 0.0045686 | 0.001145
49 | 0.0080813 | 0.0020254

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1