## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_194-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_194-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_194-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_194-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_194-5_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_194-5_0_4_node_139 | 0.4 | n |  | TRUE
6 | bus_LV_194-5_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_194-5_0_4_node_76 | 0.4 | n |  | TRUE
8 | bus_LV_194-5_0_4_node_90 | 0.4 | n |  | TRUE
9 | bus_LV_194-5_0_4_node_134 | 0.4 | n |  | TRUE
10 | bus_LV_194-5_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_194-5_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_194-5_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_194-5_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_194-5_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_194-5_0_4_node_181 | 0.4 | n |  | TRUE
16 | bus_LV_194-5_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_194-5_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_194-5_0_4_node_180 | 0.4 | n |  | TRUE
19 | bus_LV_194-5_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_194-5_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_194-5_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_194-5_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_194-5_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_194-5_0_4_node_127 | 0.4 | n |  | TRUE
25 | bus_LV_194-5_0_4_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_194-5_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_194-5_0_4_node_108 | 0.4 | n |  | TRUE
28 | bus_LV_194-5_0_4_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_194-5_0_4_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_194-5_0_4_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_194-5_0_4_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_194-5_0_4_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_194-5_0_4_node_157 | 0.4 | n |  | TRUE
34 | bus_LV_194-5_0_4_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_194-5_0_4_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_194-5_0_4_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_194-5_0_4_node_93 | 0.4 | n |  | TRUE
38 | bus_LV_194-5_0_4_node_92 | 0.4 | n |  | TRUE
39 | bus_LV_194-5_0_4_node_131 | 0.4 | n |  | TRUE
40 | bus_LV_194-5_0_4_node_168 | 0.4 | n |  | TRUE
41 | bus_LV_194-5_0_4_node_151 | 0.4 | n |  | TRUE
42 | bus_LV_194-5_0_4_node_98 | 0.4 | n |  | TRUE
43 | bus_LV_194-5_0_4_node_156 | 0.4 | n |  | TRUE
44 | bus_LV_194-5_0_4_node_133 | 0.4 | n |  | TRUE
45 | bus_LV_194-5_0_4_node_103 | 0.4 | n |  | TRUE
46 | bus_LV_194-5_0_4_node_104 | 0.4 | n |  | TRUE
47 | bus_LV_194-5_0_4_node_105 | 0.4 | n |  | TRUE
48 | bus_LV_194-5_0_4_node_106 | 0.4 | n |  | TRUE
49 | bus_LV_194-5_0_4_node_119 | 0.4 | n |  | TRUE
50 | bus_LV_194-5_0_4_node_120 | 0.4 | n |  | TRUE
51 | bus_LV_194-5_0_4_node_185 | 0.4 | n |  | TRUE
52 | bus_LV_194-5_0_4_node_122 | 0.4 | n |  | TRUE
53 | bus_LV_194-5_0_4_node_125 | 0.4 | n |  | TRUE
54 | bus_LV_194-5_0_4_node_126 | 0.4 | n |  | TRUE
55 | bus_LV_194-5_0_4_node_128 | 0.4 | n |  | TRUE
56 | bus_LV_194-5_0_4_node_129 | 0.4 | n |  | TRUE
57 | bus_LV_194-5_0_4_node_130 | 0.4 | n |  | TRUE
58 | bus_LV_194-5_0_4_node_132 | 0.4 | n |  | TRUE
59 | bus_LV_194-5_0_4_node_135 | 0.4 | n |  | TRUE
60 | bus_LV_194-5_0_4_node_136 | 0.4 | n |  | TRUE
61 | bus_LV_194-5_0_4_node_137 | 0.4 | n |  | TRUE
62 | bus_LV_194-5_0_4_node_138 | 0.4 | n |  | TRUE
63 | bus_LV_194-5_0_4_node_140 | 0.4 | n |  | TRUE
64 | bus_LV_194-5_0_4_node_179 | 0.4 | n |  | TRUE
65 | bus_LV_194-5_0_4_node_141 | 0.4 | n |  | TRUE
66 | bus_LV_194-5_0_4_node_142 | 0.4 | n |  | TRUE
67 | bus_LV_194-5_0_4_node_143 | 0.4 | n |  | TRUE
68 | bus_LV_194-5_0_4_node_144 | 0.4 | n |  | TRUE
69 | bus_LV_194-5_0_4_node_187 | 0.4 | n |  | TRUE
70 | bus_LV_194-5_0_4_node_188 | 0.4 | n |  | TRUE
71 | bus_LV_194-5_0_4_node_183 | 0.4 | n |  | TRUE
72 | bus_LV_194-5_0_4_node_184 | 0.4 | n |  | TRUE
73 | bus_LV_194-5_0_4_node_145 | 0.4 | n |  | TRUE
74 | bus_LV_194-5_0_4_node_147 | 0.4 | n |  | TRUE
75 | bus_LV_194-5_0_4_node_146 | 0.4 | n |  | TRUE
76 | bus_LV_194-5_0_4_node_152 | 0.4 | n |  | TRUE
77 | bus_LV_194-5_0_4_node_148 | 0.4 | n |  | TRUE
78 | bus_LV_194-5_0_4_node_149 | 0.4 | n |  | TRUE
79 | bus_LV_194-5_0_4_node_150 | 0.4 | n |  | TRUE
80 | bus_LV_194-5_0_4_node_169 | 0.4 | n |  | TRUE
81 | bus_LV_194-5_0_4_node_171 | 0.4 | n |  | TRUE
82 | bus_LV_194-5_0_4_node_172 | 0.4 | n |  | TRUE
83 | bus_LV_194-5_0_4_node_174 | 0.4 | n |  | TRUE
84 | bus_LV_194-5_0_4_node_175 | 0.4 | n |  | TRUE
85 | bus_LV_194-5_0_4_node_176 | 0.4 | n |  | TRUE
86 | bus_LV_194-5_0_4_node_177 | 0.4 | n |  | TRUE
87 | bus_LV_194-5_0_4_node_178 | 0.4 | n |  | TRUE
88 | bus_LV_194-5_0_4_node_186 | 0.4 | n |  | TRUE
89 | bus_LV_194-5_0_4_node_189 | 0.4 | n |  | TRUE
90 | bus_MV_365_0_node_192 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_194-5_0_4_load_0 | 0 | 0.0084329 | 0.0021135 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_194-5_0_4_load_1 | 1 | 0.009153 | 0.002294 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_194-5_0_4_load_3 | 3 | 0.0034423 | 0.00086273 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_194-5_0_4_load_90 | 8 | 0.0014921 | 0.00037396 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_194-5_0_4_load_134 | 9 | 0.001278 | 0.00032031 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_194-5_0_4_load_6 | 10 | 0.0093056 | 0.0023322 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_194-5_0_4_load_7 | 11 | 0.010173 | 0.0025496 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_194-5_0_4_load_9 | 13 | 0.0097334 | 0.0024394 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_194-5_0_4_load_10 | 16 | 0.0073763 | 0.0018487 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_194-5_0_4_load_16 | 17 | 0.0084091 | 0.0021075 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_194-5_0_4_load_180 | 18 | 0.0045641 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_194-5_0_4_load_13 | 19 | 0.0074906 | 0.0018773 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_194-5_0_4_load_14 | 20 | 0.0047313 | 0.0011858 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_194-5_0_4_load_17 | 22 | 0.0032536 | 0.00081543 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_194-5_0_4_load_18 | 23 | 0.0070773 | 0.0017737 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_194-5_0_4_load_127 | 24 | 0.0027641 | 0.00069275 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_194-5_0_4_load_23 | 26 | 0.0021847 | 0.00054754 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_194-5_0_4_load_108 | 27 | 0.0022681 | 0.00056845 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_194-5_0_4_load_72 | 28 | 0.0019827 | 0.00049692 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_194-5_0_4_load_73 | 29 | 0.0080363 | 0.0020141 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_194-5_0_4_load_75 | 31 | 0.0023698 | 0.00059392 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_194-5_0_4_load_84 | 32 | 0.0079 | 0.0019799 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_194-5_0_4_load_157 | 33 | 0.0087381 | 0.00219 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_194-5_0_4_load_88 | 34 | 0.0028234 | 0.00070761 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_194-5_0_4_load_131 | 39 | 0.036002 | 0.0090229 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_194-5_0_4_load_151 | 41 | 0.0050911 | 0.0012759 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_194-5_0_4_load_156 | 43 | 0.0079539 | 0.0019934 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_194-5_0_4_load_133 | 44 | 0.0083782 | 0.0020998 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_194-5_0_4_load_103 | 45 | 0.0085109 | 0.002133 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_194-5_0_4_load_104 | 46 | 0.0081702 | 0.0020477 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_194-5_0_4_load_105 | 47 | 0.0089971 | 0.0022549 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_194-5_0_4_load_106 | 48 | 0.0023067 | 0.0005781 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_194-5_0_4_load_119 | 49 | 0.0024621 | 0.00061707 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_194-5_0_4_load_120 | 50 | 0.0021572 | 0.00054064 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_194-5_0_4_load_185 | 51 | 0.007434 | 0.0018631 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_194-5_0_4_load_122 | 52 | 0.0023253 | 0.00058278 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_194-5_0_4_load_125 | 53 | 0.0027097 | 0.00067912 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_194-5_0_4_load_126 | 54 | 0.0030625 | 0.00076754 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_194-5_0_4_load_128 | 55 | 0.034644 | 0.0086827 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_194-5_0_4_load_129 | 56 | 0.010693 | 0.0026799 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_194-5_0_4_load_130 | 57 | 0.0047324 | 0.001186 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_194-5_0_4_load_132 | 58 | 0.0047321 | 0.001186 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_194-5_0_4_load_135 | 59 | 0.0025197 | 0.00063149 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_194-5_0_4_load_136 | 60 | 0.0015196 | 0.00038085 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_194-5_0_4_load_138 | 62 | 0.0011427 | 0.00028638 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_194-5_0_4_load_179 | 64 | 0.00070073 | 0.00017562 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_194-5_0_4_load_144 | 68 | 0.0014186 | 0.00035553 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_194-5_0_4_load_187 | 69 | 0.002416 | 0.0006055 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_194-5_0_4_load_188 | 70 | 0.0021224 | 0.00053194 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_194-5_0_4_load_183 | 71 | 0.0022114 | 0.00055422 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_194-5_0_4_load_147 | 74 | 0.0027471 | 0.00068848 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_194-5_0_4_load_152 | 76 | 0.0097103 | 0.0024336 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_194-5_0_4_load_148 | 77 | 0.0036923 | 0.00092539 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_194-5_0_4_load_149 | 78 | 0.0040628 | 0.0010182 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_194-5_0_4_load_169 | 80 | 0.0044446 | 0.0011139 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_194-5_0_4_load_171 | 81 | 0.00067687 | 0.00016964 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_194-5_0_4_load_172 | 82 | 0.00084566 | 0.00021194 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_194-5_0_4_load_175 | 84 | 0.00088371 | 0.00022148 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_194-5_0_4_load_177 | 86 | 0.0042568 | 0.0010668 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_194-5_0_4_load_178 | 87 | 0.00075189 | 0.00018844 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_194-5_0_4_load_186 | 88 | 0.0056236 | 0.0014094 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_194-5_0_4_load_189 | 89 | 0.0025165 | 0.00063069 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_194-5_0_4_line_0 |  | 0 | 1 | 0.00079969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_194-5_0_4_line_1 |  | 0 | 2 | 0.034089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_194-5_0_4_line_2 |  | 1 | 3 | 0.0016577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_194-5_0_4_line_3 |  | 2 | 4 | 0.032762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_194-5_0_4_line_4 |  | 3 | 5 | 0.038677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_194-5_0_4_line_5 |  | 4 | 9 | 0.020289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_194-5_0_4_line_6 |  | 4 | 6 | 0.02385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_194-5_0_4_line_7 |  | 5 | 64 | 0.019138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_194-5_0_4_line_8 |  | 6 | 7 | 0.012666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_194-5_0_4_line_9 |  | 6 | 8 | 0.027774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_194-5_0_4_line_10 |  | 7 | 33 | 0.015048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_194-5_0_4_line_11 |  | 7 | 30 | 0.021814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_194-5_0_4_line_12 |  | 8 | 35 | 0.0029993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_194-5_0_4_line_13 |  | 9 | 36 | 0.0029243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_194-5_0_4_line_14 |  | 10 | 11 | 0.019933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_194-5_0_4_line_15 |  | 10 | 12 | 0.025462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_194-5_0_4_line_16 |  | 11 | 13 | 0.020679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_194-5_0_4_line_17 |  | 12 | 14 | 0.048858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_194-5_0_4_line_18 |  | 13 | 15 | 0.034582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_194-5_0_4_line_19 |  | 14 | 18 | 0.026955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_194-5_0_4_line_20 |  | 15 | 51 | 0.023254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_194-5_0_4_line_21 |  | 15 | 88 | 0.004554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_194-5_0_4_line_22 |  | 16 | 17 | 0.020356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_194-5_0_4_line_23 |  | 17 | 20 | 0.01892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_194-5_0_4_line_24 |  | 19 | 20 | 0.0020092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_194-5_0_4_line_25 |  | 19 | 21 | 0.022665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_194-5_0_4_line_26 |  | 21 | 22 | 0.011703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_194-5_0_4_line_27 |  | 21 | 23 | 0.012093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_194-5_0_4_line_28 |  | 22 | 24 | 0.0065498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_194-5_0_4_line_29 |  | 23 | 25 | 0.034791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_194-5_0_4_line_30 |  | 24 | 54 | 0.010382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_194-5_0_4_line_31 |  | 25 | 44 | 0.0093686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_194-5_0_4_line_32 |  | 25 | 47 | 0.011655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_194-5_0_4_line_33 |  | 26 | 27 | 0.0095775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_194-5_0_4_line_34 |  | 27 | 48 | 0.0068421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_194-5_0_4_line_35 |  | 28 | 29 | 0.0030429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_194-5_0_4_line_36 |  | 28 | 30 | 0.0206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_194-5_0_4_line_37 |  | 29 | 31 | 0.0055525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_194-5_0_4_line_38 |  | 31 | 32 | 0.00028759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_194-5_0_4_line_39 |  | 33 | 43 | 0.0032336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_194-5_0_4_line_40 |  | 34 | 35 | 0.032476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_194-5_0_4_line_41 |  | 36 | 37 | 0.045941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_194-5_0_4_line_42 |  | 36 | 38 | 0.035193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_194-5_0_4_line_43 |  | 37 | 40 | 0.10507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_194-5_0_4_line_44 |  | 37 | 41 | 0.0099662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_194-5_0_4_line_45 |  | 38 | 39 | 0.00967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_194-5_0_4_line_46 |  | 39 | 56 | 0.045516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_194-5_0_4_line_47 |  | 40 | 80 | 0.018522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_194-5_0_4_line_48 |  | 41 | 78 | 0.0079041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_194-5_0_4_line_49 |  | 42 | 43 | 0.028998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_194-5_0_4_line_50 |  | 42 | 44 | 0.020788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_194-5_0_4_line_51 |  | 45 | 46 | 0.012576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_194-5_0_4_line_52 |  | 45 | 47 | 0.0067791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_194-5_0_4_line_53 |  | 46 | 48 | 0.0053837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_194-5_0_4_line_54 |  | 49 | 50 | 0.0090169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_194-5_0_4_line_55 |  | 49 | 51 | 0.040744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_194-5_0_4_line_56 |  | 50 | 52 | 0.006487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_194-5_0_4_line_57 |  | 52 | 53 | 0.010087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_194-5_0_4_line_58 |  | 53 | 54 | 0.0047437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_194-5_0_4_line_59 |  | 55 | 56 | 0.0028576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_194-5_0_4_line_60 |  | 55 | 57 | 0.03941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_194-5_0_4_line_61 |  | 57 | 58 | 0.0015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_194-5_0_4_line_62 |  | 59 | 60 | 0.01907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_194-5_0_4_line_63 |  | 60 | 61 | 0.020406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_194-5_0_4_line_64 |  | 61 | 62 | 0.0038587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_194-5_0_4_line_65 |  | 62 | 63 | 0.031131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_194-5_0_4_line_66 |  | 63 | 65 | 0.020761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_194-5_0_4_line_67 |  | 63 | 66 | 0.01767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_194-5_0_4_line_68 |  | 63 | 67 | 0.0053926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_194-5_0_4_line_69 |  | 64 | 87 | 0.0030703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_194-5_0_4_line_70 |  | 65 | 68 | 0.019752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_194-5_0_4_line_71 |  | 66 | 69 | 0.023343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_194-5_0_4_line_72 |  | 66 | 70 | 0.011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_194-5_0_4_line_73 |  | 67 | 71 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_194-5_0_4_line_74 |  | 67 | 72 | 0.166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_194-5_0_4_line_75 |  | 68 | 73 | 0.038023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_194-5_0_4_line_76 |  | 72 | 89 | 0.016388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_194-5_0_4_line_77 |  | 73 | 74 | 0.0086596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_194-5_0_4_line_78 |  | 74 | 75 | 0.0063139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_194-5_0_4_line_79 |  | 75 | 76 | 0.010844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_194-5_0_4_line_80 |  | 76 | 79 | 0.018561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_194-5_0_4_line_81 |  | 77 | 78 | 0.033581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_194-5_0_4_line_82 |  | 77 | 79 | 0.042466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_194-5_0_4_line_83 |  | 81 | 82 | 0.0068087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_194-5_0_4_line_84 |  | 82 | 83 | 0.033104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_194-5_0_4_line_85 |  | 83 | 84 | 0.027398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_194-5_0_4_line_86 |  | 84 | 85 | 0.0019152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_194-5_0_4_line_87 |  | 85 | 86 | 0.021984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_194-5_0_4_line_88 |  | 85 | 87 | 0.002017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_194-5_0_4_trafo_107 | 0.63 MVA 20/0.4 kV | 90 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2693732.4058 | 1247063.9614 | 2693733.139 | 1247063.6421
1 | 2693762.0442 | 1247045.9734 | 2693745.5096 | 1247058.2547 | 2693733.139 | 1247063.6421
2 | 2693732.4058 | 1247063.9614 | 2693730.886 | 1247064.6233
3 | 2693762.0442 | 1247045.9734 | 2693774.7151 | 1247049.1873 | 2693788.6356 | 1247053.1549 | 2693791.9411 | 1247057.188
4 | 2693698.3093 | 1247085.0069 | 2693717.7673 | 1247070.3365 | 2693730.886 | 1247064.6233
5 | 2693791.9411 | 1247057.188 | 2693796.4263 | 1247063.0523 | 2693802.4894 | 1247064.6828 | 2693806.8831 | 1247069.6449
6 | 2693790.2624 | 1247036.7681 | 2693787.298 | 1247038.3892 | 2693788.9978 | 1247042.2078 | 2693789.6598 | 1247046.1991 | 2693788.6356 | 1247053.1549 | 2693791.9411 | 1247057.188
7 | 2693698.3093 | 1247085.0069 | 2693687.8682 | 1247068.9683
8 | 2693790.2624 | 1247036.7681 | 2693795.7262 | 1247033.3075 | 2693800.9611 | 1247029.9877
9 | 2693790.2624 | 1247036.7681 | 2693781.002 | 1247019.9645 | 2693778.6861 | 1247011.6947
10 | 2693800.9611 | 1247029.9877 | 2693807.151 | 1247031.2422 | 2693815.8792 | 1247030.9635
11 | 2693788.9585 | 1247011.7507 | 2693800.9611 | 1247029.9877
12 | 2693777.8773 | 1247008.8066 | 2693778.6861 | 1247011.6947
13 | 2693809.3481 | 1247068.0716 | 2693806.8831 | 1247069.6449
14 | 2694047.4787 | 1247044.7646 | 2694039.1727 | 1247026.6441
15 | 2694055.1601 | 1247068.721 | 2694054.1096 | 1247059.2304 | 2694047.4787 | 1247044.7646
16 | 2694039.1727 | 1247026.6441 | 2694037.4179 | 1247022.8157 | 2694030.2675 | 1247007.9811
17 | 2694055.1601 | 1247068.721 | 2694066.0543 | 1247067.7263 | 2694065.9983 | 1247063.6446 | 2694070.1263 | 1247056.7715 | 2694073.6939 | 1247048.5662 | 2694080.179 | 1247045.9782 | 2694089.363 | 1247042.31
18 | 2694030.2675 | 1247007.9811 | 2693997.9057 | 1246995.791
19 | 2694089.363 | 1247042.31 | 2694077.4524 | 1247018.1298
20 | 2693986.5036 | 1247011.6557 | 2693989.9956 | 1247013.4458 | 2693997.9057 | 1246995.791
21 | 2693993.813 | 1246993.769 | 2693997.9057 | 1246995.791
22 | 2693964.9092 | 1247057.993 | 2693976.2533 | 1247061.598 | 2693984.4215 | 1247063.772
23 | 2693946.9098 | 1247052.1713 | 2693948.7425 | 1247052.8555 | 2693964.9092 | 1247057.993
24 | 2693946.9098 | 1247052.1713 | 2693945.0274 | 1247051.4686
25 | 2693923.7942 | 1247043.5421 | 2693945.0274 | 1247051.4686
26 | 2693923.7942 | 1247043.5421 | 2693928.5151 | 1247032.834
27 | 2693923.7942 | 1247043.5421 | 2693912.0485 | 1247040.6641
28 | 2693928.5151 | 1247032.834 | 2693931.1574 | 1247026.8409
29 | 2693878.1045 | 1247033.0551 | 2693898.8554 | 1247037.4314 | 2693912.0485 | 1247040.6641
30 | 2693935.3455 | 1247017.3415 | 2693931.1574 | 1247026.8409
31 | 2693878.1045 | 1247033.0551 | 2693868.8038 | 1247031.9292
32 | 2693878.1045 | 1247033.0551 | 2693884.5025 | 1247023.3134
33 | 2693902.5907 | 1246997.4786 | 2693908.7819 | 1246990.1713
34 | 2693902.5907 | 1246997.4786 | 2693898.1678 | 1247002.6989
35 | 2693803.555 | 1246997.3532 | 2693805.5002 | 1246995.0133
36 | 2693788.9585 | 1247011.7507 | 2693797.063 | 1247005.1627 | 2693803.555 | 1246997.3532
37 | 2693805.5002 | 1246995.0133 | 2693809.0497 | 1246990.7434
38 | 2693809.0497 | 1246990.7434 | 2693809.2336 | 1246990.5222
39 | 2693819.1112 | 1247030.8604 | 2693815.8792 | 1247030.9635
40 | 2693777.8773 | 1247008.8066 | 2693761.2594 | 1246980.9047
41 | 2693837.1547 | 1247104.417 | 2693827.9472 | 1247095.7425 | 2693809.3481 | 1247068.0716
42 | 2693809.3481 | 1247068.0716 | 2693815.2236 | 1247064.3728 | 2693820.3436 | 1247061.1514 | 2693832.2703 | 1247079.8766
43 | 2693837.1547 | 1247104.417 | 2693842.3098 | 1247112.3379 | 2693865.1948 | 1247143.168 | 2693883.2478 | 1247165.2261 | 2693902.9176 | 1247186.3092
44 | 2693837.1547 | 1247104.417 | 2693829.4548 | 1247110.7444
45 | 2693832.2703 | 1247079.8766 | 2693841.4714 | 1247082.8511
46 | 2693883.0337 | 1247098.4517 | 2693864.1591 | 1247089.7999 | 2693857.8339 | 1247090.8895 | 2693847.678 | 1247084.8575 | 2693841.4714 | 1247082.8511
47 | 2693902.9176 | 1247186.3092 | 2693906.797 | 1247194.6325 | 2693912.4278 | 1247202.0829
48 | 2693829.4548 | 1247110.7444 | 2693826.8374 | 1247118.2026
49 | 2693848.0995 | 1247030.1002 | 2693822.9857 | 1247030.7367 | 2693819.1112 | 1247030.8604
50 | 2693848.0995 | 1247030.1002 | 2693864.5776 | 1247031.4176 | 2693868.8038 | 1247031.9292
51 | 2693888.2239 | 1247017.6471 | 2693895.1274 | 1247007.1355
52 | 2693888.2239 | 1247017.6471 | 2693884.5025 | 1247023.3134
53 | 2693898.1678 | 1247002.6989 | 2693897.6048 | 1247003.3635 | 2693895.1274 | 1247007.1355
54 | 2693951.1049 | 1246991.4814 | 2693948.3924 | 1246995.3617 | 2693946.1127 | 1246998.987
55 | 2693951.1049 | 1246991.4814 | 2693986.5036 | 1247011.6557
56 | 2693942.6595 | 1247004.4785 | 2693946.1127 | 1246998.987
57 | 2693942.6595 | 1247004.4785 | 2693937.29 | 1247013.0173
58 | 2693935.3455 | 1247017.3415 | 2693937.1628 | 1247013.2196 | 2693937.29 | 1247013.0173
59 | 2693885.6313 | 1247099.6424 | 2693883.0337 | 1247098.4517
60 | 2693921.4573 | 1247116.0646 | 2693885.6313 | 1247099.6424
61 | 2693921.4573 | 1247116.0646 | 2693922.8624 | 1247116.7086
62 | 2693761.8912 | 1247093.3758 | 2693749.7086 | 1247108.0468
63 | 2693737.125 | 1247124.1056 | 2693745.6339 | 1247112.9539 | 2693749.7086 | 1247108.0468
64 | 2693737.125 | 1247124.1056 | 2693734.7646 | 1247127.1582
65 | 2693717.7866 | 1247153.1888 | 2693723.8485 | 1247142.4765 | 2693729.4206 | 1247134.0692 | 2693734.7646 | 1247127.1582
66 | 2693717.7866 | 1247153.1888 | 2693734.4742 | 1247165.6065
67 | 2693717.7866 | 1247153.1888 | 2693717.0978 | 1247154.7124 | 2693710.8859 | 1247148.1648 | 2693706.5376 | 1247142.7142
68 | 2693717.7866 | 1247153.1888 | 2693717.0978 | 1247154.7124 | 2693715.5635 | 1247158.1019
69 | 2693686.1931 | 1247066.3952 | 2693687.8682 | 1247068.9683
70 | 2693734.4742 | 1247165.6065 | 2693750.3202 | 1247177.399
71 | 2693689.8488 | 1247129.4182 | 2693695.523 | 1247128.8852 | 2693706.5376 | 1247142.7142
72 | 2693695.3264 | 1247144.1826 | 2693706.5376 | 1247142.7142
73 | 2693695.9988 | 1247158.9934 | 2693715.5635 | 1247158.1019
74 | 2693638.7738 | 1247159.5234 | 2693639.8238 | 1247173.3949 | 2693639.9595 | 1247174.8426 | 2693641.161 | 1247187.727 | 2693641.2266 | 1247188.3618 | 2693642.0392 | 1247196.214 | 2693638.5048 | 1247202.841 | 2693641.4239 | 1247214.1179 | 2693669.5378 | 1247203.7984 | 2693680.849 | 1247200.7748 | 2693692.9981 | 1247198.2759 | 2693708.53 | 1247197.2984 | 2693708.5291 | 1247179.2068 | 2693710.2388 | 1247172.3619 | 2693713.7786 | 1247162.0545 | 2693715.5635 | 1247158.1019
75 | 2693781.2579 | 1247198.5601 | 2693779.0563 | 1247198.7699 | 2693772.075 | 1247193.5889 | 2693750.3202 | 1247177.399
76 | 2693637.3396 | 1247143.1994 | 2693638.5977 | 1247157.2855 | 2693638.7738 | 1247159.5234
77 | 2693781.2579 | 1247198.5601 | 2693789.8196 | 1247197.2615
78 | 2693796.0621 | 1247196.3147 | 2693789.8196 | 1247197.2615
79 | 2693796.0621 | 1247196.3147 | 2693806.8254 | 1247194.9925
80 | 2693825.2483 | 1247192.7292 | 2693806.8254 | 1247194.9925
81 | 2693826.8374 | 1247118.2026 | 2693819.6289 | 1247138.7436 | 2693820.8533 | 1247150.4916
82 | 2693825.2483 | 1247192.7292 | 2693823.0317 | 1247171.4557 | 2693822.3243 | 1247164.606 | 2693820.8533 | 1247150.4916
83 | 2693638.6779 | 1247068.983 | 2693643.9601 | 1247064.6868
84 | 2693667.3612 | 1247041.3626 | 2693663.7048 | 1247044.7074 | 2693659.8846 | 1247048.3832 | 2693648.8261 | 1247060.7291 | 2693643.9601 | 1247064.6868
85 | 2693667.3612 | 1247041.3626 | 2693672.698 | 1247048.3189 | 2693683.9373 | 1247063.1774
86 | 2693685.0927 | 1247064.7049 | 2693683.9373 | 1247063.1774
87 | 2693685.0927 | 1247064.7049 | 2693702.833 | 1247051.653
88 | 2693685.0927 | 1247064.7049 | 2693686.1931 | 1247066.3952

## bus_geodata
| x | y | coords
0 | 2693733.139 | 1247063.6421
1 | 2693732.4058 | 1247063.9614
2 | 2693762.0442 | 1247045.9734
3 | 2693730.886 | 1247064.6233
4 | 2693791.9411 | 1247057.188
5 | 2693698.3093 | 1247085.0069
6 | 2693790.2624 | 1247036.7681
7 | 2693800.9611 | 1247029.9877
8 | 2693778.6861 | 1247011.6947
9 | 2693806.8831 | 1247069.6449
10 | 2694047.4787 | 1247044.7646
11 | 2694039.1727 | 1247026.6441
12 | 2694055.1601 | 1247068.721
13 | 2694030.2675 | 1247007.9811
14 | 2694089.363 | 1247042.31
15 | 2693997.9057 | 1246995.791
16 | 2693984.4215 | 1247063.772
17 | 2693964.9092 | 1247057.993
18 | 2694077.4524 | 1247018.1298
19 | 2693945.0274 | 1247051.4686
20 | 2693946.9098 | 1247052.1713
21 | 2693923.7942 | 1247043.5421
22 | 2693928.5151 | 1247032.834
23 | 2693912.0485 | 1247040.6641
24 | 2693931.1574 | 1247026.8409
25 | 2693878.1045 | 1247033.0551
26 | 2693908.7819 | 1246990.1713
27 | 2693902.5907 | 1246997.4786
28 | 2693803.555 | 1246997.3532
29 | 2693805.5002 | 1246995.0133
30 | 2693788.9585 | 1247011.7507
31 | 2693809.0497 | 1246990.7434
32 | 2693809.2336 | 1246990.5222
33 | 2693815.8792 | 1247030.9635
34 | 2693761.2594 | 1246980.9047
35 | 2693777.8773 | 1247008.8066
36 | 2693809.3481 | 1247068.0716
37 | 2693837.1547 | 1247104.417
38 | 2693832.2703 | 1247079.8766
39 | 2693841.4714 | 1247082.8511
40 | 2693902.9176 | 1247186.3092
41 | 2693829.4548 | 1247110.7444
42 | 2693848.0995 | 1247030.1002
43 | 2693819.1112 | 1247030.8604
44 | 2693868.8038 | 1247031.9292
45 | 2693888.2239 | 1247017.6471
46 | 2693895.1274 | 1247007.1355
47 | 2693884.5025 | 1247023.3134
48 | 2693898.1678 | 1247002.6989
49 | 2693951.1049 | 1246991.4814
50 | 2693946.1127 | 1246998.987
51 | 2693986.5036 | 1247011.6557
52 | 2693942.6595 | 1247004.4785
53 | 2693937.29 | 1247013.0173
54 | 2693935.3455 | 1247017.3415
55 | 2693885.6313 | 1247099.6424
56 | 2693883.0337 | 1247098.4517
57 | 2693921.4573 | 1247116.0646
58 | 2693922.8624 | 1247116.7086
59 | 2693761.8912 | 1247093.3758
60 | 2693749.7086 | 1247108.0468
61 | 2693737.125 | 1247124.1056
62 | 2693734.7646 | 1247127.1582
63 | 2693717.7866 | 1247153.1888
64 | 2693687.8682 | 1247068.9683
65 | 2693734.4742 | 1247165.6065
66 | 2693706.5376 | 1247142.7142
67 | 2693715.5635 | 1247158.1019
68 | 2693750.3202 | 1247177.399
69 | 2693689.8488 | 1247129.4182
70 | 2693695.3264 | 1247144.1826
71 | 2693695.9988 | 1247158.9934
72 | 2693638.7738 | 1247159.5234
73 | 2693781.2579 | 1247198.5601
74 | 2693789.8196 | 1247197.2615
75 | 2693796.0621 | 1247196.3147
76 | 2693806.8254 | 1247194.9925
77 | 2693820.8533 | 1247150.4916
78 | 2693826.8374 | 1247118.2026
79 | 2693825.2483 | 1247192.7292
80 | 2693912.4278 | 1247202.0829
81 | 2693638.6779 | 1247068.983
82 | 2693643.9601 | 1247064.6868
83 | 2693667.3612 | 1247041.3626
84 | 2693683.9373 | 1247063.1774
85 | 2693685.0927 | 1247064.7049
86 | 2693702.833 | 1247051.653
87 | 2693686.1931 | 1247066.3952
88 | 2693993.813 | 1246993.769
89 | 2693637.3396 | 1247143.1994
90 | 2693848.0995 | 1247030.1002

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98804 | -0.22905 | 0.0084329 | 0.0021135
1 | 0.98802 | -0.22934 | 0.009153 | 0.002294
2 | 0.98895 | -0.21132 | 0 | 0
3 | 0.988 | -0.22968 | 0.0034423 | 0.00086273
4 | 0.98983 | -0.19432 | 0 | 0
5 | 0.98772 | -0.23529 | 0 | 0
6 | 0.99166 | -0.15898 | 0 | 0
7 | 0.99266 | -0.13979 | 0 | 0
8 | 0.99155 | -0.16111 | 0.0014921 | 0.00037396
9 | 0.98724 | -0.24416 | 0.001278 | 0.00032031
10 | 0.98829 | -0.22545 | 0.0093056 | 0.0023322
11 | 0.98855 | -0.22052 | 0.010173 | 0.0025496
12 | 0.98819 | -0.22753 | 0 | 0
13 | 0.989 | -0.21165 | 0.0097334 | 0.0024394
14 | 0.98798 | -0.23151 | 0 | 0
15 | 0.99007 | -0.19086 | 0 | 0
16 | 0.99474 | -0.10091 | 0.0073763 | 0.0018487
17 | 0.99488 | -0.098261 | 0.0084091 | 0.0021075
18 | 0.98787 | -0.23371 | 0.0045641 | 0.0011439
19 | 0.99518 | -0.092277 | 0.0074906 | 0.0018773
20 | 0.99515 | -0.093003 | 0.0047313 | 0.0011858
21 | 0.99576 | -0.081112 | 0 | 0
22 | 0.99506 | -0.094611 | 0.0032536 | 0.00081543
23 | 0.9968 | -0.061238 | 0.0070773 | 0.0017737
24 | 0.99469 | -0.1018 | 0.0027641 | 0.00069275
25 | 1 | 0 | -0.35495 | -0.089957
26 | 0.99926 | -0.014173 | 0.0021847 | 0.00054754
27 | 0.99928 | -0.013807 | 0.0022681 | 0.00056845
28 | 0.99188 | -0.15502 | 0.0019827 | 0.00049692
29 | 0.99183 | -0.15601 | 0.0080363 | 0.0020141
30 | 0.99226 | -0.14762 | 0 | 0
31 | 0.99177 | -0.15702 | 0.0023698 | 0.00059392
32 | 0.99177 | -0.15706 | 0.0079 | 0.0019799
33 | 0.99399 | -0.11433 | 0.0087381 | 0.00219
34 | 0.99146 | -0.16288 | 0.0028234 | 0.00070761
35 | 0.99155 | -0.16126 | 0 | 0
36 | 0.98688 | -0.2513 | 0 | 0
37 | 0.98494 | -0.28889 | 0 | 0
38 | 0.98392 | -0.30866 | 0 | 0
39 | 0.98311 | -0.32448 | 0.036002 | 0.0090229
40 | 0.98451 | -0.29729 | 0 | 0
41 | 0.98456 | -0.29627 | 0.0050911 | 0.0012759
42 | 0.99707 | -0.055558 | 0 | 0
43 | 0.99429 | -0.10863 | 0.0079539 | 0.0019934
44 | 0.99907 | -0.017698 | 0.0083782 | 0.0020998
45 | 0.99951 | -0.009364 | 0.0085109 | 0.002133
46 | 0.99934 | -0.01264 | 0.0081702 | 0.0020477
47 | 0.99966 | -0.0065919 | 0.0089971 | 0.0022549
48 | 0.99931 | -0.013276 | 0.0023067 | 0.0005781
49 | 0.99266 | -0.14076 | 0.0024621 | 0.00061707
50 | 0.99307 | -0.1329 | 0.0021572 | 0.00054064
51 | 0.99091 | -0.17458 | 0.007434 | 0.0018631
52 | 0.99338 | -0.127 | 0.0023253 | 0.00058278
53 | 0.99387 | -0.11743 | 0.0027097 | 0.00067912
54 | 0.99412 | -0.1127 | 0.0030625 | 0.00076754
55 | 0.98069 | -0.37185 | 0.034644 | 0.0086827
56 | 0.98081 | -0.36957 | 0.010693 | 0.0026799
57 | 0.98034 | -0.37862 | 0.0047324 | 0.001186
58 | 0.98034 | -0.37875 | 0.0047321 | 0.001186
59 | 0.9799 | -0.3874 | 0.0025197 | 0.00063149
60 | 0.97994 | -0.38653 | 0.0015196 | 0.00038085
61 | 0.98002 | -0.38504 | 0 | 0
62 | 0.98004 | -0.38475 | 0.0011427 | 0.00028638
63 | 0.98018 | -0.38183 | 0 | 0
64 | 0.98757 | -0.23807 | 0.00070073 | 0.00017562
65 | 0.98046 | -0.37638 | 0 | 0
66 | 0.98011 | -0.38328 | 0 | 0
67 | 0.98016 | -0.38229 | 0 | 0
68 | 0.98073 | -0.3712 | 0.0014186 | 0.00035553
69 | 0.98006 | -0.3843 | 0.002416 | 0.0006055
70 | 0.98009 | -0.38371 | 0.0021224 | 0.00053194
71 | 0.98012 | -0.38307 | 0.0022114 | 0.00055422
72 | 0.97977 | -0.38988 | 0 | 0
73 | 0.98128 | -0.36027 | 0 | 0
74 | 0.98141 | -0.35778 | 0.0027471 | 0.00068848
75 | 0.98152 | -0.35565 | 0 | 0
76 | 0.98171 | -0.352 | 0.0097103 | 0.0024336
77 | 0.9833 | -0.32077 | 0.0036923 | 0.00092539
78 | 0.9843 | -0.3014 | 0.0040628 | 0.0010182
79 | 0.98219 | -0.34249 | 0 | 0
80 | 0.98443 | -0.29877 | 0.0044446 | 0.0011139
81 | 0.98745 | -0.24053 | 0.00067687 | 0.00016964
82 | 0.98745 | -0.24045 | 0.00084566 | 0.00021194
83 | 0.9875 | -0.23955 | 0 | 0
84 | 0.98754 | -0.2388 | 0.00088371 | 0.00022148
85 | 0.98754 | -0.23872 | 0 | 0
86 | 0.98746 | -0.24039 | 0.0042568 | 0.0010668
87 | 0.98755 | -0.23848 | 0.00075189 | 0.00018844
88 | 0.99005 | -0.19131 | 0.0056236 | 0.0014094
89 | 0.97974 | -0.39063 | 0.0025165 | 0.00063069
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.020715 | 0.0051915 | -0.020715 | -0.0051913 | 2.9188e-07 | 1.7656e-07 | 0.031198 | 0.031198 | 0.031198 | 0.98804 | -0.22905 | 0.98802 | -0.22934 | 8.5709
1 | -0.029148 | -0.007305 | 0.029173 | 0.0073203 | 2.4634e-05 | 1.5329e-05 | 0.043898 | 0.043898 | 0.043898 | 0.98804 | -0.22905 | 0.98895 | -0.21132 | 12.0599
2 | 0.011562 | 0.0028973 | -0.011562 | -0.0028972 | 1.8849e-07 | 9.9403e-08 | 0.017413 | 0.017413 | 0.017413 | 0.98802 | -0.22934 | 0.988 | -0.22968 | 4.7838
3 | -0.029173 | -0.0073203 | 0.029197 | 0.007335 | 2.3675e-05 | 1.4731e-05 | 0.043898 | 0.043898 | 0.043898 | 0.98895 | -0.21132 | 0.98983 | -0.19432 | 12.0599
4 | 0.0081196 | 0.0020345 | -0.0081174 | -0.0020336 | 2.1689e-06 | 8.9294e-07 | 0.012229 | 0.012229 | 0.012229 | 0.988 | -0.22968 | 0.98772 | -0.23529 | 3.3595
5 | 0.13872 | 0.035157 | -0.13839 | -0.034945 | 0.00033134 | 0.0002118 | 0.20869 | 0.20869 | 0.20869 | 0.98983 | -0.19432 | 0.98724 | -0.24416 | 57.3311
6 | -0.16792 | -0.042492 | 0.16821 | 0.042674 | 0.00028529 | 0.00018197 | 0.25258 | 0.25258 | 0.25258 | 0.98983 | -0.19432 | 0.99166 | -0.15898 | 34.6954
7 | 0.0081174 | 0.0020336 | -0.0081163 | -0.0020332 | 1.0732e-06 | 4.4195e-07 | 0.012229 | 0.012229 | 0.012229 | 0.98772 | -0.23529 | 0.98757 | -0.23807 | 3.3596
8 | -0.17252 | -0.043755 | 0.17268 | 0.043857 | 0.00015939 | 0.00010168 | 0.25906 | 0.25906 | 0.25906 | 0.99166 | -0.15898 | 0.99266 | -0.13979 | 35.585
9 | 0.0043162 | 0.0010812 | -0.0043158 | -0.0010813 | 4.3687e-07 | -7.8694e-08 | 0.0064764 | 0.0064765 | 0.0064765 | 0.99166 | -0.15898 | 0.99155 | -0.16111 | 1.7793
10 | -0.19299 | -0.048951 | 0.19322 | 0.049102 | 0.00023647 | 0.00015095 | 0.2895 | 0.2895 | 0.2895 | 0.99266 | -0.13979 | 0.99399 | -0.11433 | 39.7662
11 | 0.020305 | 0.0050945 | -0.020297 | -0.0050899 | 7.5795e-06 | 4.569e-06 | 0.030439 | 0.03044 | 0.03044 | 0.99266 | -0.13979 | 0.99226 | -0.14762 | 8.3625
12 | 0.0028236 | 0.00070731 | -0.0028236 | -0.00070733 | 2.0194e-08 | -2.5762e-08 | 0.0042373 | 0.0042373 | 0.0042373 | 0.99155 | -0.16111 | 0.99155 | -0.16126 | 1.1641
13 | 0.13712 | 0.034625 | -0.13707 | -0.034595 | 4.6879e-05 | 2.9965e-05 | 0.20676 | 0.20676 | 0.20676 | 0.98724 | -0.24416 | 0.98688 | -0.2513 | 56.8019
14 | -0.013871 | -0.0034759 | 0.013875 | 0.0034778 | 3.2605e-06 | 1.8313e-06 | 0.020885 | 0.020885 | 0.020885 | 0.98829 | -0.22545 | 0.98855 | -0.22052 | 5.7377
15 | 0.0045659 | 0.0011437 | -0.0045654 | -0.0011438 | 4.5122e-07 | -3.745e-08 | 0.0068743 | 0.0068744 | 0.0068744 | 0.98829 | -0.22545 | 0.98819 | -0.22753 | 1.8886
16 | -0.024048 | -0.0060273 | 0.024058 | 0.0060336 | 1.0161e-05 | 6.2378e-06 | 0.036198 | 0.036198 | 0.036198 | 0.98855 | -0.22052 | 0.989 | -0.21165 | 9.9445
17 | 0.0045654 | 0.0011438 | -0.0045645 | -0.0011438 | 8.6588e-07 | -7.1638e-08 | 0.0068744 | 0.0068747 | 0.0068747 | 0.98819 | -0.22753 | 0.98798 | -0.23151 | 1.8886
18 | -0.033791 | -0.008473 | 0.033825 | 0.008494 | 3.3522e-05 | 2.101e-05 | 0.050842 | 0.050842 | 0.050842 | 0.989 | -0.21165 | 0.99007 | -0.19086 | 13.9677
19 | 0.0045645 | 0.0011438 | -0.0045641 | -0.0011439 | 4.7772e-07 | -3.9395e-08 | 0.0068747 | 0.0068748 | 0.0068748 | 0.98798 | -0.23151 | 0.98787 | -0.23371 | 1.8887
20 | -0.039448 | -0.0099034 | 0.039479 | 0.0099227 | 3.0659e-05 | 1.9322e-05 | 0.059294 | 0.059294 | 0.059294 | 0.99007 | -0.19086 | 0.99091 | -0.17458 | 16.2896
21 | 0.0056237 | 0.0014094 | -0.0056236 | -0.0014094 | 1.22e-07 | 1.9514e-08 | 0.008452 | 0.008452 | 0.008452 | 0.99007 | -0.19086 | 0.99005 | -0.19131 | 2.322
22 | -0.0073763 | -0.0018487 | 0.0073773 | 0.001849 | 9.2938e-07 | 3.3052e-07 | 0.011034 | 0.011034 | 0.011034 | 0.99474 | -0.10091 | 0.99488 | -0.098261 | 3.0314
23 | -0.015786 | -0.0039565 | 0.01579 | 0.0039588 | 3.9554e-06 | 2.2857e-06 | 0.023611 | 0.023611 | 0.023611 | 0.99488 | -0.098261 | 0.99515 | -0.093003 | 6.4867
24 | 0.020522 | 0.005145 | -0.020522 | -0.0051446 | 7.0948e-07 | 4.2796e-07 | 0.030686 | 0.030686 | 0.030686 | 0.99518 | -0.092277 | 0.99515 | -0.093003 | 8.4302
25 | -0.028013 | -0.0070224 | 0.028028 | 0.0070316 | 1.4911e-05 | 9.2486e-06 | 0.041886 | 0.041886 | 0.041886 | 0.99518 | -0.092277 | 0.99576 | -0.081112 | 11.5072
26 | 0.06589 | 0.016635 | -0.065847 | -0.016608 | 4.2582e-05 | 2.71e-05 | 0.098505 | 0.098505 | 0.098505 | 0.99576 | -0.081112 | 0.99506 | -0.094611 | 27.0618
27 | -0.093917 | -0.023666 | 0.094007 | 0.023723 | 8.9381e-05 | 5.7046e-05 | 0.14039 | 0.14039 | 0.14039 | 0.99576 | -0.081112 | 0.9968 | -0.061238 | 38.5689
28 | 0.062593 | 0.015792 | -0.062572 | -0.015778 | 2.1537e-05 | 1.3698e-05 | 0.093639 | 0.093639 | 0.093639 | 0.99506 | -0.094611 | 0.99469 | -0.1018 | 25.7251
29 | -0.10108 | -0.025497 | 0.10138 | 0.025687 | 0.0002973 | 0.00018982 | 0.15096 | 0.15096 | 0.15096 | 0.9968 | -0.061238 | 1 | 0 | 41.4713
30 | 0.059808 | 0.015086 | -0.059777 | -0.015066 | 3.1188e-05 | 1.9826e-05 | 0.089504 | 0.089504 | 0.089504 | 0.99469 | -0.1018 | 0.99412 | -0.1127 | 24.5891
31 | 0.21946 | 0.05613 | -0.21927 | -0.05601 | 0.00018779 | 0.00011994 | 0.32696 | 0.32696 | 0.32696 | 1 | 0 | 0.99907 | -0.017698 | 44.9121
32 | 0.032454 | 0.0081392 | -0.032443 | -0.0081328 | 1.0193e-05 | 6.3709e-06 | 0.048294 | 0.048294 | 0.048294 | 1 | 0 | 0.99966 | -0.0065919 | 13.2675
33 | -0.0021847 | -0.00054754 | 0.0021847 | 0.00054744 | 3.8012e-08 | -1.0114e-07 | 0.0032533 | 0.0032532 | 0.0032533 | 0.99926 | -0.014173 | 0.99928 | -0.013807 | 0.89376
34 | -0.0044529 | -0.0011159 | 0.004453 | 0.0011159 | 1.1281e-07 | -1.7441e-08 | 0.0066307 | 0.0066307 | 0.0066307 | 0.99928 | -0.013807 | 0.99931 | -0.013276 | 1.8216
35 | 0.018307 | 0.0045887 | -0.018307 | -0.0045882 | 8.6077e-07 | 5.1162e-07 | 0.027465 | 0.027465 | 0.027465 | 0.99188 | -0.15502 | 0.99183 | -0.15601 | 7.5454
36 | -0.02029 | -0.0050856 | 0.020297 | 0.0050899 | 7.1577e-06 | 4.3149e-06 | 0.03044 | 0.03044 | 0.03044 | 0.99188 | -0.15502 | 0.99226 | -0.14762 | 8.3625
37 | 0.01027 | 0.0025741 | -0.01027 | -0.0025739 | 4.9436e-07 | 2.4473e-07 | 0.015408 | 0.015408 | 0.015408 | 0.99183 | -0.15601 | 0.99177 | -0.15702 | 4.2331
38 | 0.0079001 | 0.0019799 | -0.0079 | -0.0019799 | 1.5151e-08 | 5.9862e-09 | 0.011853 | 0.011853 | 0.011853 | 0.99177 | -0.15702 | 0.99177 | -0.15706 | 3.2563
39 | -0.20196 | -0.051292 | 0.20202 | 0.051328 | 5.5509e-05 | 3.5442e-05 | 0.30258 | 0.30258 | 0.30258 | 0.99399 | -0.11433 | 0.99429 | -0.10863 | 41.563
40 | -0.0028234 | -0.00070761 | 0.0028236 | 0.00070733 | 2.1867e-07 | -2.789e-07 | 0.0042374 | 0.0042373 | 0.0042374 | 0.99146 | -0.16288 | 0.99155 | -0.16126 | 1.1641
41 | 0.04582 | 0.011554 | -0.045738 | -0.011502 | 8.2291e-05 | 5.2081e-05 | 0.069113 | 0.069113 | 0.069113 | 0.98688 | -0.2513 | 0.98494 | -0.28889 | 18.9872
42 | 0.091248 | 0.02304 | -0.090998 | -0.022881 | 0.00025004 | 0.00015958 | 0.13765 | 0.13765 | 0.13765 | 0.98688 | -0.2513 | 0.98392 | -0.30866 | 37.8148
43 | 0.0044467 | 0.0011137 | -0.0044449 | -0.0011139 | 1.7781e-06 | -1.9861e-07 | 0.0067177 | 0.0067181 | 0.0067181 | 0.98494 | -0.28889 | 0.98451 | -0.29729 | 1.8456
44 | 0.041291 | 0.010389 | -0.041277 | -0.010379 | 1.455e-05 | 9.1854e-06 | 0.062396 | 0.062396 | 0.062396 | 0.98494 | -0.28889 | 0.98456 | -0.29627 | 17.1417
45 | 0.090998 | 0.022881 | -0.09093 | -0.022837 | 6.8704e-05 | 4.3848e-05 | 0.13765 | 0.13765 | 0.13765 | 0.98392 | -0.30866 | 0.98311 | -0.32448 | 37.8148
46 | 0.054928 | 0.013814 | -0.05481 | -0.013739 | 0.00011802 | 7.496e-05 | 0.083154 | 0.083155 | 0.083155 | 0.98311 | -0.32448 | 0.98081 | -0.36957 | 22.8447
47 | 0.0044449 | 0.0011139 | -0.0044446 | -0.0011139 | 3.1349e-07 | -3.4874e-08 | 0.0067181 | 0.0067182 | 0.0067182 | 0.98451 | -0.29729 | 0.98443 | -0.29877 | 1.8457
48 | 0.036186 | 0.0091035 | -0.036177 | -0.0090979 | 8.8691e-06 | 5.5758e-06 | 0.054701 | 0.054701 | 0.054701 | 0.98456 | -0.29627 | 0.9843 | -0.3014 | 15.0279
49 | 0.21051 | 0.053664 | -0.20997 | -0.053321 | 0.00053773 | 0.00034339 | 0.31448 | 0.31448 | 0.31448 | 0.99707 | -0.055558 | 0.99429 | -0.10863 | 43.1981
50 | -0.21051 | -0.053664 | 0.21089 | 0.053911 | 0.00038548 | 0.00024616 | 0.31448 | 0.31448 | 0.31448 | 0.99707 | -0.055558 | 0.99907 | -0.017698 | 43.1981
51 | 0.014932 | 0.003743 | -0.01493 | -0.0037417 | 2.3307e-06 | 1.3268e-06 | 0.022231 | 0.022231 | 0.022231 | 0.99951 | -0.009364 | 0.99934 | -0.01264 | 6.1074
52 | -0.023443 | -0.005876 | 0.023446 | 0.0058779 | 3.0966e-06 | 1.8929e-06 | 0.034901 | 0.034901 | 0.034901 | 0.99951 | -0.009364 | 0.99966 | -0.0065919 | 9.5883
53 | 0.0067599 | 0.001694 | -0.0067597 | -0.001694 | 2.0454e-07 | 6.0368e-08 | 0.010065 | 0.010065 | 0.010065 | 0.99934 | -0.01264 | 0.99931 | -0.013276 | 2.7652
54 | -0.049451 | -0.012451 | 0.04947 | 0.012463 | 1.859e-05 | 1.1781e-05 | 0.074148 | 0.074148 | 0.074148 | 0.99266 | -0.14076 | 0.99307 | -0.1329 | 20.3704
55 | 0.046989 | 0.011834 | -0.046913 | -0.011786 | 7.5849e-05 | 4.8017e-05 | 0.070457 | 0.070457 | 0.070457 | 0.99266 | -0.14076 | 0.99091 | -0.17458 | 19.3565
56 | -0.051627 | -0.013003 | 0.051641 | 0.013013 | 1.4566e-05 | 9.2382e-06 | 0.07738 | 0.07738 | 0.07738 | 0.99307 | -0.1329 | 0.99338 | -0.127 | 21.2583
57 | -0.053967 | -0.013595 | 0.053991 | 0.013611 | 2.4734e-05 | 1.5699e-05 | 0.080863 | 0.080863 | 0.080863 | 0.99338 | -0.127 | 0.99387 | -0.11743 | 22.2152
58 | -0.056701 | -0.01429 | 0.056714 | 0.014298 | 1.2828e-05 | 8.1487e-06 | 0.08492 | 0.08492 | 0.08492 | 0.99387 | -0.11743 | 0.99412 | -0.1127 | 23.3298
59 | -0.044112 | -0.011056 | 0.044117 | 0.011059 | 4.8006e-06 | 3.0363e-06 | 0.066932 | 0.066932 | 0.066932 | 0.98069 | -0.37185 | 0.98081 | -0.36957 | 18.3878
60 | 0.0094675 | 0.0023735 | -0.0094645 | -0.002372 | 3.0499e-06 | 1.4549e-06 | 0.014365 | 0.014366 | 0.014366 | 0.98069 | -0.37185 | 0.98034 | -0.37862 | 3.9466
61 | 0.0047321 | 0.001186 | -0.0047321 | -0.001186 | 2.9904e-08 | -3.5081e-10 | 0.0071826 | 0.0071826 | 0.0071826 | 0.98034 | -0.37862 | 0.98034 | -0.37875 | 1.9732
62 | -0.0025197 | -0.00063149 | 0.0025198 | 0.00063132 | 1.0469e-07 | -1.7323e-07 | 0.0038262 | 0.0038261 | 0.0038262 | 0.9799 | -0.3874 | 0.97994 | -0.38653 | 1.0512
63 | -0.0040394 | -0.0010122 | 0.0040397 | 0.0010121 | 2.8788e-07 | -7.2853e-08 | 0.0061336 | 0.0061336 | 0.0061336 | 0.97994 | -0.38653 | 0.98002 | -0.38504 | 1.6851
64 | -0.0040397 | -0.0010121 | 0.0040398 | 0.0010121 | 5.4437e-08 | -1.3782e-08 | 0.0061336 | 0.0061335 | 0.0061336 | 0.98002 | -0.38504 | 0.98004 | -0.38475 | 1.685
65 | -0.0051824 | -0.0012985 | 0.0051832 | 0.0012985 | 7.2277e-07 | 7.0242e-08 | 0.0078685 | 0.0078684 | 0.0078685 | 0.98004 | -0.38475 | 0.98018 | -0.38183 | 2.1617
66 | -0.014451 | -0.0036187 | 0.014455 | 0.0036208 | 3.7466e-06 | 2.136e-06 | 0.021937 | 0.021937 | 0.021937 | 0.98018 | -0.38183 | 0.98046 | -0.37638 | 6.0267
67 | 0.0045389 | 0.0011371 | -0.0045386 | -0.0011371 | 3.146e-07 | -2.1365e-08 | 0.0068903 | 0.0068904 | 0.0068904 | 0.98018 | -0.38183 | 0.98011 | -0.38328 | 1.893
68 | 0.004729 | 0.0011831 | -0.0047289 | -0.0011831 | 1.042e-07 | -1.2797e-09 | 0.0071783 | 0.0071784 | 0.0071784 | 0.98018 | -0.38183 | 0.98016 | -0.38229 | 1.9721
69 | 0.0074156 | 0.0018576 | -0.0074154 | -0.0018575 | 1.4373e-07 | 5.2704e-08 | 0.011173 | 0.011173 | 0.011173 | 0.98757 | -0.23807 | 0.98755 | -0.23848 | 3.0695
70 | -0.014455 | -0.0036208 | 0.014458 | 0.0036228 | 3.5645e-06 | 2.0321e-06 | 0.021937 | 0.021937 | 0.021937 | 0.98046 | -0.37638 | 0.98073 | -0.3712 | 6.0266
71 | 0.0024161 | 0.00060528 | -0.002416 | -0.0006055 | 1.1778e-07 | -2.1879e-07 | 0.003668 | 0.0036681 | 0.0036681 | 0.98011 | -0.38328 | 0.98006 | -0.3843 | 1.0077
72 | 0.0021225 | 0.00053182 | -0.0021224 | -0.00053194 | 4.39e-08 | -1.1398e-07 | 0.0032223 | 0.0032224 | 0.0032224 | 0.98011 | -0.38328 | 0.98009 | -0.38371 | 0.88527
73 | 0.0022114 | 0.00055403 | -0.0022114 | -0.00055422 | 8.2534e-08 | -1.9328e-07 | 0.0033572 | 0.0033573 | 0.0033573 | 0.98016 | -0.38229 | 0.98012 | -0.38307 | 0.92233
74 | 0.0025175 | 0.00062903 | -0.0025166 | -0.00063054 | 9.0912e-07 | -1.5096e-06 | 0.0038212 | 0.0038219 | 0.0038219 | 0.98016 | -0.38229 | 0.97977 | -0.38988 | 1.05
75 | -0.015877 | -0.0039784 | 0.015885 | 0.0039832 | 8.2741e-06 | 4.8154e-06 | 0.024089 | 0.024089 | 0.024089 | 0.98073 | -0.3712 | 0.98128 | -0.36027 | 6.6179
76 | 0.0025166 | 0.00063054 | -0.0025165 | -0.00063069 | 8.977e-08 | -1.4893e-07 | 0.0038219 | 0.003822 | 0.003822 | 0.97977 | -0.38988 | 0.97974 | -0.39063 | 1.05
77 | -0.015885 | -0.0039832 | 0.015887 | 0.0039843 | 1.8844e-06 | 1.0966e-06 | 0.024089 | 0.024089 | 0.024089 | 0.98128 | -0.36027 | 0.98141 | -0.35778 | 6.6179
78 | -0.018634 | -0.0046728 | 0.018636 | 0.0046739 | 1.8901e-06 | 1.1299e-06 | 0.028254 | 0.028254 | 0.028254 | 0.98141 | -0.35778 | 0.98152 | -0.35565 | 7.7621
79 | -0.018636 | -0.0046739 | 0.018639 | 0.0046758 | 3.2463e-06 | 1.9405e-06 | 0.028254 | 0.028254 | 0.028254 | 0.98152 | -0.35565 | 0.98171 | -0.352 | 7.7621
80 | -0.02835 | -0.0071095 | 0.028362 | 0.0071175 | 1.2853e-05 | 7.9914e-06 | 0.042972 | 0.042972 | 0.042972 | 0.98171 | -0.352 | 0.98219 | -0.34249 | 11.8056
81 | -0.032084 | -0.0080611 | 0.032114 | 0.0080797 | 2.9694e-05 | 1.8578e-05 | 0.04856 | 0.048559 | 0.04856 | 0.9833 | -0.32077 | 0.9843 | -0.3014 | 13.3406
82 | 0.028392 | 0.0071357 | -0.028362 | -0.0071175 | 2.9407e-05 | 1.8282e-05 | 0.042972 | 0.042972 | 0.042972 | 0.9833 | -0.32077 | 0.98219 | -0.34249 | 11.8056
83 | -0.00067687 | -0.00016964 | 0.00067687 | 0.00016955 | 2.6563e-09 | -8.5398e-08 | 0.00102 | 0.00102 | 0.00102 | 0.98745 | -0.24053 | 0.98745 | -0.24045 | 0.28022
84 | -0.0015225 | -0.0003815 | 0.0015226 | 0.00038111 | 6.534e-08 | -3.8167e-07 | 0.0022943 | 0.0022942 | 0.0022943 | 0.98745 | -0.24045 | 0.9875 | -0.23955 | 0.6303
85 | -0.0015226 | -0.00038111 | 0.0015226 | 0.0003808 | 5.4072e-08 | -3.1592e-07 | 0.0022942 | 0.002294 | 0.0022942 | 0.9875 | -0.23955 | 0.98754 | -0.2388 | 0.63026
86 | -0.0024064 | -0.00060228 | 0.0024064 | 0.00060226 | 9.4409e-09 | -1.8462e-08 | 0.0036256 | 0.0036256 | 0.0036256 | 0.98754 | -0.2388 | 0.98754 | -0.23872 | 0.99604
87 | 0.0042571 | 0.0010668 | -0.0042568 | -0.0010668 | 3.3921e-07 | -6.4152e-08 | 0.0064145 | 0.0064146 | 0.0064146 | 0.98754 | -0.23872 | 0.98746 | -0.24039 | 1.7623
88 | -0.0066635 | -0.001669 | 0.0066635 | 0.0016691 | 7.6244e-08 | 2.299e-08 | 0.01004 | 0.01004 | 0.01004 | 0.98754 | -0.23872 | 0.98755 | -0.23848 | 2.7583

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35495 | 0.089957

## res_load
| p_mw | q_mvar
0 | 0.0084329 | 0.0021135
1 | 0.009153 | 0.002294
2 | 0.0034423 | 0.00086273
3 | 0.0014921 | 0.00037396
4 | 0.001278 | 0.00032031
5 | 0.0093056 | 0.0023322
6 | 0.010173 | 0.0025496
7 | 0.0097334 | 0.0024394
8 | 0.0073763 | 0.0018487
9 | 0.0084091 | 0.0021075
10 | 0.0045641 | 0.0011439
11 | 0.0074906 | 0.0018773
12 | 0.0047313 | 0.0011858
13 | 0.0032536 | 0.00081543
14 | 0.0070773 | 0.0017737
15 | 0.0027641 | 0.00069275
16 | 0.0021847 | 0.00054754
17 | 0.0022681 | 0.00056845
18 | 0.0019827 | 0.00049692
19 | 0.0080363 | 0.0020141
20 | 0.0023698 | 0.00059392
21 | 0.0079 | 0.0019799
22 | 0.0087381 | 0.00219
23 | 0.0028234 | 0.00070761
24 | 0.036002 | 0.0090229
25 | 0.0050911 | 0.0012759
26 | 0.0079539 | 0.0019934
27 | 0.0083782 | 0.0020998
28 | 0.0085109 | 0.002133
29 | 0.0081702 | 0.0020477
30 | 0.0089971 | 0.0022549
31 | 0.0023067 | 0.0005781
32 | 0.0024621 | 0.00061707
33 | 0.0021572 | 0.00054064
34 | 0.007434 | 0.0018631
35 | 0.0023253 | 0.00058278
36 | 0.0027097 | 0.00067912
37 | 0.0030625 | 0.00076754
38 | 0.034644 | 0.0086827
39 | 0.010693 | 0.0026799
40 | 0.0047324 | 0.001186
41 | 0.0047321 | 0.001186
42 | 0.0025197 | 0.00063149
43 | 0.0015196 | 0.00038085
44 | 0.0011427 | 0.00028638
45 | 0.00070073 | 0.00017562
46 | 0.0014186 | 0.00035553
47 | 0.002416 | 0.0006055
48 | 0.0021224 | 0.00053194
49 | 0.0022114 | 0.00055422
50 | 0.0027471 | 0.00068848
51 | 0.0097103 | 0.0024336
52 | 0.0036923 | 0.00092539
53 | 0.0040628 | 0.0010182
54 | 0.0044446 | 0.0011139
55 | 0.00067687 | 0.00016964
56 | 0.00084566 | 0.00021194
57 | 0.00088371 | 0.00022148
58 | 0.0042568 | 0.0010668
59 | 0.00075189 | 0.00018844
60 | 0.0056236 | 0.0014094
61 | 0.0025165 | 0.00063069

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1