## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_194-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_194-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_194-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_194-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_194-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_194-8_0_3_node_114 | 0.4 | n |  | TRUE
6 | bus_LV_194-8_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_194-8_0_3_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_194-8_0_3_node_116 | 0.4 | n |  | TRUE
9 | bus_LV_194-8_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_194-8_0_3_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_194-8_0_3_node_115 | 0.4 | n |  | TRUE
12 | bus_LV_194-8_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_194-8_0_3_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_194-8_0_3_node_108 | 0.4 | n |  | TRUE
15 | bus_LV_194-8_0_3_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_194-8_0_3_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_194-8_0_3_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_194-8_0_3_node_106 | 0.4 | n |  | TRUE
19 | bus_LV_194-8_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_194-8_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_194-8_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_194-8_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_194-8_0_3_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_194-8_0_3_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_194-8_0_3_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_194-8_0_3_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_194-8_0_3_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_194-8_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_194-8_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_194-8_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_194-8_0_3_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_194-8_0_3_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_194-8_0_3_node_113 | 0.4 | n |  | TRUE
34 | bus_LV_194-8_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_194-8_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_194-8_0_3_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_194-8_0_3_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_194-8_0_3_node_112 | 0.4 | n |  | TRUE
39 | bus_LV_194-8_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_194-8_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_194-8_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_194-8_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_194-8_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_194-8_0_3_node_118 | 0.4 | n |  | TRUE
45 | bus_LV_194-8_0_3_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_194-8_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_194-8_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_194-8_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_194-8_0_3_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_194-8_0_3_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_194-8_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_194-8_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_194-8_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_194-8_0_3_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_194-8_0_3_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_194-8_0_3_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_194-8_0_3_node_103 | 0.4 | n |  | TRUE
58 | bus_LV_194-8_0_3_node_102 | 0.4 | n |  | TRUE
59 | bus_LV_194-8_0_3_node_104 | 0.4 | n |  | TRUE
60 | bus_LV_194-8_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_194-8_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_194-8_0_3_node_107 | 0.4 | n |  | TRUE
63 | bus_LV_194-8_0_3_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_194-8_0_3_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_194-8_0_3_node_120 | 0.4 | n |  | TRUE
66 | bus_LV_194-8_0_3_node_101 | 0.4 | n |  | TRUE
67 | bus_LV_194-8_0_3_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_194-8_0_3_node_90 | 0.4 | n |  | TRUE
69 | bus_MV_365_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_194-8_0_3_load_0 | 0 | 0.0067162 | 0.0016832 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_194-8_0_3_load_3 | 3 | 0.0020265 | 0.0005079 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_194-8_0_3_load_114 | 5 | 0.00072469 | 0.00018162 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_194-8_0_3_load_116 | 8 | 0.0012296 | 0.00030817 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_194-8_0_3_load_115 | 11 | 0.00054386 | 0.0001363 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_194-8_0_3_load_33 | 13 | 0.0017805 | 0.00044623 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_194-8_0_3_load_108 | 14 | 0.0053578 | 0.0013428 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_194-8_0_3_load_106 | 18 | 0.0042717 | 0.0010706 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_194-8_0_3_load_34 | 19 | 0.0019161 | 0.00048022 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_194-8_0_3_load_28 | 20 | 0.0018237 | 0.00045705 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_194-8_0_3_load_24 | 21 | 0.00094849 | 0.00023771 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_194-8_0_3_load_31 | 22 | 0.0017686 | 0.00044325 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_194-8_0_3_load_8 | 23 | 0.0017131 | 0.00042933 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_194-8_0_3_load_11 | 26 | 0.0010073 | 0.00025246 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_194-8_0_3_load_12 | 27 | 0.001487 | 0.00037267 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_194-8_0_3_load_14 | 29 | 0.0029238 | 0.00073278 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_194-8_0_3_load_29 | 30 | 0.00056092 | 0.00014058 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_194-8_0_3_load_113 | 33 | 0.0051148 | 0.0012819 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_194-8_0_3_load_38 | 34 | 0.00076183 | 0.00019093 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_194-8_0_3_load_35 | 35 | 0.0040452 | 0.0010138 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_194-8_0_3_load_91 | 37 | 0.0041279 | 0.0010345 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_194-8_0_3_load_112 | 38 | 0.0021076 | 0.0005282 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_194-8_0_3_load_21 | 39 | 0.0012481 | 0.00031279 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_194-8_0_3_load_22 | 40 | 0.0014074 | 0.00035274 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_194-8_0_3_load_118 | 44 | 0.0037842 | 0.00094842 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_194-8_0_3_load_88 | 45 | 0.00056753 | 0.00014224 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_194-8_0_3_load_30 | 46 | 0.0044053 | 0.0011041 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_194-8_0_3_load_32 | 47 | 0.0013517 | 0.00033877 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_194-8_0_3_load_36 | 48 | 0.0029679 | 0.00074384 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_194-8_0_3_load_93 | 49 | 0.00076195 | 0.00019096 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_194-8_0_3_load_94 | 50 | 0.0041977 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_194-8_0_3_load_39 | 51 | 0.0009753 | 0.00024443 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_194-8_0_3_load_40 | 52 | 5.51e-05 | 1.3809e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_194-8_0_3_load_105 | 56 | 0.0056331 | 0.0014118 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_194-8_0_3_load_103 | 57 | 0.093563 | 0.023449 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_194-8_0_3_load_102 | 58 | 0.0056319 | 0.0014115 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_194-8_0_3_load_104 | 59 | 0.0045908 | 0.0011506 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_194-8_0_3_load_42 | 60 | 0.00065645 | 0.00016452 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_194-8_0_3_load_43 | 61 | 0.0001685 | 4.2231e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_194-8_0_3_load_107 | 62 | 0.0042716 | 0.0010706 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_194-8_0_3_load_65 | 64 | 0.0053738 | 0.0013468 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_194-8_0_3_load_120 | 65 | 0.0044051 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_194-8_0_3_load_101 | 66 | 0.0056345 | 0.0014121 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_194-8_0_3_load_100 | 67 | 0.0045901 | 0.0011504 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_194-8_0_3_load_90 | 68 | 0.003104 | 0.00077793 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_194-8_0_3_line_0 |  | 0 | 1 | 0.052242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_194-8_0_3_line_1 |  | 0 | 2 | 0.0084529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_194-8_0_3_line_2 |  | 1 | 3 | 0.030607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_194-8_0_3_line_3 |  | 2 | 4 | 0.015458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_194-8_0_3_line_4 |  | 4 | 5 | 0.0029698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_194-8_0_3_line_5 |  | 5 | 11 | 0.001662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_194-8_0_3_line_6 |  | 6 | 7 | 0.037586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_194-8_0_3_line_7 |  | 6 | 8 | 0.010271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_194-8_0_3_line_8 |  | 7 | 14 | 0.012448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_194-8_0_3_line_9 |  | 7 | 15 | 0.23867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_194-8_0_3_line_10 |  | 8 | 19 | 0.00259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_194-8_0_3_line_11 |  | 9 | 10 | 0.037871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_194-8_0_3_line_12 |  | 9 | 11 | 0.029848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_194-8_0_3_line_13 |  | 10 | 20 | 0.02414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_194-8_0_3_line_14 |  | 10 | 21 | 0.022412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_194-8_0_3_line_15 |  | 10 | 12 | 0.047328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_194-8_0_3_line_16 |  | 12 | 13 | 0.0032161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_194-8_0_3_line_17 |  | 13 | 22 | 0.0002266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_194-8_0_3_line_18 |  | 14 | 62 | 0.016507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_194-8_0_3_line_19 |  | 15 | 60 | 0.045383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_194-8_0_3_line_20 |  | 16 | 17 | 0.039631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_194-8_0_3_line_21 |  | 16 | 18 | 0.010007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_194-8_0_3_line_22 |  | 17 | 55 | 0.029476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_194-8_0_3_line_23 |  | 17 | 56 | 0.010646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_194-8_0_3_line_24 |  | 18 | 62 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_194-8_0_3_line_25 |  | 19 | 47 | 4.0846e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_194-8_0_3_line_26 |  | 20 | 30 | 0.0054552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_194-8_0_3_line_27 |  | 21 | 40 | 0.0039929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_194-8_0_3_line_28 |  | 22 | 46 | 0.034352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_194-8_0_3_line_29 |  | 23 | 24 | 0.021827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_194-8_0_3_line_30 |  | 23 | 25 | 0.037007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_194-8_0_3_line_31 |  | 24 | 26 | 0.01441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_194-8_0_3_line_32 |  | 24 | 27 | 0.020733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_194-8_0_3_line_33 |  | 25 | 28 | 0.003757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_194-8_0_3_line_34 |  | 25 | 29 | 0.037161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_194-8_0_3_line_35 |  | 26 | 30 | 0.02981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_194-8_0_3_line_36 |  | 27 | 31 | 0.01219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_194-8_0_3_line_37 |  | 28 | 32 | 0.025856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_194-8_0_3_line_38 |  | 28 | 33 | 0.02825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_194-8_0_3_line_39 |  | 31 | 34 | 0.021511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_194-8_0_3_line_40 |  | 31 | 35 | 0.015036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_194-8_0_3_line_41 |  | 32 | 36 | 0.006036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_194-8_0_3_line_42 |  | 32 | 37 | 0.018194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_194-8_0_3_line_43 |  | 33 | 38 | 0.0022118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_194-8_0_3_line_44 |  | 34 | 49 | 0.0080496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_194-8_0_3_line_45 |  | 35 | 48 | 0.004261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_194-8_0_3_line_46 |  | 36 | 65 | 0.029401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_194-8_0_3_line_47 |  | 36 | 63 | 0.005956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_194-8_0_3_line_48 |  | 37 | 68 | 0.019222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_194-8_0_3_line_49 |  | 39 | 40 | 0.11213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_194-8_0_3_line_50 |  | 39 | 41 | 0.13131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_194-8_0_3_line_51 |  | 41 | 42 | 0.027821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_194-8_0_3_line_52 |  | 41 | 43 | 0.28648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_194-8_0_3_line_53 |  | 42 | 44 | 0.056452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_194-8_0_3_line_54 |  | 43 | 45 | 0.015266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_194-8_0_3_line_55 |  | 46 | 47 | 0.014306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_194-8_0_3_line_56 |  | 49 | 50 | 0.001261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_194-8_0_3_line_57 |  | 51 | 52 | 0.019872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_194-8_0_3_line_58 |  | 52 | 53 | 0.044324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_194-8_0_3_line_59 |  | 53 | 54 | 0.038661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_194-8_0_3_line_60 |  | 54 | 57 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_194-8_0_3_line_61 |  | 55 | 58 | 0.0044928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_194-8_0_3_line_62 |  | 55 | 59 | 0.044216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_194-8_0_3_line_63 |  | 57 | 59 | 0.017777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_194-8_0_3_line_64 |  | 58 | 66 | 0.02079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_194-8_0_3_line_65 |  | 60 | 61 | 0.00042912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_194-8_0_3_line_66 |  | 63 | 64 | 0.033982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_194-8_0_3_line_67 |  | 66 | 67 | 0.021538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_194-8_0_3_trafo_101 | 0.63 MVA 20/0.4 kV | 69 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2693814.0355 | 1246717.0786 | 2693817.7539 | 1246718.8944 | 2693829.9297 | 1246725.7478 | 2693830.8361 | 1246726.2402 | 2693858.9403 | 1246743.7273
1 | 2693866.1173 | 1246748.193 | 2693858.9403 | 1246743.7273
2 | 2693814.0355 | 1246717.0786 | 2693825.9409 | 1246696.6292 | 2693830.1131 | 1246691.0777
3 | 2693879.0522 | 1246756.7153 | 2693866.1173 | 1246748.193
4 | 2693879.0522 | 1246756.7153 | 2693881.5306 | 1246758.3516
5 | 2693881.5306 | 1246758.3516 | 2693882.9176 | 1246759.2673 | 2693882.9176 | 1246759.2673
6 | 2693975.9653 | 1246896.8235 | 2693957.2636 | 1246864.1912
7 | 2693957.2636 | 1246864.1912 | 2693952.1128 | 1246855.3055
8 | 2693975.9653 | 1246896.8235 | 2693977.9274 | 1246895.0532 | 2693987.7319 | 1246894.9405
9 | 2693975.9653 | 1246896.8235 | 2693987.836 | 1246921.9307 | 2694002.2107 | 1246948.7123 | 2694011.2368 | 1246967.8699 | 2694024.6553 | 1246996.3377 | 2694037.4179 | 1247022.8157 | 2694054.1096 | 1247059.2304 | 2694055.1601 | 1247068.721 | 2694066.0543 | 1247067.7263 | 2694065.9983 | 1247063.6446 | 2694070.1263 | 1247056.7715 | 2694073.6939 | 1247048.5662 | 2694080.179 | 1247045.9782 | 2694089.363 | 1247042.31
10 | 2693950.814 | 1246853.0648 | 2693952.1128 | 1246855.3055
11 | 2693899.0334 | 1246783.0294 | 2693911.1781 | 1246780.8645 | 2693918.3828 | 1246780.078 | 2693932.0352 | 1246779.0712 | 2693936.6309 | 1246778.9217
12 | 2693899.0334 | 1246783.0294 | 2693898.099 | 1246778.1109 | 2693896.3801 | 1246773.1132 | 2693892.1692 | 1246766.6194 | 2693882.9176 | 1246759.2673
13 | 2693936.6309 | 1246778.9217 | 2693960.7474 | 1246777.8665
14 | 2693936.6309 | 1246778.9217 | 2693936.3791 | 1246774.3142 | 2693936.5811 | 1246767.2898 | 2693939.3072 | 1246756.8707
15 | 2693924.6648 | 1246807.9543 | 2693920.4457 | 1246800.0703 | 2693918.3828 | 1246780.078 | 2693932.0352 | 1246779.0712 | 2693936.6309 | 1246778.9217
16 | 2693924.6648 | 1246807.9543 | 2693926.2776 | 1246810.7367
17 | 2693926.3913 | 1246810.9327 | 2693926.2776 | 1246810.7367
18 | 2694004.2376 | 1246894.7509 | 2693987.7319 | 1246894.9405
19 | 2694089.363 | 1247042.31 | 2694069.3093 | 1247001.5981
20 | 2694030.3665 | 1246894.4506 | 2694041.385 | 1246884.2175 | 2694049.4589 | 1246876.7287 | 2694041.4871 | 1246871.1203 | 2694041.2834 | 1246867.2919
21 | 2694030.3665 | 1246894.4506 | 2694020.3602 | 1246894.5656
22 | 2694041.2834 | 1246867.2919 | 2694044.8253 | 1246866.8922 | 2694044.6624 | 1246840.981
23 | 2694041.2834 | 1246867.2919 | 2694030.6369 | 1246867.2725
24 | 2694020.3602 | 1246894.5656 | 2694004.2376 | 1246894.7509
25 | 2693950.814 | 1246853.0648 | 2693950.7935 | 1246853.0295
26 | 2693960.7474 | 1246777.8665 | 2693966.1974 | 1246777.628
27 | 2693939.3072 | 1246756.8707 | 2693940.3178 | 1246753.0077
28 | 2693943.6192 | 1246840.6529 | 2693926.3913 | 1246810.9327
29 | 2694009.6322 | 1246770.4163 | 2694025.5762 | 1246764.0198 | 2694029.7198 | 1246761.9147
30 | 2694062.1775 | 1246744.1517 | 2694038.4172 | 1246757.4962 | 2694029.7198 | 1246761.9147
31 | 2694009.6322 | 1246770.4163 | 2693995.7549 | 1246774.2984
32 | 2694009.6322 | 1246770.4163 | 2694016.9079 | 1246789.8309
33 | 2694062.1775 | 1246744.1517 | 2694065.4114 | 1246742.2237
34 | 2694034.3263 | 1246726.7857 | 2694034.8435 | 1246730.8526 | 2694045.4112 | 1246734.7564 | 2694048.6359 | 1246736.2643 | 2694053.9378 | 1246738.7502 | 2694058.0191 | 1246737.2138 | 2694058.9379 | 1246738.8296 | 2694062.1775 | 1246744.1517
35 | 2693995.7549 | 1246774.2984 | 2693993.0058 | 1246775.0675 | 2693977.2966 | 1246777.1423 | 2693966.1974 | 1246777.628
36 | 2694021.1855 | 1246801.2452 | 2694016.9079 | 1246789.8309
37 | 2694088.0569 | 1246729.6289 | 2694065.4114 | 1246742.2237
38 | 2694065.4114 | 1246742.2237 | 2694078.9725 | 1246767.0064
39 | 2694021.1855 | 1246801.2452 | 2694022.3961 | 1246804.4668 | 2694005.4689 | 1246810.7881
40 | 2694021.1855 | 1246801.2452 | 2694035.1432 | 1246795.6529
41 | 2694088.0569 | 1246729.6289 | 2694093.5445 | 1246727.0807
42 | 2694088.0569 | 1246729.6289 | 2694085.3539 | 1246723.8149 | 2694084.6451 | 1246717.5433 | 2694085.2555 | 1246712.4047 | 2694085.3624 | 1246712.128
43 | 2694080.0343 | 1246768.9467 | 2694078.9725 | 1246767.0064
44 | 2693997.928 | 1246813.6042 | 2694005.4689 | 1246810.7881
45 | 2694039.0986 | 1246794.0682 | 2694035.1432 | 1246795.6529
46 | 2694101.4759 | 1246703.8444 | 2694094.6466 | 1246707.1497 | 2694091.5157 | 1246711.1586 | 2694090.2815 | 1246717.0435 | 2694090.3032 | 1246719.9572 | 2694093.5445 | 1246727.0807
47 | 2694099.0145 | 1246724.6879 | 2694093.5445 | 1246727.0807
48 | 2694094.9651 | 1246695.7366 | 2694094.5708 | 1246697.1742 | 2694091.2518 | 1246703.0371 | 2694086.9889 | 1246707.9176 | 2694085.3624 | 1246712.128
49 | 2693940.3178 | 1246753.0077 | 2693941.2776 | 1246749.3394 | 2693945.1444 | 1246729.8859 | 2693950.2379 | 1246703.5799 | 2693953.7987 | 1246686.7457 | 2693957.0364 | 1246675.5218 | 2693963.8941 | 1246660.886 | 2693970.135 | 1246650.855 | 2693971.7973 | 1246646.3068
50 | 2693953.2816 | 1246533.9768 | 2693967.9182 | 1246547.6525 | 2693989.0329 | 1246570.6378 | 2693992.6858 | 1246578.5017 | 2693992.54 | 1246587.2171 | 2693991.0744 | 1246593.8768 | 2693981.4286 | 1246619.9549 | 2693971.7973 | 1246646.3068
51 | 2693937.4756 | 1246556.8995 | 2693947.5205 | 1246542.3364 | 2693953.2816 | 1246533.9768
52 | 2693953.2816 | 1246533.9768 | 2693940.387 | 1246521.9301 | 2694051.8359 | 1246406.0749 | 2694006.6681 | 1246360.4797 | 2694002.8941 | 1246356.4391 | 2694026.0034 | 1246329.9297 | 2694023.4963 | 1246327.944
53 | 2693937.4756 | 1246556.8995 | 2693943.3342 | 1246565.2653 | 2693945.6527 | 1246574.8538 | 2693927.4813 | 1246606.4011
54 | 2694023.4963 | 1246327.944 | 2694008.3142 | 1246329.5452
55 | 2693943.6192 | 1246840.6529 | 2693950.7935 | 1246853.0295
56 | 2693996.7467 | 1246814.0453 | 2693997.928 | 1246813.6042
57 | 2694059.5778 | 1246898.1797 | 2694077.3872 | 1246889.3626
58 | 2694117.1098 | 1246869.6965 | 2694077.3872 | 1246889.3626
59 | 2694109.1308 | 1246850.2662 | 2694100.4261 | 1246854.6537 | 2694103.0923 | 1246859.9222 | 2694110.3783 | 1246856.3907 | 2694117.1098 | 1246869.6965
60 | 2694109.1308 | 1246850.2662 | 2694109.6487 | 1246840.9674 | 2694106.6556 | 1246840.968
61 | 2694044.6624 | 1246840.981 | 2694044.6355 | 1246836.4882
62 | 2694044.6624 | 1246840.981 | 2694088.8782 | 1246840.9717
63 | 2694106.6556 | 1246840.968 | 2694088.8782 | 1246840.9717
64 | 2694046.3791 | 1246817.0678 | 2694045.9799 | 1246836.5096 | 2694044.6355 | 1246836.4882
65 | 2694069.3093 | 1247001.5981 | 2694069.1196 | 1247001.2131 | 2694069.1196 | 1247001.2131
66 | 2694099.0145 | 1246724.6879 | 2694112.1037 | 1246745.8339 | 2694121.1733 | 1246746.7161
67 | 2694065.8249 | 1246815.6529 | 2694065.8249 | 1246815.6529 | 2694055.4442 | 1246815.199 | 2694055.4107 | 1246817.3112 | 2694046.3791 | 1246817.0678 | 2694046.3791 | 1246817.0678

## bus_geodata
| x | y | coords
0 | 2693858.9403 | 1246743.7273
1 | 2693814.0355 | 1246717.0786
2 | 2693866.1173 | 1246748.193
3 | 2693830.1131 | 1246691.0777
4 | 2693879.0522 | 1246756.7153
5 | 2693881.5306 | 1246758.3516
6 | 2693957.2636 | 1246864.1912
7 | 2693975.9653 | 1246896.8235
8 | 2693952.1128 | 1246855.3055
9 | 2693899.0334 | 1246783.0294
10 | 2693936.6309 | 1246778.9217
11 | 2693882.9176 | 1246759.2673
12 | 2693924.6648 | 1246807.9543
13 | 2693926.2776 | 1246810.7367
14 | 2693987.7319 | 1246894.9405
15 | 2694089.363 | 1247042.31
16 | 2694030.3665 | 1246894.4506
17 | 2694041.2834 | 1246867.2919
18 | 2694020.3602 | 1246894.5656
19 | 2693950.814 | 1246853.0648
20 | 2693960.7474 | 1246777.8665
21 | 2693939.3072 | 1246756.8707
22 | 2693926.3913 | 1246810.9327
23 | 2694029.7198 | 1246761.9147
24 | 2694009.6322 | 1246770.4163
25 | 2694062.1775 | 1246744.1517
26 | 2693995.7549 | 1246774.2984
27 | 2694016.9079 | 1246789.8309
28 | 2694065.4114 | 1246742.2237
29 | 2694034.3263 | 1246726.7857
30 | 2693966.1974 | 1246777.628
31 | 2694021.1855 | 1246801.2452
32 | 2694088.0569 | 1246729.6289
33 | 2694078.9725 | 1246767.0064
34 | 2694005.4689 | 1246810.7881
35 | 2694035.1432 | 1246795.6529
36 | 2694093.5445 | 1246727.0807
37 | 2694085.3624 | 1246712.128
38 | 2694080.0343 | 1246768.9467
39 | 2693971.7973 | 1246646.3068
40 | 2693940.3178 | 1246753.0077
41 | 2693953.2816 | 1246533.9768
42 | 2693937.4756 | 1246556.8995
43 | 2694023.4963 | 1246327.944
44 | 2693927.4813 | 1246606.4011
45 | 2694008.3142 | 1246329.5452
46 | 2693943.6192 | 1246840.6529
47 | 2693950.7935 | 1246853.0295
48 | 2694039.0986 | 1246794.0682
49 | 2693997.928 | 1246813.6042
50 | 2693996.7467 | 1246814.0453
51 | 2694059.5778 | 1246898.1797
52 | 2694077.3872 | 1246889.3626
53 | 2694117.1098 | 1246869.6965
54 | 2694109.1308 | 1246850.2662
55 | 2694044.6624 | 1246840.981
56 | 2694030.6369 | 1246867.2725
57 | 2694106.6556 | 1246840.968
58 | 2694044.6355 | 1246836.4882
59 | 2694088.8782 | 1246840.9717
60 | 2694069.3093 | 1247001.5981
61 | 2694069.1196 | 1247001.2131
62 | 2694004.2376 | 1246894.7509
63 | 2694099.0145 | 1246724.6879
64 | 2694121.1733 | 1246746.7161
65 | 2694101.4759 | 1246703.8444
66 | 2694046.3791 | 1246817.0678
67 | 2694065.8249 | 1246815.6529
68 | 2694094.9651 | 1246695.7366
69 | 2694044.6624 | 1246840.981

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97663 | -0.44921 | 0.0067162 | 0.0016832
1 | 0.97654 | -0.45115 | 0 | 0
2 | 0.9767 | -0.44786 | 0 | 0
3 | 0.97648 | -0.45228 | 0.0020265 | 0.0005079
4 | 0.97683 | -0.44539 | 0 | 0
5 | 0.97685 | -0.44492 | 0.00072469 | 0.00018162
6 | 0.9846 | -0.29393 | 0 | 0
7 | 0.98729 | -0.24207 | 0 | 0
8 | 0.98387 | -0.30815 | 0.0012296 | 0.00030817
9 | 0.97714 | -0.43917 | 0 | 0
10 | 0.9775 | -0.43225 | 0 | 0
11 | 0.97687 | -0.44463 | 0.00054386 | 0.0001363
12 | 0.98034 | -0.37673 | 0 | 0
13 | 0.98053 | -0.37297 | 0.0017805 | 0.00044623
14 | 0.98819 | -0.22478 | 0.0053578 | 0.0013428
15 | 0.98711 | -0.24562 | 0 | 0
16 | 0.99163 | -0.15898 | 0 | 0
17 | 0.995 | -0.094791 | 0 | 0
18 | 0.99077 | -0.17525 | 0.0042717 | 0.0010706
19 | 0.98368 | -0.31168 | 0.0019161 | 0.00048022
20 | 0.97645 | -0.45274 | 0.0018237 | 0.00045705
21 | 0.97733 | -0.43551 | 0.00094849 | 0.00023771
22 | 0.98054 | -0.3727 | 0.0017686 | 0.00044325
23 | 0.97383 | -0.50425 | 0.0017131 | 0.00042933
24 | 0.97442 | -0.49267 | 0 | 0
25 | 0.97289 | -0.52274 | 0 | 0
26 | 0.975 | -0.48128 | 0.0010073 | 0.00025246
27 | 0.97414 | -0.49809 | 0.001487 | 0.00037267
28 | 0.97281 | -0.52442 | 0 | 0
29 | 0.97279 | -0.52474 | 0.0029238 | 0.00073278
30 | 0.97622 | -0.4572 | 0.00056092 | 0.00014058
31 | 0.974 | -0.50094 | 0 | 0
32 | 0.9724 | -0.53253 | 0 | 0
33 | 0.97262 | -0.52818 | 0.0051148 | 0.0012819
34 | 0.97389 | -0.5032 | 0.00076183 | 0.00019093
35 | 0.9739 | -0.50288 | 0.0040452 | 0.0010138
36 | 0.97234 | -0.53361 | 0 | 0
37 | 0.97228 | -0.53495 | 0.0041279 | 0.0010345
38 | 0.97261 | -0.52827 | 0.0021076 | 0.0005282
39 | 0.97672 | -0.44752 | 0.0012481 | 0.00031279
40 | 0.9773 | -0.43602 | 0.0014074 | 0.00035274
41 | 0.97619 | -0.458 | 0 | 0
42 | 0.97609 | -0.45993 | 0 | 0
43 | 0.97604 | -0.461 | 0 | 0
44 | 0.97589 | -0.46384 | 0.0037842 | 0.00094842
45 | 0.97603 | -0.46116 | 0.00056753 | 0.00014224
46 | 0.98272 | -0.33042 | 0.0044053 | 0.0011041
47 | 0.98368 | -0.31173 | 0.0013517 | 0.00033877
48 | 0.97389 | -0.50311 | 0.0029679 | 0.00074384
49 | 0.97385 | -0.50394 | 0.00076195 | 0.00019096
50 | 0.97384 | -0.50403 | 0.0041977 | 0.001052
51 | 0.99201 | -0.15335 | 0.0009753 | 0.00024443
52 | 0.99202 | -0.15301 | 5.51e-05 | 1.3809e-05
53 | 0.99207 | -0.1522 | 0 | 0
54 | 0.9921 | -0.15149 | 0 | 0
55 | 0.99766 | -0.044423 | 0 | 0
56 | 0.99494 | -0.095847 | 0.0056331 | 0.0014118
57 | 0.99211 | -0.15127 | 0.093563 | 0.023449
58 | 0.99807 | -0.036696 | 0.0056319 | 0.0014115
59 | 0.99365 | -0.12153 | 0.0045908 | 0.0011506
60 | 0.98708 | -0.24629 | 0.00065645 | 0.00016452
61 | 0.98708 | -0.24629 | 0.0001685 | 4.2231e-05
62 | 0.98947 | -0.20031 | 0.0042716 | 0.0010706
63 | 0.97231 | -0.5342 | 0 | 0
64 | 0.97214 | -0.53757 | 0.0053738 | 0.0013468
65 | 0.97222 | -0.536 | 0.0044051 | 0.001104
66 | 1 | 0 | -0.21099 | -0.053478
67 | 0.99991 | -0.0017234 | 0.0045901 | 0.0011504
68 | 0.97222 | -0.53605 | 0.003104 | 0.00077793
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0020268 | 0.00050705 | -0.0020267 | -0.00050759 | 1.868e-07 | -5.3411e-07 | 0.0030878 | 0.003088 | 0.003088 | 0.97663 | -0.44921 | 0.97654 | -0.45115 | 0.84836
1 | -0.0087431 | -0.0021903 | 0.0087436 | 0.0021905 | 5.6246e-07 | 2.5419e-07 | 0.013321 | 0.013321 | 0.013321 | 0.97663 | -0.44921 | 0.9767 | -0.44786 | 3.6595
2 | 0.0020267 | 0.00050759 | -0.0020265 | -0.0005079 | 1.0946e-07 | -3.1285e-07 | 0.003088 | 0.0030882 | 0.0030882 | 0.97654 | -0.45115 | 0.97648 | -0.45228 | 0.8484
3 | -0.0087436 | -0.0021905 | 0.0087446 | 0.002191 | 1.0286e-06 | 4.6481e-07 | 0.013321 | 0.013321 | 0.013321 | 0.9767 | -0.44786 | 0.97683 | -0.44539 | 3.6595
4 | -0.0087446 | -0.002191 | 0.0087448 | 0.0021911 | 1.9761e-07 | 8.9294e-08 | 0.013321 | 0.013321 | 0.013321 | 0.97683 | -0.44539 | 0.97685 | -0.44492 | 3.6595
5 | -0.0094695 | -0.0023727 | 0.0094697 | 0.0023728 | 1.2968e-07 | 6.2189e-08 | 0.014425 | 0.014425 | 0.014425 | 0.97685 | -0.44492 | 0.97687 | -0.44463 | 3.9628
6 | -0.077563 | -0.019679 | 0.077757 | 0.019803 | 0.00019395 | 0.00012365 | 0.11731 | 0.11731 | 0.11731 | 0.9846 | -0.29393 | 0.98729 | -0.24207 | 32.2269
7 | 0.077563 | 0.019679 | -0.07751 | -0.019645 | 5.2999e-05 | 3.3789e-05 | 0.11731 | 0.11731 | 0.11731 | 0.9846 | -0.29393 | 0.98387 | -0.30815 | 32.227
8 | -0.078582 | -0.020006 | 0.078648 | 0.020048 | 6.5602e-05 | 4.1826e-05 | 0.11855 | 0.11855 | 0.11855 | 0.98729 | -0.24207 | 0.98819 | -0.22478 | 32.5682
9 | 0.00082512 | 0.00020322 | -0.00082498 | -0.00020619 | 1.3826e-07 | -2.9631e-06 | 0.0012423 | 0.0012434 | 0.0012434 | 0.98729 | -0.24207 | 0.98711 | -0.24562 | 0.3416
10 | 0.07628 | 0.019337 | -0.076267 | -0.019329 | 1.2945e-05 | 8.2516e-06 | 0.11545 | 0.11545 | 0.11545 | 0.98387 | -0.30815 | 0.98368 | -0.31168 | 31.716
11 | -0.010016 | -0.0025104 | 0.010019 | 0.002512 | 3.304e-06 | 1.64e-06 | 0.015253 | 0.015253 | 0.015253 | 0.97714 | -0.43917 | 0.9775 | -0.43225 | 4.1903
12 | 0.010016 | 0.0025104 | -0.010014 | -0.0025091 | 2.6041e-06 | 1.2928e-06 | 0.015253 | 0.015253 | 0.015253 | 0.97714 | -0.43917 | 0.97687 | -0.44463 | 4.1904
13 | 0.046673 | 0.011766 | -0.046627 | -0.011737 | 4.5728e-05 | 2.8964e-05 | 0.071074 | 0.071074 | 0.071074 | 0.9775 | -0.43225 | 0.97645 | -0.45274 | 19.5258
14 | 0.0079635 | 0.0019907 | -0.0079623 | -0.0019902 | 1.2347e-06 | 5.0933e-07 | 0.012121 | 0.012121 | 0.012121 | 0.9775 | -0.43225 | 0.97733 | -0.43551 | 3.3299
15 | -0.064656 | -0.016269 | 0.064828 | 0.016378 | 0.00017201 | 0.00010949 | 0.098447 | 0.098447 | 0.098447 | 0.9775 | -0.43225 | 0.98034 | -0.37673 | 27.046
16 | -0.064828 | -0.016378 | 0.06484 | 0.016386 | 1.1689e-05 | 7.4402e-06 | 0.098447 | 0.098447 | 0.098447 | 0.98034 | -0.37673 | 0.98053 | -0.37297 | 27.0459
17 | -0.06662 | -0.016832 | 0.066621 | 0.016832 | 8.6939e-07 | 5.5355e-07 | 0.10115 | 0.10115 | 0.10115 | 0.98053 | -0.37297 | 0.98054 | -0.3727 | 27.7882
18 | -0.084005 | -0.021391 | 0.084105 | 0.021454 | 9.9236e-05 | 6.3299e-05 | 0.12662 | 0.12662 | 0.12662 | 0.98819 | -0.22478 | 0.98947 | -0.20031 | 34.7846
19 | 0.00082498 | 0.00020619 | -0.00082496 | -0.00020675 | 2.6317e-08 | -5.6328e-07 | 0.0012434 | 0.0012436 | 0.0012436 | 0.98711 | -0.24562 | 0.98708 | -0.24629 | 0.34165
20 | -0.092828 | -0.02371 | 0.093117 | 0.023894 | 0.00028902 | 0.00018446 | 0.13946 | 0.13945 | 0.13946 | 0.99163 | -0.15898 | 0.995 | -0.094791 | 38.3118
21 | 0.092828 | 0.02371 | -0.092755 | -0.023663 | 7.298e-05 | 4.6578e-05 | 0.13946 | 0.13946 | 0.13946 | 0.99163 | -0.15898 | 0.99077 | -0.17525 | 38.3118
22 | -0.09875 | -0.025306 | 0.098992 | 0.025461 | 0.00024172 | 0.00015432 | 0.14788 | 0.14788 | 0.14788 | 0.995 | -0.094791 | 0.99766 | -0.044423 | 40.6262
23 | 0.0056334 | 0.0014118 | -0.0056331 | -0.0014118 | 2.8337e-07 | 4.3084e-08 | 0.0084247 | 0.0084248 | 0.0084248 | 0.995 | -0.094791 | 0.99494 | -0.095847 | 2.3145
24 | 0.088483 | 0.022593 | -0.088376 | -0.022525 | 0.00010702 | 6.8284e-05 | 0.13304 | 0.13304 | 0.13304 | 0.99077 | -0.17525 | 0.98947 | -0.20031 | 36.5494
25 | 0.074351 | 0.018849 | -0.074351 | -0.018849 | 1.9402e-07 | 1.2366e-07 | 0.11255 | 0.11255 | 0.11255 | 0.98368 | -0.31168 | 0.98368 | -0.31173 | 30.9198
26 | 0.044804 | 0.01128 | -0.044794 | -0.011274 | 9.5416e-06 | 6.0384e-06 | 0.068295 | 0.068295 | 0.068295 | 0.97645 | -0.45274 | 0.97622 | -0.4572 | 18.7623
27 | 0.0070138 | 0.0017524 | -0.0070136 | -0.0017524 | 1.7069e-07 | 5.9206e-08 | 0.010677 | 0.010677 | 0.010677 | 0.97733 | -0.43551 | 0.9773 | -0.43602 | 2.9332
28 | -0.06839 | -0.017276 | 0.068529 | 0.017364 | 0.00013889 | 8.8453e-05 | 0.10383 | 0.10383 | 0.10383 | 0.98054 | -0.3727 | 0.98272 | -0.33042 | 28.5255
29 | -0.028907 | -0.0072562 | 0.028923 | 0.0072661 | 1.5972e-05 | 9.9504e-06 | 0.044174 | 0.044174 | 0.044174 | 0.97383 | -0.50425 | 0.97442 | -0.49267 | 12.1358
30 | 0.027194 | 0.0068268 | -0.02717 | -0.006812 | 2.3966e-05 | 1.4878e-05 | 0.041557 | 0.041557 | 0.041557 | 0.97383 | -0.50425 | 0.97289 | -0.52274 | 11.4167
31 | -0.043152 | -0.010834 | 0.043175 | 0.010849 | 2.3469e-05 | 1.4841e-05 | 0.065903 | 0.065903 | 0.065903 | 0.97442 | -0.49267 | 0.975 | -0.48128 | 18.1052
32 | 0.014228 | 0.0035676 | -0.014225 | -0.0035656 | 3.6708e-06 | 2.0911e-06 | 0.021729 | 0.021729 | 0.021729 | 0.97442 | -0.49267 | 0.97414 | -0.49809 | 5.9694
33 | 0.024246 | 0.0060795 | -0.024244 | -0.0060783 | 1.9376e-06 | 1.1934e-06 | 0.037085 | 0.037085 | 0.037085 | 0.97289 | -0.52274 | 0.97281 | -0.52442 | 10.1881
34 | 0.0029241 | 0.0007325 | -0.0029238 | -0.00073278 | 2.7873e-07 | -2.8302e-07 | 0.0044722 | 0.0044724 | 0.0044724 | 0.97289 | -0.52274 | 0.97279 | -0.52474 | 1.2287
35 | -0.044182 | -0.011101 | 0.044233 | 0.011133 | 5.0843e-05 | 3.2167e-05 | 0.06744 | 0.06744 | 0.06744 | 0.975 | -0.48128 | 0.97622 | -0.4572 | 18.5275
36 | 0.012738 | 0.0031929 | -0.012736 | -0.0031919 | 1.7306e-06 | 9.5583e-07 | 0.019457 | 0.019457 | 0.019457 | 0.97414 | -0.49809 | 0.974 | -0.50094 | 5.3455
37 | 0.01702 | 0.0042677 | -0.017014 | -0.0042638 | 6.5723e-06 | 3.8854e-06 | 0.026035 | 0.026035 | 0.026035 | 0.97281 | -0.52442 | 0.9724 | -0.53253 | 7.1525
38 | 0.0072237 | 0.0018106 | -0.0072224 | -0.0018101 | 1.2934e-06 | 4.7712e-07 | 0.011049 | 0.01105 | 0.01105 | 0.97281 | -0.52442 | 0.97262 | -0.52818 | 3.0356
39 | 0.0057223 | 0.0014341 | -0.0057217 | -0.0014339 | 6.1648e-07 | 1.2686e-07 | 0.0087421 | 0.0087422 | 0.0087422 | 0.974 | -0.50094 | 0.97389 | -0.5032 | 2.4017
40 | 0.0070139 | 0.0017579 | -0.0070132 | -0.0017576 | 6.4742e-07 | 2.2723e-07 | 0.010715 | 0.010715 | 0.010715 | 0.974 | -0.50094 | 0.9739 | -0.50288 | 2.9438
41 | 0.0097809 | 0.0024512 | -0.0097804 | -0.0024509 | 5.0707e-07 | 2.4965e-07 | 0.014967 | 0.014967 | 0.014967 | 0.9724 | -0.53253 | 0.97234 | -0.53361 | 4.1119
42 | 0.0072328 | 0.0018126 | -0.007232 | -0.0018123 | 8.3582e-07 | 3.0925e-07 | 0.011068 | 0.011068 | 0.011068 | 0.9724 | -0.53253 | 0.97228 | -0.53495 | 3.0407
43 | 0.0021076 | 0.00052818 | -0.0021076 | -0.0005282 | 8.6234e-09 | -2.1931e-08 | 0.0032244 | 0.0032244 | 0.0032244 | 0.97262 | -0.52818 | 0.97261 | -0.52827 | 0.88582
44 | 0.0049598 | 0.001243 | -0.0049597 | -0.001243 | 1.7336e-07 | 1.079e-08 | 0.0075782 | 0.0075782 | 0.0075782 | 0.97389 | -0.5032 | 0.97385 | -0.50394 | 2.0819
45 | 0.002968 | 0.00074381 | -0.0029679 | -0.00074384 | 3.2859e-08 | -3.1991e-08 | 0.0045347 | 0.0045348 | 0.0045348 | 0.9739 | -0.50288 | 0.97389 | -0.50311 | 1.2458
46 | 0.0044056 | 0.001104 | -0.0044051 | -0.001104 | 5.0117e-07 | -4.3889e-08 | 0.006742 | 0.0067421 | 0.0067421 | 0.97234 | -0.53361 | 0.97222 | -0.536 | 1.8522
47 | 0.0053748 | 0.001347 | -0.0053747 | -0.0013469 | 1.5111e-07 | 2.2835e-08 | 0.0082252 | 0.0082253 | 0.0082253 | 0.97234 | -0.53361 | 0.97231 | -0.5342 | 2.2597
48 | 0.0031041 | 0.00077779 | -0.003104 | -0.00077793 | 1.6268e-07 | -1.3426e-07 | 0.0047506 | 0.0047507 | 0.0047507 | 0.97228 | -0.53495 | 0.97222 | -0.53605 | 1.3051
49 | -0.0056031 | -0.0013991 | 0.0056062 | 0.0013996 | 3.0624e-06 | 5.5576e-07 | 0.0085344 | 0.0085339 | 0.0085344 | 0.97672 | -0.44752 | 0.9773 | -0.43602 | 2.3446
50 | 0.0043551 | 0.0010863 | -0.0043529 | -0.0010866 | 2.1667e-06 | -2.5588e-07 | 0.006633 | 0.0066336 | 0.0066336 | 0.97672 | -0.44752 | 0.97619 | -0.458 | 1.8224
51 | 0.0037853 | 0.00094804 | -0.0037849 | -0.00094816 | 3.4731e-07 | -1.255e-07 | 0.0057697 | 0.0057698 | 0.0057698 | 0.97619 | -0.458 | 0.97609 | -0.45993 | 1.5851
52 | 0.00056761 | 0.00013852 | -0.00056753 | -0.00014205 | 8.0293e-08 | -3.5296e-06 | 0.00086389 | 0.00086516 | 0.00086516 | 0.97619 | -0.458 | 0.97604 | -0.461 | 0.23768
53 | 0.0037849 | 0.00094816 | -0.0037842 | -0.00094842 | 7.0478e-07 | -2.5442e-07 | 0.0057698 | 0.0057701 | 0.0057701 | 0.97609 | -0.45993 | 0.97589 | -0.46384 | 1.5852
54 | 0.00056753 | 0.00014205 | -0.00056753 | -0.00014224 | 4.2854e-09 | -1.8806e-07 | 0.00086516 | 0.00086523 | 0.00086523 | 0.97604 | -0.461 | 0.97603 | -0.46116 | 0.2377
55 | -0.072934 | -0.018468 | 0.072999 | 0.01851 | 6.5507e-05 | 4.1743e-05 | 0.1105 | 0.1105 | 0.1105 | 0.98272 | -0.33042 | 0.98368 | -0.31173 | 30.358
56 | 0.0041977 | 0.001052 | -0.0041977 | -0.001052 | 1.9453e-08 | -3.2389e-09 | 0.006414 | 0.006414 | 0.006414 | 0.97385 | -0.50394 | 0.97384 | -0.50403 | 1.7621
57 | -0.0009753 | -0.00024443 | 0.00097531 | 0.00024419 | 1.5948e-08 | -2.4636e-07 | 0.001463 | 0.0014629 | 0.001463 | 0.99201 | -0.15335 | 0.99202 | -0.15301 | 0.40191
58 | -0.0010304 | -0.000258 | 0.0010305 | 0.00025745 | 3.9697e-08 | -5.4688e-07 | 0.0015455 | 0.0015453 | 0.0015455 | 0.99202 | -0.15301 | 0.99207 | -0.1522 | 0.42459
59 | -0.0010305 | -0.00025745 | 0.0010305 | 0.00025697 | 3.4617e-08 | -4.7705e-07 | 0.0015453 | 0.0015451 | 0.0015453 | 0.99207 | -0.1522 | 0.9921 | -0.15149 | 0.42453
60 | -0.0010305 | -0.00025697 | 0.0010305 | 0.00025682 | 1.1017e-08 | -1.5186e-07 | 0.0015451 | 0.0015451 | 0.0015451 | 0.9921 | -0.15149 | 0.99211 | -0.15127 | 0.42449
61 | -0.19868 | -0.050637 | 0.19875 | 0.050684 | 7.4121e-05 | 4.732e-05 | 0.29663 | 0.29663 | 0.29663 | 0.99766 | -0.044423 | 0.99807 | -0.036696 | 40.7456
62 | 0.099685 | 0.025176 | -0.099318 | -0.024942 | 0.00036688 | 0.00023423 | 0.14875 | 0.14875 | 0.14875 | 0.99766 | -0.044423 | 0.99365 | -0.12153 | 40.8652
63 | -0.094593 | -0.023706 | 0.094727 | 0.023792 | 0.00013419 | 8.5649e-05 | 0.14187 | 0.14187 | 0.14187 | 0.99211 | -0.15127 | 0.99365 | -0.12153 | 38.9765
64 | -0.20438 | -0.052096 | 0.20475 | 0.052327 | 0.00036269 | 0.00023158 | 0.30502 | 0.30502 | 0.30502 | 0.99807 | -0.036696 | 1 | 0 | 41.899
65 | 0.0001685 | 4.2225e-05 | -0.0001685 | -4.2231e-05 | 1.0146e-11 | -5.4786e-09 | 0.00025402 | 0.00025402 | 0.00025402 | 0.98708 | -0.24629 | 0.98708 | -0.24629 | 0.069785
66 | 0.0053747 | 0.0013469 | -0.0053738 | -0.0013468 | 8.6215e-07 | 1.3038e-07 | 0.0082253 | 0.0082254 | 0.0082254 | 0.97231 | -0.5342 | 0.97214 | -0.53757 | 2.2597
67 | 0.0045904 | 0.0011503 | -0.0045901 | -0.0011504 | 3.7684e-07 | -4.1358e-08 | 0.0068306 | 0.0068307 | 0.0068307 | 1 | 0 | 0.99991 | -0.0017234 | 1.8766

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.21662 | 0.05489

## res_load
| p_mw | q_mvar
0 | 0.0067162 | 0.0016832
1 | 0.0020265 | 0.0005079
2 | 0.00072469 | 0.00018162
3 | 0.0012296 | 0.00030817
4 | 0.00054386 | 0.0001363
5 | 0.0017805 | 0.00044623
6 | 0.0053578 | 0.0013428
7 | 0.0042717 | 0.0010706
8 | 0.0019161 | 0.00048022
9 | 0.0018237 | 0.00045705
10 | 0.00094849 | 0.00023771
11 | 0.0017686 | 0.00044325
12 | 0.0017131 | 0.00042933
13 | 0.0010073 | 0.00025246
14 | 0.001487 | 0.00037267
15 | 0.0029238 | 0.00073278
16 | 0.00056092 | 0.00014058
17 | 0.0051148 | 0.0012819
18 | 0.00076183 | 0.00019093
19 | 0.0040452 | 0.0010138
20 | 0.0041279 | 0.0010345
21 | 0.0021076 | 0.0005282
22 | 0.0012481 | 0.00031279
23 | 0.0014074 | 0.00035274
24 | 0.0037842 | 0.00094842
25 | 0.00056753 | 0.00014224
26 | 0.0044053 | 0.0011041
27 | 0.0013517 | 0.00033877
28 | 0.0029679 | 0.00074384
29 | 0.00076195 | 0.00019096
30 | 0.0041977 | 0.001052
31 | 0.0009753 | 0.00024443
32 | 5.51e-05 | 1.3809e-05
33 | 0.0056331 | 0.0014118
34 | 0.093563 | 0.023449
35 | 0.0056319 | 0.0014115
36 | 0.0045908 | 0.0011506
37 | 0.00065645 | 0.00016452
38 | 0.0001685 | 4.2231e-05
39 | 0.0042716 | 0.0010706
40 | 0.0053738 | 0.0013468
41 | 0.0044051 | 0.001104
42 | 0.0056345 | 0.0014121
43 | 0.0045901 | 0.0011504
44 | 0.003104 | 0.00077793

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1