## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_194-8_1_3_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_194-8_1_3_node_16 | 0.4 | n |  | TRUE
2 | bus_LV_194-8_1_3_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_194-8_1_3_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_194-8_1_3_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_194-8_1_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_194-8_1_3_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_194-8_1_3_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_194-8_1_3_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_194-8_1_3_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_194-8_1_3_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_194-8_1_3_node_119 | 0.4 | n |  | TRUE
12 | bus_LV_194-8_1_3_node_87 | 0.4 | n |  | TRUE
13 | bus_LV_194-8_1_3_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_194-8_1_3_node_86 | 0.4 | n |  | TRUE
15 | bus_LV_194-8_1_3_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_194-8_1_3_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_194-8_1_3_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_194-8_1_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_194-8_1_3_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_194-8_1_3_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_194-8_1_3_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_194-8_1_3_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_194-8_1_3_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_194-8_1_3_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_194-8_1_3_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_194-8_1_3_node_83 | 0.4 | n |  | TRUE
27 | bus_LV_194-8_1_3_node_96 | 0.4 | n |  | TRUE
28 | bus_LV_194-8_1_3_node_117 | 0.4 | n |  | TRUE
29 | bus_LV_194-8_1_3_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_194-8_1_3_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_194-8_1_3_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_194-8_1_3_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_194-8_1_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_194-8_1_3_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_194-8_1_3_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_194-8_1_3_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_194-8_1_3_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_194-8_1_3_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_194-8_1_3_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_194-8_1_3_node_110 | 0.4 | n |  | TRUE
41 | bus_LV_194-8_1_3_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_194-8_1_3_node_98 | 0.4 | n |  | TRUE
43 | bus_LV_194-8_1_3_node_109 | 0.4 | n |  | TRUE
44 | bus_LV_194-8_1_3_node_111 | 0.4 | n |  | TRUE
45 | bus_MV_365_0_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_194-8_1_3_load_15 | 0 | 0.010153 | 0.0025445 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_194-8_1_3_load_19 | 4 | 0.013948 | 0.0034958 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_194-8_1_3_load_75 | 6 | 0.0092449 | 0.002317 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_194-8_1_3_load_70 | 7 | 0.0024148 | 0.00060521 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_194-8_1_3_load_60 | 8 | 0.0022798 | 0.00057138 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_194-8_1_3_load_61 | 9 | 0.0025819 | 0.00064708 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_194-8_1_3_load_119 | 11 | 0.0017956 | 0.00045002 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_194-8_1_3_load_86 | 14 | 0.002378 | 0.00059598 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_194-8_1_3_load_73 | 17 | 0.0010327 | 0.00025881 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_194-8_1_3_load_51 | 18 | 0.0010623 | 0.00026625 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_194-8_1_3_load_52 | 19 | 0.001089 | 0.00027294 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_194-8_1_3_load_55 | 22 | 0.0013186 | 0.00033048 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_194-8_1_3_load_58 | 24 | 0.001298 | 0.00032531 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_194-8_1_3_load_96 | 27 | 0.0050941 | 0.0012767 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_194-8_1_3_load_117 | 28 | 0.014917 | 0.0037386 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_194-8_1_3_load_59 | 29 | 0.0013026 | 0.00032646 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_194-8_1_3_load_67 | 30 | 0.0029901 | 0.00074939 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_194-8_1_3_load_68 | 31 | 0.0028408 | 0.00071197 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_194-8_1_3_load_69 | 32 | 0.0030133 | 0.00075522 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_194-8_1_3_load_71 | 33 | 0.003682 | 0.0009228 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_194-8_1_3_load_74 | 35 | 0.0079754 | 0.0019988 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_194-8_1_3_load_95 | 38 | 0.0040775 | 0.0010219 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_194-8_1_3_load_84 | 39 | 0.0050924 | 0.0012763 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_194-8_1_3_load_110 | 40 | 0.00050902 | 0.00012757 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_194-8_1_3_load_97 | 41 | 0.0050779 | 0.0012726 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_194-8_1_3_load_98 | 42 | 0.004835 | 0.0012118 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_194-8_1_3_load_109 | 43 | 0.00034623 | 8.6774e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_194-8_1_3_load_111 | 44 | 0.05872 | 0.014717 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_194-8_1_3_line_0 |  | 0 | 1 | 0.018252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_194-8_1_3_line_1 |  | 0 | 2 | 0.028574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_194-8_1_3_line_2 |  | 1 | 3 | 0.034628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_194-8_1_3_line_3 |  | 1 | 4 | 0.028363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_194-8_1_3_line_4 |  | 2 | 5 | 0.018902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_194-8_1_3_line_5 |  | 3 | 6 | 0.015815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_194-8_1_3_line_6 |  | 4 | 7 | 0.016137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_194-8_1_3_line_7 |  | 5 | 8 | 0.010275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_194-8_1_3_line_8 |  | 5 | 9 | 0.024787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_194-8_1_3_line_9 |  | 6 | 35 | 0.020538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_194-8_1_3_line_10 |  | 7 | 31 | 0.02452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_194-8_1_3_line_11 |  | 8 | 29 | 0.03386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_194-8_1_3_line_12 |  | 10 | 11 | 0.010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_194-8_1_3_line_13 |  | 10 | 12 | 0.040757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_194-8_1_3_line_14 |  | 12 | 40 | 0.036745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_194-8_1_3_line_15 |  | 12 | 13 | 0.051491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_194-8_1_3_line_16 |  | 13 | 14 | 0.069072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_194-8_1_3_line_17 |  | 14 | 16 | 0.0043518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_194-8_1_3_line_18 |  | 15 | 16 | 0.082914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_194-8_1_3_line_19 |  | 15 | 17 | 0.019705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_194-8_1_3_line_20 |  | 17 | 34 | 0.060636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_194-8_1_3_line_21 |  | 18 | 19 | 0.010048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_194-8_1_3_line_22 |  | 18 | 20 | 0.0011527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_194-8_1_3_line_23 |  | 19 | 21 | 0.0042901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_194-8_1_3_line_24 |  | 20 | 22 | 0.024188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_194-8_1_3_line_25 |  | 21 | 23 | 0.009977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_194-8_1_3_line_26 |  | 21 | 24 | 0.02362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_194-8_1_3_line_27 |  | 23 | 28 | 0.021247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_194-8_1_3_line_28 |  | 24 | 29 | 0.011913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_194-8_1_3_line_29 |  | 25 | 26 | 0.027632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_194-8_1_3_line_30 |  | 25 | 27 | 0.012705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_194-8_1_3_line_31 |  | 26 | 39 | 0.025091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_194-8_1_3_line_32 |  | 26 | 36 | 0.027585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_194-8_1_3_line_33 |  | 27 | 41 | 0.0086593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_194-8_1_3_line_34 |  | 30 | 31 | 0.037653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_194-8_1_3_line_35 |  | 30 | 32 | 0.0016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_194-8_1_3_line_36 |  | 32 | 33 | 0.022299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_194-8_1_3_line_37 |  | 33 | 34 | 0.026107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_194-8_1_3_line_38 |  | 35 | 36 | 0.020683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_194-8_1_3_line_39 |  | 36 | 37 | 0.044029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_194-8_1_3_line_40 |  | 37 | 38 | 0.020959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_194-8_1_3_line_41 |  | 40 | 43 | 0.0086461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_194-8_1_3_line_42 |  | 41 | 42 | 0.013948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_194-8_1_3_line_43 |  | 43 | 44 | 0.018642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_194-8_1_3_trafo_77 | 0.63 MVA 20/0.4 kV | 45 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2694282.3609 | 1246761.0162 | 2694281.436 | 1246757.421 | 2694280.2244 | 1246753.3208 | 2694279.7147 | 1246748.32 | 2694279.3303 | 1246743.0963
1 | 2694271.6935 | 1246715.89 | 2694277.211 | 1246728.087 | 2694278.8202 | 1246736.1632 | 2694279.3303 | 1246743.0963
2 | 2694282.3609 | 1246761.0162 | 2694264.82 | 1246767.0976 | 2694256.5589 | 1246777.7744 | 2694256.2681 | 1246780.3829
3 | 2694282.3609 | 1246761.0162 | 2694287.4268 | 1246771.2045 | 2694292.5875 | 1246782.5507 | 2694293.6848 | 1246786.9355
4 | 2694263.8913 | 1246698.664 | 2694271.6935 | 1246715.89
5 | 2694256.2681 | 1246780.3829 | 2694248.2246 | 1246785.4589 | 2694242.0606 | 1246786.7798
6 | 2694297.6024 | 1246802.5902 | 2694293.6848 | 1246786.9355
7 | 2694263.8913 | 1246698.664 | 2694254.1999 | 1246702.0767
8 | 2694263.8913 | 1246698.664 | 2694271.9474 | 1246695.1783 | 2694285.8261 | 1246687.1979
9 | 2694221.9787 | 1246791.0833 | 2694242.0606 | 1246786.7798
10 | 2694284.4179 | 1246817.5007 | 2694283.0619 | 1246816.2027 | 2694284.4309 | 1246808.5075 | 2694292.985 | 1246806.4753 | 2694297.6024 | 1246802.5902 | 2694297.6024 | 1246802.5902
11 | 2694254.1999 | 1246702.0767 | 2694247.0021 | 1246704.6112 | 2694226.5571 | 1246708.9675 | 2694221.2705 | 1246709.6101
12 | 2694122.6059 | 1247025.9473 | 2694117.9608 | 1247016.3774
13 | 2694122.6059 | 1247025.9473 | 2694141.2209 | 1247013.5444 | 2694154.9249 | 1247001.1747
14 | 2694154.9249 | 1247001.1747 | 2694147.5332 | 1246988.0696 | 2694148.8611 | 1246973.9132 | 2694145.5512 | 1246967.2051
15 | 2694154.9249 | 1247001.1747 | 2694159.0025 | 1246997.4922 | 2694174.9325 | 1246979.5871 | 2694187.6062 | 1246965.5109 | 2694189.5942 | 1246963.0629
16 | 2694189.5942 | 1246963.0629 | 2694212.8136 | 1246931.4409 | 2694219.4506 | 1246918.8367 | 2694225.4032 | 1246904.4215
17 | 2694227.0642 | 1246900.3992 | 2694225.4032 | 1246904.4215
18 | 2694227.0642 | 1246900.3992 | 2694236.1632 | 1246878.3492 | 2694239.073 | 1246879.2183 | 2694250.4779 | 1246873.2172 | 2694274.1015 | 1246909.309
19 | 2694274.1015 | 1246909.309 | 2694290.2024 | 1246900.1691 | 2694291.2767 | 1246899.6544
20 | 2694347.7946 | 1246878.1683 | 2694333.9739 | 1246881.6844 | 2694311.3583 | 1246890.0311 | 2694291.2767 | 1246899.6544
21 | 2694171.4747 | 1246711.564 | 2694181.5225 | 1246711.4568
22 | 2694170.3221 | 1246711.5763 | 2694171.4747 | 1246711.564
23 | 2694185.8123 | 1246711.4111 | 2694181.5225 | 1246711.4568
24 | 2694170.3221 | 1246711.5763 | 2694166.7301 | 1246711.7861 | 2694146.6291 | 1246713.0457 | 2694146.185 | 1246713.1133
25 | 2694186.3566 | 1246721.3717 | 2694185.8123 | 1246711.4111
26 | 2694185.8123 | 1246711.4111 | 2694209.4242 | 1246710.776
27 | 2694186.3566 | 1246721.3717 | 2694192.5775 | 1246721.1704 | 2694205.0058 | 1246729.6965
28 | 2694209.4242 | 1246710.776 | 2694212.3188 | 1246710.6982 | 2694221.2705 | 1246709.6101
29 | 2694182.848 | 1246749.6153 | 2694188.1663 | 1246776.7315
30 | 2694182.848 | 1246749.6153 | 2694170.2105 | 1246748.3103
31 | 2694188.1663 | 1246776.7315 | 2694186.1072 | 1246785.55 | 2694181.6202 | 1246794.0741 | 2694176.0477 | 1246797.2255
32 | 2694201.7551 | 1246795.4171 | 2694199.1298 | 1246789.0039 | 2694194.8599 | 1246775.7816 | 2694188.1663 | 1246776.7315
33 | 2694170.2105 | 1246748.3103 | 2694161.597 | 1246747.4209
34 | 2694311.6179 | 1246843.538 | 2694284.4179 | 1246817.5007
35 | 2694311.6179 | 1246843.538 | 2694312.8275 | 1246844.6959
36 | 2694328.9355 | 1246860.1154 | 2694312.8275 | 1246844.6959
37 | 2694347.7946 | 1246878.1683 | 2694328.9355 | 1246860.1154
38 | 2694201.7551 | 1246795.4171 | 2694221.9787 | 1246791.0833
39 | 2694201.7551 | 1246795.4171 | 2694212.5728 | 1246821.6089 | 2694223.7219 | 1246832.65
40 | 2694223.7219 | 1246832.65 | 2694241.0687 | 1246820.8867
41 | 2694141.7253 | 1246959.4515 | 2694145.5512 | 1246967.2051
42 | 2694147.7226 | 1246745.9882 | 2694161.597 | 1246747.4209
43 | 2694133.4766 | 1246942.7342 | 2694141.7253 | 1246959.4515

## bus_geodata
| x | y | coords
0 | 2694279.3303 | 1246743.0963
1 | 2694282.3609 | 1246761.0162
2 | 2694271.6935 | 1246715.89
3 | 2694256.2681 | 1246780.3829
4 | 2694293.6848 | 1246786.9355
5 | 2694263.8913 | 1246698.664
6 | 2694242.0606 | 1246786.7798
7 | 2694297.6024 | 1246802.5902
8 | 2694254.1999 | 1246702.0767
9 | 2694285.8261 | 1246687.1979
10 | 2694122.6059 | 1247025.9473
11 | 2694117.9608 | 1247016.3774
12 | 2694154.9249 | 1247001.1747
13 | 2694189.5942 | 1246963.0629
14 | 2694225.4032 | 1246904.4215
15 | 2694274.1015 | 1246909.309
16 | 2694227.0642 | 1246900.3992
17 | 2694291.2767 | 1246899.6544
18 | 2694171.4747 | 1246711.564
19 | 2694181.5225 | 1246711.4568
20 | 2694170.3221 | 1246711.5763
21 | 2694185.8123 | 1246711.4111
22 | 2694146.185 | 1246713.1133
23 | 2694186.3566 | 1246721.3717
24 | 2694209.4242 | 1246710.776
25 | 2694182.848 | 1246749.6153
26 | 2694188.1663 | 1246776.7315
27 | 2694170.2105 | 1246748.3103
28 | 2694205.0058 | 1246729.6965
29 | 2694221.2705 | 1246709.6101
30 | 2694311.6179 | 1246843.538
31 | 2694284.4179 | 1246817.5007
32 | 2694312.8275 | 1246844.6959
33 | 2694328.9355 | 1246860.1154
34 | 2694347.7946 | 1246878.1683
35 | 2694221.9787 | 1246791.0833
36 | 2694201.7551 | 1246795.4171
37 | 2694223.7219 | 1246832.65
38 | 2694241.0687 | 1246820.8867
39 | 2694176.0477 | 1246797.2255
40 | 2694145.5512 | 1246967.2051
41 | 2694161.597 | 1246747.4209
42 | 2694147.7226 | 1246745.9882
43 | 2694141.7253 | 1246959.4515
44 | 2694133.4766 | 1246942.7342
45 | 2694212.5728 | 1246821.6089

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99025 | -0.18574 | 0.010153 | 0.0025445
1 | 0.99085 | -0.17406 | 0 | 0
2 | 0.98957 | -0.19888 | 0 | 0
3 | 0.99293 | -0.13428 | 0 | 0
4 | 0.98962 | -0.19768 | 0.013948 | 0.0034958
5 | 0.98912 | -0.20758 | 0 | 0
6 | 0.99388 | -0.11616 | 0.0092449 | 0.002317
7 | 0.98902 | -0.20914 | 0.0024148 | 0.00060521
8 | 0.9889 | -0.21184 | 0.0022798 | 0.00057138
9 | 0.98907 | -0.20872 | 0.0025819 | 0.00064708
10 | 0.97526 | -0.47564 | 0 | 0
11 | 0.97524 | -0.47599 | 0.0017956 | 0.00045002
12 | 0.97533 | -0.4743 | 0 | 0
13 | 0.97828 | -0.41657 | 0 | 0
14 | 0.98026 | -0.37804 | 0.002378 | 0.00059598
15 | 0.98285 | -0.32771 | 0 | 0
16 | 0.98039 | -0.37553 | 0 | 0
17 | 0.98344 | -0.31638 | 0.0010327 | 0.00025881
18 | 0.9876 | -0.23716 | 0.0010623 | 0.00026625
19 | 0.98762 | -0.23673 | 0.001089 | 0.00027294
20 | 0.9876 | -0.23719 | 0 | 0
21 | 0.98764 | -0.23646 | 0 | 0
22 | 0.98757 | -0.23776 | 0.0013186 | 0.00033048
23 | 0.9875 | -0.23912 | 0 | 0
24 | 0.98804 | -0.22871 | 0.001298 | 0.00032531
25 | 0.99572 | -0.081337 | 0 | 0
26 | 0.9961 | -0.074049 | 0 | 0
27 | 0.99555 | -0.084689 | 0.0050941 | 0.0012767
28 | 0.98721 | -0.24479 | 0.014917 | 0.0037386
29 | 0.98825 | -0.22452 | 0.0013026 | 0.00032646
30 | 0.98683 | -0.25112 | 0.0029901 | 0.00074939
31 | 0.98814 | -0.22605 | 0.0028408 | 0.00071197
32 | 0.98678 | -0.25219 | 0.0030133 | 0.00075522
33 | 0.98606 | -0.26587 | 0.003682 | 0.0009228
34 | 0.98527 | -0.28104 | 0 | 0
35 | 0.9952 | -0.091016 | 0.0079754 | 0.0019988
36 | 0.99661 | -0.064313 | 0 | 0
37 | 1 | 0 | -0.17527 | -0.044485
38 | 0.99992 | -0.0014898 | 0.0040775 | 0.0010219
39 | 0.99599 | -0.076294 | 0.0050924 | 0.0012763
40 | 0.97329 | -0.51449 | 0.00050902 | 0.00012757
41 | 0.99547 | -0.086199 | 0.0050779 | 0.0012726
42 | 0.99541 | -0.087385 | 0.004835 | 0.0012118
43 | 0.97281 | -0.52389 | 0.00034623 | 8.6774e-05
44 | 0.97179 | -0.54407 | 0.05872 | 0.014717
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.036064 | -0.0090595 | 0.036084 | 0.0090721 | 2.0106e-05 | 1.2633e-05 | 0.054199 | 0.054199 | 0.054199 | 0.99025 | -0.18574 | 0.99085 | -0.17406 | 14.8899
1 | 0.025911 | 0.0065149 | -0.025895 | -0.0065049 | 1.625e-05 | 1.0033e-05 | 0.038943 | 0.038943 | 0.038943 | 0.99025 | -0.18574 | 0.98957 | -0.19888 | 10.6987
2 | -0.13095 | -0.033299 | 0.1312 | 0.033459 | 0.00025152 | 0.00016008 | 0.19682 | 0.19682 | 0.19682 | 0.99085 | -0.17406 | 0.99293 | -0.13428 | 27.0357
3 | 0.094862 | 0.024227 | -0.094754 | -0.024158 | 0.00010817 | 6.8501e-05 | 0.14262 | 0.14262 | 0.14262 | 0.99085 | -0.17406 | 0.98962 | -0.19768 | 19.5909
4 | 0.025895 | 0.0065049 | -0.025884 | -0.0064983 | 1.075e-05 | 6.6372e-06 | 0.038943 | 0.038943 | 0.038943 | 0.98957 | -0.19888 | 0.98912 | -0.20758 | 10.6987
5 | -0.1312 | -0.033459 | 0.13131 | 0.033532 | 0.00011487 | 7.3108e-05 | 0.19682 | 0.19682 | 0.19682 | 0.99293 | -0.13428 | 0.99388 | -0.11616 | 27.0357
6 | 0.080806 | 0.020662 | -0.080761 | -0.020634 | 4.4777e-05 | 2.8243e-05 | 0.12165 | 0.12165 | 0.12165 | 0.98962 | -0.19768 | 0.98902 | -0.20914 | 16.71
7 | 0.023302 | 0.0058514 | -0.023297 | -0.0058485 | 4.7359e-06 | 2.8991e-06 | 0.035059 | 0.035059 | 0.035059 | 0.98912 | -0.20758 | 0.9889 | -0.21184 | 9.6316
8 | 0.002582 | 0.00064685 | -0.0025819 | -0.00064708 | 1.4025e-07 | -2.2838e-07 | 0.0038843 | 0.0038844 | 0.0038844 | 0.98912 | -0.20758 | 0.98907 | -0.20872 | 1.0671
9 | -0.14056 | -0.035849 | 0.14073 | 0.035958 | 0.00017089 | 0.00010884 | 0.21066 | 0.21066 | 0.21066 | 0.99388 | -0.11616 | 0.9952 | -0.091016 | 28.9369
10 | 0.078346 | 0.020029 | -0.078282 | -0.019988 | 6.4032e-05 | 4.0352e-05 | 0.11802 | 0.11802 | 0.11802 | 0.98902 | -0.20914 | 0.98814 | -0.22605 | 16.211
11 | 0.021017 | 0.0052771 | -0.021005 | -0.0052694 | 1.2702e-05 | 7.6954e-06 | 0.031629 | 0.031629 | 0.031629 | 0.9889 | -0.21184 | 0.98825 | -0.22452 | 8.6892
12 | 0.0017956 | 0.0004499 | -0.0017956 | -0.00045002 | 2.9925e-08 | -1.1351e-07 | 0.0027396 | 0.0027397 | 0.0027397 | 0.97526 | -0.47564 | 0.97524 | -0.47599 | 0.75266
13 | -0.0017956 | -0.0004499 | 0.0017957 | 0.00044947 | 1.1471e-07 | -4.352e-07 | 0.0027396 | 0.0027395 | 0.0027396 | 0.97526 | -0.47564 | 0.97533 | -0.4743 | 0.75265
14 | 0.059773 | 0.015057 | -0.059659 | -0.014984 | 0.00011466 | 7.2925e-05 | 0.091221 | 0.091221 | 0.091221 | 0.97533 | -0.4743 | 0.97329 | -0.51449 | 25.0607
15 | -0.061569 | -0.015506 | 0.061739 | 0.015615 | 0.00017047 | 0.00010846 | 0.09396 | 0.09396 | 0.09396 | 0.97533 | -0.4743 | 0.97828 | -0.41657 | 25.8132
16 | -0.061739 | -0.015615 | 0.061854 | 0.015686 | 0.00011434 | 7.1437e-05 | 0.09396 | 0.093959 | 0.09396 | 0.97828 | -0.41657 | 0.98026 | -0.37804 | 12.9066
17 | -0.064232 | -0.016282 | 0.064239 | 0.016287 | 7.7678e-06 | 4.8616e-06 | 0.097569 | 0.097569 | 0.097569 | 0.98026 | -0.37804 | 0.98039 | -0.37553 | 13.4023
18 | 0.064387 | 0.01638 | -0.064239 | -0.016287 | 0.000148 | 9.2621e-05 | 0.097568 | 0.097569 | 0.097569 | 0.98285 | -0.32771 | 0.98039 | -0.37553 | 13.4023
19 | -0.064387 | -0.01638 | 0.064423 | 0.016402 | 3.5173e-05 | 2.2011e-05 | 0.097568 | 0.097568 | 0.097568 | 0.98285 | -0.32771 | 0.98344 | -0.31638 | 13.4022
20 | -0.065455 | -0.01666 | 0.065567 | 0.01673 | 0.00011172 | 6.9961e-05 | 0.099131 | 0.09913 | 0.099131 | 0.98344 | -0.31638 | 0.98527 | -0.28104 | 13.6168
21 | -0.002381 | -0.00059643 | 0.0023811 | 0.00059633 | 4.8492e-08 | -9.7547e-08 | 0.0035874 | 0.0035873 | 0.0035874 | 0.9876 | -0.23716 | 0.98762 | -0.23673 | 0.98554
22 | 0.0013187 | 0.00033018 | -0.0013187 | -0.0003302 | 1.7062e-09 | -1.3658e-08 | 0.0019867 | 0.0019867 | 0.0019867 | 0.9876 | -0.23716 | 0.9876 | -0.23719 | 0.54581
23 | -0.0034701 | -0.00086927 | 0.0034702 | 0.00086924 | 4.3973e-08 | -2.6756e-08 | 0.0052281 | 0.0052281 | 0.0052281 | 0.98762 | -0.23673 | 0.98764 | -0.23646 | 1.4363
24 | 0.0013187 | 0.0003302 | -0.0013186 | -0.00033048 | 3.5804e-08 | -2.8658e-07 | 0.0019867 | 0.0019868 | 0.0019868 | 0.9876 | -0.23719 | 0.98757 | -0.23776 | 0.54584
25 | 0.014923 | 0.003742 | -0.014921 | -0.0037409 | 1.8915e-06 | 1.0829e-06 | 0.022485 | 0.022485 | 0.022485 | 0.98764 | -0.23646 | 0.9875 | -0.23912 | 6.1771
26 | -0.018393 | -0.0046113 | 0.0184 | 0.0046153 | 6.8026e-06 | 4.0513e-06 | 0.027713 | 0.027713 | 0.027713 | 0.98764 | -0.23646 | 0.98804 | -0.22871 | 7.6134
27 | 0.014921 | 0.0037409 | -0.014917 | -0.0037386 | 4.0281e-06 | 2.3063e-06 | 0.022485 | 0.022485 | 0.022485 | 0.9875 | -0.23912 | 0.98721 | -0.24479 | 6.1771
28 | -0.019698 | -0.0049406 | 0.019702 | 0.004943 | 3.9321e-06 | 2.3639e-06 | 0.029667 | 0.029667 | 0.029667 | 0.98804 | -0.22871 | 0.98825 | -0.22452 | 8.1504
29 | -0.01501 | -0.0037628 | 0.015016 | 0.0037658 | 5.2141e-06 | 2.9775e-06 | 0.022432 | 0.022432 | 0.022432 | 0.99572 | -0.081337 | 0.9961 | -0.074049 | 6.1626
30 | 0.01501 | 0.0037628 | -0.015008 | -0.0037615 | 2.3974e-06 | 1.3691e-06 | 0.022432 | 0.022432 | 0.022432 | 0.99572 | -0.081337 | 0.99555 | -0.084689 | 6.1627
31 | 0.005093 | 0.0012763 | -0.0050924 | -0.0012763 | 5.4462e-07 | 2.1987e-08 | 0.007608 | 0.0076082 | 0.0076082 | 0.9961 | -0.074049 | 0.99599 | -0.076294 | 2.0902
32 | -0.020109 | -0.0050421 | 0.020118 | 0.0050477 | 9.3348e-06 | 5.615e-06 | 0.03004 | 0.03004 | 0.03004 | 0.9961 | -0.074049 | 0.99661 | -0.064313 | 8.2527
33 | 0.0099139 | 0.0024848 | -0.0099132 | -0.0024844 | 7.1301e-07 | 3.4374e-07 | 0.014818 | 0.014818 | 0.014818 | 0.99555 | -0.084689 | 0.99547 | -0.086199 | 4.0709
34 | -0.07535 | -0.019219 | 0.075442 | 0.019276 | 9.1331e-05 | 5.7489e-05 | 0.11374 | 0.11374 | 0.11374 | 0.98683 | -0.25112 | 0.98814 | -0.22605 | 15.6234
35 | 0.07236 | 0.01847 | -0.072356 | -0.018467 | 3.7459e-06 | 2.3546e-06 | 0.10923 | 0.10923 | 0.10923 | 0.98683 | -0.25112 | 0.98678 | -0.25219 | 15.0041
36 | 0.069343 | 0.017712 | -0.069297 | -0.017683 | 4.582e-05 | 2.8756e-05 | 0.10469 | 0.10469 | 0.10469 | 0.98678 | -0.25219 | 0.98606 | -0.26587 | 14.38
37 | 0.065615 | 0.01676 | -0.065567 | -0.01673 | 4.8102e-05 | 3.012e-05 | 0.09913 | 0.09913 | 0.09913 | 0.98606 | -0.26587 | 0.98527 | -0.28104 | 13.6168
38 | -0.1487 | -0.037956 | 0.1489 | 0.038079 | 0.00019213 | 0.00012243 | 0.22259 | 0.22258 | 0.22259 | 0.9952 | -0.091016 | 0.99661 | -0.064313 | 30.5749
39 | -0.16901 | -0.043127 | 0.16954 | 0.043463 | 0.00052685 | 0.00033603 | 0.25262 | 0.25262 | 0.25262 | 0.99661 | -0.064313 | 1 | 0 | 34.7012
40 | 0.0040777 | 0.0010218 | -0.0040775 | -0.0010219 | 2.8937e-07 | -8.9749e-08 | 0.0060677 | 0.0060678 | 0.0060678 | 1 | 0 | 0.99992 | -0.0014898 | 1.667
41 | 0.05915 | 0.014856 | -0.059123 | -0.014839 | 2.6522e-05 | 1.6866e-05 | 0.090443 | 0.090443 | 0.090443 | 0.97329 | -0.51449 | 0.97281 | -0.52389 | 24.8469
42 | 0.0048353 | 0.0012118 | -0.004835 | -0.0012118 | 2.7325e-07 | -6.447e-09 | 0.0072277 | 0.0072278 | 0.0072278 | 0.99547 | -0.086199 | 0.99541 | -0.087385 | 1.9857
43 | 0.058777 | 0.014753 | -0.05872 | -0.014717 | 5.6515e-05 | 3.5938e-05 | 0.089913 | 0.089913 | 0.089913 | 0.97281 | -0.52389 | 0.97179 | -0.54407 | 24.7014

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17527 | 0.044485

## res_load
| p_mw | q_mvar
0 | 0.010153 | 0.0025445
1 | 0.013948 | 0.0034958
2 | 0.0092449 | 0.002317
3 | 0.0024148 | 0.00060521
4 | 0.0022798 | 0.00057138
5 | 0.0025819 | 0.00064708
6 | 0.0017956 | 0.00045002
7 | 0.002378 | 0.00059598
8 | 0.0010327 | 0.00025881
9 | 0.0010623 | 0.00026625
10 | 0.001089 | 0.00027294
11 | 0.0013186 | 0.00033048
12 | 0.001298 | 0.00032531
13 | 0.0050941 | 0.0012767
14 | 0.014917 | 0.0037386
15 | 0.0013026 | 0.00032646
16 | 0.0029901 | 0.00074939
17 | 0.0028408 | 0.00071197
18 | 0.0030133 | 0.00075522
19 | 0.003682 | 0.0009228
20 | 0.0079754 | 0.0019988
21 | 0.0040775 | 0.0010219
22 | 0.0050924 | 0.0012763
23 | 0.00050902 | 0.00012757
24 | 0.0050779 | 0.0012726
25 | 0.004835 | 0.0012118
26 | 0.00034623 | 8.6774e-05
27 | 0.05872 | 0.014717

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1