## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_197-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_197-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_197-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_197-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_197-6_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_197-6_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_197-6_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_197-6_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_197-6_0_3_node_129 | 0.4 | n |  | TRUE
9 | bus_LV_197-6_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_197-6_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_197-6_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_197-6_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_197-6_0_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_197-6_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_197-6_0_3_node_133 | 0.4 | n |  | TRUE
16 | bus_LV_197-6_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_197-6_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_197-6_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_197-6_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_197-6_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_197-6_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_197-6_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_197-6_0_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_197-6_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_197-6_0_3_node_145 | 0.4 | n |  | TRUE
26 | bus_LV_197-6_0_3_node_142 | 0.4 | n |  | TRUE
27 | bus_LV_197-6_0_3_node_123 | 0.4 | n |  | TRUE
28 | bus_LV_197-6_0_3_node_143 | 0.4 | n |  | TRUE
29 | bus_LV_197-6_0_3_node_136 | 0.4 | n |  | TRUE
30 | bus_LV_197-6_0_3_node_144 | 0.4 | n |  | TRUE
31 | bus_LV_197-6_0_3_node_135 | 0.4 | n |  | TRUE
32 | bus_LV_197-6_0_3_node_127 | 0.4 | n |  | TRUE
33 | bus_LV_197-6_0_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_197-6_0_3_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_197-6_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_197-6_0_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_197-6_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_197-6_0_3_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_197-6_0_3_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_197-6_0_3_node_118 | 0.4 | n |  | TRUE
41 | bus_LV_197-6_0_3_node_121 | 0.4 | n |  | TRUE
42 | bus_LV_197-6_0_3_node_137 | 0.4 | n |  | TRUE
43 | bus_LV_197-6_0_3_node_138 | 0.4 | n |  | TRUE
44 | bus_LV_197-6_0_3_node_139 | 0.4 | n |  | TRUE
45 | bus_LV_197-6_0_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_197-6_0_3_node_140 | 0.4 | n |  | TRUE
47 | bus_LV_197-6_0_3_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_197-6_0_3_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_197-6_0_3_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_197-6_0_3_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_197-6_0_3_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_197-6_0_3_node_120 | 0.4 | n |  | TRUE
53 | bus_LV_197-6_0_3_node_119 | 0.4 | n |  | TRUE
54 | bus_LV_197-6_0_3_node_125 | 0.4 | n |  | TRUE
55 | bus_MV_365_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_197-6_0_3_load_0 | 0 | 0.0086282 | 0.0021624 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_197-6_0_3_load_3 | 3 | 0.0093159 | 0.0023348 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_197-6_0_3_load_6 | 5 | 0.01 | 0.0025063 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_197-6_0_3_load_7 | 6 | 0.0040092 | 0.0010048 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_197-6_0_3_load_129 | 8 | 0.0045045 | 0.0011289 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_197-6_0_3_load_18 | 9 | 0.0077146 | 0.0019335 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_197-6_0_3_load_16 | 10 | 0.0054028 | 0.0013541 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_197-6_0_3_load_9 | 12 | 0.010485 | 0.0026279 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_197-6_0_3_load_19 | 13 | 0.0010906 | 0.00027334 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_197-6_0_3_load_20 | 14 | 0.00091444 | 0.00022918 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_197-6_0_3_load_133 | 15 | 0.0046257 | 0.0011593 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_197-6_0_3_load_10 | 16 | 0.010542 | 0.0026422 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_197-6_0_3_load_11 | 17 | 0.013485 | 0.0033796 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_197-6_0_3_load_13 | 19 | 0.0033978 | 0.00085157 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_197-6_0_3_load_17 | 21 | 0.0039971 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_197-6_0_3_load_15 | 22 | 0.0085811 | 0.0021506 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_197-6_0_3_load_21 | 24 | 0.00091489 | 0.00022929 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_197-6_0_3_load_145 | 25 | 0.00109 | 0.00027319 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_197-6_0_3_load_142 | 26 | 0.0066856 | 0.0016756 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_197-6_0_3_load_123 | 27 | 0.0068246 | 0.0017104 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_197-6_0_3_load_143 | 28 | 0.00109 | 0.00027319 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_197-6_0_3_load_136 | 29 | 0.00091489 | 0.00022929 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_197-6_0_3_load_144 | 30 | 0.00091489 | 0.00022929 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_197-6_0_3_load_135 | 31 | 0.0013404 | 0.00033593 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_197-6_0_3_load_127 | 32 | 0.0011244 | 0.00028181 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_197-6_0_3_load_42 | 33 | 0.0042039 | 0.0010536 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_197-6_0_3_load_43 | 34 | 0.0048257 | 0.0012094 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_197-6_0_3_load_45 | 36 | 0.0042044 | 0.0010537 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_197-6_0_3_load_47 | 37 | 0.033847 | 0.008483 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_197-6_0_3_load_48 | 38 | 0.0044728 | 0.001121 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_197-6_0_3_load_50 | 39 | 0.0072303 | 0.0018121 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_197-6_0_3_load_118 | 40 | 0.0054036 | 0.0013543 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_197-6_0_3_load_121 | 41 | 0.010308 | 0.0025834 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_197-6_0_3_load_137 | 42 | 0.0057221 | 0.0014341 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_197-6_0_3_load_138 | 43 | 0.005404 | 0.0013544 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_197-6_0_3_load_139 | 44 | 0.0044574 | 0.0011171 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_197-6_0_3_load_140 | 46 | 0.007556 | 0.0018937 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_197-6_0_3_load_72 | 47 | 0.010041 | 0.0025165 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_197-6_0_3_load_73 | 48 | 0.010156 | 0.0025455 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_197-6_0_3_load_77 | 50 | 0.0048506 | 0.0012157 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_197-6_0_3_load_119 | 53 | 0.0072513 | 0.0018173 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_197-6_0_3_load_125 | 54 | 0.0013396 | 0.00033575 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_197-6_0_3_line_0 |  | 0 | 1 | 0.015671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_197-6_0_3_line_1 |  | 0 | 2 | 0.039929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_197-6_0_3_line_2 |  | 1 | 3 | 0.015332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_197-6_0_3_line_3 |  | 1 | 4 | 0.04012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_197-6_0_3_line_4 |  | 2 | 5 | 0.017337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_197-6_0_3_line_5 |  | 2 | 6 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_197-6_0_3_line_6 |  | 3 | 7 | 0.019875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_197-6_0_3_line_7 |  | 4 | 9 | 0.023579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_197-6_0_3_line_8 |  | 4 | 10 | 0.021205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_197-6_0_3_line_9 |  | 5 | 11 | 0.017568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_197-6_0_3_line_10 |  | 6 | 12 | 0.018817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_197-6_0_3_line_11 |  | 7 | 8 | 0.013618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_197-6_0_3_line_12 |  | 9 | 23 | 0.0049862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_197-6_0_3_line_13 |  | 10 | 22 | 0.040192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_197-6_0_3_line_14 |  | 11 | 13 | 0.0091545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_197-6_0_3_line_15 |  | 11 | 14 | 0.0090545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_197-6_0_3_line_16 |  | 12 | 15 | 0.020679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_197-6_0_3_line_17 |  | 13 | 24 | 0.015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_197-6_0_3_line_18 |  | 16 | 17 | 0.021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_197-6_0_3_line_19 |  | 16 | 18 | 0.022178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_197-6_0_3_line_20 |  | 17 | 19 | 0.039179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_197-6_0_3_line_21 |  | 18 | 20 | 0.05732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_197-6_0_3_line_22 |  | 20 | 21 | 0.036884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_197-6_0_3_line_23 |  | 21 | 22 | 0.0077854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_197-6_0_3_line_24 |  | 23 | 35 | 0.014512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_197-6_0_3_line_25 |  | 24 | 25 | 0.0070158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_197-6_0_3_line_26 |  | 25 | 30 | 0.014386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_197-6_0_3_line_27 |  | 26 | 27 | 0.016221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_197-6_0_3_line_28 |  | 27 | 51 | 0.0024526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_197-6_0_3_line_29 |  | 28 | 29 | 0.014386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_197-6_0_3_line_30 |  | 28 | 30 | 0.0070158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_197-6_0_3_line_31 |  | 29 | 31 | 0.0070177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_197-6_0_3_line_32 |  | 31 | 32 | 0.014899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_197-6_0_3_line_33 |  | 32 | 54 | 0.0070165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_197-6_0_3_line_34 |  | 33 | 34 | 0.0093871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_197-6_0_3_line_35 |  | 33 | 35 | 0.020753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_197-6_0_3_line_36 |  | 34 | 36 | 0.032857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_197-6_0_3_line_37 |  | 35 | 37 | 0.05346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_197-6_0_3_line_38 |  | 36 | 38 | 0.0013451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_197-6_0_3_line_39 |  | 37 | 39 | 0.0032827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_197-6_0_3_line_40 |  | 38 | 40 | 0.0028607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_197-6_0_3_line_41 |  | 39 | 41 | 0.045438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_197-6_0_3_line_42 |  | 40 | 44 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_197-6_0_3_line_43 |  | 42 | 43 | 0.0042066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_197-6_0_3_line_44 |  | 42 | 44 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_197-6_0_3_line_45 |  | 43 | 45 | 0.047886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_197-6_0_3_line_46 |  | 45 | 46 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_197-6_0_3_line_47 |  | 45 | 49 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_197-6_0_3_line_48 |  | 47 | 48 | 0.021006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_197-6_0_3_line_49 |  | 48 | 49 | 0.023003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_197-6_0_3_line_50 |  | 49 | 50 | 0.012611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_197-6_0_3_line_51 |  | 50 | 53 | 0.015975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_197-6_0_3_line_52 |  | 51 | 52 | 0.03743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_197-6_0_3_line_53 |  | 52 | 53 | 0.020983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_197-6_0_3_trafo_43 | 0.63 MVA 20/0.4 kV | 55 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2691986.4305 | 1248641.9007 | 2691993.5982 | 1248642.3567 | 2692000.523 | 1248637.4469
1 | 2692032.9389 | 1248614.1346 | 2692018.5628 | 1248624.5973 | 2692015.7745 | 1248626.6333 | 2692000.523 | 1248637.4469
2 | 2691986.4305 | 1248641.9007 | 2691971.13 | 1248640.9142
3 | 2691982.548 | 1248681.8264 | 2691985.9581 | 1248649.4658 | 2691986.4305 | 1248641.9007
4 | 2692032.9389 | 1248614.1346 | 2692046.961 | 1248603.9387
5 | 2692032.9389 | 1248614.1346 | 2692021.8818 | 1248610.8196
6 | 2691951.2706 | 1248640.1874 | 2691967.3497 | 1248640.6705 | 2691971.13 | 1248640.9142
7 | 2691982.548 | 1248681.8264 | 2691958.9938 | 1248680.754
8 | 2691982.548 | 1248681.8264 | 2691995.0158 | 1248682.387 | 2692003.7389 | 1248682.5618
9 | 2692061.2234 | 1248593.6804 | 2692047.5671 | 1248603.4981 | 2692046.961 | 1248603.9387
10 | 2692003.8571 | 1248605.4157 | 2692021.8818 | 1248610.8196
11 | 2691951.2706 | 1248640.1874 | 2691937.691 | 1248639.1714
12 | 2691954.0128 | 1248680.5273 | 2691958.9938 | 1248680.754
13 | 2692043.9172 | 1248683.5607 | 2692034.4116 | 1248683.1767 | 2692003.7389 | 1248682.5618
14 | 2692061.2234 | 1248593.6804 | 2692052.4436 | 1248591.0879
15 | 2692061.2234 | 1248593.6804 | 2692068.5757 | 1248588.3958
16 | 2692003.8571 | 1248605.4157 | 2691984.0494 | 1248599.4772
17 | 2692037.6198 | 1248586.7106 | 2692052.4436 | 1248591.0879
18 | 2692104.6639 | 1248643.8306 | 2692084.0441 | 1248637.8172
19 | 2692125.9551 | 1248650.0399 | 2692104.6639 | 1248643.8306
20 | 2692081.7262 | 1248606.9311 | 2692074.2818 | 1248634.9702 | 2692084.0441 | 1248637.8172
21 | 2692088.5505 | 1248685.3635 | 2692098.0766 | 1248685.6783 | 2692098.2293 | 1248681.6888 | 2692099.6318 | 1248677.9411 | 2692102.1127 | 1248674.7883 | 2692105.4474 | 1248672.5829 | 2692109.3161 | 1248671.4866 | 2692111.6984 | 1248664.4738 | 2692113.6268 | 1248661.8796 | 2692117.8316 | 1248657.1413 | 2692125.9551 | 1248650.0399
22 | 2692088.5505 | 1248685.3635 | 2692051.6962 | 1248683.8749
23 | 2692051.6962 | 1248683.8749 | 2692043.9172 | 1248683.5607
24 | 2691954.0128 | 1248680.5273 | 2691954.6452 | 1248686.0079 | 2691957.2076 | 1248694.632
25 | 2692030.8912 | 1248584.7238 | 2692037.6198 | 1248586.7106
26 | 2692017.0942 | 1248580.6498 | 2692030.8912 | 1248584.7238
27 | 2691943.5434 | 1248867.7402 | 2691927.4068 | 1248869.3979
28 | 2691945.9832 | 1248867.4896 | 2691943.5434 | 1248867.7402
29 | 2691996.5685 | 1248574.5889 | 2692010.3656 | 1248578.6629
30 | 2692010.3656 | 1248578.6629 | 2692017.0942 | 1248580.6498
31 | 2691989.8381 | 1248572.6015 | 2691996.5685 | 1248574.5889
32 | 2691975.5489 | 1248568.3821 | 2691989.8381 | 1248572.6015
33 | 2691968.8196 | 1248566.3951 | 2691975.5489 | 1248568.3821
34 | 2691964.7676 | 1248713.9593 | 2691968.1872 | 1248722.7013
35 | 2691957.2076 | 1248694.632 | 2691964.7676 | 1248713.9593
36 | 2691968.1872 | 1248722.7013 | 2691973.3773 | 1248735.9698 | 2691977.1063 | 1248734.6267 | 2691982.9649 | 1248748.0493
37 | 2691957.2076 | 1248694.632 | 2691954.6257 | 1248695.5371 | 2691952.7723 | 1248691.3607 | 2691948.3412 | 1248691.2252 | 2691940.0149 | 1248696.8115 | 2691932.1908 | 1248710.4339 | 2691925.1702 | 1248715.1063 | 2691919.3779 | 1248719.9536 | 2691919.3779 | 1248719.9536
38 | 2691982.9649 | 1248748.0493 | 2691983.503 | 1248749.2821
39 | 2691919.3779 | 1248719.9536 | 2691918.6561 | 1248723.1559
40 | 2691984.6474 | 1248751.904 | 2691983.503 | 1248749.2821
41 | 2691933.5008 | 1248765.2042 | 2691933.6638 | 1248754.7015 | 2691918.6561 | 1248723.1559 | 2691918.6561 | 1248723.1559
42 | 2691984.6474 | 1248751.904 | 2691992.0081 | 1248768.7682
43 | 2691997.6759 | 1248781.7536 | 2691999.3586 | 1248785.609
44 | 2691997.6759 | 1248781.7536 | 2691992.0081 | 1248768.7682
45 | 2692018.5145 | 1248829.497 | 2691999.3586 | 1248785.609
46 | 2692018.5145 | 1248829.497 | 2692036.9498 | 1248825.5266
47 | 2692018.5145 | 1248829.497 | 2692001.0821 | 1248831.5725
48 | 2692003.15 | 1248875.5337 | 2692002.163 | 1248854.5505
49 | 2692001.0821 | 1248831.5725 | 2692002.163 | 1248854.5505
50 | 2692001.0821 | 1248831.5725 | 2691988.5861 | 1248833.2711
51 | 2691972.7567 | 1248835.4227 | 2691988.5861 | 1248833.2711
52 | 2691945.9832 | 1248867.4896 | 2691947.3732 | 1248865.9989 | 2691955.328 | 1248865.3551 | 2691953.4832 | 1248842.6203 | 2691951.9651 | 1248838.2489
53 | 2691951.9651 | 1248838.2489 | 2691972.7567 | 1248835.4227

## bus_geodata
| x | y | coords
0 | 2692000.523 | 1248637.4469
1 | 2691986.4305 | 1248641.9007
2 | 2692032.9389 | 1248614.1346
3 | 2691971.13 | 1248640.9142
4 | 2691982.548 | 1248681.8264
5 | 2692046.961 | 1248603.9387
6 | 2692021.8818 | 1248610.8196
7 | 2691951.2706 | 1248640.1874
8 | 2691937.691 | 1248639.1714
9 | 2691958.9938 | 1248680.754
10 | 2692003.7389 | 1248682.5618
11 | 2692061.2234 | 1248593.6804
12 | 2692003.8571 | 1248605.4157
13 | 2692052.4436 | 1248591.0879
14 | 2692068.5757 | 1248588.3958
15 | 2691984.0494 | 1248599.4772
16 | 2692104.6639 | 1248643.8306
17 | 2692084.0441 | 1248637.8172
18 | 2692125.9551 | 1248650.0399
19 | 2692081.7262 | 1248606.9311
20 | 2692088.5505 | 1248685.3635
21 | 2692051.6962 | 1248683.8749
22 | 2692043.9172 | 1248683.5607
23 | 2691954.0128 | 1248680.5273
24 | 2692037.6198 | 1248586.7106
25 | 2692030.8912 | 1248584.7238
26 | 2691927.4068 | 1248869.3979
27 | 2691943.5434 | 1248867.7402
28 | 2692010.3656 | 1248578.6629
29 | 2691996.5685 | 1248574.5889
30 | 2692017.0942 | 1248580.6498
31 | 2691989.8381 | 1248572.6015
32 | 2691975.5489 | 1248568.3821
33 | 2691964.7676 | 1248713.9593
34 | 2691968.1872 | 1248722.7013
35 | 2691957.2076 | 1248694.632
36 | 2691982.9649 | 1248748.0493
37 | 2691919.3779 | 1248719.9536
38 | 2691983.503 | 1248749.2821
39 | 2691918.6561 | 1248723.1559
40 | 2691984.6474 | 1248751.904
41 | 2691933.5008 | 1248765.2042
42 | 2691997.6759 | 1248781.7536
43 | 2691999.3586 | 1248785.609
44 | 2691992.0081 | 1248768.7682
45 | 2692018.5145 | 1248829.497
46 | 2692036.9498 | 1248825.5266
47 | 2692003.15 | 1248875.5337
48 | 2692002.163 | 1248854.5505
49 | 2692001.0821 | 1248831.5725
50 | 2691988.5861 | 1248833.2711
51 | 2691945.9832 | 1248867.4896
52 | 2691951.9651 | 1248838.2489
53 | 2691972.7567 | 1248835.4227
54 | 2691968.8196 | 1248566.3951
55 | 2691957.2076 | 1248694.632

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9903 | -0.18629 | 0.0086282 | 0.0021624
1 | 0.991 | -0.1728 | 0 | 0
2 | 0.98884 | -0.21462 | 0 | 0
3 | 0.9908 | -0.17656 | 0.0093159 | 0.0023348
4 | 0.99329 | -0.12853 | 0 | 0
5 | 0.98851 | -0.22103 | 0.01 | 0.0025063
6 | 0.98864 | -0.21856 | 0.0040092 | 0.0010048
7 | 0.99072 | -0.17815 | 0 | 0
8 | 0.99067 | -0.17924 | 0.0045045 | 0.0011289
9 | 0.99562 | -0.083765 | 0.0077146 | 0.0019335
10 | 0.99241 | -0.14556 | 0.0054028 | 0.0013541
11 | 0.98834 | -0.2244 | 0 | 0
12 | 0.98838 | -0.22363 | 0.010485 | 0.0026279
13 | 0.98826 | -0.226 | 0.0010906 | 0.00027334
14 | 0.98833 | -0.22455 | 0.00091444 | 0.00022918
15 | 0.98829 | -0.22534 | 0.0046257 | 0.0011593
16 | 0.98778 | -0.23526 | 0.010542 | 0.0026422
17 | 0.98744 | -0.24174 | 0.013485 | 0.0033796
18 | 0.98833 | -0.2244 | 0 | 0
19 | 0.98732 | -0.24412 | 0.0033978 | 0.00085157
20 | 0.98978 | -0.19639 | 0 | 0
21 | 0.99071 | -0.17841 | 0.0039971 | 0.0010018
22 | 0.99093 | -0.17406 | 0.0085811 | 0.0021506
23 | 0.99615 | -0.073649 | 0 | 0
24 | 0.98813 | -0.22841 | 0.00091489 | 0.00022929
25 | 0.98808 | -0.22939 | 0.00109 | 0.00027319
26 | 0.99047 | -0.18337 | 0.0066856 | 0.0016756
27 | 0.99057 | -0.18144 | 0.0068246 | 0.0017104
28 | 0.98795 | -0.23185 | 0.00109 | 0.00027319
29 | 0.98789 | -0.23306 | 0.00091489 | 0.00022929
30 | 0.98799 | -0.23112 | 0.00091489 | 0.00022929
31 | 0.98787 | -0.23354 | 0.0013404 | 0.00033593
32 | 0.98783 | -0.23419 | 0.0011244 | 0.00028181
33 | 0.99927 | -0.014002 | 0.0042039 | 0.0010536
34 | 1 | 0 | -0.25757 | -0.064859
35 | 0.99768 | -0.044268 | 0 | 0
36 | 0.99751 | -0.047673 | 0.0042044 | 0.0010537
37 | 0.99518 | -0.092495 | 0.033847 | 0.008483
38 | 0.99741 | -0.049531 | 0.0044728 | 0.001121
39 | 0.99513 | -0.093508 | 0.0072303 | 0.0018121
40 | 0.99722 | -0.053258 | 0.0054036 | 0.0013543
41 | 0.9947 | -0.10176 | 0.010308 | 0.0025834
42 | 0.99522 | -0.091592 | 0.0057221 | 0.0014341
43 | 0.995 | -0.095943 | 0.005404 | 0.0013544
44 | 0.99606 | -0.075524 | 0.0044574 | 0.0011171
45 | 0.99266 | -0.14105 | 0 | 0
46 | 0.99253 | -0.14357 | 0.007556 | 0.0018937
47 | 0.99131 | -0.16722 | 0.010041 | 0.0025165
48 | 0.9915 | -0.16347 | 0.010156 | 0.0025455
49 | 0.99192 | -0.15524 | 0 | 0
50 | 0.99163 | -0.16096 | 0.0048506 | 0.0012157
51 | 0.9906 | -0.18085 | 0 | 0
52 | 0.99107 | -0.17188 | 0 | 0
53 | 0.99133 | -0.16685 | 0.0072513 | 0.0018173
54 | 0.98783 | -0.23436 | 0.0013396 | 0.00033575
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.048556 | -0.012195 | 0.048587 | 0.012214 | 3.1289e-05 | 1.9823e-05 | 0.072968 | 0.072968 | 0.072968 | 0.9903 | -0.18629 | 0.991 | -0.1728 | 20.0462
1 | 0.039927 | 0.010032 | -0.039874 | -0.0099982 | 5.3911e-05 | 3.399e-05 | 0.060004 | 0.060004 | 0.060004 | 0.9903 | -0.18629 | 0.98884 | -0.21462 | 16.4846
2 | 0.013823 | 0.003465 | -0.013821 | -0.0034637 | 2.4771e-06 | 1.3879e-06 | 0.020757 | 0.020757 | 0.020757 | 0.991 | -0.1728 | 0.9908 | -0.17656 | 5.7024
3 | -0.06241 | -0.015679 | 0.062543 | 0.015764 | 0.00013216 | 8.4064e-05 | 0.093725 | 0.093725 | 0.093725 | 0.991 | -0.1728 | 0.99329 | -0.12853 | 25.7486
4 | 0.020746 | 0.005202 | -0.020739 | -0.0051982 | 6.3366e-06 | 3.8331e-06 | 0.031219 | 0.031219 | 0.031219 | 0.98884 | -0.21462 | 0.98851 | -0.22103 | 8.5767
5 | 0.019128 | 0.0047962 | -0.019124 | -0.0047941 | 3.5866e-06 | 2.1474e-06 | 0.028785 | 0.028785 | 0.028785 | 0.98884 | -0.21462 | 0.98864 | -0.21856 | 7.9079
6 | 0.004505 | 0.0011289 | -0.0045047 | -0.0011289 | 3.4116e-07 | -3.7601e-08 | 0.0067657 | 0.0067658 | 0.0067658 | 0.9908 | -0.17656 | 0.99072 | -0.17815 | 1.8587
7 | -0.10813 | -0.027254 | 0.10836 | 0.027403 | 0.00023215 | 0.00014827 | 0.16204 | 0.16204 | 0.16204 | 0.99329 | -0.12853 | 0.99562 | -0.083765 | 44.5157
8 | 0.045585 | 0.011491 | -0.045548 | -0.011467 | 3.7109e-05 | 2.3475e-05 | 0.068313 | 0.068313 | 0.068313 | 0.99329 | -0.12853 | 0.99241 | -0.14556 | 18.7672
9 | 0.010739 | 0.0026919 | -0.010738 | -0.002691 | 1.7218e-06 | 8.7676e-07 | 0.016166 | 0.016166 | 0.016166 | 0.98851 | -0.22103 | 0.98834 | -0.2244 | 4.4413
10 | 0.015115 | 0.0037893 | -0.015111 | -0.0037872 | 3.6523e-06 | 2.0963e-06 | 0.02275 | 0.022751 | 0.022751 | 0.98864 | -0.21856 | 0.98838 | -0.22363 | 6.2501
11 | 0.0045047 | 0.0011289 | -0.0045045 | -0.0011289 | 2.3376e-07 | -2.5735e-08 | 0.0067658 | 0.0067659 | 0.0067659 | 0.99072 | -0.17815 | 0.99067 | -0.17924 | 1.8588
12 | -0.11607 | -0.029336 | 0.11613 | 0.029372 | 5.6329e-05 | 3.5986e-05 | 0.17357 | 0.17357 | 0.17357 | 0.99562 | -0.083765 | 0.99615 | -0.073649 | 47.6832
13 | 0.040145 | 0.010113 | -0.04009 | -0.010079 | 5.4643e-05 | 3.4453e-05 | 0.060212 | 0.060212 | 0.060212 | 0.99241 | -0.14556 | 0.99093 | -0.17406 | 16.5417
14 | 0.0098231 | 0.002462 | -0.0098224 | -0.0024616 | 7.5089e-07 | 3.6326e-07 | 0.014789 | 0.01479 | 0.01479 | 0.98834 | -0.2244 | 0.98826 | -0.226 | 4.0631
15 | 0.00091444 | 0.00022907 | -0.00091444 | -0.00022918 | 6.4358e-09 | -1.1191e-07 | 0.0013767 | 0.0013768 | 0.0013768 | 0.98834 | -0.2244 | 0.98833 | -0.22455 | 0.37823
16 | 0.0046261 | 0.0011593 | -0.0046257 | -0.0011593 | 3.7614e-07 | -2.4268e-08 | 0.0069646 | 0.0069647 | 0.0069647 | 0.98838 | -0.22363 | 0.98829 | -0.22534 | 1.9134
17 | 0.0087318 | 0.0021883 | -0.0087307 | -0.0021878 | 1.0019e-06 | 4.432e-07 | 0.013147 | 0.013147 | 0.013147 | 0.98826 | -0.226 | 0.98813 | -0.22841 | 3.6119
18 | 0.016888 | 0.004234 | -0.016883 | -0.004231 | 5.2135e-06 | 3.0618e-06 | 0.025442 | 0.025442 | 0.025442 | 0.98778 | -0.23526 | 0.98744 | -0.24174 | 6.9895
19 | -0.027431 | -0.0068762 | 0.027445 | 0.006885 | 1.4202e-05 | 8.8051e-06 | 0.041323 | 0.041323 | 0.041323 | 0.98778 | -0.23526 | 0.98833 | -0.2244 | 11.3525
20 | 0.0033982 | 0.00085132 | -0.0033978 | -0.00085157 | 3.8527e-07 | -2.5454e-07 | 0.0051207 | 0.0051209 | 0.0051209 | 0.98744 | -0.24174 | 0.98732 | -0.24412 | 1.4068
21 | -0.027445 | -0.006885 | 0.027482 | 0.0069078 | 3.6704e-05 | 2.2755e-05 | 0.041323 | 0.041323 | 0.041323 | 0.98833 | -0.2244 | 0.98978 | -0.19639 | 11.3525
22 | -0.027482 | -0.0069078 | 0.027505 | 0.0069224 | 2.3618e-05 | 1.4641e-05 | 0.041323 | 0.041323 | 0.041323 | 0.98978 | -0.19639 | 0.99071 | -0.17841 | 11.3524
23 | -0.031502 | -0.0079242 | 0.031509 | 0.0079283 | 6.5391e-06 | 4.0847e-06 | 0.047326 | 0.047326 | 0.047326 | 0.99071 | -0.17841 | 0.99093 | -0.17406 | 13.0017
24 | -0.11613 | -0.029372 | 0.11629 | 0.029477 | 0.00016394 | 0.00010473 | 0.17357 | 0.17357 | 0.17357 | 0.99615 | -0.073649 | 0.99768 | -0.044268 | 47.6832
25 | 0.0078159 | 0.0019585 | -0.0078155 | -0.0019584 | 3.6445e-07 | 1.4338e-07 | 0.01177 | 0.01177 | 0.01177 | 0.98813 | -0.22841 | 0.98808 | -0.22939 | 3.2334
26 | 0.0067255 | 0.0016852 | -0.0067249 | -0.001685 | 5.534e-07 | 1.6993e-07 | 0.010128 | 0.010128 | 0.010128 | 0.98808 | -0.22939 | 0.98799 | -0.23112 | 2.7825
27 | -0.0066856 | -0.0016756 | 0.0066862 | 0.0016758 | 6.1366e-07 | 1.8394e-07 | 0.010044 | 0.010044 | 0.010044 | 0.99047 | -0.18337 | 0.99057 | -0.18144 | 2.7593
28 | -0.013511 | -0.0033862 | 0.013511 | 0.0033864 | 3.7884e-07 | 2.1089e-07 | 0.020296 | 0.020296 | 0.020296 | 0.99057 | -0.18144 | 0.9906 | -0.18085 | 5.5757
29 | 0.0047198 | 0.0011825 | -0.0047195 | -0.0011825 | 2.7261e-07 | -9.7309e-09 | 0.0071086 | 0.0071087 | 0.0071087 | 0.98795 | -0.23185 | 0.98789 | -0.23306 | 1.9529
30 | -0.0058098 | -0.0014557 | 0.00581 | 0.0014557 | 2.0145e-07 | 3.9084e-08 | 0.0087504 | 0.0087503 | 0.0087504 | 0.98795 | -0.23185 | 0.98799 | -0.23112 | 2.4039
31 | 0.0038046 | 0.00095323 | -0.0038045 | -0.00095326 | 8.6424e-08 | -3.4538e-08 | 0.0057306 | 0.0057307 | 0.0057307 | 0.98789 | -0.23306 | 0.98787 | -0.23354 | 1.5744
32 | 0.0024642 | 0.00061733 | -0.0024641 | -0.00061747 | 7.6973e-08 | -1.4148e-07 | 0.0037117 | 0.0037117 | 0.0037117 | 0.98787 | -0.23354 | 0.98783 | -0.23419 | 1.0197
33 | 0.0013397 | 0.00033566 | -0.0013396 | -0.00033575 | 1.0715e-08 | -8.2967e-08 | 0.002018 | 0.002018 | 0.002018 | 0.98783 | -0.23419 | 0.98783 | -0.23436 | 0.55439
34 | -0.17225 | -0.043642 | 0.17237 | 0.043716 | 0.00011595 | 7.3962e-05 | 0.25667 | 0.25667 | 0.25667 | 0.99927 | -0.014002 | 1 | 0 | 35.2565
35 | 0.16805 | 0.042589 | -0.1678 | -0.042433 | 0.000244 | 0.00015561 | 0.25041 | 0.25041 | 0.25041 | 0.99927 | -0.014002 | 0.99768 | -0.044268 | 34.3967
36 | 0.083557 | 0.021142 | -0.083366 | -0.021021 | 0.00019069 | 0.00012161 | 0.1244 | 0.1244 | 0.1244 | 1 | 0 | 0.99751 | -0.047673 | 34.1771
37 | 0.051509 | 0.012956 | -0.051391 | -0.012881 | 0.00011837 | 7.5062e-05 | 0.076841 | 0.076841 | 0.076841 | 0.99768 | -0.044268 | 0.99518 | -0.092495 | 21.1102
38 | 0.079161 | 0.019967 | -0.079154 | -0.019962 | 7.0391e-06 | 4.4875e-06 | 0.11813 | 0.11813 | 0.11813 | 0.99751 | -0.047673 | 0.99741 | -0.049531 | 32.454
39 | 0.017543 | 0.004398 | -0.017542 | -0.0043975 | 8.4705e-07 | 4.9946e-07 | 0.026231 | 0.026231 | 0.026231 | 0.99518 | -0.092495 | 0.99513 | -0.093508 | 7.2065
40 | 0.074682 | 0.018841 | -0.074668 | -0.018833 | 1.3327e-05 | 8.4922e-06 | 0.11146 | 0.11146 | 0.11146 | 0.99741 | -0.049531 | 0.99722 | -0.053258 | 30.6208
41 | 0.010312 | 0.0025854 | -0.010308 | -0.0025834 | 4.0515e-06 | 2.0029e-06 | 0.01542 | 0.01542 | 0.01542 | 0.99513 | -0.093508 | 0.9947 | -0.10176 | 4.2363
42 | 0.069265 | 0.017479 | -0.069191 | -0.017432 | 7.377e-05 | 4.6973e-05 | 0.1034 | 0.1034 | 0.1034 | 0.99722 | -0.053258 | 0.99606 | -0.075524 | 28.4057
43 | 0.058962 | 0.014849 | -0.058949 | -0.014841 | 1.2267e-05 | 7.796e-06 | 0.088182 | 0.088182 | 0.088182 | 0.99522 | -0.091592 | 0.995 | -0.095943 | 24.226
44 | -0.064684 | -0.016283 | 0.064734 | 0.016315 | 4.9722e-05 | 3.1638e-05 | 0.096738 | 0.096738 | 0.096738 | 0.99522 | -0.091592 | 0.99606 | -0.075524 | 26.5764
45 | 0.053545 | 0.013487 | -0.05343 | -0.013414 | 0.00011522 | 7.3119e-05 | 0.080101 | 0.080101 | 0.080101 | 0.995 | -0.095943 | 0.99266 | -0.14105 | 22.0058
46 | 0.0075569 | 0.0018941 | -0.007556 | -0.0018937 | 9.0748e-07 | 3.3704e-07 | 0.011328 | 0.011328 | 0.011328 | 0.99266 | -0.14105 | 0.99253 | -0.14357 | 3.1121
47 | 0.045873 | 0.01152 | -0.045842 | -0.0115 | 3.1046e-05 | 1.9643e-05 | 0.068773 | 0.068773 | 0.068773 | 0.99266 | -0.14105 | 0.99192 | -0.15524 | 18.8937
48 | -0.010041 | -0.0025165 | 0.010043 | 0.0025174 | 1.7895e-06 | 8.7443e-07 | 0.015072 | 0.015072 | 0.015072 | 0.99131 | -0.16722 | 0.9915 | -0.16347 | 4.1407
49 | -0.020199 | -0.0050629 | 0.020207 | 0.0050676 | 7.9274e-06 | 4.7767e-06 | 0.030315 | 0.030315 | 0.030315 | 0.9915 | -0.16347 | 0.99192 | -0.15524 | 8.3282
50 | 0.025635 | 0.0064322 | -0.025628 | -0.0064279 | 6.9946e-06 | 4.3138e-06 | 0.038458 | 0.038458 | 0.038458 | 0.99192 | -0.15524 | 0.99163 | -0.16096 | 10.5655
51 | 0.020777 | 0.0052123 | -0.020771 | -0.0052087 | 5.8239e-06 | 3.5213e-06 | 0.03118 | 0.03118 | 0.03118 | 0.99163 | -0.16096 | 0.99133 | -0.16685 | 8.5659
52 | -0.013511 | -0.0033864 | 0.013517 | 0.0033896 | 5.7816e-06 | 3.2182e-06 | 0.020296 | 0.020295 | 0.020296 | 0.9906 | -0.18085 | 0.99107 | -0.17188 | 5.5757
53 | -0.013517 | -0.0033896 | 0.01352 | 0.0033914 | 3.2411e-06 | 1.8038e-06 | 0.020295 | 0.020295 | 0.020295 | 0.99107 | -0.17188 | 0.99133 | -0.16685 | 5.5757

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2624 | 0.066068

## res_load
| p_mw | q_mvar
0 | 0.0086282 | 0.0021624
1 | 0.0093159 | 0.0023348
2 | 0.01 | 0.0025063
3 | 0.0040092 | 0.0010048
4 | 0.0045045 | 0.0011289
5 | 0.0077146 | 0.0019335
6 | 0.0054028 | 0.0013541
7 | 0.010485 | 0.0026279
8 | 0.0010906 | 0.00027334
9 | 0.00091444 | 0.00022918
10 | 0.0046257 | 0.0011593
11 | 0.010542 | 0.0026422
12 | 0.013485 | 0.0033796
13 | 0.0033978 | 0.00085157
14 | 0.0039971 | 0.0010018
15 | 0.0085811 | 0.0021506
16 | 0.00091489 | 0.00022929
17 | 0.00109 | 0.00027319
18 | 0.0066856 | 0.0016756
19 | 0.0068246 | 0.0017104
20 | 0.00109 | 0.00027319
21 | 0.00091489 | 0.00022929
22 | 0.00091489 | 0.00022929
23 | 0.0013404 | 0.00033593
24 | 0.0011244 | 0.00028181
25 | 0.0042039 | 0.0010536
26 | 0.0048257 | 0.0012094
27 | 0.0042044 | 0.0010537
28 | 0.033847 | 0.008483
29 | 0.0044728 | 0.001121
30 | 0.0072303 | 0.0018121
31 | 0.0054036 | 0.0013543
32 | 0.010308 | 0.0025834
33 | 0.0057221 | 0.0014341
34 | 0.005404 | 0.0013544
35 | 0.0044574 | 0.0011171
36 | 0.007556 | 0.0018937
37 | 0.010041 | 0.0025165
38 | 0.010156 | 0.0025455
39 | 0.0048506 | 0.0012157
40 | 0.0072513 | 0.0018173
41 | 0.0013396 | 0.00033575

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1