## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_197-7_1_3_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_197-7_1_3_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_197-7_1_3_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_197-7_1_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_197-7_1_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_197-7_1_3_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_197-7_1_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_197-7_1_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_197-7_1_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_197-7_1_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_197-7_1_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_197-7_1_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_197-7_1_3_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_197-7_1_3_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_197-7_1_3_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_197-7_1_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_197-7_1_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_197-7_1_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_197-7_1_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_197-7_1_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_197-7_1_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_197-7_1_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_197-7_1_3_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_197-7_1_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_197-7_1_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_197-7_1_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_197-7_1_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_197-7_1_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_197-7_1_3_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_197-7_1_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_197-7_1_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_197-7_1_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_197-7_1_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_197-7_1_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_197-7_1_3_node_98 | 0.4 | n |  | TRUE
35 | bus_LV_197-7_1_3_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_197-7_1_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_197-7_1_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_197-7_1_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_197-7_1_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_197-7_1_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_197-7_1_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_197-7_1_3_node_241 | 0.4 | n |  | TRUE
43 | bus_LV_197-7_1_3_node_193 | 0.4 | n |  | TRUE
44 | bus_LV_197-7_1_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_197-7_1_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_197-7_1_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_197-7_1_3_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_197-7_1_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_197-7_1_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_197-7_1_3_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_197-7_1_3_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_197-7_1_3_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_197-7_1_3_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_197-7_1_3_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_197-7_1_3_node_76 | 0.4 | n |  | TRUE
56 | bus_LV_197-7_1_3_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_197-7_1_3_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_197-7_1_3_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_197-7_1_3_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_197-7_1_3_node_172 | 0.4 | n |  | TRUE
61 | bus_LV_197-7_1_3_node_142 | 0.4 | n |  | TRUE
62 | bus_LV_197-7_1_3_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_197-7_1_3_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_197-7_1_3_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_197-7_1_3_node_90 | 0.4 | n |  | TRUE
66 | bus_LV_197-7_1_3_node_91 | 0.4 | n |  | TRUE
67 | bus_LV_197-7_1_3_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_197-7_1_3_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_197-7_1_3_node_94 | 0.4 | n |  | TRUE
70 | bus_LV_197-7_1_3_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_197-7_1_3_node_139 | 0.4 | n |  | TRUE
72 | bus_LV_197-7_1_3_node_96 | 0.4 | n |  | TRUE
73 | bus_LV_197-7_1_3_node_97 | 0.4 | n |  | TRUE
74 | bus_LV_197-7_1_3_node_140 | 0.4 | n |  | TRUE
75 | bus_LV_197-7_1_3_node_167 | 0.4 | n |  | TRUE
76 | bus_LV_197-7_1_3_node_169 | 0.4 | n |  | TRUE
77 | bus_LV_197-7_1_3_node_171 | 0.4 | n |  | TRUE
78 | bus_LV_197-7_1_3_node_230 | 0.4 | n |  | TRUE
79 | bus_LV_197-7_1_3_node_194 | 0.4 | n |  | TRUE
80 | bus_MV_365_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_197-7_1_3_load_6 | 0 | 0.0031064 | 0.00077853 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_197-7_1_3_load_7 | 1 | 0.00096309 | 0.00024137 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_197-7_1_3_load_8 | 2 | 0.0018296 | 0.00045853 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_197-7_1_3_load_9 | 3 | 0.0015314 | 0.00038381 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_197-7_1_3_load_10 | 4 | 0.0014716 | 0.00036882 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_197-7_1_3_load_11 | 6 | 0.0050639 | 0.0012691 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_197-7_1_3_load_15 | 11 | 0.0013322 | 0.00033388 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_197-7_1_3_load_52 | 12 | 0.0029972 | 0.00075116 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_197-7_1_3_load_49 | 14 | 0.0025473 | 0.00063841 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_197-7_1_3_load_16 | 15 | 0.0016202 | 0.00040605 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_197-7_1_3_load_17 | 16 | 0.0014228 | 0.0003566 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_197-7_1_3_load_33 | 17 | 0.0013956 | 0.00034977 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_197-7_1_3_load_22 | 19 | 0.00040859 | 0.0001024 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_197-7_1_3_load_19 | 20 | 0.00064671 | 0.00016208 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_197-7_1_3_load_20 | 21 | 0.00036835 | 9.2316e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_197-7_1_3_load_34 | 22 | 0.0057642 | 0.0014446 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_197-7_1_3_load_21 | 23 | 0.00084653 | 0.00021216 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_197-7_1_3_load_23 | 24 | 0.00015992 | 4.0079e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_197-7_1_3_load_24 | 25 | 0.00024201 | 6.0653e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_197-7_1_3_load_25 | 26 | 0.00061033 | 0.00015296 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_197-7_1_3_load_41 | 28 | 0.0045196 | 0.0011327 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_197-7_1_3_load_28 | 29 | 0.00093884 | 0.0002353 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_197-7_1_3_load_29 | 30 | 0.00088306 | 0.00022132 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_197-7_1_3_load_30 | 31 | 0.0016335 | 0.00040941 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_197-7_1_3_load_31 | 32 | 0.00088121 | 0.00022085 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_197-7_1_3_load_32 | 33 | 0.00089994 | 0.00022555 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_197-7_1_3_load_98 | 34 | 0.00079556 | 0.00019939 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_197-7_1_3_load_35 | 36 | 0.0051607 | 0.0012934 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_197-7_1_3_load_36 | 37 | 0.0024003 | 0.00060156 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_197-7_1_3_load_40 | 40 | 0.00094406 | 0.0002366 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_197-7_1_3_load_44 | 41 | 0.0038122 | 0.00095542 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_197-7_1_3_load_241 | 42 | 0.0040315 | 0.0010104 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_197-7_1_3_load_193 | 43 | 0.0041848 | 0.0010488 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_197-7_1_3_load_42 | 44 | 0.0029337 | 0.00073526 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_197-7_1_3_load_47 | 45 | 0.00070351 | 0.00017632 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_197-7_1_3_load_55 | 46 | 0.00075514 | 0.00018926 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_197-7_1_3_load_89 | 47 | 0.0026949 | 0.00067541 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_197-7_1_3_load_50 | 48 | 0.0017759 | 0.00044509 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_197-7_1_3_load_51 | 49 | 0.0033906 | 0.00084977 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_197-7_1_3_load_53 | 50 | 0.0027171 | 0.00068096 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_197-7_1_3_load_54 | 51 | 0.0026513 | 0.00066448 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_197-7_1_3_load_56 | 52 | 0.00087428 | 0.00021911 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_197-7_1_3_load_74 | 53 | 0.0051749 | 0.0012969 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_197-7_1_3_load_77 | 56 | 0.011043 | 0.0027675 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_197-7_1_3_load_79 | 58 | 0.0024153 | 0.00060533 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_197-7_1_3_load_80 | 59 | 0.0040196 | 0.0010074 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_197-7_1_3_load_172 | 60 | 0.0014783 | 0.00037049 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_197-7_1_3_load_142 | 61 | 0.005599 | 0.0014032 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_197-7_1_3_load_86 | 62 | 0.0014536 | 0.00036431 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_197-7_1_3_load_87 | 63 | 0.0026869 | 0.0006734 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_197-7_1_3_load_88 | 64 | 0.0038515 | 0.00096528 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_197-7_1_3_load_90 | 65 | 0.0090792 | 0.0022755 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_197-7_1_3_load_91 | 66 | 0.010231 | 0.0025641 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_197-7_1_3_load_93 | 68 | 0.015167 | 0.0038013 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_197-7_1_3_load_95 | 70 | 0.0049209 | 0.0012333 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_197-7_1_3_load_139 | 71 | 0.0021552 | 0.00054015 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_197-7_1_3_load_96 | 72 | 0.0052492 | 0.0013156 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_197-7_1_3_load_97 | 73 | 0.0010131 | 0.00025392 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_197-7_1_3_load_140 | 74 | 0.0072749 | 0.0018233 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_197-7_1_3_load_167 | 75 | 0.0066088 | 0.0016563 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_197-7_1_3_load_171 | 77 | 0.0014784 | 0.00037051 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_197-7_1_3_load_230 | 78 | 0.0014783 | 0.00037049 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_197-7_1_3_load_194 | 79 | 0.0063251 | 0.0015852 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_197-7_1_3_line_0 |  | 0 | 1 | 0.0032998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_197-7_1_3_line_1 |  | 0 | 2 | 0.029506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_197-7_1_3_line_2 |  | 1 | 3 | 0.017072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_197-7_1_3_line_3 |  | 2 | 4 | 0.011216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_197-7_1_3_line_4 |  | 3 | 5 | 0.0019473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_197-7_1_3_line_5 |  | 4 | 6 | 0.0040393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_197-7_1_3_line_6 |  | 5 | 45 | 0.014787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_197-7_1_3_line_7 |  | 5 | 35 | 0.015298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_197-7_1_3_line_8 |  | 6 | 7 | 0.026172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_197-7_1_3_line_9 |  | 7 | 8 | 0.02034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_197-7_1_3_line_10 |  | 7 | 9 | 0.013308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_197-7_1_3_line_11 |  | 8 | 10 | 0.004726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_197-7_1_3_line_12 |  | 8 | 11 | 0.027872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_197-7_1_3_line_13 |  | 9 | 12 | 0.026982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_197-7_1_3_line_14 |  | 9 | 13 | 0.007372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_197-7_1_3_line_15 |  | 9 | 14 | 0.017804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_197-7_1_3_line_16 |  | 10 | 18 | 0.013311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_197-7_1_3_line_17 |  | 10 | 19 | 0.02023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_197-7_1_3_line_18 |  | 11 | 15 | 0.0013634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_197-7_1_3_line_19 |  | 12 | 50 | 0.0071061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_197-7_1_3_line_20 |  | 13 | 28 | 0.027277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_197-7_1_3_line_21 |  | 14 | 48 | 0.012274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_197-7_1_3_line_22 |  | 15 | 16 | 0.021556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_197-7_1_3_line_23 |  | 16 | 17 | 0.031581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_197-7_1_3_line_24 |  | 18 | 27 | 0.00245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_197-7_1_3_line_25 |  | 18 | 26 | 0.015805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_197-7_1_3_line_26 |  | 19 | 23 | 0.040277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_197-7_1_3_line_27 |  | 20 | 21 | 0.020491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_197-7_1_3_line_28 |  | 20 | 22 | 0.061699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_197-7_1_3_line_29 |  | 21 | 23 | 0.033134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_197-7_1_3_line_30 |  | 24 | 25 | 0.031952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_197-7_1_3_line_31 |  | 25 | 26 | 0.015142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_197-7_1_3_line_32 |  | 27 | 42 | 0.008663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_197-7_1_3_line_33 |  | 27 | 38 | 0.023365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_197-7_1_3_line_34 |  | 28 | 44 | 0.02168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_197-7_1_3_line_35 |  | 29 | 30 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_197-7_1_3_line_36 |  | 29 | 31 | 0.00088458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_197-7_1_3_line_37 |  | 30 | 32 | 0.0006368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_197-7_1_3_line_38 |  | 31 | 33 | 0.0056052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_197-7_1_3_line_39 |  | 32 | 34 | 0.00059983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_197-7_1_3_line_40 |  | 33 | 35 | 0.038192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_197-7_1_3_line_41 |  | 34 | 73 | 0.0037057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_197-7_1_3_line_42 |  | 35 | 47 | 0.021288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_197-7_1_3_line_43 |  | 36 | 37 | 0.0073905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_197-7_1_3_line_44 |  | 36 | 38 | 0.030015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_197-7_1_3_line_45 |  | 37 | 39 | 0.021932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_197-7_1_3_line_46 |  | 38 | 40 | 0.015033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_197-7_1_3_line_47 |  | 39 | 41 | 0.0062393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_197-7_1_3_line_48 |  | 40 | 43 | 0.019843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_197-7_1_3_line_49 |  | 43 | 79 | 0.01509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_197-7_1_3_line_50 |  | 45 | 46 | 0.0053913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_197-7_1_3_line_51 |  | 46 | 52 | 0.0061057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_197-7_1_3_line_52 |  | 47 | 59 | 0.00053079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_197-7_1_3_line_53 |  | 48 | 49 | 0.03894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_197-7_1_3_line_54 |  | 50 | 51 | 0.0066761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_197-7_1_3_line_55 |  | 53 | 54 | 0.033263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_197-7_1_3_line_56 |  | 53 | 55 | 0.014151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_197-7_1_3_line_57 |  | 54 | 56 | 0.03265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_197-7_1_3_line_58 |  | 54 | 57 | 0.014352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_197-7_1_3_line_59 |  | 55 | 58 | 0.01509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_197-7_1_3_line_60 |  | 55 | 59 | 0.023774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_197-7_1_3_line_61 |  | 57 | 60 | 0.042397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_197-7_1_3_line_62 |  | 57 | 61 | 0.042311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_197-7_1_3_line_63 |  | 58 | 62 | 0.022166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_197-7_1_3_line_64 |  | 60 | 78 | 0.0025249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_197-7_1_3_line_65 |  | 61 | 74 | 0.027742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_197-7_1_3_line_66 |  | 62 | 63 | 0.0015887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_197-7_1_3_line_67 |  | 63 | 64 | 0.0092008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_197-7_1_3_line_68 |  | 65 | 66 | 0.041218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_197-7_1_3_line_69 |  | 65 | 67 | 0.029266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_197-7_1_3_line_70 |  | 66 | 68 | 0.037782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_197-7_1_3_line_71 |  | 67 | 69 | 0.018759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_197-7_1_3_line_72 |  | 67 | 70 | 0.02899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_197-7_1_3_line_73 |  | 68 | 71 | 0.067548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_197-7_1_3_line_74 |  | 69 | 72 | 0.016574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_197-7_1_3_line_75 |  | 71 | 74 | 0.0012702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_197-7_1_3_line_76 |  | 75 | 76 | 0.016946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_197-7_1_3_line_77 |  | 76 | 77 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_197-7_1_3_line_78 |  | 77 | 78 | 0.0095572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_197-7_1_3_trafo_32 | 0.63 MVA 20/0.4 kV | 80 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2691626.2351 | 1248460.135 | 2691626.405 | 1248456.8395
1 | 2691628.0741 | 1248427.3812 | 2691627.2995 | 1248441.71 | 2691626.5825 | 1248453.3967 | 2691626.405 | 1248456.8395
2 | 2691626.2351 | 1248460.135 | 2691625.3559 | 1248477.1844
3 | 2691628.0741 | 1248427.3812 | 2691628.6796 | 1248416.1814
4 | 2691625.2556 | 1248479.1291 | 2691625.3559 | 1248477.1844
5 | 2691628.6796 | 1248416.1814 | 2691628.8977 | 1248412.1479
6 | 2691625.2556 | 1248479.1291 | 2691639.8448 | 1248476.7198
7 | 2691624.2341 | 1248494.3915 | 2691625.2556 | 1248479.1291
8 | 2691626.9718 | 1248386.2294 | 2691628.9064 | 1248393.9652 | 2691629.2672 | 1248405.3127 | 2691628.8977 | 1248412.1479
9 | 2691610.8399 | 1248374.4601 | 2691617.8174 | 1248377.4702 | 2691622.3283 | 1248380.7646 | 2691624.5008 | 1248382.8887 | 2691626.9718 | 1248386.2294
10 | 2691626.9718 | 1248386.2294 | 2691639.4247 | 1248381.4405
11 | 2691610.8399 | 1248374.4601 | 2691611.4788 | 1248369.7776
12 | 2691610.8399 | 1248374.4601 | 2691599.9845 | 1248373.1359 | 2691583.143 | 1248374.9279
13 | 2691639.4247 | 1248381.4405 | 2691662.3098 | 1248373.1101 | 2691664.7051 | 1248372.0286
14 | 2691637.5638 | 1248374.3063 | 2691639.4247 | 1248381.4405
15 | 2691639.4247 | 1248381.4405 | 2691647.5693 | 1248397.272
16 | 2691608.2116 | 1248356.8728 | 2691611.4788 | 1248369.7776
17 | 2691611.4788 | 1248369.7776 | 2691600.5622 | 1248368.4968 | 2691591.3863 | 1248369.5709
18 | 2691581.7873 | 1248375.0722 | 2691583.143 | 1248374.9279
19 | 2691671.1816 | 1248369.1044 | 2691664.7051 | 1248372.0286
20 | 2691637.5638 | 1248374.3063 | 2691649.9209 | 1248372.785 | 2691658.3452 | 1248370.1466 | 2691663.8347 | 1248367.7291
21 | 2691654.6563 | 1248407.156 | 2691650.1444 | 1248402.2775 | 2691647.5693 | 1248397.272
22 | 2691560.2906 | 1248376.5187 | 2691573.0677 | 1248376 | 2691581.7873 | 1248375.0722
23 | 2691528.7902 | 1248375.3028 | 2691529.1661 | 1248375.3662 | 2691548.8612 | 1248376.9826 | 2691560.2906 | 1248376.5187
24 | 2691608.2116 | 1248356.8728 | 2691608.8749 | 1248354.5146
25 | 2691608.2116 | 1248356.8728 | 2691592.9583 | 1248352.7351
26 | 2691591.3863 | 1248369.5709 | 2691571.6964 | 1248371.8757 | 2691554.2164 | 1248372.0726 | 2691551.2629 | 1248371.7486
27 | 2691498.161 | 1248364.3827 | 2691518.3972 | 1248367.6067
28 | 2691498.161 | 1248364.3827 | 2691436.4717 | 1248363.3118
29 | 2691518.3972 | 1248367.6067 | 2691529.2065 | 1248369.3289 | 2691551.2629 | 1248371.7486
30 | 2691579.0204 | 1248347.541 | 2691571.5065 | 1248340.6713 | 2691565.6642 | 1248336.5335 | 2691559.1577 | 1248334.8095 | 2691551.6222 | 1248337.1171
31 | 2691592.9583 | 1248352.7351 | 2691581.218 | 1248349.5503 | 2691579.0204 | 1248347.541
32 | 2691617.557 | 1248354.7489 | 2691612.1421 | 1248354.7208 | 2691608.8749 | 1248354.5146
33 | 2691621.6465 | 1248335.9645 | 2691611.4413 | 1248345.3362 | 2691608.8749 | 1248354.5146
34 | 2691683.676 | 1248358.9913 | 2691663.8347 | 1248367.7291
35 | 2691579.5538 | 1248494.0429 | 2691567.7206 | 1248493.9505
36 | 2691580.4384 | 1248494.0498 | 2691579.5538 | 1248494.0429
37 | 2691567.7206 | 1248493.9505 | 2691567.0838 | 1248493.9455
38 | 2691586.0434 | 1248494.0935 | 2691580.4384 | 1248494.0498
39 | 2691567.0838 | 1248493.9455 | 2691566.484 | 1248493.9409
40 | 2691624.2341 | 1248494.3915 | 2691586.0434 | 1248494.0935
41 | 2691566.484 | 1248493.9409 | 2691562.7784 | 1248493.9119
42 | 2691624.2341 | 1248494.3915 | 2691623.5584 | 1248505.8565 | 2691623.0892 | 1248515.6483
43 | 2691656.0399 | 1248321.2577 | 2691649.2446 | 1248324.1634
44 | 2691621.6465 | 1248335.9645 | 2691649.2446 | 1248324.1634
45 | 2691676.206 | 1248312.6346 | 2691656.0399 | 1248321.2577
46 | 2691621.6465 | 1248335.9645 | 2691613.8315 | 1248323.1229
47 | 2691676.206 | 1248312.6346 | 2691682.1909 | 1248310.871
48 | 2691613.8315 | 1248323.1229 | 2691616.1559 | 1248316.8986 | 2691614.2226 | 1248311.0198 | 2691608.6296 | 1248306.7939
49 | 2691602.5442 | 1248293.059 | 2691608.2128 | 1248306.479 | 2691608.6296 | 1248306.7939
50 | 2691645.1641 | 1248475.8414 | 2691639.8448 | 1248476.7198
51 | 2691645.1641 | 1248475.8414 | 2691651.1882 | 1248474.8466
52 | 2691623.0638 | 1248516.1785 | 2691623.0892 | 1248515.6483
53 | 2691654.6563 | 1248407.156 | 2691665.3875 | 1248418.759 | 2691675.6063 | 1248429.9811 | 2691679.0201 | 1248437.1694
54 | 2691671.1816 | 1248369.1044 | 2691677.2662 | 1248366.357
55 | 2691651.1018 | 1248576.6915 | 2691638.2593 | 1248567.1413 | 2691629.6521 | 1248555.2548 | 2691628.4112 | 1248552.9898
56 | 2691623.1905 | 1248539.8989 | 2691626.0089 | 1248548.6046 | 2691628.4112 | 1248552.9898
57 | 2691651.1018 | 1248576.6915 | 2691679.3127 | 1248583.3661 | 2691682.9164 | 1248584.0073
58 | 2691647.3454 | 1248590.544 | 2691651.1018 | 1248576.6915
59 | 2691623.1905 | 1248539.8989 | 2691608.1436 | 1248541.0353
60 | 2691623.1905 | 1248539.8989 | 2691622.3652 | 1248530.7569 | 2691623.0638 | 1248516.1785
61 | 2691647.3454 | 1248590.544 | 2691648.8566 | 1248632.9145
62 | 2691647.3454 | 1248590.544 | 2691639.823 | 1248588.604 | 2691636.5089 | 1248580.2131 | 2691615.4294 | 1248579.7648 | 2691611.2943 | 1248581.3722
63 | 2691586.0409 | 1248542.7045 | 2691608.1436 | 1248541.0353
64 | 2691648.8566 | 1248632.9145 | 2691648.9466 | 1248635.4378
65 | 2691585.1361 | 1248589.9529 | 2691589.5958 | 1248589.8067 | 2691611.2943 | 1248581.3722
66 | 2691584.4567 | 1248542.8242 | 2691586.0409 | 1248542.7045
67 | 2691575.282 | 1248543.517 | 2691584.4567 | 1248542.8242
68 | 2691475.4475 | 1248526.9094 | 2691497.6486 | 1248557.2957 | 2691499.278 | 1248560.4899
69 | 2691458.1825 | 1248503.2791 | 2691475.4475 | 1248526.9094
70 | 2691499.278 | 1248560.4899 | 2691516.4461 | 1248594.1459
71 | 2691475.3544 | 1248495.6159 | 2691458.1825 | 1248503.2791
72 | 2691458.1825 | 1248503.2791 | 2691433.9149 | 1248519.1371
73 | 2691583.8666 | 1248589.9946 | 2691516.4461 | 1248594.1459
74 | 2691475.3544 | 1248495.6159 | 2691491.8002 | 1248493.5583
75 | 2691583.8666 | 1248589.9946 | 2691585.1361 | 1248589.9529
76 | 2691645.6412 | 1248656.2899 | 2691652.8869 | 1248663.9077 | 2691655.0879 | 1248666.6215 | 2691656.6558 | 1248669.1071
77 | 2691645.6412 | 1248656.2899 | 2691647.8824 | 1248644.8776
78 | 2691648.9466 | 1248635.4378 | 2691649.068 | 1248638.8407 | 2691647.8824 | 1248644.8776

## bus_geodata
| x | y | coords
0 | 2691626.405 | 1248456.8395
1 | 2691626.2351 | 1248460.135
2 | 2691628.0741 | 1248427.3812
3 | 2691625.3559 | 1248477.1844
4 | 2691628.6796 | 1248416.1814
5 | 2691625.2556 | 1248479.1291
6 | 2691628.8977 | 1248412.1479
7 | 2691626.9718 | 1248386.2294
8 | 2691610.8399 | 1248374.4601
9 | 2691639.4247 | 1248381.4405
10 | 2691611.4788 | 1248369.7776
11 | 2691583.143 | 1248374.9279
12 | 2691664.7051 | 1248372.0286
13 | 2691637.5638 | 1248374.3063
14 | 2691647.5693 | 1248397.272
15 | 2691581.7873 | 1248375.0722
16 | 2691560.2906 | 1248376.5187
17 | 2691528.7902 | 1248375.3028
18 | 2691608.2116 | 1248356.8728
19 | 2691591.3863 | 1248369.5709
20 | 2691498.161 | 1248364.3827
21 | 2691518.3972 | 1248367.6067
22 | 2691436.4717 | 1248363.3118
23 | 2691551.2629 | 1248371.7486
24 | 2691551.6222 | 1248337.1171
25 | 2691579.0204 | 1248347.541
26 | 2691592.9583 | 1248352.7351
27 | 2691608.8749 | 1248354.5146
28 | 2691663.8347 | 1248367.7291
29 | 2691579.5538 | 1248494.0429
30 | 2691567.7206 | 1248493.9505
31 | 2691580.4384 | 1248494.0498
32 | 2691567.0838 | 1248493.9455
33 | 2691586.0434 | 1248494.0935
34 | 2691566.484 | 1248493.9409
35 | 2691624.2341 | 1248494.3915
36 | 2691649.2446 | 1248324.1634
37 | 2691656.0399 | 1248321.2577
38 | 2691621.6465 | 1248335.9645
39 | 2691676.206 | 1248312.6346
40 | 2691613.8315 | 1248323.1229
41 | 2691682.1909 | 1248310.871
42 | 2691617.557 | 1248354.7489
43 | 2691608.6296 | 1248306.7939
44 | 2691683.676 | 1248358.9913
45 | 2691639.8448 | 1248476.7198
46 | 2691645.1641 | 1248475.8414
47 | 2691623.0892 | 1248515.6483
48 | 2691654.6563 | 1248407.156
49 | 2691679.0201 | 1248437.1694
50 | 2691671.1816 | 1248369.1044
51 | 2691677.2662 | 1248366.357
52 | 2691651.1882 | 1248474.8466
53 | 2691628.4112 | 1248552.9898
54 | 2691651.1018 | 1248576.6915
55 | 2691623.1905 | 1248539.8989
56 | 2691682.9164 | 1248584.0073
57 | 2691647.3454 | 1248590.544
58 | 2691608.1437 | 1248541.0353
59 | 2691623.0638 | 1248516.1785
60 | 2691648.8566 | 1248632.9145
61 | 2691611.2943 | 1248581.3722
62 | 2691586.0409 | 1248542.7045
63 | 2691584.4567 | 1248542.8242
64 | 2691575.282 | 1248543.517
65 | 2691475.4475 | 1248526.9094
66 | 2691499.278 | 1248560.4899
67 | 2691458.1825 | 1248503.2791
68 | 2691516.4461 | 1248594.1459
69 | 2691475.3544 | 1248495.6159
70 | 2691433.9149 | 1248519.1371
71 | 2691583.8666 | 1248589.9946
72 | 2691491.8002 | 1248493.5583
73 | 2691562.7784 | 1248493.9119
74 | 2691585.1361 | 1248589.9529
75 | 2691656.6558 | 1248669.1071
76 | 2691645.6412 | 1248656.2899
77 | 2691647.8824 | 1248644.8776
78 | 2691648.9466 | 1248635.4378
79 | 2691602.5442 | 1248293.059
80 | 2691624.2341 | 1248494.3915

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99401 | -0.11441 | 0.0031064 | 0.00077853
1 | 0.99424 | -0.10995 | 0.00096309 | 0.00024137
2 | 0.99202 | -0.1528 | 0.0018296 | 0.00045853
3 | 0.99546 | -0.0866 | 0.0015314 | 0.00038381
4 | 0.99128 | -0.16707 | 0.0014716 | 0.00036882
5 | 0.9956 | -0.083888 | 0 | 0
6 | 0.99102 | -0.1721 | 0.0050639 | 0.0012691
7 | 0.98945 | -0.20245 | 0 | 0
8 | 0.98867 | -0.21756 | 0 | 0
9 | 0.98916 | -0.20803 | 0 | 0
10 | 0.98852 | -0.22059 | 0 | 0
11 | 0.98852 | -0.22043 | 0.0013322 | 0.00033388
12 | 0.98896 | -0.21205 | 0.0029972 | 0.00075116
13 | 0.98911 | -0.20901 | 0 | 0
14 | 0.98904 | -0.21048 | 0.0025473 | 0.00063841
15 | 0.98852 | -0.22054 | 0.0016202 | 0.00040605
16 | 0.98846 | -0.22162 | 0.0014228 | 0.0003566
17 | 0.98842 | -0.22241 | 0.0013956 | 0.00034977
18 | 0.98818 | -0.22721 | 0 | 0
19 | 0.98837 | -0.22349 | 0.00040859 | 0.0001024
20 | 0.98776 | -0.23533 | 0.00064671 | 0.00016208
21 | 0.98788 | -0.23299 | 0.00036835 | 9.2316e-05
22 | 0.98743 | -0.24169 | 0.0057642 | 0.0014446
23 | 0.98809 | -0.22897 | 0.00084653 | 0.00021216
24 | 0.98815 | -0.2277 | 0.00015992 | 4.0079e-05
25 | 0.98816 | -0.2276 | 0.00024201 | 6.0653e-05
26 | 0.98816 | -0.2275 | 0.00061033 | 0.00015296
27 | 0.98812 | -0.22838 | 0 | 0
28 | 0.98893 | -0.21263 | 0.0045196 | 0.0011327
29 | 0.99997 | -0.00067003 | 0.00093884 | 0.0002353
30 | 0.99993 | -0.0014071 | 0.00088306 | 0.00022132
31 | 0.99997 | -0.00060046 | 0.0016335 | 0.00040941
32 | 0.99993 | -0.001437 | 0.00088121 | 0.00022085
33 | 1 | 0 | -0.19562 | -0.049473
34 | 0.99992 | -0.0014559 | 0.00079556 | 0.00019939
35 | 0.99674 | -0.06198 | 0 | 0
36 | 0.98731 | -0.24401 | 0.0051607 | 0.0012934
37 | 0.98727 | -0.24484 | 0.0024003 | 0.00060156
38 | 0.98763 | -0.23791 | 0 | 0
39 | 0.98719 | -0.24633 | 0 | 0
40 | 0.98747 | -0.24099 | 0.00094406 | 0.0002366
41 | 0.98717 | -0.24676 | 0.0038122 | 0.00095542
42 | 0.98808 | -0.22901 | 0.0040315 | 0.0010104
43 | 0.98728 | -0.24472 | 0.0041848 | 0.0010488
44 | 0.98887 | -0.21377 | 0.0029337 | 0.00073526
45 | 0.99557 | -0.084495 | 0.00070351 | 0.00017632
46 | 0.99556 | -0.084649 | 0.00075514 | 0.00018926
47 | 0.9947 | -0.10093 | 0.0026949 | 0.00067541
48 | 0.98898 | -0.21161 | 0.0017759 | 0.00044509
49 | 0.98886 | -0.21396 | 0.0033906 | 0.00084977
50 | 0.98892 | -0.21273 | 0.0027171 | 0.00068096
51 | 0.98891 | -0.21305 | 0.0026513 | 0.00066448
52 | 0.99555 | -0.084743 | 0.00087428 | 0.00021911
53 | 0.99138 | -0.16454 | 0.0051749 | 0.0012969
54 | 0.98887 | -0.2129 | 0 | 0
55 | 0.99252 | -0.14275 | 0 | 0
56 | 0.98854 | -0.21933 | 0.011043 | 0.0027675
57 | 0.98794 | -0.23101 | 0 | 0
58 | 0.99237 | -0.14552 | 0.0024153 | 0.00060533
59 | 0.99465 | -0.10188 | 0.0040196 | 0.0010074
60 | 0.98751 | -0.23938 | 0.0014783 | 0.00037049
61 | 0.9856 | -0.27622 | 0.005599 | 0.0014032
62 | 0.99221 | -0.14866 | 0.0014536 | 0.00036431
63 | 0.9922 | -0.14884 | 0.0026869 | 0.0006734
64 | 0.99217 | -0.14947 | 0.0038515 | 0.00096528
65 | 0.9796 | -0.39326 | 0.0090792 | 0.0022755
66 | 0.98034 | -0.37886 | 0.010231 | 0.0025641
67 | 0.97933 | -0.39867 | 0 | 0
68 | 0.98137 | -0.35868 | 0.015167 | 0.0038013
69 | 0.97924 | -0.40046 | 0 | 0
70 | 0.9792 | -0.40127 | 0.0049209 | 0.0012333
71 | 0.98416 | -0.30425 | 0.0021552 | 0.00054015
72 | 0.97916 | -0.40204 | 0.0052492 | 0.0013156
73 | 0.99992 | -0.0015213 | 0.0010131 | 0.00025392
74 | 0.98421 | -0.30318 | 0.0072749 | 0.0018233
75 | 0.98724 | -0.24457 | 0.0066088 | 0.0016563
76 | 0.98734 | -0.24257 | 0 | 0
77 | 0.98741 | -0.24119 | 0.0014784 | 0.00037051
78 | 0.98748 | -0.23981 | 0.0014783 | 0.00037049
79 | 0.98719 | -0.24642 | 0.0063251 | 0.0015852
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.07706 | -0.019451 | 0.077077 | 0.019462 | 1.6481e-05 | 1.0505e-05 | 0.11541 | 0.11541 | 0.11541 | 0.99401 | -0.11441 | 0.99424 | -0.10995 | 31.7052
1 | 0.073954 | 0.018673 | -0.073818 | -0.018586 | 0.00013573 | 8.6486e-05 | 0.11076 | 0.11076 | 0.11076 | 0.99401 | -0.11441 | 0.99202 | -0.1528 | 30.4277
2 | -0.07804 | -0.019703 | 0.078127 | 0.019759 | 8.741e-05 | 5.5721e-05 | 0.11685 | 0.11685 | 0.11685 | 0.99424 | -0.10995 | 0.99546 | -0.0866 | 32.1012
3 | 0.071988 | 0.018128 | -0.071939 | -0.018096 | 4.9071e-05 | 3.1261e-05 | 0.10801 | 0.10801 | 0.10801 | 0.99202 | -0.1528 | 0.99128 | -0.16707 | 29.6738
4 | -0.079658 | -0.020143 | 0.079669 | 0.020149 | 1.0365e-05 | 6.608e-06 | 0.11914 | 0.11914 | 0.11914 | 0.99546 | -0.0866 | 0.9956 | -0.083888 | 32.73
5 | 0.070468 | 0.017728 | -0.070451 | -0.017717 | 1.6957e-05 | 1.08e-05 | 0.1058 | 0.1058 | 0.1058 | 0.99128 | -0.16707 | 0.99102 | -0.1721 | 29.0669
6 | 0.002333 | 0.0005844 | -0.0023329 | -0.00058455 | 6.7417e-08 | -1.4913e-07 | 0.0034868 | 0.0034869 | 0.0034869 | 0.9956 | -0.083888 | 0.99557 | -0.084495 | 0.95793
7 | -0.082002 | -0.020734 | 0.082088 | 0.020789 | 8.6262e-05 | 5.5008e-05 | 0.12262 | 0.12262 | 0.12262 | 0.9956 | -0.083888 | 0.99674 | -0.06198 | 33.6879
8 | 0.065387 | 0.016448 | -0.065292 | -0.016387 | 9.4645e-05 | 6.0236e-05 | 0.0982 | 0.0982 | 0.0982 | 0.99102 | -0.1721 | 0.98945 | -0.20245 | 26.9781
9 | 0.041748 | 0.010485 | -0.041718 | -0.010466 | 3.0074e-05 | 1.8986e-05 | 0.062792 | 0.062792 | 0.062792 | 0.98945 | -0.20245 | 0.98867 | -0.21756 | 17.2505
10 | 0.023544 | 0.0059029 | -0.023538 | -0.005899 | 6.2569e-06 | 3.8335e-06 | 0.035408 | 0.035409 | 0.035409 | 0.98945 | -0.20245 | 0.98916 | -0.20803 | 9.7276
11 | 0.035946 | 0.0090196 | -0.035941 | -0.0090164 | 5.188e-06 | 3.2597e-06 | 0.054105 | 0.054105 | 0.054105 | 0.98867 | -0.21756 | 0.98852 | -0.22059 | 14.864
12 | 0.0057718 | 0.0014459 | -0.005771 | -0.0014457 | 7.8873e-07 | 1.4741e-07 | 0.0086867 | 0.0086869 | 0.0086869 | 0.98867 | -0.21756 | 0.98852 | -0.22043 | 2.3865
13 | 0.0083674 | 0.0020972 | -0.0083658 | -0.0020966 | 1.6032e-06 | 6.7973e-07 | 0.012587 | 0.012587 | 0.012587 | 0.98916 | -0.20803 | 0.98896 | -0.21205 | 3.4581
14 | 0.0074552 | 0.0018684 | -0.0074548 | -0.0018683 | 3.4771e-07 | 1.2791e-07 | 0.011215 | 0.011215 | 0.011215 | 0.98916 | -0.20803 | 0.98911 | -0.20901 | 3.081
15 | 0.0077154 | 0.0019334 | -0.0077145 | -0.001933 | 8.9936e-07 | 3.4708e-07 | 0.011606 | 0.011606 | 0.011606 | 0.98916 | -0.20803 | 0.98904 | -0.21048 | 3.1886
16 | 0.0279 | 0.0070006 | -0.027891 | -0.0069952 | 8.8054e-06 | 5.4649e-06 | 0.042 | 0.042 | 0.042 | 0.98852 | -0.22059 | 0.98818 | -0.22721 | 11.5386
17 | 0.0080412 | 0.0020157 | -0.0080401 | -0.0020153 | 1.1116e-06 | 4.5209e-07 | 0.012105 | 0.012105 | 0.012105 | 0.98852 | -0.22059 | 0.98837 | -0.22349 | 3.3255
18 | 0.0044388 | 0.0011119 | -0.0044388 | -0.0011119 | 2.2825e-08 | -2.8709e-09 | 0.0066815 | 0.0066815 | 0.0066815 | 0.98852 | -0.22043 | 0.98852 | -0.22054 | 1.8356
19 | 0.0053686 | 0.0013454 | -0.0053684 | -0.0013454 | 1.7388e-07 | 2.0106e-08 | 0.0080778 | 0.0080778 | 0.0080778 | 0.98896 | -0.21205 | 0.98892 | -0.21273 | 2.2192
20 | 0.0074548 | 0.0018683 | -0.0074535 | -0.0018678 | 1.2865e-06 | 4.7335e-07 | 0.011215 | 0.011215 | 0.011215 | 0.98911 | -0.20901 | 0.98893 | -0.21263 | 3.0811
21 | 0.0051672 | 0.0012946 | -0.0051669 | -0.0012946 | 2.7817e-07 | 2.0522e-08 | 0.007774 | 0.007774 | 0.007774 | 0.98904 | -0.21048 | 0.98898 | -0.21161 | 2.1357
22 | 0.0028186 | 0.00070582 | -0.0028185 | -0.000706 | 1.4551e-07 | -1.832e-07 | 0.0042427 | 0.0042428 | 0.0042428 | 0.98852 | -0.22054 | 0.98846 | -0.22162 | 1.1656
23 | 0.0013957 | 0.0003494 | -0.0013956 | -0.00034977 | 5.2275e-08 | -3.7135e-07 | 0.0021009 | 0.002101 | 0.002101 | 0.98846 | -0.22162 | 0.98842 | -0.22241 | 0.5772
24 | 0.026879 | 0.0067423 | -0.026877 | -0.0067413 | 1.5052e-06 | 9.3196e-07 | 0.040476 | 0.040476 | 0.040476 | 0.98818 | -0.22721 | 0.98812 | -0.22838 | 11.1199
25 | 0.0010123 | 0.0002529 | -0.0010123 | -0.00025309 | 1.3766e-08 | -1.9366e-07 | 0.001524 | 0.0015241 | 0.0015241 | 0.98818 | -0.22721 | 0.98816 | -0.2275 | 0.41871
26 | 0.0076315 | 0.0019129 | -0.0076295 | -0.0019121 | 1.9939e-06 | 7.6005e-07 | 0.01149 | 0.01149 | 0.01149 | 0.98837 | -0.22349 | 0.98809 | -0.22897 | 3.1565
27 | -0.0064126 | -0.001607 | 0.0064134 | 0.0016072 | 7.171e-07 | 1.9662e-07 | 0.0096603 | 0.0096602 | 0.0096603 | 0.98776 | -0.23533 | 0.98788 | -0.23299 | 2.6539
28 | 0.0057659 | 0.001445 | -0.0057642 | -0.0014446 | 1.7457e-06 | 3.2776e-07 | 0.0086861 | 0.0086864 | 0.0086864 | 0.98776 | -0.23533 | 0.98743 | -0.24169 | 2.3864
29 | -0.0067817 | -0.0016996 | 0.006783 | 0.0017 | 1.2965e-06 | 4.0547e-07 | 0.010215 | 0.010215 | 0.010215 | 0.98788 | -0.23299 | 0.98809 | -0.22897 | 2.8063
30 | -0.00015992 | -4.0079e-05 | 0.00015992 | 3.967e-05 | 6.9444e-10 | -4.0887e-07 | 0.00024081 | 0.00024067 | 0.00024081 | 0.98815 | -0.2277 | 0.98816 | -0.2276 | 0.066158
31 | -0.00040193 | -0.00010032 | 0.00040193 | 0.00010013 | 2.0789e-09 | -1.9265e-07 | 0.0006051 | 0.00060503 | 0.0006051 | 0.98816 | -0.2276 | 0.98816 | -0.2275 | 0.16624
32 | 0.0040316 | 0.0010103 | -0.0040315 | -0.0010104 | 1.1974e-07 | -3.4328e-08 | 0.0060712 | 0.0060712 | 0.0060712 | 0.98812 | -0.22838 | 0.98808 | -0.22901 | 1.6679
33 | 0.022846 | 0.005731 | -0.022835 | -0.0057247 | 1.0372e-05 | 6.3387e-06 | 0.034405 | 0.034405 | 0.034405 | 0.98812 | -0.22838 | 0.98763 | -0.23791 | 9.452
34 | 0.0029339 | 0.00073509 | -0.0029337 | -0.00073526 | 1.5844e-07 | -1.7674e-07 | 0.0044145 | 0.0044146 | 0.0044146 | 0.98893 | -0.21263 | 0.98887 | -0.21377 | 1.2128
35 | 0.0035731 | 0.00089534 | -0.003573 | -0.00089541 | 1.2545e-07 | -7.4942e-08 | 0.005317 | 0.005317 | 0.005317 | 0.99997 | -0.00067003 | 0.99993 | -0.0014071 | 1.4607
36 | -0.0045119 | -0.0011306 | 0.004512 | 0.0011306 | 1.4953e-08 | -2.0342e-09 | 0.006714 | 0.006714 | 0.006714 | 0.99997 | -0.00067003 | 0.99997 | -0.00060046 | 1.8445
37 | 0.0026899 | 0.0006741 | -0.0026899 | -0.0006741 | 3.8266e-09 | -5.9044e-09 | 0.0040029 | 0.0040029 | 0.0040029 | 0.99993 | -0.0014071 | 0.99993 | -0.001437 | 1.0997
38 | -0.0061455 | -0.00154 | 0.0061457 | 0.0015401 | 1.7578e-07 | 3.8966e-08 | 0.0091448 | 0.0091448 | 0.0091448 | 0.99997 | -0.00060046 | 1 | 0 | 2.5123
39 | 0.0018087 | 0.00045325 | -0.0018087 | -0.00045326 | 1.6296e-09 | -6.8253e-09 | 0.0026916 | 0.0026916 | 0.0026916 | 0.99993 | -0.001437 | 0.99992 | -0.0014559 | 0.73944
40 | 0.18782 | 0.047933 | -0.18726 | -0.047575 | 0.00056058 | 0.00035777 | 0.27979 | 0.27979 | 0.27979 | 1 | 0 | 0.99674 | -0.06198 | 38.4328
41 | 0.0010131 | 0.00025387 | -0.0010131 | -0.00025392 | 3.1587e-09 | -4.6587e-08 | 0.0015077 | 0.0015077 | 0.0015077 | 0.99992 | -0.0014559 | 0.99992 | -0.0015213 | 0.4142
42 | 0.10518 | 0.026787 | -0.10498 | -0.026661 | 0.00019719 | 0.00012592 | 0.15717 | 0.15717 | 0.15717 | 0.99674 | -0.06198 | 0.9947 | -0.10093 | 43.1777
43 | 0.006213 | 0.0015569 | -0.0062128 | -0.0015568 | 2.43e-07 | 6.1013e-08 | 0.0093638 | 0.0093638 | 0.0093638 | 0.98731 | -0.24401 | 0.98727 | -0.24484 | 2.5725
44 | -0.011374 | -0.0028503 | 0.011377 | 0.002852 | 3.3074e-06 | 1.7327e-06 | 0.017142 | 0.017142 | 0.017142 | 0.98731 | -0.24401 | 0.98763 | -0.23791 | 4.7093
45 | 0.0038125 | 0.00095528 | -0.0038122 | -0.00095539 | 2.7157e-07 | -1.0663e-07 | 0.0057462 | 0.0057463 | 0.0057463 | 0.98727 | -0.24484 | 0.98719 | -0.24633 | 1.5786
46 | 0.011458 | 0.0028726 | -0.011456 | -0.0028717 | 1.6801e-06 | 8.8294e-07 | 0.017264 | 0.017264 | 0.017264 | 0.98763 | -0.23791 | 0.98747 | -0.24099 | 4.7428
47 | 0.0038122 | 0.00095539 | -0.0038122 | -0.00095542 | 7.7258e-08 | -3.0326e-08 | 0.0057463 | 0.0057463 | 0.0057463 | 0.98719 | -0.24633 | 0.98717 | -0.24676 | 1.5786
48 | 0.010512 | 0.0026351 | -0.01051 | -0.0026342 | 1.8673e-06 | 9.4128e-07 | 0.015841 | 0.015841 | 0.015841 | 0.98747 | -0.24099 | 0.98728 | -0.24472 | 4.352
49 | 0.0063256 | 0.0015854 | -0.0063251 | -0.0015852 | 5.1438e-07 | 1.3625e-07 | 0.009534 | 0.009534 | 0.009534 | 0.98728 | -0.24472 | 0.98719 | -0.24642 | 2.6192
50 | 0.0016294 | 0.00040823 | -0.0016294 | -0.00040829 | 1.1991e-08 | -6.243e-08 | 0.0024354 | 0.0024354 | 0.0024354 | 0.99557 | -0.084495 | 0.99556 | -0.084649 | 0.66907
51 | 0.00087428 | 0.00021904 | -0.00087428 | -0.00021911 | 3.9097e-09 | -7.689e-08 | 0.0013067 | 0.0013068 | 0.0013068 | 0.99556 | -0.084649 | 0.99555 | -0.084743 | 0.359
52 | 0.10228 | 0.025985 | -0.10228 | -0.025982 | 4.6677e-06 | 2.9805e-06 | 0.15314 | 0.15314 | 0.15314 | 0.9947 | -0.10093 | 0.99465 | -0.10188 | 42.0702
53 | 0.003391 | 0.00084951 | -0.0033906 | -0.00084977 | 3.8012e-07 | -2.5633e-07 | 0.005102 | 0.0051021 | 0.0051021 | 0.98898 | -0.21161 | 0.98886 | -0.21396 | 1.4017
54 | 0.0026514 | 0.00066442 | -0.0026513 | -0.00066448 | 3.9846e-08 | -6.0153e-08 | 0.0039894 | 0.0039895 | 0.0039895 | 0.98892 | -0.21273 | 0.98891 | -0.21305 | 1.096
55 | 0.08239 | 0.020887 | -0.082199 | -0.020765 | 0.00019101 | 0.00012182 | 0.12375 | 0.12375 | 0.12375 | 0.99138 | -0.16454 | 0.98887 | -0.2129 | 33.9967
56 | -0.087565 | -0.022184 | 0.087656 | 0.022242 | 9.1782e-05 | 5.8558e-05 | 0.13151 | 0.13151 | 0.13151 | 0.99138 | -0.16454 | 0.99252 | -0.14275 | 36.1305
57 | 0.011046 | 0.0027693 | -0.011043 | -0.0027675 | 3.3828e-06 | 1.7463e-06 | 0.016622 | 0.016622 | 0.016622 | 0.98887 | -0.2129 | 0.98854 | -0.21933 | 4.5665
58 | 0.071153 | 0.017996 | -0.071091 | -0.017956 | 6.1764e-05 | 3.9345e-05 | 0.10713 | 0.10713 | 0.10713 | 0.98887 | -0.2129 | 0.98794 | -0.23101 | 29.4303
59 | 0.01041 | 0.0026095 | -0.010409 | -0.0026088 | 1.3784e-06 | 6.8718e-07 | 0.015607 | 0.015607 | 0.015607 | 0.99252 | -0.14275 | 0.99237 | -0.14552 | 4.2877
60 | -0.098067 | -0.024852 | 0.09826 | 0.024975 | 0.00019297 | 0.00012319 | 0.14712 | 0.14712 | 0.14712 | 0.99252 | -0.14275 | 0.99465 | -0.10188 | 40.4182
61 | 0.01105 | 0.0027707 | -0.011046 | -0.0027685 | 4.4043e-06 | 2.2761e-06 | 0.016644 | 0.016644 | 0.016644 | 0.98794 | -0.23101 | 0.98751 | -0.23938 | 4.5725
62 | 0.060041 | 0.015186 | -0.059911 | -0.015103 | 0.0001299 | 8.2596e-05 | 0.090482 | 0.090483 | 0.090483 | 0.98794 | -0.23101 | 0.9856 | -0.27622 | 24.8579
63 | 0.0079934 | 0.0020034 | -0.0079922 | -0.002003 | 1.1941e-06 | 4.779e-07 | 0.011986 | 0.011986 | 0.011986 | 0.99237 | -0.14552 | 0.99221 | -0.14866 | 3.2928
64 | 0.0095673 | 0.002398 | -0.0095671 | -0.0023979 | 1.9679e-07 | 9.3642e-08 | 0.014416 | 0.014416 | 0.014416 | 0.98751 | -0.23938 | 0.98748 | -0.23981 | 3.9606
65 | 0.054312 | 0.0137 | -0.054242 | -0.013655 | 7.0002e-05 | 4.4449e-05 | 0.082029 | 0.08203 | 0.08203 | 0.9856 | -0.27622 | 0.98421 | -0.30318 | 22.5356
66 | 0.0065386 | 0.0016387 | -0.0065385 | -0.0016386 | 5.7286e-08 | 1.6144e-08 | 0.0098059 | 0.0098059 | 0.0098059 | 0.99221 | -0.14866 | 0.9922 | -0.14884 | 2.6939
67 | 0.0038516 | 0.00096524 | -0.0038515 | -0.00096528 | 1.1512e-07 | -4.5151e-08 | 0.0057763 | 0.0057763 | 0.0057763 | 0.9922 | -0.14884 | 0.99217 | -0.14947 | 1.5869
68 | -0.019253 | -0.0048258 | 0.019267 | 0.0048337 | 1.3221e-05 | 7.9419e-06 | 0.029246 | 0.029246 | 0.029246 | 0.9796 | -0.39326 | 0.98034 | -0.37886 | 8.0346
69 | 0.010174 | 0.0025503 | -0.010172 | -0.002549 | 2.6213e-06 | 1.3093e-06 | 0.015455 | 0.015455 | 0.015455 | 0.9796 | -0.39326 | 0.97933 | -0.39867 | 4.2459
70 | -0.029497 | -0.0073978 | 0.029526 | 0.0074155 | 2.8404e-05 | 1.7702e-05 | 0.044775 | 0.044775 | 0.044775 | 0.98034 | -0.37886 | 0.98137 | -0.35868 | 12.3008
71 | 0.0052501 | 0.0013157 | -0.0052496 | -0.0013156 | 4.4764e-07 | 5.0477e-08 | 0.007977 | 0.0079771 | 0.0079771 | 0.97933 | -0.39867 | 0.97924 | -0.40046 | 2.1915
72 | 0.0049216 | 0.0012333 | -0.0049209 | -0.0012333 | 6.0791e-07 | 2.4349e-08 | 0.0074779 | 0.007478 | 0.007478 | 0.97933 | -0.39867 | 0.9792 | -0.40127 | 2.0544
73 | -0.044693 | -0.011217 | 0.04481 | 0.01129 | 0.00011635 | 7.3605e-05 | 0.067773 | 0.067772 | 0.067773 | 0.98137 | -0.35868 | 0.98416 | -0.30425 | 18.6188
74 | 0.0052496 | 0.0013156 | -0.0052492 | -0.0013156 | 3.9551e-07 | 4.4639e-08 | 0.0079771 | 0.0079772 | 0.0079772 | 0.97924 | -0.40046 | 0.97916 | -0.40204 | 2.1915
75 | -0.046965 | -0.011831 | 0.046967 | 0.011832 | 2.4032e-06 | 1.5219e-06 | 0.071031 | 0.071031 | 0.071031 | 0.98416 | -0.30425 | 0.98421 | -0.30318 | 19.514
76 | -0.0066088 | -0.0016563 | 0.0066095 | 0.0016565 | 6.3056e-07 | 1.8685e-07 | 0.0099612 | 0.0099611 | 0.0099612 | 0.98724 | -0.24457 | 0.98734 | -0.24257 | 2.7366
77 | -0.0066095 | -0.0016565 | 0.0066099 | 0.0016566 | 4.3275e-07 | 1.282e-07 | 0.0099611 | 0.0099611 | 0.0099611 | 0.98734 | -0.24257 | 0.98741 | -0.24119 | 2.7366
78 | -0.0080883 | -0.0020272 | 0.0080888 | 0.0020274 | 5.3247e-07 | 2.1852e-07 | 0.012189 | 0.012189 | 0.012189 | 0.98741 | -0.24119 | 0.98748 | -0.23981 | 3.3486

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19652 | 0.049699

## res_load
| p_mw | q_mvar
0 | 0.0031064 | 0.00077853
1 | 0.00096309 | 0.00024137
2 | 0.0018296 | 0.00045853
3 | 0.0015314 | 0.00038381
4 | 0.0014716 | 0.00036882
5 | 0.0050639 | 0.0012691
6 | 0.0013322 | 0.00033388
7 | 0.0029972 | 0.00075116
8 | 0.0025473 | 0.00063841
9 | 0.0016202 | 0.00040605
10 | 0.0014228 | 0.0003566
11 | 0.0013956 | 0.00034977
12 | 0.00040859 | 0.0001024
13 | 0.00064671 | 0.00016208
14 | 0.00036835 | 9.2316e-05
15 | 0.0057642 | 0.0014446
16 | 0.00084653 | 0.00021216
17 | 0.00015992 | 4.0079e-05
18 | 0.00024201 | 6.0653e-05
19 | 0.00061033 | 0.00015296
20 | 0.0045196 | 0.0011327
21 | 0.00093884 | 0.0002353
22 | 0.00088306 | 0.00022132
23 | 0.0016335 | 0.00040941
24 | 0.00088121 | 0.00022085
25 | 0.00089994 | 0.00022555
26 | 0.00079556 | 0.00019939
27 | 0.0051607 | 0.0012934
28 | 0.0024003 | 0.00060156
29 | 0.00094406 | 0.0002366
30 | 0.0038122 | 0.00095542
31 | 0.0040315 | 0.0010104
32 | 0.0041848 | 0.0010488
33 | 0.0029337 | 0.00073526
34 | 0.00070351 | 0.00017632
35 | 0.00075514 | 0.00018926
36 | 0.0026949 | 0.00067541
37 | 0.0017759 | 0.00044509
38 | 0.0033906 | 0.00084977
39 | 0.0027171 | 0.00068096
40 | 0.0026513 | 0.00066448
41 | 0.00087428 | 0.00021911
42 | 0.0051749 | 0.0012969
43 | 0.011043 | 0.0027675
44 | 0.0024153 | 0.00060533
45 | 0.0040196 | 0.0010074
46 | 0.0014783 | 0.00037049
47 | 0.005599 | 0.0014032
48 | 0.0014536 | 0.00036431
49 | 0.0026869 | 0.0006734
50 | 0.0038515 | 0.00096528
51 | 0.0090792 | 0.0022755
52 | 0.010231 | 0.0025641
53 | 0.015167 | 0.0038013
54 | 0.0049209 | 0.0012333
55 | 0.0021552 | 0.00054015
56 | 0.0052492 | 0.0013156
57 | 0.0010131 | 0.00025392
58 | 0.0072749 | 0.0018233
59 | 0.0066088 | 0.0016563
60 | 0.0014784 | 0.00037051
61 | 0.0014783 | 0.00037049
62 | 0.0063251 | 0.0015852

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1